## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4044-9_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4044-9_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4044-9_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4044-9_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4044-9_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4044-9_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4044-9_0_6_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_4044-9_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4044-9_0_6_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_4044-9_0_6_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_4044-9_0_6_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_4044-9_0_6_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_4044-9_0_6_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_4044-9_0_6_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_4044-9_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4044-9_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4044-9_0_6_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4044-9_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4044-9_0_6_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_4044-9_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4044-9_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4044-9_0_6_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_4044-9_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4044-9_0_6_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_4044-9_0_6_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_4044-9_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4044-9_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4044-9_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4044-9_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4044-9_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4044-9_0_6_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_4044-9_0_6_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_4044-9_0_6_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_4044-9_0_6_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_4044-9_0_6_node_79 | 0.4 | n |  | TRUE
35 | bus_LV_4044-9_0_6_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_4044-9_0_6_node_100 | 0.4 | n |  | TRUE
37 | bus_LV_4044-9_0_6_node_101 | 0.4 | n |  | TRUE
38 | bus_LV_4044-9_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_4044-9_0_6_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_4044-9_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_4044-9_0_6_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_4044-9_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_4044-9_0_6_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_4044-9_0_6_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_4044-9_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_4044-9_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_4044-9_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_4044-9_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_4044-9_0_6_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4044-9_0_6_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4044-9_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_4044-9_0_6_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_4044-9_0_6_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_4044-9_0_6_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_4044-9_0_6_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_4044-9_0_6_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_4044-9_0_6_node_71 | 0.4 | n |  | TRUE
58 | bus_LV_4044-9_0_6_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_4044-9_0_6_node_138 | 0.4 | n |  | TRUE
60 | bus_LV_4044-9_0_6_node_148 | 0.4 | n |  | TRUE
61 | bus_LV_4044-9_0_6_node_151 | 0.4 | n |  | TRUE
62 | bus_LV_4044-9_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_4044-9_0_6_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_4044-9_0_6_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_4044-9_0_6_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_4044-9_0_6_node_153 | 0.4 | n |  | TRUE
67 | bus_LV_4044-9_0_6_node_152 | 0.4 | n |  | TRUE
68 | bus_LV_4044-9_0_6_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_4044-9_0_6_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_4044-9_0_6_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_4044-9_0_6_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_4044-9_0_6_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_4044-9_0_6_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_4044-9_0_6_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_4044-9_0_6_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_4044-9_0_6_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_4044-9_0_6_node_128 | 0.4 | n |  | TRUE
78 | bus_LV_4044-9_0_6_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_4044-9_0_6_node_147 | 0.4 | n |  | TRUE
80 | bus_LV_4044-9_0_6_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_4044-9_0_6_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_4044-9_0_6_node_64 | 0.4 | n |  | TRUE
83 | bus_LV_4044-9_0_6_node_65 | 0.4 | n |  | TRUE
84 | bus_LV_4044-9_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_4044-9_0_6_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_4044-9_0_6_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_4044-9_0_6_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_4044-9_0_6_node_69 | 0.4 | n |  | TRUE
89 | bus_LV_4044-9_0_6_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_4044-9_0_6_node_125 | 0.4 | n |  | TRUE
91 | bus_LV_4044-9_0_6_node_126 | 0.4 | n |  | TRUE
92 | bus_LV_4044-9_0_6_node_127 | 0.4 | n |  | TRUE
93 | bus_LV_4044-9_0_6_node_129 | 0.4 | n |  | TRUE
94 | bus_LV_4044-9_0_6_node_150 | 0.4 | n |  | TRUE
95 | bus_LV_4044-9_0_6_node_72 | 0.4 | n |  | TRUE
96 | bus_LV_4044-9_0_6_node_74 | 0.4 | n |  | TRUE
97 | bus_LV_4044-9_0_6_node_76 | 0.4 | n |  | TRUE
98 | bus_LV_4044-9_0_6_node_77 | 0.4 | n |  | TRUE
99 | bus_LV_4044-9_0_6_node_78 | 0.4 | n |  | TRUE
100 | bus_LV_4044-9_0_6_node_88 | 0.4 | n |  | TRUE
101 | bus_LV_4044-9_0_6_node_85 | 0.4 | n |  | TRUE
102 | bus_LV_4044-9_0_6_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_4044-9_0_6_node_86 | 0.4 | n |  | TRUE
104 | bus_LV_4044-9_0_6_node_98 | 0.4 | n |  | TRUE
105 | bus_LV_4044-9_0_6_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_4044-9_0_6_node_99 | 0.4 | n |  | TRUE
107 | bus_LV_4044-9_0_6_node_105 | 0.4 | n |  | TRUE
108 | bus_LV_4044-9_0_6_node_87 | 0.4 | n |  | TRUE
109 | bus_LV_4044-9_0_6_node_93 | 0.4 | n |  | TRUE
110 | bus_LV_4044-9_0_6_node_97 | 0.4 | n |  | TRUE
111 | bus_LV_4044-9_0_6_node_91 | 0.4 | n |  | TRUE
112 | bus_LV_4044-9_0_6_node_95 | 0.4 | n |  | TRUE
113 | bus_LV_4044-9_0_6_node_90 | 0.4 | n |  | TRUE
114 | bus_LV_4044-9_0_6_node_92 | 0.4 | n |  | TRUE
115 | bus_LV_4044-9_0_6_node_94 | 0.4 | n |  | TRUE
116 | bus_LV_4044-9_0_6_node_102 | 0.4 | n |  | TRUE
117 | bus_LV_4044-9_0_6_node_103 | 0.4 | n |  | TRUE
118 | bus_LV_4044-9_0_6_node_106 | 0.4 | n |  | TRUE
119 | bus_LV_4044-9_0_6_node_107 | 0.4 | n |  | TRUE
120 | bus_LV_4044-9_0_6_node_109 | 0.4 | n |  | TRUE
121 | bus_LV_4044-9_0_6_node_133 | 0.4 | n |  | TRUE
122 | bus_LV_4044-9_0_6_node_108 | 0.4 | n |  | TRUE
123 | bus_LV_4044-9_0_6_node_123 | 0.4 | n |  | TRUE
124 | bus_LV_4044-9_0_6_node_122 | 0.4 | n |  | TRUE
125 | bus_LV_4044-9_0_6_node_135 | 0.4 | n |  | TRUE
126 | bus_LV_4044-9_0_6_node_131 | 0.4 | n |  | TRUE
127 | bus_LV_4044-9_0_6_node_110 | 0.4 | n |  | TRUE
128 | bus_LV_4044-9_0_6_node_111 | 0.4 | n |  | TRUE
129 | bus_LV_4044-9_0_6_node_113 | 0.4 | n |  | TRUE
130 | bus_LV_4044-9_0_6_node_115 | 0.4 | n |  | TRUE
131 | bus_LV_4044-9_0_6_node_117 | 0.4 | n |  | TRUE
132 | bus_LV_4044-9_0_6_node_114 | 0.4 | n |  | TRUE
133 | bus_LV_4044-9_0_6_node_119 | 0.4 | n |  | TRUE
134 | bus_LV_4044-9_0_6_node_118 | 0.4 | n |  | TRUE
135 | bus_LV_4044-9_0_6_node_120 | 0.4 | n |  | TRUE
136 | bus_LV_4044-9_0_6_node_121 | 0.4 | n |  | TRUE
137 | bus_LV_4044-9_0_6_node_124 | 0.4 | n |  | TRUE
138 | bus_LV_4044-9_0_6_node_116 | 0.4 | n |  | TRUE
139 | bus_LV_4044-9_0_6_node_149 | 0.4 | n |  | TRUE
140 | bus_LV_4044-9_0_6_node_134 | 0.4 | n |  | TRUE
141 | bus_LV_4044-9_0_6_node_130 | 0.4 | n |  | TRUE
142 | bus_LV_4044-9_0_6_node_132 | 0.4 | n |  | TRUE
143 | bus_LV_4044-9_0_6_node_143 | 0.4 | n |  | TRUE
144 | bus_LV_4044-9_0_6_node_136 | 0.4 | n |  | TRUE
145 | bus_LV_4044-9_0_6_node_141 | 0.4 | n |  | TRUE
146 | bus_LV_4044-9_0_6_node_137 | 0.4 | n |  | TRUE
147 | bus_LV_4044-9_0_6_node_139 | 0.4 | n |  | TRUE
148 | bus_LV_4044-9_0_6_node_140 | 0.4 | n |  | TRUE
149 | bus_LV_4044-9_0_6_node_142 | 0.4 | n |  | TRUE
150 | bus_LV_4044-9_0_6_node_144 | 0.4 | n |  | TRUE
151 | bus_LV_4044-9_0_6_node_145 | 0.4 | n |  | TRUE
152 | bus_LV_4044-9_0_6_node_146 | 0.4 | n |  | TRUE
153 | bus_MV_421_0_node_100 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4044-9_0_6_load_0 | 0 | 0.0012766 | 0.00031995 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4044-9_0_6_load_1 | 1 | 0.001551 | 0.00038872 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4044-9_0_6_load_4 | 4 | 0.0014837 | 0.00037184 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4044-9_0_6_load_5 | 5 | 0.0013035 | 0.00032668 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4044-9_0_6_load_25 | 6 | 0.0019608 | 0.00049141 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4044-9_0_6_load_24 | 8 | 0.0018946 | 0.00047483 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4044-9_0_6_load_42 | 9 | 0.0015285 | 0.00038309 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4044-9_0_6_load_32 | 10 | 0.0014036 | 0.00035177 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4044-9_0_6_load_20 | 12 | 0.0010489 | 0.00026289 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4044-9_0_6_load_6 | 14 | 0.0012886 | 0.00032296 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4044-9_0_6_load_7 | 15 | 0.001498 | 0.00037543 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4044-9_0_6_load_21 | 18 | 0.0013 | 0.00032582 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4044-9_0_6_load_14 | 19 | 0.004118 | 0.0010321 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4044-9_0_6_load_11 | 20 | 0.0044626 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4044-9_0_6_load_22 | 21 | 0.0021499 | 0.0005388 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4044-9_0_6_load_12 | 22 | 0.0040401 | 0.0010125 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4044-9_0_6_load_53 | 23 | 0.0036811 | 0.00092257 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4044-9_0_6_load_51 | 24 | 0.0034483 | 0.00086424 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4044-9_0_6_load_15 | 25 | 0.0014513 | 0.00036372 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4044-9_0_6_load_16 | 26 | 0.0010484 | 0.00026274 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4044-9_0_6_load_17 | 27 | 0.0010572 | 0.00026495 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4044-9_0_6_load_18 | 28 | 0.0013736 | 0.00034426 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4044-9_0_6_load_19 | 29 | 0.0010578 | 0.0002651 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4044-9_0_6_load_75 | 30 | 0.0014014 | 0.00035122 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4044-9_0_6_load_89 | 31 | 0.0082863 | 0.0020767 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4044-9_0_6_load_73 | 32 | 0.0045335 | 0.0011362 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4044-9_0_6_load_80 | 33 | 0.0011537 | 0.00028915 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4044-9_0_6_load_81 | 35 | 0.01063 | 0.0026642 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4044-9_0_6_load_100 | 36 | 0.0061228 | 0.0015345 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4044-9_0_6_load_101 | 37 | 0.0059339 | 0.0014872 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4044-9_0_6_load_31 | 38 | 0.0017478 | 0.00043803 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4044-9_0_6_load_26 | 39 | 0.0042181 | 0.0010571 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4044-9_0_6_load_27 | 40 | 0.0013925 | 0.00034899 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4044-9_0_6_load_28 | 41 | 0.0040883 | 0.0010246 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4044-9_0_6_load_29 | 42 | 0.002055 | 0.00051504 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4044-9_0_6_load_30 | 43 | 0.0035499 | 0.00088968 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4044-9_0_6_load_44 | 44 | 0.0049789 | 0.0012478 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4044-9_0_6_load_43 | 45 | 0.0032198 | 0.00080696 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4044-9_0_6_load_33 | 46 | 0.0024881 | 0.00062357 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4044-9_0_6_load_34 | 47 | 0.0074452 | 0.001866 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4044-9_0_6_load_37 | 50 | 0.0010771 | 0.00026995 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4044-9_0_6_load_38 | 51 | 0.00050052 | 0.00012544 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4044-9_0_6_load_60 | 53 | 0.001214 | 0.00030427 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4044-9_0_6_load_61 | 54 | 0.0019484 | 0.00048831 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4044-9_0_6_load_52 | 55 | 0.0025803 | 0.00064668 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4044-9_0_6_load_58 | 56 | 0.0018109 | 0.00045387 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4044-9_0_6_load_67 | 58 | 0.0027642 | 0.00069278 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4044-9_0_6_load_138 | 59 | 0.0016199 | 0.00040599 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4044-9_0_6_load_148 | 60 | 0.0015557 | 0.00038988 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4044-9_0_6_load_151 | 61 | 0.0015262 | 0.0003825 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4044-9_0_6_load_39 | 63 | 0.0011096 | 0.00027809 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4044-9_0_6_load_153 | 66 | 0.0033726 | 0.00084526 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4044-9_0_6_load_45 | 68 | 0.0049783 | 0.0012477 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4044-9_0_6_load_46 | 69 | 0.0026817 | 0.00067209 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4044-9_0_6_load_47 | 70 | 0.001536 | 0.00038496 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4044-9_0_6_load_49 | 72 | 0.0039532 | 0.00099077 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4044-9_0_6_load_55 | 74 | 0.0022706 | 0.00056906 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4044-9_0_6_load_54 | 75 | 0.00076906 | 0.00019274 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4044-9_0_6_load_56 | 76 | 0.0018298 | 0.00045859 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4044-9_0_6_load_128 | 77 | 0.0044561 | 0.0011168 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4044-9_0_6_load_66 | 78 | 0.0022889 | 0.00057366 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4044-9_0_6_load_147 | 79 | 0.0011414 | 0.00028607 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4044-9_0_6_load_62 | 80 | 0.0026238 | 0.00065758 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4044-9_0_6_load_63 | 81 | 0.00068452 | 0.00017156 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4044-9_0_6_load_64 | 82 | 0.0033186 | 0.00083171 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4044-9_0_6_load_65 | 83 | 0.0020454 | 0.00051262 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4044-9_0_6_load_83 | 85 | 0.0023998 | 0.00060145 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4044-9_0_6_load_84 | 86 | 0.003104 | 0.00077794 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4044-9_0_6_load_68 | 87 | 0.0020991 | 0.00052609 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4044-9_0_6_load_69 | 88 | 0.0021976 | 0.00055076 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4044-9_0_6_load_70 | 89 | 0.0052323 | 0.0013113 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4044-9_0_6_load_125 | 90 | 0.0049206 | 0.0012332 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4044-9_0_6_load_127 | 92 | 0.0026936 | 0.00067509 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4044-9_0_6_load_129 | 93 | 0.0021665 | 0.00054297 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4044-9_0_6_load_150 | 94 | 0.0019395 | 0.00048608 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4044-9_0_6_load_72 | 95 | 0.002247 | 0.00056315 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4044-9_0_6_load_74 | 96 | 0.0030295 | 0.00075927 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4044-9_0_6_load_76 | 97 | 0.0042623 | 0.0010682 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4044-9_0_6_load_77 | 98 | 0.0084495 | 0.0021176 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4044-9_0_6_load_88 | 100 | 0.0044418 | 0.0011132 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4044-9_0_6_load_85 | 101 | 0.0033887 | 0.00084929 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4044-9_0_6_load_86 | 103 | 0.0034197 | 0.00085706 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4044-9_0_6_load_104 | 105 | 0.0022248 | 0.00055758 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4044-9_0_6_load_99 | 106 | 0.0029306 | 0.00073447 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4044-9_0_6_load_105 | 107 | 0.0021103 | 0.00052889 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4044-9_0_6_load_97 | 110 | 0.0051379 | 0.0012877 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4044-9_0_6_load_91 | 111 | 0.0013037 | 0.00032673 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4044-9_0_6_load_95 | 112 | 0.0059675 | 0.0014956 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4044-9_0_6_load_90 | 113 | 0.0046949 | 0.0011767 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4044-9_0_6_load_92 | 114 | 0.0027755 | 0.00069561 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4044-9_0_6_load_94 | 115 | 0.0046412 | 0.0011632 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4044-9_0_6_load_102 | 116 | 0.0038454 | 0.00096375 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4044-9_0_6_load_103 | 117 | 0.0012339 | 0.00030926 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4044-9_0_6_load_106 | 118 | 0.00091597 | 0.00022956 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4044-9_0_6_load_109 | 120 | 0.0020027 | 0.00050193 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4044-9_0_6_load_108 | 122 | 0.0010551 | 0.00026443 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4044-9_0_6_load_135 | 125 | 0.0020544 | 0.00051488 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4044-9_0_6_load_131 | 126 | 0.0020531 | 0.00051456 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4044-9_0_6_load_110 | 127 | 0.0030714 | 0.00076977 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4044-9_0_6_load_111 | 128 | 0.0012195 | 0.00030563 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4044-9_0_6_load_113 | 129 | 0.0011395 | 0.00028559 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4044-9_0_6_load_115 | 130 | 0.0030763 | 0.00077099 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4044-9_0_6_load_117 | 131 | 0.0026537 | 0.00066507 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4044-9_0_6_load_114 | 132 | 0.0022613 | 0.00056674 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4044-9_0_6_load_119 | 133 | 0.0031824 | 0.00079757 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4044-9_0_6_load_118 | 134 | 0.0024315 | 0.00060939 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4044-9_0_6_load_121 | 136 | 0.0018045 | 0.00045224 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4044-9_0_6_load_124 | 137 | 0.0009365 | 0.00023471 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4044-9_0_6_load_116 | 138 | 0.0074285 | 0.0018618 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4044-9_0_6_load_149 | 139 | 0.0011278 | 0.00028265 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4044-9_0_6_load_130 | 141 | 0.002183 | 0.00054711 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4044-9_0_6_load_132 | 142 | 0.0016758 | 0.00041998 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4044-9_0_6_load_143 | 143 | 0.0019556 | 0.00049012 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4044-9_0_6_load_136 | 144 | 0.0022547 | 0.00056508 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4044-9_0_6_load_141 | 145 | 0.0019559 | 0.0004902 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4044-9_0_6_load_137 | 146 | 0.0023997 | 0.00060142 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4044-9_0_6_load_139 | 147 | 0.0011934 | 0.0002991 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4044-9_0_6_load_140 | 148 | 0.0013191 | 0.00033061 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4044-9_0_6_load_142 | 149 | 0.0013173 | 0.00033015 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4044-9_0_6_load_144 | 150 | 0.0014452 | 0.0003622 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4044-9_0_6_load_145 | 151 | 0.0010654 | 0.00026701 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4044-9_0_6_load_146 | 152 | 0.0011023 | 0.00027627 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 83 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4044-9_0_6_line_0 |  | 0 | 1 | 0.030112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_4044-9_0_6_line_1 |  | 0 | 2 | 0.014412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_4044-9_0_6_line_2 |  | 1 | 3 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_4044-9_0_6_line_3 |  | 2 | 4 | 0.0027303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_4044-9_0_6_line_4 |  | 2 | 5 | 0.014673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4044-9_0_6_line_5 |  | 3 | 6 | 0.005051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4044-9_0_6_line_6 |  | 3 | 7 | 0.027424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4044-9_0_6_line_7 |  | 4 | 8 | 0.018993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_4044-9_0_6_line_8 |  | 5 | 9 | 0.020957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4044-9_0_6_line_9 |  | 6 | 10 | 0.024175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4044-9_0_6_line_10 |  | 7 | 11 | 0.015912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_4044-9_0_6_line_11 |  | 8 | 12 | 0.015204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_4044-9_0_6_line_12 |  | 9 | 13 | 0.0314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4044-9_0_6_line_13 |  | 10 | 38 | 0.018813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4044-9_0_6_line_14 |  | 11 | 19 | 0.014033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_4044-9_0_6_line_15 |  | 11 | 20 | 0.015502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4044-9_0_6_line_16 |  | 12 | 29 | 0.0076598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4044-9_0_6_line_17 |  | 13 | 17 | 0.027854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4044-9_0_6_line_18 |  | 14 | 15 | 0.029254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4044-9_0_6_line_19 |  | 14 | 16 | 0.0034973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4044-9_0_6_line_20 |  | 16 | 17 | 0.009503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4044-9_0_6_line_21 |  | 17 | 18 | 0.023514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4044-9_0_6_line_22 |  | 18 | 21 | 0.02196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4044-9_0_6_line_23 |  | 19 | 23 | 0.021299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4044-9_0_6_line_24 |  | 20 | 22 | 0.0087306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4044-9_0_6_line_25 |  | 23 | 24 | 0.014586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4044-9_0_6_line_26 |  | 24 | 71 | 0.033601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4044-9_0_6_line_27 |  | 25 | 26 | 0.0042993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4044-9_0_6_line_28 |  | 25 | 27 | 0.0033573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4044-9_0_6_line_29 |  | 26 | 28 | 0.013145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4044-9_0_6_line_30 |  | 28 | 29 | 0.0023456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4044-9_0_6_line_31 |  | 28 | 30 | 0.04788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_4044-9_0_6_line_32 |  | 30 | 31 | 0.0080932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4044-9_0_6_line_33 |  | 30 | 32 | 0.019376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4044-9_0_6_line_34 |  | 31 | 33 | 0.0066981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4044-9_0_6_line_35 |  | 32 | 95 | 0.00084594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_4044-9_0_6_line_36 |  | 33 | 34 | 0.011927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4044-9_0_6_line_37 |  | 34 | 35 | 0.018435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4044-9_0_6_line_38 |  | 35 | 36 | 0.00011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4044-9_0_6_line_39 |  | 36 | 37 | 0.0012989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4044-9_0_6_line_40 |  | 38 | 42 | 0.00068566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4044-9_0_6_line_41 |  | 39 | 40 | 0.021566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4044-9_0_6_line_42 |  | 39 | 41 | 5.9246e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4044-9_0_6_line_43 |  | 40 | 42 | 0.016325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4044-9_0_6_line_44 |  | 41 | 43 | 0.023748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4044-9_0_6_line_45 |  | 43 | 44 | 0.038021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4044-9_0_6_line_46 |  | 44 | 45 | 0.022374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4044-9_0_6_line_47 |  | 45 | 68 | 0.00082207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4044-9_0_6_line_48 |  | 46 | 47 | 0.022768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_4044-9_0_6_line_49 |  | 46 | 48 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4044-9_0_6_line_50 |  | 47 | 49 | 0.025496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4044-9_0_6_line_51 |  | 48 | 50 | 0.024132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4044-9_0_6_line_52 |  | 48 | 51 | 0.0094564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_4044-9_0_6_line_53 |  | 49 | 52 | 0.025919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4044-9_0_6_line_54 |  | 49 | 53 | 0.011639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4044-9_0_6_line_55 |  | 49 | 54 | 0.03072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4044-9_0_6_line_56 |  | 50 | 55 | 0.05898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4044-9_0_6_line_57 |  | 51 | 56 | 0.030124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4044-9_0_6_line_58 |  | 52 | 57 | 0.026343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4044-9_0_6_line_59 |  | 52 | 58 | 0.0093109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4044-9_0_6_line_60 |  | 53 | 59 | 0.018981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4044-9_0_6_line_61 |  | 54 | 60 | 0.017111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_4044-9_0_6_line_62 |  | 55 | 61 | 0.18418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4044-9_0_6_line_63 |  | 56 | 62 | 0.011443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_4044-9_0_6_line_64 |  | 57 | 77 | 0.096772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4044-9_0_6_line_65 |  | 58 | 78 | 0.022573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4044-9_0_6_line_66 |  | 60 | 79 | 0.022774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_4044-9_0_6_line_67 |  | 61 | 67 | 0.084458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4044-9_0_6_line_68 |  | 62 | 73 | 0.011854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_4044-9_0_6_line_69 |  | 63 | 64 | 0.039515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4044-9_0_6_line_70 |  | 64 | 65 | 0.040075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4044-9_0_6_line_71 |  | 65 | 66 | 0.01728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4044-9_0_6_line_72 |  | 65 | 67 | 0.0249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4044-9_0_6_line_73 |  | 69 | 70 | 0.0049136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4044-9_0_6_line_74 |  | 69 | 71 | 0.018932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4044-9_0_6_line_75 |  | 70 | 72 | 0.023937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4044-9_0_6_line_76 |  | 71 | 73 | 0.00588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_4044-9_0_6_line_77 |  | 73 | 74 | 0.013699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4044-9_0_6_line_78 |  | 74 | 75 | 0.0090339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4044-9_0_6_line_79 |  | 75 | 76 | 0.017625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4044-9_0_6_line_80 |  | 77 | 91 | 0.013956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4044-9_0_6_line_81 |  | 78 | 87 | 0.012204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4044-9_0_6_line_82 |  | 79 | 152 | 0.011749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_4044-9_0_6_line_83 |  | 80 | 81 | 0.0077518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4044-9_0_6_line_84 |  | 81 | 82 | 0.019981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4044-9_0_6_line_85 |  | 82 | 83 | 0.031988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4044-9_0_6_line_86 |  | 83 | 84 | 0.0076802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_4044-9_0_6_line_87 |  | 84 | 85 | 0.021499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_4044-9_0_6_line_88 |  | 84 | 86 | 0.020808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_4044-9_0_6_line_89 |  | 85 | 104 | 0.020526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_4044-9_0_6_line_90 |  | 86 | 105 | 0.015468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_4044-9_0_6_line_91 |  | 87 | 88 | 0.0065117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4044-9_0_6_line_92 |  | 88 | 89 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4044-9_0_6_line_93 |  | 90 | 91 | 0.020528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4044-9_0_6_line_94 |  | 90 | 92 | 0.017969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4044-9_0_6_line_95 |  | 91 | 93 | 0.020423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4044-9_0_6_line_96 |  | 93 | 94 | 0.012551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4044-9_0_6_line_97 |  | 95 | 96 | 0.015892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_4044-9_0_6_line_98 |  | 96 | 97 | 0.034225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_4044-9_0_6_line_99 |  | 97 | 98 | 0.015918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
100 | LV_4044-9_0_6_line_100 |  | 98 | 99 | 0.021516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_4044-9_0_6_line_101 |  | 99 | 100 | 0.0027821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_4044-9_0_6_line_102 |  | 99 | 101 | 0.014501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_4044-9_0_6_line_103 |  | 100 | 102 | 0.041572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_4044-9_0_6_line_104 |  | 101 | 103 | 0.018015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4044-9_0_6_line_105 |  | 102 | 112 | 0.023102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
106 | LV_4044-9_0_6_line_106 |  | 103 | 108 | 0.020633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4044-9_0_6_line_107 |  | 104 | 106 | 0.022987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_4044-9_0_6_line_108 |  | 105 | 107 | 0.020761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_4044-9_0_6_line_109 |  | 106 | 116 | 0.016106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_4044-9_0_6_line_110 |  | 107 | 120 | 0.00331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_4044-9_0_6_line_111 |  | 108 | 109 | 0.024107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4044-9_0_6_line_112 |  | 109 | 110 | 0.012832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4044-9_0_6_line_113 |  | 109 | 111 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4044-9_0_6_line_114 |  | 111 | 113 | 0.0012179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4044-9_0_6_line_115 |  | 112 | 115 | 0.025476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4044-9_0_6_line_116 |  | 113 | 114 | 0.0077358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4044-9_0_6_line_117 |  | 116 | 117 | 0.01438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
118 | LV_4044-9_0_6_line_118 |  | 117 | 118 | 0.020043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
119 | LV_4044-9_0_6_line_119 |  | 118 | 119 | 0.017144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4044-9_0_6_line_120 |  | 119 | 122 | 0.022734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4044-9_0_6_line_121 |  | 120 | 121 | 0.010169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
122 | LV_4044-9_0_6_line_122 |  | 121 | 125 | 0.013644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_4044-9_0_6_line_123 |  | 121 | 126 | 0.0034291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
124 | LV_4044-9_0_6_line_124 |  | 122 | 123 | 0.014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4044-9_0_6_line_125 |  | 123 | 124 | 0.028794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4044-9_0_6_line_126 |  | 124 | 137 | 0.01603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4044-9_0_6_line_127 |  | 124 | 129 | 0.014203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4044-9_0_6_line_128 |  | 125 | 144 | 0.012219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4044-9_0_6_line_129 |  | 126 | 141 | 0.014507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
130 | LV_4044-9_0_6_line_130 |  | 127 | 128 | 0.0255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4044-9_0_6_line_131 |  | 128 | 129 | 0.0018967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4044-9_0_6_line_132 |  | 130 | 131 | 0.0048058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4044-9_0_6_line_133 |  | 130 | 132 | 0.015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4044-9_0_6_line_134 |  | 131 | 133 | 0.017497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4044-9_0_6_line_135 |  | 132 | 138 | 0.0075575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4044-9_0_6_line_136 |  | 133 | 134 | 0.0073283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4044-9_0_6_line_137 |  | 134 | 135 | 0.0059111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4044-9_0_6_line_138 |  | 135 | 136 | 0.01546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4044-9_0_6_line_139 |  | 137 | 138 | 0.035763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4044-9_0_6_line_140 |  | 139 | 140 | 0.0072116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4044-9_0_6_line_141 |  | 140 | 143 | 0.016166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
142 | LV_4044-9_0_6_line_142 |  | 140 | 142 | 0.013549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
143 | LV_4044-9_0_6_line_143 |  | 141 | 142 | 0.016342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
144 | LV_4044-9_0_6_line_144 |  | 143 | 145 | 0.0020317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
145 | LV_4044-9_0_6_line_145 |  | 144 | 146 | 0.0056593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4044-9_0_6_line_146 |  | 145 | 147 | 0.0037842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
147 | LV_4044-9_0_6_line_147 |  | 147 | 148 | 0.015264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
148 | LV_4044-9_0_6_line_148 |  | 148 | 149 | 0.0013993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
149 | LV_4044-9_0_6_line_149 |  | 149 | 150 | 0.0046031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
150 | LV_4044-9_0_6_line_150 |  | 150 | 151 | 0.022213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
151 | LV_4044-9_0_6_line_151 |  | 151 | 152 | 0.018221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4044-9_0_6_trafo_65 | 0.63 MVA 20/0.4 kV | 153 | 83 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2661564.7299 | 1261761.9472 | 2661573.6297 | 1261790.7143
1 | 2661560.4703 | 1261748.1791 | 2661564.7299 | 1261761.9472
2 | 2661579.5173 | 1261809.7447 | 2661573.6297 | 1261790.7143
3 | 2661560.4703 | 1261748.1791 | 2661559.6008 | 1261745.591
4 | 2661560.4703 | 1261748.1791 | 2661572.9179 | 1261740.4105
5 | 2661579.5173 | 1261809.7447 | 2661574.4779 | 1261809.4028
6 | 2661579.5173 | 1261809.7447 | 2661606.7119 | 1261813.8641
7 | 2661559.6008 | 1261745.591 | 2661557.0062 | 1261737.8688 | 2661554.0548 | 1261734.7692 | 2661548.8113 | 1261734.7035 | 2661547.5397 | 1261735.0685
8 | 2661590.6968 | 1261729.3145 | 2661572.9179 | 1261740.4105
9 | 2661550.3753 | 1261807.5558 | 2661558.9925 | 1261808.3524 | 2661574.4779 | 1261809.4028
10 | 2661606.7119 | 1261813.8641 | 2661622.1221 | 1261818.0054
11 | 2661532.9254 | 1261739.2636 | 2661547.5397 | 1261735.0685
12 | 2661617.335 | 1261712.6893 | 2661590.6968 | 1261729.3145
13 | 2661531.6421 | 1261805.824 | 2661550.3753 | 1261807.5558
14 | 2661622.1221 | 1261818.0054 | 2661620.3451 | 1261831.9251
15 | 2661622.1221 | 1261818.0054 | 2661637.1581 | 1261821.7767
16 | 2661525.5629 | 1261741.377 | 2661532.9254 | 1261739.2636
17 | 2661617.335 | 1261712.6893 | 2661631.0969 | 1261736.9282
18 | 2661635.4862 | 1261746.9998 | 2661621.9591 | 1261767.8557 | 2661620.308 | 1261771.9288
19 | 2661637.3893 | 1261744.0656 | 2661635.4862 | 1261746.9998
20 | 2661637.3893 | 1261744.0656 | 2661631.0969 | 1261736.9282
21 | 2661631.0969 | 1261736.9282 | 2661626.653 | 1261737.5046 | 2661610.1226 | 1261746.9386
22 | 2661592.7359 | 1261760.0445 | 2661600.3437 | 1261752.5194 | 2661610.1226 | 1261746.9386
23 | 2661620.3451 | 1261831.9251 | 2661617.6478 | 1261853.0523
24 | 2661645.5804 | 1261824.0438 | 2661644.5091 | 1261823.6204 | 2661637.1581 | 1261821.7767
25 | 2661615.8006 | 1261867.5211 | 2661617.6478 | 1261853.0523
26 | 2661607.3441 | 1261899.9895 | 2661615.1486 | 1261872.6284 | 2661615.8006 | 1261867.5211
27 | 2661506.5416 | 1261746.8372 | 2661510.674 | 1261745.651
28 | 2661503.3146 | 1261747.7635 | 2661506.5416 | 1261746.8372
29 | 2661523.3084 | 1261742.0242 | 2661510.674 | 1261745.651
30 | 2661525.5629 | 1261741.377 | 2661523.3084 | 1261742.0242
31 | 2661523.3084 | 1261742.0242 | 2661509.6365 | 1261696.1381
32 | 2661517.398 | 1261693.8449 | 2661509.6365 | 1261696.1381
33 | 2661491.0547 | 1261701.6283 | 2661509.6365 | 1261696.1381
34 | 2661523.7272 | 1261691.7821 | 2661523.426 | 1261692.0638 | 2661517.398 | 1261693.8449
35 | 2661490.2434 | 1261701.868 | 2661491.0547 | 1261701.6283
36 | 2661530.9089 | 1261682.568 | 2661529.1631 | 1261686.6973 | 2661523.7272 | 1261691.7821
37 | 2661530.9089 | 1261682.568 | 2661547.6359 | 1261674.8188
38 | 2661547.7379 | 1261674.7715 | 2661547.6359 | 1261674.8188
39 | 2661547.7379 | 1261674.7715 | 2661548.9165 | 1261674.2255
40 | 2661530.9593 | 1261805.7609 | 2661531.6421 | 1261805.824
41 | 2661514.8157 | 1261803.6454 | 2661494.0317 | 1261797.8904
42 | 2661493.9746 | 1261797.8746 | 2661494.0317 | 1261797.8904
43 | 2661514.8157 | 1261803.6454 | 2661518.1943 | 1261804.5809 | 2661530.9593 | 1261805.7609
44 | 2661471.0881 | 1261791.5374 | 2661471.0881 | 1261791.5374 | 2661493.9746 | 1261797.8746
45 | 2661471.0881 | 1261791.5374 | 2661456.3346 | 1261758.2597 | 2661457.8174 | 1261757.6087
46 | 2661478.3038 | 1261748.6147 | 2661457.8174 | 1261757.6087
47 | 2661479.0565 | 1261748.2842 | 2661478.3038 | 1261748.6147
48 | 2661581.5548 | 1261959.5851 | 2661572.9756 | 1261954.6275 | 2661561.5232 | 1261948.7783
49 | 2661595.1964 | 1261967.4682 | 2661581.5548 | 1261959.5851
50 | 2661537.8493 | 1261939.5177 | 2661543.7406 | 1261941.0245 | 2661556.3077 | 1261946.1145 | 2661561.5232 | 1261948.7783
51 | 2661595.1964 | 1261967.4682 | 2661616.3862 | 1261979.0152
52 | 2661595.1964 | 1261967.4682 | 2661596.0277 | 1261964.3301 | 2661597.5359 | 1261958.3059
53 | 2661532.9733 | 1261964.9745 | 2661537.8493 | 1261939.5177
54 | 2661537.8493 | 1261939.5177 | 2661542.5239 | 1261936.3084 | 2661548.4742 | 1261935.8377
55 | 2661537.8493 | 1261939.5177 | 2661526.1724 | 1261936.4829 | 2661514.9475 | 1261936.3439 | 2661507.5897 | 1261937.3736
56 | 2661616.3862 | 1261979.0152 | 2661663.2701 | 1262014.8002
57 | 2661597.5359 | 1261958.3059 | 2661599.3374 | 1261951.1103 | 2661600.8785 | 1261934.0805 | 2661601.5238 | 1261928.511
58 | 2661529.1008 | 1261991.0312 | 2661532.9733 | 1261964.9745
59 | 2661532.9733 | 1261964.9745 | 2661524.0638 | 1261967.6791
60 | 2661567.3957 | 1261934.3412 | 2661548.4742 | 1261935.8377
61 | 2661507.5897 | 1261937.3736 | 2661497.4196 | 1261938.7968 | 2661490.9156 | 1261940.9201
62 | 2661663.2701 | 1262014.8002 | 2661826.717 | 1262099.6954
63 | 2661602.8406 | 1261917.1441 | 2661601.5238 | 1261928.511
64 | 2661529.1008 | 1261991.0312 | 2661523.9049 | 1262087.6633
65 | 2661502.464 | 1261974.2357 | 2661524.0638 | 1261967.6791
66 | 2661469.2658 | 1261947.9878 | 2661490.9156 | 1261940.9201
67 | 2661889.704 | 1262043.4301 | 2661826.717 | 1262099.6954
68 | 2661605.8533 | 1261905.6781 | 2661602.8406 | 1261917.1441
69 | 2661877.0503 | 1261979.6953 | 2661899.5335 | 1261974.5934 | 2661904.1471 | 1261973.6298 | 2661914.4042 | 1261967.9041
70 | 2661884.8513 | 1262019.0058 | 2661877.0503 | 1261979.6953
71 | 2661899.5932 | 1262009.92 | 2661884.8513 | 1262019.0058
72 | 2661884.8513 | 1262019.0058 | 2661888.6734 | 1262038.2377 | 2661889.704 | 1262043.4301
73 | 2661593.68 | 1261886.8862 | 2661590.1336 | 1261883.4853
74 | 2661607.3441 | 1261899.9895 | 2661593.68 | 1261886.8862
75 | 2661572.8566 | 1261866.9174 | 2661590.1336 | 1261883.4853
76 | 2661607.3441 | 1261899.9895 | 2661605.8533 | 1261905.6781
77 | 2661605.8533 | 1261905.6781 | 2661618.8089 | 1261910.1311
78 | 2661623.54 | 1261915.1852 | 2661624.2694 | 1261912.0079 | 2661618.8089 | 1261910.1311
79 | 2661619.5969 | 1261932.3631 | 2661623.54 | 1261915.1852
80 | 2661524.9519 | 1262101.5804 | 2661523.9049 | 1262087.6633
81 | 2661502.464 | 1261974.2357 | 2661499.717 | 1261975.0696 | 2661490.7618 | 1261977.6977
82 | 2661469.2658 | 1261947.9878 | 2661460.0199 | 1261951.0062 | 2661458.0011 | 1261951.1268
83 | 2661520.5932 | 1261891.7092 | 2661520.5367 | 1261891.5691 | 2661515.3945 | 1261885.972
84 | 2661515.3945 | 1261885.972 | 2661511.2539 | 1261881.4652 | 2661498.6227 | 1261875.758
85 | 2661471.3053 | 1261859.2553 | 2661480.203 | 1261865.642 | 2661493.8481 | 1261873.6007 | 2661498.6227 | 1261875.758
86 | 2661465.0661 | 1261854.7768 | 2661471.3053 | 1261859.2553
87 | 2661465.0661 | 1261854.7768 | 2661449.4703 | 1261839.9784
88 | 2661465.0661 | 1261854.7768 | 2661459.7811 | 1261857.2682 | 2661453.2244 | 1261855.2542 | 2661449.0395 | 1261855.5665 | 2661446.2608 | 1261858.3174
89 | 2661434.5806 | 1261825.8501 | 2661449.4703 | 1261839.9784
90 | 2661446.2608 | 1261858.3174 | 2661438.3921 | 1261871.6344
91 | 2661484.5137 | 1261979.5314 | 2661490.7618 | 1261977.6977
92 | 2661474.5055 | 1261982.4686 | 2661484.5137 | 1261979.5314
93 | 2661524.9519 | 1262101.5804 | 2661504.4755 | 1262103.0335
94 | 2661486.5518 | 1262104.3055 | 2661504.4755 | 1262103.0335
95 | 2661524.9519 | 1262101.5804 | 2661526.2421 | 1262121.9623
96 | 2661527.412 | 1262134.4565 | 2661526.4789 | 1262125.7029 | 2661526.2421 | 1262121.9623
97 | 2661475.0023 | 1261706.3711 | 2661490.2434 | 1261701.868
98 | 2661449.963 | 1261683.0385 | 2661475.0023 | 1261706.3711
99 | 2661449.963 | 1261683.0385 | 2661436.4212 | 1261686.3891 | 2661434.4572 | 1261686.2592
100 | 2661413.2157 | 1261683.346 | 2661421.8666 | 1261685.4262 | 2661434.4572 | 1261686.2592
101 | 2661413.2157 | 1261683.346 | 2661412.9149 | 1261680.5803
102 | 2661413.2157 | 1261683.346 | 2661413.683 | 1261697.8393
103 | 2661408.5124 | 1261639.2427 | 2661409.481 | 1261649.0043 | 2661412.9149 | 1261680.5803
104 | 2661413.683 | 1261697.8393 | 2661413.683 | 1261697.8393 | 2661410.7829 | 1261708.6505 | 2661407.1414 | 1261714.419
105 | 2661408.5124 | 1261639.2427 | 2661431.5996 | 1261638.4036
106 | 2661393.3107 | 1261729.629 | 2661405.0297 | 1261717.7641 | 2661407.1414 | 1261714.419
107 | 2661434.5806 | 1261825.8501 | 2661430.1882 | 1261828.7289 | 2661424.3218 | 1261831.3366 | 2661415.4455 | 1261835.0249 | 2661413.774 | 1261835.3535
108 | 2661438.3921 | 1261871.6344 | 2661441.8467 | 1261876.3404 | 2661444.7126 | 1261882.597 | 2661445.9972 | 1261890.5349
109 | 2661413.774 | 1261835.3535 | 2661407.4954 | 1261836.588 | 2661400.2919 | 1261836.6355 | 2661397.8517 | 1261836.0755
110 | 2661446.186 | 1261893.8359 | 2661446.0861 | 1261891.0841 | 2661445.9972 | 1261890.5349
111 | 2661390.0381 | 1261753.1012 | 2661390.3172 | 1261736.3696 | 2661393.3107 | 1261729.629
112 | 2661390.0381 | 1261753.1012 | 2661383.3463 | 1261754.644 | 2661377.5319 | 1261755.9738
113 | 2661390.0381 | 1261753.1012 | 2661393.474 | 1261766.1464 | 2661394.463 | 1261768.981
114 | 2661394.8642 | 1261770.1309 | 2661394.463 | 1261768.981
115 | 2661456.8989 | 1261635.4919 | 2661434.4494 | 1261638.3001 | 2661431.5996 | 1261638.4036
116 | 2661394.8642 | 1261770.1309 | 2661397.4126 | 1261777.435
117 | 2661384.1706 | 1261831.7277 | 2661393.136 | 1261834.9934 | 2661397.8517 | 1261836.0755
118 | 2661384.1706 | 1261831.7277 | 2661369.6642 | 1261826.4437 | 2661365.2219 | 1261825.2342
119 | 2661348.2507 | 1261823.5751 | 2661360.6633 | 1261823.993 | 2661365.2219 | 1261825.2342
120 | 2661348.2507 | 1261823.5751 | 2661347.8065 | 1261839.5155 | 2661347.4588 | 1261846.2943
121 | 2661446.5547 | 1261903.9985 | 2661446.186 | 1261893.8359
122 | 2661446.5547 | 1261903.9985 | 2661448.3714 | 1261903.9062 | 2661459.0029 | 1261898.7282
123 | 2661446.5547 | 1261903.9985 | 2661443.1298 | 1261904.168
124 | 2661345.6054 | 1261860.6749 | 2661347.0415 | 1261854.4297 | 2661347.4588 | 1261846.2943
125 | 2661345.6054 | 1261860.6749 | 2661355.7236 | 1261863.6487 | 2661357.9391 | 1261867.2409 | 2661360.8705 | 1261880.9925
126 | 2661360.8705 | 1261880.9925 | 2661364.2129 | 1261896.6706
127 | 2661360.8705 | 1261880.9925 | 2661346.7303 | 1261882.3261
128 | 2661459.0029 | 1261898.7282 | 2661468.3106 | 1261894.195 | 2661469.7281 | 1261892.9813
129 | 2661428.6406 | 1261904.8854 | 2661443.1298 | 1261904.168
130 | 2661344.8419 | 1261882.5042 | 2661339.3083 | 1261883.026 | 2661320.738 | 1261890.2945
131 | 2661344.8419 | 1261882.5042 | 2661346.7303 | 1261882.3261
132 | 2661325.8034 | 1261940.5497 | 2661330.2508 | 1261938.7286
133 | 2661344.4166 | 1261932.9277 | 2661330.2508 | 1261938.7286
134 | 2661325.8034 | 1261940.5497 | 2661309.6118 | 1261947.1801
135 | 2661351.4104 | 1261930.0638 | 2661344.4166 | 1261932.9277
136 | 2661303.0322 | 1261950.3273 | 2661304.5886 | 1261949.2371 | 2661309.6118 | 1261947.1801
137 | 2661298.1907 | 1261953.7185 | 2661303.0322 | 1261950.3273
138 | 2661298.1907 | 1261953.7185 | 2661285.0758 | 1261961.9047
139 | 2661364.2129 | 1261896.6706 | 2661351.4104 | 1261930.0638
140 | 2661399.6762 | 1261908.9934 | 2661392.6023 | 1261907.5905
141 | 2661399.6762 | 1261908.9934 | 2661398.3358 | 1261914.7281 | 2661402.0251 | 1261924.3192
142 | 2661399.6762 | 1261908.9934 | 2661403.8576 | 1261906.1124 | 2661412.3186 | 1261905.6935
143 | 2661412.3186 | 1261905.6935 | 2661428.6406 | 1261904.8854
144 | 2661402.7545 | 1261926.2155 | 2661402.0251 | 1261924.3192
145 | 2661474.027 | 1261889.3006 | 2661469.7281 | 1261892.9813
146 | 2661404.1131 | 1261929.7473 | 2661402.7545 | 1261926.2155
147 | 2661404.1131 | 1261929.7473 | 2661406.1857 | 1261935.1356 | 2661414.0542 | 1261940.4419
148 | 2661414.0542 | 1261940.4419 | 2661415.2143 | 1261941.2242
149 | 2661419.0308 | 1261943.7979 | 2661415.2143 | 1261941.2242
150 | 2661419.0308 | 1261943.7979 | 2661424.3221 | 1261947.3662 | 2661439.9313 | 1261950.0045
151 | 2661458.0011 | 1261951.1268 | 2661449.5557 | 1261951.6313 | 2661439.9313 | 1261950.0045

## bus_geodata
| x | y | coords
0 | 2661564.7299 | 1261761.9472
1 | 2661573.6297 | 1261790.7143
2 | 2661560.4703 | 1261748.1791
3 | 2661579.5173 | 1261809.7447
4 | 2661559.6008 | 1261745.591
5 | 2661572.9179 | 1261740.4105
6 | 2661574.4779 | 1261809.4028
7 | 2661606.7119 | 1261813.8641
8 | 2661547.5397 | 1261735.0685
9 | 2661590.6968 | 1261729.3145
10 | 2661550.3753 | 1261807.5558
11 | 2661622.1221 | 1261818.0054
12 | 2661532.9254 | 1261739.2636
13 | 2661617.335 | 1261712.6893
14 | 2661635.4862 | 1261746.9998
15 | 2661620.308 | 1261771.9288
16 | 2661637.3893 | 1261744.0656
17 | 2661631.0969 | 1261736.9282
18 | 2661610.1226 | 1261746.9386
19 | 2661620.3451 | 1261831.9251
20 | 2661637.1581 | 1261821.7767
21 | 2661592.7359 | 1261760.0445
22 | 2661645.5804 | 1261824.0438
23 | 2661617.6478 | 1261853.0523
24 | 2661615.8006 | 1261867.5211
25 | 2661506.5416 | 1261746.8372
26 | 2661510.674 | 1261745.651
27 | 2661503.3146 | 1261747.7635
28 | 2661523.3084 | 1261742.0242
29 | 2661525.5629 | 1261741.377
30 | 2661509.6365 | 1261696.1381
31 | 2661517.398 | 1261693.8449
32 | 2661491.0547 | 1261701.6283
33 | 2661523.7272 | 1261691.7821
34 | 2661530.9089 | 1261682.568
35 | 2661547.6359 | 1261674.8188
36 | 2661547.7379 | 1261674.7715
37 | 2661548.9165 | 1261674.2255
38 | 2661531.6421 | 1261805.824
39 | 2661494.0317 | 1261797.8904
40 | 2661514.8157 | 1261803.6454
41 | 2661493.9746 | 1261797.8746
42 | 2661530.9593 | 1261805.7609
43 | 2661471.0881 | 1261791.5374
44 | 2661457.8174 | 1261757.6087
45 | 2661478.3038 | 1261748.6147
46 | 2661581.5548 | 1261959.5851
47 | 2661561.5232 | 1261948.7783
48 | 2661595.1964 | 1261967.4682
49 | 2661537.8493 | 1261939.5177
50 | 2661616.3862 | 1261979.0152
51 | 2661597.5359 | 1261958.3059
52 | 2661532.9733 | 1261964.9745
53 | 2661548.4742 | 1261935.8377
54 | 2661507.5897 | 1261937.3736
55 | 2661663.2701 | 1262014.8002
56 | 2661601.5238 | 1261928.511
57 | 2661529.1008 | 1261991.0312
58 | 2661524.0638 | 1261967.6791
59 | 2661567.3957 | 1261934.3412
60 | 2661490.9156 | 1261940.9201
61 | 2661826.717 | 1262099.6954
62 | 2661602.8406 | 1261917.1441
63 | 2661914.4042 | 1261967.9041
64 | 2661877.0503 | 1261979.6953
65 | 2661884.8513 | 1262019.0058
66 | 2661899.5932 | 1262009.92
67 | 2661889.704 | 1262043.4301
68 | 2661479.0565 | 1261748.2842
69 | 2661593.68 | 1261886.8862
70 | 2661590.1336 | 1261883.4853
71 | 2661607.3441 | 1261899.9895
72 | 2661572.8567 | 1261866.9174
73 | 2661605.8533 | 1261905.6781
74 | 2661618.8089 | 1261910.1311
75 | 2661623.54 | 1261915.1852
76 | 2661619.5969 | 1261932.3631
77 | 2661523.9049 | 1262087.6633
78 | 2661502.464 | 1261974.2357
79 | 2661469.2658 | 1261947.9878
80 | 2661520.5932 | 1261891.7092
81 | 2661515.3945 | 1261885.972
82 | 2661498.6227 | 1261875.758
83 | 2661471.3053 | 1261859.2553
84 | 2661465.0661 | 1261854.7768
85 | 2661449.4703 | 1261839.9784
86 | 2661446.2608 | 1261858.3174
87 | 2661490.7619 | 1261977.6977
88 | 2661484.5137 | 1261979.5314
89 | 2661474.5055 | 1261982.4686
90 | 2661504.4755 | 1262103.0335
91 | 2661524.9519 | 1262101.5804
92 | 2661486.5518 | 1262104.3055
93 | 2661526.2421 | 1262121.9623
94 | 2661527.412 | 1262134.4565
95 | 2661490.2434 | 1261701.868
96 | 2661475.0023 | 1261706.3711
97 | 2661449.963 | 1261683.0385
98 | 2661434.4572 | 1261686.2592
99 | 2661413.2157 | 1261683.346
100 | 2661412.9149 | 1261680.5803
101 | 2661413.683 | 1261697.8393
102 | 2661408.5124 | 1261639.2427
103 | 2661407.1414 | 1261714.419
104 | 2661434.5806 | 1261825.8501
105 | 2661438.3921 | 1261871.6344
106 | 2661413.774 | 1261835.3535
107 | 2661445.9972 | 1261890.5349
108 | 2661393.3107 | 1261729.629
109 | 2661390.0381 | 1261753.1012
110 | 2661377.5319 | 1261755.9738
111 | 2661394.463 | 1261768.981
112 | 2661431.5996 | 1261638.4036
113 | 2661394.8642 | 1261770.1309
114 | 2661397.4126 | 1261777.435
115 | 2661456.8989 | 1261635.4919
116 | 2661397.8517 | 1261836.0755
117 | 2661384.1706 | 1261831.7277
118 | 2661365.2219 | 1261825.2342
119 | 2661348.2507 | 1261823.5751
120 | 2661446.186 | 1261893.8359
121 | 2661446.5547 | 1261903.9985
122 | 2661347.4588 | 1261846.2943
123 | 2661345.6054 | 1261860.6749
124 | 2661360.8705 | 1261880.9925
125 | 2661459.0029 | 1261898.7282
126 | 2661443.1298 | 1261904.168
127 | 2661320.738 | 1261890.2945
128 | 2661344.8419 | 1261882.5042
129 | 2661346.7303 | 1261882.3261
130 | 2661330.2508 | 1261938.7286
131 | 2661325.8034 | 1261940.5497
132 | 2661344.4166 | 1261932.9277
133 | 2661309.6118 | 1261947.1801
134 | 2661303.0322 | 1261950.3273
135 | 2661298.1907 | 1261953.7185
136 | 2661285.0758 | 1261961.9047
137 | 2661364.2129 | 1261896.6706
138 | 2661351.4104 | 1261930.0638
139 | 2661392.6023 | 1261907.5905
140 | 2661399.6762 | 1261908.9934
141 | 2661428.6406 | 1261904.8854
142 | 2661412.3186 | 1261905.6935
143 | 2661402.0251 | 1261924.3192
144 | 2661469.7281 | 1261892.9813
145 | 2661402.7545 | 1261926.2155
146 | 2661474.027 | 1261889.3006
147 | 2661404.1131 | 1261929.7473
148 | 2661414.0542 | 1261940.4419
149 | 2661415.2143 | 1261941.2242
150 | 2661419.0308 | 1261943.7979
151 | 2661439.9313 | 1261950.0045
152 | 2661458.0011 | 1261951.1268
153 | 2661465.0661 | 1261854.7768

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1