## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4045-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4045-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4045-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4045-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4045-12_0_4_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_4045-12_0_4_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_4045-12_0_4_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_4045-12_0_4_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_4045-12_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_4045-12_0_4_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_4045-12_0_4_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_4045-12_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4045-12_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4045-12_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_4045-12_0_4_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_4045-12_0_4_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_4045-12_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4045-12_0_4_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_4045-12_0_4_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_4045-12_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4045-12_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_4045-12_0_4_node_59 | 0.4 | n |  | TRUE
22 | bus_LV_4045-12_0_4_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_4045-12_0_4_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_4045-12_0_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_4045-12_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4045-12_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4045-12_0_4_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_4045-12_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_4045-12_0_4_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_4045-12_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4045-12_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_4045-12_0_4_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_4045-12_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4045-12_0_4_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_4045-12_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_4045-12_0_4_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_4045-12_0_4_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_4045-12_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_4045-12_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_4045-12_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4045-12_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_4045-12_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_4045-12_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_4045-12_0_4_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_4045-12_0_4_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_4045-12_0_4_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_4045-12_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_4045-12_0_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_4045-12_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_4045-12_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_4045-12_0_4_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_4045-12_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_4045-12_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_4045-12_0_4_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_4045-12_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_4045-12_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_4045-12_0_4_node_50 | 0.4 | n |  | TRUE
58 | bus_LV_4045-12_0_4_node_49 | 0.4 | n |  | TRUE
59 | bus_MV_615_0_node_137 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4045-12_0_4_load_0 | 0 | 0.016558 | 0.0041498 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4045-12_0_4_load_28 | 5 | 0.0097435 | 0.0024419 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4045-12_0_4_load_61 | 6 | 0.0078912 | 0.0019777 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4045-12_0_4_load_62 | 7 | 0.017214 | 0.0043143 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4045-12_0_4_load_56 | 10 | 0.013302 | 0.0033338 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4045-12_0_4_load_37 | 14 | 0.014904 | 0.0037354 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4045-12_0_4_load_39 | 15 | 0.014824 | 0.0037152 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4045-12_0_4_load_65 | 17 | 0.0099109 | 0.0024839 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4045-12_0_4_load_59 | 21 | 0.0064386 | 0.0016137 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4045-12_0_4_load_57 | 23 | 0.0045373 | 0.0011372 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4045-12_0_4_load_42 | 24 | 0.0018876 | 0.00047307 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4045-12_0_4_load_29 | 27 | 0.062652 | 0.015702 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4045-12_0_4_load_64 | 29 | 0.0087271 | 0.0021872 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4045-12_0_4_load_63 | 32 | 0.0011186 | 0.00028034 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4045-12_0_4_load_53 | 34 | 0.010474 | 0.0026249 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4045-12_0_4_load_44 | 35 | 0.0054489 | 0.0013656 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4045-12_0_4_load_45 | 36 | 0.002537 | 0.00063582 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4045-12_0_4_load_46 | 37 | 0.0026436 | 0.00066254 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4045-12_0_4_load_38 | 38 | 0.024696 | 0.0061893 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4045-12_0_4_load_36 | 39 | 0.025005 | 0.0062669 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4045-12_0_4_load_30 | 42 | 0.014454 | 0.0036225 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4045-12_0_4_load_43 | 44 | 0.0035917 | 0.00090017 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4045-12_0_4_load_60 | 45 | 0.0065699 | 0.0016466 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4045-12_0_4_load_55 | 46 | 0.0039492 | 0.00098977 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4045-12_0_4_load_41 | 47 | 0.0010795 | 0.00027056 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4045-12_0_4_load_58 | 48 | 0.0035666 | 0.00089389 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4045-12_0_4_load_34 | 50 | 0.013366 | 0.0033497 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4045-12_0_4_load_35 | 51 | 0.0032881 | 0.00082407 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4045-12_0_4_load_51 | 52 | 0.016992 | 0.0042586 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4045-12_0_4_load_47 | 53 | 0.0017507 | 0.00043877 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4045-12_0_4_load_54 | 54 | 0.019802 | 0.0049627 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4045-12_0_4_load_48 | 55 | 0.0014402 | 0.00036094 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4045-12_0_4_load_52 | 56 | 0.0014337 | 0.00035932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4045-12_0_4_load_50 | 57 | 0.0013434 | 0.00033668 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4045-12_0_4_load_49 | 58 | 0.011652 | 0.0029202 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4045-12_0_4_line_0 |  | 0 | 1 | 0.025733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4045-12_0_4_line_1 |  | 0 | 2 | 0.020812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4045-12_0_4_line_2 |  | 1 | 3 | 0.061475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4045-12_0_4_line_3 |  | 1 | 4 | 0.25187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4045-12_0_4_line_4 |  | 2 | 5 | 0.026732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4045-12_0_4_line_5 |  | 3 | 6 | 0.048228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4045-12_0_4_line_6 |  | 3 | 7 | 0.026769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4045-12_0_4_line_7 |  | 4 | 29 | 0.026842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4045-12_0_4_line_8 |  | 6 | 45 | 0.0029987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4045-12_0_4_line_9 |  | 7 | 28 | 0.020938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4045-12_0_4_line_10 |  | 8 | 9 | 0.004203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4045-12_0_4_line_11 |  | 8 | 10 | 0.027487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4045-12_0_4_line_12 |  | 9 | 22 | 0.011119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4045-12_0_4_line_13 |  | 9 | 23 | 0.022466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4045-12_0_4_line_14 |  | 10 | 46 | 0.031002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4045-12_0_4_line_15 |  | 11 | 12 | 0.008092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4045-12_0_4_line_16 |  | 11 | 13 | 0.033987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4045-12_0_4_line_17 |  | 12 | 14 | 0.012061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4045-12_0_4_line_18 |  | 12 | 15 | 0.012953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4045-12_0_4_line_19 |  | 13 | 24 | 0.04787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4045-12_0_4_line_20 |  | 14 | 39 | 0.034906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4045-12_0_4_line_21 |  | 15 | 43 | 0.010764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4045-12_0_4_line_22 |  | 16 | 17 | 0.007387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4045-12_0_4_line_23 |  | 16 | 18 | 0.12975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4045-12_0_4_line_24 |  | 18 | 43 | 0.013357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4045-12_0_4_line_25 |  | 18 | 44 | 0.014652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4045-12_0_4_line_26 |  | 19 | 20 | 0.027501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4045-12_0_4_line_27 |  | 19 | 21 | 0.031014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4045-12_0_4_line_28 |  | 20 | 35 | 0.0030353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4045-12_0_4_line_29 |  | 22 | 36 | 0.013376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4045-12_0_4_line_30 |  | 22 | 37 | 0.0063834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4045-12_0_4_line_31 |  | 23 | 48 | 0.035136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4045-12_0_4_line_32 |  | 24 | 26 | 0.013189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4045-12_0_4_line_33 |  | 25 | 26 | 0.054769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4045-12_0_4_line_34 |  | 25 | 27 | 0.02257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4045-12_0_4_line_35 |  | 25 | 28 | 0.061411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_4045-12_0_4_line_36 |  | 26 | 33 | 0.034494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_4045-12_0_4_line_37 |  | 28 | 49 | 0.084082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4045-12_0_4_line_38 |  | 30 | 31 | 0.097657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4045-12_0_4_line_39 |  | 30 | 32 | 0.014471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4045-12_0_4_line_40 |  | 31 | 38 | 0.012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4045-12_0_4_line_41 |  | 31 | 39 | 0.013167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4045-12_0_4_line_42 |  | 33 | 34 | 0.01569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4045-12_0_4_line_43 |  | 34 | 52 | 0.018511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4045-12_0_4_line_44 |  | 35 | 36 | 0.037219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4045-12_0_4_line_45 |  | 37 | 53 | 0.01706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4045-12_0_4_line_46 |  | 40 | 41 | 0.010117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4045-12_0_4_line_47 |  | 40 | 42 | 0.025836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4045-12_0_4_line_48 |  | 41 | 51 | 0.01105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4045-12_0_4_line_49 |  | 42 | 49 | 0.02454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4045-12_0_4_line_50 |  | 43 | 47 | 0.0034062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4045-12_0_4_line_51 |  | 46 | 54 | 0.026073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4045-12_0_4_line_52 |  | 50 | 51 | 0.014776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4045-12_0_4_line_53 |  | 52 | 58 | 0.035615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4045-12_0_4_line_54 |  | 53 | 55 | 0.019377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4045-12_0_4_line_55 |  | 55 | 56 | 0.019905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4045-12_0_4_line_56 |  | 56 | 57 | 0.018549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4045-12_0_4_line_57 |  | 57 | 58 | 0.018972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4045-12_0_4_trafo_32 | 0.63 MVA 20/0.4 kV | 59 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2667519.871 | 1257172.3764 | 2667518.83 | 1257184.9626 | 2667525.0819 | 1257196.4786
1 | 2667535.0114 | 1257214.7689 | 2667525.0819 | 1257196.4786
2 | 2667519.871 | 1257172.3764 | 2667484.6339 | 1257188.2085 | 2667478.017 | 1257191.1798 | 2667471.0156 | 1257194.1466 | 2667463.7499 | 1257197.8109
3 | 2667471.551 | 1257099.5725 | 2667551.2764 | 1257062.8434 | 2667566.72 | 1257093.2196 | 2667569.0192 | 1257097.2487 | 2667590.0804 | 1257140.832 | 2667546.4448 | 1257160.4374 | 2667519.871 | 1257172.3764
4 | 2667535.0114 | 1257214.7689 | 2667511.2791 | 1257227.0719
5 | 2667463.7499 | 1257197.8109 | 2667463.0111 | 1257195.8122 | 2667443.6081 | 1257153.9979
6 | 2667463.7499 | 1257197.8109 | 2667439.5817 | 1257209.3212
7 | 2667471.551 | 1257099.5725 | 2667447.1705 | 1257110.8022
8 | 2667442.3459 | 1257151.2778 | 2667443.6081 | 1257153.9979
9 | 2667420.6779 | 1257218.3243 | 2667439.5817 | 1257209.3212
10 | 2667296.5062 | 1257124.2321 | 2667298.0528 | 1257128.1414
11 | 2667298.0528 | 1257128.1414 | 2667308.175 | 1257153.6972
12 | 2667296.5062 | 1257124.2321 | 2667302.2794 | 1257121.8404 | 2667307.0201 | 1257120.7268
13 | 2667296.5062 | 1257124.2321 | 2667279.8683 | 1257131.1369 | 2667276.524 | 1257134.0755
14 | 2667319.5915 | 1257182.5209 | 2667308.175 | 1257153.6972
15 | 2667477.439 | 1257309.9822 | 2667473.7206 | 1257302.7902
16 | 2667457.7528 | 1257272.7641 | 2667473.7206 | 1257302.7902
17 | 2667477.439 | 1257309.9822 | 2667488.0502 | 1257304.2491
18 | 2667477.439 | 1257309.9822 | 2667465.9828 | 1257316.0278
19 | 2667457.7528 | 1257272.7641 | 2667428.3219 | 1257287.3395 | 2667419.1768 | 1257287.8691 | 2667413.9732 | 1257290.5795
20 | 2667518.7608 | 1257287.6565 | 2667488.0502 | 1257304.2491
21 | 2667456.4634 | 1257321.0514 | 2667465.9828 | 1257316.0278
22 | 2667509.2641 | 1257419.981 | 2667516.4697 | 1257418.2619
23 | 2667449.9086 | 1257329.8387 | 2667453.0948 | 1257335.4235 | 2667455.815 | 1257340.2247 | 2667462.1881 | 1257351.3387 | 2667465.4464 | 1257355.2342 | 2667468.3844 | 1257356.1462 | 2667468.4089 | 1257359.2821 | 2667469.477 | 1257362.163 | 2667471.508 | 1257364.5768 | 2667474.3325 | 1257369.4792 | 2667478.6474 | 1257369.9843 | 2667483.1455 | 1257369.6353 | 2667487.2908 | 1257367.1585 | 2667490.4474 | 1257362.1131 | 2667507.9127 | 1257395.6811 | 2667509.2641 | 1257419.981
24 | 2667456.4634 | 1257321.0514 | 2667457.2497 | 1257326.1529 | 2667449.9086 | 1257329.8387
25 | 2667449.9086 | 1257329.8387 | 2667436.7349 | 1257336.2524
26 | 2667264.8731 | 1257071.8011 | 2667278.8419 | 1257073.5054 | 2667285.2599 | 1257071.4435 | 2667291.6251 | 1257069.3921
27 | 2667264.8731 | 1257071.8011 | 2667255.0917 | 1257083.8321 | 2667242.715 | 1257093.1771
28 | 2667291.6251 | 1257069.3921 | 2667292.3932 | 1257072.3286
29 | 2667307.0201 | 1257120.7268 | 2667302.6834 | 1257108.0732
30 | 2667307.0201 | 1257120.7268 | 2667309.0913 | 1257126.7648
31 | 2667276.524 | 1257134.0755 | 2667250.1301 | 1257157.2674
32 | 2667402.2763 | 1257296.6721 | 2667413.9732 | 1257290.5795
33 | 2667402.2763 | 1257296.6721 | 2667399.5682 | 1257292.1268 | 2667395.6867 | 1257285.3444 | 2667405.1247 | 1257282.2718 | 2667433.4369 | 1257267.928
34 | 2667433.4369 | 1257267.928 | 2667453.5722 | 1257257.732
35 | 2667420.6779 | 1257218.3243 | 2667410.6473 | 1257223.1025 | 2667416.5945 | 1257235.8795 | 2667418.2816 | 1257239.3679 | 2667429.2946 | 1257260.2086 | 2667433.4369 | 1257267.928
36 | 2667380.2096 | 1257273.7709 | 2667386.2751 | 1257283.447 | 2667390.6531 | 1257285.6984 | 2667395.6867 | 1257285.3444 | 2667399.5682 | 1257292.1268 | 2667402.2763 | 1257296.6721
37 | 2667372.1332 | 1257191.0296 | 2667389.8724 | 1257229.1149 | 2667393.6448 | 1257236.8746 | 2667401.0526 | 1257228.008 | 2667410.6473 | 1257223.1025 | 2667420.6779 | 1257218.3243
38 | 2667530.345 | 1257281.3978 | 2667548.0195 | 1257314.468 | 2667527.2749 | 1257325.1058 | 2667530.7592 | 1257331.6615 | 2667544.5557 | 1257357.6489
39 | 2667544.5557 | 1257357.6489 | 2667555.7681 | 1257351.7169 | 2667556.6539 | 1257353.2676
40 | 2667530.345 | 1257281.3978 | 2667541.3923 | 1257275.7323
41 | 2667530.345 | 1257281.3978 | 2667518.7608 | 1257287.6565
42 | 2667380.2096 | 1257273.7709 | 2667371.7662 | 1257260.5462
43 | 2667371.7662 | 1257260.5462 | 2667366.8226 | 1257252.8033 | 2667362.387 | 1257244.6014
44 | 2667292.3932 | 1257072.3286 | 2667298.7144 | 1257096.4925 | 2667302.6834 | 1257108.0732
45 | 2667309.0913 | 1257126.7648 | 2667309.509 | 1257127.9826 | 2667315.1136 | 1257142.7261
46 | 2667356.4422 | 1257145.8848 | 2667361.4464 | 1257143.4845 | 2667365.6009 | 1257141.5303
47 | 2667356.4422 | 1257145.8848 | 2667353.1829 | 1257150.6735 | 2667361.7024 | 1257168.8165
48 | 2667365.6009 | 1257141.5303 | 2667361.5008 | 1257131.2692
49 | 2667372.1332 | 1257191.0296 | 2667361.7024 | 1257168.8165
50 | 2667456.4634 | 1257321.0514 | 2667454.8661 | 1257318.0429
51 | 2667330.5433 | 1257206.1738 | 2667321.0622 | 1257186.2342 | 2667319.5915 | 1257182.5209
52 | 2667356.0182 | 1257117.5482 | 2667361.5008 | 1257131.2692
53 | 2667345.8957 | 1257213.0476 | 2667349.3789 | 1257220.5479 | 2667362.387 | 1257244.6014
54 | 2667315.1136 | 1257142.7261 | 2667321.9989 | 1257160.8384
55 | 2667330.1048 | 1257179.0112 | 2667323.2296 | 1257164.076 | 2667321.9989 | 1257160.8384
56 | 2667330.1048 | 1257179.0112 | 2667331.9203 | 1257182.9553 | 2667337.9044 | 1257195.8404
57 | 2667345.8957 | 1257213.0476 | 2667337.9044 | 1257195.8404

## bus_geodata
| x | y | coords
0 | 2667525.0819 | 1257196.4786
1 | 2667519.871 | 1257172.3764
2 | 2667535.0114 | 1257214.7689
3 | 2667463.7499 | 1257197.8109
4 | 2667471.551 | 1257099.5725
5 | 2667511.2791 | 1257227.0719
6 | 2667443.6081 | 1257153.9979
7 | 2667439.5817 | 1257209.3212
8 | 2667298.0528 | 1257128.1414
9 | 2667296.5062 | 1257124.2321
10 | 2667308.175 | 1257153.6972
11 | 2667473.7206 | 1257302.7902
12 | 2667477.439 | 1257309.9822
13 | 2667457.7528 | 1257272.7641
14 | 2667488.0502 | 1257304.2491
15 | 2667465.9828 | 1257316.0278
16 | 2667509.2641 | 1257419.981
17 | 2667516.4697 | 1257418.2619
18 | 2667449.9086 | 1257329.8387
19 | 2667264.8731 | 1257071.8011
20 | 2667291.6251 | 1257069.3921
21 | 2667242.715 | 1257093.1771
22 | 2667307.0201 | 1257120.7268
23 | 2667276.524 | 1257134.0755
24 | 2667413.9732 | 1257290.5795
25 | 2667433.4369 | 1257267.928
26 | 2667402.2763 | 1257296.6721
27 | 2667453.5722 | 1257257.732
28 | 2667420.6779 | 1257218.3243
29 | 2667447.1705 | 1257110.8022
30 | 2667544.5557 | 1257357.6489
31 | 2667530.345 | 1257281.3978
32 | 2667556.6539 | 1257353.2676
33 | 2667380.2096 | 1257273.7709
34 | 2667371.7662 | 1257260.5462
35 | 2667292.3932 | 1257072.3286
36 | 2667302.6834 | 1257108.0732
37 | 2667309.0913 | 1257126.7648
38 | 2667541.3923 | 1257275.7323
39 | 2667518.7608 | 1257287.6565
40 | 2667356.4422 | 1257145.8848
41 | 2667365.6009 | 1257141.5303
42 | 2667361.7024 | 1257168.8165
43 | 2667456.4634 | 1257321.0514
44 | 2667436.7349 | 1257336.2524
45 | 2667442.3459 | 1257151.2778
46 | 2667319.5915 | 1257182.5209
47 | 2667454.8661 | 1257318.0429
48 | 2667250.1301 | 1257157.2674
49 | 2667372.1331 | 1257191.0296
50 | 2667356.0182 | 1257117.5482
51 | 2667361.5008 | 1257131.2692
52 | 2667362.387 | 1257244.6014
53 | 2667315.1136 | 1257142.7261
54 | 2667330.5433 | 1257206.1738
55 | 2667321.9989 | 1257160.8384
56 | 2667330.1048 | 1257179.0112
57 | 2667337.9044 | 1257195.8404
58 | 2667345.8957 | 1257213.0476
59 | 2667410.6473 | 1257223.1025

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1