## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4045-16_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4045-16_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4045-16_0_6_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_4045-16_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4045-16_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4045-16_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4045-16_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_4045-16_0_6_node_110 | 0.4 | n |  | TRUE
8 | bus_LV_4045-16_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4045-16_0_6_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_4045-16_0_6_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_4045-16_0_6_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_4045-16_0_6_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_4045-16_0_6_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_4045-16_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4045-16_0_6_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_4045-16_0_6_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_4045-16_0_6_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_4045-16_0_6_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_4045-16_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4045-16_0_6_node_107 | 0.4 | n |  | TRUE
21 | bus_LV_4045-16_0_6_node_106 | 0.4 | n |  | TRUE
22 | bus_LV_4045-16_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4045-16_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4045-16_0_6_node_105 | 0.4 | n |  | TRUE
25 | bus_LV_4045-16_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_4045-16_0_6_node_100 | 0.4 | n |  | TRUE
27 | bus_LV_4045-16_0_6_node_109 | 0.4 | n |  | TRUE
28 | bus_LV_4045-16_0_6_node_101 | 0.4 | n |  | TRUE
29 | bus_LV_4045-16_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4045-16_0_6_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_4045-16_0_6_node_88 | 0.4 | n |  | TRUE
32 | bus_LV_4045-16_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4045-16_0_6_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_4045-16_0_6_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_4045-16_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4045-16_0_6_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_4045-16_0_6_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_4045-16_0_6_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_4045-16_0_6_node_63 | 0.4 | n |  | TRUE
40 | bus_LV_4045-16_0_6_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_4045-16_0_6_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_4045-16_0_6_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_4045-16_0_6_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_4045-16_0_6_node_98 | 0.4 | n |  | TRUE
45 | bus_LV_4045-16_0_6_node_102 | 0.4 | n |  | TRUE
46 | bus_LV_4045-16_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_4045-16_0_6_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_4045-16_0_6_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_4045-16_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4045-16_0_6_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_4045-16_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_4045-16_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4045-16_0_6_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_4045-16_0_6_node_104 | 0.4 | n |  | TRUE
55 | bus_LV_4045-16_0_6_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_4045-16_0_6_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_4045-16_0_6_node_103 | 0.4 | n |  | TRUE
58 | bus_LV_4045-16_0_6_node_93 | 0.4 | n |  | TRUE
59 | bus_LV_4045-16_0_6_node_94 | 0.4 | n |  | TRUE
60 | bus_LV_4045-16_0_6_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_4045-16_0_6_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_4045-16_0_6_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_4045-16_0_6_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_4045-16_0_6_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_4045-16_0_6_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_4045-16_0_6_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_4045-16_0_6_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_4045-16_0_6_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_4045-16_0_6_node_23 | 0.4 | n |  | TRUE
70 | bus_LV_4045-16_0_6_node_25 | 0.4 | n |  | TRUE
71 | bus_LV_4045-16_0_6_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_4045-16_0_6_node_28 | 0.4 | n |  | TRUE
73 | bus_LV_4045-16_0_6_node_29 | 0.4 | n |  | TRUE
74 | bus_LV_4045-16_0_6_node_30 | 0.4 | n |  | TRUE
75 | bus_LV_4045-16_0_6_node_31 | 0.4 | n |  | TRUE
76 | bus_LV_4045-16_0_6_node_33 | 0.4 | n |  | TRUE
77 | bus_LV_4045-16_0_6_node_34 | 0.4 | n |  | TRUE
78 | bus_LV_4045-16_0_6_node_35 | 0.4 | n |  | TRUE
79 | bus_LV_4045-16_0_6_node_36 | 0.4 | n |  | TRUE
80 | bus_LV_4045-16_0_6_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_4045-16_0_6_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_4045-16_0_6_node_50 | 0.4 | n |  | TRUE
83 | bus_LV_4045-16_0_6_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_4045-16_0_6_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_4045-16_0_6_node_96 | 0.4 | n |  | TRUE
86 | bus_LV_4045-16_0_6_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_4045-16_0_6_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_4045-16_0_6_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_4045-16_0_6_node_49 | 0.4 | n |  | TRUE
90 | bus_LV_4045-16_0_6_node_51 | 0.4 | n |  | TRUE
91 | bus_LV_4045-16_0_6_node_56 | 0.4 | n |  | TRUE
92 | bus_LV_4045-16_0_6_node_53 | 0.4 | n |  | TRUE
93 | bus_LV_4045-16_0_6_node_54 | 0.4 | n |  | TRUE
94 | bus_LV_4045-16_0_6_node_55 | 0.4 | n |  | TRUE
95 | bus_LV_4045-16_0_6_node_62 | 0.4 | n |  | TRUE
96 | bus_LV_4045-16_0_6_node_64 | 0.4 | n |  | TRUE
97 | bus_LV_4045-16_0_6_node_60 | 0.4 | n |  | TRUE
98 | bus_LV_4045-16_0_6_node_65 | 0.4 | n |  | TRUE
99 | bus_LV_4045-16_0_6_node_67 | 0.4 | n |  | TRUE
100 | bus_LV_4045-16_0_6_node_71 | 0.4 | n |  | TRUE
101 | bus_LV_4045-16_0_6_node_72 | 0.4 | n |  | TRUE
102 | bus_LV_4045-16_0_6_node_75 | 0.4 | n |  | TRUE
103 | bus_LV_4045-16_0_6_node_91 | 0.4 | n |  | TRUE
104 | bus_LV_4045-16_0_6_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_4045-16_0_6_node_97 | 0.4 | n |  | TRUE
106 | bus_MV_615_0_node_135 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4045-16_0_6_load_0 | 0 | 0.002796 | 0.00070073 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4045-16_0_6_load_3 | 3 | 0.060318 | 0.015117 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4045-16_0_6_load_110 | 7 | 0.00060923 | 0.00015269 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4045-16_0_6_load_26 | 9 | 0.0018982 | 0.00047574 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4045-16_0_6_load_27 | 10 | 0.0044383 | 0.0011124 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4045-16_0_6_load_24 | 11 | 0.0081497 | 0.0020425 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4045-16_0_6_load_20 | 12 | 0.0026049 | 0.00065285 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4045-16_0_6_load_21 | 13 | 0.056707 | 0.014212 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4045-16_0_6_load_48 | 15 | 0.0028592 | 0.00071658 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4045-16_0_6_load_46 | 16 | 0.0031157 | 0.00078087 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4045-16_0_6_load_37 | 18 | 0.006503 | 0.0016298 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4045-16_0_6_load_107 | 20 | 0.0068751 | 0.0017231 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4045-16_0_6_load_106 | 21 | 0.0068716 | 0.0017222 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4045-16_0_6_load_105 | 24 | 0.016299 | 0.0040848 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4045-16_0_6_load_109 | 27 | 0.017136 | 0.0042948 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4045-16_0_6_load_101 | 28 | 0.0022357 | 0.00056031 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4045-16_0_6_load_89 | 30 | 0.0068947 | 0.001728 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4045-16_0_6_load_88 | 31 | 0.006943 | 0.0017401 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4045-16_0_6_load_86 | 33 | 0.007296 | 0.0018286 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4045-16_0_6_load_45 | 34 | 0.001641 | 0.00041126 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4045-16_0_6_load_22 | 35 | 0.074801 | 0.018747 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4045-16_0_6_load_58 | 38 | 0.001456 | 0.00036491 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4045-16_0_6_load_63 | 39 | 0.0035057 | 0.0008786 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4045-16_0_6_load_47 | 40 | 0.0018491 | 0.00046343 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4045-16_0_6_load_92 | 43 | 0.011713 | 0.0029356 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4045-16_0_6_load_98 | 44 | 0.0097135 | 0.0024344 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4045-16_0_6_load_102 | 45 | 0.0095692 | 0.0023983 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4045-16_0_6_load_79 | 47 | 0.004353 | 0.001091 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4045-16_0_6_load_80 | 48 | 0.0065569 | 0.0016433 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4045-16_0_6_load_78 | 50 | 0.0026891 | 0.00067395 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4045-16_0_6_load_39 | 52 | 0.011383 | 0.002853 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4045-16_0_6_load_32 | 53 | 0.0027626 | 0.00069237 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4045-16_0_6_load_104 | 54 | 0.0092025 | 0.0023064 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4045-16_0_6_load_95 | 55 | 0.016017 | 0.0040142 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4045-16_0_6_load_108 | 56 | 0.0061754 | 0.0015477 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4045-16_0_6_load_103 | 57 | 0.0091977 | 0.0023052 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4045-16_0_6_load_93 | 58 | 0.007949 | 0.0019922 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4045-16_0_6_load_94 | 59 | 0.015551 | 0.0038975 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4045-16_0_6_load_69 | 61 | 0.0037312 | 0.00093512 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4045-16_0_6_load_66 | 62 | 0.0026813 | 0.000672 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4045-16_0_6_load_83 | 65 | 0.0025403 | 0.00063666 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4045-16_0_6_load_85 | 66 | 0.019043 | 0.0047727 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4045-16_0_6_load_84 | 67 | 0.0039184 | 0.00098204 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4045-16_0_6_load_87 | 68 | 0.0061036 | 0.0015297 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4045-16_0_6_load_23 | 69 | 0.0025732 | 0.0006449 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4045-16_0_6_load_25 | 70 | 0.0021144 | 0.00052993 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4045-16_0_6_load_44 | 71 | 0.0026369 | 0.00066088 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4045-16_0_6_load_28 | 72 | 0.0025671 | 0.00064338 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4045-16_0_6_load_29 | 73 | 0.0016499 | 0.00041351 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4045-16_0_6_load_30 | 74 | 0.0029155 | 0.0007307 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4045-16_0_6_load_31 | 75 | 0.0016553 | 0.00041485 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4045-16_0_6_load_33 | 76 | 0.0029521 | 0.00073986 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4045-16_0_6_load_35 | 78 | 0.0026369 | 0.00066088 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4045-16_0_6_load_36 | 79 | 0.0017384 | 0.0004357 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4045-16_0_6_load_52 | 80 | 0.0044512 | 0.0011156 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4045-16_0_6_load_57 | 81 | 0.0022268 | 0.0005581 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4045-16_0_6_load_50 | 82 | 0.0010036 | 0.00025152 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4045-16_0_6_load_73 | 83 | 0.0016414 | 0.00041137 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4045-16_0_6_load_76 | 84 | 0.0044033 | 0.0011036 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4045-16_0_6_load_96 | 85 | 0.01049 | 0.0026291 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4045-16_0_6_load_77 | 86 | 0.004426 | 0.0011093 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4045-16_0_6_load_81 | 87 | 0.0062618 | 0.0015694 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4045-16_0_6_load_49 | 89 | 0.0020455 | 0.00051265 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4045-16_0_6_load_51 | 90 | 0.0043911 | 0.0011005 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4045-16_0_6_load_53 | 92 | 0.0057853 | 0.0014499 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4045-16_0_6_load_54 | 93 | 0.0038076 | 0.00095427 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4045-16_0_6_load_55 | 94 | 0.0016772 | 0.00042035 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4045-16_0_6_load_62 | 95 | 0.0022302 | 0.00055893 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4045-16_0_6_load_64 | 96 | 0.0018065 | 0.00045274 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4045-16_0_6_load_60 | 97 | 0.001647 | 0.00041278 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4045-16_0_6_load_65 | 98 | 0.00158 | 0.00039597 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4045-16_0_6_load_67 | 99 | 0.0022483 | 0.00056349 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4045-16_0_6_load_71 | 100 | 0.0027103 | 0.00067926 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4045-16_0_6_load_72 | 101 | 0.0017957 | 0.00045004 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4045-16_0_6_load_75 | 102 | 0.0043066 | 0.0010793 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4045-16_0_6_load_99 | 104 | 0.0061751 | 0.0015476 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4045-16_0_6_load_97 | 105 | 0.011063 | 0.0027726 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4045-16_0_6_line_0 |  | 0 | 1 | 0.029624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4045-16_0_6_line_1 |  | 1 | 2 | 0.048365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4045-16_0_6_line_2 |  | 2 | 17 | 0.014109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4045-16_0_6_line_3 |  | 2 | 18 | 0.041127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_4045-16_0_6_line_4 |  | 3 | 4 | 0.015767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4045-16_0_6_line_5 |  | 4 | 12 | 0.031174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4045-16_0_6_line_6 |  | 4 | 13 | 0.022102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4045-16_0_6_line_7 |  | 5 | 6 | 0.044729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4045-16_0_6_line_8 |  | 5 | 7 | 0.010145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4045-16_0_6_line_9 |  | 6 | 28 | 0.007186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4045-16_0_6_line_10 |  | 8 | 9 | 0.04307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_4045-16_0_6_line_11 |  | 8 | 10 | 0.019799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4045-16_0_6_line_12 |  | 8 | 11 | 0.025509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_4045-16_0_6_line_13 |  | 9 | 34 | 0.032988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_4045-16_0_6_line_14 |  | 10 | 14 | 0.043583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4045-16_0_6_line_15 |  | 11 | 13 | 0.032827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4045-16_0_6_line_16 |  | 12 | 35 | 0.0025734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4045-16_0_6_line_17 |  | 14 | 15 | 0.02292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4045-16_0_6_line_18 |  | 14 | 16 | 0.01426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4045-16_0_6_line_19 |  | 15 | 39 | 0.035424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4045-16_0_6_line_20 |  | 16 | 40 | 0.015117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4045-16_0_6_line_21 |  | 17 | 44 | 0.023934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4045-16_0_6_line_22 |  | 17 | 45 | 0.047951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4045-16_0_6_line_23 |  | 18 | 51 | 0.023223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4045-16_0_6_line_24 |  | 19 | 20 | 0.0038298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4045-16_0_6_line_25 |  | 19 | 21 | 0.012064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4045-16_0_6_line_26 |  | 20 | 25 | 0.025587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4045-16_0_6_line_27 |  | 22 | 23 | 0.017347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4045-16_0_6_line_28 |  | 22 | 24 | 0.021867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4045-16_0_6_line_29 |  | 23 | 26 | 0.010376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4045-16_0_6_line_30 |  | 23 | 27 | 0.024155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4045-16_0_6_line_31 |  | 24 | 54 | 0.044268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4045-16_0_6_line_32 |  | 25 | 26 | 0.038133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4045-16_0_6_line_33 |  | 26 | 55 | 0.024378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4045-16_0_6_line_34 |  | 27 | 56 | 0.030055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4045-16_0_6_line_35 |  | 28 | 45 | 0.024585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4045-16_0_6_line_36 |  | 29 | 30 | 0.012849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4045-16_0_6_line_37 |  | 29 | 31 | 0.040191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4045-16_0_6_line_38 |  | 31 | 32 | 0.016637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4045-16_0_6_line_39 |  | 32 | 33 | 0.0096983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4045-16_0_6_line_40 |  | 33 | 68 | 0.034139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4045-16_0_6_line_41 |  | 34 | 71 | 0.00073396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_4045-16_0_6_line_42 |  | 35 | 69 | 0.018914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4045-16_0_6_line_43 |  | 36 | 37 | 0.024989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4045-16_0_6_line_44 |  | 36 | 38 | 0.018081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4045-16_0_6_line_45 |  | 37 | 98 | 0.019408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4045-16_0_6_line_46 |  | 38 | 97 | 0.01544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4045-16_0_6_line_47 |  | 41 | 42 | 0.00698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_4045-16_0_6_line_48 |  | 41 | 43 | 0.030683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4045-16_0_6_line_49 |  | 42 | 68 | 0.022118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4045-16_0_6_line_50 |  | 42 | 87 | 0.013558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_4045-16_0_6_line_51 |  | 43 | 88 | 0.026806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_4045-16_0_6_line_52 |  | 44 | 85 | 0.018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4045-16_0_6_line_53 |  | 46 | 47 | 0.019881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_4045-16_0_6_line_54 |  | 46 | 48 | 0.012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4045-16_0_6_line_55 |  | 47 | 86 | 0.01863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_4045-16_0_6_line_56 |  | 48 | 87 | 0.022731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_4045-16_0_6_line_57 |  | 49 | 50 | 0.015421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_4045-16_0_6_line_58 |  | 49 | 51 | 0.0090138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_4045-16_0_6_line_59 |  | 50 | 84 | 0.021577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_4045-16_0_6_line_60 |  | 51 | 52 | 0.031535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4045-16_0_6_line_61 |  | 51 | 53 | 0.036739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_4045-16_0_6_line_62 |  | 52 | 64 | 0.025563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4045-16_0_6_line_63 |  | 53 | 74 | 0.0012856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_4045-16_0_6_line_64 |  | 54 | 57 | 0.0015201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4045-16_0_6_line_65 |  | 55 | 59 | 0.038029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4045-16_0_6_line_66 |  | 56 | 103 | 0.021014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4045-16_0_6_line_67 |  | 58 | 59 | 0.039284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4045-16_0_6_line_68 |  | 60 | 61 | 0.019374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4045-16_0_6_line_69 |  | 60 | 62 | 0.032875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4045-16_0_6_line_70 |  | 61 | 100 | 0.026263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4045-16_0_6_line_71 |  | 62 | 99 | 0.027255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4045-16_0_6_line_72 |  | 63 | 64 | 0.004031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4045-16_0_6_line_73 |  | 63 | 65 | 0.018919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4045-16_0_6_line_74 |  | 64 | 83 | 0.0046116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4045-16_0_6_line_75 |  | 65 | 67 | 0.04051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4045-16_0_6_line_76 |  | 66 | 67 | 0.0033285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4045-16_0_6_line_77 |  | 69 | 70 | 0.00090333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4045-16_0_6_line_78 |  | 71 | 78 | 0.00087129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_4045-16_0_6_line_79 |  | 72 | 73 | 0.020044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_4045-16_0_6_line_80 |  | 72 | 74 | 0.014394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_4045-16_0_6_line_81 |  | 73 | 75 | 0.010635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_4045-16_0_6_line_82 |  | 75 | 76 | 0.0075302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_4045-16_0_6_line_83 |  | 76 | 77 | 0.0042198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_4045-16_0_6_line_84 |  | 77 | 78 | 0.013787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_4045-16_0_6_line_85 |  | 77 | 79 | 0.029863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4045-16_0_6_line_86 |  | 79 | 80 | 0.018803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4045-16_0_6_line_87 |  | 80 | 81 | 0.0176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4045-16_0_6_line_88 |  | 80 | 82 | 0.031202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4045-16_0_6_line_89 |  | 81 | 91 | 0.013228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4045-16_0_6_line_90 |  | 82 | 89 | 0.00021612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4045-16_0_6_line_91 |  | 83 | 101 | 0.01714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4045-16_0_6_line_92 |  | 84 | 102 | 0.0022739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_4045-16_0_6_line_93 |  | 85 | 105 | 0.031654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4045-16_0_6_line_94 |  | 86 | 102 | 0.016638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_4045-16_0_6_line_95 |  | 88 | 103 | 0.011055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4045-16_0_6_line_96 |  | 89 | 90 | 0.014249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4045-16_0_6_line_97 |  | 91 | 95 | 0.0054454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4045-16_0_6_line_98 |  | 91 | 93 | 0.016845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4045-16_0_6_line_99 |  | 92 | 93 | 0.00032453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4045-16_0_6_line_100 |  | 92 | 94 | 0.026096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4045-16_0_6_line_101 |  | 95 | 96 | 0.018054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4045-16_0_6_line_102 |  | 96 | 98 | 0.028741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4045-16_0_6_line_103 |  | 100 | 101 | 0.018507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4045-16_0_6_line_104 |  | 103 | 104 | 0.004869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4045-16_0_6_trafo_9 | 0.63 MVA 20/0.4 kV | 106 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2667132.8477 | 1256893.7842 | 2667119.3688 | 1256867.4041
1 | 2667096.9397 | 1256922.1868 | 2667134.2493 | 1256896.5354 | 2667132.8477 | 1256893.7842
2 | 2667096.9397 | 1256922.1868 | 2667100.0595 | 1256925.7025 | 2667107.589 | 1256920.0615
3 | 2667096.9397 | 1256922.1868 | 2667062.4292 | 1256944.5575
4 | 2667029.98 | 1256772.0191 | 2667044.5491 | 1256765.9905
5 | 2667029.98 | 1256772.0191 | 2667044.4915 | 1256799.6099
6 | 2667029.98 | 1256772.0191 | 2667009.1506 | 1256779.411
7 | 2667172.4294 | 1256873.9407 | 2667169.0396 | 1256869.6325 | 2667166.1272 | 1256865.7855 | 2667171.5798 | 1256861.0995 | 2667176.8374 | 1256851.6634 | 2667172.0267 | 1256848.9624 | 2667178.6033 | 1256840.2529
8 | 2667178.6033 | 1256840.2529 | 2667186.772 | 1256834.2367
9 | 2667172.4294 | 1256873.9407 | 2667166.0087 | 1256877.1675
10 | 2666952.9079 | 1256794.8195 | 2666968.1891 | 1256835.0878
11 | 2666952.9079 | 1256794.8195 | 2666933.4874 | 1256798.6716
12 | 2666952.9079 | 1256794.8195 | 2666958.8804 | 1256793.486 | 2666977.6749 | 1256788.7216
13 | 2666968.1891 | 1256835.0878 | 2666969.0326 | 1256837.3105 | 2666985.7073 | 1256862.9806
14 | 2666890.4256 | 1256805.1877 | 2666896.2295 | 1256804.764 | 2666916.2075 | 1256801.9543 | 2666927.6639 | 1256799.8267 | 2666933.4874 | 1256798.6716
15 | 2667009.1506 | 1256779.411 | 2666989.877 | 1256785.2639 | 2666980.7143 | 1256787.9511 | 2666977.6749 | 1256788.7216
16 | 2667044.4915 | 1256799.6099 | 2667045.6895 | 1256801.8875
17 | 2666890.4256 | 1256805.1877 | 2666883.5197 | 1256805.6989 | 2666867.5627 | 1256806.8101
18 | 2666890.4256 | 1256805.1877 | 2666891.7952 | 1256819.3822
19 | 2666832.1668 | 1256807.3529 | 2666847.7291 | 1256807.7408 | 2666864.0106 | 1256807.0574 | 2666867.5627 | 1256806.8101
20 | 2666893.2472 | 1256834.4297 | 2666891.7952 | 1256819.3822
21 | 2667107.589 | 1256920.0615 | 2667106.9104 | 1256926.7031 | 2667118.7792 | 1256939.2312
22 | 2667107.589 | 1256920.0615 | 2667145.9615 | 1256891.3074
23 | 2667042.9419 | 1256957.1897 | 2667062.4292 | 1256944.5575
24 | 2667254.2717 | 1257060.439 | 2667256.7689 | 1257057.5353
25 | 2667254.2717 | 1257060.439 | 2667245.2767 | 1257068.479
26 | 2667263.9619 | 1257033.8853 | 2667264.3117 | 1257040.2605 | 2667261.178 | 1257047.2634 | 2667259.7738 | 1257054.0413 | 2667256.7689 | 1257057.5353
27 | 2667240.7028 | 1256972.4429 | 2667248.338 | 1256988.0299
28 | 2667240.7028 | 1256972.4429 | 2667230.6148 | 1256953.0416
29 | 2667248.338 | 1256988.0299 | 2667252.1874 | 1256997.6695
30 | 2667248.338 | 1256988.0299 | 2667227.603 | 1257000.4196
31 | 2667208.1438 | 1256914.9202 | 2667209.2186 | 1256916.7449 | 2667226.4305 | 1256944.9942 | 2667230.6148 | 1256953.0416
32 | 2667263.9619 | 1257033.8853 | 2667261.4735 | 1257023.2603 | 2667253.6272 | 1257001.0328 | 2667252.1874 | 1256997.6695
33 | 2667252.1874 | 1256997.6695 | 2667247.2549 | 1256996.4126 | 2667240.4904 | 1256997.7701 | 2667229.6191 | 1257003.7096
34 | 2667202.9329 | 1257017.5816 | 2667226.6617 | 1257000.9821 | 2667227.603 | 1257000.4196
35 | 2667166.0087 | 1256877.1675 | 2667162.4333 | 1256878.9644 | 2667145.9615 | 1256891.3074
36 | 2667129.0004 | 1257077.3856 | 2667138.6519 | 1257068.9042
37 | 2667129.0004 | 1257077.3856 | 2667103.3253 | 1257046.4644
38 | 2667092.6971 | 1257033.6645 | 2667103.3253 | 1257046.4644
39 | 2667092.6971 | 1257033.6645 | 2667100.0297 | 1257027.3172
40 | 2667100.0297 | 1257027.3172 | 2667125.8413 | 1257004.974
41 | 2666985.7073 | 1256862.9806 | 2666986.1071 | 1256863.5961
42 | 2667045.6895 | 1256801.8875 | 2667054.494 | 1256818.6277
43 | 2666843.7307 | 1256922.7239 | 2666858.8057 | 1256942.6864
44 | 2666843.7307 | 1256922.7239 | 2666858.6877 | 1256912.5651
45 | 2666858.8057 | 1256942.6864 | 2666875.4117 | 1256932.6399
46 | 2666871.4604 | 1256903.8899 | 2666858.6877 | 1256912.5651
47 | 2667142.5642 | 1256990.4982 | 2667147.7899 | 1256985.8541
48 | 2667147.7899 | 1256985.8541 | 2667163.0837 | 1257012.454
49 | 2667142.5642 | 1256990.4982 | 2667125.8413 | 1257004.974
50 | 2667142.5642 | 1256990.4982 | 2667134.7432 | 1256979.4238
51 | 2667176.4451 | 1257035.6932 | 2667163.0837 | 1257012.454
52 | 2667131.2319 | 1256953.3928 | 2667129.7128 | 1256951.424 | 2667121.6052 | 1256942.2143 | 2667118.7792 | 1256939.2312
53 | 2667113.5248 | 1256951.2182 | 2667096.1389 | 1256960.8613
54 | 2667113.5248 | 1256951.2182 | 2667118.692 | 1256957.0588 | 2667121.5238 | 1256960.9329
55 | 2667096.1389 | 1256960.8613 | 2667095.2741 | 1256961.341 | 2667080.191 | 1256970.491
56 | 2667121.5238 | 1256960.9329 | 2667126.281 | 1256967.4412 | 2667134.7432 | 1256979.4238
57 | 2667040.5209 | 1256963.8783 | 2667048.9269 | 1256976.8064
58 | 2667040.5209 | 1256963.8783 | 2667044.5135 | 1256960.9102 | 2667042.9419 | 1256957.1897
59 | 2667048.9269 | 1256976.8064 | 2667054.8256 | 1256985.8785 | 2667064.0218 | 1256980.2998
60 | 2667042.9419 | 1256957.1897 | 2667016.2552 | 1256973.9904
61 | 2667042.9419 | 1256957.1897 | 2667024.0203 | 1256925.6983
62 | 2666994.6222 | 1256987.6095 | 2667016.2552 | 1256973.9904
63 | 2667024.0203 | 1256925.6983 | 2667023.3582 | 1256924.5963
64 | 2667207.3723 | 1256913.6104 | 2667208.1438 | 1256914.9202
65 | 2667229.6191 | 1257003.7096 | 2667226.4147 | 1257005.4604 | 2667208.5164 | 1257017.0879 | 2667198.1476 | 1257024.986
66 | 2667185.7138 | 1257029.6272 | 2667202.9329 | 1257017.5816
67 | 2667167.0034 | 1257048.9209 | 2667168.9772 | 1257047.2058 | 2667198.1476 | 1257024.986
68 | 2666919.7996 | 1257029.7943 | 2666936.6761 | 1257020.2794
69 | 2666919.7996 | 1257029.7943 | 2666901.9851 | 1257002.1643
70 | 2666936.6761 | 1257020.2794 | 2666959.5533 | 1257007.3813
71 | 2666901.9851 | 1257002.1643 | 2666890.3635 | 1256984.1396 | 2666886.8454 | 1256979.5183
72 | 2666997.1125 | 1256990.7845 | 2666994.6222 | 1256987.6095
73 | 2666997.1125 | 1256990.7845 | 2667006.9562 | 1257005.1841 | 2667007.9165 | 1257006.3058
74 | 2666994.6222 | 1256987.6095 | 2666990.6051 | 1256989.8744
75 | 2667007.9165 | 1257006.3058 | 2667018.9533 | 1257019.1968 | 2667031.1466 | 1257032.5334 | 2667034.9576 | 1257036.4563
76 | 2667037.2769 | 1257038.8438 | 2667034.9576 | 1257036.4563
77 | 2667054.9145 | 1256819.4272 | 2667054.494 | 1256818.6277
78 | 2666986.1071 | 1256863.5961 | 2666986.5817 | 1256864.3267
79 | 2667005.6214 | 1256895.0768 | 2667015.9448 | 1256912.2582
80 | 2667023.3582 | 1256924.5963 | 2667015.9448 | 1256912.2582
81 | 2667005.6214 | 1256895.0768 | 2667000.1438 | 1256885.9605
82 | 2667000.1438 | 1256885.9605 | 2666996.2655 | 1256879.5058
83 | 2666994.0922 | 1256875.8888 | 2666996.2655 | 1256879.5058
84 | 2666994.0922 | 1256875.8888 | 2666986.5817 | 1256864.3267
85 | 2666994.0922 | 1256875.8888 | 2666967.5154 | 1256889.5072
86 | 2666950.7819 | 1256898.0818 | 2666967.5154 | 1256889.5072
87 | 2666950.7819 | 1256898.0818 | 2666934.6599 | 1256905.1421
88 | 2666950.7819 | 1256898.0818 | 2666941.4208 | 1256874.9925 | 2666938.3483 | 1256869.5073
89 | 2666922.5002 | 1256910.3489 | 2666926.7731 | 1256908.5959 | 2666934.6599 | 1256905.1421
90 | 2666938.2427 | 1256869.3187 | 2666938.3483 | 1256869.5073
91 | 2666990.6051 | 1256989.8744 | 2666975.6746 | 1256998.2921
92 | 2667065.966 | 1256979.1204 | 2667064.0218 | 1256980.2998
93 | 2667131.2319 | 1256953.3928 | 2667141.492 | 1256966.6909 | 2667149.54 | 1256979.1803
94 | 2667065.966 | 1256979.1204 | 2667080.191 | 1256970.491
95 | 2667176.4451 | 1257035.6932 | 2667185.7138 | 1257029.6272
96 | 2666931.2793 | 1256856.8869 | 2666938.2427 | 1256869.3187
97 | 2666922.5002 | 1256910.3489 | 2666917.461 | 1256912.4126
98 | 2666922.5002 | 1256910.3489 | 2666916.5029 | 1256894.6078
99 | 2666916.3874 | 1256894.3045 | 2666916.5029 | 1256894.6078
100 | 2666907.5227 | 1256869.7612 | 2666914.9056 | 1256890.4152 | 2666916.3874 | 1256894.3045
101 | 2666917.461 | 1256912.4126 | 2666900.7539 | 1256919.2547
102 | 2666900.7539 | 1256919.2547 | 2666890.7944 | 1256923.3335 | 2666875.4117 | 1256932.6399
103 | 2666959.5533 | 1257007.3813 | 2666975.6746 | 1256998.2921
104 | 2667185.7138 | 1257029.6272 | 2667183.0529 | 1257025.5496 | 2667183.0529 | 1257025.5496

## bus_geodata
| x | y | coords
0 | 2667119.3688 | 1256867.4041
1 | 2667132.8477 | 1256893.7842
2 | 2667096.9397 | 1256922.1868
3 | 2667044.5491 | 1256765.9905
4 | 2667029.98 | 1256772.0191
5 | 2667178.6033 | 1256840.2529
6 | 2667172.4294 | 1256873.9407
7 | 2667186.772 | 1256834.2367
8 | 2666952.9079 | 1256794.8195
9 | 2666968.1891 | 1256835.0878
10 | 2666933.4874 | 1256798.6716
11 | 2666977.6749 | 1256788.7216
12 | 2667044.4915 | 1256799.6099
13 | 2667009.1506 | 1256779.411
14 | 2666890.4256 | 1256805.1877
15 | 2666867.5627 | 1256806.8101
16 | 2666891.7952 | 1256819.3822
17 | 2667107.589 | 1256920.0615
18 | 2667062.4292 | 1256944.5575
19 | 2667254.2717 | 1257060.439
20 | 2667256.7689 | 1257057.5353
21 | 2667245.2767 | 1257068.479
22 | 2667240.7028 | 1256972.4429
23 | 2667248.338 | 1256988.0299
24 | 2667230.6148 | 1256953.0416
25 | 2667263.9618 | 1257033.8853
26 | 2667252.1874 | 1256997.6695
27 | 2667227.603 | 1257000.4196
28 | 2667166.0087 | 1256877.1675
29 | 2667129.0004 | 1257077.3856
30 | 2667138.6519 | 1257068.9042
31 | 2667103.3253 | 1257046.4644
32 | 2667092.6971 | 1257033.6645
33 | 2667100.0297 | 1257027.3172
34 | 2666985.7073 | 1256862.9806
35 | 2667045.6895 | 1256801.8875
36 | 2666843.7307 | 1256922.7239
37 | 2666858.8057 | 1256942.6864
38 | 2666858.6877 | 1256912.5651
39 | 2666832.1668 | 1256807.3529
40 | 2666893.2472 | 1256834.4297
41 | 2667147.7899 | 1256985.8541
42 | 2667142.5642 | 1256990.4982
43 | 2667163.0837 | 1257012.454
44 | 2667118.7792 | 1256939.2312
45 | 2667145.9615 | 1256891.3074
46 | 2667113.5248 | 1256951.2182
47 | 2667096.1389 | 1256960.8613
48 | 2667121.5238 | 1256960.9329
49 | 2667040.5209 | 1256963.8783
50 | 2667048.9269 | 1256976.8064
51 | 2667042.9419 | 1256957.1897
52 | 2667016.2552 | 1256973.9904
53 | 2667024.0203 | 1256925.6983
54 | 2667208.1438 | 1256914.9202
55 | 2667229.6191 | 1257003.7096
56 | 2667202.9329 | 1257017.5816
57 | 2667207.3723 | 1256913.6104
58 | 2667167.0034 | 1257048.9209
59 | 2667198.1476 | 1257024.986
60 | 2666919.7996 | 1257029.7943
61 | 2666936.6761 | 1257020.2794
62 | 2666901.9851 | 1257002.1643
63 | 2666997.1125 | 1256990.7845
64 | 2666994.6222 | 1256987.6095
65 | 2667007.9165 | 1257006.3058
66 | 2667037.2769 | 1257038.8438
67 | 2667034.9576 | 1257036.4563
68 | 2667125.8413 | 1257004.974
69 | 2667054.494 | 1256818.6277
70 | 2667054.9145 | 1256819.4272
71 | 2666986.1071 | 1256863.5961
72 | 2667015.9448 | 1256912.2582
73 | 2667005.6214 | 1256895.0768
74 | 2667023.3582 | 1256924.5963
75 | 2667000.1438 | 1256885.9605
76 | 2666996.2655 | 1256879.5058
77 | 2666994.0922 | 1256875.8888
78 | 2666986.5817 | 1256864.3267
79 | 2666967.5154 | 1256889.5072
80 | 2666950.7819 | 1256898.0818
81 | 2666934.6599 | 1256905.1421
82 | 2666938.3483 | 1256869.5073
83 | 2666990.6051 | 1256989.8744
84 | 2667064.0218 | 1256980.2998
85 | 2667131.2319 | 1256953.3928
86 | 2667080.191 | 1256970.491
87 | 2667134.7432 | 1256979.4238
88 | 2667176.4451 | 1257035.6932
89 | 2666938.2427 | 1256869.3187
90 | 2666931.2793 | 1256856.8869
91 | 2666922.5002 | 1256910.3489
92 | 2666916.3874 | 1256894.3045
93 | 2666916.5029 | 1256894.6078
94 | 2666907.5227 | 1256869.7612
95 | 2666917.461 | 1256912.4126
96 | 2666900.7539 | 1256919.2547
97 | 2666871.4604 | 1256903.8899
98 | 2666875.4117 | 1256932.6399
99 | 2666886.8454 | 1256979.5183
100 | 2666959.5533 | 1257007.3813
101 | 2666975.6746 | 1256998.2921
102 | 2667065.966 | 1256979.1204
103 | 2667185.7138 | 1257029.6272
104 | 2667183.0529 | 1257025.5496
105 | 2667149.54 | 1256979.1803
106 | 2667100.0595 | 1256925.7025

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1