## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4045-17_1_4_node_22 | 0.4 | n |  | TRUE
1 | bus_LV_4045-17_1_4_node_48 | 0.4 | n |  | TRUE
2 | bus_LV_4045-17_1_4_node_25 | 0.4 | n |  | TRUE
3 | bus_LV_4045-17_1_4_node_23 | 0.4 | n |  | TRUE
4 | bus_LV_4045-17_1_4_node_45 | 0.4 | n |  | TRUE
5 | bus_LV_4045-17_1_4_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_4045-17_1_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_4045-17_1_4_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_4045-17_1_4_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_4045-17_1_4_node_151 | 0.4 | n |  | TRUE
10 | bus_LV_4045-17_1_4_node_54 | 0.4 | n |  | TRUE
11 | bus_LV_4045-17_1_4_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_4045-17_1_4_node_149 | 0.4 | n |  | TRUE
13 | bus_LV_4045-17_1_4_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_4045-17_1_4_node_27 | 0.4 | n |  | TRUE
15 | bus_LV_4045-17_1_4_node_38 | 0.4 | n |  | TRUE
16 | bus_LV_4045-17_1_4_node_155 | 0.4 | n |  | TRUE
17 | bus_LV_4045-17_1_4_node_159 | 0.4 | n |  | TRUE
18 | bus_LV_4045-17_1_4_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_4045-17_1_4_node_81 | 0.4 | n |  | TRUE
20 | bus_LV_4045-17_1_4_node_161 | 0.4 | n |  | TRUE
21 | bus_LV_4045-17_1_4_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_4045-17_1_4_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_4045-17_1_4_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_4045-17_1_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_4045-17_1_4_node_202 | 0.4 | n |  | TRUE
26 | bus_LV_4045-17_1_4_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_4045-17_1_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_4045-17_1_4_node_139 | 0.4 | n |  | TRUE
29 | bus_LV_4045-17_1_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_4045-17_1_4_node_184 | 0.4 | n |  | TRUE
31 | bus_LV_4045-17_1_4_node_187 | 0.4 | n |  | TRUE
32 | bus_LV_4045-17_1_4_node_160 | 0.4 | n |  | TRUE
33 | bus_LV_4045-17_1_4_node_191 | 0.4 | n |  | TRUE
34 | bus_LV_4045-17_1_4_node_192 | 0.4 | n |  | TRUE
35 | bus_LV_4045-17_1_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_4045-17_1_4_node_201 | 0.4 | n |  | TRUE
37 | bus_LV_4045-17_1_4_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_4045-17_1_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_4045-17_1_4_node_152 | 0.4 | n |  | TRUE
40 | bus_LV_4045-17_1_4_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_4045-17_1_4_node_158 | 0.4 | n |  | TRUE
42 | bus_LV_4045-17_1_4_node_153 | 0.4 | n |  | TRUE
43 | bus_LV_4045-17_1_4_node_179 | 0.4 | n |  | TRUE
44 | bus_LV_4045-17_1_4_node_162 | 0.4 | n |  | TRUE
45 | bus_LV_4045-17_1_4_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_4045-17_1_4_node_140 | 0.4 | n |  | TRUE
47 | bus_LV_4045-17_1_4_node_182 | 0.4 | n |  | TRUE
48 | bus_LV_4045-17_1_4_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_4045-17_1_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_4045-17_1_4_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_4045-17_1_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_4045-17_1_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_4045-17_1_4_node_198 | 0.4 | n |  | TRUE
54 | bus_LV_4045-17_1_4_node_197 | 0.4 | n |  | TRUE
55 | bus_LV_4045-17_1_4_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_4045-17_1_4_node_72 | 0.4 | n |  | TRUE
57 | bus_LV_4045-17_1_4_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_4045-17_1_4_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_4045-17_1_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_4045-17_1_4_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_4045-17_1_4_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_4045-17_1_4_node_195 | 0.4 | n |  | TRUE
63 | bus_LV_4045-17_1_4_node_193 | 0.4 | n |  | TRUE
64 | bus_LV_4045-17_1_4_node_196 | 0.4 | n |  | TRUE
65 | bus_LV_4045-17_1_4_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_4045-17_1_4_node_177 | 0.4 | n |  | TRUE
67 | bus_LV_4045-17_1_4_node_168 | 0.4 | n |  | TRUE
68 | bus_LV_4045-17_1_4_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_4045-17_1_4_node_189 | 0.4 | n |  | TRUE
70 | bus_LV_4045-17_1_4_node_188 | 0.4 | n |  | TRUE
71 | bus_LV_4045-17_1_4_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_4045-17_1_4_node_190 | 0.4 | n |  | TRUE
73 | bus_LV_4045-17_1_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_4045-17_1_4_node_78 | 0.4 | n |  | TRUE
75 | bus_LV_4045-17_1_4_node_180 | 0.4 | n |  | TRUE
76 | bus_LV_4045-17_1_4_node_175 | 0.4 | n |  | TRUE
77 | bus_LV_4045-17_1_4_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_4045-17_1_4_node_199 | 0.4 | n |  | TRUE
79 | bus_LV_4045-17_1_4_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_4045-17_1_4_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_4045-17_1_4_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_4045-17_1_4_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_4045-17_1_4_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_4045-17_1_4_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_4045-17_1_4_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_4045-17_1_4_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_4045-17_1_4_node_64 | 0.4 | n |  | TRUE
88 | bus_LV_4045-17_1_4_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_4045-17_1_4_node_194 | 0.4 | n |  | TRUE
90 | bus_LV_4045-17_1_4_node_167 | 0.4 | n |  | TRUE
91 | bus_LV_4045-17_1_4_node_173 | 0.4 | n |  | TRUE
92 | bus_LV_4045-17_1_4_node_178 | 0.4 | n |  | TRUE
93 | bus_LV_4045-17_1_4_node_166 | 0.4 | n |  | TRUE
94 | bus_LV_4045-17_1_4_node_154 | 0.4 | n |  | TRUE
95 | bus_LV_4045-17_1_4_node_156 | 0.4 | n |  | TRUE
96 | bus_LV_4045-17_1_4_node_157 | 0.4 | n |  | TRUE
97 | bus_LV_4045-17_1_4_node_164 | 0.4 | n |  | TRUE
98 | bus_LV_4045-17_1_4_node_186 | 0.4 | n |  | TRUE
99 | bus_LV_4045-17_1_4_node_163 | 0.4 | n |  | TRUE
100 | bus_LV_4045-17_1_4_node_185 | 0.4 | n |  | TRUE
101 | bus_LV_4045-17_1_4_node_165 | 0.4 | n |  | TRUE
102 | bus_LV_4045-17_1_4_node_169 | 0.4 | n |  | TRUE
103 | bus_LV_4045-17_1_4_node_170 | 0.4 | n |  | TRUE
104 | bus_LV_4045-17_1_4_node_171 | 0.4 | n |  | TRUE
105 | bus_LV_4045-17_1_4_node_172 | 0.4 | n |  | TRUE
106 | bus_LV_4045-17_1_4_node_183 | 0.4 | n |  | TRUE
107 | bus_LV_4045-17_1_4_node_181 | 0.4 | n |  | TRUE
108 | bus_LV_4045-17_1_4_node_174 | 0.4 | n |  | TRUE
109 | bus_LV_4045-17_1_4_node_176 | 0.4 | n |  | TRUE
110 | bus_LV_4045-17_1_4_node_200 | 0.4 | n |  | TRUE
111 | bus_MV_615_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4045-17_1_4_load_48 | 1 | 0.0030858 | 0.00077338 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4045-17_1_4_load_45 | 4 | 0.0075784 | 0.0018993 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4045-17_1_4_load_44 | 5 | 0.0015804 | 0.0003961 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4045-17_1_4_load_151 | 9 | 0.0038188 | 0.00095709 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4045-17_1_4_load_54 | 10 | 0.0099727 | 0.0024994 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4045-17_1_4_load_149 | 12 | 0.032367 | 0.0081118 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4045-17_1_4_load_38 | 15 | 0.0020052 | 0.00050254 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4045-17_1_4_load_159 | 17 | 0.019045 | 0.0047731 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4045-17_1_4_load_161 | 20 | 0.0018603 | 0.00046623 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4045-17_1_4_load_202 | 25 | 0.0025714 | 0.00064446 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4045-17_1_4_load_139 | 28 | 0.0041212 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4045-17_1_4_load_187 | 31 | 0.0049488 | 0.0012403 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4045-17_1_4_load_160 | 32 | 0.0073295 | 0.0018369 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4045-17_1_4_load_191 | 33 | 0.01517 | 0.003802 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4045-17_1_4_load_192 | 34 | 0.0081108 | 0.0020328 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4045-17_1_4_load_40 | 35 | 0.0035904 | 0.00089984 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4045-17_1_4_load_201 | 36 | 0.0030858 | 0.00077338 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4045-17_1_4_load_46 | 37 | 0.013114 | 0.0032868 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4045-17_1_4_load_152 | 39 | 0.013148 | 0.0032952 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4045-17_1_4_load_55 | 40 | 0.0044017 | 0.0011032 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4045-17_1_4_load_158 | 41 | 0.0076191 | 0.0019095 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4045-17_1_4_load_153 | 42 | 0.0014023 | 0.00035145 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4045-17_1_4_load_179 | 43 | 0.0022998 | 0.00057638 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4045-17_1_4_load_162 | 44 | 0.0074321 | 0.0018627 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4045-17_1_4_load_140 | 46 | 0.0054206 | 0.0013585 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4045-17_1_4_load_182 | 47 | 0.0020854 | 0.00052265 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4045-17_1_4_load_61 | 48 | 0.0020967 | 0.00052549 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4045-17_1_4_load_49 | 49 | 0.0036949 | 0.00092602 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4045-17_1_4_load_50 | 50 | 0.0047583 | 0.0011925 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4045-17_1_4_load_51 | 51 | 0.0072109 | 0.0018072 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4045-17_1_4_load_198 | 53 | 0.0042383 | 0.0010622 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4045-17_1_4_load_197 | 54 | 0.0036937 | 0.00092572 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4045-17_1_4_load_72 | 56 | 0.0048155 | 0.0012069 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4045-17_1_4_load_69 | 58 | 0.001522 | 0.00038146 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4045-17_1_4_load_195 | 62 | 0.0017725 | 0.00044423 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4045-17_1_4_load_193 | 63 | 0.0022507 | 0.00056407 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4045-17_1_4_load_196 | 64 | 0.0018195 | 0.00045602 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4045-17_1_4_load_177 | 66 | 0.006195 | 0.0015526 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4045-17_1_4_load_168 | 67 | 0.0038933 | 0.00097576 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4045-17_1_4_load_189 | 69 | 0.0015515 | 0.00038883 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4045-17_1_4_load_188 | 70 | 0.0081879 | 0.0020521 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4045-17_1_4_load_190 | 72 | 0.0019284 | 0.00048331 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4045-17_1_4_load_180 | 75 | 0.011005 | 0.002758 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4045-17_1_4_load_175 | 76 | 0.0024102 | 0.00060406 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4045-17_1_4_load_199 | 78 | 0.0020998 | 0.00052627 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4045-17_1_4_load_57 | 79 | 0.0021029 | 0.00052705 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4045-17_1_4_load_58 | 80 | 0.0013473 | 0.00033765 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4045-17_1_4_load_59 | 81 | 0.0017582 | 0.00044064 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4045-17_1_4_load_60 | 82 | 0.0015848 | 0.00039719 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4045-17_1_4_load_68 | 83 | 0.0021701 | 0.00054387 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4045-17_1_4_load_67 | 84 | 0.0020115 | 0.00050412 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4045-17_1_4_load_62 | 85 | 0.0012246 | 0.00030691 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4045-17_1_4_load_63 | 86 | 0.0015465 | 0.0003876 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4045-17_1_4_load_64 | 87 | 0.0017225 | 0.0004317 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4045-17_1_4_load_65 | 88 | 0.0020773 | 0.00052063 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4045-17_1_4_load_194 | 89 | 0.0023574 | 0.00059083 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4045-17_1_4_load_167 | 90 | 0.002951 | 0.0007396 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4045-17_1_4_load_173 | 91 | 0.0034845 | 0.00087329 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4045-17_1_4_load_178 | 92 | 0.0011394 | 0.00028556 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4045-17_1_4_load_166 | 93 | 0.0036571 | 0.00091656 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4045-17_1_4_load_156 | 95 | 0.0022033 | 0.0005522 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4045-17_1_4_load_157 | 96 | 0.0011712 | 0.00029353 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4045-17_1_4_load_164 | 97 | 0.0033085 | 0.00082918 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4045-17_1_4_load_186 | 98 | 0.0060717 | 0.0015217 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4045-17_1_4_load_163 | 99 | 0.0023284 | 0.00058355 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4045-17_1_4_load_185 | 100 | 0.0015089 | 0.00037816 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4045-17_1_4_load_165 | 101 | 0.00098902 | 0.00024787 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4045-17_1_4_load_169 | 102 | 0.00097571 | 0.00024454 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4045-17_1_4_load_170 | 103 | 0.004593 | 0.0011511 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4045-17_1_4_load_171 | 104 | 0.0024872 | 0.00062336 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4045-17_1_4_load_172 | 105 | 0.002381 | 0.00059674 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4045-17_1_4_load_183 | 106 | 0.0046852 | 0.0011742 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4045-17_1_4_load_181 | 107 | 0.0033388 | 0.00083677 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4045-17_1_4_load_174 | 108 | 0.0064166 | 0.0016082 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4045-17_1_4_load_176 | 109 | 0.0034615 | 0.00086754 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4045-17_1_4_load_200 | 110 | 0.0073534 | 0.0018429 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 107 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4045-17_1_4_line_0 |  | 0 | 1 | 0.024871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4045-17_1_4_line_1 |  | 0 | 2 | 0.018239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4045-17_1_4_line_2 |  | 0 | 3 | 0.014787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4045-17_1_4_line_3 |  | 1 | 36 | 0.013092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4045-17_1_4_line_4 |  | 2 | 10 | 0.021776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4045-17_1_4_line_5 |  | 3 | 4 | 0.020675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4045-17_1_4_line_6 |  | 3 | 5 | 0.0013822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4045-17_1_4_line_7 |  | 5 | 14 | 0.02063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4045-17_1_4_line_8 |  | 6 | 7 | 0.009709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4045-17_1_4_line_9 |  | 6 | 8 | 0.039075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4045-17_1_4_line_10 |  | 6 | 9 | 0.0091489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4045-17_1_4_line_11 |  | 7 | 25 | 0.014613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4045-17_1_4_line_12 |  | 7 | 14 | 0.013119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4045-17_1_4_line_13 |  | 8 | 33 | 0.020628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4045-17_1_4_line_14 |  | 8 | 34 | 0.016986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4045-17_1_4_line_15 |  | 9 | 39 | 0.044131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4045-17_1_4_line_16 |  | 10 | 40 | 0.028062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4045-17_1_4_line_17 |  | 11 | 12 | 0.060882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4045-17_1_4_line_18 |  | 11 | 13 | 0.0096124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4045-17_1_4_line_19 |  | 13 | 16 | 0.024684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4045-17_1_4_line_20 |  | 13 | 17 | 0.023587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4045-17_1_4_line_21 |  | 14 | 15 | 0.030043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4045-17_1_4_line_22 |  | 15 | 27 | 0.010404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4045-17_1_4_line_23 |  | 16 | 41 | 0.036014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4045-17_1_4_line_24 |  | 16 | 42 | 0.030328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4045-17_1_4_line_25 |  | 18 | 19 | 0.042466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4045-17_1_4_line_26 |  | 18 | 20 | 0.012164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4045-17_1_4_line_27 |  | 19 | 43 | 0.038758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4045-17_1_4_line_28 |  | 20 | 44 | 0.054936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4045-17_1_4_line_29 |  | 21 | 22 | 0.0092593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4045-17_1_4_line_30 |  | 21 | 23 | 0.062953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4045-17_1_4_line_31 |  | 22 | 24 | 0.032456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4045-17_1_4_line_32 |  | 23 | 45 | 0.11155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4045-17_1_4_line_33 |  | 24 | 35 | 0.086341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4045-17_1_4_line_34 |  | 26 | 27 | 0.004531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4045-17_1_4_line_35 |  | 26 | 28 | 0.016491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4045-17_1_4_line_36 |  | 27 | 35 | 0.064314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4045-17_1_4_line_37 |  | 28 | 46 | 0.0096202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4045-17_1_4_line_38 |  | 29 | 30 | 0.020462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4045-17_1_4_line_39 |  | 29 | 31 | 0.019883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4045-17_1_4_line_40 |  | 29 | 32 | 0.013902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4045-17_1_4_line_41 |  | 30 | 47 | 0.0085796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4045-17_1_4_line_42 |  | 33 | 48 | 0.015903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4045-17_1_4_line_43 |  | 37 | 38 | 0.029529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4045-17_1_4_line_44 |  | 38 | 49 | 0.01609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4045-17_1_4_line_45 |  | 38 | 50 | 0.0088172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4045-17_1_4_line_46 |  | 40 | 52 | 0.0041311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4045-17_1_4_line_47 |  | 42 | 94 | 0.0078876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4045-17_1_4_line_48 |  | 43 | 77 | 0.013399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4045-17_1_4_line_49 |  | 45 | 54 | 0.040344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4045-17_1_4_line_50 |  | 47 | 107 | 0.017141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4045-17_1_4_line_51 |  | 48 | 81 | 0.015936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4045-17_1_4_line_52 |  | 49 | 51 | 0.012474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4045-17_1_4_line_53 |  | 50 | 52 | 0.017018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4045-17_1_4_line_54 |  | 52 | 53 | 0.012847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4045-17_1_4_line_55 |  | 53 | 78 | 0.013705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4045-17_1_4_line_56 |  | 55 | 56 | 0.018142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4045-17_1_4_line_57 |  | 55 | 57 | 0.018332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4045-17_1_4_line_58 |  | 55 | 58 | 0.016996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4045-17_1_4_line_59 |  | 56 | 65 | 0.017164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4045-17_1_4_line_60 |  | 57 | 87 | 0.0061748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4045-17_1_4_line_61 |  | 58 | 59 | 0.0083269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4045-17_1_4_line_62 |  | 59 | 60 | 0.010817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4045-17_1_4_line_63 |  | 60 | 64 | 0.018656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4045-17_1_4_line_64 |  | 61 | 62 | 0.03121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4045-17_1_4_line_65 |  | 61 | 63 | 0.014904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4045-17_1_4_line_66 |  | 63 | 89 | 0.017811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4045-17_1_4_line_67 |  | 65 | 66 | 0.022622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_4045-17_1_4_line_68 |  | 65 | 67 | 0.021096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4045-17_1_4_line_69 |  | 66 | 73 | 0.014699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_4045-17_1_4_line_70 |  | 67 | 90 | 0.019045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4045-17_1_4_line_71 |  | 68 | 69 | 0.029067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4045-17_1_4_line_72 |  | 68 | 70 | 0.022501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4045-17_1_4_line_73 |  | 70 | 71 | 0.011891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4045-17_1_4_line_74 |  | 71 | 72 | 0.0072802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4045-17_1_4_line_75 |  | 71 | 73 | 0.010605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4045-17_1_4_line_76 |  | 72 | 89 | 0.0099061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4045-17_1_4_line_77 |  | 73 | 74 | 0.013362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4045-17_1_4_line_78 |  | 74 | 75 | 0.017376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4045-17_1_4_line_79 |  | 74 | 76 | 0.030926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4045-17_1_4_line_80 |  | 75 | 77 | 0.023374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4045-17_1_4_line_81 |  | 76 | 91 | 0.0033086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4045-17_1_4_line_82 |  | 78 | 110 | 0.0041042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4045-17_1_4_line_83 |  | 79 | 80 | 0.010759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_4045-17_1_4_line_84 |  | 79 | 81 | 0.0094054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_4045-17_1_4_line_85 |  | 80 | 82 | 0.0090915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_4045-17_1_4_line_86 |  | 82 | 83 | 0.01005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_4045-17_1_4_line_87 |  | 83 | 84 | 0.0087399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_4045-17_1_4_line_88 |  | 84 | 88 | 0.012391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_4045-17_1_4_line_89 |  | 85 | 86 | 0.01142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_4045-17_1_4_line_90 |  | 85 | 87 | 0.0084824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_4045-17_1_4_line_91 |  | 86 | 88 | 0.015912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_4045-17_1_4_line_92 |  | 90 | 102 | 0.0081651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_4045-17_1_4_line_93 |  | 91 | 108 | 0.024669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4045-17_1_4_line_94 |  | 92 | 93 | 0.010508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4045-17_1_4_line_95 |  | 93 | 101 | 0.011907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4045-17_1_4_line_96 |  | 94 | 95 | 0.0093059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4045-17_1_4_line_97 |  | 94 | 96 | 0.019103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4045-17_1_4_line_98 |  | 95 | 97 | 0.016577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4045-17_1_4_line_99 |  | 96 | 98 | 0.0040912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4045-17_1_4_line_100 |  | 97 | 99 | 0.0094922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4045-17_1_4_line_101 |  | 98 | 100 | 0.0099079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4045-17_1_4_line_102 |  | 99 | 101 | 0.020299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4045-17_1_4_line_103 |  | 100 | 109 | 0.013941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4045-17_1_4_line_104 |  | 102 | 103 | 0.016709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_4045-17_1_4_line_105 |  | 103 | 104 | 0.0057999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_4045-17_1_4_line_106 |  | 104 | 105 | 0.022386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_4045-17_1_4_line_107 |  | 105 | 106 | 0.0087985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_4045-17_1_4_line_108 |  | 106 | 107 | 0.010565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_4045-17_1_4_line_109 |  | 108 | 109 | 0.0030817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4045-17_1_4_trafo_181 | 0.63 MVA 20/0.4 kV | 111 | 107 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2666799.5176 | 1257147.222 | 2666804.3344 | 1257150.0451 | 2666821.2021 | 1257159.3994
1 | 2666783.7787 | 1257138.0044 | 2666794.3786 | 1257144.2174 | 2666799.5176 | 1257147.222
2 | 2666799.5176 | 1257147.222 | 2666794.3786 | 1257144.2174 | 2666797.1032 | 1257140.0006 | 2666799.1753 | 1257136.7994
3 | 2666821.2021 | 1257159.3994 | 2666832.6512 | 1257165.7487
4 | 2666783.7787 | 1257138.0044 | 2666765.8938 | 1257150.4279
5 | 2666799.1753 | 1257136.7994 | 2666817.2673 | 1257146.8057
6 | 2666799.1753 | 1257136.7994 | 2666798.019 | 1257136.0421
7 | 2666780.7613 | 1257124.7385 | 2666798.019 | 1257136.0421
8 | 2666761.7352 | 1257112.1259 | 2666769.726 | 1257117.6756
9 | 2666731.7754 | 1257102.8037 | 2666756.893 | 1257119.5656 | 2666759.3853 | 1257115.8799 | 2666761.7352 | 1257112.1259
10 | 2666761.7352 | 1257112.1259 | 2666754.1571 | 1257106.9999
11 | 2666769.726 | 1257117.6756 | 2666781.0289 | 1257108.374
12 | 2666780.7613 | 1257124.7385 | 2666773.4427 | 1257120.4306 | 2666769.726 | 1257117.6756
13 | 2666731.7754 | 1257102.8037 | 2666718.3644 | 1257118.5085
14 | 2666731.7754 | 1257102.8037 | 2666717.7545 | 1257093.2151
15 | 2666754.1571 | 1257106.9999 | 2666731.0597 | 1257091.3762 | 2666730.8465 | 1257088.2159 | 2666720.048 | 1257080.8376
16 | 2666765.8938 | 1257150.4279 | 2666742.847 | 1257166.4371
17 | 2666612.0184 | 1257008.5979 | 2666650.9112 | 1257036.3001 | 2666656.4041 | 1257037.3516 | 2666662.6294 | 1257041.6051
18 | 2666606.4708 | 1257016.419 | 2666608.5769 | 1257012.8734 | 2666612.0184 | 1257008.5979
19 | 2666591.6044 | 1257036.155 | 2666606.4708 | 1257016.419
20 | 2666606.4708 | 1257016.419 | 2666625.856 | 1257029.8565
21 | 2666780.7613 | 1257124.7385 | 2666782.1963 | 1257117.8608 | 2666800.0669 | 1257103.3541
22 | 2666809.0895 | 1257098.2165 | 2666801.1234 | 1257102.4964 | 2666800.0669 | 1257103.3541
23 | 2666591.6044 | 1257036.155 | 2666561.9396 | 1257015.7349
24 | 2666591.6044 | 1257036.155 | 2666569.2082 | 1257056.6047
25 | 2666449.9576 | 1257079.8291 | 2666476.8409 | 1257046.8957
26 | 2666476.8409 | 1257046.8957 | 2666484.8561 | 1257037.7454
27 | 2666449.9576 | 1257079.8291 | 2666452.2827 | 1257081.6232 | 2666451.8835 | 1257088.2902 | 2666458.3437 | 1257092.5214 | 2666476.2807 | 1257104.2283
28 | 2666520.0687 | 1256995.5918 | 2666499.3524 | 1257021.1964 | 2666484.8561 | 1257037.7454
29 | 2666914.3866 | 1257211.0765 | 2666916.8843 | 1257206.9128 | 2666919.3611 | 1257203.2715
30 | 2666914.3866 | 1257211.0765 | 2666906.224 | 1257222.7373 | 2666867.3355 | 1257252.2529
31 | 2666919.3611 | 1257203.2715 | 2666937.6491 | 1257176.4253
32 | 2666770.9522 | 1257263.6292 | 2666814.6771 | 1257285.8942 | 2666867.3355 | 1257252.2529
33 | 2666937.6491 | 1257176.4253 | 2666863.3336 | 1257132.4708
34 | 2666809.0895 | 1257098.2165 | 2666805.7917 | 1257095.0992
35 | 2666805.7917 | 1257095.0992 | 2666795.5712 | 1257082.157
36 | 2666809.0895 | 1257098.2165 | 2666816.0989 | 1257104.5335 | 2666863.3336 | 1257132.4708
37 | 2666795.5712 | 1257082.157 | 2666789.609 | 1257074.6071
38 | 2666668.8274 | 1257084.5592 | 2666680.8083 | 1257067.9486
39 | 2666680.8083 | 1257067.9486 | 2666697.2208 | 1257079.1726
40 | 2666680.8083 | 1257067.9486 | 2666669.3833 | 1257060.0289
41 | 2666668.8274 | 1257084.5592 | 2666662.1632 | 1257089.9627
42 | 2666718.3644 | 1257118.5085 | 2666704.4516 | 1257126.2117
43 | 2666755.6371 | 1257188.7909 | 2666761.5926 | 1257182.9093 | 2666778.0731 | 1257169.6394
44 | 2666755.6371 | 1257188.7909 | 2666760.2773 | 1257193.2242 | 2666768.696 | 1257197.9868
45 | 2666755.6371 | 1257188.7909 | 2666749.2585 | 1257182.7034
46 | 2666739.4542 | 1257168.7939 | 2666742.847 | 1257166.4371
47 | 2666563.3834 | 1257061.9232 | 2666569.2082 | 1257056.6047
48 | 2666487.501 | 1257111.5514 | 2666476.2807 | 1257104.2283
49 | 2666770.9522 | 1257263.6292 | 2666753.1528 | 1257252.5983 | 2666738.1196 | 1257240.331
50 | 2666648.5584 | 1257100.3874 | 2666660.3876 | 1257091.4025 | 2666662.1632 | 1257089.9627
51 | 2666704.4516 | 1257126.2117 | 2666690.51 | 1257133.9309
52 | 2666779.5527 | 1257204.1287 | 2666768.696 | 1257197.9868
53 | 2666739.4542 | 1257168.7939 | 2666749.2585 | 1257182.7034
54 | 2666739.4542 | 1257168.7939 | 2666728.229 | 1257175.0417
55 | 2666728.229 | 1257175.0417 | 2666716.2538 | 1257181.7069
56 | 2666584.8311 | 1257192.4484 | 2666574.2896 | 1257183.0452 | 2666571.3755 | 1257180.2823
57 | 2666600.9024 | 1257183.5448 | 2666584.8311 | 1257192.4484
58 | 2666584.8311 | 1257192.4484 | 2666596.8065 | 1257204.5088
59 | 2666558.9198 | 1257168.4729 | 2666571.3755 | 1257180.2823
60 | 2666600.9024 | 1257183.5448 | 2666606.3044 | 1257180.5538
61 | 2666602.6736 | 1257210.4177 | 2666596.8065 | 1257204.5088
62 | 2666594.9349 | 1257217.9695 | 2666598.62 | 1257214.1526 | 2666602.6736 | 1257210.4177
63 | 2666594.9349 | 1257217.9695 | 2666581.9105 | 1257204.6123
64 | 2666562.5298 | 1257184.7365 | 2666536.6147 | 1257202.1283
65 | 2666562.5298 | 1257184.7365 | 2666551.3114 | 1257174.9241
66 | 2666551.3114 | 1257174.9241 | 2666541.3455 | 1257166.2071 | 2666537.8152 | 1257163.3034
67 | 2666558.9198 | 1257168.4729 | 2666542.3794 | 1257153.041
68 | 2666558.9198 | 1257168.4729 | 2666575.7189 | 1257155.7131
69 | 2666530.8812 | 1257143.8844 | 2666542.3086 | 1257152.975 | 2666542.3794 | 1257153.041
70 | 2666575.7189 | 1257155.7131 | 2666590.8853 | 1257144.1934
71 | 2666496.8327 | 1257132.0155 | 2666476.3803 | 1257152.6696
72 | 2666496.8327 | 1257132.0155 | 2666514.9344 | 1257145.3805
73 | 2666524.5419 | 1257152.386 | 2666521.714 | 1257150.3861 | 2666514.9344 | 1257145.3805
74 | 2666524.5419 | 1257152.386 | 2666530.1645 | 1257157.0107
75 | 2666524.5419 | 1257152.386 | 2666527.3752 | 1257148.5373 | 2666530.8812 | 1257143.8844
76 | 2666530.1645 | 1257157.0107 | 2666537.8152 | 1257163.3034
77 | 2666520.4869 | 1257135.4504 | 2666530.8812 | 1257143.8844
78 | 2666520.4869 | 1257135.4504 | 2666506.1088 | 1257125.6942
79 | 2666520.4869 | 1257135.4504 | 2666544.3053 | 1257115.7243
80 | 2666487.501 | 1257111.5514 | 2666505.1904 | 1257125.071 | 2666506.1088 | 1257125.6942
81 | 2666544.3053 | 1257115.7243 | 2666546.8535 | 1257113.614
82 | 2666712.6677 | 1257183.7029 | 2666716.2538 | 1257181.7069
83 | 2666672.8688 | 1257143.6985 | 2666682.2817 | 1257138.4867
84 | 2666690.51 | 1257133.9309 | 2666682.2817 | 1257138.4867
85 | 2666672.8688 | 1257143.6985 | 2666664.9151 | 1257148.1023
86 | 2666656.1225 | 1257152.9705 | 2666664.9151 | 1257148.1023
87 | 2666656.1225 | 1257152.9705 | 2666648.4763 | 1257157.2041
88 | 2666637.6365 | 1257163.2059 | 2666648.4763 | 1257157.2041
89 | 2666623.7162 | 1257170.9132 | 2666613.7252 | 1257176.445
90 | 2666606.3044 | 1257180.5538 | 2666613.7252 | 1257176.445
91 | 2666623.7162 | 1257170.9132 | 2666637.6365 | 1257163.2059
92 | 2666597.3875 | 1257139.2546 | 2666590.8853 | 1257144.1934
93 | 2666564.8796 | 1257096.8014 | 2666552.8209 | 1257108.6719 | 2666546.8535 | 1257113.614
94 | 2666507.9272 | 1257087.5166 | 2666514.7319 | 1257079.5098
95 | 2666522.4426 | 1257070.4369 | 2666514.7319 | 1257079.5098
96 | 2666563.3834 | 1257061.9232 | 2666555.5999 | 1257056.8225
97 | 2666563.3834 | 1257061.9232 | 2666579.1505 | 1257072.7083
98 | 2666541.735 | 1257047.7363 | 2666555.5999 | 1257056.8225
99 | 2666579.1505 | 1257072.7083 | 2666580.896 | 1257076.4084 | 2666580.896 | 1257076.4084
100 | 2666541.735 | 1257047.7363 | 2666541.735 | 1257047.7363 | 2666535.5879 | 1257054.9693
101 | 2666577.0106 | 1257084.8598 | 2666580.4392 | 1257081.4848 | 2666580.896 | 1257076.4084
102 | 2666522.4426 | 1257070.4369 | 2666535.5879 | 1257054.9693
103 | 2666577.0106 | 1257084.8598 | 2666567.0758 | 1257094.6395
104 | 2666597.3875 | 1257139.2546 | 2666610.693 | 1257129.1483
105 | 2666615.3117 | 1257125.6402 | 2666610.693 | 1257129.1483
106 | 2666633.1382 | 1257112.0999 | 2666615.3117 | 1257125.6402
107 | 2666633.1382 | 1257112.0999 | 2666640.1448 | 1257106.7781
108 | 2666648.5584 | 1257100.3874 | 2666640.1448 | 1257106.7781
109 | 2666564.8796 | 1257096.8014 | 2666567.0758 | 1257094.6395

## bus_geodata
| x | y | coords
0 | 2666799.5176 | 1257147.222
1 | 2666821.2021 | 1257159.3994
2 | 2666783.7787 | 1257138.0044
3 | 2666799.1753 | 1257136.7994
4 | 2666817.2673 | 1257146.8057
5 | 2666798.019 | 1257136.0421
6 | 2666761.7352 | 1257112.1259
7 | 2666769.726 | 1257117.6756
8 | 2666731.7754 | 1257102.8037
9 | 2666754.1571 | 1257106.9999
10 | 2666765.8938 | 1257150.4279
11 | 2666612.0184 | 1257008.5979
12 | 2666662.6294 | 1257041.6051
13 | 2666606.4708 | 1257016.419
14 | 2666780.7613 | 1257124.7385
15 | 2666800.0669 | 1257103.3541
16 | 2666591.6044 | 1257036.155
17 | 2666625.856 | 1257029.8565
18 | 2666476.8409 | 1257046.8957
19 | 2666449.9576 | 1257079.8291
20 | 2666484.8561 | 1257037.7454
21 | 2666914.3866 | 1257211.0765
22 | 2666919.3611 | 1257203.2715
23 | 2666867.3355 | 1257252.2529
24 | 2666937.6491 | 1257176.4253
25 | 2666781.0289 | 1257108.374
26 | 2666805.7917 | 1257095.0992
27 | 2666809.0895 | 1257098.2165
28 | 2666795.5712 | 1257082.157
29 | 2666680.8083 | 1257067.9486
30 | 2666668.8274 | 1257084.5592
31 | 2666697.2208 | 1257079.1726
32 | 2666669.3833 | 1257060.0289
33 | 2666718.3644 | 1257118.5085
34 | 2666717.7545 | 1257093.2151
35 | 2666863.3336 | 1257132.4708
36 | 2666832.6512 | 1257165.7487
37 | 2666778.0731 | 1257169.6394
38 | 2666755.6371 | 1257188.7909
39 | 2666720.048 | 1257080.8376
40 | 2666742.847 | 1257166.4371
41 | 2666561.9396 | 1257015.7349
42 | 2666569.2082 | 1257056.6047
43 | 2666476.2807 | 1257104.2283
44 | 2666520.0687 | 1256995.5918
45 | 2666770.9522 | 1257263.6292
46 | 2666789.609 | 1257074.6071
47 | 2666662.1632 | 1257089.9627
48 | 2666704.4516 | 1257126.2117
49 | 2666768.696 | 1257197.9868
50 | 2666749.2585 | 1257182.7034
51 | 2666779.5527 | 1257204.1287
52 | 2666739.4542 | 1257168.7939
53 | 2666728.229 | 1257175.0417
54 | 2666738.1196 | 1257240.331
55 | 2666584.8311 | 1257192.4484
56 | 2666571.3755 | 1257180.2823
57 | 2666600.9024 | 1257183.5448
58 | 2666596.8065 | 1257204.5088
59 | 2666602.6736 | 1257210.4177
60 | 2666594.9349 | 1257217.9695
61 | 2666562.5298 | 1257184.7365
62 | 2666536.6147 | 1257202.1283
63 | 2666551.3114 | 1257174.9241
64 | 2666581.9105 | 1257204.6123
65 | 2666558.9198 | 1257168.4729
66 | 2666542.3794 | 1257153.041
67 | 2666575.7189 | 1257155.7131
68 | 2666496.8327 | 1257132.0155
69 | 2666476.3803 | 1257152.6696
70 | 2666514.9344 | 1257145.3805
71 | 2666524.5419 | 1257152.386
72 | 2666530.1645 | 1257157.0107
73 | 2666530.8812 | 1257143.8844
74 | 2666520.4869 | 1257135.4504
75 | 2666506.1088 | 1257125.6942
76 | 2666544.3053 | 1257115.7243
77 | 2666487.501 | 1257111.5514
78 | 2666716.2538 | 1257181.7069
79 | 2666682.2817 | 1257138.4867
80 | 2666672.8688 | 1257143.6985
81 | 2666690.51 | 1257133.9309
82 | 2666664.9151 | 1257148.1023
83 | 2666656.1225 | 1257152.9705
84 | 2666648.4763 | 1257157.2041
85 | 2666613.7252 | 1257176.445
86 | 2666623.7162 | 1257170.9132
87 | 2666606.3044 | 1257180.5538
88 | 2666637.6365 | 1257163.2059
89 | 2666537.8152 | 1257163.3034
90 | 2666590.8853 | 1257144.1934
91 | 2666546.8535 | 1257113.614
92 | 2666507.9272 | 1257087.5166
93 | 2666514.7319 | 1257079.5098
94 | 2666563.3834 | 1257061.9232
95 | 2666555.5999 | 1257056.8225
96 | 2666579.1505 | 1257072.7083
97 | 2666541.735 | 1257047.7363
98 | 2666580.896 | 1257076.4084
99 | 2666535.5879 | 1257054.9693
100 | 2666577.0106 | 1257084.8598
101 | 2666522.4426 | 1257070.4369
102 | 2666597.3875 | 1257139.2546
103 | 2666610.693 | 1257129.1483
104 | 2666615.3117 | 1257125.6402
105 | 2666633.1382 | 1257112.0999
106 | 2666640.1448 | 1257106.7781
107 | 2666648.5584 | 1257100.3874
108 | 2666564.8796 | 1257096.8014
109 | 2666567.0758 | 1257094.6395
110 | 2666712.6677 | 1257183.7029
111 | 2666668.8274 | 1257084.5592

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1