## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4045-27_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4045-27_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4045-27_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_4045-27_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4045-27_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4045-27_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4045-27_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_4045-27_0_5_node_58 | 0.4 | n |  | TRUE
8 | bus_LV_4045-27_0_5_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_4045-27_0_5_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_4045-27_0_5_node_181 | 0.4 | n |  | TRUE
11 | bus_LV_4045-27_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4045-27_0_5_node_117 | 0.4 | n |  | TRUE
13 | bus_LV_4045-27_0_5_node_116 | 0.4 | n |  | TRUE
14 | bus_LV_4045-27_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4045-27_0_5_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_4045-27_0_5_node_178 | 0.4 | n |  | TRUE
17 | bus_LV_4045-27_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4045-27_0_5_node_136 | 0.4 | n |  | TRUE
19 | bus_LV_4045-27_0_5_node_139 | 0.4 | n |  | TRUE
20 | bus_LV_4045-27_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4045-27_0_5_node_118 | 0.4 | n |  | TRUE
22 | bus_LV_4045-27_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4045-27_0_5_node_119 | 0.4 | n |  | TRUE
24 | bus_LV_4045-27_0_5_node_120 | 0.4 | n |  | TRUE
25 | bus_LV_4045-27_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4045-27_0_5_node_121 | 0.4 | n |  | TRUE
27 | bus_LV_4045-27_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4045-27_0_5_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_4045-27_0_5_node_177 | 0.4 | n |  | TRUE
30 | bus_LV_4045-27_0_5_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_4045-27_0_5_node_98 | 0.4 | n |  | TRUE
32 | bus_LV_4045-27_0_5_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_4045-27_0_5_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_4045-27_0_5_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_4045-27_0_5_node_180 | 0.4 | n |  | TRUE
36 | bus_LV_4045-27_0_5_node_179 | 0.4 | n |  | TRUE
37 | bus_LV_4045-27_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4045-27_0_5_node_135 | 0.4 | n |  | TRUE
39 | bus_LV_4045-27_0_5_node_137 | 0.4 | n |  | TRUE
40 | bus_LV_4045-27_0_5_node_124 | 0.4 | n |  | TRUE
41 | bus_LV_4045-27_0_5_node_134 | 0.4 | n |  | TRUE
42 | bus_LV_4045-27_0_5_node_131 | 0.4 | n |  | TRUE
43 | bus_LV_4045-27_0_5_node_132 | 0.4 | n |  | TRUE
44 | bus_LV_4045-27_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_4045-27_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4045-27_0_5_node_175 | 0.4 | n |  | TRUE
47 | bus_LV_4045-27_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_4045-27_0_5_node_176 | 0.4 | n |  | TRUE
49 | bus_LV_4045-27_0_5_node_62 | 0.4 | n |  | TRUE
50 | bus_LV_4045-27_0_5_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_4045-27_0_5_node_23 | 0.4 | n |  | TRUE
52 | bus_LV_4045-27_0_5_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_4045-27_0_5_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_4045-27_0_5_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_4045-27_0_5_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_4045-27_0_5_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_4045-27_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_4045-27_0_5_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_4045-27_0_5_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_4045-27_0_5_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_4045-27_0_5_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_4045-27_0_5_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_4045-27_0_5_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_4045-27_0_5_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_4045-27_0_5_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_4045-27_0_5_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_4045-27_0_5_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_4045-27_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_4045-27_0_5_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_4045-27_0_5_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_4045-27_0_5_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_4045-27_0_5_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_4045-27_0_5_node_46 | 0.4 | n |  | TRUE
74 | bus_LV_4045-27_0_5_node_47 | 0.4 | n |  | TRUE
75 | bus_LV_4045-27_0_5_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_4045-27_0_5_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4045-27_0_5_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_4045-27_0_5_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_4045-27_0_5_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_4045-27_0_5_node_54 | 0.4 | n |  | TRUE
81 | bus_LV_4045-27_0_5_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_4045-27_0_5_node_56 | 0.4 | n |  | TRUE
83 | bus_LV_4045-27_0_5_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_4045-27_0_5_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_4045-27_0_5_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_4045-27_0_5_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_4045-27_0_5_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_4045-27_0_5_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_4045-27_0_5_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_4045-27_0_5_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_4045-27_0_5_node_69 | 0.4 | n |  | TRUE
92 | bus_LV_4045-27_0_5_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_4045-27_0_5_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_4045-27_0_5_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_4045-27_0_5_node_172 | 0.4 | n |  | TRUE
96 | bus_LV_4045-27_0_5_node_162 | 0.4 | n |  | TRUE
97 | bus_LV_4045-27_0_5_node_165 | 0.4 | n |  | TRUE
98 | bus_LV_4045-27_0_5_node_77 | 0.4 | n |  | TRUE
99 | bus_LV_4045-27_0_5_node_145 | 0.4 | n |  | TRUE
100 | bus_LV_4045-27_0_5_node_173 | 0.4 | n |  | TRUE
101 | bus_LV_4045-27_0_5_node_78 | 0.4 | n |  | TRUE
102 | bus_LV_4045-27_0_5_node_152 | 0.4 | n |  | TRUE
103 | bus_LV_4045-27_0_5_node_86 | 0.4 | n |  | TRUE
104 | bus_LV_4045-27_0_5_node_151 | 0.4 | n |  | TRUE
105 | bus_LV_4045-27_0_5_node_161 | 0.4 | n |  | TRUE
106 | bus_LV_4045-27_0_5_node_160 | 0.4 | n |  | TRUE
107 | bus_LV_4045-27_0_5_node_174 | 0.4 | n |  | TRUE
108 | bus_LV_4045-27_0_5_node_163 | 0.4 | n |  | TRUE
109 | bus_LV_4045-27_0_5_node_146 | 0.4 | n |  | TRUE
110 | bus_LV_4045-27_0_5_node_144 | 0.4 | n |  | TRUE
111 | bus_LV_4045-27_0_5_node_85 | 0.4 | n |  | TRUE
112 | bus_LV_4045-27_0_5_node_149 | 0.4 | n |  | TRUE
113 | bus_LV_4045-27_0_5_node_80 | 0.4 | n |  | TRUE
114 | bus_LV_4045-27_0_5_node_81 | 0.4 | n |  | TRUE
115 | bus_LV_4045-27_0_5_node_82 | 0.4 | n |  | TRUE
116 | bus_LV_4045-27_0_5_node_83 | 0.4 | n |  | TRUE
117 | bus_LV_4045-27_0_5_node_84 | 0.4 | n |  | TRUE
118 | bus_LV_4045-27_0_5_node_87 | 0.4 | n |  | TRUE
119 | bus_LV_4045-27_0_5_node_92 | 0.4 | n |  | TRUE
120 | bus_LV_4045-27_0_5_node_93 | 0.4 | n |  | TRUE
121 | bus_LV_4045-27_0_5_node_102 | 0.4 | n |  | TRUE
122 | bus_LV_4045-27_0_5_node_103 | 0.4 | n |  | TRUE
123 | bus_LV_4045-27_0_5_node_104 | 0.4 | n |  | TRUE
124 | bus_LV_4045-27_0_5_node_150 | 0.4 | n |  | TRUE
125 | bus_LV_4045-27_0_5_node_148 | 0.4 | n |  | TRUE
126 | bus_LV_4045-27_0_5_node_96 | 0.4 | n |  | TRUE
127 | bus_LV_4045-27_0_5_node_101 | 0.4 | n |  | TRUE
128 | bus_LV_4045-27_0_5_node_99 | 0.4 | n |  | TRUE
129 | bus_LV_4045-27_0_5_node_100 | 0.4 | n |  | TRUE
130 | bus_LV_4045-27_0_5_node_108 | 0.4 | n |  | TRUE
131 | bus_LV_4045-27_0_5_node_105 | 0.4 | n |  | TRUE
132 | bus_LV_4045-27_0_5_node_128 | 0.4 | n |  | TRUE
133 | bus_LV_4045-27_0_5_node_106 | 0.4 | n |  | TRUE
134 | bus_LV_4045-27_0_5_node_115 | 0.4 | n |  | TRUE
135 | bus_LV_4045-27_0_5_node_153 | 0.4 | n |  | TRUE
136 | bus_LV_4045-27_0_5_node_114 | 0.4 | n |  | TRUE
137 | bus_LV_4045-27_0_5_node_154 | 0.4 | n |  | TRUE
138 | bus_LV_4045-27_0_5_node_107 | 0.4 | n |  | TRUE
139 | bus_LV_4045-27_0_5_node_110 | 0.4 | n |  | TRUE
140 | bus_LV_4045-27_0_5_node_109 | 0.4 | n |  | TRUE
141 | bus_LV_4045-27_0_5_node_129 | 0.4 | n |  | TRUE
142 | bus_LV_4045-27_0_5_node_130 | 0.4 | n |  | TRUE
143 | bus_LV_4045-27_0_5_node_111 | 0.4 | n |  | TRUE
144 | bus_LV_4045-27_0_5_node_112 | 0.4 | n |  | TRUE
145 | bus_LV_4045-27_0_5_node_113 | 0.4 | n |  | TRUE
146 | bus_LV_4045-27_0_5_node_143 | 0.4 | n |  | TRUE
147 | bus_LV_4045-27_0_5_node_122 | 0.4 | n |  | TRUE
148 | bus_LV_4045-27_0_5_node_123 | 0.4 | n |  | TRUE
149 | bus_LV_4045-27_0_5_node_125 | 0.4 | n |  | TRUE
150 | bus_LV_4045-27_0_5_node_126 | 0.4 | n |  | TRUE
151 | bus_LV_4045-27_0_5_node_127 | 0.4 | n |  | TRUE
152 | bus_LV_4045-27_0_5_node_142 | 0.4 | n |  | TRUE
153 | bus_LV_4045-27_0_5_node_141 | 0.4 | n |  | TRUE
154 | bus_LV_4045-27_0_5_node_133 | 0.4 | n |  | TRUE
155 | bus_LV_4045-27_0_5_node_140 | 0.4 | n |  | TRUE
156 | bus_LV_4045-27_0_5_node_138 | 0.4 | n |  | TRUE
157 | bus_LV_4045-27_0_5_node_171 | 0.4 | n |  | TRUE
158 | bus_LV_4045-27_0_5_node_169 | 0.4 | n |  | TRUE
159 | bus_LV_4045-27_0_5_node_147 | 0.4 | n |  | TRUE
160 | bus_LV_4045-27_0_5_node_155 | 0.4 | n |  | TRUE
161 | bus_LV_4045-27_0_5_node_159 | 0.4 | n |  | TRUE
162 | bus_LV_4045-27_0_5_node_157 | 0.4 | n |  | TRUE
163 | bus_LV_4045-27_0_5_node_156 | 0.4 | n |  | TRUE
164 | bus_LV_4045-27_0_5_node_158 | 0.4 | n |  | TRUE
165 | bus_LV_4045-27_0_5_node_164 | 0.4 | n |  | TRUE
166 | bus_LV_4045-27_0_5_node_166 | 0.4 | n |  | TRUE
167 | bus_LV_4045-27_0_5_node_170 | 0.4 | n |  | TRUE
168 | bus_LV_4045-27_0_5_node_168 | 0.4 | n |  | TRUE
169 | bus_LV_4045-27_0_5_node_167 | 0.4 | n |  | TRUE
170 | bus_MV_614_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4045-27_0_5_load_0 | 0 | 0.0068419 | 0.0017147 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4045-27_0_5_load_58 | 7 | 0.0025421 | 0.00063712 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4045-27_0_5_load_51 | 8 | 0.0029285 | 0.00073395 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4045-27_0_5_load_181 | 10 | 0.0010131 | 0.00025392 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4045-27_0_5_load_117 | 12 | 0.0045633 | 0.0011437 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4045-27_0_5_load_116 | 13 | 0.0025654 | 0.00064294 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4045-27_0_5_load_27 | 15 | 0.0034966 | 0.00087632 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4045-27_0_5_load_178 | 16 | 0.0051032 | 0.001279 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4045-27_0_5_load_136 | 18 | 0.0026029 | 0.00065234 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4045-27_0_5_load_118 | 21 | 0.018787 | 0.0047085 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4045-27_0_5_load_119 | 23 | 0.0036458 | 0.00091373 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4045-27_0_5_load_120 | 24 | 0.0029431 | 0.00073761 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4045-27_0_5_load_121 | 26 | 0.0084094 | 0.0021076 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4045-27_0_5_load_30 | 28 | 0.003215 | 0.00080577 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4045-27_0_5_load_177 | 29 | 0.0035831 | 0.00089801 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4045-27_0_5_load_65 | 30 | 0.0037093 | 0.00092964 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4045-27_0_5_load_98 | 31 | 0.0074715 | 0.0018725 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4045-27_0_5_load_57 | 32 | 0.003851 | 0.00096514 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4045-27_0_5_load_49 | 33 | 0.002249 | 0.00056365 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4045-27_0_5_load_50 | 34 | 0.0056275 | 0.0014104 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4045-27_0_5_load_180 | 35 | 0.006711 | 0.0016819 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4045-27_0_5_load_135 | 38 | 0.002462 | 0.00061704 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4045-27_0_5_load_137 | 39 | 0.0038601 | 0.00096743 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4045-27_0_5_load_124 | 40 | 0.0049216 | 0.0012335 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4045-27_0_5_load_134 | 41 | 0.0033801 | 0.00084714 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4045-27_0_5_load_131 | 42 | 0.0067059 | 0.0016806 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4045-27_0_5_load_132 | 43 | 0.0067288 | 0.0016864 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4045-27_0_5_load_31 | 44 | 0.0036901 | 0.00092483 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4045-27_0_5_load_175 | 46 | 0.0036007 | 0.00090241 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4045-27_0_5_load_176 | 48 | 0.0014318 | 0.00035884 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4045-27_0_5_load_97 | 50 | 0.0083354 | 0.002089 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4045-27_0_5_load_23 | 51 | 0.0029112 | 0.00072963 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4045-27_0_5_load_29 | 53 | 0.0066764 | 0.0016733 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4045-27_0_5_load_32 | 54 | 0.0020055 | 0.00050262 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4045-27_0_5_load_33 | 55 | 0.0023117 | 0.00057937 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4045-27_0_5_load_35 | 56 | 0.0024411 | 0.00061181 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4045-27_0_5_load_44 | 57 | 0.0025709 | 0.00064432 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4045-27_0_5_load_36 | 58 | 0.0023543 | 0.00059004 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4045-27_0_5_load_71 | 59 | 0.0020645 | 0.00051742 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4045-27_0_5_load_43 | 60 | 0.0024746 | 0.00062019 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4045-27_0_5_load_37 | 62 | 0.0017289 | 0.0004333 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4045-27_0_5_load_38 | 63 | 0.0012071 | 0.00030252 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4045-27_0_5_load_40 | 65 | 0.0013808 | 0.00034605 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4045-27_0_5_load_41 | 66 | 0.0015265 | 0.00038258 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4045-27_0_5_load_42 | 67 | 0.0026403 | 0.00066171 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4045-27_0_5_load_66 | 68 | 0.0051813 | 0.0012986 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4045-27_0_5_load_67 | 69 | 0.0014588 | 0.0003656 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4045-27_0_5_load_79 | 70 | 0.0022207 | 0.00055656 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4045-27_0_5_load_45 | 72 | 0.0051974 | 0.0013026 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4045-27_0_5_load_47 | 74 | 0.0037549 | 0.00094106 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4045-27_0_5_load_63 | 76 | 0.0057902 | 0.0014512 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4045-27_0_5_load_59 | 77 | 0.0056282 | 0.0014106 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4045-27_0_5_load_52 | 78 | 0.0016009 | 0.00040122 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4045-27_0_5_load_53 | 79 | 0.0023583 | 0.00059106 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4045-27_0_5_load_54 | 80 | 0.0020932 | 0.00052461 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4045-27_0_5_load_55 | 81 | 0.0015365 | 0.00038508 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4045-27_0_5_load_56 | 82 | 0.0052758 | 0.0013222 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4045-27_0_5_load_64 | 83 | 0.0033535 | 0.00084047 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4045-27_0_5_load_60 | 84 | 0.0024263 | 0.00060809 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4045-27_0_5_load_94 | 86 | 0.0023042 | 0.0005775 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4045-27_0_5_load_90 | 87 | 0.0033059 | 0.00082853 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4045-27_0_5_load_91 | 88 | 0.0023095 | 0.00057882 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4045-27_0_5_load_95 | 89 | 0.0026522 | 0.00066471 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4045-27_0_5_load_68 | 90 | 0.0019854 | 0.0004976 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4045-27_0_5_load_69 | 91 | 0.0014826 | 0.00037156 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4045-27_0_5_load_88 | 93 | 0.0023794 | 0.00059634 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4045-27_0_5_load_172 | 95 | 0.0026019 | 0.0006521 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4045-27_0_5_load_162 | 96 | 0.0024788 | 0.00062125 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4045-27_0_5_load_165 | 97 | 0.0017747 | 0.00044477 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4045-27_0_5_load_173 | 100 | 0.0035867 | 0.00089892 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4045-27_0_5_load_152 | 102 | 0.0023552 | 0.00059026 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4045-27_0_5_load_151 | 104 | 0.0017612 | 0.00044139 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4045-27_0_5_load_161 | 105 | 0.0044965 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4045-27_0_5_load_160 | 106 | 0.0037909 | 0.00095008 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4045-27_0_5_load_174 | 107 | 0.0016672 | 0.00041784 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4045-27_0_5_load_163 | 108 | 0.0018577 | 0.0004656 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4045-27_0_5_load_146 | 109 | 0.0019072 | 0.00047799 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4045-27_0_5_load_144 | 110 | 0.0046828 | 0.0011736 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4045-27_0_5_load_85 | 111 | 0.0067587 | 0.0016939 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4045-27_0_5_load_149 | 112 | 0.0015819 | 0.00039647 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4045-27_0_5_load_80 | 113 | 0.0016977 | 0.00042548 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4045-27_0_5_load_81 | 114 | 0.0018846 | 0.00047232 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4045-27_0_5_load_82 | 115 | 0.0021556 | 0.00054025 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4045-27_0_5_load_83 | 116 | 0.0041201 | 0.0010326 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4045-27_0_5_load_84 | 117 | 0.0018942 | 0.00047473 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4045-27_0_5_load_87 | 118 | 0.0026941 | 0.0006752 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4045-27_0_5_load_92 | 119 | 0.0051348 | 0.0012869 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4045-27_0_5_load_93 | 120 | 0.0017605 | 0.00044123 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4045-27_0_5_load_103 | 122 | 0.0023761 | 0.00059551 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4045-27_0_5_load_104 | 123 | 0.0027701 | 0.00069425 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4045-27_0_5_load_150 | 124 | 0.0011689 | 0.00029296 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4045-27_0_5_load_148 | 125 | 0.001435 | 0.00035965 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4045-27_0_5_load_96 | 126 | 0.0027836 | 0.00069765 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4045-27_0_5_load_101 | 127 | 0.014303 | 0.0035848 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4045-27_0_5_load_99 | 128 | 0.0021158 | 0.00053028 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4045-27_0_5_load_108 | 130 | 0.0016619 | 0.0004165 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4045-27_0_5_load_105 | 131 | 0.0013801 | 0.00034587 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4045-27_0_5_load_106 | 133 | 0.001192 | 0.00029875 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4045-27_0_5_load_115 | 134 | 0.0024046 | 0.00060266 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4045-27_0_5_load_153 | 135 | 0.0024336 | 0.00060992 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4045-27_0_5_load_154 | 137 | 0.0036619 | 0.00091776 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4045-27_0_5_load_107 | 138 | 0.0012801 | 0.00032083 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4045-27_0_5_load_110 | 139 | 0.0011498 | 0.00028817 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4045-27_0_5_load_109 | 140 | 0.0011585 | 0.00029035 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4045-27_0_5_load_129 | 141 | 0.0081002 | 0.0020301 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4045-27_0_5_load_130 | 142 | 0.0046369 | 0.0011621 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4045-27_0_5_load_111 | 143 | 0.0011679 | 0.00029271 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4045-27_0_5_load_112 | 144 | 0.0015589 | 0.0003907 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4045-27_0_5_load_113 | 145 | 0.0019114 | 0.00047904 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4045-27_0_5_load_143 | 146 | 0.0020912 | 0.0005241 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4045-27_0_5_load_122 | 147 | 0.01387 | 0.0034762 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4045-27_0_5_load_123 | 148 | 0.0049906 | 0.0012508 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4045-27_0_5_load_125 | 149 | 0.0027578 | 0.00069117 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4045-27_0_5_load_126 | 150 | 0.016727 | 0.0041921 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4045-27_0_5_load_127 | 151 | 0.0015128 | 0.00037913 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4045-27_0_5_load_142 | 152 | 0.0024882 | 0.00062359 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4045-27_0_5_load_133 | 154 | 0.0038228 | 0.00095807 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4045-27_0_5_load_140 | 155 | 0.0029469 | 0.00073856 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4045-27_0_5_load_138 | 156 | 0.007884 | 0.0019759 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4045-27_0_5_load_171 | 157 | 0.0034596 | 0.00086705 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4045-27_0_5_load_169 | 158 | 0.0012671 | 0.00031756 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4045-27_0_5_load_147 | 159 | 0.001064 | 0.00026665 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4045-27_0_5_load_155 | 160 | 0.0022108 | 0.00055407 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4045-27_0_5_load_159 | 161 | 0.006721 | 0.0016845 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4045-27_0_5_load_157 | 162 | 0.002244 | 0.0005624 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4045-27_0_5_load_156 | 163 | 0.0023804 | 0.00059658 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4045-27_0_5_load_158 | 164 | 0.0033844 | 0.00084821 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4045-27_0_5_load_164 | 165 | 0.0017377 | 0.0004355 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4045-27_0_5_load_166 | 166 | 0.0036427 | 0.00091295 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4045-27_0_5_load_170 | 167 | 0.0018978 | 0.00047563 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_4045-27_0_5_load_168 | 168 | 0.0030076 | 0.00075377 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_4045-27_0_5_load_167 | 169 | 0.0018524 | 0.00046425 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4045-27_0_5_line_0 |  | 0 | 1 | 0.045475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4045-27_0_5_line_1 |  | 1 | 6 | 0.015317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4045-27_0_5_line_2 |  | 2 | 3 | 0.030292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4045-27_0_5_line_3 |  | 2 | 4 | 0.012127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4045-27_0_5_line_4 |  | 2 | 5 | 0.040377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4045-27_0_5_line_5 |  | 3 | 7 | 0.012059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4045-27_0_5_line_6 |  | 4 | 8 | 0.044638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4045-27_0_5_line_7 |  | 5 | 9 | 0.037525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4045-27_0_5_line_8 |  | 5 | 10 | 0.017241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4045-27_0_5_line_9 |  | 6 | 30 | 0.016307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_4045-27_0_5_line_10 |  | 6 | 31 | 0.020373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4045-27_0_5_line_11 |  | 6 | 25 | 0.012973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_4045-27_0_5_line_12 |  | 7 | 32 | 0.020205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4045-27_0_5_line_13 |  | 9 | 27 | 0.04172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4045-27_0_5_line_14 |  | 9 | 28 | 0.0094446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4045-27_0_5_line_15 |  | 11 | 12 | 0.024118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4045-27_0_5_line_16 |  | 11 | 13 | 0.019928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_4045-27_0_5_line_17 |  | 12 | 22 | 0.015967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_4045-27_0_5_line_18 |  | 13 | 20 | 0.033874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_4045-27_0_5_line_19 |  | 14 | 15 | 0.028833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4045-27_0_5_line_20 |  | 14 | 16 | 0.012501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4045-27_0_5_line_21 |  | 15 | 37 | 0.0035781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4045-27_0_5_line_22 |  | 16 | 36 | 0.025623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4045-27_0_5_line_23 |  | 17 | 18 | 0.067656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4045-27_0_5_line_24 |  | 17 | 19 | 0.040443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4045-27_0_5_line_25 |  | 18 | 38 | 0.023663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4045-27_0_5_line_26 |  | 19 | 39 | 0.018045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4045-27_0_5_line_27 |  | 20 | 21 | 0.0046623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4045-27_0_5_line_28 |  | 21 | 26 | 0.025503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4045-27_0_5_line_29 |  | 22 | 23 | 0.026492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4045-27_0_5_line_30 |  | 22 | 24 | 0.010682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4045-27_0_5_line_31 |  | 23 | 40 | 0.015412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4045-27_0_5_line_32 |  | 25 | 26 | 0.026319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4045-27_0_5_line_33 |  | 27 | 29 | 0.028102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4045-27_0_5_line_34 |  | 28 | 44 | 0.016975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4045-27_0_5_line_35 |  | 30 | 49 | 0.016946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4045-27_0_5_line_36 |  | 31 | 50 | 0.013323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4045-27_0_5_line_37 |  | 32 | 82 | 0.0097328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4045-27_0_5_line_38 |  | 33 | 34 | 0.041432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4045-27_0_5_line_39 |  | 34 | 74 | 0.00094161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4045-27_0_5_line_40 |  | 35 | 36 | 0.013991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4045-27_0_5_line_41 |  | 36 | 53 | 0.030066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4045-27_0_5_line_42 |  | 37 | 45 | 0.016034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4045-27_0_5_line_43 |  | 37 | 51 | 0.0079306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4045-27_0_5_line_44 |  | 38 | 41 | 0.02303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4045-27_0_5_line_45 |  | 39 | 156 | 0.0066713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4045-27_0_5_line_46 |  | 40 | 147 | 0.0012162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4045-27_0_5_line_47 |  | 42 | 43 | 0.034688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4045-27_0_5_line_48 |  | 43 | 154 | 0.034851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4045-27_0_5_line_49 |  | 44 | 45 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4045-27_0_5_line_50 |  | 46 | 47 | 0.015598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4045-27_0_5_line_51 |  | 47 | 48 | 0.0061115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4045-27_0_5_line_52 |  | 47 | 52 | 0.005519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4045-27_0_5_line_53 |  | 49 | 83 | 0.0044945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_4045-27_0_5_line_54 |  | 49 | 84 | 0.027511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4045-27_0_5_line_55 |  | 49 | 81 | 0.016811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4045-27_0_5_line_56 |  | 52 | 53 | 0.0065913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4045-27_0_5_line_57 |  | 54 | 55 | 0.015717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4045-27_0_5_line_58 |  | 55 | 56 | 0.0028069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4045-27_0_5_line_59 |  | 56 | 57 | 0.018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4045-27_0_5_line_60 |  | 57 | 60 | 0.0014685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4045-27_0_5_line_61 |  | 58 | 59 | 0.038948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4045-27_0_5_line_62 |  | 59 | 61 | 0.018566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4045-27_0_5_line_63 |  | 60 | 65 | 0.011866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4045-27_0_5_line_64 |  | 61 | 92 | 0.026642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4045-27_0_5_line_65 |  | 61 | 91 | 0.017566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4045-27_0_5_line_66 |  | 62 | 63 | 0.019837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4045-27_0_5_line_67 |  | 62 | 64 | 0.010842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4045-27_0_5_line_68 |  | 63 | 65 | 0.015106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4045-27_0_5_line_69 |  | 64 | 66 | 0.020627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4045-27_0_5_line_70 |  | 64 | 67 | 0.002137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4045-27_0_5_line_71 |  | 66 | 68 | 0.0071976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4045-27_0_5_line_72 |  | 68 | 69 | 0.016939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4045-27_0_5_line_73 |  | 69 | 90 | 0.0021485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4045-27_0_5_line_74 |  | 70 | 71 | 0.0087347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4045-27_0_5_line_75 |  | 71 | 75 | 0.031966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4045-27_0_5_line_76 |  | 71 | 73 | 0.027392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4045-27_0_5_line_77 |  | 72 | 73 | 0.035655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4045-27_0_5_line_78 |  | 73 | 74 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4045-27_0_5_line_79 |  | 75 | 76 | 0.014448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4045-27_0_5_line_80 |  | 75 | 77 | 0.0010614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4045-27_0_5_line_81 |  | 76 | 85 | 0.022283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4045-27_0_5_line_82 |  | 77 | 84 | 0.017881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4045-27_0_5_line_83 |  | 78 | 79 | 0.011085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4045-27_0_5_line_84 |  | 78 | 80 | 0.006943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4045-27_0_5_line_85 |  | 79 | 81 | 0.0066215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4045-27_0_5_line_86 |  | 80 | 82 | 0.013042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4045-27_0_5_line_87 |  | 83 | 86 | 0.024968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4045-27_0_5_line_88 |  | 85 | 87 | 0.025251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4045-27_0_5_line_89 |  | 85 | 88 | 0.021063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4045-27_0_5_line_90 |  | 86 | 89 | 0.027264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_4045-27_0_5_line_91 |  | 87 | 119 | 0.0069908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4045-27_0_5_line_92 |  | 89 | 126 | 0.013019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4045-27_0_5_line_93 |  | 90 | 91 | 0.014205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4045-27_0_5_line_94 |  | 92 | 93 | 0.0091766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4045-27_0_5_line_95 |  | 93 | 103 | 0.019761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4045-27_0_5_line_96 |  | 94 | 95 | 0.012238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4045-27_0_5_line_97 |  | 94 | 96 | 0.015661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4045-27_0_5_line_98 |  | 94 | 97 | 0.026612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4045-27_0_5_line_99 |  | 97 | 108 | 0.0035183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4045-27_0_5_line_100 |  | 98 | 99 | 0.033393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4045-27_0_5_line_101 |  | 98 | 100 | 0.0061414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4045-27_0_5_line_102 |  | 99 | 109 | 0.021701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4045-27_0_5_line_103 |  | 99 | 110 | 0.00075094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4045-27_0_5_line_104 |  | 100 | 107 | 0.01269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4045-27_0_5_line_105 |  | 101 | 102 | 0.028698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4045-27_0_5_line_106 |  | 101 | 103 | 0.030433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4045-27_0_5_line_107 |  | 101 | 104 | 0.0085694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4045-27_0_5_line_108 |  | 103 | 111 | 0.023143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4045-27_0_5_line_109 |  | 104 | 112 | 0.023521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4045-27_0_5_line_110 |  | 105 | 106 | 0.0091907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4045-27_0_5_line_111 |  | 106 | 164 | 0.010013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4045-27_0_5_line_112 |  | 108 | 165 | 0.014815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4045-27_0_5_line_113 |  | 109 | 157 | 0.0016649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4045-27_0_5_line_114 |  | 110 | 146 | 0.0077864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4045-27_0_5_line_115 |  | 111 | 117 | 0.019117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4045-27_0_5_line_116 |  | 112 | 159 | 0.016784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4045-27_0_5_line_117 |  | 113 | 114 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4045-27_0_5_line_118 |  | 113 | 115 | 0.011236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4045-27_0_5_line_119 |  | 114 | 116 | 0.016831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4045-27_0_5_line_120 |  | 115 | 117 | 0.007846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4045-27_0_5_line_121 |  | 116 | 118 | 0.0096046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4045-27_0_5_line_122 |  | 119 | 120 | 0.021268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4045-27_0_5_line_123 |  | 120 | 124 | 0.015949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4045-27_0_5_line_124 |  | 121 | 122 | 0.01321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4045-27_0_5_line_125 |  | 121 | 123 | 0.012455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4045-27_0_5_line_126 |  | 122 | 134 | 0.010202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4045-27_0_5_line_127 |  | 123 | 135 | 0.019214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4045-27_0_5_line_128 |  | 124 | 125 | 0.017383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4045-27_0_5_line_129 |  | 125 | 159 | 0.018008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4045-27_0_5_line_130 |  | 126 | 127 | 0.0081793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4045-27_0_5_line_131 |  | 128 | 129 | 0.0083212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4045-27_0_5_line_132 |  | 129 | 130 | 0.019205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_4045-27_0_5_line_133 |  | 129 | 131 | 0.010202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
134 | LV_4045-27_0_5_line_134 |  | 130 | 132 | 0.018725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
135 | LV_4045-27_0_5_line_135 |  | 131 | 133 | 0.0089744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
136 | LV_4045-27_0_5_line_136 |  | 132 | 141 | 0.015723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
137 | LV_4045-27_0_5_line_137 |  | 132 | 142 | 0.0085245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4045-27_0_5_line_138 |  | 133 | 138 | 0.0065012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
139 | LV_4045-27_0_5_line_139 |  | 134 | 136 | 0.019463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4045-27_0_5_line_140 |  | 135 | 137 | 0.0036117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4045-27_0_5_line_141 |  | 136 | 146 | 0.016405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4045-27_0_5_line_142 |  | 136 | 145 | 0.013389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4045-27_0_5_line_143 |  | 137 | 160 | 0.021312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4045-27_0_5_line_144 |  | 138 | 139 | 0.01076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
145 | LV_4045-27_0_5_line_145 |  | 139 | 140 | 0.0080234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
146 | LV_4045-27_0_5_line_146 |  | 140 | 143 | 0.011513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
147 | LV_4045-27_0_5_line_147 |  | 141 | 151 | 0.023534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
148 | LV_4045-27_0_5_line_148 |  | 142 | 152 | 0.021385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4045-27_0_5_line_149 |  | 143 | 144 | 0.006612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
150 | LV_4045-27_0_5_line_150 |  | 144 | 145 | 0.011051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
151 | LV_4045-27_0_5_line_151 |  | 147 | 148 | 0.017085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
152 | LV_4045-27_0_5_line_152 |  | 148 | 149 | 0.0099603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
153 | LV_4045-27_0_5_line_153 |  | 149 | 150 | 0.016398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
154 | LV_4045-27_0_5_line_154 |  | 150 | 151 | 0.0044595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
155 | LV_4045-27_0_5_line_155 |  | 152 | 153 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4045-27_0_5_line_156 |  | 153 | 155 | 0.018482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4045-27_0_5_line_157 |  | 153 | 154 | 0.018842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4045-27_0_5_line_158 |  | 155 | 156 | 0.016013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4045-27_0_5_line_159 |  | 157 | 158 | 0.013601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4045-27_0_5_line_160 |  | 158 | 169 | 0.00060106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4045-27_0_5_line_161 |  | 160 | 161 | 0.0019953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4045-27_0_5_line_162 |  | 161 | 162 | 0.016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_4045-27_0_5_line_163 |  | 162 | 163 | 0.0080595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_4045-27_0_5_line_164 |  | 163 | 164 | 0.014617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_4045-27_0_5_line_165 |  | 165 | 166 | 0.00097578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_4045-27_0_5_line_166 |  | 166 | 167 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
167 | LV_4045-27_0_5_line_167 |  | 167 | 168 | 0.0036145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
168 | LV_4045-27_0_5_line_168 |  | 168 | 169 | 0.011565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4045-27_0_5_trafo_95 | 0.63 MVA 20/0.4 kV | 170 | 89 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2666317.2487 | 1257539.321 | 2666313.099 | 1257526.0982 | 2666304.7247 | 1257499.6073 | 2666303.4869 | 1257495.9795
1 | 2666317.0015 | 1257550.6153 | 2666313.3216 | 1257539.8774 | 2666317.2487 | 1257539.321
2 | 2666286.11 | 1257442.2015 | 2666283.0857 | 1257442.9348 | 2666283.6966 | 1257447.634 | 2666291.6578 | 1257468.6162
3 | 2666275.2633 | 1257440.5233 | 2666279.6001 | 1257443.7853 | 2666283.0857 | 1257442.9348 | 2666286.11 | 1257442.2015
4 | 2666286.11 | 1257442.2015 | 2666284.0962 | 1257433.5059 | 2666285.3839 | 1257430.2846 | 2666293.9498 | 1257414.7915 | 2666295.9424 | 1257415.9702 | 2666303.3209 | 1257418.9661
5 | 2666291.6578 | 1257468.6162 | 2666281.1083 | 1257474.4573
6 | 2666275.2633 | 1257440.5233 | 2666241.1711 | 1257432.6694 | 2666231.8345 | 1257430.2169
7 | 2666296.0724 | 1257394.2669 | 2666286.7403 | 1257410.8412 | 2666290.0021 | 1257412.4678 | 2666293.9498 | 1257414.7915 | 2666295.9424 | 1257415.9702 | 2666303.3209 | 1257418.9661
8 | 2666303.3209 | 1257418.9661 | 2666311.5564 | 1257403.8191
9 | 2666317.0015 | 1257550.6153 | 2666300.7968 | 1257548.7925
10 | 2666317.0015 | 1257550.6153 | 2666323.5615 | 1257569.9028
11 | 2666317.0015 | 1257550.6153 | 2666329.8658 | 1257552.5608
12 | 2666264.4347 | 1257485.7017 | 2666271.4225 | 1257479.8201 | 2666281.1083 | 1257474.4573
13 | 2666313.9126 | 1257356.6059 | 2666307.5024 | 1257372.8348 | 2666296.0724 | 1257394.2669
14 | 2666296.0724 | 1257394.2669 | 2666294.1387 | 1257393.2223 | 2666287.4825 | 1257390.3568 | 2666287.4825 | 1257390.3568
15 | 2666439.4251 | 1257563.8862 | 2666441.9071 | 1257569.8184 | 2666448.1999 | 1257573.4583 | 2666452.4371 | 1257576.8417 | 2666455.2081 | 1257580.9987
16 | 2666439.4251 | 1257563.8862 | 2666425.4184 | 1257564.3071 | 2666419.55 | 1257563.5685
17 | 2666464.0641 | 1257594.2849 | 2666455.2081 | 1257580.9987
18 | 2666385.9412 | 1257559.3386 | 2666419.55 | 1257563.5685
19 | 2666234.2312 | 1257422.818 | 2666241.8072 | 1257394.9983
20 | 2666234.2312 | 1257422.818 | 2666222.0973 | 1257419.809
21 | 2666242.7474 | 1257391.546 | 2666241.8072 | 1257394.9983
22 | 2666197.228 | 1257413.6419 | 2666222.0973 | 1257419.809
23 | 2666354.5966 | 1257781.2493 | 2666409.6639 | 1257741.9444
24 | 2666328.1741 | 1257750.5642 | 2666354.5966 | 1257781.2493
25 | 2666428.9238 | 1257728.1974 | 2666409.6639 | 1257741.9444
26 | 2666328.1741 | 1257750.5642 | 2666341.988 | 1257738.9536
27 | 2666385.9412 | 1257559.3386 | 2666381.3126 | 1257558.7791
28 | 2666355.9943 | 1257555.7189 | 2666381.3126 | 1257558.7791
29 | 2666464.0641 | 1257594.2849 | 2666442.7681 | 1257610.0431
30 | 2666464.0641 | 1257594.2849 | 2666469.9731 | 1257603.1831
31 | 2666442.7681 | 1257610.0431 | 2666430.379 | 1257619.2105
32 | 2666329.8658 | 1257552.5608 | 2666355.9943 | 1257555.7189
33 | 2666313.9126 | 1257356.6059 | 2666309.5141 | 1257354.8109 | 2666286.3429 | 1257357.7018
34 | 2666270.9055 | 1257394.0105 | 2666287.4825 | 1257390.3568
35 | 2666283.957 | 1257546.8982 | 2666300.7968 | 1257548.7925
36 | 2666327.8516 | 1257582.5164 | 2666323.5615 | 1257569.9028
37 | 2666264.4347 | 1257485.7017 | 2666264.4347 | 1257485.7017 | 2666267.3927 | 1257494.9742
38 | 2666238.31 | 1257477.9785 | 2666221.8301 | 1257493.9978 | 2666208.8923 | 1257496.5884 | 2666204.8787 | 1257499.9803
39 | 2666204.8787 | 1257499.9803 | 2666204.1595 | 1257500.5881
40 | 2666197.228 | 1257413.6419 | 2666183.9559 | 1257409.2145
41 | 2666197.228 | 1257413.6419 | 2666206.3059 | 1257384.9794
42 | 2666258.6131 | 1257394.1698 | 2666242.7474 | 1257391.546
43 | 2666242.7474 | 1257391.546 | 2666243.5875 | 1257383.66
44 | 2666447.5962 | 1257714.7169 | 2666434.473 | 1257724.2366 | 2666428.9238 | 1257728.1974
45 | 2666341.988 | 1257738.9536 | 2666347.095 | 1257734.6612
46 | 2666429.4013 | 1257619.9339 | 2666430.379 | 1257619.2105
47 | 2666444.6044 | 1257659.9847 | 2666416.4838 | 1257680.2937
48 | 2666388.5013 | 1257701.0641 | 2666403.2819 | 1257689.8283 | 2666416.4838 | 1257680.2937
49 | 2666258.6131 | 1257394.1698 | 2666265.2061 | 1257395.2666 | 2666270.9055 | 1257394.0105
50 | 2666209.9611 | 1257373.4328 | 2666215.8761 | 1257369.7629 | 2666220.7356 | 1257362.623
51 | 2666209.9611 | 1257373.4328 | 2666204.3513 | 1257371.0075
52 | 2666208.2961 | 1257378.6958 | 2666209.9611 | 1257373.4328
53 | 2666283.957 | 1257546.8982 | 2666281.1906 | 1257550.1918 | 2666281.0284 | 1257550.2968
54 | 2666283.957 | 1257546.8982 | 2666256.8026 | 1257542.485
55 | 2666283.957 | 1257546.8982 | 2666278.8479 | 1257530.8827
56 | 2666208.2961 | 1257378.6958 | 2666206.3059 | 1257384.9794
57 | 2666075.5987 | 1257519.1054 | 2666061.5189 | 1257512.1205
58 | 2666075.5987 | 1257519.1054 | 2666078.1132 | 1257520.3529
59 | 2666094.8198 | 1257528.714 | 2666088.0941 | 1257525.3044 | 2666078.1132 | 1257520.3529
60 | 2666094.8198 | 1257528.714 | 2666096.1296 | 1257529.378
61 | 2666073.8624 | 1257593.1192 | 2666049.3714 | 1257569.5713 | 2666045.5578 | 1257566.3801
62 | 2666087.2458 | 1257605.9871 | 2666073.8624 | 1257593.1192
63 | 2666096.1296 | 1257529.378 | 2666106.7132 | 1257534.7433
64 | 2666087.2458 | 1257605.9871 | 2666101.4176 | 1257628.5729
65 | 2666087.2458 | 1257605.9871 | 2666100.709 | 1257594.7037
66 | 2666137.88 | 1257550.5433 | 2666120.1867 | 1257541.5737
67 | 2666147.5507 | 1257555.4458 | 2666137.88 | 1257550.5433
68 | 2666120.1867 | 1257541.5737 | 2666106.7132 | 1257534.7433
69 | 2666147.5507 | 1257555.4458 | 2666131.7417 | 1257568.6953
70 | 2666147.5507 | 1257555.4458 | 2666149.2308 | 1257554.1252
71 | 2666126.2253 | 1257573.3186 | 2666131.7417 | 1257568.6953
72 | 2666126.2253 | 1257573.3186 | 2666113.2427 | 1257584.1992
73 | 2666111.596 | 1257585.5793 | 2666113.2427 | 1257584.1992
74 | 2666206.6015 | 1257533.5231 | 2666197.8832 | 1257534.0579
75 | 2666206.6015 | 1257533.5231 | 2666232.1451 | 1257538.4567 | 2666238.1059 | 1257539.4464
76 | 2666206.6015 | 1257533.5231 | 2666193.9724 | 1257509.1975
77 | 2666193.9724 | 1257509.1975 | 2666184.7003 | 1257499.5535 | 2666166.5997 | 1257502.6201 | 2666162.7331 | 1257501.9847
78 | 2666193.9724 | 1257509.1975 | 2666204.1595 | 1257500.5881
79 | 2666238.1059 | 1257539.4464 | 2666238.1866 | 1257547.0528 | 2666239.2161 | 1257553.8162
80 | 2666238.1059 | 1257539.4464 | 2666239.1535 | 1257539.6166
81 | 2666242.5693 | 1257575.8451 | 2666239.2161 | 1257553.8162
82 | 2666239.1535 | 1257539.6166 | 2666256.8026 | 1257542.485
83 | 2666273.4667 | 1257514.0142 | 2666276.8355 | 1257524.5744
84 | 2666273.4667 | 1257514.0142 | 2666271.3566 | 1257507.3996
85 | 2666276.8355 | 1257524.5744 | 2666278.8479 | 1257530.8827
86 | 2666271.3566 | 1257507.3996 | 2666267.3927 | 1257494.9742
87 | 2666281.0284 | 1257550.2968 | 2666268.3091 | 1257558.5315 | 2666273.3903 | 1257566.9301
88 | 2666242.5693 | 1257575.8451 | 2666236.8521 | 1257578.0271 | 2666222.668 | 1257590.8662
89 | 2666242.5693 | 1257575.8451 | 2666243.0065 | 1257596.9037
90 | 2666273.3903 | 1257566.9301 | 2666287.5032 | 1257590.257
91 | 2666222.668 | 1257590.8662 | 2666217.4852 | 1257595.5576
92 | 2666287.5032 | 1257590.257 | 2666294.2425 | 1257601.3963
93 | 2666111.596 | 1257585.5793 | 2666100.709 | 1257594.7037
94 | 2666101.4176 | 1257628.5729 | 2666106.131 | 1257636.4466
95 | 2666116.2806 | 1257653.4014 | 2666106.131 | 1257636.4466
96 | 2666194.0567 | 1257787.4459 | 2666200.9794 | 1257797.5383
97 | 2666194.0567 | 1257787.4459 | 2666185.9885 | 1257774.0236
98 | 2666194.0567 | 1257787.4459 | 2666214.1101 | 1257769.9511
99 | 2666216.7612 | 1257767.6382 | 2666214.1101 | 1257769.9511
100 | 2666279.816 | 1257712.6283 | 2666285.5397 | 1257745.5276
101 | 2666285.5397 | 1257745.5276 | 2666287.4681 | 1257751.3583
102 | 2666279.816 | 1257712.6283 | 2666263.4637 | 1257726.8943
103 | 2666279.7053 | 1257711.8856 | 2666279.816 | 1257712.6283
104 | 2666287.4681 | 1257751.3583 | 2666291.4528 | 1257763.406
105 | 2666130.6534 | 1257680.2481 | 2666145.121 | 1257705.0321
106 | 2666130.6534 | 1257680.2481 | 2666116.2806 | 1257653.4014
107 | 2666130.6534 | 1257680.2481 | 2666135.6213 | 1257673.2657
108 | 2666116.2806 | 1257653.4014 | 2666133.1233 | 1257637.5297
109 | 2666152.3119 | 1257656.723 | 2666136.3987 | 1257672.1731 | 2666135.6213 | 1257673.2657
110 | 2666174.6927 | 1257730.8188 | 2666181.2944 | 1257724.4246
111 | 2666188.4865 | 1257717.4586 | 2666181.2944 | 1257724.4246
112 | 2666216.7612 | 1257767.6382 | 2666227.925 | 1257757.8987
113 | 2666263.4637 | 1257726.8943 | 2666262.2091 | 1257727.9888
114 | 2666278.5582 | 1257704.1841 | 2666279.7053 | 1257711.8856
115 | 2666147.0359 | 1257624.4192 | 2666133.1233 | 1257637.5297
116 | 2666164.354 | 1257645.0315 | 2666152.3119 | 1257656.723
117 | 2666160.9235 | 1257611.3322 | 2666169.4218 | 1257603.3239
118 | 2666152.746 | 1257619.0383 | 2666160.9235 | 1257611.3322
119 | 2666181.671 | 1257591.7808 | 2666169.4218 | 1257603.3239
120 | 2666152.746 | 1257619.0383 | 2666147.0359 | 1257624.4192
121 | 2666181.671 | 1257591.7808 | 2666188.661 | 1257585.1938
122 | 2666201.7172 | 1257609.8304 | 2666217.4852 | 1257595.5576
123 | 2666201.7172 | 1257609.8304 | 2666189.8926 | 1257620.5337
124 | 2666258.6266 | 1257649.5229 | 2666266.1802 | 1257660.3598
125 | 2666258.6266 | 1257649.5229 | 2666249.6803 | 1257658.188
126 | 2666266.1802 | 1257660.3598 | 2666270.203 | 1257666.1313 | 2666271.1006 | 1257669.1684
127 | 2666249.6803 | 1257658.188 | 2666235.8787 | 1257671.5558
128 | 2666177.2745 | 1257632.4871 | 2666185.3673 | 1257624.6299 | 2666189.8926 | 1257620.5337
129 | 2666164.354 | 1257645.0315 | 2666177.2745 | 1257632.4871
130 | 2666298.4765 | 1257608.3945 | 2666294.2425 | 1257601.3963
131 | 2666346.1193 | 1257636.2262 | 2666343.4398 | 1257628.3482
132 | 2666346.1193 | 1257636.2262 | 2666352.8121 | 1257654.2269
133 | 2666346.1193 | 1257636.2262 | 2666337.9323 | 1257642.3128
134 | 2666359.3379 | 1257671.778 | 2666352.8121 | 1257654.2269
135 | 2666337.9323 | 1257642.3128 | 2666330.7303 | 1257647.6671
136 | 2666359.3379 | 1257671.778 | 2666371.9766 | 1257662.4259
137 | 2666359.3379 | 1257671.778 | 2666362.1403 | 1257679.8287
138 | 2666325.513 | 1257651.5459 | 2666330.7303 | 1257647.6671
139 | 2666276.1414 | 1257687.9581 | 2666274.3076 | 1257680.0207 | 2666271.1006 | 1257669.1684
140 | 2666233.2844 | 1257674.0686 | 2666235.8787 | 1257671.5558
141 | 2666276.1414 | 1257687.9581 | 2666278.5582 | 1257704.1841
142 | 2666276.1414 | 1257687.9581 | 2666285.665 | 1257681.1709 | 2666287.0248 | 1257680.1599
143 | 2666233.2844 | 1257674.0686 | 2666217.9761 | 1257688.8958
144 | 2666325.513 | 1257651.5459 | 2666316.8776 | 1257657.9659
145 | 2666310.4387 | 1257662.7528 | 2666316.8776 | 1257657.9659
146 | 2666310.4387 | 1257662.7528 | 2666301.1993 | 1257669.6219
147 | 2666371.9766 | 1257662.4259 | 2666390.8948 | 1257648.4272
148 | 2666369.1705 | 1257700.0248 | 2666362.1403 | 1257679.8287
149 | 2666295.8931 | 1257673.5668 | 2666301.1993 | 1257669.6219
150 | 2666295.8931 | 1257673.5668 | 2666287.0248 | 1257680.1599
151 | 2666429.4013 | 1257619.9339 | 2666415.6676 | 1257630.0964
152 | 2666407.6609 | 1257636.021 | 2666415.6676 | 1257630.0964
153 | 2666407.6609 | 1257636.021 | 2666394.4796 | 1257645.7746
154 | 2666390.8948 | 1257648.4272 | 2666394.4796 | 1257645.7746
155 | 2666373.5015 | 1257712.4665 | 2666369.1705 | 1257700.0248
156 | 2666373.5015 | 1257712.4665 | 2666359.3534 | 1257724.358
157 | 2666373.5015 | 1257712.4665 | 2666388.5013 | 1257701.0641
158 | 2666359.3534 | 1257724.358 | 2666347.095 | 1257734.6612
159 | 2666262.2091 | 1257727.9888 | 2666251.9604 | 1257736.9299
160 | 2666251.9604 | 1257736.9299 | 2666251.5075 | 1257737.3251
161 | 2666217.9761 | 1257688.8958 | 2666216.5429 | 1257690.284
162 | 2666204.7752 | 1257701.6818 | 2666216.5429 | 1257690.284
163 | 2666204.7752 | 1257701.6818 | 2666198.986 | 1257707.289
164 | 2666188.4865 | 1257717.4586 | 2666198.986 | 1257707.289
165 | 2666228.6603 | 1257757.2572 | 2666227.925 | 1257757.8987
166 | 2666240.0689 | 1257747.3043 | 2666228.6603 | 1257757.2572
167 | 2666240.0689 | 1257747.3043 | 2666242.7925 | 1257744.9281
168 | 2666251.5075 | 1257737.3251 | 2666242.7925 | 1257744.9281

## bus_geodata
| x | y | coords
0 | 2666303.4869 | 1257495.9795
1 | 2666317.2487 | 1257539.321
2 | 2666286.11 | 1257442.2015
3 | 2666291.6578 | 1257468.6162
4 | 2666275.2633 | 1257440.5233
5 | 2666303.3209 | 1257418.9661
6 | 2666317.0015 | 1257550.6153
7 | 2666281.1083 | 1257474.4573
8 | 2666231.8345 | 1257430.2169
9 | 2666296.0724 | 1257394.2669
10 | 2666311.5564 | 1257403.8191
11 | 2666439.4251 | 1257563.8862
12 | 2666455.2081 | 1257580.9987
13 | 2666419.55 | 1257563.5685
14 | 2666234.2312 | 1257422.818
15 | 2666241.8072 | 1257394.9983
16 | 2666222.0973 | 1257419.809
17 | 2666354.5966 | 1257781.2493
18 | 2666409.6639 | 1257741.9444
19 | 2666328.1741 | 1257750.5642
20 | 2666385.9412 | 1257559.3386
21 | 2666381.3126 | 1257558.7791
22 | 2666464.0641 | 1257594.2849
23 | 2666442.7681 | 1257610.0431
24 | 2666469.9731 | 1257603.1831
25 | 2666329.8658 | 1257552.5608
26 | 2666355.9943 | 1257555.7189
27 | 2666313.9126 | 1257356.6059
28 | 2666287.4825 | 1257390.3568
29 | 2666286.3429 | 1257357.7018
30 | 2666300.7968 | 1257548.7925
31 | 2666323.5615 | 1257569.9028
32 | 2666264.4347 | 1257485.7017
33 | 2666238.31 | 1257477.9785
34 | 2666204.8787 | 1257499.9803
35 | 2666183.9559 | 1257409.2145
36 | 2666197.228 | 1257413.6419
37 | 2666242.7474 | 1257391.546
38 | 2666428.9238 | 1257728.1974
39 | 2666341.988 | 1257738.9536
40 | 2666430.379 | 1257619.2105
41 | 2666447.5962 | 1257714.7169
42 | 2666444.6044 | 1257659.9847
43 | 2666416.4838 | 1257680.2937
44 | 2666270.9055 | 1257394.0105
45 | 2666258.6131 | 1257394.1698
46 | 2666220.7356 | 1257362.623
47 | 2666209.9611 | 1257373.4328
48 | 2666204.3513 | 1257371.0075
49 | 2666283.957 | 1257546.8982
50 | 2666327.8516 | 1257582.5164
51 | 2666243.5875 | 1257383.66
52 | 2666208.2961 | 1257378.6958
53 | 2666206.3059 | 1257384.9794
54 | 2666061.5189 | 1257512.1205
55 | 2666075.5987 | 1257519.1054
56 | 2666078.1132 | 1257520.3529
57 | 2666094.8198 | 1257528.714
58 | 2666045.5578 | 1257566.3801
59 | 2666073.8624 | 1257593.1192
60 | 2666096.1296 | 1257529.378
61 | 2666087.2458 | 1257605.9871
62 | 2666137.88 | 1257550.5433
63 | 2666120.1867 | 1257541.5737
64 | 2666147.5507 | 1257555.4458
65 | 2666106.7132 | 1257534.7433
66 | 2666131.7417 | 1257568.6953
67 | 2666149.2308 | 1257554.1252
68 | 2666126.2253 | 1257573.3186
69 | 2666113.2427 | 1257584.1992
70 | 2666197.8832 | 1257534.0579
71 | 2666206.6015 | 1257533.5231
72 | 2666162.7331 | 1257501.9847
73 | 2666193.9724 | 1257509.1975
74 | 2666204.1595 | 1257500.5881
75 | 2666238.1059 | 1257539.4464
76 | 2666239.2161 | 1257553.8162
77 | 2666239.1535 | 1257539.6166
78 | 2666273.4667 | 1257514.0142
79 | 2666276.8355 | 1257524.5744
80 | 2666271.3566 | 1257507.3996
81 | 2666278.8479 | 1257530.8827
82 | 2666267.3927 | 1257494.9742
83 | 2666281.0284 | 1257550.2968
84 | 2666256.8026 | 1257542.485
85 | 2666242.5693 | 1257575.8451
86 | 2666273.3903 | 1257566.9301
87 | 2666222.668 | 1257590.8662
88 | 2666243.0065 | 1257596.9037
89 | 2666287.5032 | 1257590.257
90 | 2666111.596 | 1257585.5793
91 | 2666100.709 | 1257594.7037
92 | 2666101.4176 | 1257628.5729
93 | 2666106.131 | 1257636.4466
94 | 2666194.0567 | 1257787.4459
95 | 2666200.9794 | 1257797.5383
96 | 2666185.9885 | 1257774.0236
97 | 2666214.1101 | 1257769.9511
98 | 2666285.5397 | 1257745.5276
99 | 2666279.816 | 1257712.6283
100 | 2666287.4681 | 1257751.3583
101 | 2666130.6534 | 1257680.2481
102 | 2666145.121 | 1257705.0321
103 | 2666116.2806 | 1257653.4014
104 | 2666135.6213 | 1257673.2657
105 | 2666174.6927 | 1257730.8188
106 | 2666181.2944 | 1257724.4246
107 | 2666291.4528 | 1257763.406
108 | 2666216.7612 | 1257767.6382
109 | 2666263.4637 | 1257726.8943
110 | 2666279.7053 | 1257711.8856
111 | 2666133.1233 | 1257637.5297
112 | 2666152.3119 | 1257656.723
113 | 2666160.9235 | 1257611.3322
114 | 2666169.4218 | 1257603.3239
115 | 2666152.746 | 1257619.0383
116 | 2666181.671 | 1257591.7808
117 | 2666147.0359 | 1257624.4192
118 | 2666188.661 | 1257585.1938
119 | 2666217.4852 | 1257595.5576
120 | 2666201.7172 | 1257609.8304
121 | 2666258.6266 | 1257649.5229
122 | 2666266.1802 | 1257660.3598
123 | 2666249.6803 | 1257658.188
124 | 2666189.8926 | 1257620.5337
125 | 2666177.2745 | 1257632.4871
126 | 2666294.2425 | 1257601.3963
127 | 2666298.4765 | 1257608.3945
128 | 2666343.4398 | 1257628.3482
129 | 2666346.1193 | 1257636.2262
130 | 2666352.8121 | 1257654.2269
131 | 2666337.9323 | 1257642.3128
132 | 2666359.3379 | 1257671.778
133 | 2666330.7303 | 1257647.6671
134 | 2666271.1006 | 1257669.1684
135 | 2666235.8787 | 1257671.5558
136 | 2666276.1414 | 1257687.9581
137 | 2666233.2844 | 1257674.0686
138 | 2666325.513 | 1257651.5459
139 | 2666316.8776 | 1257657.9659
140 | 2666310.4387 | 1257662.7528
141 | 2666371.9766 | 1257662.4259
142 | 2666362.1403 | 1257679.8287
143 | 2666301.1993 | 1257669.6219
144 | 2666295.8931 | 1257673.5668
145 | 2666287.0248 | 1257680.1599
146 | 2666278.5582 | 1257704.1841
147 | 2666429.4013 | 1257619.9339
148 | 2666415.6676 | 1257630.0964
149 | 2666407.6609 | 1257636.021
150 | 2666394.4796 | 1257645.7746
151 | 2666390.8948 | 1257648.4272
152 | 2666369.1705 | 1257700.0248
153 | 2666373.5015 | 1257712.4665
154 | 2666388.5013 | 1257701.0641
155 | 2666359.3534 | 1257724.358
156 | 2666347.095 | 1257734.6612
157 | 2666262.2091 | 1257727.9888
158 | 2666251.9604 | 1257736.9299
159 | 2666164.354 | 1257645.0315
160 | 2666217.9761 | 1257688.8958
161 | 2666216.5429 | 1257690.284
162 | 2666204.7752 | 1257701.6818
163 | 2666198.986 | 1257707.289
164 | 2666188.4865 | 1257717.4586
165 | 2666227.925 | 1257757.8987
166 | 2666228.6603 | 1257757.2572
167 | 2666240.0689 | 1257747.3043
168 | 2666242.7925 | 1257744.9281
169 | 2666251.5075 | 1257737.3251
170 | 2666298.4765 | 1257608.3945

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1