## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4045-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4045-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4045-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4045-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4045-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4045-2_0_6_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4045-2_0_6_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_4045-2_0_6_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4045-2_0_6_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_4045-2_0_6_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_4045-2_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4045-2_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4045-2_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4045-2_0_6_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_4045-2_0_6_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4045-2_0_6_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_4045-2_0_6_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_4045-2_0_6_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_4045-2_0_6_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_4045-2_0_6_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_4045-2_0_6_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_4045-2_0_6_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_4045-2_0_6_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_4045-2_0_6_node_69 | 0.4 | n |  | TRUE
24 | bus_LV_4045-2_0_6_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_4045-2_0_6_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_4045-2_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4045-2_0_6_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4045-2_0_6_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_4045-2_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4045-2_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4045-2_0_6_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_4045-2_0_6_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_4045-2_0_6_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_4045-2_0_6_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_4045-2_0_6_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_4045-2_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4045-2_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4045-2_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4045-2_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4045-2_0_6_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_4045-2_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_4045-2_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_4045-2_0_6_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_4045-2_0_6_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_4045-2_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_4045-2_0_6_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_4045-2_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_4045-2_0_6_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4045-2_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4045-2_0_6_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_4045-2_0_6_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_4045-2_0_6_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_4045-2_0_6_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_4045-2_0_6_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_4045-2_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4045-2_0_6_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4045-2_0_6_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_4045-2_0_6_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_4045-2_0_6_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_4045-2_0_6_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_4045-2_0_6_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_4045-2_0_6_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_4045-2_0_6_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_4045-2_0_6_node_63 | 0.4 | n |  | TRUE
65 | bus_MV_615_0_node_136 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4045-2_0_6_load_0 | 0 | 0.025385 | 0.0063621 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4045-2_0_6_load_1 | 1 | 0.0089384 | 0.0022402 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4045-2_0_6_load_2 | 2 | 0.0071411 | 0.0017897 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4045-2_0_6_load_3 | 3 | 0.0031729 | 0.00079521 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4045-2_0_6_load_6 | 7 | 0.029593 | 0.0074168 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4045-2_0_6_load_57 | 8 | 0.01013 | 0.0025388 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4045-2_0_6_load_19 | 9 | 0.0056962 | 0.0014276 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4045-2_0_6_load_5 | 10 | 0.01819 | 0.0045589 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4045-2_0_6_load_12 | 14 | 0.0072219 | 0.00181 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4045-2_0_6_load_27 | 15 | 0.00092277 | 0.00023127 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4045-2_0_6_load_68 | 18 | 0.072028 | 0.018052 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4045-2_0_6_load_52 | 20 | 0.0046935 | 0.0011763 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4045-2_0_6_load_69 | 23 | 0.00090192 | 0.00022604 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4045-2_0_6_load_28 | 25 | 0.0080845 | 0.0020262 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4045-2_0_6_load_18 | 26 | 0.0010774 | 0.00027002 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4045-2_0_6_load_17 | 27 | 0.025628 | 0.006423 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4045-2_0_6_load_22 | 29 | 0.0066292 | 0.0016614 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4045-2_0_6_load_23 | 30 | 0.0036864 | 0.00092391 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4045-2_0_6_load_56 | 32 | 0.0018588 | 0.00046587 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4045-2_0_6_load_60 | 33 | 0.0045788 | 0.0011476 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4045-2_0_6_load_55 | 34 | 0.0021006 | 0.00052646 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4045-2_0_6_load_59 | 35 | 0.0014759 | 0.0003699 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4045-2_0_6_load_30 | 36 | 0.014162 | 0.0035493 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4045-2_0_6_load_42 | 40 | 0.0075538 | 0.0018932 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4045-2_0_6_load_35 | 42 | 0.013678 | 0.003428 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4045-2_0_6_load_46 | 43 | 0.0016928 | 0.00042426 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4045-2_0_6_load_44 | 44 | 0.0025807 | 0.00064678 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4045-2_0_6_load_36 | 46 | 0.025284 | 0.0063368 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4045-2_0_6_load_37 | 47 | 0.062316 | 0.015618 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4045-2_0_6_load_38 | 48 | 0.015247 | 0.0038214 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4045-2_0_6_load_40 | 50 | 0.012102 | 0.003033 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4045-2_0_6_load_67 | 51 | 0.056517 | 0.014164 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4045-2_0_6_load_45 | 52 | 0.00362 | 0.00090725 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4045-2_0_6_load_66 | 53 | 0.005581 | 0.0013987 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4045-2_0_6_load_47 | 55 | 0.0042436 | 0.0010636 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4045-2_0_6_load_48 | 56 | 0.0012908 | 0.00032351 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4045-2_0_6_load_49 | 57 | 0.0019587 | 0.00049088 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4045-2_0_6_load_51 | 58 | 0.0018337 | 0.00045958 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4045-2_0_6_load_64 | 60 | 0.062959 | 0.015779 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4045-2_0_6_load_54 | 61 | 0.0052025 | 0.0013039 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4045-2_0_6_load_58 | 62 | 0.0015958 | 0.00039995 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4045-2_0_6_load_61 | 63 | 0.0023648 | 0.00059269 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4045-2_0_6_line_0 |  | 0 | 1 | 0.015254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4045-2_0_6_line_1 |  | 0 | 2 | 0.0002029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4045-2_0_6_line_2 |  | 1 | 3 | 0.014303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4045-2_0_6_line_3 |  | 2 | 4 | 0.030215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4045-2_0_6_line_4 |  | 4 | 5 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4045-2_0_6_line_5 |  | 4 | 6 | 0.009856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4045-2_0_6_line_6 |  | 5 | 7 | 0.040602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4045-2_0_6_line_7 |  | 6 | 8 | 0.034921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4045-2_0_6_line_8 |  | 6 | 9 | 0.047791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4045-2_0_6_line_9 |  | 7 | 10 | 0.024248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4045-2_0_6_line_10 |  | 8 | 28 | 0.037942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4045-2_0_6_line_11 |  | 9 | 27 | 0.033252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4045-2_0_6_line_12 |  | 10 | 11 | 0.049979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4045-2_0_6_line_13 |  | 11 | 12 | 0.082144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4045-2_0_6_line_14 |  | 12 | 13 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4045-2_0_6_line_15 |  | 12 | 14 | 0.041821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4045-2_0_6_line_16 |  | 13 | 15 | 0.023551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4045-2_0_6_line_17 |  | 15 | 19 | 0.013908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4045-2_0_6_line_18 |  | 16 | 17 | 0.008684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4045-2_0_6_line_19 |  | 16 | 18 | 0.048069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4045-2_0_6_line_20 |  | 17 | 25 | 0.028961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4045-2_0_6_line_21 |  | 17 | 26 | 0.0074761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4045-2_0_6_line_22 |  | 19 | 31 | 0.016974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4045-2_0_6_line_23 |  | 19 | 29 | 0.011307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4045-2_0_6_line_24 |  | 20 | 21 | 0.019742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4045-2_0_6_line_25 |  | 21 | 61 | 0.043651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4045-2_0_6_line_26 |  | 22 | 23 | 0.009597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4045-2_0_6_line_27 |  | 22 | 24 | 0.059736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4045-2_0_6_line_28 |  | 24 | 32 | 0.059249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4045-2_0_6_line_29 |  | 26 | 27 | 0.030772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4045-2_0_6_line_30 |  | 28 | 41 | 0.030906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4045-2_0_6_line_31 |  | 28 | 38 | 0.051346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4045-2_0_6_line_32 |  | 29 | 30 | 0.097239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4045-2_0_6_line_33 |  | 31 | 33 | 0.012795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4045-2_0_6_line_34 |  | 32 | 34 | 0.012683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4045-2_0_6_line_35 |  | 33 | 35 | 0.014232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4045-2_0_6_line_36 |  | 34 | 58 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4045-2_0_6_line_37 |  | 35 | 62 | 0.015412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4045-2_0_6_line_38 |  | 36 | 37 | 0.038612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_4045-2_0_6_line_39 |  | 36 | 38 | 0.045985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4045-2_0_6_line_40 |  | 37 | 39 | 0.032836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_4045-2_0_6_line_41 |  | 39 | 40 | 0.034494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4045-2_0_6_line_42 |  | 40 | 45 | 0.034172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4045-2_0_6_line_43 |  | 41 | 42 | 0.024173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4045-2_0_6_line_44 |  | 43 | 44 | 0.0055566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4045-2_0_6_line_45 |  | 44 | 45 | 0.014884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4045-2_0_6_line_46 |  | 45 | 52 | 0.0123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4045-2_0_6_line_47 |  | 45 | 50 | 0.026481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4045-2_0_6_line_48 |  | 46 | 47 | 0.0052351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4045-2_0_6_line_49 |  | 46 | 48 | 0.0002644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_4045-2_0_6_line_50 |  | 47 | 49 | 0.031524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4045-2_0_6_line_51 |  | 48 | 50 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4045-2_0_6_line_52 |  | 49 | 51 | 0.029477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4045-2_0_6_line_53 |  | 52 | 53 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4045-2_0_6_line_54 |  | 53 | 54 | 0.032049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4045-2_0_6_line_55 |  | 54 | 59 | 0.024986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4045-2_0_6_line_56 |  | 54 | 56 | 0.016934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4045-2_0_6_line_57 |  | 55 | 56 | 0.014621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4045-2_0_6_line_58 |  | 55 | 57 | 0.048704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4045-2_0_6_line_59 |  | 57 | 58 | 0.011215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4045-2_0_6_line_60 |  | 59 | 60 | 0.063786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4045-2_0_6_line_61 |  | 60 | 64 | 0.15835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4045-2_0_6_line_62 |  | 61 | 62 | 0.011711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4045-2_0_6_line_63 |  | 63 | 64 | 0.06467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4045-2_0_6_trafo_32 | 0.63 MVA 20/0.4 kV | 65 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2666107.6096 | 1256642.1484 | 2666109.4769 | 1256644.513 | 2666117.6529 | 1256653.6232
1 | 2666107.6096 | 1256642.1484 | 2666107.4839 | 1256641.9891
2 | 2666127.2064 | 1256664.2682 | 2666117.6529 | 1256653.6232
3 | 2666093.9009 | 1256615.0956 | 2666101.8497 | 1256632.6304 | 2666105.4019 | 1256639.3527 | 2666107.4839 | 1256641.9891
4 | 2666093.9009 | 1256615.0956 | 2666108.1722 | 1256606.7155
5 | 2666093.9009 | 1256615.0956 | 2666089.9369 | 1256606.067
6 | 2666108.1722 | 1256606.7155 | 2666115.3307 | 1256602.5034 | 2666144.4377 | 1256588.5099
7 | 2666089.9369 | 1256606.067 | 2666076.5844 | 1256573.7997
8 | 2666089.9369 | 1256606.067 | 2666091.9795 | 1256588.6105 | 2666092.0265 | 1256558.3956
9 | 2666164.8627 | 1256575.8126 | 2666157.1687 | 1256582.3893 | 2666144.4377 | 1256588.5099
10 | 2666062.0766 | 1256538.7406 | 2666076.5844 | 1256573.7997
11 | 2666090.9104 | 1256525.1742 | 2666092.0453 | 1256546.2471 | 2666092.0265 | 1256558.3956
12 | 2666202.8538 | 1256543.3381 | 2666164.8627 | 1256575.8126
13 | 2666202.8538 | 1256543.3381 | 2666210.3694 | 1256556.4316 | 2666215.5837 | 1256550.7525 | 2666213.3597 | 1256548.6705 | 2666216.1726 | 1256546.645 | 2666242.7281 | 1256521.5237 | 2666249.1738 | 1256514.991 | 2666255.8436 | 1256517.4007
14 | 2666262.9247 | 1256508.6736 | 2666258.0571 | 1256515.0349 | 2666255.8436 | 1256517.4007
15 | 2666255.8436 | 1256517.4007 | 2666248.5827 | 1256512.5493 | 2666234.1847 | 1256482.7581
16 | 2666262.9247 | 1256508.6736 | 2666276.9897 | 1256489.7834
17 | 2666283.6643 | 1256477.6498 | 2666279.6085 | 1256486.2662 | 2666276.9897 | 1256489.7834
18 | 2666097.182 | 1256486.739 | 2666088.4761 | 1256487.0087
19 | 2666097.182 | 1256486.739 | 2666145.2479 | 1256486.1618
20 | 2666088.4761 | 1256487.0087 | 2666076.6477 | 1256476.5024 | 2666074.4519 | 1256473.9094 | 2666073.1939 | 1256471.7493 | 2666071.7975 | 1256468.4869 | 2666070.8851 | 1256464.9068
21 | 2666088.4761 | 1256487.0087 | 2666089.1311 | 1256494.456
22 | 2666283.6643 | 1256477.6498 | 2666299.6132 | 1256471.7129
23 | 2666283.6643 | 1256477.6498 | 2666277.3186 | 1256470.5403 | 2666276.1771 | 1256469.1778
24 | 2666348.2355 | 1256549.5584 | 2666330.6346 | 1256540.6175
25 | 2666348.2355 | 1256549.5584 | 2666353.0285 | 1256537.7479 | 2666333.8275 | 1256513.5309
26 | 2666055.4303 | 1256382.8533 | 2666054.8022 | 1256380.3445 | 2666053.5898 | 1256377.4845 | 2666052.6891 | 1256376.4181 | 2666050.2528 | 1256375.7793
27 | 2666055.4303 | 1256382.8533 | 2666055.47 | 1256379.2956 | 2666056.1352 | 1256377.1348 | 2666056.7828 | 1256375.8745 | 2666057.6129 | 1256374.4716 | 2666058.8079 | 1256372.817 | 2666060.8653 | 1256370.9164 | 2666063.3729 | 1256369.232 | 2666066.3798 | 1256367.3976 | 2666069.496 | 1256365.9201 | 2666072.4275 | 1256365.4414 | 2666075.715 | 1256366.1675 | 2666078.657 | 1256367.4568 | 2666080.3135 | 1256363.6392 | 2666062.7457 | 1256355.1481 | 2666063.1634 | 1256354.2188 | 2666063.8981 | 1256352.5814
28 | 2666063.8981 | 1256352.5814 | 2666041.2023 | 1256344.0554 | 2666016.1566 | 1256338.6278 | 2666006.8793 | 1256337.2579
29 | 2666090.9104 | 1256525.1742 | 2666089.4531 | 1256498.1165 | 2666089.1311 | 1256494.456
30 | 2666033.35 | 1256550.3509 | 2666062.0766 | 1256538.7406
31 | 2666044.334 | 1256490.5411 | 2666062.0766 | 1256538.7406
32 | 2666198.8302 | 1256414.464 | 2666226.101 | 1256424.3116 | 2666229.9149 | 1256425.8553 | 2666235.2185 | 1256428.3831 | 2666239.5657 | 1256430.789 | 2666243.5186 | 1256433.3796 | 2666246.6814 | 1256435.8167 | 2666249.9877 | 1256438.9115 | 2666253.4847 | 1256442.4866 | 2666257.8352 | 1256447.2832 | 2666276.1771 | 1256469.1778
33 | 2666299.6132 | 1256471.7129 | 2666307.934 | 1256481.4326
34 | 2665994.332 | 1256335.4052 | 2666006.8793 | 1256337.2579
35 | 2666307.934 | 1256481.4326 | 2666313.9431 | 1256488.4521 | 2666317.3206 | 1256492.1272
36 | 2665994.332 | 1256335.4052 | 2665984.3078 | 1256333.9251 | 2665977.1805 | 1256333.1766
37 | 2666327.298 | 1256503.8185 | 2666325.2913 | 1256500.7214 | 2666319.3225 | 1256494.3055 | 2666317.3206 | 1256492.1272
38 | 2666018.52 | 1256410.0393 | 2666029.6491 | 1256447.0132
39 | 2666044.334 | 1256490.5411 | 2666038.2926 | 1256475.7296 | 2666029.6491 | 1256447.0132
40 | 2666018.52 | 1256410.0393 | 2666002.9602 | 1256381.1004
41 | 2666002.9602 | 1256381.1004 | 2665971.6961 | 1256395.6738
42 | 2665938.1685 | 1256401.5492 | 2665954.2882 | 1256397.1921 | 2665971.6961 | 1256395.6738
43 | 2666033.35 | 1256550.3509 | 2666025.0705 | 1256527.6399
44 | 2665935.0189 | 1256387.0021 | 2665933.8431 | 1256381.5714
45 | 2665938.1685 | 1256401.5492 | 2665935.0189 | 1256387.0021
46 | 2665938.1685 | 1256401.5492 | 2665937.5013 | 1256404.5773 | 2665935.7347 | 1256406.7703 | 2665931.8911 | 1256409.2515 | 2665930.1892 | 1256409.8639
47 | 2665938.1685 | 1256401.5492 | 2665945.3515 | 1256427.0376
48 | 2665949.9743 | 1256443.4413 | 2665948.5543 | 1256438.4025
49 | 2665948.5543 | 1256438.4025 | 2665948.4826 | 1256438.148
50 | 2665958.5252 | 1256473.7838 | 2665949.9743 | 1256443.4413
51 | 2665945.3515 | 1256427.0376 | 2665948.4826 | 1256438.148
52 | 2665958.5252 | 1256473.7838 | 2665966.5212 | 1256502.1555
53 | 2665930.1892 | 1256409.8639 | 2665928.2641 | 1256410.5566 | 2665922.3825 | 1256411.1582 | 2665916.2091 | 1256409.7331
54 | 2665904.8896 | 1256380.3634 | 2665907.1203 | 1256389.9841 | 2665912.4784 | 1256405.9219 | 2665916.0563 | 1256409.6978 | 2665916.2091 | 1256409.7331
55 | 2665904.8896 | 1256380.3634 | 2665881.1865 | 1256388.4722
56 | 2665904.8896 | 1256380.3634 | 2665913.7161 | 1256373.3343 | 2665916.3397 | 1256368.33
57 | 2665925.0127 | 1256356.5915 | 2665924.744 | 1256356.9007 | 2665921.4563 | 1256360.9225 | 2665917.0834 | 1256366.9116 | 2665916.3397 | 1256368.33
58 | 2665925.0127 | 1256356.5915 | 2665929.175 | 1256351.8018 | 2665933.5994 | 1256347.9705 | 2665937.2926 | 1256344.7871 | 2665942.1101 | 1256340.8712 | 2665947.7459 | 1256337.287 | 2665953.3632 | 1256335.3703 | 2665960.7037 | 1256333.7954 | 2665965.9792 | 1256333.2868
59 | 2665965.9792 | 1256333.2868 | 2665968.4574 | 1256333.0479 | 2665976.9632 | 1256333.1538 | 2665977.1805 | 1256333.1766
60 | 2665881.1865 | 1256388.4722 | 2665879.507 | 1256397.0709 | 2665877.6249 | 1256411.0045 | 2665870.8887 | 1256413.1756 | 2665879.2034 | 1256442.645 | 2665880.0402 | 1256445.8029
61 | 2665969.0927 | 1256568.3368 | 2665961.2654 | 1256558.8094 | 2665928.3316 | 1256527.709 | 2665923.6285 | 1256526.111 | 2665914.5133 | 1256517.7702 | 2665903.4045 | 1256502.8913 | 2665896.1304 | 1256500.5531 | 2665893.0611 | 1256494.4479 | 2665889.9872 | 1256483.339 | 2665880.0402 | 1256445.8029
62 | 2666333.8275 | 1256513.5309 | 2666332.5341 | 1256511.8996 | 2666327.298 | 1256503.8185
63 | 2665969.0927 | 1256568.3368 | 2665987.6027 | 1256572.0902 | 2666013.3777 | 1256600.6204 | 2666018.297 | 1256606.0609

## bus_geodata
| x | y | coords
0 | 2666107.6096 | 1256642.1484
1 | 2666117.6529 | 1256653.6232
2 | 2666107.4839 | 1256641.9891
3 | 2666127.2064 | 1256664.2682
4 | 2666093.9009 | 1256615.0956
5 | 2666108.1722 | 1256606.7154
6 | 2666089.9369 | 1256606.067
7 | 2666144.4377 | 1256588.5099
8 | 2666076.5844 | 1256573.7997
9 | 2666092.0265 | 1256558.3956
10 | 2666164.8627 | 1256575.8126
11 | 2666202.8538 | 1256543.3381
12 | 2666255.8436 | 1256517.4007
13 | 2666262.9247 | 1256508.6736
14 | 2666234.1847 | 1256482.7581
15 | 2666276.9897 | 1256489.7834
16 | 2666097.182 | 1256486.739
17 | 2666088.4761 | 1256487.0087
18 | 2666145.2479 | 1256486.1618
19 | 2666283.6643 | 1256477.6498
20 | 2666330.6346 | 1256540.6175
21 | 2666348.2355 | 1256549.5584
22 | 2666055.4303 | 1256382.8533
23 | 2666050.2528 | 1256375.7793
24 | 2666063.8981 | 1256352.5814
25 | 2666070.8851 | 1256464.9068
26 | 2666089.1311 | 1256494.456
27 | 2666090.9104 | 1256525.1742
28 | 2666062.0766 | 1256538.7406
29 | 2666276.1771 | 1256469.1778
30 | 2666198.8302 | 1256414.464
31 | 2666299.6132 | 1256471.7129
32 | 2666006.8793 | 1256337.2579
33 | 2666307.934 | 1256481.4326
34 | 2665994.332 | 1256335.4052
35 | 2666317.3206 | 1256492.1272
36 | 2666029.6491 | 1256447.0132
37 | 2666018.52 | 1256410.0393
38 | 2666044.334 | 1256490.5411
39 | 2666002.9602 | 1256381.1004
40 | 2665971.6961 | 1256395.6738
41 | 2666033.3499 | 1256550.3509
42 | 2666025.0705 | 1256527.6399
43 | 2665933.8431 | 1256381.5714
44 | 2665935.0189 | 1256387.0021
45 | 2665938.1685 | 1256401.5492
46 | 2665948.5543 | 1256438.4025
47 | 2665949.9743 | 1256443.4413
48 | 2665948.4826 | 1256438.148
49 | 2665958.5252 | 1256473.7838
50 | 2665945.3515 | 1256427.0376
51 | 2665966.5212 | 1256502.1555
52 | 2665930.1892 | 1256409.8639
53 | 2665916.209 | 1256409.7331
54 | 2665904.8896 | 1256380.3634
55 | 2665925.0127 | 1256356.5915
56 | 2665916.3397 | 1256368.33
57 | 2665965.9792 | 1256333.2868
58 | 2665977.1805 | 1256333.1766
59 | 2665881.1865 | 1256388.4722
60 | 2665880.0402 | 1256445.8029
61 | 2666333.8275 | 1256513.5309
62 | 2666327.298 | 1256503.8185
63 | 2666018.297 | 1256606.0609
64 | 2665969.0927 | 1256568.3368
65 | 2666062.0766 | 1256538.7406

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1