## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4045-30_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4045-30_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4045-30_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4045-30_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4045-30_0_5_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_4045-30_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4045-30_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4045-30_0_5_node_75 | 0.4 | n |  | TRUE
8 | bus_LV_4045-30_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_4045-30_0_5_node_77 | 0.4 | n |  | TRUE
10 | bus_LV_4045-30_0_5_node_90 | 0.4 | n |  | TRUE
11 | bus_LV_4045-30_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_4045-30_0_5_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_4045-30_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_4045-30_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4045-30_0_5_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_4045-30_0_5_node_68 | 0.4 | n |  | TRUE
17 | bus_LV_4045-30_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4045-30_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4045-30_0_5_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_4045-30_0_5_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_4045-30_0_5_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_4045-30_0_5_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_4045-30_0_5_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_4045-30_0_5_node_88 | 0.4 | n |  | TRUE
25 | bus_LV_4045-30_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4045-30_0_5_node_114 | 0.4 | n |  | TRUE
27 | bus_LV_4045-30_0_5_node_111 | 0.4 | n |  | TRUE
28 | bus_LV_4045-30_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4045-30_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_4045-30_0_5_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_4045-30_0_5_node_116 | 0.4 | n |  | TRUE
32 | bus_LV_4045-30_0_5_node_117 | 0.4 | n |  | TRUE
33 | bus_LV_4045-30_0_5_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_4045-30_0_5_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_4045-30_0_5_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_4045-30_0_5_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_4045-30_0_5_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_4045-30_0_5_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_4045-30_0_5_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_4045-30_0_5_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_4045-30_0_5_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_4045-30_0_5_node_80 | 0.4 | n |  | TRUE
43 | bus_LV_4045-30_0_5_node_107 | 0.4 | n |  | TRUE
44 | bus_LV_4045-30_0_5_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_4045-30_0_5_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_4045-30_0_5_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_4045-30_0_5_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_4045-30_0_5_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_4045-30_0_5_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_4045-30_0_5_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_4045-30_0_5_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_4045-30_0_5_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_4045-30_0_5_node_109 | 0.4 | n |  | TRUE
54 | bus_LV_4045-30_0_5_node_112 | 0.4 | n |  | TRUE
55 | bus_LV_4045-30_0_5_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_4045-30_0_5_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_4045-30_0_5_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_4045-30_0_5_node_110 | 0.4 | n |  | TRUE
59 | bus_LV_4045-30_0_5_node_19 | 0.4 | n |  | TRUE
60 | bus_LV_4045-30_0_5_node_20 | 0.4 | n |  | TRUE
61 | bus_LV_4045-30_0_5_node_21 | 0.4 | n |  | TRUE
62 | bus_LV_4045-30_0_5_node_22 | 0.4 | n |  | TRUE
63 | bus_LV_4045-30_0_5_node_23 | 0.4 | n |  | TRUE
64 | bus_LV_4045-30_0_5_node_25 | 0.4 | n |  | TRUE
65 | bus_LV_4045-30_0_5_node_27 | 0.4 | n |  | TRUE
66 | bus_LV_4045-30_0_5_node_24 | 0.4 | n |  | TRUE
67 | bus_LV_4045-30_0_5_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_4045-30_0_5_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_4045-30_0_5_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_4045-30_0_5_node_29 | 0.4 | n |  | TRUE
71 | bus_LV_4045-30_0_5_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_4045-30_0_5_node_84 | 0.4 | n |  | TRUE
73 | bus_LV_4045-30_0_5_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_4045-30_0_5_node_28 | 0.4 | n |  | TRUE
75 | bus_LV_4045-30_0_5_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_4045-30_0_5_node_41 | 0.4 | n |  | TRUE
77 | bus_LV_4045-30_0_5_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_4045-30_0_5_node_47 | 0.4 | n |  | TRUE
79 | bus_LV_4045-30_0_5_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_4045-30_0_5_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_4045-30_0_5_node_54 | 0.4 | n |  | TRUE
82 | bus_LV_4045-30_0_5_node_44 | 0.4 | n |  | TRUE
83 | bus_LV_4045-30_0_5_node_102 | 0.4 | n |  | TRUE
84 | bus_LV_4045-30_0_5_node_103 | 0.4 | n |  | TRUE
85 | bus_LV_4045-30_0_5_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_4045-30_0_5_node_59 | 0.4 | n |  | TRUE
87 | bus_LV_4045-30_0_5_node_62 | 0.4 | n |  | TRUE
88 | bus_LV_4045-30_0_5_node_61 | 0.4 | n |  | TRUE
89 | bus_LV_4045-30_0_5_node_108 | 0.4 | n |  | TRUE
90 | bus_LV_4045-30_0_5_node_97 | 0.4 | n |  | TRUE
91 | bus_LV_4045-30_0_5_node_100 | 0.4 | n |  | TRUE
92 | bus_LV_4045-30_0_5_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_4045-30_0_5_node_65 | 0.4 | n |  | TRUE
94 | bus_LV_4045-30_0_5_node_66 | 0.4 | n |  | TRUE
95 | bus_LV_4045-30_0_5_node_67 | 0.4 | n |  | TRUE
96 | bus_LV_4045-30_0_5_node_74 | 0.4 | n |  | TRUE
97 | bus_LV_4045-30_0_5_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_4045-30_0_5_node_79 | 0.4 | n |  | TRUE
99 | bus_LV_4045-30_0_5_node_81 | 0.4 | n |  | TRUE
100 | bus_LV_4045-30_0_5_node_94 | 0.4 | n |  | TRUE
101 | bus_LV_4045-30_0_5_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_4045-30_0_5_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_4045-30_0_5_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_4045-30_0_5_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_4045-30_0_5_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_4045-30_0_5_node_104 | 0.4 | n |  | TRUE
107 | bus_LV_4045-30_0_5_node_113 | 0.4 | n |  | TRUE
108 | bus_LV_4045-30_0_5_node_115 | 0.4 | n |  | TRUE
109 | bus_MV_615_0_node_74 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4045-30_0_5_load_0 | 0 | 0.0063805 | 0.0015991 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4045-30_0_5_load_1 | 1 | 0.0028582 | 0.00071633 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4045-30_0_5_load_18 | 4 | 0.0061126 | 0.001532 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4045-30_0_5_load_75 | 7 | 0.001297 | 0.00032505 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4045-30_0_5_load_77 | 9 | 0.0033235 | 0.00083296 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4045-30_0_5_load_90 | 10 | 0.0034131 | 0.0008554 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4045-30_0_5_load_46 | 12 | 0.0022085 | 0.0005535 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4045-30_0_5_load_70 | 15 | 0.00051458 | 0.00012897 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4045-30_0_5_load_68 | 16 | 0.005734 | 0.0014371 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4045-30_0_5_load_71 | 20 | 0.023186 | 0.0058109 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4045-30_0_5_load_45 | 22 | 0.0085475 | 0.0021422 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4045-30_0_5_load_91 | 23 | 0.00054486 | 0.00013655 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4045-30_0_5_load_114 | 26 | 0.0060661 | 0.0015203 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4045-30_0_5_load_111 | 27 | 0.0025437 | 0.00063752 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4045-30_0_5_load_92 | 30 | 0.059865 | 0.015004 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4045-30_0_5_load_116 | 31 | 0.0029641 | 0.00074289 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4045-30_0_5_load_117 | 32 | 0.0026078 | 0.00065358 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4045-30_0_5_load_52 | 35 | 0.090347 | 0.022643 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4045-30_0_5_load_48 | 36 | 0.0063812 | 0.0015993 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4045-30_0_5_load_64 | 39 | 0.01083 | 0.0027142 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4045-30_0_5_load_49 | 40 | 0.022187 | 0.0055606 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4045-30_0_5_load_82 | 41 | 0.0026439 | 0.00066263 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4045-30_0_5_load_80 | 42 | 0.002336 | 0.00058546 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4045-30_0_5_load_107 | 43 | 0.0030275 | 0.00075876 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4045-30_0_5_load_106 | 44 | 0.0034854 | 0.00087351 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4045-30_0_5_load_73 | 45 | 0.0031855 | 0.00079836 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4045-30_0_5_load_87 | 46 | 0.00057057 | 0.000143 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4045-30_0_5_load_85 | 47 | 0.0012201 | 0.0003058 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4045-30_0_5_load_76 | 48 | 0.0059238 | 0.0014847 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4045-30_0_5_load_72 | 49 | 0.00096893 | 0.00024284 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4045-30_0_5_load_89 | 51 | 0.0016683 | 0.00041811 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4045-30_0_5_load_86 | 52 | 0.0016733 | 0.00041936 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4045-30_0_5_load_112 | 54 | 0.0022599 | 0.00056638 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4045-30_0_5_load_43 | 55 | 0.0087764 | 0.0021996 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4045-30_0_5_load_26 | 56 | 0.0012676 | 0.00031769 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4045-30_0_5_load_93 | 57 | 0.079316 | 0.019878 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4045-30_0_5_load_110 | 58 | 0.016715 | 0.0041891 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4045-30_0_5_load_19 | 59 | 0.0018718 | 0.00046911 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4045-30_0_5_load_20 | 60 | 0.002179 | 0.0005461 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4045-30_0_5_load_22 | 62 | 0.0024309 | 0.00060923 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4045-30_0_5_load_23 | 63 | 0.0025338 | 0.00063502 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4045-30_0_5_load_27 | 65 | 0.0021646 | 0.0005425 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4045-30_0_5_load_60 | 68 | 0.0027769 | 0.00069596 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4045-30_0_5_load_40 | 69 | 0.0030822 | 0.00077246 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4045-30_0_5_load_29 | 70 | 0.0030825 | 0.00077255 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4045-30_0_5_load_56 | 71 | 0.0025979 | 0.0006511 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4045-30_0_5_load_84 | 72 | 0.0029422 | 0.00073739 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4045-30_0_5_load_28 | 74 | 0.0027761 | 0.00069576 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4045-30_0_5_load_57 | 75 | 0.0018749 | 0.00046988 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4045-30_0_5_load_41 | 76 | 0.0049173 | 0.0012324 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4045-30_0_5_load_47 | 78 | 0.0050851 | 0.0012744 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4045-30_0_5_load_51 | 79 | 0.0058908 | 0.0014764 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4045-30_0_5_load_63 | 80 | 0.0031432 | 0.00078777 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4045-30_0_5_load_54 | 81 | 0.0043538 | 0.0010912 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4045-30_0_5_load_44 | 82 | 0.0094278 | 0.0023628 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4045-30_0_5_load_102 | 83 | 0.0087525 | 0.0021936 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4045-30_0_5_load_103 | 84 | 0.011466 | 0.0028737 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4045-30_0_5_load_83 | 85 | 0.004656 | 0.0011669 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4045-30_0_5_load_59 | 86 | 0.0027766 | 0.00069589 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4045-30_0_5_load_62 | 87 | 0.0025024 | 0.00062717 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4045-30_0_5_load_108 | 89 | 0.0025693 | 0.00064393 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4045-30_0_5_load_95 | 92 | 0.004398 | 0.0011022 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4045-30_0_5_load_65 | 93 | 0.0026053 | 0.00065296 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4045-30_0_5_load_66 | 94 | 0.0043526 | 0.0010909 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4045-30_0_5_load_67 | 95 | 0.0048668 | 0.0012197 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4045-30_0_5_load_74 | 96 | 0.0016154 | 0.00040485 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4045-30_0_5_load_78 | 97 | 0.0037624 | 0.00094294 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4045-30_0_5_load_79 | 98 | 0.004565 | 0.0011441 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4045-30_0_5_load_81 | 99 | 0.0055967 | 0.0014027 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4045-30_0_5_load_94 | 100 | 0.0044157 | 0.0011067 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4045-30_0_5_load_98 | 102 | 0.011008 | 0.0027589 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4045-30_0_5_load_99 | 103 | 0.004433 | 0.001111 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4045-30_0_5_load_101 | 104 | 0.0016533 | 0.00041435 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4045-30_0_5_load_105 | 105 | 0.0024689 | 0.00061876 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4045-30_0_5_load_104 | 106 | 0.0023099 | 0.00057892 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4045-30_0_5_load_113 | 107 | 0.0019425 | 0.00048683 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4045-30_0_5_load_115 | 108 | 0.0036248 | 0.00090846 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4045-30_0_5_line_0 |  | 0 | 1 | 0.0028824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4045-30_0_5_line_1 |  | 0 | 2 | 0.012847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4045-30_0_5_line_2 |  | 2 | 3 | 0.1198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4045-30_0_5_line_3 |  | 3 | 4 | 0.065655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4045-30_0_5_line_4 |  | 4 | 31 | 0.064321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4045-30_0_5_line_5 |  | 5 | 6 | 0.048356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_4045-30_0_5_line_6 |  | 5 | 7 | 0.049363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4045-30_0_5_line_7 |  | 6 | 8 | 0.027438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4045-30_0_5_line_8 |  | 6 | 9 | 0.040898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_4045-30_0_5_line_9 |  | 7 | 45 | 0.047998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4045-30_0_5_line_10 |  | 8 | 10 | 0.020408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4045-30_0_5_line_11 |  | 9 | 48 | 0.035249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_4045-30_0_5_line_12 |  | 11 | 12 | 0.030783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4045-30_0_5_line_13 |  | 11 | 13 | 0.023575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4045-30_0_5_line_14 |  | 13 | 23 | 0.027246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4045-30_0_5_line_15 |  | 13 | 24 | 0.034773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4045-30_0_5_line_16 |  | 13 | 14 | 0.014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4045-30_0_5_line_17 |  | 14 | 15 | 0.0041444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4045-30_0_5_line_18 |  | 14 | 16 | 0.025737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4045-30_0_5_line_19 |  | 15 | 49 | 0.0004299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4045-30_0_5_line_20 |  | 16 | 50 | 0.021346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4045-30_0_5_line_21 |  | 17 | 18 | 0.01347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4045-30_0_5_line_22 |  | 17 | 19 | 0.026219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_4045-30_0_5_line_23 |  | 17 | 20 | 0.0040328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4045-30_0_5_line_24 |  | 18 | 21 | 0.032883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4045-30_0_5_line_25 |  | 18 | 22 | 0.027068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4045-30_0_5_line_26 |  | 19 | 34 | 0.10312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4045-30_0_5_line_27 |  | 19 | 35 | 0.018183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4045-30_0_5_line_28 |  | 20 | 50 | 0.022035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_4045-30_0_5_line_29 |  | 21 | 32 | 0.012371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4045-30_0_5_line_30 |  | 21 | 33 | 0.092514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4045-30_0_5_line_31 |  | 24 | 51 | 0.010267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4045-30_0_5_line_32 |  | 24 | 52 | 0.029918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4045-30_0_5_line_33 |  | 25 | 26 | 0.016358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4045-30_0_5_line_34 |  | 25 | 27 | 0.014798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4045-30_0_5_line_35 |  | 26 | 53 | 0.021401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4045-30_0_5_line_36 |  | 27 | 54 | 0.011481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4045-30_0_5_line_37 |  | 28 | 29 | 0.088455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4045-30_0_5_line_38 |  | 28 | 30 | 0.034349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_4045-30_0_5_line_39 |  | 29 | 55 | 0.035394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4045-30_0_5_line_40 |  | 29 | 56 | 0.027725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4045-30_0_5_line_41 |  | 30 | 57 | 0.0040192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4045-30_0_5_line_42 |  | 31 | 58 | 0.0029488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4045-30_0_5_line_43 |  | 33 | 36 | 0.088296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4045-30_0_5_line_44 |  | 34 | 40 | 0.028476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4045-30_0_5_line_45 |  | 36 | 78 | 0.0013495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4045-30_0_5_line_46 |  | 37 | 38 | 0.042476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_4045-30_0_5_line_47 |  | 37 | 39 | 0.02578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_4045-30_0_5_line_48 |  | 38 | 79 | 0.015343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4045-30_0_5_line_49 |  | 38 | 67 | 0.021846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4045-30_0_5_line_50 |  | 39 | 80 | 0.0024351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4045-30_0_5_line_51 |  | 41 | 42 | 0.018336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4045-30_0_5_line_52 |  | 42 | 97 | 0.0075702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4045-30_0_5_line_53 |  | 43 | 44 | 0.012256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4045-30_0_5_line_54 |  | 44 | 87 | 0.0057551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4045-30_0_5_line_55 |  | 45 | 96 | 0.015918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4045-30_0_5_line_56 |  | 46 | 47 | 0.012251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4045-30_0_5_line_57 |  | 47 | 52 | 0.0024404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4045-30_0_5_line_58 |  | 48 | 49 | 0.049367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_4045-30_0_5_line_59 |  | 53 | 91 | 0.024036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4045-30_0_5_line_60 |  | 54 | 107 | 0.021457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4045-30_0_5_line_61 |  | 55 | 82 | 0.0040209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4045-30_0_5_line_62 |  | 56 | 62 | 0.032919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_4045-30_0_5_line_63 |  | 58 | 91 | 0.026252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4045-30_0_5_line_64 |  | 59 | 60 | 0.011278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_4045-30_0_5_line_65 |  | 59 | 61 | 0.020228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_4045-30_0_5_line_66 |  | 60 | 62 | 0.0085223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_4045-30_0_5_line_67 |  | 61 | 63 | 0.013287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_4045-30_0_5_line_68 |  | 61 | 64 | 0.024018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_4045-30_0_5_line_69 |  | 63 | 65 | 0.013468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_4045-30_0_5_line_70 |  | 64 | 69 | 0.0078881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_4045-30_0_5_line_71 |  | 64 | 70 | 0.029992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4045-30_0_5_line_72 |  | 65 | 71 | 0.00039414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_4045-30_0_5_line_73 |  | 66 | 67 | 0.015835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_4045-30_0_5_line_74 |  | 66 | 68 | 0.032013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_4045-30_0_5_line_75 |  | 67 | 72 | 0.017863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4045-30_0_5_line_76 |  | 68 | 73 | 0.015467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_4045-30_0_5_line_77 |  | 70 | 74 | 0.038905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4045-30_0_5_line_78 |  | 71 | 75 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4045-30_0_5_line_79 |  | 72 | 85 | 0.001416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4045-30_0_5_line_80 |  | 73 | 86 | 0.035948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4045-30_0_5_line_81 |  | 73 | 75 | 0.018759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_4045-30_0_5_line_82 |  | 76 | 77 | 0.0097273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4045-30_0_5_line_83 |  | 77 | 81 | 0.020766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4045-30_0_5_line_84 |  | 79 | 81 | 0.0099665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4045-30_0_5_line_85 |  | 80 | 93 | 0.025858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_4045-30_0_5_line_86 |  | 82 | 83 | 0.020935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4045-30_0_5_line_87 |  | 83 | 84 | 0.0011413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4045-30_0_5_line_88 |  | 84 | 106 | 0.00025438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4045-30_0_5_line_89 |  | 85 | 99 | 0.022322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4045-30_0_5_line_90 |  | 86 | 87 | 0.016833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4045-30_0_5_line_91 |  | 88 | 89 | 0.0030875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4045-30_0_5_line_92 |  | 88 | 90 | 0.015716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4045-30_0_5_line_93 |  | 90 | 91 | 0.002039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4045-30_0_5_line_94 |  | 90 | 92 | 0.019188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4045-30_0_5_line_95 |  | 92 | 100 | 0.028876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4045-30_0_5_line_96 |  | 93 | 94 | 0.016582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_4045-30_0_5_line_97 |  | 94 | 95 | 0.015727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_4045-30_0_5_line_98 |  | 95 | 96 | 0.014347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_4045-30_0_5_line_99 |  | 97 | 98 | 0.02373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4045-30_0_5_line_100 |  | 98 | 99 | 0.0019037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4045-30_0_5_line_101 |  | 100 | 101 | 0.010388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4045-30_0_5_line_102 |  | 101 | 102 | 0.017704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4045-30_0_5_line_103 |  | 101 | 103 | 0.00074714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4045-30_0_5_line_104 |  | 102 | 104 | 0.011497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4045-30_0_5_line_105 |  | 104 | 105 | 0.0095749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4045-30_0_5_line_106 |  | 105 | 106 | 0.00017004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4045-30_0_5_line_107 |  | 107 | 108 | 0.0031081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4045-30_0_5_trafo_40 | 0.63 MVA 20/0.4 kV | 109 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2667378.056 | 1258304.2636 | 2667380.7105 | 1258303.1404
1 | 2667366.2249 | 1258309.2702 | 2667378.056 | 1258304.2636
2 | 2667366.2249 | 1258309.2702 | 2667354.0584 | 1258275.3402 | 2667347.8609 | 1258252.175 | 2667333.469 | 1258215.0285 | 2667327.1259 | 1258200.012 | 2667324.3946 | 1258197.5458
3 | 2667324.3946 | 1258197.5458 | 2667301.5381 | 1258172.1117 | 2667286.0687 | 1258154.0894 | 2667282.4821 | 1258147.2658
4 | 2667275.4217 | 1258102.1415 | 2667275.0398 | 1258113.5343 | 2667278.7275 | 1258124.7177 | 2667285.9865 | 1258122.8655 | 2667293.71 | 1258143.1348 | 2667282.4821 | 1258147.2658
5 | 2667395.4889 | 1257842.2496 | 2667409.2032 | 1257888.6286
6 | 2667409.2032 | 1257888.6286 | 2667384.0823 | 1257894.4581 | 2667360.7412 | 1257897.7642
7 | 2667395.4889 | 1257842.2496 | 2667408.9713 | 1257838.1668 | 2667407.8776 | 1257833.5732 | 2667407.1647 | 1257829.9736 | 2667402.2488 | 1257830.6292
8 | 2667395.4889 | 1257842.2496 | 2667384.1635 | 1257842.9657 | 2667374.9995 | 1257841.9162 | 2667354.723 | 1257843.3365
9 | 2667313.2174 | 1257904.4958 | 2667360.7412 | 1257897.7642
10 | 2667402.2488 | 1257830.6292 | 2667388.6107 | 1257832.4864 | 2667381.9988 | 1257833.1362
11 | 2667319.5605 | 1257845.7995 | 2667354.723 | 1257843.3365
12 | 2667254.5257 | 1257836.198 | 2667256.4761 | 1257806.5651 | 2667255.4045 | 1257806.3904
13 | 2667254.5257 | 1257836.198 | 2667254.1521 | 1257841.8757 | 2667265.444 | 1257841.4481 | 2667272.0275 | 1257841.3339
14 | 2667271.1609 | 1257814.1041 | 2667272.0275 | 1257841.3339
15 | 2667272.0275 | 1257841.3339 | 2667306.7947 | 1257838.5826
16 | 2667265.7513 | 1257849.5687 | 2667265.6322 | 1257844.786 | 2667272.1282 | 1257844.4151 | 2667272.0275 | 1257841.3339
17 | 2667265.7513 | 1257849.5687 | 2667269.8855 | 1257849.2791
18 | 2667265.7513 | 1257849.5687 | 2667262.0593 | 1257850.0159 | 2667240.0746 | 1257851.234
19 | 2667269.8855 | 1257849.2791 | 2667270.3144 | 1257849.249
20 | 2667218.7612 | 1257852.4149 | 2667240.0746 | 1257851.234
21 | 2667192.7087 | 1257853.2976 | 2667192.6992 | 1257848.8276 | 2667192.6953 | 1257845.1804 | 2667193.9608 | 1257839.9799
22 | 2667166.6831 | 1257856.4713 | 2667176.7915 | 1257855.3519 | 2667192.7087 | 1257853.2976
23 | 2667192.7087 | 1257853.2976 | 2667196.7392 | 1257853.1611
24 | 2667188.2995 | 1257808.6705 | 2667188.5257 | 1257813.988 | 2667188.2711 | 1257830.4305 | 2667193.9608 | 1257839.9799
25 | 2667193.9608 | 1257839.9799 | 2667221.0036 | 1257838.8064
26 | 2667124.9588 | 1257805.8834 | 2667129.3049 | 1257828.2046 | 2667154.2609 | 1257823.6175 | 2667168.0618 | 1257821.3613 | 2667169.9606 | 1257820.8046 | 2667170.2294 | 1257839.6326 | 2667169.4485 | 1257844.6607 | 2667164.3731 | 1257847.4163 | 2667165.37 | 1257851.9198 | 2667166.6831 | 1257856.4713
27 | 2667166.6831 | 1257856.4713 | 2667170.9386 | 1257858.1875 | 2667173.4368 | 1257861.2848 | 2667175.1089 | 1257866.7522 | 2667176.1764 | 1257870.5011
28 | 2667218.7612 | 1257852.4149 | 2667196.7392 | 1257853.1611
29 | 2667196.1143 | 1257799.0632 | 2667188.2995 | 1257808.6705
30 | 2667148.8232 | 1257744.0198 | 2667156.8687 | 1257748.6366 | 2667162.7387 | 1257753.6069 | 2667165.9436 | 1257758.2132 | 2667171.1453 | 1257757.6274 | 2667176.3091 | 1257757.0522 | 2667180.0269 | 1257808.1318 | 2667188.2995 | 1257808.6705
31 | 2667306.7947 | 1257838.5826 | 2667317.0441 | 1257837.9891
32 | 2667306.7947 | 1257838.5826 | 2667303.2439 | 1257808.8758
33 | 2667339.3794 | 1258066.0197 | 2667323.2311 | 1258068.629
34 | 2667339.3794 | 1258066.0197 | 2667342.9001 | 1258080.3928
35 | 2667302.0133 | 1258071.3432 | 2667313.2144 | 1258070.2475 | 2667323.2311 | 1258068.629
36 | 2667342.9001 | 1258080.3928 | 2667345.6317 | 1258091.5444
37 | 2667105.5817 | 1258202.7323 | 2667097.5638 | 1258178.4458 | 2667104.3464 | 1258168.0595 | 2667133.0525 | 1258126.5434
38 | 2667105.5817 | 1258202.7323 | 2667137.7517 | 1258190.6939
39 | 2667133.0525 | 1258126.5434 | 2667139.5267 | 1258130.0527 | 2667166.4554 | 1258122.2728
40 | 2667133.0525 | 1258126.5434 | 2667143.475 | 1258111.6618 | 2667149.1443 | 1258103.9689
41 | 2667141.516 | 1258189.2853 | 2667137.7517 | 1258190.6939
42 | 2667275.5206 | 1258099.1943 | 2667275.4217 | 1258102.1415
43 | 2667148.8232 | 1257744.0198 | 2667140.765 | 1257747.1752 | 2667124.3422 | 1257741.2624 | 2667097.9005 | 1257751.17 | 2667079.5702 | 1257753.8977 | 2667064.3679 | 1257756.4662
44 | 2667124.9588 | 1257805.8834 | 2667096.923 | 1257810.8709
45 | 2667063.0373 | 1257756.6911 | 2667064.3679 | 1257756.4662
46 | 2667199.0435 | 1257927.535 | 2667217.3387 | 1257961.0339 | 2667213.2811 | 1257962.4778
47 | 2667199.0435 | 1257927.535 | 2667206.5515 | 1257925.6744 | 2667224.3687 | 1257922.8201
48 | 2667213.2811 | 1257962.4778 | 2667198.8243 | 1257967.6157
49 | 2667213.2811 | 1257962.4778 | 2667217.3387 | 1257961.0339 | 2667225.9184 | 1257976.3314
50 | 2667226.7732 | 1257922.4349 | 2667224.3687 | 1257922.8201
51 | 2667317.8223 | 1257961.2063 | 2667299.73 | 1257964.1838
52 | 2667292.2604 | 1257965.4131 | 2667299.73 | 1257964.1838
53 | 2667310.0653 | 1258020.664 | 2667322.108 | 1258018.3891
54 | 2667310.0653 | 1258020.664 | 2667304.4103 | 1258021.7323
55 | 2667313.2174 | 1257904.4958 | 2667304.9534 | 1257905.6663 | 2667297.4967 | 1257906.9777
56 | 2667302.9543 | 1257806.4527 | 2667301.5004 | 1257794.2885
57 | 2667302.9543 | 1257806.4527 | 2667303.2439 | 1257808.8758
58 | 2667319.5605 | 1257845.7995 | 2667270.3144 | 1257849.249
59 | 2667302.0133 | 1258071.3432 | 2667296.4631 | 1258074.7604 | 2667278.9011 | 1258075.6393
60 | 2667351.6131 | 1258112.1499 | 2667348.4395 | 1258101.3376 | 2667345.9645 | 1258092.9032 | 2667345.6317 | 1258091.5444
61 | 2667166.4554 | 1258122.2728 | 2667170.3183 | 1258121.1568
62 | 2667149.1443 | 1258103.9689 | 2667168.6743 | 1258077.4686
63 | 2667278.9011 | 1258075.6393 | 2667279.0973 | 1258078.2768 | 2667276.2148 | 1258078.4886 | 2667275.5206 | 1258099.1943
64 | 2667180.4209 | 1258061.5296 | 2667173.7303 | 1258070.6081
65 | 2667192.4214 | 1258045.2461 | 2667180.4209 | 1258061.5296
66 | 2667173.7303 | 1258070.6081 | 2667168.6743 | 1258077.4686
67 | 2667192.4214 | 1258045.2461 | 2667196.0891 | 1258047.5894 | 2667204.6828 | 1258045.1449
68 | 2667192.4214 | 1258045.2461 | 2667203.7287 | 1258028.1619 | 2667200.316 | 1258027.2558
69 | 2667217.6369 | 1258041.4601 | 2667204.6828 | 1258045.1449
70 | 2667200.316 | 1258027.2558 | 2667204.7462 | 1258020.7293
71 | 2667200.316 | 1258027.2558 | 2667199.4365 | 1258027.0235 | 2667171.6484 | 1258035.6009
72 | 2667217.6369 | 1258041.4601 | 2667218.016 | 1258041.3522
73 | 2667225.9184 | 1257976.3314 | 2667226.5907 | 1257992.1506
74 | 2667226.5907 | 1257992.1506 | 2667233.6617 | 1257998.8803 | 2667244.8026 | 1258018.1412
75 | 2667225.9184 | 1257976.3314 | 2667243.5441 | 1257973.4306
76 | 2667252.5468 | 1258031.5298 | 2667244.8026 | 1258018.1412
77 | 2667171.6484 | 1258035.6009 | 2667162.8849 | 1258038.3059 | 2667134.6423 | 1258047.6041
78 | 2667234.5036 | 1258036.6622 | 2667218.016 | 1258041.3522
79 | 2667244.9413 | 1257973.2007 | 2667243.5441 | 1257973.4306
80 | 2667252.5468 | 1258031.5298 | 2667287.8698 | 1258024.8569
81 | 2667252.5468 | 1258031.5298 | 2667234.5036 | 1258036.6622
82 | 2667169.866 | 1257977.9075 | 2667160.6601 | 1257981.0495
83 | 2667169.866 | 1257977.9075 | 2667189.4332 | 1257970.9533
84 | 2667198.8243 | 1257967.6157 | 2667189.4332 | 1257970.9533
85 | 2667226.7732 | 1257922.4349 | 2667236.6897 | 1257920.8464 | 2667251.847 | 1257916.3327
86 | 2667170.3183 | 1258121.1568 | 2667190.431 | 1258115.3461
87 | 2667191.5275 | 1258115.0293 | 2667190.431 | 1258115.3461
88 | 2667191.5275 | 1258115.0293 | 2667191.7718 | 1258114.9587
89 | 2667266.9668 | 1257969.5758 | 2667244.9413 | 1257973.2007
90 | 2667287.8698 | 1258024.8569 | 2667304.4103 | 1258021.7323
91 | 2667272.4989 | 1258060.4888 | 2667274.8259 | 1258062.5179
92 | 2667276.8593 | 1258075.516 | 2667272.4605 | 1258061.8782 | 2667272.4989 | 1258060.4888
93 | 2667276.8593 | 1258075.516 | 2667278.9011 | 1258075.6393
94 | 2667276.8593 | 1258075.516 | 2667260.3569 | 1258081.3439 | 2667258.8372 | 1258082.0763
95 | 2667234.1762 | 1258096.7875 | 2667243.2991 | 1258089.6118 | 2667247.7573 | 1258087.4163 | 2667258.8372 | 1258082.0763
96 | 2667267.8772 | 1257912.1867 | 2667262.7295 | 1257913.092 | 2667251.847 | 1257916.3327
97 | 2667283.3669 | 1257909.4626 | 2667267.8772 | 1257912.1867
98 | 2667297.4967 | 1257906.9777 | 2667283.3669 | 1257909.4626
99 | 2667292.2604 | 1257965.4131 | 2667268.8452 | 1257969.2667
100 | 2667266.9668 | 1257969.5758 | 2667268.8452 | 1257969.2667
101 | 2667229.4096 | 1258105.032 | 2667229.7958 | 1258100.2329 | 2667234.1762 | 1258096.7875
102 | 2667229.4096 | 1258105.032 | 2667216.8863 | 1258107.7029 | 2667212.1795 | 1258109.0627
103 | 2667229.9979 | 1258104.5714 | 2667229.4096 | 1258105.032
104 | 2667212.1795 | 1258109.0627 | 2667201.1339 | 1258112.2539
105 | 2667191.9352 | 1258114.9115 | 2667201.1339 | 1258112.2539
106 | 2667191.7718 | 1258114.9587 | 2667191.9352 | 1258114.9115
107 | 2667352.4885 | 1258115.1322 | 2667351.6131 | 1258112.1499

## bus_geodata
| x | y | coords
0 | 2667378.056 | 1258304.2636
1 | 2667380.7105 | 1258303.1403
2 | 2667366.2249 | 1258309.2702
3 | 2667324.3946 | 1258197.5458
4 | 2667282.4821 | 1258147.2658
5 | 2667409.2032 | 1257888.6286
6 | 2667395.4889 | 1257842.2496
7 | 2667360.7412 | 1257897.7642
8 | 2667402.2488 | 1257830.6292
9 | 2667354.723 | 1257843.3365
10 | 2667381.9988 | 1257833.1362
11 | 2667254.5257 | 1257836.198
12 | 2667255.4045 | 1257806.3904
13 | 2667272.0275 | 1257841.3339
14 | 2667265.7513 | 1257849.5687
15 | 2667269.8855 | 1257849.2791
16 | 2667240.0746 | 1257851.234
17 | 2667192.7087 | 1257853.2976
18 | 2667193.9608 | 1257839.9799
19 | 2667166.6831 | 1257856.4713
20 | 2667196.7392 | 1257853.1611
21 | 2667188.2995 | 1257808.6705
22 | 2667221.0036 | 1257838.8064
23 | 2667271.1609 | 1257814.1041
24 | 2667306.7947 | 1257838.5826
25 | 2667339.3794 | 1258066.0197
26 | 2667323.2311 | 1258068.629
27 | 2667342.9001 | 1258080.3928
28 | 2667105.5817 | 1258202.7323
29 | 2667133.0525 | 1258126.5434
30 | 2667137.7517 | 1258190.6939
31 | 2667275.4217 | 1258102.1415
32 | 2667196.1143 | 1257799.0632
33 | 2667148.8232 | 1257744.0198
34 | 2667124.9588 | 1257805.8834
35 | 2667176.1764 | 1257870.5011
36 | 2667064.3679 | 1257756.4662
37 | 2667199.0435 | 1257927.535
38 | 2667213.2811 | 1257962.4778
39 | 2667224.3687 | 1257922.8201
40 | 2667096.923 | 1257810.8709
41 | 2667317.8223 | 1257961.2063
42 | 2667299.73 | 1257964.1838
43 | 2667322.108 | 1258018.3891
44 | 2667310.0653 | 1258020.664
45 | 2667313.2174 | 1257904.4958
46 | 2667301.5004 | 1257794.2885
47 | 2667302.9543 | 1257806.4527
48 | 2667319.5605 | 1257845.7995
49 | 2667270.3144 | 1257849.249
50 | 2667218.7612 | 1257852.4149
51 | 2667317.0441 | 1257837.9891
52 | 2667303.2439 | 1257808.8758
53 | 2667302.0133 | 1258071.3432
54 | 2667345.6317 | 1258091.5444
55 | 2667166.4554 | 1258122.2728
56 | 2667149.1443 | 1258103.9689
57 | 2667141.516 | 1258189.2853
58 | 2667275.5206 | 1258099.1943
59 | 2667180.4209 | 1258061.5296
60 | 2667173.7303 | 1258070.6081
61 | 2667192.4214 | 1258045.2461
62 | 2667168.6743 | 1258077.4686
63 | 2667204.6828 | 1258045.1449
64 | 2667200.316 | 1258027.2558
65 | 2667217.6369 | 1258041.4601
66 | 2667226.5907 | 1257992.1506
67 | 2667225.9184 | 1257976.3314
68 | 2667244.8026 | 1258018.1412
69 | 2667204.7461 | 1258020.7293
70 | 2667171.6484 | 1258035.6009
71 | 2667218.016 | 1258041.3522
72 | 2667243.5441 | 1257973.4306
73 | 2667252.5468 | 1258031.5298
74 | 2667134.6423 | 1258047.6041
75 | 2667234.5036 | 1258036.6622
76 | 2667160.6601 | 1257981.0495
77 | 2667169.866 | 1257977.9075
78 | 2667063.0373 | 1257756.6911
79 | 2667198.8243 | 1257967.6157
80 | 2667226.7732 | 1257922.4349
81 | 2667189.4332 | 1257970.9533
82 | 2667170.3183 | 1258121.1568
83 | 2667190.431 | 1258115.3461
84 | 2667191.5275 | 1258115.0293
85 | 2667244.9413 | 1257973.2007
86 | 2667287.8698 | 1258024.8569
87 | 2667304.4103 | 1258021.7323
88 | 2667272.4989 | 1258060.4888
89 | 2667274.8259 | 1258062.5179
90 | 2667276.8593 | 1258075.516
91 | 2667278.9011 | 1258075.6393
92 | 2667258.8372 | 1258082.0763
93 | 2667251.847 | 1257916.3327
94 | 2667267.8772 | 1257912.1867
95 | 2667283.3669 | 1257909.4626
96 | 2667297.4967 | 1257906.9777
97 | 2667292.2604 | 1257965.4131
98 | 2667268.8452 | 1257969.2667
99 | 2667266.9668 | 1257969.5758
100 | 2667234.1762 | 1258096.7875
101 | 2667229.4096 | 1258105.032
102 | 2667212.1795 | 1258109.0627
103 | 2667229.9979 | 1258104.5714
104 | 2667201.1339 | 1258112.2539
105 | 2667191.9352 | 1258114.9115
106 | 2667191.7718 | 1258114.9587
107 | 2667351.6131 | 1258112.1499
108 | 2667352.4885 | 1258115.1322
109 | 2667200.316 | 1258027.2558

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1