## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4045-40_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4045-40_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4045-40_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4045-40_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4045-40_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4045-40_0_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_4045-40_0_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_4045-40_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_4045-40_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4045-40_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_4045-40_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4045-40_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4045-40_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4045-40_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4045-40_0_3_node_81 | 0.4 | n |  | TRUE
15 | bus_LV_4045-40_0_3_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_4045-40_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4045-40_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4045-40_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4045-40_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4045-40_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4045-40_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4045-40_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4045-40_0_3_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_4045-40_0_3_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_4045-40_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4045-40_0_3_node_155 | 0.4 | n |  | TRUE
27 | bus_LV_4045-40_0_3_node_157 | 0.4 | n |  | TRUE
28 | bus_LV_4045-40_0_3_node_154 | 0.4 | n |  | TRUE
29 | bus_LV_4045-40_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4045-40_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4045-40_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_4045-40_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4045-40_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4045-40_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_4045-40_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4045-40_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4045-40_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_4045-40_0_3_node_135 | 0.4 | n |  | TRUE
39 | bus_LV_4045-40_0_3_node_149 | 0.4 | n |  | TRUE
40 | bus_LV_4045-40_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4045-40_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_4045-40_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_4045-40_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_4045-40_0_3_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4045-40_0_3_node_151 | 0.4 | n |  | TRUE
46 | bus_LV_4045-40_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4045-40_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_4045-40_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_4045-40_0_3_node_51 | 0.4 | n |  | TRUE
50 | bus_LV_4045-40_0_3_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_4045-40_0_3_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_4045-40_0_3_node_80 | 0.4 | n |  | TRUE
53 | bus_LV_4045-40_0_3_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_4045-40_0_3_node_132 | 0.4 | n |  | TRUE
55 | bus_LV_4045-40_0_3_node_111 | 0.4 | n |  | TRUE
56 | bus_LV_4045-40_0_3_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_4045-40_0_3_node_113 | 0.4 | n |  | TRUE
58 | bus_LV_4045-40_0_3_node_127 | 0.4 | n |  | TRUE
59 | bus_LV_4045-40_0_3_node_130 | 0.4 | n |  | TRUE
60 | bus_LV_4045-40_0_3_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_4045-40_0_3_node_128 | 0.4 | n |  | TRUE
62 | bus_LV_4045-40_0_3_node_126 | 0.4 | n |  | TRUE
63 | bus_LV_4045-40_0_3_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_4045-40_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_4045-40_0_3_node_133 | 0.4 | n |  | TRUE
66 | bus_LV_4045-40_0_3_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_4045-40_0_3_node_150 | 0.4 | n |  | TRUE
68 | bus_LV_4045-40_0_3_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_4045-40_0_3_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_4045-40_0_3_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_4045-40_0_3_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_4045-40_0_3_node_131 | 0.4 | n |  | TRUE
73 | bus_LV_4045-40_0_3_node_109 | 0.4 | n |  | TRUE
74 | bus_LV_4045-40_0_3_node_112 | 0.4 | n |  | TRUE
75 | bus_LV_4045-40_0_3_node_144 | 0.4 | n |  | TRUE
76 | bus_LV_4045-40_0_3_node_129 | 0.4 | n |  | TRUE
77 | bus_LV_4045-40_0_3_node_38 | 0.4 | n |  | TRUE
78 | bus_LV_4045-40_0_3_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_4045-40_0_3_node_46 | 0.4 | n |  | TRUE
80 | bus_LV_4045-40_0_3_node_48 | 0.4 | n |  | TRUE
81 | bus_LV_4045-40_0_3_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_4045-40_0_3_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_4045-40_0_3_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_4045-40_0_3_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_4045-40_0_3_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_4045-40_0_3_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_4045-40_0_3_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_4045-40_0_3_node_94 | 0.4 | n |  | TRUE
89 | bus_LV_4045-40_0_3_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_4045-40_0_3_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_4045-40_0_3_node_78 | 0.4 | n |  | TRUE
92 | bus_LV_4045-40_0_3_node_70 | 0.4 | n |  | TRUE
93 | bus_LV_4045-40_0_3_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_4045-40_0_3_node_64 | 0.4 | n |  | TRUE
95 | bus_LV_4045-40_0_3_node_65 | 0.4 | n |  | TRUE
96 | bus_LV_4045-40_0_3_node_66 | 0.4 | n |  | TRUE
97 | bus_LV_4045-40_0_3_node_67 | 0.4 | n |  | TRUE
98 | bus_LV_4045-40_0_3_node_68 | 0.4 | n |  | TRUE
99 | bus_LV_4045-40_0_3_node_69 | 0.4 | n |  | TRUE
100 | bus_LV_4045-40_0_3_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_4045-40_0_3_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_4045-40_0_3_node_161 | 0.4 | n |  | TRUE
103 | bus_LV_4045-40_0_3_node_106 | 0.4 | n |  | TRUE
104 | bus_LV_4045-40_0_3_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_4045-40_0_3_node_160 | 0.4 | n |  | TRUE
106 | bus_LV_4045-40_0_3_node_71 | 0.4 | n |  | TRUE
107 | bus_LV_4045-40_0_3_node_73 | 0.4 | n |  | TRUE
108 | bus_LV_4045-40_0_3_node_88 | 0.4 | n |  | TRUE
109 | bus_LV_4045-40_0_3_node_89 | 0.4 | n |  | TRUE
110 | bus_LV_4045-40_0_3_node_121 | 0.4 | n |  | TRUE
111 | bus_LV_4045-40_0_3_node_124 | 0.4 | n |  | TRUE
112 | bus_LV_4045-40_0_3_node_75 | 0.4 | n |  | TRUE
113 | bus_LV_4045-40_0_3_node_122 | 0.4 | n |  | TRUE
114 | bus_LV_4045-40_0_3_node_83 | 0.4 | n |  | TRUE
115 | bus_LV_4045-40_0_3_node_84 | 0.4 | n |  | TRUE
116 | bus_LV_4045-40_0_3_node_85 | 0.4 | n |  | TRUE
117 | bus_LV_4045-40_0_3_node_86 | 0.4 | n |  | TRUE
118 | bus_LV_4045-40_0_3_node_90 | 0.4 | n |  | TRUE
119 | bus_LV_4045-40_0_3_node_91 | 0.4 | n |  | TRUE
120 | bus_LV_4045-40_0_3_node_92 | 0.4 | n |  | TRUE
121 | bus_LV_4045-40_0_3_node_123 | 0.4 | n |  | TRUE
122 | bus_LV_4045-40_0_3_node_140 | 0.4 | n |  | TRUE
123 | bus_LV_4045-40_0_3_node_125 | 0.4 | n |  | TRUE
124 | bus_LV_4045-40_0_3_node_141 | 0.4 | n |  | TRUE
125 | bus_LV_4045-40_0_3_node_105 | 0.4 | n |  | TRUE
126 | bus_LV_4045-40_0_3_node_97 | 0.4 | n |  | TRUE
127 | bus_LV_4045-40_0_3_node_98 | 0.4 | n |  | TRUE
128 | bus_LV_4045-40_0_3_node_99 | 0.4 | n |  | TRUE
129 | bus_LV_4045-40_0_3_node_101 | 0.4 | n |  | TRUE
130 | bus_LV_4045-40_0_3_node_103 | 0.4 | n |  | TRUE
131 | bus_LV_4045-40_0_3_node_108 | 0.4 | n |  | TRUE
132 | bus_LV_4045-40_0_3_node_110 | 0.4 | n |  | TRUE
133 | bus_LV_4045-40_0_3_node_114 | 0.4 | n |  | TRUE
134 | bus_LV_4045-40_0_3_node_115 | 0.4 | n |  | TRUE
135 | bus_LV_4045-40_0_3_node_116 | 0.4 | n |  | TRUE
136 | bus_LV_4045-40_0_3_node_117 | 0.4 | n |  | TRUE
137 | bus_LV_4045-40_0_3_node_118 | 0.4 | n |  | TRUE
138 | bus_LV_4045-40_0_3_node_119 | 0.4 | n |  | TRUE
139 | bus_LV_4045-40_0_3_node_120 | 0.4 | n |  | TRUE
140 | bus_LV_4045-40_0_3_node_143 | 0.4 | n |  | TRUE
141 | bus_LV_4045-40_0_3_node_148 | 0.4 | n |  | TRUE
142 | bus_LV_4045-40_0_3_node_152 | 0.4 | n |  | TRUE
143 | bus_LV_4045-40_0_3_node_147 | 0.4 | n |  | TRUE
144 | bus_LV_4045-40_0_3_node_134 | 0.4 | n |  | TRUE
145 | bus_LV_4045-40_0_3_node_136 | 0.4 | n |  | TRUE
146 | bus_LV_4045-40_0_3_node_137 | 0.4 | n |  | TRUE
147 | bus_LV_4045-40_0_3_node_138 | 0.4 | n |  | TRUE
148 | bus_LV_4045-40_0_3_node_139 | 0.4 | n |  | TRUE
149 | bus_LV_4045-40_0_3_node_142 | 0.4 | n |  | TRUE
150 | bus_LV_4045-40_0_3_node_146 | 0.4 | n |  | TRUE
151 | bus_LV_4045-40_0_3_node_156 | 0.4 | n |  | TRUE
152 | bus_LV_4045-40_0_3_node_153 | 0.4 | n |  | TRUE
153 | bus_LV_4045-40_0_3_node_158 | 0.4 | n |  | TRUE
154 | bus_LV_4045-40_0_3_node_159 | 0.4 | n |  | TRUE
155 | bus_MV_614_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4045-40_0_3_load_0 | 0 | 0.0034352 | 0.00086095 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4045-40_0_3_load_1 | 1 | 0.0014856 | 0.00037232 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4045-40_0_3_load_2 | 2 | 0.0012083 | 0.00030283 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4045-40_0_3_load_3 | 3 | 0.0058914 | 0.0014765 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4045-40_0_3_load_4 | 4 | 0.004781 | 0.0011982 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4045-40_0_3_load_18 | 6 | 0.0034839 | 0.00087316 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4045-40_0_3_load_16 | 7 | 0.0016238 | 0.00040697 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4045-40_0_3_load_8 | 8 | 0.0019109 | 0.0004789 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4045-40_0_3_load_17 | 9 | 0.002624 | 0.00065765 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4045-40_0_3_load_5 | 10 | 0.0029238 | 0.00073278 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4045-40_0_3_load_6 | 11 | 0.0028432 | 0.00071256 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4045-40_0_3_load_7 | 12 | 0.0015891 | 0.00039826 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4045-40_0_3_load_9 | 13 | 0.00085024 | 0.00021309 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4045-40_0_3_load_81 | 14 | 0.0021483 | 0.00053842 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4045-40_0_3_load_82 | 15 | 0.0055361 | 0.0013875 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4045-40_0_3_load_10 | 16 | 0.0028009 | 0.00070198 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4045-40_0_3_load_11 | 17 | 0.0016877 | 0.00042297 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4045-40_0_3_load_13 | 19 | 0.0045249 | 0.001134 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4045-40_0_3_load_14 | 20 | 0.0059514 | 0.0014916 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4045-40_0_3_load_19 | 21 | 0.0073337 | 0.001838 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4045-40_0_3_load_20 | 22 | 0.004935 | 0.0012368 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4045-40_0_3_load_62 | 23 | 0.0010722 | 0.00026873 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4045-40_0_3_load_157 | 27 | 0.0013589 | 0.00034058 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4045-40_0_3_load_22 | 29 | 0.0084784 | 0.0021249 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4045-40_0_3_load_23 | 30 | 0.0018488 | 0.00046335 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4045-40_0_3_load_25 | 32 | 0.0029364 | 0.00073594 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4045-40_0_3_load_26 | 33 | 0.0072751 | 0.0018233 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4045-40_0_3_load_135 | 38 | 0.0011004 | 0.00027578 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4045-40_0_3_load_149 | 39 | 0.002014 | 0.00050475 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4045-40_0_3_load_39 | 41 | 0.0025331 | 0.00063484 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4045-40_0_3_load_36 | 42 | 0.0044841 | 0.0011238 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4045-40_0_3_load_151 | 45 | 0.0068017 | 0.0017047 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4045-40_0_3_load_43 | 47 | 0.002465 | 0.00061779 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4045-40_0_3_load_44 | 48 | 0.0054629 | 0.0013691 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4045-40_0_3_load_51 | 49 | 0.0019902 | 0.00049879 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4045-40_0_3_load_52 | 50 | 0.0027836 | 0.00069764 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4045-40_0_3_load_50 | 51 | 0.0043142 | 0.0010812 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4045-40_0_3_load_79 | 53 | 0.0086435 | 0.0021663 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4045-40_0_3_load_132 | 54 | 0.0026598 | 0.00066661 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4045-40_0_3_load_111 | 55 | 0.0009837 | 0.00024654 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4045-40_0_3_load_113 | 57 | 0.0029569 | 0.00074108 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4045-40_0_3_load_127 | 58 | 0.0023577 | 0.00059089 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4045-40_0_3_load_130 | 59 | 0.0027419 | 0.00068719 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4045-40_0_3_load_126 | 62 | 0.0031548 | 0.00079067 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4045-40_0_3_load_56 | 64 | 0.0013815 | 0.00034622 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4045-40_0_3_load_133 | 65 | 0.0014945 | 0.00037455 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4045-40_0_3_load_37 | 66 | 0.0017848 | 0.00044732 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4045-40_0_3_load_150 | 67 | 0.0071758 | 0.0017984 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4045-40_0_3_load_47 | 68 | 0.0020883 | 0.00052337 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4045-40_0_3_load_54 | 69 | 0.0032579 | 0.0008165 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4045-40_0_3_load_95 | 70 | 0.0046238 | 0.0011588 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4045-40_0_3_load_77 | 71 | 0.0050736 | 0.0012716 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4045-40_0_3_load_131 | 72 | 0.0024795 | 0.00062142 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4045-40_0_3_load_109 | 73 | 0.0019461 | 0.00048773 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4045-40_0_3_load_112 | 74 | 0.003573 | 0.00089549 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4045-40_0_3_load_144 | 75 | 0.0043526 | 0.0010909 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4045-40_0_3_load_129 | 76 | 0.0016432 | 0.00041183 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4045-40_0_3_load_38 | 77 | 0.002636 | 0.00066064 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4045-40_0_3_load_53 | 78 | 0.0074102 | 0.0018572 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4045-40_0_3_load_46 | 79 | 0.0019992 | 0.00050104 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4045-40_0_3_load_48 | 80 | 0.0022162 | 0.00055543 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4045-40_0_3_load_49 | 81 | 0.0032134 | 0.00080534 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4045-40_0_3_load_57 | 82 | 0.003567 | 0.00089398 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4045-40_0_3_load_58 | 83 | 0.0020331 | 0.00050954 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4045-40_0_3_load_59 | 84 | 0.0016888 | 0.00042326 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4045-40_0_3_load_60 | 85 | 0.0016892 | 0.00042336 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4045-40_0_3_load_61 | 86 | 0.0027609 | 0.00069195 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4045-40_0_3_load_93 | 87 | 0.0023677 | 0.0005934 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4045-40_0_3_load_94 | 88 | 0.0024999 | 0.00062653 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4045-40_0_3_load_72 | 89 | 0.00098434 | 0.0002467 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4045-40_0_3_load_76 | 90 | 0.00090599 | 0.00022706 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4045-40_0_3_load_78 | 91 | 0.0029225 | 0.00073246 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4045-40_0_3_load_70 | 92 | 0.00062889 | 0.00015761 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4045-40_0_3_load_74 | 93 | 0.0049594 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4045-40_0_3_load_64 | 94 | 0.0034745 | 0.0008708 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4045-40_0_3_load_65 | 95 | 0.002096 | 0.0005253 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4045-40_0_3_load_68 | 98 | 0.0013111 | 0.00032859 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4045-40_0_3_load_69 | 99 | 0.0015467 | 0.00038763 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4045-40_0_3_load_96 | 100 | 0.0015803 | 0.00039605 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4045-40_0_3_load_102 | 101 | 0.0012674 | 0.00031765 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4045-40_0_3_load_106 | 103 | 0.0015401 | 0.00038598 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4045-40_0_3_load_100 | 104 | 0.002031 | 0.00050901 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4045-40_0_3_load_71 | 106 | 0.0012101 | 0.00030329 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4045-40_0_3_load_88 | 108 | 0.001181 | 0.00029599 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4045-40_0_3_load_89 | 109 | 0.0011928 | 0.00029896 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4045-40_0_3_load_121 | 110 | 0.0014698 | 0.00036837 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4045-40_0_3_load_124 | 111 | 0.0087081 | 0.0021824 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4045-40_0_3_load_75 | 112 | 0.0044318 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4045-40_0_3_load_122 | 113 | 0.0023596 | 0.00059138 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4045-40_0_3_load_83 | 114 | 0.0024176 | 0.00060591 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4045-40_0_3_load_84 | 115 | 0.0047138 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4045-40_0_3_load_85 | 116 | 0.0026651 | 0.00066793 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4045-40_0_3_load_86 | 117 | 0.0017619 | 0.00044157 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4045-40_0_3_load_91 | 119 | 0.0021841 | 0.00054737 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4045-40_0_3_load_92 | 120 | 0.0014256 | 0.0003573 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4045-40_0_3_load_123 | 121 | 0.0026486 | 0.0006638 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4045-40_0_3_load_140 | 122 | 0.0019558 | 0.00049018 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4045-40_0_3_load_125 | 123 | 0.0014023 | 0.00035144 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4045-40_0_3_load_141 | 124 | 0.0018867 | 0.00047286 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4045-40_0_3_load_105 | 125 | 0.0014966 | 0.00037509 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4045-40_0_3_load_97 | 126 | 0.0018355 | 0.00046001 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4045-40_0_3_load_98 | 127 | 0.001715 | 0.00042983 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4045-40_0_3_load_99 | 128 | 0.001881 | 0.00047141 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4045-40_0_3_load_101 | 129 | 0.0019453 | 0.00048754 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4045-40_0_3_load_103 | 130 | 0.0027745 | 0.00069535 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4045-40_0_3_load_108 | 131 | 0.0019131 | 0.00047947 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4045-40_0_3_load_110 | 132 | 0.0019455 | 0.0004876 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4045-40_0_3_load_114 | 133 | 0.0012773 | 0.00032013 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4045-40_0_3_load_115 | 134 | 0.015585 | 0.0039061 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4045-40_0_3_load_116 | 135 | 0.0043037 | 0.0010786 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4045-40_0_3_load_117 | 136 | 0.001998 | 0.00050074 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4045-40_0_3_load_118 | 137 | 0.0031501 | 0.00078948 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4045-40_0_3_load_119 | 138 | 0.0016501 | 0.00041355 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4045-40_0_3_load_120 | 139 | 0.0031058 | 0.0007784 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4045-40_0_3_load_143 | 140 | 0.0043591 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4045-40_0_3_load_152 | 142 | 0.0020517 | 0.00051421 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4045-40_0_3_load_147 | 143 | 0.001766 | 0.0004426 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4045-40_0_3_load_134 | 144 | 0.0013444 | 0.00033693 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4045-40_0_3_load_136 | 145 | 0.0014352 | 0.00035968 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4045-40_0_3_load_137 | 146 | 0.0010728 | 0.00026888 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4045-40_0_3_load_138 | 147 | 0.0010481 | 0.00026268 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4045-40_0_3_load_139 | 148 | 0.0025455 | 0.00063796 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4045-40_0_3_load_142 | 149 | 0.0018128 | 0.00045434 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4045-40_0_3_load_146 | 150 | 0.0021932 | 0.00054966 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4045-40_0_3_load_156 | 151 | 0.0022247 | 0.00055756 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4045-40_0_3_load_153 | 152 | 0.0064081 | 0.001606 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4045-40_0_3_load_158 | 153 | 0.0017253 | 0.00043241 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4045-40_0_3_load_159 | 154 | 0.0016284 | 0.00040811 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 110 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4045-40_0_3_line_0 |  | 0 | 1 | 0.023541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4045-40_0_3_line_1 |  | 0 | 2 | 0.0050368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4045-40_0_3_line_2 |  | 1 | 3 | 0.022775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4045-40_0_3_line_3 |  | 2 | 4 | 0.023339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4045-40_0_3_line_4 |  | 3 | 5 | 0.026312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4045-40_0_3_line_5 |  | 4 | 6 | 0.028676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4045-40_0_3_line_6 |  | 5 | 7 | 0.010821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4045-40_0_3_line_7 |  | 5 | 8 | 0.0027883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4045-40_0_3_line_8 |  | 6 | 9 | 0.026137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4045-40_0_3_line_9 |  | 7 | 23 | 0.024668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4045-40_0_3_line_10 |  | 8 | 11 | 0.016945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4045-40_0_3_line_11 |  | 9 | 19 | 0.023934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4045-40_0_3_line_12 |  | 10 | 11 | 0.0067982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4045-40_0_3_line_13 |  | 10 | 12 | 0.013615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4045-40_0_3_line_14 |  | 12 | 13 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4045-40_0_3_line_15 |  | 13 | 14 | 0.0013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4045-40_0_3_line_16 |  | 14 | 15 | 0.02823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4045-40_0_3_line_17 |  | 15 | 85 | 0.00016691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4045-40_0_3_line_18 |  | 16 | 17 | 0.027821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4045-40_0_3_line_19 |  | 16 | 18 | 0.012494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4045-40_0_3_line_20 |  | 17 | 19 | 0.02223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4045-40_0_3_line_21 |  | 18 | 20 | 0.022572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4045-40_0_3_line_22 |  | 20 | 21 | 0.032735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4045-40_0_3_line_23 |  | 21 | 22 | 0.039328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4045-40_0_3_line_24 |  | 22 | 25 | 0.0092658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4045-40_0_3_line_25 |  | 23 | 24 | 0.01544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4045-40_0_3_line_26 |  | 24 | 89 | 0.029765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4045-40_0_3_line_27 |  | 24 | 90 | 0.013702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4045-40_0_3_line_28 |  | 24 | 91 | 0.015409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4045-40_0_3_line_29 |  | 25 | 26 | 0.10687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4045-40_0_3_line_30 |  | 26 | 27 | 0.013808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4045-40_0_3_line_31 |  | 26 | 28 | 0.010356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4045-40_0_3_line_32 |  | 28 | 152 | 0.002096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4045-40_0_3_line_33 |  | 29 | 30 | 0.012432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4045-40_0_3_line_34 |  | 29 | 31 | 0.017312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4045-40_0_3_line_35 |  | 30 | 32 | 0.029747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4045-40_0_3_line_36 |  | 31 | 33 | 0.019642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4045-40_0_3_line_37 |  | 33 | 34 | 0.0082145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4045-40_0_3_line_38 |  | 34 | 40 | 0.00636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_4045-40_0_3_line_39 |  | 34 | 43 | 0.0085184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4045-40_0_3_line_40 |  | 35 | 36 | 0.0084001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_4045-40_0_3_line_41 |  | 35 | 37 | 0.024138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_4045-40_0_3_line_42 |  | 35 | 38 | 0.018557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4045-40_0_3_line_43 |  | 35 | 39 | 0.014811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4045-40_0_3_line_44 |  | 36 | 49 | 0.029985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4045-40_0_3_line_45 |  | 36 | 50 | 0.01354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4045-40_0_3_line_46 |  | 36 | 51 | 0.012958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4045-40_0_3_line_47 |  | 37 | 54 | 0.012403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4045-40_0_3_line_48 |  | 37 | 55 | 0.021139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4045-40_0_3_line_49 |  | 38 | 65 | 0.016826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4045-40_0_3_line_50 |  | 40 | 41 | 0.011354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4045-40_0_3_line_51 |  | 40 | 42 | 0.033678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4045-40_0_3_line_52 |  | 41 | 46 | 0.0084835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4045-40_0_3_line_53 |  | 42 | 66 | 0.0084112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4045-40_0_3_line_54 |  | 43 | 44 | 0.008108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4045-40_0_3_line_55 |  | 43 | 45 | 0.0070243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4045-40_0_3_line_56 |  | 44 | 52 | 0.03592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4045-40_0_3_line_57 |  | 44 | 53 | 0.018765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4045-40_0_3_line_58 |  | 45 | 67 | 0.019189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4045-40_0_3_line_59 |  | 46 | 47 | 0.023352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4045-40_0_3_line_60 |  | 46 | 48 | 0.014614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4045-40_0_3_line_61 |  | 47 | 68 | 0.012313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4045-40_0_3_line_62 |  | 48 | 51 | 0.024704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4045-40_0_3_line_63 |  | 49 | 69 | 0.017766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4045-40_0_3_line_64 |  | 50 | 63 | 0.03303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4045-40_0_3_line_65 |  | 52 | 70 | 0.021915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4045-40_0_3_line_66 |  | 52 | 71 | 0.023985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4045-40_0_3_line_67 |  | 54 | 72 | 0.020695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4045-40_0_3_line_68 |  | 55 | 73 | 0.030697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4045-40_0_3_line_69 |  | 56 | 57 | 0.039379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4045-40_0_3_line_70 |  | 56 | 58 | 0.0090453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4045-40_0_3_line_71 |  | 56 | 59 | 0.011317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4045-40_0_3_line_72 |  | 57 | 74 | 0.0012994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4045-40_0_3_line_73 |  | 58 | 62 | 0.014954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4045-40_0_3_line_74 |  | 59 | 76 | 0.020564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4045-40_0_3_line_75 |  | 60 | 61 | 0.029091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4045-40_0_3_line_76 |  | 60 | 62 | 0.011422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4045-40_0_3_line_77 |  | 61 | 75 | 0.018803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4045-40_0_3_line_78 |  | 63 | 64 | 0.024076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4045-40_0_3_line_79 |  | 65 | 144 | 0.00056194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4045-40_0_3_line_80 |  | 66 | 77 | 0.01382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4045-40_0_3_line_81 |  | 68 | 79 | 0.00049128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4045-40_0_3_line_82 |  | 69 | 78 | 0.0034143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4045-40_0_3_line_83 |  | 70 | 113 | 0.010524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4045-40_0_3_line_84 |  | 71 | 112 | 0.0099206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_4045-40_0_3_line_85 |  | 72 | 76 | 0.01735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4045-40_0_3_line_86 |  | 73 | 131 | 0.017214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4045-40_0_3_line_87 |  | 74 | 133 | 0.00017811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4045-40_0_3_line_88 |  | 79 | 80 | 0.01402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4045-40_0_3_line_89 |  | 80 | 81 | 0.0010289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4045-40_0_3_line_90 |  | 82 | 83 | 0.013059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4045-40_0_3_line_91 |  | 82 | 84 | 0.007911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4045-40_0_3_line_92 |  | 83 | 85 | 0.020008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4045-40_0_3_line_93 |  | 84 | 86 | 0.024348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4045-40_0_3_line_94 |  | 86 | 87 | 0.022129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4045-40_0_3_line_95 |  | 87 | 88 | 0.022158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4045-40_0_3_line_96 |  | 88 | 97 | 0.014822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4045-40_0_3_line_97 |  | 89 | 92 | 0.020043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_4045-40_0_3_line_98 |  | 90 | 93 | 0.022586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_4045-40_0_3_line_99 |  | 92 | 106 | 0.026844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_4045-40_0_3_line_100 |  | 93 | 112 | 0.011004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_4045-40_0_3_line_101 |  | 94 | 95 | 0.029539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4045-40_0_3_line_102 |  | 94 | 96 | 0.027936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4045-40_0_3_line_103 |  | 95 | 97 | 0.017114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4045-40_0_3_line_104 |  | 96 | 98 | 0.029698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4045-40_0_3_line_105 |  | 96 | 99 | 0.068442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4045-40_0_3_line_106 |  | 97 | 100 | 0.0099543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4045-40_0_3_line_107 |  | 98 | 101 | 0.012932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4045-40_0_3_line_108 |  | 99 | 102 | 0.026593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4045-40_0_3_line_109 |  | 100 | 103 | 0.004173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4045-40_0_3_line_110 |  | 101 | 104 | 0.0046556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4045-40_0_3_line_111 |  | 102 | 105 | 0.048758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4045-40_0_3_line_112 |  | 103 | 125 | 0.018135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4045-40_0_3_line_113 |  | 104 | 127 | 0.00032353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4045-40_0_3_line_114 |  | 105 | 154 | 0.0017565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4045-40_0_3_line_115 |  | 106 | 107 | 0.038392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_4045-40_0_3_line_116 |  | 107 | 108 | 0.0070092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
117 | LV_4045-40_0_3_line_117 |  | 107 | 109 | 0.015096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4045-40_0_3_line_118 |  | 108 | 110 | 0.033603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
119 | LV_4045-40_0_3_line_119 |  | 109 | 111 | 0.0081695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4045-40_0_3_line_120 |  | 111 | 121 | 0.0092751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4045-40_0_3_line_121 |  | 114 | 115 | 0.011372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4045-40_0_3_line_122 |  | 114 | 116 | 0.030758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4045-40_0_3_line_123 |  | 115 | 117 | 0.019462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4045-40_0_3_line_124 |  | 117 | 118 | 0.0039987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4045-40_0_3_line_125 |  | 118 | 119 | 0.013128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4045-40_0_3_line_126 |  | 118 | 120 | 0.030365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4045-40_0_3_line_127 |  | 119 | 122 | 0.0052438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4045-40_0_3_line_128 |  | 120 | 123 | 0.010167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4045-40_0_3_line_129 |  | 121 | 123 | 0.015326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4045-40_0_3_line_130 |  | 122 | 124 | 0.0032708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4045-40_0_3_line_131 |  | 124 | 149 | 0.014077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4045-40_0_3_line_132 |  | 126 | 127 | 0.020914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4045-40_0_3_line_133 |  | 126 | 128 | 0.033773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4045-40_0_3_line_134 |  | 128 | 129 | 0.0059997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4045-40_0_3_line_135 |  | 129 | 130 | 0.029635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4045-40_0_3_line_136 |  | 131 | 132 | 0.0075349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4045-40_0_3_line_137 |  | 133 | 134 | 0.010851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4045-40_0_3_line_138 |  | 135 | 136 | 0.0042887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4045-40_0_3_line_139 |  | 135 | 137 | 0.020702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4045-40_0_3_line_140 |  | 136 | 138 | 0.019913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4045-40_0_3_line_141 |  | 137 | 139 | 0.0017864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4045-40_0_3_line_142 |  | 138 | 140 | 0.0077916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4045-40_0_3_line_143 |  | 139 | 141 | 0.0017235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4045-40_0_3_line_144 |  | 141 | 142 | 0.022529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4045-40_0_3_line_145 |  | 141 | 143 | 0.011933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4045-40_0_3_line_146 |  | 142 | 151 | 0.0020483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4045-40_0_3_line_147 |  | 143 | 149 | 0.001408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4045-40_0_3_line_148 |  | 144 | 145 | 8.2431e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4045-40_0_3_line_149 |  | 145 | 146 | 0.026077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4045-40_0_3_line_150 |  | 146 | 147 | 0.00078764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4045-40_0_3_line_151 |  | 147 | 148 | 0.0048564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4045-40_0_3_line_152 |  | 150 | 151 | 0.0021218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4045-40_0_3_line_153 |  | 153 | 154 | 0.044894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4045-40_0_3_trafo_121 | 0.63 MVA 20/0.4 kV | 155 | 110 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2666349.0301 | 1258439.4014 | 2666369.9779 | 1258428.6613
1 | 2666349.0301 | 1258439.4014 | 2666344.5481 | 1258441.6993
2 | 2666390.2446 | 1258418.2704 | 2666390.2446 | 1258418.2704 | 2666369.9779 | 1258428.6613
3 | 2666344.5481 | 1258441.6993 | 2666344.127 | 1258441.9152 | 2666322.0109 | 1258447.7229
4 | 2666411.6241 | 1258402.9323 | 2666390.2446 | 1258418.2704
5 | 2666294.5652 | 1258455.8911 | 2666301.852 | 1258453.0165 | 2666322.0109 | 1258447.7229
6 | 2666411.6241 | 1258402.9323 | 2666407.9578 | 1258392.7508
7 | 2666411.6241 | 1258402.9323 | 2666414.0758 | 1258401.6042
8 | 2666294.5652 | 1258455.8911 | 2666270.2513 | 1258465.4828
9 | 2666407.9578 | 1258392.7508 | 2666399.6005 | 1258369.5415
10 | 2666428.9753 | 1258393.5333 | 2666414.0758 | 1258401.6042
11 | 2666270.2513 | 1258465.4828 | 2666255.2588 | 1258471.3973 | 2666247.7571 | 1258473.5968
12 | 2666435.2218 | 1258390.8724 | 2666430.3064 | 1258392.8122 | 2666428.9753 | 1258393.5333
13 | 2666435.2218 | 1258390.8724 | 2666447.8863 | 1258385.8743
14 | 2666447.8863 | 1258385.8743 | 2666448.5792 | 1258385.6009 | 2666460.1952 | 1258382.9173
15 | 2666461.5071 | 1258382.6142 | 2666460.1952 | 1258382.9173
16 | 2666461.5071 | 1258382.6142 | 2666489.013 | 1258376.2596
17 | 2666489.013 | 1258376.2596 | 2666489.1757 | 1258376.222
18 | 2666225.9254 | 1258476.5883 | 2666214.9101 | 1258476.7943 | 2666198.1177 | 1258477.4123
19 | 2666185.6379 | 1258478.0012 | 2666191.7409 | 1258477.6469 | 2666198.1177 | 1258477.4123
20 | 2666225.9254 | 1258476.5883 | 2666238.3461 | 1258476.3561 | 2666247.7571 | 1258473.5968
21 | 2666185.6379 | 1258478.0012 | 2666163.1051 | 1258479.3273
22 | 2666130.4271 | 1258481.2504 | 2666163.1051 | 1258479.3273
23 | 2666092.7639 | 1258492.1746 | 2666116.9363 | 1258483.9936 | 2666127.2103 | 1258481.4398 | 2666130.4271 | 1258481.2504
24 | 2666083.9872 | 1258495.145 | 2666092.7639 | 1258492.1746
25 | 2666394.3696 | 1258355.0148 | 2666399.6005 | 1258369.5415
26 | 2666394.3696 | 1258355.0148 | 2666407.839 | 1258348.5722 | 2666418.244 | 1258345.1198 | 2666422.0022 | 1258344.1895
27 | 2666394.3696 | 1258355.0148 | 2666389.4304 | 1258342.2338
28 | 2666394.3696 | 1258355.0148 | 2666380.4578 | 1258361.64
29 | 2666083.9872 | 1258495.145 | 2666051.3702 | 1258506.2669 | 2666019.8209 | 1258518.335 | 2666014.9843 | 1258520.0601 | 2666011.3625 | 1258523.0441 | 2666010.6953 | 1258527.4399 | 2666012.2394 | 1258531.6157 | 2666021.8173 | 1258540.0843 | 2666028.3289 | 1258542.959
30 | 2666028.3289 | 1258542.959 | 2666036.0229 | 1258542.5668 | 2666042.0581 | 1258541.6502
31 | 2666024.8663 | 1258552.6164 | 2666025.5907 | 1258548.5103 | 2666028.3289 | 1258542.959
32 | 2666024.8663 | 1258552.6164 | 2666024.5028 | 1258554.6806
33 | 2666314.9843 | 1258237.4489 | 2666309.3993 | 1258226.342
34 | 2666322.7616 | 1258252.9153 | 2666314.9843 | 1258237.4489
35 | 2666309.3993 | 1258226.342 | 2666296.0355 | 1258199.7658
36 | 2666322.7616 | 1258252.9153 | 2666339.4897 | 1258242.6203
37 | 2666346.4855 | 1258238.3148 | 2666339.4897 | 1258242.6203
38 | 2666346.4855 | 1258238.3148 | 2666351.7282 | 1258234.6931
39 | 2666346.4855 | 1258238.3148 | 2666348.8202 | 1258241.8992 | 2666350.9807 | 1258245.5483
40 | 2666410.2535 | 1258192.5629 | 2666412.0794 | 1258195.7968 | 2666414.2569 | 1258199.9465
41 | 2666433.2952 | 1258185.0381 | 2666414.2569 | 1258199.9465
42 | 2666414.2569 | 1258199.9465 | 2666424.1526 | 1258215.6453
43 | 2666414.2569 | 1258199.9465 | 2666402.2289 | 1258208.5887
44 | 2666410.2535 | 1258192.5629 | 2666396.3318 | 1258166.0055
45 | 2666410.2535 | 1258192.5629 | 2666421.28 | 1258184.7047
46 | 2666410.2535 | 1258192.5629 | 2666399.7223 | 1258200.1123
47 | 2666433.2952 | 1258185.0381 | 2666443.7213 | 1258178.3199
48 | 2666433.2952 | 1258185.0381 | 2666438.6243 | 1258195.2164 | 2666442.9578 | 1258203.8385
49 | 2666432.7357 | 1258230.1126 | 2666427.7606 | 1258221.3692 | 2666424.1526 | 1258215.6453
50 | 2666351.7282 | 1258234.6931 | 2666360.9079 | 1258228.0121
51 | 2666351.7282 | 1258234.6931 | 2666336.5296 | 1258204.6399
52 | 2666367.767 | 1258223.0199 | 2666360.9079 | 1258228.0121
53 | 2666336.5296 | 1258204.6399 | 2666332.7336 | 1258197.1339
54 | 2666350.9807 | 1258245.5483 | 2666344.198 | 1258250.02
55 | 2666350.9807 | 1258245.5483 | 2666356.6684 | 1258241.4261
56 | 2666365.1004 | 1258279.2756 | 2666344.198 | 1258250.02
57 | 2666344.198 | 1258250.02 | 2666328.0299 | 1258259.5446
58 | 2666356.6684 | 1258241.4261 | 2666372.2054 | 1258230.1656
59 | 2666367.767 | 1258223.0199 | 2666357.0521 | 1258202.2715
60 | 2666367.767 | 1258223.0199 | 2666379.6445 | 1258214.5054
61 | 2666357.0521 | 1258202.2715 | 2666351.4025 | 1258191.3316
62 | 2666399.7223 | 1258200.1123 | 2666379.6445 | 1258214.5054
63 | 2666388.0831 | 1258150.2701 | 2666396.3318 | 1258166.0055
64 | 2666448.1783 | 1258165.5353 | 2666421.28 | 1258184.7047
65 | 2666365.1004 | 1258279.2756 | 2666379.4685 | 1258287.4872 | 2666384.5545 | 1258289.1978
66 | 2666365.1004 | 1258279.2756 | 2666373.7463 | 1258301.6485
67 | 2666443.7213 | 1258178.3199 | 2666461.1172 | 1258167.1106
68 | 2666442.9578 | 1258203.8385 | 2666452.8719 | 1258223.5637 | 2666456.694 | 1258231.2904
69 | 2666502.5617 | 1258140.5386 | 2666507.7579 | 1258150.4598 | 2666513.9569 | 1258163.0609 | 2666519.8533 | 1258175.909
70 | 2666502.5617 | 1258140.5386 | 2666507.7796 | 1258137.1281 | 2666510.1654 | 1258135.6404
71 | 2666502.5617 | 1258140.5386 | 2666493.0312 | 1258146.6417
72 | 2666520.3953 | 1258177.0899 | 2666519.8533 | 1258175.909
73 | 2666522.8543 | 1258127.7279 | 2666510.1654 | 1258135.6404
74 | 2666475.7134 | 1258157.7316 | 2666493.0312 | 1258146.6417
75 | 2666546.2663 | 1258147.3569 | 2666532.5468 | 1258121.6839
76 | 2666532.5468 | 1258121.6839 | 2666522.8543 | 1258127.7279
77 | 2666546.2663 | 1258147.3569 | 2666554.2946 | 1258164.3599
78 | 2666448.1783 | 1258165.5353 | 2666436.5885 | 1258144.4328
79 | 2666433.0136 | 1258230.601 | 2666432.7357 | 1258230.1126
80 | 2666332.7336 | 1258197.1339 | 2666326.4966 | 1258184.8009
81 | 2666351.1771 | 1258190.8951 | 2666351.4025 | 1258191.3316
82 | 2666386.4979 | 1258147.2461 | 2666388.0831 | 1258150.2701
83 | 2666384.5545 | 1258289.1978 | 2666394.5295 | 1258292.5528
84 | 2666377.3224 | 1258310.9021 | 2666373.7463 | 1258301.6485
85 | 2666475.7134 | 1258157.7316 | 2666469.1328 | 1258161.9456 | 2666461.1172 | 1258167.1106
86 | 2666464.3264 | 1258246.7201 | 2666456.694 | 1258231.2904
87 | 2666520.4696 | 1258177.2518 | 2666520.3953 | 1258177.0899
88 | 2666351.1771 | 1258190.8951 | 2666344.7439 | 1258178.4378
89 | 2666344.2718 | 1258177.5236 | 2666344.7439 | 1258178.4378
90 | 2666521.0126 | 1258367.307 | 2666508.4603 | 1258370.9084
91 | 2666521.0126 | 1258367.307 | 2666522.7489 | 1258366.8089 | 2666528.2081 | 1258364.0768
92 | 2666489.1757 | 1258376.222 | 2666493.1 | 1258375.3154 | 2666508.4603 | 1258370.9084
93 | 2666549.2287 | 1258351.8399 | 2666535.5697 | 1258360.3927 | 2666528.2081 | 1258364.0768
94 | 2666549.2287 | 1258351.8399 | 2666549.2287 | 1258351.8399 | 2666566.0501 | 1258347.0144 | 2666570.6712 | 1258346.7451
95 | 2666570.6712 | 1258346.7451 | 2666574.8465 | 1258346.5018 | 2666585.5125 | 1258347.3334 | 2666592.5782 | 1258349.076
96 | 2666606.2894 | 1258354.1165 | 2666602.6617 | 1258351.5628 | 2666592.5782 | 1258349.076
97 | 2666441.664 | 1258340.3879 | 2666429.6749 | 1258342.2904 | 2666422.0022 | 1258344.1895
98 | 2666381.2889 | 1258321.166 | 2666389.4304 | 1258342.2338
99 | 2666441.664 | 1258340.3879 | 2666462.2644 | 1258337.119 | 2666467.7994 | 1258334.8392
100 | 2666381.2889 | 1258321.166 | 2666377.3224 | 1258310.9021
101 | 2666566.1325 | 1258375.6096 | 2666581.1176 | 1258362.0392 | 2666585.301 | 1258360.096 | 2666589.8301 | 1258358.8057
102 | 2666545.4257 | 1258394.3617 | 2666566.1325 | 1258375.6096
103 | 2666606.2894 | 1258354.1165 | 2666589.8301 | 1258358.8057
104 | 2666545.4257 | 1258394.3617 | 2666549.4094 | 1258401.4672 | 2666552.8653 | 1258405.2199 | 2666557.3364 | 1258408.5281 | 2666563.0243 | 1258409.5595 | 2666568.1309 | 1258409.4293
105 | 2666545.4257 | 1258394.3617 | 2666492.4291 | 1258437.6705
106 | 2666606.2894 | 1258354.1165 | 2666616.243 | 1258353.9997
107 | 2666580.7055 | 1258406.6552 | 2666570.5882 | 1258409.3666 | 2666568.1309 | 1258409.4293
108 | 2666477.1571 | 1258458.3083 | 2666479.438 | 1258449.8944 | 2666486.0607 | 1258442.8747 | 2666492.4291 | 1258437.6705
109 | 2666620.4156 | 1258353.9507 | 2666616.243 | 1258353.9997
110 | 2666585.2025 | 1258405.45 | 2666580.7055 | 1258406.6552
111 | 2666477.1571 | 1258458.3083 | 2666468.1449 | 1258477.3766 | 2666463.4185 | 1258484.7067 | 2666448.183 | 1258496.0551
112 | 2666620.4156 | 1258353.9507 | 2666638.5493 | 1258353.7377
113 | 2666585.515 | 1258405.3663 | 2666585.2025 | 1258405.45
114 | 2666448.183 | 1258496.0551 | 2666446.8339 | 1258497.1799
115 | 2666477.6531 | 1258304.1231 | 2666482.996 | 1258317.0815 | 2666479.2151 | 1258326.1457 | 2666471.7776 | 1258333.2007 | 2666467.7994 | 1258334.8392
116 | 2666477.6531 | 1258304.1231 | 2666470.9166 | 1258306.0594
117 | 2666477.6531 | 1258304.1231 | 2666490.5884 | 1258296.34
118 | 2666470.9166 | 1258306.0594 | 2666453.7143 | 1258311.0039 | 2666447.1564 | 1258310.8969 | 2666442.2602 | 1258309.174 | 2666438.5342 | 1258307.8485
119 | 2666497.9334 | 1258292.8011 | 2666492.819 | 1258294.9979 | 2666490.5884 | 1258296.34
120 | 2666497.9334 | 1258292.8011 | 2666506.4556 | 1258289.1406
121 | 2666596.384 | 1258291.4028 | 2666585.0951 | 1258290.0289
122 | 2666622.4709 | 1258303.0056 | 2666621.5114 | 1258298.5026 | 2666599.5122 | 1258291.7835 | 2666596.384 | 1258291.4028
123 | 2666565.7521 | 1258287.886 | 2666576.7599 | 1258289.0145 | 2666585.0951 | 1258290.0289
124 | 2666561.7742 | 1258287.4782 | 2666565.7521 | 1258287.886
125 | 2666561.7742 | 1258287.4782 | 2666559.6483 | 1258274.523
126 | 2666561.7742 | 1258287.4782 | 2666543.2963 | 1258286.0695 | 2666531.4697 | 1258285.6628
127 | 2666558.7991 | 1258269.3484 | 2666559.6483 | 1258274.523
128 | 2666521.3427 | 1258286.0133 | 2666525.5182 | 1258285.4582 | 2666531.4697 | 1258285.6628
129 | 2666521.3427 | 1258286.0133 | 2666510.3266 | 1258287.4779 | 2666506.4556 | 1258289.1406
130 | 2666558.2695 | 1258266.1208 | 2666558.7991 | 1258269.3484
131 | 2666558.2695 | 1258266.1208 | 2666555.9899 | 1258252.2294
132 | 2666605.9927 | 1258401.1845 | 2666590.975 | 1258403.903 | 2666585.515 | 1258405.3663
133 | 2666605.9927 | 1258401.1845 | 2666612.6034 | 1258399.9879 | 2666631.8673 | 1258398.5035 | 2666639.5476 | 1258399.4115
134 | 2666639.5476 | 1258399.4115 | 2666645.5059 | 1258400.1159
135 | 2666645.5059 | 1258400.1159 | 2666648.6044 | 1258400.4823 | 2666673.8384 | 1258408.6245
136 | 2666467.6673 | 1258253.4739 | 2666464.3264 | 1258246.7201
137 | 2666524.9955 | 1258187.1136 | 2666520.4696 | 1258177.2518
138 | 2666529.8411 | 1258242.3453 | 2666525.5919 | 1258242.9264
139 | 2666550.3521 | 1258239.5402 | 2666529.8411 | 1258242.3453
140 | 2666505.7643 | 1258244.6508 | 2666519.6468 | 1258243.7394 | 2666525.5919 | 1258242.9264
141 | 2666550.3521 | 1258239.5402 | 2666552.122 | 1258239.2981
142 | 2666502.4123 | 1258250.4174 | 2666502.4044 | 1258246.4255 | 2666505.7643 | 1258244.6508
143 | 2666553.8296 | 1258239.0646 | 2666552.122 | 1258239.2981
144 | 2666553.8296 | 1258239.0646 | 2666574.5615 | 1258230.2472
145 | 2666553.8296 | 1258239.0646 | 2666555.7619 | 1258250.84
146 | 2666576.4465 | 1258229.4455 | 2666574.5615 | 1258230.2472
147 | 2666555.9899 | 1258252.2294 | 2666555.7619 | 1258250.84
148 | 2666433.0544 | 1258230.6726 | 2666433.0136 | 1258230.601
149 | 2666445.951 | 1258253.3373 | 2666433.0544 | 1258230.6726
150 | 2666446.3406 | 1258254.0219 | 2666445.951 | 1258253.3373
151 | 2666448.7423 | 1258258.2428 | 2666446.3406 | 1258254.0219
152 | 2666576.4465 | 1258229.4455 | 2666578.399 | 1258228.6151
153 | 2666446.8339 | 1258497.1799 | 2666441.6687 | 1258501.486 | 2666435.2367 | 1258505.628 | 2666428.8469 | 1258507.3576 | 2666422.0679 | 1258508.8381 | 2666412.4041 | 1258510.7534 | 2666406.013 | 1258512.5941 | 2666405.5725 | 1258512.718

## bus_geodata
| x | y | coords
0 | 2666349.0301 | 1258439.4014
1 | 2666369.9779 | 1258428.6613
2 | 2666344.5481 | 1258441.6993
3 | 2666390.2446 | 1258418.2704
4 | 2666322.0109 | 1258447.7229
5 | 2666411.6241 | 1258402.9323
6 | 2666294.5652 | 1258455.8911
7 | 2666407.9578 | 1258392.7508
8 | 2666414.0758 | 1258401.6042
9 | 2666270.2513 | 1258465.4828
10 | 2666435.2218 | 1258390.8724
11 | 2666428.9753 | 1258393.5333
12 | 2666447.8863 | 1258385.8743
13 | 2666460.1952 | 1258382.9173
14 | 2666461.5071 | 1258382.6142
15 | 2666489.013 | 1258376.2596
16 | 2666198.1177 | 1258477.4123
17 | 2666225.9254 | 1258476.5883
18 | 2666185.6379 | 1258478.0012
19 | 2666247.7571 | 1258473.5968
20 | 2666163.1051 | 1258479.3273
21 | 2666130.4271 | 1258481.2504
22 | 2666092.7639 | 1258492.1746
23 | 2666399.6005 | 1258369.5415
24 | 2666394.3696 | 1258355.0148
25 | 2666083.9872 | 1258495.145
26 | 2666028.3289 | 1258542.959
27 | 2666042.0581 | 1258541.6502
28 | 2666024.8663 | 1258552.6164
29 | 2666314.9843 | 1258237.4488
30 | 2666309.3993 | 1258226.342
31 | 2666322.7616 | 1258252.9153
32 | 2666296.0355 | 1258199.7658
33 | 2666339.4897 | 1258242.6203
34 | 2666346.4855 | 1258238.3148
35 | 2666414.2569 | 1258199.9465
36 | 2666410.2535 | 1258192.5629
37 | 2666433.2952 | 1258185.0381
38 | 2666424.1526 | 1258215.6453
39 | 2666402.2289 | 1258208.5887
40 | 2666351.7282 | 1258234.6931
41 | 2666360.9079 | 1258228.0121
42 | 2666336.5296 | 1258204.6399
43 | 2666350.9807 | 1258245.5483
44 | 2666344.198 | 1258250.02
45 | 2666356.6684 | 1258241.4261
46 | 2666367.767 | 1258223.0199
47 | 2666357.0521 | 1258202.2715
48 | 2666379.6445 | 1258214.5054
49 | 2666396.3318 | 1258166.0055
50 | 2666421.28 | 1258184.7047
51 | 2666399.7223 | 1258200.1123
52 | 2666365.1004 | 1258279.2756
53 | 2666328.0299 | 1258259.5446
54 | 2666443.7213 | 1258178.3199
55 | 2666442.9578 | 1258203.8385
56 | 2666502.5617 | 1258140.5386
57 | 2666519.8533 | 1258175.909
58 | 2666510.1654 | 1258135.6404
59 | 2666493.0312 | 1258146.6417
60 | 2666532.5468 | 1258121.6839
61 | 2666546.2663 | 1258147.3569
62 | 2666522.8543 | 1258127.7279
63 | 2666448.1783 | 1258165.5353
64 | 2666436.5885 | 1258144.4328
65 | 2666432.7357 | 1258230.1126
66 | 2666332.7336 | 1258197.1339
67 | 2666372.2054 | 1258230.1656
68 | 2666351.4025 | 1258191.3316
69 | 2666388.0831 | 1258150.2701
70 | 2666384.5545 | 1258289.1978
71 | 2666373.7463 | 1258301.6485
72 | 2666461.1172 | 1258167.1106
73 | 2666456.694 | 1258231.2905
74 | 2666520.3953 | 1258177.0899
75 | 2666554.2946 | 1258164.3599
76 | 2666475.7134 | 1258157.7316
77 | 2666326.4966 | 1258184.8009
78 | 2666386.4979 | 1258147.2461
79 | 2666351.1771 | 1258190.8951
80 | 2666344.7439 | 1258178.4378
81 | 2666344.2718 | 1258177.5236
82 | 2666521.0126 | 1258367.307
83 | 2666508.4603 | 1258370.9084
84 | 2666528.2081 | 1258364.0768
85 | 2666489.1757 | 1258376.222
86 | 2666549.2287 | 1258351.8399
87 | 2666570.6712 | 1258346.7451
88 | 2666592.5782 | 1258349.076
89 | 2666422.0022 | 1258344.1895
90 | 2666389.4304 | 1258342.2338
91 | 2666380.4578 | 1258361.64
92 | 2666441.664 | 1258340.3879
93 | 2666381.2889 | 1258321.166
94 | 2666566.1325 | 1258375.6096
95 | 2666589.8301 | 1258358.8057
96 | 2666545.4257 | 1258394.3617
97 | 2666606.2894 | 1258354.1165
98 | 2666568.1309 | 1258409.4293
99 | 2666492.4291 | 1258437.6705
100 | 2666616.243 | 1258353.9997
101 | 2666580.7055 | 1258406.6552
102 | 2666477.1571 | 1258458.3083
103 | 2666620.4156 | 1258353.9507
104 | 2666585.2025 | 1258405.45
105 | 2666448.183 | 1258496.0551
106 | 2666467.7994 | 1258334.8392
107 | 2666477.6531 | 1258304.1231
108 | 2666470.9166 | 1258306.0594
109 | 2666490.5884 | 1258296.34
110 | 2666438.5342 | 1258307.8485
111 | 2666497.9334 | 1258292.8011
112 | 2666377.3224 | 1258310.9021
113 | 2666394.5295 | 1258292.5528
114 | 2666596.384 | 1258291.4028
115 | 2666585.0951 | 1258290.0289
116 | 2666622.4709 | 1258303.0056
117 | 2666565.7521 | 1258287.886
118 | 2666561.7742 | 1258287.4782
119 | 2666559.6483 | 1258274.523
120 | 2666531.4697 | 1258285.6628
121 | 2666506.4556 | 1258289.1406
122 | 2666558.7991 | 1258269.3484
123 | 2666521.3427 | 1258286.0133
124 | 2666558.2695 | 1258266.1208
125 | 2666638.5493 | 1258353.7377
126 | 2666605.9927 | 1258401.1845
127 | 2666585.515 | 1258405.3663
128 | 2666639.5476 | 1258399.4115
129 | 2666645.5059 | 1258400.1159
130 | 2666673.8384 | 1258408.6245
131 | 2666464.3264 | 1258246.7201
132 | 2666467.6673 | 1258253.4739
133 | 2666520.4696 | 1258177.2518
134 | 2666524.9955 | 1258187.1136
135 | 2666529.8411 | 1258242.3453
136 | 2666525.5919 | 1258242.9264
137 | 2666550.3521 | 1258239.5402
138 | 2666505.7643 | 1258244.6508
139 | 2666552.122 | 1258239.2981
140 | 2666502.4123 | 1258250.4174
141 | 2666553.8296 | 1258239.0646
142 | 2666574.5615 | 1258230.2472
143 | 2666555.7619 | 1258250.84
144 | 2666433.0136 | 1258230.601
145 | 2666433.0544 | 1258230.6726
146 | 2666445.951 | 1258253.3373
147 | 2666446.3406 | 1258254.0219
148 | 2666448.7423 | 1258258.2428
149 | 2666555.9899 | 1258252.2294
150 | 2666578.399 | 1258228.6151
151 | 2666576.4465 | 1258229.4455
152 | 2666024.5028 | 1258554.6806
153 | 2666405.5725 | 1258512.718
154 | 2666446.8339 | 1258497.1799
155 | 2666477.6531 | 1258304.1231

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1