## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4045-42_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4045-42_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4045-42_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4045-42_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4045-42_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4045-42_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4045-42_0_6_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_4045-42_0_6_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_4045-42_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4045-42_0_6_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_4045-42_0_6_node_45 | 0.4 | n |  | TRUE
11 | bus_LV_4045-42_0_6_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_4045-42_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4045-42_0_6_node_68 | 0.4 | n |  | TRUE
14 | bus_LV_4045-42_0_6_node_65 | 0.4 | n |  | TRUE
15 | bus_LV_4045-42_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4045-42_0_6_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_4045-42_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4045-42_0_6_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_4045-42_0_6_node_83 | 0.4 | n |  | TRUE
20 | bus_LV_4045-42_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_4045-42_0_6_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_4045-42_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4045-42_0_6_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_4045-42_0_6_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_4045-42_0_6_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_4045-42_0_6_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_4045-42_0_6_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_4045-42_0_6_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_4045-42_0_6_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_4045-42_0_6_node_75 | 0.4 | n |  | TRUE
31 | bus_LV_4045-42_0_6_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_4045-42_0_6_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_4045-42_0_6_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_4045-42_0_6_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_4045-42_0_6_node_80 | 0.4 | n |  | TRUE
36 | bus_LV_4045-42_0_6_node_82 | 0.4 | n |  | TRUE
37 | bus_LV_4045-42_0_6_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_4045-42_0_6_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_4045-42_0_6_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_4045-42_0_6_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_4045-42_0_6_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_4045-42_0_6_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_4045-42_0_6_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_4045-42_0_6_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_4045-42_0_6_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_4045-42_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_4045-42_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_4045-42_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4045-42_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_4045-42_0_6_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_4045-42_0_6_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_4045-42_0_6_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_4045-42_0_6_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_4045-42_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_4045-42_0_6_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_4045-42_0_6_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_4045-42_0_6_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_4045-42_0_6_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_4045-42_0_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_4045-42_0_6_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_4045-42_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_4045-42_0_6_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_4045-42_0_6_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_4045-42_0_6_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_4045-42_0_6_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_4045-42_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_4045-42_0_6_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_4045-42_0_6_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4045-42_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_4045-42_0_6_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_4045-42_0_6_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_4045-42_0_6_node_60 | 0.4 | n |  | TRUE
73 | bus_MV_615_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4045-42_0_6_load_0 | 0 | 0.0052133 | 0.0013066 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4045-42_0_6_load_1 | 1 | 0.0056303 | 0.0014111 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4045-42_0_6_load_3 | 3 | 0.014427 | 0.0036157 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4045-42_0_6_load_4 | 4 | 0.0093663 | 0.0023474 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4045-42_0_6_load_5 | 5 | 0.0075197 | 0.0018846 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4045-42_0_6_load_20 | 6 | 0.0050954 | 0.001277 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4045-42_0_6_load_47 | 11 | 0.017004 | 0.0042615 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4045-42_0_6_load_65 | 14 | 0.0035016 | 0.00087758 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4045-42_0_6_load_49 | 16 | 0.0041354 | 0.0010364 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4045-42_0_6_load_48 | 18 | 0.0099988 | 0.0025059 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4045-42_0_6_load_83 | 19 | 0.04795 | 0.012017 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4045-42_0_6_load_78 | 21 | 0.0019409 | 0.00048645 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4045-42_0_6_load_76 | 23 | 0.0082587 | 0.0020698 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4045-42_0_6_load_64 | 24 | 0.0043039 | 0.0010786 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4045-42_0_6_load_44 | 25 | 0.0026154 | 0.00065548 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4045-42_0_6_load_46 | 27 | 0.0057395 | 0.0014385 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4045-42_0_6_load_41 | 28 | 0.004427 | 0.0011095 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4045-42_0_6_load_73 | 31 | 0.0076911 | 0.0019276 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4045-42_0_6_load_66 | 32 | 0.010061 | 0.0025215 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4045-42_0_6_load_50 | 33 | 0.018057 | 0.0045256 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4045-42_0_6_load_81 | 34 | 0.00094894 | 0.00023783 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4045-42_0_6_load_80 | 35 | 0.0072996 | 0.0018294 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4045-42_0_6_load_82 | 36 | 0.006327 | 0.0015857 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4045-42_0_6_load_79 | 37 | 0.0057867 | 0.0014503 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4045-42_0_6_load_77 | 38 | 0.0090969 | 0.0022799 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4045-42_0_6_load_74 | 40 | 0.0071891 | 0.0018018 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4045-42_0_6_load_72 | 41 | 0.0032739 | 0.00082051 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4045-42_0_6_load_21 | 42 | 0.0055673 | 0.0013953 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4045-42_0_6_load_27 | 45 | 0.0074282 | 0.0018617 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4045-42_0_6_load_42 | 46 | 0.004371 | 0.0010955 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4045-42_0_6_load_34 | 47 | 0.0061529 | 0.0015421 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4045-42_0_6_load_39 | 48 | 0.001279 | 0.00032054 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4045-42_0_6_load_43 | 49 | 0.0089652 | 0.0022469 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4045-42_0_6_load_28 | 51 | 0.033722 | 0.0084516 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4045-42_0_6_load_29 | 53 | 0.062957 | 0.015779 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4045-42_0_6_load_31 | 54 | 0.0094848 | 0.0023771 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4045-42_0_6_load_32 | 55 | 0.054225 | 0.01359 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4045-42_0_6_load_51 | 59 | 0.033739 | 0.0084557 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4045-42_0_6_load_69 | 60 | 0.0011294 | 0.00028306 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4045-42_0_6_load_70 | 63 | 0.0010697 | 0.00026809 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4045-42_0_6_load_37 | 64 | 0.020865 | 0.0052293 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4045-42_0_6_load_52 | 65 | 0.01414 | 0.0035437 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4045-42_0_6_load_56 | 66 | 0.021697 | 0.0054378 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4045-42_0_6_load_54 | 67 | 0.013837 | 0.0034678 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4045-42_0_6_load_53 | 68 | 0.0055332 | 0.0013867 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4045-42_0_6_load_62 | 71 | 0.0032732 | 0.00082035 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4045-42_0_6_load_60 | 72 | 0.002949 | 0.00073909 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4045-42_0_6_line_0 |  | 0 | 1 | 0.013412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4045-42_0_6_line_1 |  | 0 | 2 | 0.015568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4045-42_0_6_line_2 |  | 1 | 3 | 0.030371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4045-42_0_6_line_3 |  | 2 | 4 | 0.014142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4045-42_0_6_line_4 |  | 2 | 5 | 0.051249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4045-42_0_6_line_5 |  | 3 | 6 | 0.021242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4045-42_0_6_line_6 |  | 4 | 7 | 0.0084375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4045-42_0_6_line_7 |  | 7 | 17 | 0.022148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4045-42_0_6_line_8 |  | 8 | 9 | 0.011699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4045-42_0_6_line_9 |  | 8 | 10 | 0.006696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4045-42_0_6_line_10 |  | 8 | 11 | 0.033724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4045-42_0_6_line_11 |  | 9 | 25 | 0.022979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4045-42_0_6_line_12 |  | 9 | 26 | 0.031253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4045-42_0_6_line_13 |  | 10 | 27 | 0.01574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4045-42_0_6_line_14 |  | 11 | 18 | 0.035026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4045-42_0_6_line_15 |  | 12 | 13 | 0.036682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4045-42_0_6_line_16 |  | 12 | 14 | 0.020676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4045-42_0_6_line_17 |  | 13 | 30 | 0.002299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4045-42_0_6_line_18 |  | 13 | 31 | 0.0036134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4045-42_0_6_line_19 |  | 14 | 32 | 0.01792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4045-42_0_6_line_20 |  | 15 | 16 | 0.029227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4045-42_0_6_line_21 |  | 15 | 17 | 0.0098739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4045-42_0_6_line_22 |  | 15 | 18 | 0.0058415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4045-42_0_6_line_23 |  | 16 | 33 | 0.0055742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4045-42_0_6_line_24 |  | 17 | 19 | 0.02473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4045-42_0_6_line_25 |  | 20 | 21 | 0.028563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4045-42_0_6_line_26 |  | 20 | 22 | 0.003254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4045-42_0_6_line_27 |  | 20 | 23 | 0.016293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4045-42_0_6_line_28 |  | 21 | 37 | 0.0079803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4045-42_0_6_line_29 |  | 22 | 24 | 0.017755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4045-42_0_6_line_30 |  | 23 | 38 | 0.02093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4045-42_0_6_line_31 |  | 25 | 49 | 0.0064856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4045-42_0_6_line_32 |  | 26 | 29 | 0.003373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4045-42_0_6_line_33 |  | 26 | 42 | 0.027785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4045-42_0_6_line_34 |  | 28 | 29 | 0.0080543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4045-42_0_6_line_35 |  | 29 | 46 | 0.0081087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4045-42_0_6_line_36 |  | 30 | 34 | 0.0071754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4045-42_0_6_line_37 |  | 30 | 35 | 0.032408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4045-42_0_6_line_38 |  | 31 | 41 | 0.025909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4045-42_0_6_line_39 |  | 32 | 70 | 0.015183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4045-42_0_6_line_40 |  | 34 | 36 | 0.007307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4045-42_0_6_line_41 |  | 35 | 37 | 0.010419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4045-42_0_6_line_42 |  | 39 | 40 | 0.035596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4045-42_0_6_line_43 |  | 39 | 41 | 0.013792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4045-42_0_6_line_44 |  | 42 | 43 | 0.016365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4045-42_0_6_line_45 |  | 43 | 44 | 0.032025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_4045-42_0_6_line_46 |  | 43 | 45 | 0.042806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4045-42_0_6_line_47 |  | 44 | 47 | 0.023309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4045-42_0_6_line_48 |  | 45 | 48 | 0.0029569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4045-42_0_6_line_49 |  | 47 | 50 | 0.0086321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4045-42_0_6_line_50 |  | 50 | 64 | 0.012616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4045-42_0_6_line_51 |  | 50 | 58 | 0.014132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4045-42_0_6_line_52 |  | 51 | 52 | 0.014503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4045-42_0_6_line_53 |  | 52 | 55 | 0.014175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4045-42_0_6_line_54 |  | 52 | 56 | 0.018992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4045-42_0_6_line_55 |  | 53 | 54 | 0.0036881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4045-42_0_6_line_56 |  | 54 | 57 | 0.020602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4045-42_0_6_line_57 |  | 55 | 58 | 0.011874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4045-42_0_6_line_58 |  | 56 | 59 | 0.0095136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_4045-42_0_6_line_59 |  | 57 | 60 | 0.0167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4045-42_0_6_line_60 |  | 57 | 61 | 0.036932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4045-42_0_6_line_61 |  | 58 | 62 | 0.0608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4045-42_0_6_line_62 |  | 59 | 63 | 0.0032508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4045-42_0_6_line_63 |  | 60 | 70 | 0.0213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4045-42_0_6_line_64 |  | 61 | 71 | 0.014672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4045-42_0_6_line_65 |  | 62 | 66 | 0.014616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4045-42_0_6_line_66 |  | 62 | 67 | 0.01321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4045-42_0_6_line_67 |  | 63 | 70 | 0.014055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_4045-42_0_6_line_68 |  | 64 | 65 | 0.015978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4045-42_0_6_line_69 |  | 65 | 68 | 0.0029856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4045-42_0_6_line_70 |  | 66 | 69 | 0.0094221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4045-42_0_6_line_71 |  | 69 | 72 | 0.017836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4045-42_0_6_trafo_33 | 0.63 MVA 20/0.4 kV | 73 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2667136.7024 | 1257734.261 | 2667133.3704 | 1257731.7022 | 2667126.923 | 1257725.1243 | 2667126.923 | 1257725.1243
1 | 2667148.8232 | 1257744.0198 | 2667144.2164 | 1257740.0313 | 2667136.7024 | 1257734.261
2 | 2667105.3257 | 1257704.0177 | 2667113.8363 | 1257710.2651 | 2667117.5466 | 1257714.1989 | 2667121.078 | 1257717.9528 | 2667126.923 | 1257725.1243
3 | 2667148.8232 | 1257744.0198 | 2667156.8687 | 1257748.6366 | 2667160.582 | 1257751.7808
4 | 2667148.8232 | 1257744.0198 | 2667140.765 | 1257747.1752 | 2667124.3422 | 1257741.2624 | 2667100.8001 | 1257750.0836
5 | 2667105.3257 | 1257704.0177 | 2667101.7897 | 1257701.4221 | 2667096.7322 | 1257698.6072 | 2667091.0133 | 1257695.5958 | 2667086.6691 | 1257694.0696
6 | 2667165.9436 | 1257758.2132 | 2667162.7387 | 1257753.6069 | 2667160.582 | 1257751.7808
7 | 2667165.9436 | 1257758.2132 | 2667171.1453 | 1257757.6274 | 2667176.3091 | 1257757.0522 | 2667176.5301 | 1257751.5284 | 2667182.257 | 1257749.1806
8 | 2667133.5775 | 1257691.5196 | 2667130.8166 | 1257700.2725 | 2667129.2111 | 1257702.2224
9 | 2667123.8736 | 1257698.1589 | 2667129.2111 | 1257702.2224
10 | 2667129.2111 | 1257702.2224 | 2667132.4901 | 1257704.9616 | 2667130.8146 | 1257707.7557 | 2667130.7655 | 1257712.0917 | 2667133.1483 | 1257716.7221 | 2667140.3446 | 1257727.0779 | 2667143.4002 | 1257729.7189
11 | 2667133.5775 | 1257691.5196 | 2667151.5331 | 1257685.2853 | 2667154.1682 | 1257682.313
12 | 2667133.5775 | 1257691.5196 | 2667142.9638 | 1257661.7042
13 | 2667123.8736 | 1257698.1589 | 2667120.5683 | 1257699.7337 | 2667116.4408 | 1257699.3533 | 2667109.5716 | 1257695.3837
14 | 2667143.4002 | 1257729.7189 | 2667145.8849 | 1257731.8665 | 2667148.8947 | 1257733.7353 | 2667161.4675 | 1257740.0492 | 2667175.5884 | 1257739.5487
15 | 2667298.3263 | 1257767.7567 | 2667288.9312 | 1257769.1176 | 2667261.7821 | 1257766.2848
16 | 2667261.7821 | 1257766.2848 | 2667257.1266 | 1257746.1399
17 | 2667298.3263 | 1257767.7567 | 2667298.6019 | 1257770.0392
18 | 2667298.3263 | 1257767.7567 | 2667301.9024 | 1257767.2387
19 | 2667257.1266 | 1257746.1399 | 2667253.0916 | 1257728.6799
20 | 2667181.4262 | 1257739.3417 | 2667186.1295 | 1257739.4841 | 2667186.5066 | 1257724.1994 | 2667192.5461 | 1257717.216
21 | 2667181.4262 | 1257739.3417 | 2667181.9922 | 1257745.9419 | 2667182.257 | 1257749.1806
22 | 2667181.4262 | 1257739.3417 | 2667175.5884 | 1257739.5487
23 | 2667192.5461 | 1257717.216 | 2667196.1924 | 1257712.9998
24 | 2667182.257 | 1257749.1806 | 2667201.7736 | 1257751.5482 | 2667206.4829 | 1257753.4269
25 | 2667376.4829 | 1257755.3475 | 2667348.7278 | 1257762.0914
26 | 2667376.4829 | 1257755.3475 | 2667375.4322 | 1257752.2666
27 | 2667376.4829 | 1257755.3475 | 2667381.758 | 1257770.7633
28 | 2667348.7278 | 1257762.0914 | 2667340.9731 | 1257763.9756
29 | 2667375.4322 | 1257752.2666 | 2667370.7498 | 1257735.1405
30 | 2667381.758 | 1257770.7633 | 2667388.5342 | 1257790.5659
31 | 2667149.1708 | 1257678.179 | 2667154.1682 | 1257682.313 | 2667154.1682 | 1257682.313
32 | 2667140.4255 | 1257659.4738 | 2667142.9638 | 1257661.7042
33 | 2667142.9638 | 1257661.7042 | 2667162.9957 | 1257642.4496
34 | 2667140.4255 | 1257659.4738 | 2667134.3765 | 1257654.1559
35 | 2667140.4255 | 1257659.4738 | 2667137.5003 | 1257667.0365
36 | 2667298.6019 | 1257770.0392 | 2667299.4535 | 1257777.164
37 | 2667298.6019 | 1257770.0392 | 2667330.7346 | 1257765.8252
38 | 2667327.5436 | 1257763.5248 | 2667301.9024 | 1257767.2387
39 | 2667249.6729 | 1257713.8867 | 2667253.0916 | 1257728.6799
40 | 2667300.3207 | 1257784.4193 | 2667299.4535 | 1257777.164
41 | 2667330.7346 | 1257765.8252 | 2667336.4408 | 1257765.0769 | 2667340.9731 | 1257763.9756
42 | 2667341.0935 | 1257761.0491 | 2667333.0992 | 1257726.3626
43 | 2667341.0935 | 1257761.0491 | 2667336.5487 | 1257762.2205 | 2667327.5436 | 1257763.5248
44 | 2667175.0441 | 1257631.3792 | 2667167.9451 | 1257637.6922 | 2667162.9957 | 1257642.4496
45 | 2667175.0441 | 1257631.3792 | 2667182.1279 | 1257625.0772 | 2667198.9775 | 1257610.024
46 | 2667175.0441 | 1257631.3792 | 2667176.2956 | 1257644.6698 | 2667169.5201 | 1257663.0064 | 2667176.5075 | 1257670.0307
47 | 2667198.9775 | 1257610.024 | 2667210.9491 | 1257630.0237
48 | 2667178.5928 | 1257672.1271 | 2667176.5075 | 1257670.0307
49 | 2667215.3825 | 1257637.4303 | 2667210.9491 | 1257630.0237
50 | 2667215.3825 | 1257637.4303 | 2667217.3741 | 1257635.3514 | 2667214.8025 | 1257632.7314 | 2667211.88 | 1257627.4158
51 | 2667215.3825 | 1257637.4303 | 2667226.2579 | 1257646.4937
52 | 2667237.9006 | 1257669.6428 | 2667251.9451 | 1257666.0239
53 | 2667237.9006 | 1257669.6428 | 2667234.0254 | 1257658.991 | 2667232.5267 | 1257656.5783
54 | 2667241.9876 | 1257688.1917 | 2667237.9006 | 1257669.6428
55 | 2667275.1511 | 1257676.742 | 2667276.411 | 1257680.2082
56 | 2667283.4488 | 1257699.571 | 2667276.411 | 1257680.2082
57 | 2667226.2579 | 1257646.4937 | 2667228.0573 | 1257649.3829 | 2667232.5267 | 1257656.5783
58 | 2667241.9876 | 1257688.1917 | 2667244.7138 | 1257697.3064
59 | 2667283.4488 | 1257699.571 | 2667280.1925 | 1257704.7934 | 2667270.0859 | 1257707.8046
60 | 2667283.4488 | 1257699.571 | 2667316.8221 | 1257683.5497
61 | 2667226.2579 | 1257646.4937 | 2667235.4454 | 1257641.5166 | 2667280.7581 | 1257619.2372
62 | 2667245.6453 | 1257700.4208 | 2667244.7138 | 1257697.3064
63 | 2667249.6729 | 1257713.8867 | 2667270.0859 | 1257707.8046
64 | 2667316.8221 | 1257683.5497 | 2667330.4669 | 1257678.1577
65 | 2667280.7581 | 1257619.2372 | 2667274.0291 | 1257606.2624
66 | 2667280.7581 | 1257619.2372 | 2667292.7886 | 1257613.78
67 | 2667249.6729 | 1257713.8867 | 2667245.6453 | 1257700.4208
68 | 2667204.1818 | 1257613.4142 | 2667211.88 | 1257627.4158
69 | 2667204.1818 | 1257613.4142 | 2667202.7434 | 1257610.798
70 | 2667276.1392 | 1257597.0796 | 2667274.0291 | 1257606.2624
71 | 2667276.1392 | 1257597.0796 | 2667267.6128 | 1257581.414

## bus_geodata
| x | y | coords
0 | 2667136.7024 | 1257734.261
1 | 2667126.923 | 1257725.1243
2 | 2667148.8232 | 1257744.0198
3 | 2667105.3257 | 1257704.0177
4 | 2667160.582 | 1257751.7808
5 | 2667100.8001 | 1257750.0836
6 | 2667086.6691 | 1257694.0696
7 | 2667165.9436 | 1257758.2132
8 | 2667129.2111 | 1257702.2224
9 | 2667133.5775 | 1257691.5196
10 | 2667123.8736 | 1257698.1589
11 | 2667143.4002 | 1257729.7189
12 | 2667261.7821 | 1257766.2848
13 | 2667298.3263 | 1257767.7567
14 | 2667257.1266 | 1257746.1399
15 | 2667181.4262 | 1257739.3417
16 | 2667192.5461 | 1257717.216
17 | 2667182.257 | 1257749.1806
18 | 2667175.5884 | 1257739.5487
19 | 2667206.4829 | 1257753.4269
20 | 2667376.4829 | 1257755.3475
21 | 2667348.7278 | 1257762.0914
22 | 2667375.4322 | 1257752.2666
23 | 2667381.758 | 1257770.7633
24 | 2667370.7498 | 1257735.1405
25 | 2667154.1682 | 1257682.313
26 | 2667142.9638 | 1257661.7042
27 | 2667109.5716 | 1257695.3837
28 | 2667134.3765 | 1257654.1559
29 | 2667140.4255 | 1257659.4738
30 | 2667298.6019 | 1257770.0392
31 | 2667301.9024 | 1257767.2387
32 | 2667253.0916 | 1257728.6799
33 | 2667196.1924 | 1257712.9998
34 | 2667299.4535 | 1257777.164
35 | 2667330.7346 | 1257765.8252
36 | 2667300.3207 | 1257784.4193
37 | 2667340.9731 | 1257763.9756
38 | 2667388.5342 | 1257790.5659
39 | 2667341.0935 | 1257761.0491
40 | 2667333.0992 | 1257726.3626
41 | 2667327.5436 | 1257763.5248
42 | 2667162.9957 | 1257642.4496
43 | 2667175.0441 | 1257631.3792
44 | 2667198.9775 | 1257610.024
45 | 2667176.5075 | 1257670.0307
46 | 2667137.5003 | 1257667.0365
47 | 2667210.9491 | 1257630.0237
48 | 2667178.5928 | 1257672.1271
49 | 2667149.1708 | 1257678.179
50 | 2667215.3825 | 1257637.4303
51 | 2667251.9451 | 1257666.0239
52 | 2667237.9006 | 1257669.6428
53 | 2667275.1511 | 1257676.742
54 | 2667276.411 | 1257680.2082
55 | 2667232.5267 | 1257656.5783
56 | 2667241.9876 | 1257688.1917
57 | 2667283.4488 | 1257699.571
58 | 2667226.2579 | 1257646.4937
59 | 2667244.7138 | 1257697.3064
60 | 2667270.0859 | 1257707.8046
61 | 2667316.8221 | 1257683.5497
62 | 2667280.7581 | 1257619.2372
63 | 2667245.6453 | 1257700.4208
64 | 2667211.88 | 1257627.4158
65 | 2667204.1818 | 1257613.4142
66 | 2667274.0291 | 1257606.2624
67 | 2667292.7886 | 1257613.78
68 | 2667202.7434 | 1257610.798
69 | 2667276.1392 | 1257597.0796
70 | 2667249.6729 | 1257713.8867
71 | 2667330.4669 | 1257678.1577
72 | 2667267.6128 | 1257581.414
73 | 2667237.9006 | 1257669.6428

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1