## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4045-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4045-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4045-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4045-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4045-8_0_3_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_4045-8_0_3_node_49 | 0.4 | n |  | TRUE
6 | bus_LV_4045-8_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4045-8_0_3_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_4045-8_0_3_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_4045-8_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_4045-8_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_4045-8_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4045-8_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_4045-8_0_3_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_4045-8_0_3_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_4045-8_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_4045-8_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4045-8_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4045-8_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4045-8_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_4045-8_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_4045-8_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_4045-8_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4045-8_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4045-8_0_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_4045-8_0_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_4045-8_0_3_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_4045-8_0_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_4045-8_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4045-8_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4045-8_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_4045-8_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_4045-8_0_3_node_72 | 0.4 | n |  | TRUE
33 | bus_LV_4045-8_0_3_node_71 | 0.4 | n |  | TRUE
34 | bus_LV_4045-8_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4045-8_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_4045-8_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4045-8_0_3_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_4045-8_0_3_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_4045-8_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_4045-8_0_3_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_4045-8_0_3_node_70 | 0.4 | n |  | TRUE
42 | bus_LV_4045-8_0_3_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_4045-8_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_4045-8_0_3_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_4045-8_0_3_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_4045-8_0_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_4045-8_0_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_4045-8_0_3_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_4045-8_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4045-8_0_3_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4045-8_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_4045-8_0_3_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_4045-8_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_4045-8_0_3_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_4045-8_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_4045-8_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_4045-8_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_4045-8_0_3_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_4045-8_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_4045-8_0_3_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_4045-8_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_4045-8_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_4045-8_0_3_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_4045-8_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_4045-8_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_4045-8_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_4045-8_0_3_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_4045-8_0_3_node_65 | 0.4 | n |  | TRUE
69 | bus_MV_615_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4045-8_0_3_load_0 | 0 | 0.018472 | 0.0046296 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4045-8_0_3_load_49 | 5 | 0.0020762 | 0.00052035 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4045-8_0_3_load_74 | 7 | 0.008891 | 0.0022283 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4045-8_0_3_load_75 | 8 | 0.0027919 | 0.00069972 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4045-8_0_3_load_14 | 10 | 0.0044426 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4045-8_0_3_load_16 | 12 | 0.0025082 | 0.00062861 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4045-8_0_3_load_48 | 13 | 0.0015493 | 0.00038828 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4045-8_0_3_load_5 | 14 | 0.0084909 | 0.002128 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4045-8_0_3_load_6 | 15 | 0.003487 | 0.00087391 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4045-8_0_3_load_40 | 20 | 0.0055058 | 0.0013799 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4045-8_0_3_load_20 | 21 | 0.0077851 | 0.0019511 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4045-8_0_3_load_13 | 22 | 0.0042647 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4045-8_0_3_load_17 | 23 | 0.001413 | 0.00035414 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4045-8_0_3_load_41 | 24 | 0.0023434 | 0.00058731 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4045-8_0_3_load_34 | 26 | 0.011175 | 0.0028007 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4045-8_0_3_load_38 | 27 | 0.011864 | 0.0029735 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4045-8_0_3_load_18 | 28 | 0.0042341 | 0.0010612 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4045-8_0_3_load_19 | 29 | 0.0013159 | 0.0003298 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4045-8_0_3_load_33 | 30 | 0.012154 | 0.0030461 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4045-8_0_3_load_71 | 33 | 0.022627 | 0.0056709 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4045-8_0_3_load_23 | 36 | 0.053904 | 0.01351 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4045-8_0_3_load_68 | 37 | 0.0053892 | 0.0013507 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4045-8_0_3_load_63 | 38 | 0.0037447 | 0.0009385 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4045-8_0_3_load_73 | 40 | 0.0057335 | 0.001437 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4045-8_0_3_load_70 | 41 | 0.0039367 | 0.00098663 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4045-8_0_3_load_69 | 42 | 0.0037131 | 0.00093058 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4045-8_0_3_load_62 | 43 | 0.0043583 | 0.0010923 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4045-8_0_3_load_64 | 45 | 0.0016044 | 0.00040211 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4045-8_0_3_load_54 | 46 | 0.0014717 | 0.00036884 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4045-8_0_3_load_55 | 47 | 0.002097 | 0.00052555 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4045-8_0_3_load_67 | 48 | 0.0078588 | 0.0019696 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4045-8_0_3_load_36 | 49 | 0.0068236 | 0.0017102 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4045-8_0_3_load_37 | 50 | 0.0033246 | 0.00083322 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4045-8_0_3_load_39 | 51 | 0.0016351 | 0.00040979 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4045-8_0_3_load_42 | 52 | 0.0048069 | 0.0012047 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4045-8_0_3_load_43 | 53 | 0.0012061 | 0.00030228 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4045-8_0_3_load_46 | 54 | 0.0051185 | 0.0012828 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4045-8_0_3_load_44 | 55 | 0.0013997 | 0.00035079 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4045-8_0_3_load_45 | 56 | 0.0010403 | 0.00026072 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4045-8_0_3_load_47 | 57 | 0.0011155 | 0.00027957 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4045-8_0_3_load_52 | 58 | 0.0026359 | 0.00066063 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4045-8_0_3_load_53 | 59 | 0.0012272 | 0.00030756 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4045-8_0_3_load_51 | 61 | 0.0021601 | 0.00054138 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4045-8_0_3_load_56 | 62 | 0.00067206 | 0.00016843 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4045-8_0_3_load_59 | 63 | 0.0026998 | 0.00067664 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4045-8_0_3_load_58 | 64 | 0.0022129 | 0.00055461 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4045-8_0_3_load_60 | 65 | 0.0022814 | 0.00057176 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4045-8_0_3_load_61 | 66 | 0.0019293 | 0.00048354 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4045-8_0_3_load_66 | 67 | 0.0055219 | 0.0013839 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4045-8_0_3_load_65 | 68 | 0.0012638 | 0.00031675 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4045-8_0_3_line_0 |  | 0 | 1 | 0.11037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4045-8_0_3_line_1 |  | 1 | 2 | 0.12889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4045-8_0_3_line_2 |  | 1 | 3 | 0.17258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4045-8_0_3_line_3 |  | 2 | 4 | 0.006429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4045-8_0_3_line_4 |  | 2 | 5 | 0.037763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4045-8_0_3_line_5 |  | 3 | 6 | 0.15199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4045-8_0_3_line_6 |  | 3 | 7 | 0.074012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4045-8_0_3_line_7 |  | 4 | 12 | 0.0036401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4045-8_0_3_line_8 |  | 5 | 13 | 0.034879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4045-8_0_3_line_9 |  | 6 | 8 | 0.1042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4045-8_0_3_line_10 |  | 9 | 10 | 0.060458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4045-8_0_3_line_11 |  | 9 | 11 | 0.005986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4045-8_0_3_line_12 |  | 11 | 14 | 0.018824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4045-8_0_3_line_13 |  | 12 | 29 | 0.017339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4045-8_0_3_line_14 |  | 13 | 60 | 0.035221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4045-8_0_3_line_15 |  | 14 | 15 | 0.029119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4045-8_0_3_line_16 |  | 15 | 16 | 0.022065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4045-8_0_3_line_17 |  | 16 | 17 | 0.005554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4045-8_0_3_line_18 |  | 17 | 19 | 0.025813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4045-8_0_3_line_19 |  | 17 | 21 | 0.017313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4045-8_0_3_line_20 |  | 18 | 19 | 0.00593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4045-8_0_3_line_21 |  | 18 | 20 | 0.013017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4045-8_0_3_line_22 |  | 19 | 26 | 0.0063183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4045-8_0_3_line_23 |  | 20 | 27 | 0.01332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4045-8_0_3_line_24 |  | 22 | 23 | 0.024044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4045-8_0_3_line_25 |  | 23 | 28 | 0.0073937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4045-8_0_3_line_26 |  | 24 | 25 | 0.0092309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4045-8_0_3_line_27 |  | 25 | 45 | 0.031477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4045-8_0_3_line_28 |  | 25 | 38 | 0.019997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4045-8_0_3_line_29 |  | 25 | 39 | 0.004767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_4045-8_0_3_line_30 |  | 26 | 30 | 0.046553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4045-8_0_3_line_31 |  | 27 | 49 | 0.01104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4045-8_0_3_line_32 |  | 28 | 29 | 0.011678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4045-8_0_3_line_33 |  | 30 | 39 | 0.0076228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4045-8_0_3_line_34 |  | 31 | 32 | 0.004324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4045-8_0_3_line_35 |  | 31 | 33 | 0.052834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4045-8_0_3_line_36 |  | 31 | 34 | 0.076575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4045-8_0_3_line_37 |  | 32 | 40 | 0.025156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4045-8_0_3_line_38 |  | 34 | 35 | 0.025231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4045-8_0_3_line_39 |  | 34 | 36 | 0.036485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4045-8_0_3_line_40 |  | 35 | 37 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4045-8_0_3_line_41 |  | 35 | 38 | 0.03134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4045-8_0_3_line_42 |  | 37 | 42 | 0.029808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4045-8_0_3_line_43 |  | 41 | 42 | 0.024567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4045-8_0_3_line_44 |  | 43 | 44 | 0.019407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4045-8_0_3_line_45 |  | 44 | 63 | 0.01345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4045-8_0_3_line_46 |  | 44 | 62 | 0.0025931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4045-8_0_3_line_47 |  | 45 | 48 | 0.00083813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4045-8_0_3_line_48 |  | 46 | 47 | 0.024624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4045-8_0_3_line_49 |  | 47 | 62 | 0.0024522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4045-8_0_3_line_50 |  | 48 | 68 | 0.016556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4045-8_0_3_line_51 |  | 49 | 50 | 0.013562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4045-8_0_3_line_52 |  | 50 | 51 | 0.010021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4045-8_0_3_line_53 |  | 51 | 52 | 0.015799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4045-8_0_3_line_54 |  | 52 | 53 | 0.0042122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4045-8_0_3_line_55 |  | 53 | 54 | 0.018908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4045-8_0_3_line_56 |  | 54 | 55 | 0.0025448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4045-8_0_3_line_57 |  | 55 | 56 | 0.017331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4045-8_0_3_line_58 |  | 56 | 57 | 0.0015679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4045-8_0_3_line_59 |  | 57 | 58 | 0.019412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4045-8_0_3_line_60 |  | 58 | 59 | 0.019913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4045-8_0_3_line_61 |  | 59 | 61 | 0.013121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4045-8_0_3_line_62 |  | 60 | 61 | 0.0099975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4045-8_0_3_line_63 |  | 63 | 64 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4045-8_0_3_line_64 |  | 64 | 65 | 0.00012616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4045-8_0_3_line_65 |  | 65 | 66 | 0.025516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4045-8_0_3_line_66 |  | 66 | 67 | 0.0010751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4045-8_0_3_line_67 |  | 67 | 68 | 0.01335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4045-8_0_3_trafo_67 | 0.63 MVA 20/0.4 kV | 69 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2666447.8081 | 1256651.3709 | 2666465.4601 | 1256651.5691 | 2666485.7486 | 1256654.032 | 2666520.3432 | 1256664.5281 | 2666526.1922 | 1256658.0891 | 2666539.0217 | 1256633.8503
1 | 2666523.5408 | 1256733.6254 | 2666521.4141 | 1256728.9314 | 2666521.4844 | 1256722.6832 | 2666522.3142 | 1256702.5334 | 2666519.1254 | 1256695.0477 | 2666513.6196 | 1256686.3907 | 2666505.1329 | 1256681.9366 | 2666481.3138 | 1256681.6022 | 2666475.005 | 1256679.3075 | 2666447.8081 | 1256651.3709
2 | 2666364.6803 | 1256619.7714 | 2666385.9946 | 1256620.2217 | 2666414.0369 | 1256621.9151 | 2666423.6119 | 1256620.7995 | 2666429.4235 | 1256619.03 | 2666434.2906 | 1256615.4042 | 2666441.6262 | 1256608.2035 | 2666445.5154 | 1256605.712 | 2666450.9805 | 1256603.9053 | 2666460.9427 | 1256605.2403 | 2666470.7511 | 1256616.2473 | 2666469.5115 | 1256621.8708 | 2666465.7958 | 1256625.6985 | 2666452.2476 | 1256632.7739 | 2666438.7043 | 1256641.4282 | 2666447.8081 | 1256651.3709
3 | 2666524.5478 | 1256739.9746 | 2666523.5408 | 1256733.6254
4 | 2666523.5408 | 1256733.6254 | 2666504.9168 | 1256732.7044 | 2666486.6088 | 1256733.1992 | 2666485.8076 | 1256733.2305
5 | 2666364.6803 | 1256619.7714 | 2666385.9946 | 1256620.2217 | 2666414.0369 | 1256621.9151 | 2666423.6119 | 1256620.7995 | 2666404.9317 | 1256606.7131 | 2666384.5784 | 1256586.4702 | 2666372.1881 | 1256570.9868 | 2666360.5474 | 1256560.6154 | 2666359.3018 | 1256555.3421
6 | 2666364.6803 | 1256619.7714 | 2666363.8646 | 1256610.4666 | 2666391.5641 | 1256552.0279
7 | 2666524.5478 | 1256739.9746 | 2666526.7804 | 1256742.8496
8 | 2666450.961 | 1256734.6753 | 2666452.138 | 1256734.5467 | 2666485.8076 | 1256733.2305
9 | 2666359.3018 | 1256555.3421 | 2666406.5445 | 1256579.2445 | 2666414.646 | 1256581.7483 | 2666422.2799 | 1256583.5908 | 2666427.0138 | 1256584.4445 | 2666457.072 | 1256586.2984
10 | 2666643.102 | 1256769.5068 | 2666639.5358 | 1256766.7646 | 2666639.1233 | 1256763.8801 | 2666637.8162 | 1256760.752 | 2666635.1468 | 1256758.7316 | 2666628.3439 | 1256756.1199 | 2666621.3351 | 1256753.7059 | 2666602.0025 | 1256747.4172 | 2666590.9816 | 1256745.0207
11 | 2666643.102 | 1256769.5068 | 2666638.8241 | 1256773.7061
12 | 2666638.8241 | 1256773.7061 | 2666625.3403 | 1256786.8408
13 | 2666526.7804 | 1256742.8496 | 2666537.415 | 1256756.5442
14 | 2666416.1948 | 1256740.092 | 2666433.7753 | 1256736.5532 | 2666450.961 | 1256734.6753
15 | 2666625.3403 | 1256786.8408 | 2666604.482 | 1256807.1591
16 | 2666588.6764 | 1256822.5554 | 2666604.482 | 1256807.1591
17 | 2666592.1492 | 1256826.8976 | 2666588.6764 | 1256822.5554
18 | 2666592.1492 | 1256826.8976 | 2666573.6216 | 1256844.9247
19 | 2666592.1492 | 1256826.8976 | 2666604.3282 | 1256814.5926
20 | 2666573.6216 | 1256844.9247 | 2666569.1485 | 1256841.016
21 | 2666569.1485 | 1256841.016 | 2666559.8776 | 1256832.5612 | 2666559.4801 | 1256832.3109
22 | 2666573.6216 | 1256844.9247 | 2666569.0946 | 1256849.3323
23 | 2666559.4801 | 1256832.3109 | 2666548.2077 | 1256825.2138
24 | 2666549.1123 | 1256771.6072 | 2666563.8596 | 1256790.5979
25 | 2666549.1123 | 1256771.6072 | 2666544.5774 | 1256765.7675
26 | 2666526.6309 | 1256883.3802 | 2666533.1699 | 1256876.8648
27 | 2666526.6309 | 1256883.3802 | 2666500.94 | 1256865.1928
28 | 2666526.6309 | 1256883.3802 | 2666512.7339 | 1256897.7597
29 | 2666529.9633 | 1256886.7979 | 2666526.6309 | 1256883.3802
30 | 2666535.4917 | 1256881.5497 | 2666556.009 | 1256862.0725 | 2666569.0946 | 1256849.3323
31 | 2666538.8653 | 1256819.3319 | 2666548.2077 | 1256825.2138
32 | 2666537.415 | 1256756.5442 | 2666544.5774 | 1256765.7675
33 | 2666529.9633 | 1256886.7979 | 2666535.4917 | 1256881.5497
34 | 2666523.6153 | 1256990.6467 | 2666521.1771 | 1256994.2219
35 | 2666523.6153 | 1256990.6467 | 2666516.2768 | 1256986.0609 | 2666479.7899 | 1256961.1489
36 | 2666507.5518 | 1256937.7611 | 2666504.7448 | 1256941.2765 | 2666502.2386 | 1256944.8621 | 2666526.2927 | 1256961.7668 | 2666537.0353 | 1256969.4264 | 2666523.6153 | 1256990.6467
37 | 2666521.1771 | 1256994.2219 | 2666505.3542 | 1257013.7783
38 | 2666490.9544 | 1256920.2953 | 2666494.9638 | 1256923.8651 | 2666495.5482 | 1256928.2304 | 2666499.167 | 1256932.3296 | 2666507.5518 | 1256937.7611
39 | 2666507.5518 | 1256937.7611 | 2666513.1765 | 1256941.8605 | 2666517.5296 | 1256941.6871 | 2666534.8624 | 1256952.7565 | 2666538.626 | 1256955.406
40 | 2666490.9544 | 1256920.2953 | 2666488.2183 | 1256917.4959 | 2666485.0309 | 1256919.2947 | 2666482.3679 | 1256920.0654 | 2666476.2499 | 1256916.0808
41 | 2666490.9544 | 1256920.2953 | 2666512.7339 | 1256897.7597
42 | 2666451.3118 | 1256899.7538 | 2666453.808 | 1256901.4647 | 2666476.2499 | 1256916.0808
43 | 2666451.3118 | 1256899.7538 | 2666431.0473 | 1256885.865
44 | 2666427.4405 | 1256813.1601 | 2666415.9189 | 1256828.7775
45 | 2666427.4405 | 1256813.1601 | 2666438.418 | 1256820.9315
46 | 2666427.4405 | 1256813.1601 | 2666425.3113 | 1256811.6802
47 | 2666500.2559 | 1256864.7085 | 2666500.94 | 1256865.1928
48 | 2666403.0783 | 1256796.227 | 2666423.2977 | 1256810.2806
49 | 2666423.2977 | 1256810.2806 | 2666425.3113 | 1256811.6802
50 | 2666486.7435 | 1256855.1426 | 2666500.2559 | 1256864.7085
51 | 2666538.8653 | 1256819.3319 | 2666527.3888 | 1256812.1063
52 | 2666518.9089 | 1256806.7673 | 2666527.3888 | 1256812.1063
53 | 2666518.9089 | 1256806.7673 | 2666505.5392 | 1256798.3498
54 | 2666501.9747 | 1256796.1055 | 2666505.5392 | 1256798.3498
55 | 2666501.9747 | 1256796.1055 | 2666492.4997 | 1256790.1401 | 2666485.9997 | 1256785.9915
56 | 2666483.8546 | 1256784.6224 | 2666485.9997 | 1256785.9915
57 | 2666483.8546 | 1256784.6224 | 2666469.246 | 1256775.2984
58 | 2666467.9244 | 1256774.4549 | 2666469.246 | 1256775.2984
59 | 2666467.9244 | 1256774.4549 | 2666457.7954 | 1256767.99 | 2666451.4006 | 1256764.2748
60 | 2666434.1827 | 1256754.2717 | 2666451.4006 | 1256764.2748
61 | 2666423.17 | 1256747.2541 | 2666424.5596 | 1256748.6809 | 2666434.1827 | 1256754.2717
62 | 2666416.1948 | 1256740.092 | 2666423.17 | 1256747.2541
63 | 2666454.0413 | 1256831.9917 | 2666438.418 | 1256820.9315
64 | 2666454.0413 | 1256831.9917 | 2666454.1442 | 1256832.0645
65 | 2666454.1442 | 1256832.0645 | 2666474.9702 | 1256846.8079
66 | 2666474.9702 | 1256846.8079 | 2666475.8477 | 1256847.4291
67 | 2666486.7435 | 1256855.1426 | 2666475.8477 | 1256847.4291

## bus_geodata
| x | y | coords
0 | 2666539.0217 | 1256633.8503
1 | 2666447.8081 | 1256651.3709
2 | 2666523.5408 | 1256733.6254
3 | 2666364.6803 | 1256619.7714
4 | 2666524.5478 | 1256739.9746
5 | 2666485.8076 | 1256733.2305
6 | 2666359.3018 | 1256555.3421
7 | 2666391.5641 | 1256552.0279
8 | 2666457.072 | 1256586.2984
9 | 2666643.102 | 1256769.5068
10 | 2666590.9816 | 1256745.0207
11 | 2666638.8241 | 1256773.7061
12 | 2666526.7804 | 1256742.8496
13 | 2666450.961 | 1256734.6753
14 | 2666625.3403 | 1256786.8408
15 | 2666604.482 | 1256807.1591
16 | 2666588.6764 | 1256822.5554
17 | 2666592.1492 | 1256826.8976
18 | 2666569.1485 | 1256841.016
19 | 2666573.6216 | 1256844.9247
20 | 2666559.4801 | 1256832.3109
21 | 2666604.3282 | 1256814.5926
22 | 2666563.8596 | 1256790.5979
23 | 2666549.1123 | 1256771.6072
24 | 2666533.1699 | 1256876.8648
25 | 2666526.6309 | 1256883.3802
26 | 2666569.0946 | 1256849.3323
27 | 2666548.2077 | 1256825.2138
28 | 2666544.5774 | 1256765.7675
29 | 2666537.415 | 1256756.5442
30 | 2666535.4917 | 1256881.5497
31 | 2666523.6153 | 1256990.6467
32 | 2666521.1771 | 1256994.2219
33 | 2666479.7899 | 1256961.1489
34 | 2666507.5518 | 1256937.7611
35 | 2666490.9544 | 1256920.2953
36 | 2666538.626 | 1256955.406
37 | 2666476.2499 | 1256916.0808
38 | 2666512.7339 | 1256897.7597
39 | 2666529.9633 | 1256886.7979
40 | 2666505.3542 | 1257013.7783
41 | 2666431.0473 | 1256885.865
42 | 2666451.3118 | 1256899.7538
43 | 2666415.9189 | 1256828.7775
44 | 2666427.4405 | 1256813.1601
45 | 2666500.94 | 1256865.1928
46 | 2666403.0783 | 1256796.227
47 | 2666423.2977 | 1256810.2806
48 | 2666500.2559 | 1256864.7085
49 | 2666538.8653 | 1256819.3319
50 | 2666527.3888 | 1256812.1063
51 | 2666518.9089 | 1256806.7673
52 | 2666505.5392 | 1256798.3498
53 | 2666501.9747 | 1256796.1055
54 | 2666485.9997 | 1256785.9915
55 | 2666483.8546 | 1256784.6224
56 | 2666469.246 | 1256775.2984
57 | 2666467.9244 | 1256774.4549
58 | 2666451.4006 | 1256764.2748
59 | 2666434.1827 | 1256754.2717
60 | 2666416.1948 | 1256740.092
61 | 2666423.17 | 1256747.2541
62 | 2666425.3113 | 1256811.6802
63 | 2666438.418 | 1256820.9315
64 | 2666454.0413 | 1256831.9917
65 | 2666454.1442 | 1256832.0645
66 | 2666474.9702 | 1256846.8079
67 | 2666475.8477 | 1256847.4291
68 | 2666486.7435 | 1256855.1426
69 | 2666526.6309 | 1256883.3802

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1