## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4048-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4048-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4048-14_0_3_node_78 | 0.4 | n |  | TRUE
3 | bus_LV_4048-14_0_3_node_79 | 0.4 | n |  | TRUE
4 | bus_LV_4048-14_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4048-14_0_3_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_4048-14_0_3_node_108 | 0.4 | n |  | TRUE
7 | bus_LV_4048-14_0_3_node_101 | 0.4 | n |  | TRUE
8 | bus_LV_4048-14_0_3_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_4048-14_0_3_node_109 | 0.4 | n |  | TRUE
10 | bus_LV_4048-14_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_4048-14_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4048-14_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4048-14_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4048-14_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4048-14_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4048-14_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_4048-14_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_4048-14_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_4048-14_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_4048-14_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4048-14_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_4048-14_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4048-14_0_3_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_4048-14_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_4048-14_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_4048-14_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_4048-14_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_4048-14_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4048-14_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4048-14_0_3_node_72 | 0.4 | n |  | TRUE
31 | bus_LV_4048-14_0_3_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_4048-14_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_4048-14_0_3_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_4048-14_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4048-14_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4048-14_0_3_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_4048-14_0_3_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_4048-14_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_4048-14_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_4048-14_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_4048-14_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_4048-14_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4048-14_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_4048-14_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_4048-14_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_4048-14_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_4048-14_0_3_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_4048-14_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4048-14_0_3_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_4048-14_0_3_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_4048-14_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_4048-14_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_4048-14_0_3_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_4048-14_0_3_node_97 | 0.4 | n |  | TRUE
55 | bus_LV_4048-14_0_3_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_4048-14_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_4048-14_0_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_4048-14_0_3_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_4048-14_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_4048-14_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4048-14_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_4048-14_0_3_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_4048-14_0_3_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_4048-14_0_3_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_4048-14_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_4048-14_0_3_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_4048-14_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_4048-14_0_3_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_4048-14_0_3_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_4048-14_0_3_node_102 | 0.4 | n |  | TRUE
71 | bus_LV_4048-14_0_3_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_4048-14_0_3_node_95 | 0.4 | n |  | TRUE
73 | bus_LV_4048-14_0_3_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_4048-14_0_3_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_4048-14_0_3_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_4048-14_0_3_node_60 | 0.4 | n |  | TRUE
77 | bus_LV_4048-14_0_3_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_4048-14_0_3_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_4048-14_0_3_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_4048-14_0_3_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_4048-14_0_3_node_86 | 0.4 | n |  | TRUE
82 | bus_LV_4048-14_0_3_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_4048-14_0_3_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_4048-14_0_3_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_4048-14_0_3_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_4048-14_0_3_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_4048-14_0_3_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_4048-14_0_3_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_4048-14_0_3_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_4048-14_0_3_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_4048-14_0_3_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_4048-14_0_3_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_4048-14_0_3_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_4048-14_0_3_node_76 | 0.4 | n |  | TRUE
95 | bus_LV_4048-14_0_3_node_77 | 0.4 | n |  | TRUE
96 | bus_LV_4048-14_0_3_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_4048-14_0_3_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_4048-14_0_3_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_4048-14_0_3_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_4048-14_0_3_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_4048-14_0_3_node_99 | 0.4 | n |  | TRUE
102 | bus_LV_4048-14_0_3_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_4048-14_0_3_node_105 | 0.4 | n |  | TRUE
104 | bus_LV_4048-14_0_3_node_106 | 0.4 | n |  | TRUE
105 | bus_LV_4048-14_0_3_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_4048-14_0_3_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_4048-14_0_3_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_4048-14_0_3_node_110 | 0.4 | n |  | TRUE
109 | bus_MV_519_0_node_97 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4048-14_0_3_load_0 | 0 | 0.0018478 | 0.00046309 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4048-14_0_3_load_1 | 1 | 0.0069622 | 0.0017449 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4048-14_0_3_load_78 | 2 | 0.0034467 | 0.00086384 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4048-14_0_3_load_79 | 3 | 0.0019831 | 0.00049701 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4048-14_0_3_load_108 | 6 | 0.0031352 | 0.00078575 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4048-14_0_3_load_101 | 7 | 0.0053046 | 0.0013295 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4048-14_0_3_load_52 | 8 | 0.0035057 | 0.00087862 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4048-14_0_3_load_109 | 9 | 0.0076725 | 0.0019229 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4048-14_0_3_load_4 | 10 | 0.0026287 | 0.00065881 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4048-14_0_3_load_5 | 11 | 0.0023551 | 0.00059025 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4048-14_0_3_load_7 | 13 | 0.0010276 | 0.00025754 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4048-14_0_3_load_8 | 14 | 0.0018492 | 0.00046345 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4048-14_0_3_load_9 | 15 | 0.0023217 | 0.00058186 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4048-14_0_3_load_19 | 16 | 0.004215 | 0.0010564 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4048-14_0_3_load_16 | 17 | 0.0036562 | 0.00091632 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4048-14_0_3_load_17 | 19 | 0.0028477 | 0.00071371 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4048-14_0_3_load_14 | 20 | 0.0016996 | 0.00042596 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4048-14_0_3_load_10 | 21 | 0.0030608 | 0.00076711 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4048-14_0_3_load_12 | 23 | 0.0032441 | 0.00081304 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4048-14_0_3_load_13 | 24 | 0.0025462 | 0.00063813 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4048-14_0_3_load_18 | 25 | 0.0017592 | 0.00044089 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4048-14_0_3_load_28 | 26 | 0.0014458 | 0.00036236 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4048-14_0_3_load_20 | 28 | 0.0016989 | 0.00042578 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4048-14_0_3_load_21 | 29 | 0.0017775 | 0.00044549 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4048-14_0_3_load_72 | 30 | 0.0052261 | 0.0013098 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4048-14_0_3_load_22 | 32 | 0.0014048 | 0.00035207 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4048-14_0_3_load_85 | 33 | 0.005219 | 0.001308 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4048-14_0_3_load_23 | 34 | 0.0024978 | 0.000626 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4048-14_0_3_load_27 | 35 | 0.0016209 | 0.00040623 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4048-14_0_3_load_69 | 36 | 0.0078027 | 0.0019555 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4048-14_0_3_load_84 | 37 | 0.0053835 | 0.0013492 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4048-14_0_3_load_26 | 38 | 0.0086556 | 0.0021693 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4048-14_0_3_load_24 | 39 | 0.0015269 | 0.00038269 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4048-14_0_3_load_25 | 40 | 0.0024634 | 0.00061739 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4048-14_0_3_load_33 | 41 | 0.0015097 | 0.00037837 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4048-14_0_3_load_39 | 42 | 0.001393 | 0.00034911 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4048-14_0_3_load_37 | 43 | 0.0016379 | 0.0004105 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4048-14_0_3_load_30 | 45 | 0.0021726 | 0.00054451 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4048-14_0_3_load_38 | 46 | 0.0018688 | 0.00046837 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4048-14_0_3_load_96 | 47 | 0.0040284 | 0.0010096 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4048-14_0_3_load_34 | 49 | 0.0012526 | 0.00031394 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4048-14_0_3_load_35 | 50 | 0.0014614 | 0.00036626 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4048-14_0_3_load_36 | 51 | 0.0019607 | 0.00049141 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4048-14_0_3_load_40 | 52 | 0.0014677 | 0.00036784 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4048-14_0_3_load_94 | 53 | 0.002268 | 0.00056841 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4048-14_0_3_load_97 | 54 | 0.0021723 | 0.00054444 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4048-14_0_3_load_98 | 55 | 0.0029175 | 0.00073119 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4048-14_0_3_load_42 | 56 | 0.0053597 | 0.0013433 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4048-14_0_3_load_43 | 57 | 0.0017231 | 0.00043186 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4048-14_0_3_load_44 | 58 | 0.0030087 | 0.00075405 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4048-14_0_3_load_46 | 60 | 0.0050021 | 0.0012537 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4048-14_0_3_load_47 | 61 | 0.0015839 | 0.00039698 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4048-14_0_3_load_48 | 62 | 0.0052053 | 0.0013046 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4048-14_0_3_load_80 | 63 | 0.0024195 | 0.00060639 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4048-14_0_3_load_49 | 64 | 0.0025332 | 0.00063487 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4048-14_0_3_load_54 | 65 | 0.0014679 | 0.00036788 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4048-14_0_3_load_81 | 66 | 0.003399 | 0.00085186 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4048-14_0_3_load_50 | 67 | 0.0022055 | 0.00055275 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4048-14_0_3_load_55 | 68 | 0.0075207 | 0.0018849 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4048-14_0_3_load_51 | 69 | 0.0017185 | 0.00043069 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4048-14_0_3_load_102 | 70 | 0.00088164 | 0.00022096 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4048-14_0_3_load_56 | 71 | 0.0022079 | 0.00055334 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4048-14_0_3_load_95 | 72 | 0.0075189 | 0.0018844 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4048-14_0_3_load_57 | 73 | 0.0028935 | 0.00072518 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4048-14_0_3_load_58 | 74 | 0.0027022 | 0.00067723 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4048-14_0_3_load_59 | 75 | 0.0016263 | 0.00040758 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4048-14_0_3_load_60 | 76 | 0.0034347 | 0.00086081 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4048-14_0_3_load_61 | 77 | 0.0025845 | 0.00064773 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4048-14_0_3_load_93 | 78 | 0.002263 | 0.00056716 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4048-14_0_3_load_88 | 79 | 0.0029257 | 0.00073326 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4048-14_0_3_load_86 | 81 | 0.0027005 | 0.0006768 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4048-14_0_3_load_62 | 82 | 0.005511 | 0.0013812 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4048-14_0_3_load_63 | 83 | 0.0029255 | 0.00073319 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4048-14_0_3_load_64 | 84 | 0.0040908 | 0.0010252 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4048-14_0_3_load_66 | 85 | 0.0044313 | 0.0011106 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4048-14_0_3_load_67 | 86 | 0.0078023 | 0.0019554 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4048-14_0_3_load_70 | 88 | 0.015512 | 0.0038877 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4048-14_0_3_load_82 | 89 | 0.010044 | 0.0025173 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4048-14_0_3_load_83 | 90 | 0.0060584 | 0.0015184 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4048-14_0_3_load_73 | 91 | 0.0021677 | 0.00054327 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4048-14_0_3_load_74 | 92 | 0.0030013 | 0.00075219 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4048-14_0_3_load_75 | 93 | 0.002505 | 0.0006278 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4048-14_0_3_load_76 | 94 | 0.0016474 | 0.00041289 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4048-14_0_3_load_77 | 95 | 0.0067005 | 0.0016793 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4048-14_0_3_load_92 | 96 | 0.0017172 | 0.00043037 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4048-14_0_3_load_91 | 97 | 0.0025845 | 0.00064773 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4048-14_0_3_load_87 | 98 | 0.010218 | 0.0025609 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4048-14_0_3_load_89 | 99 | 0.0028945 | 0.00072542 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4048-14_0_3_load_90 | 100 | 0.0016263 | 0.00040758 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4048-14_0_3_load_99 | 101 | 0.0036112 | 0.00090505 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4048-14_0_3_load_100 | 102 | 0.0028283 | 0.00070883 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4048-14_0_3_load_105 | 103 | 0.0037192 | 0.00093212 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4048-14_0_3_load_106 | 104 | 0.00096906 | 0.00024287 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4048-14_0_3_load_104 | 105 | 0.0053031 | 0.0013291 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4048-14_0_3_load_103 | 106 | 0.0020518 | 0.00051423 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4048-14_0_3_load_107 | 107 | 0.0026673 | 0.0006685 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4048-14_0_3_load_110 | 108 | 0.0057445 | 0.0014397 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4048-14_0_3_line_0 |  | 0 | 1 | 0.017862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4048-14_0_3_line_1 |  | 1 | 2 | 0.11019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4048-14_0_3_line_2 |  | 2 | 3 | 0.014721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4048-14_0_3_line_3 |  | 3 | 94 | 0.0035137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4048-14_0_3_line_4 |  | 4 | 5 | 0.023756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4048-14_0_3_line_5 |  | 4 | 6 | 0.017699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4048-14_0_3_line_6 |  | 5 | 7 | 0.024305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4048-14_0_3_line_7 |  | 5 | 8 | 0.042636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4048-14_0_3_line_8 |  | 6 | 9 | 0.0091218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4048-14_0_3_line_9 |  | 7 | 70 | 0.019198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4048-14_0_3_line_10 |  | 8 | 69 | 0.0046737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4048-14_0_3_line_11 |  | 9 | 108 | 0.023043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4048-14_0_3_line_12 |  | 10 | 11 | 0.027457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4048-14_0_3_line_13 |  | 10 | 12 | 0.020077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4048-14_0_3_line_14 |  | 11 | 13 | 0.014745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4048-14_0_3_line_15 |  | 12 | 14 | 0.020571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4048-14_0_3_line_16 |  | 12 | 15 | 0.0023169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4048-14_0_3_line_17 |  | 13 | 16 | 0.026934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4048-14_0_3_line_18 |  | 14 | 17 | 0.020179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4048-14_0_3_line_19 |  | 15 | 18 | 0.022222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4048-14_0_3_line_20 |  | 17 | 19 | 0.026793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4048-14_0_3_line_21 |  | 18 | 20 | 0.011765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4048-14_0_3_line_22 |  | 19 | 25 | 0.0075687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4048-14_0_3_line_23 |  | 20 | 24 | 0.011592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4048-14_0_3_line_24 |  | 21 | 22 | 0.013289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4048-14_0_3_line_25 |  | 21 | 23 | 0.035735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4048-14_0_3_line_26 |  | 22 | 24 | 0.013032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4048-14_0_3_line_27 |  | 25 | 26 | 0.006547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4048-14_0_3_line_28 |  | 26 | 27 | 0.012105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4048-14_0_3_line_29 |  | 27 | 48 | 0.031415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4048-14_0_3_line_30 |  | 27 | 45 | 0.015509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4048-14_0_3_line_31 |  | 28 | 29 | 0.0083159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4048-14_0_3_line_32 |  | 28 | 30 | 0.013945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4048-14_0_3_line_33 |  | 29 | 31 | 0.012031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4048-14_0_3_line_34 |  | 30 | 33 | 0.023182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4048-14_0_3_line_35 |  | 31 | 36 | 0.028689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4048-14_0_3_line_36 |  | 31 | 34 | 0.019178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4048-14_0_3_line_37 |  | 32 | 33 | 0.011182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4048-14_0_3_line_38 |  | 33 | 37 | 0.021976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4048-14_0_3_line_39 |  | 34 | 35 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4048-14_0_3_line_40 |  | 35 | 38 | 0.034916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4048-14_0_3_line_41 |  | 36 | 87 | 0.014091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4048-14_0_3_line_42 |  | 37 | 56 | 0.023033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4048-14_0_3_line_43 |  | 38 | 39 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4048-14_0_3_line_44 |  | 39 | 40 | 0.0046714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4048-14_0_3_line_45 |  | 40 | 41 | 0.054976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4048-14_0_3_line_46 |  | 41 | 44 | 0.0080868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4048-14_0_3_line_47 |  | 42 | 43 | 0.026098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4048-14_0_3_line_48 |  | 43 | 46 | 0.0036398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4048-14_0_3_line_49 |  | 43 | 47 | 0.03686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4048-14_0_3_line_50 |  | 44 | 45 | 0.012053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4048-14_0_3_line_51 |  | 46 | 52 | 0.030981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4048-14_0_3_line_52 |  | 47 | 53 | 0.01171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4048-14_0_3_line_53 |  | 48 | 49 | 0.027118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4048-14_0_3_line_54 |  | 49 | 50 | 0.0059849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4048-14_0_3_line_55 |  | 50 | 51 | 0.0092512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4048-14_0_3_line_56 |  | 52 | 54 | 0.026357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4048-14_0_3_line_57 |  | 53 | 72 | 0.013369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4048-14_0_3_line_58 |  | 54 | 55 | 0.0027315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4048-14_0_3_line_59 |  | 55 | 101 | 0.025721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4048-14_0_3_line_60 |  | 57 | 58 | 0.019159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4048-14_0_3_line_61 |  | 57 | 59 | 0.0016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4048-14_0_3_line_62 |  | 58 | 60 | 0.018821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4048-14_0_3_line_63 |  | 59 | 61 | 0.043791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4048-14_0_3_line_64 |  | 59 | 62 | 0.018814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4048-14_0_3_line_65 |  | 60 | 63 | 0.006783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4048-14_0_3_line_66 |  | 61 | 64 | 0.0013495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4048-14_0_3_line_67 |  | 62 | 65 | 0.0073065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4048-14_0_3_line_68 |  | 63 | 66 | 0.012541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4048-14_0_3_line_69 |  | 64 | 67 | 0.00012669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4048-14_0_3_line_70 |  | 65 | 68 | 0.023323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4048-14_0_3_line_71 |  | 66 | 80 | 0.0049415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4048-14_0_3_line_72 |  | 67 | 69 | 0.019811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4048-14_0_3_line_73 |  | 68 | 71 | 0.011512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4048-14_0_3_line_74 |  | 70 | 106 | 0.0087832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4048-14_0_3_line_75 |  | 71 | 72 | 0.013545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4048-14_0_3_line_76 |  | 73 | 74 | 0.008151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4048-14_0_3_line_77 |  | 73 | 75 | 0.0052691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4048-14_0_3_line_78 |  | 74 | 76 | 0.0085275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4048-14_0_3_line_79 |  | 75 | 77 | 0.0060363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4048-14_0_3_line_80 |  | 76 | 78 | 0.01098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4048-14_0_3_line_81 |  | 77 | 79 | 0.00047653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4048-14_0_3_line_82 |  | 78 | 80 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4048-14_0_3_line_83 |  | 79 | 81 | 0.012198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4048-14_0_3_line_84 |  | 80 | 83 | 0.023612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_4048-14_0_3_line_85 |  | 81 | 98 | 0.0037577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4048-14_0_3_line_86 |  | 82 | 83 | 0.017442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_4048-14_0_3_line_87 |  | 82 | 84 | 0.015414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_4048-14_0_3_line_88 |  | 84 | 85 | 0.00025566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
89 | LV_4048-14_0_3_line_89 |  | 85 | 86 | 0.016233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_4048-14_0_3_line_90 |  | 86 | 87 | 0.026818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4048-14_0_3_line_91 |  | 87 | 88 | 0.029337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4048-14_0_3_line_92 |  | 88 | 89 | 0.047671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4048-14_0_3_line_93 |  | 89 | 90 | 0.039659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4048-14_0_3_line_94 |  | 91 | 92 | 0.011135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4048-14_0_3_line_95 |  | 91 | 93 | 0.0073164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4048-14_0_3_line_96 |  | 92 | 94 | 0.0056639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4048-14_0_3_line_97 |  | 93 | 95 | 0.013158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4048-14_0_3_line_98 |  | 95 | 96 | 0.0022213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4048-14_0_3_line_99 |  | 96 | 97 | 0.017547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4048-14_0_3_line_100 |  | 97 | 100 | 0.0060364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4048-14_0_3_line_101 |  | 98 | 99 | 0.0025861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4048-14_0_3_line_102 |  | 99 | 100 | 0.005271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4048-14_0_3_line_103 |  | 101 | 102 | 0.0020315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4048-14_0_3_line_104 |  | 103 | 104 | 0.035562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4048-14_0_3_line_105 |  | 103 | 105 | 0.0096969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4048-14_0_3_line_106 |  | 104 | 107 | 0.022638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4048-14_0_3_line_107 |  | 105 | 106 | 0.0041872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4048-14_0_3_trafo_67 | 0.63 MVA 20/0.4 kV | 109 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2669639.707 | 1254000.6379 | 2669623.3302 | 1254007.7681
1 | 2669629.7486 | 1254117.7741 | 2669623.3302 | 1254007.7681
2 | 2669629.7486 | 1254117.7741 | 2669615.8647 | 1254122.6674
3 | 2669615.8647 | 1254122.6674 | 2669612.5508 | 1254123.8353
4 | 2669315.3316 | 1254224.4127 | 2669292.2375 | 1254230.2579
5 | 2669292.2375 | 1254230.2579 | 2669293.6746 | 1254240.2597 | 2669294.5563 | 1254247.8028
6 | 2669315.3316 | 1254224.4127 | 2669318.8576 | 1254248.4608
7 | 2669315.3316 | 1254224.4127 | 2669355.7881 | 1254210.9538
8 | 2669294.5563 | 1254247.8028 | 2669295.6154 | 1254256.8628
9 | 2669318.8576 | 1254248.4608 | 2669321.6427 | 1254267.4561
10 | 2669360.2228 | 1254209.4785 | 2669355.7881 | 1254210.9538
11 | 2669296.7953 | 1254279.8027 | 2669297.22 | 1254270.5899 | 2669295.6154 | 1254256.8628
12 | 2669581.1511 | 1254396.4142 | 2669573.2425 | 1254370.1208
13 | 2669585.7841 | 1254415.8554 | 2669585.3651 | 1254410.4243 | 2669581.1511 | 1254396.4142
14 | 2669578.3236 | 1254360.7358 | 2669571.1779 | 1254363.2567 | 2669573.2425 | 1254370.1208
15 | 2669585.7841 | 1254415.8554 | 2669565.3181 | 1254417.9324
16 | 2669585.7841 | 1254415.8554 | 2669588.1002 | 1254415.7945
17 | 2669603.7232 | 1254351.7751 | 2669578.3236 | 1254360.7358
18 | 2669565.3181 | 1254417.9324 | 2669564.6727 | 1254417.9979 | 2669545.2452 | 1254419.9999
19 | 2669610.3115 | 1254415.1207 | 2669601.5639 | 1254415.4404 | 2669588.1002 | 1254415.7945
20 | 2669545.2452 | 1254419.9999 | 2669534.5499 | 1254421.1021 | 2669518.5459 | 1254422.1898
21 | 2669610.3115 | 1254415.1207 | 2669612.1848 | 1254403.5054
22 | 2669510.9947 | 1254422.703 | 2669518.5459 | 1254422.1898
23 | 2669612.1848 | 1254403.5054 | 2669614.0305 | 1254392.0615
24 | 2669616.1054 | 1254379.1961 | 2669615.4516 | 1254365.9235
25 | 2669613.6936 | 1254330.2321 | 2669615.4516 | 1254365.9235
26 | 2669616.1054 | 1254379.1961 | 2669614.0305 | 1254392.0615
27 | 2669510.9947 | 1254422.703 | 2669505.5343 | 1254423.0741 | 2669504.4679 | 1254423.2021
28 | 2669492.4492 | 1254424.644 | 2669504.4679 | 1254423.2021
29 | 2669492.4492 | 1254424.644 | 2669493.0379 | 1254432.3343 | 2669495.5405 | 1254438.9462 | 2669504.3522 | 1254453.071
30 | 2669492.4492 | 1254424.644 | 2669480.0054 | 1254419.7945 | 2669478.0945 | 1254418.8012
31 | 2669554.3703 | 1254303.659 | 2669562.0363 | 1254300.4361
32 | 2669567.2442 | 1254287.4996 | 2669562.0363 | 1254300.4361
33 | 2669544.8272 | 1254296.3321 | 2669554.3703 | 1254303.659
34 | 2669588.5637 | 1254278.3955 | 2669567.2442 | 1254287.4996
35 | 2669544.8272 | 1254296.3321 | 2669536.7602 | 1254278.5244 | 2669533.3369 | 1254270.0501
36 | 2669544.8272 | 1254296.3321 | 2669534.0558 | 1254312.1994
37 | 2669588.5637 | 1254278.3955 | 2669587.9108 | 1254289.5581
38 | 2669608.774 | 1254269.7651 | 2669588.5637 | 1254278.3955
39 | 2669518.5513 | 1254318.7177 | 2669534.0558 | 1254312.1994
40 | 2669518.5513 | 1254318.7177 | 2669505.7218 | 1254351.1908
41 | 2669531.0106 | 1254256.7412 | 2669529.9274 | 1254261.6098 | 2669533.3369 | 1254270.0501
42 | 2669608.774 | 1254269.7651 | 2669629.9563 | 1254260.7196
43 | 2669505.7218 | 1254351.1908 | 2669487.6018 | 1254358.5008
44 | 2669487.6018 | 1254358.5008 | 2669483.2696 | 1254360.2485
45 | 2669459.9728 | 1254410.044 | 2669483.2696 | 1254360.2485
46 | 2669467.4004 | 1254413.242 | 2669459.9728 | 1254410.044
47 | 2669465.4734 | 1254314.0447 | 2669481.8769 | 1254313.0389 | 2669491.2171 | 1254310.5601
48 | 2669465.4734 | 1254314.0447 | 2669461.8404 | 1254314.2674
49 | 2669467.6361 | 1254277.248 | 2669465.4734 | 1254314.0447
50 | 2669467.4004 | 1254413.242 | 2669478.0945 | 1254418.8012
51 | 2669461.8404 | 1254314.2674 | 2669430.9176 | 1254316.1633
52 | 2669462.2092 | 1254266.8716 | 2669467.6361 | 1254277.248
53 | 2669504.3522 | 1254453.071 | 2669509.7193 | 1254450.2319 | 2669530.7504 | 1254451.0206
54 | 2669530.7504 | 1254451.0206 | 2669536.7311 | 1254451.245
55 | 2669545.9758 | 1254451.5917 | 2669536.7311 | 1254451.245
56 | 2669430.9176 | 1254316.1633 | 2669411.2411 | 1254317.3697 | 2669404.6192 | 1254317.9094
57 | 2669462.2092 | 1254266.8716 | 2669456.0136 | 1254255.0254
58 | 2669404.6192 | 1254317.9094 | 2669401.8967 | 1254318.1313
59 | 2669376.2604 | 1254320.2208 | 2669401.8967 | 1254318.1313
60 | 2669423.5421 | 1254188.436 | 2669441.7974 | 1254182.6218
61 | 2669421.9738 | 1254188.9355 | 2669423.5421 | 1254188.436
62 | 2669459.7307 | 1254176.9101 | 2669441.7974 | 1254182.6218
63 | 2669421.9738 | 1254188.9355 | 2669380.4218 | 1254202.7588
64 | 2669421.9738 | 1254188.9355 | 2669424.7978 | 1254197.7417 | 2669429.6055 | 1254206.0124
65 | 2669459.7307 | 1254176.9101 | 2669466.1938 | 1254174.8517
66 | 2669379.1413 | 1254203.1848 | 2669380.4218 | 1254202.7588
67 | 2669433.2774 | 1254212.3292 | 2669429.6055 | 1254206.0124
68 | 2669466.1938 | 1254174.8517 | 2669478.1433 | 1254171.0458
69 | 2669379.0211 | 1254203.2248 | 2669379.1413 | 1254203.1848
70 | 2669433.2774 | 1254212.3292 | 2669437.3255 | 1254219.293 | 2669444.4012 | 1254232.8222
71 | 2669482.8518 | 1254169.5462 | 2669478.1433 | 1254171.0458
72 | 2669360.2228 | 1254209.4785 | 2669379.0211 | 1254203.2248
73 | 2669444.4012 | 1254232.8222 | 2669449.7363 | 1254243.0229
74 | 2669321.6427 | 1254267.4561 | 2669322.9169 | 1254276.1464
75 | 2669449.7363 | 1254243.0229 | 2669456.0136 | 1254255.0254
76 | 2669519.4893 | 1254156.6337 | 2669511.8018 | 1254159.3431
77 | 2669519.4893 | 1254156.6337 | 2669524.4588 | 1254154.8823
78 | 2669511.8018 | 1254159.3431 | 2669503.7592 | 1254162.1776
79 | 2669530.1519 | 1254152.8758 | 2669524.4588 | 1254154.8823
80 | 2669493.4034 | 1254165.8274 | 2669503.7592 | 1254162.1776
81 | 2669530.6014 | 1254152.7174 | 2669530.1519 | 1254152.8758
82 | 2669482.8518 | 1254169.5462 | 2669493.4034 | 1254165.8274
83 | 2669542.1056 | 1254148.6629 | 2669530.6014 | 1254152.7174
84 | 2669482.8518 | 1254169.5462 | 2669486.9741 | 1254180.8583 | 2669492.7825 | 1254190.8672
85 | 2669542.1056 | 1254148.6629 | 2669545.6496 | 1254147.4138
86 | 2669501.5374 | 1254205.9534 | 2669492.7825 | 1254190.8672
87 | 2669501.5374 | 1254205.9534 | 2669509.2738 | 1254219.2847
88 | 2669509.4022 | 1254219.5059 | 2669509.2738 | 1254219.2847
89 | 2669517.5501 | 1254233.5462 | 2669509.4022 | 1254219.5059
90 | 2669531.0106 | 1254256.7412 | 2669517.5501 | 1254233.5462
91 | 2669531.0106 | 1254256.7412 | 2669539.3103 | 1254262.4538 | 2669549.0159 | 1254260.8777 | 2669557.5342 | 1254256.8357
92 | 2669599.8821 | 1254235.0726 | 2669588.118 | 1254242.3234 | 2669557.5342 | 1254256.8357
93 | 2669599.8821 | 1254235.0726 | 2669616.9734 | 1254224.5383 | 2669631.918 | 1254211.8845
94 | 2669596.7072 | 1254129.4192 | 2669607.209 | 1254125.718
95 | 2669596.7072 | 1254129.4192 | 2669589.8068 | 1254131.8512
96 | 2669612.5508 | 1254123.8353 | 2669607.209 | 1254125.718
97 | 2669577.3972 | 1254136.2248 | 2669589.8068 | 1254131.8512
98 | 2669575.3022 | 1254136.9631 | 2669577.3972 | 1254136.2248
99 | 2669575.3022 | 1254136.9631 | 2669558.7531 | 1254142.7957
100 | 2669553.0599 | 1254144.8022 | 2669558.7531 | 1254142.7957
101 | 2669548.0886 | 1254146.5542 | 2669545.6496 | 1254147.4138
102 | 2669553.0599 | 1254144.8022 | 2669548.0886 | 1254146.5542
103 | 2669376.2604 | 1254320.2208 | 2669374.2356 | 1254320.3858
104 | 2669324.9311 | 1254289.8836 | 2669310.3146 | 1254322.3027
105 | 2669324.9311 | 1254289.8836 | 2669323.5243 | 1254280.2893
106 | 2669287.8059 | 1254323.7559 | 2669294.463 | 1254322.4397 | 2669310.3146 | 1254322.3027
107 | 2669323.5243 | 1254280.2893 | 2669322.9169 | 1254276.1464

## bus_geodata
| x | y | coords
0 | 2669639.707 | 1254000.6379
1 | 2669623.3302 | 1254007.7681
2 | 2669629.7486 | 1254117.7741
3 | 2669615.8647 | 1254122.6674
4 | 2669292.2375 | 1254230.2579
5 | 2669315.3316 | 1254224.4127
6 | 2669294.5563 | 1254247.8028
7 | 2669318.8576 | 1254248.4608
8 | 2669355.7881 | 1254210.9538
9 | 2669295.6154 | 1254256.8628
10 | 2669581.1511 | 1254396.4142
11 | 2669573.2425 | 1254370.1208
12 | 2669585.7841 | 1254415.8554
13 | 2669578.3236 | 1254360.7358
14 | 2669565.3181 | 1254417.9324
15 | 2669588.1002 | 1254415.7945
16 | 2669603.7232 | 1254351.7751
17 | 2669545.2452 | 1254419.9999
18 | 2669610.3115 | 1254415.1207
19 | 2669518.5459 | 1254422.1898
20 | 2669612.1848 | 1254403.5054
21 | 2669615.4516 | 1254365.9235
22 | 2669616.1054 | 1254379.1961
23 | 2669613.6936 | 1254330.2321
24 | 2669614.0305 | 1254392.0615
25 | 2669510.9947 | 1254422.703
26 | 2669504.4679 | 1254423.2021
27 | 2669492.4492 | 1254424.644
28 | 2669562.0363 | 1254300.4361
29 | 2669554.3703 | 1254303.659
30 | 2669567.2442 | 1254287.4996
31 | 2669544.8272 | 1254296.3321
32 | 2669587.9108 | 1254289.5581
33 | 2669588.5637 | 1254278.3955
34 | 2669534.0558 | 1254312.1994
35 | 2669518.5513 | 1254318.7177
36 | 2669533.3369 | 1254270.0501
37 | 2669608.774 | 1254269.765
38 | 2669505.7218 | 1254351.1908
39 | 2669487.6018 | 1254358.5008
40 | 2669483.2696 | 1254360.2485
41 | 2669459.9728 | 1254410.044
42 | 2669491.2172 | 1254310.5601
43 | 2669465.4734 | 1254314.0447
44 | 2669467.4004 | 1254413.242
45 | 2669478.0945 | 1254418.8012
46 | 2669461.8404 | 1254314.2674
47 | 2669467.6361 | 1254277.248
48 | 2669504.3522 | 1254453.071
49 | 2669530.7504 | 1254451.0206
50 | 2669536.7311 | 1254451.245
51 | 2669545.9758 | 1254451.5917
52 | 2669430.9176 | 1254316.1633
53 | 2669462.2092 | 1254266.8716
54 | 2669404.6192 | 1254317.9094
55 | 2669401.8967 | 1254318.1313
56 | 2669629.9563 | 1254260.7196
57 | 2669423.5421 | 1254188.436
58 | 2669441.7974 | 1254182.6218
59 | 2669421.9738 | 1254188.9355
60 | 2669459.7307 | 1254176.9101
61 | 2669380.4218 | 1254202.7588
62 | 2669429.6055 | 1254206.0124
63 | 2669466.1938 | 1254174.8517
64 | 2669379.1413 | 1254203.1848
65 | 2669433.2774 | 1254212.3292
66 | 2669478.1433 | 1254171.0458
67 | 2669379.0211 | 1254203.2248
68 | 2669444.4012 | 1254232.8222
69 | 2669360.2228 | 1254209.4785
70 | 2669321.6427 | 1254267.4561
71 | 2669449.7363 | 1254243.0229
72 | 2669456.0136 | 1254255.0254
73 | 2669519.4893 | 1254156.6337
74 | 2669511.8018 | 1254159.3431
75 | 2669524.4588 | 1254154.8823
76 | 2669503.7592 | 1254162.1776
77 | 2669530.1519 | 1254152.8758
78 | 2669493.4034 | 1254165.8274
79 | 2669530.6014 | 1254152.7174
80 | 2669482.8518 | 1254169.5462
81 | 2669542.1056 | 1254148.6629
82 | 2669501.5374 | 1254205.9534
83 | 2669492.7825 | 1254190.8672
84 | 2669509.2738 | 1254219.2847
85 | 2669509.4022 | 1254219.5059
86 | 2669517.5501 | 1254233.5462
87 | 2669531.0106 | 1254256.7412
88 | 2669557.5342 | 1254256.8357
89 | 2669599.8821 | 1254235.0726
90 | 2669631.918 | 1254211.8845
91 | 2669596.7072 | 1254129.4192
92 | 2669607.209 | 1254125.718
93 | 2669589.8068 | 1254131.8512
94 | 2669612.5508 | 1254123.8353
95 | 2669577.3972 | 1254136.2248
96 | 2669575.3022 | 1254136.9631
97 | 2669558.7531 | 1254142.7957
98 | 2669545.6496 | 1254147.4138
99 | 2669548.0886 | 1254146.5542
100 | 2669553.0599 | 1254144.8022
101 | 2669376.2604 | 1254320.2208
102 | 2669374.2356 | 1254320.3858
103 | 2669324.9311 | 1254289.8836
104 | 2669310.3146 | 1254322.3027
105 | 2669323.5243 | 1254280.2893
106 | 2669322.9169 | 1254276.1464
107 | 2669287.8059 | 1254323.7559
108 | 2669296.7953 | 1254279.8027
109 | 2669531.0106 | 1254256.7412

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1