## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4048-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4048-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4048-4_0_4_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_4048-4_0_4_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_4048-4_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4048-4_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4048-4_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_4048-4_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_4048-4_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_4048-4_0_4_node_118 | 0.4 | n |  | TRUE
10 | bus_LV_4048-4_0_4_node_119 | 0.4 | n |  | TRUE
11 | bus_LV_4048-4_0_4_node_120 | 0.4 | n |  | TRUE
12 | bus_LV_4048-4_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4048-4_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4048-4_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4048-4_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4048-4_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_4048-4_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4048-4_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_4048-4_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_4048-4_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_4048-4_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_4048-4_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_4048-4_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4048-4_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4048-4_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_4048-4_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4048-4_0_4_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_4048-4_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_4048-4_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4048-4_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_4048-4_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_4048-4_0_4_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_4048-4_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_4048-4_0_4_node_56 | 0.4 | n |  | TRUE
35 | bus_LV_4048-4_0_4_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_4048-4_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_4048-4_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4048-4_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4048-4_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_4048-4_0_4_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_4048-4_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_4048-4_0_4_node_89 | 0.4 | n |  | TRUE
43 | bus_LV_4048-4_0_4_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_4048-4_0_4_node_92 | 0.4 | n |  | TRUE
45 | bus_LV_4048-4_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_4048-4_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_4048-4_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_4048-4_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4048-4_0_4_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_4048-4_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4048-4_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_4048-4_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4048-4_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_4048-4_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_4048-4_0_4_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_4048-4_0_4_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_4048-4_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_4048-4_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_4048-4_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_4048-4_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4048-4_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_4048-4_0_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_4048-4_0_4_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_4048-4_0_4_node_72 | 0.4 | n |  | TRUE
65 | bus_LV_4048-4_0_4_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_4048-4_0_4_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_4048-4_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_4048-4_0_4_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_4048-4_0_4_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_4048-4_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_4048-4_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_4048-4_0_4_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_4048-4_0_4_node_141 | 0.4 | n |  | TRUE
74 | bus_LV_4048-4_0_4_node_150 | 0.4 | n |  | TRUE
75 | bus_LV_4048-4_0_4_node_140 | 0.4 | n |  | TRUE
76 | bus_LV_4048-4_0_4_node_148 | 0.4 | n |  | TRUE
77 | bus_LV_4048-4_0_4_node_149 | 0.4 | n |  | TRUE
78 | bus_LV_4048-4_0_4_node_147 | 0.4 | n |  | TRUE
79 | bus_LV_4048-4_0_4_node_154 | 0.4 | n |  | TRUE
80 | bus_LV_4048-4_0_4_node_156 | 0.4 | n |  | TRUE
81 | bus_LV_4048-4_0_4_node_152 | 0.4 | n |  | TRUE
82 | bus_LV_4048-4_0_4_node_157 | 0.4 | n |  | TRUE
83 | bus_LV_4048-4_0_4_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_4048-4_0_4_node_139 | 0.4 | n |  | TRUE
85 | bus_LV_4048-4_0_4_node_151 | 0.4 | n |  | TRUE
86 | bus_LV_4048-4_0_4_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_4048-4_0_4_node_138 | 0.4 | n |  | TRUE
88 | bus_LV_4048-4_0_4_node_153 | 0.4 | n |  | TRUE
89 | bus_LV_4048-4_0_4_node_155 | 0.4 | n |  | TRUE
90 | bus_LV_4048-4_0_4_node_62 | 0.4 | n |  | TRUE
91 | bus_LV_4048-4_0_4_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_4048-4_0_4_node_108 | 0.4 | n |  | TRUE
93 | bus_LV_4048-4_0_4_node_145 | 0.4 | n |  | TRUE
94 | bus_LV_4048-4_0_4_node_143 | 0.4 | n |  | TRUE
95 | bus_LV_4048-4_0_4_node_158 | 0.4 | n |  | TRUE
96 | bus_LV_4048-4_0_4_node_159 | 0.4 | n |  | TRUE
97 | bus_LV_4048-4_0_4_node_128 | 0.4 | n |  | TRUE
98 | bus_LV_4048-4_0_4_node_142 | 0.4 | n |  | TRUE
99 | bus_LV_4048-4_0_4_node_144 | 0.4 | n |  | TRUE
100 | bus_LV_4048-4_0_4_node_146 | 0.4 | n |  | TRUE
101 | bus_LV_4048-4_0_4_node_66 | 0.4 | n |  | TRUE
102 | bus_LV_4048-4_0_4_node_161 | 0.4 | n |  | TRUE
103 | bus_LV_4048-4_0_4_node_160 | 0.4 | n |  | TRUE
104 | bus_LV_4048-4_0_4_node_98 | 0.4 | n |  | TRUE
105 | bus_LV_4048-4_0_4_node_95 | 0.4 | n |  | TRUE
106 | bus_LV_4048-4_0_4_node_67 | 0.4 | n |  | TRUE
107 | bus_LV_4048-4_0_4_node_68 | 0.4 | n |  | TRUE
108 | bus_LV_4048-4_0_4_node_69 | 0.4 | n |  | TRUE
109 | bus_LV_4048-4_0_4_node_70 | 0.4 | n |  | TRUE
110 | bus_LV_4048-4_0_4_node_88 | 0.4 | n |  | TRUE
111 | bus_LV_4048-4_0_4_node_85 | 0.4 | n |  | TRUE
112 | bus_LV_4048-4_0_4_node_83 | 0.4 | n |  | TRUE
113 | bus_LV_4048-4_0_4_node_84 | 0.4 | n |  | TRUE
114 | bus_LV_4048-4_0_4_node_76 | 0.4 | n |  | TRUE
115 | bus_LV_4048-4_0_4_node_77 | 0.4 | n |  | TRUE
116 | bus_LV_4048-4_0_4_node_78 | 0.4 | n |  | TRUE
117 | bus_LV_4048-4_0_4_node_79 | 0.4 | n |  | TRUE
118 | bus_LV_4048-4_0_4_node_80 | 0.4 | n |  | TRUE
119 | bus_LV_4048-4_0_4_node_81 | 0.4 | n |  | TRUE
120 | bus_LV_4048-4_0_4_node_96 | 0.4 | n |  | TRUE
121 | bus_LV_4048-4_0_4_node_115 | 0.4 | n |  | TRUE
122 | bus_LV_4048-4_0_4_node_109 | 0.4 | n |  | TRUE
123 | bus_LV_4048-4_0_4_node_93 | 0.4 | n |  | TRUE
124 | bus_LV_4048-4_0_4_node_116 | 0.4 | n |  | TRUE
125 | bus_LV_4048-4_0_4_node_114 | 0.4 | n |  | TRUE
126 | bus_LV_4048-4_0_4_node_103 | 0.4 | n |  | TRUE
127 | bus_LV_4048-4_0_4_node_94 | 0.4 | n |  | TRUE
128 | bus_LV_4048-4_0_4_node_104 | 0.4 | n |  | TRUE
129 | bus_LV_4048-4_0_4_node_105 | 0.4 | n |  | TRUE
130 | bus_LV_4048-4_0_4_node_106 | 0.4 | n |  | TRUE
131 | bus_LV_4048-4_0_4_node_86 | 0.4 | n |  | TRUE
132 | bus_LV_4048-4_0_4_node_87 | 0.4 | n |  | TRUE
133 | bus_LV_4048-4_0_4_node_99 | 0.4 | n |  | TRUE
134 | bus_LV_4048-4_0_4_node_100 | 0.4 | n |  | TRUE
135 | bus_LV_4048-4_0_4_node_101 | 0.4 | n |  | TRUE
136 | bus_LV_4048-4_0_4_node_102 | 0.4 | n |  | TRUE
137 | bus_LV_4048-4_0_4_node_107 | 0.4 | n |  | TRUE
138 | bus_LV_4048-4_0_4_node_129 | 0.4 | n |  | TRUE
139 | bus_LV_4048-4_0_4_node_110 | 0.4 | n |  | TRUE
140 | bus_LV_4048-4_0_4_node_111 | 0.4 | n |  | TRUE
141 | bus_LV_4048-4_0_4_node_112 | 0.4 | n |  | TRUE
142 | bus_LV_4048-4_0_4_node_113 | 0.4 | n |  | TRUE
143 | bus_LV_4048-4_0_4_node_117 | 0.4 | n |  | TRUE
144 | bus_LV_4048-4_0_4_node_123 | 0.4 | n |  | TRUE
145 | bus_LV_4048-4_0_4_node_122 | 0.4 | n |  | TRUE
146 | bus_LV_4048-4_0_4_node_121 | 0.4 | n |  | TRUE
147 | bus_LV_4048-4_0_4_node_124 | 0.4 | n |  | TRUE
148 | bus_LV_4048-4_0_4_node_125 | 0.4 | n |  | TRUE
149 | bus_LV_4048-4_0_4_node_126 | 0.4 | n |  | TRUE
150 | bus_LV_4048-4_0_4_node_127 | 0.4 | n |  | TRUE
151 | bus_LV_4048-4_0_4_node_130 | 0.4 | n |  | TRUE
152 | bus_LV_4048-4_0_4_node_131 | 0.4 | n |  | TRUE
153 | bus_LV_4048-4_0_4_node_137 | 0.4 | n |  | TRUE
154 | bus_LV_4048-4_0_4_node_132 | 0.4 | n |  | TRUE
155 | bus_LV_4048-4_0_4_node_135 | 0.4 | n |  | TRUE
156 | bus_LV_4048-4_0_4_node_133 | 0.4 | n |  | TRUE
157 | bus_LV_4048-4_0_4_node_134 | 0.4 | n |  | TRUE
158 | bus_LV_4048-4_0_4_node_136 | 0.4 | n |  | TRUE
159 | bus_MV_519_0_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4048-4_0_4_load_0 | 0 | 0.00069258 | 0.00017358 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4048-4_0_4_load_7 | 2 | 0.0017788 | 0.00044582 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4048-4_0_4_load_2 | 3 | 0.0025481 | 0.00063862 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4048-4_0_4_load_5 | 4 | 0.0035855 | 0.0008986 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4048-4_0_4_load_6 | 5 | 0.0016305 | 0.00040864 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4048-4_0_4_load_4 | 8 | 0.00074516 | 0.00018675 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4048-4_0_4_load_118 | 9 | 0.0010778 | 0.00027013 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4048-4_0_4_load_119 | 10 | 0.0010161 | 0.00025467 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4048-4_0_4_load_9 | 12 | 0.0031066 | 0.00077858 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4048-4_0_4_load_10 | 13 | 0.0066643 | 0.0016702 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4048-4_0_4_load_11 | 14 | 0.0081831 | 0.0020509 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4048-4_0_4_load_12 | 15 | 0.0050005 | 0.0012532 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4048-4_0_4_load_14 | 17 | 0.0039097 | 0.00097986 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4048-4_0_4_load_15 | 18 | 0.0076318 | 0.0019127 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4048-4_0_4_load_22 | 19 | 0.0048451 | 0.0012143 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4048-4_0_4_load_24 | 20 | 0.0049774 | 0.0012474 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4048-4_0_4_load_16 | 22 | 0.0056545 | 0.0014172 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4048-4_0_4_load_17 | 23 | 0.0022576 | 0.00056581 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4048-4_0_4_load_18 | 24 | 0.0048538 | 0.0012165 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4048-4_0_4_load_20 | 25 | 0.0037057 | 0.00092873 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4048-4_0_4_load_23 | 26 | 0.0041949 | 0.0010513 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4048-4_0_4_load_28 | 27 | 0.0021446 | 0.0005375 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4048-4_0_4_load_27 | 28 | 0.0036002 | 0.0009023 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4048-4_0_4_load_25 | 29 | 0.0022929 | 0.00057466 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4048-4_0_4_load_33 | 31 | 0.0024229 | 0.00060723 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4048-4_0_4_load_34 | 32 | 0.0033671 | 0.00084389 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4048-4_0_4_load_32 | 33 | 0.003114 | 0.00078045 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4048-4_0_4_load_56 | 34 | 0.0043291 | 0.001085 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4048-4_0_4_load_91 | 35 | 0.0019965 | 0.00050036 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4048-4_0_4_load_31 | 36 | 0.0025276 | 0.00063347 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4048-4_0_4_load_40 | 39 | 0.0099087 | 0.0024833 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4048-4_0_4_load_90 | 40 | 0.0032239 | 0.00080798 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4048-4_0_4_load_39 | 41 | 0.0018924 | 0.00047428 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4048-4_0_4_load_89 | 42 | 0.0072487 | 0.0018167 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4048-4_0_4_load_57 | 43 | 0.0063778 | 0.0015984 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4048-4_0_4_load_92 | 44 | 0.0063742 | 0.0015975 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4048-4_0_4_load_35 | 45 | 0.0039052 | 0.00097873 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4048-4_0_4_load_36 | 46 | 0.0025263 | 0.00063316 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4048-4_0_4_load_38 | 48 | 0.0033914 | 0.00084997 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4048-4_0_4_load_53 | 49 | 0.0015685 | 0.0003931 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4048-4_0_4_load_42 | 50 | 0.0015905 | 0.00039861 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4048-4_0_4_load_44 | 51 | 0.001145 | 0.00028697 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4048-4_0_4_load_41 | 52 | 0.003818 | 0.00095688 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4048-4_0_4_load_52 | 53 | 0.00076986 | 0.00019295 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4048-4_0_4_load_54 | 55 | 0.001727 | 0.00043281 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4048-4_0_4_load_55 | 56 | 0.0066234 | 0.00166 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4048-4_0_4_load_45 | 57 | 0.0016274 | 0.00040787 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4048-4_0_4_load_46 | 58 | 0.00071704 | 0.00017971 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4048-4_0_4_load_47 | 59 | 0.0039494 | 0.00098982 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4048-4_0_4_load_51 | 61 | 0.0026788 | 0.00067136 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4048-4_0_4_load_73 | 62 | 0.0059934 | 0.0015021 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4048-4_0_4_load_74 | 63 | 0.0053505 | 0.001341 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4048-4_0_4_load_72 | 64 | 0.0061244 | 0.0015349 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4048-4_0_4_load_75 | 65 | 0.0061263 | 0.0015354 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4048-4_0_4_load_58 | 67 | 0.0030859 | 0.0007734 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4048-4_0_4_load_97 | 68 | 0.0023597 | 0.00059139 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4048-4_0_4_load_71 | 69 | 0.0044318 | 0.0011107 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4048-4_0_4_load_59 | 70 | 0.0014512 | 0.0003637 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4048-4_0_4_load_60 | 71 | 0.0015448 | 0.00038716 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4048-4_0_4_load_61 | 72 | 0.00086338 | 0.00021638 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4048-4_0_4_load_141 | 73 | 0.0046671 | 0.0011697 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4048-4_0_4_load_150 | 74 | 0.0026036 | 0.00065253 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4048-4_0_4_load_140 | 75 | 0.0031578 | 0.00079141 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4048-4_0_4_load_148 | 76 | 0.0022596 | 0.00056631 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4048-4_0_4_load_149 | 77 | 0.0038631 | 0.00096818 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4048-4_0_4_load_147 | 78 | 0.0032073 | 0.00080383 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4048-4_0_4_load_154 | 79 | 0.0028062 | 0.0007033 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4048-4_0_4_load_156 | 80 | 0.0027981 | 0.00070128 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4048-4_0_4_load_152 | 81 | 0.0020334 | 0.00050962 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4048-4_0_4_load_157 | 82 | 0.0019834 | 0.00049709 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4048-4_0_4_load_64 | 83 | 0.00075708 | 0.00018974 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4048-4_0_4_load_139 | 84 | 0.0015966 | 0.00040014 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4048-4_0_4_load_151 | 85 | 0.0020888 | 0.0005235 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4048-4_0_4_load_65 | 86 | 0.00093686 | 0.0002348 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4048-4_0_4_load_138 | 87 | 0.00094444 | 0.0002367 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4048-4_0_4_load_153 | 88 | 0.0012406 | 0.00031091 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4048-4_0_4_load_155 | 89 | 0.0015568 | 0.00039017 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4048-4_0_4_load_62 | 90 | 0.013048 | 0.0032701 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4048-4_0_4_load_63 | 91 | 0.0018495 | 0.00046353 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4048-4_0_4_load_108 | 92 | 0.0018721 | 0.00046918 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4048-4_0_4_load_145 | 93 | 0.0047954 | 0.0012018 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4048-4_0_4_load_143 | 94 | 0.0016116 | 0.00040391 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4048-4_0_4_load_158 | 95 | 0.0022661 | 0.00056794 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4048-4_0_4_load_159 | 96 | 0.0019989 | 0.00050097 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4048-4_0_4_load_128 | 97 | 0.0021649 | 0.00054257 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4048-4_0_4_load_142 | 98 | 0.001437 | 0.00036014 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4048-4_0_4_load_144 | 99 | 0.0015283 | 0.00038303 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4048-4_0_4_load_146 | 100 | 0.0069734 | 0.0017477 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4048-4_0_4_load_66 | 101 | 0.00085618 | 0.00021458 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4048-4_0_4_load_161 | 102 | 0.0021627 | 0.00054202 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4048-4_0_4_load_98 | 104 | 0.0010124 | 0.00025372 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4048-4_0_4_load_67 | 106 | 0.0025073 | 0.00062839 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4048-4_0_4_load_68 | 107 | 0.0043498 | 0.0010902 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4048-4_0_4_load_69 | 108 | 0.0044307 | 0.0011104 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4048-4_0_4_load_70 | 109 | 0.0020654 | 0.00051763 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4048-4_0_4_load_85 | 111 | 0.0023397 | 0.00058637 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4048-4_0_4_load_83 | 112 | 0.0026526 | 0.00066481 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4048-4_0_4_load_84 | 113 | 0.0022173 | 0.00055571 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4048-4_0_4_load_76 | 114 | 0.0017801 | 0.00044612 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4048-4_0_4_load_77 | 115 | 0.0037738 | 0.0009458 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4048-4_0_4_load_79 | 117 | 0.0026091 | 0.00065389 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4048-4_0_4_load_80 | 118 | 0.00042955 | 0.00010766 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4048-4_0_4_load_81 | 119 | 0.00048601 | 0.0001218 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4048-4_0_4_load_96 | 120 | 0.0020568 | 0.00051548 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4048-4_0_4_load_109 | 122 | 0.0034638 | 0.00086812 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4048-4_0_4_load_93 | 123 | 0.0019966 | 0.0005004 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4048-4_0_4_load_116 | 124 | 0.00088139 | 0.0002209 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4048-4_0_4_load_114 | 125 | 0.00040723 | 0.00010206 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4048-4_0_4_load_103 | 126 | 0.0026274 | 0.00065849 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4048-4_0_4_load_94 | 127 | 0.00098785 | 0.00024758 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4048-4_0_4_load_105 | 129 | 0.0020845 | 0.00052244 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4048-4_0_4_load_106 | 130 | 0.0022214 | 0.00055674 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4048-4_0_4_load_86 | 131 | 0.0039778 | 0.00099693 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4048-4_0_4_load_87 | 132 | 0.0058289 | 0.0014609 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4048-4_0_4_load_99 | 133 | 0.0035755 | 0.00089612 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4048-4_0_4_load_100 | 134 | 0.002279 | 0.00057117 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4048-4_0_4_load_101 | 135 | 0.0061624 | 0.0015444 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4048-4_0_4_load_102 | 136 | 0.0044461 | 0.0011143 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4048-4_0_4_load_107 | 137 | 0.0067963 | 0.0017033 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4048-4_0_4_load_129 | 138 | 0.0019342 | 0.00048476 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4048-4_0_4_load_110 | 139 | 0.00074727 | 0.00018728 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4048-4_0_4_load_111 | 140 | 0.00061797 | 0.00015488 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4048-4_0_4_load_112 | 141 | 0.0032252 | 0.00080832 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4048-4_0_4_load_113 | 142 | 0.002289 | 0.00057367 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4048-4_0_4_load_117 | 143 | 0.0034461 | 0.00086367 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4048-4_0_4_load_123 | 144 | 0.0063818 | 0.0015994 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4048-4_0_4_load_122 | 145 | 0.0005327 | 0.00013351 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4048-4_0_4_load_121 | 146 | 0.00077645 | 0.0001946 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4048-4_0_4_load_124 | 147 | 0.0010187 | 0.0002553 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4048-4_0_4_load_125 | 148 | 0.0018129 | 0.00045435 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_4048-4_0_4_load_126 | 149 | 0.00091117 | 0.00022836 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_4048-4_0_4_load_127 | 150 | 0.0057377 | 0.001438 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_4048-4_0_4_load_130 | 151 | 0.00094451 | 0.00023672 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_4048-4_0_4_load_131 | 152 | 0.00236 | 0.00059147 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_4048-4_0_4_load_135 | 155 | 0.0011583 | 0.00029029 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_4048-4_0_4_load_133 | 156 | 0.0016928 | 0.00042425 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_4048-4_0_4_load_134 | 157 | 0.0007361 | 0.00018448 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_4048-4_0_4_load_136 | 158 | 0.00087409 | 0.00021907 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 68 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4048-4_0_4_line_0 |  | 0 | 1 | 0.017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4048-4_0_4_line_1 |  | 0 | 2 | 0.08498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4048-4_0_4_line_2 |  | 1 | 3 | 0.0088181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4048-4_0_4_line_3 |  | 2 | 4 | 0.012668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4048-4_0_4_line_4 |  | 3 | 7 | 0.05207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4048-4_0_4_line_5 |  | 4 | 5 | 0.0061318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4048-4_0_4_line_6 |  | 5 | 6 | 0.027049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4048-4_0_4_line_7 |  | 6 | 9 | 0.085873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4048-4_0_4_line_8 |  | 7 | 8 | 0.036352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4048-4_0_4_line_9 |  | 9 | 10 | 0.03387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4048-4_0_4_line_10 |  | 9 | 11 | 0.017281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4048-4_0_4_line_11 |  | 10 | 146 | 0.0065152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4048-4_0_4_line_12 |  | 11 | 145 | 0.029666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4048-4_0_4_line_13 |  | 12 | 13 | 0.0015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4048-4_0_4_line_14 |  | 13 | 14 | 0.025638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4048-4_0_4_line_15 |  | 14 | 15 | 0.0017824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4048-4_0_4_line_16 |  | 15 | 16 | 0.015715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4048-4_0_4_line_17 |  | 16 | 17 | 0.023499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4048-4_0_4_line_18 |  | 16 | 18 | 0.019108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4048-4_0_4_line_19 |  | 17 | 19 | 0.023062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4048-4_0_4_line_20 |  | 18 | 20 | 0.018902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4048-4_0_4_line_21 |  | 19 | 21 | 0.015302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4048-4_0_4_line_22 |  | 21 | 26 | 0.013581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4048-4_0_4_line_23 |  | 21 | 25 | 0.013899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4048-4_0_4_line_24 |  | 22 | 23 | 0.020973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4048-4_0_4_line_25 |  | 22 | 24 | 0.016889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4048-4_0_4_line_26 |  | 24 | 25 | 0.0022544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4048-4_0_4_line_27 |  | 26 | 27 | 0.027688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4048-4_0_4_line_28 |  | 27 | 28 | 0.0037709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4048-4_0_4_line_29 |  | 28 | 37 | 0.016915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4048-4_0_4_line_30 |  | 29 | 30 | 0.010976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4048-4_0_4_line_31 |  | 30 | 31 | 0.011365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4048-4_0_4_line_32 |  | 30 | 32 | 0.017099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4048-4_0_4_line_33 |  | 30 | 33 | 0.026552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4048-4_0_4_line_34 |  | 31 | 34 | 0.030889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4048-4_0_4_line_35 |  | 32 | 35 | 0.00077016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4048-4_0_4_line_36 |  | 33 | 36 | 0.0047522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4048-4_0_4_line_37 |  | 34 | 43 | 0.0097169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_4048-4_0_4_line_38 |  | 35 | 44 | 0.012858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4048-4_0_4_line_39 |  | 36 | 37 | 0.025635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_4048-4_0_4_line_40 |  | 37 | 38 | 0.003458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4048-4_0_4_line_41 |  | 38 | 39 | 0.019304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4048-4_0_4_line_42 |  | 38 | 40 | 0.014353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4048-4_0_4_line_43 |  | 39 | 41 | 0.0027302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4048-4_0_4_line_44 |  | 40 | 42 | 0.029328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4048-4_0_4_line_45 |  | 41 | 47 | 0.033293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4048-4_0_4_line_46 |  | 42 | 132 | 0.0054905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4048-4_0_4_line_47 |  | 43 | 67 | 0.01595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4048-4_0_4_line_48 |  | 44 | 123 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4048-4_0_4_line_49 |  | 45 | 46 | 0.028298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4048-4_0_4_line_50 |  | 45 | 47 | 0.022476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4048-4_0_4_line_51 |  | 46 | 48 | 0.02901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4048-4_0_4_line_52 |  | 47 | 49 | 0.032992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4048-4_0_4_line_53 |  | 49 | 55 | 0.015928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4048-4_0_4_line_54 |  | 49 | 53 | 0.0071382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4048-4_0_4_line_55 |  | 50 | 51 | 0.014901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4048-4_0_4_line_56 |  | 50 | 52 | 0.024363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4048-4_0_4_line_57 |  | 51 | 53 | 0.016777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4048-4_0_4_line_58 |  | 52 | 54 | 0.022763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4048-4_0_4_line_59 |  | 54 | 57 | 0.0089277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4048-4_0_4_line_60 |  | 55 | 56 | 0.026008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4048-4_0_4_line_61 |  | 56 | 61 | 0.028298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4048-4_0_4_line_62 |  | 57 | 58 | 0.013032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4048-4_0_4_line_63 |  | 59 | 60 | 0.0056791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4048-4_0_4_line_64 |  | 60 | 61 | 0.024334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4048-4_0_4_line_65 |  | 61 | 63 | 0.02998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4048-4_0_4_line_66 |  | 62 | 63 | 0.019495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4048-4_0_4_line_67 |  | 62 | 64 | 0.026456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4048-4_0_4_line_68 |  | 65 | 66 | 0.018057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4048-4_0_4_line_69 |  | 66 | 112 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4048-4_0_4_line_70 |  | 66 | 113 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4048-4_0_4_line_71 |  | 66 | 111 | 0.026517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4048-4_0_4_line_72 |  | 67 | 68 | 0.0076226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4048-4_0_4_line_73 |  | 68 | 69 | 0.015635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4048-4_0_4_line_74 |  | 69 | 108 | 0.008658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4048-4_0_4_line_75 |  | 70 | 71 | 0.017159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4048-4_0_4_line_76 |  | 71 | 72 | 0.016592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4048-4_0_4_line_77 |  | 72 | 83 | 0.015668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4048-4_0_4_line_78 |  | 73 | 74 | 0.020936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4048-4_0_4_line_79 |  | 73 | 75 | 0.0026688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4048-4_0_4_line_80 |  | 74 | 76 | 0.0056197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4048-4_0_4_line_81 |  | 75 | 84 | 0.023077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4048-4_0_4_line_82 |  | 76 | 77 | 0.0053146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4048-4_0_4_line_83 |  | 77 | 78 | 0.014661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4048-4_0_4_line_84 |  | 78 | 93 | 0.013563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4048-4_0_4_line_85 |  | 79 | 80 | 0.018378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4048-4_0_4_line_86 |  | 79 | 81 | 0.0079586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4048-4_0_4_line_87 |  | 80 | 82 | 0.0092924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4048-4_0_4_line_88 |  | 81 | 85 | 0.021891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4048-4_0_4_line_89 |  | 82 | 95 | 0.018427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4048-4_0_4_line_90 |  | 83 | 86 | 0.010622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4048-4_0_4_line_91 |  | 83 | 87 | 0.043436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4048-4_0_4_line_92 |  | 84 | 87 | 0.021943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4048-4_0_4_line_93 |  | 85 | 88 | 0.019856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4048-4_0_4_line_94 |  | 86 | 101 | 0.0023716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4048-4_0_4_line_95 |  | 87 | 102 | 0.050374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4048-4_0_4_line_96 |  | 88 | 89 | 0.0029936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4048-4_0_4_line_97 |  | 89 | 103 | 0.014447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4048-4_0_4_line_98 |  | 90 | 91 | 0.025482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4048-4_0_4_line_99 |  | 91 | 92 | 0.016682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4048-4_0_4_line_100 |  | 92 | 97 | 0.014636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4048-4_0_4_line_101 |  | 93 | 94 | 0.013528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4048-4_0_4_line_102 |  | 94 | 98 | 0.0071584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4048-4_0_4_line_103 |  | 95 | 96 | 0.004569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4048-4_0_4_line_104 |  | 97 | 138 | 0.016089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4048-4_0_4_line_105 |  | 98 | 99 | 0.0071506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4048-4_0_4_line_106 |  | 99 | 100 | 0.044036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4048-4_0_4_line_107 |  | 101 | 104 | 0.01139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4048-4_0_4_line_108 |  | 102 | 103 | 0.025714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4048-4_0_4_line_109 |  | 104 | 105 | 0.012974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4048-4_0_4_line_110 |  | 105 | 127 | 0.010482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4048-4_0_4_line_111 |  | 106 | 107 | 0.00082643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4048-4_0_4_line_112 |  | 106 | 108 | 0.01036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4048-4_0_4_line_113 |  | 107 | 109 | 0.006998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4048-4_0_4_line_114 |  | 109 | 110 | 0.0089634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4048-4_0_4_line_115 |  | 110 | 111 | 0.029226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4048-4_0_4_line_116 |  | 112 | 127 | 0.020811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4048-4_0_4_line_117 |  | 113 | 128 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4048-4_0_4_line_118 |  | 114 | 115 | 1.675e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4048-4_0_4_line_119 |  | 114 | 116 | 0.01701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4048-4_0_4_line_120 |  | 115 | 117 | 0.0028466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4048-4_0_4_line_121 |  | 116 | 118 | 0.038684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4048-4_0_4_line_122 |  | 116 | 119 | 0.013694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4048-4_0_4_line_123 |  | 117 | 120 | 0.00077912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4048-4_0_4_line_124 |  | 118 | 121 | 0.039585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4048-4_0_4_line_125 |  | 119 | 122 | 0.023853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4048-4_0_4_line_126 |  | 120 | 123 | 0.013575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4048-4_0_4_line_127 |  | 121 | 124 | 0.010813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4048-4_0_4_line_128 |  | 121 | 125 | 0.016552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4048-4_0_4_line_129 |  | 122 | 126 | 0.016002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4048-4_0_4_line_130 |  | 124 | 145 | 0.024237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4048-4_0_4_line_131 |  | 125 | 141 | 0.023226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4048-4_0_4_line_132 |  | 126 | 136 | 0.010966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4048-4_0_4_line_133 |  | 128 | 129 | 0.014197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4048-4_0_4_line_134 |  | 128 | 130 | 0.013435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4048-4_0_4_line_135 |  | 129 | 137 | 0.022482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4048-4_0_4_line_136 |  | 130 | 135 | 0.0062906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4048-4_0_4_line_137 |  | 131 | 132 | 0.022664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4048-4_0_4_line_138 |  | 133 | 134 | 0.027231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4048-4_0_4_line_139 |  | 134 | 135 | 0.0057751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4048-4_0_4_line_140 |  | 138 | 153 | 0.039712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4048-4_0_4_line_141 |  | 139 | 140 | 0.0063027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4048-4_0_4_line_142 |  | 139 | 141 | 0.0080682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4048-4_0_4_line_143 |  | 140 | 142 | 0.022578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4048-4_0_4_line_144 |  | 142 | 143 | 0.0035712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4048-4_0_4_line_145 |  | 143 | 144 | 0.010622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4048-4_0_4_line_146 |  | 146 | 147 | 0.016955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4048-4_0_4_line_147 |  | 147 | 148 | 0.016565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4048-4_0_4_line_148 |  | 148 | 149 | 0.0073385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4048-4_0_4_line_149 |  | 149 | 150 | 0.022403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4048-4_0_4_line_150 |  | 150 | 151 | 0.0027459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4048-4_0_4_line_151 |  | 151 | 152 | 0.015371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4048-4_0_4_line_152 |  | 152 | 154 | 0.01567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4048-4_0_4_line_153 |  | 153 | 154 | 0.021639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4048-4_0_4_line_154 |  | 154 | 155 | 0.017843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4048-4_0_4_line_155 |  | 155 | 156 | 0.025333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4048-4_0_4_line_156 |  | 156 | 157 | 0.022459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4048-4_0_4_line_157 |  | 157 | 158 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4048-4_0_4_trafo_97 | 0.63 MVA 20/0.4 kV | 159 | 68 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2669140.236 | 1254884.2348 | 2669126.2824 | 1254874.5246
1 | 2669126.2824 | 1254874.5246 | 2669167.0688 | 1254799.9718
2 | 2669140.236 | 1254884.2348 | 2669148.4871 | 1254887.3459
3 | 2669167.0688 | 1254799.9718 | 2669170.9128 | 1254787.9006
4 | 2669198.3563 | 1254901.3036 | 2669177.0602 | 1254898.1193 | 2669148.4871 | 1254887.3459
5 | 2669170.9128 | 1254787.9006 | 2669172.7734 | 1254782.0579
6 | 2669180.9808 | 1254756.2841 | 2669172.7734 | 1254782.0579
7 | 2669258.3732 | 1254719.0736 | 2669180.9808 | 1254756.2841
8 | 2669198.3563 | 1254901.3036 | 2669192.1665 | 1254922.3022 | 2669185.8898 | 1254935.3291
9 | 2669258.3732 | 1254719.0736 | 2669257.0122 | 1254715.2204 | 2669256.7511 | 1254706.5889 | 2669262.6913 | 1254692.1367 | 2669265.3606 | 1254687.3015
10 | 2669266.3162 | 1254734.3542 | 2669259.8673 | 1254723.3041 | 2669258.3732 | 1254719.0736
11 | 2669268.5095 | 1254681.5977 | 2669265.3606 | 1254687.3015
12 | 2669266.3162 | 1254734.3542 | 2669290.7134 | 1254736.252 | 2669295.9014 | 1254736.518
13 | 2669483.607 | 1254911.8516 | 2669483.5704 | 1254910.3037
14 | 2669482.9638 | 1254884.6724 | 2669483.5704 | 1254910.3037
15 | 2669482.9638 | 1254884.6724 | 2669482.9216 | 1254882.8905
16 | 2669482.4644 | 1254867.182 | 2669482.7146 | 1254874.1456 | 2669482.9216 | 1254882.8905
17 | 2669482.4644 | 1254867.182 | 2669488.5296 | 1254867.1754 | 2669505.7905 | 1254864.7238
18 | 2669482.4644 | 1254867.182 | 2669481.7588 | 1254848.0871
19 | 2669528.6236 | 1254861.4808 | 2669505.7905 | 1254864.7238
20 | 2669481.0608 | 1254829.1976 | 2669481.7588 | 1254848.0871
21 | 2669543.7735 | 1254859.329 | 2669528.6236 | 1254861.4808
22 | 2669543.7735 | 1254859.329 | 2669541.1701 | 1254845.9999
23 | 2669543.7735 | 1254859.329 | 2669546.4668 | 1254872.9646
24 | 2669558.2648 | 1254911.0893 | 2669557.1049 | 1254909.2552 | 2669550.4702 | 1254891.6616
25 | 2669546.9036 | 1254875.1763 | 2669549.8185 | 1254889.9334 | 2669550.4702 | 1254891.6616
26 | 2669546.9036 | 1254875.1763 | 2669546.4668 | 1254872.9646
27 | 2669535.8625 | 1254818.825 | 2669541.1701 | 1254845.9999
28 | 2669535.1396 | 1254815.124 | 2669535.8625 | 1254818.825
29 | 2669531.8973 | 1254798.5232 | 2669535.1396 | 1254815.124
30 | 2669475.8497 | 1254789.3145 | 2669477.4823 | 1254800.1682
31 | 2669475.8497 | 1254789.3145 | 2669476.6164 | 1254777.9749
32 | 2669475.8497 | 1254789.3145 | 2669461.1253 | 1254780.6205
33 | 2669475.8497 | 1254789.3145 | 2669481.2264 | 1254791.4124 | 2669501.8052 | 1254794.3003
34 | 2669479.7513 | 1254747.3268 | 2669478.3144 | 1254752.8613 | 2669476.6164 | 1254777.9749
35 | 2669461.1253 | 1254780.6205 | 2669460.4622 | 1254780.2289
36 | 2669501.8052 | 1254794.3003 | 2669506.5113 | 1254794.9607
37 | 2669479.7513 | 1254747.3268 | 2669482.1933 | 1254737.9217
38 | 2669460.4622 | 1254780.2289 | 2669453.6963 | 1254776.2341 | 2669449.1134 | 1254774.2318
39 | 2669531.8973 | 1254798.5232 | 2669506.5113 | 1254794.9607
40 | 2669531.8973 | 1254798.5232 | 2669535.3315 | 1254799.0083
41 | 2669535.3315 | 1254799.0083 | 2669554.4481 | 1254801.69
42 | 2669535.3315 | 1254799.0083 | 2669535.9139 | 1254784.6675
43 | 2669557.1518 | 1254802.0692 | 2669554.4481 | 1254801.69
44 | 2669537.104 | 1254755.364 | 2669537.104 | 1254755.364 | 2669535.9139 | 1254784.6675
45 | 2669587.4962 | 1254809.951 | 2669569.4227 | 1254809.1937 | 2669564.3121 | 1254803.0737 | 2669557.1518 | 1254802.0692
46 | 2669536.013 | 1254749.9829 | 2669537.104 | 1254755.364
47 | 2669486.2015 | 1254722.4841 | 2669482.1933 | 1254737.9217
48 | 2669438.5357 | 1254769.6105 | 2669449.1134 | 1254774.2318
49 | 2669598.6999 | 1254859.4729 | 2669592.4557 | 1254831.8725
50 | 2669587.4962 | 1254809.951 | 2669592.4557 | 1254831.8725
51 | 2669598.6999 | 1254859.4729 | 2669605.1014 | 1254887.7681
52 | 2669587.4962 | 1254809.951 | 2669616.9984 | 1254795.1824
53 | 2669616.9984 | 1254795.1824 | 2669612.9419 | 1254781.6627 | 2669612.5504 | 1254779.8928
54 | 2669619.492 | 1254801.8216 | 2669618.5097 | 1254800.2194 | 2669616.9984 | 1254795.1824
55 | 2669636.0495 | 1254828.827 | 2669628.261 | 1254816.1239
56 | 2669648.098 | 1254849.9744 | 2669644.4528 | 1254842.5329 | 2669636.0495 | 1254828.827
57 | 2669619.492 | 1254801.8216 | 2669628.261 | 1254816.1239
58 | 2669656.2838 | 1254871.1706 | 2669651.3554 | 1254856.6243 | 2669648.098 | 1254849.9744
59 | 2669656.2838 | 1254871.1706 | 2669657.3918 | 1254874.4527 | 2669657.7791 | 1254879.9026
60 | 2669606.9335 | 1254754.4991 | 2669612.5504 | 1254779.8928
61 | 2669606.9335 | 1254754.4991 | 2669600.8221 | 1254726.8693
62 | 2669657.7791 | 1254879.9026 | 2669658.4467 | 1254889.2982 | 2669658.1861 | 1254892.9017
63 | 2669599.2742 | 1254702.6001 | 2669599.3916 | 1254696.9222
64 | 2669599.2742 | 1254702.6001 | 2669599.4382 | 1254711.7531 | 2669600.8221 | 1254726.8693 | 2669600.8221 | 1254726.8693
65 | 2669570.8433 | 1254726.6106 | 2669600.8221 | 1254726.8693
66 | 2669569.5608 | 1254707.3437 | 2669568.8231 | 1254716.4303 | 2669570.8433 | 1254726.6106
67 | 2669571.7018 | 1254680.9748 | 2669569.5608 | 1254707.3437
68 | 2669536.6023 | 1254636.8719 | 2669554.3526 | 1254640.1876
69 | 2669536.6023 | 1254636.8719 | 2669538.3761 | 1254625.3485
70 | 2669536.6023 | 1254636.8719 | 2669524.9325 | 1254635.8552
71 | 2669536.6023 | 1254636.8719 | 2669528.9337 | 1254662.2559
72 | 2669486.2015 | 1254722.4841 | 2669488.1171 | 1254715.1062
73 | 2669492.0463 | 1254699.9728 | 2669492.0463 | 1254699.9728 | 2669488.1171 | 1254715.1062
74 | 2669492.0463 | 1254699.9728 | 2669497.9595 | 1254693.6486
75 | 2669468.8524 | 1254584.8318 | 2669485.6416 | 1254581.2904
76 | 2669485.6416 | 1254581.2904 | 2669501.8762 | 1254577.8659
77 | 2669517.4314 | 1254575.9915 | 2669501.8762 | 1254577.8659 | 2669501.8762 | 1254577.8659
78 | 2669467.1084 | 1254535.3116 | 2669446.3084 | 1254537.6917
79 | 2669467.1084 | 1254535.3116 | 2669469.7599 | 1254535.0081
80 | 2669440.6974 | 1254537.9813 | 2669445.7439 | 1254537.7563 | 2669446.3084 | 1254537.6917
81 | 2669492.7596 | 1254533.4508 | 2669481.1732 | 1254533.7021 | 2669469.7599 | 1254535.0081
82 | 2669440.6974 | 1254537.9813 | 2669435.3881 | 1254538.218
83 | 2669420.7791 | 1254537.5383 | 2669429.9459 | 1254538.4606 | 2669435.3881 | 1254538.218
84 | 2669420.7791 | 1254537.5383 | 2669407.2839 | 1254536.1804
85 | 2669444.7768 | 1254461.7205 | 2669426.4216 | 1254460.8044
86 | 2669452.7255 | 1254462.1172 | 2669444.7768 | 1254461.7205
87 | 2669417.1407 | 1254460.3412 | 2669426.4216 | 1254460.8044
88 | 2669474.5889 | 1254463.2084 | 2669452.7255 | 1254462.1172
89 | 2669398.7364 | 1254459.4227 | 2669417.1407 | 1254460.3412
90 | 2669517.4314 | 1254575.9915 | 2669517.4314 | 1254575.9915 | 2669527.6753 | 1254578.8022
91 | 2669517.4314 | 1254575.9915 | 2669514.6844 | 1254532.6427
92 | 2669514.6844 | 1254532.6427 | 2669505.4562 | 1254533.1755 | 2669492.7596 | 1254533.4508
93 | 2669474.5889 | 1254463.2084 | 2669494.4201 | 1254464.1982
94 | 2669529.9623 | 1254579.4297 | 2669527.6753 | 1254578.8022
95 | 2669514.6844 | 1254532.6427 | 2669528.6354 | 1254484.2394
96 | 2669494.4201 | 1254464.1982 | 2669497.41 | 1254464.3474
97 | 2669511.8385 | 1254465.0675 | 2669497.41 | 1254464.3474
98 | 2669414.1073 | 1254592.4525 | 2669410.5073 | 1254592.939 | 2669388.7139 | 1254594.5034
99 | 2669388.7139 | 1254594.5034 | 2669372.0749 | 1254595.6977
100 | 2669357.6494 | 1254594.8731 | 2669363.2345 | 1254596.3323 | 2669372.0749 | 1254595.6977
101 | 2669394.0445 | 1254533.6187 | 2669401.4252 | 1254535.591 | 2669407.2839 | 1254536.1804
102 | 2669387.1287 | 1254531.7707 | 2669394.0445 | 1254533.6187
103 | 2669394.1731 | 1254459.195 | 2669398.7364 | 1254459.4227
104 | 2669357.6494 | 1254594.8731 | 2669342.0832 | 1254590.8063
105 | 2669387.1287 | 1254531.7707 | 2669380.2204 | 1254529.9248
106 | 2669380.2204 | 1254529.9248 | 2669337.6776 | 1254518.5567
107 | 2669539.852 | 1254584.5295 | 2669535.6368 | 1254580.9866 | 2669529.9623 | 1254579.4297
108 | 2669511.8385 | 1254465.0675 | 2669522.0392 | 1254479.1196 | 2669528.6354 | 1254484.2394
109 | 2669545.9027 | 1254595.2397 | 2669545.4843 | 1254591.0428 | 2669543.6599 | 1254587.7301 | 2669539.852 | 1254584.5295
110 | 2669545.9027 | 1254595.2397 | 2669541.5956 | 1254604.796
111 | 2669508.3186 | 1254693.5135 | 2669509.145 | 1254693.5027
112 | 2669508.3186 | 1254693.5135 | 2669497.9595 | 1254693.6486 | 2669497.9595 | 1254693.6486
113 | 2669516.1423 | 1254693.4114 | 2669509.145 | 1254693.5027
114 | 2669523.9216 | 1254690.7734 | 2669521.7339 | 1254693.3385 | 2669516.1423 | 1254693.4114
115 | 2669523.9216 | 1254690.7734 | 2669525.1225 | 1254689.3642 | 2669528.9337 | 1254662.2559
116 | 2669538.3761 | 1254625.3485 | 2669541.5108 | 1254604.9841 | 2669541.5956 | 1254604.796
117 | 2669508.8689 | 1254634.4558 | 2669524.9325 | 1254635.8552
118 | 2669422.7733 | 1254762.724 | 2669422.7579 | 1254762.7173
119 | 2669407.1708 | 1254755.9073 | 2669422.7579 | 1254762.7173
120 | 2669425.3818 | 1254763.8636 | 2669422.7733 | 1254762.724
121 | 2669407.1708 | 1254755.9073 | 2669369.4771 | 1254747.2113
122 | 2669407.1708 | 1254755.9073 | 2669411.2236 | 1254742.8273
123 | 2669426.0957 | 1254764.1755 | 2669425.3818 | 1254763.8636
124 | 2669330.9054 | 1254738.3126 | 2669369.4771 | 1254747.2113
125 | 2669418.2835 | 1254720.0427 | 2669411.2236 | 1254742.8273
126 | 2669426.0957 | 1254764.1755 | 2669438.5357 | 1254769.6105
127 | 2669330.9054 | 1254738.3126 | 2669320.1068 | 1254737.759
128 | 2669330.9054 | 1254738.3126 | 2669340.0517 | 1254724.5169
129 | 2669423.0197 | 1254704.7574 | 2669418.2835 | 1254720.0427
130 | 2669320.1068 | 1254737.759 | 2669295.9014 | 1254736.518
131 | 2669340.0517 | 1254724.5169 | 2669352.8857 | 1254705.1591
132 | 2669423.0197 | 1254704.7574 | 2669426.2654 | 1254694.2824
133 | 2669508.8689 | 1254634.4558 | 2669510.116 | 1254620.3137
134 | 2669508.8689 | 1254634.4558 | 2669495.4785 | 1254633.3581
135 | 2669496.8561 | 1254610.553 | 2669509.4197 | 1254611.3232 | 2669510.8445 | 1254612.0516 | 2669510.116 | 1254620.3137
136 | 2669489.209 | 1254632.8441 | 2669495.4785 | 1254633.3581
137 | 2669536.013 | 1254749.9829 | 2669531.5094 | 1254727.7711
138 | 2669460.8495 | 1254643.0218 | 2669469.9047 | 1254633.1423 | 2669474.3584 | 1254631.6267 | 2669483.4532 | 1254632.3723
139 | 2669483.4532 | 1254632.3723 | 2669489.209 | 1254632.8441
140 | 2669303.6607 | 1254580.7682 | 2669342.0832 | 1254590.8063
141 | 2669357.344 | 1254698.4345 | 2669360.8267 | 1254693.1815
142 | 2669357.344 | 1254698.4345 | 2669352.8857 | 1254705.1591
143 | 2669360.8267 | 1254693.1815 | 2669373.3025 | 1254674.3638
144 | 2669375.2759 | 1254671.3873 | 2669373.3025 | 1254674.3638
145 | 2669381.1451 | 1254662.5346 | 2669375.2759 | 1254671.3873
146 | 2669268.5095 | 1254681.5977 | 2669276.7042 | 1254666.7543
147 | 2669284.7101 | 1254652.2527 | 2669276.7042 | 1254666.7543
148 | 2669288.2569 | 1254645.8283 | 2669284.7101 | 1254652.2527
149 | 2669288.2569 | 1254645.8283 | 2669299.0843 | 1254626.2159
150 | 2669300.4114 | 1254623.8121 | 2669299.0843 | 1254626.2159
151 | 2669300.4114 | 1254623.8121 | 2669304.7269 | 1254615.9952 | 2669304.6497 | 1254611.6356 | 2669303.1779 | 1254610.1629
152 | 2669292.1002 | 1254599.0796 | 2669303.1779 | 1254610.1629
153 | 2669303.6607 | 1254580.7682 | 2669292.1002 | 1254599.0796
154 | 2669292.1002 | 1254599.0796 | 2669283.4937 | 1254595.1094 | 2669279.7542 | 1254596.1998 | 2669277.4045 | 1254600.0018
155 | 2669264.0865 | 1254621.5518 | 2669277.4045 | 1254600.0018
156 | 2669264.0865 | 1254621.5518 | 2669252.2793 | 1254640.6569
157 | 2669244.4823 | 1254653.2734 | 2669252.2793 | 1254640.6569

## bus_geodata
| x | y | coords
0 | 2669126.2824 | 1254874.5246
1 | 2669140.236 | 1254884.2348
2 | 2669167.0688 | 1254799.9718
3 | 2669148.4871 | 1254887.3459
4 | 2669170.9128 | 1254787.9006
5 | 2669172.7734 | 1254782.0579
6 | 2669180.9808 | 1254756.2841
7 | 2669198.3563 | 1254901.3036
8 | 2669185.8898 | 1254935.3291
9 | 2669258.3732 | 1254719.0736
10 | 2669265.3606 | 1254687.3015
11 | 2669266.3162 | 1254734.3542
12 | 2669483.607 | 1254911.8516
13 | 2669483.5704 | 1254910.3037
14 | 2669482.9638 | 1254884.6724
15 | 2669482.9216 | 1254882.8905
16 | 2669482.4644 | 1254867.182
17 | 2669505.7905 | 1254864.7238
18 | 2669481.7588 | 1254848.0871
19 | 2669528.6236 | 1254861.4808
20 | 2669481.0608 | 1254829.1976
21 | 2669543.7735 | 1254859.329
22 | 2669550.4702 | 1254891.6616
23 | 2669558.2648 | 1254911.0893
24 | 2669546.9036 | 1254875.1763
25 | 2669546.4668 | 1254872.9646
26 | 2669541.1701 | 1254845.9999
27 | 2669535.8625 | 1254818.825
28 | 2669535.1396 | 1254815.124
29 | 2669477.4823 | 1254800.1682
30 | 2669475.8497 | 1254789.3145
31 | 2669476.6164 | 1254777.9749
32 | 2669461.1253 | 1254780.6205
33 | 2669501.8052 | 1254794.3003
34 | 2669479.7513 | 1254747.3268
35 | 2669460.4622 | 1254780.2289
36 | 2669506.5113 | 1254794.9607
37 | 2669531.8973 | 1254798.5232
38 | 2669535.3315 | 1254799.0083
39 | 2669554.4481 | 1254801.69
40 | 2669535.9139 | 1254784.6675
41 | 2669557.1518 | 1254802.0692
42 | 2669537.104 | 1254755.364
43 | 2669482.1933 | 1254737.9217
44 | 2669449.1134 | 1254774.2318
45 | 2669592.4557 | 1254831.8725
46 | 2669598.6999 | 1254859.4729
47 | 2669587.4962 | 1254809.951
48 | 2669605.1014 | 1254887.7681
49 | 2669616.9984 | 1254795.1824
50 | 2669636.0495 | 1254828.827
51 | 2669628.261 | 1254816.1239
52 | 2669648.098 | 1254849.9744
53 | 2669619.492 | 1254801.8216
54 | 2669656.2838 | 1254871.1706
55 | 2669612.5504 | 1254779.8928
56 | 2669606.9335 | 1254754.4991
57 | 2669657.7791 | 1254879.9026
58 | 2669658.1861 | 1254892.9017
59 | 2669599.3916 | 1254696.9222
60 | 2669599.2742 | 1254702.6001
61 | 2669600.8221 | 1254726.8693
62 | 2669569.5608 | 1254707.3437
63 | 2669570.8433 | 1254726.6106
64 | 2669571.7018 | 1254680.9748
65 | 2669554.3526 | 1254640.1876
66 | 2669536.6023 | 1254636.8719
67 | 2669486.2015 | 1254722.4841
68 | 2669488.1171 | 1254715.1062
69 | 2669492.0463 | 1254699.9728
70 | 2669468.8524 | 1254584.8318
71 | 2669485.6416 | 1254581.2904
72 | 2669501.8762 | 1254577.8659
73 | 2669467.1084 | 1254535.3116
74 | 2669446.3084 | 1254537.6917
75 | 2669469.7599 | 1254535.0081
76 | 2669440.6974 | 1254537.9813
77 | 2669435.3881 | 1254538.218
78 | 2669420.7791 | 1254537.5383
79 | 2669444.7768 | 1254461.7205
80 | 2669426.4216 | 1254460.8044
81 | 2669452.7255 | 1254462.1172
82 | 2669417.1407 | 1254460.3412
83 | 2669517.4314 | 1254575.9915
84 | 2669492.7596 | 1254533.4508
85 | 2669474.5889 | 1254463.2084
86 | 2669527.6753 | 1254578.8022
87 | 2669514.6844 | 1254532.6427
88 | 2669494.4201 | 1254464.1982
89 | 2669497.41 | 1254464.3474
90 | 2669414.1073 | 1254592.4525
91 | 2669388.7139 | 1254594.5034
92 | 2669372.0749 | 1254595.6977
93 | 2669407.2839 | 1254536.1804
94 | 2669394.0445 | 1254533.6187
95 | 2669398.7364 | 1254459.4227
96 | 2669394.1731 | 1254459.195
97 | 2669357.6494 | 1254594.8731
98 | 2669387.1287 | 1254531.7707
99 | 2669380.2204 | 1254529.9248
100 | 2669337.6776 | 1254518.5567
101 | 2669529.9623 | 1254579.4297
102 | 2669528.6354 | 1254484.2394
103 | 2669511.8385 | 1254465.0675
104 | 2669539.852 | 1254584.5295
105 | 2669545.9027 | 1254595.2397
106 | 2669508.3186 | 1254693.5135
107 | 2669509.145 | 1254693.5027
108 | 2669497.9595 | 1254693.6486
109 | 2669516.1423 | 1254693.4114
110 | 2669523.9216 | 1254690.7734
111 | 2669528.9337 | 1254662.2559
112 | 2669538.3761 | 1254625.3485
113 | 2669524.9325 | 1254635.8552
114 | 2669422.7579 | 1254762.7173
115 | 2669422.7733 | 1254762.724
116 | 2669407.1708 | 1254755.9073
117 | 2669425.3818 | 1254763.8636
118 | 2669369.4771 | 1254747.2113
119 | 2669411.2236 | 1254742.8273
120 | 2669426.0957 | 1254764.1755
121 | 2669330.9053 | 1254738.3126
122 | 2669418.2835 | 1254720.0427
123 | 2669438.5357 | 1254769.6105
124 | 2669320.1068 | 1254737.759
125 | 2669340.0517 | 1254724.5169
126 | 2669423.0197 | 1254704.7574
127 | 2669541.5956 | 1254604.796
128 | 2669508.8689 | 1254634.4558
129 | 2669510.116 | 1254620.3137
130 | 2669495.4785 | 1254633.3581
131 | 2669531.5094 | 1254727.7711
132 | 2669536.013 | 1254749.9829
133 | 2669460.8495 | 1254643.0218
134 | 2669483.4532 | 1254632.3723
135 | 2669489.209 | 1254632.8441
136 | 2669426.2654 | 1254694.2824
137 | 2669496.8561 | 1254610.553
138 | 2669342.0832 | 1254590.8063
139 | 2669357.344 | 1254698.4345
140 | 2669360.8267 | 1254693.1815
141 | 2669352.8857 | 1254705.1591
142 | 2669373.3025 | 1254674.3638
143 | 2669375.2759 | 1254671.3873
144 | 2669381.1451 | 1254662.5346
145 | 2669295.9014 | 1254736.518
146 | 2669268.5095 | 1254681.5977
147 | 2669276.7042 | 1254666.7543
148 | 2669284.7101 | 1254652.2527
149 | 2669288.2569 | 1254645.8283
150 | 2669299.0843 | 1254626.2159
151 | 2669300.4114 | 1254623.8121
152 | 2669303.1779 | 1254610.1629
153 | 2669303.6607 | 1254580.7682
154 | 2669292.1002 | 1254599.0796
155 | 2669277.4045 | 1254600.0018
156 | 2669264.0865 | 1254621.5518
157 | 2669252.2793 | 1254640.6569
158 | 2669244.4823 | 1254653.2734
159 | 2669523.9216 | 1254690.7734

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1