## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4048-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4048-6_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4048-6_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_4048-6_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_4048-6_0_3_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_4048-6_0_3_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_4048-6_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4048-6_0_3_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_4048-6_0_3_node_83 | 0.4 | n |  | TRUE
9 | bus_LV_4048-6_0_3_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_4048-6_0_3_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_4048-6_0_3_node_48 | 0.4 | n |  | TRUE
12 | bus_LV_4048-6_0_3_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_4048-6_0_3_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_4048-6_0_3_node_82 | 0.4 | n |  | TRUE
15 | bus_LV_4048-6_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4048-6_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4048-6_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4048-6_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4048-6_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4048-6_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_4048-6_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4048-6_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_4048-6_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_4048-6_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4048-6_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4048-6_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4048-6_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4048-6_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_4048-6_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4048-6_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4048-6_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_4048-6_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_4048-6_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_4048-6_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4048-6_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4048-6_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_4048-6_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_4048-6_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_4048-6_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4048-6_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_4048-6_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_4048-6_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_4048-6_0_3_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_4048-6_0_3_node_76 | 0.4 | n |  | TRUE
45 | bus_LV_4048-6_0_3_node_78 | 0.4 | n |  | TRUE
46 | bus_LV_4048-6_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4048-6_0_3_node_95 | 0.4 | n |  | TRUE
48 | bus_LV_4048-6_0_3_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_4048-6_0_3_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_4048-6_0_3_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_4048-6_0_3_node_90 | 0.4 | n |  | TRUE
52 | bus_LV_4048-6_0_3_node_92 | 0.4 | n |  | TRUE
53 | bus_LV_4048-6_0_3_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_4048-6_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_4048-6_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_4048-6_0_3_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_4048-6_0_3_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_4048-6_0_3_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_4048-6_0_3_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_4048-6_0_3_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_4048-6_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_4048-6_0_3_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_4048-6_0_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_4048-6_0_3_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_4048-6_0_3_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4048-6_0_3_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_4048-6_0_3_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_4048-6_0_3_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4048-6_0_3_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_4048-6_0_3_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_4048-6_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_4048-6_0_3_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_4048-6_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_4048-6_0_3_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_4048-6_0_3_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_4048-6_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_4048-6_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_4048-6_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_4048-6_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_4048-6_0_3_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_4048-6_0_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_4048-6_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_4048-6_0_3_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_4048-6_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_4048-6_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_4048-6_0_3_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_4048-6_0_3_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_4048-6_0_3_node_85 | 0.4 | n |  | TRUE
89 | bus_MV_519_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4048-6_0_3_load_0 | 0 | 0.0010719 | 0.00026865 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4048-6_0_3_load_33 | 4 | 0.0033318 | 0.00083502 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4048-6_0_3_load_36 | 5 | 0.0010777 | 0.00027009 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4048-6_0_3_load_83 | 8 | 0.0025854 | 0.00064797 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4048-6_0_3_load_32 | 9 | 0.001227 | 0.00030751 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4048-6_0_3_load_47 | 10 | 0.0024458 | 0.00061298 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4048-6_0_3_load_48 | 11 | 0.002556 | 0.00064058 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4048-6_0_3_load_34 | 12 | 0.00088792 | 0.00022253 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4048-6_0_3_load_82 | 14 | 0.0017957 | 0.00045006 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4048-6_0_3_load_8 | 15 | 0.0015943 | 0.00039957 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4048-6_0_3_load_9 | 16 | 0.0025275 | 0.00063344 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4048-6_0_3_load_10 | 17 | 0.0010594 | 0.00026551 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4048-6_0_3_load_11 | 18 | 0.00079684 | 0.00019971 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4048-6_0_3_load_12 | 19 | 0.0013655 | 0.00034221 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4048-6_0_3_load_22 | 20 | 0.0019244 | 0.0004823 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4048-6_0_3_load_21 | 22 | 0.0020824 | 0.0005219 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4048-6_0_3_load_25 | 23 | 0.0013189 | 0.00033056 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4048-6_0_3_load_15 | 24 | 0.0011134 | 0.00027905 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4048-6_0_3_load_13 | 25 | 0.0056469 | 0.0014152 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4048-6_0_3_load_14 | 26 | 0.00086066 | 0.0002157 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4048-6_0_3_load_16 | 27 | 0.0056656 | 0.0014199 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4048-6_0_3_load_20 | 30 | 0.00092518 | 0.00023187 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4048-6_0_3_load_41 | 31 | 0.0011151 | 0.00027947 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4048-6_0_3_load_26 | 32 | 0.0023915 | 0.00059936 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4048-6_0_3_load_37 | 33 | 0.0010127 | 0.00025381 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4048-6_0_3_load_35 | 36 | 0.00098764 | 0.00024753 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4048-6_0_3_load_23 | 37 | 0.0016569 | 0.00041525 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4048-6_0_3_load_24 | 38 | 0.0015728 | 0.00039418 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4048-6_0_3_load_43 | 39 | 0.0020083 | 0.00050332 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4048-6_0_3_load_44 | 40 | 0.001719 | 0.00043083 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4048-6_0_3_load_39 | 41 | 0.0011149 | 0.00027942 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4048-6_0_3_load_76 | 44 | 0.0017296 | 0.00043348 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4048-6_0_3_load_78 | 45 | 0.0016729 | 0.00041927 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4048-6_0_3_load_95 | 47 | 0.020663 | 0.0051786 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4048-6_0_3_load_89 | 49 | 0.0035913 | 0.00090008 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4048-6_0_3_load_75 | 50 | 0.0050204 | 0.0012582 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4048-6_0_3_load_90 | 51 | 0.0077925 | 0.001953 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4048-6_0_3_load_96 | 53 | 0.022844 | 0.0057252 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4048-6_0_3_load_38 | 54 | 0.0017244 | 0.00043217 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4048-6_0_3_load_40 | 55 | 0.0015728 | 0.00039419 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4048-6_0_3_load_42 | 56 | 0.0017011 | 0.00042634 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4048-6_0_3_load_45 | 57 | 0.0016565 | 0.00041515 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4048-6_0_3_load_46 | 58 | 0.0015732 | 0.00039428 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4048-6_0_3_load_59 | 59 | 0.0017187 | 0.00043075 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4048-6_0_3_load_60 | 60 | 0.0025566 | 0.00064076 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4048-6_0_3_load_49 | 61 | 0.0021379 | 0.00053582 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4048-6_0_3_load_65 | 63 | 0.0015553 | 0.0003898 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4048-6_0_3_load_56 | 64 | 0.0025542 | 0.00064014 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4048-6_0_3_load_50 | 65 | 0.0035878 | 0.00089919 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4048-6_0_3_load_51 | 66 | 0.002567 | 0.00064336 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4048-6_0_3_load_52 | 67 | 0.0035261 | 0.00088372 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4048-6_0_3_load_53 | 68 | 0.0027756 | 0.00069562 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4048-6_0_3_load_57 | 71 | 0.0020078 | 0.0005032 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4048-6_0_3_load_80 | 72 | 0.0024728 | 0.00061973 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4048-6_0_3_load_74 | 73 | 0.0024036 | 0.0006024 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4048-6_0_3_load_55 | 74 | 0.0031272 | 0.00078375 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4048-6_0_3_load_61 | 75 | 0.0015504 | 0.00038857 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4048-6_0_3_load_62 | 76 | 0.0016173 | 0.00040532 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4048-6_0_3_load_63 | 77 | 0.0015461 | 0.00038749 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4048-6_0_3_load_64 | 78 | 0.0023824 | 0.00059708 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4048-6_0_3_load_68 | 80 | 0.0018448 | 0.00046234 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4048-6_0_3_load_73 | 81 | 0.0010451 | 0.00026192 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4048-6_0_3_load_67 | 82 | 0.0034112 | 0.00085493 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4048-6_0_3_load_71 | 83 | 0.0041928 | 0.0010508 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4048-6_0_3_load_77 | 84 | 0.0018891 | 0.00047345 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4048-6_0_3_load_79 | 85 | 0.004053 | 0.0010158 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4048-6_0_3_load_87 | 86 | 0.0029718 | 0.00074481 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4048-6_0_3_load_84 | 87 | 0.0051909 | 0.001301 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4048-6_0_3_load_85 | 88 | 0.0029179 | 0.00073129 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4048-6_0_3_line_0 |  | 0 | 1 | 0.062576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4048-6_0_3_line_1 |  | 1 | 2 | 0.73445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4048-6_0_3_line_2 |  | 2 | 3 | 0.0402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4048-6_0_3_line_3 |  | 2 | 4 | 0.051654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4048-6_0_3_line_4 |  | 3 | 5 | 0.055813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4048-6_0_3_line_5 |  | 4 | 9 | 0.00098116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4048-6_0_3_line_6 |  | 5 | 12 | 0.012599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4048-6_0_3_line_7 |  | 6 | 7 | 0.00798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4048-6_0_3_line_8 |  | 6 | 8 | 0.008871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4048-6_0_3_line_9 |  | 7 | 13 | 0.023965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4048-6_0_3_line_10 |  | 8 | 14 | 0.02011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4048-6_0_3_line_11 |  | 10 | 11 | 0.035589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4048-6_0_3_line_12 |  | 11 | 61 | 0.046421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4048-6_0_3_line_13 |  | 12 | 36 | 0.006004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4048-6_0_3_line_14 |  | 13 | 83 | 0.027957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4048-6_0_3_line_15 |  | 13 | 82 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4048-6_0_3_line_16 |  | 15 | 16 | 0.026255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4048-6_0_3_line_17 |  | 15 | 17 | 0.0085589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4048-6_0_3_line_18 |  | 16 | 18 | 0.0048059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4048-6_0_3_line_19 |  | 17 | 19 | 0.019325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4048-6_0_3_line_20 |  | 18 | 20 | 0.013198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4048-6_0_3_line_21 |  | 19 | 21 | 0.0086828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4048-6_0_3_line_22 |  | 20 | 22 | 0.011574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4048-6_0_3_line_23 |  | 21 | 23 | 0.016422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4048-6_0_3_line_24 |  | 21 | 24 | 0.015765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4048-6_0_3_line_25 |  | 22 | 37 | 0.016515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4048-6_0_3_line_26 |  | 23 | 31 | 0.0010571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4048-6_0_3_line_27 |  | 24 | 25 | 0.0010891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4048-6_0_3_line_28 |  | 25 | 26 | 0.014517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4048-6_0_3_line_29 |  | 26 | 27 | 0.011533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4048-6_0_3_line_30 |  | 27 | 28 | 0.0072879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4048-6_0_3_line_31 |  | 28 | 29 | 0.012866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4048-6_0_3_line_32 |  | 28 | 30 | 0.011741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4048-6_0_3_line_33 |  | 29 | 32 | 0.029722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4048-6_0_3_line_34 |  | 30 | 33 | 0.0069725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4048-6_0_3_line_35 |  | 31 | 41 | 0.037208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4048-6_0_3_line_36 |  | 32 | 34 | 0.024737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4048-6_0_3_line_37 |  | 33 | 36 | 0.013553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4048-6_0_3_line_38 |  | 34 | 35 | 0.26009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4048-6_0_3_line_39 |  | 35 | 46 | 0.10304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4048-6_0_3_line_40 |  | 37 | 38 | 0.000919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4048-6_0_3_line_41 |  | 38 | 39 | 0.00022351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4048-6_0_3_line_42 |  | 39 | 40 | 0.0010549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4048-6_0_3_line_43 |  | 40 | 57 | 0.019263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4048-6_0_3_line_44 |  | 41 | 54 | 0.020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4048-6_0_3_line_45 |  | 42 | 43 | 0.039912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4048-6_0_3_line_46 |  | 42 | 44 | 0.013528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4048-6_0_3_line_47 |  | 42 | 45 | 0.01581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4048-6_0_3_line_48 |  | 43 | 49 | 0.041023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4048-6_0_3_line_49 |  | 44 | 50 | 0.013354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4048-6_0_3_line_50 |  | 46 | 47 | 0.050751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4048-6_0_3_line_51 |  | 46 | 48 | 0.065451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4048-6_0_3_line_52 |  | 48 | 53 | 0.012974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4048-6_0_3_line_53 |  | 48 | 52 | 0.082123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4048-6_0_3_line_54 |  | 49 | 86 | 0.00653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4048-6_0_3_line_55 |  | 50 | 84 | 0.022579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4048-6_0_3_line_56 |  | 51 | 52 | 0.087391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4048-6_0_3_line_57 |  | 54 | 55 | 0.0060001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4048-6_0_3_line_58 |  | 55 | 56 | 0.0052422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4048-6_0_3_line_59 |  | 57 | 58 | 0.00092129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4048-6_0_3_line_60 |  | 58 | 59 | 0.0012765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4048-6_0_3_line_61 |  | 59 | 60 | 0.001759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4048-6_0_3_line_62 |  | 60 | 68 | 0.018883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4048-6_0_3_line_63 |  | 61 | 62 | 0.038596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4048-6_0_3_line_64 |  | 62 | 63 | 0.012903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4048-6_0_3_line_65 |  | 62 | 64 | 0.018484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4048-6_0_3_line_66 |  | 64 | 74 | 0.029069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4048-6_0_3_line_67 |  | 65 | 66 | 0.02044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4048-6_0_3_line_68 |  | 65 | 67 | 0.0006075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4048-6_0_3_line_69 |  | 66 | 68 | 0.0023971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4048-6_0_3_line_70 |  | 67 | 69 | 0.017474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4048-6_0_3_line_71 |  | 69 | 70 | 0.018557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4048-6_0_3_line_72 |  | 69 | 71 | 0.019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4048-6_0_3_line_73 |  | 70 | 72 | 0.0063646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4048-6_0_3_line_74 |  | 70 | 73 | 0.034475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4048-6_0_3_line_75 |  | 71 | 74 | 0.019088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4048-6_0_3_line_76 |  | 72 | 85 | 0.0040069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4048-6_0_3_line_77 |  | 73 | 81 | 0.0011222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4048-6_0_3_line_78 |  | 75 | 76 | 0.003551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4048-6_0_3_line_79 |  | 75 | 77 | 0.013087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4048-6_0_3_line_80 |  | 76 | 78 | 0.008918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4048-6_0_3_line_81 |  | 78 | 79 | 0.022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4048-6_0_3_line_82 |  | 79 | 80 | 0.01584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4048-6_0_3_line_83 |  | 79 | 81 | 0.021955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4048-6_0_3_line_84 |  | 80 | 82 | 0.033144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4048-6_0_3_line_85 |  | 83 | 84 | 0.0037067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4048-6_0_3_line_86 |  | 86 | 88 | 0.012829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4048-6_0_3_line_87 |  | 87 | 88 | 0.0061232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4048-6_0_3_trafo_41 | 0.63 MVA 20/0.4 kV | 89 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44
0 | 2669180.9808 | 1254756.2841 | 2669158.5847 | 1254758.1017 | 2669145.1578 | 1254758.6565 | 2669133.3024 | 1254757.7175 | 2669123.6005 | 1254755.8251 | 2669118.9111 | 1254754.4365
1 | 2668948.794 | 1254510.4988 | 2668979.0587 | 1254508.0938 | 2668997.2674 | 1254503.1578 | 2669014.6159 | 1254509.231 | 2669033.372 | 1254519.4569 | 2669046.6935 | 1254528.6299 | 2669058.6132 | 1254538.9764 | 2669069.3985 | 1254550.1991 | 2669079.112 | 1254563.4109 | 2669092.1452 | 1254585.6345 | 2669097.7819 | 1254596.5082 | 2669104.9316 | 1254605.0756 | 2669116.767 | 1254613.5754 | 2669128.3541 | 1254620.0708 | 2669140.2034 | 1254624.1454 | 2669151.3787 | 1254624.5539 | 2669163.2062 | 1254620.1554 | 2669172.6036 | 1254611.3254 | 2669191.079 | 1254589.3585 | 2669201.4774 | 1254577.5047 | 2669206.9685 | 1254567.2614 | 2669220.4389 | 1254565.6065 | 2669231.3496 | 1254568.0135 | 2669234.7787 | 1254568.9542 | 2669238.9082 | 1254569.9922 | 2669246.4546 | 1254554.9583 | 2669256.4534 | 1254540.5203 | 2669262.3324 | 1254539.6884 | 2669280.1607 | 1254549.2149 | 2669291.3626 | 1254555.7506 | 2669298.285 | 1254566.962 | 2669303.6607 | 1254580.7682 | 2669292.1002 | 1254599.0796 | 2669304.6497 | 1254611.6356 | 2669304.7269 | 1254615.9952 | 2669262.6913 | 1254692.1367 | 2669256.7511 | 1254706.5889 | 2669257.0122 | 1254715.2204 | 2669259.8673 | 1254723.3041 | 2669266.3162 | 1254734.3542 | 2669251.99 | 1254740.847 | 2669241.711 | 1254745.0855 | 2669232.137 | 1254748.3871 | 2669222.876 | 1254750.7362 | 2669180.9808 | 1254756.2841
2 | 2668948.794 | 1254510.4988 | 2668931.3976 | 1254488.447 | 2668927.7453 | 1254476.8628
3 | 2668948.794 | 1254510.4988 | 2668932.4652 | 1254510.1419 | 2668922.9007 | 1254500.9461 | 2668914.1617 | 1254500.5442 | 2668910.2322 | 1254504.3568 | 2668904.4403 | 1254507.425 | 2668903.1941 | 1254507.6982
4 | 2668927.7453 | 1254476.8628 | 2668905.9501 | 1254465.2119 | 2668893.2468 | 1254459.2821 | 2668887.9557 | 1254455.6179 | 2668883.3668 | 1254451.2614 | 2668880.5239 | 1254448.0135
5 | 2668902.2357 | 1254507.9083 | 2668903.1941 | 1254507.6982
6 | 2668874.4009 | 1254437.1366 | 2668875.607 | 1254440.6079 | 2668878.7061 | 1254445.9367 | 2668880.5239 | 1254448.0135
7 | 2669235.8008 | 1254339.633 | 2669228.2185 | 1254337.0759
8 | 2669235.8008 | 1254339.633 | 2669243.0058 | 1254334.4579 | 2669243.0058 | 1254334.4579
9 | 2669205.0726 | 1254330.6119 | 2669228.2185 | 1254337.0759
10 | 2669262.4813 | 1254329.4455 | 2669243.0058 | 1254334.4579
11 | 2668994.4283 | 1254402.7039 | 2669020.2756 | 1254397.7938 | 2669029.1667 | 1254395.1386
12 | 2669073.7258 | 1254382.1335 | 2669062.2017 | 1254385.2733 | 2669029.1667 | 1254395.1386
13 | 2668874.4009 | 1254437.1366 | 2668872.4302 | 1254431.4652
14 | 2669205.0726 | 1254330.6119 | 2669205.3349 | 1254325.6002 | 2669202.8223 | 1254320.4671 | 2669195.6483 | 1254304.8092
15 | 2669205.0726 | 1254330.6119 | 2669190.7562 | 1254326.4391
16 | 2668936.6896 | 1254358.5854 | 2668960.2733 | 1254347.0473
17 | 2668936.6896 | 1254358.5854 | 2668929.0014 | 1254362.3467
18 | 2668964.5903 | 1254344.9353 | 2668960.2733 | 1254347.0473
19 | 2668911.6424 | 1254370.8393 | 2668929.0014 | 1254362.3467
20 | 2668964.5903 | 1254344.9353 | 2668976.4456 | 1254339.1352
21 | 2668903.843 | 1254374.6551 | 2668911.6424 | 1254370.8393
22 | 2668976.4456 | 1254339.1352 | 2668983.6714 | 1254335.6001 | 2668986.8841 | 1254334.138
23 | 2668903.843 | 1254374.6551 | 2668911.614 | 1254389.1226
24 | 2668903.843 | 1254374.6551 | 2668889.884 | 1254381.9828
25 | 2669001.9156 | 1254327.2969 | 2668986.8841 | 1254334.138
26 | 2668911.614 | 1254389.1226 | 2668912.1142 | 1254390.0539
27 | 2668889.884 | 1254381.9828 | 2668888.9196 | 1254382.489
28 | 2668876.0661 | 1254389.2363 | 2668888.9196 | 1254382.489
29 | 2668876.0661 | 1254389.2363 | 2668868.076 | 1254393.4306 | 2668866.479 | 1254395.3654
30 | 2668861.8396 | 1254400.9858 | 2668866.479 | 1254395.3654
31 | 2668849.9447 | 1254405.9734 | 2668861.8396 | 1254400.9858
32 | 2668861.8396 | 1254400.9858 | 2668865.6932 | 1254412.0764
33 | 2668849.9447 | 1254405.9734 | 2668829.823 | 1254418.4042 | 2668825.8359 | 1254413.827
34 | 2668865.6932 | 1254412.0764 | 2668867.9817 | 1254418.6626
35 | 2668942.774 | 1254385.9621 | 2668921.8914 | 1254397.1258 | 2668917.1014 | 1254397.07 | 2668914.8234 | 1254395.0976 | 2668912.1142 | 1254390.0539
36 | 2668809.5879 | 1254395.1745 | 2668825.8359 | 1254413.827
37 | 2668867.9817 | 1254418.6626 | 2668872.4302 | 1254431.4652
38 | 2668667.7915 | 1254515.0607 | 2668668.8157 | 1254535.3762 | 2668659.5417 | 1254531.0322 | 2668652.4767 | 1254531.3506 | 2668647.5578 | 1254533.3172 | 2668647.3062 | 1254528.3441 | 2668648.0242 | 1254524.3272 | 2668650.737 | 1254520.6894 | 2668666.6798 | 1254504.24 | 2668684.3914 | 1254488.8008 | 2668719.7708 | 1254459.1228 | 2668727.2917 | 1254453.3281 | 2668741.6839 | 1254448.3025 | 2668809.5879 | 1254395.1745
39 | 2668609.2149 | 1254574.6697 | 2668614.6967 | 1254569.6963 | 2668621.9122 | 1254560.2953 | 2668630.8361 | 1254553.1935 | 2668638.2792 | 1254549.5326 | 2668642.1777 | 1254549.689 | 2668647.5578 | 1254533.3172 | 2668652.4767 | 1254531.3506 | 2668659.5417 | 1254531.0322 | 2668668.8157 | 1254535.3762 | 2668667.7915 | 1254515.0607
40 | 2669001.9156 | 1254327.2969 | 2669002.7521 | 1254326.9162
41 | 2669002.7521 | 1254326.9162 | 2669002.9555 | 1254326.8236
42 | 2669003.9157 | 1254326.3866 | 2669002.9555 | 1254326.8236
43 | 2669003.9157 | 1254326.3866 | 2669021.4484 | 1254318.4071
44 | 2668961.8749 | 1254378.449 | 2668951.3464 | 1254381.3793 | 2668942.774 | 1254385.9621
45 | 2669174.7403 | 1254256.0591 | 2669188.5426 | 1254254.4636 | 2669214.0489 | 1254248.7796
46 | 2669174.7403 | 1254256.0591 | 2669175.7305 | 1254261.0632 | 2669179.1585 | 1254268.7616
47 | 2669174.7403 | 1254256.0591 | 2669160.9053 | 1254255.9309 | 2669158.9527 | 1254255.6376
48 | 2669214.0489 | 1254248.7796 | 2669219.6415 | 1254275.0529 | 2669222.7772 | 1254278.5143 | 2669229.0822 | 1254278.6992 | 2669232.2053 | 1254278.0868
49 | 2669184.6992 | 1254280.9119 | 2669180.0606 | 1254270.7875 | 2669179.1585 | 1254268.7616
50 | 2668609.2149 | 1254574.6697 | 2668601.9012 | 1254594.5105 | 2668599.3438 | 1254607.5348 | 2668589.3817 | 1254620.4774
51 | 2668609.2149 | 1254574.6697 | 2668544.5762 | 1254564.3919
52 | 2668544.5762 | 1254564.3919 | 2668536.1601 | 1254574.2658
53 | 2668544.5762 | 1254564.3919 | 2668543.9575 | 1254531.1717 | 2668576.2423 | 1254494.3742
54 | 2669232.2053 | 1254278.0868 | 2669238.6133 | 1254276.8305
55 | 2669184.6992 | 1254280.9119 | 2669194.1043 | 1254301.4393
56 | 2668576.2423 | 1254494.3742 | 2668568.2266 | 1254482.9843 | 2668563.717 | 1254480.219 | 2668557.8303 | 1254478.4607 | 2668552.105 | 1254478.4055 | 2668543.8076 | 1254480.9113 | 2668536.6273 | 1254485.9764 | 2668530.2921 | 1254492.9859 | 2668523.5562 | 1254502.6817 | 2668515.317 | 1254518.2286
57 | 2668961.8749 | 1254378.449 | 2668967.6553 | 1254376.8403
58 | 2668972.7056 | 1254375.4347 | 2668967.6553 | 1254376.8403
59 | 2669021.4484 | 1254318.4071 | 2669022.287 | 1254318.0255
60 | 2669022.287 | 1254318.0255 | 2669023.4488 | 1254317.4967
61 | 2669023.4488 | 1254317.4967 | 2669025.0498 | 1254316.7681
62 | 2669025.0498 | 1254316.7681 | 2669042.2364 | 1254308.9462
63 | 2669110.9644 | 1254371.9878 | 2669073.7258 | 1254382.1335
64 | 2669110.9644 | 1254371.9878 | 2669123.3515 | 1254368.3752
65 | 2669110.9644 | 1254371.9878 | 2669104.5607 | 1254354.6483
66 | 2669094.0719 | 1254327.5426 | 2669098.8392 | 1254339.1559 | 2669104.5607 | 1254354.6483
67 | 2669063.0223 | 1254299.4861 | 2669044.4182 | 1254307.9532
68 | 2669063.0223 | 1254299.4861 | 2669063.5752 | 1254299.2345
69 | 2669042.2364 | 1254308.9462 | 2669044.4182 | 1254307.9532
70 | 2669079.48 | 1254291.996 | 2669063.5752 | 1254299.2345
71 | 2669079.48 | 1254291.996 | 2669087.1015 | 1254287.9708 | 2669095.3304 | 1254282.3293
72 | 2669079.48 | 1254291.996 | 2669086.8234 | 1254309.8847
73 | 2669095.3304 | 1254282.3293 | 2669093.8671 | 1254278.4205 | 2669093.3524 | 1254276.291
74 | 2669095.3304 | 1254282.3293 | 2669100.3733 | 1254287.225 | 2669107.0419 | 1254292.451 | 2669117.0086 | 1254299.5058 | 2669122.8557 | 1254302.9057
75 | 2669094.0719 | 1254327.5426 | 2669086.8234 | 1254309.8847
76 | 2669093.3524 | 1254276.291 | 2669092.4278 | 1254272.4661 | 2669092.4315 | 1254272.3943
77 | 2669123.8258 | 1254303.4698 | 2669122.8557 | 1254302.9057
78 | 2669136.2313 | 1254338.2737 | 2669139.6566 | 1254337.3373
79 | 2669123.6074 | 1254341.7245 | 2669136.2313 | 1254338.2737
80 | 2669139.6566 | 1254337.3373 | 2669145.609 | 1254335.7102 | 2669147.2175 | 1254334.9284 | 2669147.5176 | 1254334.0178
81 | 2669143.8057 | 1254312.4723 | 2669143.3808 | 1254318.4939 | 2669147.984 | 1254332.6023 | 2669147.5176 | 1254334.0178
82 | 2669143.8057 | 1254312.4723 | 2669152.9544 | 1254315.2811 | 2669158.9547 | 1254317.1013
83 | 2669143.8057 | 1254312.4723 | 2669134.529 | 1254308.9948 | 2669125.5362 | 1254304.4644 | 2669123.8258 | 1254303.4698
84 | 2669190.7562 | 1254326.4391 | 2669164.7346 | 1254318.8545 | 2669158.9547 | 1254317.1013
85 | 2669195.6483 | 1254304.8092 | 2669194.1043 | 1254301.4393
86 | 2669251.2025 | 1254274.3622 | 2669238.6133 | 1254276.8305
87 | 2669257.2113 | 1254273.1841 | 2669251.2025 | 1254274.3622

## bus_geodata
| x | y | coords
0 | 2669118.9111 | 1254754.4365
1 | 2669180.9808 | 1254756.2841
2 | 2668948.794 | 1254510.4988
3 | 2668927.7453 | 1254476.8628
4 | 2668903.1941 | 1254507.6982
5 | 2668880.5239 | 1254448.0135
6 | 2669235.8008 | 1254339.633
7 | 2669228.2185 | 1254337.0759
8 | 2669243.0058 | 1254334.4579
9 | 2668902.2357 | 1254507.9083
10 | 2668994.4283 | 1254402.7039
11 | 2669029.1667 | 1254395.1386
12 | 2668874.4009 | 1254437.1366
13 | 2669205.0726 | 1254330.6119
14 | 2669262.4813 | 1254329.4455
15 | 2668936.6896 | 1254358.5854
16 | 2668960.2733 | 1254347.0473
17 | 2668929.0014 | 1254362.3467
18 | 2668964.5903 | 1254344.9353
19 | 2668911.6424 | 1254370.8393
20 | 2668976.4456 | 1254339.1352
21 | 2668903.843 | 1254374.6551
22 | 2668986.8841 | 1254334.138
23 | 2668911.614 | 1254389.1226
24 | 2668889.884 | 1254381.9828
25 | 2668888.9196 | 1254382.489
26 | 2668876.0661 | 1254389.2363
27 | 2668866.479 | 1254395.3654
28 | 2668861.8396 | 1254400.9858
29 | 2668849.9447 | 1254405.9734
30 | 2668865.6932 | 1254412.0764
31 | 2668912.1142 | 1254390.0539
32 | 2668825.8359 | 1254413.827
33 | 2668867.9817 | 1254418.6626
34 | 2668809.5879 | 1254395.1745
35 | 2668667.7915 | 1254515.0607
36 | 2668872.4302 | 1254431.4652
37 | 2669001.9156 | 1254327.2969
38 | 2669002.7521 | 1254326.9162
39 | 2669002.9555 | 1254326.8236
40 | 2669003.9157 | 1254326.3866
41 | 2668942.774 | 1254385.9621
42 | 2669174.7403 | 1254256.0591
43 | 2669214.0489 | 1254248.7796
44 | 2669179.1585 | 1254268.7616
45 | 2669158.9527 | 1254255.6376
46 | 2668609.2149 | 1254574.6697
47 | 2668589.3817 | 1254620.4774
48 | 2668544.5762 | 1254564.3919
49 | 2669232.2053 | 1254278.0868
50 | 2669184.6992 | 1254280.9119
51 | 2668515.317 | 1254518.2286
52 | 2668576.2423 | 1254494.3742
53 | 2668536.1601 | 1254574.2658
54 | 2668961.8749 | 1254378.449
55 | 2668967.6553 | 1254376.8403
56 | 2668972.7056 | 1254375.4347
57 | 2669021.4484 | 1254318.4071
58 | 2669022.287 | 1254318.0255
59 | 2669023.4488 | 1254317.4967
60 | 2669025.0498 | 1254316.7681
61 | 2669073.7258 | 1254382.1335
62 | 2669110.9644 | 1254371.9878
63 | 2669123.3515 | 1254368.3752
64 | 2669104.5607 | 1254354.6483
65 | 2669063.0223 | 1254299.4861
66 | 2669044.4182 | 1254307.9532
67 | 2669063.5752 | 1254299.2345
68 | 2669042.2364 | 1254308.9462
69 | 2669079.48 | 1254291.996
70 | 2669095.3304 | 1254282.3293
71 | 2669086.8234 | 1254309.8847
72 | 2669093.3524 | 1254276.291
73 | 2669122.8557 | 1254302.9057
74 | 2669094.0719 | 1254327.5426
75 | 2669136.2313 | 1254338.2737
76 | 2669139.6566 | 1254337.3373
77 | 2669123.6074 | 1254341.7245
78 | 2669147.5176 | 1254334.0178
79 | 2669143.8057 | 1254312.4723
80 | 2669158.9547 | 1254317.1013
81 | 2669123.8258 | 1254303.4698
82 | 2669190.7562 | 1254326.4391
83 | 2669195.6483 | 1254304.8092
84 | 2669194.1043 | 1254301.4393
85 | 2669092.4315 | 1254272.3943
86 | 2669238.6133 | 1254276.8305
87 | 2669257.2113 | 1254273.1841
88 | 2669251.2025 | 1254274.3622
89 | 2668903.843 | 1254374.6551

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1