## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_405-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_405-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_405-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_405-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_405-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_405-1_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_405-1_0_3_node_129 | 0.4 | n |  | TRUE
7 | bus_LV_405-1_0_3_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_405-1_0_3_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_405-1_0_3_node_130 | 0.4 | n |  | TRUE
10 | bus_LV_405-1_0_3_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_405-1_0_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_405-1_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_405-1_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_405-1_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_405-1_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_405-1_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_405-1_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_405-1_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_405-1_0_3_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_405-1_0_3_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_405-1_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_405-1_0_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_405-1_0_3_node_175 | 0.4 | n |  | TRUE
24 | bus_LV_405-1_0_3_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_405-1_0_3_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_405-1_0_3_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_405-1_0_3_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_405-1_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_405-1_0_3_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_405-1_0_3_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_405-1_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_405-1_0_3_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_405-1_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_405-1_0_3_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_405-1_0_3_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_405-1_0_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_405-1_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_405-1_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_405-1_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_405-1_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_405-1_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_405-1_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_405-1_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_405-1_0_3_node_106 | 0.4 | n |  | TRUE
45 | bus_LV_405-1_0_3_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_405-1_0_3_node_107 | 0.4 | n |  | TRUE
47 | bus_LV_405-1_0_3_node_108 | 0.4 | n |  | TRUE
48 | bus_LV_405-1_0_3_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_405-1_0_3_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_405-1_0_3_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_405-1_0_3_node_116 | 0.4 | n |  | TRUE
52 | bus_LV_405-1_0_3_node_122 | 0.4 | n |  | TRUE
53 | bus_LV_405-1_0_3_node_105 | 0.4 | n |  | TRUE
54 | bus_LV_405-1_0_3_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_405-1_0_3_node_117 | 0.4 | n |  | TRUE
56 | bus_LV_405-1_0_3_node_114 | 0.4 | n |  | TRUE
57 | bus_LV_405-1_0_3_node_131 | 0.4 | n |  | TRUE
58 | bus_LV_405-1_0_3_node_120 | 0.4 | n |  | TRUE
59 | bus_LV_405-1_0_3_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_405-1_0_3_node_75 | 0.4 | n |  | TRUE
61 | bus_LV_405-1_0_3_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_405-1_0_3_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_405-1_0_3_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_405-1_0_3_node_34 | 0.4 | n |  | TRUE
65 | bus_LV_405-1_0_3_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_405-1_0_3_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_405-1_0_3_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_405-1_0_3_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_405-1_0_3_node_102 | 0.4 | n |  | TRUE
70 | bus_LV_405-1_0_3_node_100 | 0.4 | n |  | TRUE
71 | bus_LV_405-1_0_3_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_405-1_0_3_node_177 | 0.4 | n |  | TRUE
73 | bus_LV_405-1_0_3_node_99 | 0.4 | n |  | TRUE
74 | bus_LV_405-1_0_3_node_44 | 0.4 | n |  | TRUE
75 | bus_LV_405-1_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_405-1_0_3_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_405-1_0_3_node_45 | 0.4 | n |  | TRUE
78 | bus_LV_405-1_0_3_node_46 | 0.4 | n |  | TRUE
79 | bus_LV_405-1_0_3_node_47 | 0.4 | n |  | TRUE
80 | bus_LV_405-1_0_3_node_48 | 0.4 | n |  | TRUE
81 | bus_LV_405-1_0_3_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_405-1_0_3_node_51 | 0.4 | n |  | TRUE
83 | bus_LV_405-1_0_3_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_405-1_0_3_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_405-1_0_3_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_405-1_0_3_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_405-1_0_3_node_65 | 0.4 | n |  | TRUE
88 | bus_LV_405-1_0_3_node_56 | 0.4 | n |  | TRUE
89 | bus_LV_405-1_0_3_node_57 | 0.4 | n |  | TRUE
90 | bus_LV_405-1_0_3_node_59 | 0.4 | n |  | TRUE
91 | bus_LV_405-1_0_3_node_61 | 0.4 | n |  | TRUE
92 | bus_LV_405-1_0_3_node_79 | 0.4 | n |  | TRUE
93 | bus_LV_405-1_0_3_node_109 | 0.4 | n |  | TRUE
94 | bus_LV_405-1_0_3_node_80 | 0.4 | n |  | TRUE
95 | bus_LV_405-1_0_3_node_110 | 0.4 | n |  | TRUE
96 | bus_LV_405-1_0_3_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_405-1_0_3_node_66 | 0.4 | n |  | TRUE
98 | bus_LV_405-1_0_3_node_67 | 0.4 | n |  | TRUE
99 | bus_LV_405-1_0_3_node_68 | 0.4 | n |  | TRUE
100 | bus_LV_405-1_0_3_node_69 | 0.4 | n |  | TRUE
101 | bus_LV_405-1_0_3_node_70 | 0.4 | n |  | TRUE
102 | bus_LV_405-1_0_3_node_71 | 0.4 | n |  | TRUE
103 | bus_LV_405-1_0_3_node_82 | 0.4 | n |  | TRUE
104 | bus_LV_405-1_0_3_node_83 | 0.4 | n |  | TRUE
105 | bus_LV_405-1_0_3_node_174 | 0.4 | n |  | TRUE
106 | bus_LV_405-1_0_3_node_176 | 0.4 | n |  | TRUE
107 | bus_LV_405-1_0_3_node_74 | 0.4 | n |  | TRUE
108 | bus_LV_405-1_0_3_node_76 | 0.4 | n |  | TRUE
109 | bus_LV_405-1_0_3_node_78 | 0.4 | n |  | TRUE
110 | bus_LV_405-1_0_3_node_89 | 0.4 | n |  | TRUE
111 | bus_LV_405-1_0_3_node_88 | 0.4 | n |  | TRUE
112 | bus_LV_405-1_0_3_node_92 | 0.4 | n |  | TRUE
113 | bus_LV_405-1_0_3_node_96 | 0.4 | n |  | TRUE
114 | bus_LV_405-1_0_3_node_111 | 0.4 | n |  | TRUE
115 | bus_LV_405-1_0_3_node_149 | 0.4 | n |  | TRUE
116 | bus_LV_405-1_0_3_node_148 | 0.4 | n |  | TRUE
117 | bus_LV_405-1_0_3_node_101 | 0.4 | n |  | TRUE
118 | bus_LV_405-1_0_3_node_97 | 0.4 | n |  | TRUE
119 | bus_LV_405-1_0_3_node_95 | 0.4 | n |  | TRUE
120 | bus_LV_405-1_0_3_node_112 | 0.4 | n |  | TRUE
121 | bus_LV_405-1_0_3_node_103 | 0.4 | n |  | TRUE
122 | bus_LV_405-1_0_3_node_124 | 0.4 | n |  | TRUE
123 | bus_LV_405-1_0_3_node_125 | 0.4 | n |  | TRUE
124 | bus_LV_405-1_0_3_node_113 | 0.4 | n |  | TRUE
125 | bus_LV_405-1_0_3_node_128 | 0.4 | n |  | TRUE
126 | bus_LV_405-1_0_3_node_134 | 0.4 | n |  | TRUE
127 | bus_LV_405-1_0_3_node_127 | 0.4 | n |  | TRUE
128 | bus_LV_405-1_0_3_node_133 | 0.4 | n |  | TRUE
129 | bus_LV_405-1_0_3_node_115 | 0.4 | n |  | TRUE
130 | bus_LV_405-1_0_3_node_118 | 0.4 | n |  | TRUE
131 | bus_LV_405-1_0_3_node_119 | 0.4 | n |  | TRUE
132 | bus_LV_405-1_0_3_node_121 | 0.4 | n |  | TRUE
133 | bus_LV_405-1_0_3_node_123 | 0.4 | n |  | TRUE
134 | bus_LV_405-1_0_3_node_141 | 0.4 | n |  | TRUE
135 | bus_LV_405-1_0_3_node_142 | 0.4 | n |  | TRUE
136 | bus_LV_405-1_0_3_node_126 | 0.4 | n |  | TRUE
137 | bus_LV_405-1_0_3_node_132 | 0.4 | n |  | TRUE
138 | bus_LV_405-1_0_3_node_143 | 0.4 | n |  | TRUE
139 | bus_LV_405-1_0_3_node_136 | 0.4 | n |  | TRUE
140 | bus_LV_405-1_0_3_node_137 | 0.4 | n |  | TRUE
141 | bus_LV_405-1_0_3_node_138 | 0.4 | n |  | TRUE
142 | bus_LV_405-1_0_3_node_139 | 0.4 | n |  | TRUE
143 | bus_LV_405-1_0_3_node_140 | 0.4 | n |  | TRUE
144 | bus_LV_405-1_0_3_node_172 | 0.4 | n |  | TRUE
145 | bus_LV_405-1_0_3_node_155 | 0.4 | n |  | TRUE
146 | bus_LV_405-1_0_3_node_156 | 0.4 | n |  | TRUE
147 | bus_LV_405-1_0_3_node_157 | 0.4 | n |  | TRUE
148 | bus_LV_405-1_0_3_node_158 | 0.4 | n |  | TRUE
149 | bus_LV_405-1_0_3_node_159 | 0.4 | n |  | TRUE
150 | bus_LV_405-1_0_3_node_170 | 0.4 | n |  | TRUE
151 | bus_LV_405-1_0_3_node_167 | 0.4 | n |  | TRUE
152 | bus_LV_405-1_0_3_node_165 | 0.4 | n |  | TRUE
153 | bus_LV_405-1_0_3_node_166 | 0.4 | n |  | TRUE
154 | bus_LV_405-1_0_3_node_168 | 0.4 | n |  | TRUE
155 | bus_LV_405-1_0_3_node_161 | 0.4 | n |  | TRUE
156 | bus_LV_405-1_0_3_node_171 | 0.4 | n |  | TRUE
157 | bus_LV_405-1_0_3_node_173 | 0.4 | n |  | TRUE
158 | bus_LV_405-1_0_3_node_144 | 0.4 | n |  | TRUE
159 | bus_LV_405-1_0_3_node_145 | 0.4 | n |  | TRUE
160 | bus_LV_405-1_0_3_node_146 | 0.4 | n |  | TRUE
161 | bus_LV_405-1_0_3_node_150 | 0.4 | n |  | TRUE
162 | bus_LV_405-1_0_3_node_151 | 0.4 | n |  | TRUE
163 | bus_LV_405-1_0_3_node_152 | 0.4 | n |  | TRUE
164 | bus_LV_405-1_0_3_node_154 | 0.4 | n |  | TRUE
165 | bus_LV_405-1_0_3_node_169 | 0.4 | n |  | TRUE
166 | bus_LV_405-1_0_3_node_163 | 0.4 | n |  | TRUE
167 | bus_LV_405-1_0_3_node_160 | 0.4 | n |  | TRUE
168 | bus_LV_405-1_0_3_node_164 | 0.4 | n |  | TRUE
169 | bus_MV_446_1_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_405-1_0_3_load_0 | 0 | 0.0012999 | 0.00032578 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_405-1_0_3_load_1 | 1 | 0.0070457 | 0.0017658 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_405-1_0_3_load_3 | 3 | 0.0019143 | 0.00047978 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_405-1_0_3_load_4 | 4 | 0.0014689 | 0.00036815 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_405-1_0_3_load_5 | 5 | 0.0013822 | 0.0003464 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_405-1_0_3_load_129 | 6 | 0.0031301 | 0.00078449 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_405-1_0_3_load_52 | 7 | 0.00036451 | 9.1355e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_405-1_0_3_load_28 | 8 | 0.00077199 | 0.00019348 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_405-1_0_3_load_53 | 10 | 0.0002769 | 6.9398e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_405-1_0_3_load_27 | 11 | 0.0044712 | 0.0011206 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_405-1_0_3_load_6 | 12 | 0.0017242 | 0.00043213 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_405-1_0_3_load_8 | 13 | 0.00058929 | 0.00014769 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_405-1_0_3_load_7 | 14 | 0.00036171 | 9.0653e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_405-1_0_3_load_18 | 17 | 0.0007537 | 0.0001889 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_405-1_0_3_load_19 | 18 | 0.0017446 | 0.00043724 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_405-1_0_3_load_72 | 19 | 0.00081399 | 0.00020401 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_405-1_0_3_load_20 | 21 | 0.0033727 | 0.00084529 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_405-1_0_3_load_54 | 22 | 0.0017146 | 0.00042973 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_405-1_0_3_load_175 | 23 | 0.0059086 | 0.0014808 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_405-1_0_3_load_55 | 24 | 0.0012524 | 0.00031388 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_405-1_0_3_load_11 | 25 | 0.0026979 | 0.00067615 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_405-1_0_3_load_12 | 26 | 0.0011503 | 0.0002883 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_405-1_0_3_load_14 | 28 | 0.0025311 | 0.00063434 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_405-1_0_3_load_16 | 30 | 0.00047395 | 0.00011878 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_405-1_0_3_load_17 | 31 | 0.00043203 | 0.00010828 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_405-1_0_3_load_41 | 32 | 0.00023742 | 5.9503e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_405-1_0_3_load_38 | 33 | 0.0028495 | 0.00071416 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_405-1_0_3_load_94 | 34 | 0.0041515 | 0.0010405 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_405-1_0_3_load_85 | 35 | 0.00077138 | 0.00019333 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_405-1_0_3_load_39 | 36 | 0.00058176 | 0.0001458 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_405-1_0_3_load_22 | 38 | 0.0012114 | 0.00030361 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_405-1_0_3_load_23 | 39 | 0.0026722 | 0.00066972 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_405-1_0_3_load_25 | 41 | 0.00089254 | 0.00022369 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_405-1_0_3_load_26 | 42 | 0.0027258 | 0.00068314 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_405-1_0_3_load_32 | 43 | 0.00088315 | 0.00022134 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_405-1_0_3_load_107 | 46 | 0.0015662 | 0.00039254 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_405-1_0_3_load_108 | 47 | 0.0023836 | 0.0005974 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_405-1_0_3_load_30 | 49 | 0.0034869 | 0.00087389 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_405-1_0_3_load_105 | 53 | 0.00028156 | 7.0565e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_405-1_0_3_load_77 | 54 | 0.0018403 | 0.00046122 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_405-1_0_3_load_117 | 55 | 0.0028582 | 0.00071634 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_405-1_0_3_load_114 | 56 | 0.0026201 | 0.00065665 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_405-1_0_3_load_131 | 57 | 0.008322 | 0.0020857 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_405-1_0_3_load_120 | 58 | 0.002326 | 0.00058295 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_405-1_0_3_load_81 | 59 | 0.00016789 | 4.2078e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_405-1_0_3_load_75 | 60 | 0.00057368 | 0.00014378 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_405-1_0_3_load_86 | 61 | 0.00045328 | 0.0001136 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_405-1_0_3_load_87 | 62 | 0.00063953 | 0.00016028 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_405-1_0_3_load_33 | 63 | 0.0013571 | 0.00034012 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_405-1_0_3_load_34 | 64 | 0.0020202 | 0.0005063 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_405-1_0_3_load_35 | 65 | 0.0014648 | 0.00036711 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_405-1_0_3_load_36 | 66 | 0.0017747 | 0.00044477 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_405-1_0_3_load_42 | 68 | 0.0033693 | 0.00084443 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_405-1_0_3_load_100 | 70 | 0.0006814 | 0.00017077 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_405-1_0_3_load_43 | 71 | 0.00021421 | 5.3687e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_405-1_0_3_load_177 | 72 | 0.0017836 | 0.000447 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_405-1_0_3_load_99 | 73 | 0.001076 | 0.00026967 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_405-1_0_3_load_44 | 74 | 0.00060801 | 0.00015238 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_405-1_0_3_load_60 | 75 | 0.0014028 | 0.00035158 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_405-1_0_3_load_45 | 77 | 0.0058431 | 0.0014644 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_405-1_0_3_load_46 | 78 | 0.00092712 | 0.00023236 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_405-1_0_3_load_47 | 79 | 0.0052557 | 0.0013172 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_405-1_0_3_load_49 | 81 | 0.0021198 | 0.00053128 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_405-1_0_3_load_51 | 82 | 0.00074688 | 0.00018718 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_405-1_0_3_load_50 | 83 | 0.00047881 | 0.00012 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_405-1_0_3_load_62 | 84 | 0.00062207 | 0.00015591 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_405-1_0_3_load_64 | 85 | 0.00047701 | 0.00011955 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_405-1_0_3_load_63 | 86 | 0.00049192 | 0.00012329 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_405-1_0_3_load_65 | 87 | 0.0040767 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_405-1_0_3_load_56 | 88 | 0.00052472 | 0.00013151 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_405-1_0_3_load_57 | 89 | 0.0026323 | 0.00065971 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_405-1_0_3_load_59 | 90 | 0.00067163 | 0.00016833 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_405-1_0_3_load_61 | 91 | 0.00075078 | 0.00018816 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_405-1_0_3_load_79 | 92 | 0.00040813 | 0.00010229 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_405-1_0_3_load_80 | 94 | 0.001016 | 0.00025463 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_405-1_0_3_load_110 | 95 | 0.00060633 | 0.00015196 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_405-1_0_3_load_93 | 96 | 0.0028217 | 0.00070718 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_405-1_0_3_load_66 | 97 | 0.00053316 | 0.00013362 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_405-1_0_3_load_67 | 98 | 0.00077474 | 0.00019417 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_405-1_0_3_load_68 | 99 | 0.0025075 | 0.00062844 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_405-1_0_3_load_69 | 100 | 0.00070765 | 0.00017735 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_405-1_0_3_load_70 | 101 | 0.00069632 | 0.00017451 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_405-1_0_3_load_71 | 102 | 0.00053393 | 0.00013382 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_405-1_0_3_load_82 | 103 | 0.00052596 | 0.00013182 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_405-1_0_3_load_176 | 106 | 0.0014429 | 0.00036162 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_405-1_0_3_load_74 | 107 | 0.00029081 | 7.2883e-05 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_405-1_0_3_load_76 | 108 | 0.00033691 | 8.4437e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_405-1_0_3_load_78 | 109 | 0.0023429 | 0.00058719 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_405-1_0_3_load_89 | 110 | 0.00075327 | 0.00018879 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_405-1_0_3_load_88 | 111 | 0.0020607 | 0.00051645 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_405-1_0_3_load_111 | 114 | 0.00065512 | 0.00016419 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_405-1_0_3_load_149 | 115 | 0.0012929 | 0.00032404 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_405-1_0_3_load_148 | 116 | 0.0014333 | 0.00035923 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_405-1_0_3_load_101 | 117 | 0.00094504 | 0.00023685 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_405-1_0_3_load_97 | 118 | 0.00065284 | 0.00016362 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_405-1_0_3_load_95 | 119 | 0.0014618 | 0.00036635 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_405-1_0_3_load_112 | 120 | 0.0010771 | 0.00026996 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_405-1_0_3_load_103 | 121 | 0.00075712 | 0.00018975 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_405-1_0_3_load_124 | 122 | 0.0021048 | 0.00052751 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_405-1_0_3_load_125 | 123 | 0.00094166 | 0.000236 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_405-1_0_3_load_128 | 125 | 0.0028782 | 0.00072135 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_405-1_0_3_load_134 | 126 | 0.0076099 | 0.0019072 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_405-1_0_3_load_127 | 127 | 0.0022073 | 0.0005532 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_405-1_0_3_load_133 | 128 | 0.0018157 | 0.00045507 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_405-1_0_3_load_115 | 129 | 0.00056004 | 0.00014036 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_405-1_0_3_load_118 | 130 | 0.0048608 | 0.0012182 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_405-1_0_3_load_119 | 131 | 0.0005964 | 0.00014947 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_405-1_0_3_load_121 | 132 | 0.0024846 | 0.00062271 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_405-1_0_3_load_123 | 133 | 0.0023135 | 0.00057981 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_405-1_0_3_load_141 | 134 | 0.00043994 | 0.00011026 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_405-1_0_3_load_142 | 135 | 0.00073612 | 0.00018449 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_405-1_0_3_load_126 | 136 | 0.0074442 | 0.0018657 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_405-1_0_3_load_132 | 137 | 0.0021996 | 0.00055128 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_405-1_0_3_load_143 | 138 | 0.0029102 | 0.00072936 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_405-1_0_3_load_136 | 139 | 0.0007148 | 0.00017915 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_405-1_0_3_load_137 | 140 | 0.00073251 | 0.00018358 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_405-1_0_3_load_139 | 142 | 0.00035585 | 8.9186e-05 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_405-1_0_3_load_155 | 145 | 0.0022807 | 0.00057161 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_405-1_0_3_load_156 | 146 | 0.00035314 | 8.8506e-05 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_405-1_0_3_load_170 | 150 | 0.00017415 | 4.3646e-05 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_405-1_0_3_load_167 | 151 | 0.00017628 | 4.4179e-05 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_405-1_0_3_load_165 | 152 | 0.00052112 | 0.00013061 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_405-1_0_3_load_166 | 153 | 0.00028125 | 7.0487e-05 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_405-1_0_3_load_171 | 156 | 0.00066617 | 0.00016696 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_405-1_0_3_load_173 | 157 | 0.0028204 | 0.00070686 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_405-1_0_3_load_144 | 158 | 0.00075747 | 0.00018984 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_405-1_0_3_load_145 | 159 | 0.0003536 | 8.862e-05 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_405-1_0_3_load_146 | 160 | 0.00057543 | 0.00014422 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_405-1_0_3_load_150 | 161 | 0.0025251 | 0.00063285 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_405-1_0_3_load_151 | 162 | 0.00033813 | 8.4742e-05 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_405-1_0_3_load_154 | 164 | 0.00019735 | 4.946e-05 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_405-1_0_3_load_160 | 167 | 0.00029289 | 7.3406e-05 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_405-1_0_3_load_164 | 168 | 0.00079036 | 0.00019808 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 137 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_405-1_0_3_line_0 |  | 0 | 1 | 0.0205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_405-1_0_3_line_1 |  | 0 | 2 | 0.013474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_405-1_0_3_line_2 |  | 1 | 3 | 0.0013451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_405-1_0_3_line_3 |  | 2 | 4 | 0.036198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_405-1_0_3_line_4 |  | 2 | 5 | 0.006596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_405-1_0_3_line_5 |  | 3 | 6 | 0.014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_405-1_0_3_line_6 |  | 4 | 7 | 0.00080029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_405-1_0_3_line_7 |  | 5 | 8 | 0.0094308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_405-1_0_3_line_8 |  | 6 | 9 | 0.0015075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_405-1_0_3_line_9 |  | 7 | 10 | 0.011961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_405-1_0_3_line_10 |  | 8 | 11 | 0.027377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_405-1_0_3_line_11 |  | 9 | 137 | 0.021256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_405-1_0_3_line_12 |  | 10 | 86 | 0.013743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_405-1_0_3_line_13 |  | 11 | 48 | 0.043558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_405-1_0_3_line_14 |  | 12 | 13 | 0.021645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_405-1_0_3_line_15 |  | 13 | 16 | 0.020078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_405-1_0_3_line_16 |  | 14 | 15 | 0.016555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_405-1_0_3_line_17 |  | 15 | 17 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_405-1_0_3_line_18 |  | 15 | 18 | 0.03814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_405-1_0_3_line_19 |  | 16 | 19 | 0.028575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_405-1_0_3_line_20 |  | 16 | 20 | 0.020755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_405-1_0_3_line_21 |  | 17 | 21 | 0.029665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_405-1_0_3_line_22 |  | 18 | 22 | 0.011183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_405-1_0_3_line_23 |  | 20 | 23 | 0.035337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_405-1_0_3_line_24 |  | 20 | 24 | 0.02262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_405-1_0_3_line_25 |  | 22 | 37 | 0.021644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_405-1_0_3_line_26 |  | 23 | 105 | 0.017489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_405-1_0_3_line_27 |  | 24 | 37 | 0.05285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_405-1_0_3_line_28 |  | 25 | 26 | 0.0087216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_405-1_0_3_line_29 |  | 25 | 27 | 0.030834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_405-1_0_3_line_30 |  | 26 | 28 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_405-1_0_3_line_31 |  | 27 | 29 | 0.023446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_405-1_0_3_line_32 |  | 27 | 30 | 0.028113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_405-1_0_3_line_33 |  | 27 | 31 | 0.03708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_405-1_0_3_line_34 |  | 29 | 32 | 0.010196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_405-1_0_3_line_35 |  | 29 | 33 | 0.001845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_405-1_0_3_line_36 |  | 30 | 34 | 0.00024012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_405-1_0_3_line_37 |  | 32 | 35 | 0.020766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_405-1_0_3_line_38 |  | 33 | 36 | 0.027151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_405-1_0_3_line_39 |  | 35 | 45 | 0.0188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_405-1_0_3_line_40 |  | 36 | 37 | 0.015981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_405-1_0_3_line_41 |  | 38 | 39 | 0.013399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_405-1_0_3_line_42 |  | 38 | 40 | 0.016358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_405-1_0_3_line_43 |  | 39 | 41 | 0.027188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_405-1_0_3_line_44 |  | 40 | 42 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_405-1_0_3_line_45 |  | 41 | 43 | 0.026303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_405-1_0_3_line_46 |  | 42 | 44 | 0.014233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_405-1_0_3_line_47 |  | 43 | 45 | 0.0562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_405-1_0_3_line_48 |  | 44 | 46 | 0.016677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_405-1_0_3_line_49 |  | 44 | 47 | 0.008737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_405-1_0_3_line_50 |  | 45 | 61 | 0.010699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_405-1_0_3_line_51 |  | 45 | 62 | 0.027239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_405-1_0_3_line_52 |  | 48 | 49 | 0.020647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_405-1_0_3_line_53 |  | 48 | 50 | 0.010726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_405-1_0_3_line_54 |  | 49 | 51 | 0.013013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_405-1_0_3_line_55 |  | 49 | 52 | 0.029448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_405-1_0_3_line_56 |  | 50 | 53 | 0.030182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_405-1_0_3_line_57 |  | 50 | 54 | 0.032712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_405-1_0_3_line_58 |  | 51 | 55 | 0.0038605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_405-1_0_3_line_59 |  | 51 | 56 | 0.023867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_405-1_0_3_line_60 |  | 52 | 57 | 0.018698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_405-1_0_3_line_61 |  | 52 | 58 | 0.039019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_405-1_0_3_line_62 |  | 53 | 59 | 0.013851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_405-1_0_3_line_63 |  | 54 | 60 | 0.0078104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_405-1_0_3_line_64 |  | 56 | 129 | 0.069378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_405-1_0_3_line_65 |  | 58 | 133 | 0.064787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_405-1_0_3_line_66 |  | 58 | 130 | 0.026614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_405-1_0_3_line_67 |  | 59 | 94 | 0.013871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_405-1_0_3_line_68 |  | 60 | 107 | 0.0085368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_405-1_0_3_line_69 |  | 61 | 97 | 0.021523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_405-1_0_3_line_70 |  | 62 | 115 | 0.017668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_405-1_0_3_line_71 |  | 63 | 64 | 0.029466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_405-1_0_3_line_72 |  | 63 | 65 | 0.0052869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_405-1_0_3_line_73 |  | 64 | 66 | 0.028713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_405-1_0_3_line_74 |  | 65 | 67 | 0.01325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_405-1_0_3_line_75 |  | 66 | 68 | 0.036952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_405-1_0_3_line_76 |  | 67 | 69 | 0.009804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_405-1_0_3_line_77 |  | 67 | 70 | 0.0048617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_405-1_0_3_line_78 |  | 68 | 71 | 0.00013014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_405-1_0_3_line_79 |  | 69 | 72 | 0.019996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_405-1_0_3_line_80 |  | 70 | 73 | 0.018852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_405-1_0_3_line_81 |  | 71 | 74 | 0.027761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_405-1_0_3_line_82 |  | 73 | 117 | 0.029908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_405-1_0_3_line_83 |  | 74 | 75 | 0.0052781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_405-1_0_3_line_84 |  | 75 | 76 | 0.026057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_405-1_0_3_line_85 |  | 76 | 91 | 0.0065541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_405-1_0_3_line_86 |  | 76 | 88 | 0.033615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_405-1_0_3_line_87 |  | 77 | 78 | 0.0077169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_405-1_0_3_line_88 |  | 77 | 79 | 0.03572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_405-1_0_3_line_89 |  | 78 | 80 | 0.020611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_405-1_0_3_line_90 |  | 79 | 81 | 0.0078031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_405-1_0_3_line_91 |  | 80 | 82 | 0.0077062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_405-1_0_3_line_92 |  | 80 | 83 | 0.010747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_405-1_0_3_line_93 |  | 81 | 84 | 0.011538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_405-1_0_3_line_94 |  | 82 | 85 | 0.020695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_405-1_0_3_line_95 |  | 84 | 86 | 0.0029355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_405-1_0_3_line_96 |  | 85 | 87 | 0.010845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_405-1_0_3_line_97 |  | 87 | 97 | 0.0033068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_405-1_0_3_line_98 |  | 88 | 89 | 0.00094817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_405-1_0_3_line_99 |  | 89 | 90 | 0.013724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_405-1_0_3_line_100 |  | 90 | 92 | 0.017663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_405-1_0_3_line_101 |  | 91 | 93 | 0.024864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_405-1_0_3_line_102 |  | 92 | 94 | 0.0032837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_405-1_0_3_line_103 |  | 93 | 95 | 0.011995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_405-1_0_3_line_104 |  | 93 | 96 | 0.0052919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_405-1_0_3_line_105 |  | 95 | 122 | 0.019857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_405-1_0_3_line_106 |  | 96 | 104 | 0.012303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_405-1_0_3_line_107 |  | 98 | 99 | 0.036873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_405-1_0_3_line_108 |  | 98 | 100 | 0.0091571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_405-1_0_3_line_109 |  | 99 | 101 | 0.014117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_405-1_0_3_line_110 |  | 100 | 102 | 0.033923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_405-1_0_3_line_111 |  | 101 | 103 | 0.018961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_405-1_0_3_line_112 |  | 103 | 104 | 0.025324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_405-1_0_3_line_113 |  | 104 | 112 | 0.036693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_405-1_0_3_line_114 |  | 105 | 106 | 0.011679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_405-1_0_3_line_115 |  | 107 | 108 | 0.015222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_405-1_0_3_line_116 |  | 108 | 109 | 0.0059259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_405-1_0_3_line_117 |  | 109 | 110 | 0.0032436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_405-1_0_3_line_118 |  | 110 | 111 | 0.015307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_405-1_0_3_line_119 |  | 112 | 113 | 0.046248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_405-1_0_3_line_120 |  | 112 | 114 | 0.052114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_405-1_0_3_line_121 |  | 113 | 118 | 0.081426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_405-1_0_3_line_122 |  | 113 | 119 | 0.023096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_405-1_0_3_line_123 |  | 114 | 120 | 0.0046217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_405-1_0_3_line_124 |  | 115 | 116 | 0.0098844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_405-1_0_3_line_125 |  | 116 | 160 | 0.036444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_405-1_0_3_line_126 |  | 118 | 121 | 0.010957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_405-1_0_3_line_127 |  | 120 | 124 | 0.0080672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_405-1_0_3_line_128 |  | 122 | 123 | 0.027899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_405-1_0_3_line_129 |  | 124 | 125 | 0.0039024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_405-1_0_3_line_130 |  | 124 | 126 | 0.099517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_405-1_0_3_line_131 |  | 125 | 127 | 0.043938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_405-1_0_3_line_132 |  | 126 | 128 | 0.031813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_405-1_0_3_line_133 |  | 127 | 136 | 0.02897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_405-1_0_3_line_134 |  | 130 | 131 | 0.026302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_405-1_0_3_line_135 |  | 131 | 132 | 0.042889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_405-1_0_3_line_136 |  | 133 | 134 | 0.037226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_405-1_0_3_line_137 |  | 134 | 135 | 0.0029868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_405-1_0_3_line_138 |  | 135 | 143 | 0.011277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_405-1_0_3_line_139 |  | 137 | 138 | 0.00085297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_405-1_0_3_line_140 |  | 139 | 140 | 0.0064527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_405-1_0_3_line_141 |  | 139 | 141 | 0.025938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_405-1_0_3_line_142 |  | 140 | 142 | 0.0023859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_405-1_0_3_line_143 |  | 141 | 143 | 0.019635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_405-1_0_3_line_144 |  | 142 | 144 | 0.62492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_405-1_0_3_line_145 |  | 144 | 157 | 0.097217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_405-1_0_3_line_146 |  | 144 | 156 | 0.069635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_405-1_0_3_line_147 |  | 145 | 146 | 0.03103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_405-1_0_3_line_148 |  | 145 | 147 | 0.017151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_405-1_0_3_line_149 |  | 146 | 148 | 0.0051044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_405-1_0_3_line_150 |  | 147 | 149 | 0.043227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_405-1_0_3_line_151 |  | 148 | 150 | 0.051192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_405-1_0_3_line_152 |  | 148 | 151 | 0.0067621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_405-1_0_3_line_153 |  | 149 | 152 | 0.083999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_405-1_0_3_line_154 |  | 150 | 156 | 0.012585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_405-1_0_3_line_155 |  | 151 | 153 | 0.020549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_405-1_0_3_line_156 |  | 153 | 154 | 0.022138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_405-1_0_3_line_157 |  | 154 | 155 | 0.11825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_405-1_0_3_line_158 |  | 155 | 166 | 0.022978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_405-1_0_3_line_159 |  | 155 | 167 | 0.011906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_405-1_0_3_line_160 |  | 158 | 159 | 0.013414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_405-1_0_3_line_161 |  | 158 | 160 | 0.0050133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_405-1_0_3_line_162 |  | 161 | 162 | 0.017513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_405-1_0_3_line_163 |  | 161 | 163 | 0.036157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_405-1_0_3_line_164 |  | 163 | 164 | 0.1047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_405-1_0_3_line_165 |  | 164 | 165 | 0.077812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_405-1_0_3_line_166 |  | 165 | 166 | 0.093145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
167 | LV_405-1_0_3_line_167 |  | 166 | 168 | 0.015921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_405-1_0_3_trafo_132 | 0.63 MVA 20/0.4 kV | 169 | 137 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2613321.2245 | 1218498.9716 | 2613315.9445 | 1218479.1633
1 | 2613324.6918 | 1218511.9916 | 2613324.022 | 1218509.4887 | 2613322.4415 | 1218503.5373 | 2613321.2245 | 1218498.9716
2 | 2613315.9445 | 1218479.1633 | 2613315.5981 | 1218477.8637
3 | 2613324.6918 | 1218511.9916 | 2613292.5897 | 1218528.7179
4 | 2613324.6918 | 1218511.9916 | 2613330.161 | 1218508.3045
5 | 2613311.9921 | 1218464.3355 | 2613315.5981 | 1218477.8637
6 | 2613292.5897 | 1218528.7179 | 2613291.8799 | 1218529.0877
7 | 2613337.9807 | 1218503.0327 | 2613330.161 | 1218508.3045
8 | 2613311.6038 | 1218462.8788 | 2613311.9921 | 1218464.3355
9 | 2613291.8799 | 1218529.0877 | 2613281.2728 | 1218534.6143
10 | 2613360.6811 | 1218487.7289 | 2613337.9807 | 1218503.0327
11 | 2613311.6038 | 1218462.8788 | 2613304.8576 | 1218442.7222
12 | 2613281.2728 | 1218534.6143 | 2613269.0847 | 1218540.9647
13 | 2613396.7977 | 1218463.3803 | 2613360.6811 | 1218487.7289
14 | 2612963.6666 | 1218604.0331 | 2612966.393 | 1218609.2383 | 2612977.1975 | 1218620.7238
15 | 2612955.2196 | 1218585.8785 | 2612957.0593 | 1218591.419 | 2612963.6666 | 1218604.0331
16 | 2612993.0958 | 1218669.8086 | 2612978.6486 | 1218661.7244
17 | 2612993.0958 | 1218669.8086 | 2612987.7592 | 1218683.6283
18 | 2612993.0958 | 1218669.8086 | 2612996.5988 | 1218660.7444 | 2613010.3 | 1218635.8421
19 | 2612955.2196 | 1218585.8785 | 2612927.8207 | 1218594.2574
20 | 2612963.0992 | 1218567.3405 | 2612954.5109 | 1218583.7424 | 2612955.2196 | 1218585.8785
21 | 2612987.7592 | 1218683.6283 | 2612977.0729 | 1218711.3012
22 | 2613015.6909 | 1218626.0439 | 2613010.3 | 1218635.8421
23 | 2612963.0992 | 1218567.3405 | 2612973.4175 | 1218533.5435
24 | 2612963.0992 | 1218567.3405 | 2612982.2341 | 1218579.4045
25 | 2613026.9408 | 1218607.591 | 2613021.9471 | 1218614.6731 | 2613015.6909 | 1218626.0439
26 | 2612959.8496 | 1218522.4744 | 2612962.5547 | 1218524.4036 | 2612971.3268 | 1218531.7824 | 2612973.4175 | 1218533.5435
27 | 2613026.9408 | 1218607.591 | 2612982.2341 | 1218579.4045
28 | 2613042.0349 | 1218576.3615 | 2613042.0349 | 1218576.3615 | 2613035.2091 | 1218570.9324
29 | 2613071.9167 | 1218581.4074 | 2613067.7174 | 1218579.1414 | 2613051.4469 | 1218579.0614 | 2613042.0349 | 1218576.3615
30 | 2613019.9802 | 1218576.9472 | 2613026.4511 | 1218571.1024 | 2613035.2091 | 1218570.9324
31 | 2613071.9167 | 1218581.4074 | 2613072.7636 | 1218586.3231 | 2613071.6381 | 1218604.7423
32 | 2613071.9167 | 1218581.4074 | 2613077.1207 | 1218578.8617 | 2613089.8721 | 1218560.543
33 | 2613066.2642 | 1218546.0859 | 2613064.3758 | 1218562.9025 | 2613067.5461 | 1218574.1826 | 2613071.9167 | 1218581.4074
34 | 2613071.6381 | 1218604.7423 | 2613081.8329 | 1218604.8813
35 | 2613071.6381 | 1218604.7423 | 2613069.7932 | 1218604.7173
36 | 2613090.0093 | 1218560.346 | 2613089.8721 | 1218560.543
37 | 2613081.8329 | 1218604.8813 | 2613102.5967 | 1218605.1643
38 | 2613069.7932 | 1218604.7173 | 2613045.2902 | 1218604.3847 | 2613042.6838 | 1218604.8401
39 | 2613121.2186 | 1218603.7614 | 2613114.3927 | 1218605.3251 | 2613102.5967 | 1218605.1643
40 | 2613026.9408 | 1218607.591 | 2613042.6838 | 1218604.8401
41 | 2613076.9735 | 1218493.0834 | 2613085.074 | 1218503.7568
42 | 2613068.535 | 1218479.3082 | 2613069.9216 | 1218483.7916 | 2613076.9735 | 1218493.0834
43 | 2613085.074 | 1218503.7568 | 2613101.5103 | 1218525.4136
44 | 2613068.535 | 1218479.3082 | 2613052.7342 | 1218485.0409
45 | 2613113.8616 | 1218548.2203 | 2613111.1689 | 1218538.8355 | 2613105.3589 | 1218530.4847 | 2613101.5103 | 1218525.4136
46 | 2613039.3548 | 1218489.8951 | 2613052.7342 | 1218485.0409
47 | 2613121.2186 | 1218603.7614 | 2613117.2845 | 1218560.15 | 2613113.8616 | 1218548.2203
48 | 2613039.3548 | 1218489.8951 | 2613039.9339 | 1218495.7775 | 2613043.9191 | 1218505.7808
49 | 2613030.7524 | 1218488.231 | 2613039.3548 | 1218489.8951
50 | 2613121.2186 | 1218603.7614 | 2613130.536 | 1218598.5021
51 | 2613121.2186 | 1218603.7614 | 2613130.5585 | 1218615.0327 | 2613139.4118 | 1218623.9998
52 | 2613396.7977 | 1218463.3803 | 2613394.7695 | 1218460.841 | 2613389.9941 | 1218454.8936 | 2613383.8717 | 1218447.2533
53 | 2613406.2652 | 1218458.2875 | 2613396.7977 | 1218463.3803
54 | 2613393.4689 | 1218438.4364 | 2613383.8717 | 1218447.2533
55 | 2613366.7739 | 1218423.2458 | 2613383.8717 | 1218447.2533
56 | 2613406.2652 | 1218458.2875 | 2613423.6621 | 1218450.3108 | 2613434.4337 | 1218447.875
57 | 2613406.2652 | 1218458.2875 | 2613422.4648 | 1218486.7067
58 | 2613393.4689 | 1218438.4364 | 2613397.0718 | 1218437.0501
59 | 2613393.4689 | 1218438.4364 | 2613399.3825 | 1218420.7061 | 2613399.145 | 1218415.5353
60 | 2613366.7739 | 1218423.2458 | 2613349.7303 | 1218430.9348
61 | 2613354.7521 | 1218386.1199 | 2613366.7739 | 1218423.2458
62 | 2613448.1407 | 1218446.5857 | 2613440.116 | 1218446.59 | 2613434.4337 | 1218447.875
63 | 2613422.4551 | 1218494.5171 | 2613422.4648 | 1218486.7067
64 | 2613399.145 | 1218415.5353 | 2613398.7819 | 1218407.6306 | 2613390.4989 | 1218392.1143 | 2613389.7913 | 1218386.1649 | 2613391.5173 | 1218381.2993 | 2613395.1426 | 1218378.9616 | 2613409.8428 | 1218372.2352 | 2613413.5529 | 1218372.6993 | 2613417.1604 | 1218374.8753 | 2613418.9986 | 1218378.7524
65 | 2613354.7521 | 1218386.1199 | 2613351.7771 | 1218355.5402 | 2613347.066 | 1218321.8043
66 | 2613354.7521 | 1218386.1199 | 2613369.3359 | 1218380.4937 | 2613379.8354 | 1218377.2735
67 | 2613462.012 | 1218446.5781 | 2613448.1407 | 1218446.5857
68 | 2613422.4445 | 1218503.0539 | 2613422.4551 | 1218494.5171
69 | 2613149.2792 | 1218587.9225 | 2613130.536 | 1218598.5021
70 | 2613151.8247 | 1218636.5723 | 2613139.4118 | 1218623.9998
71 | 2613525.3519 | 1218600.3447 | 2613526.1182 | 1218589.8546 | 2613527.5763 | 1218570.9625
72 | 2613525.3519 | 1218600.3447 | 2613524.9667 | 1218605.6176
73 | 2613529.8112 | 1218542.3363 | 2613529.6441 | 1218544.1698 | 2613527.5763 | 1218570.9625
74 | 2613523.2602 | 1218618.7203 | 2613524.3561 | 1218613.9756 | 2613524.9667 | 1218605.6176
75 | 2613532.7404 | 1218505.5241 | 2613532.8504 | 1218508.9902 | 2613529.8112 | 1218542.3363
76 | 2613523.2602 | 1218618.7203 | 2613532.4653 | 1218622.1653
77 | 2613523.2602 | 1218618.7203 | 2613522.1669 | 1218623.4575
78 | 2613532.7363 | 1218505.394 | 2613532.7404 | 1218505.5241
79 | 2613532.4653 | 1218622.1653 | 2613536.4811 | 1218641.7522
80 | 2613516.3962 | 1218641.3635 | 2613520.6238 | 1218630.1431 | 2613522.1669 | 1218623.4575
81 | 2613531.8562 | 1218477.6466 | 2613532.7363 | 1218505.394
82 | 2613504.9904 | 1218668.89 | 2613507.164 | 1218665.8665 | 2613516.3962 | 1218641.3635
83 | 2613531.8562 | 1218477.6466 | 2613531.7878 | 1218475.4909 | 2613531.7291 | 1218472.3701
84 | 2613531.2391 | 1218446.3174 | 2613531.7291 | 1218472.3701
85 | 2613531.2391 | 1218446.3174 | 2613537.7817 | 1218445.9294
86 | 2613531.2391 | 1218446.3174 | 2613527.5427 | 1218446.5425 | 2613497.6312 | 1218446.5588
87 | 2613215.7271 | 1218563.3733 | 2613208.4676 | 1218565.9908
88 | 2613249.3293 | 1218551.2579 | 2613249.3293 | 1218551.2579 | 2613215.7271 | 1218563.3733
89 | 2613189.0781 | 1218572.9818 | 2613208.4676 | 1218565.9908
90 | 2613249.3293 | 1218551.2579 | 2613256.2494 | 1218547.6523
91 | 2613189.0781 | 1218572.9818 | 2613181.829 | 1218575.5962
92 | 2613189.0781 | 1218572.9818 | 2613187.6638 | 1218567.3643 | 2613186.4604 | 1218562.5582
93 | 2613266.4814 | 1218542.3211 | 2613256.2494 | 1218547.6523
94 | 2613162.361 | 1218582.6176 | 2613181.829 | 1218575.5962
95 | 2613266.4814 | 1218542.3211 | 2613269.0847 | 1218540.9647
96 | 2613162.361 | 1218582.6176 | 2613152.159 | 1218586.297 | 2613152.159 | 1218586.297
97 | 2613152.159 | 1218586.297 | 2613149.2792 | 1218587.9225
98 | 2613497.6312 | 1218446.5588 | 2613496.6831 | 1218446.5593
99 | 2613482.9592 | 1218446.5667 | 2613496.6831 | 1218446.5593
100 | 2613465.2957 | 1218446.5763 | 2613482.9592 | 1218446.5667
101 | 2613562.6015 | 1218444.454 | 2613547.4895 | 1218445.3536 | 2613537.7817 | 1218445.9294
102 | 2613465.2957 | 1218446.5763 | 2613462.012 | 1218446.5781
103 | 2613562.6015 | 1218444.454 | 2613561.7505 | 1218434.8577 | 2613561.2046 | 1218432.5611
104 | 2613562.6015 | 1218444.454 | 2613567.884 | 1218444.1383
105 | 2613561.2046 | 1218432.5611 | 2613558.5856 | 1218421.5429 | 2613557.917 | 1218415.1933 | 2613557.9344 | 1218413.0462
106 | 2613580.1651 | 1218443.4043 | 2613567.884 | 1218444.1383
107 | 2613672.8266 | 1218462.5423 | 2613636.1349 | 1218458.8861
108 | 2613672.8266 | 1218462.5423 | 2613681.9386 | 1218463.4503
109 | 2613622.0875 | 1218457.4864 | 2613636.1349 | 1218458.8861
110 | 2613681.9386 | 1218463.4503 | 2613715.6948 | 1218466.814
111 | 2613622.0875 | 1218457.4864 | 2613619.7942 | 1218457.2578 | 2613604.0707 | 1218451.7612
112 | 2613580.1651 | 1218443.4043 | 2613604.0707 | 1218451.7612
113 | 2613580.1651 | 1218443.4043 | 2613607.2237 | 1218418.5404
114 | 2612968.1016 | 1218514.1876 | 2612959.8496 | 1218522.4744
115 | 2613422.4256 | 1218518.2761 | 2613422.4445 | 1218503.0539
116 | 2613422.4256 | 1218518.2761 | 2613422.4182 | 1218524.202
117 | 2613422.4142 | 1218527.4456 | 2613422.4182 | 1218524.202
118 | 2613422.3952 | 1218542.7522 | 2613422.4142 | 1218527.4456
119 | 2613607.2237 | 1218418.5404 | 2613653.5674 | 1218416.6226
120 | 2613607.2237 | 1218418.5404 | 2613609.3907 | 1218410.085 | 2613612.7592 | 1218397.2075 | 2613619.0601 | 1218367.8001
121 | 2613653.5674 | 1218416.6226 | 2613708.7533 | 1218414.3364 | 2613734.9146 | 1218415.6186
122 | 2613653.5674 | 1218416.6226 | 2613653.7247 | 1218430.8089 | 2613651.0319 | 1218436.8951 | 2613649.4979 | 1218438.546
123 | 2613620.0284 | 1218363.281 | 2613619.0601 | 1218367.8001
124 | 2613158.7692 | 1218643.6061 | 2613151.8247 | 1218636.5723
125 | 2613158.7692 | 1218643.6061 | 2613184.3738 | 1218669.5399
126 | 2613745.8585 | 1218416.155 | 2613734.9146 | 1218415.6186
127 | 2613621.7186 | 1218355.3928 | 2613620.0284 | 1218363.281
128 | 2613560.2454 | 1218385.7373 | 2613561.5068 | 1218395.0455 | 2613559.1834 | 1218402.2554 | 2613557.9803 | 1218407.3667 | 2613557.9344 | 1218413.0462
129 | 2613621.7186 | 1218355.3928 | 2613622.123 | 1218351.5114
130 | 2613621.7186 | 1218355.3928 | 2613631.8722 | 1218345.7326 | 2613650.0495 | 1218338.6144 | 2613716.0153 | 1218340.0314
131 | 2613628.7563 | 1218308.2624 | 2613625.6756 | 1218317.4134 | 2613622.123 | 1218351.5114
132 | 2613716.0153 | 1218340.0314 | 2613747.821 | 1218340.7145
133 | 2613628.7563 | 1218308.2624 | 2613634.1876 | 1218292.1295 | 2613641.3978 | 1218282.6031
134 | 2613379.8354 | 1218377.2735 | 2613388.8763 | 1218374.5006 | 2613396.2075 | 1218371.0929 | 2613402.7654 | 1218365.2838
135 | 2613395.999 | 1218329.821 | 2613398.0468 | 1218336.0325 | 2613406.1215 | 1218342.8989 | 2613408.6378 | 1218347.774 | 2613410.0708 | 1218355.1703 | 2613407.0741 | 1218361.4672 | 2613402.7654 | 1218365.2838
136 | 2613347.066 | 1218321.8043 | 2613341.9174 | 1218284.9365
137 | 2613341.9174 | 1218284.9365 | 2613341.5044 | 1218281.9784
138 | 2613339.9447 | 1218270.8099 | 2613341.5044 | 1218281.9784
139 | 2613304.5869 | 1218441.9133 | 2613304.8576 | 1218442.7222
140 | 2613305.8551 | 1218264.143 | 2613299.914 | 1218266.6609
141 | 2613329.7365 | 1218254.022 | 2613305.8551 | 1218264.143
142 | 2613297.7172 | 1218267.5918 | 2613299.914 | 1218266.6609
143 | 2613339.9447 | 1218270.8099 | 2613329.7365 | 1218254.022
144 | 2613297.7172 | 1218267.5918 | 2612834.5139 | 1217848.108
145 | 2612763.261 | 1217815.6927 | 2612773.5015 | 1217825.5869 | 2612789.356 | 1217843.7311 | 2612804.4903 | 1217861.418 | 2612811.2129 | 1217862.3329 | 2612820.5684 | 1217860.0961 | 2612830.3917 | 1217855.5923 | 2612834.5139 | 1217848.108
146 | 2612834.5139 | 1217848.108 | 2612788.8105 | 1217795.5706
147 | 2612769.6378 | 1217719.3272 | 2612750.1562 | 1217743.4794
148 | 2612780.4057 | 1217705.9778 | 2612769.6378 | 1217719.3272
149 | 2612746.9515 | 1217747.4524 | 2612750.1562 | 1217743.4794
150 | 2612806.5361 | 1217671.4918 | 2612780.4057 | 1217705.9778
151 | 2612746.9515 | 1217747.4524 | 2612780.5505 | 1217786.0754
152 | 2612746.9515 | 1217747.4524 | 2612742.2777 | 1217752.3393
153 | 2612806.5361 | 1217671.4918 | 2612850.6993 | 1217742.9436
154 | 2612780.5505 | 1217786.0754 | 2612788.8105 | 1217795.5706
155 | 2612728.0749 | 1217767.1899 | 2612742.2777 | 1217752.3393
156 | 2612712.7737 | 1217783.189 | 2612728.0749 | 1217767.1899
157 | 2612712.7737 | 1217783.189 | 2612622.8 | 1217859.9203
158 | 2612622.8 | 1217859.9203 | 2612604.1461 | 1217873.4109
159 | 2612622.8 | 1217859.9203 | 2612629.77 | 1217869.5723
160 | 2613187.3582 | 1218673.562 | 2613195.2013 | 1218684.4443
161 | 2613187.3582 | 1218673.562 | 2613184.6907 | 1218669.8609 | 2613184.3738 | 1218669.5399
162 | 2612386.6695 | 1218058.7436 | 2612392.9543 | 1218075.0899
163 | 2612373.6938 | 1218024.9946 | 2612386.6695 | 1218058.7436
164 | 2612373.6938 | 1218024.9946 | 2612461.4915 | 1217967.9493
165 | 2612526.3714 | 1217924.9994 | 2612501.2058 | 1217942.1455 | 2612461.4915 | 1217967.9493
166 | 2612604.1461 | 1217873.4109 | 2612526.3714 | 1217924.9994
167 | 2612604.1461 | 1217873.4109 | 2612611.519 | 1217887.522

## bus_geodata
| x | y | coords
0 | 2613321.2245 | 1218498.9716
1 | 2613315.9445 | 1218479.1633
2 | 2613324.6918 | 1218511.9916
3 | 2613315.5981 | 1218477.8637
4 | 2613292.5897 | 1218528.7179
5 | 2613330.161 | 1218508.3045
6 | 2613311.9921 | 1218464.3355
7 | 2613291.8799 | 1218529.0877
8 | 2613337.9807 | 1218503.0327
9 | 2613311.6038 | 1218462.8788
10 | 2613281.2728 | 1218534.6143
11 | 2613360.6811 | 1218487.7289
12 | 2612977.1975 | 1218620.7238
13 | 2612963.6666 | 1218604.0331
14 | 2612978.6486 | 1218661.7244
15 | 2612993.0958 | 1218669.8086
16 | 2612955.2196 | 1218585.8785
17 | 2612987.7592 | 1218683.6283
18 | 2613010.3 | 1218635.8421
19 | 2612927.8207 | 1218594.2574
20 | 2612963.0992 | 1218567.3405
21 | 2612977.0729 | 1218711.3012
22 | 2613015.6909 | 1218626.0439
23 | 2612973.4175 | 1218533.5435
24 | 2612982.2341 | 1218579.4045
25 | 2613042.0349 | 1218576.3615
26 | 2613035.2091 | 1218570.9325
27 | 2613071.9167 | 1218581.4074
28 | 2613019.9802 | 1218576.9472
29 | 2613071.6381 | 1218604.7423
30 | 2613089.8721 | 1218560.543
31 | 2613066.2642 | 1218546.0859
32 | 2613081.8329 | 1218604.8813
33 | 2613069.7932 | 1218604.7173
34 | 2613090.0093 | 1218560.346
35 | 2613102.5967 | 1218605.1643
36 | 2613042.6838 | 1218604.8401
37 | 2613026.9408 | 1218607.591
38 | 2613076.9735 | 1218493.0834
39 | 2613085.074 | 1218503.7568
40 | 2613068.535 | 1218479.3082
41 | 2613101.5103 | 1218525.4136
42 | 2613052.7342 | 1218485.0409
43 | 2613113.8616 | 1218548.2203
44 | 2613039.3548 | 1218489.8951
45 | 2613121.2186 | 1218603.7614
46 | 2613043.9191 | 1218505.7808
47 | 2613030.7524 | 1218488.231
48 | 2613396.7977 | 1218463.3803
49 | 2613383.8717 | 1218447.2533
50 | 2613406.2652 | 1218458.2875
51 | 2613393.4689 | 1218438.4364
52 | 2613366.7739 | 1218423.2458
53 | 2613434.4337 | 1218447.875
54 | 2613422.4648 | 1218486.7067
55 | 2613397.0718 | 1218437.0501
56 | 2613399.145 | 1218415.5353
57 | 2613349.7303 | 1218430.9348
58 | 2613354.7521 | 1218386.1199
59 | 2613448.1407 | 1218446.5857
60 | 2613422.4551 | 1218494.5171
61 | 2613130.536 | 1218598.5021
62 | 2613139.4118 | 1218623.9998
63 | 2613525.3519 | 1218600.3447
64 | 2613527.5763 | 1218570.9625
65 | 2613524.9667 | 1218605.6176
66 | 2613529.8112 | 1218542.3363
67 | 2613523.2602 | 1218618.7203
68 | 2613532.7404 | 1218505.5241
69 | 2613532.4653 | 1218622.1653
70 | 2613522.1669 | 1218623.4575
71 | 2613532.7363 | 1218505.394
72 | 2613536.4811 | 1218641.7522
73 | 2613516.3962 | 1218641.3635
74 | 2613531.8562 | 1218477.6466
75 | 2613531.7291 | 1218472.3701
76 | 2613531.2391 | 1218446.3174
77 | 2613215.7271 | 1218563.3733
78 | 2613208.4676 | 1218565.9908
79 | 2613249.3293 | 1218551.2579
80 | 2613189.0781 | 1218572.9818
81 | 2613256.2494 | 1218547.6523
82 | 2613181.829 | 1218575.5962
83 | 2613186.4604 | 1218562.5582
84 | 2613266.4814 | 1218542.3211
85 | 2613162.361 | 1218582.6176
86 | 2613269.0847 | 1218540.9647
87 | 2613152.159 | 1218586.297
88 | 2613497.6312 | 1218446.5588
89 | 2613496.6831 | 1218446.5593
90 | 2613482.9592 | 1218446.5667
91 | 2613537.7817 | 1218445.9294
92 | 2613465.2957 | 1218446.5763
93 | 2613562.6015 | 1218444.454
94 | 2613462.012 | 1218446.5781
95 | 2613561.2046 | 1218432.5611
96 | 2613567.884 | 1218444.1383
97 | 2613149.2792 | 1218587.9225
98 | 2613672.8266 | 1218462.5423
99 | 2613636.1349 | 1218458.8861
100 | 2613681.9386 | 1218463.4503
101 | 2613622.0875 | 1218457.4864
102 | 2613715.6948 | 1218466.814
103 | 2613604.0707 | 1218451.7612
104 | 2613580.1651 | 1218443.4043
105 | 2612959.8496 | 1218522.4744
106 | 2612968.1016 | 1218514.1876
107 | 2613422.4445 | 1218503.0539
108 | 2613422.4256 | 1218518.2761
109 | 2613422.4182 | 1218524.202
110 | 2613422.4142 | 1218527.4456
111 | 2613422.3952 | 1218542.7522
112 | 2613607.2237 | 1218418.5404
113 | 2613653.5674 | 1218416.6226
114 | 2613619.0601 | 1218367.8001
115 | 2613151.8247 | 1218636.5723
116 | 2613158.7692 | 1218643.6061
117 | 2613504.9903 | 1218668.89
118 | 2613734.9146 | 1218415.6186
119 | 2613649.4979 | 1218438.546
120 | 2613620.0284 | 1218363.281
121 | 2613745.8585 | 1218416.155
122 | 2613557.9344 | 1218413.0462
123 | 2613560.2454 | 1218385.7373
124 | 2613621.7186 | 1218355.3928
125 | 2613622.123 | 1218351.5114
126 | 2613716.0153 | 1218340.0314
127 | 2613628.7563 | 1218308.2624
128 | 2613747.821 | 1218340.7145
129 | 2613418.9986 | 1218378.7524
130 | 2613379.8354 | 1218377.2735
131 | 2613402.7654 | 1218365.2838
132 | 2613395.999 | 1218329.821
133 | 2613347.0659 | 1218321.8043
134 | 2613341.9174 | 1218284.9365
135 | 2613341.5044 | 1218281.9784
136 | 2613641.3978 | 1218282.6031
137 | 2613304.8576 | 1218442.7222
138 | 2613304.5869 | 1218441.9133
139 | 2613305.8551 | 1218264.143
140 | 2613299.914 | 1218266.6609
141 | 2613329.7365 | 1218254.022
142 | 2613297.7172 | 1218267.5918
143 | 2613339.9447 | 1218270.8099
144 | 2612834.5139 | 1217848.108
145 | 2612769.6378 | 1217719.3272
146 | 2612750.1562 | 1217743.4794
147 | 2612780.4057 | 1217705.9778
148 | 2612746.9515 | 1217747.4524
149 | 2612806.5361 | 1217671.4918
150 | 2612780.5505 | 1217786.0754
151 | 2612742.2777 | 1217752.3393
152 | 2612850.6993 | 1217742.9436
153 | 2612728.0749 | 1217767.1899
154 | 2612712.7737 | 1217783.189
155 | 2612622.8 | 1217859.9203
156 | 2612788.8105 | 1217795.5706
157 | 2612763.261 | 1217815.6927
158 | 2613187.3582 | 1218673.562
159 | 2613195.2013 | 1218684.4443
160 | 2613184.3738 | 1218669.5399
161 | 2612386.6695 | 1218058.7436
162 | 2612392.9543 | 1218075.0899
163 | 2612373.6938 | 1218024.9946
164 | 2612461.4915 | 1217967.9493
165 | 2612526.3714 | 1217924.9994
166 | 2612604.1461 | 1217873.4109
167 | 2612629.77 | 1217869.5723
168 | 2612611.519 | 1217887.522
169 | 2613303.9517 | 1218440.0154

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1