## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4062-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4062-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4062-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4062-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4062-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4062-10_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4062-10_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4062-10_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4062-10_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4062-10_0_4_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_4062-10_0_4_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_4062-10_0_4_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_4062-10_0_4_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_4062-10_0_4_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_4062-10_0_4_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_4062-10_0_4_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_4062-10_0_4_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_4062-10_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4062-10_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4062-10_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4062-10_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4062-10_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4062-10_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4062-10_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_4062-10_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4062-10_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4062-10_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4062-10_0_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_4062-10_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_4062-10_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4062-10_0_4_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_4062-10_0_4_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_4062-10_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4062-10_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4062-10_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4062-10_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4062-10_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4062-10_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_4062-10_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_4062-10_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_4062-10_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_4062-10_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4062-10_0_4_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_4062-10_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_4062-10_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_4062-10_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_4062-10_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_4062-10_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4062-10_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4062-10_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_4062-10_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_4062-10_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_4062-10_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_4062-10_0_4_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_4062-10_0_4_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_4062-10_0_4_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_4062-10_0_4_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4062-10_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_4062-10_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_4062-10_0_4_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_4062-10_0_4_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_4062-10_0_4_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_4062-10_0_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_4062-10_0_4_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_4062-10_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4062-10_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4062-10_0_4_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_4062-10_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_4062-10_0_4_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_4062-10_0_4_node_92 | 0.4 | n |  | TRUE
70 | bus_LV_4062-10_0_4_node_90 | 0.4 | n |  | TRUE
71 | bus_LV_4062-10_0_4_node_104 | 0.4 | n |  | TRUE
72 | bus_LV_4062-10_0_4_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_4062-10_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_4062-10_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_4062-10_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_4062-10_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4062-10_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4062-10_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_4062-10_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_4062-10_0_4_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_4062-10_0_4_node_91 | 0.4 | n |  | TRUE
82 | bus_LV_4062-10_0_4_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_4062-10_0_4_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_4062-10_0_4_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_4062-10_0_4_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_4062-10_0_4_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_4062-10_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_4062-10_0_4_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_4062-10_0_4_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_4062-10_0_4_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_4062-10_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_4062-10_0_4_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_4062-10_0_4_node_96 | 0.4 | n |  | TRUE
94 | bus_LV_4062-10_0_4_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_4062-10_0_4_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_4062-10_0_4_node_100 | 0.4 | n |  | TRUE
97 | bus_LV_4062-10_0_4_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_4062-10_0_4_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_4062-10_0_4_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_4062-10_0_4_node_102 | 0.4 | n |  | TRUE
101 | bus_LV_4062-10_0_4_node_105 | 0.4 | n |  | TRUE
102 | bus_LV_4062-10_0_4_node_110 | 0.4 | n |  | TRUE
103 | bus_LV_4062-10_0_4_node_109 | 0.4 | n |  | TRUE
104 | bus_LV_4062-10_0_4_node_106 | 0.4 | n |  | TRUE
105 | bus_LV_4062-10_0_4_node_107 | 0.4 | n |  | TRUE
106 | bus_LV_4062-10_0_4_node_108 | 0.4 | n |  | TRUE
107 | bus_MV_420_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4062-10_0_4_load_0 | 0 | 0.0058034 | 0.0014545 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4062-10_0_4_load_1 | 1 | 0.0036125 | 0.00090538 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4062-10_0_4_load_3 | 3 | 0.0045762 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4062-10_0_4_load_5 | 5 | 0.0019332 | 0.00048452 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4062-10_0_4_load_6 | 6 | 0.0055626 | 0.0013941 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4062-10_0_4_load_7 | 7 | 0.0030639 | 0.00076789 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4062-10_0_4_load_61 | 9 | 0.0023441 | 0.0005875 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4062-10_0_4_load_51 | 10 | 0.0061766 | 0.001548 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4062-10_0_4_load_55 | 11 | 0.0032247 | 0.00080819 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4062-10_0_4_load_56 | 12 | 0.002157 | 0.0005406 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4062-10_0_4_load_54 | 13 | 0.0042068 | 0.0010543 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4062-10_0_4_load_46 | 14 | 0.0081598 | 0.002045 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4062-10_0_4_load_49 | 15 | 0.001984 | 0.00049725 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4062-10_0_4_load_57 | 16 | 0.0021064 | 0.0005279 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4062-10_0_4_load_9 | 17 | 0.032211 | 0.0080727 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4062-10_0_4_load_13 | 21 | 0.0034266 | 0.00085879 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4062-10_0_4_load_14 | 22 | 0.0066921 | 0.0016772 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4062-10_0_4_load_27 | 23 | 0.0075396 | 0.0018896 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4062-10_0_4_load_15 | 24 | 0.0033603 | 0.00084217 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4062-10_0_4_load_16 | 25 | 0.0069891 | 0.0017516 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4062-10_0_4_load_25 | 26 | 0.0077515 | 0.0019427 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4062-10_0_4_load_30 | 27 | 0.0039616 | 0.00099288 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4062-10_0_4_load_29 | 28 | 0.0034935 | 0.00087554 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4062-10_0_4_load_17 | 29 | 0.0060564 | 0.0015179 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4062-10_0_4_load_86 | 30 | 0.0014493 | 0.00036323 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4062-10_0_4_load_84 | 31 | 0.002687 | 0.00067344 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4062-10_0_4_load_21 | 34 | 0.005897 | 0.0014779 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4062-10_0_4_load_23 | 36 | 0.039391 | 0.0098724 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4062-10_0_4_load_28 | 37 | 0.013405 | 0.0033595 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4062-10_0_4_load_26 | 38 | 0.009031 | 0.0022634 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4062-10_0_4_load_43 | 39 | 0.0020537 | 0.00051471 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4062-10_0_4_load_24 | 41 | 0.0087768 | 0.0021997 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4062-10_0_4_load_44 | 42 | 0.0032093 | 0.00080433 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4062-10_0_4_load_42 | 43 | 0.0025357 | 0.00063549 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4062-10_0_4_load_39 | 44 | 0.0043759 | 0.0010967 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4062-10_0_4_load_31 | 45 | 0.0038622 | 0.00096797 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4062-10_0_4_load_32 | 46 | 0.0066204 | 0.0016592 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4062-10_0_4_load_33 | 47 | 0.018214 | 0.0045649 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4062-10_0_4_load_35 | 49 | 0.0047593 | 0.0011928 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4062-10_0_4_load_47 | 51 | 0.009486 | 0.0023774 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4062-10_0_4_load_48 | 52 | 0.0080753 | 0.0020239 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4062-10_0_4_load_72 | 53 | 0.0060517 | 0.0015167 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4062-10_0_4_load_85 | 54 | 0.019924 | 0.0049934 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4062-10_0_4_load_38 | 56 | 0.0064493 | 0.0016163 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4062-10_0_4_load_40 | 57 | 0.0058626 | 0.0014693 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4062-10_0_4_load_41 | 58 | 0.0055895 | 0.0014009 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4062-10_0_4_load_80 | 59 | 0.016122 | 0.0040405 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4062-10_0_4_load_77 | 60 | 0.0018667 | 0.00046783 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4062-10_0_4_load_45 | 61 | 0.0042605 | 0.0010678 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4062-10_0_4_load_73 | 62 | 0.013537 | 0.0033928 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4062-10_0_4_load_50 | 63 | 0.0046671 | 0.0011697 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4062-10_0_4_load_52 | 64 | 0.0023778 | 0.00059592 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4062-10_0_4_load_53 | 65 | 0.0018591 | 0.00046594 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4062-10_0_4_load_59 | 66 | 0.0015863 | 0.00039756 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4062-10_0_4_load_60 | 67 | 0.002588 | 0.00064862 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4062-10_0_4_load_62 | 68 | 0.0017555 | 0.00043997 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4062-10_0_4_load_92 | 69 | 0.0026609 | 0.00066688 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4062-10_0_4_load_90 | 70 | 0.0044176 | 0.0011072 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4062-10_0_4_load_104 | 71 | 0.0019243 | 0.00048228 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4062-10_0_4_load_101 | 72 | 0.0045937 | 0.0011513 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4062-10_0_4_load_65 | 73 | 0.0026609 | 0.00066689 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4062-10_0_4_load_66 | 74 | 0.0054142 | 0.0013569 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4062-10_0_4_load_67 | 75 | 0.0024254 | 0.00060786 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4062-10_0_4_load_68 | 76 | 0.0031808 | 0.00079718 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4062-10_0_4_load_69 | 77 | 0.0032176 | 0.00080641 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4062-10_0_4_load_71 | 78 | 0.0023292 | 0.00058374 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4062-10_0_4_load_81 | 80 | 0.0022921 | 0.00057446 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4062-10_0_4_load_82 | 82 | 0.0043235 | 0.0010836 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4062-10_0_4_load_93 | 83 | 0.0024175 | 0.00060588 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4062-10_0_4_load_89 | 84 | 0.0028922 | 0.00072485 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4062-10_0_4_load_74 | 85 | 0.0079398 | 0.0019899 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4062-10_0_4_load_75 | 86 | 0.0031408 | 0.00078715 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4062-10_0_4_load_87 | 87 | 0.0027073 | 0.00067851 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4062-10_0_4_load_76 | 89 | 0.0067805 | 0.0016994 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4062-10_0_4_load_78 | 90 | 0.0067709 | 0.0016969 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4062-10_0_4_load_83 | 91 | 0.0027417 | 0.00068713 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4062-10_0_4_load_95 | 92 | 0.0025936 | 0.00065001 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4062-10_0_4_load_96 | 93 | 0.0024275 | 0.00060839 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4062-10_0_4_load_94 | 94 | 0.002163 | 0.00054211 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4062-10_0_4_load_103 | 95 | 0.0025781 | 0.00064613 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4062-10_0_4_load_97 | 97 | 0.0023012 | 0.00057673 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4062-10_0_4_load_98 | 98 | 0.0029113 | 0.00072964 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4062-10_0_4_load_99 | 99 | 0.0019615 | 0.00049159 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4062-10_0_4_load_102 | 100 | 0.0023861 | 0.00059802 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4062-10_0_4_load_105 | 101 | 0.0025248 | 0.00063278 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4062-10_0_4_load_110 | 102 | 0.0025044 | 0.00062767 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4062-10_0_4_load_109 | 103 | 0.0029 | 0.0007268 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4062-10_0_4_load_106 | 104 | 0.0030196 | 0.00075679 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4062-10_0_4_load_107 | 105 | 0.0026392 | 0.00066144 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4062-10_0_4_load_108 | 106 | 0.0092384 | 0.0023154 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4062-10_0_4_line_0 |  | 0 | 1 | 0.06063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4062-10_0_4_line_1 |  | 0 | 2 | 0.030642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4062-10_0_4_line_2 |  | 1 | 3 | 0.00025535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4062-10_0_4_line_3 |  | 2 | 4 | 0.005601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4062-10_0_4_line_4 |  | 2 | 5 | 0.052151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4062-10_0_4_line_5 |  | 4 | 6 | 0.014428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4062-10_0_4_line_6 |  | 4 | 7 | 0.02013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4062-10_0_4_line_7 |  | 5 | 8 | 0.022808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4062-10_0_4_line_8 |  | 6 | 9 | 0.019503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4062-10_0_4_line_9 |  | 7 | 10 | 0.018488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4062-10_0_4_line_10 |  | 8 | 11 | 0.032906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4062-10_0_4_line_11 |  | 8 | 12 | 0.021634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4062-10_0_4_line_12 |  | 8 | 13 | 0.023769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4062-10_0_4_line_13 |  | 9 | 14 | 0.026218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4062-10_0_4_line_14 |  | 10 | 15 | 0.0083079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4062-10_0_4_line_15 |  | 11 | 16 | 0.013126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4062-10_0_4_line_16 |  | 14 | 49 | 0.0067568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4062-10_0_4_line_17 |  | 15 | 63 | 0.019325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4062-10_0_4_line_18 |  | 16 | 66 | 0.019115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4062-10_0_4_line_19 |  | 17 | 18 | 0.039838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4062-10_0_4_line_20 |  | 17 | 19 | 0.0322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4062-10_0_4_line_21 |  | 18 | 20 | 0.042514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4062-10_0_4_line_22 |  | 19 | 21 | 0.013277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4062-10_0_4_line_23 |  | 19 | 22 | 0.0044384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4062-10_0_4_line_24 |  | 20 | 23 | 0.038138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4062-10_0_4_line_25 |  | 21 | 24 | 0.0061349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4062-10_0_4_line_26 |  | 22 | 25 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4062-10_0_4_line_27 |  | 23 | 26 | 0.043767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4062-10_0_4_line_28 |  | 25 | 27 | 0.015682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4062-10_0_4_line_29 |  | 26 | 41 | 0.033883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_4062-10_0_4_line_30 |  | 27 | 28 | 0.00072406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4062-10_0_4_line_31 |  | 28 | 45 | 6.5479e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4062-10_0_4_line_32 |  | 29 | 30 | 0.28797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4062-10_0_4_line_33 |  | 30 | 31 | 0.011235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4062-10_0_4_line_34 |  | 31 | 91 | 0.0058092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4062-10_0_4_line_35 |  | 32 | 33 | 0.019509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4062-10_0_4_line_36 |  | 32 | 34 | 0.016185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4062-10_0_4_line_37 |  | 33 | 35 | 0.026924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4062-10_0_4_line_38 |  | 33 | 36 | 0.0098186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4062-10_0_4_line_39 |  | 35 | 37 | 0.044101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_4062-10_0_4_line_40 |  | 35 | 38 | 0.0010694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4062-10_0_4_line_41 |  | 36 | 39 | 0.008081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4062-10_0_4_line_42 |  | 37 | 40 | 0.022478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4062-10_0_4_line_43 |  | 38 | 41 | 0.034451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4062-10_0_4_line_44 |  | 39 | 42 | 0.010699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4062-10_0_4_line_45 |  | 40 | 43 | 0.035384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_4062-10_0_4_line_46 |  | 40 | 44 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4062-10_0_4_line_47 |  | 42 | 61 | 0.010849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4062-10_0_4_line_48 |  | 43 | 54 | 0.03659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4062-10_0_4_line_49 |  | 43 | 55 | 0.022049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4062-10_0_4_line_50 |  | 44 | 56 | 0.0015907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4062-10_0_4_line_51 |  | 45 | 46 | 0.020146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4062-10_0_4_line_52 |  | 47 | 48 | 0.0039717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4062-10_0_4_line_53 |  | 48 | 49 | 0.015109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4062-10_0_4_line_54 |  | 48 | 50 | 0.026015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4062-10_0_4_line_55 |  | 50 | 51 | 0.02347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4062-10_0_4_line_56 |  | 50 | 52 | 0.040753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4062-10_0_4_line_57 |  | 51 | 53 | 0.0060372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4062-10_0_4_line_58 |  | 52 | 54 | 0.031357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4062-10_0_4_line_59 |  | 53 | 62 | 0.039404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4062-10_0_4_line_60 |  | 55 | 59 | 0.0081439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4062-10_0_4_line_61 |  | 55 | 60 | 0.019867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4062-10_0_4_line_62 |  | 56 | 57 | 0.018978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4062-10_0_4_line_63 |  | 57 | 58 | 0.01205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4062-10_0_4_line_64 |  | 59 | 79 | 0.026308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4062-10_0_4_line_65 |  | 60 | 89 | 0.016252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4062-10_0_4_line_66 |  | 62 | 85 | 0.0039543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4062-10_0_4_line_67 |  | 63 | 64 | 0.0028519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4062-10_0_4_line_68 |  | 64 | 65 | 0.023584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4062-10_0_4_line_69 |  | 66 | 67 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4062-10_0_4_line_70 |  | 67 | 68 | 0.011824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4062-10_0_4_line_71 |  | 69 | 70 | 0.011725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4062-10_0_4_line_72 |  | 70 | 84 | 0.0023597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4062-10_0_4_line_73 |  | 71 | 72 | 0.0012352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4062-10_0_4_line_74 |  | 72 | 99 | 0.0048258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4062-10_0_4_line_75 |  | 73 | 74 | 0.0097682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4062-10_0_4_line_76 |  | 73 | 75 | 0.0017291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4062-10_0_4_line_77 |  | 74 | 76 | 0.013502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4062-10_0_4_line_78 |  | 75 | 77 | 0.026015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4062-10_0_4_line_79 |  | 77 | 78 | 0.0003074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4062-10_0_4_line_80 |  | 78 | 81 | 0.016699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4062-10_0_4_line_81 |  | 79 | 80 | 0.012827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4062-10_0_4_line_82 |  | 80 | 82 | 0.0086722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4062-10_0_4_line_83 |  | 81 | 83 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4062-10_0_4_line_84 |  | 81 | 84 | 0.0057167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4062-10_0_4_line_85 |  | 82 | 91 | 0.022878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4062-10_0_4_line_86 |  | 83 | 94 | 0.0017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4062-10_0_4_line_87 |  | 85 | 86 | 0.032827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4062-10_0_4_line_88 |  | 86 | 87 | 0.0016858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4062-10_0_4_line_89 |  | 87 | 88 | 0.017077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4062-10_0_4_line_90 |  | 88 | 92 | 0.017873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4062-10_0_4_line_91 |  | 88 | 93 | 0.014467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4062-10_0_4_line_92 |  | 89 | 90 | 0.017769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4062-10_0_4_line_93 |  | 92 | 94 | 0.0047821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4062-10_0_4_line_94 |  | 93 | 95 | 0.0015046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4062-10_0_4_line_95 |  | 95 | 96 | 0.021438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4062-10_0_4_line_96 |  | 96 | 100 | 0.0011774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4062-10_0_4_line_97 |  | 96 | 98 | 0.003814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4062-10_0_4_line_98 |  | 97 | 98 | 0.017509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4062-10_0_4_line_99 |  | 97 | 99 | 0.013638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4062-10_0_4_line_100 |  | 100 | 101 | 0.0051489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4062-10_0_4_line_101 |  | 101 | 102 | 0.0052957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4062-10_0_4_line_102 |  | 102 | 103 | 0.0054619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4062-10_0_4_line_103 |  | 103 | 105 | 0.00035502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4062-10_0_4_line_104 |  | 104 | 105 | 0.0015817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4062-10_0_4_line_105 |  | 104 | 106 | 0.0016691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4062-10_0_4_trafo_48 | 0.63 MVA 20/0.4 kV | 107 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2670121.1858 | 1245803.556 | 2670128.4231 | 1245863.7522
1 | 2670117.5441 | 1245773.1311 | 2670118.5814 | 1245781.8939 | 2670121.1858 | 1245803.556
2 | 2670128.4231 | 1245863.7522 | 2670128.4535 | 1245864.0057
3 | 2670117.5441 | 1245773.1311 | 2670116.93 | 1245767.5644
4 | 2670117.5441 | 1245773.1311 | 2670103.2493 | 1245773.1511 | 2670096.8319 | 1245773.4088 | 2670090.9427 | 1245773.0723 | 2670086.0284 | 1245772.0802 | 2670080.0633 | 1245769.8637 | 2670073.3126 | 1245766.3482 | 2670068.5025 | 1245764.2121 | 2670067.2549 | 1245763.9125
5 | 2670116.93 | 1245767.5644 | 2670121.8105 | 1245766.9438 | 2670129.5418 | 1245772.478
6 | 2670116.93 | 1245767.5644 | 2670114.6865 | 1245747.56
7 | 2670044.6649 | 1245761.0729 | 2670059.0282 | 1245762.2878 | 2670063.0479 | 1245762.9023 | 2670067.2549 | 1245763.9125
8 | 2670145.6718 | 1245783.4041 | 2670141.6639 | 1245781.1552 | 2670129.5418 | 1245772.478
9 | 2670114.6865 | 1245747.56 | 2670112.6259 | 1245729.1871
10 | 2670044.6649 | 1245761.0729 | 2670041.2941 | 1245728.3404
11 | 2670044.6649 | 1245761.0729 | 2670038.1324 | 1245760.1951 | 2670023.2045 | 1245758.3354
12 | 2670044.6649 | 1245761.0729 | 2670045.2982 | 1245770.1423 | 2670046.939 | 1245784.7277
13 | 2670145.6718 | 1245783.4041 | 2670145.6718 | 1245783.4041 | 2670171.7442 | 1245780.645
14 | 2670111.6999 | 1245720.9309 | 2670112.6259 | 1245729.1871
15 | 2670041.2941 | 1245728.3404 | 2670039.9494 | 1245715.283
16 | 2670178.4635 | 1245779.9339 | 2670171.7442 | 1245780.645
17 | 2670111.6999 | 1245720.9309 | 2670109.546 | 1245701.7259
18 | 2670039.9494 | 1245715.283 | 2670037.9913 | 1245696.2685
19 | 2670218.9571 | 1245967.1781 | 2670214.9333 | 1245957.9907 | 2670211.622 | 1245933.3008 | 2670210.9312 | 1245928.453
20 | 2670206.5116 | 1245896.5589 | 2670207.2624 | 1245902.7055 | 2670210.9312 | 1245928.453
21 | 2670218.9571 | 1245967.1781 | 2670229.4404 | 1245959.1521 | 2670235.6365 | 1245954.6001 | 2670241.4637 | 1245953.1347 | 2670243.7697 | 1245947.8916 | 2670250.7952 | 1245940.9366
22 | 2670206.5116 | 1245896.5589 | 2670193.4688 | 1245899.0399
23 | 2670206.5116 | 1245896.5589 | 2670205.973 | 1245892.1534
24 | 2670250.7952 | 1245940.9366 | 2670271.5602 | 1245918.9559 | 2670276.5928 | 1245912.866
25 | 2670193.4688 | 1245899.0399 | 2670187.442 | 1245900.1863
26 | 2670203.3935 | 1245871.0565 | 2670205.973 | 1245892.1534
27 | 2670276.5928 | 1245912.866 | 2670282.7435 | 1245905.4233 | 2670292.8735 | 1245890.8886 | 2670300.95 | 1245876.6209
28 | 2670201.4902 | 1245855.4901 | 2670203.3935 | 1245871.0565
29 | 2670314.0299 | 1245845.4212 | 2670309.852 | 1245857.5775 | 2670302.0641 | 1245874.6528 | 2670300.95 | 1245876.6209
30 | 2670201.4902 | 1245855.4901 | 2670201.4023 | 1245854.7714
31 | 2670201.4023 | 1245854.7714 | 2670201.3944 | 1245854.7064
32 | 2670293.0134 | 1245615.263 | 2670560.125 | 1245507.6511
33 | 2670293.0134 | 1245615.263 | 2670290.4499 | 1245626.2019
34 | 2670290.4499 | 1245626.2019 | 2670289.4561 | 1245630.4427 | 2670288.5503 | 1245631.5794
35 | 2670366.2556 | 1245809.479 | 2670346.6914 | 1245809.7916
36 | 2670366.2556 | 1245809.479 | 2670371.0118 | 1245794.0089
37 | 2670346.6914 | 1245809.7916 | 2670319.7015 | 1245810.6501
38 | 2670346.6914 | 1245809.7916 | 2670346.592 | 1245799.9735
39 | 2670319.7015 | 1245810.6501 | 2670318.9909 | 1245797.9438 | 2670317.7734 | 1245784.6534 | 2670314.8751 | 1245772.3103 | 2670313.1841 | 1245767.2345
40 | 2670319.7015 | 1245810.6501 | 2670319.6849 | 1245811.7194
41 | 2670346.5103 | 1245791.8929 | 2670346.592 | 1245799.9735
42 | 2670306.1751 | 1245745.8775 | 2670310.6728 | 1245759.6961 | 2670313.1841 | 1245767.2345
43 | 2670314.0299 | 1245845.4212 | 2670316.4095 | 1245838.4973 | 2670319.4753 | 1245825.2577 | 2670319.6849 | 1245811.7194
44 | 2670348.9183 | 1245782.3974 | 2670346.4341 | 1245784.3596 | 2670346.5103 | 1245791.8929
45 | 2670306.1751 | 1245745.8775 | 2670291.8486 | 1245713.5072
46 | 2670306.1751 | 1245745.8775 | 2670323.398 | 1245739.4544
47 | 2670357.4318 | 1245775.6728 | 2670348.9183 | 1245782.3974
48 | 2670291.8486 | 1245713.5072 | 2670286.8461 | 1245716.1276 | 2670258.0307 | 1245727.4012
49 | 2670280.7644 | 1245694.4291 | 2670291.8486 | 1245713.5072
50 | 2670323.398 | 1245739.4544 | 2670324.8884 | 1245738.8986
51 | 2670201.3944 | 1245854.7064 | 2670199.658 | 1245840.505 | 2670199.0814 | 1245834.6952
52 | 2670193.4885 | 1245778.3439 | 2670193.8808 | 1245782.2961
53 | 2670193.4885 | 1245778.3439 | 2670178.4635 | 1245779.9339
54 | 2670190.5155 | 1245752.5016 | 2670193.4885 | 1245778.3439
55 | 2670190.5155 | 1245752.5016 | 2670187.995 | 1245729.1676
56 | 2670190.5155 | 1245752.5016 | 2670200.8664 | 1245749.9334 | 2670228.8514 | 1245738.8827
57 | 2670187.3466 | 1245723.1653 | 2670187.995 | 1245729.1676
58 | 2670258.0307 | 1245727.4012 | 2670246.8212 | 1245731.7868 | 2670228.8514 | 1245738.8827
59 | 2670187.3466 | 1245723.1653 | 2670183.115 | 1245683.9895
60 | 2670280.7644 | 1245694.4291 | 2670276.0286 | 1245687.8039
61 | 2670280.7644 | 1245694.4291 | 2670298.3132 | 1245685.116
62 | 2670342.67 | 1245732.2672 | 2670324.8884 | 1245738.8986
63 | 2670346.3092 | 1245743.7543 | 2670342.67 | 1245732.2672 | 2670342.67 | 1245732.2672
64 | 2670260.8949 | 1245666.2851 | 2670273.5181 | 1245684.2917 | 2670276.0286 | 1245687.8039
65 | 2670312.6713 | 1245679.2935 | 2670310.9721 | 1245678.398 | 2670298.3132 | 1245685.116
66 | 2670183.115 | 1245683.9895 | 2670182.6903 | 1245680.0581
67 | 2670109.2282 | 1245698.8917 | 2670109.546 | 1245701.7259
68 | 2670109.2282 | 1245698.8917 | 2670106.5996 | 1245675.4544
69 | 2670036.9334 | 1245685.9964 | 2670037.9913 | 1245696.2685
70 | 2670036.9334 | 1245685.9964 | 2670035.7222 | 1245674.2347
71 | 2670171.3786 | 1245584.1723 | 2670161.8996 | 1245577.2704
72 | 2670173.2862 | 1245585.5613 | 2670171.3786 | 1245584.1723
73 | 2670131.532 | 1245598.4958 | 2670131.532 | 1245598.4958 | 2670131.2903 | 1245597.2845
74 | 2670136.3229 | 1245599.0751 | 2670131.532 | 1245598.4958
75 | 2670211.9064 | 1245618.0238 | 2670219.3278 | 1245624.3753
76 | 2670211.9064 | 1245618.0238 | 2670210.5928 | 1245616.8995
77 | 2670229.586 | 1245633.1546 | 2670219.3278 | 1245624.3753
78 | 2670190.828 | 1245599.9841 | 2670210.5928 | 1245616.8995
79 | 2670190.5945 | 1245599.7843 | 2670190.828 | 1245599.9841
80 | 2670177.9076 | 1245588.9264 | 2670190.5945 | 1245599.7843
81 | 2670260.8949 | 1245666.2851 | 2670268.8886 | 1245656.2536
82 | 2670268.8886 | 1245656.2536 | 2670274.293 | 1245649.4713
83 | 2670177.9076 | 1245588.9264 | 2670175.529 | 1245604.51
84 | 2670177.9076 | 1245588.9264 | 2670173.2862 | 1245585.5613
85 | 2670274.293 | 1245649.4713 | 2670288.5503 | 1245631.5794
86 | 2670175.3266 | 1245606.2618 | 2670175.3276 | 1245605.8299 | 2670175.529 | 1245604.51
87 | 2670182.6903 | 1245680.0581 | 2670181.9904 | 1245673.5786 | 2670178.7221 | 1245647.4724
88 | 2670178.7221 | 1245647.4724 | 2670178.5126 | 1245645.7996
89 | 2670176.4453 | 1245628.8482 | 2670177.8695 | 1245640.6623 | 2670178.5126 | 1245645.7996
90 | 2670176.4453 | 1245628.8482 | 2670175.297 | 1245619.2612 | 2670175.3157 | 1245611.0439
91 | 2670176.4453 | 1245628.8482 | 2670162.1112 | 1245630.8028
92 | 2670325.565 | 1245690.8464 | 2670319.9297 | 1245683.1186 | 2670312.6713 | 1245679.2935
93 | 2670175.3157 | 1245611.0439 | 2670175.3266 | 1245606.2618
94 | 2670160.6204 | 1245631.006 | 2670162.1112 | 1245630.8028
95 | 2670139.3789 | 1245633.9024 | 2670160.6204 | 1245631.006
96 | 2670139.3789 | 1245633.9024 | 2670139.5087 | 1245635.0726
97 | 2670139.3789 | 1245633.9024 | 2670139.0455 | 1245630.103
98 | 2670137.5151 | 1245612.6612 | 2670139.0455 | 1245630.103
99 | 2670137.5151 | 1245612.6612 | 2670136.3229 | 1245599.0751 | 2670136.3229 | 1245599.0751
100 | 2670139.5087 | 1245635.0726 | 2670140.0761 | 1245640.1901
101 | 2670140.6598 | 1245645.4535 | 2670140.0761 | 1245640.1901
102 | 2670140.6598 | 1245645.4535 | 2670141.2617 | 1245650.8822
103 | 2670141.3009 | 1245651.235 | 2670141.2617 | 1245650.8822
104 | 2670141.4752 | 1245652.8071 | 2670141.3009 | 1245651.235
105 | 2670141.6591 | 1245654.466 | 2670141.4752 | 1245652.8071

## bus_geodata
| x | y | coords
0 | 2670121.1858 | 1245803.556
1 | 2670128.4231 | 1245863.7522
2 | 2670117.5441 | 1245773.1311
3 | 2670128.4535 | 1245864.0057
4 | 2670116.93 | 1245767.5644
5 | 2670067.2549 | 1245763.9125
6 | 2670129.5418 | 1245772.478
7 | 2670114.6865 | 1245747.56
8 | 2670044.6649 | 1245761.0729
9 | 2670145.6718 | 1245783.4041
10 | 2670112.6259 | 1245729.1871
11 | 2670041.2941 | 1245728.3404
12 | 2670023.2045 | 1245758.3354
13 | 2670046.939 | 1245784.7277
14 | 2670171.7442 | 1245780.645
15 | 2670111.6999 | 1245720.9309
16 | 2670039.9494 | 1245715.283
17 | 2670210.9312 | 1245928.453
18 | 2670218.9571 | 1245967.1781
19 | 2670206.5116 | 1245896.5589
20 | 2670250.7952 | 1245940.9366
21 | 2670193.4688 | 1245899.0399
22 | 2670205.973 | 1245892.1534
23 | 2670276.5928 | 1245912.866
24 | 2670187.442 | 1245900.1863
25 | 2670203.3935 | 1245871.0565
26 | 2670300.95 | 1245876.6209
27 | 2670201.4902 | 1245855.4901
28 | 2670201.4023 | 1245854.7714
29 | 2670560.125 | 1245507.6511
30 | 2670293.0134 | 1245615.263
31 | 2670290.4499 | 1245626.2019
32 | 2670366.2556 | 1245809.479
33 | 2670346.6914 | 1245809.7916
34 | 2670371.0118 | 1245794.0089
35 | 2670319.7015 | 1245810.6501
36 | 2670346.592 | 1245799.9735
37 | 2670313.1841 | 1245767.2345
38 | 2670319.6849 | 1245811.7194
39 | 2670346.5103 | 1245791.8929
40 | 2670306.1751 | 1245745.8775
41 | 2670314.0299 | 1245845.4212
42 | 2670348.9183 | 1245782.3974
43 | 2670291.8486 | 1245713.5072
44 | 2670323.398 | 1245739.4544
45 | 2670201.3944 | 1245854.7064
46 | 2670199.0814 | 1245834.6952
47 | 2670193.8808 | 1245782.2961
48 | 2670193.4885 | 1245778.3439
49 | 2670178.4635 | 1245779.9339
50 | 2670190.5155 | 1245752.5016
51 | 2670187.995 | 1245729.1676
52 | 2670228.8514 | 1245738.8827
53 | 2670187.3466 | 1245723.1653
54 | 2670258.0307 | 1245727.4012
55 | 2670280.7644 | 1245694.4291
56 | 2670324.8884 | 1245738.8986
57 | 2670342.67 | 1245732.2672
58 | 2670346.3092 | 1245743.7543
59 | 2670276.0286 | 1245687.8039
60 | 2670298.3132 | 1245685.116
61 | 2670357.4318 | 1245775.6728
62 | 2670183.115 | 1245683.9895
63 | 2670109.546 | 1245701.7259
64 | 2670109.2282 | 1245698.8917
65 | 2670106.5996 | 1245675.4544
66 | 2670037.9913 | 1245696.2685
67 | 2670036.9334 | 1245685.9964
68 | 2670035.7222 | 1245674.2347
69 | 2670161.8996 | 1245577.2704
70 | 2670171.3786 | 1245584.1723
71 | 2670131.2903 | 1245597.2845
72 | 2670131.532 | 1245598.4958
73 | 2670211.9064 | 1245618.0238
74 | 2670219.3278 | 1245624.3753
75 | 2670210.5928 | 1245616.8995
76 | 2670229.586 | 1245633.1546
77 | 2670190.828 | 1245599.9841
78 | 2670190.5945 | 1245599.7843
79 | 2670260.8949 | 1245666.2851
80 | 2670268.8886 | 1245656.2536
81 | 2670177.9076 | 1245588.9264
82 | 2670274.293 | 1245649.4713
83 | 2670175.529 | 1245604.51
84 | 2670173.2862 | 1245585.5613
85 | 2670182.6903 | 1245680.0581
86 | 2670178.7221 | 1245647.4724
87 | 2670178.5126 | 1245645.7996
88 | 2670176.4453 | 1245628.8482
89 | 2670312.6713 | 1245679.2935
90 | 2670325.565 | 1245690.8464
91 | 2670288.5503 | 1245631.5794
92 | 2670175.3157 | 1245611.0439
93 | 2670162.1112 | 1245630.8027
94 | 2670175.3266 | 1245606.2618
95 | 2670160.6204 | 1245631.006
96 | 2670139.3789 | 1245633.9024
97 | 2670137.5151 | 1245612.6612
98 | 2670139.0455 | 1245630.103
99 | 2670136.3229 | 1245599.0751
100 | 2670139.5087 | 1245635.0726
101 | 2670140.0761 | 1245640.1901
102 | 2670140.6598 | 1245645.4535
103 | 2670141.2617 | 1245650.8822
104 | 2670141.4752 | 1245652.8071
105 | 2670141.3009 | 1245651.235
106 | 2670141.6591 | 1245654.466
107 | 2670190.5155 | 1245752.5016

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1