## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4062-12_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4062-12_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4062-12_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4062-12_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4062-12_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4062-12_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4062-12_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4062-12_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4062-12_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4062-12_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_4062-12_0_6_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_4062-12_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4062-12_0_6_node_152 | 0.4 | n |  | TRUE
13 | bus_LV_4062-12_0_6_node_151 | 0.4 | n |  | TRUE
14 | bus_LV_4062-12_0_6_node_145 | 0.4 | n |  | TRUE
15 | bus_LV_4062-12_0_6_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_4062-12_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4062-12_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4062-12_0_6_node_144 | 0.4 | n |  | TRUE
19 | bus_LV_4062-12_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4062-12_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4062-12_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4062-12_0_6_node_126 | 0.4 | n |  | TRUE
23 | bus_LV_4062-12_0_6_node_128 | 0.4 | n |  | TRUE
24 | bus_LV_4062-12_0_6_node_146 | 0.4 | n |  | TRUE
25 | bus_LV_4062-12_0_6_node_124 | 0.4 | n |  | TRUE
26 | bus_LV_4062-12_0_6_node_129 | 0.4 | n |  | TRUE
27 | bus_LV_4062-12_0_6_node_147 | 0.4 | n |  | TRUE
28 | bus_LV_4062-12_0_6_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_4062-12_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4062-12_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4062-12_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4062-12_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4062-12_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4062-12_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4062-12_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4062-12_0_6_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_4062-12_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_4062-12_0_6_node_121 | 0.4 | n |  | TRUE
39 | bus_LV_4062-12_0_6_node_135 | 0.4 | n |  | TRUE
40 | bus_LV_4062-12_0_6_node_130 | 0.4 | n |  | TRUE
41 | bus_LV_4062-12_0_6_node_122 | 0.4 | n |  | TRUE
42 | bus_LV_4062-12_0_6_node_136 | 0.4 | n |  | TRUE
43 | bus_LV_4062-12_0_6_node_118 | 0.4 | n |  | TRUE
44 | bus_LV_4062-12_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4062-12_0_6_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_4062-12_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4062-12_0_6_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4062-12_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4062-12_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_4062-12_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_4062-12_0_6_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_4062-12_0_6_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_4062-12_0_6_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_4062-12_0_6_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_4062-12_0_6_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_4062-12_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_4062-12_0_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4062-12_0_6_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_4062-12_0_6_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_4062-12_0_6_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4062-12_0_6_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_4062-12_0_6_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_4062-12_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_4062-12_0_6_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_4062-12_0_6_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_4062-12_0_6_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_4062-12_0_6_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_4062-12_0_6_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_4062-12_0_6_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_4062-12_0_6_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_4062-12_0_6_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_4062-12_0_6_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_4062-12_0_6_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_4062-12_0_6_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_4062-12_0_6_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_4062-12_0_6_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4062-12_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_4062-12_0_6_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_4062-12_0_6_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_4062-12_0_6_node_92 | 0.4 | n |  | TRUE
81 | bus_LV_4062-12_0_6_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_4062-12_0_6_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_4062-12_0_6_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_4062-12_0_6_node_68 | 0.4 | n |  | TRUE
85 | bus_LV_4062-12_0_6_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_4062-12_0_6_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_4062-12_0_6_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_4062-12_0_6_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_4062-12_0_6_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_4062-12_0_6_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_4062-12_0_6_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_4062-12_0_6_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_4062-12_0_6_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_4062-12_0_6_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_4062-12_0_6_node_75 | 0.4 | n |  | TRUE
96 | bus_LV_4062-12_0_6_node_76 | 0.4 | n |  | TRUE
97 | bus_LV_4062-12_0_6_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_4062-12_0_6_node_78 | 0.4 | n |  | TRUE
99 | bus_LV_4062-12_0_6_node_104 | 0.4 | n |  | TRUE
100 | bus_LV_4062-12_0_6_node_105 | 0.4 | n |  | TRUE
101 | bus_LV_4062-12_0_6_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_4062-12_0_6_node_106 | 0.4 | n |  | TRUE
103 | bus_LV_4062-12_0_6_node_79 | 0.4 | n |  | TRUE
104 | bus_LV_4062-12_0_6_node_81 | 0.4 | n |  | TRUE
105 | bus_LV_4062-12_0_6_node_83 | 0.4 | n |  | TRUE
106 | bus_LV_4062-12_0_6_node_84 | 0.4 | n |  | TRUE
107 | bus_LV_4062-12_0_6_node_85 | 0.4 | n |  | TRUE
108 | bus_LV_4062-12_0_6_node_86 | 0.4 | n |  | TRUE
109 | bus_LV_4062-12_0_6_node_87 | 0.4 | n |  | TRUE
110 | bus_LV_4062-12_0_6_node_100 | 0.4 | n |  | TRUE
111 | bus_LV_4062-12_0_6_node_91 | 0.4 | n |  | TRUE
112 | bus_LV_4062-12_0_6_node_110 | 0.4 | n |  | TRUE
113 | bus_LV_4062-12_0_6_node_107 | 0.4 | n |  | TRUE
114 | bus_LV_4062-12_0_6_node_113 | 0.4 | n |  | TRUE
115 | bus_LV_4062-12_0_6_node_108 | 0.4 | n |  | TRUE
116 | bus_LV_4062-12_0_6_node_88 | 0.4 | n |  | TRUE
117 | bus_LV_4062-12_0_6_node_90 | 0.4 | n |  | TRUE
118 | bus_LV_4062-12_0_6_node_95 | 0.4 | n |  | TRUE
119 | bus_LV_4062-12_0_6_node_96 | 0.4 | n |  | TRUE
120 | bus_LV_4062-12_0_6_node_97 | 0.4 | n |  | TRUE
121 | bus_LV_4062-12_0_6_node_98 | 0.4 | n |  | TRUE
122 | bus_LV_4062-12_0_6_node_99 | 0.4 | n |  | TRUE
123 | bus_LV_4062-12_0_6_node_101 | 0.4 | n |  | TRUE
124 | bus_LV_4062-12_0_6_node_102 | 0.4 | n |  | TRUE
125 | bus_LV_4062-12_0_6_node_109 | 0.4 | n |  | TRUE
126 | bus_LV_4062-12_0_6_node_111 | 0.4 | n |  | TRUE
127 | bus_LV_4062-12_0_6_node_112 | 0.4 | n |  | TRUE
128 | bus_LV_4062-12_0_6_node_127 | 0.4 | n |  | TRUE
129 | bus_LV_4062-12_0_6_node_123 | 0.4 | n |  | TRUE
130 | bus_LV_4062-12_0_6_node_114 | 0.4 | n |  | TRUE
131 | bus_LV_4062-12_0_6_node_115 | 0.4 | n |  | TRUE
132 | bus_LV_4062-12_0_6_node_116 | 0.4 | n |  | TRUE
133 | bus_LV_4062-12_0_6_node_117 | 0.4 | n |  | TRUE
134 | bus_LV_4062-12_0_6_node_120 | 0.4 | n |  | TRUE
135 | bus_LV_4062-12_0_6_node_119 | 0.4 | n |  | TRUE
136 | bus_LV_4062-12_0_6_node_125 | 0.4 | n |  | TRUE
137 | bus_LV_4062-12_0_6_node_140 | 0.4 | n |  | TRUE
138 | bus_LV_4062-12_0_6_node_133 | 0.4 | n |  | TRUE
139 | bus_LV_4062-12_0_6_node_138 | 0.4 | n |  | TRUE
140 | bus_LV_4062-12_0_6_node_134 | 0.4 | n |  | TRUE
141 | bus_LV_4062-12_0_6_node_148 | 0.4 | n |  | TRUE
142 | bus_LV_4062-12_0_6_node_149 | 0.4 | n |  | TRUE
143 | bus_LV_4062-12_0_6_node_137 | 0.4 | n |  | TRUE
144 | bus_LV_4062-12_0_6_node_139 | 0.4 | n |  | TRUE
145 | bus_LV_4062-12_0_6_node_141 | 0.4 | n |  | TRUE
146 | bus_LV_4062-12_0_6_node_142 | 0.4 | n |  | TRUE
147 | bus_LV_4062-12_0_6_node_150 | 0.4 | n |  | TRUE
148 | bus_LV_4062-12_0_6_node_143 | 0.4 | n |  | TRUE
149 | bus_MV_420_0_node_77 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4062-12_0_6_load_0 | 0 | 0.0046262 | 0.0011594 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4062-12_0_6_load_1 | 1 | 0.010597 | 0.002656 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4062-12_0_6_load_4 | 4 | 0.0025392 | 0.00063638 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4062-12_0_6_load_5 | 5 | 0.013344 | 0.0033444 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4062-12_0_6_load_6 | 6 | 0.0066736 | 0.0016726 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4062-12_0_6_load_7 | 7 | 0.011709 | 0.0029347 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4062-12_0_6_load_8 | 8 | 0.0023076 | 0.00057834 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4062-12_0_6_load_9 | 9 | 0.0026828 | 0.00067236 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4062-12_0_6_load_16 | 10 | 0.011638 | 0.0029168 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4062-12_0_6_load_152 | 12 | 0.0027469 | 0.00068845 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4062-12_0_6_load_145 | 14 | 0.0014468 | 0.00036261 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4062-12_0_6_load_26 | 15 | 0.0016892 | 0.00042336 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4062-12_0_6_load_12 | 17 | 0.0060396 | 0.0015137 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4062-12_0_6_load_144 | 18 | 0.0044227 | 0.0011084 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4062-12_0_6_load_13 | 19 | 0.0066633 | 0.00167 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4062-12_0_6_load_14 | 20 | 0.0082881 | 0.0020772 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4062-12_0_6_load_15 | 21 | 0.011946 | 0.0029941 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4062-12_0_6_load_126 | 22 | 0.0055506 | 0.0013911 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4062-12_0_6_load_128 | 23 | 0.0065413 | 0.0016394 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4062-12_0_6_load_146 | 24 | 0.013307 | 0.0033351 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4062-12_0_6_load_129 | 26 | 0.0055468 | 0.0013902 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4062-12_0_6_load_147 | 27 | 0.015011 | 0.0037621 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4062-12_0_6_load_17 | 29 | 0.0015801 | 0.00039601 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4062-12_0_6_load_18 | 30 | 0.0012641 | 0.00031681 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4062-12_0_6_load_20 | 32 | 0.0032812 | 0.00082235 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4062-12_0_6_load_21 | 33 | 0.001412 | 0.00035387 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4062-12_0_6_load_22 | 34 | 0.0016454 | 0.00041238 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4062-12_0_6_load_24 | 36 | 0.0017 | 0.00042607 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4062-12_0_6_load_25 | 37 | 0.001037 | 0.0002599 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4062-12_0_6_load_121 | 38 | 0.0016735 | 0.00041942 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4062-12_0_6_load_135 | 39 | 0.0018372 | 0.00046044 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4062-12_0_6_load_130 | 40 | 0.0024024 | 0.00060211 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4062-12_0_6_load_122 | 41 | 0.00096739 | 0.00024245 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4062-12_0_6_load_136 | 42 | 0.0064168 | 0.0016082 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4062-12_0_6_load_28 | 44 | 0.0088692 | 0.0022228 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4062-12_0_6_load_29 | 45 | 0.00074088 | 0.00018568 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4062-12_0_6_load_30 | 46 | 0.00018797 | 4.711e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4062-12_0_6_load_32 | 48 | 0.0003352 | 8.4009e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4062-12_0_6_load_33 | 49 | 0.0004824 | 0.0001209 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4062-12_0_6_load_35 | 51 | 0.0015549 | 0.00038969 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4062-12_0_6_load_36 | 52 | 0.00038037 | 9.5329e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4062-12_0_6_load_37 | 53 | 0.00038938 | 9.7588e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4062-12_0_6_load_43 | 54 | 0.0031558 | 0.00079091 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4062-12_0_6_load_52 | 55 | 0.00037512 | 9.4013e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4062-12_0_6_load_44 | 56 | 0.00068703 | 0.00017219 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4062-12_0_6_load_38 | 57 | 0.0045122 | 0.0011309 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4062-12_0_6_load_39 | 58 | 0.0044609 | 0.001118 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4062-12_0_6_load_42 | 60 | 0.0061924 | 0.001552 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4062-12_0_6_load_55 | 61 | 0.0022306 | 0.00055903 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4062-12_0_6_load_47 | 63 | 0.0014267 | 0.00035757 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4062-12_0_6_load_45 | 64 | 0.00066465 | 0.00016658 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4062-12_0_6_load_46 | 65 | 0.000664 | 0.00016641 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4062-12_0_6_load_48 | 66 | 0.00066402 | 0.00016642 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4062-12_0_6_load_49 | 67 | 0.0004145 | 0.00010388 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4062-12_0_6_load_50 | 68 | 0.00061196 | 0.00015337 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4062-12_0_6_load_51 | 69 | 0.00083743 | 0.00020988 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4062-12_0_6_load_54 | 70 | 0.0013525 | 0.00033896 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4062-12_0_6_load_56 | 71 | 0.00037218 | 9.3278e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4062-12_0_6_load_57 | 72 | 0.0057519 | 0.0014416 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4062-12_0_6_load_59 | 73 | 0.0042767 | 0.0010718 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4062-12_0_6_load_60 | 74 | 0.0054217 | 0.0013588 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4062-12_0_6_load_64 | 75 | 0.001164 | 0.00029172 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4062-12_0_6_load_63 | 76 | 0.002543 | 0.00063734 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4062-12_0_6_load_70 | 77 | 0.0044093 | 0.0011051 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4062-12_0_6_load_66 | 78 | 0.00162 | 0.000406 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4062-12_0_6_load_61 | 79 | 0.0031158 | 0.00078089 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4062-12_0_6_load_92 | 80 | 0.0017509 | 0.00043881 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4062-12_0_6_load_65 | 81 | 0.0034512 | 0.00086496 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4062-12_0_6_load_62 | 82 | 0.0027481 | 0.00068873 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4062-12_0_6_load_69 | 85 | 0.0094136 | 0.0023593 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4062-12_0_6_load_71 | 86 | 0.0039254 | 0.0009838 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4062-12_0_6_load_72 | 87 | 0.0035261 | 0.00088373 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4062-12_0_6_load_93 | 88 | 0.0090298 | 0.0022631 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4062-12_0_6_load_82 | 89 | 0.0041339 | 0.001036 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4062-12_0_6_load_94 | 91 | 0.0046269 | 0.0011596 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4062-12_0_6_load_80 | 92 | 0.0047577 | 0.0011924 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4062-12_0_6_load_73 | 93 | 0.0018954 | 0.00047504 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4062-12_0_6_load_74 | 94 | 0.0014985 | 0.00037555 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4062-12_0_6_load_75 | 95 | 0.00057008 | 0.00014287 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4062-12_0_6_load_77 | 97 | 0.0011419 | 0.00028618 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4062-12_0_6_load_78 | 98 | 0.00062309 | 0.00015616 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4062-12_0_6_load_104 | 99 | 0.0075992 | 0.0019045 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4062-12_0_6_load_105 | 100 | 0.0011189 | 0.00028043 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4062-12_0_6_load_103 | 101 | 0.0011837 | 0.00029667 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4062-12_0_6_load_106 | 102 | 0.00026062 | 6.5317e-05 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4062-12_0_6_load_79 | 103 | 0.0026775 | 0.00067105 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4062-12_0_6_load_83 | 105 | 0.0035631 | 0.00089301 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4062-12_0_6_load_87 | 109 | 0.001703 | 0.00042682 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4062-12_0_6_load_100 | 110 | 0.0018447 | 0.00046234 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4062-12_0_6_load_91 | 111 | 0.0012927 | 0.00032398 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4062-12_0_6_load_110 | 112 | 0.0035383 | 0.00088679 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4062-12_0_6_load_107 | 113 | 0.0037402 | 0.00093738 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4062-12_0_6_load_108 | 115 | 0.0013866 | 0.00034752 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4062-12_0_6_load_88 | 116 | 0.003677 | 0.00092155 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4062-12_0_6_load_90 | 117 | 0.0046138 | 0.0011563 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4062-12_0_6_load_96 | 119 | 0.001986 | 0.00049774 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4062-12_0_6_load_97 | 120 | 0.0024457 | 0.00061294 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4062-12_0_6_load_98 | 121 | 0.0020759 | 0.00052027 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4062-12_0_6_load_99 | 122 | 0.005601 | 0.0014038 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4062-12_0_6_load_101 | 123 | 0.0013303 | 0.00033341 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4062-12_0_6_load_102 | 124 | 0.0008766 | 0.0002197 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4062-12_0_6_load_111 | 126 | 0.0055459 | 0.0013899 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4062-12_0_6_load_112 | 127 | 0.0022549 | 0.00056513 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4062-12_0_6_load_127 | 128 | 0.0062118 | 0.0015568 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4062-12_0_6_load_123 | 129 | 0.0037709 | 0.00094507 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4062-12_0_6_load_114 | 130 | 0.01596 | 0.004 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4062-12_0_6_load_116 | 132 | 0.0087438 | 0.0021914 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4062-12_0_6_load_117 | 133 | 0.0036123 | 0.00090532 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4062-12_0_6_load_120 | 134 | 0.017089 | 0.0042829 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4062-12_0_6_load_119 | 135 | 0.0071334 | 0.0017878 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4062-12_0_6_load_133 | 138 | 0.010465 | 0.0026228 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4062-12_0_6_load_138 | 139 | 0.0098459 | 0.0024676 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4062-12_0_6_load_134 | 140 | 0.0085411 | 0.0021406 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4062-12_0_6_load_148 | 141 | 0.012528 | 0.0031398 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4062-12_0_6_load_149 | 142 | 0.015578 | 0.0039041 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4062-12_0_6_load_137 | 143 | 0.0091635 | 0.0022966 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4062-12_0_6_load_141 | 145 | 0.0084396 | 0.0021152 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4062-12_0_6_load_150 | 147 | 0.002615 | 0.00065539 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4062-12_0_6_load_143 | 148 | 0.0057087 | 0.0014307 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 113 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4062-12_0_6_line_0 |  | 0 | 1 | 0.028639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4062-12_0_6_line_1 |  | 0 | 2 | 0.014886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4062-12_0_6_line_2 |  | 1 | 3 | 0.0035765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4062-12_0_6_line_3 |  | 2 | 4 | 0.047111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4062-12_0_6_line_4 |  | 2 | 5 | 0.016555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4062-12_0_6_line_5 |  | 3 | 6 | 0.026613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4062-12_0_6_line_6 |  | 3 | 7 | 0.025293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4062-12_0_6_line_7 |  | 4 | 8 | 0.034853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4062-12_0_6_line_8 |  | 5 | 9 | 0.00014284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4062-12_0_6_line_9 |  | 6 | 10 | 0.02926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4062-12_0_6_line_10 |  | 7 | 11 | 0.051427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4062-12_0_6_line_11 |  | 9 | 14 | 0.021369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4062-12_0_6_line_12 |  | 10 | 15 | 0.016314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4062-12_0_6_line_13 |  | 11 | 16 | 0.01088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4062-12_0_6_line_14 |  | 11 | 17 | 0.017447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4062-12_0_6_line_15 |  | 12 | 13 | 0.064386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4062-12_0_6_line_16 |  | 13 | 44 | 0.098022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4062-12_0_6_line_17 |  | 14 | 18 | 0.0106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4062-12_0_6_line_18 |  | 15 | 28 | 0.018603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4062-12_0_6_line_19 |  | 16 | 19 | 0.015343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4062-12_0_6_line_20 |  | 16 | 20 | 0.015313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4062-12_0_6_line_21 |  | 17 | 21 | 0.036866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4062-12_0_6_line_22 |  | 18 | 148 | 0.0022574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4062-12_0_6_line_23 |  | 19 | 22 | 0.022541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4062-12_0_6_line_24 |  | 20 | 23 | 0.029974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4062-12_0_6_line_25 |  | 21 | 24 | 0.049749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4062-12_0_6_line_26 |  | 22 | 25 | 0.012905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4062-12_0_6_line_27 |  | 23 | 26 | 0.020026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4062-12_0_6_line_28 |  | 24 | 27 | 0.0035288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4062-12_0_6_line_29 |  | 25 | 136 | 0.004354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4062-12_0_6_line_30 |  | 26 | 128 | 0.014412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4062-12_0_6_line_31 |  | 28 | 44 | 0.0087567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4062-12_0_6_line_32 |  | 29 | 30 | 0.00069464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4062-12_0_6_line_33 |  | 29 | 31 | 0.012307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4062-12_0_6_line_34 |  | 30 | 32 | 0.022588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4062-12_0_6_line_35 |  | 31 | 33 | 0.0056982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4062-12_0_6_line_36 |  | 31 | 34 | 0.012504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4062-12_0_6_line_37 |  | 32 | 35 | 0.01589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4062-12_0_6_line_38 |  | 33 | 36 | 0.013105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4062-12_0_6_line_39 |  | 34 | 37 | 0.016766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4062-12_0_6_line_40 |  | 35 | 38 | 0.018855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4062-12_0_6_line_41 |  | 35 | 39 | 0.018409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4062-12_0_6_line_42 |  | 36 | 40 | 0.0053701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4062-12_0_6_line_43 |  | 37 | 41 | 0.0052183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4062-12_0_6_line_44 |  | 39 | 42 | 0.098618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4062-12_0_6_line_45 |  | 41 | 43 | 0.019202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4062-12_0_6_line_46 |  | 43 | 114 | 0.007042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4062-12_0_6_line_47 |  | 45 | 46 | 0.078994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4062-12_0_6_line_48 |  | 45 | 47 | 0.013913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4062-12_0_6_line_49 |  | 46 | 48 | 0.033176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4062-12_0_6_line_50 |  | 47 | 49 | 0.023101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4062-12_0_6_line_51 |  | 47 | 50 | 0.009257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4062-12_0_6_line_52 |  | 49 | 51 | 0.0060284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4062-12_0_6_line_53 |  | 50 | 52 | 0.030777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4062-12_0_6_line_54 |  | 50 | 53 | 0.027592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4062-12_0_6_line_55 |  | 51 | 54 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4062-12_0_6_line_56 |  | 53 | 55 | 0.030756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4062-12_0_6_line_57 |  | 54 | 56 | 0.011201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4062-12_0_6_line_58 |  | 56 | 63 | 0.00059147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4062-12_0_6_line_59 |  | 57 | 58 | 0.033535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4062-12_0_6_line_60 |  | 58 | 59 | 0.055342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4062-12_0_6_line_61 |  | 59 | 60 | 0.023108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4062-12_0_6_line_62 |  | 60 | 61 | 0.01113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4062-12_0_6_line_63 |  | 61 | 62 | 0.025833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4062-12_0_6_line_64 |  | 62 | 73 | 0.045193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4062-12_0_6_line_65 |  | 62 | 74 | 0.012473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4062-12_0_6_line_66 |  | 63 | 64 | 0.0052325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4062-12_0_6_line_67 |  | 64 | 65 | 0.0051311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4062-12_0_6_line_68 |  | 65 | 66 | 0.0058011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4062-12_0_6_line_69 |  | 66 | 67 | 0.0012633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4062-12_0_6_line_70 |  | 67 | 68 | 0.018598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4062-12_0_6_line_71 |  | 68 | 69 | 0.0020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4062-12_0_6_line_72 |  | 69 | 70 | 0.0014016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4062-12_0_6_line_73 |  | 70 | 71 | 0.015223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4062-12_0_6_line_74 |  | 71 | 72 | 0.0090511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4062-12_0_6_line_75 |  | 72 | 75 | 0.0013535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4062-12_0_6_line_76 |  | 73 | 77 | 0.022116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4062-12_0_6_line_77 |  | 73 | 78 | 0.015081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4062-12_0_6_line_78 |  | 74 | 79 | 0.0054354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4062-12_0_6_line_79 |  | 75 | 76 | 0.00066735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4062-12_0_6_line_80 |  | 76 | 82 | 0.0051496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4062-12_0_6_line_81 |  | 77 | 80 | 0.015585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4062-12_0_6_line_82 |  | 78 | 81 | 0.00061249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4062-12_0_6_line_83 |  | 79 | 82 | 0.059814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4062-12_0_6_line_84 |  | 80 | 90 | 0.018074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_4062-12_0_6_line_85 |  | 81 | 83 | 0.025796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4062-12_0_6_line_86 |  | 83 | 84 | 0.046241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4062-12_0_6_line_87 |  | 83 | 85 | 0.036926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4062-12_0_6_line_88 |  | 84 | 86 | 0.004586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4062-12_0_6_line_89 |  | 84 | 87 | 0.030398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4062-12_0_6_line_90 |  | 86 | 88 | 0.037302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4062-12_0_6_line_91 |  | 87 | 89 | 0.0027581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4062-12_0_6_line_92 |  | 88 | 91 | 0.0084917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4062-12_0_6_line_93 |  | 89 | 92 | 0.031138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4062-12_0_6_line_94 |  | 90 | 111 | 0.012234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_4062-12_0_6_line_95 |  | 90 | 116 | 0.030249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4062-12_0_6_line_96 |  | 91 | 118 | 0.023473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4062-12_0_6_line_97 |  | 92 | 103 | 0.038225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4062-12_0_6_line_98 |  | 93 | 94 | 0.031296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4062-12_0_6_line_99 |  | 93 | 95 | 0.018496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4062-12_0_6_line_100 |  | 95 | 96 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4062-12_0_6_line_101 |  | 96 | 97 | 0.047922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4062-12_0_6_line_102 |  | 96 | 98 | 0.045552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4062-12_0_6_line_103 |  | 97 | 99 | 0.044523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4062-12_0_6_line_104 |  | 98 | 100 | 0.001595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4062-12_0_6_line_105 |  | 99 | 101 | 0.018947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4062-12_0_6_line_106 |  | 100 | 102 | 0.0055682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4062-12_0_6_line_107 |  | 101 | 124 | 0.01431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4062-12_0_6_line_108 |  | 104 | 105 | 0.029643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_4062-12_0_6_line_109 |  | 104 | 106 | 0.005871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_4062-12_0_6_line_110 |  | 105 | 107 | 0.0066536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
111 | LV_4062-12_0_6_line_111 |  | 106 | 108 | 0.04537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_4062-12_0_6_line_112 |  | 106 | 109 | 0.023284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4062-12_0_6_line_113 |  | 107 | 110 | 0.013044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4062-12_0_6_line_114 |  | 107 | 111 | 0.045073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_4062-12_0_6_line_115 |  | 108 | 112 | 0.025739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4062-12_0_6_line_116 |  | 108 | 113 | 0.028317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
117 | LV_4062-12_0_6_line_117 |  | 112 | 114 | 0.015873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4062-12_0_6_line_118 |  | 113 | 115 | 0.025973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
119 | LV_4062-12_0_6_line_119 |  | 114 | 130 | 0.067695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4062-12_0_6_line_120 |  | 115 | 125 | 0.0070731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
121 | LV_4062-12_0_6_line_121 |  | 116 | 117 | 0.018401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4062-12_0_6_line_122 |  | 118 | 119 | 0.0049733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4062-12_0_6_line_123 |  | 118 | 120 | 0.029722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4062-12_0_6_line_124 |  | 119 | 121 | 0.02753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4062-12_0_6_line_125 |  | 120 | 122 | 0.044666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4062-12_0_6_line_126 |  | 121 | 123 | 0.015468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4062-12_0_6_line_127 |  | 123 | 124 | 0.01078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4062-12_0_6_line_128 |  | 125 | 126 | 0.023838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
129 | LV_4062-12_0_6_line_129 |  | 125 | 127 | 0.0054589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4062-12_0_6_line_130 |  | 126 | 128 | 0.0054603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
131 | LV_4062-12_0_6_line_131 |  | 127 | 129 | 0.012826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4062-12_0_6_line_132 |  | 131 | 132 | 0.01302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4062-12_0_6_line_133 |  | 131 | 133 | 0.0066064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4062-12_0_6_line_134 |  | 133 | 134 | 0.036856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4062-12_0_6_line_135 |  | 134 | 137 | 0.041841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4062-12_0_6_line_136 |  | 135 | 136 | 0.023592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4062-12_0_6_line_137 |  | 136 | 138 | 0.020387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
138 | LV_4062-12_0_6_line_138 |  | 137 | 139 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4062-12_0_6_line_139 |  | 138 | 140 | 0.0044223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4062-12_0_6_line_140 |  | 139 | 143 | 0.026243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4062-12_0_6_line_141 |  | 140 | 141 | 0.03714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4062-12_0_6_line_142 |  | 141 | 142 | 0.0077186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4062-12_0_6_line_143 |  | 142 | 146 | 0.038822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4062-12_0_6_line_144 |  | 143 | 144 | 0.024916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4062-12_0_6_line_145 |  | 144 | 145 | 0.033111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4062-12_0_6_line_146 |  | 145 | 146 | 0.041456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4062-12_0_6_line_147 |  | 146 | 147 | 0.021078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4062-12_0_6_trafo_107 | 0.63 MVA 20/0.4 kV | 149 | 113 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2670671.1336 | 1244712.5444 | 2670660.1389 | 1244724.0309 | 2670650.802 | 1244732.6966
1 | 2670681.4266 | 1244701.791 | 2670671.1336 | 1244712.5444
2 | 2670648.1806 | 1244735.1296 | 2670650.802 | 1244732.6966
3 | 2670681.4266 | 1244701.791 | 2670673.3835 | 1244693.7785 | 2670661.8876 | 1244685.7249 | 2670657.1279 | 1244679.297 | 2670655.7127 | 1244673.1314 | 2670657.3493 | 1244668.3253 | 2670658.7015 | 1244666.4398
4 | 2670681.4266 | 1244701.791 | 2670692.618 | 1244689.5919
5 | 2670648.1806 | 1244735.1296 | 2670639.3547 | 1244743.3526 | 2670628.0276 | 1244752.4844
6 | 2670648.1806 | 1244735.1296 | 2670663.4987 | 1244755.2559
7 | 2670658.7015 | 1244666.4398 | 2670679.0136 | 1244638.1179
8 | 2670692.618 | 1244689.5919 | 2670692.7146 | 1244689.4867
9 | 2670605.2485 | 1244770.8488 | 2670628.0276 | 1244752.4844
10 | 2670696.0171 | 1244795.0748 | 2670674.8682 | 1244770.1943 | 2670663.4987 | 1244755.2559
11 | 2670707.1601 | 1244673.7405 | 2670692.7146 | 1244689.4867
12 | 2670605.2485 | 1244770.8488 | 2670592.5482 | 1244781.0877
13 | 2670696.0171 | 1244795.0748 | 2670687.4136 | 1244801.7658
14 | 2670696.0171 | 1244795.0748 | 2670702.1263 | 1244790.3442 | 2670709.4466 | 1244783.9482
15 | 2670512.2433 | 1244719.3573 | 2670518.2468 | 1244712.068 | 2670553.2554 | 1244669.6321
16 | 2670570.9419 | 1244797.8609 | 2670512.2433 | 1244719.3573
17 | 2670707.1601 | 1244673.7405 | 2670709.5477 | 1244671.1379 | 2670714.4936 | 1244666.088
18 | 2670577.7594 | 1244792.3651 | 2670586.8386 | 1244785.6907 | 2670592.5482 | 1244781.0877
19 | 2670687.4136 | 1244801.7658 | 2670697.064 | 1244813.6933
20 | 2670687.4136 | 1244801.7658 | 2670674.487 | 1244809.9756
21 | 2670737.2084 | 1244759.6918 | 2670709.4466 | 1244783.9482
22 | 2670714.4936 | 1244666.088 | 2670716.0731 | 1244664.4752
23 | 2670697.064 | 1244813.6933 | 2670711.2421 | 1244831.217
24 | 2670650.7098 | 1244827.7108 | 2670654.6423 | 1244822.579 | 2670674.487 | 1244809.9756
25 | 2670737.2084 | 1244759.6918 | 2670745.6524 | 1244752.3141 | 2670754.3229 | 1244744.4564 | 2670759.7686 | 1244737.0717 | 2670772.6326 | 1244724.9734
26 | 2670719.0475 | 1244841.4929 | 2670711.8763 | 1244832.0007 | 2670711.2421 | 1244831.217
27 | 2670650.7098 | 1244827.7108 | 2670646.1989 | 1244833.5974 | 2670647.5608 | 1244846.1335
28 | 2670772.6326 | 1244724.9734 | 2670775.2032 | 1244722.5558
29 | 2670722.3758 | 1244838.675 | 2670719.0475 | 1244841.4929
30 | 2670647.5608 | 1244846.1335 | 2670647.5608 | 1244846.1335 | 2670657.0661 | 1244856.9662
31 | 2670577.7594 | 1244792.3651 | 2670570.9419 | 1244797.8609
32 | 2670705.9047 | 1244993.1074 | 2670705.3118 | 1244993.4693
33 | 2670694.8071 | 1244999.8819 | 2670705.3118 | 1244993.4693
34 | 2670705.9047 | 1244993.1074 | 2670725.1846 | 1244981.3379
35 | 2670694.8071 | 1244999.8819 | 2670690.1334 | 1245003.1418
36 | 2670694.8071 | 1244999.8819 | 2670688.8421 | 1244988.892
37 | 2670731.1565 | 1244967.8926 | 2670730.491 | 1244974.9118 | 2670729.0369 | 1244978.9863 | 2670725.1846 | 1244981.3379
38 | 2670690.1334 | 1245003.1418 | 2670679.3849 | 1245010.6391
39 | 2670680.8441 | 1244974.1566 | 2670688.8421 | 1244988.892
40 | 2670731.1565 | 1244967.8926 | 2670712.4509 | 1244965.5243
41 | 2670731.1565 | 1244967.8926 | 2670749.4199 | 1244970.2067
42 | 2670682.2399 | 1245015.1874 | 2670679.3849 | 1245010.6391
43 | 2670680.8441 | 1244974.1566 | 2670678.3548 | 1244969.5704
44 | 2670749.4199 | 1244970.2067 | 2670846.6433 | 1244953.6826
45 | 2670671.8786 | 1244951.9307 | 2670672.2408 | 1244958.3061 | 2670678.3548 | 1244969.5704
46 | 2670671.8786 | 1244951.9307 | 2670666.0471 | 1244947.9584
47 | 2670458.8388 | 1245383.4737 | 2670474.0323 | 1245361.8766 | 2670491.0861 | 1245331.9804 | 2670496.8135 | 1245317.9942 | 2670497.692 | 1245315.0667
48 | 2670501.6914 | 1245301.7407 | 2670497.692 | 1245315.0667
49 | 2670439.7499 | 1245410.608 | 2670458.8388 | 1245383.4737
50 | 2670501.6914 | 1245301.7407 | 2670496.7436 | 1245297.8125 | 2670486.8098 | 1245284.285 | 2670486.8098 | 1245284.285
51 | 2670501.6914 | 1245301.7407 | 2670508.9443 | 1245307.5199
52 | 2670484.8355 | 1245278.5891 | 2670486.8098 | 1245284.285
53 | 2670508.9443 | 1245307.5199 | 2670525.0483 | 1245306.0436 | 2670534.1872 | 1245305.7186 | 2670538.6358 | 1245302.5511
54 | 2670508.9443 | 1245307.5199 | 2670530.5002 | 1245324.7434
55 | 2670480.7981 | 1245266.9409 | 2670484.8355 | 1245278.5891
56 | 2670530.5002 | 1245324.7434 | 2670531.885 | 1245325.8499 | 2670557.8575 | 1245338.7128
57 | 2670478.6143 | 1245255.996 | 2670479.782 | 1245264.0095 | 2670480.7981 | 1245266.9409
58 | 2670478.529 | 1245255.4107 | 2670478.6143 | 1245255.996
59 | 2670396.375 | 1245134.5428 | 2670377.9199 | 1245162.5425
60 | 2670426.8311 | 1245088.3352 | 2670396.375 | 1245134.5428
61 | 2670426.8311 | 1245088.3352 | 2670447.5113 | 1245098.6449
62 | 2670447.5113 | 1245098.6449 | 2670455.3679 | 1245102.5617 | 2670457.4921 | 1245103.5703
63 | 2670481.873 | 1245110.3486 | 2670471.004 | 1245109.9859 | 2670457.4921 | 1245103.5703
64 | 2670481.873 | 1245110.3486 | 2670482.9668 | 1245100.9661 | 2670488.4944 | 1245089.1791 | 2670493.3808 | 1245079.219 | 2670499.8582 | 1245069.5336
65 | 2670481.873 | 1245110.3486 | 2670483.7246 | 1245118.5764 | 2670484.1668 | 1245122.5911
66 | 2670478.529 | 1245255.4107 | 2670477.7745 | 1245250.2329
67 | 2670477.0346 | 1245245.1554 | 2670477.7745 | 1245250.2329
68 | 2670477.0346 | 1245245.1554 | 2670476.1981 | 1245239.4149
69 | 2670476.0159 | 1245238.1648 | 2670476.1981 | 1245239.4149
70 | 2670476.0159 | 1245238.1648 | 2670474.731 | 1245229.3474 | 2670475.1149 | 1245219.668
71 | 2670475.1979 | 1245217.575 | 2670475.1149 | 1245219.668
72 | 2670475.1979 | 1245217.575 | 2670475.2535 | 1245216.1745
73 | 2670480.2639 | 1245202.1658 | 2670475.4539 | 1245211.1209 | 2670475.2535 | 1245216.1745
74 | 2670480.2639 | 1245202.1658 | 2670483.2814 | 1245196.5481 | 2670484.1592 | 1245194.022
75 | 2670484.6035 | 1245192.7435 | 2670484.1592 | 1245194.022
76 | 2670499.8582 | 1245069.5336 | 2670510.0092 | 1245057.846 | 2670514.0806 | 1245052.6066
77 | 2670499.8582 | 1245069.5336 | 2670512.1692 | 1245078.2442
78 | 2670484.7617 | 1245127.9939 | 2670484.1668 | 1245122.5911
79 | 2670484.8226 | 1245192.1132 | 2670484.6035 | 1245192.7435
80 | 2670486.513 | 1245187.2489 | 2670484.8226 | 1245192.1132
81 | 2670523.6437 | 1245040.3001 | 2670514.0806 | 1245052.6066
82 | 2670512.6692 | 1245078.598 | 2670512.1692 | 1245078.2442
83 | 2670484.7617 | 1245127.9939 | 2670484.8158 | 1245128.4852 | 2670489.2683 | 1245167.7323 | 2670488.0069 | 1245182.9502 | 2670486.513 | 1245187.2489
84 | 2670534.7337 | 1245026.0286 | 2670523.6437 | 1245040.3001
85 | 2670533.7271 | 1245093.4974 | 2670512.6692 | 1245078.598
86 | 2670533.7271 | 1245093.4974 | 2670571.5598 | 1245120.2438
87 | 2670533.7271 | 1245093.4974 | 2670530.2044 | 1245100.6161 | 2670529.2491 | 1245129.5833
88 | 2670571.5598 | 1245120.2438 | 2670571.4361 | 1245124.8281
89 | 2670571.5598 | 1245120.2438 | 2670584.2783 | 1245092.6348
90 | 2670584.7521 | 1245157.8204 | 2670582.5667 | 1245155.9887 | 2670575.0813 | 1245146.8822 | 2670572.9214 | 1245141.7084 | 2670571.2083 | 1245133.271 | 2670571.4361 | 1245124.8281
91 | 2670585.4323 | 1245090.1296 | 2670584.2783 | 1245092.6348
92 | 2670584.7521 | 1245157.8204 | 2670591.2601 | 1245163.275
93 | 2670585.4323 | 1245090.1296 | 2670598.4603 | 1245061.8485
94 | 2670534.7337 | 1245026.0286 | 2670542.7244 | 1245016.7647
95 | 2670534.7337 | 1245026.0286 | 2670551.6287 | 1245038.1602 | 2670556.9144 | 1245043.5491 | 2670557.9382 | 1245045.1505
96 | 2670613.7973 | 1245169.8367 | 2670591.2601 | 1245163.275
97 | 2670613.6697 | 1245026.849 | 2670612.4606 | 1245031.4569 | 2670598.4603 | 1245061.8485
98 | 2670828.6793 | 1245228.8066 | 2670857.1679 | 1245241.763
99 | 2670811.3525 | 1245222.3566 | 2670826.2926 | 1245227.7212 | 2670828.6793 | 1245228.8066
100 | 2670792.4358 | 1245215.5641 | 2670811.3525 | 1245222.3566
101 | 2670792.4358 | 1245215.5641 | 2670760.35 | 1245208.8545 | 2670745.6833 | 1245205.0906
102 | 2670792.4358 | 1245215.5641 | 2670785.9599 | 1245249.1438 | 2670781.8031 | 1245259.7092
103 | 2670745.6833 | 1245205.0906 | 2670716.5458 | 1245197.6132 | 2670702.6747 | 1245193.5955
104 | 2670781.8031 | 1245259.7092 | 2670781.2191 | 1245261.1935
105 | 2670702.6747 | 1245193.5955 | 2670684.4756 | 1245188.3241
106 | 2670779.1805 | 1245266.3751 | 2670781.2191 | 1245261.1935
107 | 2670670.7119 | 1245184.4125 | 2670672.9469 | 1245184.9849 | 2670684.4756 | 1245188.3241
108 | 2670595.2673 | 1244954.8986 | 2670574.2509 | 1244975.8029
109 | 2670595.2673 | 1244954.8986 | 2670596.2882 | 1244949.1178
110 | 2670570.0591 | 1244980.9504 | 2670572.8544 | 1244977.1921 | 2670574.2509 | 1244975.8029
111 | 2670633.1698 | 1244922.5491 | 2670596.2882 | 1244949.1178
112 | 2670596.2882 | 1244949.1178 | 2670587.4992 | 1244935.8706 | 2670585.2963 | 1244928.8209
113 | 2670570.0591 | 1244980.9504 | 2670558.5622 | 1244974.7887
114 | 2670570.0591 | 1244980.9504 | 2670548.3566 | 1245010.2351 | 2670542.7244 | 1245016.7647
115 | 2670633.1698 | 1244922.5491 | 2670650.7712 | 1244937.5581 | 2670652.9265 | 1244939.0255
116 | 2670633.1698 | 1244922.5491 | 2670653.1146 | 1244902.4474
117 | 2670666.0471 | 1244947.9584 | 2670652.9265 | 1244939.0255
118 | 2670653.1146 | 1244902.4474 | 2670671.4083 | 1244884.0097
119 | 2670666.0471 | 1244947.9584 | 2670673.024 | 1244942.0485 | 2670688.1105 | 1244932.8328 | 2670689.5737 | 1244924.1886 | 2670693.207 | 1244917.9609 | 2670706.1672 | 1244910.9103 | 2670716.056 | 1244908.658
120 | 2670676.3901 | 1244878.9887 | 2670671.4083 | 1244884.0097
121 | 2670557.7426 | 1245062.2165 | 2670560.317 | 1245057.3215 | 2670560.8639 | 1245052.002 | 2670559.622 | 1245047.7843 | 2670557.9382 | 1245045.1505
122 | 2670613.7973 | 1245169.8367 | 2670618.6151 | 1245171.0705
123 | 2670613.7973 | 1245169.8367 | 2670623.7851 | 1245141.8434
124 | 2670645.2849 | 1245177.9007 | 2670618.6151 | 1245171.0705
125 | 2670645.5822 | 1245103.5351 | 2670630.7681 | 1245122.2719 | 2670623.7851 | 1245141.8434
126 | 2670645.2849 | 1245177.9007 | 2670660.2691 | 1245181.7381
127 | 2670670.7119 | 1245184.4125 | 2670660.2691 | 1245181.7381
128 | 2670676.3901 | 1244878.9887 | 2670660.6675 | 1244861.0705
129 | 2670676.3901 | 1244878.9887 | 2670680.4242 | 1244875.311
130 | 2670660.6675 | 1244861.0705 | 2670657.0661 | 1244856.9662
131 | 2670680.4242 | 1244875.311 | 2670689.9024 | 1244866.6699
132 | 2670794.264 | 1244856.7449 | 2670790.9708 | 1244864.222 | 2670788.5018 | 1244868.396
133 | 2670794.264 | 1244856.7449 | 2670799.8303 | 1244853.1866
134 | 2670799.8303 | 1244853.1866 | 2670807.2178 | 1244850.2505 | 2670816.9172 | 1244849.8771 | 2670824.6555 | 1244849.2023 | 2670834.9044 | 1244846.4783 | 2670835.7038 | 1244846.2635
135 | 2670871.2332 | 1244825.2082 | 2670863.8959 | 1244832.1588 | 2670858.2716 | 1244835.5162 | 2670843.266 | 1244844.2321 | 2670835.7038 | 1244846.2635
136 | 2670722.3758 | 1244838.675 | 2670737.7476 | 1244856.5711
137 | 2670722.3758 | 1244838.675 | 2670737.5895 | 1244825.1041
138 | 2670871.2332 | 1244825.2082 | 2670869.1889 | 1244814.0255
139 | 2670737.5895 | 1244825.1041 | 2670740.8897 | 1244822.1603
140 | 2670869.1889 | 1244814.0255 | 2670867.9209 | 1244807.0893 | 2670864.7606 | 1244788.1594
141 | 2670768.6057 | 1244797.4371 | 2670740.8897 | 1244822.1603
142 | 2670768.6057 | 1244797.4371 | 2670774.3657 | 1244792.2991
143 | 2670803.3368 | 1244766.4564 | 2670774.3657 | 1244792.2991
144 | 2670860.6576 | 1244763.5831 | 2670864.7606 | 1244788.1594
145 | 2670860.6576 | 1244763.5831 | 2670853.4213 | 1244765.865 | 2670843.0554 | 1244771.4118 | 2670833.1647 | 1244780.9878
146 | 2670803.3368 | 1244766.4564 | 2670825.8007 | 1244788.1175 | 2670833.1647 | 1244780.9878
147 | 2670803.3368 | 1244766.4564 | 2670807.5613 | 1244762.6264 | 2670818.0926 | 1244751.4237

## bus_geodata
| x | y | coords
0 | 2670671.1336 | 1244712.5444
1 | 2670650.802 | 1244732.6966
2 | 2670681.4266 | 1244701.791
3 | 2670648.1806 | 1244735.1296
4 | 2670658.7015 | 1244666.4398
5 | 2670692.618 | 1244689.5919
6 | 2670628.0276 | 1244752.4844
7 | 2670663.4987 | 1244755.2559
8 | 2670679.0136 | 1244638.1179
9 | 2670692.7146 | 1244689.4867
10 | 2670605.2485 | 1244770.8488
11 | 2670696.0171 | 1244795.0748
12 | 2670553.2553 | 1244669.6321
13 | 2670512.2433 | 1244719.3573
14 | 2670707.1601 | 1244673.7405
15 | 2670592.5482 | 1244781.0877
16 | 2670687.4136 | 1244801.7658
17 | 2670709.4466 | 1244783.9482
18 | 2670714.4936 | 1244666.088
19 | 2670697.064 | 1244813.6933
20 | 2670674.487 | 1244809.9756
21 | 2670737.2084 | 1244759.6918
22 | 2670711.2421 | 1244831.217
23 | 2670650.7098 | 1244827.7108
24 | 2670772.6326 | 1244724.9734
25 | 2670719.0475 | 1244841.4929
26 | 2670647.5608 | 1244846.1335
27 | 2670775.2032 | 1244722.5558
28 | 2670577.7594 | 1244792.3651
29 | 2670705.3118 | 1244993.4693
30 | 2670705.9047 | 1244993.1074
31 | 2670694.8071 | 1244999.8819
32 | 2670725.1846 | 1244981.3379
33 | 2670690.1334 | 1245003.1418
34 | 2670688.8421 | 1244988.892
35 | 2670731.1565 | 1244967.8926
36 | 2670679.3849 | 1245010.6391
37 | 2670680.8441 | 1244974.1566
38 | 2670712.4509 | 1244965.5243
39 | 2670749.4199 | 1244970.2067
40 | 2670682.2399 | 1245015.1874
41 | 2670678.3548 | 1244969.5704
42 | 2670846.6433 | 1244953.6826
43 | 2670671.8786 | 1244951.9307
44 | 2670570.9419 | 1244797.8609
45 | 2670497.692 | 1245315.0667
46 | 2670458.8388 | 1245383.4737
47 | 2670501.6914 | 1245301.7407
48 | 2670439.7499 | 1245410.608
49 | 2670486.8098 | 1245284.285
50 | 2670508.9443 | 1245307.5199
51 | 2670484.8355 | 1245278.5891
52 | 2670538.6358 | 1245302.5511
53 | 2670530.5002 | 1245324.7434
54 | 2670480.7981 | 1245266.9409
55 | 2670557.8575 | 1245338.7128
56 | 2670478.6143 | 1245255.996
57 | 2670377.9199 | 1245162.5425
58 | 2670396.375 | 1245134.5428
59 | 2670426.8311 | 1245088.3352
60 | 2670447.5113 | 1245098.6449
61 | 2670457.4921 | 1245103.5703
62 | 2670481.873 | 1245110.3486
63 | 2670478.529 | 1245255.4107
64 | 2670477.7745 | 1245250.2329
65 | 2670477.0346 | 1245245.1554
66 | 2670476.1981 | 1245239.4149
67 | 2670476.0159 | 1245238.1648
68 | 2670475.1149 | 1245219.668
69 | 2670475.1979 | 1245217.575
70 | 2670475.2535 | 1245216.1745
71 | 2670480.2639 | 1245202.1658
72 | 2670484.1592 | 1245194.022
73 | 2670499.8582 | 1245069.5336
74 | 2670484.1668 | 1245122.5911
75 | 2670484.6035 | 1245192.7435
76 | 2670484.8226 | 1245192.1132
77 | 2670514.0806 | 1245052.6066
78 | 2670512.1692 | 1245078.2442
79 | 2670484.7617 | 1245127.9939
80 | 2670523.6437 | 1245040.3001
81 | 2670512.6692 | 1245078.598
82 | 2670486.513 | 1245187.2489
83 | 2670533.7271 | 1245093.4974
84 | 2670571.5598 | 1245120.2438
85 | 2670529.2491 | 1245129.5833
86 | 2670571.4361 | 1245124.8281
87 | 2670584.2783 | 1245092.6348
88 | 2670584.7521 | 1245157.8204
89 | 2670585.4323 | 1245090.1296
90 | 2670534.7337 | 1245026.0286
91 | 2670591.2601 | 1245163.275
92 | 2670598.4603 | 1245061.8485
93 | 2670828.6793 | 1245228.8066
94 | 2670857.1679 | 1245241.763
95 | 2670811.3525 | 1245222.3566
96 | 2670792.4358 | 1245215.5641
97 | 2670745.6833 | 1245205.0906
98 | 2670781.8031 | 1245259.7092
99 | 2670702.6747 | 1245193.5955
100 | 2670781.2191 | 1245261.1935
101 | 2670684.4756 | 1245188.3241
102 | 2670779.1805 | 1245266.3751
103 | 2670613.6697 | 1245026.849
104 | 2670595.2673 | 1244954.8986
105 | 2670574.2509 | 1244975.8029
106 | 2670596.2882 | 1244949.1178
107 | 2670570.0591 | 1244980.9504
108 | 2670633.1698 | 1244922.5491
109 | 2670585.2963 | 1244928.8209
110 | 2670558.5622 | 1244974.7887
111 | 2670542.7244 | 1245016.7647
112 | 2670652.9265 | 1244939.0255
113 | 2670653.1146 | 1244902.4474
114 | 2670666.0471 | 1244947.9584
115 | 2670671.4083 | 1244884.0097
116 | 2670557.9382 | 1245045.1505
117 | 2670557.7426 | 1245062.2165
118 | 2670613.7973 | 1245169.8367
119 | 2670618.6151 | 1245171.0705
120 | 2670623.7851 | 1245141.8434
121 | 2670645.2849 | 1245177.9007
122 | 2670645.5822 | 1245103.5351
123 | 2670660.2691 | 1245181.7381
124 | 2670670.7119 | 1245184.4125
125 | 2670676.3901 | 1244878.9887
126 | 2670660.6675 | 1244861.0705
127 | 2670680.4242 | 1244875.311
128 | 2670657.0661 | 1244856.9662
129 | 2670689.9024 | 1244866.6699
130 | 2670716.056 | 1244908.658
131 | 2670794.264 | 1244856.7449
132 | 2670788.5018 | 1244868.396
133 | 2670799.8303 | 1244853.1866
134 | 2670835.7038 | 1244846.2635
135 | 2670737.7476 | 1244856.5711
136 | 2670722.3758 | 1244838.675
137 | 2670871.2332 | 1244825.2082
138 | 2670737.5895 | 1244825.1041
139 | 2670869.1889 | 1244814.0255
140 | 2670740.8897 | 1244822.1603
141 | 2670768.6057 | 1244797.4371
142 | 2670774.3657 | 1244792.2991
143 | 2670864.7606 | 1244788.1594
144 | 2670860.6576 | 1244763.5831
145 | 2670833.1647 | 1244780.9878
146 | 2670803.3368 | 1244766.4564
147 | 2670818.0926 | 1244751.4237
148 | 2670716.0731 | 1244664.4752
149 | 2670633.1698 | 1244922.5491

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1