## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4062-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4062-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4062-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4062-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4062-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4062-2_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4062-2_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4062-2_0_4_node_80 | 0.4 | n |  | TRUE
8 | bus_LV_4062-2_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4062-2_0_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_4062-2_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4062-2_0_4_node_72 | 0.4 | n |  | TRUE
12 | bus_LV_4062-2_0_4_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_4062-2_0_4_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_4062-2_0_4_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_4062-2_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4062-2_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_4062-2_0_4_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_4062-2_0_4_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_4062-2_0_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_4062-2_0_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_4062-2_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4062-2_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_4062-2_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_4062-2_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4062-2_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4062-2_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4062-2_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4062-2_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_4062-2_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4062-2_0_4_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_4062-2_0_4_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_4062-2_0_4_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_4062-2_0_4_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_4062-2_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_4062-2_0_4_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_4062-2_0_4_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_4062-2_0_4_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_4062-2_0_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_4062-2_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_4062-2_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_4062-2_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_4062-2_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_4062-2_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_4062-2_0_4_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_4062-2_0_4_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_4062-2_0_4_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_4062-2_0_4_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_4062-2_0_4_node_82 | 0.4 | n |  | TRUE
49 | bus_LV_4062-2_0_4_node_64 | 0.4 | n |  | TRUE
50 | bus_LV_4062-2_0_4_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_4062-2_0_4_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_4062-2_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_4062-2_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_4062-2_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_4062-2_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_4062-2_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_4062-2_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4062-2_0_4_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_4062-2_0_4_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_4062-2_0_4_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_4062-2_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4062-2_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_4062-2_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_4062-2_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_4062-2_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_4062-2_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_4062-2_0_4_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_4062-2_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_4062-2_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_4062-2_0_4_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_4062-2_0_4_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_4062-2_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_4062-2_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_4062-2_0_4_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_4062-2_0_4_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_4062-2_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_4062-2_0_4_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_4062-2_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_MV_420_0_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4062-2_0_4_load_0 | 0 | 0.0070892 | 0.0017767 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4062-2_0_4_load_1 | 1 | 0.0080858 | 0.0020265 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4062-2_0_4_load_80 | 7 | 0.0088487 | 0.0022177 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4062-2_0_4_load_72 | 11 | 0.026476 | 0.0066356 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4062-2_0_4_load_71 | 12 | 0.026485 | 0.0066379 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4062-2_0_4_load_63 | 13 | 0.0025041 | 0.00062758 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4062-2_0_4_load_30 | 14 | 0.014417 | 0.0036131 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4062-2_0_4_load_18 | 16 | 0.0068016 | 0.0017046 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4062-2_0_4_load_81 | 18 | 0.0065132 | 0.0016324 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4062-2_0_4_load_27 | 19 | 0.014219 | 0.0035636 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4062-2_0_4_load_14 | 21 | 0.0086341 | 0.0021639 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4062-2_0_4_load_21 | 22 | 0.008116 | 0.0020341 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4062-2_0_4_load_11 | 23 | 0.019152 | 0.0048 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4062-2_0_4_load_12 | 24 | 0.0072092 | 0.0018068 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4062-2_0_4_load_15 | 26 | 0.010052 | 0.0025194 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4062-2_0_4_load_61 | 31 | 0.0068738 | 0.0017227 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4062-2_0_4_load_58 | 32 | 0.006873 | 0.0017225 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4062-2_0_4_load_54 | 33 | 0.029357 | 0.0073576 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4062-2_0_4_load_48 | 34 | 0.0035901 | 0.00089977 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4062-2_0_4_load_52 | 35 | 0.0026638 | 0.0006676 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4062-2_0_4_load_50 | 36 | 0.038632 | 0.0096822 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4062-2_0_4_load_62 | 37 | 0.0068743 | 0.0017228 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4062-2_0_4_load_20 | 39 | 0.0067389 | 0.0016889 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4062-2_0_4_load_29 | 42 | 0.010543 | 0.0026423 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4062-2_0_4_load_67 | 44 | 0.0073597 | 0.0018445 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4062-2_0_4_load_66 | 45 | 0.0073582 | 0.0018441 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4062-2_0_4_load_79 | 46 | 0.011656 | 0.0029214 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4062-2_0_4_load_82 | 48 | 0.010476 | 0.0026256 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4062-2_0_4_load_64 | 49 | 0.0058143 | 0.0014572 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4062-2_0_4_load_70 | 51 | 0.010235 | 0.0025651 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4062-2_0_4_load_31 | 52 | 0.0056604 | 0.0014186 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4062-2_0_4_load_34 | 54 | 0.041252 | 0.010339 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4062-2_0_4_load_42 | 58 | 0.02299 | 0.0057617 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4062-2_0_4_load_36 | 59 | 0.01839 | 0.0046091 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4062-2_0_4_load_56 | 60 | 0.0039913 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4062-2_0_4_load_43 | 61 | 0.0088996 | 0.0022304 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4062-2_0_4_load_45 | 63 | 0.012911 | 0.0032358 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4062-2_0_4_load_46 | 64 | 0.011383 | 0.0028528 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4062-2_0_4_load_55 | 66 | 0.004231 | 0.0010604 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4062-2_0_4_load_51 | 68 | 0.004623 | 0.0011586 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4062-2_0_4_load_59 | 69 | 0.0049474 | 0.0012399 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4062-2_0_4_load_60 | 70 | 0.013485 | 0.0033797 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4062-2_0_4_load_73 | 71 | 0.004221 | 0.0010579 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4062-2_0_4_load_74 | 72 | 0.0037463 | 0.00093892 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4062-2_0_4_load_65 | 73 | 0.0068743 | 0.0017229 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4062-2_0_4_load_75 | 74 | 0.0040913 | 0.0010254 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4062-2_0_4_load_83 | 75 | 0.008507 | 0.002132 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4062-2_0_4_load_76 | 76 | 0.0034446 | 0.00086329 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4062-2_0_4_load_78 | 77 | 0.0033782 | 0.00084665 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4062-2_0_4_load_77 | 78 | 0.0033862 | 0.00084866 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4062-2_0_4_line_0 |  | 0 | 1 | 0.011505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_4062-2_0_4_line_1 |  | 0 | 2 | 0.037476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_4062-2_0_4_line_2 |  | 1 | 3 | 0.020569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_4062-2_0_4_line_3 |  | 2 | 4 | 0.027903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_4062-2_0_4_line_4 |  | 3 | 5 | 0.058935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_4062-2_0_4_line_5 |  | 3 | 6 | 0.032047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4062-2_0_4_line_6 |  | 4 | 7 | 0.026279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_4062-2_0_4_line_7 |  | 4 | 8 | 0.038175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4062-2_0_4_line_8 |  | 4 | 9 | 0.044491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_4062-2_0_4_line_9 |  | 5 | 11 | 0.027896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4062-2_0_4_line_10 |  | 6 | 14 | 0.022539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4062-2_0_4_line_11 |  | 7 | 18 | 0.025523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_4062-2_0_4_line_12 |  | 8 | 13 | 0.02219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4062-2_0_4_line_13 |  | 9 | 19 | 0.027415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_4062-2_0_4_line_14 |  | 9 | 20 | 0.027638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_4062-2_0_4_line_15 |  | 10 | 11 | 0.07621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4062-2_0_4_line_16 |  | 10 | 12 | 0.0060142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4062-2_0_4_line_17 |  | 15 | 16 | 0.016332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4062-2_0_4_line_18 |  | 15 | 17 | 0.006087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4062-2_0_4_line_19 |  | 16 | 21 | 0.015076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4062-2_0_4_line_20 |  | 17 | 22 | 0.017357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4062-2_0_4_line_21 |  | 19 | 46 | 0.014325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4062-2_0_4_line_22 |  | 20 | 40 | 0.027771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4062-2_0_4_line_23 |  | 20 | 39 | 0.036475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4062-2_0_4_line_24 |  | 21 | 24 | 0.034164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4062-2_0_4_line_25 |  | 22 | 39 | 0.013508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4062-2_0_4_line_26 |  | 23 | 24 | 0.0089532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4062-2_0_4_line_27 |  | 25 | 26 | 0.005188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4062-2_0_4_line_28 |  | 25 | 27 | 0.057761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4062-2_0_4_line_29 |  | 26 | 28 | 0.018749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4062-2_0_4_line_30 |  | 27 | 30 | 0.024176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4062-2_0_4_line_31 |  | 27 | 29 | 0.027176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4062-2_0_4_line_32 |  | 28 | 31 | 0.03521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4062-2_0_4_line_33 |  | 28 | 32 | 0.028519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_4062-2_0_4_line_34 |  | 30 | 33 | 0.039137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4062-2_0_4_line_35 |  | 30 | 34 | 0.014473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4062-2_0_4_line_36 |  | 31 | 37 | 0.019768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4062-2_0_4_line_37 |  | 32 | 38 | 0.014233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4062-2_0_4_line_38 |  | 34 | 63 | 0.01599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4062-2_0_4_line_39 |  | 35 | 36 | 0.0057308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4062-2_0_4_line_40 |  | 36 | 68 | 0.01082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4062-2_0_4_line_41 |  | 37 | 73 | 0.022329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_4062-2_0_4_line_42 |  | 38 | 69 | 0.022022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4062-2_0_4_line_43 |  | 38 | 60 | 0.016522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4062-2_0_4_line_44 |  | 40 | 41 | 0.026887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4062-2_0_4_line_45 |  | 40 | 42 | 0.027354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_4062-2_0_4_line_46 |  | 41 | 47 | 0.015433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4062-2_0_4_line_47 |  | 41 | 44 | 0.029032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_4062-2_0_4_line_48 |  | 42 | 48 | 0.025337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4062-2_0_4_line_49 |  | 43 | 44 | 0.01254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_4062-2_0_4_line_50 |  | 43 | 45 | 0.0092751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_4062-2_0_4_line_51 |  | 45 | 49 | 0.022052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_4062-2_0_4_line_52 |  | 47 | 50 | 0.043532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_4062-2_0_4_line_53 |  | 47 | 51 | 0.026646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4062-2_0_4_line_54 |  | 49 | 73 | 0.021954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4062-2_0_4_line_55 |  | 50 | 74 | 0.024271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_4062-2_0_4_line_56 |  | 51 | 75 | 0.012207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4062-2_0_4_line_57 |  | 52 | 53 | 0.025426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4062-2_0_4_line_58 |  | 53 | 54 | 0.054239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4062-2_0_4_line_59 |  | 54 | 55 | 0.024671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_4062-2_0_4_line_60 |  | 55 | 56 | 0.043775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_4062-2_0_4_line_61 |  | 55 | 57 | 0.038686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_4062-2_0_4_line_62 |  | 56 | 58 | 0.027123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_4062-2_0_4_line_63 |  | 57 | 59 | 0.0087506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4062-2_0_4_line_64 |  | 58 | 61 | 0.011915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_4062-2_0_4_line_65 |  | 61 | 62 | 0.024383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_4062-2_0_4_line_66 |  | 62 | 63 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_4062-2_0_4_line_67 |  | 62 | 64 | 0.015102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_4062-2_0_4_line_68 |  | 64 | 67 | 0.028803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4062-2_0_4_line_69 |  | 65 | 66 | 0.04175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4062-2_0_4_line_70 |  | 65 | 67 | 0.012009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4062-2_0_4_line_71 |  | 67 | 68 | 0.016327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4062-2_0_4_line_72 |  | 70 | 71 | 0.021859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_4062-2_0_4_line_73 |  | 71 | 72 | 0.01847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_4062-2_0_4_line_74 |  | 72 | 77 | 0.021221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_4062-2_0_4_line_75 |  | 74 | 76 | 0.022501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_4062-2_0_4_line_76 |  | 76 | 78 | 0.022506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_4062-2_0_4_line_77 |  | 77 | 78 | 0.020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4062-2_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 79 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2669957.5903 | 1246309.2214 | 2669958.8767 | 1246305.0991 | 2669964.1453 | 1246300.2121
1 | 2669966.4303 | 1246342.9482 | 2669961.8732 | 1246338.6136 | 2669954.5348 | 1246319.0132 | 2669957.5903 | 1246309.2214
2 | 2669978.5007 | 1246285.4945 | 2669968.287 | 1246296.3706 | 2669964.1453 | 1246300.2121
3 | 2669966.4303 | 1246342.9482 | 2669963.9444 | 1246348.1114 | 2669959.043 | 1246358.8611 | 2669950.2769 | 1246353.3428
4 | 2669978.5007 | 1246285.4945 | 2669982.281 | 1246289.7198 | 2669989.6948 | 1246294.6107 | 2670030.1998 | 1246312.7571
5 | 2669978.5007 | 1246285.4945 | 2669982.281 | 1246289.7198 | 2669989.6948 | 1246294.6107 | 2669996.8111 | 1246278.6279
6 | 2669950.2769 | 1246353.3428 | 2669937.1959 | 1246366.4978 | 2669934.5189 | 1246373.7465
7 | 2669950.2769 | 1246353.3428 | 2669959.043 | 1246358.8611 | 2669960.6717 | 1246370.0104 | 2669952.6863 | 1246379.6342 | 2669950.3133 | 1246382.9085
8 | 2669921.6847 | 1246319.2484 | 2669948.4733 | 1246351.8983 | 2669950.2769 | 1246353.3428
9 | 2670030.1998 | 1246312.7571 | 2670014.8399 | 1246336.0437
10 | 2669996.8111 | 1246278.6279 | 2670005.9865 | 1246258.0407
11 | 2669934.5189 | 1246373.7465 | 2669928.6508 | 1246389.6356 | 2669922.3248 | 1246395.4393
12 | 2669950.3133 | 1246382.9085 | 2669954.3474 | 1246393.1522 | 2669957.9442 | 1246400.1217 | 2669959.8898 | 1246402.8336
13 | 2669921.6847 | 1246319.2484 | 2669901.6113 | 1246337.9202
14 | 2669904.1308 | 1246297.8598 | 2669921.6847 | 1246319.2484
15 | 2670008.5261 | 1246394.6034 | 2669997.5751 | 1246390.5157 | 2669992.8669 | 1246388.1029 | 2669990.258 | 1246383.202 | 2669990.7612 | 1246378.3379 | 2669997.6027 | 1246363.2191 | 2670002.1383 | 1246355.3003 | 2670014.8399 | 1246336.0437
16 | 2670008.5261 | 1246394.6034 | 2670014.3635 | 1246396.051
17 | 2669934.793 | 1246241.0255 | 2669938.81 | 1246225.1951
18 | 2669934.793 | 1246241.0255 | 2669929.2167 | 1246238.547
19 | 2669938.81 | 1246225.1951 | 2669948.6824 | 1246213.8011
20 | 2669929.2167 | 1246238.547 | 2669922.9919 | 1246254.7492
21 | 2669892.1881 | 1246348.388 | 2669895.0509 | 1246343.2959 | 2669900.8626 | 1246338.6166 | 2669901.6113 | 1246337.9202
22 | 2669904.1308 | 1246297.8598 | 2669885.1897 | 1246277.5
23 | 2669904.1308 | 1246297.8598 | 2669908.6174 | 1246292.1642 | 2669910.1521 | 1246284.3879 | 2669913.6254 | 1246280.0591 | 2669919.8449 | 1246276.0407 | 2669920.4438 | 1246272.6565 | 2669920.2357 | 1246267.7544
24 | 2669970.848 | 1246187.8054 | 2669957.9499 | 1246203.1052 | 2669948.6824 | 1246213.8011
25 | 2669920.2357 | 1246267.7544 | 2669920.1364 | 1246265.4144 | 2669920.316 | 1246261.7139 | 2669922.9919 | 1246254.7492
26 | 2669976.6188 | 1246180.96 | 2669970.848 | 1246187.8054
27 | 2670002.615 | 1246146.0252 | 2669998.282 | 1246143.1721
28 | 2670002.615 | 1246146.0252 | 2670015.7712 | 1246154.6977 | 2670024.2163 | 1246158.6335 | 2670041.2267 | 1246166.5621 | 2670047.2952 | 1246175.3399 | 2670050.3892 | 1246174.3535
29 | 2669979.8833 | 1246139.5636 | 2669998.282 | 1246143.1721
30 | 2670073.3184 | 1246180.7065 | 2670063.4521 | 1246175.5753 | 2670050.3892 | 1246174.3535
31 | 2670032.1668 | 1246193.563 | 2670037.4479 | 1246184.5857 | 2670041.477 | 1246180.5415 | 2670047.2952 | 1246175.3399 | 2670050.3892 | 1246174.3535
32 | 2669979.8833 | 1246139.5636 | 2669962.9415 | 1246140.5422 | 2669953.7954 | 1246143.5031 | 2669945.9196 | 1246147.0239
33 | 2669979.8833 | 1246139.5636 | 2669976.9966 | 1246131.3126 | 2669972.4475 | 1246123.0865 | 2669966.3916 | 1246114.6592
34 | 2670073.3184 | 1246180.7065 | 2670108.0299 | 1246198.7839
35 | 2670073.3184 | 1246180.7065 | 2670080.162 | 1246167.9542
36 | 2669945.9196 | 1246147.0239 | 2669945.9196 | 1246147.0239 | 2669932.3928 | 1246158.2278 | 2669931.1465 | 1246160.0447
37 | 2669958.3463 | 1246102.9282 | 2669960.4807 | 1246106.4337 | 2669966.3916 | 1246114.6592
38 | 2670080.162 | 1246167.9542 | 2670087.7234 | 1246153.8645
39 | 2670043.6911 | 1246147.8891 | 2670046.0507 | 1246142.6666
40 | 2670050.5058 | 1246132.8064 | 2670046.0507 | 1246142.6666
41 | 2669918.516 | 1246178.4579 | 2669931.1465 | 1246160.0447
42 | 2669958.3463 | 1246102.9282 | 2669956.699 | 1246099.751 | 2669955.0318 | 1246097.6299 | 2669952.8771 | 1246095.8365 | 2669941.417 | 1246089.823
43 | 2669958.3463 | 1246102.9282 | 2669965.1419 | 1246096.2036 | 2669969.2047 | 1246090.55
44 | 2669866.7764 | 1246257.8582 | 2669873.9398 | 1246265.4146 | 2669885.1897 | 1246277.5
45 | 2669885.1897 | 1246277.5 | 2669876.2087 | 1246285.7111 | 2669870.9021 | 1246299.9389
46 | 2669866.7764 | 1246257.8582 | 2669856.1049 | 1246246.6802
47 | 2669866.7764 | 1246257.8582 | 2669871.609 | 1246251.6441 | 2669878.6131 | 1246241.9531 | 2669883.1032 | 1246233.9197
48 | 2669858.2603 | 1246320.9955 | 2669865.2091 | 1246315.2024 | 2669870.9021 | 1246299.9389
49 | 2669889.5321 | 1246223.1574 | 2669885.7132 | 1246229.25 | 2669883.1032 | 1246233.9197
50 | 2669889.5321 | 1246223.1574 | 2669894.4961 | 1246215.3224
51 | 2669906.2984 | 1246196.6941 | 2669894.4961 | 1246215.3224
52 | 2669822.293 | 1246219.5075 | 2669844.5677 | 1246234.6026 | 2669856.1049 | 1246246.6802
53 | 2669856.1049 | 1246246.6802 | 2669849.9406 | 1246251.789 | 2669847.814 | 1246255.3109 | 2669842.9707 | 1246259.8682 | 2669837.1582 | 1246264.6031 | 2669836.852 | 1246264.8248
54 | 2669906.2984 | 1246196.6941 | 2669909.824 | 1246191.1295 | 2669918.516 | 1246178.4579
55 | 2669822.293 | 1246219.5075 | 2669834.7845 | 1246198.6975
56 | 2669828.4875 | 1246273.4184 | 2669831.4893 | 1246268.7059 | 2669836.852 | 1246264.8248
57 | 2670202.1657 | 1246095.1362 | 2670226.7148 | 1246101.7569
58 | 2670202.1657 | 1246095.1362 | 2670196.8281 | 1246092.9048 | 2670190.8073 | 1246092.8669 | 2670167.5988 | 1246099.2524 | 2670172.3893 | 1246116.978
59 | 2670156.3188 | 1246128.0281 | 2670174.026 | 1246123.0341 | 2670172.3893 | 1246116.978
60 | 2670147.3467 | 1246170.552 | 2670152.8358 | 1246156.1401 | 2670154.9826 | 1246143.9013 | 2670156.3188 | 1246128.0281
61 | 2670139.5716 | 1246099.7769 | 2670143.9012 | 1246111.2139 | 2670151.9985 | 1246111.9769 | 2670152.709 | 1246115.1431 | 2670153.6535 | 1246120.2356 | 2670153.9794 | 1246127.8114 | 2670156.3188 | 1246128.0281
62 | 2670147.3467 | 1246170.552 | 2670147.7582 | 1246168.3331 | 2670147.4128 | 1246166.2386 | 2670146.6265 | 1246164.3725 | 2670143.2604 | 1246161.5418 | 2670137.4822 | 1246157.604 | 2670129.1571 | 1246153.3954
63 | 2670139.5716 | 1246099.7769 | 2670136.407 | 1246100.9737 | 2670133.3464 | 1246101.6935 | 2670131.1513 | 1246102.0456
64 | 2670129.1571 | 1246153.3954 | 2670118.5238 | 1246148.0199
65 | 2670096.7636 | 1246137.0194 | 2670118.5238 | 1246148.0199
66 | 2670096.7636 | 1246137.0194 | 2670087.7234 | 1246153.8645
67 | 2670096.7636 | 1246137.0194 | 2670084.2813 | 1246130.7787 | 2670083.2455 | 1246130.2866
68 | 2670057.2282 | 1246117.9279 | 2670083.2455 | 1246130.2866
69 | 2670063.694 | 1246107.7971 | 2670027.9656 | 1246086.1977
70 | 2670057.2282 | 1246117.9279 | 2670063.694 | 1246107.7971
71 | 2670057.2282 | 1246117.9279 | 2670050.5058 | 1246132.8064
72 | 2669887.2688 | 1246107.1522 | 2669895.9017 | 1246087.0702
73 | 2669879.6457 | 1246123.9529 | 2669881.0592 | 1246121.5972 | 2669887.2688 | 1246107.1522
74 | 2669868.7268 | 1246142.1492 | 2669879.6457 | 1246123.9529
75 | 2669834.7845 | 1246198.6975 | 2669846.365 | 1246179.4052
76 | 2669846.365 | 1246179.4052 | 2669857.9479 | 1246160.109
77 | 2669868.7268 | 1246142.1492 | 2669863.8205 | 1246150.3255 | 2669857.9479 | 1246160.109

## bus_geodata
| x | y | coords
0 | 2669957.5903 | 1246309.2214
1 | 2669964.1453 | 1246300.2121
2 | 2669966.4303 | 1246342.9482
3 | 2669978.5007 | 1246285.4945
4 | 2669950.2769 | 1246353.3428
5 | 2670030.1998 | 1246312.7571
6 | 2669996.8111 | 1246278.6279
7 | 2669934.5189 | 1246373.7465
8 | 2669950.3133 | 1246382.9085
9 | 2669921.6847 | 1246319.2484
10 | 2670008.5261 | 1246394.6034
11 | 2670014.8399 | 1246336.0437
12 | 2670014.3635 | 1246396.051
13 | 2669959.8898 | 1246402.8336
14 | 2670005.9865 | 1246258.0407
15 | 2669934.793 | 1246241.0255
16 | 2669938.81 | 1246225.1951
17 | 2669929.2167 | 1246238.547
18 | 2669922.3248 | 1246395.4393
19 | 2669901.6113 | 1246337.9202
20 | 2669904.1308 | 1246297.8598
21 | 2669948.6824 | 1246213.8011
22 | 2669922.9919 | 1246254.7492
23 | 2669976.6188 | 1246180.96
24 | 2669970.848 | 1246187.8054
25 | 2670002.615 | 1246146.0252
26 | 2669998.282 | 1246143.1721
27 | 2670050.3892 | 1246174.3535
28 | 2669979.8833 | 1246139.5636
29 | 2670032.1668 | 1246193.563
30 | 2670073.3184 | 1246180.7065
31 | 2669945.9196 | 1246147.0239
32 | 2669966.3916 | 1246114.6592
33 | 2670108.0299 | 1246198.7839
34 | 2670080.162 | 1246167.9542
35 | 2670043.6911 | 1246147.8891
36 | 2670046.0507 | 1246142.6666
37 | 2669931.1465 | 1246160.0447
38 | 2669958.3463 | 1246102.9282
39 | 2669920.2357 | 1246267.7544
40 | 2669885.1897 | 1246277.5
41 | 2669866.7764 | 1246257.8582
42 | 2669870.9021 | 1246299.9389
43 | 2669889.5321 | 1246223.1574
44 | 2669883.1032 | 1246233.9197
45 | 2669894.4961 | 1246215.3224
46 | 2669892.1881 | 1246348.388
47 | 2669856.1049 | 1246246.6802
48 | 2669858.2603 | 1246320.9955
49 | 2669906.2984 | 1246196.6941
50 | 2669822.293 | 1246219.5075
51 | 2669836.852 | 1246264.8248
52 | 2670226.7148 | 1246101.7569
53 | 2670202.1657 | 1246095.1362
54 | 2670172.3893 | 1246116.978
55 | 2670156.3188 | 1246128.0282
56 | 2670147.3467 | 1246170.552
57 | 2670139.5716 | 1246099.7769
58 | 2670129.1571 | 1246153.3954
59 | 2670131.1513 | 1246102.0456
60 | 2669969.2047 | 1246090.55
61 | 2670118.5238 | 1246148.0199
62 | 2670096.7636 | 1246137.0194
63 | 2670087.7234 | 1246153.8645
64 | 2670083.2455 | 1246130.2866
65 | 2670063.694 | 1246107.7971
66 | 2670027.9656 | 1246086.1977
67 | 2670057.2282 | 1246117.9279
68 | 2670050.5058 | 1246132.8064
69 | 2669941.417 | 1246089.823
70 | 2669895.9017 | 1246087.0702
71 | 2669887.2688 | 1246107.1522
72 | 2669879.6457 | 1246123.9529
73 | 2669918.516 | 1246178.4579
74 | 2669834.7845 | 1246198.6975
75 | 2669828.4875 | 1246273.4184
76 | 2669846.365 | 1246179.4052
77 | 2669868.7268 | 1246142.1492
78 | 2669857.9479 | 1246160.109
79 | 2670047.2952 | 1246175.3399

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1