## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4062-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4062-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4062-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4062-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4062-4_0_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_4062-4_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_4062-4_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4062-4_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4062-4_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4062-4_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4062-4_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4062-4_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4062-4_0_4_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_4062-4_0_4_node_80 | 0.4 | n |  | TRUE
14 | bus_LV_4062-4_0_4_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_4062-4_0_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_4062-4_0_4_node_81 | 0.4 | n |  | TRUE
17 | bus_LV_4062-4_0_4_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_4062-4_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4062-4_0_4_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_4062-4_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4062-4_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4062-4_0_4_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_4062-4_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4062-4_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4062-4_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4062-4_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4062-4_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4062-4_0_4_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_4062-4_0_4_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4062-4_0_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_4062-4_0_4_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_4062-4_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_4062-4_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4062-4_0_4_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_4062-4_0_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_4062-4_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4062-4_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_4062-4_0_4_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_4062-4_0_4_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_4062-4_0_4_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4062-4_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4062-4_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_4062-4_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_4062-4_0_4_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_4062-4_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_4062-4_0_4_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_4062-4_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4062-4_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4062-4_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_4062-4_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_4062-4_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_4062-4_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_4062-4_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_4062-4_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_4062-4_0_4_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_4062-4_0_4_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_4062-4_0_4_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_4062-4_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_4062-4_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_4062-4_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4062-4_0_4_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_4062-4_0_4_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_4062-4_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_4062-4_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_4062-4_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_4062-4_0_4_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_4062-4_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_4062-4_0_4_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_4062-4_0_4_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_4062-4_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_4062-4_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_4062-4_0_4_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_4062-4_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_4062-4_0_4_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_4062-4_0_4_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_4062-4_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4062-4_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4062-4_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_4062-4_0_4_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_4062-4_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_4062-4_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_4062-4_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_4062-4_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_4062-4_0_4_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_4062-4_0_4_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_4062-4_0_4_node_88 | 0.4 | n |  | TRUE
87 | bus_MV_420_0_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4062-4_0_4_load_0 | 0 | 0.0085349 | 0.002139 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4062-4_0_4_load_2 | 2 | 0.027056 | 0.0067809 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4062-4_0_4_load_10 | 4 | 0.00133 | 0.00033332 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4062-4_0_4_load_4 | 6 | 0.012647 | 0.0031695 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4062-4_0_4_load_5 | 7 | 0.013162 | 0.0032986 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4062-4_0_4_load_25 | 12 | 0.0012748 | 0.00031949 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4062-4_0_4_load_80 | 13 | 0.0011015 | 0.00027606 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4062-4_0_4_load_78 | 14 | 0.0093507 | 0.0023435 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4062-4_0_4_load_24 | 15 | 0.0024161 | 0.00060553 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4062-4_0_4_load_81 | 16 | 0.0015886 | 0.00039813 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4062-4_0_4_load_65 | 17 | 0.0047025 | 0.0011786 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4062-4_0_4_load_12 | 18 | 0.016131 | 0.0040428 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4062-4_0_4_load_47 | 19 | 0.0094169 | 0.0023601 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4062-4_0_4_load_13 | 20 | 0.00927 | 0.0023233 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4062-4_0_4_load_19 | 21 | 0.001569 | 0.00039322 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4062-4_0_4_load_14 | 24 | 0.0026077 | 0.00065356 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4062-4_0_4_load_15 | 25 | 0.0028816 | 0.0007222 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4062-4_0_4_load_29 | 28 | 0.017975 | 0.004505 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4062-4_0_4_load_21 | 29 | 0.006005 | 0.001505 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4062-4_0_4_load_49 | 30 | 0.0053778 | 0.0013478 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4062-4_0_4_load_48 | 31 | 0.0055733 | 0.0013968 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4062-4_0_4_load_30 | 32 | 0.0053204 | 0.0013334 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4062-4_0_4_load_20 | 33 | 0.0030477 | 0.00076384 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4062-4_0_4_load_40 | 35 | 0.007493 | 0.0018779 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4062-4_0_4_load_22 | 36 | 0.003435 | 0.00086089 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4062-4_0_4_load_23 | 37 | 0.0034354 | 0.000861 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4062-4_0_4_load_56 | 39 | 0.0052834 | 0.0013242 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4062-4_0_4_load_27 | 41 | 0.024119 | 0.0060448 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4062-4_0_4_load_28 | 42 | 0.0041846 | 0.0010488 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4062-4_0_4_load_34 | 43 | 0.0011282 | 0.00028276 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4062-4_0_4_load_51 | 44 | 0.0010587 | 0.00026534 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4062-4_0_4_load_33 | 45 | 0.001181 | 0.00029599 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4062-4_0_4_load_52 | 46 | 0.0018288 | 0.00045833 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4062-4_0_4_load_31 | 47 | 0.0034334 | 0.0008605 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4062-4_0_4_load_32 | 48 | 0.012848 | 0.0032201 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4062-4_0_4_load_36 | 50 | 0.0055158 | 0.0013824 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4062-4_0_4_load_37 | 52 | 0.043805 | 0.010978 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4062-4_0_4_load_38 | 53 | 0.0091494 | 0.0022931 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4062-4_0_4_load_41 | 54 | 0.0068013 | 0.0017046 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4062-4_0_4_load_67 | 55 | 0.0019395 | 0.00048609 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4062-4_0_4_load_66 | 56 | 0.0021686 | 0.00054351 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4062-4_0_4_load_42 | 57 | 0.022946 | 0.0057509 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4062-4_0_4_load_58 | 61 | 0.005923 | 0.0014845 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4062-4_0_4_load_55 | 62 | 0.0055253 | 0.0013848 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4062-4_0_4_load_53 | 63 | 0.0021678 | 0.0005433 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4062-4_0_4_load_54 | 64 | 0.001558 | 0.00039047 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4062-4_0_4_load_84 | 66 | 0.0033267 | 0.00083376 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4062-4_0_4_load_60 | 67 | 0.0013028 | 0.00032652 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4062-4_0_4_load_85 | 68 | 0.0031178 | 0.0007814 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4062-4_0_4_load_71 | 69 | 0.0050163 | 0.0012572 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4062-4_0_4_load_61 | 70 | 0.0033251 | 0.00083336 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4062-4_0_4_load_62 | 71 | 0.0021319 | 0.00053429 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4062-4_0_4_load_63 | 72 | 0.0012662 | 0.00031735 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4062-4_0_4_load_64 | 73 | 0.0050557 | 0.0012671 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4062-4_0_4_load_73 | 74 | 0.0030786 | 0.00077158 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4062-4_0_4_load_70 | 75 | 0.0025589 | 0.00064132 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4062-4_0_4_load_69 | 77 | 0.0092331 | 0.002314 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4062-4_0_4_load_74 | 81 | 0.005828 | 0.0014606 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4062-4_0_4_load_76 | 82 | 0.013042 | 0.0032686 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4062-4_0_4_load_82 | 83 | 0.0067723 | 0.0016973 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4062-4_0_4_load_86 | 84 | 0.0046527 | 0.0011661 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4062-4_0_4_load_87 | 85 | 0.0074663 | 0.0018712 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4062-4_0_4_load_88 | 86 | 0.029352 | 0.0073564 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4062-4_0_4_line_0 |  | 0 | 1 | 0.08487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4062-4_0_4_line_1 |  | 0 | 2 | 0.0088475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4062-4_0_4_line_2 |  | 1 | 3 | 0.063159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4062-4_0_4_line_3 |  | 3 | 4 | 0.069831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4062-4_0_4_line_4 |  | 4 | 5 | 0.031169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4062-4_0_4_line_5 |  | 5 | 18 | 0.021545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4062-4_0_4_line_6 |  | 6 | 7 | 0.029651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4062-4_0_4_line_7 |  | 6 | 8 | 0.036973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4062-4_0_4_line_8 |  | 7 | 9 | 0.025004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4062-4_0_4_line_9 |  | 8 | 10 | 0.050593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4062-4_0_4_line_10 |  | 9 | 11 | 0.003739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4062-4_0_4_line_11 |  | 9 | 12 | 0.020067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4062-4_0_4_line_12 |  | 10 | 13 | 0.05007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4062-4_0_4_line_13 |  | 11 | 14 | 0.020435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4062-4_0_4_line_14 |  | 12 | 15 | 0.0055149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4062-4_0_4_line_15 |  | 13 | 16 | 0.014312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4062-4_0_4_line_16 |  | 14 | 17 | 0.0018395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4062-4_0_4_line_17 |  | 15 | 40 | 0.035571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4062-4_0_4_line_18 |  | 17 | 72 | 0.014387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4062-4_0_4_line_19 |  | 18 | 19 | 0.023607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4062-4_0_4_line_20 |  | 19 | 22 | 0.069599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4062-4_0_4_line_21 |  | 20 | 21 | 0.004422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4062-4_0_4_line_22 |  | 21 | 23 | 0.020878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4062-4_0_4_line_23 |  | 22 | 57 | 0.012131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4062-4_0_4_line_24 |  | 23 | 27 | 0.049375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4062-4_0_4_line_25 |  | 23 | 24 | 0.0025055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_4062-4_0_4_line_26 |  | 24 | 25 | 0.024103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4062-4_0_4_line_27 |  | 25 | 26 | 0.039341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4062-4_0_4_line_28 |  | 26 | 28 | 0.0083088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_4062-4_0_4_line_29 |  | 26 | 29 | 0.020365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4062-4_0_4_line_30 |  | 27 | 30 | 0.010491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4062-4_0_4_line_31 |  | 27 | 31 | 0.028878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4062-4_0_4_line_32 |  | 28 | 32 | 0.040643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_4062-4_0_4_line_33 |  | 29 | 33 | 0.0046041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4062-4_0_4_line_34 |  | 30 | 34 | 0.021399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_4062-4_0_4_line_35 |  | 31 | 35 | 0.005842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4062-4_0_4_line_36 |  | 32 | 47 | 0.0050709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_4062-4_0_4_line_37 |  | 33 | 36 | 0.017435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4062-4_0_4_line_38 |  | 34 | 65 | 0.059921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4062-4_0_4_line_39 |  | 34 | 61 | 0.052251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_4062-4_0_4_line_40 |  | 36 | 37 | 0.01108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4062-4_0_4_line_41 |  | 37 | 38 | 0.013508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4062-4_0_4_line_42 |  | 38 | 39 | 0.012562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4062-4_0_4_line_43 |  | 39 | 66 | 0.003269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4062-4_0_4_line_44 |  | 40 | 41 | 0.0076644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4062-4_0_4_line_45 |  | 40 | 42 | 0.019483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4062-4_0_4_line_46 |  | 41 | 43 | 0.020529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_4062-4_0_4_line_47 |  | 42 | 44 | 0.015369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4062-4_0_4_line_48 |  | 43 | 45 | 0.012899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4062-4_0_4_line_49 |  | 44 | 46 | 0.012124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4062-4_0_4_line_50 |  | 45 | 49 | 0.0018269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4062-4_0_4_line_51 |  | 46 | 67 | 0.021327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4062-4_0_4_line_52 |  | 47 | 48 | 0.022744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_4062-4_0_4_line_53 |  | 48 | 49 | 0.013355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_4062-4_0_4_line_54 |  | 49 | 50 | 0.023013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4062-4_0_4_line_55 |  | 50 | 51 | 0.036468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4062-4_0_4_line_56 |  | 51 | 52 | 0.027302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4062-4_0_4_line_57 |  | 52 | 53 | 0.0046604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4062-4_0_4_line_58 |  | 54 | 55 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4062-4_0_4_line_59 |  | 55 | 56 | 0.024455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4062-4_0_4_line_60 |  | 56 | 76 | 0.01918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4062-4_0_4_line_61 |  | 57 | 58 | 0.033468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_4062-4_0_4_line_62 |  | 58 | 59 | 0.015917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_4062-4_0_4_line_63 |  | 58 | 60 | 0.066654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4062-4_0_4_line_64 |  | 59 | 61 | 0.05032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_4062-4_0_4_line_65 |  | 60 | 62 | 0.055809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4062-4_0_4_line_66 |  | 60 | 63 | 0.049157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4062-4_0_4_line_67 |  | 63 | 64 | 0.002908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4062-4_0_4_line_68 |  | 65 | 69 | 0.030069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4062-4_0_4_line_69 |  | 66 | 68 | 0.020178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4062-4_0_4_line_70 |  | 68 | 84 | 0.0050733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4062-4_0_4_line_71 |  | 70 | 71 | 0.015792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4062-4_0_4_line_72 |  | 70 | 72 | 0.0071259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4062-4_0_4_line_73 |  | 71 | 73 | 0.0068881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4062-4_0_4_line_74 |  | 73 | 74 | 0.0017974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4062-4_0_4_line_75 |  | 74 | 75 | 0.015046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4062-4_0_4_line_76 |  | 75 | 76 | 0.011058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4062-4_0_4_line_77 |  | 76 | 77 | 0.022672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4062-4_0_4_line_78 |  | 77 | 78 | 0.015898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4062-4_0_4_line_79 |  | 78 | 79 | 0.04537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4062-4_0_4_line_80 |  | 78 | 80 | 0.042166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4062-4_0_4_line_81 |  | 79 | 83 | 0.0054928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4062-4_0_4_line_82 |  | 80 | 81 | 0.051427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4062-4_0_4_line_83 |  | 81 | 82 | 0.018451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4062-4_0_4_line_84 |  | 84 | 85 | 0.0096959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4062-4_0_4_line_85 |  | 85 | 86 | 0.0044905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4062-4_0_4_trafo_29 | 0.63 MVA 20/0.4 kV | 87 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2670154.5321 | 1245166.0752 | 2670169.255 | 1245135.1164 | 2670188.1585 | 1245109.0995 | 2670199.9862 | 1245094.9659
1 | 2670205.6643 | 1245088.1808 | 2670199.9862 | 1245094.9659
2 | 2670209.1801 | 1245195.2086 | 2670187.4835 | 1245177.6063 | 2670169.6167 | 1245168.3996 | 2670154.5321 | 1245166.0752
3 | 2670209.1801 | 1245195.2086 | 2670228.4836 | 1245176.246 | 2670261.6507 | 1245149.2394
4 | 2670285.8206 | 1245129.5588 | 2670261.6507 | 1245149.2394
5 | 2670285.8206 | 1245129.5588 | 2670281.7903 | 1245122.1614 | 2670290.9099 | 1245112.7284
6 | 2670539.8093 | 1244805.3487 | 2670520.0293 | 1244823.345 | 2670518.3586 | 1244825.7262
7 | 2670568.6238 | 1244782.1827 | 2670540.1508 | 1244805.0379 | 2670539.8093 | 1244805.3487
8 | 2670518.2295 | 1244845.061 | 2670510.4285 | 1244837.0294 | 2670518.3586 | 1244825.7262
9 | 2670568.6238 | 1244782.1827 | 2670559.6971 | 1244772.2251 | 2670554.074 | 1244765.9538 | 2670542.9587 | 1244752.579 | 2670534.5198 | 1244744.8065
10 | 2670518.2295 | 1244845.061 | 2670520.7709 | 1244842.3115
11 | 2670518.2295 | 1244845.061 | 2670504.2974 | 1244859.5035
12 | 2670534.5198 | 1244744.8065 | 2670512.6908 | 1244761.1586 | 2670504.3965 | 1244770.4554 | 2670499.8333 | 1244779.7298
13 | 2670520.7709 | 1244842.3115 | 2670530.6032 | 1244849.8225 | 2670535.3114 | 1244856.3667
14 | 2670504.2974 | 1244859.5035 | 2670500.4686 | 1244863.4726
15 | 2670492.7132 | 1244792.143 | 2670499.3709 | 1244780.6696 | 2670499.8333 | 1244779.7298
16 | 2670536.3857 | 1244857.86 | 2670535.3114 | 1244856.3667
17 | 2670474.6183 | 1244887.8952 | 2670482.8012 | 1244880.3204 | 2670496.0346 | 1244868.069 | 2670500.4686 | 1244863.4726
18 | 2670536.3857 | 1244857.86 | 2670544.7876 | 1244869.5382
19 | 2670290.9099 | 1245112.7284 | 2670307.3181 | 1245095.7564
20 | 2670344.9147 | 1245153.3091 | 2670342.3961 | 1245145.874 | 2670337.7664 | 1245133.5883 | 2670331.2449 | 1245125.9945 | 2670319.1626 | 1245111.9859 | 2670308.7881 | 1245097.3194 | 2670307.3181 | 1245095.7564
21 | 2670346.1209 | 1245063.7677 | 2670343.745 | 1245067.4972
22 | 2670357.3389 | 1245046.1589 | 2670346.1209 | 1245063.7677
23 | 2670344.9147 | 1245153.3091 | 2670336.5965 | 1245162.1389
24 | 2670357.3389 | 1245046.1589 | 2670400.5691 | 1245070.2442
25 | 2670357.3389 | 1245046.1589 | 2670358.5416 | 1245043.9611
26 | 2670370.1126 | 1245022.8167 | 2670358.5416 | 1245043.9611
27 | 2670388.9986 | 1244988.3049 | 2670370.1126 | 1245022.8167
28 | 2670388.9986 | 1244988.3049 | 2670393.21 | 1244981.1426
29 | 2670388.9986 | 1244988.3049 | 2670384.0636 | 1244985.1775 | 2670370.2837 | 1244980.5931
30 | 2670400.5691 | 1245070.2442 | 2670409.209 | 1245076.1959
31 | 2670400.5691 | 1245070.2442 | 2670415.0907 | 1245045.2834
32 | 2670393.21 | 1244981.1426 | 2670403.1655 | 1244964.2117 | 2670415.2869 | 1244947.0608
33 | 2670365.9447 | 1244979.0541 | 2670369.3341 | 1244980.2772 | 2670370.2837 | 1244980.5931
34 | 2670426.8311 | 1245088.3352 | 2670409.209 | 1245076.1959
35 | 2670415.0907 | 1245045.2834 | 2670416.1352 | 1245043.4879 | 2670417.8862 | 1245040.1551
36 | 2670418.2136 | 1244942.9197 | 2670418.2136 | 1244942.9197 | 2670415.2869 | 1244947.0608
37 | 2670349.5448 | 1244973.1364 | 2670365.9447 | 1244979.0541
38 | 2670481.873 | 1245110.3486 | 2670471.004 | 1245109.9859 | 2670455.3679 | 1245102.5617 | 2670426.8311 | 1245088.3352
39 | 2670426.8311 | 1245088.3352 | 2670398.0757 | 1245131.9625
40 | 2670349.5448 | 1244973.1364 | 2670339.1229 | 1244969.3757
41 | 2670326.4167 | 1244964.7908 | 2670339.1229 | 1244969.3757
42 | 2670326.4167 | 1244964.7908 | 2670319.355 | 1244975.1798
43 | 2670317.5174 | 1244977.8833 | 2670319.355 | 1244975.1798
44 | 2670474.6183 | 1244887.8952 | 2670468.8765 | 1244892.9722
45 | 2670474.6183 | 1244887.8952 | 2670461.3378 | 1244873.6402
46 | 2670468.8765 | 1244892.9722 | 2670466.6151 | 1244894.9718 | 2670461.277 | 1244899.7006 | 2670453.2884 | 1244906.3261
47 | 2670461.3378 | 1244873.6402 | 2670450.8616 | 1244862.3952 | 2670450.8616 | 1244862.3952
48 | 2670443.3599 | 1244914.5606 | 2670453.2884 | 1244906.3261
49 | 2670450.8616 | 1244862.3952 | 2670459.0444 | 1244853.4494
50 | 2670441.9538 | 1244915.7269 | 2670443.3599 | 1244914.5606
51 | 2670473.4389 | 1244837.7126 | 2670459.0444 | 1244853.4494
52 | 2670433.1264 | 1244925.7487 | 2670429.4992 | 1244929.8667 | 2670422.4721 | 1244938.1113 | 2670418.2136 | 1244942.9197
53 | 2670441.9538 | 1244915.7269 | 2670433.1264 | 1244925.7487
54 | 2670441.9538 | 1244915.7269 | 2670457.4185 | 1244932.7698
55 | 2670481.9248 | 1244959.7769 | 2670457.4185 | 1244932.7698
56 | 2670481.9248 | 1244959.7769 | 2670461.9069 | 1244978.3418
57 | 2670461.9069 | 1244978.3418 | 2670458.4898 | 1244981.5109
58 | 2670539.5395 | 1244928.6095 | 2670529.7907 | 1244932.0122
59 | 2670562.6287 | 1244920.5508 | 2670539.5395 | 1244928.6095
60 | 2670580.7369 | 1244914.2305 | 2670562.6287 | 1244920.5508
61 | 2670359.9627 | 1245186.0994 | 2670336.5965 | 1245162.1389
62 | 2670369.7084 | 1245173.495 | 2670359.9627 | 1245186.0994
63 | 2670305.8236 | 1245178.4634 | 2670339.2332 | 1245201.0308 | 2670343.3937 | 1245200.6354 | 2670345.0536 | 1245199.5654 | 2670349.5003 | 1245196.6939 | 2670359.9627 | 1245186.0994
64 | 2670369.7084 | 1245173.495 | 2670376.4307 | 1245164.802 | 2670398.0757 | 1245131.9625
65 | 2670305.8236 | 1245178.4634 | 2670268.6418 | 1245220.0821
66 | 2670305.8236 | 1245178.4634 | 2670289.5573 | 1245167.4741 | 2670265.4957 | 1245184.5869
67 | 2670265.4957 | 1245184.5869 | 2670263.1259 | 1245186.2723
68 | 2670481.873 | 1245110.3486 | 2670482.9668 | 1245100.9661 | 2670488.4944 | 1245089.1791 | 2670491.8436 | 1245082.3524
69 | 2670317.5174 | 1244977.8833 | 2670306.1743 | 1244994.5709
70 | 2670303.3223 | 1244998.7666 | 2670306.1743 | 1244994.5709
71 | 2670548.9491 | 1244875.3227 | 2670549.9676 | 1244876.7383 | 2670559.922 | 1244886.6505
72 | 2670548.9491 | 1244875.3227 | 2670544.7876 | 1244869.5382
73 | 2670559.922 | 1244886.6505 | 2670564.8029 | 1244891.5109
74 | 2670564.8029 | 1244891.5109 | 2670566.0766 | 1244892.7791
75 | 2670574.9554 | 1244904.8048 | 2670569.9368 | 1244896.623 | 2670566.0766 | 1244892.7791
76 | 2670580.7369 | 1244914.2305 | 2670574.9554 | 1244904.8048
77 | 2670580.7369 | 1244914.2305 | 2670587.4992 | 1244935.8706
78 | 2670596.2882 | 1244949.1178 | 2670587.4992 | 1244935.8706
79 | 2670633.1698 | 1244922.5491 | 2670596.2882 | 1244949.1178
80 | 2670570.0591 | 1244980.9504 | 2670572.8544 | 1244977.1921 | 2670595.2673 | 1244954.8986 | 2670596.2882 | 1244949.1178
81 | 2670633.1698 | 1244922.5491 | 2670637.0386 | 1244918.65
82 | 2670570.0591 | 1244980.9504 | 2670552.0239 | 1244971.2847 | 2670545.0114 | 1244968.1324 | 2670541.3651 | 1244967.8444 | 2670538.2041 | 1244968.0514 | 2670532.268 | 1244970.3269 | 2670525.5308 | 1244977.8428
83 | 2670513.2151 | 1244991.582 | 2670525.5308 | 1244977.8428
84 | 2670303.3223 | 1244998.7666 | 2670297.8717 | 1245006.7855
85 | 2670295.3473 | 1245010.4992 | 2670297.8717 | 1245006.7855

## bus_geodata
| x | y | coords
0 | 2670199.9862 | 1245094.9659
1 | 2670154.5321 | 1245166.0752
2 | 2670205.6643 | 1245088.1808
3 | 2670209.1801 | 1245195.2086
4 | 2670261.6507 | 1245149.2394
5 | 2670285.8206 | 1245129.5588
6 | 2670539.8093 | 1244805.3487
7 | 2670518.3586 | 1244825.7262
8 | 2670568.6238 | 1244782.1827
9 | 2670518.2295 | 1244845.061
10 | 2670534.5198 | 1244744.8065
11 | 2670520.7709 | 1244842.3115
12 | 2670504.2974 | 1244859.5035
13 | 2670499.8333 | 1244779.7298
14 | 2670535.3114 | 1244856.3667
15 | 2670500.4686 | 1244863.4726
16 | 2670492.7132 | 1244792.143
17 | 2670536.3857 | 1244857.86
18 | 2670290.9099 | 1245112.7284
19 | 2670307.3181 | 1245095.7564
20 | 2670343.745 | 1245067.4972
21 | 2670346.1209 | 1245063.7677
22 | 2670344.9147 | 1245153.3091
23 | 2670357.3389 | 1245046.1589
24 | 2670358.5416 | 1245043.9611
25 | 2670370.1126 | 1245022.8167
26 | 2670388.9986 | 1244988.3049
27 | 2670400.5691 | 1245070.2442
28 | 2670393.21 | 1244981.1426
29 | 2670370.2837 | 1244980.5931
30 | 2670409.209 | 1245076.1959
31 | 2670415.0907 | 1245045.2834
32 | 2670415.2869 | 1244947.0608
33 | 2670365.9447 | 1244979.0541
34 | 2670426.8311 | 1245088.3352
35 | 2670417.8862 | 1245040.1551
36 | 2670349.5448 | 1244973.1364
37 | 2670339.1229 | 1244969.3757
38 | 2670326.4167 | 1244964.7908
39 | 2670319.355 | 1244975.1798
40 | 2670474.6183 | 1244887.8952
41 | 2670468.8765 | 1244892.9722
42 | 2670461.3378 | 1244873.6402
43 | 2670453.2884 | 1244906.3261
44 | 2670450.8616 | 1244862.3952
45 | 2670443.36 | 1244914.5606
46 | 2670459.0444 | 1244853.4494
47 | 2670418.2136 | 1244942.9197
48 | 2670433.1264 | 1244925.7487
49 | 2670441.9538 | 1244915.7269
50 | 2670457.4185 | 1244932.7698
51 | 2670481.9248 | 1244959.7769
52 | 2670461.9069 | 1244978.3418
53 | 2670458.4898 | 1244981.5109
54 | 2670529.7907 | 1244932.0122
55 | 2670539.5395 | 1244928.6095
56 | 2670562.6287 | 1244920.5508
57 | 2670336.5965 | 1245162.1389
58 | 2670359.9627 | 1245186.0994
59 | 2670369.7084 | 1245173.495
60 | 2670305.8236 | 1245178.4634
61 | 2670398.0757 | 1245131.9625
62 | 2670268.6418 | 1245220.0821
63 | 2670265.4957 | 1245184.5869
64 | 2670263.1259 | 1245186.2723
65 | 2670481.873 | 1245110.3486
66 | 2670317.5174 | 1244977.8833
67 | 2670473.4389 | 1244837.7126
68 | 2670306.1743 | 1244994.5709
69 | 2670491.8436 | 1245082.3524
70 | 2670548.9491 | 1244875.3227
71 | 2670559.922 | 1244886.6505
72 | 2670544.7876 | 1244869.5382
73 | 2670564.8029 | 1244891.5109
74 | 2670566.0766 | 1244892.7791
75 | 2670574.9554 | 1244904.8048
76 | 2670580.7369 | 1244914.2305
77 | 2670587.4992 | 1244935.8706
78 | 2670596.2882 | 1244949.1178
79 | 2670633.1698 | 1244922.5491
80 | 2670570.0591 | 1244980.9504
81 | 2670525.5308 | 1244977.8428
82 | 2670513.2151 | 1244991.582
83 | 2670637.0386 | 1244918.65
84 | 2670303.3223 | 1244998.7666
85 | 2670297.8717 | 1245006.7855
86 | 2670295.3473 | 1245010.4992
87 | 2670388.9986 | 1244988.3049

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1