## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4063-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4063-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4063-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4063-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4063-14_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4063-14_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4063-14_0_3_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_4063-14_0_3_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_4063-14_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_4063-14_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4063-14_0_3_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_4063-14_0_3_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_4063-14_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4063-14_0_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_4063-14_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4063-14_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4063-14_0_3_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_4063-14_0_3_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_4063-14_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_4063-14_0_3_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_4063-14_0_3_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_4063-14_0_3_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_4063-14_0_3_node_53 | 0.4 | n |  | TRUE
23 | bus_LV_4063-14_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_4063-14_0_3_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_4063-14_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_4063-14_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4063-14_0_3_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_4063-14_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4063-14_0_3_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_4063-14_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_4063-14_0_3_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_4063-14_0_3_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_4063-14_0_3_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_4063-14_0_3_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_4063-14_0_3_node_69 | 0.4 | n |  | TRUE
36 | bus_LV_4063-14_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4063-14_0_3_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_4063-14_0_3_node_70 | 0.4 | n |  | TRUE
39 | bus_LV_4063-14_0_3_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_4063-14_0_3_node_78 | 0.4 | n |  | TRUE
41 | bus_LV_4063-14_0_3_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_4063-14_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4063-14_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_4063-14_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_4063-14_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_4063-14_0_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_4063-14_0_3_node_65 | 0.4 | n |  | TRUE
48 | bus_LV_4063-14_0_3_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_4063-14_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_4063-14_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_4063-14_0_3_node_22 | 0.4 | n |  | TRUE
52 | bus_LV_4063-14_0_3_node_23 | 0.4 | n |  | TRUE
53 | bus_LV_4063-14_0_3_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_4063-14_0_3_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4063-14_0_3_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_4063-14_0_3_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_4063-14_0_3_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_4063-14_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_4063-14_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_4063-14_0_3_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_4063-14_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_4063-14_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_4063-14_0_3_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_4063-14_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4063-14_0_3_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_4063-14_0_3_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_4063-14_0_3_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_4063-14_0_3_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_4063-14_0_3_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_4063-14_0_3_node_47 | 0.4 | n |  | TRUE
71 | bus_LV_4063-14_0_3_node_49 | 0.4 | n |  | TRUE
72 | bus_LV_4063-14_0_3_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_4063-14_0_3_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_4063-14_0_3_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_4063-14_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_MV_426_1_node_182 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4063-14_0_3_load_0 | 0 | 0.0050859 | 0.0012747 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4063-14_0_3_load_4 | 4 | 0.011694 | 0.0029307 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4063-14_0_3_load_32 | 7 | 0.0068574 | 0.0017186 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4063-14_0_3_load_5 | 9 | 0.0054752 | 0.0013722 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4063-14_0_3_load_27 | 10 | 0.0054762 | 0.0013725 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4063-14_0_3_load_71 | 11 | 0.010935 | 0.0027405 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4063-14_0_3_load_63 | 16 | 0.016334 | 0.0040936 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4063-14_0_3_load_64 | 17 | 0.0090303 | 0.0022632 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4063-14_0_3_load_60 | 19 | 0.0037822 | 0.00094792 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4063-14_0_3_load_59 | 20 | 0.0021642 | 0.00054239 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4063-14_0_3_load_45 | 21 | 0.0033253 | 0.00083341 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4063-14_0_3_load_77 | 24 | 0.012903 | 0.0032338 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4063-14_0_3_load_72 | 27 | 0.00949 | 0.0023784 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4063-14_0_3_load_76 | 29 | 0.013102 | 0.0032836 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4063-14_0_3_load_75 | 31 | 0.013106 | 0.0032847 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4063-14_0_3_load_73 | 33 | 0.019531 | 0.0048949 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4063-14_0_3_load_69 | 35 | 0.012328 | 0.0030897 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4063-14_0_3_load_74 | 37 | 0.012668 | 0.003175 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4063-14_0_3_load_70 | 38 | 0.014029 | 0.0035159 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4063-14_0_3_load_78 | 40 | 0.012903 | 0.0032337 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4063-14_0_3_load_67 | 41 | 0.0045894 | 0.0011502 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4063-14_0_3_load_31 | 42 | 0.0050872 | 0.001275 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4063-14_0_3_load_24 | 44 | 0.0054748 | 0.0013721 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4063-14_0_3_load_33 | 45 | 0.0054756 | 0.0013723 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4063-14_0_3_load_62 | 46 | 0.015599 | 0.0039094 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4063-14_0_3_load_65 | 47 | 0.012533 | 0.0031411 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4063-14_0_3_load_61 | 48 | 0.0024599 | 0.00061651 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4063-14_0_3_load_22 | 51 | 0.0054772 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4063-14_0_3_load_23 | 52 | 0.0040393 | 0.0010123 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4063-14_0_3_load_35 | 54 | 0.0015956 | 0.0003999 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4063-14_0_3_load_36 | 57 | 0.0058582 | 0.0014682 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4063-14_0_3_load_57 | 58 | 0.0082885 | 0.0020773 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4063-14_0_3_load_54 | 59 | 0.0047923 | 0.0012011 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4063-14_0_3_load_40 | 60 | 0.003353 | 0.00084033 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4063-14_0_3_load_58 | 61 | 0.013334 | 0.0033417 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4063-14_0_3_load_55 | 62 | 0.0067764 | 0.0016983 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4063-14_0_3_load_52 | 64 | 0.0032204 | 0.00080712 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4063-14_0_3_load_41 | 65 | 0.0024647 | 0.00061772 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4063-14_0_3_load_42 | 66 | 0.0031247 | 0.00078313 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4063-14_0_3_load_44 | 67 | 0.0024632 | 0.00061734 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4063-14_0_3_load_48 | 68 | 0.0028046 | 0.00070289 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4063-14_0_3_load_46 | 69 | 0.002464 | 0.00061754 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4063-14_0_3_load_47 | 70 | 0.0028282 | 0.0007088 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4063-14_0_3_load_49 | 71 | 0.0024635 | 0.00061741 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4063-14_0_3_load_51 | 72 | 0.0031852 | 0.00079828 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4063-14_0_3_load_50 | 73 | 0.0024639 | 0.00061751 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4063-14_0_3_load_56 | 74 | 0.0035339 | 0.00088569 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4063-14_0_3_load_66 | 75 | 0.018186 | 0.0045579 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4063-14_0_3_line_0 |  | 0 | 1 | 0.0084877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_4063-14_0_3_line_1 |  | 0 | 2 | 0.026141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_4063-14_0_3_line_2 |  | 1 | 3 | 0.003336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_4063-14_0_3_line_3 |  | 1 | 4 | 0.021268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4063-14_0_3_line_4 |  | 2 | 5 | 0.042775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4063-14_0_3_line_5 |  | 3 | 6 | 0.023924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_4063-14_0_3_line_6 |  | 3 | 7 | 0.014277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4063-14_0_3_line_7 |  | 4 | 8 | 0.0063323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4063-14_0_3_line_8 |  | 5 | 11 | 0.004505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4063-14_0_3_line_9 |  | 5 | 12 | 0.081085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4063-14_0_3_line_10 |  | 5 | 13 | 0.025145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4063-14_0_3_line_11 |  | 6 | 43 | 0.059086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_4063-14_0_3_line_12 |  | 6 | 10 | 0.012338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4063-14_0_3_line_13 |  | 6 | 44 | 0.012523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4063-14_0_3_line_14 |  | 7 | 45 | 0.027746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4063-14_0_3_line_15 |  | 8 | 42 | 0.015347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4063-14_0_3_line_16 |  | 9 | 10 | 0.023452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4063-14_0_3_line_17 |  | 12 | 26 | 0.028867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4063-14_0_3_line_18 |  | 12 | 27 | 0.004947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4063-14_0_3_line_19 |  | 12 | 25 | 0.075369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4063-14_0_3_line_20 |  | 12 | 28 | 0.059479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4063-14_0_3_line_21 |  | 13 | 38 | 0.004927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4063-14_0_3_line_22 |  | 14 | 15 | 0.052621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4063-14_0_3_line_23 |  | 14 | 16 | 0.032194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4063-14_0_3_line_24 |  | 14 | 17 | 0.23064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4063-14_0_3_line_25 |  | 15 | 21 | 0.0205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4063-14_0_3_line_26 |  | 15 | 22 | 0.019566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4063-14_0_3_line_27 |  | 16 | 46 | 0.014053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4063-14_0_3_line_28 |  | 17 | 47 | 0.033096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4063-14_0_3_line_29 |  | 18 | 19 | 0.036858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4063-14_0_3_line_30 |  | 18 | 20 | 0.017823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4063-14_0_3_line_31 |  | 19 | 48 | 0.020708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4063-14_0_3_line_32 |  | 21 | 49 | 0.018279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4063-14_0_3_line_33 |  | 22 | 50 | 0.019315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4063-14_0_3_line_34 |  | 23 | 24 | 0.005284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4063-14_0_3_line_35 |  | 23 | 25 | 0.02697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4063-14_0_3_line_36 |  | 25 | 29 | 0.005997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4063-14_0_3_line_37 |  | 25 | 30 | 0.075058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4063-14_0_3_line_38 |  | 26 | 33 | 0.003747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4063-14_0_3_line_39 |  | 28 | 37 | 0.004626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4063-14_0_3_line_40 |  | 30 | 31 | 0.005364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4063-14_0_3_line_41 |  | 30 | 32 | 0.012108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4063-14_0_3_line_42 |  | 32 | 41 | 0.01757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4063-14_0_3_line_43 |  | 32 | 39 | 0.017214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4063-14_0_3_line_44 |  | 34 | 35 | 0.000904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4063-14_0_3_line_45 |  | 34 | 36 | 0.01916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4063-14_0_3_line_46 |  | 36 | 41 | 0.019378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4063-14_0_3_line_47 |  | 39 | 40 | 0.004426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4063-14_0_3_line_48 |  | 43 | 50 | 0.020601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4063-14_0_3_line_49 |  | 43 | 57 | 0.018798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4063-14_0_3_line_50 |  | 44 | 51 | 0.021606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4063-14_0_3_line_51 |  | 47 | 75 | 0.048367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4063-14_0_3_line_52 |  | 48 | 55 | 0.014985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4063-14_0_3_line_53 |  | 49 | 65 | 0.012788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4063-14_0_3_line_54 |  | 49 | 63 | 0.017785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4063-14_0_3_line_55 |  | 50 | 60 | 0.019662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4063-14_0_3_line_56 |  | 51 | 52 | 0.02627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4063-14_0_3_line_57 |  | 52 | 53 | 0.019069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4063-14_0_3_line_58 |  | 53 | 54 | 0.020216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4063-14_0_3_line_59 |  | 54 | 55 | 0.016218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4063-14_0_3_line_60 |  | 55 | 56 | 0.064285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4063-14_0_3_line_61 |  | 56 | 58 | 0.020222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4063-14_0_3_line_62 |  | 56 | 59 | 0.0050242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4063-14_0_3_line_63 |  | 58 | 61 | 0.0023827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4063-14_0_3_line_64 |  | 59 | 62 | 0.010549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4063-14_0_3_line_65 |  | 62 | 74 | 0.0058384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4063-14_0_3_line_66 |  | 63 | 64 | 0.0099699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4063-14_0_3_line_67 |  | 65 | 66 | 0.022284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4063-14_0_3_line_68 |  | 66 | 67 | 0.011122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4063-14_0_3_line_69 |  | 67 | 68 | 0.0090197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4063-14_0_3_line_70 |  | 68 | 69 | 0.0093179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4063-14_0_3_line_71 |  | 69 | 70 | 0.011924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4063-14_0_3_line_72 |  | 70 | 71 | 0.006045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4063-14_0_3_line_73 |  | 71 | 72 | 0.013885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4063-14_0_3_line_74 |  | 72 | 73 | 0.004373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4063-14_0_3_trafo_70 | 0.63 MVA 20/0.4 kV | 76 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2668343.7286 | 1244009.6588 | 2668345.8756 | 1244010.9066 | 2668351.0741 | 1244013.9114
1 | 2668373.7057 | 1244026.9939 | 2668369.4414 | 1244024.532 | 2668364.404 | 1244021.6163 | 2668351.0741 | 1244013.9114
2 | 2668343.7286 | 1244009.6588 | 2668340.8306 | 1244007.9909
3 | 2668343.7286 | 1244009.6588 | 2668332.6815 | 1244027.8324
4 | 2668373.7057 | 1244026.9939 | 2668373.8231 | 1244044.3407 | 2668373.8683 | 1244050.9124 | 2668387.8305 | 1244051.2513 | 2668392.7188 | 1244051.3633
5 | 2668352.6185 | 1243987.1566 | 2668340.8306 | 1244007.9909
6 | 2668340.8306 | 1244007.9909 | 2668328.457 | 1244000.8684
7 | 2668329.3924 | 1244033.2435 | 2668332.6815 | 1244027.8324
8 | 2668392.6423 | 1244046.8592 | 2668392.7188 | 1244051.3633
9 | 2668391.0903 | 1244094.9415 | 2668387.2364 | 1244094.9081 | 2668372.7055 | 1244094.7406 | 2668372.8765 | 1244088.4271 | 2668373.3193 | 1244071.6538 | 2668373.6811 | 1244057.9707 | 2668373.8683 | 1244050.9124 | 2668387.8305 | 1244051.2513 | 2668392.7188 | 1244051.3633
10 | 2668392.7188 | 1244051.3633 | 2668393.7162 | 1244051.3859 | 2668417.9309 | 1244051.9765
11 | 2668389.8701 | 1243964.1587 | 2668371.0005 | 1243954.1899 | 2668352.6185 | 1243987.1566
12 | 2668352.6185 | 1243987.1566 | 2668363.4306 | 1243993.1011
13 | 2668352.6185 | 1243987.1566 | 2668341.6456 | 1243981.122
14 | 2668328.457 | 1244000.8684 | 2668304.41 | 1243987.0263
15 | 2668329.3924 | 1244033.2435 | 2668315.9893 | 1244025.7673
16 | 2668363.4306 | 1243993.1011 | 2668383.9813 | 1244004.3999
17 | 2668391.0903 | 1244094.9415 | 2668393.1229 | 1244094.9649 | 2668402.251 | 1244095.0702 | 2668408.0422 | 1244088.9771 | 2668417.4126 | 1244089.0407
18 | 2668390.8374 | 1244090.0018 | 2668391.0903 | 1244094.9415
19 | 2668390.5541 | 1244132.9172 | 2668385.8082 | 1244132.907 | 2668371.6993 | 1244132.8555 | 2668371.8343 | 1244127.6979 | 2668372.7055 | 1244094.7406 | 2668387.2364 | 1244094.9081 | 2668391.0903 | 1244094.9415
20 | 2668341.1624 | 1244076.9205 | 2668344.0462 | 1244078.4992 | 2668363.0694 | 1244088.8811 | 2668372.8765 | 1244088.4271 | 2668372.7055 | 1244094.7406 | 2668387.2364 | 1244094.9081 | 2668391.0903 | 1244094.9415
21 | 2668418.101 | 1244047.0528 | 2668417.9309 | 1244051.9765
22 | 2668433.5025 | 1244003.8781 | 2668436.392 | 1244008.8927 | 2668444.1884 | 1244026.8284 | 2668460.0884 | 1244026.2448 | 2668471.4539 | 1244026.3315
23 | 2668471.4539 | 1244026.3315 | 2668485.8041 | 1244025.1407 | 2668503.5983 | 1244025.1538
24 | 2668471.4539 | 1244026.3315 | 2668471.1984 | 1244029.4752 | 2668462.2749 | 1244117.0442 | 2668468.4547 | 1244163.0475 | 2668481.0712 | 1244193.5143 | 2668497.1581 | 1244195.0343 | 2668503.1824 | 1244177.2693 | 2668507.1809 | 1244152.438
25 | 2668433.5025 | 1244003.8781 | 2668449.9888 | 1243991.6945
26 | 2668421.2005 | 1243988.6702 | 2668423.5434 | 1243991.2879 | 2668433.5025 | 1244003.8781
27 | 2668517.6511 | 1244025.1642 | 2668503.5983 | 1244025.1538
28 | 2668507.1809 | 1244152.438 | 2668512.4423 | 1244119.7634
29 | 2668322.2007 | 1243858.4725 | 2668317.9839 | 1243877.4705 | 2668317.4498 | 1243879.8772 | 2668315.7007 | 1243894.7072
30 | 2668322.2007 | 1243858.4725 | 2668305.0067 | 1243853.7793
31 | 2668315.7007 | 1243894.7072 | 2668313.2751 | 1243915.273
32 | 2668451.8141 | 1243979.0054 | 2668457.3533 | 1243986.2521 | 2668449.9888 | 1243991.6945
33 | 2668407.3063 | 1243975.2118 | 2668421.2005 | 1243988.6702
34 | 2668416.0627 | 1244122.2038 | 2668415.8355 | 1244127.4826
35 | 2668390.5541 | 1244132.9172 | 2668391.8766 | 1244132.9214 | 2668399.9777 | 1244132.9481 | 2668408.0607 | 1244127.3374 | 2668415.8355 | 1244127.4826
36 | 2668390.4041 | 1244126.9225 | 2668390.5541 | 1244132.9172
37 | 2668389.4616 | 1244170.642 | 2668385.0189 | 1244170.5574 | 2668370.701 | 1244170.2812 | 2668371.5933 | 1244136.8015 | 2668371.6993 | 1244132.8555 | 2668385.8082 | 1244132.907 | 2668390.5541 | 1244132.9172
38 | 2668417.4483 | 1244085.2941 | 2668417.4126 | 1244089.0407
39 | 2668341.1624 | 1244076.9205 | 2668337.5379 | 1244074.0323
40 | 2668389.7425 | 1244165.286 | 2668389.4616 | 1244170.642
41 | 2668401.6035 | 1244170.871 | 2668391.0029 | 1244170.6709 | 2668389.4616 | 1244170.642
42 | 2668401.6035 | 1244170.871 | 2668406.6191 | 1244175.6655 | 2668406.1806 | 1244186.2883
43 | 2668401.6035 | 1244170.871 | 2668406.7093 | 1244165.2259 | 2668415.4327 | 1244165.0263 | 2668416.3474 | 1244165.0035
44 | 2668385.9204 | 1244204.4469 | 2668386.1673 | 1244205.3171
45 | 2668405.3815 | 1244205.6498 | 2668386.1673 | 1244205.3171
46 | 2668405.3815 | 1244205.6498 | 2668406.1806 | 1244186.2883
47 | 2668416.3531 | 1244160.5783 | 2668416.3474 | 1244165.0035
48 | 2668407.3063 | 1243975.2118 | 2668389.8701 | 1243964.1587
49 | 2668389.8701 | 1243964.1587 | 2668394.464 | 1243955.7391 | 2668398.6951 | 1243947.562
50 | 2668341.6456 | 1243981.122 | 2668322.7135 | 1243970.7101
51 | 2668516.0322 | 1244071.7331 | 2668516.5749 | 1244094.0994 | 2668512.4423 | 1244119.7634
52 | 2668311.5199 | 1243930.155 | 2668313.2751 | 1243915.273
53 | 2668451.8141 | 1243979.0054 | 2668460.8597 | 1243969.9655
54 | 2668440.9886 | 1243964.8707 | 2668451.8141 | 1243979.0054
55 | 2668407.3063 | 1243975.2118 | 2668417.4251 | 1243958.3535
56 | 2668299.6952 | 1243958.051 | 2668322.7135 | 1243970.7101
57 | 2668282.9863 | 1243948.8618 | 2668299.6952 | 1243958.051
58 | 2668282.9863 | 1243948.8618 | 2668291.7608 | 1243935.7203 | 2668295.8802 | 1243934.1323
59 | 2668311.5199 | 1243930.155 | 2668302.1229 | 1243931.7257 | 2668295.8802 | 1243934.1323
60 | 2668311.5199 | 1243930.155 | 2668325.2038 | 1243931.0575 | 2668339.1955 | 1243937.3897 | 2668341.5992 | 1243938.6627 | 2668353.1947 | 1243908.3085
61 | 2668353.1947 | 1243908.3085 | 2668371.8513 | 1243916.1099
62 | 2668353.1947 | 1243908.3085 | 2668348.5493 | 1243906.3948
63 | 2668374.0495 | 1243917.0292 | 2668371.8513 | 1243916.1099
64 | 2668348.5493 | 1243906.3948 | 2668338.7953 | 1243902.3765
65 | 2668333.3971 | 1243900.1526 | 2668338.7953 | 1243902.3765
66 | 2668440.9886 | 1243964.8707 | 2668434.6146 | 1243972.5369
67 | 2668460.8597 | 1243969.9655 | 2668467.3885 | 1243963.4409 | 2668457.9399 | 1243954.4342
68 | 2668449.8891 | 1243946.76 | 2668457.9399 | 1243954.4342
69 | 2668449.8891 | 1243946.76 | 2668445.4858 | 1243942.5626 | 2668443.1143 | 1243940.8312
70 | 2668435.5888 | 1243935.3368 | 2668443.1143 | 1243940.8312
71 | 2668435.5888 | 1243935.3368 | 2668425.9585 | 1243928.3057
72 | 2668421.0762 | 1243924.7412 | 2668425.9585 | 1243928.3057
73 | 2668421.0762 | 1243924.7412 | 2668419.1804 | 1243923.357 | 2668409.0086 | 1243917.9111
74 | 2668405.1534 | 1243915.847 | 2668409.0086 | 1243917.9111

## bus_geodata
| x | y | coords
0 | 2668351.0741 | 1244013.9114
1 | 2668343.7286 | 1244009.6588
2 | 2668373.7057 | 1244026.9939
3 | 2668340.8306 | 1244007.9909
4 | 2668332.6815 | 1244027.8324
5 | 2668392.7188 | 1244051.3633
6 | 2668352.6185 | 1243987.1566
7 | 2668328.457 | 1244000.8684
8 | 2668329.3924 | 1244033.2435
9 | 2668383.9813 | 1244004.3999
10 | 2668363.4306 | 1243993.1011
11 | 2668392.6423 | 1244046.8592
12 | 2668391.0903 | 1244094.9415
13 | 2668417.9309 | 1244051.9765
14 | 2668471.4539 | 1244026.3315
15 | 2668433.5025 | 1244003.8781
16 | 2668503.5983 | 1244025.1538
17 | 2668507.1809 | 1244152.438
18 | 2668322.2007 | 1243858.4725
19 | 2668315.7007 | 1243894.7072
20 | 2668305.0067 | 1243853.7793
21 | 2668449.9888 | 1243991.6945
22 | 2668421.2005 | 1243988.6702
23 | 2668415.8355 | 1244127.4826
24 | 2668416.0627 | 1244122.2038
25 | 2668390.5541 | 1244132.9172
26 | 2668417.4126 | 1244089.0407
27 | 2668390.8374 | 1244090.0018
28 | 2668341.1624 | 1244076.9205
29 | 2668390.4041 | 1244126.9225
30 | 2668389.4616 | 1244170.642
31 | 2668389.7425 | 1244165.286
32 | 2668401.6035 | 1244170.871
33 | 2668417.4483 | 1244085.2941
34 | 2668386.1673 | 1244205.3171
35 | 2668385.9204 | 1244204.4469
36 | 2668405.3815 | 1244205.6498
37 | 2668337.5379 | 1244074.0323
38 | 2668418.101 | 1244047.0528
39 | 2668416.3474 | 1244165.0035
40 | 2668416.3531 | 1244160.5783
41 | 2668406.1806 | 1244186.2883
42 | 2668315.9893 | 1244025.7673
43 | 2668389.8701 | 1243964.1587
44 | 2668341.6456 | 1243981.122
45 | 2668304.41 | 1243987.0263
46 | 2668517.6511 | 1244025.1642
47 | 2668512.4423 | 1244119.7634
48 | 2668313.2751 | 1243915.273
49 | 2668451.8141 | 1243979.0054
50 | 2668407.3063 | 1243975.2118
51 | 2668322.7135 | 1243970.7101
52 | 2668299.6952 | 1243958.051
53 | 2668282.9863 | 1243948.8618
54 | 2668295.8802 | 1243934.1323
55 | 2668311.5199 | 1243930.155
56 | 2668353.1947 | 1243908.3085
57 | 2668398.6951 | 1243947.562
58 | 2668371.8513 | 1243916.1099
59 | 2668348.5493 | 1243906.3948
60 | 2668417.425 | 1243958.3535
61 | 2668374.0495 | 1243917.0292
62 | 2668338.7953 | 1243902.3765
63 | 2668440.9886 | 1243964.8707
64 | 2668434.6146 | 1243972.5369
65 | 2668460.8597 | 1243969.9655
66 | 2668457.9399 | 1243954.4342
67 | 2668449.8891 | 1243946.76
68 | 2668443.1143 | 1243940.8312
69 | 2668435.5888 | 1243935.3368
70 | 2668425.9585 | 1243928.3057
71 | 2668421.0762 | 1243924.7412
72 | 2668409.0086 | 1243917.9111
73 | 2668405.1534 | 1243915.847
74 | 2668333.3971 | 1243900.1526
75 | 2668516.0322 | 1244071.7331
76 | 2668417.9309 | 1244051.9765

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1