## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4063-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4063-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4063-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4063-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4063-15_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4063-15_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_4063-15_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4063-15_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4063-15_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4063-15_0_3_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_4063-15_0_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_4063-15_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4063-15_0_3_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_4063-15_0_3_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_4063-15_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4063-15_0_3_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_4063-15_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_4063-15_0_3_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_4063-15_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_4063-15_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4063-15_0_3_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_4063-15_0_3_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_4063-15_0_3_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_4063-15_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_4063-15_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4063-15_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_4063-15_0_3_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_4063-15_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4063-15_0_3_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_4063-15_0_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_4063-15_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4063-15_0_3_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_4063-15_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_4063-15_0_3_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_4063-15_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4063-15_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4063-15_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_4063-15_0_3_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_4063-15_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4063-15_0_3_node_45 | 0.4 | n |  | TRUE
40 | bus_LV_4063-15_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_4063-15_0_3_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_4063-15_0_3_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_4063-15_0_3_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_4063-15_0_3_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_4063-15_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_4063-15_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_4063-15_0_3_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_4063-15_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4063-15_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_4063-15_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_4063-15_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_4063-15_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_4063-15_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_4063-15_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4063-15_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4063-15_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_4063-15_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_4063-15_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_MV_426_1_node_184 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4063-15_0_3_load_0 | 0 | 0.0033484 | 0.00083919 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4063-15_0_3_load_1 | 1 | 0.0033474 | 0.00083894 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4063-15_0_3_load_3 | 3 | 0.0063662 | 0.0015955 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4063-15_0_3_load_6 | 8 | 0.0033481 | 0.00083912 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4063-15_0_3_load_25 | 10 | 0.0026229 | 0.00065737 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4063-15_0_3_load_53 | 13 | 0.011128 | 0.002789 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4063-15_0_3_load_7 | 14 | 0.00335 | 0.00083958 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4063-15_0_3_load_28 | 15 | 0.0080581 | 0.0020195 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4063-15_0_3_load_27 | 16 | 0.0026235 | 0.00065752 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4063-15_0_3_load_24 | 17 | 0.0056783 | 0.0014231 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4063-15_0_3_load_8 | 18 | 0.0045392 | 0.0011376 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4063-15_0_3_load_29 | 21 | 0.0045415 | 0.0011382 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4063-15_0_3_load_30 | 25 | 0.0056822 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4063-15_0_3_load_59 | 26 | 0.017492 | 0.0043838 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4063-15_0_3_load_60 | 29 | 0.017527 | 0.0043927 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4063-15_0_3_load_62 | 31 | 0.017379 | 0.0043556 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4063-15_0_3_load_33 | 32 | 0.0082978 | 0.0020796 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4063-15_0_3_load_61 | 33 | 0.020295 | 0.0050863 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4063-15_0_3_load_35 | 36 | 0.0040501 | 0.0010151 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4063-15_0_3_load_44 | 37 | 0.022675 | 0.0056829 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4063-15_0_3_load_45 | 39 | 0.01073 | 0.0026892 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4063-15_0_3_load_38 | 40 | 0.023285 | 0.0058358 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4063-15_0_3_load_55 | 42 | 0.011334 | 0.0028407 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4063-15_0_3_load_52 | 44 | 0.0067119 | 0.0016822 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4063-15_0_3_load_37 | 45 | 0.0029047 | 0.00072798 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4063-15_0_3_load_39 | 46 | 0.0081934 | 0.0020535 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4063-15_0_3_load_40 | 47 | 0.0075595 | 0.0018946 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4063-15_0_3_load_41 | 48 | 0.0080827 | 0.0020257 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4063-15_0_3_load_42 | 49 | 0.0053705 | 0.001346 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4063-15_0_3_load_57 | 51 | 0.0037462 | 0.00093889 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4063-15_0_3_load_46 | 52 | 0.0076978 | 0.0019292 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4063-15_0_3_load_47 | 53 | 0.0108 | 0.0027067 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4063-15_0_3_load_48 | 54 | 0.0037365 | 0.00093645 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4063-15_0_3_load_49 | 55 | 0.0037865 | 0.00094899 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4063-15_0_3_load_50 | 56 | 0.0034835 | 0.00087304 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4063-15_0_3_load_58 | 57 | 0.0054445 | 0.0013645 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4063-15_0_3_load_54 | 58 | 0.0024409 | 0.00061175 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4063-15_0_3_line_0 |  | 0 | 1 | 0.018932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4063-15_0_3_line_1 |  | 0 | 2 | 0.018662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4063-15_0_3_line_2 |  | 1 | 3 | 0.024129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4063-15_0_3_line_3 |  | 2 | 4 | 0.028245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4063-15_0_3_line_4 |  | 3 | 5 | 0.01685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4063-15_0_3_line_5 |  | 4 | 9 | 0.028702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4063-15_0_3_line_6 |  | 4 | 10 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4063-15_0_3_line_7 |  | 5 | 11 | 0.027623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4063-15_0_3_line_8 |  | 6 | 7 | 0.005297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4063-15_0_3_line_9 |  | 6 | 8 | 0.01952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4063-15_0_3_line_10 |  | 7 | 12 | 0.024278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4063-15_0_3_line_11 |  | 7 | 13 | 0.028778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_4063-15_0_3_line_12 |  | 8 | 14 | 0.01767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4063-15_0_3_line_13 |  | 9 | 15 | 0.0066521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4063-15_0_3_line_14 |  | 9 | 16 | 0.017351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4063-15_0_3_line_15 |  | 10 | 17 | 0.02474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4063-15_0_3_line_16 |  | 11 | 19 | 0.057918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4063-15_0_3_line_17 |  | 11 | 18 | 0.013935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4063-15_0_3_line_18 |  | 12 | 20 | 0.006011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_4063-15_0_3_line_19 |  | 12 | 21 | 0.017608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4063-15_0_3_line_20 |  | 13 | 22 | 0.027166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4063-15_0_3_line_21 |  | 14 | 18 | 0.021233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4063-15_0_3_line_22 |  | 19 | 26 | 0.00539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4063-15_0_3_line_23 |  | 19 | 27 | 0.043519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4063-15_0_3_line_24 |  | 21 | 25 | 0.026143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4063-15_0_3_line_25 |  | 22 | 58 | 0.01508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4063-15_0_3_line_26 |  | 22 | 55 | 0.011791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4063-15_0_3_line_27 |  | 23 | 24 | 0.027587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4063-15_0_3_line_28 |  | 23 | 25 | 0.015585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4063-15_0_3_line_29 |  | 24 | 32 | 0.012566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4063-15_0_3_line_30 |  | 27 | 33 | 0.004814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4063-15_0_3_line_31 |  | 27 | 28 | 0.074806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4063-15_0_3_line_32 |  | 28 | 29 | 0.005529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4063-15_0_3_line_33 |  | 28 | 30 | 0.04418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4063-15_0_3_line_34 |  | 30 | 31 | 0.004825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4063-15_0_3_line_35 |  | 34 | 35 | 0.091807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4063-15_0_3_line_36 |  | 34 | 36 | 0.0054868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4063-15_0_3_line_37 |  | 35 | 37 | 0.0028867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4063-15_0_3_line_38 |  | 36 | 41 | 0.052282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4063-15_0_3_line_39 |  | 38 | 39 | 0.025742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4063-15_0_3_line_40 |  | 38 | 40 | 0.0093542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4063-15_0_3_line_41 |  | 39 | 44 | 0.014739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4063-15_0_3_line_42 |  | 41 | 45 | 0.013618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4063-15_0_3_line_43 |  | 42 | 43 | 0.027798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4063-15_0_3_line_44 |  | 43 | 51 | 0.012927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4063-15_0_3_line_45 |  | 43 | 58 | 0.013202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_4063-15_0_3_line_46 |  | 44 | 50 | 0.014233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4063-15_0_3_line_47 |  | 45 | 46 | 0.015008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4063-15_0_3_line_48 |  | 46 | 47 | 0.022228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4063-15_0_3_line_49 |  | 47 | 48 | 0.0089556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4063-15_0_3_line_50 |  | 48 | 49 | 0.025646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4063-15_0_3_line_51 |  | 49 | 50 | 0.0094711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4063-15_0_3_line_52 |  | 50 | 51 | 0.016847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4063-15_0_3_line_53 |  | 52 | 53 | 0.033264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_4063-15_0_3_line_54 |  | 52 | 54 | 0.01102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4063-15_0_3_line_55 |  | 53 | 55 | 0.026924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4063-15_0_3_line_56 |  | 54 | 56 | 0.024999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4063-15_0_3_line_57 |  | 56 | 57 | 0.007421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4063-15_0_3_trafo_32 | 0.63 MVA 20/0.4 kV | 59 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2668262.5283 | 1244028.0064 | 2668279.0712 | 1244037.2118
1 | 2668246.2212 | 1244018.9321 | 2668262.5283 | 1244028.0064
2 | 2668300.1553 | 1244048.9443 | 2668279.0712 | 1244037.2118
3 | 2668246.2212 | 1244018.9321 | 2668256.688 | 1243992.6898
4 | 2668314.8789 | 1244057.1374 | 2668300.1553 | 1244048.9443
5 | 2668256.688 | 1243992.6898 | 2668271.4893 | 1243968.0762
6 | 2668256.688 | 1243992.6898 | 2668272.1529 | 1244001.3159
7 | 2668300.5352 | 1244080.7443 | 2668302.6767 | 1244077.2221 | 2668314.8789 | 1244057.1374
8 | 2668237.4689 | 1244045.272 | 2668236.3061 | 1244050.44
9 | 2668237.4689 | 1244045.272 | 2668254.4821 | 1244054.8412
10 | 2668234.8947 | 1244074.585 | 2668235.143 | 1244055.6302 | 2668236.3061 | 1244050.44
11 | 2668236.3061 | 1244050.44 | 2668220.5303 | 1244044.1654 | 2668214.4735 | 1244041.8275 | 2668213.1641 | 1244041.3454 | 2668209.4977 | 1244039.9793
12 | 2668254.4821 | 1244054.8412 | 2668269.8829 | 1244063.5036
13 | 2668271.4893 | 1243968.0762 | 2668274.9048 | 1243962.368
14 | 2668271.4893 | 1243968.0762 | 2668286.5266 | 1243976.7321
15 | 2668293.7586 | 1244013.3673 | 2668272.1529 | 1244001.3159
16 | 2668300.5352 | 1244080.7443 | 2668302.6767 | 1244077.2221 | 2668331.8909 | 1244093.8477 | 2668331.3583 | 1244094.82 | 2668322.195 | 1244111.5484
17 | 2668300.5352 | 1244080.7443 | 2668288.3894 | 1244073.9128
18 | 2668234.8947 | 1244074.585 | 2668235.8315 | 1244080.5221
19 | 2668234.8947 | 1244074.585 | 2668250.2695 | 1244083.1663
20 | 2668183.7994 | 1244031.1787 | 2668192.0516 | 1244033.8531 | 2668196.6288 | 1244035.3957 | 2668199.015 | 1244036.2237 | 2668201.8973 | 1244037.2798 | 2668203.5832 | 1244037.8884 | 2668207.7381 | 1244039.3483 | 2668209.4692 | 1244039.9686 | 2668209.4977 | 1244039.9793
21 | 2668269.8829 | 1244063.5036 | 2668288.3894 | 1244073.9128
22 | 2668317.6873 | 1244108.5722 | 2668322.195 | 1244111.5484
23 | 2668299.3162 | 1244148.533 | 2668302.2745 | 1244143.6414 | 2668306.9233 | 1244135.6782 | 2668310.0378 | 1244131.0108 | 2668317.9647 | 1244119.2606 | 2668320.8364 | 1244114.0233 | 2668322.195 | 1244111.5484
24 | 2668273.0981 | 1244095.9066 | 2668262.273 | 1244089.866 | 2668250.2695 | 1244083.1663
25 | 2668183.7994 | 1244031.1787 | 2668181.1015 | 1244039.0643 | 2668178.1642 | 1244045.1368
26 | 2668183.7994 | 1244031.1787 | 2668187.154 | 1244021.3993 | 2668187.612 | 1244020.0208
27 | 2668272.3796 | 1244127.0748 | 2668280.391 | 1244113.8911 | 2668286.7077 | 1244103.501
28 | 2668286.7077 | 1244103.501 | 2668273.0981 | 1244095.9066
29 | 2668272.3796 | 1244127.0748 | 2668261.4293 | 1244120.9104
30 | 2668295.0419 | 1244146.2933 | 2668299.3162 | 1244148.533
31 | 2668299.3162 | 1244148.533 | 2668302.2745 | 1244143.6414 | 2668306.9233 | 1244135.6782 | 2668340.2737 | 1244154.0416 | 2668346.2258 | 1244144.4702 | 2668350.1922 | 1244138.0114 | 2668351.0616 | 1244136.676 | 2668351.7776 | 1244135.5279
32 | 2668346.9033 | 1244132.8922 | 2668351.7776 | 1244135.5279
33 | 2668328.6645 | 1244173.1657 | 2668329.1889 | 1244172.26 | 2668332.8207 | 1244165.9752 | 2668336.3138 | 1244159.9335 | 2668340.2737 | 1244154.0416 | 2668346.2258 | 1244144.4702 | 2668350.1922 | 1244138.0114 | 2668351.0616 | 1244136.676 | 2668351.7776 | 1244135.5279
34 | 2668325.5786 | 1244169.4498 | 2668328.6645 | 1244173.1657
35 | 2668150.2776 | 1244165.7427 | 2668154.6953 | 1244170.6302 | 2668169.2743 | 1244175.8012 | 2668180.8396 | 1244174.2552 | 2668191.24 | 1244176.7431 | 2668200.987 | 1244181.5029 | 2668213.3084 | 1244189.7725 | 2668215.4954 | 1244188.2076 | 2668218.7215 | 1244188.2781 | 2668219.0748 | 1244187.1258 | 2668220.1355 | 1244183.6133 | 2668215.5091 | 1244180.4468 | 2668212.9797 | 1244178.9278 | 2668210.9685 | 1244177.7038
36 | 2668150.2776 | 1244165.7427 | 2668145.2662 | 1244167.9768
37 | 2668210.9685 | 1244177.7038 | 2668208.4608 | 1244176.274
38 | 2668097.8114 | 1244156.8454 | 2668106.7091 | 1244165.1644 | 2668118.0961 | 1244169.9206 | 2668129.8478 | 1244171.2231 | 2668140.357 | 1244170.1652 | 2668145.2662 | 1244167.9768
39 | 2668205.3518 | 1244102.9318 | 2668199.5111 | 1244102.1752 | 2668197.327 | 1244102.1835 | 2668188.863 | 1244098.8728 | 2668185.8331 | 1244096.8477 | 2668181.5988 | 1244095.0645 | 2668181.2927 | 1244094.9138
40 | 2668205.3518 | 1244102.9318 | 2668199.8026 | 1244110.4622
41 | 2668181.2927 | 1244094.9138 | 2668180.3965 | 1244094.4725 | 2668175.9365 | 1244092.5977 | 2668172.7013 | 1244091.3374 | 2668171.1602 | 1244090.6304 | 2668168.4379 | 1244089.4538 | 2668167.7356 | 1244089.1415
42 | 2668097.8114 | 1244156.8454 | 2668106.5464 | 1244146.3979
43 | 2668172.4156 | 1244057.0214 | 2668180.9395 | 1244061.7004 | 2668184.3175 | 1244063.029 | 2668186.7204 | 1244063.7126 | 2668188.774 | 1244064.5479 | 2668191.7385 | 1244065.6828 | 2668196.2312 | 1244067.3467 | 2668197.676 | 1244067.8859 | 2668197.8825 | 1244067.9675
44 | 2668172.4156 | 1244057.0214 | 2668165.1497 | 1244067.7127
45 | 2668172.4156 | 1244057.0214 | 2668178.1642 | 1244045.1368
46 | 2668155.6801 | 1244081.6463 | 2668164.8965 | 1244087.8787 | 2668167.7356 | 1244089.1415
47 | 2668106.5464 | 1244146.3979 | 2668116.1727 | 1244134.8842
48 | 2668129.4266 | 1244117.0455 | 2668117.7187 | 1244133.0351 | 2668116.1727 | 1244134.8842
49 | 2668129.4266 | 1244117.0455 | 2668134.7173 | 1244109.8198
50 | 2668134.7173 | 1244109.8198 | 2668136.0456 | 1244108.0059 | 2668150.0224 | 1244089.2418
51 | 2668155.6801 | 1244081.6463 | 2668150.0224 | 1244089.2418
52 | 2668155.6801 | 1244081.6463 | 2668165.1497 | 1244067.7127
53 | 2668209.0173 | 1243963.8469 | 2668198.333 | 1243987.7488 | 2668196.1001 | 1243994.4701
54 | 2668209.0173 | 1243963.8469 | 2668213.5147 | 1243953.7859
55 | 2668196.1001 | 1243994.4701 | 2668187.612 | 1244020.0208
56 | 2668213.5147 | 1243953.7859 | 2668220.6191 | 1243937.8925 | 2668224.2913 | 1243931.2504
57 | 2668227.8819 | 1243924.7558 | 2668224.2913 | 1243931.2504

## bus_geodata
| x | y | coords
0 | 2668262.5283 | 1244028.0064
1 | 2668279.0712 | 1244037.2118
2 | 2668246.2212 | 1244018.9321
3 | 2668300.1553 | 1244048.9443
4 | 2668256.688 | 1243992.6898
5 | 2668314.8789 | 1244057.1374
6 | 2668237.4689 | 1244045.272
7 | 2668236.3061 | 1244050.44
8 | 2668254.482 | 1244054.8412
9 | 2668271.4893 | 1243968.0762
10 | 2668272.1529 | 1244001.3159
11 | 2668300.5352 | 1244080.7443
12 | 2668234.8947 | 1244074.585
13 | 2668209.4977 | 1244039.9793
14 | 2668269.8829 | 1244063.5036
15 | 2668274.9048 | 1243962.368
16 | 2668286.5266 | 1243976.7321
17 | 2668293.7586 | 1244013.3673
18 | 2668288.3894 | 1244073.9128
19 | 2668322.195 | 1244111.5484
20 | 2668235.8315 | 1244080.5221
21 | 2668250.2695 | 1244083.1663
22 | 2668183.7994 | 1244031.1787
23 | 2668286.7077 | 1244103.501
24 | 2668272.3796 | 1244127.0748
25 | 2668273.0981 | 1244095.9066
26 | 2668317.6873 | 1244108.5722
27 | 2668299.3162 | 1244148.533
28 | 2668351.7776 | 1244135.5279
29 | 2668346.9033 | 1244132.8922
30 | 2668328.6645 | 1244173.1657
31 | 2668325.5786 | 1244169.4498
32 | 2668261.4293 | 1244120.9104
33 | 2668295.0419 | 1244146.2933
34 | 2668150.2776 | 1244165.7427
35 | 2668210.9685 | 1244177.7038
36 | 2668145.2662 | 1244167.9768
37 | 2668208.4608 | 1244176.274
38 | 2668205.3518 | 1244102.9318
39 | 2668181.2927 | 1244094.9138
40 | 2668199.8026 | 1244110.4622
41 | 2668097.8114 | 1244156.8454
42 | 2668197.8825 | 1244067.9675
43 | 2668172.4156 | 1244057.0214
44 | 2668167.7356 | 1244089.1415
45 | 2668106.5464 | 1244146.3979
46 | 2668116.1727 | 1244134.8842
47 | 2668129.4266 | 1244117.0455
48 | 2668134.7173 | 1244109.8198
49 | 2668150.0224 | 1244089.2418
50 | 2668155.6801 | 1244081.6463
51 | 2668165.1497 | 1244067.7127
52 | 2668209.0173 | 1243963.8469
53 | 2668196.1001 | 1243994.4701
54 | 2668213.5147 | 1243953.7859
55 | 2668187.612 | 1244020.0208
56 | 2668224.2913 | 1243931.2504
57 | 2668227.8819 | 1243924.7558
58 | 2668178.1642 | 1244045.1368
59 | 2668234.8947 | 1244074.585

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1