## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4063-2_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4063-2_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4063-2_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4063-2_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4063-2_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4063-2_0_5_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_4063-2_0_5_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_4063-2_0_5_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_4063-2_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4063-2_0_5_node_98 | 0.4 | n |  | TRUE
10 | bus_LV_4063-2_0_5_node_115 | 0.4 | n |  | TRUE
11 | bus_LV_4063-2_0_5_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_4063-2_0_5_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_4063-2_0_5_node_97 | 0.4 | n |  | TRUE
14 | bus_LV_4063-2_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4063-2_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4063-2_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4063-2_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4063-2_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4063-2_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4063-2_0_5_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_4063-2_0_5_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_4063-2_0_5_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_4063-2_0_5_node_77 | 0.4 | n |  | TRUE
24 | bus_LV_4063-2_0_5_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_4063-2_0_5_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_4063-2_0_5_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_4063-2_0_5_node_74 | 0.4 | n |  | TRUE
28 | bus_LV_4063-2_0_5_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_4063-2_0_5_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_4063-2_0_5_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_4063-2_0_5_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_4063-2_0_5_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_4063-2_0_5_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_4063-2_0_5_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_4063-2_0_5_node_110 | 0.4 | n |  | TRUE
36 | bus_LV_4063-2_0_5_node_109 | 0.4 | n |  | TRUE
37 | bus_LV_4063-2_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_4063-2_0_5_node_111 | 0.4 | n |  | TRUE
39 | bus_LV_4063-2_0_5_node_108 | 0.4 | n |  | TRUE
40 | bus_LV_4063-2_0_5_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_4063-2_0_5_node_106 | 0.4 | n |  | TRUE
42 | bus_LV_4063-2_0_5_node_86 | 0.4 | n |  | TRUE
43 | bus_LV_4063-2_0_5_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_4063-2_0_5_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_4063-2_0_5_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_4063-2_0_5_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_4063-2_0_5_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_4063-2_0_5_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_4063-2_0_5_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_4063-2_0_5_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_4063-2_0_5_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_4063-2_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_4063-2_0_5_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_4063-2_0_5_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_4063-2_0_5_node_83 | 0.4 | n |  | TRUE
56 | bus_LV_4063-2_0_5_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4063-2_0_5_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_4063-2_0_5_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_4063-2_0_5_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_4063-2_0_5_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_4063-2_0_5_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_4063-2_0_5_node_90 | 0.4 | n |  | TRUE
63 | bus_LV_4063-2_0_5_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_4063-2_0_5_node_37 | 0.4 | n |  | TRUE
65 | bus_LV_4063-2_0_5_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_4063-2_0_5_node_34 | 0.4 | n |  | TRUE
67 | bus_LV_4063-2_0_5_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_4063-2_0_5_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_4063-2_0_5_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_4063-2_0_5_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_4063-2_0_5_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_4063-2_0_5_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_4063-2_0_5_node_95 | 0.4 | n |  | TRUE
74 | bus_LV_4063-2_0_5_node_44 | 0.4 | n |  | TRUE
75 | bus_LV_4063-2_0_5_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_4063-2_0_5_node_100 | 0.4 | n |  | TRUE
77 | bus_LV_4063-2_0_5_node_96 | 0.4 | n |  | TRUE
78 | bus_LV_4063-2_0_5_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_4063-2_0_5_node_52 | 0.4 | n |  | TRUE
80 | bus_LV_4063-2_0_5_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_4063-2_0_5_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_4063-2_0_5_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_4063-2_0_5_node_113 | 0.4 | n |  | TRUE
84 | bus_LV_4063-2_0_5_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_4063-2_0_5_node_114 | 0.4 | n |  | TRUE
86 | bus_LV_4063-2_0_5_node_112 | 0.4 | n |  | TRUE
87 | bus_LV_4063-2_0_5_node_61 | 0.4 | n |  | TRUE
88 | bus_LV_4063-2_0_5_node_62 | 0.4 | n |  | TRUE
89 | bus_LV_4063-2_0_5_node_63 | 0.4 | n |  | TRUE
90 | bus_LV_4063-2_0_5_node_64 | 0.4 | n |  | TRUE
91 | bus_LV_4063-2_0_5_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_4063-2_0_5_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_4063-2_0_5_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_4063-2_0_5_node_68 | 0.4 | n |  | TRUE
95 | bus_LV_4063-2_0_5_node_99 | 0.4 | n |  | TRUE
96 | bus_LV_4063-2_0_5_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_4063-2_0_5_node_70 | 0.4 | n |  | TRUE
98 | bus_LV_4063-2_0_5_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_4063-2_0_5_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_4063-2_0_5_node_104 | 0.4 | n |  | TRUE
101 | bus_LV_4063-2_0_5_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_4063-2_0_5_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_4063-2_0_5_node_105 | 0.4 | n |  | TRUE
104 | bus_LV_4063-2_0_5_node_107 | 0.4 | n |  | TRUE
105 | bus_MV_426_1_node_181 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4063-2_0_5_load_0 | 0 | 0.012429 | 0.0031149 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4063-2_0_5_load_4 | 3 | 0.006433 | 0.0016123 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4063-2_0_5_load_5 | 4 | 0.0015497 | 0.00038838 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4063-2_0_5_load_32 | 5 | 0.004957 | 0.0012423 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4063-2_0_5_load_46 | 6 | 0.0019179 | 0.00048068 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4063-2_0_5_load_55 | 7 | 0.011807 | 0.0029591 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4063-2_0_5_load_115 | 10 | 0.0077226 | 0.0019355 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4063-2_0_5_load_56 | 12 | 0.018696 | 0.0046856 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4063-2_0_5_load_97 | 13 | 0.0014832 | 0.00037174 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4063-2_0_5_load_7 | 14 | 0.0045038 | 0.0011288 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4063-2_0_5_load_8 | 15 | 0.0033116 | 0.00082997 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4063-2_0_5_load_10 | 17 | 0.0072577 | 0.001819 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4063-2_0_5_load_12 | 19 | 0.01207 | 0.0030251 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4063-2_0_5_load_91 | 20 | 0.0066015 | 0.0016545 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4063-2_0_5_load_78 | 21 | 0.0078152 | 0.0019587 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4063-2_0_5_load_77 | 23 | 0.010773 | 0.0026999 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4063-2_0_5_load_80 | 26 | 0.0048255 | 0.0012094 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4063-2_0_5_load_75 | 28 | 0.0037195 | 0.0009322 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4063-2_0_5_load_72 | 29 | 0.0017554 | 0.00043996 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4063-2_0_5_load_13 | 30 | 0.0016921 | 0.00042408 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4063-2_0_5_load_14 | 31 | 0.0017882 | 0.00044817 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4063-2_0_5_load_15 | 32 | 0.0045923 | 0.0011509 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4063-2_0_5_load_110 | 35 | 0.0033915 | 0.00084999 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4063-2_0_5_load_109 | 36 | 0.0023248 | 0.00058265 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4063-2_0_5_load_19 | 37 | 0.0026398 | 0.0006616 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4063-2_0_5_load_111 | 38 | 0.001666 | 0.00041754 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4063-2_0_5_load_108 | 39 | 0.0043204 | 0.0010828 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4063-2_0_5_load_106 | 41 | 0.0051296 | 0.0012856 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4063-2_0_5_load_86 | 42 | 0.0044659 | 0.0011193 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4063-2_0_5_load_18 | 43 | 0.0067759 | 0.0016982 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4063-2_0_5_load_20 | 44 | 0.0030801 | 0.00077194 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4063-2_0_5_load_21 | 45 | 0.0024355 | 0.00061038 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4063-2_0_5_load_48 | 47 | 0.0052174 | 0.0013076 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4063-2_0_5_load_22 | 48 | 0.017149 | 0.004298 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4063-2_0_5_load_25 | 50 | 0.0023235 | 0.00058233 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4063-2_0_5_load_26 | 51 | 0.0069252 | 0.0017356 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4063-2_0_5_load_83 | 55 | 0.020131 | 0.0050454 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4063-2_0_5_load_35 | 57 | 0.0035146 | 0.00088083 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4063-2_0_5_load_73 | 58 | 0.0040158 | 0.0010065 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4063-2_0_5_load_82 | 59 | 0.0026817 | 0.0006721 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4063-2_0_5_load_57 | 60 | 0.010138 | 0.0025408 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4063-2_0_5_load_36 | 61 | 0.0068563 | 0.0017184 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4063-2_0_5_load_90 | 62 | 0.021446 | 0.0053749 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4063-2_0_5_load_37 | 64 | 0.0079717 | 0.0019979 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4063-2_0_5_load_51 | 65 | 0.0088286 | 0.0022127 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4063-2_0_5_load_39 | 67 | 0.016318 | 0.0040896 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4063-2_0_5_load_43 | 70 | 0.0077872 | 0.0019517 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4063-2_0_5_load_101 | 72 | 0.0079905 | 0.0020026 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4063-2_0_5_load_44 | 74 | 0.0065882 | 0.0016512 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4063-2_0_5_load_79 | 75 | 0.018456 | 0.0046256 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4063-2_0_5_load_100 | 76 | 0.0043452 | 0.001089 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4063-2_0_5_load_96 | 77 | 0.0058287 | 0.0014608 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4063-2_0_5_load_49 | 78 | 0.0050692 | 0.0012705 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4063-2_0_5_load_52 | 79 | 0.002721 | 0.00068194 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4063-2_0_5_load_67 | 80 | 0.0039326 | 0.00098561 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4063-2_0_5_load_69 | 81 | 0.0023851 | 0.00059775 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4063-2_0_5_load_66 | 82 | 0.007013 | 0.0017576 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4063-2_0_5_load_113 | 83 | 0.0012811 | 0.00032107 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4063-2_0_5_load_85 | 84 | 0.0024628 | 0.00061723 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4063-2_0_5_load_114 | 85 | 0.00059281 | 0.00014857 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4063-2_0_5_load_61 | 87 | 0.0048282 | 0.0012101 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4063-2_0_5_load_62 | 88 | 0.0019056 | 0.00047759 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4063-2_0_5_load_63 | 89 | 0.0029081 | 0.00072885 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4063-2_0_5_load_94 | 92 | 0.0029662 | 0.00074339 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4063-2_0_5_load_93 | 93 | 0.0012241 | 0.00030678 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4063-2_0_5_load_99 | 95 | 0.0041611 | 0.0010429 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4063-2_0_5_load_88 | 96 | 0.0024298 | 0.00060896 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4063-2_0_5_load_70 | 97 | 0.0074337 | 0.0018631 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4063-2_0_5_load_89 | 99 | 0.0044963 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4063-2_0_5_load_104 | 100 | 0.0029848 | 0.00074805 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4063-2_0_5_load_102 | 101 | 0.0025357 | 0.0006355 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4063-2_0_5_load_103 | 102 | 0.0021656 | 0.00054274 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4063-2_0_5_load_105 | 103 | 0.0016347 | 0.00040969 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4063-2_0_5_load_107 | 104 | 0.0021806 | 0.00054651 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 94 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4063-2_0_5_line_0 |  | 0 | 1 | 0.07227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4063-2_0_5_line_1 |  | 1 | 2 | 0.018848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4063-2_0_5_line_2 |  | 1 | 3 | 0.026071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4063-2_0_5_line_3 |  | 1 | 4 | 0.035346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4063-2_0_5_line_4 |  | 2 | 5 | 0.01276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4063-2_0_5_line_5 |  | 3 | 6 | 0.004565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4063-2_0_5_line_6 |  | 4 | 7 | 0.0049958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4063-2_0_5_line_7 |  | 5 | 11 | 0.043029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4063-2_0_5_line_8 |  | 7 | 12 | 0.039515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4063-2_0_5_line_9 |  | 8 | 9 | 0.00664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4063-2_0_5_line_10 |  | 8 | 10 | 0.014776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4063-2_0_5_line_11 |  | 9 | 13 | 0.01931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4063-2_0_5_line_12 |  | 11 | 66 | 0.009362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4063-2_0_5_line_13 |  | 12 | 73 | 0.034795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4063-2_0_5_line_14 |  | 13 | 66 | 0.05709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4063-2_0_5_line_15 |  | 14 | 15 | 0.00058684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4063-2_0_5_line_16 |  | 14 | 16 | 0.0088673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4063-2_0_5_line_17 |  | 15 | 17 | 0.0073877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4063-2_0_5_line_18 |  | 16 | 18 | 0.013203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4063-2_0_5_line_19 |  | 16 | 19 | 0.015086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4063-2_0_5_line_20 |  | 17 | 20 | 0.012426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4063-2_0_5_line_21 |  | 18 | 21 | 0.0091215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4063-2_0_5_line_22 |  | 20 | 22 | 0.017781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4063-2_0_5_line_23 |  | 21 | 23 | 0.0058738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4063-2_0_5_line_24 |  | 22 | 28 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4063-2_0_5_line_25 |  | 22 | 74 | 0.014623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4063-2_0_5_line_26 |  | 23 | 75 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4063-2_0_5_line_27 |  | 24 | 25 | 0.014985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4063-2_0_5_line_28 |  | 24 | 26 | 0.0085142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4063-2_0_5_line_29 |  | 25 | 62 | 0.0099453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4063-2_0_5_line_30 |  | 25 | 52 | 0.007838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4063-2_0_5_line_31 |  | 26 | 97 | 0.016441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4063-2_0_5_line_32 |  | 27 | 28 | 0.012333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4063-2_0_5_line_33 |  | 27 | 29 | 0.020425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4063-2_0_5_line_34 |  | 29 | 58 | 0.018871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4063-2_0_5_line_35 |  | 30 | 31 | 0.0010404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4063-2_0_5_line_36 |  | 30 | 32 | 0.0032141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4063-2_0_5_line_37 |  | 31 | 33 | 0.012797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4063-2_0_5_line_38 |  | 32 | 34 | 0.0064858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4063-2_0_5_line_39 |  | 33 | 35 | 0.0027898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4063-2_0_5_line_40 |  | 33 | 36 | 0.0063732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4063-2_0_5_line_41 |  | 34 | 37 | 0.0061304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4063-2_0_5_line_42 |  | 35 | 38 | 0.01856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4063-2_0_5_line_43 |  | 36 | 39 | 0.010269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4063-2_0_5_line_44 |  | 37 | 43 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4063-2_0_5_line_45 |  | 38 | 86 | 0.041501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4063-2_0_5_line_46 |  | 39 | 104 | 0.00046963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4063-2_0_5_line_47 |  | 40 | 41 | 0.016446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4063-2_0_5_line_48 |  | 40 | 42 | 0.010625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4063-2_0_5_line_49 |  | 41 | 83 | 0.0013799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4063-2_0_5_line_50 |  | 42 | 84 | 0.00092881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4063-2_0_5_line_51 |  | 43 | 44 | 0.0077918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4063-2_0_5_line_52 |  | 44 | 45 | 0.0075547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4063-2_0_5_line_53 |  | 45 | 46 | 0.011931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4063-2_0_5_line_54 |  | 46 | 47 | 0.0074635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4063-2_0_5_line_55 |  | 47 | 78 | 0.0026763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4063-2_0_5_line_56 |  | 48 | 49 | 0.0025462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4063-2_0_5_line_57 |  | 49 | 50 | 0.02266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4063-2_0_5_line_58 |  | 49 | 51 | 0.016723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4063-2_0_5_line_59 |  | 50 | 52 | 0.0052908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4063-2_0_5_line_60 |  | 53 | 54 | 0.010036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4063-2_0_5_line_61 |  | 53 | 55 | 0.016282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4063-2_0_5_line_62 |  | 54 | 56 | 0.08015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4063-2_0_5_line_63 |  | 54 | 57 | 0.012009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4063-2_0_5_line_64 |  | 55 | 59 | 0.039786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4063-2_0_5_line_65 |  | 56 | 60 | 0.04424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4063-2_0_5_line_66 |  | 57 | 61 | 0.027439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4063-2_0_5_line_67 |  | 61 | 64 | 0.016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4063-2_0_5_line_68 |  | 63 | 64 | 0.00030626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4063-2_0_5_line_69 |  | 63 | 65 | 0.018708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4063-2_0_5_line_70 |  | 65 | 78 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4063-2_0_5_line_71 |  | 67 | 68 | 0.033356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4063-2_0_5_line_72 |  | 68 | 69 | 0.020299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4063-2_0_5_line_73 |  | 68 | 70 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4063-2_0_5_line_74 |  | 69 | 71 | 0.017444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4063-2_0_5_line_75 |  | 69 | 72 | 0.0048244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_4063-2_0_5_line_76 |  | 70 | 73 | 0.0068083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4063-2_0_5_line_77 |  | 71 | 75 | 0.007484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4063-2_0_5_line_78 |  | 72 | 76 | 0.0069262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_4063-2_0_5_line_79 |  | 73 | 77 | 0.012984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4063-2_0_5_line_80 |  | 76 | 95 | 0.0063001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_4063-2_0_5_line_81 |  | 79 | 80 | 0.009375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4063-2_0_5_line_82 |  | 80 | 81 | 0.010229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4063-2_0_5_line_83 |  | 80 | 82 | 0.021081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4063-2_0_5_line_84 |  | 82 | 94 | 0.011977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4063-2_0_5_line_85 |  | 83 | 91 | 0.012417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4063-2_0_5_line_86 |  | 84 | 98 | 0.011806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4063-2_0_5_line_87 |  | 85 | 86 | 0.036384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4063-2_0_5_line_88 |  | 87 | 88 | 0.005993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_4063-2_0_5_line_89 |  | 87 | 89 | 0.00011823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_4063-2_0_5_line_90 |  | 88 | 90 | 0.0065472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_4063-2_0_5_line_91 |  | 89 | 91 | 0.0025669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_4063-2_0_5_line_92 |  | 90 | 92 | 0.00045972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_4063-2_0_5_line_93 |  | 90 | 93 | 0.0079584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4063-2_0_5_line_94 |  | 91 | 94 | 0.019906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_4063-2_0_5_line_95 |  | 92 | 95 | 0.01071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_4063-2_0_5_line_96 |  | 93 | 96 | 0.0021833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4063-2_0_5_line_97 |  | 94 | 97 | 0.0099032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4063-2_0_5_line_98 |  | 98 | 99 | 0.0041801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4063-2_0_5_line_99 |  | 99 | 100 | 0.011499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4063-2_0_5_line_100 |  | 100 | 101 | 0.0026709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4063-2_0_5_line_101 |  | 101 | 102 | 0.0050493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4063-2_0_5_line_102 |  | 102 | 103 | 0.0013645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4063-2_0_5_line_103 |  | 103 | 104 | 0.0065917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4063-2_0_5_trafo_68 | 0.63 MVA 20/0.4 kV | 105 | 94 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2668119.7573 | 1244693.7264 | 2668138.555 | 1244695.966 | 2668171.1261 | 1244699.0644 | 2668190.9293 | 1244693.3149
1 | 2668112.2478 | 1244676.4726 | 2668117.2854 | 1244686.5708 | 2668119.7573 | 1244693.7264
2 | 2668119.7573 | 1244693.7264 | 2668109.0001 | 1244694.7481 | 2668094.0609 | 1244697.8883
3 | 2668119.7573 | 1244693.7264 | 2668123.2311 | 1244709.7107 | 2668125.6836 | 1244728.5406
4 | 2668112.2478 | 1244676.4726 | 2668104.4457 | 1244666.3757
5 | 2668094.0609 | 1244697.8883 | 2668091.6461 | 1244698.3959 | 2668089.617 | 1244698.9269
6 | 2668125.6836 | 1244728.5406 | 2668126.3288 | 1244733.4946
7 | 2668076.2573 | 1244634.1969 | 2668084.6381 | 1244640.742 | 2668104.4457 | 1244666.3757
8 | 2668126.3288 | 1244733.4946 | 2668128.7308 | 1244751.9366 | 2668132.5733 | 1244772.4975
9 | 2668145.7748 | 1244628.6131 | 2668147.5772 | 1244630.246 | 2668151.6054 | 1244631.5154
10 | 2668154.9098 | 1244645.7966 | 2668152.1005 | 1244637.7476 | 2668151.6054 | 1244631.5154
11 | 2668145.7748 | 1244628.6131 | 2668127.8027 | 1244633.4212 | 2668127.0966 | 1244633.4047
12 | 2668079.0003 | 1244625.6446 | 2668079.1307 | 1244628.7705 | 2668078.1747 | 1244631.7394 | 2668076.2573 | 1244634.1969
13 | 2668139.9679 | 1244806.4703 | 2668136.6467 | 1244794.3126 | 2668135.5862 | 1244788.6187 | 2668132.5733 | 1244772.4975
14 | 2668079.0003 | 1244625.6446 | 2668098.4087 | 1244623.4213 | 2668103.4455 | 1244625.7029 | 2668105.642 | 1244628.5523 | 2668116.2401 | 1244623.6261 | 2668119.6305 | 1244629.7693 | 2668121.215 | 1244633.2677 | 2668127.0966 | 1244633.4047
15 | 2668161.0659 | 1244885.5501 | 2668161.5549 | 1244885.2257
16 | 2668153.6772 | 1244890.4529 | 2668161.0659 | 1244885.5501
17 | 2668167.7106 | 1244881.141 | 2668167.7106 | 1244881.141 | 2668161.5549 | 1244885.2257
18 | 2668153.6772 | 1244890.4529 | 2668146.1322 | 1244879.6032
19 | 2668153.6772 | 1244890.4529 | 2668156.9679 | 1244895.3942 | 2668160.8994 | 1244901.1211 | 2668162.1076 | 1244902.9626
20 | 2668174.8654 | 1244891.2754 | 2668174.6607 | 1244891.15 | 2668167.7106 | 1244881.141
21 | 2668146.1322 | 1244879.6032 | 2668144.9461 | 1244871.6951 | 2668144.381 | 1244870.7224
22 | 2668189.3937 | 1244899.8587 | 2668182.7441 | 1244898.548 | 2668180.2283 | 1244894.5608 | 2668174.8654 | 1244891.2754
23 | 2668141.4303 | 1244865.6435 | 2668144.381 | 1244870.7224
24 | 2668189.3937 | 1244899.8587 | 2668189.894 | 1244906.2912 | 2668190.5435 | 1244914.2041 | 2668188.586 | 1244916.8724 | 2668186.0968 | 1244918.8671
25 | 2668189.3937 | 1244899.8587 | 2668187.8618 | 1244889.167 | 2668189.8579 | 1244885.9071
26 | 2668134.6909 | 1244854.0429 | 2668141.4303 | 1244865.6435
27 | 2668123.5204 | 1244895.0098 | 2668111.5827 | 1244904.1125
28 | 2668123.5204 | 1244895.0098 | 2668118.4606 | 1244888.1622
29 | 2668111.5827 | 1244904.1125 | 2668103.6754 | 1244910.1443
30 | 2668113.4372 | 1244911.728 | 2668111.5827 | 1244904.1125
31 | 2668109.5042 | 1244874.4084 | 2668113.6764 | 1244881.6875 | 2668118.4606 | 1244888.1622
32 | 2668176.639 | 1244926.7754 | 2668180.1052 | 1244923.6686 | 2668186.0968 | 1244918.8671
33 | 2668176.639 | 1244926.7754 | 2668161.8701 | 1244940.8837
34 | 2668161.8701 | 1244940.8837 | 2668148.6225 | 1244953.5389 | 2668148.2231 | 1244953.9178
35 | 2668024.5021 | 1244848.7006 | 2668024.2069 | 1244847.7029
36 | 2668025.414 | 1244851.7826 | 2668024.5021 | 1244848.7006
37 | 2668020.5763 | 1244835.4318 | 2668024.2069 | 1244847.7029
38 | 2668027.2541 | 1244858.0019 | 2668025.414 | 1244851.7826
39 | 2668020.5763 | 1244835.4318 | 2668017.8184 | 1244835.8525
40 | 2668020.5763 | 1244835.4318 | 2668026.8178 | 1244834.1433
41 | 2668027.2541 | 1244858.0019 | 2668029.4936 | 1244863.7086
42 | 2668017.8184 | 1244835.8525 | 2667999.4708 | 1244838.651
43 | 2668036.8743 | 1244832.0672 | 2668026.8178 | 1244834.1433
44 | 2668035.2813 | 1244877.8731 | 2668033.3771 | 1244873.6052 | 2668029.4936 | 1244863.7086
45 | 2667958.6859 | 1244846.2747 | 2667975.3571 | 1244842.8299 | 2667987.6256 | 1244840.4577 | 2667999.4708 | 1244838.651
46 | 2668036.8743 | 1244832.0672 | 2668037.3342 | 1244831.9723
47 | 2668069.6701 | 1244851.9063 | 2668085.8908 | 1244849.1963
48 | 2668069.6701 | 1244851.9063 | 2668069.1285 | 1244841.2949
49 | 2668087.2519 | 1244848.969 | 2668085.8908 | 1244849.1963
50 | 2668069.0812 | 1244840.3673 | 2668069.1285 | 1244841.2949
51 | 2668038.456 | 1244884.9888 | 2668035.2813 | 1244877.8731
52 | 2668038.456 | 1244884.9888 | 2668041.5341 | 1244891.888
53 | 2668050.4651 | 1244897.7068 | 2668043.4993 | 1244896.2926 | 2668041.5341 | 1244891.888
54 | 2668050.4651 | 1244897.7068 | 2668051.359 | 1244903.4322 | 2668052.2731 | 1244904.8283
55 | 2668052.2731 | 1244904.8283 | 2668053.7391 | 1244907.0675
56 | 2668121.583 | 1244933.4255 | 2668122.5458 | 1244935.7826
57 | 2668121.583 | 1244933.4255 | 2668116.0263 | 1244931.0378 | 2668117.2971 | 1244914.4742
58 | 2668137.3138 | 1244927.6243 | 2668121.583 | 1244933.4255
59 | 2668113.4372 | 1244911.728 | 2668115.5443 | 1244911.8189 | 2668117.2971 | 1244914.4742
60 | 2668115.808 | 1244978.3238 | 2668108.6141 | 1244978.3635 | 2668105.7727 | 1244978.3865
61 | 2668115.808 | 1244978.3238 | 2668119.187 | 1244984.7893 | 2668124.6048 | 1244991.9593
62 | 2668088.916 | 1245030.2625 | 2668077.772 | 1245019.6161 | 2668067.518 | 1245012.3935 | 2668091.9651 | 1244994.3836 | 2668103.4299 | 1244984.9975 | 2668105.7727 | 1244978.3865
63 | 2668105.7727 | 1244978.3865 | 2668104.722 | 1244974.4717 | 2668098.5991 | 1244969.392
64 | 2668155.1462 | 1245016.9262 | 2668138.4869 | 1245006.3704 | 2668129.2757 | 1244997.8365 | 2668124.9926 | 1244992.4725 | 2668124.6048 | 1244991.9593
65 | 2668088.916 | 1245030.2625 | 2668095.5429 | 1245023.6673 | 2668099.9695 | 1245027.076 | 2668113.5598 | 1245035.2488 | 2668125.3261 | 1245041.7537
66 | 2668081.4236 | 1244948.1596 | 2668085.8549 | 1244954.6525 | 2668094.6922 | 1244966.1508 | 2668098.5991 | 1244969.392
67 | 2668081.4236 | 1244948.1596 | 2668072.1608 | 1244934.5877
68 | 2668072.1608 | 1244934.5877 | 2668071.9882 | 1244934.3348
69 | 2668071.9882 | 1244934.3348 | 2668061.5438 | 1244918.8137
70 | 2668061.5438 | 1244918.8137 | 2668057.3148 | 1244912.529 | 2668053.7391 | 1244907.0675
71 | 2668145.4686 | 1244823.601 | 2668162.3048 | 1244841.9627 | 2668168.1671 | 1244848.0402
72 | 2668145.4686 | 1244823.601 | 2668127.3551 | 1244832.8661
73 | 2668145.4686 | 1244823.601 | 2668142.0493 | 1244812.9526
74 | 2668127.3551 | 1244832.8661 | 2668128.1978 | 1244850.2879
75 | 2668127.3551 | 1244832.8661 | 2668122.5744 | 1244833.5142
76 | 2668139.9679 | 1244806.4703 | 2668142.0493 | 1244812.9526
77 | 2668134.6909 | 1244854.0429 | 2668128.1978 | 1244850.2879
78 | 2668122.5744 | 1244833.5142 | 2668119.4918 | 1244833.9321 | 2668115.7007 | 1244833.5023
79 | 2668139.9679 | 1244806.4703 | 2668151.4617 | 1244805.1124 | 2668152.8634 | 1244804.9574
80 | 2668109.4407 | 1244832.7925 | 2668115.7007 | 1244833.5023
81 | 2668075.3258 | 1244881.2138 | 2668066.7769 | 1244885.0616
82 | 2668073.7946 | 1244871.1003 | 2668075.3258 | 1244881.2138
83 | 2668075.3258 | 1244881.2138 | 2668093.9805 | 1244871.3952
84 | 2668104.5795 | 1244865.8165 | 2668093.9805 | 1244871.3952
85 | 2668099.4995 | 1244846.9228 | 2668087.2519 | 1244848.969
86 | 2668068.4795 | 1244828.5764 | 2668069.0812 | 1244840.3673
87 | 2667958.6859 | 1244846.2747 | 2667961.6216 | 1244863.0867 | 2667966.5273 | 1244881.771
88 | 2668099.2917 | 1244844.2457 | 2668098.8279 | 1244838.2707
89 | 2668099.2917 | 1244844.2457 | 2668099.3008 | 1244844.3636
90 | 2668098.3212 | 1244831.7432 | 2668098.8279 | 1244838.2707
91 | 2668099.4995 | 1244846.9228 | 2668099.3008 | 1244844.3636
92 | 2668098.3212 | 1244831.7432 | 2668098.7791 | 1244831.7844
93 | 2668098.3212 | 1244831.7432 | 2668090.4307 | 1244830.7057
94 | 2668104.5795 | 1244865.8165 | 2668100.0953 | 1244856.2361 | 2668099.4995 | 1244846.9228
95 | 2668098.7791 | 1244831.7844 | 2668107.3795 | 1244832.5588 | 2668109.4407 | 1244832.7925
96 | 2668090.4307 | 1244830.7057 | 2668088.266 | 1244830.4211
97 | 2668104.5795 | 1244865.8165 | 2668109.5042 | 1244874.4084
98 | 2668068.4795 | 1244828.5764 | 2668064.3168 | 1244828.9578
99 | 2668052.8657 | 1244830.0069 | 2668064.3168 | 1244828.9578
100 | 2668050.206 | 1244830.2506 | 2668052.8657 | 1244830.0069
101 | 2668050.206 | 1244830.2506 | 2668045.1778 | 1244830.7113
102 | 2668045.1778 | 1244830.7113 | 2668043.8189 | 1244830.8358
103 | 2668037.3342 | 1244831.9723 | 2668042.0571 | 1244830.9972 | 2668043.8189 | 1244830.8358

## bus_geodata
| x | y | coords
0 | 2668190.9293 | 1244693.3149
1 | 2668119.7573 | 1244693.7264
2 | 2668112.2478 | 1244676.4726
3 | 2668094.0609 | 1244697.8883
4 | 2668125.6836 | 1244728.5406
5 | 2668104.4457 | 1244666.3757
6 | 2668089.617 | 1244698.9269
7 | 2668126.3288 | 1244733.4946
8 | 2668151.6054 | 1244631.5154
9 | 2668145.7748 | 1244628.6131
10 | 2668154.9098 | 1244645.7966
11 | 2668076.2573 | 1244634.1969
12 | 2668132.5733 | 1244772.4975
13 | 2668127.0966 | 1244633.4047
14 | 2668161.0659 | 1244885.5501
15 | 2668161.5549 | 1244885.2257
16 | 2668153.6772 | 1244890.4529
17 | 2668167.7106 | 1244881.141
18 | 2668146.1322 | 1244879.6032
19 | 2668162.1076 | 1244902.9626
20 | 2668174.8654 | 1244891.2754
21 | 2668144.381 | 1244870.7224
22 | 2668189.3937 | 1244899.8587
23 | 2668141.4303 | 1244865.6435
24 | 2668123.5204 | 1244895.0098
25 | 2668111.5827 | 1244904.1125
26 | 2668118.4606 | 1244888.1622
27 | 2668176.639 | 1244926.7754
28 | 2668186.0968 | 1244918.8671
29 | 2668161.8701 | 1244940.8837
30 | 2668024.5021 | 1244848.7006
31 | 2668024.2069 | 1244847.7029
32 | 2668025.414 | 1244851.7826
33 | 2668020.5763 | 1244835.4318
34 | 2668027.2541 | 1244858.0019
35 | 2668017.8184 | 1244835.8525
36 | 2668026.8178 | 1244834.1433
37 | 2668029.4936 | 1244863.7086
38 | 2667999.4708 | 1244838.651
39 | 2668036.8743 | 1244832.0672
40 | 2668069.6701 | 1244851.9063
41 | 2668085.8908 | 1244849.1963
42 | 2668069.1285 | 1244841.2949
43 | 2668035.2813 | 1244877.8731
44 | 2668038.456 | 1244884.9888
45 | 2668041.5341 | 1244891.888
46 | 2668050.4651 | 1244897.7068
47 | 2668052.2731 | 1244904.8283
48 | 2668122.5458 | 1244935.7826
49 | 2668121.583 | 1244933.4255
50 | 2668117.2971 | 1244914.4742
51 | 2668137.3138 | 1244927.6243
52 | 2668113.4372 | 1244911.728
53 | 2668115.808 | 1244978.3238
54 | 2668105.7727 | 1244978.3865
55 | 2668124.6048 | 1244991.9593
56 | 2668088.916 | 1245030.2625
57 | 2668098.5991 | 1244969.392
58 | 2668148.2231 | 1244953.9178
59 | 2668155.1462 | 1245016.9262
60 | 2668125.3261 | 1245041.7537
61 | 2668081.4236 | 1244948.1596
62 | 2668103.6754 | 1244910.1443
63 | 2668071.9882 | 1244934.3348
64 | 2668072.1608 | 1244934.5877
65 | 2668061.5438 | 1244918.8137
66 | 2668079.0003 | 1244625.6446
67 | 2668168.1671 | 1244848.0402
68 | 2668145.4686 | 1244823.601
69 | 2668127.3551 | 1244832.8661
70 | 2668142.0493 | 1244812.9526
71 | 2668128.1978 | 1244850.2879
72 | 2668122.5744 | 1244833.5142
73 | 2668139.9679 | 1244806.4703
74 | 2668189.8579 | 1244885.9071
75 | 2668134.6909 | 1244854.0429
76 | 2668115.7007 | 1244833.5023
77 | 2668152.8634 | 1244804.9574
78 | 2668053.7391 | 1244907.0675
79 | 2668066.7769 | 1244885.0616
80 | 2668075.3258 | 1244881.2138
81 | 2668073.7946 | 1244871.1003
82 | 2668093.9805 | 1244871.3952
83 | 2668087.2519 | 1244848.969
84 | 2668069.0812 | 1244840.3673
85 | 2667966.5273 | 1244881.771
86 | 2667958.6859 | 1244846.2747
87 | 2668099.2917 | 1244844.2457
88 | 2668098.8279 | 1244838.2707
89 | 2668099.3008 | 1244844.3636
90 | 2668098.3212 | 1244831.7432
91 | 2668099.4995 | 1244846.9228
92 | 2668098.7791 | 1244831.7844
93 | 2668090.4307 | 1244830.7057
94 | 2668104.5795 | 1244865.8165
95 | 2668109.4407 | 1244832.7925
96 | 2668088.266 | 1244830.4211
97 | 2668109.5042 | 1244874.4084
98 | 2668068.4795 | 1244828.5764
99 | 2668064.3168 | 1244828.9578
100 | 2668052.8657 | 1244830.0069
101 | 2668050.206 | 1244830.2506
102 | 2668045.1778 | 1244830.7113
103 | 2668043.8189 | 1244830.8358
104 | 2668037.3342 | 1244831.9723
105 | 2668099.4995 | 1244846.9228

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1