## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4063-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4063-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4063-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4063-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4063-4_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_4063-4_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4063-4_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4063-4_0_3_node_72 | 0.4 | n |  | TRUE
8 | bus_LV_4063-4_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4063-4_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4063-4_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4063-4_0_3_node_60 | 0.4 | n |  | TRUE
12 | bus_LV_4063-4_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4063-4_0_3_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_4063-4_0_3_node_25 | 0.4 | n |  | TRUE
15 | bus_LV_4063-4_0_3_node_77 | 0.4 | n |  | TRUE
16 | bus_LV_4063-4_0_3_node_70 | 0.4 | n |  | TRUE
17 | bus_LV_4063-4_0_3_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_4063-4_0_3_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_4063-4_0_3_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_4063-4_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4063-4_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_4063-4_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4063-4_0_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_4063-4_0_3_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_4063-4_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4063-4_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4063-4_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_4063-4_0_3_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_4063-4_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_4063-4_0_3_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_4063-4_0_3_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_4063-4_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4063-4_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_4063-4_0_3_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_4063-4_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4063-4_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4063-4_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4063-4_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_4063-4_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_4063-4_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_4063-4_0_3_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_4063-4_0_3_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_4063-4_0_3_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_4063-4_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_4063-4_0_3_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_4063-4_0_3_node_75 | 0.4 | n |  | TRUE
47 | bus_LV_4063-4_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4063-4_0_3_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_4063-4_0_3_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_4063-4_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4063-4_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_4063-4_0_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_4063-4_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_4063-4_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_4063-4_0_3_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_4063-4_0_3_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_4063-4_0_3_node_79 | 0.4 | n |  | TRUE
58 | bus_LV_4063-4_0_3_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_4063-4_0_3_node_43 | 0.4 | n |  | TRUE
60 | bus_LV_4063-4_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_4063-4_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_4063-4_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_4063-4_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_4063-4_0_3_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_4063-4_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_4063-4_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_4063-4_0_3_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_4063-4_0_3_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_4063-4_0_3_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_4063-4_0_3_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_4063-4_0_3_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_4063-4_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_4063-4_0_3_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_4063-4_0_3_node_71 | 0.4 | n |  | TRUE
75 | bus_MV_426_1_node_171 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4063-4_0_3_load_0 | 0 | 0.010525 | 0.0026379 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4063-4_0_3_load_3 | 3 | 0.016638 | 0.0041699 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4063-4_0_3_load_72 | 7 | 0.00057904 | 0.00014512 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4063-4_0_3_load_60 | 11 | 0.0059335 | 0.0014871 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4063-4_0_3_load_76 | 13 | 0.0088642 | 0.0022216 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4063-4_0_3_load_25 | 14 | 0.00011311 | 2.8347e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4063-4_0_3_load_77 | 15 | 0.0081546 | 0.0020437 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4063-4_0_3_load_70 | 16 | 0.0047985 | 0.0012026 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4063-4_0_3_load_55 | 17 | 5.0692e-05 | 1.2704e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4063-4_0_3_load_74 | 18 | 0.0007115 | 0.00017832 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4063-4_0_3_load_73 | 19 | 0.00042267 | 0.00010593 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4063-4_0_3_load_40 | 23 | 0.00027845 | 6.9786e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4063-4_0_3_load_31 | 24 | 0.0010756 | 0.00026958 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4063-4_0_3_load_17 | 27 | 0.0030737 | 0.00077033 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4063-4_0_3_load_59 | 28 | 0.0048849 | 0.0012243 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4063-4_0_3_load_26 | 29 | 0.002228 | 0.00055838 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4063-4_0_3_load_56 | 31 | 0.00010231 | 2.5643e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4063-4_0_3_load_78 | 34 | 0.0022853 | 0.00057274 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4063-4_0_3_load_22 | 40 | 0.0014915 | 0.00037382 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4063-4_0_3_load_18 | 41 | 0.0045921 | 0.0011509 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4063-4_0_3_load_21 | 42 | 0.0093399 | 0.0023408 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4063-4_0_3_load_19 | 43 | 0.0017504 | 0.00043869 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4063-4_0_3_load_65 | 45 | 0.0012583 | 0.00031536 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4063-4_0_3_load_75 | 46 | 0.00013028 | 3.265e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4063-4_0_3_load_38 | 47 | 0.012006 | 0.003009 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4063-4_0_3_load_39 | 50 | 0.0016445 | 0.00041214 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4063-4_0_3_load_42 | 51 | 0.00056282 | 0.00014106 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4063-4_0_3_load_34 | 52 | 0.034697 | 0.0086959 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4063-4_0_3_load_35 | 53 | 0.002624 | 0.00065763 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4063-4_0_3_load_62 | 56 | 0.0011835 | 0.00029662 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4063-4_0_3_load_79 | 57 | 0.012107 | 0.0030343 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4063-4_0_3_load_66 | 58 | 0.016639 | 0.0041701 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4063-4_0_3_load_43 | 59 | 0.00052488 | 0.00013155 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4063-4_0_3_load_44 | 60 | 0.00023577 | 5.9091e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4063-4_0_3_load_45 | 61 | 0.00020312 | 5.0907e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4063-4_0_3_load_46 | 62 | 0.00024315 | 6.0938e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4063-4_0_3_load_47 | 63 | 0.00023904 | 5.9908e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4063-4_0_3_load_53 | 64 | 0.00013888 | 3.4807e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4063-4_0_3_load_51 | 65 | 0.00024304 | 6.0912e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4063-4_0_3_load_49 | 66 | 0.00071264 | 0.00017861 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4063-4_0_3_load_48 | 67 | 0.00055801 | 0.00013985 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4063-4_0_3_load_50 | 68 | 0.00040894 | 0.00010249 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4063-4_0_3_load_52 | 69 | 0.00018792 | 4.7098e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4063-4_0_3_load_58 | 70 | 8.2121e-05 | 2.0582e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4063-4_0_3_load_57 | 71 | 5.0329e-05 | 1.2614e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4063-4_0_3_load_67 | 72 | 0.0053307 | 0.001336 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4063-4_0_3_load_69 | 73 | 0.087493 | 0.021928 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4063-4_0_3_load_71 | 74 | 0.041523 | 0.010407 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4063-4_0_3_line_0 |  | 0 | 1 | 0.036055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4063-4_0_3_line_1 |  | 1 | 2 | 0.092872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4063-4_0_3_line_2 |  | 1 | 3 | 0.045444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4063-4_0_3_line_3 |  | 2 | 4 | 0.3406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_4063-4_0_3_line_4 |  | 4 | 14 | 0.023035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4063-4_0_3_line_5 |  | 4 | 5 | 0.07785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4063-4_0_3_line_6 |  | 5 | 6 | 0.29487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4063-4_0_3_line_7 |  | 5 | 7 | 0.048806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4063-4_0_3_line_8 |  | 6 | 17 | 0.030816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4063-4_0_3_line_9 |  | 8 | 9 | 0.024253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4063-4_0_3_line_10 |  | 8 | 10 | 0.22192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4063-4_0_3_line_11 |  | 8 | 11 | 0.030722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4063-4_0_3_line_12 |  | 9 | 15 | 0.04798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4063-4_0_3_line_13 |  | 9 | 16 | 0.021615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4063-4_0_3_line_14 |  | 9 | 12 | 0.16304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4063-4_0_3_line_15 |  | 10 | 18 | 0.10092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4063-4_0_3_line_16 |  | 10 | 19 | 0.084622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4063-4_0_3_line_17 |  | 11 | 28 | 0.035172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4063-4_0_3_line_18 |  | 12 | 13 | 0.019505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4063-4_0_3_line_19 |  | 13 | 25 | 0.071237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4063-4_0_3_line_20 |  | 14 | 29 | 0.062225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4063-4_0_3_line_21 |  | 16 | 30 | 0.026644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4063-4_0_3_line_22 |  | 17 | 31 | 0.016854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4063-4_0_3_line_23 |  | 18 | 32 | 0.044089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4063-4_0_3_line_24 |  | 19 | 21 | 0.12835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4063-4_0_3_line_25 |  | 20 | 21 | 0.19115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4063-4_0_3_line_26 |  | 20 | 22 | 0.085366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4063-4_0_3_line_27 |  | 20 | 23 | 0.05321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4063-4_0_3_line_28 |  | 22 | 24 | 0.042113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_4063-4_0_3_line_29 |  | 24 | 36 | 0.074624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4063-4_0_3_line_30 |  | 25 | 26 | 0.23294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4063-4_0_3_line_31 |  | 26 | 27 | 0.026551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4063-4_0_3_line_32 |  | 27 | 41 | 0.010093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4063-4_0_3_line_33 |  | 29 | 49 | 0.0097864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4063-4_0_3_line_34 |  | 30 | 74 | 0.077132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4063-4_0_3_line_35 |  | 30 | 72 | 0.030838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4063-4_0_3_line_36 |  | 31 | 71 | 0.014654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4063-4_0_3_line_37 |  | 32 | 46 | 0.015394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4063-4_0_3_line_38 |  | 32 | 38 | 0.12432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_4063-4_0_3_line_39 |  | 33 | 34 | 0.037258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4063-4_0_3_line_40 |  | 33 | 35 | 0.093732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4063-4_0_3_line_41 |  | 35 | 37 | 0.040273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4063-4_0_3_line_42 |  | 35 | 50 | 0.051224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4063-4_0_3_line_43 |  | 35 | 49 | 0.034772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_4063-4_0_3_line_44 |  | 36 | 37 | 0.043135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4063-4_0_3_line_45 |  | 37 | 51 | 0.077066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4063-4_0_3_line_46 |  | 38 | 39 | 0.073276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4063-4_0_3_line_47 |  | 38 | 40 | 0.037306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4063-4_0_3_line_48 |  | 39 | 44 | 0.017588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4063-4_0_3_line_49 |  | 39 | 45 | 0.044075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4063-4_0_3_line_50 |  | 41 | 43 | 0.040369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4063-4_0_3_line_51 |  | 42 | 43 | 0.0031867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4063-4_0_3_line_52 |  | 44 | 47 | 0.070289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4063-4_0_3_line_53 |  | 45 | 48 | 0.045265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4063-4_0_3_line_54 |  | 47 | 56 | 0.053632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4063-4_0_3_line_55 |  | 48 | 58 | 0.090896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4063-4_0_3_line_56 |  | 48 | 54 | 0.028669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4063-4_0_3_line_57 |  | 52 | 53 | 0.034701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4063-4_0_3_line_58 |  | 53 | 54 | 0.023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4063-4_0_3_line_59 |  | 54 | 55 | 0.005798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4063-4_0_3_line_60 |  | 55 | 57 | 0.065542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4063-4_0_3_line_61 |  | 59 | 60 | 0.017788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4063-4_0_3_line_62 |  | 59 | 61 | 0.0017993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4063-4_0_3_line_63 |  | 60 | 62 | 0.0011122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4063-4_0_3_line_64 |  | 61 | 63 | 0.013517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4063-4_0_3_line_65 |  | 62 | 64 | 0.00096838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4063-4_0_3_line_66 |  | 63 | 65 | 0.00087234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4063-4_0_3_line_67 |  | 65 | 66 | 0.033609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4063-4_0_3_line_68 |  | 66 | 67 | 0.0051067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4063-4_0_3_line_69 |  | 67 | 68 | 0.00024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4063-4_0_3_line_70 |  | 68 | 69 | 0.0093204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4063-4_0_3_line_71 |  | 69 | 70 | 0.015567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4063-4_0_3_line_72 |  | 70 | 71 | 0.0012694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4063-4_0_3_line_73 |  | 72 | 73 | 0.0072495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4063-4_0_3_trafo_69 | 0.63 MVA 20/0.4 kV | 75 | 73 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2667030.6277 | 1245490.5451 | 2666995.168 | 1245484.0205
1 | 2667030.6277 | 1245490.5451 | 2667053.7992 | 1245484.6472 | 2667078.7284 | 1245481.6714 | 2667103.1874 | 1245481.5256 | 2667122.851 | 1245481.8371
2 | 2667030.6277 | 1245490.5451 | 2667017.2705 | 1245476.4177 | 2667022.3823 | 1245457.9959 | 2667028.7068 | 1245455.2766
3 | 2667122.851 | 1245481.8371 | 2667171.6433 | 1245482.6343 | 2667181.742 | 1245483.5715 | 2667187.4723 | 1245485.9603 | 2667191.6759 | 1245487.7202 | 2667228.2978 | 1245506.3702 | 2667246.9609 | 1245513.609 | 2667265.0221 | 1245519.9626 | 2667307.8606 | 1245531.3897 | 2667351.1994 | 1245539.3314 | 2667368.0758 | 1245540.8908 | 2667434.0564 | 1245547.0001 | 2667448.2458 | 1245548.3067 | 2667448.6626 | 1245543.5526
4 | 2667448.6626 | 1245543.5526 | 2667449.5337 | 1245529.4082 | 2667450.0771 | 1245520.5611
5 | 2667525.432 | 1245542.3916 | 2667514.7511 | 1245541.5028 | 2667504.9825 | 1245545.4277 | 2667498.4754 | 1245547.5774 | 2667448.6626 | 1245543.5526
6 | 2667468.1059 | 1245830.7852 | 2667484.5374 | 1245776.4342 | 2667499.6516 | 1245713.0507 | 2667511.6154 | 1245658.9713 | 2667516.2831 | 1245628.581 | 2667522.9347 | 1245587.1945 | 2667524.9354 | 1245554.1497 | 2667525.432 | 1245542.3916
7 | 2667525.432 | 1245542.3916 | 2667530.789 | 1245503.9035 | 2667529.8894 | 1245493.9975
8 | 2667468.1059 | 1245830.7852 | 2667455.4682 | 1245826.6164 | 2667438.9734 | 1245820.7465
9 | 2667024.4276 | 1245328.5178 | 2667023.4604 | 1245319.167 | 2667022.3816 | 1245310.9936 | 2667022.0104 | 1245304.3959
10 | 2667024.4276 | 1245328.5178 | 2667023.4604 | 1245319.167 | 2667029.8352 | 1245318.6942 | 2667037.004 | 1245318.842 | 2667042.4856 | 1245319.1819 | 2667048.2111 | 1245320.0027 | 2667055.967 | 1245321.6804 | 2667061.8084 | 1245323.6145 | 2667076.7772 | 1245329.5545 | 2667084.6371 | 1245332.7233 | 2667088.1119 | 1245333.4631 | 2667090.5358 | 1245333.6017 | 2667092.1019 | 1245333.4193 | 2667093.6555 | 1245333.0033 | 2667096.6994 | 1245331.759 | 2667099.3927 | 1245330.1217 | 2667101.1706 | 1245328.5852 | 2667105.0827 | 1245324.0707 | 2667108.6539 | 1245319.6302 | 2667114.1482 | 1245312.8432 | 2667121.3572 | 1245304.0964 | 2667124.7162 | 1245300.3874 | 2667128.3115 | 1245297.1591 | 2667132.9426 | 1245293.8759 | 2667137.7734 | 1245290.973 | 2667143.3942 | 1245288.3681 | 2667149.7151 | 1245285.9935 | 2667157.7213 | 1245283.5825 | 2667212.471 | 1245268.225
11 | 2667024.4276 | 1245328.5178 | 2667034.2798 | 1245330.5638 | 2667048.061 | 1245331.2756 | 2667054.5257 | 1245333.5698
12 | 2667060.3125 | 1245284.1923 | 2667046.7801 | 1245302.2298 | 2667030.7321 | 1245300.8475 | 2667022.0104 | 1245304.3959
13 | 2667022.0104 | 1245304.3959 | 2667021.5327 | 1245295.8512 | 2667020.8414 | 1245282.8121
14 | 2666911.0411 | 1245306.1892 | 2666903.8682 | 1245322.4752 | 2666900.1725 | 1245329.9276 | 2666921.352 | 1245337.8942 | 2666927.8073 | 1245340.3354 | 2666933.8861 | 1245341.3158 | 2666940.4265 | 1245340.2332 | 2666946.1799 | 1245337.9187 | 2666951.1128 | 1245335.9953 | 2666955.8684 | 1245337.0719 | 2666962.0613 | 1245333.973 | 2667016.5919 | 1245311.8399 | 2667022.3816 | 1245310.9936 | 2667022.0104 | 1245304.3959
15 | 2667212.471 | 1245268.225 | 2667212.7921 | 1245257.2321 | 2667235.3427 | 1245198.9025 | 2667246.9097 | 1245174.0796
16 | 2667212.471 | 1245268.225 | 2667250.4189 | 1245258.0145 | 2667293.912 | 1245245.2595
17 | 2667065.1475 | 1245357.9196 | 2667069.8898 | 1245351.2918 | 2667071.5086 | 1245345.784 | 2667066.008 | 1245339.7732 | 2667058.8376 | 1245335.1 | 2667054.5257 | 1245333.5698
18 | 2666911.0411 | 1245306.1892 | 2666919.5154 | 1245288.6209
19 | 2666950.1148 | 1245224.2952 | 2666944.3483 | 1245237.1391 | 2666919.5154 | 1245288.6209
20 | 2667450.0771 | 1245520.5611 | 2667453.892 | 1245458.4527
21 | 2667032.9907 | 1245259.4553 | 2667023.3154 | 1245273.8338 | 2667020.8414 | 1245282.8121
22 | 2667438.9734 | 1245820.7465 | 2667423.0951 | 1245815.096
23 | 2667267.2735 | 1245135.0088 | 2667254.4482 | 1245157.9016 | 2667246.9097 | 1245174.0796
24 | 2667415.1009 | 1245204.6461 | 2667398.7586 | 1245214.5118 | 2667293.912 | 1245245.2595
25 | 2667287.748 | 1245299.0107 | 2667303.1829 | 1245279.1831 | 2667317.6273 | 1245270.7299 | 2667364.6631 | 1245257.3655 | 2667414.7835 | 1245243.8587 | 2667424.254 | 1245236.9504 | 2667428.0782 | 1245228.2322 | 2667426.4424 | 1245219.2518 | 2667415.1009 | 1245204.6461
26 | 2667287.748 | 1245299.0107 | 2667281.9233 | 1245335.559 | 2667280.1472 | 1245354.919 | 2667284.322 | 1245357.8907 | 2667296.7814 | 1245367.8723 | 2667300.215 | 1245374.905
27 | 2667287.748 | 1245299.0107 | 2667304.7741 | 1245298.0921 | 2667338.6883 | 1245285.5495
28 | 2667300.215 | 1245374.905 | 2667293.7172 | 1245374.2308 | 2667290.6204 | 1245378.1318 | 2667288.1719 | 1245408.6331
29 | 2667326.1362 | 1245447.6497 | 2667289.6071 | 1245444.7889 | 2667285.5783 | 1245440.9406 | 2667288.1719 | 1245408.6331
30 | 2666950.1148 | 1245224.2952 | 2666978.7774 | 1245164.4882 | 2666997.6075 | 1245141.0177 | 2666990.1715 | 1245122.3764 | 2666990.9471 | 1245107.2301 | 2667013.1336 | 1245066.9304 | 2667039.78 | 1245018.4866
31 | 2667039.78 | 1245018.4866 | 2667063.1969 | 1245031.0009
32 | 2667063.1969 | 1245031.0009 | 2667072.0983 | 1245035.758
33 | 2667444.1481 | 1245457.5413 | 2667453.892 | 1245458.4527 | 2667453.892 | 1245458.4527
34 | 2667038.387 | 1245203.1882 | 2667061.2428 | 1245218.635 | 2667032.9907 | 1245259.4553
35 | 2667032.9907 | 1245259.4553 | 2667062.9404 | 1245252.1058
36 | 2667409.1533 | 1245810.5849 | 2667421.6749 | 1245814.5906 | 2667423.0951 | 1245815.096
37 | 2667267.2735 | 1245135.0088 | 2667281.1317 | 1245128.3057
38 | 2667157.0921 | 1245078.2769 | 2667179.7814 | 1245094.4228 | 2667209.6027 | 1245109.3041 | 2667267.2735 | 1245135.0088
39 | 2667398.1357 | 1245344.4285 | 2667396.093 | 1245367.2657 | 2667387.3588 | 1245373.8933 | 2667387.192 | 1245377.2716
40 | 2667387.192 | 1245377.2716 | 2667386.6921 | 1245387.3507 | 2667416.0645 | 1245414.292 | 2667412.4516 | 1245454.946 | 2667409.4926 | 1245454.7011
41 | 2667369.2448 | 1245451.2971 | 2667409.4926 | 1245454.7011
42 | 2667409.4926 | 1245454.7011 | 2667405.9545 | 1245497.424 | 2667413.1489 | 1245501.6714
43 | 2667409.4926 | 1245454.7011 | 2667412.4516 | 1245454.946 | 2667444.1481 | 1245457.5413
44 | 2667326.1362 | 1245447.6497 | 2667369.2448 | 1245451.2971
45 | 2667369.2448 | 1245451.2971 | 2667367.0695 | 1245477.1683 | 2667363.4232 | 1245484.8878 | 2667355.2408 | 1245489.5204 | 2667322.1978 | 1245486.6969
46 | 2667142.302 | 1245110.5653 | 2667157.2713 | 1245113.1588 | 2667167.0434 | 1245109.6336 | 2667174.4302 | 1245101.2336 | 2667179.7814 | 1245094.4228 | 2667157.0921 | 1245078.2769
47 | 2667157.0921 | 1245078.2769 | 2667170.3123 | 1245067.1966 | 2667182.4575 | 1245054.3029 | 2667183.7276 | 1245052.334
48 | 2667134.5595 | 1245126.3665 | 2667142.302 | 1245110.5653
49 | 2667142.302 | 1245110.5653 | 2667128.9432 | 1245109.2021 | 2667099.2845 | 1245115.3265 | 2667098.9242 | 1245115.3673
50 | 2667107.702 | 1245054.7851 | 2667072.0983 | 1245035.758
51 | 2667107.702 | 1245054.7851 | 2667110.5126 | 1245056.2871
52 | 2667134.5595 | 1245126.3665 | 2667154.8466 | 1245193.664
53 | 2667054.3389 | 1245122.8904 | 2667079.8028 | 1245117.53 | 2667098.9242 | 1245115.3673
54 | 2667154.8466 | 1245193.664 | 2667164.5265 | 1245225.7748 | 2667184.5645 | 1245224.2743
55 | 2667054.3389 | 1245122.8904 | 2667036.8934 | 1245128.1191 | 2667025.2336 | 1245133.5467 | 2667012.8447 | 1245139.9668 | 2667007.0082 | 1245145.6049 | 2666988.1988 | 1245178.3398
56 | 2667054.3389 | 1245122.8904 | 2667041.9492 | 1245148.7573
57 | 2667089.6518 | 1245178.6617 | 2667078.2997 | 1245178.9335 | 2667060.3372 | 1245164.022
58 | 2667041.9492 | 1245148.7573 | 2667060.3372 | 1245164.022
59 | 2667041.9492 | 1245148.7573 | 2667038.8262 | 1245153.6476
60 | 2667003.2453 | 1245207.7945 | 2667034.3143 | 1245155.7425 | 2667038.8262 | 1245153.6476
61 | 2667382.3891 | 1245886.0399 | 2667376.7092 | 1245902.8963
62 | 2667382.3891 | 1245886.0399 | 2667382.9636 | 1245884.3349
63 | 2667376.3541 | 1245903.9503 | 2667376.7092 | 1245902.8963
64 | 2667382.9636 | 1245884.3349 | 2667387.2797 | 1245871.5256
65 | 2667376.0448 | 1245904.868 | 2667376.3541 | 1245903.9503
66 | 2667387.2797 | 1245871.5256 | 2667387.5583 | 1245870.6989
67 | 2667387.5583 | 1245870.6989 | 2667398.29 | 1245838.8497
68 | 2667399.9207 | 1245834.0104 | 2667398.29 | 1245838.8497
69 | 2667399.9207 | 1245834.0104 | 2667399.9975 | 1245833.7822
70 | 2667402.9737 | 1245824.9498 | 2667399.9975 | 1245833.7822
71 | 2667402.9737 | 1245824.9498 | 2667407.9443 | 1245810.1982 | 2667407.9443 | 1245810.1982
72 | 2667409.1533 | 1245810.5849 | 2667407.9443 | 1245810.1982
73 | 2667069.981 | 1245250.3781 | 2667062.9404 | 1245252.1058

## bus_geodata
| x | y | coords
0 | 2666995.168 | 1245484.0205
1 | 2667030.6277 | 1245490.5451
2 | 2667122.851 | 1245481.8371
3 | 2667028.7068 | 1245455.2766
4 | 2667448.6626 | 1245543.5526
5 | 2667525.432 | 1245542.3916
6 | 2667468.1059 | 1245830.7852
7 | 2667529.8894 | 1245493.9975
8 | 2667024.4276 | 1245328.5178
9 | 2667022.0104 | 1245304.3959
10 | 2667212.471 | 1245268.225
11 | 2667054.5257 | 1245333.5698
12 | 2666911.0411 | 1245306.1892
13 | 2666919.5154 | 1245288.6209
14 | 2667450.0771 | 1245520.5611
15 | 2667060.3125 | 1245284.1923
16 | 2667020.8414 | 1245282.8121
17 | 2667438.9734 | 1245820.7465
18 | 2667246.9097 | 1245174.0796
19 | 2667293.912 | 1245245.2595
20 | 2667287.748 | 1245299.0107
21 | 2667415.1009 | 1245204.6461
22 | 2667300.215 | 1245374.905
23 | 2667338.6883 | 1245285.5495
24 | 2667288.1719 | 1245408.6331
25 | 2666950.1148 | 1245224.2952
26 | 2667039.78 | 1245018.4866
27 | 2667063.1969 | 1245031.0009
28 | 2667065.1475 | 1245357.9196
29 | 2667453.892 | 1245458.4527
30 | 2667032.9907 | 1245259.4553
31 | 2667423.0951 | 1245815.096
32 | 2667267.2735 | 1245135.0088
33 | 2667387.192 | 1245377.2716
34 | 2667398.1357 | 1245344.4285
35 | 2667409.4926 | 1245454.7011
36 | 2667326.1362 | 1245447.6497
37 | 2667369.2448 | 1245451.2971
38 | 2667157.0921 | 1245078.2769
39 | 2667142.302 | 1245110.5653
40 | 2667183.7276 | 1245052.334
41 | 2667072.0983 | 1245035.758
42 | 2667110.5126 | 1245056.2871
43 | 2667107.702 | 1245054.7851
44 | 2667134.5595 | 1245126.3665
45 | 2667098.9242 | 1245115.3673
46 | 2667281.1317 | 1245128.3057
47 | 2667154.8466 | 1245193.664
48 | 2667054.3389 | 1245122.8904
49 | 2667444.1481 | 1245457.5413
50 | 2667413.1489 | 1245501.6714
51 | 2667322.1978 | 1245486.6969
52 | 2667089.6518 | 1245178.6617
53 | 2667060.3372 | 1245164.022
54 | 2667041.9492 | 1245148.7573
55 | 2667038.8262 | 1245153.6476
56 | 2667184.5645 | 1245224.2743
57 | 2667003.2454 | 1245207.7945
58 | 2666988.1988 | 1245178.3398
59 | 2667382.3891 | 1245886.0399
60 | 2667376.7092 | 1245902.8963
61 | 2667382.9636 | 1245884.3349
62 | 2667376.3541 | 1245903.9503
63 | 2667387.2797 | 1245871.5256
64 | 2667376.0448 | 1245904.868
65 | 2667387.5583 | 1245870.6989
66 | 2667398.29 | 1245838.8497
67 | 2667399.9207 | 1245834.0104
68 | 2667399.9975 | 1245833.7822
69 | 2667402.9737 | 1245824.9498
70 | 2667407.9443 | 1245810.1982
71 | 2667409.1533 | 1245810.5849
72 | 2667062.9404 | 1245252.1058
73 | 2667069.981 | 1245250.3781
74 | 2667038.387 | 1245203.1882
75 | 2667032.9907 | 1245259.4553

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1