## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4063-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4063-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4063-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4063-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4063-5_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4063-5_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4063-5_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4063-5_0_5_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_4063-5_0_5_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_4063-5_0_5_node_39 | 0.4 | n |  | TRUE
10 | bus_LV_4063-5_0_5_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_4063-5_0_5_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_4063-5_0_5_node_77 | 0.4 | n |  | TRUE
13 | bus_LV_4063-5_0_5_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_4063-5_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4063-5_0_5_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_4063-5_0_5_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_4063-5_0_5_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_4063-5_0_5_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_4063-5_0_5_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_4063-5_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_4063-5_0_5_node_51 | 0.4 | n |  | TRUE
22 | bus_LV_4063-5_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_4063-5_0_5_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_4063-5_0_5_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_4063-5_0_5_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_4063-5_0_5_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_4063-5_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_4063-5_0_5_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_4063-5_0_5_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_4063-5_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_4063-5_0_5_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_4063-5_0_5_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_4063-5_0_5_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_4063-5_0_5_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_4063-5_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4063-5_0_5_node_60 | 0.4 | n |  | TRUE
37 | bus_LV_4063-5_0_5_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_4063-5_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_4063-5_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_4063-5_0_5_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_4063-5_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_4063-5_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_4063-5_0_5_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_4063-5_0_5_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_4063-5_0_5_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_4063-5_0_5_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_4063-5_0_5_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_4063-5_0_5_node_61 | 0.4 | n |  | TRUE
49 | bus_LV_4063-5_0_5_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_4063-5_0_5_node_21 | 0.4 | n |  | TRUE
51 | bus_LV_4063-5_0_5_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_4063-5_0_5_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_4063-5_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4063-5_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4063-5_0_5_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_4063-5_0_5_node_26 | 0.4 | n |  | TRUE
57 | bus_LV_4063-5_0_5_node_27 | 0.4 | n |  | TRUE
58 | bus_LV_4063-5_0_5_node_29 | 0.4 | n |  | TRUE
59 | bus_LV_4063-5_0_5_node_75 | 0.4 | n |  | TRUE
60 | bus_LV_4063-5_0_5_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_4063-5_0_5_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_4063-5_0_5_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_4063-5_0_5_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_4063-5_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4063-5_0_5_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4063-5_0_5_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_4063-5_0_5_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_4063-5_0_5_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_4063-5_0_5_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_4063-5_0_5_node_54 | 0.4 | n |  | TRUE
71 | bus_MV_426_1_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4063-5_0_5_load_0 | 0 | 0.021476 | 0.0053824 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4063-5_0_5_load_1 | 1 | 0.0046676 | 0.0011698 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4063-5_0_5_load_7 | 6 | 0.0092047 | 0.0023069 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4063-5_0_5_load_25 | 7 | 0.0030343 | 0.00076046 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4063-5_0_5_load_69 | 8 | 0.0033707 | 0.00084479 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4063-5_0_5_load_39 | 9 | 0.0052096 | 0.0013057 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4063-5_0_5_load_77 | 12 | 0.031064 | 0.0077854 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4063-5_0_5_load_46 | 13 | 0.006939 | 0.0017391 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4063-5_0_5_load_6 | 14 | 0.0095262 | 0.0023875 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4063-5_0_5_load_65 | 15 | 0.006156 | 0.0015428 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4063-5_0_5_load_37 | 16 | 0.0023547 | 0.00059013 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4063-5_0_5_load_70 | 17 | 0.0030179 | 0.00075635 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4063-5_0_5_load_9 | 20 | 0.025886 | 0.0064876 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4063-5_0_5_load_51 | 21 | 0.0084847 | 0.0021265 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4063-5_0_5_load_36 | 23 | 0.0092942 | 0.0023293 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4063-5_0_5_load_34 | 24 | 0.0017868 | 0.00044782 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4063-5_0_5_load_35 | 26 | 0.0058069 | 0.0014554 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4063-5_0_5_load_30 | 28 | 0.0074354 | 0.0018635 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4063-5_0_5_load_66 | 32 | 0.0019946 | 0.00049988 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4063-5_0_5_load_49 | 33 | 0.013784 | 0.0034546 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4063-5_0_5_load_38 | 34 | 0.010901 | 0.002732 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4063-5_0_5_load_28 | 35 | 0.0077018 | 0.0019302 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4063-5_0_5_load_60 | 36 | 0.044271 | 0.011095 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4063-5_0_5_load_58 | 37 | 0.07251 | 0.018173 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4063-5_0_5_load_22 | 39 | 0.0084877 | 0.0021272 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4063-5_0_5_load_19 | 40 | 0.0056032 | 0.0014043 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4063-5_0_5_load_31 | 41 | 0.023524 | 0.0058957 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4063-5_0_5_load_33 | 43 | 0.0031317 | 0.00078488 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4063-5_0_5_load_68 | 44 | 0.001625 | 0.00040725 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4063-5_0_5_load_64 | 45 | 0.0017233 | 0.00043189 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4063-5_0_5_load_53 | 46 | 0.011701 | 0.0029325 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4063-5_0_5_load_67 | 47 | 0.0014883 | 0.00037299 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4063-5_0_5_load_61 | 48 | 0.0051019 | 0.0012787 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4063-5_0_5_load_24 | 51 | 0.0094244 | 0.002362 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4063-5_0_5_load_47 | 52 | 0.022917 | 0.0057437 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4063-5_0_5_load_48 | 55 | 0.018835 | 0.0047205 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4063-5_0_5_load_26 | 56 | 0.012686 | 0.0031795 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4063-5_0_5_load_27 | 57 | 0.0084413 | 0.0021156 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4063-5_0_5_load_29 | 58 | 0.005875 | 0.0014724 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4063-5_0_5_load_75 | 59 | 0.0096375 | 0.0024154 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4063-5_0_5_load_74 | 60 | 0.0067782 | 0.0016988 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4063-5_0_5_load_40 | 62 | 0.007538 | 0.0018892 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4063-5_0_5_load_43 | 64 | 0.020857 | 0.0052272 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4063-5_0_5_load_50 | 65 | 0.01493 | 0.0037417 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4063-5_0_5_load_71 | 67 | 0.012317 | 0.0030868 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4063-5_0_5_load_72 | 68 | 0.0053865 | 0.00135 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4063-5_0_5_load_73 | 69 | 0.0039885 | 0.00099961 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4063-5_0_5_line_0 |  | 0 | 1 | 0.0021056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4063-5_0_5_line_1 |  | 0 | 2 | 0.014178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4063-5_0_5_line_2 |  | 1 | 3 | 0.014613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4063-5_0_5_line_3 |  | 2 | 4 | 0.00537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4063-5_0_5_line_4 |  | 2 | 5 | 0.004672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4063-5_0_5_line_5 |  | 3 | 6 | 0.0023618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4063-5_0_5_line_6 |  | 4 | 7 | 0.0022456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4063-5_0_5_line_7 |  | 4 | 8 | 0.010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4063-5_0_5_line_8 |  | 5 | 9 | 0.010441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4063-5_0_5_line_9 |  | 5 | 10 | 0.019832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4063-5_0_5_line_10 |  | 6 | 14 | 0.013638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4063-5_0_5_line_11 |  | 8 | 15 | 0.015577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4063-5_0_5_line_12 |  | 9 | 16 | 0.0099523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4063-5_0_5_line_13 |  | 10 | 17 | 0.0047305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4063-5_0_5_line_14 |  | 10 | 18 | 0.016215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4063-5_0_5_line_15 |  | 11 | 12 | 0.019644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4063-5_0_5_line_16 |  | 11 | 13 | 0.013998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4063-5_0_5_line_17 |  | 12 | 68 | 0.012161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_4063-5_0_5_line_18 |  | 13 | 53 | 0.009493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4063-5_0_5_line_19 |  | 14 | 19 | 0.014789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4063-5_0_5_line_20 |  | 15 | 61 | 0.00216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4063-5_0_5_line_21 |  | 16 | 34 | 0.0024469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4063-5_0_5_line_22 |  | 17 | 63 | 0.012859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4063-5_0_5_line_23 |  | 18 | 62 | 0.0058434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4063-5_0_5_line_24 |  | 19 | 20 | 0.021408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4063-5_0_5_line_25 |  | 20 | 21 | 0.015072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_4063-5_0_5_line_26 |  | 21 | 33 | 0.013512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_4063-5_0_5_line_27 |  | 22 | 23 | 0.013523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4063-5_0_5_line_28 |  | 22 | 24 | 0.0089086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4063-5_0_5_line_29 |  | 23 | 34 | 0.0095238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4063-5_0_5_line_30 |  | 24 | 25 | 0.0084381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4063-5_0_5_line_31 |  | 25 | 26 | 0.015615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4063-5_0_5_line_32 |  | 27 | 28 | 0.018717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4063-5_0_5_line_33 |  | 27 | 29 | 0.016694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4063-5_0_5_line_34 |  | 28 | 35 | 0.017336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4063-5_0_5_line_35 |  | 29 | 36 | 0.027134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4063-5_0_5_line_36 |  | 29 | 37 | 0.0033709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4063-5_0_5_line_37 |  | 30 | 31 | 0.019489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4063-5_0_5_line_38 |  | 30 | 32 | 0.011261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4063-5_0_5_line_39 |  | 31 | 46 | 0.024111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4063-5_0_5_line_40 |  | 32 | 47 | 0.0068071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4063-5_0_5_line_41 |  | 33 | 65 | 0.016517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_4063-5_0_5_line_42 |  | 35 | 56 | 0.0047487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4063-5_0_5_line_43 |  | 38 | 39 | 0.009343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4063-5_0_5_line_44 |  | 38 | 40 | 0.018405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4063-5_0_5_line_45 |  | 39 | 52 | 0.0085072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4063-5_0_5_line_46 |  | 40 | 50 | 0.020403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4063-5_0_5_line_47 |  | 41 | 42 | 0.00069108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4063-5_0_5_line_48 |  | 42 | 43 | 0.012497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4063-5_0_5_line_49 |  | 43 | 61 | 0.01646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4063-5_0_5_line_50 |  | 44 | 45 | 0.006813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4063-5_0_5_line_51 |  | 45 | 61 | 0.01111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4063-5_0_5_line_52 |  | 46 | 70 | 0.018494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4063-5_0_5_line_53 |  | 48 | 49 | 0.014553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4063-5_0_5_line_54 |  | 49 | 63 | 0.014371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4063-5_0_5_line_55 |  | 49 | 70 | 0.004346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4063-5_0_5_line_56 |  | 50 | 51 | 0.01067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4063-5_0_5_line_57 |  | 51 | 53 | 0.0088146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4063-5_0_5_line_58 |  | 52 | 54 | 0.0040225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4063-5_0_5_line_59 |  | 54 | 55 | 0.015507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4063-5_0_5_line_60 |  | 54 | 64 | 0.013166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4063-5_0_5_line_61 |  | 56 | 57 | 0.0061543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_4063-5_0_5_line_62 |  | 57 | 58 | 0.0081372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_4063-5_0_5_line_63 |  | 58 | 59 | 0.0066544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_4063-5_0_5_line_64 |  | 59 | 60 | 0.0007302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_4063-5_0_5_line_65 |  | 60 | 69 | 0.0065364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_4063-5_0_5_line_66 |  | 65 | 66 | 0.016457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_4063-5_0_5_line_67 |  | 66 | 67 | 0.00020191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_4063-5_0_5_line_68 |  | 66 | 68 | 0.0065663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_4063-5_0_5_line_69 |  | 67 | 69 | 0.010109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4063-5_0_5_trafo_76 | 0.63 MVA 20/0.4 kV | 71 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2668311.5623 | 1244855.2475 | 2668310.1435 | 1244853.6918
1 | 2668320.8642 | 1244865.9361 | 2668319.2042 | 1244863.76 | 2668317.482 | 1244861.7387 | 2668311.5623 | 1244855.2475
2 | 2668300.2967 | 1244842.8944 | 2668310.1435 | 1244853.6918
3 | 2668320.8642 | 1244865.9361 | 2668319.1658 | 1244871.0313
4 | 2668322.351 | 1244861.5057 | 2668320.8642 | 1244865.9361
5 | 2668300.2967 | 1244842.8944 | 2668301.219 | 1244842.2046 | 2668302.1385 | 1244841.4179
6 | 2668319.1658 | 1244871.0313 | 2668318.0715 | 1244872.9921
7 | 2668319.1658 | 1244871.0313 | 2668322.7874 | 1244880.5259
8 | 2668322.351 | 1244861.5057 | 2668323.5673 | 1244858.9068 | 2668326.9288 | 1244852.1221
9 | 2668340.3993 | 1244869.7082 | 2668334.1768 | 1244866.0895 | 2668322.351 | 1244861.5057
10 | 2668312.502 | 1244832.5526 | 2668302.1385 | 1244841.4179
11 | 2668322.7874 | 1244880.5259 | 2668327.4981 | 1244892.8758 | 2668328.3247 | 1244895.085
12 | 2668326.9288 | 1244852.1221 | 2668331.347 | 1244843.2043
13 | 2668340.3993 | 1244869.7082 | 2668342.1635 | 1244874.0974
14 | 2668350.1231 | 1244859.3351 | 2668346.1933 | 1244863.3038 | 2668343.8314 | 1244862.3648 | 2668340.3993 | 1244869.7082
15 | 2668275.4055 | 1244863.9338 | 2668264.4481 | 1244847.6302
16 | 2668275.4055 | 1244863.9338 | 2668285.5198 | 1244873.611
17 | 2668264.4481 | 1244847.6302 | 2668257.6648 | 1244837.5374
18 | 2668292.379 | 1244880.1737 | 2668285.5198 | 1244873.611
19 | 2668323.7399 | 1244822.9393 | 2668312.502 | 1244832.5526
20 | 2668329.0815 | 1244897.1081 | 2668328.3247 | 1244895.085
21 | 2668332.4333 | 1244841.0117 | 2668331.347 | 1244843.2043
22 | 2668346.9591 | 1244886.0284 | 2668342.1635 | 1244874.0974
23 | 2668350.1231 | 1244859.3351 | 2668352.1097 | 1244861.3594 | 2668355.0615 | 1244860.7854
24 | 2668323.7399 | 1244822.9393 | 2668317.3182 | 1244814.9598 | 2668310.0025 | 1244806.5252 | 2668310.0025 | 1244806.5252
25 | 2668296.2909 | 1244812.7841 | 2668310.0025 | 1244806.5252
26 | 2668296.2909 | 1244812.7841 | 2668283.999 | 1244818.3949
27 | 2668338.7707 | 1244820.2216 | 2668340.564 | 1244824.6008 | 2668336.6614 | 1244832.4779
28 | 2668338.7707 | 1244820.2216 | 2668343.9077 | 1244817.0674 | 2668346.2397 | 1244815.3764
29 | 2668332.4333 | 1244841.0117 | 2668336.6614 | 1244832.4779
30 | 2668353.7553 | 1244811.6882 | 2668348.6322 | 1244813.6417 | 2668346.2397 | 1244815.3764
31 | 2668353.7553 | 1244811.6882 | 2668358.669 | 1244814.7914 | 2668363.7017 | 1244822.6438 | 2668363.9646 | 1244823.0413
32 | 2668213.0767 | 1244880.0282 | 2668212.364 | 1244864.4647 | 2668211.5805 | 1244861.4271
33 | 2668226.0354 | 1244890.5734 | 2668217.7803 | 1244884.3186 | 2668213.0767 | 1244880.0282
34 | 2668211.5805 | 1244861.4271 | 2668208.6242 | 1244849.9671 | 2668213.7421 | 1244847.9506
35 | 2668226.0354 | 1244890.5734 | 2668250.3828 | 1244878.5952
36 | 2668226.0354 | 1244890.5734 | 2668228.3577 | 1244893.0168
37 | 2668360.0975 | 1244934.0577 | 2668362.1888 | 1244931.5912 | 2668361.4683 | 1244927.2354 | 2668360.4633 | 1244915.4378
38 | 2668360.0975 | 1244934.0577 | 2668357.3182 | 1244923.1456
39 | 2668360.4633 | 1244915.4378 | 2668370.5811 | 1244914.1313 | 2668368.9143 | 1244900.3228
40 | 2668357.3182 | 1244923.1456 | 2668355.6381 | 1244916.549
41 | 2668268.9733 | 1244825.2537 | 2668283.999 | 1244818.3949
42 | 2668213.7421 | 1244847.9506 | 2668218.1602 | 1244846.2098
43 | 2668279.1936 | 1244920.817 | 2668276.0899 | 1244916.7118 | 2668273.5588 | 1244913.3644
44 | 2668279.1936 | 1244920.817 | 2668292.2266 | 1244907.8209
45 | 2668273.5588 | 1244913.3644 | 2668269.9495 | 1244908.591 | 2668268.2114 | 1244906.7625
46 | 2668306.6742 | 1244893.4142 | 2668292.2266 | 1244907.8209
47 | 2668309.6665 | 1244919.2984 | 2668310.1 | 1244918.7602
48 | 2668310.1 | 1244918.7602 | 2668317.8811 | 1244908.9814
49 | 2668329.0815 | 1244897.1081 | 2668325.0743 | 1244899.9417 | 2668317.8811 | 1244908.9814
50 | 2668333.2255 | 1244914.5457 | 2668333.2255 | 1244914.5457 | 2668331.6503 | 1244907.9173
51 | 2668329.0815 | 1244897.1081 | 2668331.6503 | 1244907.9173
52 | 2668362.0002 | 1244887.6473 | 2668367.3393 | 1244887.2752 | 2668368.9143 | 1244900.3228
53 | 2668361.1274 | 1244883.3898 | 2668369.2075 | 1244881.8818 | 2668375.4343 | 1244880.7229
54 | 2668346.9591 | 1244886.0284 | 2668356.2885 | 1244884.2902 | 2668361.1274 | 1244883.3898
55 | 2668361.1274 | 1244883.3898 | 2668362.0002 | 1244887.6473
56 | 2668306.6742 | 1244893.4142 | 2668298.8458 | 1244886.1634
57 | 2668292.379 | 1244880.1737 | 2668298.8458 | 1244886.1634
58 | 2668265.44 | 1244903.8469 | 2668268.2114 | 1244906.7625
59 | 2668265.44 | 1244903.8469 | 2668259.9436 | 1244898.858 | 2668253.5607 | 1244903.8187
60 | 2668265.44 | 1244903.8469 | 2668275.319 | 1244895.143
61 | 2668218.1602 | 1244846.2098 | 2668223.8861 | 1244843.9537
62 | 2668231.4568 | 1244840.9708 | 2668223.8861 | 1244843.9537
63 | 2668231.4568 | 1244840.9708 | 2668237.6479 | 1244838.5314
64 | 2668237.6479 | 1244838.5314 | 2668238.3272 | 1244838.2637
65 | 2668238.3272 | 1244838.2637 | 2668244.4087 | 1244835.8675
66 | 2668254.0021 | 1244832.0876 | 2668268.9733 | 1244825.2537
67 | 2668253.8142 | 1244832.1616 | 2668254.0021 | 1244832.0876
68 | 2668254.0021 | 1244832.0876 | 2668257.6648 | 1244837.5374
69 | 2668253.8142 | 1244832.1616 | 2668244.4087 | 1244835.8675

## bus_geodata
| x | y | coords
0 | 2668311.5623 | 1244855.2475
1 | 2668310.1435 | 1244853.6918
2 | 2668320.8642 | 1244865.9361
3 | 2668300.2967 | 1244842.8944
4 | 2668319.1658 | 1244871.0313
5 | 2668322.351 | 1244861.5057
6 | 2668302.1385 | 1244841.4179
7 | 2668318.0715 | 1244872.9921
8 | 2668322.7874 | 1244880.5259
9 | 2668326.9288 | 1244852.1221
10 | 2668340.3993 | 1244869.7082
11 | 2668275.4055 | 1244863.9338
12 | 2668264.4481 | 1244847.6302
13 | 2668285.5198 | 1244873.611
14 | 2668312.502 | 1244832.5526
15 | 2668328.3247 | 1244895.085
16 | 2668331.347 | 1244843.2043
17 | 2668342.1635 | 1244874.0974
18 | 2668350.1231 | 1244859.3351
19 | 2668323.7399 | 1244822.9393
20 | 2668310.0025 | 1244806.5252
21 | 2668296.2909 | 1244812.7841
22 | 2668338.7707 | 1244820.2216
23 | 2668336.6614 | 1244832.4779
24 | 2668346.2397 | 1244815.3764
25 | 2668353.7553 | 1244811.6882
26 | 2668363.9646 | 1244823.0413
27 | 2668213.0767 | 1244880.0282
28 | 2668211.5805 | 1244861.4271
29 | 2668226.0354 | 1244890.5734
30 | 2668360.0975 | 1244934.0577
31 | 2668360.4633 | 1244915.4378
32 | 2668357.3182 | 1244923.1456
33 | 2668283.999 | 1244818.3949
34 | 2668332.4333 | 1244841.0117
35 | 2668213.7421 | 1244847.9506
36 | 2668250.3828 | 1244878.5952
37 | 2668228.3577 | 1244893.0168
38 | 2668279.1936 | 1244920.817
39 | 2668273.5588 | 1244913.3644
40 | 2668292.2266 | 1244907.8209
41 | 2668309.6665 | 1244919.2984
42 | 2668310.1 | 1244918.7602
43 | 2668317.8811 | 1244908.9814
44 | 2668333.2255 | 1244914.5457
45 | 2668331.6503 | 1244907.9173
46 | 2668368.9143 | 1244900.3228
47 | 2668355.6381 | 1244916.549
48 | 2668375.4343 | 1244880.7229
49 | 2668361.1274 | 1244883.3898
50 | 2668306.6742 | 1244893.4142
51 | 2668298.8458 | 1244886.1634
52 | 2668268.2114 | 1244906.7625
53 | 2668292.379 | 1244880.1737
54 | 2668265.4401 | 1244903.8469
55 | 2668253.5607 | 1244903.8187
56 | 2668218.1602 | 1244846.2098
57 | 2668223.8861 | 1244843.9537
58 | 2668231.4568 | 1244840.9708
59 | 2668237.6479 | 1244838.5314
60 | 2668238.3272 | 1244838.2637
61 | 2668329.0815 | 1244897.1081
62 | 2668355.0615 | 1244860.7854
63 | 2668346.9591 | 1244886.0284
64 | 2668275.319 | 1244895.143
65 | 2668268.9733 | 1244825.2537
66 | 2668254.0021 | 1244832.0876
67 | 2668253.8142 | 1244832.1616
68 | 2668257.6648 | 1244837.5374
69 | 2668244.4087 | 1244835.8675
70 | 2668362.0002 | 1244887.6473
71 | 2668292.379 | 1244880.1737

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1