## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4063-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4063-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4063-7_0_6_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_4063-7_0_6_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_4063-7_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4063-7_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4063-7_0_6_node_75 | 0.4 | n |  | TRUE
7 | bus_LV_4063-7_0_6_node_73 | 0.4 | n |  | TRUE
8 | bus_LV_4063-7_0_6_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_4063-7_0_6_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4063-7_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4063-7_0_6_node_89 | 0.4 | n |  | TRUE
12 | bus_LV_4063-7_0_6_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_4063-7_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4063-7_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4063-7_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_4063-7_0_6_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_4063-7_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4063-7_0_6_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4063-7_0_6_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_4063-7_0_6_node_90 | 0.4 | n |  | TRUE
21 | bus_LV_4063-7_0_6_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_4063-7_0_6_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_4063-7_0_6_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_4063-7_0_6_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_4063-7_0_6_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_4063-7_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4063-7_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4063-7_0_6_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_4063-7_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_4063-7_0_6_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4063-7_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4063-7_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_4063-7_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_4063-7_0_6_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_4063-7_0_6_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4063-7_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4063-7_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_4063-7_0_6_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_4063-7_0_6_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_4063-7_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_4063-7_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_4063-7_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4063-7_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4063-7_0_6_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_4063-7_0_6_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_4063-7_0_6_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4063-7_0_6_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4063-7_0_6_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_4063-7_0_6_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_4063-7_0_6_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_4063-7_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_4063-7_0_6_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_4063-7_0_6_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_4063-7_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4063-7_0_6_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4063-7_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_4063-7_0_6_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_4063-7_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_4063-7_0_6_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_4063-7_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_4063-7_0_6_node_81 | 0.4 | n |  | TRUE
62 | bus_LV_4063-7_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_4063-7_0_6_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_4063-7_0_6_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_4063-7_0_6_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_4063-7_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4063-7_0_6_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_4063-7_0_6_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_4063-7_0_6_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_4063-7_0_6_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4063-7_0_6_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4063-7_0_6_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_4063-7_0_6_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_4063-7_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_4063-7_0_6_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_4063-7_0_6_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_4063-7_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_4063-7_0_6_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_4063-7_0_6_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_4063-7_0_6_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_4063-7_0_6_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_4063-7_0_6_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_4063-7_0_6_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_4063-7_0_6_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_4063-7_0_6_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_4063-7_0_6_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_4063-7_0_6_node_88 | 0.4 | n |  | TRUE
88 | bus_MV_426_1_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4063-7_0_6_load_0 | 0 | 0.0051689 | 0.0012954 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4063-7_0_6_load_7 | 2 | 0.013971 | 0.0035013 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4063-7_0_6_load_2 | 3 | 0.012375 | 0.0031014 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4063-7_0_6_load_3 | 4 | 0.010641 | 0.0026668 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4063-7_0_6_load_5 | 5 | 0.016596 | 0.0041594 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4063-7_0_6_load_75 | 6 | 0.0016015 | 0.00040136 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4063-7_0_6_load_73 | 7 | 0.009414 | 0.0023594 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4063-7_0_6_load_4 | 8 | 0.03698 | 0.0092681 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4063-7_0_6_load_8 | 10 | 0.028132 | 0.0070506 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4063-7_0_6_load_89 | 11 | 0.029145 | 0.0073045 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4063-7_0_6_load_9 | 13 | 0.0094165 | 0.00236 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4063-7_0_6_load_15 | 16 | 0.0057644 | 0.0014447 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4063-7_0_6_load_16 | 18 | 0.0012026 | 0.0003014 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4063-7_0_6_load_90 | 20 | 0.018027 | 0.004518 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4063-7_0_6_load_72 | 22 | 0.0019778 | 0.00049569 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4063-7_0_6_load_28 | 24 | 0.011925 | 0.0029886 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4063-7_0_6_load_17 | 26 | 0.0089195 | 0.0022354 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4063-7_0_6_load_18 | 27 | 0.0082221 | 0.0020607 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4063-7_0_6_load_20 | 29 | 0.016462 | 0.0041258 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4063-7_0_6_load_22 | 31 | 0.0075344 | 0.0018883 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4063-7_0_6_load_23 | 32 | 0.0068873 | 0.0017261 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4063-7_0_6_load_27 | 33 | 0.0087155 | 0.0021843 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4063-7_0_6_load_41 | 34 | 0.0029354 | 0.00073567 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4063-7_0_6_load_25 | 37 | 0.0068898 | 0.0017268 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4063-7_0_6_load_26 | 38 | 0.0079993 | 0.0020048 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4063-7_0_6_load_40 | 39 | 0.0033319 | 0.00083504 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4063-7_0_6_load_34 | 41 | 0.008712 | 0.0021834 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4063-7_0_6_load_31 | 42 | 0.0057302 | 0.0014361 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4063-7_0_6_load_32 | 43 | 0.0079633 | 0.0019958 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4063-7_0_6_load_39 | 45 | 0.0082287 | 0.0020623 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4063-7_0_6_load_37 | 46 | 0.0033301 | 0.00083459 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4063-7_0_6_load_42 | 48 | 0.0047504 | 0.0011906 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4063-7_0_6_load_43 | 49 | 0.0051018 | 0.0012786 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4063-7_0_6_load_44 | 50 | 0.014307 | 0.0035856 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4063-7_0_6_load_45 | 51 | 0.0051064 | 0.0012798 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4063-7_0_6_load_46 | 52 | 0.0082272 | 0.0020619 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4063-7_0_6_load_47 | 53 | 0.0051018 | 0.0012786 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4063-7_0_6_load_49 | 55 | 0.0090044 | 0.0022567 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4063-7_0_6_load_52 | 58 | 0.011278 | 0.0028265 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4063-7_0_6_load_51 | 60 | 0.0012395 | 0.00031064 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4063-7_0_6_load_81 | 61 | 0.0064439 | 0.001615 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4063-7_0_6_load_53 | 62 | 0.016779 | 0.0042052 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4063-7_0_6_load_78 | 63 | 0.0018212 | 0.00045644 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4063-7_0_6_load_83 | 64 | 0.0085613 | 0.0021457 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4063-7_0_6_load_82 | 65 | 0.0011475 | 0.00028758 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4063-7_0_6_load_58 | 66 | 0.0038617 | 0.00096785 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4063-7_0_6_load_59 | 67 | 0.00046028 | 0.00011536 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4063-7_0_6_load_60 | 68 | 0.00012656 | 3.172e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4063-7_0_6_load_61 | 69 | 0.0021428 | 0.00053705 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4063-7_0_6_load_62 | 70 | 0.00023524 | 5.8956e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4063-7_0_6_load_63 | 71 | 0.015058 | 0.0037739 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4063-7_0_6_load_80 | 72 | 0.00034271 | 8.5892e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4063-7_0_6_load_69 | 74 | 0.0034858 | 0.00087361 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4063-7_0_6_load_64 | 75 | 0.006603 | 0.0016549 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4063-7_0_6_load_65 | 76 | 0.0091896 | 0.0023031 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4063-7_0_6_load_94 | 78 | 0.004352 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4063-7_0_6_load_70 | 79 | 0.0021001 | 0.00052633 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4063-7_0_6_load_76 | 81 | 0.0050828 | 0.0012739 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4063-7_0_6_load_74 | 82 | 0.0013239 | 0.00033179 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4063-7_0_6_load_85 | 84 | 0.0044148 | 0.0011065 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4063-7_0_6_load_86 | 85 | 0.0079348 | 0.0019886 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4063-7_0_6_load_87 | 86 | 0.018044 | 0.0045223 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4063-7_0_6_load_88 | 87 | 0.0082298 | 0.0020626 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4063-7_0_6_line_0 |  | 0 | 1 | 0.0085353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_4063-7_0_6_line_1 |  | 0 | 2 | 0.068007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_4063-7_0_6_line_2 |  | 1 | 3 | 0.028578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4063-7_0_6_line_3 |  | 1 | 4 | 0.073467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_4063-7_0_6_line_4 |  | 2 | 5 | 0.025133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4063-7_0_6_line_5 |  | 4 | 6 | 0.070525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_4063-7_0_6_line_6 |  | 5 | 8 | 0.059528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4063-7_0_6_line_7 |  | 6 | 7 | 0.058458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_4063-7_0_6_line_8 |  | 7 | 82 | 0.012871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_4063-7_0_6_line_9 |  | 8 | 9 | 0.063198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4063-7_0_6_line_10 |  | 9 | 10 | 0.03791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4063-7_0_6_line_11 |  | 11 | 12 | 0.064313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4063-7_0_6_line_12 |  | 12 | 64 | 0.0012274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4063-7_0_6_line_13 |  | 12 | 57 | 0.021596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4063-7_0_6_line_14 |  | 13 | 14 | 0.0079369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4063-7_0_6_line_15 |  | 14 | 15 | 0.045368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4063-7_0_6_line_16 |  | 14 | 16 | 0.033122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_4063-7_0_6_line_17 |  | 15 | 19 | 0.041176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_4063-7_0_6_line_18 |  | 15 | 20 | 0.0098786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4063-7_0_6_line_19 |  | 16 | 17 | 0.010008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4063-7_0_6_line_20 |  | 17 | 18 | 0.040783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_4063-7_0_6_line_21 |  | 18 | 21 | 0.0076262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4063-7_0_6_line_22 |  | 19 | 24 | 0.039502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4063-7_0_6_line_23 |  | 21 | 25 | 0.050826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4063-7_0_6_line_24 |  | 22 | 23 | 0.040856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4063-7_0_6_line_25 |  | 23 | 74 | 0.043606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4063-7_0_6_line_26 |  | 23 | 71 | 0.05116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4063-7_0_6_line_27 |  | 24 | 37 | 0.011306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4063-7_0_6_line_28 |  | 25 | 80 | 0.022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4063-7_0_6_line_29 |  | 25 | 79 | 0.029841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4063-7_0_6_line_30 |  | 26 | 27 | 0.042129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4063-7_0_6_line_31 |  | 26 | 28 | 0.025741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4063-7_0_6_line_32 |  | 27 | 29 | 0.02666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4063-7_0_6_line_33 |  | 28 | 30 | 0.040885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4063-7_0_6_line_34 |  | 28 | 31 | 0.0235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4063-7_0_6_line_35 |  | 28 | 32 | 0.015895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4063-7_0_6_line_36 |  | 29 | 33 | 0.022047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4063-7_0_6_line_37 |  | 30 | 34 | 0.017096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4063-7_0_6_line_38 |  | 31 | 35 | 0.03217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4063-7_0_6_line_39 |  | 33 | 36 | 0.037179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4063-7_0_6_line_40 |  | 34 | 39 | 0.035092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4063-7_0_6_line_41 |  | 35 | 37 | 0.014718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_4063-7_0_6_line_42 |  | 35 | 38 | 0.02375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4063-7_0_6_line_43 |  | 36 | 40 | 0.033745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4063-7_0_6_line_44 |  | 39 | 47 | 0.014482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4063-7_0_6_line_45 |  | 40 | 41 | 0.022616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4063-7_0_6_line_46 |  | 41 | 43 | 0.021847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4063-7_0_6_line_47 |  | 42 | 43 | 0.038538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4063-7_0_6_line_48 |  | 44 | 45 | 0.069822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4063-7_0_6_line_49 |  | 44 | 46 | 0.033705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4063-7_0_6_line_50 |  | 46 | 47 | 0.025758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4063-7_0_6_line_51 |  | 48 | 49 | 0.030649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4063-7_0_6_line_52 |  | 48 | 50 | 0.00092547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4063-7_0_6_line_53 |  | 49 | 51 | 0.03038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4063-7_0_6_line_54 |  | 50 | 52 | 0.01278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4063-7_0_6_line_55 |  | 51 | 53 | 0.031613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4063-7_0_6_line_56 |  | 53 | 54 | 0.037023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4063-7_0_6_line_57 |  | 54 | 55 | 0.020238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4063-7_0_6_line_58 |  | 54 | 56 | 0.030702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4063-7_0_6_line_59 |  | 55 | 57 | 0.022882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4063-7_0_6_line_60 |  | 56 | 58 | 0.032012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4063-7_0_6_line_61 |  | 56 | 59 | 0.039469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_4063-7_0_6_line_62 |  | 58 | 60 | 0.016823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4063-7_0_6_line_63 |  | 59 | 61 | 0.010589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_4063-7_0_6_line_64 |  | 59 | 62 | 0.086313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4063-7_0_6_line_65 |  | 61 | 63 | 0.04465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_4063-7_0_6_line_66 |  | 63 | 80 | 0.028511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_4063-7_0_6_line_67 |  | 64 | 65 | 0.027347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4063-7_0_6_line_68 |  | 65 | 83 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4063-7_0_6_line_69 |  | 66 | 67 | 0.0096537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4063-7_0_6_line_70 |  | 66 | 68 | 0.05952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4063-7_0_6_line_71 |  | 67 | 69 | 0.0081513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4063-7_0_6_line_72 |  | 68 | 70 | 0.030958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4063-7_0_6_line_73 |  | 69 | 71 | 0.033625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4063-7_0_6_line_74 |  | 70 | 72 | 0.024087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4063-7_0_6_line_75 |  | 72 | 73 | 0.0049414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4063-7_0_6_line_76 |  | 73 | 77 | 0.03623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4063-7_0_6_line_77 |  | 74 | 79 | 0.0012921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4063-7_0_6_line_78 |  | 75 | 76 | 0.027699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4063-7_0_6_line_79 |  | 75 | 77 | 0.10323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4063-7_0_6_line_80 |  | 77 | 78 | 0.49385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4063-7_0_6_line_81 |  | 80 | 81 | 0.039788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_4063-7_0_6_line_82 |  | 81 | 82 | 0.035391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_4063-7_0_6_line_83 |  | 83 | 84 | 0.037059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4063-7_0_6_line_84 |  | 83 | 85 | 0.012212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4063-7_0_6_line_85 |  | 84 | 86 | 0.073593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4063-7_0_6_line_86 |  | 86 | 87 | 0.039986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4063-7_0_6_trafo_50 | 0.63 MVA 20/0.4 kV | 88 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2667507.342 | 1244228.9941 | 2667500.8442 | 1244234.5284
1 | 2667500.8442 | 1244234.5284 | 2667546.3024 | 1244285.1097
2 | 2667507.342 | 1244228.9941 | 2667510.9664 | 1244214.6587 | 2667517.2352 | 1244202.3659
3 | 2667507.342 | 1244228.9941 | 2667553.9028 | 1244204.3512 | 2667573.3095 | 1244196.9028
4 | 2667546.3024 | 1244285.1097 | 2667548.5744 | 1244299.2787 | 2667548.6032 | 1244310.0612
5 | 2667641.295 | 1244178.9288 | 2667635.8179 | 1244179.6003 | 2667608.965 | 1244185.0871 | 2667596.0166 | 1244189.3203 | 2667586.9893 | 1244191.6524 | 2667573.3095 | 1244196.9028
6 | 2667538.2065 | 1244368.1677 | 2667543.9208 | 1244351.562 | 2667548.6504 | 1244327.7771 | 2667548.6032 | 1244310.0612
7 | 2667699.5445 | 1244176.5331 | 2667667.6785 | 1244175.6942 | 2667641.295 | 1244178.9288
8 | 2667699.5445 | 1244176.5331 | 2667712.4114 | 1244176.8718
9 | 2667509.088 | 1244424.1494 | 2667523.5414 | 1244397.1952 | 2667535.7456 | 1244375.3188 | 2667538.2065 | 1244368.1677
10 | 2667509.088 | 1244424.1494 | 2667497.1471 | 1244418.9211 | 2667473.5221 | 1244411.1361
11 | 2667677.974 | 1244358.2383 | 2667667.0315 | 1244362.8723 | 2667650.3352 | 1244369.7534 | 2667639.4385 | 1244382.9606 | 2667629.3187 | 1244396.9292
12 | 2667677.974 | 1244358.2383 | 2667678.8745 | 1244359.0724
13 | 2667662.0981 | 1244343.5471 | 2667677.974 | 1244358.2383
14 | 2667922.0599 | 1244222.7994 | 2667922.7704 | 1244221.4622 | 2667928.5132 | 1244224.338
15 | 2667922.0599 | 1244222.7994 | 2667921.3489 | 1244224.17 | 2667901.6447 | 1244263.3384
16 | 2667922.0599 | 1244222.7994 | 2667892.5474 | 1244207.7624
17 | 2667869.9913 | 1244263.6988 | 2667874.5604 | 1244262.6392 | 2667896.3763 | 1244273.9967 | 2667897.5151 | 1244271.5636 | 2667901.6447 | 1244263.3384
18 | 2667901.6447 | 1244263.3384 | 2667899.2463 | 1244262.2658 | 2667892.7696 | 1244259.005
19 | 2667887.8589 | 1244216.6038 | 2667892.5474 | 1244207.7624
20 | 2667887.8589 | 1244216.6038 | 2667864.6879 | 1244204.775 | 2667851.5385 | 1244198.0549
21 | 2667844.7477 | 1244194.5844 | 2667851.5385 | 1244198.0549
22 | 2667869.9913 | 1244263.6988 | 2667865.4018 | 1244261.9229 | 2667855.5558 | 1244273.0736 | 2667842.3332 | 1244287.6845
23 | 2667844.7477 | 1244194.5844 | 2667825.0403 | 1244184.5077 | 2667799.0186 | 1244172.1351
24 | 2667843.2125 | 1244112.0984 | 2667854.5715 | 1244124.6148 | 2667870.7145 | 1244137.7752 | 2667873.2539 | 1244139.5976
25 | 2667843.2125 | 1244112.0984 | 2667835.059 | 1244119.9551 | 2667816.7121 | 1244146.5181
26 | 2667843.2125 | 1244112.0984 | 2667836.9542 | 1244102.9205 | 2667831.6785 | 1244092.4085 | 2667821.1929 | 1244070.9071 | 2667819.2162 | 1244067.0121
27 | 2667842.3332 | 1244287.6845 | 2667834.7471 | 1244296.0672
28 | 2667786.1884 | 1244190.4791 | 2667799.0186 | 1244172.1351
29 | 2667799.0186 | 1244172.1351 | 2667815.9778 | 1244147.5812
30 | 2667876.6753 | 1244364.455 | 2667893.3982 | 1244378.3462 | 2667898.3401 | 1244373.0991 | 2667906.3729 | 1244362.6482
31 | 2667856.8748 | 1244348.0074 | 2667876.6753 | 1244364.455
32 | 2667922.6198 | 1244341.5106 | 2667906.3729 | 1244362.6482
33 | 2667856.8748 | 1244348.0074 | 2667830.7001 | 1244379.4745
34 | 2667856.8748 | 1244348.0074 | 2667839.3621 | 1244332.3378
35 | 2667856.8748 | 1244348.0074 | 2667867.088 | 1244335.8046
36 | 2667922.6198 | 1244341.5106 | 2667922.6198 | 1244341.5106 | 2667941.9446 | 1244352.1239
37 | 2667830.7001 | 1244379.4745 | 2667839.7379 | 1244393.9863
38 | 2667824.8715 | 1244306.9797 | 2667824.0508 | 1244315.9655 | 2667824.2225 | 1244318.7916 | 2667839.3621 | 1244332.3378
39 | 2667969.7484 | 1244371.5822 | 2667949.2049 | 1244360.0278 | 2667950.8641 | 1244357.0225 | 2667941.9446 | 1244352.1239
40 | 2667858.3694 | 1244423.7232 | 2667853.7783 | 1244416.5308 | 2667839.7379 | 1244393.9863
41 | 2667824.8715 | 1244306.9797 | 2667834.7471 | 1244296.0672
42 | 2667824.8715 | 1244306.9797 | 2667806.4648 | 1244291.972
43 | 2667951.7077 | 1244400.1288 | 2667969.7484 | 1244371.5822
44 | 2667866.1613 | 1244435.9303 | 2667858.3694 | 1244423.7232
45 | 2667951.7077 | 1244400.1288 | 2667933.8775 | 1244388.5499 | 2667933.1439 | 1244389.6909
46 | 2667921.3296 | 1244408.0682 | 2667933.1439 | 1244389.6909
47 | 2667913.4844 | 1244441.7404 | 2667908.2466 | 1244431.8978 | 2667910.1491 | 1244425.4595 | 2667921.3296 | 1244408.0682
48 | 2667895.8527 | 1244487.3946 | 2667859.5391 | 1244510.7622 | 2667841.4853 | 1244524.0205 | 2667838.1383 | 1244526.6243
49 | 2667895.8527 | 1244487.3946 | 2667884.9268 | 1244466.1548 | 2667879.8296 | 1244457.7613
50 | 2667866.1613 | 1244435.9303 | 2667874.6393 | 1244449.2143 | 2667879.8296 | 1244457.7613
51 | 2667791.265 | 1244390.3207 | 2667777.741 | 1244377.4681 | 2667768.4702 | 1244369.8615
52 | 2667791.9358 | 1244390.9583 | 2667791.265 | 1244390.3207
53 | 2667768.4702 | 1244369.8615 | 2667744.9837 | 1244350.5913
54 | 2667801.2 | 1244399.7626 | 2667791.9358 | 1244390.9583
55 | 2667744.9837 | 1244350.5913 | 2667737.7764 | 1244344.6779 | 2667720.7183 | 1244330.3293
56 | 2667689.764 | 1244310.4729 | 2667708.0679 | 1244319.6881 | 2667720.7183 | 1244330.3293
57 | 2667689.764 | 1244310.4729 | 2667676.7791 | 1244325.9962
58 | 2667689.764 | 1244310.4729 | 2667709.4926 | 1244286.9038
59 | 2667662.0981 | 1244343.5471 | 2667676.7791 | 1244325.9962
60 | 2667709.4926 | 1244286.9038 | 2667679.7313 | 1244275.1117
61 | 2667709.4926 | 1244286.9038 | 2667716.4801 | 1244278.5444 | 2667734.2455 | 1244256.165
62 | 2667662.9354 | 1244274.1617 | 2667679.7313 | 1244275.1117
63 | 2667734.2455 | 1244256.165 | 2667740.8307 | 1244247.8724
64 | 2667734.2455 | 1244256.165 | 2667735.2829 | 1244248.0489 | 2667753.9818 | 1244213.4272 | 2667752.1064 | 1244202.9541 | 2667737.6571 | 1244200.2984 | 2667724.2072 | 1244200.092
65 | 2667740.8307 | 1244247.8724 | 2667768.5974 | 1244212.9066
66 | 2667786.1884 | 1244190.4791 | 2667782.4095 | 1244195.128 | 2667780.9148 | 1244196.9678 | 2667778.1802 | 1244200.8392 | 2667768.5974 | 1244212.9066
67 | 2667699.6781 | 1244376.7904 | 2667688.2562 | 1244367.7622 | 2667678.8745 | 1244359.0724
68 | 2667708.8521 | 1244384.0418 | 2667699.6781 | 1244376.7904
69 | 2667795.9389 | 1244021.1517 | 2667796.1452 | 1244021.5533 | 2667800.3098 | 1244029.7592
70 | 2667795.9389 | 1244021.1517 | 2667768.7465 | 1243968.2063
71 | 2667800.3098 | 1244029.7592 | 2667803.9988 | 1244037.028
72 | 2667768.7465 | 1243968.2063 | 2667761.2947 | 1243953.6971 | 2667754.4912 | 1243940.7255
73 | 2667803.9988 | 1244037.028 | 2667819.2162 | 1244067.0121
74 | 2667754.4912 | 1243940.7255 | 2667752.5003 | 1243936.9295 | 2667744.6309 | 1243921.2288 | 2667743.7143 | 1243919.1874
75 | 2667741.6902 | 1243914.6796 | 2667743.7143 | 1243919.1874
76 | 2667710.1012 | 1243901.9547 | 2667718.4993 | 1243902.4731 | 2667728.2872 | 1243903.063 | 2667735.8199 | 1243907.2296 | 2667741.6902 | 1243914.6796
77 | 2667816.7121 | 1244146.5181 | 2667815.9778 | 1244147.5812
78 | 2667668.0283 | 1243992.8907 | 2667665.6405 | 1243995.3013 | 2667647.839 | 1244011.8514
79 | 2667710.1012 | 1243901.9547 | 2667707.1607 | 1243927.1609 | 2667704.3742 | 1243938.8817 | 2667699.6917 | 1243950.5252 | 2667683.7299 | 1243977.0393 | 2667668.0283 | 1243992.8907
80 | 2667710.1012 | 1243901.9547 | 2667480.8529 | 1243464.5408
81 | 2667786.1884 | 1244190.4791 | 2667758.9312 | 1244183.0515 | 2667747.4945 | 1244181.5323
82 | 2667747.4945 | 1244181.5323 | 2667712.4114 | 1244176.8718 | 2667712.4114 | 1244176.8718
83 | 2667708.8521 | 1244384.0418 | 2667698.3748 | 1244404.859 | 2667691.7533 | 1244416.914
84 | 2667708.8521 | 1244384.0418 | 2667717.799 | 1244392.3534
85 | 2667691.7533 | 1244416.914 | 2667691.7533 | 1244416.914 | 2667670.8912 | 1244433.243 | 2667689.8635 | 1244475.889 | 2667690.0372 | 1244476.2759
86 | 2667705.5483 | 1244513.101 | 2667701.721 | 1244502.2982 | 2667690.0372 | 1244476.2759

## bus_geodata
| x | y | coords
0 | 2667500.8442 | 1244234.5284
1 | 2667507.342 | 1244228.9941
2 | 2667546.3024 | 1244285.1097
3 | 2667517.2352 | 1244202.3659
4 | 2667573.3095 | 1244196.9028
5 | 2667548.6032 | 1244310.0612
6 | 2667641.295 | 1244178.9288
7 | 2667699.5445 | 1244176.5331
8 | 2667538.2065 | 1244368.1677
9 | 2667509.088 | 1244424.1494
10 | 2667473.5221 | 1244411.1361
11 | 2667629.3187 | 1244396.9292
12 | 2667677.974 | 1244358.2383
13 | 2667928.5132 | 1244224.338
14 | 2667922.0599 | 1244222.7994
15 | 2667901.6447 | 1244263.3384
16 | 2667892.5474 | 1244207.7624
17 | 2667887.8589 | 1244216.6038
18 | 2667851.5385 | 1244198.0549
19 | 2667869.9913 | 1244263.6988
20 | 2667892.7696 | 1244259.005
21 | 2667844.7477 | 1244194.5844
22 | 2667873.2539 | 1244139.5976
23 | 2667843.2125 | 1244112.0984
24 | 2667842.3332 | 1244287.6845
25 | 2667799.0186 | 1244172.1351
26 | 2667876.6753 | 1244364.455
27 | 2667906.3729 | 1244362.6482
28 | 2667856.8748 | 1244348.0074
29 | 2667922.6198 | 1244341.5106
30 | 2667830.7001 | 1244379.4745
31 | 2667839.3621 | 1244332.3378
32 | 2667867.088 | 1244335.8046
33 | 2667941.9446 | 1244352.1239
34 | 2667839.7379 | 1244393.9863
35 | 2667824.8715 | 1244306.9797
36 | 2667969.7484 | 1244371.5822
37 | 2667834.7471 | 1244296.0672
38 | 2667806.4648 | 1244291.972
39 | 2667858.3694 | 1244423.7232
40 | 2667951.7077 | 1244400.1288
41 | 2667933.1439 | 1244389.6909
42 | 2667913.4844 | 1244441.7404
43 | 2667921.3296 | 1244408.0682
44 | 2667895.8527 | 1244487.3946
45 | 2667838.1383 | 1244526.6243
46 | 2667879.8296 | 1244457.7613
47 | 2667866.1613 | 1244435.9303
48 | 2667791.265 | 1244390.3207
49 | 2667768.4702 | 1244369.8615
50 | 2667791.9358 | 1244390.9583
51 | 2667744.9837 | 1244350.5913
52 | 2667801.2 | 1244399.7626
53 | 2667720.7183 | 1244330.3293
54 | 2667689.764 | 1244310.4729
55 | 2667676.7791 | 1244325.9962
56 | 2667709.4926 | 1244286.9038
57 | 2667662.0981 | 1244343.5471
58 | 2667679.7313 | 1244275.1117
59 | 2667734.2455 | 1244256.165
60 | 2667662.9354 | 1244274.1617
61 | 2667740.8307 | 1244247.8724
62 | 2667724.2072 | 1244200.092
63 | 2667768.5974 | 1244212.9066
64 | 2667678.8745 | 1244359.0724
65 | 2667699.6781 | 1244376.7904
66 | 2667795.9389 | 1244021.1517
67 | 2667800.3098 | 1244029.7592
68 | 2667768.7465 | 1243968.2063
69 | 2667803.9988 | 1244037.028
70 | 2667754.4912 | 1243940.7255
71 | 2667819.2162 | 1244067.0121
72 | 2667743.7143 | 1243919.1874
73 | 2667741.6902 | 1243914.6796
74 | 2667816.7121 | 1244146.5181
75 | 2667668.0283 | 1243992.8907
76 | 2667647.839 | 1244011.8514
77 | 2667710.1012 | 1243901.9547
78 | 2667480.8529 | 1243464.5408
79 | 2667815.9778 | 1244147.5812
80 | 2667786.1884 | 1244190.4791
81 | 2667747.4945 | 1244181.5323
82 | 2667712.4114 | 1244176.8718
83 | 2667708.8521 | 1244384.0418
84 | 2667691.7533 | 1244416.914
85 | 2667717.799 | 1244392.3534
86 | 2667690.0372 | 1244476.2759
87 | 2667705.5483 | 1244513.101
88 | 2667716.4801 | 1244278.5444

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1