## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4075-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4075-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4075-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4075-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4075-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4075-2_0_3_node_224 | 0.4 | n |  | TRUE
6 | bus_LV_4075-2_0_3_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_4075-2_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_4075-2_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4075-2_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4075-2_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4075-2_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4075-2_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4075-2_0_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_4075-2_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4075-2_0_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_4075-2_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_4075-2_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_4075-2_0_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_4075-2_0_3_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_4075-2_0_3_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_4075-2_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_4075-2_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_4075-2_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_4075-2_0_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_4075-2_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_4075-2_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_4075-2_0_3_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_4075-2_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_4075-2_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_4075-2_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_4075-2_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_4075-2_0_3_node_163 | 0.4 | n |  | TRUE
33 | bus_LV_4075-2_0_3_node_64 | 0.4 | n |  | TRUE
34 | bus_LV_4075-2_0_3_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_4075-2_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_4075-2_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_4075-2_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_4075-2_0_3_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_4075-2_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_4075-2_0_3_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_4075-2_0_3_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_4075-2_0_3_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_4075-2_0_3_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_4075-2_0_3_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_4075-2_0_3_node_220 | 0.4 | n |  | TRUE
46 | bus_LV_4075-2_0_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_4075-2_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_4075-2_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_4075-2_0_3_node_59 | 0.4 | n |  | TRUE
50 | bus_LV_4075-2_0_3_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_4075-2_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_4075-2_0_3_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_4075-2_0_3_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_4075-2_0_3_node_63 | 0.4 | n |  | TRUE
55 | bus_LV_4075-2_0_3_node_73 | 0.4 | n |  | TRUE
56 | bus_LV_4075-2_0_3_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_4075-2_0_3_node_87 | 0.4 | n |  | TRUE
58 | bus_LV_4075-2_0_3_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_4075-2_0_3_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_4075-2_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_4075-2_0_3_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_4075-2_0_3_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_4075-2_0_3_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_4075-2_0_3_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_4075-2_0_3_node_98 | 0.4 | n |  | TRUE
66 | bus_LV_4075-2_0_3_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_4075-2_0_3_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_4075-2_0_3_node_97 | 0.4 | n |  | TRUE
69 | bus_LV_4075-2_0_3_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_4075-2_0_3_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_4075-2_0_3_node_85 | 0.4 | n |  | TRUE
72 | bus_LV_4075-2_0_3_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_4075-2_0_3_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_4075-2_0_3_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_4075-2_0_3_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_4075-2_0_3_node_89 | 0.4 | n |  | TRUE
77 | bus_LV_4075-2_0_3_node_96 | 0.4 | n |  | TRUE
78 | bus_LV_4075-2_0_3_node_219 | 0.4 | n |  | TRUE
79 | bus_LV_4075-2_0_3_node_100 | 0.4 | n |  | TRUE
80 | bus_LV_4075-2_0_3_node_99 | 0.4 | n |  | TRUE
81 | bus_LV_4075-2_0_3_node_101 | 0.4 | n |  | TRUE
82 | bus_LV_4075-2_0_3_node_159 | 0.4 | n |  | TRUE
83 | bus_LV_4075-2_0_3_node_161 | 0.4 | n |  | TRUE
84 | bus_MV_420_0_node_108 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4075-2_0_3_load_0 | 0 | 0.0030183 | 0.00075646 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4075-2_0_3_load_1 | 1 | 0.0010464 | 0.00026225 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4075-2_0_3_load_2 | 2 | 0.00057084 | 0.00014307 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4075-2_0_3_load_3 | 3 | 0.010773 | 0.0027 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4075-2_0_3_load_4 | 4 | 0.0010663 | 0.00026725 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4075-2_0_3_load_224 | 5 | 0.0011221 | 0.00028123 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4075-2_0_3_load_10 | 7 | 0.0011761 | 0.00029475 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4075-2_0_3_load_5 | 8 | 0.0011396 | 0.00028561 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4075-2_0_3_load_6 | 9 | 0.0008822 | 0.0002211 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4075-2_0_3_load_7 | 10 | 0.0014794 | 0.00037077 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4075-2_0_3_load_8 | 11 | 0.0021447 | 0.0005375 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4075-2_0_3_load_9 | 12 | 0.0018059 | 0.0004526 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4075-2_0_3_load_25 | 13 | 0.0032951 | 0.00082584 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4075-2_0_3_load_24 | 15 | 0.0017114 | 0.00042892 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4075-2_0_3_load_20 | 16 | 0.0092181 | 0.0023103 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4075-2_0_3_load_22 | 17 | 0.0035067 | 0.00087885 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4075-2_0_3_load_35 | 19 | 0.0058051 | 0.0014549 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4075-2_0_3_load_36 | 20 | 0.001142 | 0.0002862 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4075-2_0_3_load_34 | 21 | 0.00051139 | 0.00012817 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4075-2_0_3_load_26 | 22 | 0.0038239 | 0.00095835 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4075-2_0_3_load_27 | 23 | 0.0021616 | 0.00054175 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4075-2_0_3_load_37 | 24 | 0.0025499 | 0.00063907 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4075-2_0_3_load_28 | 25 | 0.0013118 | 0.00032876 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4075-2_0_3_load_29 | 26 | 0.0012417 | 0.0003112 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4075-2_0_3_load_31 | 28 | 0.0011733 | 0.00029406 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4075-2_0_3_load_39 | 31 | 0.0015888 | 0.00039819 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4075-2_0_3_load_163 | 32 | 0.0024275 | 0.00060838 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4075-2_0_3_load_38 | 35 | 0.0018879 | 0.00047315 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4075-2_0_3_load_40 | 36 | 0.013411 | 0.0033611 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4075-2_0_3_load_41 | 37 | 0.0018391 | 0.00046091 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4075-2_0_3_load_65 | 38 | 0.0030631 | 0.0007677 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4075-2_0_3_load_53 | 40 | 0.0025914 | 0.00064947 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4075-2_0_3_load_50 | 41 | 0.0019004 | 0.00047629 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4075-2_0_3_load_51 | 42 | 0.0027396 | 0.00068662 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4075-2_0_3_load_52 | 43 | 0.0025449 | 0.00063781 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4075-2_0_3_load_54 | 44 | 0.0030565 | 0.00076602 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4075-2_0_3_load_220 | 45 | 0.00098032 | 0.00024569 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4075-2_0_3_load_55 | 46 | 0.00194 | 0.0004862 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4075-2_0_3_load_56 | 47 | 0.00071308 | 0.00017871 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4075-2_0_3_load_57 | 48 | 0.0026332 | 0.00065994 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4075-2_0_3_load_59 | 49 | 0.0058527 | 0.0014668 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4075-2_0_3_load_60 | 51 | 0.0037395 | 0.00093721 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4075-2_0_3_load_62 | 53 | 0.0017997 | 0.00045105 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4075-2_0_3_load_63 | 54 | 0.0051331 | 0.0012865 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4075-2_0_3_load_73 | 55 | 0.0020567 | 0.00051547 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4075-2_0_3_load_95 | 56 | 0.0024827 | 0.00062221 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4075-2_0_3_load_87 | 57 | 0.0022944 | 0.00057503 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4075-2_0_3_load_79 | 58 | 0.003144 | 0.00078797 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4075-2_0_3_load_67 | 59 | 0.0024946 | 0.0006252 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4075-2_0_3_load_68 | 60 | 0.0025412 | 0.00063689 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4075-2_0_3_load_69 | 61 | 0.0037683 | 0.00094442 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4075-2_0_3_load_71 | 62 | 0.004158 | 0.0010421 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4075-2_0_3_load_72 | 63 | 0.005609 | 0.0014058 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4075-2_0_3_load_98 | 65 | 0.0045481 | 0.0011399 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4075-2_0_3_load_74 | 66 | 0.0011633 | 0.00029155 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4075-2_0_3_load_75 | 67 | 0.0021354 | 0.00053519 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4075-2_0_3_load_97 | 68 | 0.0015829 | 0.00039672 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4075-2_0_3_load_78 | 69 | 0.0016949 | 0.00042478 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4075-2_0_3_load_81 | 70 | 0.0031644 | 0.00079308 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4075-2_0_3_load_85 | 71 | 0.0044214 | 0.0011081 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4075-2_0_3_load_83 | 72 | 0.0044443 | 0.0011138 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4075-2_0_3_load_84 | 74 | 0.0081862 | 0.0020517 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4075-2_0_3_load_88 | 75 | 0.032307 | 0.0080968 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4075-2_0_3_load_96 | 77 | 0.002125 | 0.00053258 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4075-2_0_3_load_219 | 78 | 0.0025166 | 0.00063071 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4075-2_0_3_load_100 | 79 | 0.0031334 | 0.0007853 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4075-2_0_3_load_101 | 81 | 0.0047594 | 0.0011928 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4075-2_0_3_load_159 | 82 | 0.0044386 | 0.0011124 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4075-2_0_3_line_0 |  | 0 | 1 | 0.020945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4075-2_0_3_line_1 |  | 0 | 2 | 0.025561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4075-2_0_3_line_2 |  | 1 | 3 | 0.027273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4075-2_0_3_line_3 |  | 2 | 4 | 0.065484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4075-2_0_3_line_4 |  | 2 | 5 | 0.10128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4075-2_0_3_line_5 |  | 3 | 6 | 0.031866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4075-2_0_3_line_6 |  | 4 | 7 | 9.9123e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4075-2_0_3_line_7 |  | 6 | 16 | 0.019867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4075-2_0_3_line_8 |  | 7 | 14 | 0.038733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4075-2_0_3_line_9 |  | 8 | 9 | 0.018675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4075-2_0_3_line_10 |  | 8 | 10 | 0.001946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4075-2_0_3_line_11 |  | 9 | 11 | 0.0011685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4075-2_0_3_line_12 |  | 10 | 12 | 0.014165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4075-2_0_3_line_13 |  | 11 | 13 | 0.019544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4075-2_0_3_line_14 |  | 12 | 14 | 0.020503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4075-2_0_3_line_15 |  | 13 | 22 | 0.015679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4075-2_0_3_line_16 |  | 14 | 15 | 0.028278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4075-2_0_3_line_17 |  | 15 | 21 | 0.014849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4075-2_0_3_line_18 |  | 16 | 17 | 0.018189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4075-2_0_3_line_19 |  | 18 | 19 | 0.023459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4075-2_0_3_line_20 |  | 18 | 20 | 0.0054589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4075-2_0_3_line_21 |  | 19 | 24 | 0.025922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4075-2_0_3_line_22 |  | 20 | 34 | 0.012994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4075-2_0_3_line_23 |  | 21 | 27 | 0.036877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4075-2_0_3_line_24 |  | 22 | 23 | 0.044519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4075-2_0_3_line_25 |  | 23 | 24 | 0.0072229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4075-2_0_3_line_26 |  | 25 | 26 | 0.0083728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4075-2_0_3_line_27 |  | 25 | 27 | 0.044229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4075-2_0_3_line_28 |  | 26 | 28 | 0.014662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4075-2_0_3_line_29 |  | 27 | 29 | 0.00842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4075-2_0_3_line_30 |  | 27 | 30 | 0.007222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4075-2_0_3_line_31 |  | 28 | 31 | 0.010021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4075-2_0_3_line_32 |  | 29 | 32 | 0.016214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4075-2_0_3_line_33 |  | 30 | 33 | 0.02899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4075-2_0_3_line_34 |  | 31 | 35 | 0.034555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4075-2_0_3_line_35 |  | 32 | 83 | 0.014243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4075-2_0_3_line_36 |  | 33 | 57 | 0.022671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4075-2_0_3_line_37 |  | 33 | 39 | 0.02482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4075-2_0_3_line_38 |  | 34 | 59 | 0.018396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4075-2_0_3_line_39 |  | 35 | 36 | 0.0020805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4075-2_0_3_line_40 |  | 36 | 37 | 0.032677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4075-2_0_3_line_41 |  | 37 | 38 | 4.3992e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4075-2_0_3_line_42 |  | 38 | 58 | 0.028921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4075-2_0_3_line_43 |  | 39 | 40 | 0.020777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4075-2_0_3_line_44 |  | 40 | 42 | 0.00064709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4075-2_0_3_line_45 |  | 41 | 42 | 0.034702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4075-2_0_3_line_46 |  | 41 | 43 | 0.003291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4075-2_0_3_line_47 |  | 43 | 44 | 0.031699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4075-2_0_3_line_48 |  | 44 | 45 | 0.014512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4075-2_0_3_line_49 |  | 45 | 76 | 0.045392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4075-2_0_3_line_50 |  | 46 | 47 | 0.015167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4075-2_0_3_line_51 |  | 46 | 48 | 0.0065435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4075-2_0_3_line_52 |  | 48 | 49 | 0.01854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4075-2_0_3_line_53 |  | 49 | 50 | 0.0077713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4075-2_0_3_line_54 |  | 50 | 63 | 0.019397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4075-2_0_3_line_55 |  | 50 | 60 | 0.02042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4075-2_0_3_line_56 |  | 51 | 52 | 0.024344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4075-2_0_3_line_57 |  | 52 | 53 | 0.010433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4075-2_0_3_line_58 |  | 52 | 54 | 0.014043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4075-2_0_3_line_59 |  | 53 | 55 | 0.033432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4075-2_0_3_line_60 |  | 54 | 56 | 0.02531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4075-2_0_3_line_61 |  | 55 | 66 | 0.0088455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4075-2_0_3_line_62 |  | 56 | 77 | 0.058022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4075-2_0_3_line_63 |  | 58 | 69 | 0.0021106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4075-2_0_3_line_64 |  | 60 | 61 | 0.022315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4075-2_0_3_line_65 |  | 61 | 62 | 0.025635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4075-2_0_3_line_66 |  | 62 | 64 | 0.028045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4075-2_0_3_line_67 |  | 63 | 65 | 0.013097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4075-2_0_3_line_68 |  | 64 | 70 | 0.0046421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4075-2_0_3_line_69 |  | 64 | 69 | 0.022431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4075-2_0_3_line_70 |  | 65 | 80 | 0.020804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4075-2_0_3_line_71 |  | 66 | 67 | 0.020724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4075-2_0_3_line_72 |  | 67 | 68 | 0.0076336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4075-2_0_3_line_73 |  | 68 | 79 | 0.02825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4075-2_0_3_line_74 |  | 70 | 71 | 0.032663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4075-2_0_3_line_75 |  | 71 | 74 | 0.024345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4075-2_0_3_line_76 |  | 72 | 73 | 0.032945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4075-2_0_3_line_77 |  | 73 | 74 | 0.042142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4075-2_0_3_line_78 |  | 75 | 76 | 0.011546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4075-2_0_3_line_79 |  | 77 | 78 | 0.032239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4075-2_0_3_line_80 |  | 79 | 81 | 0.024899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4075-2_0_3_line_81 |  | 80 | 81 | 0.047843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4075-2_0_3_line_82 |  | 82 | 83 | 0.014997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4075-2_0_3_trafo_41 | 0.63 MVA 20/0.4 kV | 84 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2670852.0644 | 1247279.9946 | 2670864.4297 | 1247296.9001
1 | 2670852.0644 | 1247279.9946 | 2670851.4367 | 1247279.1365 | 2670837.0231 | 1247259.3278
2 | 2670881.8316 | 1247317.8844 | 2670867.5342 | 1247301.1444 | 2670864.4297 | 1247296.9001
3 | 2670876.7557 | 1247221.6123 | 2670853.1073 | 1247232.9015 | 2670833.2699 | 1247243.8167 | 2670832.5789 | 1247249.8127 | 2670834.9094 | 1247256.423 | 2670837.0231 | 1247259.3278
4 | 2670837.0231 | 1247259.3278 | 2670741.0864 | 1247226.8601
5 | 2670900.5193 | 1247343.4797 | 2670895.3488 | 1247333.711 | 2670881.8316 | 1247317.8844
6 | 2670876.7557 | 1247221.6123 | 2670876.8452 | 1247221.5696
7 | 2670900.5193 | 1247343.4797 | 2670920.2933 | 1247341.5602
8 | 2670911.7192 | 1247204.7152 | 2670878.6933 | 1247220.6874 | 2670876.8452 | 1247221.5696
9 | 2670916.4725 | 1247241.0195 | 2670917.4567 | 1247248.5371 | 2670920.3209 | 1247259.2545
10 | 2670916.4725 | 1247241.0195 | 2670916.2198 | 1247239.09
11 | 2670920.3209 | 1247259.2545 | 2670920.6226 | 1247260.3834
12 | 2670914.3809 | 1247225.0444 | 2670916.2198 | 1247239.09
13 | 2670928.9303 | 1247277.9974 | 2670927.189 | 1247275.3947 | 2670921.1801 | 1247262.4693 | 2670920.6226 | 1247260.3834
14 | 2670911.7192 | 1247204.7152 | 2670914.3809 | 1247225.0444
15 | 2670928.9303 | 1247277.9974 | 2670937.649 | 1247291.0287
16 | 2670911.7192 | 1247204.7152 | 2670914.5319 | 1247190.5944 | 2670920.5433 | 1247178.0844
17 | 2670929.296 | 1247166.317 | 2670923.1381 | 1247172.6846 | 2670920.5433 | 1247178.0844
18 | 2670938.296 | 1247342.5641 | 2670928.0528 | 1247340.807 | 2670920.2933 | 1247341.5602
19 | 2671002.6331 | 1247366.1173 | 2670995.1699 | 1247347.2479 | 2670993.0837 | 1247344.8641
20 | 2671002.6331 | 1247366.1173 | 2671007.5244 | 1247368.5409
21 | 2670974.7323 | 1247326.7266 | 2670982.1897 | 1247332.4153 | 2670993.0837 | 1247344.8641
22 | 2671019.1672 | 1247374.3099 | 2671007.5244 | 1247368.5409
23 | 2670954.9316 | 1247139.8082 | 2670929.296 | 1247166.317
24 | 2670937.649 | 1247291.0287 | 2670940.6277 | 1247295.4808 | 2670959.5477 | 1247315.1433 | 2670968.9895 | 1247322.3458
25 | 2670974.7323 | 1247326.7266 | 2670968.9895 | 1247322.3458
26 | 2670968.486 | 1247179.5637 | 2670972.9235 | 1247186.6639
27 | 2670954.9316 | 1247139.8082 | 2670952.7177 | 1247148.0765 | 2670954.5119 | 1247157.2044 | 2670968.486 | 1247179.5637
28 | 2670972.9235 | 1247186.6639 | 2670980.6944 | 1247199.0976
29 | 2670950.1502 | 1247132.8683 | 2670954.9316 | 1247139.8082
30 | 2670962.1736 | 1247139.9616 | 2670954.9316 | 1247139.8082
31 | 2670986.0054 | 1247207.5954 | 2670980.6944 | 1247199.0976
32 | 2670950.1502 | 1247132.8683 | 2670960.4813 | 1247120.3724
33 | 2670962.1736 | 1247139.9616 | 2670963.141 | 1247136.1371 | 2670977.4233 | 1247121.7534 | 2670980.7133 | 1247118.2458
34 | 2671004.3191 | 1247236.8982 | 2670986.0054 | 1247207.5954
35 | 2670969.5569 | 1247109.395 | 2670960.4813 | 1247120.3724
36 | 2670980.7133 | 1247118.2458 | 2670999.3749 | 1247131.1191
37 | 2670997.722 | 1247100.1254 | 2670980.7133 | 1247118.2458
38 | 2671019.1672 | 1247374.3099 | 2671035.8987 | 1247381.9574
39 | 2671004.3191 | 1247236.8982 | 2671005.4218 | 1247238.6625
40 | 2671005.4218 | 1247238.6625 | 2671017.4351 | 1247257.8844 | 2671022.9334 | 1247266.2494
41 | 2671022.9575 | 1247266.2862 | 2671022.9334 | 1247266.2494
42 | 2671022.9575 | 1247266.2862 | 2671038.8428 | 1247290.454
43 | 2670997.722 | 1247100.1254 | 2671015.1251 | 1247111.4755
44 | 2671015.6671 | 1247111.829 | 2671015.1251 | 1247111.4755
45 | 2671044.2206 | 1247131.5364 | 2671027.6122 | 1247119.6193 | 2671015.6671 | 1247111.829
46 | 2671046.8946 | 1247133.455 | 2671044.2206 | 1247131.5364
47 | 2671046.8946 | 1247133.455 | 2671055.8688 | 1247139.8943 | 2671073.8248 | 1247150.0992
48 | 2671086.4411 | 1247157.2695 | 2671073.8248 | 1247150.0992
49 | 2671086.4411 | 1247157.2695 | 2671131.7869 | 1247155.2262
50 | 2671159.9108 | 1247362.3906 | 2671172.8661 | 1247370.2775
51 | 2671159.9108 | 1247362.3906 | 2671154.3215 | 1247358.988
52 | 2671154.3215 | 1247358.988 | 2671138.4854 | 1247349.3473
53 | 2671131.8474 | 1247345.3062 | 2671138.4854 | 1247349.3473
54 | 2671131.8474 | 1247345.3062 | 2671142.3759 | 1247329.0159
55 | 2671131.8474 | 1247345.3062 | 2671117.4952 | 1247336.5724 | 2671114.5633 | 1247334.4507
56 | 2671033.6079 | 1247182.1688 | 2671011.714 | 1247171.5248
57 | 2671033.6079 | 1247182.1688 | 2671031.6986 | 1247192.1085 | 2671031.8505 | 1247192.3803
58 | 2671033.6079 | 1247182.1688 | 2671046.9212 | 1247186.6363
59 | 2671048.9086 | 1247221.0572 | 2671045.5565 | 1247216.9143 | 2671031.8505 | 1247192.3803
60 | 2671070.8626 | 1247194.8393 | 2671065.9428 | 1247193.0194 | 2671046.9212 | 1247186.6363
61 | 2671048.9086 | 1247221.0572 | 2671054.4724 | 1247227.9338
62 | 2671070.8626 | 1247194.8393 | 2671098.2192 | 1247204.9591 | 2671125.1451 | 1247215.3281
63 | 2671040.0021 | 1247292.2177 | 2671038.8428 | 1247290.454
64 | 2671114.5633 | 1247334.4507 | 2671096.4852 | 1247321.368
65 | 2671075.7178 | 1247306.3391 | 2671096.4852 | 1247321.368
66 | 2671052.3225 | 1247310.9621 | 2671057.6437 | 1247303.098 | 2671067.6539 | 1247303.5627 | 2671075.7178 | 1247306.3391 | 2671075.7178 | 1247306.3391
67 | 2671142.3759 | 1247329.0159 | 2671149.4853 | 1247318.0159
68 | 2671052.3225 | 1247310.9621 | 2671055.1337 | 1247314.6562
69 | 2671052.3225 | 1247310.9621 | 2671040.0021 | 1247292.2177
70 | 2671160.7777 | 1247300.5437 | 2671149.4853 | 1247318.0159
71 | 2671054.4724 | 1247227.9338 | 2671062.6535 | 1247238.0452 | 2671069.0961 | 1247242.2939
72 | 2671075.4688 | 1247246.4964 | 2671069.0961 | 1247242.2939
73 | 2671099.1902 | 1247261.835 | 2671089.3402 | 1247255.6441 | 2671075.4688 | 1247246.4964
74 | 2671074.9138 | 1247340.6489 | 2671055.1337 | 1247314.6562
75 | 2671089.6564 | 1247360.022 | 2671074.9138 | 1247340.6489
76 | 2671115.2714 | 1247393.4861 | 2671115.2625 | 1247399.2679 | 2671117.7127 | 1247405.9465 | 2671118.7116 | 1247408.9383 | 2671119.0762 | 1247410.0213 | 2671119.4409 | 1247411.1042 | 2671117.8159 | 1247411.8185 | 2671116.3181 | 1247411.378 | 2671110.9693 | 1247408.9566 | 2671107.7073 | 1247407.6166 | 2671106.028 | 1247408.4526
77 | 2671115.2714 | 1247393.4861 | 2671095.6082 | 1247367.8433 | 2671089.6564 | 1247360.022
78 | 2671131.7869 | 1247155.2262 | 2671139.7157 | 1247163.6188
79 | 2671155.2304 | 1247226.9138 | 2671125.1451 | 1247215.3281
80 | 2671120.2711 | 1247275.0847 | 2671099.1902 | 1247261.835
81 | 2671160.7777 | 1247300.5437 | 2671120.2711 | 1247275.0847
82 | 2670969.5569 | 1247109.395 | 2670979.1916 | 1247097.9019

## bus_geodata
| x | y | coords
0 | 2670852.0644 | 1247279.9946
1 | 2670864.4297 | 1247296.9001
2 | 2670837.0231 | 1247259.3278
3 | 2670881.8316 | 1247317.8844
4 | 2670876.7557 | 1247221.6123
5 | 2670741.0864 | 1247226.8601
6 | 2670900.5193 | 1247343.4797
7 | 2670876.8452 | 1247221.5696
8 | 2670916.4725 | 1247241.0195
9 | 2670920.3209 | 1247259.2545
10 | 2670916.2198 | 1247239.09
11 | 2670920.6226 | 1247260.3834
12 | 2670914.3809 | 1247225.0444
13 | 2670928.9303 | 1247277.9974
14 | 2670911.7192 | 1247204.7152
15 | 2670920.5433 | 1247178.0844
16 | 2670920.2933 | 1247341.5602
17 | 2670938.296 | 1247342.5641
18 | 2671002.6331 | 1247366.1173
19 | 2670993.0837 | 1247344.8641
20 | 2671007.5244 | 1247368.5409
21 | 2670929.296 | 1247166.317
22 | 2670937.649 | 1247291.0287
23 | 2670968.9895 | 1247322.3458
24 | 2670974.7323 | 1247326.7266
25 | 2670968.486 | 1247179.5637
26 | 2670972.9235 | 1247186.6639
27 | 2670954.9316 | 1247139.8082
28 | 2670980.6944 | 1247199.0976
29 | 2670950.1502 | 1247132.8683
30 | 2670962.1736 | 1247139.9616
31 | 2670986.0054 | 1247207.5954
32 | 2670960.4813 | 1247120.3724
33 | 2670980.7133 | 1247118.2458
34 | 2671019.1672 | 1247374.3099
35 | 2671004.3191 | 1247236.8982
36 | 2671005.4218 | 1247238.6625
37 | 2671022.9334 | 1247266.2494
38 | 2671022.9575 | 1247266.2862
39 | 2670997.722 | 1247100.1254
40 | 2671015.1251 | 1247111.4755
41 | 2671044.2206 | 1247131.5364
42 | 2671015.6671 | 1247111.829
43 | 2671046.8946 | 1247133.455
44 | 2671073.8248 | 1247150.0992
45 | 2671086.4411 | 1247157.2695
46 | 2671159.9108 | 1247362.3906
47 | 2671172.8661 | 1247370.2775
48 | 2671154.3215 | 1247358.988
49 | 2671138.4854 | 1247349.3473
50 | 2671131.8474 | 1247345.3062
51 | 2671011.714 | 1247171.5248
52 | 2671033.6079 | 1247182.1688
53 | 2671031.8505 | 1247192.3803
54 | 2671046.9212 | 1247186.6363
55 | 2671048.9086 | 1247221.0572
56 | 2671070.8626 | 1247194.8393
57 | 2670999.3749 | 1247131.1191
58 | 2671038.8428 | 1247290.454
59 | 2671035.8987 | 1247381.9574
60 | 2671114.5633 | 1247334.4507
61 | 2671096.4852 | 1247321.368
62 | 2671075.7178 | 1247306.3391
63 | 2671142.3759 | 1247329.0159
64 | 2671052.3225 | 1247310.9621
65 | 2671149.4853 | 1247318.0159
66 | 2671054.4724 | 1247227.9338
67 | 2671069.0961 | 1247242.2939
68 | 2671075.4688 | 1247246.4964
69 | 2671040.0021 | 1247292.2177
70 | 2671055.1337 | 1247314.6562
71 | 2671074.9138 | 1247340.6489
72 | 2671106.028 | 1247408.4526
73 | 2671115.2714 | 1247393.4861
74 | 2671089.6564 | 1247360.022
75 | 2671139.7157 | 1247163.6188
76 | 2671131.7869 | 1247155.2262
77 | 2671125.1451 | 1247215.3281
78 | 2671155.2304 | 1247226.9138
79 | 2671099.1902 | 1247261.835
80 | 2671160.7777 | 1247300.5437
81 | 2671120.2711 | 1247275.0847
82 | 2670979.1916 | 1247097.9019
83 | 2670969.5569 | 1247109.395
84 | 2671052.3225 | 1247310.9621

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1