## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4075-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4075-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4075-6_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4075-6_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4075-6_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4075-6_0_5_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4075-6_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_4075-6_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4075-6_0_5_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_4075-6_0_5_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_4075-6_0_5_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_4075-6_0_5_node_75 | 0.4 | n |  | TRUE
12 | bus_LV_4075-6_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_4075-6_0_5_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_4075-6_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4075-6_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4075-6_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4075-6_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4075-6_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4075-6_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4075-6_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4075-6_0_5_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_4075-6_0_5_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_4075-6_0_5_node_53 | 0.4 | n |  | TRUE
24 | bus_LV_4075-6_0_5_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_4075-6_0_5_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_4075-6_0_5_node_65 | 0.4 | n |  | TRUE
27 | bus_LV_4075-6_0_5_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_4075-6_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4075-6_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4075-6_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4075-6_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_4075-6_0_5_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_4075-6_0_5_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_4075-6_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_4075-6_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_4075-6_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_4075-6_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_4075-6_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_4075-6_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_4075-6_0_5_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_4075-6_0_5_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_4075-6_0_5_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_4075-6_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_4075-6_0_5_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_4075-6_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_4075-6_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_4075-6_0_5_node_102 | 0.4 | n |  | TRUE
48 | bus_LV_4075-6_0_5_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_4075-6_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4075-6_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_4075-6_0_5_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_4075-6_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4075-6_0_5_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_4075-6_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_4075-6_0_5_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_4075-6_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_4075-6_0_5_node_104 | 0.4 | n |  | TRUE
58 | bus_LV_4075-6_0_5_node_105 | 0.4 | n |  | TRUE
59 | bus_LV_4075-6_0_5_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_4075-6_0_5_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_4075-6_0_5_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_4075-6_0_5_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_4075-6_0_5_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_4075-6_0_5_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_4075-6_0_5_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_4075-6_0_5_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_4075-6_0_5_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_4075-6_0_5_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_4075-6_0_5_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_4075-6_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_4075-6_0_5_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_4075-6_0_5_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_4075-6_0_5_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_4075-6_0_5_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_4075-6_0_5_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_4075-6_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4075-6_0_5_node_111 | 0.4 | n |  | TRUE
78 | bus_LV_4075-6_0_5_node_110 | 0.4 | n |  | TRUE
79 | bus_LV_4075-6_0_5_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_4075-6_0_5_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_4075-6_0_5_node_112 | 0.4 | n |  | TRUE
82 | bus_LV_4075-6_0_5_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_4075-6_0_5_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_4075-6_0_5_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_4075-6_0_5_node_113 | 0.4 | n |  | TRUE
86 | bus_LV_4075-6_0_5_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_4075-6_0_5_node_89 | 0.4 | n |  | TRUE
88 | bus_LV_4075-6_0_5_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_4075-6_0_5_node_95 | 0.4 | n |  | TRUE
90 | bus_LV_4075-6_0_5_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_4075-6_0_5_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_4075-6_0_5_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_4075-6_0_5_node_103 | 0.4 | n |  | TRUE
94 | bus_LV_4075-6_0_5_node_101 | 0.4 | n |  | TRUE
95 | bus_LV_4075-6_0_5_node_88 | 0.4 | n |  | TRUE
96 | bus_LV_4075-6_0_5_node_100 | 0.4 | n |  | TRUE
97 | bus_LV_4075-6_0_5_node_106 | 0.4 | n |  | TRUE
98 | bus_LV_4075-6_0_5_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_4075-6_0_5_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_4075-6_0_5_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_4075-6_0_5_node_92 | 0.4 | n |  | TRUE
102 | bus_LV_4075-6_0_5_node_97 | 0.4 | n |  | TRUE
103 | bus_LV_4075-6_0_5_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_4075-6_0_5_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_4075-6_0_5_node_109 | 0.4 | n |  | TRUE
106 | bus_LV_4075-6_0_5_node_114 | 0.4 | n |  | TRUE
107 | bus_LV_4075-6_0_5_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_4075-6_0_5_node_108 | 0.4 | n |  | TRUE
109 | bus_MV_420_0_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4075-6_0_5_load_0 | 0 | 0.021691 | 0.0054363 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4075-6_0_5_load_1 | 1 | 0.010632 | 0.0026647 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4075-6_0_5_load_3 | 3 | 0.012618 | 0.0031624 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4075-6_0_5_load_6 | 5 | 0.0058277 | 0.0014606 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4075-6_0_5_load_8 | 6 | 0.013529 | 0.0033907 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4075-6_0_5_load_50 | 9 | 0.0023202 | 0.00058151 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4075-6_0_5_load_75 | 11 | 0.011701 | 0.0029324 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4075-6_0_5_load_14 | 12 | 0.013244 | 0.0033193 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4075-6_0_5_load_77 | 13 | 0.0038735 | 0.0009708 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4075-6_0_5_load_9 | 15 | 0.020031 | 0.0050202 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4075-6_0_5_load_11 | 17 | 0.016362 | 0.0041008 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4075-6_0_5_load_13 | 18 | 0.02181 | 0.0054661 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4075-6_0_5_load_15 | 19 | 0.0039517 | 0.00099039 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4075-6_0_5_load_59 | 22 | 0.010151 | 0.0025442 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4075-6_0_5_load_53 | 23 | 0.0063866 | 0.0016006 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4075-6_0_5_load_51 | 24 | 0.0022746 | 0.00057006 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4075-6_0_5_load_58 | 25 | 0.0089377 | 0.00224 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4075-6_0_5_load_65 | 26 | 0.0042572 | 0.0010669 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4075-6_0_5_load_66 | 27 | 0.001537 | 0.0003852 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4075-6_0_5_load_21 | 28 | 0.0027817 | 0.00069716 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4075-6_0_5_load_22 | 29 | 0.001916 | 0.00048019 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4075-6_0_5_load_32 | 32 | 0.0030644 | 0.00076801 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4075-6_0_5_load_31 | 33 | 0.0033694 | 0.00084446 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4075-6_0_5_load_25 | 34 | 0.0025243 | 0.00063265 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4075-6_0_5_load_26 | 35 | 0.0021525 | 0.00053947 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4075-6_0_5_load_28 | 37 | 0.0021694 | 0.0005437 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4075-6_0_5_load_29 | 38 | 0.0031491 | 0.00078923 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4075-6_0_5_load_30 | 39 | 0.0027992 | 0.00070156 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4075-6_0_5_load_38 | 40 | 0.0021786 | 0.00054601 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4075-6_0_5_load_40 | 41 | 0.003502 | 0.0008777 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4075-6_0_5_load_44 | 42 | 0.0033463 | 0.00083867 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4075-6_0_5_load_37 | 43 | 0.0021377 | 0.00053576 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4075-6_0_5_load_33 | 45 | 0.0047609 | 0.0011932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4075-6_0_5_load_34 | 46 | 0.0047627 | 0.0011937 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4075-6_0_5_load_102 | 47 | 0.013087 | 0.0032798 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4075-6_0_5_load_42 | 48 | 0.0036439 | 0.00091325 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4075-6_0_5_load_36 | 49 | 0.0020643 | 0.00051737 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4075-6_0_5_load_39 | 52 | 0.0025025 | 0.00062718 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4075-6_0_5_load_43 | 53 | 0.0036432 | 0.00091308 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4075-6_0_5_load_46 | 54 | 0.0036436 | 0.00091317 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4075-6_0_5_load_45 | 55 | 0.0022073 | 0.0005532 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4075-6_0_5_load_47 | 56 | 0.0028345 | 0.0007104 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4075-6_0_5_load_104 | 57 | 0.0059907 | 0.0015014 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4075-6_0_5_load_105 | 58 | 0.0050936 | 0.0012766 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4075-6_0_5_load_54 | 59 | 0.0099774 | 0.0025006 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4075-6_0_5_load_56 | 61 | 0.0075079 | 0.0018816 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4075-6_0_5_load_83 | 64 | 0.0090006 | 0.0022558 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4075-6_0_5_load_82 | 65 | 0.0011035 | 0.00027655 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4075-6_0_5_load_72 | 66 | 0.0054981 | 0.001378 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4075-6_0_5_load_73 | 67 | 0.0052769 | 0.0013225 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4075-6_0_5_load_74 | 68 | 0.0035418 | 0.00088766 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4075-6_0_5_load_96 | 69 | 0.014603 | 0.0036599 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4075-6_0_5_load_61 | 71 | 0.0094616 | 0.0023713 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4075-6_0_5_load_67 | 72 | 0.010797 | 0.002706 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4075-6_0_5_load_69 | 73 | 0.0012006 | 0.00030089 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4075-6_0_5_load_62 | 74 | 0.0051229 | 0.0012839 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4075-6_0_5_load_111 | 77 | 0.0045982 | 0.0011524 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4075-6_0_5_load_110 | 78 | 0.00063769 | 0.00015982 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4075-6_0_5_load_78 | 80 | 0.0035492 | 0.00088952 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4075-6_0_5_load_112 | 81 | 0.0035399 | 0.00088718 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4075-6_0_5_load_80 | 82 | 0.021819 | 0.0054685 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4075-6_0_5_load_81 | 83 | 0.0091597 | 0.0022956 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4075-6_0_5_load_76 | 84 | 0.0090456 | 0.002267 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4075-6_0_5_load_113 | 85 | 0.0031868 | 0.0007987 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4075-6_0_5_load_87 | 86 | 0.014395 | 0.0036077 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4075-6_0_5_load_89 | 87 | 0.020228 | 0.0050696 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4075-6_0_5_load_90 | 88 | 0.0146 | 0.0036591 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4075-6_0_5_load_95 | 89 | 0.0044165 | 0.0011069 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4075-6_0_5_load_84 | 90 | 0.007684 | 0.0019258 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4075-6_0_5_load_85 | 91 | 0.0040131 | 0.0010058 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4075-6_0_5_load_86 | 92 | 0.0040137 | 0.0010059 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4075-6_0_5_load_103 | 93 | 0.0052492 | 0.0013156 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4075-6_0_5_load_101 | 94 | 0.01135 | 0.0028446 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4075-6_0_5_load_91 | 98 | 0.012247 | 0.0030695 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4075-6_0_5_load_94 | 99 | 0.0087597 | 0.0021954 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4075-6_0_5_load_93 | 100 | 0.0087624 | 0.0021961 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4075-6_0_5_load_92 | 101 | 0.0072607 | 0.0018197 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4075-6_0_5_load_109 | 105 | 0.0011476 | 0.0002876 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4075-6_0_5_load_114 | 106 | 0.008763 | 0.0021962 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4075-6_0_5_load_107 | 107 | 0.0013439 | 0.00033681 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4075-6_0_5_load_108 | 108 | 0.0013028 | 0.0003265 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4075-6_0_5_line_0 |  | 0 | 1 | 0.024259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4075-6_0_5_line_1 |  | 0 | 2 | 0.039519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4075-6_0_5_line_2 |  | 1 | 3 | 0.014036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4075-6_0_5_line_3 |  | 2 | 4 | 0.06042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4075-6_0_5_line_4 |  | 3 | 5 | 0.037769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4075-6_0_5_line_5 |  | 4 | 6 | 0.076084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4075-6_0_5_line_6 |  | 5 | 7 | 0.016993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4075-6_0_5_line_7 |  | 7 | 11 | 0.020626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4075-6_0_5_line_8 |  | 7 | 12 | 0.031926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4075-6_0_5_line_9 |  | 8 | 9 | 0.062805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4075-6_0_5_line_10 |  | 8 | 10 | 0.026312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4075-6_0_5_line_11 |  | 9 | 24 | 0.03499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4075-6_0_5_line_12 |  | 10 | 19 | 0.021215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4075-6_0_5_line_13 |  | 11 | 13 | 0.017691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4075-6_0_5_line_14 |  | 12 | 14 | 0.0087535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4075-6_0_5_line_15 |  | 13 | 84 | 0.0066309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_4075-6_0_5_line_16 |  | 14 | 18 | 0.034108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4075-6_0_5_line_17 |  | 14 | 17 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4075-6_0_5_line_18 |  | 15 | 16 | 0.024294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4075-6_0_5_line_19 |  | 16 | 17 | 0.038633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4075-6_0_5_line_20 |  | 20 | 21 | 0.061277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4075-6_0_5_line_21 |  | 20 | 22 | 0.015327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4075-6_0_5_line_22 |  | 21 | 23 | 0.012076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4075-6_0_5_line_23 |  | 21 | 24 | 0.024371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4075-6_0_5_line_24 |  | 22 | 25 | 0.045738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4075-6_0_5_line_25 |  | 23 | 59 | 0.027159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4075-6_0_5_line_26 |  | 25 | 70 | 0.037367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4075-6_0_5_line_27 |  | 26 | 27 | 0.025713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4075-6_0_5_line_28 |  | 27 | 72 | 0.02743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4075-6_0_5_line_29 |  | 28 | 29 | 0.024471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4075-6_0_5_line_30 |  | 28 | 30 | 0.070671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4075-6_0_5_line_31 |  | 30 | 31 | 0.090963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4075-6_0_5_line_32 |  | 31 | 32 | 0.063641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4075-6_0_5_line_33 |  | 32 | 33 | 0.0076287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4075-6_0_5_line_34 |  | 33 | 45 | 0.013154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4075-6_0_5_line_35 |  | 34 | 35 | 0.024629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4075-6_0_5_line_36 |  | 34 | 36 | 0.0046794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4075-6_0_5_line_37 |  | 35 | 37 | 0.0032637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4075-6_0_5_line_38 |  | 36 | 38 | 0.015965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4075-6_0_5_line_39 |  | 36 | 39 | 0.018186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4075-6_0_5_line_40 |  | 37 | 40 | 0.021677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4075-6_0_5_line_41 |  | 38 | 41 | 0.00056236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4075-6_0_5_line_42 |  | 39 | 42 | 0.0052975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4075-6_0_5_line_43 |  | 40 | 43 | 0.0014712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4075-6_0_5_line_44 |  | 41 | 44 | 0.018767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4075-6_0_5_line_45 |  | 43 | 52 | 0.0038305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4075-6_0_5_line_46 |  | 44 | 48 | 0.015247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4075-6_0_5_line_47 |  | 44 | 53 | 0.019971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4075-6_0_5_line_48 |  | 45 | 46 | 0.0241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4075-6_0_5_line_49 |  | 46 | 47 | 0.022093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4075-6_0_5_line_50 |  | 47 | 48 | 0.036376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4075-6_0_5_line_51 |  | 49 | 50 | 0.056151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4075-6_0_5_line_52 |  | 50 | 51 | 0.053257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4075-6_0_5_line_53 |  | 51 | 57 | 0.030377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4075-6_0_5_line_54 |  | 51 | 56 | 0.021581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4075-6_0_5_line_55 |  | 53 | 54 | 0.035814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4075-6_0_5_line_56 |  | 54 | 55 | 0.0075875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4075-6_0_5_line_57 |  | 55 | 56 | 0.029874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4075-6_0_5_line_58 |  | 57 | 58 | 0.01285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4075-6_0_5_line_59 |  | 58 | 96 | 0.028054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4075-6_0_5_line_60 |  | 59 | 60 | 0.06669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4075-6_0_5_line_61 |  | 60 | 61 | 0.018885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4075-6_0_5_line_62 |  | 60 | 62 | 0.007853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4075-6_0_5_line_63 |  | 61 | 63 | 0.040964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4075-6_0_5_line_64 |  | 62 | 64 | 0.034526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4075-6_0_5_line_65 |  | 62 | 65 | 0.061332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4075-6_0_5_line_66 |  | 63 | 66 | 0.02884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_4075-6_0_5_line_67 |  | 63 | 67 | 0.024556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_4075-6_0_5_line_68 |  | 63 | 68 | 0.028942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_4075-6_0_5_line_69 |  | 64 | 69 | 0.067452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4075-6_0_5_line_70 |  | 66 | 79 | 0.031314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4075-6_0_5_line_71 |  | 67 | 80 | 0.01786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_4075-6_0_5_line_72 |  | 68 | 81 | 0.018042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4075-6_0_5_line_73 |  | 69 | 89 | 0.036937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4075-6_0_5_line_74 |  | 70 | 71 | 0.028174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4075-6_0_5_line_75 |  | 71 | 72 | 0.030675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4075-6_0_5_line_76 |  | 72 | 73 | 0.083808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4075-6_0_5_line_77 |  | 74 | 75 | 0.076828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4075-6_0_5_line_78 |  | 75 | 76 | 0.036937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4075-6_0_5_line_79 |  | 76 | 77 | 0.035019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4075-6_0_5_line_80 |  | 77 | 78 | 0.042231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4075-6_0_5_line_81 |  | 78 | 108 | 0.013657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4075-6_0_5_line_82 |  | 79 | 82 | 0.021187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4075-6_0_5_line_83 |  | 79 | 83 | 0.013857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4075-6_0_5_line_84 |  | 80 | 84 | 0.011079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_4075-6_0_5_line_85 |  | 81 | 85 | 0.017191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4075-6_0_5_line_86 |  | 82 | 86 | 0.019268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4075-6_0_5_line_87 |  | 83 | 87 | 0.056218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4075-6_0_5_line_88 |  | 85 | 97 | 0.028188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4075-6_0_5_line_89 |  | 87 | 88 | 0.050867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4075-6_0_5_line_90 |  | 88 | 98 | 0.0019139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4075-6_0_5_line_91 |  | 89 | 102 | 0.082622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4075-6_0_5_line_92 |  | 90 | 91 | 0.064492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4075-6_0_5_line_93 |  | 91 | 92 | 0.034077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4075-6_0_5_line_94 |  | 92 | 93 | 0.030659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4075-6_0_5_line_95 |  | 93 | 94 | 0.030833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4075-6_0_5_line_96 |  | 94 | 95 | 0.046421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4075-6_0_5_line_97 |  | 95 | 96 | 0.016505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4075-6_0_5_line_98 |  | 96 | 97 | 0.002924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4075-6_0_5_line_99 |  | 98 | 99 | 0.040381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4075-6_0_5_line_100 |  | 99 | 100 | 0.0042727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4075-6_0_5_line_101 |  | 100 | 101 | 0.0074849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4075-6_0_5_line_102 |  | 102 | 103 | 0.019212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4075-6_0_5_line_103 |  | 102 | 104 | 0.012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4075-6_0_5_line_104 |  | 103 | 105 | 0.028977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4075-6_0_5_line_105 |  | 104 | 106 | 0.0093386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4075-6_0_5_line_106 |  | 105 | 107 | 0.019497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4075-6_0_5_line_107 |  | 107 | 108 | 0.017089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4075-6_0_5_trafo_72 | 0.63 MVA 20/0.4 kV | 109 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2671153.3697 | 1247006.7994 | 2671157.5219 | 1247016.7923 | 2671162.2471 | 1247029.3714
1 | 2671138.206 | 1246970.3055 | 2671153.3697 | 1247006.7994
2 | 2671167.1828 | 1247042.5111 | 2671162.2471 | 1247029.3714
3 | 2671138.206 | 1246970.3055 | 2671128.8085 | 1246980.4222 | 2671110.6556 | 1247000.6744 | 2671093.9172 | 1247010.692
4 | 2671167.1828 | 1247042.5111 | 2671175.5504 | 1247064.7871 | 2671183.5662 | 1247076.2326
5 | 2671093.9172 | 1247010.692 | 2671111.6694 | 1247035.8004 | 2671106.3814 | 1247039.6174 | 2671101.6139 | 1247056.0831 | 2671112.7137 | 1247074.695
6 | 2671193.3141 | 1247090.1516 | 2671183.5662 | 1247076.2326
7 | 2671193.3141 | 1247090.1516 | 2671205.1473 | 1247107.046
8 | 2671193.3141 | 1247090.1516 | 2671170.2374 | 1247112.214
9 | 2671208.9296 | 1246947.8715 | 2671217.3737 | 1246963.673 | 2671210.862 | 1246967.4752 | 2671231.2146 | 1246998.7913
10 | 2671208.9296 | 1246947.8715 | 2671212.7037 | 1246945.593 | 2671223.3892 | 1246964.7126
11 | 2671231.2146 | 1246998.7913 | 2671234.3431 | 1247003.605 | 2671250.3085 | 1247028.1117
12 | 2671223.3892 | 1246964.7126 | 2671241.176 | 1246953.1488
13 | 2671205.1473 | 1247107.046 | 2671215.2965 | 1247121.5361
14 | 2671163.9103 | 1247118.2631 | 2671170.2374 | 1247112.214
15 | 2671219.1007 | 1247126.9673 | 2671215.2965 | 1247121.5361
16 | 2671163.9103 | 1247118.2631 | 2671184.6247 | 1247145.3607
17 | 2671163.9103 | 1247118.2631 | 2671155.7423 | 1247126.0706
18 | 2671131.7869 | 1247155.2262 | 2671119.7035 | 1247141.8163 | 2671114.8445 | 1247137.8961
19 | 2671131.7869 | 1247155.2262 | 2671133.2985 | 1247148.8621 | 2671135.4313 | 1247145.4853 | 2671155.7423 | 1247126.0706
20 | 2671310.0895 | 1247008.8411 | 2671267.1456 | 1247040.3251 | 2671265.9103 | 1247041.9225 | 2671264.7396 | 1247045.0551 | 2671264.4798 | 1247047.8095
21 | 2671310.0895 | 1247008.8411 | 2671317.9492 | 1247016.6856 | 2671321.0095 | 1247019.5951
22 | 2671264.4798 | 1247047.8095 | 2671268.6062 | 1247055.8092 | 2671270.3408 | 1247058.3484
23 | 2671264.4798 | 1247047.8095 | 2671262.0278 | 1247045.6785 | 2671259.5531 | 1247042.3019 | 2671250.3085 | 1247028.1117
24 | 2671356.5842 | 1247048.1665 | 2671352.2773 | 1247045.2186 | 2671334.4615 | 1247032.3842 | 2671321.0095 | 1247019.5951
25 | 2671270.3408 | 1247058.3484 | 2671273.9136 | 1247063.5784 | 2671277.5983 | 1247066.8473 | 2671281.1194 | 1247070.5255 | 2671286.9431 | 1247079.6294
26 | 2671391.2791 | 1247046.2998 | 2671386.2259 | 1247048.1625 | 2671378.9168 | 1247051.6882 | 2671372.6107 | 1247053.4691 | 2671366.8645 | 1247053.2887 | 2671360.5784 | 1247050.9003 | 2671356.5842 | 1247048.1665
27 | 2671335.4618 | 1246949.5895 | 2671340.9708 | 1246959.7443 | 2671348.4704 | 1246971.7558
28 | 2671348.4704 | 1246971.7558 | 2671362.9976 | 1246995.0229
29 | 2671266.6036 | 1247475.4755 | 2671283.4641 | 1247493.211
30 | 2671335.7639 | 1247540.4827 | 2671307.4168 | 1247514.1565 | 2671295.5666 | 1247505.9415 | 2671283.4641 | 1247493.211
31 | 2671335.7639 | 1247540.4827 | 2671349.125 | 1247536.7408 | 2671372.6486 | 1247526.4276 | 2671397.0785 | 1247507.3414 | 2671392.1687 | 1247502.9792 | 2671388.4018 | 1247500.9213 | 2671383.7745 | 1247500.065 | 2671380.9211 | 1247496.1612
32 | 2671380.9211 | 1247496.1612 | 2671374.1978 | 1247494.3679 | 2671368.0144 | 1247490.3907 | 2671351.7162 | 1247471.4478 | 2671336.4421 | 1247452.4954
33 | 2671331.6551 | 1247446.5556 | 2671336.4421 | 1247452.4954
34 | 2671331.6551 | 1247446.5556 | 2671324.5156 | 1247437.6967 | 2671323.3036 | 1247436.3986
35 | 2671253.9593 | 1247413.58 | 2671253.2556 | 1247412.8336 | 2671235.1703 | 1247397.6673
36 | 2671231.5848 | 1247394.6604 | 2671235.1703 | 1247397.6673
37 | 2671253.9593 | 1247413.58 | 2671256.1981 | 1247415.9548
38 | 2671231.5848 | 1247394.6604 | 2671241.7437 | 1247382.3443
39 | 2671231.5848 | 1247394.6604 | 2671217.2658 | 1247383.4495
40 | 2671271.0682 | 1247431.7277 | 2671256.1981 | 1247415.9548
41 | 2671241.7437 | 1247382.3443 | 2671242.1015 | 1247381.9105
42 | 2671213.0946 | 1247380.1837 | 2671217.2658 | 1247383.4495
43 | 2671272.0774 | 1247432.7981 | 2671271.0682 | 1247431.7277
44 | 2671254.0431 | 1247367.4331 | 2671242.1015 | 1247381.9105
45 | 2671274.705 | 1247435.5853 | 2671272.0774 | 1247432.7981
46 | 2671254.0431 | 1247367.4331 | 2671257.2709 | 1247370.3628 | 2671265.3213 | 1247377.6927
47 | 2671254.0431 | 1247367.4331 | 2671238.2649 | 1247355.1906
48 | 2671323.3036 | 1247436.3986 | 2671306.8561 | 1247418.783
49 | 2671306.8561 | 1247418.783 | 2671305.1122 | 1247416.9153 | 2671291.7149 | 1247402.6943
50 | 2671291.7149 | 1247402.6943 | 2671285.2888 | 1247395.8732 | 2671265.3213 | 1247377.6927
51 | 2671131.8474 | 1247345.3062 | 2671174.0114 | 1247370.9747 | 2671172.0017 | 1247377.459
52 | 2671131.8474 | 1247345.3062 | 2671160.7777 | 1247300.5437
53 | 2671160.7777 | 1247300.5437 | 2671173.8794 | 1247273.1378
54 | 2671160.7777 | 1247300.5437 | 2671178.6327 | 1247312.6656
55 | 2671209.6266 | 1247333.7075 | 2671217.2317 | 1247338.8707 | 2671238.2649 | 1247355.1906
56 | 2671203.3491 | 1247329.4457 | 2671209.6266 | 1247333.7075
57 | 2671203.3491 | 1247329.4457 | 2671178.6327 | 1247312.6656
58 | 2671173.8794 | 1247273.1378 | 2671179.4218 | 1247261.5443
59 | 2671191.5218 | 1247236.2337 | 2671179.4218 | 1247261.5443
60 | 2671298.157 | 1247132.3519 | 2671288.9162 | 1247118.7645 | 2671287.3376 | 1247116.2438 | 2671285.3127 | 1247113.1506 | 2671299.0215 | 1247101.2958 | 2671299.4118 | 1247098.3651 | 2671290.1796 | 1247084.6889 | 2671286.9431 | 1247079.6294
61 | 2671298.157 | 1247132.3519 | 2671283.6279 | 1247144.4169
62 | 2671304.1851 | 1247127.2986 | 2671298.157 | 1247132.3519
63 | 2671251.3754 | 1247169.6162 | 2671263.022 | 1247161.5282 | 2671283.6279 | 1247144.4169
64 | 2671304.1851 | 1247127.2986 | 2671324.6631 | 1247155.0955
65 | 2671304.1851 | 1247127.2986 | 2671294.4809 | 1247113.3053 | 2671268.8032 | 1247077.2027
66 | 2671251.3754 | 1247169.6162 | 2671270.4104 | 1247191.2819
67 | 2671251.3754 | 1247169.6162 | 2671236.3587 | 1247150.1874
68 | 2671251.3754 | 1247169.6162 | 2671229.3416 | 1247188.3813
69 | 2671364.1719 | 1247209.7417 | 2671361.3191 | 1247206.464 | 2671328.9045 | 1247160.8529 | 2671324.6631 | 1247155.0955
70 | 2671284.4116 | 1247218.2254 | 2671280.9654 | 1247203.2956 | 2671270.4104 | 1247191.2819
71 | 2671236.3587 | 1247150.1874 | 2671225.7593 | 1247136.4739 | 2671225.4565 | 1247136.0416
72 | 2671229.3416 | 1247188.3813 | 2671215.6057 | 1247200.0795
73 | 2671388.4227 | 1247237.6034 | 2671364.1719 | 1247209.7417
74 | 2671391.2791 | 1247046.2998 | 2671389.4674 | 1247043.6873 | 2671385.9385 | 1247032.5146 | 2671379.0145 | 1247021.1843
75 | 2671362.9976 | 1246995.0229 | 2671364.3967 | 1246997.2638 | 2671379.0145 | 1247021.1843
76 | 2671362.9976 | 1246995.0229 | 2671427.227 | 1246941.1859
77 | 2671547.7867 | 1247169.9844 | 2671537.8229 | 1247164.4047 | 2671517.9983 | 1247157.861 | 2671493.7048 | 1247146.0709 | 2671479.4321 | 1247135.8963
78 | 2671533.0082 | 1247199.7162 | 2671551.2987 | 1247176.2757 | 2671547.7867 | 1247169.9844
79 | 2671533.0082 | 1247199.7162 | 2671526.9728 | 1247207.8603 | 2671506.8933 | 1247222.5555
80 | 2671472.6431 | 1247247.2583 | 2671481.6528 | 1247240.9819 | 2671489.5016 | 1247235.2836 | 2671506.8933 | 1247222.5555
81 | 2671472.6431 | 1247247.2583 | 2671470.0896 | 1247249.0372 | 2671461.7115 | 1247255.4411
82 | 2671284.4116 | 1247218.2254 | 2671265.0912 | 1247226.9204
83 | 2671284.4116 | 1247218.2254 | 2671297.5938 | 1247222.498
84 | 2671219.1007 | 1247126.9673 | 2671225.4565 | 1247136.0416
85 | 2671215.6057 | 1247200.0795 | 2671202.5179 | 1247211.2257
86 | 2671265.0912 | 1247226.9204 | 2671264.9923 | 1247226.9649 | 2671246.1869 | 1247230.6309
87 | 2671335.1581 | 1247264.2456 | 2671325.8041 | 1247252.1582 | 2671297.5938 | 1247222.498
88 | 2671188.6591 | 1247235.5989 | 2671194.7139 | 1247222.0175 | 2671202.5179 | 1247211.2257
89 | 2671335.1581 | 1247264.2456 | 2671351.018 | 1247284.7401 | 2671365.1218 | 1247305.3249
90 | 2671365.1218 | 1247305.3249 | 2671366.2036 | 1247306.9037
91 | 2671452.247 | 1247289.8735 | 2671430.8657 | 1247274.6384 | 2671412.9975 | 1247259.3347 | 2671390.9343 | 1247240.489 | 2671388.4227 | 1247237.6034
92 | 2671347.9569 | 1247383.4961 | 2671337.4209 | 1247368.9252 | 2671305.6191 | 1247334.9855
93 | 2671305.6191 | 1247334.9855 | 2671296.8518 | 1247325.6289 | 2671280.6753 | 1247311.8414
94 | 2671257.342 | 1247291.9541 | 2671280.6753 | 1247311.8414
95 | 2671257.342 | 1247291.9541 | 2671248.7391 | 1247284.6217 | 2671233.3182 | 1247272.6383
96 | 2671208.0257 | 1247237.5216 | 2671207.8015 | 1247244.2348 | 2671209.4242 | 1247252.5157 | 2671220.1521 | 1247262.4071 | 2671233.3182 | 1247272.6383
97 | 2671191.5218 | 1247236.2337 | 2671208.0257 | 1247237.5216
98 | 2671191.5218 | 1247236.2337 | 2671188.6591 | 1247235.5989
99 | 2671366.2036 | 1247306.9037 | 2671377.4659 | 1247323.3413 | 2671387.912 | 1247340.9286
100 | 2671390.0939 | 1247344.6022 | 2671387.912 | 1247340.9286
101 | 2671393.9163 | 1247351.0376 | 2671390.0939 | 1247344.6022
102 | 2671468.3752 | 1247300.3863 | 2671452.247 | 1247289.8735
103 | 2671445.966 | 1247300.8723 | 2671448.259 | 1247296.7525 | 2671452.247 | 1247289.8735
104 | 2671468.3752 | 1247300.3863 | 2671472.6212 | 1247293.4103 | 2671474.5673 | 1247290.4984 | 2671460.2563 | 1247280.7639
105 | 2671445.966 | 1247300.8723 | 2671445.0747 | 1247305.8873 | 2671445.7141 | 1247310.0838
106 | 2671450.9506 | 1247268.4299 | 2671448.2406 | 1247272.5907 | 2671460.2563 | 1247280.7639
107 | 2671450.9506 | 1247268.4299 | 2671457.1293 | 1247258.9436 | 2671461.7115 | 1247255.4411

## bus_geodata
| x | y | coords
0 | 2671153.3697 | 1247006.7994
1 | 2671162.2471 | 1247029.3714
2 | 2671138.206 | 1246970.3055
3 | 2671167.1828 | 1247042.5111
4 | 2671093.9172 | 1247010.692
5 | 2671183.5662 | 1247076.2326
6 | 2671112.7137 | 1247074.695
7 | 2671193.3141 | 1247090.1516
8 | 2671208.9296 | 1246947.8715
9 | 2671231.2146 | 1246998.7913
10 | 2671223.3892 | 1246964.7126
11 | 2671205.1473 | 1247107.046
12 | 2671170.2374 | 1247112.214
13 | 2671215.2965 | 1247121.5361
14 | 2671163.9103 | 1247118.2631
15 | 2671114.8445 | 1247137.8961
16 | 2671131.7869 | 1247155.2262
17 | 2671155.7423 | 1247126.0706
18 | 2671184.6247 | 1247145.3607
19 | 2671241.176 | 1246953.1488
20 | 2671310.0895 | 1247008.8411
21 | 2671264.4798 | 1247047.8095
22 | 2671321.0095 | 1247019.5951
23 | 2671270.3408 | 1247058.3484
24 | 2671250.3085 | 1247028.1117
25 | 2671356.5842 | 1247048.1665
26 | 2671335.4618 | 1246949.5895
27 | 2671348.4704 | 1246971.7558
28 | 2671283.4641 | 1247493.211
29 | 2671266.6036 | 1247475.4755
30 | 2671335.7639 | 1247540.4827
31 | 2671380.9212 | 1247496.1612
32 | 2671336.4421 | 1247452.4954
33 | 2671331.6551 | 1247446.5556
34 | 2671235.1703 | 1247397.6673
35 | 2671253.9593 | 1247413.58
36 | 2671231.5848 | 1247394.6604
37 | 2671256.1981 | 1247415.9548
38 | 2671241.7437 | 1247382.3443
39 | 2671217.2658 | 1247383.4495
40 | 2671271.0682 | 1247431.7277
41 | 2671242.1015 | 1247381.9105
42 | 2671213.0946 | 1247380.1837
43 | 2671272.0774 | 1247432.7981
44 | 2671254.0431 | 1247367.4331
45 | 2671323.3036 | 1247436.3986
46 | 2671306.8561 | 1247418.783
47 | 2671291.7149 | 1247402.6943
48 | 2671265.3213 | 1247377.6927
49 | 2671172.0017 | 1247377.459
50 | 2671131.8474 | 1247345.3062
51 | 2671160.7777 | 1247300.5437
52 | 2671274.705 | 1247435.5853
53 | 2671238.2649 | 1247355.1906
54 | 2671209.6266 | 1247333.7075
55 | 2671203.3491 | 1247329.4457
56 | 2671178.6327 | 1247312.6656
57 | 2671173.8794 | 1247273.1378
58 | 2671179.4218 | 1247261.5443
59 | 2671286.9431 | 1247079.6294
60 | 2671298.157 | 1247132.3519
61 | 2671283.6279 | 1247144.4169
62 | 2671304.1851 | 1247127.2986
63 | 2671251.3754 | 1247169.6162
64 | 2671324.6631 | 1247155.0955
65 | 2671268.8032 | 1247077.2027
66 | 2671270.4104 | 1247191.2819
67 | 2671236.3587 | 1247150.1874
68 | 2671229.3416 | 1247188.3813
69 | 2671364.1719 | 1247209.7417
70 | 2671391.2791 | 1247046.2998
71 | 2671379.0145 | 1247021.1843
72 | 2671362.9976 | 1246995.0229
73 | 2671427.227 | 1246941.1859
74 | 2671479.4321 | 1247135.8963
75 | 2671547.7867 | 1247169.9844
76 | 2671533.0082 | 1247199.7162
77 | 2671506.8933 | 1247222.5555
78 | 2671472.6431 | 1247247.2583
79 | 2671284.4116 | 1247218.2254
80 | 2671225.4565 | 1247136.0416
81 | 2671215.6057 | 1247200.0795
82 | 2671265.0912 | 1247226.9204
83 | 2671297.5938 | 1247222.498
84 | 2671219.1007 | 1247126.9673
85 | 2671202.5179 | 1247211.2257
86 | 2671246.1869 | 1247230.6309
87 | 2671335.1581 | 1247264.2456
88 | 2671365.1218 | 1247305.3249
89 | 2671388.4227 | 1247237.6034
90 | 2671347.9569 | 1247383.4961
91 | 2671305.6191 | 1247334.9855
92 | 2671280.6753 | 1247311.8414
93 | 2671257.342 | 1247291.9541
94 | 2671233.3182 | 1247272.6383
95 | 2671208.0257 | 1247237.5216
96 | 2671191.5218 | 1247236.2337
97 | 2671188.6591 | 1247235.5989
98 | 2671366.2036 | 1247306.9037
99 | 2671387.912 | 1247340.9286
100 | 2671390.0939 | 1247344.6022
101 | 2671393.9163 | 1247351.0376
102 | 2671452.247 | 1247289.8735
103 | 2671468.3752 | 1247300.3863
104 | 2671445.966 | 1247300.8723
105 | 2671460.2563 | 1247280.7639
106 | 2671445.7141 | 1247310.0838
107 | 2671450.9506 | 1247268.4299
108 | 2671461.7115 | 1247255.4411
109 | 2671251.3754 | 1247169.6162

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1