## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4075-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4075-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4075-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4075-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4075-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4075-7_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4075-7_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_4075-7_0_3_node_121 | 0.4 | n |  | TRUE
8 | bus_LV_4075-7_0_3_node_125 | 0.4 | n |  | TRUE
9 | bus_LV_4075-7_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_4075-7_0_3_node_122 | 0.4 | n |  | TRUE
11 | bus_LV_4075-7_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4075-7_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4075-7_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4075-7_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4075-7_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4075-7_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_4075-7_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4075-7_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4075-7_0_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_4075-7_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_4075-7_0_3_node_138 | 0.4 | n |  | TRUE
22 | bus_LV_4075-7_0_3_node_142 | 0.4 | n |  | TRUE
23 | bus_LV_4075-7_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4075-7_0_3_node_139 | 0.4 | n |  | TRUE
25 | bus_LV_4075-7_0_3_node_141 | 0.4 | n |  | TRUE
26 | bus_LV_4075-7_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_4075-7_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_4075-7_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4075-7_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4075-7_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4075-7_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4075-7_0_3_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_4075-7_0_3_node_97 | 0.4 | n |  | TRUE
34 | bus_LV_4075-7_0_3_node_112 | 0.4 | n |  | TRUE
35 | bus_LV_4075-7_0_3_node_124 | 0.4 | n |  | TRUE
36 | bus_LV_4075-7_0_3_node_108 | 0.4 | n |  | TRUE
37 | bus_LV_4075-7_0_3_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_4075-7_0_3_node_82 | 0.4 | n |  | TRUE
39 | bus_LV_4075-7_0_3_node_111 | 0.4 | n |  | TRUE
40 | bus_LV_4075-7_0_3_node_120 | 0.4 | n |  | TRUE
41 | bus_LV_4075-7_0_3_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_4075-7_0_3_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_4075-7_0_3_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_4075-7_0_3_node_127 | 0.4 | n |  | TRUE
45 | bus_LV_4075-7_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_4075-7_0_3_node_128 | 0.4 | n |  | TRUE
47 | bus_LV_4075-7_0_3_node_126 | 0.4 | n |  | TRUE
48 | bus_LV_4075-7_0_3_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_4075-7_0_3_node_131 | 0.4 | n |  | TRUE
50 | bus_LV_4075-7_0_3_node_130 | 0.4 | n |  | TRUE
51 | bus_LV_4075-7_0_3_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_4075-7_0_3_node_98 | 0.4 | n |  | TRUE
53 | bus_LV_4075-7_0_3_node_29 | 0.4 | n |  | TRUE
54 | bus_LV_4075-7_0_3_node_154 | 0.4 | n |  | TRUE
55 | bus_LV_4075-7_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_4075-7_0_3_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_4075-7_0_3_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_4075-7_0_3_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_4075-7_0_3_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_4075-7_0_3_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_4075-7_0_3_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_4075-7_0_3_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_4075-7_0_3_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_4075-7_0_3_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_4075-7_0_3_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_4075-7_0_3_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_4075-7_0_3_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_4075-7_0_3_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_4075-7_0_3_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_4075-7_0_3_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_4075-7_0_3_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_4075-7_0_3_node_47 | 0.4 | n |  | TRUE
73 | bus_LV_4075-7_0_3_node_48 | 0.4 | n |  | TRUE
74 | bus_LV_4075-7_0_3_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_4075-7_0_3_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_4075-7_0_3_node_103 | 0.4 | n |  | TRUE
77 | bus_LV_4075-7_0_3_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_4075-7_0_3_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_4075-7_0_3_node_100 | 0.4 | n |  | TRUE
80 | bus_LV_4075-7_0_3_node_104 | 0.4 | n |  | TRUE
81 | bus_LV_4075-7_0_3_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_4075-7_0_3_node_49 | 0.4 | n |  | TRUE
83 | bus_LV_4075-7_0_3_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_4075-7_0_3_node_51 | 0.4 | n |  | TRUE
85 | bus_LV_4075-7_0_3_node_52 | 0.4 | n |  | TRUE
86 | bus_LV_4075-7_0_3_node_53 | 0.4 | n |  | TRUE
87 | bus_LV_4075-7_0_3_node_61 | 0.4 | n |  | TRUE
88 | bus_LV_4075-7_0_3_node_90 | 0.4 | n |  | TRUE
89 | bus_LV_4075-7_0_3_node_54 | 0.4 | n |  | TRUE
90 | bus_LV_4075-7_0_3_node_55 | 0.4 | n |  | TRUE
91 | bus_LV_4075-7_0_3_node_56 | 0.4 | n |  | TRUE
92 | bus_LV_4075-7_0_3_node_57 | 0.4 | n |  | TRUE
93 | bus_LV_4075-7_0_3_node_58 | 0.4 | n |  | TRUE
94 | bus_LV_4075-7_0_3_node_74 | 0.4 | n |  | TRUE
95 | bus_LV_4075-7_0_3_node_65 | 0.4 | n |  | TRUE
96 | bus_LV_4075-7_0_3_node_147 | 0.4 | n |  | TRUE
97 | bus_LV_4075-7_0_3_node_63 | 0.4 | n |  | TRUE
98 | bus_LV_4075-7_0_3_node_84 | 0.4 | n |  | TRUE
99 | bus_LV_4075-7_0_3_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_4075-7_0_3_node_64 | 0.4 | n |  | TRUE
101 | bus_LV_4075-7_0_3_node_66 | 0.4 | n |  | TRUE
102 | bus_LV_4075-7_0_3_node_67 | 0.4 | n |  | TRUE
103 | bus_LV_4075-7_0_3_node_68 | 0.4 | n |  | TRUE
104 | bus_LV_4075-7_0_3_node_107 | 0.4 | n |  | TRUE
105 | bus_LV_4075-7_0_3_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_4075-7_0_3_node_96 | 0.4 | n |  | TRUE
107 | bus_LV_4075-7_0_3_node_70 | 0.4 | n |  | TRUE
108 | bus_LV_4075-7_0_3_node_119 | 0.4 | n |  | TRUE
109 | bus_LV_4075-7_0_3_node_106 | 0.4 | n |  | TRUE
110 | bus_LV_4075-7_0_3_node_109 | 0.4 | n |  | TRUE
111 | bus_LV_4075-7_0_3_node_69 | 0.4 | n |  | TRUE
112 | bus_LV_4075-7_0_3_node_71 | 0.4 | n |  | TRUE
113 | bus_LV_4075-7_0_3_node_72 | 0.4 | n |  | TRUE
114 | bus_LV_4075-7_0_3_node_73 | 0.4 | n |  | TRUE
115 | bus_LV_4075-7_0_3_node_88 | 0.4 | n |  | TRUE
116 | bus_LV_4075-7_0_3_node_144 | 0.4 | n |  | TRUE
117 | bus_LV_4075-7_0_3_node_145 | 0.4 | n |  | TRUE
118 | bus_LV_4075-7_0_3_node_146 | 0.4 | n |  | TRUE
119 | bus_LV_4075-7_0_3_node_75 | 0.4 | n |  | TRUE
120 | bus_LV_4075-7_0_3_node_76 | 0.4 | n |  | TRUE
121 | bus_LV_4075-7_0_3_node_77 | 0.4 | n |  | TRUE
122 | bus_LV_4075-7_0_3_node_116 | 0.4 | n |  | TRUE
123 | bus_LV_4075-7_0_3_node_117 | 0.4 | n |  | TRUE
124 | bus_LV_4075-7_0_3_node_114 | 0.4 | n |  | TRUE
125 | bus_LV_4075-7_0_3_node_115 | 0.4 | n |  | TRUE
126 | bus_LV_4075-7_0_3_node_133 | 0.4 | n |  | TRUE
127 | bus_LV_4075-7_0_3_node_87 | 0.4 | n |  | TRUE
128 | bus_LV_4075-7_0_3_node_91 | 0.4 | n |  | TRUE
129 | bus_LV_4075-7_0_3_node_92 | 0.4 | n |  | TRUE
130 | bus_LV_4075-7_0_3_node_93 | 0.4 | n |  | TRUE
131 | bus_LV_4075-7_0_3_node_94 | 0.4 | n |  | TRUE
132 | bus_LV_4075-7_0_3_node_95 | 0.4 | n |  | TRUE
133 | bus_LV_4075-7_0_3_node_99 | 0.4 | n |  | TRUE
134 | bus_LV_4075-7_0_3_node_129 | 0.4 | n |  | TRUE
135 | bus_LV_4075-7_0_3_node_110 | 0.4 | n |  | TRUE
136 | bus_LV_4075-7_0_3_node_102 | 0.4 | n |  | TRUE
137 | bus_LV_4075-7_0_3_node_118 | 0.4 | n |  | TRUE
138 | bus_LV_4075-7_0_3_node_113 | 0.4 | n |  | TRUE
139 | bus_LV_4075-7_0_3_node_123 | 0.4 | n |  | TRUE
140 | bus_LV_4075-7_0_3_node_148 | 0.4 | n |  | TRUE
141 | bus_LV_4075-7_0_3_node_149 | 0.4 | n |  | TRUE
142 | bus_LV_4075-7_0_3_node_152 | 0.4 | n |  | TRUE
143 | bus_LV_4075-7_0_3_node_151 | 0.4 | n |  | TRUE
144 | bus_LV_4075-7_0_3_node_132 | 0.4 | n |  | TRUE
145 | bus_LV_4075-7_0_3_node_136 | 0.4 | n |  | TRUE
146 | bus_LV_4075-7_0_3_node_134 | 0.4 | n |  | TRUE
147 | bus_LV_4075-7_0_3_node_135 | 0.4 | n |  | TRUE
148 | bus_LV_4075-7_0_3_node_137 | 0.4 | n |  | TRUE
149 | bus_LV_4075-7_0_3_node_140 | 0.4 | n |  | TRUE
150 | bus_LV_4075-7_0_3_node_143 | 0.4 | n |  | TRUE
151 | bus_LV_4075-7_0_3_node_150 | 0.4 | n |  | TRUE
152 | bus_MV_420_0_node_125 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4075-7_0_3_load_0 | 0 | 0.0032381 | 0.00081154 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4075-7_0_3_load_1 | 1 | 0.00051575 | 0.00012926 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4075-7_0_3_load_3 | 3 | 0.001946 | 0.00048772 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4075-7_0_3_load_4 | 4 | 0.00056686 | 0.00014207 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4075-7_0_3_load_5 | 5 | 0.010283 | 0.002577 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4075-7_0_3_load_24 | 6 | 0.0051383 | 0.0012878 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4075-7_0_3_load_121 | 7 | 0.0014564 | 0.000365 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4075-7_0_3_load_125 | 8 | 0.0059852 | 0.0015 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4075-7_0_3_load_25 | 9 | 0.0023929 | 0.00059972 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4075-7_0_3_load_6 | 11 | 0.0018411 | 0.00046143 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4075-7_0_3_load_7 | 12 | 0.0019402 | 0.00048626 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4075-7_0_3_load_8 | 13 | 0.0025732 | 0.00064491 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4075-7_0_3_load_9 | 14 | 0.00091599 | 0.00022957 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4075-7_0_3_load_27 | 16 | 0.0019034 | 0.00047704 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4075-7_0_3_load_12 | 18 | 0.0019448 | 0.00048742 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4075-7_0_3_load_28 | 19 | 0.0014795 | 0.00037081 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4075-7_0_3_load_138 | 21 | 0.001804 | 0.00045212 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4075-7_0_3_load_142 | 22 | 0.001841 | 0.0004614 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4075-7_0_3_load_139 | 24 | 0.0020403 | 0.00051134 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4075-7_0_3_load_141 | 25 | 0.0019824 | 0.00049683 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4075-7_0_3_load_13 | 26 | 0.00045183 | 0.00011324 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4075-7_0_3_load_14 | 27 | 0.001216 | 0.00030477 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4075-7_0_3_load_16 | 29 | 0.00040583 | 0.00010171 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4075-7_0_3_load_17 | 30 | 0.003511 | 0.00087993 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4075-7_0_3_load_97 | 33 | 0.0022631 | 0.00056719 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4075-7_0_3_load_112 | 34 | 0.002486 | 0.00062305 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4075-7_0_3_load_124 | 35 | 0.0034125 | 0.00085525 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4075-7_0_3_load_80 | 37 | 0.0021921 | 0.0005494 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4075-7_0_3_load_111 | 39 | 0.0026886 | 0.00067382 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4075-7_0_3_load_120 | 40 | 0.0047087 | 0.0011801 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4075-7_0_3_load_19 | 41 | 0.0018546 | 0.0004648 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4075-7_0_3_load_20 | 42 | 0.0022141 | 0.0005549 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4075-7_0_3_load_21 | 43 | 0.0098107 | 0.0024588 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4075-7_0_3_load_127 | 44 | 0.0098326 | 0.0024643 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4075-7_0_3_load_128 | 46 | 0.001878 | 0.00047066 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4075-7_0_3_load_126 | 47 | 0.0030902 | 0.00077448 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4075-7_0_3_load_31 | 48 | 0.0015813 | 0.00039631 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4075-7_0_3_load_131 | 49 | 0.0043834 | 0.0010986 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4075-7_0_3_load_130 | 50 | 0.004768 | 0.001195 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4075-7_0_3_load_26 | 51 | 0.0027851 | 0.000698 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4075-7_0_3_load_98 | 52 | 0.00093375 | 0.00023402 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4075-7_0_3_load_29 | 53 | 0.00053665 | 0.0001345 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4075-7_0_3_load_154 | 54 | 0.00054 | 0.00013534 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4075-7_0_3_load_32 | 55 | 0.0016452 | 0.00041232 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4075-7_0_3_load_34 | 56 | 0.00019535 | 4.8959e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4075-7_0_3_load_37 | 57 | 0.0024318 | 0.00060946 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4075-7_0_3_load_38 | 59 | 0.00075054 | 0.0001881 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4075-7_0_3_load_35 | 60 | 0.00042241 | 0.00010587 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4075-7_0_3_load_79 | 62 | 0.00046416 | 0.00011633 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4075-7_0_3_load_78 | 63 | 0.00025397 | 6.3652e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4075-7_0_3_load_39 | 64 | 0.0011309 | 0.00028342 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4075-7_0_3_load_41 | 67 | 0.0010711 | 0.00026843 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4075-7_0_3_load_43 | 68 | 0.0067389 | 0.0016889 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4075-7_0_3_load_44 | 69 | 0.0023021 | 0.00057695 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4075-7_0_3_load_46 | 71 | 0.001976 | 0.00049522 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4075-7_0_3_load_48 | 73 | 0.003005 | 0.00075313 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4075-7_0_3_load_59 | 74 | 0.0014415 | 0.00036127 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4075-7_0_3_load_101 | 75 | 0.0045291 | 0.0011351 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4075-7_0_3_load_103 | 76 | 0.0023144 | 0.00058003 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4075-7_0_3_load_86 | 77 | 0.002235 | 0.00056014 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4075-7_0_3_load_60 | 78 | 0.0037453 | 0.00093865 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4075-7_0_3_load_104 | 80 | 0.0029474 | 0.00073868 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4075-7_0_3_load_85 | 81 | 0.002737 | 0.00068596 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4075-7_0_3_load_49 | 82 | 0.00082551 | 0.00020689 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4075-7_0_3_load_50 | 83 | 0.0008939 | 0.00022403 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4075-7_0_3_load_51 | 84 | 0.00071455 | 0.00017908 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4075-7_0_3_load_53 | 86 | 0.00093646 | 0.0002347 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4075-7_0_3_load_61 | 87 | 0.0020915 | 0.00052418 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4075-7_0_3_load_90 | 88 | 0.0014716 | 0.00036881 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4075-7_0_3_load_54 | 89 | 0.0014664 | 0.00036751 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4075-7_0_3_load_55 | 90 | 0.001742 | 0.00043659 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4075-7_0_3_load_56 | 91 | 0.0026408 | 0.00066185 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4075-7_0_3_load_57 | 92 | 0.0016154 | 0.00040486 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4075-7_0_3_load_58 | 93 | 0.00065533 | 0.00016424 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4075-7_0_3_load_65 | 95 | 0.0017124 | 0.00042917 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4075-7_0_3_load_63 | 97 | 0.00054788 | 0.00013731 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4075-7_0_3_load_84 | 98 | 0.0064733 | 0.0016224 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4075-7_0_3_load_83 | 99 | 0.0018551 | 0.00046494 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4075-7_0_3_load_64 | 100 | 0.0019164 | 0.00048029 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4075-7_0_3_load_107 | 104 | 0.0013547 | 0.00033952 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4075-7_0_3_load_105 | 105 | 0.0059808 | 0.0014989 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4075-7_0_3_load_96 | 106 | 0.0020517 | 0.0005142 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4075-7_0_3_load_70 | 107 | 0.0009073 | 0.00022739 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4075-7_0_3_load_119 | 108 | 0.002191 | 0.00054912 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4075-7_0_3_load_106 | 109 | 0.0058692 | 0.001471 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4075-7_0_3_load_109 | 110 | 0.005466 | 0.0013699 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4075-7_0_3_load_69 | 111 | 0.00043276 | 0.00010846 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4075-7_0_3_load_73 | 114 | 0.0012722 | 0.00031885 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4075-7_0_3_load_88 | 115 | 0.0077128 | 0.001933 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4075-7_0_3_load_144 | 116 | 0.0012384 | 0.00031038 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4075-7_0_3_load_145 | 117 | 0.0016123 | 0.00040408 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4075-7_0_3_load_146 | 118 | 0.0051053 | 0.0012795 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4075-7_0_3_load_75 | 119 | 0.0015816 | 0.00039638 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4075-7_0_3_load_76 | 120 | 0.0028452 | 0.00071308 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4075-7_0_3_load_116 | 122 | 0.0003545 | 8.8846e-05 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4075-7_0_3_load_117 | 123 | 0.0049915 | 0.001251 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4075-7_0_3_load_114 | 124 | 0.00023566 | 5.9063e-05 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4075-7_0_3_load_115 | 125 | 0.0040688 | 0.0010197 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4075-7_0_3_load_133 | 126 | 0.0015083 | 0.00037802 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4075-7_0_3_load_87 | 127 | 0.0026984 | 0.00067628 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4075-7_0_3_load_91 | 128 | 0.0013407 | 0.00033602 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4075-7_0_3_load_92 | 129 | 0.0019533 | 0.00048956 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4075-7_0_3_load_93 | 130 | 0.0010269 | 0.00025736 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4075-7_0_3_load_94 | 131 | 0.0019223 | 0.00048178 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4075-7_0_3_load_95 | 132 | 0.0029744 | 0.00074545 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4075-7_0_3_load_99 | 133 | 0.0012628 | 0.00031649 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4075-7_0_3_load_129 | 134 | 0.0028264 | 0.00070835 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4075-7_0_3_load_110 | 135 | 0.0029716 | 0.00074475 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4075-7_0_3_load_102 | 136 | 0.0010213 | 0.00025597 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4075-7_0_3_load_118 | 137 | 0.0024537 | 0.00061497 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4075-7_0_3_load_113 | 138 | 0.0048754 | 0.0012219 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4075-7_0_3_load_123 | 139 | 0.0008374 | 0.00020987 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4075-7_0_3_load_148 | 140 | 0.0022524 | 0.0005645 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4075-7_0_3_load_149 | 141 | 0.0013398 | 0.00033578 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4075-7_0_3_load_152 | 142 | 0.0019015 | 0.00047657 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4075-7_0_3_load_151 | 143 | 0.0012542 | 0.00031434 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4075-7_0_3_load_132 | 144 | 0.0019256 | 0.0004826 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4075-7_0_3_load_136 | 145 | 0.0018943 | 0.00047476 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4075-7_0_3_load_134 | 146 | 0.0019397 | 0.00048613 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4075-7_0_3_load_135 | 147 | 0.0016377 | 0.00041046 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4075-7_0_3_load_137 | 148 | 0.0016977 | 0.00042548 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4075-7_0_3_load_140 | 149 | 0.0016724 | 0.00041915 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4075-7_0_3_load_143 | 150 | 0.0016194 | 0.00040585 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4075-7_0_3_load_150 | 151 | 0.00041218 | 0.0001033 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4075-7_0_3_line_0 |  | 0 | 1 | 0.0015155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4075-7_0_3_line_1 |  | 0 | 2 | 0.015161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4075-7_0_3_line_2 |  | 1 | 3 | 0.023949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4075-7_0_3_line_3 |  | 2 | 4 | 0.0031239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4075-7_0_3_line_4 |  | 2 | 5 | 0.03001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4075-7_0_3_line_5 |  | 3 | 6 | 0.025529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_4075-7_0_3_line_6 |  | 4 | 7 | 0.012029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4075-7_0_3_line_7 |  | 5 | 8 | 0.043929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4075-7_0_3_line_8 |  | 6 | 9 | 0.011927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_4075-7_0_3_line_9 |  | 7 | 10 | 0.078133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4075-7_0_3_line_10 |  | 9 | 51 | 0.011039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4075-7_0_3_line_11 |  | 10 | 139 | 0.047873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4075-7_0_3_line_12 |  | 11 | 12 | 0.033597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4075-7_0_3_line_13 |  | 11 | 13 | 0.01609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4075-7_0_3_line_14 |  | 12 | 14 | 0.0021612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4075-7_0_3_line_15 |  | 13 | 15 | 0.0080505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4075-7_0_3_line_16 |  | 14 | 16 | 0.011846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4075-7_0_3_line_17 |  | 15 | 17 | 0.025327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4075-7_0_3_line_18 |  | 15 | 18 | 0.010238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4075-7_0_3_line_19 |  | 16 | 19 | 0.004923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4075-7_0_3_line_20 |  | 17 | 20 | 0.031286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4075-7_0_3_line_21 |  | 17 | 21 | 0.011079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4075-7_0_3_line_22 |  | 18 | 22 | 0.0030589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4075-7_0_3_line_23 |  | 19 | 53 | 0.0059963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4075-7_0_3_line_24 |  | 20 | 23 | 0.017562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4075-7_0_3_line_25 |  | 21 | 24 | 0.014324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4075-7_0_3_line_26 |  | 22 | 25 | 0.011393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4075-7_0_3_line_27 |  | 23 | 49 | 0.020683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4075-7_0_3_line_28 |  | 24 | 149 | 0.017066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4075-7_0_3_line_29 |  | 25 | 148 | 0.0025117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4075-7_0_3_line_30 |  | 26 | 27 | 0.01248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4075-7_0_3_line_31 |  | 26 | 28 | 0.019173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4075-7_0_3_line_32 |  | 27 | 29 | 0.01251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4075-7_0_3_line_33 |  | 28 | 30 | 0.02105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4075-7_0_3_line_34 |  | 28 | 31 | 0.022272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4075-7_0_3_line_35 |  | 29 | 32 | 0.0096828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4075-7_0_3_line_36 |  | 30 | 33 | 0.023352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4075-7_0_3_line_37 |  | 31 | 34 | 0.019315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4075-7_0_3_line_38 |  | 31 | 35 | 0.012482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4075-7_0_3_line_39 |  | 32 | 36 | 0.021461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4075-7_0_3_line_40 |  | 32 | 37 | 0.013935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4075-7_0_3_line_41 |  | 33 | 38 | 0.0091269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4075-7_0_3_line_42 |  | 34 | 39 | 0.0090911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4075-7_0_3_line_43 |  | 35 | 40 | 0.0055974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4075-7_0_3_line_44 |  | 36 | 122 | 0.016299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4075-7_0_3_line_45 |  | 36 | 123 | 0.01551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4075-7_0_3_line_46 |  | 36 | 124 | 0.0093053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4075-7_0_3_line_47 |  | 36 | 125 | 0.0076319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4075-7_0_3_line_48 |  | 37 | 63 | 0.005578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4075-7_0_3_line_49 |  | 38 | 52 | 0.019549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_4075-7_0_3_line_50 |  | 38 | 51 | 0.021681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4075-7_0_3_line_51 |  | 39 | 138 | 0.024647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4075-7_0_3_line_52 |  | 40 | 121 | 0.013953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4075-7_0_3_line_53 |  | 41 | 42 | 0.026391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4075-7_0_3_line_54 |  | 42 | 43 | 0.020407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4075-7_0_3_line_55 |  | 42 | 44 | 0.051485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4075-7_0_3_line_56 |  | 43 | 45 | 0.044034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4075-7_0_3_line_57 |  | 44 | 46 | 0.012154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4075-7_0_3_line_58 |  | 44 | 47 | 0.011788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4075-7_0_3_line_59 |  | 45 | 48 | 0.028839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4075-7_0_3_line_60 |  | 46 | 144 | 0.019214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4075-7_0_3_line_61 |  | 49 | 50 | 0.005065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4075-7_0_3_line_62 |  | 50 | 134 | 0.019483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4075-7_0_3_line_63 |  | 52 | 126 | 0.0087748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_4075-7_0_3_line_64 |  | 53 | 54 | 0.003286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4075-7_0_3_line_65 |  | 55 | 56 | 0.11936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4075-7_0_3_line_66 |  | 55 | 57 | 0.28034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4075-7_0_3_line_67 |  | 56 | 58 | 0.035821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4075-7_0_3_line_68 |  | 57 | 59 | 0.0092449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4075-7_0_3_line_69 |  | 58 | 60 | 0.010835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4075-7_0_3_line_70 |  | 59 | 64 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4075-7_0_3_line_71 |  | 60 | 61 | 0.01168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4075-7_0_3_line_72 |  | 61 | 62 | 0.14898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4075-7_0_3_line_73 |  | 62 | 63 | 0.042026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4075-7_0_3_line_74 |  | 64 | 65 | 0.015932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4075-7_0_3_line_75 |  | 65 | 66 | 0.18995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4075-7_0_3_line_76 |  | 66 | 67 | 0.058471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4075-7_0_3_line_77 |  | 68 | 69 | 0.024191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4075-7_0_3_line_78 |  | 68 | 70 | 0.010719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4075-7_0_3_line_79 |  | 69 | 71 | 0.044617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4075-7_0_3_line_80 |  | 70 | 72 | 0.023308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4075-7_0_3_line_81 |  | 70 | 73 | 0.024736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4075-7_0_3_line_82 |  | 71 | 74 | 0.01755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4075-7_0_3_line_83 |  | 72 | 75 | 0.012615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4075-7_0_3_line_84 |  | 72 | 76 | 0.015014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4075-7_0_3_line_85 |  | 73 | 77 | 0.027436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4075-7_0_3_line_86 |  | 74 | 78 | 0.0073249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4075-7_0_3_line_87 |  | 75 | 79 | 0.013954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4075-7_0_3_line_88 |  | 76 | 80 | 0.025705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4075-7_0_3_line_89 |  | 77 | 81 | 0.00079908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4075-7_0_3_line_90 |  | 78 | 98 | 0.029486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4075-7_0_3_line_91 |  | 79 | 136 | 0.0069881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_4075-7_0_3_line_92 |  | 79 | 133 | 0.012106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_4075-7_0_3_line_93 |  | 81 | 127 | 0.013878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4075-7_0_3_line_94 |  | 82 | 83 | 0.021095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4075-7_0_3_line_95 |  | 82 | 84 | 0.0077731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4075-7_0_3_line_96 |  | 83 | 85 | 0.029527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4075-7_0_3_line_97 |  | 84 | 86 | 0.0051722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4075-7_0_3_line_98 |  | 85 | 87 | 0.029656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4075-7_0_3_line_99 |  | 87 | 88 | 0.024212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4075-7_0_3_line_100 |  | 88 | 94 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4075-7_0_3_line_101 |  | 89 | 90 | 0.0010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4075-7_0_3_line_102 |  | 89 | 91 | 0.023008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4075-7_0_3_line_103 |  | 90 | 92 | 0.02736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4075-7_0_3_line_104 |  | 91 | 93 | 0.003742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4075-7_0_3_line_105 |  | 92 | 94 | 0.021853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4075-7_0_3_line_106 |  | 93 | 95 | 0.026942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4075-7_0_3_line_107 |  | 94 | 96 | 0.11065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4075-7_0_3_line_108 |  | 95 | 97 | 0.0076284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4075-7_0_3_line_109 |  | 96 | 117 | 0.043125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4075-7_0_3_line_110 |  | 97 | 100 | 0.016774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4075-7_0_3_line_111 |  | 98 | 99 | 0.0071749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4075-7_0_3_line_112 |  | 100 | 101 | 0.0085571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4075-7_0_3_line_113 |  | 101 | 102 | 0.016236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4075-7_0_3_line_114 |  | 101 | 103 | 0.006044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4075-7_0_3_line_115 |  | 102 | 104 | 0.030877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4075-7_0_3_line_116 |  | 102 | 105 | 0.018826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4075-7_0_3_line_117 |  | 103 | 106 | 0.020056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4075-7_0_3_line_118 |  | 103 | 107 | 0.024608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4075-7_0_3_line_119 |  | 104 | 108 | 0.0059836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4075-7_0_3_line_120 |  | 105 | 109 | 0.0073556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4075-7_0_3_line_121 |  | 106 | 110 | 0.0037013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4075-7_0_3_line_122 |  | 107 | 111 | 0.018902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4075-7_0_3_line_123 |  | 109 | 121 | 0.0185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4075-7_0_3_line_124 |  | 110 | 135 | 0.018005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4075-7_0_3_line_125 |  | 111 | 112 | 0.043787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4075-7_0_3_line_126 |  | 112 | 113 | 0.023574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4075-7_0_3_line_127 |  | 112 | 114 | 0.026168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4075-7_0_3_line_128 |  | 113 | 115 | 0.047394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4075-7_0_3_line_129 |  | 116 | 117 | 0.019293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4075-7_0_3_line_130 |  | 116 | 118 | 0.012101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4075-7_0_3_line_131 |  | 119 | 120 | 0.015542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4075-7_0_3_line_132 |  | 120 | 121 | 0.048021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4075-7_0_3_line_133 |  | 122 | 137 | 0.026406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4075-7_0_3_line_134 |  | 126 | 136 | 0.031293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
135 | LV_4075-7_0_3_line_135 |  | 128 | 129 | 0.026425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
136 | LV_4075-7_0_3_line_136 |  | 128 | 130 | 0.0092655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
137 | LV_4075-7_0_3_line_137 |  | 129 | 131 | 0.0047928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
138 | LV_4075-7_0_3_line_138 |  | 130 | 132 | 0.021706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4075-7_0_3_line_139 |  | 131 | 133 | 0.01736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
140 | LV_4075-7_0_3_line_140 |  | 132 | 134 | 0.01851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4075-7_0_3_line_141 |  | 139 | 140 | 0.01688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4075-7_0_3_line_142 |  | 140 | 141 | 0.016902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4075-7_0_3_line_143 |  | 141 | 151 | 0.012441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4075-7_0_3_line_144 |  | 142 | 143 | 0.10626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4075-7_0_3_line_145 |  | 143 | 151 | 0.0070101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4075-7_0_3_line_146 |  | 144 | 145 | 0.021555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4075-7_0_3_line_147 |  | 145 | 146 | 0.0090195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4075-7_0_3_line_148 |  | 146 | 147 | 0.0028872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4075-7_0_3_line_149 |  | 147 | 148 | 0.017303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4075-7_0_3_line_150 |  | 149 | 150 | 0.0079304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4075-7_0_3_trafo_3 | 0.63 MVA 20/0.4 kV | 152 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2671822.9097 | 1246197.7828 | 2671821.7641 | 1246198.7748
1 | 2671833.6556 | 1246187.1091 | 2671826.2865 | 1246194.8587 | 2671822.9097 | 1246197.7828
2 | 2671821.7641 | 1246198.7748 | 2671803.6598 | 1246214.4519
3 | 2671833.6556 | 1246187.1091 | 2671835.8321 | 1246184.8682
4 | 2671833.6556 | 1246187.1091 | 2671848.6306 | 1246206.949 | 2671851.5975 | 1246211.1624
5 | 2671785.0603 | 1246231.9274 | 2671798.4651 | 1246218.9501 | 2671803.6598 | 1246214.4519
6 | 2671835.8321 | 1246184.8682 | 2671844.2124 | 1246176.2395
7 | 2671868.7515 | 1246250.9794 | 2671861.234 | 1246224.8476 | 2671851.5975 | 1246211.1624
8 | 2671777.4954 | 1246241.1019 | 2671782.2666 | 1246234.6319 | 2671785.0603 | 1246231.9274
9 | 2671844.2124 | 1246176.2395 | 2671886.7631 | 1246110.7095
10 | 2671777.4954 | 1246241.1019 | 2671771.7746 | 1246248.8595 | 2671770.6882 | 1246249.742
11 | 2671886.7631 | 1246110.7095 | 2671902.1923 | 1246071.9134 | 2671905.199 | 1246066.5811
12 | 2671767.7964 | 1246050.5238 | 2671766.3917 | 1246059.4714 | 2671765.6287 | 1246082.5563 | 2671767.0712 | 1246082.5615
13 | 2671767.7964 | 1246050.5238 | 2671770.2474 | 1246034.9118 | 2671770.2836 | 1246034.627
14 | 2671767.0712 | 1246082.5615 | 2671769.2324 | 1246082.5692
15 | 2671771.2994 | 1246026.6409 | 2671770.2836 | 1246034.627
16 | 2671769.2324 | 1246082.5692 | 2671781.0782 | 1246082.6118
17 | 2671745.909 | 1246025.8555 | 2671771.2994 | 1246026.6409
18 | 2671771.2994 | 1246026.6409 | 2671771.7227 | 1246016.4121
19 | 2671786.0012 | 1246082.6295 | 2671781.0782 | 1246082.6118
20 | 2671745.909 | 1246025.8555 | 2671738.4856 | 1246031.2139 | 2671716.2933 | 1246030.2338
21 | 2671745.909 | 1246025.8555 | 2671745.9899 | 1246014.7769
22 | 2671771.8492 | 1246013.3558 | 2671771.7227 | 1246016.4121
23 | 2671791.9974 | 1246082.651 | 2671786.0012 | 1246082.6295
24 | 2671716.2933 | 1246030.2338 | 2671715.6882 | 1246047.7833
25 | 2671745.9899 | 1246014.7769 | 2671746.0946 | 1246000.4529
26 | 2671772.2101 | 1246001.9691 | 2671772.1645 | 1246005.7366 | 2671771.8492 | 1246013.3558
27 | 2671715.6882 | 1246047.7833 | 2671715.0223 | 1246068.4561
28 | 2671746.2192 | 1245983.3878 | 2671746.0946 | 1246000.4529
29 | 2671772.2101 | 1246001.9691 | 2671772.2405 | 1245999.4576
30 | 2671776.2665 | 1246329.8985 | 2671776.4103 | 1246330.8402 | 2671776.6598 | 1246342.3648
31 | 2671773.3725 | 1246310.945 | 2671776.2665 | 1246329.8985
32 | 2671776.3595 | 1246354.8447 | 2671776.8415 | 1246350.7596 | 2671776.6598 | 1246342.3648
33 | 2671773.3725 | 1246310.945 | 2671765.2208 | 1246291.5375
34 | 2671795.3654 | 1246307.0861 | 2671783.3617 | 1246308.9088 | 2671773.3725 | 1246310.945
35 | 2671775.2251 | 1246364.4608 | 2671776.3595 | 1246354.8447
36 | 2671765.2208 | 1246291.5375 | 2671756.1775 | 1246270.0073
37 | 2671795.3654 | 1246307.0861 | 2671796.2783 | 1246288.4729 | 2671796.3648 | 1246287.7988
38 | 2671795.3654 | 1246307.0861 | 2671807.7915 | 1246308.2635
39 | 2671775.2251 | 1246364.4608 | 2671785.8112 | 1246368.0248 | 2671796.1576 | 1246367.6831
40 | 2671775.2251 | 1246364.4608 | 2671772.6192 | 1246378.1501 | 2671772.6192 | 1246378.1501
41 | 2671752.6431 | 1246261.5926 | 2671756.1775 | 1246270.0073
42 | 2671796.3648 | 1246287.7988 | 2671797.5213 | 1246278.7815
43 | 2671807.7915 | 1246308.2635 | 2671813.3639 | 1246308.7915
44 | 2671796.1576 | 1246367.6831 | 2671798.4048 | 1246379.8633 | 2671801.3044 | 1246382.4918
45 | 2671796.1576 | 1246367.6831 | 2671811.3172 | 1246364.4073
46 | 2671796.1576 | 1246367.6831 | 2671797.8459 | 1246376.8339
47 | 2671796.1576 | 1246367.6831 | 2671803.6173 | 1246366.0711
48 | 2671772.515 | 1246383.7271 | 2671772.6192 | 1246378.1501
49 | 2671752.6431 | 1246261.5926 | 2671742.5182 | 1246244.8694 | 2671742.5182 | 1246244.8694
50 | 2671752.6431 | 1246261.5926 | 2671763.008 | 1246255.9807 | 2671770.6882 | 1246249.742
51 | 2671810.6389 | 1246262.3504 | 2671802.0951 | 1246263.5479 | 2671798.2305 | 1246273.2524 | 2671797.5213 | 1246278.7815
52 | 2671827.2547 | 1246310.1076 | 2671813.3639 | 1246308.7915
53 | 2671718.9543 | 1245941.7743 | 2671719.7478 | 1245915.3951
54 | 2671720.3614 | 1245894.9974 | 2671720.3246 | 1245896.2211 | 2671719.7478 | 1245915.3951
55 | 2671719.7478 | 1245915.3951 | 2671771.194 | 1245917.4038
56 | 2671721.6878 | 1245850.9834 | 2671720.3614 | 1245894.9974
57 | 2671771.194 | 1245917.4038 | 2671771.0468 | 1245929.5567
58 | 2671771.3366 | 1245905.6171 | 2671771.194 | 1245917.4038
59 | 2671721.6878 | 1245850.9834 | 2671721.6185 | 1245837.9734 | 2671721.5126 | 1245822.1453
60 | 2671770.8142 | 1245948.7688 | 2671771.0468 | 1245929.5567
61 | 2671715.0223 | 1246068.4561 | 2671714.8593 | 1246073.5185
62 | 2671714.8593 | 1246073.5185 | 2671714.2321 | 1246092.9917
63 | 2671738.8759 | 1246236.8863 | 2671742.5182 | 1246244.8694
64 | 2671791.9974 | 1246082.651 | 2671795.2834 | 1246082.6628
65 | 2671654.5743 | 1246518.1759 | 2671556.0533 | 1246585.5527
66 | 2671330.7197 | 1246418.7692 | 2671556.0533 | 1246585.5527
67 | 2671646.1316 | 1246483.9294 | 2671647.4008 | 1246500.8011 | 2671649.9758 | 1246509.6385 | 2671654.5743 | 1246518.1759
68 | 2671330.7197 | 1246418.7692 | 2671325.5677 | 1246414.8731 | 2671323.6276 | 1246412.8743
69 | 2671646.1316 | 1246483.9294 | 2671643.2328 | 1246473.489
70 | 2671323.6276 | 1246412.8743 | 2671313.2412 | 1246402.1737
71 | 2671640.9493 | 1246462.0513 | 2671642.179 | 1246469.6938 | 2671643.2328 | 1246473.489
72 | 2671784.5999 | 1246422.5731 | 2671640.9493 | 1246462.0513
73 | 2671772.515 | 1246383.7271 | 2671772.3618 | 1246391.9234 | 2671774.2359 | 1246403.7322 | 2671777.7521 | 1246414.0599 | 2671782.3812 | 1246420.4537 | 2671784.5999 | 1246422.5731
74 | 2671302.1444 | 1246390.7412 | 2671313.2412 | 1246402.1737
75 | 2671302.1444 | 1246390.7412 | 2671325.3085 | 1246202.2085
76 | 2671325.3085 | 1246202.2085 | 2671299.6064 | 1246182.1743 | 2671281.0784 | 1246164.1005
77 | 2671666.9922 | 1246223.0425 | 2671661.8619 | 1246226.9152 | 2671646.7039 | 1246235.9274 | 2671646.5854 | 1246235.9771
78 | 2671675.5476 | 1246216.5843 | 2671666.9922 | 1246223.0425
79 | 2671605.4467 | 1246253.2478 | 2671646.5854 | 1246235.9771
80 | 2671696.9916 | 1246207.537 | 2671687.5954 | 1246210.5034 | 2671682.2563 | 1246212.8294 | 2671675.5476 | 1246216.5843
81 | 2671675.5476 | 1246216.5843 | 2671677.8584 | 1246221.6603 | 2671686.6862 | 1246238.6643
82 | 2671605.4467 | 1246253.2478 | 2671600.8788 | 1246255.1655 | 2671588.4719 | 1246257.3415
83 | 2671696.9916 | 1246207.537 | 2671709.3055 | 1246204.7961
84 | 2671696.9916 | 1246207.537 | 2671694.0023 | 1246192.8234
85 | 2671699.3275 | 1246263.0141 | 2671686.6862 | 1246238.6643
86 | 2671581.2571 | 1246258.6068 | 2671588.4719 | 1246257.3415
87 | 2671722.9859 | 1246202.0585 | 2671715.422 | 1246203.4347 | 2671709.3055 | 1246204.7961
88 | 2671688.8844 | 1246167.6331 | 2671694.0023 | 1246192.8234
89 | 2671699.6957 | 1246263.7233 | 2671699.3275 | 1246263.0141
90 | 2671581.2571 | 1246258.6068 | 2671552.2145 | 1246263.7004
91 | 2671722.9859 | 1246202.0585 | 2671725.8865 | 1246208.4161
92 | 2671722.9859 | 1246202.0585 | 2671719.7485 | 1246190.3932
93 | 2671706.09 | 1246276.0399 | 2671699.6957 | 1246263.7233
94 | 2671967.5635 | 1246387.655 | 2671967.8953 | 1246388.8679 | 2671979.7258 | 1246404.7915
95 | 2671967.5635 | 1246387.655 | 2671965.5128 | 1246380.1573
96 | 2671995.3349 | 1246429.7966 | 2671985.7346 | 1246412.8792 | 2671979.7258 | 1246404.7915
97 | 2671964.1483 | 1246375.1683 | 2671965.5128 | 1246380.1573
98 | 2671995.3349 | 1246429.7966 | 2671966.7938 | 1246437.8512
99 | 2671943.4915 | 1246444.4274 | 2671966.7938 | 1246437.8512
100 | 2671928.0205 | 1246448.7935 | 2671943.4915 | 1246444.4274
101 | 2671913.2631 | 1246400.712 | 2671913.5806 | 1246401.7466
102 | 2671913.2631 | 1246400.712 | 2671906.5121 | 1246378.7165
103 | 2671913.5806 | 1246401.7466 | 2671921.6086 | 1246427.9026
104 | 2671905.4141 | 1246375.1392 | 2671906.5121 | 1246378.7165
105 | 2671928.0205 | 1246448.7935 | 2671921.6086 | 1246427.9026
106 | 2671905.4141 | 1246375.1392 | 2671897.5089 | 1246349.3831
107 | 2671928.0205 | 1246448.7935 | 2671922.5474 | 1246559.3054
108 | 2671895.2706 | 1246342.0905 | 2671897.5089 | 1246349.3831
109 | 2671922.5474 | 1246559.3054 | 2671941.4855 | 1246578.0261 | 2671946.6063 | 1246583.0918 | 2671951.302 | 1246591.1112
110 | 2671895.2706 | 1246342.0905 | 2671891.0153 | 1246328.2261 | 2671890.3237 | 1246326.0629
111 | 2671547.6037 | 1246268.7723 | 2671547.6538 | 1246267.8546 | 2671551.7069 | 1246263.7895 | 2671552.2145 | 1246263.7004
112 | 2671887.7181 | 1246317.9122 | 2671890.3237 | 1246326.0629
113 | 2671871.5689 | 1246315.8262 | 2671887.7181 | 1246317.9122
114 | 2671893.402 | 1246315.8129 | 2671887.7181 | 1246317.9122
115 | 2671871.5689 | 1246315.8262 | 2671867.5534 | 1246337.971 | 2671869.8966 | 1246346.0073
116 | 2671871.5689 | 1246315.8262 | 2671852.8976 | 1246313.4167
117 | 2671893.402 | 1246315.8129 | 2671886.4321 | 1246297.0075
118 | 2671893.402 | 1246315.8129 | 2671899.9254 | 1246313.6349 | 2671916.1489 | 1246306.482
119 | 2671871.5716 | 1246351.7516 | 2671869.8966 | 1246346.0073
120 | 2671852.8976 | 1246313.4167 | 2671845.6025 | 1246312.4753
121 | 2671885.1458 | 1246293.5369 | 2671886.4321 | 1246297.0075
122 | 2671931.3822 | 1246295.2916 | 2671916.1489 | 1246306.482
123 | 2671827.2547 | 1246310.1076 | 2671845.6025 | 1246312.4753
124 | 2671878.8884 | 1246276.6538 | 2671885.1458 | 1246293.5369
125 | 2671973.5214 | 1246293.8355 | 2671941.5723 | 1246290.1342 | 2671936.8816 | 1246291.3115 | 2671931.8133 | 1246294.9749 | 2671931.3822 | 1246295.2916
126 | 2671996.8898 | 1246291.8176 | 2671991.2854 | 1246293.5842 | 2671973.5214 | 1246293.8355
127 | 2671973.5214 | 1246293.8355 | 2671979.4727 | 1246302.6918 | 2671987.3263 | 1246316.0525
128 | 2671996.8898 | 1246291.8176 | 2671986.8416 | 1246284.3904 | 2671976.9971 | 1246277.6106 | 2671966.8308 | 1246257.0397
129 | 2671962.1023 | 1246607.0648 | 2671955.2357 | 1246597.8292 | 2671951.302 | 1246591.1112
130 | 2671962.1023 | 1246607.0648 | 2671969.3224 | 1246616.776
131 | 2671837.1877 | 1246371.7514 | 2671831.0168 | 1246357.4865
132 | 2671827.2547 | 1246310.1076 | 2671826.2406 | 1246319.6132 | 2671827.841 | 1246347.7636 | 2671829.1504 | 1246353.1722 | 2671831.0168 | 1246357.4865
133 | 2671801.3044 | 1246382.4918 | 2671805.2422 | 1246386.0616 | 2671812.8296 | 1246388.3328 | 2671819.5439 | 1246386.6018 | 2671824.3892 | 1246383.8807 | 2671824.813 | 1246383.3485
134 | 2671738.8759 | 1246236.8863 | 2671725.8865 | 1246208.4161
135 | 2671712.6392 | 1246142.4468 | 2671714.2957 | 1246162.2697 | 2671715.3231 | 1246168.7214
136 | 2671712.6392 | 1246142.4468 | 2671712.6392 | 1246142.4468 | 2671712.9375 | 1246133.1861
137 | 2671716.0768 | 1246173.4546 | 2671715.3231 | 1246168.7214
138 | 2671713.6362 | 1246111.4917 | 2671712.9375 | 1246133.1861
139 | 2671716.0768 | 1246173.4546 | 2671717.4624 | 1246182.1554 | 2671719.7485 | 1246190.3932
140 | 2671713.6362 | 1246111.4917 | 2671714.2321 | 1246092.9917
141 | 2671914.6459 | 1246052.648 | 2671913.5984 | 1246054.6283 | 2671907.3731 | 1246062.7253 | 2671905.199 | 1246066.5811
142 | 2671914.6459 | 1246052.648 | 2671918.4079 | 1246045.5358 | 2671920.3629 | 1246036.8987
143 | 2671923.1096 | 1246024.7643 | 2671920.3629 | 1246036.8987
144 | 2671924.5624 | 1246017.9071 | 2671941.4308 | 1245912.9981
145 | 2671924.5624 | 1246017.9071 | 2671923.8921 | 1246021.3073 | 2671923.1096 | 1246024.7643
146 | 2671772.5941 | 1245970.25 | 2671770.8142 | 1245948.7688
147 | 2671772.5941 | 1245970.25 | 2671772.4849 | 1245979.2688
148 | 2671772.4849 | 1245979.2688 | 2671772.4499 | 1245982.1558
149 | 2671772.4499 | 1245982.1558 | 2671772.2405 | 1245999.4576
150 | 2671746.2772 | 1245975.4576 | 2671746.2192 | 1245983.3878

## bus_geodata
| x | y | coords
0 | 2671822.9097 | 1246197.7828
1 | 2671821.7641 | 1246198.7748
2 | 2671833.6556 | 1246187.1091
3 | 2671803.6598 | 1246214.4519
4 | 2671835.8321 | 1246184.8682
5 | 2671851.5975 | 1246211.1624
6 | 2671785.0603 | 1246231.9274
7 | 2671844.2124 | 1246176.2395
8 | 2671868.7515 | 1246250.9794
9 | 2671777.4954 | 1246241.1019
10 | 2671886.7631 | 1246110.7095
11 | 2671767.7964 | 1246050.5238
12 | 2671767.0712 | 1246082.5615
13 | 2671770.2836 | 1246034.627
14 | 2671769.2324 | 1246082.5692
15 | 2671771.2994 | 1246026.6409
16 | 2671781.0782 | 1246082.6118
17 | 2671745.909 | 1246025.8555
18 | 2671771.7227 | 1246016.4121
19 | 2671786.0012 | 1246082.6295
20 | 2671716.2933 | 1246030.2338
21 | 2671745.9899 | 1246014.7769
22 | 2671771.8492 | 1246013.3558
23 | 2671715.6882 | 1246047.7833
24 | 2671746.0946 | 1246000.4529
25 | 2671772.2101 | 1246001.9691
26 | 2671776.2665 | 1246329.8985
27 | 2671776.6598 | 1246342.3648
28 | 2671773.3725 | 1246310.945
29 | 2671776.3595 | 1246354.8447
30 | 2671765.2208 | 1246291.5375
31 | 2671795.3654 | 1246307.0861
32 | 2671775.2251 | 1246364.4608
33 | 2671756.1775 | 1246270.0073
34 | 2671796.3648 | 1246287.7988
35 | 2671807.7915 | 1246308.2635
36 | 2671796.1576 | 1246367.6831
37 | 2671772.6192 | 1246378.1501
38 | 2671752.6431 | 1246261.5926
39 | 2671797.5213 | 1246278.7815
40 | 2671813.3639 | 1246308.7915
41 | 2671718.9543 | 1245941.7743
42 | 2671719.7478 | 1245915.3951
43 | 2671720.3614 | 1245894.9974
44 | 2671771.194 | 1245917.4038
45 | 2671721.6878 | 1245850.9834
46 | 2671771.0468 | 1245929.5567
47 | 2671771.3366 | 1245905.6171
48 | 2671721.5126 | 1245822.1453
49 | 2671715.0223 | 1246068.4561
50 | 2671714.8593 | 1246073.5185
51 | 2671770.6882 | 1246249.742
52 | 2671742.5182 | 1246244.8694
53 | 2671791.9974 | 1246082.651
54 | 2671795.2834 | 1246082.6628
55 | 2671556.0533 | 1246585.5527
56 | 2671654.5743 | 1246518.1759
57 | 2671330.7197 | 1246418.7692
58 | 2671646.1316 | 1246483.9294
59 | 2671323.6276 | 1246412.8743
60 | 2671643.2328 | 1246473.489
61 | 2671640.9493 | 1246462.0513
62 | 2671784.5999 | 1246422.5731
63 | 2671772.515 | 1246383.7271
64 | 2671313.2412 | 1246402.1737
65 | 2671302.1444 | 1246390.7412
66 | 2671325.3085 | 1246202.2085
67 | 2671281.0784 | 1246164.1005
68 | 2671666.9922 | 1246223.0425
69 | 2671646.5854 | 1246235.9771
70 | 2671675.5476 | 1246216.5843
71 | 2671605.4467 | 1246253.2478
72 | 2671696.9916 | 1246207.537
73 | 2671686.6862 | 1246238.6643
74 | 2671588.4719 | 1246257.3415
75 | 2671709.3055 | 1246204.7961
76 | 2671694.0023 | 1246192.8234
77 | 2671699.3275 | 1246263.0141
78 | 2671581.2571 | 1246258.6068
79 | 2671722.9859 | 1246202.0585
80 | 2671688.8844 | 1246167.6331
81 | 2671699.6957 | 1246263.7233
82 | 2671967.5635 | 1246387.655
83 | 2671979.7258 | 1246404.7915
84 | 2671965.5128 | 1246380.1573
85 | 2671995.3349 | 1246429.7966
86 | 2671964.1483 | 1246375.1683
87 | 2671966.7938 | 1246437.8512
88 | 2671943.4915 | 1246444.4274
89 | 2671913.2631 | 1246400.712
90 | 2671913.5806 | 1246401.7466
91 | 2671906.5121 | 1246378.7165
92 | 2671921.6086 | 1246427.9026
93 | 2671905.4141 | 1246375.1392
94 | 2671928.0205 | 1246448.7935
95 | 2671897.5089 | 1246349.3831
96 | 2671922.5474 | 1246559.3054
97 | 2671895.2706 | 1246342.0905
98 | 2671552.2145 | 1246263.7004
99 | 2671547.6037 | 1246268.7723
100 | 2671890.3237 | 1246326.0629
101 | 2671887.7181 | 1246317.9122
102 | 2671871.5689 | 1246315.8262
103 | 2671893.402 | 1246315.8129
104 | 2671869.8966 | 1246346.0073
105 | 2671852.8976 | 1246313.4167
106 | 2671886.4321 | 1246297.0075
107 | 2671916.1489 | 1246306.482
108 | 2671871.5716 | 1246351.7516
109 | 2671845.6025 | 1246312.4753
110 | 2671885.1458 | 1246293.5369
111 | 2671931.3822 | 1246295.2916
112 | 2671973.5214 | 1246293.8355
113 | 2671996.8898 | 1246291.8176
114 | 2671987.3263 | 1246316.0525
115 | 2671966.8308 | 1246257.0397
116 | 2671962.1023 | 1246607.0648
117 | 2671951.302 | 1246591.1112
118 | 2671969.3224 | 1246616.776
119 | 2671837.1877 | 1246371.7514
120 | 2671831.0168 | 1246357.4865
121 | 2671827.2547 | 1246310.1076
122 | 2671801.3044 | 1246382.4918
123 | 2671811.3172 | 1246364.4073
124 | 2671797.8459 | 1246376.8339
125 | 2671803.6173 | 1246366.0711
126 | 2671738.8759 | 1246236.8863
127 | 2671706.09 | 1246276.0399
128 | 2671712.6392 | 1246142.4468
129 | 2671715.3231 | 1246168.7214
130 | 2671712.9375 | 1246133.1861
131 | 2671716.0768 | 1246173.4546
132 | 2671713.6362 | 1246111.4917
133 | 2671719.7485 | 1246190.3932
134 | 2671714.2321 | 1246092.9917
135 | 2671878.8884 | 1246276.6538
136 | 2671725.8865 | 1246208.4161
137 | 2671824.813 | 1246383.3485
138 | 2671810.6389 | 1246262.3504
139 | 2671905.199 | 1246066.5811
140 | 2671914.6459 | 1246052.648
141 | 2671920.3629 | 1246036.8987
142 | 2671941.4308 | 1245912.9981
143 | 2671924.5624 | 1246017.9071
144 | 2671770.8142 | 1245948.7688
145 | 2671772.5941 | 1245970.25
146 | 2671772.4849 | 1245979.2688
147 | 2671772.4499 | 1245982.1558
148 | 2671772.2405 | 1245999.4576
149 | 2671746.2192 | 1245983.3878
150 | 2671746.2772 | 1245975.4576
151 | 2671923.1096 | 1246024.7643
152 | 2671833.6556 | 1246187.1091

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1