## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4080-14_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4080-14_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4080-14_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4080-14_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4080-14_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4080-14_0_5_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_4080-14_0_5_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_4080-14_0_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_4080-14_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4080-14_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4080-14_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4080-14_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4080-14_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4080-14_0_5_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_4080-14_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4080-14_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4080-14_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4080-14_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4080-14_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4080-14_0_5_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_4080-14_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4080-14_0_5_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_4080-14_0_5_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_4080-14_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4080-14_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_4080-14_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4080-14_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_4080-14_0_5_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_4080-14_0_5_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_4080-14_0_5_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_4080-14_0_5_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_4080-14_0_5_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_4080-14_0_5_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4080-14_0_5_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_4080-14_0_5_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_4080-14_0_5_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_4080-14_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4080-14_0_5_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4080-14_0_5_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4080-14_0_5_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_4080-14_0_5_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_4080-14_0_5_node_80 | 0.4 | n |  | TRUE
42 | bus_LV_4080-14_0_5_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_4080-14_0_5_node_79 | 0.4 | n |  | TRUE
44 | bus_LV_4080-14_0_5_node_81 | 0.4 | n |  | TRUE
45 | bus_LV_4080-14_0_5_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_4080-14_0_5_node_103 | 0.4 | n |  | TRUE
47 | bus_LV_4080-14_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_4080-14_0_5_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_4080-14_0_5_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4080-14_0_5_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4080-14_0_5_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_4080-14_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_4080-14_0_5_node_88 | 0.4 | n |  | TRUE
54 | bus_LV_4080-14_0_5_node_149 | 0.4 | n |  | TRUE
55 | bus_LV_4080-14_0_5_node_146 | 0.4 | n |  | TRUE
56 | bus_LV_4080-14_0_5_node_164 | 0.4 | n |  | TRUE
57 | bus_LV_4080-14_0_5_node_169 | 0.4 | n |  | TRUE
58 | bus_LV_4080-14_0_5_node_87 | 0.4 | n |  | TRUE
59 | bus_LV_4080-14_0_5_node_157 | 0.4 | n |  | TRUE
60 | bus_LV_4080-14_0_5_node_147 | 0.4 | n |  | TRUE
61 | bus_LV_4080-14_0_5_node_162 | 0.4 | n |  | TRUE
62 | bus_LV_4080-14_0_5_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_4080-14_0_5_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4080-14_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4080-14_0_5_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4080-14_0_5_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_4080-14_0_5_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_4080-14_0_5_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_4080-14_0_5_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_4080-14_0_5_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_4080-14_0_5_node_91 | 0.4 | n |  | TRUE
72 | bus_LV_4080-14_0_5_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_4080-14_0_5_node_92 | 0.4 | n |  | TRUE
74 | bus_LV_4080-14_0_5_node_89 | 0.4 | n |  | TRUE
75 | bus_LV_4080-14_0_5_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_4080-14_0_5_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4080-14_0_5_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_4080-14_0_5_node_154 | 0.4 | n |  | TRUE
79 | bus_LV_4080-14_0_5_node_109 | 0.4 | n |  | TRUE
80 | bus_LV_4080-14_0_5_node_55 | 0.4 | n |  | TRUE
81 | bus_LV_4080-14_0_5_node_152 | 0.4 | n |  | TRUE
82 | bus_LV_4080-14_0_5_node_110 | 0.4 | n |  | TRUE
83 | bus_LV_4080-14_0_5_node_140 | 0.4 | n |  | TRUE
84 | bus_LV_4080-14_0_5_node_138 | 0.4 | n |  | TRUE
85 | bus_LV_4080-14_0_5_node_126 | 0.4 | n |  | TRUE
86 | bus_LV_4080-14_0_5_node_139 | 0.4 | n |  | TRUE
87 | bus_LV_4080-14_0_5_node_141 | 0.4 | n |  | TRUE
88 | bus_LV_4080-14_0_5_node_155 | 0.4 | n |  | TRUE
89 | bus_LV_4080-14_0_5_node_153 | 0.4 | n |  | TRUE
90 | bus_LV_4080-14_0_5_node_60 | 0.4 | n |  | TRUE
91 | bus_LV_4080-14_0_5_node_118 | 0.4 | n |  | TRUE
92 | bus_LV_4080-14_0_5_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_4080-14_0_5_node_61 | 0.4 | n |  | TRUE
94 | bus_LV_4080-14_0_5_node_62 | 0.4 | n |  | TRUE
95 | bus_LV_4080-14_0_5_node_63 | 0.4 | n |  | TRUE
96 | bus_LV_4080-14_0_5_node_64 | 0.4 | n |  | TRUE
97 | bus_LV_4080-14_0_5_node_65 | 0.4 | n |  | TRUE
98 | bus_LV_4080-14_0_5_node_106 | 0.4 | n |  | TRUE
99 | bus_LV_4080-14_0_5_node_102 | 0.4 | n |  | TRUE
100 | bus_LV_4080-14_0_5_node_107 | 0.4 | n |  | TRUE
101 | bus_LV_4080-14_0_5_node_108 | 0.4 | n |  | TRUE
102 | bus_LV_4080-14_0_5_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_4080-14_0_5_node_66 | 0.4 | n |  | TRUE
104 | bus_LV_4080-14_0_5_node_67 | 0.4 | n |  | TRUE
105 | bus_LV_4080-14_0_5_node_68 | 0.4 | n |  | TRUE
106 | bus_LV_4080-14_0_5_node_69 | 0.4 | n |  | TRUE
107 | bus_LV_4080-14_0_5_node_70 | 0.4 | n |  | TRUE
108 | bus_LV_4080-14_0_5_node_72 | 0.4 | n |  | TRUE
109 | bus_LV_4080-14_0_5_node_95 | 0.4 | n |  | TRUE
110 | bus_LV_4080-14_0_5_node_111 | 0.4 | n |  | TRUE
111 | bus_LV_4080-14_0_5_node_122 | 0.4 | n |  | TRUE
112 | bus_LV_4080-14_0_5_node_121 | 0.4 | n |  | TRUE
113 | bus_LV_4080-14_0_5_node_96 | 0.4 | n |  | TRUE
114 | bus_LV_4080-14_0_5_node_170 | 0.4 | n |  | TRUE
115 | bus_LV_4080-14_0_5_node_124 | 0.4 | n |  | TRUE
116 | bus_LV_4080-14_0_5_node_123 | 0.4 | n |  | TRUE
117 | bus_LV_4080-14_0_5_node_125 | 0.4 | n |  | TRUE
118 | bus_LV_4080-14_0_5_node_127 | 0.4 | n |  | TRUE
119 | bus_LV_4080-14_0_5_node_75 | 0.4 | n |  | TRUE
120 | bus_LV_4080-14_0_5_node_76 | 0.4 | n |  | TRUE
121 | bus_LV_4080-14_0_5_node_78 | 0.4 | n |  | TRUE
122 | bus_LV_4080-14_0_5_node_167 | 0.4 | n |  | TRUE
123 | bus_LV_4080-14_0_5_node_168 | 0.4 | n |  | TRUE
124 | bus_LV_4080-14_0_5_node_97 | 0.4 | n |  | TRUE
125 | bus_LV_4080-14_0_5_node_117 | 0.4 | n |  | TRUE
126 | bus_LV_4080-14_0_5_node_84 | 0.4 | n |  | TRUE
127 | bus_LV_4080-14_0_5_node_85 | 0.4 | n |  | TRUE
128 | bus_LV_4080-14_0_5_node_119 | 0.4 | n |  | TRUE
129 | bus_LV_4080-14_0_5_node_90 | 0.4 | n |  | TRUE
130 | bus_LV_4080-14_0_5_node_93 | 0.4 | n |  | TRUE
131 | bus_LV_4080-14_0_5_node_94 | 0.4 | n |  | TRUE
132 | bus_LV_4080-14_0_5_node_98 | 0.4 | n |  | TRUE
133 | bus_LV_4080-14_0_5_node_99 | 0.4 | n |  | TRUE
134 | bus_LV_4080-14_0_5_node_101 | 0.4 | n |  | TRUE
135 | bus_LV_4080-14_0_5_node_120 | 0.4 | n |  | TRUE
136 | bus_LV_4080-14_0_5_node_105 | 0.4 | n |  | TRUE
137 | bus_LV_4080-14_0_5_node_142 | 0.4 | n |  | TRUE
138 | bus_LV_4080-14_0_5_node_131 | 0.4 | n |  | TRUE
139 | bus_LV_4080-14_0_5_node_116 | 0.4 | n |  | TRUE
140 | bus_LV_4080-14_0_5_node_134 | 0.4 | n |  | TRUE
141 | bus_LV_4080-14_0_5_node_129 | 0.4 | n |  | TRUE
142 | bus_LV_4080-14_0_5_node_137 | 0.4 | n |  | TRUE
143 | bus_LV_4080-14_0_5_node_130 | 0.4 | n |  | TRUE
144 | bus_LV_4080-14_0_5_node_145 | 0.4 | n |  | TRUE
145 | bus_LV_4080-14_0_5_node_159 | 0.4 | n |  | TRUE
146 | bus_LV_4080-14_0_5_node_144 | 0.4 | n |  | TRUE
147 | bus_LV_4080-14_0_5_node_114 | 0.4 | n |  | TRUE
148 | bus_LV_4080-14_0_5_node_113 | 0.4 | n |  | TRUE
149 | bus_LV_4080-14_0_5_node_128 | 0.4 | n |  | TRUE
150 | bus_LV_4080-14_0_5_node_135 | 0.4 | n |  | TRUE
151 | bus_LV_4080-14_0_5_node_136 | 0.4 | n |  | TRUE
152 | bus_LV_4080-14_0_5_node_160 | 0.4 | n |  | TRUE
153 | bus_LV_4080-14_0_5_node_133 | 0.4 | n |  | TRUE
154 | bus_LV_4080-14_0_5_node_132 | 0.4 | n |  | TRUE
155 | bus_LV_4080-14_0_5_node_150 | 0.4 | n |  | TRUE
156 | bus_LV_4080-14_0_5_node_151 | 0.4 | n |  | TRUE
157 | bus_LV_4080-14_0_5_node_143 | 0.4 | n |  | TRUE
158 | bus_LV_4080-14_0_5_node_156 | 0.4 | n |  | TRUE
159 | bus_LV_4080-14_0_5_node_161 | 0.4 | n |  | TRUE
160 | bus_LV_4080-14_0_5_node_163 | 0.4 | n |  | TRUE
161 | bus_LV_4080-14_0_5_node_165 | 0.4 | n |  | TRUE
162 | bus_LV_4080-14_0_5_node_166 | 0.4 | n |  | TRUE
163 | bus_MV_428_1_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4080-14_0_5_load_0 | 0 | 0.002572 | 0.0006446 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4080-14_0_5_load_1 | 1 | 0.0022765 | 0.00057053 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4080-14_0_5_load_3 | 3 | 0.0025485 | 0.0006387 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4080-14_0_5_load_4 | 4 | 0.0029287 | 0.00073399 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4080-14_0_5_load_25 | 6 | 0.0011945 | 0.00029937 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4080-14_0_5_load_18 | 7 | 0.0019043 | 0.00047726 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4080-14_0_5_load_5 | 8 | 0.0070805 | 0.0017745 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4080-14_0_5_load_6 | 9 | 0.0023257 | 0.00058288 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4080-14_0_5_load_7 | 10 | 0.002254 | 0.00056491 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4080-14_0_5_load_8 | 11 | 0.0069383 | 0.0017389 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4080-14_0_5_load_9 | 12 | 0.0013201 | 0.00033085 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4080-14_0_5_load_23 | 13 | 0.0021847 | 0.00054755 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4080-14_0_5_load_10 | 14 | 0.0060687 | 0.001521 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4080-14_0_5_load_11 | 15 | 0.0035121 | 0.00088023 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4080-14_0_5_load_12 | 16 | 0.0027638 | 0.00069267 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4080-14_0_5_load_13 | 17 | 0.0042754 | 0.0010715 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4080-14_0_5_load_14 | 18 | 0.0030225 | 0.00075751 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4080-14_0_5_load_15 | 20 | 0.0053823 | 0.0013489 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4080-14_0_5_load_27 | 21 | 0.0014495 | 0.00036329 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4080-14_0_5_load_22 | 22 | 0.0042167 | 0.0010568 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4080-14_0_5_load_16 | 23 | 0.0027232 | 0.00068251 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4080-14_0_5_load_17 | 24 | 0.004737 | 0.0011872 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4080-14_0_5_load_21 | 26 | 0.0028343 | 0.00071033 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4080-14_0_5_load_45 | 27 | 0.001818 | 0.00045564 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4080-14_0_5_load_49 | 30 | 0.0037493 | 0.00093966 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4080-14_0_5_load_50 | 31 | 0.0016018 | 0.00040144 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4080-14_0_5_load_28 | 32 | 0.020467 | 0.0051296 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4080-14_0_5_load_31 | 35 | 0.018943 | 0.0047475 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4080-14_0_5_load_32 | 36 | 0.018872 | 0.0047299 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4080-14_0_5_load_33 | 37 | 0.0080294 | 0.0020123 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4080-14_0_5_load_34 | 38 | 0.0083619 | 0.0020957 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4080-14_0_5_load_74 | 40 | 0.0082466 | 0.0020668 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4080-14_0_5_load_53 | 42 | 0.0089661 | 0.0022471 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4080-14_0_5_load_81 | 44 | 0.00082586 | 0.00020698 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4080-14_0_5_load_73 | 45 | 0.0077717 | 0.0019478 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4080-14_0_5_load_103 | 46 | 0.0077527 | 0.001943 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4080-14_0_5_load_35 | 47 | 0.003926 | 0.00098395 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4080-14_0_5_load_88 | 53 | 0.0043131 | 0.001081 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4080-14_0_5_load_149 | 54 | 0.0036721 | 0.00092031 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4080-14_0_5_load_146 | 55 | 0.0013019 | 0.00032628 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4080-14_0_5_load_164 | 56 | 0.0013115 | 0.00032869 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4080-14_0_5_load_169 | 57 | 0.0013684 | 0.00034296 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4080-14_0_5_load_157 | 59 | 0.011333 | 0.0028404 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4080-14_0_5_load_147 | 60 | 0.00040132 | 0.00010058 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4080-14_0_5_load_47 | 62 | 0.00139 | 0.00034836 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4080-14_0_5_load_41 | 63 | 0.0017274 | 0.00043293 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4080-14_0_5_load_44 | 65 | 0.0042171 | 0.0010569 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4080-14_0_5_load_46 | 66 | 0.006044 | 0.0015148 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4080-14_0_5_load_82 | 67 | 0.0044413 | 0.0011131 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4080-14_0_5_load_83 | 68 | 0.0020253 | 0.00050759 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4080-14_0_5_load_56 | 69 | 0.0043992 | 0.0011025 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4080-14_0_5_load_58 | 70 | 0.0054435 | 0.0013643 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4080-14_0_5_load_59 | 72 | 0.00089696 | 0.0002248 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4080-14_0_5_load_92 | 73 | 0.0034128 | 0.00085533 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4080-14_0_5_load_89 | 74 | 0.0087444 | 0.0021916 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4080-14_0_5_load_57 | 76 | 0.003758 | 0.00094183 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4080-14_0_5_load_54 | 77 | 0.0041342 | 0.0010361 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4080-14_0_5_load_154 | 78 | 0.0011672 | 0.00029252 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4080-14_0_5_load_109 | 79 | 0.0090935 | 0.0022791 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4080-14_0_5_load_55 | 80 | 0.0038262 | 0.00095892 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4080-14_0_5_load_152 | 81 | 0.0018435 | 0.00046203 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4080-14_0_5_load_110 | 82 | 0.0057984 | 0.0014532 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4080-14_0_5_load_140 | 83 | 0.0064129 | 0.0016072 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4080-14_0_5_load_138 | 84 | 0.0084744 | 0.0021239 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4080-14_0_5_load_126 | 85 | 0.0014239 | 0.00035685 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4080-14_0_5_load_141 | 87 | 0.0024921 | 0.00062459 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4080-14_0_5_load_155 | 88 | 0.0040436 | 0.0010134 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4080-14_0_5_load_153 | 89 | 0.0041729 | 0.0010458 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4080-14_0_5_load_60 | 90 | 0.0039296 | 0.00098485 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4080-14_0_5_load_118 | 91 | 0.0012075 | 0.00030262 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4080-14_0_5_load_61 | 93 | 0.00063437 | 0.00015899 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4080-14_0_5_load_62 | 94 | 0.00089652 | 0.00022469 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4080-14_0_5_load_63 | 95 | 0.000961 | 0.00024085 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4080-14_0_5_load_64 | 96 | 0.00071035 | 0.00017803 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4080-14_0_5_load_65 | 97 | 0.00061829 | 0.00015496 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4080-14_0_5_load_102 | 99 | 0.00058051 | 0.00014549 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4080-14_0_5_load_107 | 100 | 0.00095275 | 0.00023878 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4080-14_0_5_load_108 | 101 | 0.0015368 | 0.00038516 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4080-14_0_5_load_100 | 102 | 0.00062431 | 0.00015647 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4080-14_0_5_load_66 | 103 | 0.00096325 | 0.00024141 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4080-14_0_5_load_67 | 104 | 0.0016707 | 0.00041872 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4080-14_0_5_load_111 | 110 | 0.002812 | 0.00070476 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4080-14_0_5_load_121 | 112 | 0.0041267 | 0.0010343 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4080-14_0_5_load_96 | 113 | 0.0012132 | 0.00030405 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4080-14_0_5_load_170 | 114 | 0.0029697 | 0.00074427 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4080-14_0_5_load_124 | 115 | 0.00079274 | 0.00019868 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4080-14_0_5_load_123 | 116 | 0.0016672 | 0.00041784 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4080-14_0_5_load_125 | 117 | 0.0011576 | 0.00029013 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4080-14_0_5_load_127 | 118 | 0.0011279 | 0.00028268 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4080-14_0_5_load_75 | 119 | 0.0021072 | 0.00052813 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4080-14_0_5_load_76 | 120 | 0.0014021 | 0.00035141 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4080-14_0_5_load_78 | 121 | 0.0014203 | 0.00035596 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4080-14_0_5_load_167 | 122 | 0.0014972 | 0.00037524 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4080-14_0_5_load_168 | 123 | 0.0012703 | 0.00031836 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4080-14_0_5_load_97 | 124 | 0.0012195 | 0.00030565 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4080-14_0_5_load_117 | 125 | 0.025548 | 0.006403 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4080-14_0_5_load_84 | 126 | 0.0019671 | 0.00049301 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4080-14_0_5_load_119 | 128 | 0.0021065 | 0.00052793 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4080-14_0_5_load_90 | 129 | 0.0055463 | 0.00139 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4080-14_0_5_load_93 | 130 | 0.00081232 | 0.00020359 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4080-14_0_5_load_94 | 131 | 0.0035275 | 0.00088409 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4080-14_0_5_load_98 | 132 | 0.0011369 | 0.00028492 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4080-14_0_5_load_99 | 133 | 0.000451 | 0.00011303 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4080-14_0_5_load_101 | 134 | 0.0016127 | 0.00040419 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4080-14_0_5_load_120 | 135 | 0.00059058 | 0.00014801 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4080-14_0_5_load_131 | 138 | 0.0026773 | 0.000671 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4080-14_0_5_load_116 | 139 | 0.0022574 | 0.00056577 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4080-14_0_5_load_134 | 140 | 0.0023552 | 0.00059026 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4080-14_0_5_load_129 | 141 | 0.0022257 | 0.00055781 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4080-14_0_5_load_137 | 142 | 0.0010173 | 0.00025495 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4080-14_0_5_load_130 | 143 | 0.0020756 | 0.0005202 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4080-14_0_5_load_159 | 145 | 0.0022948 | 0.00057514 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4080-14_0_5_load_144 | 146 | 0.0022402 | 0.00056144 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4080-14_0_5_load_114 | 147 | 0.00080702 | 0.00020226 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4080-14_0_5_load_113 | 148 | 0.0027125 | 0.00067981 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4080-14_0_5_load_128 | 149 | 0.0010863 | 0.00027226 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4080-14_0_5_load_135 | 150 | 0.0013254 | 0.00033218 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4080-14_0_5_load_136 | 151 | 0.00090779 | 0.00022751 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4080-14_0_5_load_160 | 152 | 0.0012313 | 0.00030859 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4080-14_0_5_load_133 | 153 | 0.0028454 | 0.00071311 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4080-14_0_5_load_132 | 154 | 0.0023423 | 0.00058703 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4080-14_0_5_load_150 | 155 | 0.0011436 | 0.00028662 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4080-14_0_5_load_151 | 156 | 0.0014552 | 0.00036471 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4080-14_0_5_load_143 | 157 | 0.0011129 | 0.00027893 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4080-14_0_5_load_156 | 158 | 0.01586 | 0.003975 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4080-14_0_5_load_161 | 159 | 0.0013931 | 0.00034915 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4080-14_0_5_load_165 | 161 | 0.0013666 | 0.00034251 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4080-14_0_5_load_166 | 162 | 0.0013186 | 0.00033047 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 129 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4080-14_0_5_line_0 |  | 0 | 1 | 0.023055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4080-14_0_5_line_1 |  | 0 | 2 | 0.017475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4080-14_0_5_line_2 |  | 2 | 3 | 0.018707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4080-14_0_5_line_3 |  | 2 | 4 | 0.0044162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4080-14_0_5_line_4 |  | 4 | 5 | 0.015909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4080-14_0_5_line_5 |  | 5 | 6 | 0.013008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4080-14_0_5_line_6 |  | 5 | 7 | 0.0087556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4080-14_0_5_line_7 |  | 6 | 12 | 0.0071961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4080-14_0_5_line_8 |  | 7 | 24 | 0.012198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4080-14_0_5_line_9 |  | 8 | 9 | 0.0019642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4080-14_0_5_line_10 |  | 8 | 10 | 0.0068022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4080-14_0_5_line_11 |  | 9 | 11 | 0.020844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4080-14_0_5_line_12 |  | 10 | 12 | 0.01879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4080-14_0_5_line_13 |  | 11 | 13 | 0.0031944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4080-14_0_5_line_14 |  | 14 | 15 | 0.027638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4080-14_0_5_line_15 |  | 14 | 16 | 0.00085795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4080-14_0_5_line_16 |  | 15 | 17 | 0.0018388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4080-14_0_5_line_17 |  | 16 | 18 | 0.025679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4080-14_0_5_line_18 |  | 17 | 19 | 0.017441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4080-14_0_5_line_19 |  | 18 | 20 | 0.012748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4080-14_0_5_line_20 |  | 19 | 21 | 0.012293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4080-14_0_5_line_21 |  | 19 | 22 | 0.01648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4080-14_0_5_line_22 |  | 20 | 23 | 0.016721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4080-14_0_5_line_23 |  | 21 | 29 | 0.015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4080-14_0_5_line_24 |  | 22 | 25 | 0.02185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4080-14_0_5_line_25 |  | 24 | 25 | 0.019609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4080-14_0_5_line_26 |  | 25 | 26 | 0.014748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4080-14_0_5_line_27 |  | 26 | 27 | 0.04281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4080-14_0_5_line_28 |  | 27 | 28 | 0.013034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_4080-14_0_5_line_29 |  | 28 | 65 | 0.022312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4080-14_0_5_line_30 |  | 28 | 63 | 0.012742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4080-14_0_5_line_31 |  | 29 | 30 | 0.014718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4080-14_0_5_line_32 |  | 29 | 31 | 0.030037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4080-14_0_5_line_33 |  | 30 | 70 | 0.045468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4080-14_0_5_line_34 |  | 31 | 71 | 0.010048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_4080-14_0_5_line_35 |  | 32 | 33 | 0.013885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_4080-14_0_5_line_36 |  | 32 | 34 | 0.018675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4080-14_0_5_line_37 |  | 33 | 35 | 0.042507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4080-14_0_5_line_38 |  | 33 | 36 | 0.014556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4080-14_0_5_line_39 |  | 34 | 37 | 0.0068122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4080-14_0_5_line_40 |  | 34 | 38 | 0.010498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4080-14_0_5_line_41 |  | 35 | 39 | 0.014084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_4080-14_0_5_line_42 |  | 37 | 40 | 0.017274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_4080-14_0_5_line_43 |  | 38 | 41 | 0.028429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_4080-14_0_5_line_44 |  | 39 | 42 | 0.010128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4080-14_0_5_line_45 |  | 40 | 45 | 0.017271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_4080-14_0_5_line_46 |  | 41 | 46 | 0.017175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4080-14_0_5_line_47 |  | 41 | 43 | 0.004733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_4080-14_0_5_line_48 |  | 42 | 79 | 0.034298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4080-14_0_5_line_49 |  | 43 | 44 | 0.047945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4080-14_0_5_line_50 |  | 44 | 124 | 0.022107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4080-14_0_5_line_51 |  | 45 | 85 | 0.052842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_4080-14_0_5_line_52 |  | 45 | 76 | 0.01683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_4080-14_0_5_line_53 |  | 47 | 48 | 0.019821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4080-14_0_5_line_54 |  | 48 | 49 | 0.001778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4080-14_0_5_line_55 |  | 49 | 53 | 0.022581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4080-14_0_5_line_56 |  | 50 | 51 | 0.010141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4080-14_0_5_line_57 |  | 50 | 52 | 0.034017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4080-14_0_5_line_58 |  | 51 | 54 | 0.022665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4080-14_0_5_line_59 |  | 51 | 55 | 0.01914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4080-14_0_5_line_60 |  | 52 | 56 | 0.017259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4080-14_0_5_line_61 |  | 52 | 57 | 0.01069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4080-14_0_5_line_62 |  | 53 | 58 | 0.016422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4080-14_0_5_line_63 |  | 54 | 59 | 0.0052806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4080-14_0_5_line_64 |  | 55 | 60 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4080-14_0_5_line_65 |  | 56 | 61 | 0.019251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4080-14_0_5_line_66 |  | 57 | 62 | 0.0092436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4080-14_0_5_line_67 |  | 58 | 69 | 0.035234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_4080-14_0_5_line_68 |  | 58 | 66 | 0.024315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_4080-14_0_5_line_69 |  | 61 | 159 | 0.0090534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4080-14_0_5_line_70 |  | 62 | 64 | 0.016547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4080-14_0_5_line_71 |  | 63 | 64 | 0.054025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_4080-14_0_5_line_72 |  | 64 | 66 | 0.023161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_4080-14_0_5_line_73 |  | 65 | 67 | 0.0016368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4080-14_0_5_line_74 |  | 67 | 68 | 0.034414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4080-14_0_5_line_75 |  | 68 | 125 | 0.013741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4080-14_0_5_line_76 |  | 69 | 80 | 0.018341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_4080-14_0_5_line_77 |  | 70 | 72 | 0.0006025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4080-14_0_5_line_78 |  | 71 | 73 | 0.036092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4080-14_0_5_line_79 |  | 71 | 74 | 0.015385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_4080-14_0_5_line_80 |  | 72 | 90 | 0.021391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4080-14_0_5_line_81 |  | 73 | 130 | 0.014714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4080-14_0_5_line_82 |  | 74 | 129 | 0.01957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_4080-14_0_5_line_83 |  | 75 | 76 | 0.006522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_4080-14_0_5_line_84 |  | 75 | 77 | 0.0038972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_4080-14_0_5_line_85 |  | 75 | 78 | 0.049458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4080-14_0_5_line_86 |  | 77 | 80 | 0.01728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_4080-14_0_5_line_87 |  | 78 | 81 | 0.0062612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4080-14_0_5_line_88 |  | 79 | 82 | 0.041191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4080-14_0_5_line_89 |  | 81 | 89 | 0.0088006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4080-14_0_5_line_90 |  | 83 | 84 | 0.050866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4080-14_0_5_line_91 |  | 84 | 86 | 0.053694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4080-14_0_5_line_92 |  | 85 | 115 | 0.0037605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_4080-14_0_5_line_93 |  | 86 | 87 | 0.0070627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4080-14_0_5_line_94 |  | 87 | 88 | 0.025824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4080-14_0_5_line_95 |  | 88 | 89 | 0.031272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4080-14_0_5_line_96 |  | 90 | 91 | 0.0033611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4080-14_0_5_line_97 |  | 91 | 92 | 0.015756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4080-14_0_5_line_98 |  | 92 | 128 | 0.025619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4080-14_0_5_line_99 |  | 92 | 127 | 0.011364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4080-14_0_5_line_100 |  | 93 | 94 | 0.014793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4080-14_0_5_line_101 |  | 93 | 95 | 0.00060638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4080-14_0_5_line_102 |  | 94 | 96 | 0.0017432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4080-14_0_5_line_103 |  | 95 | 97 | 0.0062677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4080-14_0_5_line_104 |  | 96 | 98 | 0.014626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4080-14_0_5_line_105 |  | 97 | 99 | 0.010174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4080-14_0_5_line_106 |  | 98 | 100 | 0.0072772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4080-14_0_5_line_107 |  | 98 | 101 | 0.020094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
108 | LV_4080-14_0_5_line_108 |  | 99 | 102 | 0.00046025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4080-14_0_5_line_109 |  | 100 | 147 | 0.013942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4080-14_0_5_line_110 |  | 101 | 107 | 0.02103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_4080-14_0_5_line_111 |  | 102 | 132 | 0.023018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4080-14_0_5_line_112 |  | 103 | 104 | 0.032654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
113 | LV_4080-14_0_5_line_113 |  | 103 | 105 | 0.0024581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_4080-14_0_5_line_114 |  | 104 | 106 | 0.024052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
115 | LV_4080-14_0_5_line_115 |  | 105 | 107 | 0.006673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
116 | LV_4080-14_0_5_line_116 |  | 106 | 108 | 0.027579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4080-14_0_5_line_117 |  | 106 | 109 | 0.014652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
118 | LV_4080-14_0_5_line_118 |  | 106 | 110 | 0.023088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4080-14_0_5_line_119 |  | 108 | 111 | 0.035431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4080-14_0_5_line_120 |  | 108 | 112 | 0.0071143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4080-14_0_5_line_121 |  | 109 | 113 | 0.031295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
122 | LV_4080-14_0_5_line_122 |  | 111 | 114 | 0.033157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4080-14_0_5_line_123 |  | 113 | 124 | 0.015177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
124 | LV_4080-14_0_5_line_124 |  | 115 | 116 | 0.015652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
125 | LV_4080-14_0_5_line_125 |  | 116 | 117 | 0.0025898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
126 | LV_4080-14_0_5_line_126 |  | 117 | 118 | 0.016799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
127 | LV_4080-14_0_5_line_127 |  | 118 | 150 | 0.018307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
128 | LV_4080-14_0_5_line_128 |  | 119 | 120 | 0.0079343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4080-14_0_5_line_129 |  | 120 | 121 | 0.018536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4080-14_0_5_line_130 |  | 121 | 122 | 0.020043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4080-14_0_5_line_131 |  | 122 | 123 | 0.012316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4080-14_0_5_line_132 |  | 123 | 161 | 0.015118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4080-14_0_5_line_133 |  | 126 | 127 | 0.0026133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4080-14_0_5_line_134 |  | 130 | 131 | 0.017333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4080-14_0_5_line_135 |  | 132 | 133 | 0.014764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4080-14_0_5_line_136 |  | 133 | 134 | 0.013431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4080-14_0_5_line_137 |  | 134 | 135 | 0.0016738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4080-14_0_5_line_138 |  | 136 | 137 | 0.04649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
139 | LV_4080-14_0_5_line_139 |  | 136 | 138 | 0.014724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
140 | LV_4080-14_0_5_line_140 |  | 137 | 142 | 0.0089616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
141 | LV_4080-14_0_5_line_141 |  | 138 | 143 | 0.005085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
142 | LV_4080-14_0_5_line_142 |  | 139 | 140 | 0.018684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4080-14_0_5_line_143 |  | 139 | 141 | 0.011881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4080-14_0_5_line_144 |  | 140 | 144 | 0.0018882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4080-14_0_5_line_145 |  | 141 | 149 | 0.014697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4080-14_0_5_line_146 |  | 142 | 151 | 0.0079394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
147 | LV_4080-14_0_5_line_147 |  | 143 | 154 | 0.022032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
148 | LV_4080-14_0_5_line_148 |  | 144 | 145 | 0.021271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4080-14_0_5_line_149 |  | 144 | 146 | 0.0099785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4080-14_0_5_line_150 |  | 145 | 152 | 0.012215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4080-14_0_5_line_151 |  | 145 | 153 | 0.031761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
152 | LV_4080-14_0_5_line_152 |  | 146 | 157 | 0.015531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4080-14_0_5_line_153 |  | 147 | 148 | 0.02518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4080-14_0_5_line_154 |  | 150 | 151 | 0.003899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
155 | LV_4080-14_0_5_line_155 |  | 153 | 155 | 0.024974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4080-14_0_5_line_156 |  | 153 | 154 | 0.0025677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
157 | LV_4080-14_0_5_line_157 |  | 155 | 156 | 0.00087065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4080-14_0_5_line_158 |  | 156 | 158 | 0.015111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4080-14_0_5_line_159 |  | 159 | 160 | 0.01042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4080-14_0_5_line_160 |  | 160 | 161 | 0.0039952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4080-14_0_5_line_161 |  | 160 | 162 | 0.0083691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4080-14_0_5_trafo_90 | 0.63 MVA 20/0.4 kV | 163 | 129 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2661654.1461 | 1244530.3164 | 2661668.7519 | 1244512.4779
1 | 2661643.0755 | 1244543.8372 | 2661654.1461 | 1244530.3164
2 | 2661643.0755 | 1244543.8372 | 2661658.9135 | 1244553.7933
3 | 2661643.0755 | 1244543.8372 | 2661639.3235 | 1244541.5081
4 | 2661625.8068 | 1244533.1172 | 2661639.3235 | 1244541.5081
5 | 2661625.8068 | 1244533.1172 | 2661632.7822 | 1244522.1373
6 | 2661625.8068 | 1244533.1172 | 2661618.2982 | 1244528.6136
7 | 2661636.641 | 1244516.0633 | 2661632.7822 | 1244522.1373
8 | 2661607.8375 | 1244522.3393 | 2661618.2982 | 1244528.6136
9 | 2661650.3641 | 1244494.4619 | 2661651.4174 | 1244492.8039
10 | 2661650.3641 | 1244494.4619 | 2661646.7165 | 1244500.2034
11 | 2661651.4174 | 1244492.8039 | 2661662.2825 | 1244475.7012 | 2661662.6221 | 1244475.2283
12 | 2661636.641 | 1244516.0633 | 2661646.7165 | 1244500.2034
13 | 2661664.485 | 1244472.6334 | 2661662.6221 | 1244475.2283
14 | 2661587.6298 | 1244452.4073 | 2661571.1914 | 1244474.6256
15 | 2661588.1401 | 1244451.7176 | 2661587.6298 | 1244452.4073
16 | 2661571.1914 | 1244474.6256 | 2661570.0978 | 1244476.1038
17 | 2661603.4149 | 1244431.0753 | 2661595.3097 | 1244442.0272 | 2661588.1401 | 1244451.7176
18 | 2661559.7246 | 1244490.1242 | 2661570.0978 | 1244476.1038
19 | 2661603.4149 | 1244431.0753 | 2661610.9982 | 1244420.8286
20 | 2661559.7246 | 1244490.1242 | 2661550.3705 | 1244482.1487
21 | 2661559.7246 | 1244490.1242 | 2661573.1804 | 1244499.6384
22 | 2661610.9982 | 1244420.8286 | 2661614.8997 | 1244415.5569 | 2661620.0989 | 1244406.8254
23 | 2661538.7215 | 1244472.2164 | 2661550.3705 | 1244482.1487
24 | 2661591.0212 | 1244512.253 | 2661573.1804 | 1244499.6384
25 | 2661591.0212 | 1244512.253 | 2661607.8375 | 1244522.3393
26 | 2661591.0212 | 1244512.253 | 2661581.6039 | 1244523.6028
27 | 2661581.6039 | 1244523.6028 | 2661554.2675 | 1244556.5488
28 | 2661542.3659 | 1244558.68 | 2661545.5636 | 1244560.0141 | 2661553.3639 | 1244557.6378 | 2661554.2675 | 1244556.5488
29 | 2661542.3659 | 1244558.68 | 2661535.1203 | 1244555.6472 | 2661527.5587 | 1244543.3246
30 | 2661542.3659 | 1244558.68 | 2661533.0932 | 1244567.42
31 | 2661538.7215 | 1244472.2164 | 2661546.2501 | 1244462.5434 | 2661547.7145 | 1244460.5656
32 | 2661538.7215 | 1244472.2164 | 2661535.2694 | 1244468.4447 | 2661520.6539 | 1244450.3141 | 2661519.9933 | 1244448.8174
33 | 2661556.918 | 1244417.493 | 2661556.634 | 1244420.9449 | 2661557.3001 | 1244439.0419 | 2661555.219 | 1244448.071 | 2661551.5767 | 1244455.3493 | 2661547.7145 | 1244460.5656
34 | 2661515.936 | 1244439.6246 | 2661519.9933 | 1244448.8174
35 | 2661477.2893 | 1244457.2806 | 2661463.7511 | 1244454.1958
36 | 2661445.5429 | 1244450.047 | 2661463.7511 | 1244454.1958
37 | 2661477.2893 | 1244457.2806 | 2661471.4348 | 1244499.3821
38 | 2661477.2893 | 1244457.2806 | 2661477.425 | 1244444.1842 | 2661477.7308 | 1244442.7575
39 | 2661445.5429 | 1244450.047 | 2661443.5362 | 1244456.5569
40 | 2661445.5429 | 1244450.047 | 2661448.6346 | 1244440.0141
41 | 2661474.0041 | 1244513.2293 | 2661471.4348 | 1244499.3821
42 | 2661443.5362 | 1244456.5569 | 2661438.4479 | 1244473.0641
43 | 2661460.1024 | 1244414.5401 | 2661454.4952 | 1244421.1087 | 2661451.9159 | 1244429.3655 | 2661448.6346 | 1244440.0141
44 | 2661474.0041 | 1244513.2293 | 2661477.548 | 1244522.717
45 | 2661433.3604 | 1244489.5687 | 2661438.4479 | 1244473.0641
46 | 2661460.1024 | 1244414.5401 | 2661453.9402 | 1244411.9523 | 2661443.595 | 1244410.2075
47 | 2661460.1024 | 1244414.5401 | 2661463.7385 | 1244411.4979
48 | 2661489.4413 | 1244554.4951 | 2661487.3528 | 1244542.0317 | 2661477.548 | 1244522.717
49 | 2661463.7385 | 1244411.4979 | 2661465.9721 | 1244409.6197 | 2661472.6786 | 1244404.1632 | 2661476.3401 | 1244398.6752 | 2661483.6056 | 1244369.7911
50 | 2661483.6056 | 1244369.7911 | 2661488.9984 | 1244348.3521
51 | 2661433.3604 | 1244489.5687 | 2661385.3159 | 1244467.569
52 | 2661428.4027 | 1244505.652 | 2661433.3604 | 1244489.5687
53 | 2661425.1012 | 1244596.7801 | 2661442.1358 | 1244606.9136
54 | 2661423.5537 | 1244595.8969 | 2661425.1012 | 1244596.7801
55 | 2661423.5537 | 1244595.8969 | 2661429.4374 | 1244585.9621 | 2661440.3392 | 1244584.2563
56 | 2661507.4878 | 1244656.0184 | 2661507.6383 | 1244645.8797
57 | 2661507.6383 | 1244645.8797 | 2661511.9801 | 1244648.3708 | 2661526.3119 | 1244623.1466
58 | 2661507.4878 | 1244656.0184 | 2661501.0681 | 1244655.6961 | 2661489.5925 | 1244656.9002 | 2661485.1134 | 1244658.3186
59 | 2661507.4878 | 1244656.0184 | 2661510.9847 | 1244656.1881 | 2661519.921 | 1244659.3829 | 2661524.2243 | 1244663.7744
60 | 2661526.3119 | 1244623.1466 | 2661543.1093 | 1244627.1104
61 | 2661526.3119 | 1244623.1466 | 2661517.1846 | 1244617.5814
62 | 2661456.564 | 1244581.7178 | 2661440.3392 | 1244584.2563
63 | 2661485.1134 | 1244658.3186 | 2661480.0792 | 1244659.9128
64 | 2661530.2685 | 1244681.5334 | 2661530.2062 | 1244676.7792 | 2661527.4058 | 1244667.0212 | 2661524.2243 | 1244663.7744
65 | 2661561.8462 | 1244631.5319 | 2661543.1093 | 1244627.1104
66 | 2661517.1846 | 1244617.5814 | 2661509.2923 | 1244612.7693
67 | 2661456.564 | 1244581.7178 | 2661453.7429 | 1244576.8519 | 2661443.4367 | 1244549.0942
68 | 2661456.564 | 1244581.7178 | 2661460.0571 | 1244586.6351 | 2661473.2742 | 1244595.3112 | 2661475.4094 | 1244596.5596
69 | 2661561.8462 | 1244631.5319 | 2661563.9436 | 1244622.7248
70 | 2661495.1645 | 1244604.1552 | 2661509.2923 | 1244612.7693
71 | 2661495.1645 | 1244604.1552 | 2661520.1371 | 1244585.3789 | 2661523.0437 | 1244576.8921 | 2661533.0932 | 1244567.42
72 | 2661495.1645 | 1244604.1552 | 2661492.2094 | 1244606.3816 | 2661475.4094 | 1244596.5596
73 | 2661527.5587 | 1244543.3246 | 2661526.7027 | 1244541.9296
74 | 2661511.5903 | 1244511.2808 | 2661515.5025 | 1244523.6776 | 2661526.7027 | 1244541.9296
75 | 2661507.4547 | 1244498.1767 | 2661511.5903 | 1244511.2808
76 | 2661443.4367 | 1244549.0942 | 2661437.0526 | 1244531.9
77 | 2661556.918 | 1244417.493 | 2661556.9674 | 1244416.8925
78 | 2661515.936 | 1244439.6246 | 2661513.0912 | 1244426.1192 | 2661513.5424 | 1244403.8337
79 | 2661515.936 | 1244439.6246 | 2661508.471 | 1244443.1719 | 2661501.3516 | 1244443.2648 | 2661501.3516 | 1244443.2648
80 | 2661556.9674 | 1244416.8925 | 2661558.2598 | 1244401.1816 | 2661559.6413 | 1244395.7269
81 | 2661513.8403 | 1244389.123 | 2661513.5424 | 1244403.8337
82 | 2661501.3516 | 1244443.2648 | 2661498.1893 | 1244446.5232 | 2661498.6834 | 1244461.5447
83 | 2661429.6815 | 1244512.0474 | 2661428.4027 | 1244505.652 | 2661428.4027 | 1244505.652
84 | 2661429.6815 | 1244512.0474 | 2661431.038 | 1244515.7009
85 | 2661429.6815 | 1244512.0474 | 2661381.1236 | 1244521.4403
86 | 2661431.038 | 1244515.7009 | 2661437.0526 | 1244531.9
87 | 2661381.1236 | 1244521.4403 | 2661375.8122 | 1244518.1249
88 | 2661509.2481 | 1244580.2737 | 2661506.9639 | 1244569.5538 | 2661505.2249 | 1244566.7338 | 2661502.5242 | 1244565.5606 | 2661491.5727 | 1244567.2149 | 2661489.4413 | 1244554.4951
89 | 2661368.3466 | 1244513.4649 | 2661375.8122 | 1244518.1249
90 | 2661368.4023 | 1244546.6148 | 2661325.0121 | 1244520.0702
91 | 2661313.272 | 1244480.5777 | 2661305.4339 | 1244494.6397 | 2661303.1637 | 1244503.7224 | 2661303.9741 | 1244507.1998 | 2661325.0121 | 1244520.0702
92 | 2661385.3159 | 1244467.569 | 2661382.1153 | 1244465.595
93 | 2661313.272 | 1244480.5777 | 2661319.4027 | 1244484.0844
94 | 2661341.8185 | 1244496.906 | 2661341.8185 | 1244496.906 | 2661319.4027 | 1244484.0844
95 | 2661341.8185 | 1244496.906 | 2661368.3466 | 1244513.4649
96 | 2661559.6413 | 1244395.7269 | 2661560.4665 | 1244392.4687
97 | 2661564.3351 | 1244377.1948 | 2661560.4665 | 1244392.4687
98 | 2661538.9877 | 1244372.9958 | 2661564.3351 | 1244377.1948
99 | 2661567.3657 | 1244366.241 | 2661564.3351 | 1244377.1948
100 | 2661443.1053 | 1244326.3571 | 2661443.3924 | 1244316.2555 | 2661443.2979 | 1244311.5693
101 | 2661443.0881 | 1244326.9632 | 2661443.1053 | 1244326.3571
102 | 2661443.2979 | 1244311.5693 | 2661443.2628 | 1244309.8264
103 | 2661442.91 | 1244333.2284 | 2661443.0881 | 1244326.9632
104 | 2661442.9681 | 1244295.2034 | 2661443.2628 | 1244309.8264
105 | 2661443.8677 | 1244343.3233 | 2661442.8216 | 1244336.3411 | 2661442.91 | 1244333.2284
106 | 2661442.9681 | 1244295.2034 | 2661439.44 | 1244293.6547 | 2661436.0267 | 1244293.3829
107 | 2661442.9681 | 1244295.2034 | 2661453.8043 | 1244278.2817
108 | 2661444.1785 | 1244343.6628 | 2661443.8677 | 1244343.3233 | 2661443.8677 | 1244343.3233
109 | 2661436.0267 | 1244293.3829 | 2661422.1282 | 1244292.2765
110 | 2661465.0988 | 1244260.5421 | 2661463.8764 | 1244262.5531 | 2661453.8043 | 1244278.2817
111 | 2661444.1785 | 1244343.6628 | 2661452.0797 | 1244352.2923 | 2661454.1085 | 1244363.4264
112 | 2661473.1107 | 1244264.9534 | 2661491.7791 | 1244275.4398 | 2661501.5989 | 1244280.9134
113 | 2661470.9675 | 1244263.7496 | 2661473.1107 | 1244264.9534
114 | 2661516.772 | 1244296.3686 | 2661512.5368 | 1244294.5012 | 2661513.0171 | 1244289.7252 | 2661508.6695 | 1244284.8546 | 2661501.5989 | 1244280.9134
115 | 2661470.9675 | 1244263.7496 | 2661465.0988 | 1244260.5421
116 | 2661516.772 | 1244296.3686 | 2661521.1697 | 1244286.2073 | 2661517.6685 | 1244284.2474 | 2661523.2632 | 1244273.0756
117 | 2661516.772 | 1244296.3686 | 2661513.5121 | 1244305.3855 | 2661513.0291 | 1244310.4283
118 | 2661516.772 | 1244296.3686 | 2661522.6257 | 1244299.5648 | 2661525.4861 | 1244297.7266 | 2661529.3411 | 1244297.6331 | 2661536.4912 | 1244300.4314 | 2661537.7718 | 1244301.1821
119 | 2661523.2632 | 1244273.0756 | 2661533.7685 | 1244256.9401 | 2661533.9136 | 1244240.7639
120 | 2661523.2632 | 1244273.0756 | 2661517.6254 | 1244268.7364
121 | 2661513.0291 | 1244310.4283 | 2661505.3916 | 1244314.552 | 2661496.4665 | 1244328.4468 | 2661494.2375 | 1244334.1262
122 | 2661533.9136 | 1244240.7639 | 2661510.3829 | 1244232.5811 | 2661506.5744 | 1244225.2699
123 | 2661494.2375 | 1244334.1262 | 2661489.6127 | 1244345.91 | 2661488.9984 | 1244348.3521
124 | 2661368.7934 | 1244457.3785 | 2661382.1153 | 1244465.595
125 | 2661368.7934 | 1244457.3785 | 2661366.5891 | 1244456.019
126 | 2661352.2905 | 1244447.2001 | 2661366.5891 | 1244456.019
127 | 2661336.6206 | 1244437.7379 | 2661341.9902 | 1244440.8473 | 2661352.2905 | 1244447.2001
128 | 2661633.9897 | 1244598.2098 | 2661641.9107 | 1244597.7509
129 | 2661615.4844 | 1244599.2819 | 2661633.9897 | 1244598.2098
130 | 2661615.4844 | 1244599.2819 | 2661599.2737 | 1244600.221 | 2661595.5949 | 1244601.195
131 | 2661595.5949 | 1244601.195 | 2661589.4535 | 1244602.8209 | 2661583.9612 | 1244605.1435
132 | 2661583.9612 | 1244605.1435 | 2661570.0373 | 1244611.0318
133 | 2661567.3657 | 1244366.241 | 2661568.0429 | 1244363.717
134 | 2661513.8403 | 1244389.123 | 2661514.1912 | 1244371.7934
135 | 2661454.1085 | 1244363.4264 | 2661454.7611 | 1244367.0078 | 2661452.0949 | 1244377.8068
136 | 2661452.0949 | 1244377.8068 | 2661448.8756 | 1244390.8463
137 | 2661448.4745 | 1244392.4713 | 2661448.8756 | 1244390.8463
138 | 2661331.0109 | 1244383.0499 | 2661322.7872 | 1244410.2835 | 2661318.382 | 1244427.7833
139 | 2661331.0109 | 1244383.0499 | 2661337.0106 | 1244384.5573 | 2661344.3381 | 1244388.9385
140 | 2661318.382 | 1244427.7833 | 2661322.8502 | 1244429.7641 | 2661326.3758 | 1244431.8056
141 | 2661348.7024 | 1244391.548 | 2661344.3381 | 1244388.9385
142 | 2661378.1998 | 1244342.4766 | 2661383.5257 | 1244360.3853
143 | 2661378.1998 | 1244342.4766 | 2661389.7556 | 1244339.7155
144 | 2661384.0639 | 1244362.1952 | 2661383.5257 | 1244360.3853
145 | 2661403.683 | 1244339.7288 | 2661397.3428 | 1244340.8735 | 2661393.6768 | 1244338.7786 | 2661389.7556 | 1244339.7155
146 | 2661326.3758 | 1244431.8056 | 2661333.2464 | 1244435.7841
147 | 2661367.6118 | 1244402.854 | 2661348.7024 | 1244391.548
148 | 2661384.0639 | 1244362.1952 | 2661387.1984 | 1244378.4165 | 2661391.3125 | 1244380.7909
149 | 2661384.0639 | 1244362.1952 | 2661393.8488 | 1244360.2392
150 | 2661401.8917 | 1244386.8965 | 2661391.3125 | 1244380.7909
151 | 2661391.3125 | 1244380.7909 | 2661369.8157 | 1244404.1717
152 | 2661408.582 | 1244361.2747 | 2661403.6864 | 1244362.4428 | 2661397.1265 | 1244359.5841 | 2661393.8488 | 1244360.2392
153 | 2661422.1282 | 1244292.2765 | 2661408.2934 | 1244291.1751 | 2661397.0512 | 1244290.0204
154 | 2661333.2464 | 1244435.7841 | 2661336.6206 | 1244437.7379
155 | 2661369.8157 | 1244404.1717 | 2661370.2213 | 1244404.4142 | 2661391.1831 | 1244417.1006
156 | 2661367.6118 | 1244402.854 | 2661369.8157 | 1244404.1717
157 | 2661391.928 | 1244417.5514 | 2661391.1831 | 1244417.1006
158 | 2661404.8561 | 1244425.3757 | 2661391.928 | 1244417.5514
159 | 2661566.3576 | 1244612.5879 | 2661563.9436 | 1244622.7248
160 | 2661566.3576 | 1244612.5879 | 2661570.0373 | 1244611.0318
161 | 2661566.3576 | 1244612.5879 | 2661558.6506 | 1244615.8504

## bus_geodata
| x | y | coords
0 | 2661654.1461 | 1244530.3164
1 | 2661668.7519 | 1244512.4779
2 | 2661643.0755 | 1244543.8372
3 | 2661658.9135 | 1244553.7933
4 | 2661639.3235 | 1244541.5081
5 | 2661625.8068 | 1244533.1172
6 | 2661632.7822 | 1244522.1373
7 | 2661618.2982 | 1244528.6136
8 | 2661650.3641 | 1244494.4619
9 | 2661651.4174 | 1244492.8039
10 | 2661646.7165 | 1244500.2034
11 | 2661662.6221 | 1244475.2283
12 | 2661636.641 | 1244516.0633
13 | 2661664.485 | 1244472.6334
14 | 2661587.6298 | 1244452.4073
15 | 2661571.1914 | 1244474.6256
16 | 2661588.1401 | 1244451.7176
17 | 2661570.0978 | 1244476.1038
18 | 2661603.4149 | 1244431.0753
19 | 2661559.7246 | 1244490.1242
20 | 2661610.9982 | 1244420.8286
21 | 2661550.3705 | 1244482.1487
22 | 2661573.1804 | 1244499.6384
23 | 2661620.0989 | 1244406.8254
24 | 2661607.8375 | 1244522.3393
25 | 2661591.0212 | 1244512.253
26 | 2661581.6039 | 1244523.6028
27 | 2661554.2675 | 1244556.5488
28 | 2661542.3659 | 1244558.68
29 | 2661538.7215 | 1244472.2164
30 | 2661547.7145 | 1244460.5656
31 | 2661519.9933 | 1244448.8174
32 | 2661463.7511 | 1244454.1958
33 | 2661477.2893 | 1244457.2806
34 | 2661445.5429 | 1244450.047
35 | 2661471.4348 | 1244499.3821
36 | 2661477.7308 | 1244442.7575
37 | 2661443.5362 | 1244456.5569
38 | 2661448.6346 | 1244440.0141
39 | 2661474.0041 | 1244513.2293
40 | 2661438.4479 | 1244473.0641
41 | 2661460.1024 | 1244414.5401
42 | 2661477.548 | 1244522.717
43 | 2661463.7385 | 1244411.4979
44 | 2661483.6056 | 1244369.7911
45 | 2661433.3604 | 1244489.5687
46 | 2661443.595 | 1244410.2075
47 | 2661442.1358 | 1244606.9136
48 | 2661425.1012 | 1244596.7801
49 | 2661423.5537 | 1244595.8969
50 | 2661507.6383 | 1244645.8797
51 | 2661507.4878 | 1244656.0184
52 | 2661526.3119 | 1244623.1466
53 | 2661440.3392 | 1244584.2563
54 | 2661485.1134 | 1244658.3186
55 | 2661524.2243 | 1244663.7744
56 | 2661543.1093 | 1244627.1104
57 | 2661517.1846 | 1244617.5814
58 | 2661456.564 | 1244581.7178
59 | 2661480.0792 | 1244659.9128
60 | 2661530.2685 | 1244681.5334
61 | 2661561.8462 | 1244631.5319
62 | 2661509.2923 | 1244612.7693
63 | 2661533.0932 | 1244567.42
64 | 2661495.1645 | 1244604.1552
65 | 2661527.5587 | 1244543.3246
66 | 2661475.4094 | 1244596.5596
67 | 2661526.7027 | 1244541.9296
68 | 2661511.5903 | 1244511.2808
69 | 2661443.4367 | 1244549.0942
70 | 2661556.918 | 1244417.493
71 | 2661515.936 | 1244439.6246
72 | 2661556.9674 | 1244416.8925
73 | 2661513.5424 | 1244403.8337
74 | 2661501.3516 | 1244443.2648
75 | 2661429.6815 | 1244512.0474
76 | 2661428.4027 | 1244505.652
77 | 2661431.038 | 1244515.7009
78 | 2661381.1236 | 1244521.4403
79 | 2661489.4413 | 1244554.4951
80 | 2661437.0526 | 1244531.9
81 | 2661375.8122 | 1244518.1249
82 | 2661509.2481 | 1244580.2737
83 | 2661368.4023 | 1244546.6148
84 | 2661325.0121 | 1244520.0702
85 | 2661385.3159 | 1244467.569
86 | 2661313.272 | 1244480.5777
87 | 2661319.4027 | 1244484.0844
88 | 2661341.8185 | 1244496.906
89 | 2661368.3466 | 1244513.4649
90 | 2661559.6413 | 1244395.7269
91 | 2661560.4665 | 1244392.4687
92 | 2661564.3351 | 1244377.1948
93 | 2661443.1053 | 1244326.3571
94 | 2661443.2979 | 1244311.5693
95 | 2661443.0881 | 1244326.9632
96 | 2661443.2628 | 1244309.8264
97 | 2661442.91 | 1244333.2284
98 | 2661442.9681 | 1244295.2034
99 | 2661443.8677 | 1244343.3233
100 | 2661436.0267 | 1244293.3829
101 | 2661453.8043 | 1244278.2817
102 | 2661444.1785 | 1244343.6628
103 | 2661473.1107 | 1244264.9534
104 | 2661501.5989 | 1244280.9134
105 | 2661470.9675 | 1244263.7496
106 | 2661516.772 | 1244296.3686
107 | 2661465.0988 | 1244260.5421
108 | 2661523.2632 | 1244273.0756
109 | 2661513.0291 | 1244310.4283
110 | 2661537.7718 | 1244301.1821
111 | 2661533.9136 | 1244240.7639
112 | 2661517.6254 | 1244268.7364
113 | 2661494.2375 | 1244334.1262
114 | 2661506.5744 | 1244225.2699
115 | 2661382.1153 | 1244465.595
116 | 2661368.7934 | 1244457.3785
117 | 2661366.5891 | 1244456.019
118 | 2661352.2905 | 1244447.2001
119 | 2661641.9107 | 1244597.7509
120 | 2661633.9897 | 1244598.2098
121 | 2661615.4844 | 1244599.2819
122 | 2661595.5949 | 1244601.195
123 | 2661583.9612 | 1244605.1435
124 | 2661488.9984 | 1244348.3521
125 | 2661507.4547 | 1244498.1767
126 | 2661568.0429 | 1244363.717
127 | 2661567.3657 | 1244366.241
128 | 2661538.9877 | 1244372.9958
129 | 2661498.6834 | 1244461.5447
130 | 2661513.8403 | 1244389.123
131 | 2661514.1912 | 1244371.7934
132 | 2661454.1085 | 1244363.4264
133 | 2661452.0949 | 1244377.8068
134 | 2661448.8756 | 1244390.8463
135 | 2661448.4745 | 1244392.4713
136 | 2661331.0109 | 1244383.0499
137 | 2661318.382 | 1244427.7833
138 | 2661344.3381 | 1244388.9385
139 | 2661378.1998 | 1244342.4766
140 | 2661383.5257 | 1244360.3853
141 | 2661389.7556 | 1244339.7155
142 | 2661326.3758 | 1244431.8056
143 | 2661348.7024 | 1244391.548
144 | 2661384.0639 | 1244362.1952
145 | 2661391.3125 | 1244380.7909
146 | 2661393.8488 | 1244360.2392
147 | 2661422.1282 | 1244292.2765
148 | 2661397.0512 | 1244290.0204
149 | 2661403.683 | 1244339.7288
150 | 2661336.6206 | 1244437.7379
151 | 2661333.2464 | 1244435.7841
152 | 2661401.8917 | 1244386.8965
153 | 2661369.8157 | 1244404.1717
154 | 2661367.6119 | 1244402.854
155 | 2661391.1831 | 1244417.1006
156 | 2661391.928 | 1244417.5514
157 | 2661408.582 | 1244361.2747
158 | 2661404.8561 | 1244425.3757
159 | 2661563.9436 | 1244622.7248
160 | 2661566.3576 | 1244612.5879
161 | 2661570.0373 | 1244611.0318
162 | 2661558.6506 | 1244615.8504
163 | 2661498.8501 | 1244466.6104

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1