## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4080-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4080-16_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4080-16_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_4080-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4080-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4080-16_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4080-16_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4080-16_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4080-16_0_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_4080-16_0_4_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_4080-16_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_4080-16_0_4_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_4080-16_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4080-16_0_4_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_4080-16_0_4_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_4080-16_0_4_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_4080-16_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_4080-16_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4080-16_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_4080-16_0_4_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_4080-16_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_4080-16_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_4080-16_0_4_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_4080-16_0_4_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_4080-16_0_4_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_4080-16_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4080-16_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4080-16_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4080-16_0_4_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_4080-16_0_4_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_4080-16_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_4080-16_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_4080-16_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_4080-16_0_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_4080-16_0_4_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_4080-16_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4080-16_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4080-16_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_4080-16_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4080-16_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_4080-16_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4080-16_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_4080-16_0_4_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_4080-16_0_4_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_4080-16_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_4080-16_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_4080-16_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_4080-16_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_4080-16_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4080-16_0_4_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_4080-16_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4080-16_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_4080-16_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4080-16_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4080-16_0_4_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_4080-16_0_4_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_4080-16_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_4080-16_0_4_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_4080-16_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_4080-16_0_4_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_4080-16_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_4080-16_0_4_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_4080-16_0_4_node_110 | 0.4 | n |  | TRUE
63 | bus_LV_4080-16_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_4080-16_0_4_node_111 | 0.4 | n |  | TRUE
65 | bus_LV_4080-16_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_4080-16_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_4080-16_0_4_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_4080-16_0_4_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_4080-16_0_4_node_94 | 0.4 | n |  | TRUE
70 | bus_LV_4080-16_0_4_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_4080-16_0_4_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_4080-16_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_4080-16_0_4_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_4080-16_0_4_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_4080-16_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_4080-16_0_4_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_4080-16_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_4080-16_0_4_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_4080-16_0_4_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_4080-16_0_4_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_4080-16_0_4_node_97 | 0.4 | n |  | TRUE
82 | bus_LV_4080-16_0_4_node_96 | 0.4 | n |  | TRUE
83 | bus_LV_4080-16_0_4_node_102 | 0.4 | n |  | TRUE
84 | bus_LV_4080-16_0_4_node_103 | 0.4 | n |  | TRUE
85 | bus_LV_4080-16_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_4080-16_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_4080-16_0_4_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_4080-16_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_4080-16_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_4080-16_0_4_node_98 | 0.4 | n |  | TRUE
91 | bus_LV_4080-16_0_4_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_4080-16_0_4_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_4080-16_0_4_node_99 | 0.4 | n |  | TRUE
94 | bus_LV_4080-16_0_4_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_4080-16_0_4_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_4080-16_0_4_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_4080-16_0_4_node_92 | 0.4 | n |  | TRUE
98 | bus_LV_4080-16_0_4_node_100 | 0.4 | n |  | TRUE
99 | bus_LV_4080-16_0_4_node_101 | 0.4 | n |  | TRUE
100 | bus_LV_4080-16_0_4_node_106 | 0.4 | n |  | TRUE
101 | bus_LV_4080-16_0_4_node_104 | 0.4 | n |  | TRUE
102 | bus_LV_4080-16_0_4_node_105 | 0.4 | n |  | TRUE
103 | bus_LV_4080-16_0_4_node_107 | 0.4 | n |  | TRUE
104 | bus_LV_4080-16_0_4_node_108 | 0.4 | n |  | TRUE
105 | bus_LV_4080-16_0_4_node_112 | 0.4 | n |  | TRUE
106 | bus_MV_428_1_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4080-16_0_4_load_0 | 0 | 0.0023617 | 0.00059191 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4080-16_0_4_load_1 | 2 | 0.0036172 | 0.00090655 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4080-16_0_4_load_4 | 4 | 0.001612 | 0.00040401 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4080-16_0_4_load_9 | 6 | 0.0028033 | 0.00070256 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4080-16_0_4_load_6 | 7 | 0.0025867 | 0.00064829 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4080-16_0_4_load_52 | 8 | 0.0021436 | 0.00053725 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4080-16_0_4_load_16 | 10 | 0.00065761 | 0.00016481 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4080-16_0_4_load_32 | 11 | 0.00021847 | 5.4754e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4080-16_0_4_load_7 | 12 | 0.0028331 | 0.00071005 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4080-16_0_4_load_73 | 14 | 0.00033478 | 8.3903e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4080-16_0_4_load_15 | 16 | 0.00095064 | 0.00023825 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4080-16_0_4_load_26 | 18 | 0.0028774 | 0.00072113 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4080-16_0_4_load_27 | 19 | 0.0013084 | 0.00032791 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4080-16_0_4_load_31 | 20 | 0.0027544 | 0.00069032 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4080-16_0_4_load_10 | 23 | 0.0036512 | 0.00091509 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4080-16_0_4_load_11 | 24 | 0.0024057 | 0.00060291 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4080-16_0_4_load_13 | 25 | 0.0028978 | 0.00072625 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4080-16_0_4_load_25 | 26 | 0.00071643 | 0.00017955 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4080-16_0_4_load_19 | 27 | 0.0025131 | 0.00062983 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4080-16_0_4_load_53 | 28 | 0.0012658 | 0.00031723 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4080-16_0_4_load_39 | 29 | 0.0027563 | 0.0006908 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4080-16_0_4_load_18 | 32 | 0.00083672 | 0.0002097 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4080-16_0_4_load_46 | 33 | 0.0020445 | 0.0005124 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4080-16_0_4_load_47 | 34 | 0.00091189 | 0.00022854 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4080-16_0_4_load_20 | 35 | 0.0017509 | 0.00043882 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4080-16_0_4_load_21 | 36 | 0.0016472 | 0.00041283 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4080-16_0_4_load_23 | 38 | 0.001182 | 0.00029623 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4080-16_0_4_load_28 | 40 | 0.0027665 | 0.00069335 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4080-16_0_4_load_29 | 41 | 0.0029839 | 0.00074784 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4080-16_0_4_load_65 | 42 | 0.0013317 | 0.00033376 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4080-16_0_4_load_63 | 43 | 0.0013397 | 0.00033575 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4080-16_0_4_load_34 | 44 | 0.00061971 | 0.00015531 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4080-16_0_4_load_35 | 45 | 0.0051774 | 0.0012976 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4080-16_0_4_load_36 | 46 | 0.00048452 | 0.00012143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4080-16_0_4_load_37 | 47 | 0.00025593 | 6.4142e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4080-16_0_4_load_38 | 48 | 0.0009217 | 0.000231 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4080-16_0_4_load_61 | 49 | 0.0012689 | 0.00031802 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4080-16_0_4_load_41 | 50 | 0.0003172 | 7.9499e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4080-16_0_4_load_42 | 51 | 0.00041061 | 0.00010291 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4080-16_0_4_load_43 | 52 | 0.00035692 | 8.9452e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4080-16_0_4_load_44 | 53 | 0.00054119 | 0.00013564 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4080-16_0_4_load_69 | 54 | 0.0026357 | 0.00066057 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4080-16_0_4_load_85 | 55 | 0.00021823 | 5.4694e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4080-16_0_4_load_57 | 56 | 0.00085343 | 0.00021389 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4080-16_0_4_load_50 | 59 | 0.0033279 | 0.00083406 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4080-16_0_4_load_110 | 62 | 0.0049659 | 0.0012446 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4080-16_0_4_load_54 | 63 | 0.0020474 | 0.00051312 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4080-16_0_4_load_111 | 64 | 0.0040975 | 0.0010269 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4080-16_0_4_load_59 | 65 | 0.0013409 | 0.00033606 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4080-16_0_4_load_55 | 66 | 0.0017339 | 0.00043455 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4080-16_0_4_load_58 | 67 | 0.0021352 | 0.00053514 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4080-16_0_4_load_94 | 69 | 0.0016318 | 0.00040896 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4080-16_0_4_load_95 | 70 | 0.0016788 | 0.00042073 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4080-16_0_4_load_60 | 71 | 0.0013186 | 0.00033048 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4080-16_0_4_load_62 | 72 | 0.0012672 | 0.00031758 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4080-16_0_4_load_66 | 73 | 0.0012567 | 0.00031497 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4080-16_0_4_load_67 | 74 | 0.0013186 | 0.00033047 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4080-16_0_4_load_72 | 75 | 0.0025243 | 0.00063266 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4080-16_0_4_load_71 | 76 | 0.00078845 | 0.0001976 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4080-16_0_4_load_75 | 77 | 0.035291 | 0.0088448 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4080-16_0_4_load_79 | 79 | 0.0051307 | 0.0012859 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4080-16_0_4_load_96 | 82 | 0.03283 | 0.0082279 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4080-16_0_4_load_102 | 83 | 0.026571 | 0.0066594 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4080-16_0_4_load_103 | 84 | 0.01152 | 0.0028871 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4080-16_0_4_load_80 | 85 | 0.0010526 | 0.00026381 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4080-16_0_4_load_81 | 86 | 0.0030731 | 0.0007702 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4080-16_0_4_load_83 | 87 | 0.0036728 | 0.00092048 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4080-16_0_4_load_84 | 88 | 0.030654 | 0.0076826 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4080-16_0_4_load_86 | 89 | 0.0028848 | 0.000723 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4080-16_0_4_load_87 | 91 | 0.0035255 | 0.00088358 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4080-16_0_4_load_91 | 92 | 0.015858 | 0.0039744 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4080-16_0_4_load_99 | 93 | 0.0051434 | 0.0012891 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4080-16_0_4_load_88 | 94 | 0.0016468 | 0.00041273 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4080-16_0_4_load_89 | 95 | 0.0014076 | 0.00035277 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4080-16_0_4_load_90 | 96 | 0.0065401 | 0.0016391 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4080-16_0_4_load_92 | 97 | 0.0013296 | 0.00033323 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4080-16_0_4_load_100 | 98 | 0.00091607 | 0.00022959 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4080-16_0_4_load_106 | 100 | 0.0054043 | 0.0013544 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4080-16_0_4_load_104 | 101 | 0.016517 | 0.0041396 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4080-16_0_4_load_105 | 102 | 0.0049253 | 0.0012344 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4080-16_0_4_load_107 | 103 | 0.0021871 | 0.00054813 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4080-16_0_4_load_108 | 104 | 0.0018329 | 0.00045937 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4080-16_0_4_load_112 | 105 | 0.0059851 | 0.0015 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4080-16_0_4_line_0 |  | 0 | 1 | 0.012798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4080-16_0_4_line_1 |  | 1 | 4 | 0.025475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4080-16_0_4_line_2 |  | 1 | 5 | 0.014442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4080-16_0_4_line_3 |  | 2 | 3 | 0.0082854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4080-16_0_4_line_4 |  | 3 | 6 | 0.016046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4080-16_0_4_line_5 |  | 3 | 7 | 0.018024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4080-16_0_4_line_6 |  | 4 | 8 | 0.025739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4080-16_0_4_line_7 |  | 5 | 9 | 0.035001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4080-16_0_4_line_8 |  | 5 | 10 | 0.013374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4080-16_0_4_line_9 |  | 6 | 11 | 0.018213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4080-16_0_4_line_10 |  | 7 | 12 | 0.013773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4080-16_0_4_line_11 |  | 8 | 13 | 0.015741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4080-16_0_4_line_12 |  | 9 | 14 | 0.029114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4080-16_0_4_line_13 |  | 9 | 15 | 0.006293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4080-16_0_4_line_14 |  | 10 | 16 | 0.0028144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4080-16_0_4_line_15 |  | 11 | 22 | 0.026013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4080-16_0_4_line_16 |  | 12 | 17 | 0.0093828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4080-16_0_4_line_17 |  | 13 | 28 | 0.018745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4080-16_0_4_line_18 |  | 14 | 75 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4080-16_0_4_line_19 |  | 15 | 55 | 0.026994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4080-16_0_4_line_20 |  | 15 | 52 | 0.011889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4080-16_0_4_line_21 |  | 17 | 18 | 0.0071535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4080-16_0_4_line_22 |  | 17 | 19 | 0.017353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4080-16_0_4_line_23 |  | 18 | 20 | 0.016343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4080-16_0_4_line_24 |  | 19 | 21 | 0.0022033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4080-16_0_4_line_25 |  | 20 | 39 | 0.02991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4080-16_0_4_line_26 |  | 21 | 42 | 0.0041323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4080-16_0_4_line_27 |  | 21 | 43 | 0.010843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4080-16_0_4_line_28 |  | 22 | 44 | 0.020639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4080-16_0_4_line_29 |  | 22 | 45 | 0.010413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4080-16_0_4_line_30 |  | 23 | 24 | 0.017294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4080-16_0_4_line_31 |  | 24 | 25 | 0.0055663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4080-16_0_4_line_32 |  | 25 | 26 | 0.025584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4080-16_0_4_line_33 |  | 26 | 27 | 0.0039851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4080-16_0_4_line_34 |  | 27 | 31 | 0.011582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4080-16_0_4_line_35 |  | 28 | 49 | 0.010197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4080-16_0_4_line_36 |  | 29 | 30 | 0.017149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4080-16_0_4_line_37 |  | 30 | 41 | 0.0061268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4080-16_0_4_line_38 |  | 31 | 32 | 0.011214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4080-16_0_4_line_39 |  | 32 | 33 | 0.0074327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4080-16_0_4_line_40 |  | 33 | 34 | 0.022937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4080-16_0_4_line_41 |  | 34 | 58 | 0.019474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4080-16_0_4_line_42 |  | 35 | 36 | 0.023522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4080-16_0_4_line_43 |  | 35 | 37 | 0.0018038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4080-16_0_4_line_44 |  | 36 | 38 | 0.017133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4080-16_0_4_line_45 |  | 37 | 39 | 0.012712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4080-16_0_4_line_46 |  | 39 | 40 | 0.013658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4080-16_0_4_line_47 |  | 40 | 41 | 0.01802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4080-16_0_4_line_48 |  | 42 | 73 | 0.01018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4080-16_0_4_line_49 |  | 43 | 72 | 0.004185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4080-16_0_4_line_50 |  | 44 | 46 | 0.0087182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4080-16_0_4_line_51 |  | 46 | 47 | 0.011515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4080-16_0_4_line_52 |  | 47 | 48 | 0.0017092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4080-16_0_4_line_53 |  | 49 | 65 | 0.0099096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4080-16_0_4_line_54 |  | 50 | 51 | 0.015722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4080-16_0_4_line_55 |  | 50 | 52 | 0.0057037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4080-16_0_4_line_56 |  | 51 | 53 | 0.0062025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4080-16_0_4_line_57 |  | 53 | 54 | 0.024536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4080-16_0_4_line_58 |  | 54 | 56 | 0.015468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4080-16_0_4_line_59 |  | 55 | 57 | 0.043464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4080-16_0_4_line_60 |  | 56 | 66 | 0.023065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4080-16_0_4_line_61 |  | 57 | 88 | 0.033718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4080-16_0_4_line_62 |  | 57 | 85 | 0.022479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4080-16_0_4_line_63 |  | 58 | 59 | 0.016128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4080-16_0_4_line_64 |  | 58 | 60 | 0.02107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4080-16_0_4_line_65 |  | 60 | 61 | 0.016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4080-16_0_4_line_66 |  | 60 | 62 | 0.017092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4080-16_0_4_line_67 |  | 61 | 63 | 0.017176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4080-16_0_4_line_68 |  | 62 | 64 | 0.012803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4080-16_0_4_line_69 |  | 63 | 66 | 0.0022095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4080-16_0_4_line_70 |  | 64 | 105 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4080-16_0_4_line_71 |  | 65 | 71 | 0.016656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4080-16_0_4_line_72 |  | 67 | 68 | 0.031701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4080-16_0_4_line_73 |  | 68 | 69 | 0.019538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4080-16_0_4_line_74 |  | 68 | 70 | 0.027216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4080-16_0_4_line_75 |  | 69 | 100 | 0.012218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4080-16_0_4_line_76 |  | 70 | 99 | 0.015658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4080-16_0_4_line_77 |  | 71 | 72 | 0.001697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4080-16_0_4_line_78 |  | 73 | 74 | 0.0043572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4080-16_0_4_line_79 |  | 75 | 76 | 0.017739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4080-16_0_4_line_80 |  | 77 | 78 | 0.017356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4080-16_0_4_line_81 |  | 78 | 79 | 0.025243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4080-16_0_4_line_82 |  | 79 | 82 | 0.030264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4080-16_0_4_line_83 |  | 80 | 81 | 0.003623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4080-16_0_4_line_84 |  | 80 | 82 | 0.017701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4080-16_0_4_line_85 |  | 81 | 83 | 0.021867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4080-16_0_4_line_86 |  | 81 | 84 | 0.052369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4080-16_0_4_line_87 |  | 83 | 99 | 0.033271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4080-16_0_4_line_88 |  | 85 | 86 | 0.0094889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_4080-16_0_4_line_89 |  | 86 | 87 | 0.026883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_4080-16_0_4_line_90 |  | 87 | 89 | 0.0068319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_4080-16_0_4_line_91 |  | 88 | 90 | 0.025151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_4080-16_0_4_line_92 |  | 89 | 91 | 0.014946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4080-16_0_4_line_93 |  | 90 | 92 | 0.046784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_4080-16_0_4_line_94 |  | 91 | 93 | 0.0063214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4080-16_0_4_line_95 |  | 92 | 95 | 0.0067934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_4080-16_0_4_line_96 |  | 94 | 95 | 0.023848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_4080-16_0_4_line_97 |  | 94 | 96 | 0.0065474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_4080-16_0_4_line_98 |  | 96 | 97 | 0.029242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_4080-16_0_4_line_99 |  | 97 | 98 | 0.00479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_4080-16_0_4_line_100 |  | 98 | 99 | 0.011899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_4080-16_0_4_line_101 |  | 100 | 101 | 0.0036917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4080-16_0_4_line_102 |  | 101 | 102 | 0.0242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4080-16_0_4_line_103 |  | 102 | 103 | 0.0062275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4080-16_0_4_line_104 |  | 103 | 104 | 0.0019377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4080-16_0_4_trafo_86 | 0.63 MVA 20/0.4 kV | 106 | 89 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2661207.2065 | 1244465.9396 | 2661210.2167 | 1244459.0881 | 2661211.8083 | 1244454.018
1 | 2661207.2065 | 1244465.9396 | 2661228.9871 | 1244479.1517
2 | 2661195.1454 | 1244457.9431 | 2661207.2065 | 1244465.9396
3 | 2661222.2888 | 1244420.6308 | 2661219.8073 | 1244428.5359
4 | 2661222.2888 | 1244420.6308 | 2661226.7309 | 1244405.2122
5 | 2661222.2888 | 1244420.6308 | 2661225.8315 | 1244421.5013 | 2661239.9274 | 1244424.3257
6 | 2661250.9936 | 1244492.5009 | 2661228.9871 | 1244479.1517
7 | 2661195.1454 | 1244457.9431 | 2661166.7939 | 1244437.3034
8 | 2661195.1454 | 1244457.9431 | 2661188.4442 | 1244469.5167
9 | 2661229.6333 | 1244387.4463 | 2661229.8677 | 1244394.3244 | 2661226.7309 | 1244405.2122
10 | 2661239.9274 | 1244424.3257 | 2661253.4323 | 1244427.0316
11 | 2661264.4524 | 1244500.665 | 2661250.9936 | 1244492.5009
12 | 2661166.7939 | 1244437.3034 | 2661172.6082 | 1244431.8707 | 2661177.4858 | 1244425.6612 | 2661170.221 | 1244414.5684
13 | 2661161.5862 | 1244433.7473 | 2661166.7939 | 1244437.3034
14 | 2661187.0339 | 1244471.9523 | 2661188.4442 | 1244469.5167
15 | 2661228.5975 | 1244361.4555 | 2661228.963 | 1244367.7747 | 2661229.6333 | 1244387.4463
16 | 2661262.6322 | 1244428.875 | 2661253.4323 | 1244427.0316
17 | 2661264.4524 | 1244500.665 | 2661267.2399 | 1244493.4333 | 2661269.942 | 1244482.7762
18 | 2661162.0954 | 1244402.1612 | 2661170.221 | 1244414.5684
19 | 2661161.5862 | 1244433.7473 | 2661140.0546 | 1244417.4657
20 | 2661161.5862 | 1244433.7473 | 2661156.2682 | 1244444.3808
21 | 2661262.6322 | 1244428.875 | 2661269.6694 | 1244430.1596
22 | 2661262.6322 | 1244428.875 | 2661261.7339 | 1244431.7121 | 2661258.2284 | 1244445.6557
23 | 2661285.6379 | 1244433.6365 | 2661269.6694 | 1244430.1596 | 2661269.6694 | 1244430.1596
24 | 2661257.6912 | 1244447.7925 | 2661258.2284 | 1244445.6557
25 | 2661314.8627 | 1244439.9997 | 2661285.6379 | 1244433.6365
26 | 2661257.6912 | 1244447.7925 | 2661256.4596 | 1244451.737
27 | 2661257.6912 | 1244447.7925 | 2661268.0629 | 1244450.955
28 | 2661228.5975 | 1244361.4555 | 2661237.1778 | 1244361.1327 | 2661249.1947 | 1244362.0545
29 | 2661228.5975 | 1244361.4555 | 2661226.8934 | 1244351.1833
30 | 2661218.0883 | 1244543.7303 | 2661204.2322 | 1244533.382
31 | 2661204.2322 | 1244533.382 | 2661199.7724 | 1244530.0512
32 | 2661199.7724 | 1244530.0512 | 2661187.4085 | 1244520.8174 | 2661183.4023 | 1244521.6655 | 2661178.3866 | 1244518.2686
33 | 2661175.0869 | 1244516.0339 | 2661178.3866 | 1244518.2686
34 | 2661165.4973 | 1244509.5394 | 2661175.0869 | 1244516.0339
35 | 2661269.942 | 1244482.7762 | 2661270.9775 | 1244482.7535 | 2661273.6436 | 1244473.9892
36 | 2661304.0449 | 1244476.2238 | 2661298.5608 | 1244492.4719
37 | 2661304.0449 | 1244476.2238 | 2661305.7981 | 1244470.3532
38 | 2661165.4973 | 1244509.5394 | 2661160.2109 | 1244519.4289
39 | 2661156.707 | 1244525.9839 | 2661160.2109 | 1244519.4289
40 | 2661156.707 | 1244525.9839 | 2661154.5327 | 1244530.0515 | 2661146.3663 | 1244546.4563
41 | 2661137.6878 | 1244563.89 | 2661146.3663 | 1244546.4563
42 | 2661324.8915 | 1244403.3147 | 2661322.7872 | 1244410.2835 | 2661318.8223 | 1244426.0341
43 | 2661318.382 | 1244427.7833 | 2661318.8223 | 1244426.0341
44 | 2661329.8444 | 1244386.9131 | 2661324.8915 | 1244403.3147
45 | 2661314.8627 | 1244439.9997 | 2661318.382 | 1244427.7833
46 | 2661314.8627 | 1244439.9997 | 2661310.9545 | 1244453.0867
47 | 2661305.7981 | 1244470.3532 | 2661310.9545 | 1244453.0867
48 | 2661256.4596 | 1244451.737 | 2661253.4254 | 1244461.4547
49 | 2661268.0629 | 1244450.955 | 2661272.0659 | 1244452.1756
50 | 2661257.8336 | 1244363.2002 | 2661251.0789 | 1244362.1991 | 2661249.1947 | 1244362.0545
51 | 2661257.8336 | 1244363.2002 | 2661269.2247 | 1244364.8886
52 | 2661270.9154 | 1244365.1392 | 2661269.2247 | 1244364.8886
53 | 2661276.5276 | 1244464.5085 | 2661273.6436 | 1244473.9892
54 | 2661153.717 | 1244449.4822 | 2661146.6847 | 1244463.5436
55 | 2661153.717 | 1244449.4822 | 2661156.2682 | 1244444.3808
56 | 2661146.6847 | 1244463.5436 | 2661143.9103 | 1244469.091
57 | 2661132.9353 | 1244491.036 | 2661143.9103 | 1244469.091
58 | 2661126.0167 | 1244504.8701 | 2661132.9353 | 1244491.036
59 | 2661105.3863 | 1244391.2505 | 2661140.0546 | 1244417.4657
60 | 2661126.0167 | 1244504.8701 | 2661115.6997 | 1244525.4994
61 | 2661105.3863 | 1244391.2505 | 2661092.4113 | 1244381.7215 | 2661083.6683 | 1244374.3598 | 2661079.4312 | 1244369.8473
62 | 2661105.3863 | 1244391.2505 | 2661096.3441 | 1244411.8305
63 | 2661137.6878 | 1244563.89 | 2661149.6848 | 1244572.9642 | 2661150.5526 | 1244573.6166
64 | 2661137.6878 | 1244563.89 | 2661120.0034 | 1244552.3555
65 | 2661107.0286 | 1244542.8376 | 2661120.0034 | 1244552.3555
66 | 2661120.0034 | 1244552.3555 | 2661114.3557 | 1244559.9803 | 2661111.076 | 1244566.8404
67 | 2661107.0286 | 1244542.8376 | 2661114.7114 | 1244527.4756
68 | 2661111.076 | 1244566.8404 | 2661105.5537 | 1244578.3916
69 | 2661114.7114 | 1244527.4756 | 2661115.6997 | 1244525.4994
70 | 2661099.8005 | 1244590.4255 | 2661105.5537 | 1244578.3916
71 | 2661276.5276 | 1244464.5085 | 2661279.5821 | 1244454.4674 | 2661273.6891 | 1244452.6706
72 | 2661040.3245 | 1244493.8511 | 2661061.4091 | 1244509.8456 | 2661065.6374 | 1244512.9344
73 | 2661040.3245 | 1244493.8511 | 2661032.5767 | 1244511.7869
74 | 2661040.3245 | 1244493.8511 | 2661034.5485 | 1244489.7111 | 2661018.3567 | 1244477.7859
75 | 2661027.7316 | 1244523.0033 | 2661032.5767 | 1244511.7869
76 | 2661005.7491 | 1244468.5005 | 2661018.3567 | 1244477.7859
77 | 2661272.0659 | 1244452.1756 | 2661273.6891 | 1244452.6706
78 | 2661252.1268 | 1244465.6139 | 2661253.4254 | 1244461.4547
79 | 2661152.3768 | 1244387.3217 | 2661162.0954 | 1244402.1612
80 | 2660978.6731 | 1244372.2565 | 2660977.1509 | 1244377.7224 | 2660971.8038 | 1244388.1095
81 | 2660978.6731 | 1244372.2565 | 2660982.3888 | 1244373.9403 | 2660987.4135 | 1244376.2046 | 2660980.3923 | 1244390.1935
82 | 2660966.8167 | 1244417.2414 | 2660980.3923 | 1244390.1935
83 | 2660958.8765 | 1244433.0613 | 2660961.6408 | 1244435.4136
84 | 2660958.8765 | 1244433.0613 | 2660966.8167 | 1244417.2414
85 | 2660961.6408 | 1244435.4136 | 2660979.1336 | 1244448.5355
86 | 2660961.6408 | 1244435.4136 | 2660957.7993 | 1244443.0238 | 2660940.2588 | 1244483.206
87 | 2661005.7491 | 1244468.5005 | 2660979.1336 | 1244448.5355
88 | 2661096.3441 | 1244411.8305 | 2661092.5271 | 1244420.5179
89 | 2661081.7133 | 1244445.1299 | 2661092.5271 | 1244420.5179
90 | 2661081.7133 | 1244445.1299 | 2661078.9651 | 1244451.3847
91 | 2661062.2155 | 1244351.5124 | 2661079.4312 | 1244369.8473
92 | 2661072.9529 | 1244465.0685 | 2661078.9651 | 1244451.3847
93 | 2661062.2155 | 1244351.5124 | 2661041.8795 | 1244393.6449
94 | 2661070.41 | 1244470.856 | 2661072.9529 | 1244465.0685
95 | 2661038.9265 | 1244399.7629 | 2661041.8795 | 1244393.6449
96 | 2661028.5603 | 1244421.2397 | 2661038.9265 | 1244399.7629
97 | 2661028.5603 | 1244421.2397 | 2661025.7143 | 1244427.1363
98 | 2661025.7143 | 1244427.1363 | 2661013.0033 | 1244453.471
99 | 2661010.9212 | 1244457.7848 | 2661013.0033 | 1244453.471
100 | 2661005.7491 | 1244468.5005 | 2661010.9212 | 1244457.7848
101 | 2661026.2404 | 1244526.3801 | 2661026.7157 | 1244525.3549 | 2661027.7316 | 1244523.0033
102 | 2661026.2404 | 1244526.3801 | 2661016.0603 | 1244548.3344
103 | 2661013.4406 | 1244553.9841 | 2661016.0603 | 1244548.3344
104 | 2661013.4406 | 1244553.9841 | 2661012.6255 | 1244555.742

## bus_geodata
| x | y | coords
0 | 2661211.8083 | 1244454.018
1 | 2661207.2065 | 1244465.9396
2 | 2661219.8073 | 1244428.5359
3 | 2661222.2888 | 1244420.6308
4 | 2661228.9871 | 1244479.1517
5 | 2661195.1454 | 1244457.9431
6 | 2661226.7309 | 1244405.2122
7 | 2661239.9274 | 1244424.3257
8 | 2661250.9936 | 1244492.5009
9 | 2661166.7939 | 1244437.3034
10 | 2661188.4442 | 1244469.5167
11 | 2661229.6333 | 1244387.4463
12 | 2661253.4323 | 1244427.0316
13 | 2661264.4524 | 1244500.665
14 | 2661170.221 | 1244414.5684
15 | 2661161.5862 | 1244433.7473
16 | 2661187.0339 | 1244471.9523
17 | 2661262.6322 | 1244428.875
18 | 2661269.6694 | 1244430.1596
19 | 2661258.2284 | 1244445.6557
20 | 2661285.6379 | 1244433.6365
21 | 2661257.6912 | 1244447.7925
22 | 2661228.5975 | 1244361.4555
23 | 2661218.0883 | 1244543.7303
24 | 2661204.2322 | 1244533.382
25 | 2661199.7724 | 1244530.0512
26 | 2661178.3866 | 1244518.2686
27 | 2661175.0869 | 1244516.0339
28 | 2661269.942 | 1244482.7762
29 | 2661298.5608 | 1244492.4719
30 | 2661304.0449 | 1244476.2238
31 | 2661165.4973 | 1244509.5394
32 | 2661160.2109 | 1244519.4289
33 | 2661156.707 | 1244525.9839
34 | 2661146.3663 | 1244546.4563
35 | 2661318.8223 | 1244426.0341
36 | 2661324.8915 | 1244403.3147
37 | 2661318.382 | 1244427.7833
38 | 2661329.8444 | 1244386.9131
39 | 2661314.8627 | 1244439.9997
40 | 2661310.9545 | 1244453.0867
41 | 2661305.7981 | 1244470.3532
42 | 2661256.4596 | 1244451.737
43 | 2661268.0629 | 1244450.955
44 | 2661249.1947 | 1244362.0545
45 | 2661226.8934 | 1244351.1833
46 | 2661257.8336 | 1244363.2002
47 | 2661269.2247 | 1244364.8886
48 | 2661270.9154 | 1244365.1392
49 | 2661273.6436 | 1244473.9892
50 | 2661153.717 | 1244449.4822
51 | 2661146.6847 | 1244463.5436
52 | 2661156.2682 | 1244444.3808
53 | 2661143.9103 | 1244469.091
54 | 2661132.9353 | 1244491.036
55 | 2661140.0546 | 1244417.4657
56 | 2661126.0167 | 1244504.8701
57 | 2661105.3863 | 1244391.2505
58 | 2661137.6878 | 1244563.89
59 | 2661150.5526 | 1244573.6166
60 | 2661120.0034 | 1244552.3555
61 | 2661107.0286 | 1244542.8376
62 | 2661111.076 | 1244566.8404
63 | 2661114.7114 | 1244527.4756
64 | 2661105.5537 | 1244578.3916
65 | 2661276.5276 | 1244464.5085
66 | 2661115.6997 | 1244525.4994
67 | 2661065.6374 | 1244512.9344
68 | 2661040.3245 | 1244493.8511
69 | 2661032.5767 | 1244511.7869
70 | 2661018.3567 | 1244477.7859
71 | 2661273.6891 | 1244452.6706
72 | 2661272.0659 | 1244452.1756
73 | 2661253.4254 | 1244461.4547
74 | 2661252.1268 | 1244465.6139
75 | 2661162.0954 | 1244402.1612
76 | 2661152.3768 | 1244387.3217
77 | 2660971.8038 | 1244388.1095
78 | 2660978.6731 | 1244372.2565
79 | 2660980.3923 | 1244390.1935
80 | 2660958.8765 | 1244433.0613
81 | 2660961.6408 | 1244435.4136
82 | 2660966.8167 | 1244417.2414
83 | 2660979.1336 | 1244448.5355
84 | 2660940.2588 | 1244483.206
85 | 2661096.3441 | 1244411.8305
86 | 2661092.5271 | 1244420.5179
87 | 2661081.7133 | 1244445.1299
88 | 2661079.4312 | 1244369.8473
89 | 2661078.9651 | 1244451.3847
90 | 2661062.2155 | 1244351.5124
91 | 2661072.9529 | 1244465.0685
92 | 2661041.8795 | 1244393.6449
93 | 2661070.41 | 1244470.856
94 | 2661028.5603 | 1244421.2397
95 | 2661038.9265 | 1244399.7629
96 | 2661025.7143 | 1244427.1363
97 | 2661013.0033 | 1244453.471
98 | 2661010.9212 | 1244457.7848
99 | 2661005.7491 | 1244468.5005
100 | 2661027.7316 | 1244523.0033
101 | 2661026.2404 | 1244526.3801
102 | 2661016.0603 | 1244548.3344
103 | 2661013.4406 | 1244553.9841
104 | 2661012.6255 | 1244555.742
105 | 2661099.8005 | 1244590.4255
106 | 2661070.41 | 1244470.856

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1