## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4080-1_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4080-1_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4080-1_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4080-1_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4080-1_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4080-1_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4080-1_0_8_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_4080-1_0_8_node_76 | 0.4 | n |  | TRUE
8 | bus_LV_4080-1_0_8_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_4080-1_0_8_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4080-1_0_8_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_4080-1_0_8_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_4080-1_0_8_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4080-1_0_8_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_4080-1_0_8_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_4080-1_0_8_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4080-1_0_8_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_4080-1_0_8_node_77 | 0.4 | n |  | TRUE
18 | bus_LV_4080-1_0_8_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4080-1_0_8_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_4080-1_0_8_node_32 | 0.4 | n |  | TRUE
21 | bus_LV_4080-1_0_8_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_4080-1_0_8_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_4080-1_0_8_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_4080-1_0_8_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_4080-1_0_8_node_88 | 0.4 | n |  | TRUE
26 | bus_LV_4080-1_0_8_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4080-1_0_8_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_4080-1_0_8_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_4080-1_0_8_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_4080-1_0_8_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_4080-1_0_8_node_49 | 0.4 | n |  | TRUE
32 | bus_LV_4080-1_0_8_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_4080-1_0_8_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_4080-1_0_8_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_4080-1_0_8_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4080-1_0_8_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4080-1_0_8_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_4080-1_0_8_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_4080-1_0_8_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_4080-1_0_8_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_4080-1_0_8_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_4080-1_0_8_node_67 | 0.4 | n |  | TRUE
43 | bus_LV_4080-1_0_8_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_4080-1_0_8_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_4080-1_0_8_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_4080-1_0_8_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_4080-1_0_8_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_4080-1_0_8_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_4080-1_0_8_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_4080-1_0_8_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_4080-1_0_8_node_78 | 0.4 | n |  | TRUE
52 | bus_LV_4080-1_0_8_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_4080-1_0_8_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_4080-1_0_8_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_4080-1_0_8_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_4080-1_0_8_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_4080-1_0_8_node_24 | 0.4 | n |  | TRUE
58 | bus_LV_4080-1_0_8_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_4080-1_0_8_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_4080-1_0_8_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_4080-1_0_8_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_4080-1_0_8_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_4080-1_0_8_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_4080-1_0_8_node_27 | 0.4 | n |  | TRUE
65 | bus_LV_4080-1_0_8_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_4080-1_0_8_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_4080-1_0_8_node_34 | 0.4 | n |  | TRUE
68 | bus_LV_4080-1_0_8_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_4080-1_0_8_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_4080-1_0_8_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_4080-1_0_8_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_4080-1_0_8_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_4080-1_0_8_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_4080-1_0_8_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_4080-1_0_8_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_4080-1_0_8_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_4080-1_0_8_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_4080-1_0_8_node_85 | 0.4 | n |  | TRUE
79 | bus_LV_4080-1_0_8_node_82 | 0.4 | n |  | TRUE
80 | bus_LV_4080-1_0_8_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_4080-1_0_8_node_83 | 0.4 | n |  | TRUE
82 | bus_MV_428_1_node_201 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4080-1_0_8_load_0 | 0 | 0.0021501 | 0.00053886 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4080-1_0_8_load_1 | 1 | 0.0064415 | 0.0016144 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4080-1_0_8_load_3 | 3 | 0.068862 | 0.017258 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4080-1_0_8_load_39 | 6 | 0.044817 | 0.011232 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4080-1_0_8_load_76 | 7 | 0.0030143 | 0.00075546 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4080-1_0_8_load_62 | 8 | 6.9663e-05 | 1.7459e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4080-1_0_8_load_63 | 10 | 0.00019304 | 4.8379e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4080-1_0_8_load_61 | 11 | 0.00028457 | 7.1321e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4080-1_0_8_load_44 | 14 | 0.020088 | 0.0050346 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4080-1_0_8_load_77 | 17 | 0.00016769 | 4.2027e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4080-1_0_8_load_32 | 20 | 0.00038303 | 9.5997e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4080-1_0_8_load_58 | 22 | 0.066757 | 0.016731 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4080-1_0_8_load_57 | 23 | 0.021011 | 0.0052659 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4080-1_0_8_load_88 | 25 | 0.00029236 | 7.3273e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4080-1_0_8_load_49 | 31 | 0.0030177 | 0.00075631 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4080-1_0_8_load_48 | 33 | 0.024212 | 0.0060682 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4080-1_0_8_load_23 | 36 | 0.00028753 | 7.2062e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4080-1_0_8_load_55 | 37 | 0.060809 | 0.01524 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4080-1_0_8_load_53 | 38 | 0.03178 | 0.0079647 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4080-1_0_8_load_70 | 39 | 0.0002911 | 7.2955e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4080-1_0_8_load_67 | 42 | 7.7384e-05 | 1.9394e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4080-1_0_8_load_64 | 43 | 0.00023752 | 5.9528e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4080-1_0_8_load_43 | 44 | 0.0072901 | 0.0018271 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4080-1_0_8_load_68 | 47 | 0.00038343 | 9.6097e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4080-1_0_8_load_78 | 51 | 0.0013043 | 0.00032688 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4080-1_0_8_load_26 | 52 | 0.023431 | 0.0058725 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4080-1_0_8_load_79 | 53 | 0.00076986 | 0.00019294 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4080-1_0_8_load_40 | 54 | 0.019992 | 0.0050106 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4080-1_0_8_load_24 | 57 | 6.0087e-05 | 1.5059e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4080-1_0_8_load_54 | 58 | 0.0033459 | 0.00083857 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4080-1_0_8_load_69 | 59 | 0.0011125 | 0.00027882 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4080-1_0_8_load_35 | 60 | 0.00016411 | 4.1129e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4080-1_0_8_load_65 | 62 | 0.00079531 | 0.00019932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4080-1_0_8_load_38 | 63 | 0.0024518 | 0.00061448 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4080-1_0_8_load_27 | 64 | 0.00029416 | 7.3723e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4080-1_0_8_load_47 | 65 | 0.0089887 | 0.0022528 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4080-1_0_8_load_33 | 66 | 0.00058991 | 0.00014785 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4080-1_0_8_load_34 | 67 | 0.0011884 | 0.00029785 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4080-1_0_8_load_41 | 68 | 0.01792 | 0.0044912 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4080-1_0_8_load_52 | 69 | 0.0014665 | 0.00036753 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4080-1_0_8_load_50 | 70 | 0.00023707 | 5.9415e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4080-1_0_8_load_59 | 71 | 0.0009519 | 0.00023857 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4080-1_0_8_load_60 | 72 | 0.0037281 | 0.00093436 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4080-1_0_8_load_80 | 73 | 0.0013801 | 0.00034588 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4080-1_0_8_load_66 | 74 | 9.9626e-05 | 2.4969e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4080-1_0_8_load_72 | 75 | 0.0064573 | 0.0016184 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4080-1_0_8_load_85 | 78 | 0.0011254 | 0.00028205 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4080-1_0_8_load_82 | 79 | 0.0007512 | 0.00018827 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4080-1_0_8_load_81 | 80 | 0.00088924 | 0.00022287 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4080-1_0_8_load_83 | 81 | 0.00077727 | 0.0001948 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4080-1_0_8_line_0 |  | 0 | 1 | 0.039312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4080-1_0_8_line_1 |  | 0 | 2 | 0.2609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4080-1_0_8_line_2 |  | 2 | 3 | 0.051566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4080-1_0_8_line_3 |  | 2 | 4 | 0.13695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4080-1_0_8_line_4 |  | 2 | 5 | 0.22105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4080-1_0_8_line_5 |  | 3 | 6 | 0.043522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4080-1_0_8_line_6 |  | 4 | 7 | 0.056176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4080-1_0_8_line_7 |  | 5 | 8 | 0.20719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4080-1_0_8_line_8 |  | 6 | 28 | 0.028847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4080-1_0_8_line_9 |  | 7 | 46 | 0.019179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4080-1_0_8_line_10 |  | 8 | 11 | 0.063427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4080-1_0_8_line_11 |  | 9 | 10 | 0.060254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4080-1_0_8_line_12 |  | 9 | 11 | 0.025703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4080-1_0_8_line_13 |  | 10 | 47 | 0.016665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4080-1_0_8_line_14 |  | 12 | 13 | 0.040787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_4080-1_0_8_line_15 |  | 12 | 14 | 0.032086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4080-1_0_8_line_16 |  | 13 | 48 | 0.040671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4080-1_0_8_line_17 |  | 14 | 49 | 0.057133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4080-1_0_8_line_18 |  | 15 | 16 | 0.076458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4080-1_0_8_line_19 |  | 15 | 17 | 0.027084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4080-1_0_8_line_20 |  | 16 | 40 | 0.017126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4080-1_0_8_line_21 |  | 16 | 21 | 0.1009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4080-1_0_8_line_22 |  | 17 | 51 | 0.017759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_4080-1_0_8_line_23 |  | 18 | 19 | 0.51939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4080-1_0_8_line_24 |  | 18 | 20 | 0.012914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4080-1_0_8_line_25 |  | 19 | 39 | 0.077174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4080-1_0_8_line_26 |  | 20 | 26 | 0.19007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4080-1_0_8_line_27 |  | 21 | 22 | 0.086788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4080-1_0_8_line_28 |  | 21 | 23 | 0.039511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_4080-1_0_8_line_29 |  | 22 | 53 | 0.058635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4080-1_0_8_line_30 |  | 23 | 27 | 0.028521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4080-1_0_8_line_31 |  | 24 | 25 | 0.030448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4080-1_0_8_line_32 |  | 24 | 26 | 0.34697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4080-1_0_8_line_33 |  | 27 | 28 | 0.12747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4080-1_0_8_line_34 |  | 27 | 29 | 0.044934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4080-1_0_8_line_35 |  | 29 | 54 | 0.023614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4080-1_0_8_line_36 |  | 30 | 31 | 0.03629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4080-1_0_8_line_37 |  | 30 | 32 | 0.13712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4080-1_0_8_line_38 |  | 30 | 33 | 0.042733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_4080-1_0_8_line_39 |  | 31 | 55 | 0.023753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4080-1_0_8_line_40 |  | 32 | 37 | 0.0060694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4080-1_0_8_line_41 |  | 32 | 38 | 0.043962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_4080-1_0_8_line_42 |  | 33 | 56 | 0.023876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_4080-1_0_8_line_43 |  | 34 | 35 | 0.15931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4080-1_0_8_line_44 |  | 34 | 36 | 0.12614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4080-1_0_8_line_45 |  | 35 | 44 | 0.10979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4080-1_0_8_line_46 |  | 35 | 45 | 0.013197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4080-1_0_8_line_47 |  | 36 | 57 | 0.032697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4080-1_0_8_line_48 |  | 38 | 58 | 0.061236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4080-1_0_8_line_49 |  | 39 | 59 | 0.049134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4080-1_0_8_line_50 |  | 40 | 60 | 0.097018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4080-1_0_8_line_51 |  | 41 | 42 | 0.021808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4080-1_0_8_line_52 |  | 41 | 43 | 0.042184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4080-1_0_8_line_53 |  | 42 | 61 | 0.052133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4080-1_0_8_line_54 |  | 43 | 62 | 0.020176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4080-1_0_8_line_55 |  | 45 | 63 | 0.057493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4080-1_0_8_line_56 |  | 46 | 75 | 0.032193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4080-1_0_8_line_57 |  | 47 | 74 | 0.044357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4080-1_0_8_line_58 |  | 48 | 52 | 0.12029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4080-1_0_8_line_59 |  | 48 | 50 | 0.1001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4080-1_0_8_line_60 |  | 49 | 56 | 0.030851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_4080-1_0_8_line_61 |  | 49 | 65 | 0.086472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4080-1_0_8_line_62 |  | 50 | 51 | 0.046831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_4080-1_0_8_line_63 |  | 52 | 64 | 0.12992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4080-1_0_8_line_64 |  | 54 | 68 | 0.068776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4080-1_0_8_line_65 |  | 55 | 69 | 0.045493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4080-1_0_8_line_66 |  | 55 | 70 | 0.034638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4080-1_0_8_line_67 |  | 59 | 61 | 0.034385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4080-1_0_8_line_68 |  | 60 | 63 | 0.10337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4080-1_0_8_line_69 |  | 60 | 66 | 0.025182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4080-1_0_8_line_70 |  | 62 | 74 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4080-1_0_8_line_71 |  | 66 | 67 | 0.027255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4080-1_0_8_line_72 |  | 69 | 71 | 0.0050047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4080-1_0_8_line_73 |  | 71 | 72 | 0.00032793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4080-1_0_8_line_74 |  | 72 | 73 | 0.033462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4080-1_0_8_line_75 |  | 75 | 76 | 0.025168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4080-1_0_8_line_76 |  | 76 | 77 | 0.13014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4080-1_0_8_line_77 |  | 77 | 78 | 0.017626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4080-1_0_8_line_78 |  | 77 | 79 | 0.018443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4080-1_0_8_line_79 |  | 79 | 80 | 0.0046099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4080-1_0_8_line_80 |  | 80 | 81 | 0.016904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4080-1_0_8_trafo_12 | 0.63 MVA 20/0.4 kV | 82 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2661217.4347 | 1245196.8138 | 2661247.428 | 1245171.401
1 | 2661020.6339 | 1245366.8237 | 2661024.3618 | 1245359.924 | 2661029.5642 | 1245352.906 | 2661049.0129 | 1245337.4288 | 2661084.4429 | 1245310.108 | 2661135.1183 | 1245268.3345 | 2661182.3798 | 1245226.5152 | 2661217.4347 | 1245196.8138
2 | 2661020.6339 | 1245366.8237 | 2661038.3488 | 1245390.5888 | 2661050.5564 | 1245408.8013
3 | 2660937.2165 | 1245258.4256 | 2660948.8404 | 1245275.7457 | 2660990.246 | 1245325.6386 | 2661007.6482 | 1245351.1795 | 2661010.3231 | 1245354.8317 | 2661014.5921 | 1245359.9569 | 2661016.315 | 1245362.1428 | 2661020.6339 | 1245366.8237
4 | 2660862.9087 | 1245495.9925 | 2660954.3544 | 1245408.2153 | 2660978.7249 | 1245395.3347 | 2660982.1027 | 1245393.0789 | 2660986.5435 | 1245393.9919 | 2660988.4999 | 1245394.0342 | 2660992.9214 | 1245393.1569 | 2660997.8931 | 1245390.1948 | 2661000.8084 | 1245386.6335 | 2661002.1381 | 1245383.7007 | 2661002.8661 | 1245379.7721 | 2661002.6798 | 1245376.5791 | 2661001.8938 | 1245373.6691 | 2661006.3278 | 1245369.3672 | 2661014.5921 | 1245359.9569 | 2661016.315 | 1245362.1428 | 2661020.6339 | 1245366.8237
5 | 2661071.3402 | 1245446.8476 | 2661069.3362 | 1245440.9978 | 2661060.3822 | 1245423.4603 | 2661050.5564 | 1245408.8013
6 | 2660937.2165 | 1245258.4256 | 2660980.1966 | 1245222.2523
7 | 2660862.9087 | 1245495.9925 | 2660780.0102 | 1245409.1055 | 2660750.657 | 1245376.6716 | 2660733.7621 | 1245362.7335 | 2660714.4085 | 1245353.4826
8 | 2661080.8423 | 1245474.0833 | 2661078.1014 | 1245466.5833 | 2661071.3402 | 1245446.8476
9 | 2660995.0457 | 1245210.1199 | 2660988.8154 | 1245214.9592 | 2660981.6049 | 1245221.0671 | 2660980.1966 | 1245222.2523
10 | 2660651.6124 | 1245346.3255 | 2660672.4573 | 1245347.8852 | 2660691.0978 | 1245348.5318 | 2660713.1532 | 1245352.8826 | 2660714.4085 | 1245353.4826
11 | 2660625.9809 | 1245344.4078 | 2660650.3161 | 1245399.5292
12 | 2660625.9809 | 1245344.4078 | 2660651.6124 | 1245346.3255
13 | 2660650.3161 | 1245399.5292 | 2660656.2424 | 1245412.9529 | 2660656.969 | 1245414.8072
14 | 2661433.79 | 1245504.2809 | 2661405.5208 | 1245474.8014
15 | 2661405.5208 | 1245474.8014 | 2661388.6057 | 1245459.338 | 2661381.7164 | 1245453.2889
16 | 2661433.79 | 1245504.2809 | 2661431.5645 | 1245517.8116 | 2661411.9102 | 1245536.3208
17 | 2661338.7843 | 1245415.5927 | 2661381.7164 | 1245453.2889
18 | 2661287.2363 | 1245658.7381 | 2661284.7403 | 1245656.0772 | 2661337.7425 | 1245606.1572
19 | 2661337.7425 | 1245606.1572 | 2661356.7215 | 1245625.4791
20 | 2661298.9686 | 1245671.2457 | 2661287.2363 | 1245658.7381
21 | 2661218.209 | 1245585.1417 | 2661241.6217 | 1245610.1116 | 2661284.7403 | 1245656.0772 | 2661287.2363 | 1245658.7381
22 | 2661356.7215 | 1245625.4791 | 2661369.1661 | 1245638.1485
23 | 2660516.7254 | 1245720.7171 | 2660607.2735 | 1245793.102 | 2660528.2583 | 1245907.5962 | 2660495.4801 | 1245956.2508 | 2660667.2129 | 1246069.4486
24 | 2660667.2129 | 1246069.4486 | 2660678.0312 | 1246076.501
25 | 2660516.7254 | 1245720.7171 | 2660561.3414 | 1245657.747
26 | 2660847.0589 | 1246161.4311 | 2660791.7868 | 1246139.6385 | 2660756.5927 | 1246126.1243 | 2660740.8922 | 1246117.4798 | 2660678.0312 | 1246076.501
27 | 2661218.209 | 1245585.1417 | 2661202.2945 | 1245597.8863 | 2661189.877 | 1245603.4176 | 2661151.2413 | 1245639.4134
28 | 2661218.209 | 1245585.1417 | 2661201.2675 | 1245567.0879 | 2661191.1732 | 1245556.3282
29 | 2661151.2413 | 1245639.4134 | 2661108.3401 | 1245679.3831
30 | 2661171.659 | 1245535.5276 | 2661191.1732 | 1245556.3282
31 | 2661000.7137 | 1246236.7273 | 2661000.5836 | 1246230.277 | 2660994.2115 | 1246207.1401
32 | 2660847.0589 | 1246161.4311 | 2660807.8484 | 1246241.2284 | 2660791.6264 | 1246268.014 | 2660812.6941 | 1246277.0027 | 2660825.3582 | 1246282.603 | 2660835.6777 | 1246282.5755 | 2660848.7315 | 1246276.7053 | 2660864.7723 | 1246266.8519 | 2660875.5574 | 1246259.7466 | 2660908.1917 | 1246253.933 | 2660919.411 | 1246252.3583 | 2660935.5723 | 1246252.124 | 2660976.4111 | 1246255.0901 | 2660980.8376 | 1246255.1245 | 2660985.0025 | 1246253.4217 | 2660990.9626 | 1246249.0466 | 2661000.7137 | 1246236.7273
33 | 2661080.8423 | 1245474.0833 | 2661095.556 | 1245474.4906 | 2661111.8345 | 1245472.6236 | 2661124.1282 | 1245468.125 | 2661127.2229 | 1245475.7398 | 2661131.586 | 1245484.1906 | 2661144.3521 | 1245506.4151 | 2661171.659 | 1245535.5276
34 | 2661171.659 | 1245535.5276 | 2661138.876 | 1245566.3554
35 | 2661138.876 | 1245566.3554 | 2661118.4596 | 1245554.4897
36 | 2661269.8222 | 1245347.1667 | 2661297.4151 | 1245323.5955
37 | 2661174.3541 | 1245327.0013 | 2661224.6015 | 1245386.0155 | 2661269.8222 | 1245347.1667
38 | 2661269.8222 | 1245347.1667 | 2661298.3734 | 1245378.962
39 | 2661315.4758 | 1245308.1671 | 2661297.4151 | 1245323.5955
40 | 2661174.3541 | 1245327.0013 | 2661170.4191 | 1245322.3803
41 | 2661174.3541 | 1245327.0013 | 2661207.7142 | 1245298.3698
42 | 2661314.3259 | 1245396.727 | 2661298.3734 | 1245378.962
43 | 2661323.8938 | 1245975.0676 | 2661319.7698 | 1245970.5996 | 2661303.3875 | 1245952.6736 | 2661225.5187 | 1245872.3366 | 2661231.0331 | 1245867.2789 | 2661238.0436 | 1245860.7468
44 | 2661323.8938 | 1245975.0676 | 2661313.0224 | 1245985.3067 | 2661289.3569 | 1246009.8124 | 2661274.5014 | 1246028.3717 | 2661260.3905 | 1246069.9324 | 2661256.5862 | 1246078.6106
45 | 2661238.0436 | 1245860.7468 | 2661252.0536 | 1245873.6002 | 2661271.6258 | 1245881.8858 | 2661308.4367 | 1245888.1258 | 2661340.262 | 1245883.2885
46 | 2661247.7162 | 1245851.7404 | 2661238.0436 | 1245860.7468
47 | 2661256.5862 | 1246078.6106 | 2661247.3769 | 1246099.6184 | 2661242.2954 | 1246107.9501
48 | 2661212.9219 | 1245254.8718 | 2661231.7031 | 1245277.7812 | 2661207.7142 | 1245298.3698
49 | 2660589.7469 | 1245617.656 | 2660561.3414 | 1245657.747
50 | 2661365.4309 | 1245742.1035 | 2661298.9686 | 1245671.2457
51 | 2660659.8697 | 1245535.4961 | 2660655.1245 | 1245543.6643 | 2660646.7342 | 1245552.7422
52 | 2660659.8697 | 1245535.4961 | 2660663.2537 | 1245527.4474 | 2660669.3294 | 1245496.3104 | 2660669.4652 | 1245494.5866
53 | 2660611.3486 | 1245591.0273 | 2660646.7342 | 1245552.7422
54 | 2660669.4652 | 1245494.5866 | 2660671.0487 | 1245474.473
55 | 2661247.7162 | 1245851.7404 | 2661289.7878 | 1245812.5559
56 | 2660995.0457 | 1245210.1199 | 2661015.8287 | 1245192.7773 | 2661020.4004 | 1245190.4613
57 | 2660669.6204 | 1245457.0223 | 2660667.5891 | 1245441.9109 | 2660656.969 | 1245414.8072
58 | 2661411.9102 | 1245536.3208 | 2661416.6858 | 1245541.3737 | 2661431.4336 | 1245526.8053 | 2661495.9205 | 1245593.2633
59 | 2661411.9102 | 1245536.3208 | 2661372.3656 | 1245573.5595 | 2661403.9052 | 1245606.7419
60 | 2661314.3259 | 1245396.727 | 2661333.3484 | 1245410.8222 | 2661338.7843 | 1245415.5927
61 | 2661338.7843 | 1245415.5927 | 2661351.7604 | 1245388.9864 | 2661380.057 | 1245361.1266 | 2661384.2178 | 1245351.8633 | 2661389.6094 | 1245347.3901
62 | 2661403.9052 | 1245606.7419 | 2661369.1661 | 1245638.1485
63 | 2661495.9205 | 1245593.2633 | 2661553.7382 | 1245652.8481 | 2661519.5064 | 1245684.8952
64 | 2661118.4596 | 1245554.4897 | 2661115.5039 | 1245552.772 | 2661104.327 | 1245555.2252 | 2661098.143 | 1245562.1885 | 2661092.2844 | 1245606.4032
65 | 2661315.4758 | 1245308.1671 | 2661286.4736 | 1245273.1168
66 | 2661315.4758 | 1245308.1671 | 2661341.7788 | 1245285.6292
67 | 2660611.3486 | 1245591.0273 | 2660601.0628 | 1245601.6851 | 2660589.7469 | 1245617.656
68 | 2661365.4309 | 1245742.1035 | 2661289.7878 | 1245812.5559
69 | 2661365.4309 | 1245742.1035 | 2661382.6597 | 1245760.4688
70 | 2660669.6204 | 1245457.0223 | 2660671.3875 | 1245470.1691 | 2660671.0487 | 1245474.473
71 | 2661401.3068 | 1245780.3458 | 2661382.6597 | 1245760.4688
72 | 2661286.4736 | 1245273.1168 | 2661283.2831 | 1245269.261
73 | 2661283.074 | 1245269.0083 | 2661283.2831 | 1245269.261
74 | 2661283.074 | 1245269.0083 | 2661270.8877 | 1245254.2807 | 2661281.5372 | 1245244.6681
75 | 2661031.1877 | 1245170.1975 | 2661031.3904 | 1245175.4588 | 2661030.8841 | 1245180.6015 | 2661028.2233 | 1245185.1217 | 2661021.9809 | 1245189.6606 | 2661020.4004 | 1245190.4613
76 | 2661031.1877 | 1245170.1975 | 2661055.6266 | 1245168.3921 | 2661074.3997 | 1245167.2178 | 2661108.6505 | 1245166.4477 | 2661129.9326 | 1245165.9554 | 2661145.8109 | 1245164.1511 | 2661161.1812 | 1245161.0407
77 | 2661161.1812 | 1245161.0407 | 2661172.8291 | 1245159.1483 | 2661178.444 | 1245157.5962
78 | 2661161.1812 | 1245161.0407 | 2661160.7693 | 1245155.5549 | 2661153.595 | 1245144.7835
79 | 2661151.0394 | 1245140.9468 | 2661153.595 | 1245144.7835
80 | 2661151.0394 | 1245140.9468 | 2661141.6686 | 1245126.8778

## bus_geodata
| x | y | coords
0 | 2661217.4347 | 1245196.8138
1 | 2661247.428 | 1245171.401
2 | 2661020.6339 | 1245366.8237
3 | 2661050.5564 | 1245408.8013
4 | 2660937.2165 | 1245258.4256
5 | 2660862.9087 | 1245495.9925
6 | 2661071.3402 | 1245446.8476
7 | 2660980.1966 | 1245222.2523
8 | 2660714.4085 | 1245353.4826
9 | 2660625.9809 | 1245344.4078
10 | 2660650.3161 | 1245399.5292
11 | 2660651.6124 | 1245346.3255
12 | 2661405.5208 | 1245474.8014
13 | 2661433.79 | 1245504.2809
14 | 2661381.7164 | 1245453.2889
15 | 2661337.7425 | 1245606.1572
16 | 2661287.2363 | 1245658.7381
17 | 2661356.7215 | 1245625.4791
18 | 2660667.2129 | 1246069.4486
19 | 2660516.7254 | 1245720.7171
20 | 2660678.0312 | 1246076.501
21 | 2661218.209 | 1245585.1417
22 | 2661151.2413 | 1245639.4134
23 | 2661191.1732 | 1245556.3282
24 | 2661000.7137 | 1246236.7273
25 | 2660994.2115 | 1246207.1401
26 | 2660847.0589 | 1246161.4311
27 | 2661171.659 | 1245535.5276
28 | 2661080.8423 | 1245474.0833
29 | 2661138.876 | 1245566.3554
30 | 2661269.8222 | 1245347.1667
31 | 2661297.4151 | 1245323.5955
32 | 2661174.3541 | 1245327.0013
33 | 2661298.3734 | 1245378.962
34 | 2661323.8938 | 1245975.0676
35 | 2661238.0436 | 1245860.7468
36 | 2661256.5862 | 1246078.6106
37 | 2661170.4191 | 1245322.3803
38 | 2661207.7142 | 1245298.3698
39 | 2660561.3414 | 1245657.747
40 | 2661298.9686 | 1245671.2457
41 | 2660659.8697 | 1245535.4961
42 | 2660646.7342 | 1245552.7422
43 | 2660669.4651 | 1245494.5866
44 | 2661340.262 | 1245883.2885
45 | 2661247.7162 | 1245851.7404
46 | 2660995.0457 | 1245210.1199
47 | 2660656.969 | 1245414.8072
48 | 2661411.9102 | 1245536.3208
49 | 2661338.7843 | 1245415.5927
50 | 2661403.9052 | 1245606.7419
51 | 2661369.1661 | 1245638.1485
52 | 2661495.9205 | 1245593.2633
53 | 2661108.3401 | 1245679.3831
54 | 2661118.4596 | 1245554.4897
55 | 2661315.4758 | 1245308.1671
56 | 2661314.3259 | 1245396.727
57 | 2661242.2954 | 1246107.9501
58 | 2661212.9219 | 1245254.8718
59 | 2660589.7469 | 1245617.656
60 | 2661365.4309 | 1245742.1035
61 | 2660611.3486 | 1245591.0273
62 | 2660671.0487 | 1245474.473
63 | 2661289.7878 | 1245812.5559
64 | 2661519.5064 | 1245684.8952
65 | 2661389.6094 | 1245347.3901
66 | 2661382.6597 | 1245760.4688
67 | 2661401.3068 | 1245780.3458
68 | 2661092.2844 | 1245606.4032
69 | 2661286.4736 | 1245273.1168
70 | 2661341.7788 | 1245285.6292
71 | 2661283.2831 | 1245269.2609
72 | 2661283.074 | 1245269.0083
73 | 2661281.5372 | 1245244.6681
74 | 2660669.6204 | 1245457.0223
75 | 2661020.4004 | 1245190.4613
76 | 2661031.1877 | 1245170.1975
77 | 2661161.1812 | 1245161.0407
78 | 2661178.444 | 1245157.5962
79 | 2661153.595 | 1245144.7835
80 | 2661151.0394 | 1245140.9468
81 | 2661141.6686 | 1245126.8778
82 | 2661138.876 | 1245566.3554

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1