## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4082-1_1_4_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_4082-1_1_4_node_8 | 0.4 | n |  | TRUE
2 | bus_LV_4082-1_1_4_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_4082-1_1_4_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_4082-1_1_4_node_189 | 0.4 | n |  | TRUE
5 | bus_LV_4082-1_1_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_4082-1_1_4_node_165 | 0.4 | n |  | TRUE
7 | bus_LV_4082-1_1_4_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_4082-1_1_4_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_4082-1_1_4_node_89 | 0.4 | n |  | TRUE
10 | bus_LV_4082-1_1_4_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_4082-1_1_4_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_4082-1_1_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_4082-1_1_4_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_4082-1_1_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_4082-1_1_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_4082-1_1_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_4082-1_1_4_node_150 | 0.4 | n |  | TRUE
18 | bus_LV_4082-1_1_4_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_4082-1_1_4_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_4082-1_1_4_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_4082-1_1_4_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_4082-1_1_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4082-1_1_4_node_65 | 0.4 | n |  | TRUE
24 | bus_LV_4082-1_1_4_node_86 | 0.4 | n |  | TRUE
25 | bus_LV_4082-1_1_4_node_151 | 0.4 | n |  | TRUE
26 | bus_LV_4082-1_1_4_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_4082-1_1_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_4082-1_1_4_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_4082-1_1_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_4082-1_1_4_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_4082-1_1_4_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_4082-1_1_4_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_4082-1_1_4_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_4082-1_1_4_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_4082-1_1_4_node_90 | 0.4 | n |  | TRUE
36 | bus_LV_4082-1_1_4_node_155 | 0.4 | n |  | TRUE
37 | bus_LV_4082-1_1_4_node_152 | 0.4 | n |  | TRUE
38 | bus_LV_4082-1_1_4_node_182 | 0.4 | n |  | TRUE
39 | bus_LV_4082-1_1_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_4082-1_1_4_node_137 | 0.4 | n |  | TRUE
41 | bus_LV_4082-1_1_4_node_132 | 0.4 | n |  | TRUE
42 | bus_LV_4082-1_1_4_node_88 | 0.4 | n |  | TRUE
43 | bus_LV_4082-1_1_4_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_4082-1_1_4_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_4082-1_1_4_node_87 | 0.4 | n |  | TRUE
46 | bus_LV_4082-1_1_4_node_174 | 0.4 | n |  | TRUE
47 | bus_LV_4082-1_1_4_node_134 | 0.4 | n |  | TRUE
48 | bus_LV_4082-1_1_4_node_133 | 0.4 | n |  | TRUE
49 | bus_LV_4082-1_1_4_node_131 | 0.4 | n |  | TRUE
50 | bus_LV_4082-1_1_4_node_181 | 0.4 | n |  | TRUE
51 | bus_LV_4082-1_1_4_node_142 | 0.4 | n |  | TRUE
52 | bus_LV_4082-1_1_4_node_136 | 0.4 | n |  | TRUE
53 | bus_LV_4082-1_1_4_node_188 | 0.4 | n |  | TRUE
54 | bus_LV_4082-1_1_4_node_153 | 0.4 | n |  | TRUE
55 | bus_LV_4082-1_1_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_4082-1_1_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_4082-1_1_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_4082-1_1_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_4082-1_1_4_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_4082-1_1_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_4082-1_1_4_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_4082-1_1_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_4082-1_1_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_4082-1_1_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_4082-1_1_4_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_4082-1_1_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_4082-1_1_4_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_4082-1_1_4_node_128 | 0.4 | n |  | TRUE
69 | bus_LV_4082-1_1_4_node_129 | 0.4 | n |  | TRUE
70 | bus_LV_4082-1_1_4_node_130 | 0.4 | n |  | TRUE
71 | bus_LV_4082-1_1_4_node_138 | 0.4 | n |  | TRUE
72 | bus_LV_4082-1_1_4_node_139 | 0.4 | n |  | TRUE
73 | bus_LV_4082-1_1_4_node_135 | 0.4 | n |  | TRUE
74 | bus_LV_4082-1_1_4_node_190 | 0.4 | n |  | TRUE
75 | bus_LV_4082-1_1_4_node_176 | 0.4 | n |  | TRUE
76 | bus_LV_4082-1_1_4_node_143 | 0.4 | n |  | TRUE
77 | bus_LV_4082-1_1_4_node_140 | 0.4 | n |  | TRUE
78 | bus_LV_4082-1_1_4_node_141 | 0.4 | n |  | TRUE
79 | bus_LV_4082-1_1_4_node_149 | 0.4 | n |  | TRUE
80 | bus_LV_4082-1_1_4_node_161 | 0.4 | n |  | TRUE
81 | bus_LV_4082-1_1_4_node_164 | 0.4 | n |  | TRUE
82 | bus_LV_4082-1_1_4_node_144 | 0.4 | n |  | TRUE
83 | bus_LV_4082-1_1_4_node_145 | 0.4 | n |  | TRUE
84 | bus_LV_4082-1_1_4_node_146 | 0.4 | n |  | TRUE
85 | bus_LV_4082-1_1_4_node_147 | 0.4 | n |  | TRUE
86 | bus_LV_4082-1_1_4_node_148 | 0.4 | n |  | TRUE
87 | bus_LV_4082-1_1_4_node_166 | 0.4 | n |  | TRUE
88 | bus_LV_4082-1_1_4_node_167 | 0.4 | n |  | TRUE
89 | bus_LV_4082-1_1_4_node_162 | 0.4 | n |  | TRUE
90 | bus_LV_4082-1_1_4_node_173 | 0.4 | n |  | TRUE
91 | bus_LV_4082-1_1_4_node_154 | 0.4 | n |  | TRUE
92 | bus_LV_4082-1_1_4_node_163 | 0.4 | n |  | TRUE
93 | bus_LV_4082-1_1_4_node_156 | 0.4 | n |  | TRUE
94 | bus_LV_4082-1_1_4_node_157 | 0.4 | n |  | TRUE
95 | bus_LV_4082-1_1_4_node_158 | 0.4 | n |  | TRUE
96 | bus_LV_4082-1_1_4_node_159 | 0.4 | n |  | TRUE
97 | bus_LV_4082-1_1_4_node_160 | 0.4 | n |  | TRUE
98 | bus_LV_4082-1_1_4_node_168 | 0.4 | n |  | TRUE
99 | bus_LV_4082-1_1_4_node_169 | 0.4 | n |  | TRUE
100 | bus_LV_4082-1_1_4_node_170 | 0.4 | n |  | TRUE
101 | bus_LV_4082-1_1_4_node_171 | 0.4 | n |  | TRUE
102 | bus_LV_4082-1_1_4_node_172 | 0.4 | n |  | TRUE
103 | bus_LV_4082-1_1_4_node_186 | 0.4 | n |  | TRUE
104 | bus_LV_4082-1_1_4_node_183 | 0.4 | n |  | TRUE
105 | bus_LV_4082-1_1_4_node_184 | 0.4 | n |  | TRUE
106 | bus_LV_4082-1_1_4_node_175 | 0.4 | n |  | TRUE
107 | bus_LV_4082-1_1_4_node_177 | 0.4 | n |  | TRUE
108 | bus_LV_4082-1_1_4_node_178 | 0.4 | n |  | TRUE
109 | bus_LV_4082-1_1_4_node_179 | 0.4 | n |  | TRUE
110 | bus_LV_4082-1_1_4_node_180 | 0.4 | n |  | TRUE
111 | bus_LV_4082-1_1_4_node_187 | 0.4 | n |  | TRUE
112 | bus_LV_4082-1_1_4_node_185 | 0.4 | n |  | TRUE
113 | bus_MV_428_1_node_210 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4082-1_1_4_load_6 | 0 | 0.0020412 | 0.00051157 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4082-1_1_4_load_11 | 3 | 0.0014806 | 0.00037108 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4082-1_1_4_load_189 | 4 | 0.0020166 | 0.00050542 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4082-1_1_4_load_12 | 5 | 0.0009569 | 0.00023982 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4082-1_1_4_load_89 | 9 | 0.0033442 | 0.00083815 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4082-1_1_4_load_25 | 11 | 0.0051515 | 0.0012911 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4082-1_1_4_load_27 | 13 | 0.0020979 | 0.00052578 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4082-1_1_4_load_26 | 15 | 0.0018271 | 0.00045792 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4082-1_1_4_load_150 | 17 | 0.0079379 | 0.0019894 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4082-1_1_4_load_68 | 20 | 0.0061104 | 0.0015314 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4082-1_1_4_load_86 | 24 | 0.0080334 | 0.0020134 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4082-1_1_4_load_151 | 25 | 0.0052306 | 0.0013109 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4082-1_1_4_load_52 | 27 | 0.0053992 | 0.0013532 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4082-1_1_4_load_55 | 28 | 0.010439 | 0.0026163 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4082-1_1_4_load_77 | 31 | 0.012568 | 0.0031498 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4082-1_1_4_load_75 | 32 | 0.0090464 | 0.0022673 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4082-1_1_4_load_54 | 34 | 0.0091159 | 0.0022847 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4082-1_1_4_load_90 | 35 | 0.0034564 | 0.00086626 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4082-1_1_4_load_152 | 37 | 0.0011589 | 0.00029046 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4082-1_1_4_load_182 | 38 | 0.0014069 | 0.00035261 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4082-1_1_4_load_132 | 41 | 0.0067244 | 0.0016853 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4082-1_1_4_load_88 | 42 | 0.010808 | 0.0027086 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4082-1_1_4_load_67 | 43 | 0.0063676 | 0.0015959 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4082-1_1_4_load_64 | 44 | 0.0084576 | 0.0021197 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4082-1_1_4_load_87 | 45 | 0.0099954 | 0.0025051 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4082-1_1_4_load_134 | 47 | 0.0077214 | 0.0019352 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4082-1_1_4_load_133 | 48 | 0.0011134 | 0.00027905 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4082-1_1_4_load_131 | 49 | 0.0015898 | 0.00039843 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4082-1_1_4_load_181 | 50 | 0.001421 | 0.00035615 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4082-1_1_4_load_142 | 51 | 0.0025672 | 0.00064341 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4082-1_1_4_load_188 | 53 | 0.0034655 | 0.00086855 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4082-1_1_4_load_153 | 54 | 0.0039522 | 0.00099052 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4082-1_1_4_load_53 | 56 | 0.0061363 | 0.0015379 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4082-1_1_4_load_51 | 58 | 0.005613 | 0.0014067 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4082-1_1_4_load_78 | 59 | 0.0055854 | 0.0013998 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4082-1_1_4_load_58 | 60 | 0.0061041 | 0.0015298 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4082-1_1_4_load_57 | 61 | 0.01033 | 0.002589 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4082-1_1_4_load_73 | 62 | 0.015116 | 0.0037885 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4082-1_1_4_load_62 | 64 | 0.011354 | 0.0028455 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4082-1_1_4_load_69 | 66 | 0.016298 | 0.0040847 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4082-1_1_4_load_128 | 68 | 0.002343 | 0.0005872 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4082-1_1_4_load_138 | 71 | 0.0053513 | 0.0013412 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4082-1_1_4_load_190 | 74 | 0.0062675 | 0.0015708 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4082-1_1_4_load_176 | 75 | 0.0025372 | 0.00063589 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4082-1_1_4_load_143 | 76 | 0.0049984 | 0.0012527 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4082-1_1_4_load_141 | 78 | 0.0013616 | 0.00034124 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4082-1_1_4_load_149 | 79 | 0.0012707 | 0.00031847 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4082-1_1_4_load_161 | 80 | 0.0019124 | 0.0004793 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4082-1_1_4_load_164 | 81 | 0.0018189 | 0.00045587 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4082-1_1_4_load_144 | 82 | 0.0045756 | 0.0011468 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4082-1_1_4_load_145 | 83 | 0.0035761 | 0.00089624 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4082-1_1_4_load_147 | 85 | 0.0020196 | 0.00050615 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4082-1_1_4_load_148 | 86 | 0.0035198 | 0.00088214 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4082-1_1_4_load_166 | 87 | 0.0019129 | 0.00047942 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4082-1_1_4_load_167 | 88 | 0.0024535 | 0.0006149 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4082-1_1_4_load_162 | 89 | 0.0019371 | 0.00048549 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4082-1_1_4_load_173 | 90 | 0.0029312 | 0.00073462 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4082-1_1_4_load_154 | 91 | 0.0035595 | 0.0008921 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4082-1_1_4_load_163 | 92 | 0.0034572 | 0.00086645 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4082-1_1_4_load_156 | 93 | 0.0020826 | 0.00052195 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4082-1_1_4_load_157 | 94 | 0.0011195 | 0.00028057 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4082-1_1_4_load_158 | 95 | 0.0019443 | 0.00048728 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4082-1_1_4_load_159 | 96 | 0.0019096 | 0.00047859 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4082-1_1_4_load_160 | 97 | 0.0020156 | 0.00050517 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4082-1_1_4_load_168 | 98 | 0.0012959 | 0.00032478 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4082-1_1_4_load_169 | 99 | 0.0013563 | 0.00033993 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4082-1_1_4_load_170 | 100 | 0.001655 | 0.00041478 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4082-1_1_4_load_171 | 101 | 0.0013912 | 0.00034866 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4082-1_1_4_load_172 | 102 | 0.0013333 | 0.00033416 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4082-1_1_4_load_186 | 103 | 0.0062304 | 0.0015615 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4082-1_1_4_load_183 | 104 | 0.0013716 | 0.00034375 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4082-1_1_4_load_184 | 105 | 0.0014276 | 0.00035779 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4082-1_1_4_load_175 | 106 | 0.0020888 | 0.00052349 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4082-1_1_4_load_177 | 107 | 0.001432 | 0.00035889 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4082-1_1_4_load_178 | 108 | 0.0012461 | 0.0003123 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4082-1_1_4_load_179 | 109 | 0.0012957 | 0.00032474 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4082-1_1_4_load_180 | 110 | 0.0014522 | 0.00036394 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4082-1_1_4_load_187 | 111 | 0.0013802 | 0.00034592 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4082-1_1_4_load_185 | 112 | 0.0012654 | 0.00031715 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4082-1_1_4_line_0 |  | 0 | 1 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4082-1_1_4_line_1 |  | 1 | 2 | 0.041424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4082-1_1_4_line_2 |  | 1 | 3 | 0.020653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4082-1_1_4_line_3 |  | 2 | 4 | 0.01538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4082-1_1_4_line_4 |  | 3 | 5 | 0.031782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4082-1_1_4_line_5 |  | 4 | 6 | 0.013584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4082-1_1_4_line_6 |  | 6 | 81 | 0.013752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4082-1_1_4_line_7 |  | 6 | 78 | 0.0096408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4082-1_1_4_line_8 |  | 7 | 8 | 0.035913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4082-1_1_4_line_9 |  | 7 | 9 | 0.058421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4082-1_1_4_line_10 |  | 8 | 10 | 0.014132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4082-1_1_4_line_11 |  | 8 | 11 | 0.02828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4082-1_1_4_line_12 |  | 9 | 35 | 0.0024579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4082-1_1_4_line_13 |  | 10 | 36 | 0.025873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4082-1_1_4_line_14 |  | 10 | 37 | 0.029462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4082-1_1_4_line_15 |  | 11 | 12 | 0.026987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4082-1_1_4_line_16 |  | 12 | 13 | 0.026732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4082-1_1_4_line_17 |  | 13 | 38 | 0.013214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4082-1_1_4_line_18 |  | 14 | 15 | 0.0056097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4082-1_1_4_line_19 |  | 14 | 16 | 0.026765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4082-1_1_4_line_20 |  | 14 | 17 | 0.045961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4082-1_1_4_line_21 |  | 16 | 21 | 0.011583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4082-1_1_4_line_22 |  | 17 | 22 | 0.019566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4082-1_1_4_line_23 |  | 18 | 19 | 0.022654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4082-1_1_4_line_24 |  | 18 | 20 | 0.020791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4082-1_1_4_line_25 |  | 19 | 22 | 0.016861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4082-1_1_4_line_26 |  | 19 | 23 | 0.011131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4082-1_1_4_line_27 |  | 19 | 24 | 0.024531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4082-1_1_4_line_28 |  | 21 | 42 | 0.019321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4082-1_1_4_line_29 |  | 22 | 25 | 0.025166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_4082-1_1_4_line_30 |  | 23 | 43 | 0.0429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4082-1_1_4_line_31 |  | 23 | 44 | 0.029517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4082-1_1_4_line_32 |  | 24 | 45 | 0.032254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4082-1_1_4_line_33 |  | 25 | 46 | 0.0095323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4082-1_1_4_line_34 |  | 26 | 27 | 0.032823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4082-1_1_4_line_35 |  | 26 | 28 | 0.029966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4082-1_1_4_line_36 |  | 27 | 58 | 0.016971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4082-1_1_4_line_37 |  | 28 | 33 | 0.023595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4082-1_1_4_line_38 |  | 29 | 30 | 0.050445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4082-1_1_4_line_39 |  | 29 | 31 | 0.019985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4082-1_1_4_line_40 |  | 29 | 32 | 0.024988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4082-1_1_4_line_41 |  | 30 | 42 | 0.0085714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4082-1_1_4_line_42 |  | 30 | 62 | 0.027458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4082-1_1_4_line_43 |  | 32 | 63 | 0.042061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4082-1_1_4_line_44 |  | 33 | 34 | 0.042344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4082-1_1_4_line_45 |  | 36 | 53 | 0.033338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4082-1_1_4_line_46 |  | 37 | 54 | 0.014585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4082-1_1_4_line_47 |  | 38 | 50 | 0.0042499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4082-1_1_4_line_48 |  | 39 | 40 | 0.012758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4082-1_1_4_line_49 |  | 39 | 41 | 0.018652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4082-1_1_4_line_50 |  | 40 | 51 | 0.016151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4082-1_1_4_line_51 |  | 40 | 52 | 0.020998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_4082-1_1_4_line_52 |  | 41 | 49 | 0.034951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4082-1_1_4_line_53 |  | 46 | 75 | 0.033961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_4082-1_1_4_line_54 |  | 46 | 90 | 0.017761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4082-1_1_4_line_55 |  | 47 | 48 | 0.0056621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4082-1_1_4_line_56 |  | 48 | 73 | 0.011226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4082-1_1_4_line_57 |  | 50 | 109 | 0.0003088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4082-1_1_4_line_58 |  | 51 | 76 | 0.0088041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4082-1_1_4_line_59 |  | 52 | 74 | 0.020114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4082-1_1_4_line_60 |  | 52 | 73 | 0.046675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4082-1_1_4_line_61 |  | 53 | 86 | 0.017667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4082-1_1_4_line_62 |  | 55 | 56 | 0.016888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4082-1_1_4_line_63 |  | 55 | 57 | 0.003426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4082-1_1_4_line_64 |  | 56 | 58 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4082-1_1_4_line_65 |  | 57 | 59 | 0.029474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4082-1_1_4_line_66 |  | 57 | 60 | 0.024709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4082-1_1_4_line_67 |  | 59 | 63 | 0.01784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4082-1_1_4_line_68 |  | 60 | 61 | 0.0051879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4082-1_1_4_line_69 |  | 62 | 67 | 0.0042271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4082-1_1_4_line_70 |  | 64 | 65 | 0.014688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4082-1_1_4_line_71 |  | 65 | 66 | 0.015712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4082-1_1_4_line_72 |  | 66 | 67 | 0.027958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4082-1_1_4_line_73 |  | 68 | 69 | 0.074246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4082-1_1_4_line_74 |  | 69 | 70 | 0.011341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4082-1_1_4_line_75 |  | 70 | 71 | 0.0926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4082-1_1_4_line_76 |  | 71 | 72 | 0.008354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4082-1_1_4_line_77 |  | 72 | 77 | 0.008535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_4082-1_1_4_line_78 |  | 72 | 78 | 0.027361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_4082-1_1_4_line_79 |  | 74 | 75 | 0.0011085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_4082-1_1_4_line_80 |  | 76 | 77 | 0.030935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_4082-1_1_4_line_81 |  | 77 | 79 | 0.011678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4082-1_1_4_line_82 |  | 79 | 80 | 0.030364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4082-1_1_4_line_83 |  | 80 | 89 | 0.027802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4082-1_1_4_line_84 |  | 81 | 96 | 0.0093922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_4082-1_1_4_line_85 |  | 82 | 83 | 0.00036014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4082-1_1_4_line_86 |  | 82 | 84 | 0.017329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4082-1_1_4_line_87 |  | 83 | 85 | 0.026688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_4082-1_1_4_line_88 |  | 84 | 86 | 0.011792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4082-1_1_4_line_89 |  | 85 | 87 | 0.010377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_4082-1_1_4_line_90 |  | 87 | 88 | 0.017678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_4082-1_1_4_line_91 |  | 88 | 97 | 0.0012238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_4082-1_1_4_line_92 |  | 89 | 92 | 0.0041089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4082-1_1_4_line_93 |  | 90 | 106 | 0.02864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4082-1_1_4_line_94 |  | 91 | 92 | 0.015603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4082-1_1_4_line_95 |  | 93 | 94 | 0.0080899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_4082-1_1_4_line_96 |  | 93 | 95 | 0.0070833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
97 | LV_4082-1_1_4_line_97 |  | 94 | 96 | 0.003967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
98 | LV_4082-1_1_4_line_98 |  | 95 | 97 | 0.0098591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
99 | LV_4082-1_1_4_line_99 |  | 98 | 99 | 0.0051794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4082-1_1_4_line_100 |  | 98 | 100 | 0.0045735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4082-1_1_4_line_101 |  | 99 | 101 | 0.0052887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4082-1_1_4_line_102 |  | 100 | 102 | 0.00052685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4082-1_1_4_line_103 |  | 101 | 103 | 0.0039741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4082-1_1_4_line_104 |  | 102 | 104 | 0.0051809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4082-1_1_4_line_105 |  | 104 | 105 | 0.00017589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4082-1_1_4_line_106 |  | 105 | 112 | 0.004825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4082-1_1_4_line_107 |  | 107 | 108 | 0.0026896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4082-1_1_4_line_108 |  | 107 | 109 | 0.0043465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4082-1_1_4_line_109 |  | 108 | 110 | 0.0027515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4082-1_1_4_line_110 |  | 110 | 111 | 0.0022719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4082-1_1_4_line_111 |  | 111 | 112 | 0.0050136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4082-1_1_4_trafo_16 | 0.63 MVA 20/0.4 kV | 113 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2663445.6548 | 1245468.4148 | 2663457.0778 | 1245473.6689
1 | 2663445.6548 | 1245468.4148 | 2663446.6597 | 1245464.8786 | 2663464.7774 | 1245431.7384
2 | 2663445.6548 | 1245468.4148 | 2663444.3384 | 1245474.2269 | 2663438.2504 | 1245487.6004
3 | 2663464.7774 | 1245431.7384 | 2663451.4715 | 1245424.0241
4 | 2663438.2504 | 1245487.6004 | 2663434.6823 | 1245495.4383 | 2663423.9654 | 1245515.9815
5 | 2663440.3486 | 1245416.3666 | 2663441.6936 | 1245417.7708 | 2663447.5298 | 1245420.991 | 2663451.4715 | 1245424.0241
6 | 2663440.3486 | 1245416.3666 | 2663435.8342 | 1245420.9548 | 2663432.5118 | 1245427.4718
7 | 2663440.3486 | 1245416.3666 | 2663437.7642 | 1245414.282 | 2663432.1636 | 1245411.3526
8 | 2663317.5626 | 1245613.8692 | 2663322.5696 | 1245612.6551 | 2663314.8504 | 1245587.6777 | 2663319.108 | 1245585.8886
9 | 2663317.5626 | 1245613.8692 | 2663309.3834 | 1245584.5617 | 2663301.4111 | 1245557.7277
10 | 2663327.8025 | 1245574.7292 | 2663319.108 | 1245585.8886
11 | 2663319.108 | 1245585.8886 | 2663311.1703 | 1245558.745
12 | 2663300.7111 | 1245555.3716 | 2663301.4111 | 1245557.7277
13 | 2663327.8025 | 1245574.7292 | 2663333.1432 | 1245574.108 | 2663349.2916 | 1245581.6411 | 2663352.0073 | 1245582.0371
14 | 2663327.8025 | 1245574.7292 | 2663338.1003 | 1245550.6892 | 2663338.4962 | 1245547.4034
15 | 2663303.9755 | 1245532.7349 | 2663309.7633 | 1245553.9335 | 2663311.1703 | 1245558.745
16 | 2663303.9755 | 1245532.7349 | 2663308.8604 | 1245530.9413 | 2663320.0232 | 1245512.5336
17 | 2663328.3367 | 1245503.4857 | 2663328.3367 | 1245503.4857 | 2663325.0206 | 1245510.4885 | 2663320.1889 | 1245512.2604 | 2663320.0232 | 1245512.5336
18 | 2663289.225 | 1245478.4512 | 2663290.171 | 1245483.9806
19 | 2663280.2875 | 1245496.1014 | 2663277.8931 | 1245490.3719 | 2663280.1191 | 1245481.4339 | 2663279.8828 | 1245479.5078 | 2663284.5813 | 1245478.8909 | 2663289.225 | 1245478.4512
20 | 2663289.225 | 1245478.4512 | 2663287.0777 | 1245464.4409 | 2663285.0138 | 1245446.1507 | 2663285.0185 | 1245432.7702
21 | 2663271.311 | 1245503.2439 | 2663277.3264 | 1245497.4596 | 2663280.2875 | 1245496.1014
22 | 2663285.456 | 1245413.2105 | 2663285.02 | 1245428.5831 | 2663285.0185 | 1245432.7702
23 | 2663275.7435 | 1245441.8822 | 2663275.5736 | 1245423.8124 | 2663275.6074 | 1245419.2318
24 | 2663275.7435 | 1245441.8822 | 2663254.979 | 1245442.9285
25 | 2663275.6074 | 1245419.2318 | 2663279.6327 | 1245420.1087 | 2663279.6309 | 1245413.1928 | 2663285.456 | 1245413.2105
26 | 2663264.6998 | 1245416.8583 | 2663275.6074 | 1245419.2318
27 | 2663275.6074 | 1245419.2318 | 2663275.8758 | 1245408.2382 | 2663277.0614 | 1245394.7565
28 | 2663271.311 | 1245503.2439 | 2663260.6873 | 1245519.3816
29 | 2663285.456 | 1245413.2105 | 2663310.5984 | 1245412.1241
30 | 2663264.6998 | 1245416.8583 | 2663261.904 | 1245405.554 | 2663261.7226 | 1245387.851 | 2663253.8238 | 1245376.8259
31 | 2663264.6998 | 1245416.8583 | 2663247.7957 | 1245417.0894 | 2663235.3621 | 1245418.2354 | 2663235.2415 | 1245418.2674
32 | 2663277.0614 | 1245394.7565 | 2663277.6558 | 1245387.9988 | 2663279.6076 | 1245370.7744 | 2663280.9643 | 1245362.7526
33 | 2663320.1217 | 1245411.7126 | 2663310.5984 | 1245412.1241
34 | 2663089.9022 | 1245544.7299 | 2663112.9748 | 1245521.3851
35 | 2663089.9022 | 1245544.7299 | 2663112.8527 | 1245563.9969
36 | 2663112.9748 | 1245521.3851 | 2663124.9045 | 1245509.3146
37 | 2663130.9238 | 1245579.1677 | 2663112.8527 | 1245563.9969
38 | 2663228.8272 | 1245569.1032 | 2663255.9743 | 1245526.5409
39 | 2663228.8272 | 1245569.1032 | 2663245.9602 | 1245579.3924
40 | 2663228.8272 | 1245569.1032 | 2663207.74 | 1245555.6969
41 | 2663255.9743 | 1245526.5409 | 2663260.6873 | 1245519.3816
42 | 2663255.9743 | 1245526.5409 | 2663248.5789 | 1245522.1591 | 2663234.7388 | 1245513.5278 | 2663232.7513 | 1245511.9291
43 | 2663176.4027 | 1245527.7941 | 2663202.1638 | 1245552.1519 | 2663207.74 | 1245555.6969
44 | 2663130.9238 | 1245579.1677 | 2663162.4016 | 1245607.4897
45 | 2663352.0073 | 1245582.0371 | 2663353.6675 | 1245581.51 | 2663355.2001 | 1245579.4916 | 2663367.8615 | 1245553.3327
46 | 2663338.4962 | 1245547.4034 | 2663338.6889 | 1245545.8032 | 2663344.1854 | 1245534.0517
47 | 2663328.3367 | 1245503.4857 | 2663328.3398 | 1245499.2359
48 | 2663373.8108 | 1245362.9854 | 2663378.2341 | 1245354.9049 | 2663379.2904 | 1245351.5138
49 | 2663379.2904 | 1245351.5138 | 2663366.1061 | 1245338.3198
50 | 2663373.8108 | 1245362.9854 | 2663386.191 | 1245373.3578
51 | 2663361.6295 | 1245380.1116 | 2663373.8108 | 1245362.9854
52 | 2663341.4011 | 1245313.5962 | 2663366.1061 | 1245338.3198
53 | 2663320.1217 | 1245411.7126 | 2663331.9399 | 1245410.8826 | 2663338.3558 | 1245407.9379 | 2663348.0139 | 1245396.3905
54 | 2663320.1217 | 1245411.7126 | 2663320.1184 | 1245429.4731
55 | 2663320.1453 | 1245339.6677 | 2663316.0457 | 1245335.7622
56 | 2663328.2733 | 1245347.4108 | 2663320.1453 | 1245339.6677
57 | 2663328.3398 | 1245499.2359 | 2663328.3401 | 1245498.9271
58 | 2663386.191 | 1245373.3578 | 2663392.9397 | 1245379.0119
59 | 2663361.6295 | 1245380.1116 | 2663348.7251 | 1245395.5402
60 | 2663361.6295 | 1245380.1116 | 2663355.2192 | 1245374.7506 | 2663332.3304 | 1245351.6792 | 2663328.2733 | 1245347.4108
61 | 2663367.8615 | 1245553.3327 | 2663375.5582 | 1245537.4308
62 | 2663148.5823 | 1245485.3576 | 2663136.7106 | 1245497.3693
63 | 2663150.4633 | 1245488.224 | 2663148.5823 | 1245485.3576
64 | 2663136.7106 | 1245497.3693 | 2663124.9045 | 1245509.3146
65 | 2663150.4633 | 1245488.224 | 2663166.6219 | 1245512.8736
66 | 2663150.4633 | 1245488.224 | 2663167.7552 | 1245470.5734
67 | 2663176.4027 | 1245527.7941 | 2663166.6219 | 1245512.8736
68 | 2663171.3858 | 1245466.8675 | 2663167.7552 | 1245470.5734
69 | 2663229.4576 | 1245509.2797 | 2663232.7513 | 1245511.9291
70 | 2663226.4545 | 1245464.2611 | 2663240.8047 | 1245467.583
71 | 2663240.8047 | 1245467.583 | 2663236.4128 | 1245482.6688
72 | 2663229.4576 | 1245509.2797 | 2663230.2041 | 1245507.2863 | 2663231.4239 | 1245503.43 | 2663232.5143 | 1245498.9496 | 2663231.7551 | 1245495.7504 | 2663236.4128 | 1245482.6688
73 | 2663478.2178 | 1245296.2999 | 2663457.704 | 1245295.6022 | 2663453.6246 | 1245296.9484 | 2663423.8215 | 1245331.1867 | 2663420.5891 | 1245328.7761
74 | 2663474.8002 | 1245307.1152 | 2663478.2178 | 1245296.2999
75 | 2663474.8002 | 1245307.1152 | 2663472.4805 | 1245316.2967 | 2663469.6524 | 1245323.5715 | 2663466.6527 | 1245329.9327 | 2663462.7229 | 1245335.6613 | 2663442.6399 | 1245364.6332 | 2663426.8221 | 1245385.3849
76 | 2663421.7578 | 1245392.0288 | 2663426.8221 | 1245385.3849
77 | 2663416.6526 | 1245398.879 | 2663421.7578 | 1245392.0288
78 | 2663421.7578 | 1245392.0288 | 2663421.5001 | 1245394.2276 | 2663419.296 | 1245404.6223 | 2663432.1636 | 1245411.3526
79 | 2663348.7251 | 1245395.5402 | 2663348.0139 | 1245396.3905
80 | 2663416.6526 | 1245398.879 | 2663392.9397 | 1245379.0119
81 | 2663416.6526 | 1245398.879 | 2663410.8913 | 1245409.0373
82 | 2663395.9119 | 1245435.4492 | 2663410.8913 | 1245409.0373
83 | 2663382.1962 | 1245459.6328 | 2663395.9119 | 1245435.4492
84 | 2663428.246 | 1245435.8394 | 2663432.5118 | 1245427.4718
85 | 2663388.7305 | 1245511.4629 | 2663388.8974 | 1245511.1438
86 | 2663380.6958 | 1245526.8164 | 2663388.7305 | 1245511.4629
87 | 2663401.2718 | 1245487.4977 | 2663388.8974 | 1245511.1438
88 | 2663380.6958 | 1245526.8164 | 2663375.5582 | 1245537.4308
89 | 2663406.1097 | 1245478.3178 | 2663402.9554 | 1245484.2804 | 2663401.2718 | 1245487.4977
90 | 2663406.1097 | 1245478.3178 | 2663414.3763 | 1245462.6912
91 | 2663414.9486 | 1245461.6094 | 2663414.3763 | 1245462.6912
92 | 2663382.1962 | 1245459.6328 | 2663380.1691 | 1245463.2069
93 | 2663313.8605 | 1245456.788 | 2663320.1158 | 1245442.6894 | 2663320.1184 | 1245429.4731
94 | 2663372.9768 | 1245476.9801 | 2663376.0953 | 1245471.607 | 2663376.7631 | 1245469.2125 | 2663380.1691 | 1245463.2069
95 | 2663422.7699 | 1245446.581 | 2663426.4443 | 1245439.3736
96 | 2663419.5528 | 1245452.8915 | 2663422.7699 | 1245446.581
97 | 2663428.246 | 1245435.8394 | 2663426.4443 | 1245439.3736
98 | 2663419.5528 | 1245452.8915 | 2663419.3498 | 1245453.2898 | 2663414.9486 | 1245461.6094
99 | 2663344.0678 | 1245470.6517 | 2663346.5856 | 1245466.1254
100 | 2663341.8447 | 1245474.6485 | 2663344.0678 | 1245470.6517
101 | 2663349.1564 | 1245461.5036 | 2663346.5856 | 1245466.1254
102 | 2663341.5886 | 1245475.1089 | 2663341.8447 | 1245474.6485
103 | 2663351.0882 | 1245458.0306 | 2663349.1564 | 1245461.5036
104 | 2663341.5886 | 1245475.1089 | 2663339.0702 | 1245479.6365
105 | 2663338.9847 | 1245479.7902 | 2663339.0702 | 1245479.6365
106 | 2663336.6392 | 1245484.0068 | 2663338.9847 | 1245479.7902
107 | 2663330.4529 | 1245495.1287 | 2663331.7603 | 1245492.7782
108 | 2663328.3401 | 1245498.9271 | 2663328.3401 | 1245498.9271 | 2663330.4529 | 1245495.1287
109 | 2663333.0978 | 1245490.3737 | 2663331.7603 | 1245492.7782
110 | 2663333.0978 | 1245490.3737 | 2663334.2021 | 1245488.3883
111 | 2663336.6392 | 1245484.0068 | 2663334.2021 | 1245488.3883

## bus_geodata
| x | y | coords
0 | 2663457.0778 | 1245473.6689
1 | 2663445.6548 | 1245468.4148
2 | 2663464.7774 | 1245431.7384
3 | 2663438.2504 | 1245487.6004
4 | 2663451.4715 | 1245424.0241
5 | 2663423.9654 | 1245515.9816
6 | 2663440.3486 | 1245416.3666
7 | 2663317.5626 | 1245613.8692
8 | 2663319.108 | 1245585.8886
9 | 2663301.4111 | 1245557.7277
10 | 2663327.8025 | 1245574.7292
11 | 2663311.1703 | 1245558.745
12 | 2663303.9755 | 1245532.7349
13 | 2663320.0232 | 1245512.5336
14 | 2663289.225 | 1245478.4512
15 | 2663290.171 | 1245483.9806
16 | 2663280.2875 | 1245496.1014
17 | 2663285.0185 | 1245432.7702
18 | 2663275.7435 | 1245441.8822
19 | 2663275.6074 | 1245419.2318
20 | 2663254.979 | 1245442.9285
21 | 2663271.311 | 1245503.2439
22 | 2663285.456 | 1245413.2105
23 | 2663264.6998 | 1245416.8583
24 | 2663277.0614 | 1245394.7565
25 | 2663310.5984 | 1245412.1241
26 | 2663089.9022 | 1245544.7299
27 | 2663112.9748 | 1245521.3851
28 | 2663112.8527 | 1245563.9969
29 | 2663228.8272 | 1245569.1032
30 | 2663255.9743 | 1245526.5409
31 | 2663245.9602 | 1245579.3924
32 | 2663207.74 | 1245555.6969
33 | 2663130.9238 | 1245579.1677
34 | 2663162.4016 | 1245607.4897
35 | 2663300.7111 | 1245555.3716
36 | 2663352.0073 | 1245582.0371
37 | 2663338.4962 | 1245547.4034
38 | 2663328.3367 | 1245503.4857
39 | 2663379.2904 | 1245351.5138
40 | 2663373.8108 | 1245362.9854
41 | 2663366.1061 | 1245338.3198
42 | 2663260.6873 | 1245519.3816
43 | 2663253.8238 | 1245376.8259
44 | 2663235.2415 | 1245418.2674
45 | 2663280.9643 | 1245362.7526
46 | 2663320.1217 | 1245411.7126
47 | 2663316.0457 | 1245335.7622
48 | 2663320.1453 | 1245339.6677
49 | 2663341.4011 | 1245313.5962
50 | 2663328.3398 | 1245499.2359
51 | 2663386.191 | 1245373.3578
52 | 2663361.6295 | 1245380.1116
53 | 2663367.8615 | 1245553.3327
54 | 2663344.1854 | 1245534.0517
55 | 2663148.5823 | 1245485.3576
56 | 2663136.7106 | 1245497.3693
57 | 2663150.4633 | 1245488.224
58 | 2663124.9045 | 1245509.3146
59 | 2663166.6219 | 1245512.8736
60 | 2663167.7552 | 1245470.5734
61 | 2663171.3858 | 1245466.8675
62 | 2663232.7513 | 1245511.9291
63 | 2663176.4027 | 1245527.7941
64 | 2663226.4545 | 1245464.2611
65 | 2663240.8047 | 1245467.583
66 | 2663236.4128 | 1245482.6688
67 | 2663229.4576 | 1245509.2797
68 | 2663420.5891 | 1245328.7761
69 | 2663478.2178 | 1245296.2999
70 | 2663474.8002 | 1245307.1152
71 | 2663426.8221 | 1245385.3849
72 | 2663421.7578 | 1245392.0288
73 | 2663328.2733 | 1245347.4108
74 | 2663348.7251 | 1245395.5402
75 | 2663348.0139 | 1245396.3905
76 | 2663392.9397 | 1245379.0119
77 | 2663416.6526 | 1245398.879
78 | 2663432.1636 | 1245411.3526
79 | 2663410.8913 | 1245409.0373
80 | 2663395.9119 | 1245435.4492
81 | 2663432.5118 | 1245427.4718
82 | 2663388.7304 | 1245511.4629
83 | 2663388.8974 | 1245511.1438
84 | 2663380.6958 | 1245526.8164
85 | 2663401.2718 | 1245487.4977
86 | 2663375.5582 | 1245537.4308
87 | 2663406.1097 | 1245478.3178
88 | 2663414.3763 | 1245462.6912
89 | 2663382.1962 | 1245459.6328
90 | 2663320.1184 | 1245429.4731
91 | 2663372.9768 | 1245476.9801
92 | 2663380.1691 | 1245463.2069
93 | 2663422.7699 | 1245446.581
94 | 2663426.4443 | 1245439.3736
95 | 2663419.5528 | 1245452.8915
96 | 2663428.246 | 1245435.8394
97 | 2663414.9486 | 1245461.6094
98 | 2663344.0678 | 1245470.6517
99 | 2663346.5856 | 1245466.1254
100 | 2663341.8447 | 1245474.6485
101 | 2663349.1564 | 1245461.5036
102 | 2663341.5886 | 1245475.1089
103 | 2663351.0882 | 1245458.0306
104 | 2663339.0702 | 1245479.6365
105 | 2663338.9847 | 1245479.7902
106 | 2663313.8605 | 1245456.788
107 | 2663330.4529 | 1245495.1287
108 | 2663331.7603 | 1245492.7782
109 | 2663328.3401 | 1245498.9271
110 | 2663333.0978 | 1245490.3737
111 | 2663334.2021 | 1245488.3883
112 | 2663336.6392 | 1245484.0068
113 | 2663284.5813 | 1245478.8909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1