## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4082-22_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4082-22_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4082-22_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4082-22_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4082-22_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4082-22_0_2_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_4082-22_0_2_node_167 | 0.4 | n |  | TRUE
7 | bus_LV_4082-22_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4082-22_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4082-22_0_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_4082-22_0_2_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_4082-22_0_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_4082-22_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4082-22_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4082-22_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4082-22_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4082-22_0_2_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4082-22_0_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_4082-22_0_2_node_140 | 0.4 | n |  | TRUE
19 | bus_LV_4082-22_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4082-22_0_2_node_137 | 0.4 | n |  | TRUE
21 | bus_LV_4082-22_0_2_node_166 | 0.4 | n |  | TRUE
22 | bus_LV_4082-22_0_2_node_141 | 0.4 | n |  | TRUE
23 | bus_LV_4082-22_0_2_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_4082-22_0_2_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_4082-22_0_2_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_4082-22_0_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_4082-22_0_2_node_57 | 0.4 | n |  | TRUE
28 | bus_LV_4082-22_0_2_node_176 | 0.4 | n |  | TRUE
29 | bus_LV_4082-22_0_2_node_58 | 0.4 | n |  | TRUE
30 | bus_LV_4082-22_0_2_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_4082-22_0_2_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_4082-22_0_2_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_4082-22_0_2_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_4082-22_0_2_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_4082-22_0_2_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_4082-22_0_2_node_131 | 0.4 | n |  | TRUE
37 | bus_LV_4082-22_0_2_node_128 | 0.4 | n |  | TRUE
38 | bus_LV_4082-22_0_2_node_117 | 0.4 | n |  | TRUE
39 | bus_LV_4082-22_0_2_node_118 | 0.4 | n |  | TRUE
40 | bus_LV_4082-22_0_2_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_4082-22_0_2_node_120 | 0.4 | n |  | TRUE
42 | bus_LV_4082-22_0_2_node_121 | 0.4 | n |  | TRUE
43 | bus_LV_4082-22_0_2_node_127 | 0.4 | n |  | TRUE
44 | bus_LV_4082-22_0_2_node_169 | 0.4 | n |  | TRUE
45 | bus_LV_4082-22_0_2_node_125 | 0.4 | n |  | TRUE
46 | bus_LV_4082-22_0_2_node_129 | 0.4 | n |  | TRUE
47 | bus_LV_4082-22_0_2_node_225 | 0.4 | n |  | TRUE
48 | bus_LV_4082-22_0_2_node_130 | 0.4 | n |  | TRUE
49 | bus_LV_4082-22_0_2_node_123 | 0.4 | n |  | TRUE
50 | bus_LV_4082-22_0_2_node_122 | 0.4 | n |  | TRUE
51 | bus_LV_4082-22_0_2_node_124 | 0.4 | n |  | TRUE
52 | bus_LV_4082-22_0_2_node_126 | 0.4 | n |  | TRUE
53 | bus_LV_4082-22_0_2_node_132 | 0.4 | n |  | TRUE
54 | bus_LV_4082-22_0_2_node_156 | 0.4 | n |  | TRUE
55 | bus_LV_4082-22_0_2_node_151 | 0.4 | n |  | TRUE
56 | bus_LV_4082-22_0_2_node_133 | 0.4 | n |  | TRUE
57 | bus_LV_4082-22_0_2_node_134 | 0.4 | n |  | TRUE
58 | bus_LV_4082-22_0_2_node_164 | 0.4 | n |  | TRUE
59 | bus_LV_4082-22_0_2_node_165 | 0.4 | n |  | TRUE
60 | bus_LV_4082-22_0_2_node_135 | 0.4 | n |  | TRUE
61 | bus_LV_4082-22_0_2_node_136 | 0.4 | n |  | TRUE
62 | bus_LV_4082-22_0_2_node_139 | 0.4 | n |  | TRUE
63 | bus_LV_4082-22_0_2_node_138 | 0.4 | n |  | TRUE
64 | bus_LV_4082-22_0_2_node_142 | 0.4 | n |  | TRUE
65 | bus_LV_4082-22_0_2_node_143 | 0.4 | n |  | TRUE
66 | bus_LV_4082-22_0_2_node_161 | 0.4 | n |  | TRUE
67 | bus_LV_4082-22_0_2_node_144 | 0.4 | n |  | TRUE
68 | bus_LV_4082-22_0_2_node_160 | 0.4 | n |  | TRUE
69 | bus_LV_4082-22_0_2_node_145 | 0.4 | n |  | TRUE
70 | bus_LV_4082-22_0_2_node_147 | 0.4 | n |  | TRUE
71 | bus_LV_4082-22_0_2_node_159 | 0.4 | n |  | TRUE
72 | bus_LV_4082-22_0_2_node_146 | 0.4 | n |  | TRUE
73 | bus_LV_4082-22_0_2_node_163 | 0.4 | n |  | TRUE
74 | bus_LV_4082-22_0_2_node_206 | 0.4 | n |  | TRUE
75 | bus_LV_4082-22_0_2_node_155 | 0.4 | n |  | TRUE
76 | bus_LV_4082-22_0_2_node_174 | 0.4 | n |  | TRUE
77 | bus_LV_4082-22_0_2_node_162 | 0.4 | n |  | TRUE
78 | bus_LV_4082-22_0_2_node_193 | 0.4 | n |  | TRUE
79 | bus_LV_4082-22_0_2_node_148 | 0.4 | n |  | TRUE
80 | bus_LV_4082-22_0_2_node_149 | 0.4 | n |  | TRUE
81 | bus_LV_4082-22_0_2_node_150 | 0.4 | n |  | TRUE
82 | bus_LV_4082-22_0_2_node_157 | 0.4 | n |  | TRUE
83 | bus_LV_4082-22_0_2_node_175 | 0.4 | n |  | TRUE
84 | bus_LV_4082-22_0_2_node_152 | 0.4 | n |  | TRUE
85 | bus_LV_4082-22_0_2_node_153 | 0.4 | n |  | TRUE
86 | bus_LV_4082-22_0_2_node_173 | 0.4 | n |  | TRUE
87 | bus_LV_4082-22_0_2_node_172 | 0.4 | n |  | TRUE
88 | bus_LV_4082-22_0_2_node_171 | 0.4 | n |  | TRUE
89 | bus_LV_4082-22_0_2_node_170 | 0.4 | n |  | TRUE
90 | bus_LV_4082-22_0_2_node_194 | 0.4 | n |  | TRUE
91 | bus_LV_4082-22_0_2_node_195 | 0.4 | n |  | TRUE
92 | bus_LV_4082-22_0_2_node_179 | 0.4 | n |  | TRUE
93 | bus_LV_4082-22_0_2_node_180 | 0.4 | n |  | TRUE
94 | bus_LV_4082-22_0_2_node_181 | 0.4 | n |  | TRUE
95 | bus_LV_4082-22_0_2_node_182 | 0.4 | n |  | TRUE
96 | bus_LV_4082-22_0_2_node_187 | 0.4 | n |  | TRUE
97 | bus_LV_4082-22_0_2_node_188 | 0.4 | n |  | TRUE
98 | bus_LV_4082-22_0_2_node_190 | 0.4 | n |  | TRUE
99 | bus_LV_4082-22_0_2_node_189 | 0.4 | n |  | TRUE
100 | bus_LV_4082-22_0_2_node_191 | 0.4 | n |  | TRUE
101 | bus_LV_4082-22_0_2_node_192 | 0.4 | n |  | TRUE
102 | bus_LV_4082-22_0_2_node_199 | 0.4 | n |  | TRUE
103 | bus_LV_4082-22_0_2_node_205 | 0.4 | n |  | TRUE
104 | bus_LV_4082-22_0_2_node_200 | 0.4 | n |  | TRUE
105 | bus_LV_4082-22_0_2_node_204 | 0.4 | n |  | TRUE
106 | bus_LV_4082-22_0_2_node_196 | 0.4 | n |  | TRUE
107 | bus_LV_4082-22_0_2_node_197 | 0.4 | n |  | TRUE
108 | bus_LV_4082-22_0_2_node_198 | 0.4 | n |  | TRUE
109 | bus_LV_4082-22_0_2_node_201 | 0.4 | n |  | TRUE
110 | bus_LV_4082-22_0_2_node_202 | 0.4 | n |  | TRUE
111 | bus_LV_4082-22_0_2_node_203 | 0.4 | n |  | TRUE
112 | bus_MV_428_1_node_104 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4082-22_0_2_load_0 | 0 | 0.0013306 | 0.00033347 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4082-22_0_2_load_1 | 1 | 0.0030202 | 0.00075693 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4082-22_0_2_load_3 | 2 | 0.001692 | 0.00042406 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4082-22_0_2_load_167 | 6 | 0.0018471 | 0.00046293 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4082-22_0_2_load_6 | 7 | 0.0015768 | 0.00039518 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4082-22_0_2_load_7 | 8 | 0.0016712 | 0.00041885 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4082-22_0_2_load_18 | 9 | 0.0012829 | 0.00032153 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4082-22_0_2_load_14 | 10 | 0.0012934 | 0.00032416 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4082-22_0_2_load_13 | 11 | 0.00076461 | 0.00019163 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4082-22_0_2_load_8 | 13 | 0.00075125 | 0.00018828 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4082-22_0_2_load_9 | 14 | 0.0011071 | 0.00027748 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4082-22_0_2_load_11 | 15 | 0.0013177 | 0.00033024 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4082-22_0_2_load_12 | 16 | 0.0051613 | 0.0012935 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4082-22_0_2_load_17 | 17 | 0.0016908 | 0.00042375 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4082-22_0_2_load_140 | 18 | 0.005166 | 0.0012947 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4082-22_0_2_load_15 | 19 | 0.0022181 | 0.0005559 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4082-22_0_2_load_166 | 21 | 0.00488 | 0.001223 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4082-22_0_2_load_141 | 22 | 0.0019471 | 0.000488 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4082-22_0_2_load_34 | 23 | 0.0018341 | 0.00045966 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4082-22_0_2_load_39 | 26 | 0.0026437 | 0.00066258 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4082-22_0_2_load_57 | 27 | 0.0054052 | 0.0013547 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4082-22_0_2_load_176 | 28 | 0.0023882 | 0.00059855 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4082-22_0_2_load_58 | 29 | 0.0014384 | 0.0003605 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4082-22_0_2_load_40 | 30 | 0.0016517 | 0.00041396 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4082-22_0_2_load_41 | 31 | 0.0022496 | 0.0005638 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4082-22_0_2_load_44 | 33 | 0.00188 | 0.00047117 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4082-22_0_2_load_59 | 35 | 0.0015175 | 0.00038032 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4082-22_0_2_load_131 | 36 | 0.0010376 | 0.00026006 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4082-22_0_2_load_128 | 37 | 0.0018949 | 0.00047492 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4082-22_0_2_load_117 | 38 | 0.0031081 | 0.00077896 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4082-22_0_2_load_118 | 39 | 0.0031121 | 0.00077996 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4082-22_0_2_load_119 | 40 | 0.0010677 | 0.00026759 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4082-22_0_2_load_120 | 41 | 0.0021574 | 0.00054071 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4082-22_0_2_load_169 | 44 | 0.0012969 | 0.00032502 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4082-22_0_2_load_129 | 46 | 0.0024692 | 0.00061884 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4082-22_0_2_load_225 | 47 | 0.0015751 | 0.00039476 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4082-22_0_2_load_130 | 48 | 0.0016489 | 0.00041326 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4082-22_0_2_load_123 | 49 | 0.0015463 | 0.00038755 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4082-22_0_2_load_122 | 50 | 0.0030671 | 0.0007687 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4082-22_0_2_load_124 | 51 | 0.0014273 | 0.00035771 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4082-22_0_2_load_126 | 52 | 0.0019789 | 0.00049595 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4082-22_0_2_load_156 | 54 | 0.0012518 | 0.00031374 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4082-22_0_2_load_133 | 56 | 0.0024561 | 0.00061557 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4082-22_0_2_load_134 | 57 | 0.0013974 | 0.00035021 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4082-22_0_2_load_164 | 58 | 0.0016927 | 0.00042423 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4082-22_0_2_load_165 | 59 | 0.0019581 | 0.00049074 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4082-22_0_2_load_135 | 60 | 0.0085833 | 0.0021512 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4082-22_0_2_load_136 | 61 | 0.0087597 | 0.0021954 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4082-22_0_2_load_139 | 62 | 0.0050479 | 0.0012651 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4082-22_0_2_load_142 | 64 | 0.0022768 | 0.00057062 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4082-22_0_2_load_143 | 65 | 0.0028533 | 0.0007151 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4082-22_0_2_load_161 | 66 | 0.0015035 | 0.00037682 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4082-22_0_2_load_160 | 68 | 0.0022775 | 0.00057081 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4082-22_0_2_load_147 | 70 | 0.0048002 | 0.001203 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4082-22_0_2_load_159 | 71 | 0.0032532 | 0.00081533 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4082-22_0_2_load_146 | 72 | 0.0036781 | 0.00092181 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4082-22_0_2_load_206 | 74 | 0.0050737 | 0.0012716 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4082-22_0_2_load_155 | 75 | 0.0019339 | 0.00048468 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4082-22_0_2_load_174 | 76 | 0.001738 | 0.00043558 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4082-22_0_2_load_162 | 77 | 0.0024086 | 0.00060365 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4082-22_0_2_load_148 | 79 | 0.00076186 | 0.00019094 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4082-22_0_2_load_149 | 80 | 0.0017307 | 0.00043375 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4082-22_0_2_load_150 | 81 | 0.0018527 | 0.00046434 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4082-22_0_2_load_157 | 82 | 0.0010267 | 0.00025733 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4082-22_0_2_load_175 | 83 | 0.0013117 | 0.00032874 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4082-22_0_2_load_152 | 84 | 0.0022391 | 0.00056117 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4082-22_0_2_load_153 | 85 | 0.0028548 | 0.00071547 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4082-22_0_2_load_173 | 86 | 0.0034087 | 0.0008543 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4082-22_0_2_load_172 | 87 | 0.0043511 | 0.0010905 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4082-22_0_2_load_171 | 88 | 0.0016018 | 0.00040144 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4082-22_0_2_load_170 | 89 | 0.0028068 | 0.00070346 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4082-22_0_2_load_194 | 90 | 0.0018705 | 0.00046879 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4082-22_0_2_load_195 | 91 | 0.00080492 | 0.00020173 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4082-22_0_2_load_179 | 92 | 0.0024902 | 0.0006241 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4082-22_0_2_load_180 | 93 | 0.0013523 | 0.00033891 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4082-22_0_2_load_181 | 94 | 0.0020325 | 0.00050939 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4082-22_0_2_load_182 | 95 | 0.0050522 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4082-22_0_2_load_187 | 96 | 0.0016704 | 0.00041865 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4082-22_0_2_load_188 | 97 | 0.00073637 | 0.00018455 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4082-22_0_2_load_190 | 98 | 0.0020726 | 0.00051945 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4082-22_0_2_load_189 | 99 | 0.0025246 | 0.00063273 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4082-22_0_2_load_192 | 101 | 0.0020274 | 0.00050812 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4082-22_0_2_load_199 | 102 | 0.0018107 | 0.00045382 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4082-22_0_2_load_205 | 103 | 0.0029197 | 0.00073176 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4082-22_0_2_load_200 | 104 | 0.0017771 | 0.00044538 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4082-22_0_2_load_204 | 105 | 0.0054771 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4082-22_0_2_load_196 | 106 | 0.0021973 | 0.00055069 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4082-22_0_2_load_201 | 109 | 0.0055719 | 0.0013964 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4082-22_0_2_load_202 | 110 | 0.0025408 | 0.00063677 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4082-22_0_2_load_203 | 111 | 0.0078774 | 0.0019743 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4082-22_0_2_line_0 |  | 0 | 1 | 0.012108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4082-22_0_2_line_1 |  | 1 | 2 | 0.0049074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4082-22_0_2_line_2 |  | 2 | 3 | 0.011856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4082-22_0_2_line_3 |  | 3 | 7 | 0.015293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4082-22_0_2_line_4 |  | 3 | 8 | 0.0071853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4082-22_0_2_line_5 |  | 4 | 5 | 0.001876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4082-22_0_2_line_6 |  | 4 | 6 | 0.0089235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4082-22_0_2_line_7 |  | 5 | 9 | 0.02858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4082-22_0_2_line_8 |  | 5 | 10 | 0.013135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_4082-22_0_2_line_9 |  | 7 | 11 | 0.0091402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4082-22_0_2_line_10 |  | 9 | 21 | 0.012998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4082-22_0_2_line_11 |  | 10 | 19 | 0.0011145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4082-22_0_2_line_12 |  | 11 | 12 | 0.0092193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4082-22_0_2_line_13 |  | 12 | 16 | 0.015724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4082-22_0_2_line_14 |  | 12 | 13 | 0.01149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4082-22_0_2_line_15 |  | 13 | 14 | 0.00034125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4082-22_0_2_line_16 |  | 14 | 15 | 0.019312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4082-22_0_2_line_17 |  | 15 | 17 | 0.00212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4082-22_0_2_line_18 |  | 16 | 18 | 0.028645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4082-22_0_2_line_19 |  | 17 | 19 | 0.017611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4082-22_0_2_line_20 |  | 18 | 20 | 0.018839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4082-22_0_2_line_21 |  | 20 | 62 | 0.017506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4082-22_0_2_line_22 |  | 20 | 60 | 0.027578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4082-22_0_2_line_23 |  | 21 | 22 | 0.011037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4082-22_0_2_line_24 |  | 22 | 63 | 0.017614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4082-22_0_2_line_25 |  | 23 | 24 | 0.015796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4082-22_0_2_line_26 |  | 24 | 25 | 0.004078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4082-22_0_2_line_27 |  | 24 | 26 | 0.017042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4082-22_0_2_line_28 |  | 25 | 27 | 0.015951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4082-22_0_2_line_29 |  | 26 | 28 | 0.0064998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4082-22_0_2_line_30 |  | 27 | 29 | 0.0035027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4082-22_0_2_line_31 |  | 29 | 35 | 0.02344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4082-22_0_2_line_32 |  | 30 | 31 | 0.023067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4082-22_0_2_line_33 |  | 30 | 32 | 0.019132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4082-22_0_2_line_34 |  | 32 | 33 | 0.015021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4082-22_0_2_line_35 |  | 32 | 34 | 0.019158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4082-22_0_2_line_36 |  | 33 | 35 | 0.02009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4082-22_0_2_line_37 |  | 34 | 36 | 0.013137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4082-22_0_2_line_38 |  | 36 | 37 | 0.0065146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4082-22_0_2_line_39 |  | 37 | 43 | 0.015393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4082-22_0_2_line_40 |  | 38 | 39 | 0.012494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4082-22_0_2_line_41 |  | 38 | 40 | 0.012878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4082-22_0_2_line_42 |  | 39 | 41 | 0.0084499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4082-22_0_2_line_43 |  | 40 | 42 | 0.013736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4082-22_0_2_line_44 |  | 41 | 43 | 0.028087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4082-22_0_2_line_45 |  | 42 | 44 | 0.0086165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4082-22_0_2_line_46 |  | 42 | 45 | 0.011341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4082-22_0_2_line_47 |  | 43 | 46 | 0.017963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4082-22_0_2_line_48 |  | 44 | 47 | 0.007862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4082-22_0_2_line_49 |  | 45 | 48 | 0.014751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4082-22_0_2_line_50 |  | 45 | 49 | 0.0039467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4082-22_0_2_line_51 |  | 46 | 54 | 0.0018683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4082-22_0_2_line_52 |  | 48 | 53 | 0.0066794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4082-22_0_2_line_53 |  | 49 | 50 | 0.031457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4082-22_0_2_line_54 |  | 50 | 51 | 0.0039221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4082-22_0_2_line_55 |  | 51 | 52 | 0.036092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4082-22_0_2_line_56 |  | 53 | 56 | 0.016344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4082-22_0_2_line_57 |  | 53 | 57 | 0.05493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4082-22_0_2_line_58 |  | 54 | 55 | 0.023691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4082-22_0_2_line_59 |  | 55 | 82 | 0.009315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4082-22_0_2_line_60 |  | 55 | 80 | 0.011738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4082-22_0_2_line_61 |  | 56 | 58 | 0.0071578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4082-22_0_2_line_62 |  | 58 | 59 | 0.013323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4082-22_0_2_line_63 |  | 60 | 61 | 0.0033878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4082-22_0_2_line_64 |  | 62 | 65 | 0.024064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4082-22_0_2_line_65 |  | 63 | 64 | 0.0070158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_4082-22_0_2_line_66 |  | 64 | 66 | 0.020137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_4082-22_0_2_line_67 |  | 65 | 67 | 0.016524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4082-22_0_2_line_68 |  | 66 | 68 | 0.015255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_4082-22_0_2_line_69 |  | 67 | 69 | 0.007063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4082-22_0_2_line_70 |  | 67 | 70 | 0.026664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4082-22_0_2_line_71 |  | 68 | 77 | 0.0099312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_4082-22_0_2_line_72 |  | 69 | 71 | 0.019993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4082-22_0_2_line_73 |  | 70 | 74 | 0.030611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4082-22_0_2_line_74 |  | 71 | 75 | 0.026084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4082-22_0_2_line_75 |  | 72 | 73 | 0.012585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_4082-22_0_2_line_76 |  | 73 | 76 | 0.022531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4082-22_0_2_line_77 |  | 73 | 77 | 0.0099977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_4082-22_0_2_line_78 |  | 74 | 78 | 0.015987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4082-22_0_2_line_79 |  | 75 | 85 | 0.036273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4082-22_0_2_line_80 |  | 76 | 89 | 0.030006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4082-22_0_2_line_81 |  | 76 | 83 | 0.031019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4082-22_0_2_line_82 |  | 78 | 103 | 0.035356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4082-22_0_2_line_83 |  | 78 | 100 | 0.008362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4082-22_0_2_line_84 |  | 79 | 80 | 0.0066945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4082-22_0_2_line_85 |  | 79 | 81 | 0.0076596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4082-22_0_2_line_86 |  | 82 | 83 | 0.011301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4082-22_0_2_line_87 |  | 84 | 85 | 0.0067929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4082-22_0_2_line_88 |  | 86 | 87 | 0.011871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4082-22_0_2_line_89 |  | 87 | 88 | 0.001926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4082-22_0_2_line_90 |  | 88 | 89 | 0.019727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4082-22_0_2_line_91 |  | 90 | 91 | 0.0012006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4082-22_0_2_line_92 |  | 91 | 106 | 0.012617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4082-22_0_2_line_93 |  | 92 | 93 | 0.0045764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4082-22_0_2_line_94 |  | 92 | 94 | 0.0055732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4082-22_0_2_line_95 |  | 93 | 95 | 0.020191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4082-22_0_2_line_96 |  | 95 | 96 | 0.005564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4082-22_0_2_line_97 |  | 96 | 97 | 0.0012459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4082-22_0_2_line_98 |  | 97 | 98 | 0.016178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4082-22_0_2_line_99 |  | 98 | 99 | 0.0046904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4082-22_0_2_line_100 |  | 99 | 100 | 0.0097514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4082-22_0_2_line_101 |  | 100 | 101 | 0.025434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4082-22_0_2_line_102 |  | 101 | 102 | 0.0033104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4082-22_0_2_line_103 |  | 102 | 104 | 0.0031389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4082-22_0_2_line_104 |  | 103 | 105 | 0.00075465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4082-22_0_2_line_105 |  | 104 | 108 | 0.034088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4082-22_0_2_line_106 |  | 105 | 110 | 0.025468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4082-22_0_2_line_107 |  | 106 | 107 | 0.024497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4082-22_0_2_line_108 |  | 107 | 108 | 0.017849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4082-22_0_2_line_109 |  | 109 | 110 | 0.0010586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4082-22_0_2_line_110 |  | 109 | 111 | 0.018909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4082-22_0_2_trafo_146 | 0.63 MVA 20/0.4 kV | 112 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2663473.7005 | 1245481.3146 | 2663484.7011 | 1245486.3744
1 | 2663489.1595 | 1245488.4251 | 2663484.7011 | 1245486.3744
2 | 2663499.9304 | 1245493.3792 | 2663489.1595 | 1245488.4251
3 | 2663499.9304 | 1245493.3792 | 2663504.4688 | 1245487.2569 | 2663508.9863 | 1245481.0564
4 | 2663499.9304 | 1245493.3792 | 2663495.4781 | 1245499.0189
5 | 2663464.7774 | 1245431.7384 | 2663465.6339 | 1245430.0686
6 | 2663464.7774 | 1245431.7384 | 2663457.0575 | 1245427.2627
7 | 2663465.6339 | 1245430.0686 | 2663480.9361 | 1245405.9308
8 | 2663465.6339 | 1245430.0686 | 2663468.6798 | 1245432.0915 | 2663473.6415 | 1245435.1244 | 2663476.6799 | 1245437.1713
9 | 2663508.9863 | 1245481.0564 | 2663514.3686 | 1245473.669
10 | 2663480.9361 | 1245405.9308 | 2663484.7473 | 1245399.919 | 2663489.7769 | 1245402.9638 | 2663489.7769 | 1245402.9638
11 | 2663476.6799 | 1245437.1713 | 2663477.6042 | 1245437.794
12 | 2663519.7975 | 1245466.2176 | 2663514.3686 | 1245473.669
13 | 2663519.7975 | 1245466.2176 | 2663529.0758 | 1245453.5228
14 | 2663519.7975 | 1245466.2176 | 2663510.268 | 1245459.798
15 | 2663509.985 | 1245459.6073 | 2663510.268 | 1245459.798
16 | 2663493.9684 | 1245448.8177 | 2663509.985 | 1245459.6073
17 | 2663493.9684 | 1245448.8177 | 2663492.2102 | 1245447.6333
18 | 2663529.0758 | 1245453.5228 | 2663535.7467 | 1245444.3955 | 2663545.1733 | 1245429.8419
19 | 2663492.2102 | 1245447.6333 | 2663477.6042 | 1245437.794
20 | 2663555.7219 | 1245414.233 | 2663545.5882 | 1245429.2015 | 2663545.1733 | 1245429.8419
21 | 2663555.7219 | 1245414.233 | 2663566.3674 | 1245400.3357
22 | 2663555.7219 | 1245414.233 | 2663532.9381 | 1245398.6942
23 | 2663496.2871 | 1245394.0518 | 2663489.7769 | 1245402.9638
24 | 2663506.6771 | 1245379.8286 | 2663496.2871 | 1245394.0518
25 | 2663590.6095 | 1245211.6782 | 2663600.8391 | 1245217.4029 | 2663604.6284 | 1245218.8974
26 | 2663587.0419 | 1245209.683 | 2663590.6095 | 1245211.6782
27 | 2663590.6095 | 1245211.6782 | 2663580.1657 | 1245225.1447
28 | 2663587.0419 | 1245209.683 | 2663573.1831 | 1245202.0626 | 2663573.059 | 1245202.0085
29 | 2663576.1825 | 1245230.2809 | 2663580.1657 | 1245225.1447
30 | 2663573.059 | 1245202.0085 | 2663569.8481 | 1245200.6089
31 | 2663548.0784 | 1245191.9633 | 2663557.6755 | 1245195.303 | 2663569.8481 | 1245200.6089
32 | 2663526.7236 | 1245165.4188 | 2663533.4309 | 1245157.7285 | 2663543.0419 | 1245149.1796
33 | 2663514.9178 | 1245180.4238 | 2663518.9422 | 1245174.3404 | 2663526.7236 | 1245165.4188
34 | 2663514.9178 | 1245180.4238 | 2663529.1041 | 1245185.3605
35 | 2663509.8981 | 1245193.3679 | 2663509.3599 | 1245186.4685 | 2663509.8663 | 1245179.4024 | 2663514.9178 | 1245180.4238
36 | 2663529.1041 | 1245185.3605 | 2663548.0784 | 1245191.9633
37 | 2663509.8981 | 1245193.3679 | 2663511.0354 | 1245206.456
38 | 2663511.4565 | 1245212.9538 | 2663511.4116 | 1245210.785 | 2663511.0354 | 1245206.456
39 | 2663511.3218 | 1245228.3406 | 2663511.6058 | 1245220.1602 | 2663511.4565 | 1245212.9538
40 | 2663488.7308 | 1245271.8573 | 2663494.4874 | 1245260.7684
41 | 2663488.7308 | 1245271.8573 | 2663487.7065 | 1245273.8303 | 2663483.5615 | 1245283.6458
42 | 2663498.3807 | 1245253.2688 | 2663494.4874 | 1245260.7684
43 | 2663478.2178 | 1245296.2999 | 2663483.5615 | 1245283.6458
44 | 2663511.3218 | 1245228.3406 | 2663498.3807 | 1245253.2688
45 | 2663478.2178 | 1245296.2999 | 2663469.6063 | 1245296.007
46 | 2663474.8002 | 1245307.1152 | 2663478.2178 | 1245296.2999
47 | 2663511.3218 | 1245228.3406 | 2663523.956 | 1245241.1091
48 | 2663461.7488 | 1245295.7398 | 2663469.6063 | 1245296.007
49 | 2663474.8002 | 1245307.1152 | 2663487.795 | 1245314.0964
50 | 2663474.8002 | 1245307.1152 | 2663473.8335 | 1245310.9417
51 | 2663523.956 | 1245241.1091 | 2663525.2701 | 1245242.4372
52 | 2663493.679 | 1245317.2575 | 2663487.795 | 1245314.0964
53 | 2663460.3598 | 1245339.0704 | 2663462.7229 | 1245335.6613 | 2663466.6527 | 1245329.9327 | 2663469.6524 | 1245323.5715 | 2663472.4805 | 1245316.2967 | 2663473.8335 | 1245310.9417
54 | 2663460.3598 | 1245339.0704 | 2663458.1253 | 1245342.2938
55 | 2663437.2386 | 1245371.7193 | 2663442.6399 | 1245364.6332 | 2663458.1253 | 1245342.2938
56 | 2663493.679 | 1245317.2575 | 2663502.0806 | 1245305.9952 | 2663503.1392 | 1245303.9615
57 | 2663475.5816 | 1245361.172 | 2663497.4595 | 1245326.1819 | 2663500.7051 | 1245322.2584 | 2663493.679 | 1245317.2575
58 | 2663540.1314 | 1245260.8269 | 2663535.5249 | 1245254.9513 | 2663529.7249 | 1245246.9393 | 2663525.2701 | 1245242.4372
59 | 2663540.1314 | 1245260.8269 | 2663540.2727 | 1245270.1408
60 | 2663540.1314 | 1245260.8269 | 2663547.6714 | 1245251.8304
61 | 2663506.4439 | 1245297.6122 | 2663503.1392 | 1245303.9615
62 | 2663512.5954 | 1245285.7938 | 2663506.4439 | 1245297.6122
63 | 2663532.9381 | 1245398.6942 | 2663530.1393 | 1245396.7854
64 | 2663566.3674 | 1245400.3357 | 2663573.0398 | 1245391.6252 | 2663580.5295 | 1245380.8874
65 | 2663506.6771 | 1245379.8286 | 2663510.7832 | 1245374.14
66 | 2663510.7832 | 1245374.14 | 2663522.5687 | 1245357.8124
67 | 2663589.983 | 1245367.3344 | 2663580.5295 | 1245380.8874
68 | 2663522.5687 | 1245357.8124 | 2663531.4968 | 1245345.4434
69 | 2663593.5917 | 1245361.2578 | 2663589.983 | 1245367.3344
70 | 2663589.983 | 1245367.3344 | 2663594.8219 | 1245368.4315 | 2663606.2058 | 1245380.6285 | 2663609.6964 | 1245384.233
71 | 2663537.3093 | 1245337.3908 | 2663531.4968 | 1245345.4434
72 | 2663593.5917 | 1245361.2578 | 2663605.3262 | 1245345.0706
73 | 2663609.6964 | 1245384.233 | 2663614.3661 | 1245389.0552 | 2663618.9152 | 1245393.9295 | 2663630.5611 | 1245406.6291
74 | 2663605.3262 | 1245345.0706 | 2663620.6358 | 1245323.9517
75 | 2663543.1606 | 1245329.2843 | 2663552.9273 | 1245337.2212
76 | 2663543.1606 | 1245329.2843 | 2663551.5633 | 1245317.2216 | 2663551.5335 | 1245314.3637 | 2663548.7547 | 1245310.2401
77 | 2663543.1606 | 1245329.2843 | 2663537.3093 | 1245337.3908
78 | 2663641.7617 | 1245418.0022 | 2663638.2129 | 1245414.9732 | 2663630.5611 | 1245406.6291
79 | 2663641.9251 | 1245294.584 | 2663620.6358 | 1245323.9517
80 | 2663548.7547 | 1245310.2401 | 2663578.1549 | 1245304.2419
81 | 2663548.7547 | 1245310.2401 | 2663543.3449 | 1245302.2121 | 2663540.6672 | 1245296.1459 | 2663540.4441 | 1245281.4405
82 | 2663641.7617 | 1245418.0022 | 2663620.2748 | 1245446.0801 | 2663620.2748 | 1245446.0801
83 | 2663641.7617 | 1245418.0022 | 2663646.295 | 1245410.9682
84 | 2663551.9716 | 1245246.6995 | 2663551.9716 | 1245246.6995 | 2663547.6714 | 1245251.8304
85 | 2663551.9716 | 1245246.6995 | 2663558.0195 | 1245243.5733 | 2663558.7912 | 1245243.2135
86 | 2663540.2727 | 1245270.1408 | 2663540.4441 | 1245281.4405
87 | 2663641.9251 | 1245294.584 | 2663645.9121 | 1245289.0842
88 | 2663597.4214 | 1245276.8072 | 2663590.5989 | 1245286.5222
89 | 2663590.5989 | 1245286.5222 | 2663589.492 | 1245288.0983
90 | 2663578.1549 | 1245304.2419 | 2663589.492 | 1245288.0983
91 | 2663720.6051 | 1245407.6052 | 2663719.7233 | 1245408.42
92 | 2663710.5711 | 1245417.0564 | 2663710.6586 | 1245416.7963 | 2663719.7233 | 1245408.42
93 | 2663687.0812 | 1245364.0602 | 2663683.9501 | 1245367.3979
94 | 2663687.0812 | 1245364.0602 | 2663690.8942 | 1245359.9956
95 | 2663683.9501 | 1245367.3979 | 2663670.1358 | 1245382.1237
96 | 2663670.1358 | 1245382.1237 | 2663667.748 | 1245384.6691 | 2663666.4371 | 1245386.2761
97 | 2663666.4371 | 1245386.2761 | 2663665.6496 | 1245387.2415
98 | 2663655.4236 | 1245399.7775 | 2663665.6496 | 1245387.2415
99 | 2663652.4589 | 1245403.412 | 2663655.4236 | 1245399.7775
100 | 2663646.295 | 1245410.9682 | 2663652.4589 | 1245403.412
101 | 2663646.295 | 1245410.9682 | 2663663.8215 | 1245429.3997
102 | 2663663.8215 | 1245429.3997 | 2663666.1027 | 1245431.7987
103 | 2663668.2657 | 1245434.0734 | 2663666.1027 | 1245431.7987
104 | 2663619.856 | 1245446.7079 | 2663620.2748 | 1245446.0801
105 | 2663694.2867 | 1245456.0921 | 2663668.4172 | 1245434.2327 | 2663668.2657 | 1245434.0734
106 | 2663605.7226 | 1245467.8947 | 2663619.856 | 1245446.7079
107 | 2663700.9548 | 1245439.53 | 2663707.4352 | 1245426.3794 | 2663710.5711 | 1245417.0564
108 | 2663700.9548 | 1245439.53 | 2663694.2867 | 1245456.0921
109 | 2663605.1352 | 1245468.7753 | 2663605.7226 | 1245467.8947
110 | 2663594.7174 | 1245484.5549 | 2663600.678 | 1245475.457 | 2663605.1352 | 1245468.7753

## bus_geodata
| x | y | coords
0 | 2663473.7005 | 1245481.3146
1 | 2663484.7011 | 1245486.3744
2 | 2663489.1595 | 1245488.4251
3 | 2663499.9304 | 1245493.3792
4 | 2663464.7774 | 1245431.7384
5 | 2663465.6339 | 1245430.0686
6 | 2663457.0575 | 1245427.2627
7 | 2663508.9863 | 1245481.0564
8 | 2663495.4781 | 1245499.0189
9 | 2663480.9361 | 1245405.9308
10 | 2663476.6799 | 1245437.1713
11 | 2663514.3686 | 1245473.669
12 | 2663519.7975 | 1245466.2176
13 | 2663510.268 | 1245459.798
14 | 2663509.985 | 1245459.6073
15 | 2663493.9684 | 1245448.8177
16 | 2663529.0758 | 1245453.5228
17 | 2663492.2102 | 1245447.6333
18 | 2663545.1733 | 1245429.8419
19 | 2663477.6042 | 1245437.7939
20 | 2663555.7219 | 1245414.233
21 | 2663489.7769 | 1245402.9638
22 | 2663496.2871 | 1245394.0518
23 | 2663604.6284 | 1245218.8974
24 | 2663590.6095 | 1245211.6782
25 | 2663587.0419 | 1245209.683
26 | 2663580.1657 | 1245225.1447
27 | 2663573.059 | 1245202.0085
28 | 2663576.1825 | 1245230.2809
29 | 2663569.8481 | 1245200.6089
30 | 2663526.7236 | 1245165.4188
31 | 2663543.0419 | 1245149.1796
32 | 2663514.9178 | 1245180.4238
33 | 2663529.1041 | 1245185.3605
34 | 2663509.8981 | 1245193.3679
35 | 2663548.0784 | 1245191.9633
36 | 2663511.0354 | 1245206.456
37 | 2663511.4565 | 1245212.9538
38 | 2663488.7308 | 1245271.8573
39 | 2663494.4874 | 1245260.7684
40 | 2663483.5615 | 1245283.6458
41 | 2663498.3807 | 1245253.2688
42 | 2663478.2178 | 1245296.2999
43 | 2663511.3218 | 1245228.3406
44 | 2663469.6063 | 1245296.007
45 | 2663474.8002 | 1245307.1152
46 | 2663523.956 | 1245241.1091
47 | 2663461.7488 | 1245295.7398
48 | 2663487.795 | 1245314.0964
49 | 2663473.8335 | 1245310.9417
50 | 2663460.3598 | 1245339.0704
51 | 2663458.1253 | 1245342.2938
52 | 2663437.2386 | 1245371.7193
53 | 2663493.679 | 1245317.2575
54 | 2663525.2701 | 1245242.4372
55 | 2663540.1314 | 1245260.8269
56 | 2663503.1392 | 1245303.9615
57 | 2663475.5816 | 1245361.172
58 | 2663506.4439 | 1245297.6122
59 | 2663512.5954 | 1245285.7938
60 | 2663532.9381 | 1245398.6942
61 | 2663530.1393 | 1245396.7854
62 | 2663566.3674 | 1245400.3357
63 | 2663506.6771 | 1245379.8286
64 | 2663510.7832 | 1245374.14
65 | 2663580.5295 | 1245380.8874
66 | 2663522.5687 | 1245357.8124
67 | 2663589.983 | 1245367.3344
68 | 2663531.4968 | 1245345.4434
69 | 2663593.5917 | 1245361.2578
70 | 2663609.6964 | 1245384.233
71 | 2663605.3262 | 1245345.0706
72 | 2663552.9273 | 1245337.2212
73 | 2663543.1606 | 1245329.2843
74 | 2663630.5611 | 1245406.6291
75 | 2663620.6358 | 1245323.9517
76 | 2663548.7547 | 1245310.2401
77 | 2663537.3093 | 1245337.3908
78 | 2663641.7617 | 1245418.0022
79 | 2663551.9716 | 1245246.6995
80 | 2663547.6714 | 1245251.8304
81 | 2663558.7912 | 1245243.2135
82 | 2663540.2727 | 1245270.1408
83 | 2663540.4441 | 1245281.4405
84 | 2663645.9121 | 1245289.0842
85 | 2663641.9251 | 1245294.584
86 | 2663597.4214 | 1245276.8072
87 | 2663590.5989 | 1245286.5222
88 | 2663589.492 | 1245288.0983
89 | 2663578.1549 | 1245304.2419
90 | 2663720.6051 | 1245407.6052
91 | 2663719.7233 | 1245408.42
92 | 2663687.0812 | 1245364.0602
93 | 2663683.9501 | 1245367.3979
94 | 2663690.8942 | 1245359.9956
95 | 2663670.1358 | 1245382.1237
96 | 2663666.4371 | 1245386.2761
97 | 2663665.6496 | 1245387.2415
98 | 2663655.4236 | 1245399.7775
99 | 2663652.4589 | 1245403.412
100 | 2663646.295 | 1245410.9682
101 | 2663663.8215 | 1245429.3997
102 | 2663666.1027 | 1245431.7987
103 | 2663620.2748 | 1245446.0801
104 | 2663668.2657 | 1245434.0734
105 | 2663619.856 | 1245446.7079
106 | 2663710.5711 | 1245417.0564
107 | 2663700.9548 | 1245439.53
108 | 2663694.2867 | 1245456.0921
109 | 2663605.1352 | 1245468.7753
110 | 2663605.7226 | 1245467.8947
111 | 2663594.7174 | 1245484.5549
112 | 2663552.9273 | 1245337.2212

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1