## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4082-22_1_2_node_19 | 0.4 | n |  | TRUE
1 | bus_LV_4082-22_1_2_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_4082-22_1_2_node_21 | 0.4 | n |  | TRUE
3 | bus_LV_4082-22_1_2_node_46 | 0.4 | n |  | TRUE
4 | bus_LV_4082-22_1_2_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_4082-22_1_2_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_4082-22_1_2_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_4082-22_1_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_4082-22_1_2_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_4082-22_1_2_node_210 | 0.4 | n |  | TRUE
10 | bus_LV_4082-22_1_2_node_212 | 0.4 | n |  | TRUE
11 | bus_LV_4082-22_1_2_node_226 | 0.4 | n |  | TRUE
12 | bus_LV_4082-22_1_2_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_4082-22_1_2_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_4082-22_1_2_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_4082-22_1_2_node_94 | 0.4 | n |  | TRUE
16 | bus_LV_4082-22_1_2_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_4082-22_1_2_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_4082-22_1_2_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_4082-22_1_2_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_4082-22_1_2_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_4082-22_1_2_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_4082-22_1_2_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_4082-22_1_2_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_4082-22_1_2_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_4082-22_1_2_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_4082-22_1_2_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_4082-22_1_2_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_4082-22_1_2_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_4082-22_1_2_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_4082-22_1_2_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_4082-22_1_2_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_4082-22_1_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_4082-22_1_2_node_68 | 0.4 | n |  | TRUE
34 | bus_LV_4082-22_1_2_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_4082-22_1_2_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_4082-22_1_2_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_4082-22_1_2_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_4082-22_1_2_node_62 | 0.4 | n |  | TRUE
39 | bus_LV_4082-22_1_2_node_83 | 0.4 | n |  | TRUE
40 | bus_LV_4082-22_1_2_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_4082-22_1_2_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_4082-22_1_2_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_4082-22_1_2_node_64 | 0.4 | n |  | TRUE
44 | bus_LV_4082-22_1_2_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_4082-22_1_2_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_4082-22_1_2_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_4082-22_1_2_node_154 | 0.4 | n |  | TRUE
48 | bus_LV_4082-22_1_2_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_4082-22_1_2_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_4082-22_1_2_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_4082-22_1_2_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_4082-22_1_2_node_81 | 0.4 | n |  | TRUE
53 | bus_LV_4082-22_1_2_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_4082-22_1_2_node_75 | 0.4 | n |  | TRUE
55 | bus_LV_4082-22_1_2_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_4082-22_1_2_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_4082-22_1_2_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_4082-22_1_2_node_77 | 0.4 | n |  | TRUE
59 | bus_LV_4082-22_1_2_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_4082-22_1_2_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_4082-22_1_2_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_4082-22_1_2_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_4082-22_1_2_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_4082-22_1_2_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_4082-22_1_2_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_4082-22_1_2_node_86 | 0.4 | n |  | TRUE
67 | bus_LV_4082-22_1_2_node_183 | 0.4 | n |  | TRUE
68 | bus_LV_4082-22_1_2_node_185 | 0.4 | n |  | TRUE
69 | bus_LV_4082-22_1_2_node_97 | 0.4 | n |  | TRUE
70 | bus_LV_4082-22_1_2_node_88 | 0.4 | n |  | TRUE
71 | bus_LV_4082-22_1_2_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_4082-22_1_2_node_93 | 0.4 | n |  | TRUE
73 | bus_LV_4082-22_1_2_node_92 | 0.4 | n |  | TRUE
74 | bus_LV_4082-22_1_2_node_224 | 0.4 | n |  | TRUE
75 | bus_LV_4082-22_1_2_node_96 | 0.4 | n |  | TRUE
76 | bus_LV_4082-22_1_2_node_111 | 0.4 | n |  | TRUE
77 | bus_LV_4082-22_1_2_node_99 | 0.4 | n |  | TRUE
78 | bus_LV_4082-22_1_2_node_100 | 0.4 | n |  | TRUE
79 | bus_LV_4082-22_1_2_node_101 | 0.4 | n |  | TRUE
80 | bus_LV_4082-22_1_2_node_102 | 0.4 | n |  | TRUE
81 | bus_LV_4082-22_1_2_node_103 | 0.4 | n |  | TRUE
82 | bus_LV_4082-22_1_2_node_104 | 0.4 | n |  | TRUE
83 | bus_LV_4082-22_1_2_node_112 | 0.4 | n |  | TRUE
84 | bus_LV_4082-22_1_2_node_177 | 0.4 | n |  | TRUE
85 | bus_LV_4082-22_1_2_node_105 | 0.4 | n |  | TRUE
86 | bus_LV_4082-22_1_2_node_106 | 0.4 | n |  | TRUE
87 | bus_LV_4082-22_1_2_node_107 | 0.4 | n |  | TRUE
88 | bus_LV_4082-22_1_2_node_108 | 0.4 | n |  | TRUE
89 | bus_LV_4082-22_1_2_node_109 | 0.4 | n |  | TRUE
90 | bus_LV_4082-22_1_2_node_115 | 0.4 | n |  | TRUE
91 | bus_LV_4082-22_1_2_node_217 | 0.4 | n |  | TRUE
92 | bus_LV_4082-22_1_2_node_113 | 0.4 | n |  | TRUE
93 | bus_LV_4082-22_1_2_node_114 | 0.4 | n |  | TRUE
94 | bus_LV_4082-22_1_2_node_178 | 0.4 | n |  | TRUE
95 | bus_LV_4082-22_1_2_node_184 | 0.4 | n |  | TRUE
96 | bus_LV_4082-22_1_2_node_186 | 0.4 | n |  | TRUE
97 | bus_LV_4082-22_1_2_node_207 | 0.4 | n |  | TRUE
98 | bus_LV_4082-22_1_2_node_208 | 0.4 | n |  | TRUE
99 | bus_LV_4082-22_1_2_node_209 | 0.4 | n |  | TRUE
100 | bus_LV_4082-22_1_2_node_211 | 0.4 | n |  | TRUE
101 | bus_LV_4082-22_1_2_node_227 | 0.4 | n |  | TRUE
102 | bus_LV_4082-22_1_2_node_214 | 0.4 | n |  | TRUE
103 | bus_LV_4082-22_1_2_node_216 | 0.4 | n |  | TRUE
104 | bus_LV_4082-22_1_2_node_213 | 0.4 | n |  | TRUE
105 | bus_LV_4082-22_1_2_node_215 | 0.4 | n |  | TRUE
106 | bus_LV_4082-22_1_2_node_218 | 0.4 | n |  | TRUE
107 | bus_LV_4082-22_1_2_node_219 | 0.4 | n |  | TRUE
108 | bus_LV_4082-22_1_2_node_220 | 0.4 | n |  | TRUE
109 | bus_LV_4082-22_1_2_node_221 | 0.4 | n |  | TRUE
110 | bus_LV_4082-22_1_2_node_222 | 0.4 | n |  | TRUE
111 | bus_LV_4082-22_1_2_node_223 | 0.4 | n |  | TRUE
112 | bus_MV_428_1_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4082-22_1_2_load_19 | 0 | 0.00056664 | 0.00014201 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4082-22_1_2_load_20 | 1 | 0.00051813 | 0.00012985 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4082-22_1_2_load_21 | 2 | 0.00096156 | 0.00024099 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4082-22_1_2_load_46 | 3 | 0.00049582 | 0.00012427 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4082-22_1_2_load_22 | 4 | 0.0012743 | 0.00031938 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4082-22_1_2_load_23 | 5 | 0.0037753 | 0.00094617 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4082-22_1_2_load_24 | 6 | 0.0012535 | 0.00031416 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4082-22_1_2_load_26 | 8 | 0.0010693 | 0.00026799 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4082-22_1_2_load_226 | 11 | 0.00069457 | 0.00017408 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4082-22_1_2_load_27 | 13 | 0.00095915 | 0.00024039 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4082-22_1_2_load_28 | 14 | 0.0014893 | 0.00037325 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4082-22_1_2_load_94 | 15 | 0.00051841 | 0.00012993 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4082-22_1_2_load_29 | 16 | 0.0006602 | 0.00016546 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4082-22_1_2_load_56 | 17 | 0.0024466 | 0.00061317 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4082-22_1_2_load_30 | 18 | 0.0012525 | 0.0003139 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4082-22_1_2_load_31 | 19 | 0.00080013 | 0.00020053 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4082-22_1_2_load_33 | 20 | 0.00045997 | 0.00011528 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4082-22_1_2_load_35 | 22 | 0.0024601 | 0.00061656 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4082-22_1_2_load_37 | 23 | 0.0024897 | 0.00062398 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4082-22_1_2_load_61 | 24 | 0.0032834 | 0.00082291 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4082-22_1_2_load_43 | 25 | 0.0019482 | 0.00048828 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4082-22_1_2_load_47 | 27 | 0.00014734 | 3.6928e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4082-22_1_2_load_48 | 28 | 0.00044315 | 0.00011106 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4082-22_1_2_load_50 | 30 | 0.00043755 | 0.00010966 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4082-22_1_2_load_51 | 31 | 0.00051232 | 0.0001284 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4082-22_1_2_load_52 | 32 | 0.00058511 | 0.00014664 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4082-22_1_2_load_68 | 33 | 0.0011012 | 0.00027597 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4082-22_1_2_load_55 | 36 | 0.006013 | 0.001507 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4082-22_1_2_load_67 | 37 | 0.0047333 | 0.0011863 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4082-22_1_2_load_62 | 38 | 0.0023727 | 0.00059466 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4082-22_1_2_load_83 | 39 | 0.00063795 | 0.00015989 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4082-22_1_2_load_60 | 40 | 0.00072435 | 0.00018154 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4082-22_1_2_load_74 | 41 | 0.001151 | 0.00028846 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4082-22_1_2_load_63 | 42 | 0.0017708 | 0.0004438 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4082-22_1_2_load_64 | 43 | 0.0049477 | 0.00124 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4082-22_1_2_load_65 | 44 | 0.0017764 | 0.0004452 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4082-22_1_2_load_66 | 45 | 0.00087199 | 0.00021854 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4082-22_1_2_load_154 | 47 | 0.0051909 | 0.001301 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4082-22_1_2_load_70 | 48 | 0.0010058 | 0.00025207 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4082-22_1_2_load_87 | 49 | 0.0004953 | 0.00012413 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4082-22_1_2_load_73 | 51 | 0.0020273 | 0.00050808 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4082-22_1_2_load_81 | 52 | 0.00081665 | 0.00020467 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4082-22_1_2_load_110 | 53 | 0.0024432 | 0.00061234 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4082-22_1_2_load_98 | 55 | 0.0010706 | 0.00026832 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4082-22_1_2_load_76 | 57 | 0.0008558 | 0.00021448 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4082-22_1_2_load_77 | 58 | 0.00043946 | 0.00011014 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4082-22_1_2_load_78 | 59 | 0.00046218 | 0.00011583 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4082-22_1_2_load_79 | 60 | 0.0014266 | 0.00035754 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4082-22_1_2_load_80 | 61 | 0.00076517 | 0.00019177 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4082-22_1_2_load_95 | 62 | 0.0011125 | 0.00027883 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4082-22_1_2_load_82 | 63 | 0.00093095 | 0.00023332 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4082-22_1_2_load_183 | 67 | 0.0022558 | 0.00056535 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4082-22_1_2_load_185 | 68 | 0.0010341 | 0.00025916 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4082-22_1_2_load_88 | 70 | 0.00099497 | 0.00024936 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4082-22_1_2_load_90 | 71 | 0.0004957 | 0.00012423 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4082-22_1_2_load_93 | 72 | 0.0010498 | 0.00026309 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4082-22_1_2_load_92 | 73 | 0.002846 | 0.00071328 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4082-22_1_2_load_96 | 75 | 0.0013307 | 0.00033351 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4082-22_1_2_load_99 | 77 | 0.0014007 | 0.00035105 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4082-22_1_2_load_100 | 78 | 0.006098 | 0.0015283 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4082-22_1_2_load_102 | 80 | 0.0021725 | 0.00054449 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4082-22_1_2_load_104 | 82 | 0.0024814 | 0.00062189 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4082-22_1_2_load_112 | 83 | 0.00071246 | 0.00017856 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4082-22_1_2_load_177 | 84 | 0.00079117 | 0.00019829 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4082-22_1_2_load_105 | 85 | 0.0037606 | 0.00094249 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4082-22_1_2_load_106 | 86 | 0.0021065 | 0.00052794 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4082-22_1_2_load_108 | 88 | 0.0020461 | 0.0005128 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4082-22_1_2_load_109 | 89 | 0.00221 | 0.00055387 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4082-22_1_2_load_115 | 90 | 0.0021965 | 0.00055049 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4082-22_1_2_load_217 | 91 | 0.0014056 | 0.00035228 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4082-22_1_2_load_113 | 92 | 0.002939 | 0.00073659 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4082-22_1_2_load_178 | 94 | 0.00078809 | 0.00019751 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4082-22_1_2_load_184 | 95 | 0.0039249 | 0.00098367 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4082-22_1_2_load_186 | 96 | 0.0017514 | 0.00043895 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4082-22_1_2_load_207 | 97 | 0.0010521 | 0.00026369 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4082-22_1_2_load_209 | 99 | 0.00088626 | 0.00022212 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4082-22_1_2_load_211 | 100 | 0.0025262 | 0.00063311 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4082-22_1_2_load_227 | 101 | 0.0015961 | 0.00040002 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4082-22_1_2_load_214 | 102 | 0.00050558 | 0.00012671 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4082-22_1_2_load_216 | 103 | 0.0013639 | 0.00034181 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4082-22_1_2_load_213 | 104 | 0.00075823 | 0.00019003 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4082-22_1_2_load_215 | 105 | 0.00046294 | 0.00011602 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4082-22_1_2_load_218 | 106 | 0.0032706 | 0.00081969 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4082-22_1_2_load_219 | 107 | 0.002517 | 0.00063082 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4082-22_1_2_load_220 | 108 | 0.0024374 | 0.00061087 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4082-22_1_2_load_221 | 109 | 0.00745 | 0.0018672 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4082-22_1_2_load_222 | 110 | 0.0049671 | 0.0012449 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4082-22_1_2_line_0 |  | 0 | 1 | 0.00070112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4082-22_1_2_line_1 |  | 1 | 2 | 0.020631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4082-22_1_2_line_2 |  | 2 | 3 | 0.0025359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4082-22_1_2_line_3 |  | 3 | 26 | 0.013943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4082-22_1_2_line_4 |  | 4 | 5 | 0.049954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4082-22_1_2_line_5 |  | 4 | 6 | 0.015174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4082-22_1_2_line_6 |  | 5 | 7 | 0.036797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4082-22_1_2_line_7 |  | 6 | 8 | 0.00047216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4082-22_1_2_line_8 |  | 7 | 9 | 0.013887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4082-22_1_2_line_9 |  | 7 | 10 | 0.020491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4082-22_1_2_line_10 |  | 7 | 11 | 0.043061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4082-22_1_2_line_11 |  | 8 | 12 | 0.015361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4082-22_1_2_line_12 |  | 9 | 100 | 0.031276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4082-22_1_2_line_13 |  | 10 | 102 | 0.0076038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4082-22_1_2_line_14 |  | 10 | 103 | 0.038995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4082-22_1_2_line_15 |  | 12 | 20 | 0.0018893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4082-22_1_2_line_16 |  | 12 | 18 | 0.023227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4082-22_1_2_line_17 |  | 13 | 14 | 0.021943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4082-22_1_2_line_18 |  | 13 | 15 | 0.025367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4082-22_1_2_line_19 |  | 14 | 16 | 0.0024881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4082-22_1_2_line_20 |  | 15 | 72 | 0.011181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4082-22_1_2_line_21 |  | 16 | 17 | 0.018458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4082-22_1_2_line_22 |  | 17 | 25 | 0.0029843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4082-22_1_2_line_23 |  | 18 | 19 | 0.011476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4082-22_1_2_line_24 |  | 20 | 21 | 0.0288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4082-22_1_2_line_25 |  | 21 | 35 | 0.014629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4082-22_1_2_line_26 |  | 21 | 36 | 0.0076878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4082-22_1_2_line_27 |  | 22 | 23 | 0.0058828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4082-22_1_2_line_28 |  | 23 | 24 | 0.036247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4082-22_1_2_line_29 |  | 24 | 38 | 0.023572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4082-22_1_2_line_30 |  | 26 | 48 | 0.021412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4082-22_1_2_line_31 |  | 26 | 33 | 0.0055468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4082-22_1_2_line_32 |  | 27 | 28 | 0.023238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4082-22_1_2_line_33 |  | 27 | 29 | 0.010295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4082-22_1_2_line_34 |  | 28 | 30 | 0.042436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4082-22_1_2_line_35 |  | 29 | 31 | 0.017121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4082-22_1_2_line_36 |  | 29 | 32 | 0.021924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4082-22_1_2_line_37 |  | 31 | 33 | 0.032995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4082-22_1_2_line_38 |  | 32 | 34 | 0.020265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4082-22_1_2_line_39 |  | 34 | 73 | 0.05333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4082-22_1_2_line_40 |  | 35 | 37 | 0.024898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4082-22_1_2_line_41 |  | 35 | 38 | 0.0057991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4082-22_1_2_line_42 |  | 36 | 39 | 0.040542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4082-22_1_2_line_43 |  | 37 | 47 | 0.012526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4082-22_1_2_line_44 |  | 39 | 63 | 0.0080489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4082-22_1_2_line_45 |  | 40 | 41 | 0.016892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4082-22_1_2_line_46 |  | 41 | 54 | 0.012668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4082-22_1_2_line_47 |  | 42 | 43 | 0.013031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4082-22_1_2_line_48 |  | 42 | 44 | 0.023087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4082-22_1_2_line_49 |  | 43 | 45 | 0.040134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4082-22_1_2_line_50 |  | 45 | 46 | 0.0042651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4082-22_1_2_line_51 |  | 46 | 50 | 0.014154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4082-22_1_2_line_52 |  | 46 | 51 | 0.021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4082-22_1_2_line_53 |  | 48 | 49 | 0.0014337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4082-22_1_2_line_54 |  | 49 | 70 | 0.021259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4082-22_1_2_line_55 |  | 50 | 52 | 0.021142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4082-22_1_2_line_56 |  | 51 | 53 | 0.002033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4082-22_1_2_line_57 |  | 52 | 61 | 0.033666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4082-22_1_2_line_58 |  | 53 | 88 | 0.03551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4082-22_1_2_line_59 |  | 54 | 55 | 0.030087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4082-22_1_2_line_60 |  | 54 | 56 | 0.016533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4082-22_1_2_line_61 |  | 56 | 71 | 0.013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4082-22_1_2_line_62 |  | 56 | 70 | 0.0020299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4082-22_1_2_line_63 |  | 57 | 58 | 0.0062106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4082-22_1_2_line_64 |  | 57 | 59 | 0.010391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4082-22_1_2_line_65 |  | 58 | 60 | 0.0045375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4082-22_1_2_line_66 |  | 59 | 61 | 0.021693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4082-22_1_2_line_67 |  | 60 | 62 | 0.013515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4082-22_1_2_line_68 |  | 62 | 75 | 0.0016525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4082-22_1_2_line_69 |  | 63 | 64 | 0.014767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4082-22_1_2_line_70 |  | 64 | 65 | 0.050312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4082-22_1_2_line_71 |  | 64 | 66 | 0.020586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4082-22_1_2_line_72 |  | 65 | 67 | 0.013801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4082-22_1_2_line_73 |  | 65 | 68 | 0.0079384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4082-22_1_2_line_74 |  | 66 | 69 | 0.009373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4082-22_1_2_line_75 |  | 68 | 95 | 0.012074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4082-22_1_2_line_76 |  | 69 | 76 | 0.007287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4082-22_1_2_line_77 |  | 69 | 75 | 0.024365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4082-22_1_2_line_78 |  | 71 | 72 | 0.0033733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4082-22_1_2_line_79 |  | 73 | 74 | 0.018432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4082-22_1_2_line_80 |  | 74 | 99 | 0.01777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4082-22_1_2_line_81 |  | 74 | 111 | 0.022091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4082-22_1_2_line_82 |  | 76 | 91 | 0.017556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4082-22_1_2_line_83 |  | 76 | 81 | 0.021533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4082-22_1_2_line_84 |  | 77 | 78 | 0.0084756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4082-22_1_2_line_85 |  | 77 | 79 | 0.016504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4082-22_1_2_line_86 |  | 78 | 80 | 0.013675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4082-22_1_2_line_87 |  | 79 | 81 | 0.016719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4082-22_1_2_line_88 |  | 79 | 82 | 0.027725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4082-22_1_2_line_89 |  | 81 | 83 | 0.030082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4082-22_1_2_line_90 |  | 82 | 84 | 0.027665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4082-22_1_2_line_91 |  | 83 | 92 | 0.028009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4082-22_1_2_line_92 |  | 84 | 94 | 0.022452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4082-22_1_2_line_93 |  | 85 | 86 | 0.041318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4082-22_1_2_line_94 |  | 85 | 87 | 0.047295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4082-22_1_2_line_95 |  | 87 | 88 | 0.016576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4082-22_1_2_line_96 |  | 89 | 90 | 0.031715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4082-22_1_2_line_97 |  | 90 | 93 | 0.0078763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4082-22_1_2_line_98 |  | 91 | 106 | 0.0012408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4082-22_1_2_line_99 |  | 92 | 93 | 0.03193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4082-22_1_2_line_100 |  | 95 | 96 | 0.0060727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4082-22_1_2_line_101 |  | 97 | 98 | 0.028674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4082-22_1_2_line_102 |  | 98 | 99 | 0.038944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4082-22_1_2_line_103 |  | 100 | 101 | 0.0027793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4082-22_1_2_line_104 |  | 101 | 111 | 0.029471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4082-22_1_2_line_105 |  | 102 | 104 | 0.01567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4082-22_1_2_line_106 |  | 104 | 105 | 0.010313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4082-22_1_2_line_107 |  | 107 | 108 | 0.024561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4082-22_1_2_line_108 |  | 107 | 109 | 0.036909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4082-22_1_2_line_109 |  | 108 | 110 | 0.019212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4082-22_1_2_line_110 |  | 109 | 111 | 0.039858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4082-22_1_2_trafo_31 | 0.63 MVA 20/0.4 kV | 112 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2663649.7408 | 1245094.4527 | 2663650.2188 | 1245094.9656
1 | 2663650.2188 | 1245094.9656 | 2663655.9078 | 1245101.0687 | 2663656.2398 | 1245105.3308 | 2663661.6494 | 1245111.2418
2 | 2663661.6494 | 1245111.2418 | 2663663.3614 | 1245113.1125
3 | 2663672.7747 | 1245123.3984 | 2663663.3614 | 1245113.1125
4 | 2663742.0877 | 1245208.0114 | 2663750.3873 | 1245200.874 | 2663781.7561 | 1245177.6876
5 | 2663742.0877 | 1245208.0114 | 2663730.5828 | 1245217.9053
6 | 2663817.1195 | 1245175.6739 | 2663811.8053 | 1245173.7932 | 2663796.373 | 1245172.6932 | 2663784.8895 | 1245175.3716 | 2663781.7561 | 1245177.6876
7 | 2663730.2248 | 1245218.2131 | 2663730.5828 | 1245217.9053
8 | 2663817.1195 | 1245175.6739 | 2663820.5501 | 1245170.0402 | 2663823.7337 | 1245163.481
9 | 2663817.1195 | 1245175.6739 | 2663820.5501 | 1245170.0402 | 2663833.2435 | 1245175.6918
10 | 2663817.1195 | 1245175.6739 | 2663794.705 | 1245212.4409
11 | 2663718.5781 | 1245228.229 | 2663730.2248 | 1245218.2131
12 | 2663823.7337 | 1245163.481 | 2663819.009 | 1245160.884 | 2663801.8037 | 1245141.5449
13 | 2663833.2435 | 1245175.6918 | 2663837.9336 | 1245181.6768
14 | 2663833.2435 | 1245175.6918 | 2663848.8376 | 1245173.7026 | 2663861.6083 | 1245167.9694 | 2663869.0618 | 1245162.4483
15 | 2663718.5781 | 1245228.229 | 2663717.1535 | 1245229.47
16 | 2663718.5781 | 1245228.229 | 2663724.701 | 1245233.5984 | 2663737.3352 | 1245241.8366
17 | 2663600.781 | 1245114.5963 | 2663580.8455 | 1245123.7657
18 | 2663618.5824 | 1245132.668 | 2663600.781 | 1245114.5963
19 | 2663578.5851 | 1245124.8054 | 2663580.8455 | 1245123.7657
20 | 2663618.5824 | 1245132.668 | 2663626.173 | 1245140.8778
21 | 2663562.6234 | 1245134.0519 | 2663576.54 | 1245125.746 | 2663578.5851 | 1245124.8054
22 | 2663562.6234 | 1245134.0519 | 2663560.0608 | 1245135.5814
23 | 2663737.3352 | 1245241.8366 | 2663739.7674 | 1245243.4226 | 2663747.0433 | 1245247.9554
24 | 2663697.7574 | 1245250.4541 | 2663704.7348 | 1245240.2887 | 2663717.1535 | 1245229.47
25 | 2663684.6971 | 1245243.7871 | 2663697.7574 | 1245250.4541
26 | 2663697.7574 | 1245250.4541 | 2663704.1272 | 1245254.7585
27 | 2663622.1725 | 1245224.3342 | 2663616.4783 | 1245222.8564
28 | 2663657.2089 | 1245233.6146 | 2663651.7218 | 1245232.003 | 2663622.1725 | 1245224.3342
29 | 2663657.2089 | 1245233.6146 | 2663669.1283 | 1245237.1154 | 2663676.5099 | 1245239.9633 | 2663679.4428 | 1245241.3331
30 | 2663672.7747 | 1245123.3984 | 2663656.3933 | 1245137.1868
31 | 2663672.7747 | 1245123.3984 | 2663677.0196 | 1245119.8279
32 | 2663705.7969 | 1245077.6777 | 2663689.4708 | 1245061.1405
33 | 2663713.0295 | 1245085.004 | 2663705.7969 | 1245077.6777
34 | 2663662.3028 | 1245061.3456 | 2663670.4716 | 1245046.554 | 2663674.2435 | 1245045.7161 | 2663689.4708 | 1245061.1405
35 | 2663713.0295 | 1245085.004 | 2663700.8692 | 1245097.0559
36 | 2663713.0295 | 1245085.004 | 2663728.6537 | 1245069.6232
37 | 2663677.0196 | 1245119.8279 | 2663682.786 | 1245114.9778 | 2663700.8692 | 1245097.0559
38 | 2663743.0955 | 1245055.4064 | 2663728.6537 | 1245069.6232
39 | 2663743.0955 | 1245055.4064 | 2663769.5405 | 1245077.2834 | 2663783.4534 | 1245090.2363
40 | 2663684.6971 | 1245243.7871 | 2663678.0113 | 1245252.8327 | 2663668.8006 | 1245262.9068
41 | 2663684.6971 | 1245243.7871 | 2663679.4428 | 1245241.3331
42 | 2663704.1272 | 1245254.7585 | 2663722.3691 | 1245267.0854 | 2663736.452 | 1245279.1218
43 | 2663668.8006 | 1245262.9068 | 2663660.3486 | 1245272.151
44 | 2663736.452 | 1245279.1218 | 2663742.5706 | 1245284.3513
45 | 2663605.5535 | 1245186.1297 | 2663615.9914 | 1245172.8489
46 | 2663624.8073 | 1245163.7673 | 2663617.0858 | 1245171.4565 | 2663615.9914 | 1245172.8489
47 | 2663946.788 | 1245182.0622 | 2663937.0415 | 1245190.7111
48 | 2663964.0564 | 1245166.7386 | 2663946.788 | 1245182.0622
49 | 2663906.8217 | 1245217.115 | 2663913.7214 | 1245211.4049 | 2663937.0415 | 1245190.7111
50 | 2663903.536 | 1245219.8343 | 2663906.8217 | 1245217.115
51 | 2663892.6932 | 1245228.9683 | 2663903.536 | 1245219.8343
52 | 2663903.536 | 1245219.8343 | 2663917.1313 | 1245235.8614
53 | 2663656.3933 | 1245137.1868 | 2663655.2965 | 1245138.1101
54 | 2663639.0325 | 1245151.7998 | 2663655.2965 | 1245138.1101
55 | 2663892.6932 | 1245228.9683 | 2663876.2091 | 1245242.2074
56 | 2663917.1313 | 1245235.8614 | 2663918.4465 | 1245237.4117
57 | 2663876.2091 | 1245242.2074 | 2663849.961 | 1245263.2884
58 | 2663918.4465 | 1245237.4117 | 2663924.8296 | 1245244.9365 | 2663926.4587 | 1245243.8089 | 2663941.8739 | 1245261.7595
59 | 2663624.8073 | 1245163.7673 | 2663639.8358 | 1245182.0855 | 2663637.8812 | 1245188.2021
60 | 2663637.4795 | 1245153.1069 | 2663624.8073 | 1245163.7673
61 | 2663637.4795 | 1245153.1069 | 2663628.463 | 1245143.3547
62 | 2663637.4795 | 1245153.1069 | 2663639.0325 | 1245151.7998
63 | 2663824.1982 | 1245282.3674 | 2663819.0596 | 1245285.8554
64 | 2663824.1982 | 1245282.3674 | 2663832.7958 | 1245276.5315
65 | 2663819.0596 | 1245285.8554 | 2663817.8441 | 1245286.6805 | 2663815.099 | 1245288.0517
66 | 2663849.961 | 1245263.2884 | 2663837.1616 | 1245273.5681 | 2663832.7958 | 1245276.5315
67 | 2663803.0082 | 1245294.0914 | 2663815.099 | 1245288.0517
68 | 2663803.0082 | 1245294.0914 | 2663801.9597 | 1245294.6151 | 2663801.5223 | 1245294.814
69 | 2663754.4276 | 1245293.1366 | 2663745.0695 | 1245286.487 | 2663742.5706 | 1245284.3513
70 | 2663754.4276 | 1245293.1366 | 2663750.7522 | 1245297.6558 | 2663719.5455 | 1245329.4536
71 | 2663754.4276 | 1245293.1366 | 2663763.2771 | 1245295.7779 | 2663768.4841 | 1245296.3788 | 2663774.6201 | 1245297.0118
72 | 2663719.5455 | 1245329.4536 | 2663710.1029 | 1245339.5194
73 | 2663719.5455 | 1245329.4536 | 2663715.6228 | 1245326.0647 | 2663712.8738 | 1245325.8911
74 | 2663779.4219 | 1245305.069 | 2663774.6201 | 1245297.0118
75 | 2663703.9927 | 1245333.3671 | 2663711.3794 | 1245325.7968 | 2663712.8738 | 1245325.8911
76 | 2663779.4219 | 1245305.069 | 2663783.7029 | 1245310.9746
77 | 2663779.4219 | 1245305.069 | 2663787.0322 | 1245301.4038 | 2663801.5223 | 1245294.814
78 | 2663626.173 | 1245140.8778 | 2663628.463 | 1245143.3547
79 | 2663796.9436 | 1245102.7956 | 2663783.4534 | 1245090.2363
80 | 2663796.9436 | 1245102.7956 | 2663810.3812 | 1245094.0785 | 2663812.0214 | 1245093.4604
81 | 2663796.9436 | 1245102.7956 | 2663780.3669 | 1245117.4497
82 | 2663783.7029 | 1245310.9746 | 2663771.1717 | 1245323.2705
83 | 2663799.7104 | 1245325.301 | 2663790.7163 | 1245318.5441 | 2663783.7029 | 1245310.9746
84 | 2663810.3597 | 1245356.6598 | 2663803.8816 | 1245351.1943
85 | 2663791.7548 | 1245340.0034 | 2663802.0027 | 1245349.6091 | 2663803.8816 | 1245351.1943
86 | 2663810.3597 | 1245356.6598 | 2663817.5545 | 1245362.7299 | 2663821.0415 | 1245365.1802 | 2663821.0415 | 1245365.1802
87 | 2663799.7104 | 1245325.301 | 2663794.4464 | 1245335.6182 | 2663791.7548 | 1245340.0034
88 | 2663791.7548 | 1245340.0034 | 2663783.836 | 1245349.1802 | 2663772.375 | 1245359.7694
89 | 2663799.7104 | 1245325.301 | 2663815.1251 | 1245327.3015 | 2663829.6588 | 1245326.9653
90 | 2663772.375 | 1245359.7694 | 2663753.0737 | 1245377.6026 | 2663752.0552 | 1245378.5437
91 | 2663829.6588 | 1245326.9653 | 2663857.6601 | 1245326.3176
92 | 2663735.5655 | 1245393.781 | 2663752.0552 | 1245378.5437
93 | 2663988.0902 | 1245242.9911 | 2664006.0731 | 1245227.0777 | 2664017.1918 | 1245213.8177
94 | 2663952.6729 | 1245274.3346 | 2663954.0232 | 1245273.1372 | 2663988.0902 | 1245242.9911
95 | 2663952.6729 | 1245274.3346 | 2663941.8739 | 1245261.7595
96 | 2663921.2096 | 1245301.9474 | 2663909.9949 | 1245311.7896 | 2663899.8787 | 1245319.4303 | 2663896.3443 | 1245321.541
97 | 2663889.582 | 1245325.5793 | 2663896.3443 | 1245321.541
98 | 2663770.286 | 1245324.1395 | 2663771.1717 | 1245323.2705
99 | 2663889.582 | 1245325.5793 | 2663857.6601 | 1245326.3176
100 | 2663699.7517 | 1245337.7135 | 2663703.9927 | 1245333.3671
101 | 2663849.2614 | 1245082.4108 | 2663849.8535 | 1245094.0808 | 2663848.603 | 1245103.5517 | 2663846.3341 | 1245110.6325
102 | 2663849.2614 | 1245082.4108 | 2663841.8732 | 1245085.0665 | 2663824.2649 | 1245088.8464 | 2663812.0214 | 1245093.4604
103 | 2663799.9563 | 1245139.4685 | 2663801.8037 | 1245141.5449
104 | 2663780.3669 | 1245117.4497 | 2663799.9563 | 1245139.4685
105 | 2663847.599 | 1245194.0111 | 2663837.9336 | 1245181.6768
106 | 2663847.599 | 1245194.0111 | 2663853.96 | 1245202.1285
107 | 2663721.8813 | 1245167.1747 | 2663703.1691 | 1245183.084
108 | 2663721.8813 | 1245167.1747 | 2663750.0009 | 1245143.2672
109 | 2663688.5324 | 1245195.5283 | 2663703.1691 | 1245183.084
110 | 2663780.3669 | 1245117.4497 | 2663750.0009 | 1245143.2672

## bus_geodata
| x | y | coords
0 | 2663649.7408 | 1245094.4527
1 | 2663650.2188 | 1245094.9656
2 | 2663661.6494 | 1245111.2418
3 | 2663663.3614 | 1245113.1125
4 | 2663742.0877 | 1245208.0114
5 | 2663781.7561 | 1245177.6876
6 | 2663730.5828 | 1245217.9053
7 | 2663817.1195 | 1245175.6739
8 | 2663730.2248 | 1245218.2131
9 | 2663823.7337 | 1245163.481
10 | 2663833.2435 | 1245175.6918
11 | 2663794.705 | 1245212.4409
12 | 2663718.5781 | 1245228.229
13 | 2663600.781 | 1245114.5963
14 | 2663580.8455 | 1245123.7657
15 | 2663618.5824 | 1245132.668
16 | 2663578.5851 | 1245124.8054
17 | 2663562.6234 | 1245134.0519
18 | 2663737.3352 | 1245241.8366
19 | 2663747.0433 | 1245247.9554
20 | 2663717.1535 | 1245229.47
21 | 2663697.7574 | 1245250.4541
22 | 2663616.4783 | 1245222.8564
23 | 2663622.1725 | 1245224.3342
24 | 2663657.2089 | 1245233.6146
25 | 2663560.0608 | 1245135.5814
26 | 2663672.7747 | 1245123.3984
27 | 2663705.7969 | 1245077.6777
28 | 2663689.4708 | 1245061.1405
29 | 2663713.0295 | 1245085.004
30 | 2663662.3028 | 1245061.3456
31 | 2663700.8692 | 1245097.0559
32 | 2663728.6537 | 1245069.6232
33 | 2663677.0196 | 1245119.8279
34 | 2663743.0955 | 1245055.4064
35 | 2663684.6971 | 1245243.7871
36 | 2663704.1272 | 1245254.7585
37 | 2663668.8006 | 1245262.9068
38 | 2663679.4428 | 1245241.3331
39 | 2663736.452 | 1245279.1218
40 | 2663605.5535 | 1245186.1297
41 | 2663615.9914 | 1245172.8489
42 | 2663946.788 | 1245182.0622
43 | 2663937.0415 | 1245190.7111
44 | 2663964.0564 | 1245166.7386
45 | 2663906.8217 | 1245217.115
46 | 2663903.536 | 1245219.8343
47 | 2663660.3486 | 1245272.151
48 | 2663656.3933 | 1245137.1868
49 | 2663655.2965 | 1245138.1101
50 | 2663892.6932 | 1245228.9683
51 | 2663917.1313 | 1245235.8614
52 | 2663876.2091 | 1245242.2074
53 | 2663918.4465 | 1245237.4117
54 | 2663624.8073 | 1245163.7673
55 | 2663637.8812 | 1245188.2021
56 | 2663637.4795 | 1245153.1069
57 | 2663824.1982 | 1245282.3674
58 | 2663819.0596 | 1245285.8554
59 | 2663832.7958 | 1245276.5315
60 | 2663815.099 | 1245288.0517
61 | 2663849.961 | 1245263.2884
62 | 2663803.0082 | 1245294.0914
63 | 2663742.5706 | 1245284.3513
64 | 2663754.4276 | 1245293.1366
65 | 2663719.5455 | 1245329.4536
66 | 2663774.6201 | 1245297.0118
67 | 2663710.1029 | 1245339.5194
68 | 2663712.8738 | 1245325.8911
69 | 2663779.4219 | 1245305.069
70 | 2663639.0325 | 1245151.7998
71 | 2663628.463 | 1245143.3547
72 | 2663626.173 | 1245140.8778
73 | 2663783.4534 | 1245090.2363
74 | 2663796.9436 | 1245102.7956
75 | 2663801.5223 | 1245294.814
76 | 2663783.7029 | 1245310.9746
77 | 2663803.8816 | 1245351.1943
78 | 2663810.3597 | 1245356.6597
79 | 2663791.7548 | 1245340.0034
80 | 2663821.0415 | 1245365.1802
81 | 2663799.7104 | 1245325.301
82 | 2663772.375 | 1245359.7694
83 | 2663829.6588 | 1245326.9653
84 | 2663752.0552 | 1245378.5437
85 | 2663988.0902 | 1245242.9911
86 | 2664017.1918 | 1245213.8177
87 | 2663952.6729 | 1245274.3346
88 | 2663941.8739 | 1245261.7595
89 | 2663921.2096 | 1245301.9474
90 | 2663896.3443 | 1245321.541
91 | 2663771.1717 | 1245323.2705
92 | 2663857.6601 | 1245326.3176
93 | 2663889.582 | 1245325.5793
94 | 2663735.5655 | 1245393.781
95 | 2663703.9927 | 1245333.3671
96 | 2663699.7517 | 1245337.7135
97 | 2663846.3341 | 1245110.6325
98 | 2663849.2614 | 1245082.4108
99 | 2663812.0214 | 1245093.4604
100 | 2663801.8037 | 1245141.5449
101 | 2663799.9563 | 1245139.4685
102 | 2663837.9336 | 1245181.6768
103 | 2663869.0618 | 1245162.4483
104 | 2663847.599 | 1245194.0111
105 | 2663853.96 | 1245202.1285
106 | 2663770.286 | 1245324.1395
107 | 2663721.8813 | 1245167.1747
108 | 2663703.1691 | 1245183.084
109 | 2663750.0009 | 1245143.2672
110 | 2663688.5324 | 1245195.5283
111 | 2663780.3669 | 1245117.4497
112 | 2663747.3405 | 1245248.1405

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1