## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4082-24_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4082-24_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4082-24_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4082-24_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4082-24_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4082-24_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4082-24_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_4082-24_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_4082-24_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4082-24_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4082-24_0_4_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4082-24_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_4082-24_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4082-24_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_4082-24_0_4_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_4082-24_0_4_node_90 | 0.4 | n |  | TRUE
16 | bus_LV_4082-24_0_4_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_4082-24_0_4_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_4082-24_0_4_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_4082-24_0_4_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_4082-24_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_4082-24_0_4_node_91 | 0.4 | n |  | TRUE
22 | bus_LV_4082-24_0_4_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_4082-24_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_4082-24_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_4082-24_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_4082-24_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_4082-24_0_4_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_4082-24_0_4_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_4082-24_0_4_node_52 | 0.4 | n |  | TRUE
30 | bus_LV_4082-24_0_4_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_4082-24_0_4_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_4082-24_0_4_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_4082-24_0_4_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_4082-24_0_4_node_89 | 0.4 | n |  | TRUE
35 | bus_LV_4082-24_0_4_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_4082-24_0_4_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_4082-24_0_4_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_4082-24_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_4082-24_0_4_node_20 | 0.4 | n |  | TRUE
40 | bus_LV_4082-24_0_4_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_4082-24_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_4082-24_0_4_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_4082-24_0_4_node_87 | 0.4 | n |  | TRUE
44 | bus_LV_4082-24_0_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_4082-24_0_4_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_4082-24_0_4_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_4082-24_0_4_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4082-24_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4082-24_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_4082-24_0_4_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_4082-24_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_4082-24_0_4_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_4082-24_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_4082-24_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_4082-24_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4082-24_0_4_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_4082-24_0_4_node_86 | 0.4 | n |  | TRUE
58 | bus_LV_4082-24_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_4082-24_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_4082-24_0_4_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_4082-24_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_4082-24_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4082-24_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4082-24_0_4_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4082-24_0_4_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4082-24_0_4_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_4082-24_0_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_4082-24_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_4082-24_0_4_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_4082-24_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_4082-24_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_4082-24_0_4_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_4082-24_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_4082-24_0_4_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_4082-24_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_4082-24_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4082-24_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4082-24_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_4082-24_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_4082-24_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_4082-24_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_4082-24_0_4_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_4082-24_0_4_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_4082-24_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_4082-24_0_4_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_4082-24_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_4082-24_0_4_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_4082-24_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_4082-24_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_MV_428_1_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4082-24_0_4_load_0 | 0 | 0.0028724 | 0.00071989 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4082-24_0_4_load_1 | 1 | 0.011363 | 0.0028478 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4082-24_0_4_load_2 | 2 | 0.0012396 | 0.00031068 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4082-24_0_4_load_4 | 4 | 0.0031875 | 0.00079885 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4082-24_0_4_load_5 | 5 | 0.0024139 | 0.00060498 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4082-24_0_4_load_6 | 8 | 0.0076747 | 0.0019235 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4082-24_0_4_load_11 | 11 | 0.0027169 | 0.00068093 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4082-24_0_4_load_15 | 13 | 0.0015573 | 0.00039029 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4082-24_0_4_load_90 | 15 | 0.0017712 | 0.00044391 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4082-24_0_4_load_92 | 17 | 0.028999 | 0.0072678 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4082-24_0_4_load_25 | 19 | 0.02886 | 0.007233 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4082-24_0_4_load_91 | 21 | 0.0016398 | 0.00041098 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4082-24_0_4_load_26 | 23 | 0.0034535 | 0.00086553 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4082-24_0_4_load_22 | 24 | 0.0097399 | 0.002441 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4082-24_0_4_load_51 | 27 | 0.007849 | 0.0019672 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4082-24_0_4_load_65 | 30 | 0.0074296 | 0.001862 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4082-24_0_4_load_61 | 32 | 0.022743 | 0.0057 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4082-24_0_4_load_88 | 33 | 0.016169 | 0.0040524 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4082-24_0_4_load_89 | 34 | 0.0027291 | 0.00068398 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4082-24_0_4_load_16 | 35 | 0.001645 | 0.00041227 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4082-24_0_4_load_17 | 36 | 0.019106 | 0.0047883 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4082-24_0_4_load_18 | 37 | 0.0028488 | 0.00071398 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4082-24_0_4_load_42 | 41 | 0.0094275 | 0.0023628 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4082-24_0_4_load_87 | 43 | 0.0085746 | 0.002149 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4082-24_0_4_load_40 | 44 | 0.024942 | 0.0062511 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4082-24_0_4_load_55 | 45 | 0.0010548 | 0.00026435 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4082-24_0_4_load_33 | 47 | 0.004482 | 0.0011233 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4082-24_0_4_load_34 | 48 | 0.0037691 | 0.00094463 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4082-24_0_4_load_35 | 49 | 0.006437 | 0.0016133 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4082-24_0_4_load_36 | 50 | 0.0025552 | 0.0006404 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4082-24_0_4_load_37 | 51 | 0.0022851 | 0.00057269 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4082-24_0_4_load_45 | 52 | 0.0062925 | 0.0015771 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4082-24_0_4_load_50 | 53 | 0.01248 | 0.0031279 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4082-24_0_4_load_49 | 54 | 0.0088041 | 0.0022065 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4082-24_0_4_load_47 | 55 | 0.038289 | 0.0095962 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4082-24_0_4_load_79 | 56 | 0.0038737 | 0.00097083 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4082-24_0_4_load_86 | 57 | 0.0023381 | 0.00058598 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4082-24_0_4_load_46 | 58 | 0.010474 | 0.0026251 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4082-24_0_4_load_85 | 60 | 0.005014 | 0.0012566 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4082-24_0_4_load_38 | 61 | 0.0088709 | 0.0022233 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4082-24_0_4_load_39 | 62 | 0.02185 | 0.0054761 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4082-24_0_4_load_43 | 64 | 0.0091077 | 0.0022826 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4082-24_0_4_load_44 | 65 | 0.00641 | 0.0016065 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4082-24_0_4_load_66 | 66 | 0.0027319 | 0.00068467 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4082-24_0_4_load_72 | 67 | 0.0065265 | 0.0016357 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4082-24_0_4_load_63 | 68 | 0.0027999 | 0.00070172 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4082-24_0_4_load_70 | 69 | 0.0061298 | 0.0015363 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4082-24_0_4_load_64 | 70 | 0.0027111 | 0.00067948 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4082-24_0_4_load_58 | 73 | 0.001877 | 0.00047042 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4082-24_0_4_load_60 | 74 | 0.0079267 | 0.0019866 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4082-24_0_4_load_67 | 75 | 0.0022818 | 0.00057188 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4082-24_0_4_load_68 | 76 | 0.0018233 | 0.00045697 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4082-24_0_4_load_69 | 77 | 0.0023483 | 0.00058855 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4082-24_0_4_load_73 | 79 | 0.0019149 | 0.00047993 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4082-24_0_4_load_74 | 80 | 0.0018498 | 0.00046361 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4082-24_0_4_load_75 | 81 | 0.0016147 | 0.00040469 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4082-24_0_4_load_82 | 82 | 0.0017388 | 0.00043577 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4082-24_0_4_load_76 | 83 | 0.0018786 | 0.00047081 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4082-24_0_4_load_80 | 84 | 0.0060829 | 0.0015245 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4082-24_0_4_load_77 | 85 | 0.0018221 | 0.00045666 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4082-24_0_4_load_78 | 86 | 0.001758 | 0.00044059 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4082-24_0_4_load_84 | 87 | 0.0017857 | 0.00044754 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4082-24_0_4_load_81 | 88 | 0.0018774 | 0.00047051 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4082-24_0_4_load_83 | 89 | 0.011277 | 0.0028262 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4082-24_0_4_line_0 |  | 0 | 1 | 0.0050442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4082-24_0_4_line_1 |  | 0 | 2 | 0.043791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4082-24_0_4_line_2 |  | 1 | 3 | 0.013533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4082-24_0_4_line_3 |  | 3 | 4 | 0.023799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4082-24_0_4_line_4 |  | 3 | 5 | 0.012011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4082-24_0_4_line_5 |  | 5 | 6 | 0.020785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4082-24_0_4_line_6 |  | 6 | 7 | 0.013353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4082-24_0_4_line_7 |  | 7 | 13 | 0.0072123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4082-24_0_4_line_8 |  | 8 | 9 | 0.0064572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4082-24_0_4_line_9 |  | 9 | 10 | 0.042753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4082-24_0_4_line_10 |  | 10 | 11 | 0.016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4082-24_0_4_line_11 |  | 10 | 12 | 0.008557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4082-24_0_4_line_12 |  | 11 | 13 | 0.013607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4082-24_0_4_line_13 |  | 12 | 14 | 0.019694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4082-24_0_4_line_14 |  | 12 | 15 | 0.027538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4082-24_0_4_line_15 |  | 14 | 28 | 0.02466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4082-24_0_4_line_16 |  | 15 | 34 | 0.015409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4082-24_0_4_line_17 |  | 16 | 17 | 0.005563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4082-24_0_4_line_18 |  | 16 | 18 | 0.006123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4082-24_0_4_line_19 |  | 18 | 19 | 0.025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4082-24_0_4_line_20 |  | 19 | 22 | 0.035292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4082-24_0_4_line_21 |  | 19 | 25 | 0.031023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4082-24_0_4_line_22 |  | 20 | 21 | 0.037327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4082-24_0_4_line_23 |  | 20 | 22 | 0.15675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4082-24_0_4_line_24 |  | 22 | 23 | 0.022156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4082-24_0_4_line_25 |  | 22 | 24 | 0.017845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4082-24_0_4_line_26 |  | 23 | 49 | 0.014413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4082-24_0_4_line_27 |  | 24 | 46 | 0.041041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4082-24_0_4_line_28 |  | 25 | 26 | 0.006171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4082-24_0_4_line_29 |  | 26 | 27 | 0.0048747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4082-24_0_4_line_30 |  | 28 | 54 | 0.023906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4082-24_0_4_line_31 |  | 28 | 55 | 0.020372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4082-24_0_4_line_32 |  | 29 | 30 | 0.032868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4082-24_0_4_line_33 |  | 29 | 31 | 0.014556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4082-24_0_4_line_34 |  | 29 | 32 | 0.023016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4082-24_0_4_line_35 |  | 30 | 53 | 0.019007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4082-24_0_4_line_36 |  | 31 | 33 | 0.017835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4082-24_0_4_line_37 |  | 33 | 34 | 0.025023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4082-24_0_4_line_38 |  | 35 | 36 | 0.0060505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4082-24_0_4_line_39 |  | 35 | 37 | 0.0056039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4082-24_0_4_line_40 |  | 36 | 38 | 0.018114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4082-24_0_4_line_41 |  | 38 | 39 | 0.023434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4082-24_0_4_line_42 |  | 38 | 40 | 0.054812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4082-24_0_4_line_43 |  | 39 | 41 | 0.024187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4082-24_0_4_line_44 |  | 39 | 42 | 0.037656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4082-24_0_4_line_45 |  | 40 | 43 | 0.03834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4082-24_0_4_line_46 |  | 41 | 44 | 0.012917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4082-24_0_4_line_47 |  | 42 | 45 | 0.0023973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4082-24_0_4_line_48 |  | 44 | 61 | 0.010937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4082-24_0_4_line_49 |  | 45 | 72 | 0.03607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4082-24_0_4_line_50 |  | 46 | 47 | 0.014392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4082-24_0_4_line_51 |  | 46 | 48 | 0.0067786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4082-24_0_4_line_52 |  | 47 | 50 | 0.019512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4082-24_0_4_line_53 |  | 48 | 51 | 0.0068647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4082-24_0_4_line_54 |  | 49 | 52 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4082-24_0_4_line_55 |  | 50 | 56 | 7.7601e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4082-24_0_4_line_56 |  | 51 | 57 | 0.0048947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4082-24_0_4_line_57 |  | 52 | 58 | 0.0007445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4082-24_0_4_line_58 |  | 54 | 59 | 0.016121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4082-24_0_4_line_59 |  | 56 | 59 | 0.015405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_4082-24_0_4_line_60 |  | 57 | 60 | 0.0023135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4082-24_0_4_line_61 |  | 59 | 70 | 0.018493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4082-24_0_4_line_62 |  | 61 | 62 | 0.019336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4082-24_0_4_line_63 |  | 62 | 63 | 0.012345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4082-24_0_4_line_64 |  | 63 | 64 | 0.016944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_4082-24_0_4_line_65 |  | 63 | 65 | 0.016923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4082-24_0_4_line_66 |  | 64 | 66 | 0.0028908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4082-24_0_4_line_67 |  | 65 | 67 | 0.00038039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4082-24_0_4_line_68 |  | 66 | 68 | 0.0055146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4082-24_0_4_line_69 |  | 67 | 69 | 0.0017912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4082-24_0_4_line_70 |  | 68 | 71 | 0.0040123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4082-24_0_4_line_71 |  | 69 | 76 | 0.00022781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4082-24_0_4_line_72 |  | 70 | 71 | 0.0034715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4082-24_0_4_line_73 |  | 71 | 74 | 0.014573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4082-24_0_4_line_74 |  | 72 | 73 | 0.013546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4082-24_0_4_line_75 |  | 75 | 76 | 8.3802e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4082-24_0_4_line_76 |  | 75 | 77 | 0.0002247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4082-24_0_4_line_77 |  | 77 | 78 | 0.01666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4082-24_0_4_line_78 |  | 78 | 79 | 0.0037037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4082-24_0_4_line_79 |  | 78 | 80 | 0.011123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4082-24_0_4_line_80 |  | 79 | 81 | 0.003019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4082-24_0_4_line_81 |  | 80 | 82 | 0.004767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4082-24_0_4_line_82 |  | 81 | 83 | 0.0048892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4082-24_0_4_line_83 |  | 82 | 84 | 0.0038271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4082-24_0_4_line_84 |  | 83 | 85 | 0.0051794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4082-24_0_4_line_85 |  | 84 | 88 | 0.00124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4082-24_0_4_line_86 |  | 85 | 86 | 0.0050092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4082-24_0_4_line_87 |  | 86 | 87 | 0.0050053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4082-24_0_4_line_88 |  | 88 | 89 | 0.0038318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4082-24_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 90 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2663497.7431 | 1245105.857 | 2663494.8963 | 1245101.693
1 | 2663529.527 | 1245104.6057 | 2663516.357 | 1245117.2957 | 2663510.0687 | 1245119.5855 | 2663505.0166 | 1245116.496 | 2663497.7431 | 1245105.857
2 | 2663487.2587 | 1245090.5214 | 2663494.8963 | 1245101.693
3 | 2663487.2587 | 1245090.5214 | 2663507.5657 | 1245078.1105
4 | 2663487.2587 | 1245090.5214 | 2663477.4874 | 1245097.5064
5 | 2663460.5786 | 1245109.5936 | 2663477.4874 | 1245097.5064
6 | 2663449.4374 | 1245117.0018 | 2663460.5786 | 1245109.5936
7 | 2663449.4374 | 1245117.0018 | 2663445.4729 | 1245110.9769
8 | 2663464.909 | 1245062.9078 | 2663470.3843 | 1245059.4848
9 | 2663428.9464 | 1245085.8613 | 2663439.9036 | 1245078.6957 | 2663448.0632 | 1245071.7115 | 2663464.909 | 1245062.9078
10 | 2663428.9464 | 1245085.8613 | 2663437.9933 | 1245099.6101
11 | 2663424.3769 | 1245078.6186 | 2663428.9464 | 1245085.8613
12 | 2663445.4729 | 1245110.9769 | 2663437.9933 | 1245099.6101
13 | 2663424.3769 | 1245078.6186 | 2663418.4671 | 1245073.7743 | 2663412.7754 | 1245071.1339 | 2663407.1546 | 1245072.4748
14 | 2663424.3769 | 1245078.6186 | 2663421.4889 | 1245080.1888 | 2663416.4883 | 1245082.1701 | 2663414.356 | 1245086.5503 | 2663409.448 | 1245099.6624
15 | 2663383.1029 | 1245078.2218 | 2663407.1546 | 1245072.4748
16 | 2663401.947 | 1245113.1219 | 2663409.448 | 1245099.6624
17 | 2663344.494 | 1244954.2353 | 2663349.4923 | 1244951.7647
18 | 2663349.4923 | 1244951.7647 | 2663350.9703 | 1244957.7068
19 | 2663357.0205 | 1244981.9659 | 2663350.9703 | 1244957.7068
20 | 2663322.721 | 1244990.6835 | 2663357.0205 | 1244981.9659
21 | 2663357.0205 | 1244981.9659 | 2663387.1682 | 1244974.2936
22 | 2663247.0994 | 1244941.8324 | 2663257.7941 | 1244962.1159 | 2663264.8365 | 1244958.5663 | 2663267.7807 | 1244964.3732
23 | 2663247.0994 | 1244941.8324 | 2663255.911 | 1244936.7672 | 2663261.5215 | 1244932.8688 | 2663276.1536 | 1244924.0521 | 2663303.2676 | 1244903.9941 | 2663307.792 | 1244917.6073 | 2663310.3264 | 1244932.8893 | 2663322.721 | 1244990.6835
24 | 2663322.721 | 1244990.6835 | 2663311.8437 | 1244992.4798 | 2663305.205 | 1244990.7745 | 2663301.4173 | 1244992.7622
25 | 2663322.721 | 1244990.6835 | 2663326.3641 | 1245008.1531
26 | 2663301.4173 | 1244992.7622 | 2663288.6552 | 1244999.4595
27 | 2663332.4821 | 1245046.7041 | 2663325.1282 | 1245022.8202 | 2663328.5145 | 1245018.4645 | 2663326.3641 | 1245008.1531
28 | 2663387.1682 | 1244974.2936 | 2663388.9411 | 1244980.2055
29 | 2663388.9411 | 1244980.2055 | 2663390.1219 | 1244984.935
30 | 2663383.1029 | 1245078.2218 | 2663364.5862 | 1245085.0176 | 2663360.7324 | 1245086.6403
31 | 2663383.1029 | 1245078.2218 | 2663377.2364 | 1245058.7123
32 | 2663371.5421 | 1245151.0707 | 2663388.0026 | 1245122.6213
33 | 2663371.5421 | 1245151.0707 | 2663375.9593 | 1245153.464 | 2663379.9107 | 1245155.6188 | 2663381.9922 | 1245151.0378
34 | 2663371.5421 | 1245151.0707 | 2663366.5012 | 1245148.3483 | 2663354.6993 | 1245135.7169
35 | 2663388.0026 | 1245122.6213 | 2663389.5402 | 1245119.9637 | 2663397.4647 | 1245106.1368
36 | 2663381.9922 | 1245151.0378 | 2663389.8944 | 1245135.0492
37 | 2663389.8944 | 1245135.0492 | 2663390.804 | 1245133.2086 | 2663400.3807 | 1245115.9323 | 2663401.947 | 1245113.1219
38 | 2663201.7563 | 1245143.8456 | 2663196.6068 | 1245147.0224
39 | 2663191.8375 | 1245149.9647 | 2663196.6068 | 1245147.0224
40 | 2663217.1727 | 1245134.3349 | 2663201.7563 | 1245143.8456
41 | 2663229.9592 | 1245153.9958 | 2663217.1727 | 1245134.3349
42 | 2663188.9311 | 1245087.3128 | 2663217.1727 | 1245134.3349
43 | 2663229.9592 | 1245153.9958 | 2663251.5387 | 1245143.0718
44 | 2663229.9592 | 1245153.9958 | 2663197.8397 | 1245173.8006
45 | 2663222.7274 | 1245069.0269 | 2663188.9311 | 1245087.3128
46 | 2663263.0632 | 1245137.2379 | 2663251.5387 | 1245143.0718
47 | 2663197.8397 | 1245173.8006 | 2663195.8891 | 1245175.1943
48 | 2663272.8209 | 1245132.2983 | 2663263.0632 | 1245137.2379
49 | 2663166.5469 | 1245196.1717 | 2663187.858 | 1245180.9326 | 2663195.8891 | 1245175.1943
50 | 2663332.4821 | 1245046.7041 | 2663336.6721 | 1245060.4726
51 | 2663332.4821 | 1245046.7041 | 2663326.3256 | 1245049.5408
52 | 2663336.6721 | 1245060.4726 | 2663338.5993 | 1245066.8054 | 2663341.7763 | 1245079.3001
53 | 2663326.3256 | 1245049.5408 | 2663320.0909 | 1245052.4136
54 | 2663288.6552 | 1244999.4595 | 2663288.6552 | 1244999.4595 | 2663274.9367 | 1245000.1147
55 | 2663341.7954 | 1245079.3754 | 2663341.7763 | 1245079.3001
56 | 2663315.6454 | 1245054.462 | 2663320.0909 | 1245052.4136
57 | 2663274.1931 | 1245000.1502 | 2663274.9367 | 1245000.1147
58 | 2663346.4387 | 1245094.0301 | 2663355.0834 | 1245089.0189 | 2663360.7324 | 1245086.6403
59 | 2663346.4387 | 1245094.0301 | 2663343.9146 | 1245087.7099 | 2663341.7954 | 1245079.3754
60 | 2663315.6454 | 1245054.462 | 2663313.5442 | 1245055.4302 | 2663313.5442 | 1245055.4302
61 | 2663346.4387 | 1245094.0301 | 2663329.7993 | 1245102.0998
62 | 2663272.8209 | 1245132.2983 | 2663276.3155 | 1245130.5293 | 2663290.127 | 1245123.6744
63 | 2663301.1852 | 1245118.186 | 2663290.127 | 1245123.6744
64 | 2663301.1852 | 1245118.186 | 2663315.8952 | 1245109.7772
65 | 2663301.1852 | 1245118.186 | 2663293.4887 | 1245103.1143
66 | 2663318.4049 | 1245108.3426 | 2663315.8952 | 1245109.7772
67 | 2663293.3157 | 1245102.7756 | 2663293.4887 | 1245103.1143
68 | 2663318.4049 | 1245108.3426 | 2663323.1925 | 1245105.6058
69 | 2663292.5011 | 1245101.1803 | 2663293.3157 | 1245102.7756
70 | 2663326.6758 | 1245103.6146 | 2663323.1925 | 1245105.6058
71 | 2663292.3975 | 1245100.9774 | 2663292.5011 | 1245101.1803
72 | 2663326.6758 | 1245103.6146 | 2663329.7993 | 1245102.0998
73 | 2663326.6758 | 1245103.6146 | 2663328.2176 | 1245106.4108 | 2663335.7818 | 1245114.9131
74 | 2663166.5469 | 1245196.1717 | 2663158.9394 | 1245184.9637
75 | 2663292.3594 | 1245100.9028 | 2663292.3975 | 1245100.9774
76 | 2663292.2572 | 1245100.7027 | 2663292.3594 | 1245100.9028
77 | 2663284.6805 | 1245085.8655 | 2663292.2572 | 1245100.7027
78 | 2663284.6805 | 1245085.8655 | 2663283.0385 | 1245082.5457
79 | 2663284.6805 | 1245085.8655 | 2663274.7305 | 1245090.8384
80 | 2663285.738 | 1245081.1942 | 2663283.0385 | 1245082.5457
81 | 2663274.7305 | 1245090.8384 | 2663270.4665 | 1245092.9695
82 | 2663285.738 | 1245081.1942 | 2663290.1099 | 1245079.0055
83 | 2663267.0431 | 1245094.6804 | 2663270.4665 | 1245092.9695
84 | 2663294.7413 | 1245076.6868 | 2663290.1099 | 1245079.0055
85 | 2663267.0431 | 1245094.6804 | 2663265.934 | 1245095.2348
86 | 2663294.7413 | 1245076.6868 | 2663299.2205 | 1245074.4444
87 | 2663303.6962 | 1245072.2036 | 2663299.2205 | 1245074.4444
88 | 2663262.5064 | 1245096.9478 | 2663265.934 | 1245095.2348

## bus_geodata
| x | y | coords
0 | 2663497.7431 | 1245105.857
1 | 2663494.8963 | 1245101.693
2 | 2663529.527 | 1245104.6057
3 | 2663487.2587 | 1245090.5214
4 | 2663507.5657 | 1245078.1105
5 | 2663477.4874 | 1245097.5064
6 | 2663460.5786 | 1245109.5936
7 | 2663449.4374 | 1245117.0018
8 | 2663470.3843 | 1245059.4848
9 | 2663464.909 | 1245062.9078
10 | 2663428.9464 | 1245085.8613
11 | 2663437.9933 | 1245099.6101
12 | 2663424.3769 | 1245078.6186
13 | 2663445.4729 | 1245110.9769
14 | 2663407.1546 | 1245072.4748
15 | 2663409.448 | 1245099.6624
16 | 2663349.4923 | 1244951.7647
17 | 2663344.494 | 1244954.2353
18 | 2663350.9703 | 1244957.7068
19 | 2663357.0205 | 1244981.9659
20 | 2663247.0994 | 1244941.8324
21 | 2663267.7807 | 1244964.3732
22 | 2663322.721 | 1244990.6835
23 | 2663301.4173 | 1244992.7622
24 | 2663326.3641 | 1245008.1531
25 | 2663387.1682 | 1244974.2936
26 | 2663388.9411 | 1244980.2055
27 | 2663390.1219 | 1244984.935
28 | 2663383.1029 | 1245078.2218
29 | 2663371.5421 | 1245151.0707
30 | 2663388.0026 | 1245122.6213
31 | 2663381.9922 | 1245151.0378
32 | 2663354.6993 | 1245135.7169
33 | 2663389.8944 | 1245135.0492
34 | 2663401.947 | 1245113.1219
35 | 2663196.6068 | 1245147.0224
36 | 2663201.7563 | 1245143.8456
37 | 2663191.8375 | 1245149.9647
38 | 2663217.1727 | 1245134.3349
39 | 2663229.9592 | 1245153.9958
40 | 2663188.9311 | 1245087.3128
41 | 2663251.5387 | 1245143.0718
42 | 2663197.8397 | 1245173.8006
43 | 2663222.7274 | 1245069.0269
44 | 2663263.0632 | 1245137.2379
45 | 2663195.8891 | 1245175.1943
46 | 2663332.4821 | 1245046.7041
47 | 2663336.6721 | 1245060.4726
48 | 2663326.3256 | 1245049.5408
49 | 2663288.6552 | 1244999.4595
50 | 2663341.7763 | 1245079.3001
51 | 2663320.0909 | 1245052.4136
52 | 2663274.9367 | 1245000.1147
53 | 2663397.4647 | 1245106.1368
54 | 2663360.7324 | 1245086.6403
55 | 2663377.2364 | 1245058.7123
56 | 2663341.7954 | 1245079.3754
57 | 2663315.6454 | 1245054.462
58 | 2663274.1931 | 1245000.1502
59 | 2663346.4387 | 1245094.0301
60 | 2663313.5442 | 1245055.4302
61 | 2663272.8209 | 1245132.2983
62 | 2663290.127 | 1245123.6744
63 | 2663301.1852 | 1245118.186
64 | 2663315.8952 | 1245109.7772
65 | 2663293.4887 | 1245103.1143
66 | 2663318.4049 | 1245108.3426
67 | 2663293.3157 | 1245102.7756
68 | 2663323.1925 | 1245105.6058
69 | 2663292.5011 | 1245101.1803
70 | 2663329.7993 | 1245102.0998
71 | 2663326.6758 | 1245103.6146
72 | 2663166.5469 | 1245196.1717
73 | 2663158.9394 | 1245184.9637
74 | 2663335.7818 | 1245114.9131
75 | 2663292.3594 | 1245100.9028
76 | 2663292.3975 | 1245100.9774
77 | 2663292.2572 | 1245100.7027
78 | 2663284.6805 | 1245085.8655
79 | 2663283.0385 | 1245082.5457
80 | 2663274.7305 | 1245090.8384
81 | 2663285.738 | 1245081.1942
82 | 2663270.4665 | 1245092.9695
83 | 2663290.1099 | 1245079.0055
84 | 2663267.0431 | 1245094.6804
85 | 2663294.7413 | 1245076.6868
86 | 2663299.2205 | 1245074.4444
87 | 2663303.6962 | 1245072.2036
88 | 2663265.934 | 1245095.2348
89 | 2663262.5064 | 1245096.9478
90 | 2663346.4387 | 1245094.0301

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1