## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4082-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4082-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4082-2_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4082-2_0_4_node_128 | 0.4 | n |  | TRUE
4 | bus_LV_4082-2_0_4_node_129 | 0.4 | n |  | TRUE
5 | bus_LV_4082-2_0_4_node_130 | 0.4 | n |  | TRUE
6 | bus_LV_4082-2_0_4_node_140 | 0.4 | n |  | TRUE
7 | bus_LV_4082-2_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4082-2_0_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_4082-2_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_4082-2_0_4_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_4082-2_0_4_node_131 | 0.4 | n |  | TRUE
12 | bus_LV_4082-2_0_4_node_141 | 0.4 | n |  | TRUE
13 | bus_LV_4082-2_0_4_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_4082-2_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4082-2_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4082-2_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_4082-2_0_4_node_118 | 0.4 | n |  | TRUE
18 | bus_LV_4082-2_0_4_node_127 | 0.4 | n |  | TRUE
19 | bus_LV_4082-2_0_4_node_133 | 0.4 | n |  | TRUE
20 | bus_LV_4082-2_0_4_node_132 | 0.4 | n |  | TRUE
21 | bus_LV_4082-2_0_4_node_123 | 0.4 | n |  | TRUE
22 | bus_LV_4082-2_0_4_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4082-2_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4082-2_0_4_node_111 | 0.4 | n |  | TRUE
25 | bus_LV_4082-2_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_4082-2_0_4_node_121 | 0.4 | n |  | TRUE
27 | bus_LV_4082-2_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4082-2_0_4_node_115 | 0.4 | n |  | TRUE
29 | bus_LV_4082-2_0_4_node_114 | 0.4 | n |  | TRUE
30 | bus_LV_4082-2_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4082-2_0_4_node_117 | 0.4 | n |  | TRUE
32 | bus_LV_4082-2_0_4_node_116 | 0.4 | n |  | TRUE
33 | bus_LV_4082-2_0_4_node_113 | 0.4 | n |  | TRUE
34 | bus_LV_4082-2_0_4_node_104 | 0.4 | n |  | TRUE
35 | bus_LV_4082-2_0_4_node_102 | 0.4 | n |  | TRUE
36 | bus_LV_4082-2_0_4_node_124 | 0.4 | n |  | TRUE
37 | bus_LV_4082-2_0_4_node_134 | 0.4 | n |  | TRUE
38 | bus_LV_4082-2_0_4_node_106 | 0.4 | n |  | TRUE
39 | bus_LV_4082-2_0_4_node_105 | 0.4 | n |  | TRUE
40 | bus_LV_4082-2_0_4_node_107 | 0.4 | n |  | TRUE
41 | bus_LV_4082-2_0_4_node_112 | 0.4 | n |  | TRUE
42 | bus_LV_4082-2_0_4_node_120 | 0.4 | n |  | TRUE
43 | bus_LV_4082-2_0_4_node_119 | 0.4 | n |  | TRUE
44 | bus_LV_4082-2_0_4_node_122 | 0.4 | n |  | TRUE
45 | bus_LV_4082-2_0_4_node_125 | 0.4 | n |  | TRUE
46 | bus_LV_4082-2_0_4_node_126 | 0.4 | n |  | TRUE
47 | bus_MV_428_1_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4082-2_0_4_load_0 | 0 | 0.0075222 | 0.0018852 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4082-2_0_4_load_128 | 3 | 0.0020814 | 0.00052165 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4082-2_0_4_load_129 | 4 | 0.00034383 | 8.6172e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4082-2_0_4_load_140 | 6 | 0.0099476 | 0.0024931 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4082-2_0_4_load_141 | 12 | 0.027117 | 0.0067961 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4082-2_0_4_load_118 | 17 | 0.0020772 | 0.00052058 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4082-2_0_4_load_133 | 19 | 0.0059285 | 0.0014858 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4082-2_0_4_load_132 | 20 | 0.028478 | 0.0071373 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4082-2_0_4_load_123 | 21 | 0.0092095 | 0.0023081 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4082-2_0_4_load_111 | 24 | 0.019252 | 0.0048251 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4082-2_0_4_load_121 | 26 | 0.020266 | 0.0050793 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4082-2_0_4_load_115 | 28 | 0.00026434 | 6.6251e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4082-2_0_4_load_114 | 29 | 0.0037662 | 0.00094389 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4082-2_0_4_load_117 | 31 | 0.0027339 | 0.00068519 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4082-2_0_4_load_116 | 32 | 0.0031611 | 0.00079224 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4082-2_0_4_load_113 | 33 | 0.019583 | 0.0049079 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4082-2_0_4_load_104 | 34 | 0.020687 | 0.0051848 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4082-2_0_4_load_102 | 35 | 0.01743 | 0.0043684 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4082-2_0_4_load_134 | 37 | 0.00069042 | 0.00017304 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4082-2_0_4_load_105 | 39 | 0.0075184 | 0.0018843 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4082-2_0_4_load_107 | 40 | 0.0093464 | 0.0023424 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4082-2_0_4_load_112 | 41 | 0.093755 | 0.023497 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4082-2_0_4_load_120 | 42 | 0.012554 | 0.0031462 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4082-2_0_4_load_119 | 43 | 0.0077611 | 0.0019451 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4082-2_0_4_load_122 | 44 | 0.00060614 | 0.00015191 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4082-2_0_4_load_126 | 46 | 0.0076876 | 0.0019267 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4082-2_0_4_line_0 |  | 0 | 1 | 0.031205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4082-2_0_4_line_1 |  | 1 | 2 | 0.024539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4082-2_0_4_line_2 |  | 2 | 6 | 0.007835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4082-2_0_4_line_3 |  | 2 | 7 | 0.1077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_4082-2_0_4_line_4 |  | 2 | 8 | 0.10522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_4082-2_0_4_line_5 |  | 3 | 4 | 0.022422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4082-2_0_4_line_6 |  | 3 | 5 | 0.020412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4082-2_0_4_line_7 |  | 5 | 18 | 0.023757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4082-2_0_4_line_8 |  | 5 | 11 | 0.016376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4082-2_0_4_line_9 |  | 7 | 12 | 0.062571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4082-2_0_4_line_10 |  | 7 | 13 | 0.15183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4082-2_0_4_line_11 |  | 8 | 14 | 0.038626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4082-2_0_4_line_12 |  | 9 | 10 | 0.071095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4082-2_0_4_line_13 |  | 9 | 11 | 0.025666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4082-2_0_4_line_14 |  | 10 | 21 | 0.03001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4082-2_0_4_line_15 |  | 11 | 19 | 0.034685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4082-2_0_4_line_16 |  | 13 | 36 | 0.062666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4082-2_0_4_line_17 |  | 13 | 20 | 0.026654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4082-2_0_4_line_18 |  | 14 | 15 | 0.043686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4082-2_0_4_line_19 |  | 15 | 16 | 0.13401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4082-2_0_4_line_20 |  | 15 | 17 | 0.00989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4082-2_0_4_line_21 |  | 16 | 33 | 0.017561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4082-2_0_4_line_22 |  | 16 | 30 | 0.04852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4082-2_0_4_line_23 |  | 17 | 43 | 0.020805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4082-2_0_4_line_24 |  | 18 | 45 | 0.012543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4082-2_0_4_line_25 |  | 19 | 37 | 0.025939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4082-2_0_4_line_26 |  | 21 | 36 | 0.033272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4082-2_0_4_line_27 |  | 22 | 23 | 0.10947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4082-2_0_4_line_28 |  | 22 | 24 | 0.037566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4082-2_0_4_line_29 |  | 23 | 25 | 0.12809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4082-2_0_4_line_30 |  | 23 | 26 | 0.012173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4082-2_0_4_line_31 |  | 24 | 41 | 0.011828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4082-2_0_4_line_32 |  | 25 | 34 | 0.02954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4082-2_0_4_line_33 |  | 25 | 35 | 0.094202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4082-2_0_4_line_34 |  | 26 | 44 | 0.0063874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4082-2_0_4_line_35 |  | 27 | 28 | 0.047943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4082-2_0_4_line_36 |  | 27 | 29 | 0.029158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4082-2_0_4_line_37 |  | 28 | 32 | 0.015283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4082-2_0_4_line_38 |  | 30 | 31 | 0.029152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4082-2_0_4_line_39 |  | 30 | 32 | 0.037744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4082-2_0_4_line_40 |  | 31 | 42 | 0.0018471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4082-2_0_4_line_41 |  | 33 | 41 | 0.031746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_4082-2_0_4_line_42 |  | 34 | 38 | 0.045237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4082-2_0_4_line_43 |  | 38 | 40 | 0.01326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4082-2_0_4_line_44 |  | 38 | 39 | 0.021703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4082-2_0_4_line_45 |  | 45 | 46 | 0.038206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4082-2_0_4_trafo_113 | 0.63 MVA 20/0.4 kV | 47 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2663075.1538 | 1245483.6754 | 2663072.1745 | 1245481.0642 | 2663070.266 | 1245482.9118 | 2663052.8692 | 1245465.5372
1 | 2663075.1538 | 1245483.6754 | 2663057.3543 | 1245500.6202
2 | 2663051.4174 | 1245495.4869 | 2663057.3543 | 1245500.6202
3 | 2663057.3543 | 1245500.6202 | 2663061.0526 | 1245503.8283 | 2663054.1514 | 1245510.5152 | 2663059.1599 | 1245515.5496 | 2663064.5707 | 1245521.1332 | 2663063.5967 | 1245522.4905 | 2663063.2751 | 1245524.3105 | 2663063.2408 | 1245527.5346 | 2663054.3268 | 1245535.223 | 2663058.5046 | 1245538.8143 | 2663078.5448 | 1245556.962 | 2663098.4437 | 1245575.5975
4 | 2663018.1051 | 1245461.4095 | 2663006.8649 | 1245471.8529 | 2663010.4023 | 1245478.8286 | 2663014.4098 | 1245486.3541 | 2663021.9901 | 1245498.2317 | 2663034.1817 | 1245512.7156 | 2663039.463 | 1245516.9747 | 2663042.165 | 1245519.3717 | 2663044.9902 | 1245519.424 | 2663050.007 | 1245514.4405 | 2663054.1514 | 1245510.5152 | 2663061.0526 | 1245503.8283 | 2663057.3543 | 1245500.6202
5 | 2662966.7256 | 1245682.7617 | 2662953.0143 | 1245697.0032 | 2662954.9314 | 1245698.8375
6 | 2662980.883 | 1245668.0568 | 2662966.7256 | 1245682.7617
7 | 2662980.883 | 1245668.0568 | 2662997.4592 | 1245685.1223
8 | 2662969.456 | 1245656.2941 | 2662980.883 | 1245668.0568
9 | 2663098.4437 | 1245575.5975 | 2663077.6963 | 1245598.3704 | 2663071.9121 | 1245599.4986 | 2663052.7034 | 1245582.0269
10 | 2663069.803 | 1245685.5578 | 2663074.2313 | 1245679.7786 | 2663136.3737 | 1245611.5703 | 2663118.4695 | 1245594.3679 | 2663098.4437 | 1245575.5975
11 | 2662989.7851 | 1245482.9459 | 2662992.0267 | 1245485.2935 | 2663001.9462 | 1245476.8375 | 2663006.8649 | 1245471.8529 | 2663018.1051 | 1245461.4095
12 | 2662951.435 | 1245637.968 | 2662951.1694 | 1245635.9416 | 2662948.2108 | 1245632.808 | 2662977.7705 | 1245601.8781 | 2662985.7679 | 1245610.0464 | 2662978.7339 | 1245617.8772
13 | 2662951.435 | 1245637.968 | 2662969.456 | 1245656.2941
14 | 2662978.7339 | 1245617.8772 | 2663000.9502 | 1245638.0524
15 | 2662969.456 | 1245656.2941 | 2662944.1209 | 1245679.984
16 | 2663020.5963 | 1245660.6511 | 2663047.7086 | 1245684.4222 | 2663065.0758 | 1245691.7229 | 2663069.803 | 1245685.5578
17 | 2663069.803 | 1245685.5578 | 2663049.8786 | 1245667.8536
18 | 2662983.4877 | 1245513.8781 | 2662976.5824 | 1245506.7333 | 2662995.1531 | 1245488.2843 | 2662992.0267 | 1245485.2935 | 2662989.7851 | 1245482.9459
19 | 2662883.2254 | 1245569.6532 | 2662917.8456 | 1245543.858 | 2662921.6182 | 1245547.1892 | 2662927.8857 | 1245541.107 | 2662932.8309 | 1245536.4562 | 2662941.4468 | 1245528.3643 | 2662944.0512 | 1245530.7046 | 2662973.1373 | 1245503.1609 | 2662976.5824 | 1245506.7333 | 2662983.4877 | 1245513.8781
20 | 2662983.4877 | 1245513.8781 | 2662990.3592 | 1245520.9911
21 | 2662883.2254 | 1245569.6532 | 2662879.1131 | 1245572.7118 | 2662868.9448 | 1245569.0348 | 2662867.9233 | 1245567.7734
22 | 2662868.682 | 1245604.512 | 2662892.7718 | 1245580.6731 | 2662889.815 | 1245578.0733 | 2662883.2254 | 1245569.6532
23 | 2662983.8238 | 1245535.5856 | 2662994.5032 | 1245525.2807 | 2662990.3592 | 1245520.9911
24 | 2662997.4592 | 1245685.1223 | 2663006.2105 | 1245694.1326
25 | 2662944.1209 | 1245679.984 | 2662925.1746 | 1245697.7
26 | 2663020.5963 | 1245660.6511 | 2663022.9736 | 1245658.0524 | 2663000.9502 | 1245638.0524
27 | 2662818.1855 | 1245503.6744 | 2662755.4295 | 1245572.2799 | 2662759.7348 | 1245576.684 | 2662766.955 | 1245584.0766
28 | 2662818.1855 | 1245503.6744 | 2662840.9621 | 1245533.5482
29 | 2662679.072 | 1245546.166 | 2662730.1518 | 1245599.9094 | 2662755.4295 | 1245572.2799 | 2662759.7348 | 1245576.684 | 2662766.955 | 1245584.0766
30 | 2662766.955 | 1245584.0766 | 2662763.4076 | 1245595.7214
31 | 2662840.9621 | 1245533.5482 | 2662848.1334 | 1245542.9541
32 | 2662679.072 | 1245546.166 | 2662658.7035 | 1245524.7706
33 | 2662679.072 | 1245546.166 | 2662726.3233 | 1245464.6719
34 | 2662761.5463 | 1245601.8316 | 2662763.4076 | 1245595.7214
35 | 2662796.8355 | 1245675.4557 | 2662830.9482 | 1245641.7686
36 | 2662796.8355 | 1245675.4557 | 2662817.2415 | 1245696.2838
37 | 2662830.9482 | 1245641.7686 | 2662841.8225 | 1245631.0298
38 | 2662868.682 | 1245604.512 | 2662888.5759 | 1245625.8214
39 | 2662868.682 | 1245604.512 | 2662858.115 | 1245614.9406 | 2662841.8225 | 1245631.0298
40 | 2662888.5759 | 1245625.8214 | 2662889.8364 | 1245627.1715
41 | 2662848.1334 | 1245542.9541 | 2662853.0972 | 1245549.4646 | 2662867.9233 | 1245567.7734
42 | 2662627.512 | 1245492.0065 | 2662658.7035 | 1245524.7706
43 | 2662627.512 | 1245492.0065 | 2662620.7384 | 1245503.4064
44 | 2662627.512 | 1245492.0065 | 2662638.2158 | 1245473.1263
45 | 2663006.2105 | 1245694.1326 | 2662980.9913 | 1245722.8325

## bus_geodata
| x | y | coords
0 | 2663052.8692 | 1245465.5372
1 | 2663075.1538 | 1245483.6754
2 | 2663057.3543 | 1245500.6202
3 | 2662966.7256 | 1245682.7617
4 | 2662954.9314 | 1245698.8375
5 | 2662980.883 | 1245668.0568
6 | 2663051.4174 | 1245495.4869
7 | 2663098.4437 | 1245575.5975
8 | 2663018.1051 | 1245461.4095
9 | 2662951.435 | 1245637.968
10 | 2662978.7339 | 1245617.8772
11 | 2662969.456 | 1245656.2941
12 | 2663052.7034 | 1245582.0269
13 | 2663069.803 | 1245685.5578
14 | 2662989.7851 | 1245482.9459
15 | 2662983.4877 | 1245513.8781
16 | 2662883.2254 | 1245569.6532
17 | 2662990.3592 | 1245520.9911
18 | 2662997.4592 | 1245685.1223
19 | 2662944.1209 | 1245679.984
20 | 2663049.8786 | 1245667.8536
21 | 2663000.9502 | 1245638.0524
22 | 2662818.1855 | 1245503.6744
23 | 2662766.955 | 1245584.0766
24 | 2662840.9621 | 1245533.5482
25 | 2662679.072 | 1245546.166
26 | 2662763.4076 | 1245595.7214
27 | 2662796.8355 | 1245675.4557
28 | 2662830.9482 | 1245641.7686
29 | 2662817.2415 | 1245696.2838
30 | 2662868.682 | 1245604.512
31 | 2662888.5759 | 1245625.8214
32 | 2662841.8225 | 1245631.0298
33 | 2662867.9233 | 1245567.7734
34 | 2662658.7035 | 1245524.7706
35 | 2662726.3233 | 1245464.6719
36 | 2663020.5963 | 1245660.6511
37 | 2662925.1746 | 1245697.7
38 | 2662627.512 | 1245492.0065
39 | 2662638.2158 | 1245473.1263
40 | 2662620.7384 | 1245503.4064
41 | 2662848.1334 | 1245542.9541
42 | 2662889.8364 | 1245627.1715
43 | 2662983.8238 | 1245535.5856
44 | 2662761.5463 | 1245601.8316
45 | 2663006.2105 | 1245694.1326
46 | 2662980.9913 | 1245722.8325
47 | 2662883.2254 | 1245569.6532

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1