## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4082-32_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4082-32_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4082-32_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4082-32_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4082-32_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4082-32_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4082-32_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_4082-32_0_3_node_117 | 0.4 | n |  | TRUE
8 | bus_LV_4082-32_0_3_node_166 | 0.4 | n |  | TRUE
9 | bus_LV_4082-32_0_3_node_188 | 0.4 | n |  | TRUE
10 | bus_LV_4082-32_0_3_node_186 | 0.4 | n |  | TRUE
11 | bus_LV_4082-32_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4082-32_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4082-32_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4082-32_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4082-32_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4082-32_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_4082-32_0_3_node_124 | 0.4 | n |  | TRUE
18 | bus_LV_4082-32_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4082-32_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4082-32_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4082-32_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4082-32_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4082-32_0_3_node_201 | 0.4 | n |  | TRUE
24 | bus_LV_4082-32_0_3_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_4082-32_0_3_node_126 | 0.4 | n |  | TRUE
26 | bus_LV_4082-32_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_4082-32_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4082-32_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_4082-32_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_4082-32_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_4082-32_0_3_node_187 | 0.4 | n |  | TRUE
32 | bus_LV_4082-32_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_4082-32_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_4082-32_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_4082-32_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4082-32_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4082-32_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4082-32_0_3_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_4082-32_0_3_node_168 | 0.4 | n |  | TRUE
40 | bus_LV_4082-32_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_4082-32_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_4082-32_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4082-32_0_3_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_4082-32_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_4082-32_0_3_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_4082-32_0_3_node_147 | 0.4 | n |  | TRUE
47 | bus_LV_4082-32_0_3_node_146 | 0.4 | n |  | TRUE
48 | bus_LV_4082-32_0_3_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_4082-32_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_4082-32_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_4082-32_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_4082-32_0_3_node_217 | 0.4 | n |  | TRUE
53 | bus_LV_4082-32_0_3_node_133 | 0.4 | n |  | TRUE
54 | bus_LV_4082-32_0_3_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_4082-32_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_4082-32_0_3_node_90 | 0.4 | n |  | TRUE
57 | bus_LV_4082-32_0_3_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_4082-32_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_4082-32_0_3_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_4082-32_0_3_node_128 | 0.4 | n |  | TRUE
61 | bus_LV_4082-32_0_3_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_4082-32_0_3_node_150 | 0.4 | n |  | TRUE
63 | bus_LV_4082-32_0_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_4082-32_0_3_node_79 | 0.4 | n |  | TRUE
65 | bus_LV_4082-32_0_3_node_204 | 0.4 | n |  | TRUE
66 | bus_LV_4082-32_0_3_node_103 | 0.4 | n |  | TRUE
67 | bus_LV_4082-32_0_3_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_4082-32_0_3_node_105 | 0.4 | n |  | TRUE
69 | bus_LV_4082-32_0_3_node_106 | 0.4 | n |  | TRUE
70 | bus_LV_4082-32_0_3_node_107 | 0.4 | n |  | TRUE
71 | bus_LV_4082-32_0_3_node_165 | 0.4 | n |  | TRUE
72 | bus_LV_4082-32_0_3_node_122 | 0.4 | n |  | TRUE
73 | bus_LV_4082-32_0_3_node_123 | 0.4 | n |  | TRUE
74 | bus_LV_4082-32_0_3_node_125 | 0.4 | n |  | TRUE
75 | bus_LV_4082-32_0_3_node_127 | 0.4 | n |  | TRUE
76 | bus_LV_4082-32_0_3_node_229 | 0.4 | n |  | TRUE
77 | bus_LV_4082-32_0_3_node_134 | 0.4 | n |  | TRUE
78 | bus_LV_4082-32_0_3_node_135 | 0.4 | n |  | TRUE
79 | bus_LV_4082-32_0_3_node_136 | 0.4 | n |  | TRUE
80 | bus_LV_4082-32_0_3_node_137 | 0.4 | n |  | TRUE
81 | bus_LV_4082-32_0_3_node_138 | 0.4 | n |  | TRUE
82 | bus_LV_4082-32_0_3_node_139 | 0.4 | n |  | TRUE
83 | bus_LV_4082-32_0_3_node_140 | 0.4 | n |  | TRUE
84 | bus_LV_4082-32_0_3_node_208 | 0.4 | n |  | TRUE
85 | bus_LV_4082-32_0_3_node_159 | 0.4 | n |  | TRUE
86 | bus_LV_4082-32_0_3_node_149 | 0.4 | n |  | TRUE
87 | bus_LV_4082-32_0_3_node_151 | 0.4 | n |  | TRUE
88 | bus_LV_4082-32_0_3_node_152 | 0.4 | n |  | TRUE
89 | bus_LV_4082-32_0_3_node_233 | 0.4 | n |  | TRUE
90 | bus_LV_4082-32_0_3_node_160 | 0.4 | n |  | TRUE
91 | bus_LV_4082-32_0_3_node_231 | 0.4 | n |  | TRUE
92 | bus_LV_4082-32_0_3_node_205 | 0.4 | n |  | TRUE
93 | bus_LV_4082-32_0_3_node_169 | 0.4 | n |  | TRUE
94 | bus_LV_4082-32_0_3_node_221 | 0.4 | n |  | TRUE
95 | bus_LV_4082-32_0_3_node_202 | 0.4 | n |  | TRUE
96 | bus_LV_4082-32_0_3_node_198 | 0.4 | n |  | TRUE
97 | bus_LV_4082-32_0_3_node_199 | 0.4 | n |  | TRUE
98 | bus_LV_4082-32_0_3_node_200 | 0.4 | n |  | TRUE
99 | bus_LV_4082-32_0_3_node_206 | 0.4 | n |  | TRUE
100 | bus_LV_4082-32_0_3_node_207 | 0.4 | n |  | TRUE
101 | bus_LV_4082-32_0_3_node_209 | 0.4 | n |  | TRUE
102 | bus_LV_4082-32_0_3_node_224 | 0.4 | n |  | TRUE
103 | bus_LV_4082-32_0_3_node_225 | 0.4 | n |  | TRUE
104 | bus_LV_4082-32_0_3_node_230 | 0.4 | n |  | TRUE
105 | bus_MV_428_1_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4082-32_0_3_load_0 | 0 | 0.0090611 | 0.0022709 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4082-32_0_3_load_3 | 3 | 0.016155 | 0.0040487 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4082-32_0_3_load_7 | 5 | 0.007896 | 0.0019789 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4082-32_0_3_load_117 | 7 | 0.0010683 | 0.00026773 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4082-32_0_3_load_166 | 8 | 0.0047313 | 0.0011858 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4082-32_0_3_load_188 | 9 | 0.0047869 | 0.0011997 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4082-32_0_3_load_186 | 10 | 0.0057616 | 0.001444 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4082-32_0_3_load_9 | 11 | 0.0039971 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4082-32_0_3_load_10 | 12 | 0.0023326 | 0.0005846 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4082-32_0_3_load_11 | 13 | 0.0038022 | 0.00095293 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4082-32_0_3_load_12 | 14 | 0.0018595 | 0.00046602 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4082-32_0_3_load_20 | 16 | 0.0016677 | 0.00041796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4082-32_0_3_load_124 | 17 | 0.0018655 | 0.00046754 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4082-32_0_3_load_14 | 18 | 0.0033189 | 0.0008318 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4082-32_0_3_load_15 | 19 | 0.0018352 | 0.00045995 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4082-32_0_3_load_16 | 20 | 0.0011944 | 0.00029933 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4082-32_0_3_load_18 | 22 | 0.0011695 | 0.00029311 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4082-32_0_3_load_201 | 23 | 0.0018419 | 0.00046162 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4082-32_0_3_load_19 | 26 | 0.0051044 | 0.0012793 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4082-32_0_3_load_21 | 27 | 0.0040036 | 0.0010034 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4082-32_0_3_load_23 | 28 | 0.018333 | 0.0045946 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4082-32_0_3_load_26 | 32 | 0.0009301 | 0.00023311 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4082-32_0_3_load_27 | 33 | 0.0012257 | 0.00030718 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4082-32_0_3_load_29 | 35 | 0.0014012 | 0.00035118 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4082-32_0_3_load_30 | 36 | 0.0012227 | 0.00030644 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4082-32_0_3_load_31 | 37 | 0.0014411 | 0.00036117 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4082-32_0_3_load_168 | 39 | 0.0019789 | 0.00049596 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4082-32_0_3_load_37 | 40 | 0.0012503 | 0.00031336 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4082-32_0_3_load_38 | 41 | 0.0010559 | 0.00026463 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4082-32_0_3_load_39 | 42 | 0.0021573 | 0.00054066 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4082-32_0_3_load_40 | 43 | 0.0010365 | 0.00025977 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4082-32_0_3_load_91 | 45 | 0.0044924 | 0.0011259 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4082-32_0_3_load_147 | 46 | 0.0013865 | 0.00034749 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4082-32_0_3_load_146 | 47 | 0.0024192 | 0.00060631 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4082-32_0_3_load_49 | 48 | 0.001864 | 0.00046716 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4082-32_0_3_load_50 | 49 | 0.0016837 | 0.00042198 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4082-32_0_3_load_51 | 50 | 0.0017572 | 0.00044039 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4082-32_0_3_load_52 | 51 | 0.0010819 | 0.00027114 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4082-32_0_3_load_217 | 52 | 0.001536 | 0.00038495 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4082-32_0_3_load_133 | 53 | 0.0013712 | 0.00034365 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4082-32_0_3_load_55 | 54 | 0.0057099 | 0.001431 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4082-32_0_3_load_57 | 55 | 0.0011136 | 0.00027908 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4082-32_0_3_load_90 | 56 | 0.00062719 | 0.00015719 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4082-32_0_3_load_59 | 57 | 0.00092248 | 0.00023119 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4082-32_0_3_load_60 | 58 | 0.0016102 | 0.00040355 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4082-32_0_3_load_62 | 59 | 0.0015654 | 0.00039232 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4082-32_0_3_load_128 | 60 | 0.002 | 0.00050124 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4082-32_0_3_load_77 | 63 | 0.0049504 | 0.0012407 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4082-32_0_3_load_79 | 64 | 0.002792 | 0.00069974 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4082-32_0_3_load_204 | 65 | 0.0019682 | 0.00049328 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4082-32_0_3_load_103 | 66 | 0.0016317 | 0.00040894 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4082-32_0_3_load_104 | 67 | 0.002018 | 0.00050575 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4082-32_0_3_load_105 | 68 | 0.001502 | 0.00037644 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4082-32_0_3_load_106 | 69 | 0.0016302 | 0.00040858 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4082-32_0_3_load_165 | 71 | 0.0010914 | 0.00027352 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4082-32_0_3_load_122 | 72 | 0.0020764 | 0.0005204 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4082-32_0_3_load_125 | 74 | 0.00084214 | 0.00021106 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4082-32_0_3_load_229 | 76 | 0.0012061 | 0.00030227 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4082-32_0_3_load_134 | 77 | 0.0023675 | 0.00059335 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4082-32_0_3_load_135 | 78 | 0.001687 | 0.00042281 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4082-32_0_3_load_136 | 79 | 0.0011718 | 0.00029368 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4082-32_0_3_load_137 | 80 | 0.0013456 | 0.00033725 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4082-32_0_3_load_138 | 81 | 0.0015179 | 0.00038042 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4082-32_0_3_load_139 | 82 | 0.0013538 | 0.0003393 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4082-32_0_3_load_140 | 83 | 0.0013783 | 0.00034543 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4082-32_0_3_load_208 | 84 | 0.0012769 | 0.00032002 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4082-32_0_3_load_159 | 85 | 0.0011787 | 0.00029541 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4082-32_0_3_load_149 | 86 | 0.0011236 | 0.0002816 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4082-32_0_3_load_151 | 87 | 0.0013313 | 0.00033366 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4082-32_0_3_load_152 | 88 | 0.0029438 | 0.00073778 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4082-32_0_3_load_233 | 89 | 0.007431 | 0.0018624 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4082-32_0_3_load_160 | 90 | 0.0013625 | 0.00034146 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4082-32_0_3_load_231 | 91 | 0.0011635 | 0.00029161 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4082-32_0_3_load_205 | 92 | 0.0028175 | 0.00070613 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4082-32_0_3_load_169 | 93 | 0.002115 | 0.00053006 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4082-32_0_3_load_221 | 94 | 0.005922 | 0.0014842 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4082-32_0_3_load_202 | 95 | 0.0054484 | 0.0013655 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4082-32_0_3_load_198 | 96 | 0.00095955 | 0.00024048 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4082-32_0_3_load_199 | 97 | 0.0021023 | 0.00052687 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4082-32_0_3_load_200 | 98 | 0.0028427 | 0.00071245 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4082-32_0_3_load_206 | 99 | 0.001284 | 0.00032181 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4082-32_0_3_load_207 | 100 | 0.0012925 | 0.00032392 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4082-32_0_3_load_209 | 101 | 0.0011369 | 0.00028493 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4082-32_0_3_load_224 | 102 | 0.0012204 | 0.00030585 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4082-32_0_3_load_225 | 103 | 0.0013301 | 0.00033336 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4082-32_0_3_load_230 | 104 | 0.001338 | 0.00033535 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4082-32_0_3_line_0 |  | 0 | 1 | 0.00056211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4082-32_0_3_line_1 |  | 0 | 2 | 0.027832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4082-32_0_3_line_2 |  | 1 | 3 | 0.027332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4082-32_0_3_line_3 |  | 1 | 4 | 0.055743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4082-32_0_3_line_4 |  | 2 | 5 | 0.012912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4082-32_0_3_line_5 |  | 2 | 6 | 0.031473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4082-32_0_3_line_6 |  | 3 | 7 | 0.019337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4082-32_0_3_line_7 |  | 4 | 8 | 0.011916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4082-32_0_3_line_8 |  | 6 | 9 | 0.024539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4082-32_0_3_line_9 |  | 6 | 10 | 0.021477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4082-32_0_3_line_10 |  | 10 | 30 | 0.011882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4082-32_0_3_line_11 |  | 11 | 12 | 0.037394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4082-32_0_3_line_12 |  | 11 | 13 | 0.0024942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4082-32_0_3_line_13 |  | 12 | 14 | 0.003437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4082-32_0_3_line_14 |  | 13 | 15 | 0.032215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4082-32_0_3_line_15 |  | 15 | 16 | 0.030652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4082-32_0_3_line_16 |  | 15 | 17 | 0.0097519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4082-32_0_3_line_17 |  | 16 | 26 | 0.013046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4082-32_0_3_line_18 |  | 17 | 70 | 0.035965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4082-32_0_3_line_19 |  | 18 | 19 | 0.021942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4082-32_0_3_line_20 |  | 18 | 20 | 0.0071563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4082-32_0_3_line_21 |  | 19 | 21 | 0.017483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4082-32_0_3_line_22 |  | 20 | 22 | 0.00013667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4082-32_0_3_line_23 |  | 21 | 23 | 0.018633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4082-32_0_3_line_24 |  | 21 | 24 | 0.029073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4082-32_0_3_line_25 |  | 22 | 25 | 0.01542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4082-32_0_3_line_26 |  | 23 | 97 | 0.021679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4082-32_0_3_line_27 |  | 24 | 57 | 0.0072003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4082-32_0_3_line_28 |  | 25 | 75 | 0.003622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4082-32_0_3_line_29 |  | 25 | 73 | 0.032451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4082-32_0_3_line_30 |  | 26 | 27 | 0.022699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4082-32_0_3_line_31 |  | 28 | 29 | 0.04152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4082-32_0_3_line_32 |  | 29 | 30 | 0.02211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4082-32_0_3_line_33 |  | 30 | 31 | 0.005083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4082-32_0_3_line_34 |  | 31 | 95 | 0.04021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4082-32_0_3_line_35 |  | 32 | 33 | 0.022909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4082-32_0_3_line_36 |  | 32 | 34 | 0.0035022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4082-32_0_3_line_37 |  | 33 | 35 | 0.00059417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4082-32_0_3_line_38 |  | 34 | 36 | 0.011782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4082-32_0_3_line_39 |  | 34 | 37 | 0.015701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4082-32_0_3_line_40 |  | 35 | 38 | 0.038376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4082-32_0_3_line_41 |  | 36 | 39 | 0.00029719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4082-32_0_3_line_42 |  | 38 | 53 | 0.010601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4082-32_0_3_line_43 |  | 38 | 50 | 0.0038972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4082-32_0_3_line_44 |  | 39 | 93 | 0.017637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4082-32_0_3_line_45 |  | 40 | 41 | 0.01745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4082-32_0_3_line_46 |  | 40 | 42 | 0.0019702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4082-32_0_3_line_47 |  | 41 | 43 | 0.018245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4082-32_0_3_line_48 |  | 42 | 44 | 0.024185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4082-32_0_3_line_49 |  | 43 | 45 | 0.0010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4082-32_0_3_line_50 |  | 44 | 46 | 0.011572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4082-32_0_3_line_51 |  | 44 | 47 | 0.0029271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4082-32_0_3_line_52 |  | 45 | 56 | 0.0070523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4082-32_0_3_line_53 |  | 46 | 78 | 0.0042015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4082-32_0_3_line_54 |  | 48 | 49 | 0.006094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4082-32_0_3_line_55 |  | 48 | 50 | 0.0032678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_4082-32_0_3_line_56 |  | 49 | 51 | 0.0098646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4082-32_0_3_line_57 |  | 51 | 52 | 0.00067756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4082-32_0_3_line_58 |  | 52 | 74 | 0.0037382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4082-32_0_3_line_59 |  | 53 | 77 | 0.0039838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4082-32_0_3_line_60 |  | 54 | 55 | 0.015761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4082-32_0_3_line_61 |  | 55 | 56 | 0.0089334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4082-32_0_3_line_62 |  | 57 | 58 | 0.0091895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4082-32_0_3_line_63 |  | 58 | 59 | 0.023995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4082-32_0_3_line_64 |  | 59 | 60 | 0.022638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4082-32_0_3_line_65 |  | 60 | 61 | 0.031684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4082-32_0_3_line_66 |  | 61 | 62 | 0.002261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4082-32_0_3_line_67 |  | 62 | 88 | 0.030729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4082-32_0_3_line_68 |  | 62 | 86 | 0.010492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4082-32_0_3_line_69 |  | 63 | 64 | 0.0023596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4082-32_0_3_line_70 |  | 64 | 65 | 0.013996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4082-32_0_3_line_71 |  | 65 | 92 | 0.0043206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4082-32_0_3_line_72 |  | 66 | 67 | 0.013835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4082-32_0_3_line_73 |  | 66 | 68 | 0.0028905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4082-32_0_3_line_74 |  | 67 | 69 | 0.0084325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4082-32_0_3_line_75 |  | 68 | 70 | 0.011016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4082-32_0_3_line_76 |  | 69 | 71 | 0.011683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4082-32_0_3_line_77 |  | 70 | 72 | 0.027004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4082-32_0_3_line_78 |  | 71 | 92 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4082-32_0_3_line_79 |  | 72 | 73 | 0.0093477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4082-32_0_3_line_80 |  | 73 | 74 | 0.0094797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_4082-32_0_3_line_81 |  | 75 | 76 | 0.011207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4082-32_0_3_line_82 |  | 76 | 103 | 0.0050091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4082-32_0_3_line_83 |  | 77 | 78 | 0.014455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4082-32_0_3_line_84 |  | 79 | 80 | 0.001071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4082-32_0_3_line_85 |  | 79 | 81 | 0.0056386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4082-32_0_3_line_86 |  | 80 | 82 | 0.0049139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4082-32_0_3_line_87 |  | 81 | 83 | 0.0065402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4082-32_0_3_line_88 |  | 82 | 84 | 0.00093546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4082-32_0_3_line_89 |  | 83 | 85 | 0.0056877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4082-32_0_3_line_90 |  | 84 | 99 | 0.0060181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4082-32_0_3_line_91 |  | 85 | 90 | 0.00097566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4082-32_0_3_line_92 |  | 86 | 87 | 0.02404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4082-32_0_3_line_93 |  | 88 | 89 | 0.060253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4082-32_0_3_line_94 |  | 90 | 91 | 0.004914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4082-32_0_3_line_95 |  | 91 | 104 | 0.0012992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4082-32_0_3_line_96 |  | 93 | 94 | 0.0018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4082-32_0_3_line_97 |  | 95 | 98 | 0.020776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4082-32_0_3_line_98 |  | 96 | 97 | 0.022069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4082-32_0_3_line_99 |  | 96 | 98 | 0.002383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4082-32_0_3_line_100 |  | 99 | 100 | 0.0063753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4082-32_0_3_line_101 |  | 100 | 101 | 0.00023047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4082-32_0_3_line_102 |  | 101 | 102 | 0.0056726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4082-32_0_3_line_103 |  | 102 | 103 | 0.00097621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4082-32_0_3_trafo_51 | 0.63 MVA 20/0.4 kV | 105 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2662534.8356 | 1244634.5764 | 2662534.2918 | 1244634.434
1 | 2662561.7594 | 1244641.6284 | 2662534.8356 | 1244634.5764
2 | 2662534.2918 | 1244634.434 | 2662512.6212 | 1244627.8456 | 2662508.0676 | 1244626.7584
3 | 2662498.1169 | 1244656.8461 | 2662508.1623 | 1244666.6141 | 2662517.2144 | 1244656.6249 | 2662526.1749 | 1244646.7347 | 2662531.1293 | 1244641.2498 | 2662534.2918 | 1244634.434
4 | 2662561.7594 | 1244641.6284 | 2662565.6039 | 1244630.339 | 2662566.0365 | 1244629.4532
5 | 2662592.7058 | 1244647.8368 | 2662561.7594 | 1244641.6284
6 | 2662489.2598 | 1244622.2675 | 2662508.0676 | 1244626.7584
7 | 2662498.1169 | 1244656.8461 | 2662489.1803 | 1244648.9639
8 | 2662602.4862 | 1244625.4245 | 2662593.8518 | 1244643.0678 | 2662592.7058 | 1244647.8368
9 | 2662592.7058 | 1244647.8368 | 2662613.7581 | 1244652.0882
10 | 2662625.3532 | 1244654.6748 | 2662619.2782 | 1244653.1985 | 2662616.2922 | 1244652.6 | 2662613.7581 | 1244652.0882
11 | 2662686.4386 | 1244422.2824 | 2662703.3263 | 1244388.9188
12 | 2662685.3122 | 1244424.5078 | 2662686.4386 | 1244422.2824
13 | 2662704.8785 | 1244385.8523 | 2662703.3263 | 1244388.9188
14 | 2662662.5259 | 1244434.883 | 2662674.0992 | 1244439.5195 | 2662678.5062 | 1244437.9539 | 2662685.3122 | 1244424.5078
15 | 2662662.5259 | 1244434.883 | 2662659.0951 | 1244429.1651 | 2662648.8947 | 1244414.7364 | 2662645.3035 | 1244409.544
16 | 2662662.5259 | 1244434.883 | 2662658.9956 | 1244443.9735
17 | 2662637.8826 | 1244398.8146 | 2662645.3035 | 1244409.544
18 | 2662642.6707 | 1244476.0016 | 2662650.1836 | 1244461.5488 | 2662657.9116 | 1244446.7647 | 2662658.9956 | 1244443.9735
19 | 2662675.2788 | 1244534.5527 | 2662675.2788 | 1244534.5527 | 2662694.4276 | 1244545.2664
20 | 2662669.8435 | 1244530.2342 | 2662674.0158 | 1244532.5046 | 2662675.2788 | 1244534.5527
21 | 2662709.3006 | 1244554.3924 | 2662705.0947 | 1244551.2347 | 2662694.4276 | 1244545.2664
22 | 2662669.7234 | 1244530.1689 | 2662669.8435 | 1244530.2342
23 | 2662709.3006 | 1244554.3924 | 2662697.0769 | 1244568.4555
24 | 2662709.3006 | 1244554.3924 | 2662728.5366 | 1244532.5473
25 | 2662656.1789 | 1244522.7985 | 2662669.7234 | 1244530.1689
26 | 2662682.8547 | 1244584.8177 | 2662697.0769 | 1244568.4555
27 | 2662728.5366 | 1244532.5473 | 2662723.5335 | 1244527.6022 | 2662723.6151 | 1244527.458
28 | 2662657.8226 | 1244519.5692 | 2662657.2517 | 1244520.6751 | 2662656.6264 | 1244521.9249 | 2662656.1789 | 1244522.7985
29 | 2662626.9317 | 1244508.7691 | 2662647.4359 | 1244518.5033 | 2662651.1073 | 1244520.0431 | 2662651.5432 | 1244520.2701 | 2662656.1789 | 1244522.7985
30 | 2662622.5839 | 1244382.6296 | 2662629.8998 | 1244387.2726 | 2662637.8826 | 1244398.8146
31 | 2662617.2858 | 1244675.1481 | 2662601.7921 | 1244668.2688 | 2662584.6571 | 1244685.8752
32 | 2662617.2858 | 1244675.1481 | 2662623.326 | 1244662.7367 | 2662625.3532 | 1244654.6748
33 | 2662628.1111 | 1244650.4009 | 2662625.3532 | 1244654.6748
34 | 2662628.1111 | 1244650.4009 | 2662653.5261 | 1244619.2408
35 | 2662575.2932 | 1244523.2797 | 2662555.0559 | 1244512.5435
36 | 2662551.9621 | 1244510.9021 | 2662555.0559 | 1244512.5435
37 | 2662575.2932 | 1244523.2797 | 2662575.8181 | 1244523.5582
38 | 2662551.9621 | 1244510.9021 | 2662557.2261 | 1244500.3615
39 | 2662551.9621 | 1244510.9021 | 2662538.0924 | 1244503.5438
40 | 2662609.7192 | 1244541.5433 | 2662575.8181 | 1244523.5582
41 | 2662557.3588 | 1244500.0956 | 2662557.2261 | 1244500.3615
42 | 2662609.7192 | 1244541.5433 | 2662604.925 | 1244550.9987
43 | 2662609.7192 | 1244541.5433 | 2662611.5312 | 1244538.0929
44 | 2662557.3588 | 1244500.0956 | 2662559.6895 | 1244495.4285 | 2662563.7431 | 1244492.258 | 2662570.2014 | 1244495.6055
45 | 2662550.1888 | 1244562.5484 | 2662565.9018 | 1244570.1374
46 | 2662567.6759 | 1244570.9943 | 2662565.9018 | 1244570.1374
47 | 2662550.1888 | 1244562.5484 | 2662533.7597 | 1244554.6134
48 | 2662589.4537 | 1244581.5125 | 2662567.6759 | 1244570.9943
49 | 2662532.775 | 1244554.1378 | 2662533.7597 | 1244554.6134
50 | 2662589.4537 | 1244581.5125 | 2662594.6866 | 1244571.1917
51 | 2662589.4537 | 1244581.5125 | 2662588.1689 | 1244584.1426
52 | 2662526.4246 | 1244551.0707 | 2662532.775 | 1244554.1378
53 | 2662594.6866 | 1244571.1917 | 2662596.5866 | 1244567.4444
54 | 2662613.0507 | 1244535.1998 | 2662615.8841 | 1244529.8047
55 | 2662613.0507 | 1244535.1998 | 2662611.5312 | 1244538.0929
56 | 2662615.8841 | 1244529.8047 | 2662620.4708 | 1244521.0712
57 | 2662620.7858 | 1244520.4714 | 2662620.4708 | 1244521.0712
58 | 2662622.5239 | 1244517.1618 | 2662620.7858 | 1244520.4714
59 | 2662603.1235 | 1244554.5518 | 2662604.925 | 1244550.9987
60 | 2662518.3802 | 1244547.1854 | 2662504.1883 | 1244540.331
61 | 2662518.3802 | 1244547.1854 | 2662526.4246 | 1244551.0707
62 | 2662723.6151 | 1244527.458 | 2662728.1411 | 1244519.4604
63 | 2662728.1411 | 1244519.4604 | 2662739.9592 | 1244498.5778
64 | 2662750.4293 | 1244478.507 | 2662740.5595 | 1244497.517 | 2662739.9592 | 1244498.5778
65 | 2662766.0122 | 1244450.932 | 2662755.3316 | 1244469.0648 | 2662750.4293 | 1244478.507
66 | 2662764.0827 | 1244449.7441 | 2662766.0122 | 1244450.932
67 | 2662764.0827 | 1244449.7441 | 2662762.5791 | 1244436.1633 | 2662758.2228 | 1244424.3647 | 2662759.6234 | 1244420.1012
68 | 2662764.0827 | 1244449.7441 | 2662754.7846 | 1244444.8823
69 | 2662571.9241 | 1244437.4131 | 2662569.8147 | 1244436.3554
70 | 2662571.9241 | 1244437.4131 | 2662584.4353 | 1244443.6865
71 | 2662588.2263 | 1244445.7581 | 2662585.071 | 1244444.0053 | 2662584.4353 | 1244443.6865
72 | 2662630.5136 | 1244469.2484 | 2662618.4191 | 1244462.53
73 | 2662630.5136 | 1244469.2484 | 2662633.0404 | 1244470.652
74 | 2662618.4191 | 1244462.53 | 2662611.0476 | 1244458.4352
75 | 2662642.6707 | 1244476.0016 | 2662633.0404 | 1244470.652
76 | 2662600.835 | 1244452.7621 | 2662611.0476 | 1244458.4352
77 | 2662642.6707 | 1244476.0016 | 2662630.9789 | 1244500.343
78 | 2662588.2263 | 1244445.7581 | 2662600.835 | 1244452.7621
79 | 2662626.9317 | 1244508.7691 | 2662630.9789 | 1244500.343
80 | 2662626.9317 | 1244508.7691 | 2662622.5239 | 1244517.1618
81 | 2662657.8226 | 1244519.5692 | 2662662.9304 | 1244509.5941
82 | 2662665.2134 | 1244505.1354 | 2662662.9304 | 1244509.5941
83 | 2662603.1235 | 1244554.5518 | 2662596.5866 | 1244567.4444
84 | 2662676.6634 | 1244482.7745 | 2662677.1515 | 1244481.8212
85 | 2662679.7215 | 1244476.8023 | 2662677.1515 | 1244481.8212
86 | 2662676.6634 | 1244482.7745 | 2662674.4238 | 1244487.1483
87 | 2662679.7215 | 1244476.8023 | 2662682.7023 | 1244470.9808
88 | 2662674.4238 | 1244487.1483 | 2662673.9974 | 1244487.9809
89 | 2662685.2947 | 1244465.9182 | 2662682.7023 | 1244470.9808
90 | 2662673.9974 | 1244487.9809 | 2662671.2545 | 1244493.3376
91 | 2662685.7393 | 1244465.0498 | 2662685.2947 | 1244465.9182
92 | 2662733.4809 | 1244433.7429 | 2662754.7846 | 1244444.8823
93 | 2662755.4527 | 1244362.6375 | 2662754.131 | 1244370.4178 | 2662759.078 | 1244380.6771 | 2662763.1209 | 1244390.6712 | 2662764.5003 | 1244401.004 | 2662763.0639 | 1244409.628 | 2662759.6234 | 1244420.1012
94 | 2662687.979 | 1244460.6758 | 2662685.7393 | 1244465.0498
95 | 2662688.5712 | 1244459.5194 | 2662687.979 | 1244460.6758
96 | 2662571.8449 | 1244496.4574 | 2662570.2014 | 1244495.6055
97 | 2662666.8137 | 1244603.2725 | 2662662.5386 | 1244608.1909 | 2662653.5261 | 1244619.2408
98 | 2662682.8547 | 1244584.8177 | 2662668.377 | 1244601.474
99 | 2662666.8137 | 1244603.2725 | 2662668.377 | 1244601.474
100 | 2662668.3488 | 1244499.0122 | 2662671.2545 | 1244493.3376
101 | 2662668.3488 | 1244499.0122 | 2662668.2438 | 1244499.2174
102 | 2662668.2438 | 1244499.2174 | 2662665.6583 | 1244504.2665
103 | 2662665.6583 | 1244504.2665 | 2662665.2134 | 1244505.1354

## bus_geodata
| x | y | coords
0 | 2662534.8356 | 1244634.5764
1 | 2662534.2918 | 1244634.434
2 | 2662561.7594 | 1244641.6284
3 | 2662508.0676 | 1244626.7584
4 | 2662498.1169 | 1244656.8461
5 | 2662566.0365 | 1244629.4532
6 | 2662592.7058 | 1244647.8368
7 | 2662489.2598 | 1244622.2675
8 | 2662489.1803 | 1244648.9639
9 | 2662602.4862 | 1244625.4245
10 | 2662613.7581 | 1244652.0882
11 | 2662686.4386 | 1244422.2824
12 | 2662703.3263 | 1244388.9188
13 | 2662685.3122 | 1244424.5078
14 | 2662704.8785 | 1244385.8523
15 | 2662662.5259 | 1244434.883
16 | 2662645.3035 | 1244409.544
17 | 2662658.9956 | 1244443.9735
18 | 2662675.2788 | 1244534.5527
19 | 2662694.4276 | 1244545.2664
20 | 2662669.8435 | 1244530.2342
21 | 2662709.3006 | 1244554.3924
22 | 2662669.7234 | 1244530.1689
23 | 2662697.0769 | 1244568.4555
24 | 2662728.5366 | 1244532.5473
25 | 2662656.1789 | 1244522.7985
26 | 2662637.8826 | 1244398.8146
27 | 2662622.5839 | 1244382.6296
28 | 2662584.6571 | 1244685.8752
29 | 2662617.2858 | 1244675.1481
30 | 2662625.3532 | 1244654.6748
31 | 2662628.1111 | 1244650.4009
32 | 2662555.0559 | 1244512.5435
33 | 2662575.2932 | 1244523.2797
34 | 2662551.9621 | 1244510.9021
35 | 2662575.8181 | 1244523.5582
36 | 2662557.226 | 1244500.3615
37 | 2662538.0924 | 1244503.5438
38 | 2662609.7192 | 1244541.5433
39 | 2662557.3588 | 1244500.0956
40 | 2662565.9018 | 1244570.1374
41 | 2662550.1888 | 1244562.5484
42 | 2662567.6759 | 1244570.9943
43 | 2662533.7597 | 1244554.6134
44 | 2662589.4537 | 1244581.5125
45 | 2662532.775 | 1244554.1378
46 | 2662594.6866 | 1244571.1917
47 | 2662588.1689 | 1244584.1426
48 | 2662613.0507 | 1244535.1998
49 | 2662615.8841 | 1244529.8047
50 | 2662611.5312 | 1244538.0929
51 | 2662620.4708 | 1244521.0712
52 | 2662620.7858 | 1244520.4714
53 | 2662604.925 | 1244550.9987
54 | 2662504.1883 | 1244540.331
55 | 2662518.3802 | 1244547.1854
56 | 2662526.4246 | 1244551.0707
57 | 2662723.6151 | 1244527.458
58 | 2662728.1411 | 1244519.4604
59 | 2662739.9592 | 1244498.5778
60 | 2662750.4293 | 1244478.507
61 | 2662766.0122 | 1244450.932
62 | 2662764.0827 | 1244449.7441
63 | 2662569.8147 | 1244436.3554
64 | 2662571.9241 | 1244437.4131
65 | 2662584.4353 | 1244443.6865
66 | 2662630.5136 | 1244469.2484
67 | 2662618.4191 | 1244462.53
68 | 2662633.0404 | 1244470.652
69 | 2662611.0476 | 1244458.4352
70 | 2662642.6707 | 1244476.0016
71 | 2662600.835 | 1244452.7621
72 | 2662630.9789 | 1244500.343
73 | 2662626.9317 | 1244508.7691
74 | 2662622.5239 | 1244517.1618
75 | 2662657.8226 | 1244519.5692
76 | 2662662.9304 | 1244509.5941
77 | 2662603.1235 | 1244554.5518
78 | 2662596.5866 | 1244567.4444
79 | 2662677.1515 | 1244481.8212
80 | 2662676.6634 | 1244482.7745
81 | 2662679.7215 | 1244476.8023
82 | 2662674.4238 | 1244487.1483
83 | 2662682.7023 | 1244470.9808
84 | 2662673.9974 | 1244487.9809
85 | 2662685.2946 | 1244465.9182
86 | 2662754.7846 | 1244444.8823
87 | 2662733.4809 | 1244433.7429
88 | 2662759.6234 | 1244420.1012
89 | 2662755.4527 | 1244362.6375
90 | 2662685.7393 | 1244465.0498
91 | 2662687.979 | 1244460.6758
92 | 2662588.2263 | 1244445.7581
93 | 2662570.2014 | 1244495.6055
94 | 2662571.8449 | 1244496.4574
95 | 2662653.5261 | 1244619.2407
96 | 2662668.377 | 1244601.474
97 | 2662682.8547 | 1244584.8177
98 | 2662666.8137 | 1244603.2725
99 | 2662671.2545 | 1244493.3376
100 | 2662668.3488 | 1244499.0122
101 | 2662668.2438 | 1244499.2174
102 | 2662665.6583 | 1244504.2665
103 | 2662665.2134 | 1244505.1354
104 | 2662688.5712 | 1244459.5194
105 | 2662609.7192 | 1244541.5433

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1