## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4082-34_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4082-34_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4082-34_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4082-34_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4082-34_0_5_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_4082-34_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_4082-34_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4082-34_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4082-34_0_5_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_4082-34_0_5_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_4082-34_0_5_node_51 | 0.4 | n |  | TRUE
11 | bus_LV_4082-34_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4082-34_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4082-34_0_5_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_4082-34_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4082-34_0_5_node_76 | 0.4 | n |  | TRUE
16 | bus_LV_4082-34_0_5_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_4082-34_0_5_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_4082-34_0_5_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_4082-34_0_5_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_4082-34_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4082-34_0_5_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_4082-34_0_5_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_4082-34_0_5_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_4082-34_0_5_node_79 | 0.4 | n |  | TRUE
25 | bus_LV_4082-34_0_5_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_4082-34_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4082-34_0_5_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_4082-34_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4082-34_0_5_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_4082-34_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4082-34_0_5_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_4082-34_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4082-34_0_5_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_4082-34_0_5_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_4082-34_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4082-34_0_5_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_4082-34_0_5_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_4082-34_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_4082-34_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_4082-34_0_5_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_4082-34_0_5_node_72 | 0.4 | n |  | TRUE
42 | bus_LV_4082-34_0_5_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4082-34_0_5_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_4082-34_0_5_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_4082-34_0_5_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_4082-34_0_5_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_4082-34_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_4082-34_0_5_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_4082-34_0_5_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_4082-34_0_5_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_4082-34_0_5_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_4082-34_0_5_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_4082-34_0_5_node_68 | 0.4 | n |  | TRUE
54 | bus_LV_4082-34_0_5_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_4082-34_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_4082-34_0_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_4082-34_0_5_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_4082-34_0_5_node_37 | 0.4 | n |  | TRUE
59 | bus_LV_4082-34_0_5_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_4082-34_0_5_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_4082-34_0_5_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_4082-34_0_5_node_43 | 0.4 | n |  | TRUE
63 | bus_LV_4082-34_0_5_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_4082-34_0_5_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_4082-34_0_5_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4082-34_0_5_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_4082-34_0_5_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_4082-34_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_4082-34_0_5_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_4082-34_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_4082-34_0_5_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_4082-34_0_5_node_71 | 0.4 | n |  | TRUE
73 | bus_MV_428_1_node_198 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4082-34_0_5_load_0 | 0 | 0.04458 | 0.011173 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4082-34_0_5_load_1 | 1 | 0.0045839 | 0.0011488 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4082-34_0_5_load_52 | 8 | 0.0010205 | 0.00025575 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4082-34_0_5_load_51 | 10 | 0.001778 | 0.00044562 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4082-34_0_5_load_22 | 13 | 0.004897 | 0.0012273 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4082-34_0_5_load_76 | 15 | 0.0094634 | 0.0023718 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4082-34_0_5_load_75 | 17 | 0.019498 | 0.0048866 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4082-34_0_5_load_77 | 19 | 0.0089078 | 0.0022325 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4082-34_0_5_load_48 | 21 | 0.0025291 | 0.00063386 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4082-34_0_5_load_21 | 23 | 0.002254 | 0.0005649 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4082-34_0_5_load_79 | 24 | 0.0046519 | 0.0011659 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4082-34_0_5_load_50 | 25 | 0.0053465 | 0.00134 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4082-34_0_5_load_44 | 27 | 0.0047389 | 0.0011877 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4082-34_0_5_load_36 | 29 | 0.0019202 | 0.00048125 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4082-34_0_5_load_32 | 31 | 0.0014619 | 0.00036639 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4082-34_0_5_load_46 | 33 | 0.019807 | 0.0049642 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4082-34_0_5_load_65 | 34 | 0.0062077 | 0.0015558 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4082-34_0_5_load_45 | 36 | 0.01641 | 0.0041126 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4082-34_0_5_load_30 | 39 | 0.0029793 | 0.00074668 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4082-34_0_5_load_74 | 40 | 0.0089059 | 0.002232 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4082-34_0_5_load_72 | 41 | 0.019504 | 0.0048882 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4082-34_0_5_load_23 | 44 | 0.083241 | 0.020862 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4082-34_0_5_load_49 | 45 | 0.0037175 | 0.00093168 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4082-34_0_5_load_66 | 46 | 0.00087068 | 0.00021821 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4082-34_0_5_load_41 | 47 | 0.0046907 | 0.0011756 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4082-34_0_5_load_62 | 48 | 0.0029399 | 0.0007368 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4082-34_0_5_load_26 | 50 | 0.037185 | 0.0093195 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4082-34_0_5_load_70 | 51 | 0.047085 | 0.011801 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4082-34_0_5_load_68 | 53 | 0.0067073 | 0.001681 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4082-34_0_5_load_69 | 54 | 0.00089556 | 0.00022445 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4082-34_0_5_load_56 | 55 | 0.00070899 | 0.00017769 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4082-34_0_5_load_54 | 56 | 0.00074094 | 0.0001857 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4082-34_0_5_load_39 | 57 | 0.00091501 | 0.00022932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4082-34_0_5_load_37 | 58 | 0.0045373 | 0.0011372 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4082-34_0_5_load_38 | 59 | 0.0047032 | 0.0011787 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4082-34_0_5_load_40 | 60 | 0.0016853 | 0.00042237 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4082-34_0_5_load_42 | 61 | 0.00094426 | 0.00023665 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4082-34_0_5_load_43 | 62 | 0.0051059 | 0.0012797 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4082-34_0_5_load_63 | 63 | 0.0027346 | 0.00068535 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4082-34_0_5_load_57 | 64 | 0.0008248 | 0.00020671 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4082-34_0_5_load_53 | 65 | 0.00080591 | 0.00020198 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4082-34_0_5_load_61 | 66 | 0.00072193 | 0.00018093 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4082-34_0_5_load_60 | 67 | 0.00075831 | 0.00019005 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4082-34_0_5_load_58 | 68 | 0.00088692 | 0.00022228 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4082-34_0_5_load_59 | 69 | 0.00073958 | 0.00018536 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4082-34_0_5_load_64 | 70 | 0.0027231 | 0.00068248 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4082-34_0_5_load_67 | 71 | 0.0023945 | 0.00060012 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4082-34_0_5_load_71 | 72 | 0.019503 | 0.004888 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4082-34_0_5_line_0 |  | 0 | 1 | 0.043111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4082-34_0_5_line_1 |  | 0 | 2 | 0.042872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4082-34_0_5_line_2 |  | 1 | 3 | 0.009139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4082-34_0_5_line_3 |  | 2 | 4 | 0.12237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4082-34_0_5_line_4 |  | 3 | 5 | 0.041998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4082-34_0_5_line_5 |  | 3 | 6 | 0.04196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_4082-34_0_5_line_6 |  | 4 | 24 | 0.004655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4082-34_0_5_line_7 |  | 5 | 18 | 0.038875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4082-34_0_5_line_8 |  | 5 | 19 | 0.023711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4082-34_0_5_line_9 |  | 6 | 20 | 0.012927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4082-34_0_5_line_10 |  | 6 | 21 | 0.016494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4082-34_0_5_line_11 |  | 7 | 8 | 0.019437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4082-34_0_5_line_12 |  | 7 | 9 | 0.026303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4082-34_0_5_line_13 |  | 7 | 10 | 0.010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_4082-34_0_5_line_14 |  | 8 | 37 | 0.033621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4082-34_0_5_line_15 |  | 9 | 38 | 0.040587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4082-34_0_5_line_16 |  | 9 | 39 | 0.020342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4082-34_0_5_line_17 |  | 10 | 12 | 0.035377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4082-34_0_5_line_18 |  | 11 | 12 | 0.019404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4082-34_0_5_line_19 |  | 11 | 13 | 0.006988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4082-34_0_5_line_20 |  | 12 | 20 | 0.023202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_4082-34_0_5_line_21 |  | 13 | 22 | 0.012317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4082-34_0_5_line_22 |  | 14 | 15 | 0.025284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4082-34_0_5_line_23 |  | 14 | 16 | 0.037047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4082-34_0_5_line_24 |  | 14 | 17 | 0.035972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4082-34_0_5_line_25 |  | 16 | 40 | 0.023422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4082-34_0_5_line_26 |  | 16 | 41 | 0.033735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4082-34_0_5_line_27 |  | 18 | 40 | 0.02273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4082-34_0_5_line_28 |  | 20 | 25 | 0.0037452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4082-34_0_5_line_29 |  | 21 | 26 | 0.030249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4082-34_0_5_line_30 |  | 22 | 23 | 0.025849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4082-34_0_5_line_31 |  | 25 | 45 | 0.043343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4082-34_0_5_line_32 |  | 26 | 27 | 0.021989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4082-34_0_5_line_33 |  | 27 | 35 | 0.037549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4082-34_0_5_line_34 |  | 28 | 29 | 0.0082092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4082-34_0_5_line_35 |  | 28 | 30 | 0.042064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4082-34_0_5_line_36 |  | 28 | 31 | 0.011959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4082-34_0_5_line_37 |  | 29 | 47 | 0.024792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4082-34_0_5_line_38 |  | 30 | 32 | 0.010501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4082-34_0_5_line_39 |  | 32 | 33 | 0.080138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4082-34_0_5_line_40 |  | 32 | 34 | 0.019243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4082-34_0_5_line_41 |  | 33 | 35 | 0.02913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4082-34_0_5_line_42 |  | 34 | 46 | 0.01532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4082-34_0_5_line_43 |  | 35 | 36 | 0.057884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4082-34_0_5_line_44 |  | 36 | 48 | 0.030575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4082-34_0_5_line_45 |  | 37 | 64 | 0.0083838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4082-34_0_5_line_46 |  | 37 | 65 | 0.013582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4082-34_0_5_line_47 |  | 38 | 53 | 0.03354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4082-34_0_5_line_48 |  | 38 | 52 | 0.007498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4082-34_0_5_line_49 |  | 41 | 72 | 0.0040759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4082-34_0_5_line_50 |  | 42 | 43 | 0.036582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4082-34_0_5_line_51 |  | 42 | 44 | 0.036426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4082-34_0_5_line_52 |  | 43 | 49 | 0.009881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4082-34_0_5_line_53 |  | 43 | 50 | 0.028096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4082-34_0_5_line_54 |  | 47 | 57 | 0.015613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4082-34_0_5_line_55 |  | 48 | 63 | 0.021149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4082-34_0_5_line_56 |  | 49 | 51 | 0.027704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4082-34_0_5_line_57 |  | 49 | 52 | 0.003842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4082-34_0_5_line_58 |  | 53 | 54 | 0.042391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4082-34_0_5_line_59 |  | 55 | 56 | 1.6392e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4082-34_0_5_line_60 |  | 56 | 65 | 4.0044e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4082-34_0_5_line_61 |  | 57 | 58 | 0.0051525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4082-34_0_5_line_62 |  | 58 | 59 | 0.011681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4082-34_0_5_line_63 |  | 59 | 60 | 0.027069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4082-34_0_5_line_64 |  | 60 | 61 | 0.0066205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4082-34_0_5_line_65 |  | 61 | 62 | 0.0089788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4082-34_0_5_line_66 |  | 63 | 70 | 0.017027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4082-34_0_5_line_67 |  | 64 | 66 | 0.023727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4082-34_0_5_line_68 |  | 66 | 67 | 0.016088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4082-34_0_5_line_69 |  | 67 | 69 | 0.0065547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4082-34_0_5_line_70 |  | 68 | 69 | 0.0065846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4082-34_0_5_line_71 |  | 70 | 71 | 0.017597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4082-34_0_5_trafo_8 | 0.63 MVA 20/0.4 kV | 73 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2662444.6114 | 1246006.6982 | 2662445.0324 | 1246007.2272 | 2662448.9214 | 1246011.6935 | 2662463.8213 | 1246027.2833 | 2662474.2985 | 1246037.9442
1 | 2662430.3228 | 1245969.2462 | 2662428.8944 | 1245972.8782 | 2662427.9801 | 1245977.2049 | 2662429.028 | 1245984.5876 | 2662436.7337 | 1245996.7994 | 2662444.6114 | 1246006.6982
2 | 2662480.905 | 1246044.2526 | 2662477.3802 | 1246041.08 | 2662474.2985 | 1246037.9442
3 | 2662430.3228 | 1245969.2462 | 2662435.9494 | 1245963.6683 | 2662441.4863 | 1245958.0004 | 2662448.8001 | 1245949.3269 | 2662452.5184 | 1245943.462 | 2662455.9567 | 1245939.073 | 2662459.4544 | 1245936.9417 | 2662462.5096 | 1245935.9398 | 2662467.526 | 1245930.1998 | 2662475.0979 | 1245936.4727 | 2662514.8459 | 1245978.5648
4 | 2662449.7605 | 1246043.2018 | 2662452.5476 | 1246045.4104 | 2662454.6587 | 1246043.6537 | 2662457.2767 | 1246043.2698 | 2662459.6678 | 1246044.3402 | 2662463.7042 | 1246048.4411 | 2662470.2207 | 1246055.1921 | 2662474.5728 | 1246050.8349 | 2662480.905 | 1246044.2526
5 | 2662470.7934 | 1246080.4267 | 2662472.6027 | 1246077.2102 | 2662473.8023 | 1246073.0533 | 2662474.1735 | 1246067.2198 | 2662473.1948 | 1246061.1609 | 2662470.2207 | 1246055.1921 | 2662474.5728 | 1246050.8349 | 2662480.905 | 1246044.2526
6 | 2662518.0436 | 1245981.9564 | 2662514.8459 | 1245978.5648
7 | 2662449.7605 | 1246043.2018 | 2662447.3622 | 1246040.6637 | 2662437.5749 | 1246026.6844 | 2662435.1073 | 1246024.2679 | 2662424.4822 | 1246013.8044
8 | 2662449.7605 | 1246043.2018 | 2662432.5283 | 1246059.4891
9 | 2662470.7934 | 1246080.4267 | 2662475.1449 | 1246084.731 | 2662479.906 | 1246089.5956
10 | 2662470.7934 | 1246080.4267 | 2662466.016 | 1246087.1588 | 2662461.991 | 1246092.0198 | 2662460.6406 | 1246093.3961
11 | 2662532.7558 | 1246117.7718 | 2662545.0952 | 1246132.7895
12 | 2662532.7558 | 1246117.7718 | 2662552.4838 | 1246100.3122
13 | 2662532.7558 | 1246117.7718 | 2662528.8575 | 1246119.2095 | 2662524.8812 | 1246114.6571
14 | 2662555.5706 | 1246162.899 | 2662556.4785 | 1246155.6035 | 2662555.371 | 1246146.7302 | 2662548.0539 | 1246136.3904 | 2662545.0952 | 1246132.7895
15 | 2662581.5368 | 1246071.8878 | 2662552.4838 | 1246100.3122
16 | 2662552.4838 | 1246100.3122 | 2662563.8015 | 1246117.2154
17 | 2662500.6198 | 1246088.98 | 2662503.4185 | 1246091.5112 | 2662509.7334 | 1246097.3151 | 2662524.8812 | 1246114.6571
18 | 2662500.6198 | 1246088.98 | 2662503.5786 | 1246087.0765 | 2662507.762 | 1246084.3854 | 2662511.1511 | 1246081.7971 | 2662516.9422 | 1246078.5336
19 | 2662516.9422 | 1246078.5336 | 2662521.3341 | 1246083.969
20 | 2662500.6198 | 1246088.98 | 2662497.1973 | 1246086.1309 | 2662493.2372 | 1246084.8327 | 2662488.3185 | 1246084.8921 | 2662484.5414 | 1246086.3088 | 2662479.906 | 1246089.5956
21 | 2662529.0753 | 1246093.5496 | 2662521.3341 | 1246083.969
22 | 2662367.1595 | 1246018.5716 | 2662385.5898 | 1246001.2619
23 | 2662367.1595 | 1246018.5716 | 2662378.0417 | 1246031.8951 | 2662389.0266 | 1246041.9175 | 2662391.6255 | 1246046.2145
24 | 2662367.1595 | 1246018.5716 | 2662345.1129 | 1246046.9961
25 | 2662391.6255 | 1246046.2145 | 2662408.3002 | 1246029.7665
26 | 2662391.6255 | 1246046.2145 | 2662370.7591 | 1246072.7215
27 | 2662424.4822 | 1246013.8044 | 2662408.3002 | 1246029.7665
28 | 2662479.906 | 1246089.5956 | 2662476.892 | 1246091.8188
29 | 2662439.4554 | 1246114.9873 | 2662460.6406 | 1246093.3961
30 | 2662529.0753 | 1246093.5496 | 2662535.3437 | 1246092.3037 | 2662549.8176 | 1246079.2993
31 | 2662444.7023 | 1246120.7738 | 2662458.9171 | 1246106.9977 | 2662471.2567 | 1246095.9756 | 2662476.892 | 1246091.8188
32 | 2662439.4554 | 1246114.9873 | 2662423.6888 | 1246130.3151
33 | 2662396.7656 | 1246156.4891 | 2662423.6888 | 1246130.3151
34 | 2662336.0627 | 1246266.6159 | 2662342.2939 | 1246261.2714
35 | 2662325.0671 | 1246238.2475 | 2662322.3172 | 1246242.566 | 2662323.172 | 1246246.7668 | 2662327.3635 | 1246256.2284 | 2662324.8823 | 1246257.9814 | 2662331.797 | 1246269.9734 | 2662336.0627 | 1246266.6159
36 | 2662336.0627 | 1246266.6159 | 2662344.3411 | 1246275.2463
37 | 2662342.2939 | 1246261.2714 | 2662361.1123 | 1246245.1305
38 | 2662317.5442 | 1246230.9301 | 2662321.8341 | 1246235.3448 | 2662325.0671 | 1246238.2475
39 | 2662317.5442 | 1246230.9301 | 2662324.2713 | 1246222.6839 | 2662340.0295 | 1246206.9164 | 2662344.2953 | 1246204.9932 | 2662353.6354 | 1246198.9872 | 2662363.9096 | 1246188.9327 | 2662376.0376 | 1246176.9568
40 | 2662317.5442 | 1246230.9301 | 2662303.7886 | 1246217.4738
41 | 2662396.7656 | 1246156.4891 | 2662376.0376 | 1246176.9568
42 | 2662303.7886 | 1246217.4738 | 2662300.241 | 1246214.0033 | 2662291.2368 | 1246208.8847
43 | 2662396.7656 | 1246156.4891 | 2662384.5983 | 1246145.4313 | 2662373.6189 | 1246134.1859 | 2662355.7685 | 1246115.6598
44 | 2662334.5536 | 1246093.642 | 2662355.7685 | 1246115.6598
45 | 2662555.5706 | 1246162.899 | 2662561.8454 | 1246168.4591
46 | 2662555.5706 | 1246162.899 | 2662550.3191 | 1246170.8714 | 2662547.3365 | 1246173.59
47 | 2662581.5368 | 1246071.8878 | 2662599.7595 | 1246097.5644 | 2662600.7913 | 1246099.3407
48 | 2662581.5368 | 1246071.8878 | 2662586.9629 | 1246066.697
49 | 2662368.2379 | 1246075.9241 | 2662370.7591 | 1246072.7215
50 | 2662623.3516 | 1246031.8569 | 2662596.8919 | 1246057.1952
51 | 2662623.3516 | 1246031.8569 | 2662630.9167 | 1246039.4642 | 2662649.5344 | 1246021.7514
52 | 2662596.8919 | 1246057.1952 | 2662589.7409 | 1246064.0356
53 | 2662596.8919 | 1246057.1952 | 2662616.3863 | 1246077.4281
54 | 2662361.1123 | 1246245.1305 | 2662372.963 | 1246234.966
55 | 2662334.5536 | 1246093.642 | 2662328.2275 | 1246087.0764 | 2662325.3719 | 1246085.6343 | 2662322.0063 | 1246085.2764 | 2662317.0493 | 1246087.5371
56 | 2662589.7409 | 1246064.0356 | 2662570.1312 | 1246044.4663
57 | 2662589.7409 | 1246064.0356 | 2662586.9629 | 1246066.697
58 | 2662600.7913 | 1246099.3407 | 2662616.031 | 1246125.5777 | 2662621.7188 | 1246136.1995
59 | 2662547.3069 | 1246173.617 | 2662547.2948 | 1246173.628
60 | 2662547.3365 | 1246173.59 | 2662547.3069 | 1246173.617
61 | 2662372.963 | 1246234.966 | 2662376.8739 | 1246231.6115
62 | 2662385.7403 | 1246224.0066 | 2662376.8739 | 1246231.6115
63 | 2662406.2866 | 1246206.3837 | 2662385.7403 | 1246224.0066
64 | 2662406.2866 | 1246206.3837 | 2662411.3118 | 1246202.0735 | 2662411.3118 | 1246202.0735
65 | 2662413.6016 | 1246193.3916 | 2662411.3118 | 1246202.0735
66 | 2662317.0493 | 1246087.5371 | 2662317.0493 | 1246087.5371 | 2662314.5273 | 1246090.3014 | 2662308.4881 | 1246102.134
67 | 2662561.8454 | 1246168.4591 | 2662570.7717 | 1246176.3686 | 2662581.6782 | 1246171.8642
68 | 2662581.6782 | 1246171.8642 | 2662596.5477 | 1246165.723
69 | 2662602.606 | 1246163.2209 | 2662596.5477 | 1246165.723
70 | 2662608.6921 | 1246160.7074 | 2662602.606 | 1246163.2209
71 | 2662297.7275 | 1246116.0205 | 2662307.7934 | 1246103.4953 | 2662308.4881 | 1246102.134

## bus_geodata
| x | y | coords
0 | 2662444.6114 | 1246006.6982
1 | 2662474.2985 | 1246037.9442
2 | 2662430.3228 | 1245969.2462
3 | 2662480.905 | 1246044.2526
4 | 2662514.8459 | 1245978.5648
5 | 2662449.7605 | 1246043.2018
6 | 2662470.7934 | 1246080.4267
7 | 2662532.7558 | 1246117.7718
8 | 2662545.0952 | 1246132.7895
9 | 2662552.4838 | 1246100.3122
10 | 2662524.8812 | 1246114.6571
11 | 2662516.9422 | 1246078.5336
12 | 2662500.6198 | 1246088.98
13 | 2662521.3341 | 1246083.969
14 | 2662367.1595 | 1246018.5716
15 | 2662385.5898 | 1246001.2619
16 | 2662391.6255 | 1246046.2145
17 | 2662345.1129 | 1246046.9961
18 | 2662424.4822 | 1246013.8044
19 | 2662432.5283 | 1246059.4891
20 | 2662479.906 | 1246089.5956
21 | 2662460.6406 | 1246093.3961
22 | 2662529.0753 | 1246093.5496
23 | 2662549.8176 | 1246079.2993
24 | 2662518.0436 | 1245981.9564
25 | 2662476.892 | 1246091.8188
26 | 2662439.4554 | 1246114.9873
27 | 2662423.6888 | 1246130.3151
28 | 2662336.0627 | 1246266.6159
29 | 2662342.2939 | 1246261.2714
30 | 2662325.0671 | 1246238.2475
31 | 2662344.3411 | 1246275.2463
32 | 2662317.5442 | 1246230.9301
33 | 2662376.0376 | 1246176.9568
34 | 2662303.7886 | 1246217.4738
35 | 2662396.7656 | 1246156.4891
36 | 2662355.7685 | 1246115.6598
37 | 2662555.5706 | 1246162.899
38 | 2662581.5368 | 1246071.8878
39 | 2662563.8015 | 1246117.2154
40 | 2662408.3002 | 1246029.7665
41 | 2662370.7591 | 1246072.7215
42 | 2662623.3516 | 1246031.8569
43 | 2662596.8919 | 1246057.1952
44 | 2662649.5344 | 1246021.7514
45 | 2662444.7023 | 1246120.7738
46 | 2662291.2368 | 1246208.8847
47 | 2662361.1123 | 1246245.1305
48 | 2662334.5536 | 1246093.642
49 | 2662589.7409 | 1246064.0356
50 | 2662616.3863 | 1246077.4281
51 | 2662570.1312 | 1246044.4663
52 | 2662586.9629 | 1246066.697
53 | 2662600.7913 | 1246099.3407
54 | 2662621.7188 | 1246136.1995
55 | 2662547.2948 | 1246173.628
56 | 2662547.3069 | 1246173.617
57 | 2662372.963 | 1246234.966
58 | 2662376.8739 | 1246231.6115
59 | 2662385.7403 | 1246224.0066
60 | 2662406.2866 | 1246206.3837
61 | 2662411.3118 | 1246202.0735
62 | 2662413.6016 | 1246193.3916
63 | 2662317.0493 | 1246087.5371
64 | 2662561.8454 | 1246168.4591
65 | 2662547.3365 | 1246173.59
66 | 2662581.6782 | 1246171.8642
67 | 2662596.5477 | 1246165.723
68 | 2662608.6921 | 1246160.7074
69 | 2662602.606 | 1246163.2209
70 | 2662308.4881 | 1246102.134
71 | 2662297.7275 | 1246116.0205
72 | 2662368.2379 | 1246075.9241
73 | 2662503.5786 | 1246087.0765

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1