## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4082-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4082-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4082-5_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4082-5_0_5_node_12 | 0.4 | n |  | TRUE
4 | bus_LV_4082-5_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4082-5_0_5_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_4082-5_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4082-5_0_5_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4082-5_0_5_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_4082-5_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4082-5_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4082-5_0_5_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_4082-5_0_5_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_4082-5_0_5_node_60 | 0.4 | n |  | TRUE
14 | bus_LV_4082-5_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4082-5_0_5_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4082-5_0_5_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_4082-5_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4082-5_0_5_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_4082-5_0_5_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_4082-5_0_5_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_4082-5_0_5_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_4082-5_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4082-5_0_5_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_4082-5_0_5_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_4082-5_0_5_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_4082-5_0_5_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_4082-5_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4082-5_0_5_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_4082-5_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4082-5_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4082-5_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4082-5_0_5_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_4082-5_0_5_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_4082-5_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4082-5_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4082-5_0_5_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_4082-5_0_5_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_4082-5_0_5_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_4082-5_0_5_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_4082-5_0_5_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_4082-5_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_4082-5_0_5_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_4082-5_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_4082-5_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_4082-5_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4082-5_0_5_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_4082-5_0_5_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_4082-5_0_5_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_4082-5_0_5_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_4082-5_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_4082-5_0_5_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_4082-5_0_5_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_4082-5_0_5_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_4082-5_0_5_node_57 | 0.4 | n |  | TRUE
55 | bus_LV_4082-5_0_5_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_4082-5_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_4082-5_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_4082-5_0_5_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_4082-5_0_5_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_4082-5_0_5_node_31 | 0.4 | n |  | TRUE
61 | bus_LV_4082-5_0_5_node_30 | 0.4 | n |  | TRUE
62 | bus_LV_4082-5_0_5_node_56 | 0.4 | n |  | TRUE
63 | bus_MV_428_1_node_202 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4082-5_0_5_load_0 | 0 | 0.098606 | 0.024713 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4082-5_0_5_load_1 | 1 | 0.055525 | 0.013916 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4082-5_0_5_load_4 | 4 | 0.0064825 | 0.0016247 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4082-5_0_5_load_55 | 8 | 0.021535 | 0.0053972 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4082-5_0_5_load_62 | 11 | 0.02318 | 0.0058094 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4082-5_0_5_load_66 | 12 | 0.0099828 | 0.0025019 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4082-5_0_5_load_60 | 13 | 0.006477 | 0.0016233 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4082-5_0_5_load_65 | 16 | 0.0088361 | 0.0022145 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4082-5_0_5_load_51 | 20 | 0.035223 | 0.0088276 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4082-5_0_5_load_49 | 21 | 0.026134 | 0.0065498 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4082-5_0_5_load_45 | 23 | 0.0067072 | 0.001681 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4082-5_0_5_load_44 | 25 | 0.038419 | 0.0096286 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4082-5_0_5_load_61 | 26 | 0.0050684 | 0.0012703 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4082-5_0_5_load_67 | 28 | 0.0012596 | 0.00031568 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4082-5_0_5_load_50 | 32 | 0.017199 | 0.0043104 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4082-5_0_5_load_54 | 33 | 0.0069958 | 0.0017533 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4082-5_0_5_load_52 | 36 | 0.010114 | 0.0025347 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4082-5_0_5_load_64 | 39 | 0.0045207 | 0.001133 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4082-5_0_5_load_40 | 40 | 0.0013887 | 0.00034804 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4082-5_0_5_load_38 | 41 | 0.0030113 | 0.00075471 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4082-5_0_5_load_39 | 42 | 0.0023956 | 0.0006004 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4082-5_0_5_load_35 | 43 | 0.0016926 | 0.0004242 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4082-5_0_5_load_34 | 44 | 0.0050617 | 0.0012686 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4082-5_0_5_load_41 | 47 | 0.0079263 | 0.0019865 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4082-5_0_5_load_33 | 48 | 0.0041017 | 0.001028 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4082-5_0_5_load_32 | 49 | 0.0041601 | 0.0010426 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4082-5_0_5_load_43 | 50 | 0.050932 | 0.012765 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4082-5_0_5_load_53 | 53 | 0.01942 | 0.0048671 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4082-5_0_5_load_63 | 55 | 0.0041466 | 0.0010392 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4082-5_0_5_load_48 | 56 | 0.0051784 | 0.0012978 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4082-5_0_5_load_42 | 58 | 0.00097811 | 0.00024514 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4082-5_0_5_load_37 | 59 | 0.013079 | 0.003278 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4082-5_0_5_load_31 | 60 | 0.0021155 | 0.0005302 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4082-5_0_5_load_30 | 61 | 0.0013497 | 0.00033826 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4082-5_0_5_load_56 | 62 | 0.011491 | 0.0028799 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4082-5_0_5_line_0 |  | 0 | 1 | 0.046856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4082-5_0_5_line_1 |  | 1 | 2 | 0.025612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4082-5_0_5_line_2 |  | 2 | 3 | 0.021121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_4082-5_0_5_line_3 |  | 3 | 21 | 0.01338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4082-5_0_5_line_4 |  | 3 | 6 | 0.044838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4082-5_0_5_line_5 |  | 4 | 5 | 0.0019946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4082-5_0_5_line_6 |  | 5 | 51 | 0.017506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4082-5_0_5_line_7 |  | 6 | 7 | 0.029781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4082-5_0_5_line_8 |  | 6 | 8 | 0.020535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4082-5_0_5_line_9 |  | 7 | 11 | 0.017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4082-5_0_5_line_10 |  | 7 | 13 | 0.028527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4082-5_0_5_line_11 |  | 8 | 31 | 0.027845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_4082-5_0_5_line_12 |  | 9 | 10 | 0.066796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4082-5_0_5_line_13 |  | 9 | 11 | 0.01627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4082-5_0_5_line_14 |  | 10 | 12 | 0.051058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4082-5_0_5_line_15 |  | 13 | 26 | 0.018656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4082-5_0_5_line_16 |  | 14 | 15 | 0.045667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4082-5_0_5_line_17 |  | 14 | 16 | 0.020128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4082-5_0_5_line_18 |  | 15 | 26 | 0.075046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4082-5_0_5_line_19 |  | 16 | 52 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4082-5_0_5_line_20 |  | 17 | 18 | 0.003283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4082-5_0_5_line_21 |  | 17 | 19 | 0.014645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4082-5_0_5_line_22 |  | 17 | 20 | 0.037562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4082-5_0_5_line_23 |  | 18 | 42 | 0.023448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4082-5_0_5_line_24 |  | 18 | 41 | 0.015377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4082-5_0_5_line_25 |  | 19 | 50 | 0.021719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4082-5_0_5_line_26 |  | 19 | 45 | 0.025959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4082-5_0_5_line_27 |  | 20 | 35 | 0.046483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4082-5_0_5_line_28 |  | 22 | 23 | 0.014645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4082-5_0_5_line_29 |  | 22 | 24 | 0.0095852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4082-5_0_5_line_30 |  | 22 | 25 | 0.052856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4082-5_0_5_line_31 |  | 23 | 51 | 0.0082548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4082-5_0_5_line_32 |  | 24 | 43 | 0.022203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4082-5_0_5_line_33 |  | 24 | 44 | 0.016061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4082-5_0_5_line_34 |  | 27 | 28 | 0.037855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4082-5_0_5_line_35 |  | 27 | 29 | 0.1048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4082-5_0_5_line_36 |  | 29 | 40 | 0.010585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4082-5_0_5_line_37 |  | 29 | 41 | 0.015187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4082-5_0_5_line_38 |  | 30 | 31 | 0.011477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4082-5_0_5_line_39 |  | 30 | 32 | 0.0028362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4082-5_0_5_line_40 |  | 31 | 33 | 0.008368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_4082-5_0_5_line_41 |  | 33 | 53 | 0.016979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_4082-5_0_5_line_42 |  | 34 | 35 | 0.016328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4082-5_0_5_line_43 |  | 34 | 36 | 0.021417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_4082-5_0_5_line_44 |  | 36 | 53 | 0.027815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4082-5_0_5_line_45 |  | 37 | 38 | 0.005056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4082-5_0_5_line_46 |  | 37 | 39 | 0.0085962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4082-5_0_5_line_47 |  | 38 | 54 | 0.010267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4082-5_0_5_line_48 |  | 39 | 55 | 0.00090874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4082-5_0_5_line_49 |  | 42 | 56 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4082-5_0_5_line_50 |  | 43 | 57 | 0.022255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4082-5_0_5_line_51 |  | 44 | 48 | 0.020602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4082-5_0_5_line_52 |  | 45 | 46 | 0.05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_4082-5_0_5_line_53 |  | 45 | 47 | 0.014973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4082-5_0_5_line_54 |  | 46 | 48 | 0.010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4082-5_0_5_line_55 |  | 46 | 49 | 0.016008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4082-5_0_5_line_56 |  | 47 | 58 | 0.034444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4082-5_0_5_line_57 |  | 49 | 60 | 0.035085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4082-5_0_5_line_58 |  | 52 | 55 | 0.0059668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4082-5_0_5_line_59 |  | 54 | 62 | 0.01979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4082-5_0_5_line_60 |  | 57 | 59 | 0.025455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4082-5_0_5_line_61 |  | 60 | 61 | 0.017836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4082-5_0_5_trafo_3 | 0.63 MVA 20/0.4 kV | 63 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2663002.2995 | 1244623.5319 | 2663015.4641 | 1244633.3895 | 2663039.1665 | 1244652.4413
1 | 2663059.5296 | 1244666.4692 | 2663056.3746 | 1244666.8359 | 2663043.2763 | 1244655.7447 | 2663039.1665 | 1244652.4413
2 | 2663053.1715 | 1244681.6899 | 2663057.806 | 1244675.7795 | 2663063.2703 | 1244667.8655 | 2663059.5296 | 1244666.4692
3 | 2663053.1715 | 1244681.6899 | 2663045.5705 | 1244676.639 | 2663042.0579 | 1244674.2404
4 | 2663053.1715 | 1244681.6899 | 2663052.139 | 1244693.5093 | 2663055.3142 | 1244701.1927 | 2663062.0389 | 1244709.0585 | 2663064.8266 | 1244714.0915 | 2663069.2447 | 1244721.4213
5 | 2662997.0584 | 1244559.9215 | 2662995.9887 | 1244561.6049
6 | 2662997.0584 | 1244559.9215 | 2663005.5486 | 1244544.6011
7 | 2663058.8104 | 1244746.1941 | 2663061.8335 | 1244741.8788 | 2663066.7542 | 1244736.7609 | 2663068.8564 | 1244735.1933 | 2663067.2011 | 1244729.5496 | 2663066.8907 | 1244724.6318 | 2663069.2447 | 1244721.4213
8 | 2663069.2447 | 1244721.4213 | 2663085.1797 | 1244715.1642 | 2663088.2588 | 1244713.685
9 | 2663058.8104 | 1244746.1941 | 2663053.3362 | 1244742.956 | 2663042.513 | 1244740.5193
10 | 2663058.8104 | 1244746.1941 | 2663082.0538 | 1244762.7322
11 | 2663112.0918 | 1244699.9065 | 2663108.1629 | 1244704.1231 | 2663088.2588 | 1244713.685
12 | 2662972.9647 | 1244767.3193 | 2662972.1952 | 1244762.9304 | 2662972.8502 | 1244758.1785 | 2662976.0015 | 1244754.5872 | 2662981.3011 | 1244752.2085 | 2662985.0932 | 1244750.9034 | 2663007.4819 | 1244743.158 | 2663026.3602 | 1244739.3669
13 | 2663026.3602 | 1244739.3669 | 2663037.8373 | 1244739.4667 | 2663042.513 | 1244740.5193
14 | 2662972.9647 | 1244767.3193 | 2662973.7557 | 1244771.8197 | 2662978.1315 | 1244786.6986 | 2662980.3898 | 1244794.6169 | 2662986.2529 | 1244816.5935
15 | 2663082.0538 | 1244762.7322 | 2663091.9661 | 1244769.785 | 2663097.1943 | 1244773.6313
16 | 2663131.281 | 1244786.9037 | 2663128.9198 | 1244790.7924 | 2663147.8215 | 1244801.8344 | 2663163.2434 | 1244808.2696 | 2663162.1763 | 1244810.5487
17 | 2663131.281 | 1244786.9037 | 2663141.7233 | 1244769.6964
18 | 2663162.1763 | 1244810.5487 | 2663156.8717 | 1244808.4352 | 2663142.2797 | 1244802.1201 | 2663115.9961 | 1244787.4637 | 2663097.1943 | 1244773.6313
19 | 2663150.5596 | 1244759.7123 | 2663146.3251 | 1244762.1134 | 2663141.7233 | 1244769.6964
20 | 2663106.4846 | 1244609.04 | 2663109.0082 | 1244606.932
21 | 2663106.4846 | 1244609.04 | 2663100.1071 | 1244601.9117 | 2663096.5771 | 1244605.5656
22 | 2663106.4846 | 1244609.04 | 2663133.1834 | 1244630.9056 | 2663135.5454 | 1244632.8388
23 | 2663109.0082 | 1244606.932 | 2663127.3622 | 1244621.525
24 | 2663109.0082 | 1244606.932 | 2663120.804 | 1244597.0666
25 | 2663096.5771 | 1244605.5656 | 2663097.5614 | 1244610.3571 | 2663093.3111 | 1244616.3716 | 2663087.5801 | 1244623.902
26 | 2663089.297 | 1244586.6863 | 2663087.5912 | 1244587.9135 | 2663100.1071 | 1244601.9117 | 2663096.5771 | 1244605.5656
27 | 2663171.516 | 1244662.2795 | 2663135.5454 | 1244632.8388
28 | 2663017.5592 | 1244525.1041 | 2663009.8782 | 1244537.5728
29 | 2663017.5592 | 1244525.1041 | 2663019.4968 | 1244521.9669 | 2663022.7081 | 1244517.0199
30 | 2663017.5592 | 1244525.1041 | 2663027.4087 | 1244537.6061 | 2663052.4111 | 1244562.0107 | 2663053.8464 | 1244563.4059
31 | 2663005.5486 | 1244544.6011 | 2663009.8782 | 1244537.5728
32 | 2663022.7081 | 1244517.0199 | 2663034.796 | 1244498.3959
33 | 2663022.7081 | 1244517.0199 | 2663026.7089 | 1244521.6878 | 2663029.0471 | 1244527.0719 | 2663031.9955 | 1244529.8386
34 | 2663195.0557 | 1244508.9804 | 2663190.0358 | 1244509.9053 | 2663164.0464 | 1244529.9535
35 | 2663132.4534 | 1244587.3235 | 2663172.7749 | 1244556.1533 | 2663178.8319 | 1244550.0914 | 2663188.6685 | 1244537.5208 | 2663192.4931 | 1244524.6638 | 2663195.0557 | 1244508.9804
36 | 2663132.4534 | 1244587.3235 | 2663125.9846 | 1244578.9448
37 | 2663132.4534 | 1244587.3235 | 2663120.804 | 1244597.0666
38 | 2663106.5815 | 1244690.1189 | 2663108.0768 | 1244695.1716 | 2663112.0918 | 1244699.9065
39 | 2663106.5815 | 1244690.1189 | 2663109.2611 | 1244689.1896
40 | 2663112.0918 | 1244699.9065 | 2663119.7873 | 1244696.6195
41 | 2663119.7873 | 1244696.6195 | 2663128.2454 | 1244693.0069 | 2663135.5237 | 1244690.254
42 | 2663171.516 | 1244662.2795 | 2663180.2731 | 1244669.4555 | 2663182.0291 | 1244674.144
43 | 2663182.0291 | 1244674.144 | 2663161.6385 | 1244680.6955
44 | 2663161.6385 | 1244680.6955 | 2663156.0366 | 1244682.4953 | 2663135.5237 | 1244690.254
45 | 2663163.1854 | 1244756.2443 | 2663162.8594 | 1244754.9288 | 2663161.4353 | 1244753.1236 | 2663160.2033 | 1244752.4433
46 | 2663160.2033 | 1244752.4433 | 2663158.8061 | 1244751.6724 | 2663156.5114 | 1244751.4367 | 2663154.2004 | 1244752.0347 | 2663152.3048 | 1244753.3488
47 | 2663163.1854 | 1244756.2443 | 2663163.6421 | 1244758.0616 | 2663163.2402 | 1244760.3255 | 2663162.078 | 1244762.3145 | 2663160.9941 | 1244763.337 | 2663158.9352 | 1244764.3825
48 | 2663152.3048 | 1244753.3488 | 2663151.7841 | 1244754.0935
49 | 2663141.8166 | 1244633.0174 | 2663127.3622 | 1244621.525
50 | 2663048.3854 | 1244480.7899 | 2663036.8131 | 1244495.2881 | 2663034.796 | 1244498.3959
51 | 2663047.0186 | 1244543.9358 | 2663031.9955 | 1244529.8386
52 | 2663089.297 | 1244586.6863 | 2663084.0077 | 1244580.9706 | 2663054.3588 | 1244550.8237
53 | 2663089.297 | 1244586.6863 | 2663101.4393 | 1244577.9261
54 | 2663054.3588 | 1244550.8237 | 2663047.0186 | 1244543.9358
55 | 2663054.3588 | 1244550.8237 | 2663066.7529 | 1244540.6919
56 | 2663105.877 | 1244551.0937 | 2663113.1815 | 1244560.589 | 2663111.0303 | 1244571.0066 | 2663101.4393 | 1244577.9261
57 | 2663093.9167 | 1244518.4864 | 2663066.7529 | 1244540.6919
58 | 2663150.5596 | 1244759.7123 | 2663150.3637 | 1244757.531 | 2663150.939 | 1244755.3022 | 2663151.7841 | 1244754.0935
59 | 2663158.9352 | 1244764.3825 | 2663162.1816 | 1244771.0327 | 2663173.0636 | 1244776.9558
60 | 2663048.3854 | 1244480.7899 | 2663028.944 | 1244464.3592
61 | 2663107.7256 | 1244507.1982 | 2663106.0651 | 1244508.5554 | 2663093.9167 | 1244518.4864

## bus_geodata
| x | y | coords
0 | 2663002.2995 | 1244623.5319
1 | 2663039.1665 | 1244652.4413
2 | 2663059.5296 | 1244666.4692
3 | 2663053.1715 | 1244681.6899
4 | 2662995.9887 | 1244561.6049
5 | 2662997.0584 | 1244559.9215
6 | 2663069.2447 | 1244721.4213
7 | 2663058.8104 | 1244746.1941
8 | 2663088.2588 | 1244713.685
9 | 2663026.3602 | 1244739.3669
10 | 2662972.9647 | 1244767.3193
11 | 2663042.513 | 1244740.5193
12 | 2662986.2529 | 1244816.5935
13 | 2663082.0538 | 1244762.7322
14 | 2663131.281 | 1244786.9037
15 | 2663162.1763 | 1244810.5487
16 | 2663141.7233 | 1244769.6964
17 | 2663106.4846 | 1244609.04
18 | 2663109.0082 | 1244606.932
19 | 2663096.5771 | 1244605.5656
20 | 2663135.5454 | 1244632.8388
21 | 2663042.0579 | 1244674.2404
22 | 2663017.5592 | 1244525.1041
23 | 2663009.8782 | 1244537.5728
24 | 2663022.7081 | 1244517.0199
25 | 2663053.8464 | 1244563.4059
26 | 2663097.1943 | 1244773.6313
27 | 2663195.0557 | 1244508.9804
28 | 2663164.0464 | 1244529.9535
29 | 2663132.4534 | 1244587.3235
30 | 2663106.5815 | 1244690.1189
31 | 2663112.0918 | 1244699.9065
32 | 2663109.2611 | 1244689.1896
33 | 2663119.7873 | 1244696.6195
34 | 2663182.0291 | 1244674.144
35 | 2663171.516 | 1244662.2795
36 | 2663161.6385 | 1244680.6955
37 | 2663160.2033 | 1244752.4433
38 | 2663163.1854 | 1244756.2443
39 | 2663152.3048 | 1244753.3488
40 | 2663125.9846 | 1244578.9448
41 | 2663120.804 | 1244597.0666
42 | 2663127.3622 | 1244621.525
43 | 2663034.796 | 1244498.3959
44 | 2663031.9955 | 1244529.8386
45 | 2663089.297 | 1244586.6863
46 | 2663054.3588 | 1244550.8237
47 | 2663101.4393 | 1244577.9261
48 | 2663047.0186 | 1244543.9358
49 | 2663066.7529 | 1244540.6919
50 | 2663087.5801 | 1244623.902
51 | 2663005.5486 | 1244544.6011
52 | 2663150.5596 | 1244759.7123
53 | 2663135.5237 | 1244690.254
54 | 2663158.9352 | 1244764.3825
55 | 2663151.7841 | 1244754.0935
56 | 2663141.8166 | 1244633.0174
57 | 2663048.3854 | 1244480.7899
58 | 2663105.877 | 1244551.0937
59 | 2663028.944 | 1244464.3592
60 | 2663093.9167 | 1244518.4864
61 | 2663107.7256 | 1244507.1982
62 | 2663173.0636 | 1244776.9558
63 | 2663063.2703 | 1244667.8655

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1