## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4082-9_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4082-9_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4082-9_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4082-9_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4082-9_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4082-9_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4082-9_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4082-9_0_2_node_17 | 0.4 | n |  | TRUE
8 | bus_LV_4082-9_0_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_4082-9_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4082-9_0_2_node_138 | 0.4 | n |  | TRUE
11 | bus_LV_4082-9_0_2_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_4082-9_0_2_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_4082-9_0_2_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4082-9_0_2_node_139 | 0.4 | n |  | TRUE
15 | bus_LV_4082-9_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4082-9_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4082-9_0_2_node_168 | 0.4 | n |  | TRUE
18 | bus_LV_4082-9_0_2_node_177 | 0.4 | n |  | TRUE
19 | bus_LV_4082-9_0_2_node_167 | 0.4 | n |  | TRUE
20 | bus_LV_4082-9_0_2_node_145 | 0.4 | n |  | TRUE
21 | bus_LV_4082-9_0_2_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4082-9_0_2_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4082-9_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4082-9_0_2_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_4082-9_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4082-9_0_2_node_137 | 0.4 | n |  | TRUE
27 | bus_LV_4082-9_0_2_node_124 | 0.4 | n |  | TRUE
28 | bus_LV_4082-9_0_2_node_120 | 0.4 | n |  | TRUE
29 | bus_LV_4082-9_0_2_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_4082-9_0_2_node_119 | 0.4 | n |  | TRUE
31 | bus_LV_4082-9_0_2_node_136 | 0.4 | n |  | TRUE
32 | bus_LV_4082-9_0_2_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4082-9_0_2_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4082-9_0_2_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4082-9_0_2_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4082-9_0_2_node_125 | 0.4 | n |  | TRUE
37 | bus_LV_4082-9_0_2_node_130 | 0.4 | n |  | TRUE
38 | bus_LV_4082-9_0_2_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4082-9_0_2_node_117 | 0.4 | n |  | TRUE
40 | bus_LV_4082-9_0_2_node_123 | 0.4 | n |  | TRUE
41 | bus_LV_4082-9_0_2_node_122 | 0.4 | n |  | TRUE
42 | bus_LV_4082-9_0_2_node_126 | 0.4 | n |  | TRUE
43 | bus_LV_4082-9_0_2_node_131 | 0.4 | n |  | TRUE
44 | bus_LV_4082-9_0_2_node_180 | 0.4 | n |  | TRUE
45 | bus_LV_4082-9_0_2_node_115 | 0.4 | n |  | TRUE
46 | bus_LV_4082-9_0_2_node_121 | 0.4 | n |  | TRUE
47 | bus_LV_4082-9_0_2_node_113 | 0.4 | n |  | TRUE
48 | bus_LV_4082-9_0_2_node_111 | 0.4 | n |  | TRUE
49 | bus_LV_4082-9_0_2_node_135 | 0.4 | n |  | TRUE
50 | bus_LV_4082-9_0_2_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_4082-9_0_2_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_4082-9_0_2_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_4082-9_0_2_node_102 | 0.4 | n |  | TRUE
54 | bus_LV_4082-9_0_2_node_103 | 0.4 | n |  | TRUE
55 | bus_LV_4082-9_0_2_node_104 | 0.4 | n |  | TRUE
56 | bus_LV_4082-9_0_2_node_108 | 0.4 | n |  | TRUE
57 | bus_LV_4082-9_0_2_node_129 | 0.4 | n |  | TRUE
58 | bus_LV_4082-9_0_2_node_134 | 0.4 | n |  | TRUE
59 | bus_LV_4082-9_0_2_node_133 | 0.4 | n |  | TRUE
60 | bus_LV_4082-9_0_2_node_106 | 0.4 | n |  | TRUE
61 | bus_LV_4082-9_0_2_node_127 | 0.4 | n |  | TRUE
62 | bus_LV_4082-9_0_2_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_4082-9_0_2_node_107 | 0.4 | n |  | TRUE
64 | bus_LV_4082-9_0_2_node_109 | 0.4 | n |  | TRUE
65 | bus_LV_4082-9_0_2_node_114 | 0.4 | n |  | TRUE
66 | bus_LV_4082-9_0_2_node_112 | 0.4 | n |  | TRUE
67 | bus_LV_4082-9_0_2_node_110 | 0.4 | n |  | TRUE
68 | bus_LV_4082-9_0_2_node_116 | 0.4 | n |  | TRUE
69 | bus_LV_4082-9_0_2_node_118 | 0.4 | n |  | TRUE
70 | bus_LV_4082-9_0_2_node_128 | 0.4 | n |  | TRUE
71 | bus_LV_4082-9_0_2_node_132 | 0.4 | n |  | TRUE
72 | bus_LV_4082-9_0_2_node_169 | 0.4 | n |  | TRUE
73 | bus_LV_4082-9_0_2_node_181 | 0.4 | n |  | TRUE
74 | bus_LV_4082-9_0_2_node_153 | 0.4 | n |  | TRUE
75 | bus_LV_4082-9_0_2_node_140 | 0.4 | n |  | TRUE
76 | bus_LV_4082-9_0_2_node_141 | 0.4 | n |  | TRUE
77 | bus_LV_4082-9_0_2_node_142 | 0.4 | n |  | TRUE
78 | bus_LV_4082-9_0_2_node_143 | 0.4 | n |  | TRUE
79 | bus_LV_4082-9_0_2_node_152 | 0.4 | n |  | TRUE
80 | bus_LV_4082-9_0_2_node_144 | 0.4 | n |  | TRUE
81 | bus_LV_4082-9_0_2_node_161 | 0.4 | n |  | TRUE
82 | bus_LV_4082-9_0_2_node_148 | 0.4 | n |  | TRUE
83 | bus_LV_4082-9_0_2_node_162 | 0.4 | n |  | TRUE
84 | bus_LV_4082-9_0_2_node_146 | 0.4 | n |  | TRUE
85 | bus_LV_4082-9_0_2_node_147 | 0.4 | n |  | TRUE
86 | bus_LV_4082-9_0_2_node_149 | 0.4 | n |  | TRUE
87 | bus_LV_4082-9_0_2_node_150 | 0.4 | n |  | TRUE
88 | bus_LV_4082-9_0_2_node_151 | 0.4 | n |  | TRUE
89 | bus_LV_4082-9_0_2_node_159 | 0.4 | n |  | TRUE
90 | bus_LV_4082-9_0_2_node_176 | 0.4 | n |  | TRUE
91 | bus_LV_4082-9_0_2_node_157 | 0.4 | n |  | TRUE
92 | bus_LV_4082-9_0_2_node_174 | 0.4 | n |  | TRUE
93 | bus_LV_4082-9_0_2_node_155 | 0.4 | n |  | TRUE
94 | bus_LV_4082-9_0_2_node_156 | 0.4 | n |  | TRUE
95 | bus_LV_4082-9_0_2_node_160 | 0.4 | n |  | TRUE
96 | bus_LV_4082-9_0_2_node_158 | 0.4 | n |  | TRUE
97 | bus_LV_4082-9_0_2_node_175 | 0.4 | n |  | TRUE
98 | bus_LV_4082-9_0_2_node_173 | 0.4 | n |  | TRUE
99 | bus_LV_4082-9_0_2_node_163 | 0.4 | n |  | TRUE
100 | bus_LV_4082-9_0_2_node_164 | 0.4 | n |  | TRUE
101 | bus_LV_4082-9_0_2_node_165 | 0.4 | n |  | TRUE
102 | bus_LV_4082-9_0_2_node_166 | 0.4 | n |  | TRUE
103 | bus_LV_4082-9_0_2_node_171 | 0.4 | n |  | TRUE
104 | bus_LV_4082-9_0_2_node_172 | 0.4 | n |  | TRUE
105 | bus_MV_428_1_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4082-9_0_2_load_0 | 0 | 0.0049058 | 0.0012295 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4082-9_0_2_load_3 | 3 | 0.0017871 | 0.0004479 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4082-9_0_2_load_4 | 4 | 0.0015858 | 0.00039744 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4082-9_0_2_load_5 | 5 | 0.002388 | 0.00059848 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4082-9_0_2_load_6 | 6 | 0.0032926 | 0.00082521 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4082-9_0_2_load_17 | 7 | 0.00064912 | 0.00016268 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4082-9_0_2_load_7 | 9 | 0.0080392 | 0.0020148 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4082-9_0_2_load_138 | 10 | 0.0014016 | 0.00035126 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4082-9_0_2_load_18 | 11 | 0.00067862 | 0.00017008 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4082-9_0_2_load_139 | 14 | 0.0017076 | 0.00042796 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4082-9_0_2_load_9 | 15 | 0.0011805 | 0.00029586 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4082-9_0_2_load_10 | 16 | 0.00089864 | 0.00022522 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4082-9_0_2_load_168 | 17 | 0.0025171 | 0.00063085 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4082-9_0_2_load_177 | 18 | 0.00099287 | 0.00024884 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4082-9_0_2_load_167 | 19 | 0.00099006 | 0.00024813 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4082-9_0_2_load_145 | 20 | 0.0010816 | 0.00027108 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4082-9_0_2_load_11 | 21 | 0.0039428 | 0.00098816 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4082-9_0_2_load_12 | 22 | 0.00061284 | 0.00015359 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4082-9_0_2_load_14 | 23 | 0.0056568 | 0.0014177 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4082-9_0_2_load_137 | 26 | 0.0052511 | 0.001316 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4082-9_0_2_load_120 | 28 | 0.0054416 | 0.0013638 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4082-9_0_2_load_119 | 30 | 0.0031453 | 0.00078828 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4082-9_0_2_load_20 | 33 | 0.0035906 | 0.00089989 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4082-9_0_2_load_21 | 34 | 0.01151 | 0.0028846 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4082-9_0_2_load_125 | 36 | 0.0037122 | 0.00093036 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4082-9_0_2_load_130 | 37 | 0.011154 | 0.0027955 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4082-9_0_2_load_117 | 39 | 0.0045056 | 0.0011292 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4082-9_0_2_load_122 | 41 | 0.0024074 | 0.00060335 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4082-9_0_2_load_126 | 42 | 0.0068989 | 0.001729 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4082-9_0_2_load_131 | 43 | 0.0023023 | 0.00057702 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4082-9_0_2_load_180 | 44 | 0.0036845 | 0.00092342 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4082-9_0_2_load_115 | 45 | 0.0047155 | 0.0011818 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4082-9_0_2_load_121 | 46 | 0.0084025 | 0.0021059 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4082-9_0_2_load_113 | 47 | 0.003112 | 0.00077994 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4082-9_0_2_load_111 | 48 | 0.0032663 | 0.00081861 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4082-9_0_2_load_135 | 49 | 0.033586 | 0.0084173 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4082-9_0_2_load_97 | 50 | 0.0012902 | 0.00032336 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4082-9_0_2_load_98 | 51 | 0.0010644 | 0.00026675 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4082-9_0_2_load_102 | 53 | 0.00082585 | 0.00020698 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4082-9_0_2_load_103 | 54 | 0.0033605 | 0.00084221 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4082-9_0_2_load_104 | 55 | 0.001962 | 0.00049172 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4082-9_0_2_load_108 | 56 | 0.0011595 | 0.00029061 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4082-9_0_2_load_129 | 57 | 0.0044097 | 0.0011052 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4082-9_0_2_load_133 | 59 | 0.0024481 | 0.00061356 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4082-9_0_2_load_106 | 60 | 0.00066878 | 0.00016761 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4082-9_0_2_load_127 | 61 | 0.0032735 | 0.00082041 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4082-9_0_2_load_105 | 62 | 0.0013036 | 0.00032673 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4082-9_0_2_load_107 | 63 | 0.0026873 | 0.0006735 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4082-9_0_2_load_109 | 64 | 0.00080115 | 0.00020079 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4082-9_0_2_load_114 | 65 | 0.00081526 | 0.00020432 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4082-9_0_2_load_112 | 66 | 0.00092504 | 0.00023184 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4082-9_0_2_load_110 | 67 | 0.0010692 | 0.00026797 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4082-9_0_2_load_116 | 68 | 0.0051096 | 0.0012806 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4082-9_0_2_load_118 | 69 | 0.0011521 | 0.00028874 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4082-9_0_2_load_128 | 70 | 0.00096424 | 0.00024166 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4082-9_0_2_load_181 | 73 | 0.01371 | 0.0034362 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4082-9_0_2_load_153 | 74 | 0.0014849 | 0.00037216 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4082-9_0_2_load_140 | 75 | 0.0036702 | 0.00091983 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4082-9_0_2_load_141 | 76 | 0.0019689 | 0.00049346 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4082-9_0_2_load_143 | 78 | 0.0015357 | 0.00038488 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4082-9_0_2_load_152 | 79 | 0.0016991 | 0.00042585 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4082-9_0_2_load_144 | 80 | 0.0011281 | 0.00028272 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4082-9_0_2_load_161 | 81 | 0.00097216 | 0.00024365 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4082-9_0_2_load_162 | 83 | 0.001066 | 0.00026718 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4082-9_0_2_load_146 | 84 | 0.0014688 | 0.00036812 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4082-9_0_2_load_149 | 86 | 0.003985 | 0.00099873 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4082-9_0_2_load_150 | 87 | 0.0011454 | 0.00028706 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4082-9_0_2_load_151 | 88 | 0.0013814 | 0.00034622 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4082-9_0_2_load_159 | 89 | 0.0010073 | 0.00025246 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4082-9_0_2_load_176 | 90 | 0.0014409 | 0.00036113 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4082-9_0_2_load_157 | 91 | 0.00097042 | 0.00024321 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4082-9_0_2_load_174 | 92 | 0.0011968 | 0.00029995 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4082-9_0_2_load_160 | 95 | 0.002154 | 0.00053985 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4082-9_0_2_load_158 | 96 | 0.008436 | 0.0021143 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4082-9_0_2_load_175 | 97 | 0.0010568 | 0.00026487 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4082-9_0_2_load_173 | 98 | 0.001139 | 0.00028547 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4082-9_0_2_load_163 | 99 | 0.0010653 | 0.000267 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4082-9_0_2_load_166 | 102 | 0.00098272 | 0.00024629 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4082-9_0_2_load_171 | 103 | 0.0010475 | 0.00026252 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4082-9_0_2_load_172 | 104 | 0.0010658 | 0.00026713 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4082-9_0_2_line_0 |  | 0 | 1 | 0.024554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4082-9_0_2_line_1 |  | 0 | 2 | 0.0036123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4082-9_0_2_line_2 |  | 1 | 3 | 0.027427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4082-9_0_2_line_3 |  | 1 | 4 | 0.017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4082-9_0_2_line_4 |  | 2 | 5 | 0.015255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4082-9_0_2_line_5 |  | 2 | 6 | 0.021731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4082-9_0_2_line_6 |  | 3 | 7 | 0.021226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4082-9_0_2_line_7 |  | 4 | 8 | 0.020765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4082-9_0_2_line_8 |  | 5 | 9 | 0.022207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4082-9_0_2_line_9 |  | 6 | 10 | 0.0078874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4082-9_0_2_line_10 |  | 7 | 11 | 0.00066197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4082-9_0_2_line_11 |  | 8 | 12 | 0.014724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4082-9_0_2_line_12 |  | 9 | 13 | 0.041247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4082-9_0_2_line_13 |  | 10 | 14 | 0.0094589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4082-9_0_2_line_14 |  | 11 | 32 | 0.084853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4082-9_0_2_line_15 |  | 12 | 21 | 0.059739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4082-9_0_2_line_16 |  | 13 | 15 | 0.027651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4082-9_0_2_line_17 |  | 13 | 16 | 0.025107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4082-9_0_2_line_18 |  | 14 | 74 | 0.0096207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4082-9_0_2_line_19 |  | 15 | 17 | 0.0079958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4082-9_0_2_line_20 |  | 16 | 18 | 0.00028484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4082-9_0_2_line_21 |  | 17 | 19 | 0.00014554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4082-9_0_2_line_22 |  | 18 | 20 | 8.9745e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4082-9_0_2_line_23 |  | 19 | 101 | 0.021024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4082-9_0_2_line_24 |  | 20 | 77 | 0.0082925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4082-9_0_2_line_25 |  | 21 | 22 | 0.031772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4082-9_0_2_line_26 |  | 23 | 24 | 0.034884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4082-9_0_2_line_27 |  | 24 | 27 | 0.01441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4082-9_0_2_line_28 |  | 24 | 28 | 0.024519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4082-9_0_2_line_29 |  | 24 | 25 | 0.060156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4082-9_0_2_line_30 |  | 25 | 26 | 0.022394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4082-9_0_2_line_31 |  | 26 | 31 | 0.01512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4082-9_0_2_line_32 |  | 27 | 44 | 0.024207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4082-9_0_2_line_33 |  | 27 | 38 | 0.054127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4082-9_0_2_line_34 |  | 28 | 29 | 0.0044244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4082-9_0_2_line_35 |  | 29 | 30 | 0.029782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4082-9_0_2_line_36 |  | 31 | 49 | 0.059009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4082-9_0_2_line_37 |  | 32 | 33 | 0.020796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4082-9_0_2_line_38 |  | 32 | 34 | 0.018111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4082-9_0_2_line_39 |  | 32 | 35 | 0.05349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_4082-9_0_2_line_40 |  | 33 | 36 | 0.030984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4082-9_0_2_line_41 |  | 34 | 37 | 0.0064949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4082-9_0_2_line_42 |  | 35 | 41 | 0.012011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4082-9_0_2_line_43 |  | 35 | 38 | 0.049765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4082-9_0_2_line_44 |  | 36 | 42 | 0.021831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4082-9_0_2_line_45 |  | 37 | 43 | 0.015111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4082-9_0_2_line_46 |  | 38 | 39 | 0.011846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4082-9_0_2_line_47 |  | 38 | 40 | 0.042622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4082-9_0_2_line_48 |  | 39 | 45 | 0.015516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4082-9_0_2_line_49 |  | 40 | 46 | 0.017705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4082-9_0_2_line_50 |  | 42 | 61 | 0.0093202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4082-9_0_2_line_51 |  | 43 | 71 | 0.023575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4082-9_0_2_line_52 |  | 45 | 68 | 0.0058555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4082-9_0_2_line_53 |  | 47 | 48 | 0.018479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4082-9_0_2_line_54 |  | 48 | 67 | 0.0026528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4082-9_0_2_line_55 |  | 50 | 51 | 0.00099241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4082-9_0_2_line_56 |  | 51 | 52 | 0.039021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4082-9_0_2_line_57 |  | 52 | 53 | 0.012308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4082-9_0_2_line_58 |  | 52 | 54 | 0.015103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4082-9_0_2_line_59 |  | 52 | 55 | 0.015114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4082-9_0_2_line_60 |  | 53 | 56 | 0.020871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4082-9_0_2_line_61 |  | 54 | 57 | 0.016217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4082-9_0_2_line_62 |  | 55 | 58 | 0.036403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4082-9_0_2_line_63 |  | 56 | 60 | 0.012526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4082-9_0_2_line_64 |  | 57 | 61 | 0.0045184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4082-9_0_2_line_65 |  | 58 | 59 | 0.046137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4082-9_0_2_line_66 |  | 60 | 62 | 0.010595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4082-9_0_2_line_67 |  | 62 | 63 | 0.00012684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4082-9_0_2_line_68 |  | 63 | 64 | 0.015263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4082-9_0_2_line_69 |  | 64 | 65 | 0.0041677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4082-9_0_2_line_70 |  | 65 | 66 | 0.0066628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4082-9_0_2_line_71 |  | 66 | 67 | 0.016508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4082-9_0_2_line_72 |  | 68 | 69 | 0.020663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4082-9_0_2_line_73 |  | 69 | 70 | 0.00029489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4082-9_0_2_line_74 |  | 71 | 72 | 0.015426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4082-9_0_2_line_75 |  | 72 | 73 | 0.024092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4082-9_0_2_line_76 |  | 75 | 76 | 0.0095053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4082-9_0_2_line_77 |  | 75 | 77 | 0.020343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4082-9_0_2_line_78 |  | 76 | 78 | 0.02054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4082-9_0_2_line_79 |  | 78 | 79 | 0.020873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4082-9_0_2_line_80 |  | 79 | 82 | 0.0098733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4082-9_0_2_line_81 |  | 80 | 81 | 2.6832e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4082-9_0_2_line_82 |  | 81 | 83 | 4.4997e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4082-9_0_2_line_83 |  | 82 | 88 | 0.020858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4082-9_0_2_line_84 |  | 82 | 84 | 0.013352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4082-9_0_2_line_85 |  | 83 | 97 | 0.00027577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4082-9_0_2_line_86 |  | 84 | 85 | 0.011833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4082-9_0_2_line_87 |  | 85 | 86 | 0.0050436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4082-9_0_2_line_88 |  | 85 | 87 | 0.014101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4082-9_0_2_line_89 |  | 86 | 89 | 0.014561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4082-9_0_2_line_90 |  | 87 | 90 | 0.0069095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4082-9_0_2_line_91 |  | 89 | 91 | 7.6479e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4082-9_0_2_line_92 |  | 90 | 92 | 0.0070022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4082-9_0_2_line_93 |  | 91 | 96 | 0.025176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4082-9_0_2_line_94 |  | 92 | 104 | 0.0061296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4082-9_0_2_line_95 |  | 93 | 94 | 0.086656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4082-9_0_2_line_96 |  | 93 | 95 | 0.024292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4082-9_0_2_line_97 |  | 94 | 96 | 0.0062959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4082-9_0_2_line_98 |  | 97 | 98 | 0.0011666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4082-9_0_2_line_99 |  | 98 | 103 | 0.00012152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4082-9_0_2_line_100 |  | 99 | 100 | 0.029862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4082-9_0_2_line_101 |  | 99 | 101 | 0.00491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4082-9_0_2_line_102 |  | 100 | 102 | 0.02164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4082-9_0_2_line_103 |  | 103 | 104 | 9.7401e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4082-9_0_2_trafo_122 | 0.63 MVA 20/0.4 kV | 105 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2663020.1501 | 1244121.955 | 2663011.2307 | 1244144.8321
1 | 2663009.9185 | 1244148.1977 | 2663011.2307 | 1244144.8321
2 | 2663020.1501 | 1244121.955 | 2663026.7951 | 1244126.0061 | 2663042.2595 | 1244138.1199
3 | 2663020.1501 | 1244121.955 | 2663022.7013 | 1244104.3924
4 | 2663009.9185 | 1244148.1977 | 2663004.7943 | 1244162.5663
5 | 2663009.9185 | 1244148.1977 | 2662991.2908 | 1244137.0068
6 | 2663058.9688 | 1244151.209 | 2663042.2595 | 1244138.1199
7 | 2663025.6864 | 1244083.8432 | 2663022.7013 | 1244104.3924
8 | 2662999.0116 | 1244183.9893 | 2663003.2821 | 1244166.8067 | 2663004.7943 | 1244162.5663
9 | 2662991.2908 | 1244137.0068 | 2662984.5296 | 1244132.945
10 | 2663058.9688 | 1244151.209 | 2663059.4899 | 1244151.6172
11 | 2663025.6864 | 1244083.8432 | 2663029.0731 | 1244069.5138
12 | 2662987.4074 | 1244223.477 | 2662990.753 | 1244215.8517 | 2662993.043 | 1244208.004 | 2662999.0116 | 1244183.9893
13 | 2662984.5296 | 1244132.945 | 2662976.4214 | 1244128.0738
14 | 2663121.1088 | 1244209.7881 | 2663100.9782 | 1244188.3371 | 2663069.9199 | 1244159.7874 | 2663059.4899 | 1244151.6172
15 | 2663029.0731 | 1244069.5138 | 2663033.7141 | 1244071.5756 | 2663037.5972 | 1244070.2715 | 2663042.9744 | 1244072.0298 | 2663079.0407 | 1244095.896 | 2663080.4922 | 1244096.7003
16 | 2662987.4074 | 1244223.477 | 2662975.3328 | 1244248.3525
17 | 2662987.4074 | 1244223.477 | 2662965.5106 | 1244211.1935
18 | 2662968.1745 | 1244123.1194 | 2662976.4214 | 1244128.0738
19 | 2662971.6385 | 1244255.4393 | 2662973.4309 | 1244252.2707 | 2662975.3328 | 1244248.3525
20 | 2662965.2621 | 1244211.0542 | 2662965.5106 | 1244211.1935
21 | 2662971.6385 | 1244255.4393 | 2662971.5669 | 1244255.5659
22 | 2662965.1839 | 1244211.0103 | 2662965.2621 | 1244211.0542
23 | 2662960.8485 | 1244273.6296 | 2662963.1648 | 1244270.4187 | 2662971.5669 | 1244255.5659
24 | 2662957.9516 | 1244206.9532 | 2662965.1839 | 1244211.0103
25 | 2663108.2828 | 1244112.0994 | 2663080.4922 | 1244096.7003
26 | 2663237.5163 | 1244155.3565 | 2663229.1348 | 1244153.288 | 2663224.1117 | 1244149.5208 | 2663204.6305 | 1244145.1185
27 | 2663237.5163 | 1244155.3565 | 2663232.8155 | 1244163.8901 | 2663229.7399 | 1244167.4153
28 | 2663237.5163 | 1244155.3565 | 2663244.0762 | 1244160.2854 | 2663252.0915 | 1244156.3014 | 2663259.4143 | 1244157.0671
29 | 2663237.5163 | 1244155.3565 | 2663241.5111 | 1244142.8683 | 2663222.7444 | 1244138.1207 | 2663202.6419 | 1244135.3269 | 2663195.3224 | 1244134.3038
30 | 2663195.3224 | 1244134.3038 | 2663205.2838 | 1244120.0223 | 2663208.3022 | 1244116.0588
31 | 2663217.4626 | 1244104.0299 | 2663208.3022 | 1244116.0588
32 | 2663229.7399 | 1244167.4153 | 2663232.5836 | 1244171.4595 | 2663246.1612 | 1244185.1691
33 | 2663178.37 | 1244184.1242 | 2663192.001 | 1244180.0554 | 2663209.7112 | 1244174.7292 | 2663222.8711 | 1244170.9001 | 2663229.7399 | 1244167.4153
34 | 2663263.8147 | 1244157.5272 | 2663259.4143 | 1244157.0671
35 | 2663263.8147 | 1244157.5272 | 2663278.8624 | 1244167.3054 | 2663288.0245 | 1244174.7991
36 | 2663217.4626 | 1244104.0299 | 2663208.7828 | 1244097.3218 | 2663224.9732 | 1244079.3374 | 2663239.1498 | 1244070.1933 | 2663245.7625 | 1244067.9863
37 | 2663121.1088 | 1244209.7881 | 2663134.8456 | 1244225.4007
38 | 2663121.1088 | 1244209.7881 | 2663108.6323 | 1244222.9163
39 | 2663137.9074 | 1244185.0053 | 2663146.9318 | 1244182.7664 | 2663149.9663 | 1244193.028 | 2663134.1901 | 1244200.5542 | 2663121.1088 | 1244209.7881
40 | 2663155.8003 | 1244248.2142 | 2663144.9873 | 1244236.9273 | 2663134.8456 | 1244225.4007
41 | 2663104.1581 | 1244227.6243 | 2663108.6323 | 1244222.9163
42 | 2663137.9074 | 1244185.0053 | 2663134.4249 | 1244173.51
43 | 2663137.9074 | 1244185.0053 | 2663146.9318 | 1244182.7664 | 2663149.9663 | 1244193.028 | 2663178.37 | 1244184.1242
44 | 2663155.8003 | 1244248.2142 | 2663170.5033 | 1244263.5616 | 2663170.8914 | 1244263.9884
45 | 2663093.7483 | 1244238.5781 | 2663104.1581 | 1244227.6243
46 | 2663178.37 | 1244184.1242 | 2663180.1833 | 1244189.8363 | 2663184.4858 | 1244193.805
47 | 2663178.37 | 1244184.1242 | 2663192.001 | 1244180.0554 | 2663188.2663 | 1244163.1707 | 2663185.0923 | 1244152.5296
48 | 2663195.891 | 1244204.3252 | 2663184.4858 | 1244193.805
49 | 2663185.0923 | 1244152.5296 | 2663178.9858 | 1244146.8829 | 2663169.995 | 1244144.1802
50 | 2663170.8914 | 1244263.9884 | 2663177.1613 | 1244270.8845
51 | 2663077.5078 | 1244255.6671 | 2663093.7483 | 1244238.5781
52 | 2663195.891 | 1244204.3252 | 2663200.1951 | 1244208.2953
53 | 2663268.5195 | 1244221.1341 | 2663280.7408 | 1244207.274
54 | 2663268.5195 | 1244221.1341 | 2663266.765 | 1244223.1238
55 | 2663228.4193 | 1244326.7954 | 2663227.746 | 1244326.0663
56 | 2663201.27 | 1244297.4012 | 2663227.746 | 1244326.0663
57 | 2663201.27 | 1244297.4012 | 2663209.4099 | 1244288.1698
58 | 2663201.27 | 1244297.4012 | 2663191.1101 | 1244286.2265
59 | 2663201.27 | 1244297.4012 | 2663195.4945 | 1244303.9776 | 2663191.2287 | 1244308.6968
60 | 2663209.4099 | 1244288.1698 | 2663223.2136 | 1244272.5152
61 | 2663191.1101 | 1244286.2265 | 2663180.2008 | 1244274.2277
62 | 2663167.2449 | 1244336.0656 | 2663173.2262 | 1244328.613 | 2663191.2287 | 1244308.6968
63 | 2663223.2136 | 1244272.5152 | 2663231.4981 | 1244263.1198
64 | 2663180.2008 | 1244274.2277 | 2663177.1613 | 1244270.8845
65 | 2663167.2449 | 1244336.0656 | 2663162.9173 | 1244330.8604 | 2663135.6942 | 1244302.4229
66 | 2663238.5055 | 1244255.1727 | 2663231.4981 | 1244263.1198
67 | 2663238.5055 | 1244255.1727 | 2663238.5894 | 1244255.0776
68 | 2663238.5894 | 1244255.0776 | 2663248.6838 | 1244243.6297
69 | 2663251.4402 | 1244240.5036 | 2663248.6838 | 1244243.6297
70 | 2663251.4402 | 1244240.5036 | 2663255.8468 | 1244235.5061
71 | 2663255.8468 | 1244235.5061 | 2663266.765 | 1244223.1238
72 | 2663200.1951 | 1244208.2953 | 2663215.3838 | 1244222.3054
73 | 2663215.6006 | 1244222.5053 | 2663215.3838 | 1244222.3054
74 | 2663077.5078 | 1244255.6671 | 2663089.5718 | 1244265.3242
75 | 2663106.3368 | 1244262.8563 | 2663098.721 | 1244272.6487 | 2663089.5718 | 1244265.3242
76 | 2662967.8887 | 1244189.202 | 2662967.5624 | 1244182.9164 | 2662964.7435 | 1244181.3783
77 | 2662957.9516 | 1244206.9532 | 2662967.8887 | 1244189.202
78 | 2662964.7435 | 1244181.3783 | 2662946.7129 | 1244171.5401
79 | 2662946.7129 | 1244171.5401 | 2662928.3903 | 1244161.5425
80 | 2662919.7233 | 1244156.8134 | 2662928.3903 | 1244161.5425
81 | 2662939.3584 | 1244196.5863 | 2662939.356 | 1244196.585
82 | 2662939.356 | 1244196.585 | 2662939.3167 | 1244196.563
83 | 2662919.7233 | 1244156.8134 | 2662915.9925 | 1244154.45 | 2662920.7541 | 1244145.839 | 2662914.9079 | 1244142.7082
84 | 2662919.7233 | 1244156.8134 | 2662913.5319 | 1244168.6434
85 | 2662939.3167 | 1244196.563 | 2662939.0759 | 1244196.4288
86 | 2662908.0451 | 1244179.1271 | 2662913.5319 | 1244168.6434
87 | 2662908.0451 | 1244179.1271 | 2662903.573 | 1244176.795
88 | 2662908.0451 | 1244179.1271 | 2662920.3614 | 1244185.9943
89 | 2662890.6625 | 1244170.0625 | 2662903.573 | 1244176.795
90 | 2662926.3963 | 1244189.3591 | 2662920.3614 | 1244185.9943
91 | 2662890.6625 | 1244170.0625 | 2662890.5947 | 1244170.0271
92 | 2662932.5121 | 1244192.769 | 2662926.3963 | 1244189.3591
93 | 2662890.5947 | 1244170.0271 | 2662868.2712 | 1244158.3859
94 | 2662937.8657 | 1244195.754 | 2662932.5121 | 1244192.769
95 | 2662821.6174 | 1244206.6862 | 2662833.0043 | 1244174.7403 | 2662841.2306 | 1244146.5303 | 2662852.0327 | 1244149.8136 | 2662862.6887 | 1244155.4748
96 | 2662821.6174 | 1244206.6862 | 2662801.1827 | 1244193.5508
97 | 2662862.6887 | 1244155.4748 | 2662868.2712 | 1244158.3859
98 | 2662939.0759 | 1244196.4288 | 2662938.0569 | 1244195.8606
99 | 2662938.0569 | 1244195.8606 | 2662937.9508 | 1244195.8014
100 | 2662937.6277 | 1244294.8201 | 2662946.5198 | 1244284.3739 | 2662956.3813 | 1244271.5919
101 | 2662960.8485 | 1244273.6296 | 2662956.3813 | 1244271.5919
102 | 2662937.6277 | 1244294.8201 | 2662936.1544 | 1244293.3701 | 2662918.9567 | 1244283.9258
103 | 2662937.9508 | 1244195.8014 | 2662937.8657 | 1244195.754

## bus_geodata
| x | y | coords
0 | 2663011.2307 | 1244144.8321
1 | 2663020.1501 | 1244121.955
2 | 2663009.9185 | 1244148.1977
3 | 2663042.2595 | 1244138.1199
4 | 2663022.7013 | 1244104.3924
5 | 2663004.7943 | 1244162.5663
6 | 2662991.2908 | 1244137.0068
7 | 2663058.9688 | 1244151.209
8 | 2663025.6864 | 1244083.8432
9 | 2662999.0116 | 1244183.9893
10 | 2662984.5296 | 1244132.945
11 | 2663059.4899 | 1244151.6172
12 | 2663029.0731 | 1244069.5138
13 | 2662987.4074 | 1244223.477
14 | 2662976.4214 | 1244128.0738
15 | 2662975.3328 | 1244248.3525
16 | 2662965.5106 | 1244211.1935
17 | 2662971.6385 | 1244255.4393
18 | 2662965.2621 | 1244211.0542
19 | 2662971.5669 | 1244255.5659
20 | 2662965.1839 | 1244211.0103
21 | 2663080.4922 | 1244096.7003
22 | 2663108.2828 | 1244112.0994
23 | 2663204.6305 | 1244145.1185
24 | 2663237.5163 | 1244155.3565
25 | 2663195.3224 | 1244134.3038
26 | 2663208.3022 | 1244116.0588
27 | 2663229.7399 | 1244167.4153
28 | 2663259.4143 | 1244157.0671
29 | 2663263.8147 | 1244157.5272
30 | 2663288.0245 | 1244174.7991
31 | 2663217.4626 | 1244104.0299
32 | 2663121.1088 | 1244209.7881
33 | 2663134.8456 | 1244225.4007
34 | 2663108.6323 | 1244222.9163
35 | 2663137.9074 | 1244185.0053
36 | 2663155.8003 | 1244248.2142
37 | 2663104.1581 | 1244227.6243
38 | 2663178.37 | 1244184.1242
39 | 2663184.4858 | 1244193.8049
40 | 2663185.0923 | 1244152.5296
41 | 2663134.4249 | 1244173.51
42 | 2663170.8914 | 1244263.9884
43 | 2663093.7483 | 1244238.5781
44 | 2663246.1611 | 1244185.1691
45 | 2663195.891 | 1244204.3252
46 | 2663169.995 | 1244144.1802
47 | 2663280.7408 | 1244207.274
48 | 2663268.5195 | 1244221.1341
49 | 2663245.7625 | 1244067.9863
50 | 2663228.4193 | 1244326.7954
51 | 2663227.746 | 1244326.0663
52 | 2663201.27 | 1244297.4012
53 | 2663209.4099 | 1244288.1698
54 | 2663191.1101 | 1244286.2265
55 | 2663191.2287 | 1244308.6968
56 | 2663223.2136 | 1244272.5152
57 | 2663180.2008 | 1244274.2277
58 | 2663167.2449 | 1244336.0656
59 | 2663135.6942 | 1244302.4229
60 | 2663231.4981 | 1244263.1198
61 | 2663177.1613 | 1244270.8845
62 | 2663238.5055 | 1244255.1727
63 | 2663238.5894 | 1244255.0776
64 | 2663248.6838 | 1244243.6297
65 | 2663251.4402 | 1244240.5036
66 | 2663255.8468 | 1244235.5061
67 | 2663266.765 | 1244223.1238
68 | 2663200.1951 | 1244208.2953
69 | 2663215.3838 | 1244222.3054
70 | 2663215.6006 | 1244222.5053
71 | 2663077.5078 | 1244255.6671
72 | 2663089.5718 | 1244265.3242
73 | 2663106.3368 | 1244262.8563
74 | 2662968.1745 | 1244123.1194
75 | 2662967.8887 | 1244189.202
76 | 2662964.7435 | 1244181.3783
77 | 2662957.9516 | 1244206.9532
78 | 2662946.7129 | 1244171.5401
79 | 2662928.3903 | 1244161.5425
80 | 2662939.3584 | 1244196.5863
81 | 2662939.356 | 1244196.585
82 | 2662919.7233 | 1244156.8134
83 | 2662939.3167 | 1244196.563
84 | 2662913.5319 | 1244168.6434
85 | 2662908.0451 | 1244179.1271
86 | 2662903.573 | 1244176.795
87 | 2662920.3614 | 1244185.9943
88 | 2662914.9079 | 1244142.7082
89 | 2662890.6625 | 1244170.0625
90 | 2662926.3963 | 1244189.3591
91 | 2662890.5947 | 1244170.0271
92 | 2662932.5121 | 1244192.769
93 | 2662821.6174 | 1244206.6862
94 | 2662862.6887 | 1244155.4748
95 | 2662801.1827 | 1244193.5508
96 | 2662868.2712 | 1244158.3859
97 | 2662939.0759 | 1244196.4288
98 | 2662938.0569 | 1244195.8606
99 | 2662956.3813 | 1244271.5919
100 | 2662937.6277 | 1244294.8201
101 | 2662960.8485 | 1244273.6296
102 | 2662918.9567 | 1244283.9258
103 | 2662937.9508 | 1244195.8014
104 | 2662937.8657 | 1244195.754
105 | 2663137.9074 | 1244185.0053

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1