## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4095-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4095-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4095-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4095-10_0_3_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_4095-10_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4095-10_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4095-10_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4095-10_0_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_4095-10_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4095-10_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4095-10_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4095-10_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4095-10_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4095-10_0_3_node_97 | 0.4 | n |  | TRUE
14 | bus_LV_4095-10_0_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_4095-10_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4095-10_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_4095-10_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4095-10_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_4095-10_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_4095-10_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4095-10_0_3_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_4095-10_0_3_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_4095-10_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4095-10_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_4095-10_0_3_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4095-10_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_4095-10_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_4095-10_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_4095-10_0_3_node_96 | 0.4 | n |  | TRUE
30 | bus_LV_4095-10_0_3_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_4095-10_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_4095-10_0_3_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_4095-10_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_4095-10_0_3_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_4095-10_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4095-10_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_4095-10_0_3_node_98 | 0.4 | n |  | TRUE
38 | bus_LV_4095-10_0_3_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4095-10_0_3_node_99 | 0.4 | n |  | TRUE
40 | bus_LV_4095-10_0_3_node_94 | 0.4 | n |  | TRUE
41 | bus_LV_4095-10_0_3_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_4095-10_0_3_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_4095-10_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_4095-10_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_4095-10_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_4095-10_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_4095-10_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_4095-10_0_3_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_4095-10_0_3_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_4095-10_0_3_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_4095-10_0_3_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_4095-10_0_3_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_4095-10_0_3_node_92 | 0.4 | n |  | TRUE
54 | bus_LV_4095-10_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_4095-10_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_4095-10_0_3_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_4095-10_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_4095-10_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4095-10_0_3_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_4095-10_0_3_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_4095-10_0_3_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_4095-10_0_3_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_4095-10_0_3_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_4095-10_0_3_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4095-10_0_3_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4095-10_0_3_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_4095-10_0_3_node_85 | 0.4 | n |  | TRUE
68 | bus_LV_4095-10_0_3_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_4095-10_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_4095-10_0_3_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_4095-10_0_3_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_4095-10_0_3_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_4095-10_0_3_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_4095-10_0_3_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_4095-10_0_3_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_4095-10_0_3_node_91 | 0.4 | n |  | TRUE
77 | bus_LV_4095-10_0_3_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_4095-10_0_3_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_4095-10_0_3_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_4095-10_0_3_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_4095-10_0_3_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_4095-10_0_3_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_4095-10_0_3_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_4095-10_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_4095-10_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_4095-10_0_3_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_4095-10_0_3_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_4095-10_0_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_4095-10_0_3_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_4095-10_0_3_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_4095-10_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4095-10_0_3_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_4095-10_0_3_node_100 | 0.4 | n |  | TRUE
94 | bus_MV_430_1_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4095-10_0_3_load_0 | 0 | 0.0040447 | 0.0010137 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4095-10_0_3_load_9 | 3 | 0.0029084 | 0.00072892 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4095-10_0_3_load_6 | 5 | 0.02751 | 0.0068946 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4095-10_0_3_load_4 | 6 | 0.017833 | 0.0044694 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4095-10_0_3_load_5 | 9 | 0.0023733 | 0.0005948 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4095-10_0_3_load_10 | 11 | 0.0055109 | 0.0013812 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4095-10_0_3_load_11 | 12 | 0.010786 | 0.0027033 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4095-10_0_3_load_97 | 13 | 0.0042618 | 0.0010681 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4095-10_0_3_load_13 | 15 | 0.028219 | 0.0070722 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4095-10_0_3_load_15 | 16 | 0.0032519 | 0.00081499 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4095-10_0_3_load_17 | 19 | 0.033756 | 0.00846 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4095-10_0_3_load_16 | 20 | 0.0024499 | 0.00061401 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4095-10_0_3_load_73 | 21 | 0.00062995 | 0.00015788 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4095-10_0_3_load_72 | 22 | 0.00035036 | 8.781e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4095-10_0_3_load_19 | 23 | 0.014773 | 0.0037024 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4095-10_0_3_load_20 | 24 | 0.019366 | 0.0048537 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4095-10_0_3_load_22 | 26 | 0.0017583 | 0.00044068 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4095-10_0_3_load_23 | 27 | 0.0062018 | 0.0015543 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4095-10_0_3_load_25 | 28 | 0.0023124 | 0.00057955 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4095-10_0_3_load_96 | 29 | 0.0045264 | 0.0011344 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4095-10_0_3_load_59 | 30 | 0.01128 | 0.0028271 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4095-10_0_3_load_82 | 32 | 0.0018717 | 0.0004691 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4095-10_0_3_load_28 | 33 | 0.002103 | 0.00052707 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4095-10_0_3_load_27 | 35 | 0.0015418 | 0.00038641 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4095-10_0_3_load_38 | 36 | 0.0016095 | 0.00040338 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4095-10_0_3_load_98 | 37 | 0.0036525 | 0.0009154 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4095-10_0_3_load_36 | 38 | 0.0014756 | 0.00036982 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4095-10_0_3_load_94 | 40 | 0.037615 | 0.0094271 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4095-10_0_3_load_58 | 42 | 0.0044335 | 0.0011111 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4095-10_0_3_load_49 | 43 | 0.0042377 | 0.0010621 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4095-10_0_3_load_31 | 44 | 0.0019035 | 0.00047707 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4095-10_0_3_load_32 | 45 | 0.0011285 | 0.00028283 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4095-10_0_3_load_33 | 46 | 0.0011828 | 0.00029644 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4095-10_0_3_load_35 | 47 | 0.0012562 | 0.00031483 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4095-10_0_3_load_66 | 48 | 0.0017808 | 0.0004463 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4095-10_0_3_load_95 | 50 | 0.0018196 | 0.00045603 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4095-10_0_3_load_87 | 51 | 0.0025088 | 0.00062876 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4095-10_0_3_load_92 | 53 | 0.00094869 | 0.00023776 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4095-10_0_3_load_52 | 54 | 0.0010731 | 0.00026894 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4095-10_0_3_load_50 | 55 | 0.0060142 | 0.0015073 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4095-10_0_3_load_37 | 56 | 0.0015397 | 0.00038587 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4095-10_0_3_load_39 | 57 | 0.0014098 | 0.00035332 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4095-10_0_3_load_71 | 59 | 0.0022684 | 0.00056851 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4095-10_0_3_load_68 | 60 | 0.0030647 | 0.00076809 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4095-10_0_3_load_40 | 61 | 0.00202 | 0.00050625 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4095-10_0_3_load_41 | 62 | 0.0026149 | 0.00065536 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4095-10_0_3_load_42 | 63 | 0.0019785 | 0.00049586 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4095-10_0_3_load_43 | 64 | 0.0094577 | 0.0023703 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4095-10_0_3_load_44 | 65 | 0.0046697 | 0.0011703 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4095-10_0_3_load_74 | 66 | 0.00035014 | 8.7754e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4095-10_0_3_load_85 | 67 | 0.0016278 | 0.00040797 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4095-10_0_3_load_76 | 68 | 0.0018842 | 0.00047222 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4095-10_0_3_load_67 | 69 | 0.0016742 | 0.0004196 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4095-10_0_3_load_46 | 70 | 0.0046765 | 0.001172 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4095-10_0_3_load_47 | 71 | 0.0047721 | 0.001196 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4095-10_0_3_load_48 | 72 | 0.0020741 | 0.00051981 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4095-10_0_3_load_51 | 73 | 0.0015949 | 0.00039973 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4095-10_0_3_load_55 | 75 | 0.0014849 | 0.00037214 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4095-10_0_3_load_60 | 77 | 0.00043961 | 0.00011018 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4095-10_0_3_load_61 | 78 | 0.0019902 | 0.00049878 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4095-10_0_3_load_69 | 81 | 0.0021681 | 0.00054338 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4095-10_0_3_load_70 | 82 | 0.0011985 | 0.00030037 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4095-10_0_3_load_90 | 83 | 0.0011911 | 0.00029851 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4095-10_0_3_load_77 | 84 | 0.0018528 | 0.00046435 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4095-10_0_3_load_78 | 85 | 0.0025279 | 0.00063356 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4095-10_0_3_load_83 | 87 | 0.0017449 | 0.00043731 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4095-10_0_3_load_79 | 88 | 0.0017329 | 0.0004343 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4095-10_0_3_load_80 | 89 | 0.0016696 | 0.00041845 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4095-10_0_3_load_81 | 90 | 0.0019323 | 0.00048428 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4095-10_0_3_load_86 | 91 | 0.0011643 | 0.00029181 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4095-10_0_3_load_93 | 92 | 0.00096564 | 0.00024201 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4095-10_0_3_load_100 | 93 | 0.018578 | 0.0046561 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4095-10_0_3_line_0 |  | 0 | 1 | 0.0095338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4095-10_0_3_line_1 |  | 1 | 2 | 0.025758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4095-10_0_3_line_2 |  | 2 | 3 | 0.041684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4095-10_0_3_line_3 |  | 2 | 4 | 0.051465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4095-10_0_3_line_4 |  | 2 | 5 | 0.014746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4095-10_0_3_line_5 |  | 3 | 7 | 0.021421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4095-10_0_3_line_6 |  | 4 | 6 | 0.031591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4095-10_0_3_line_7 |  | 5 | 8 | 0.095749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4095-10_0_3_line_8 |  | 6 | 9 | 0.014527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4095-10_0_3_line_9 |  | 7 | 13 | 0.027964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4095-10_0_3_line_10 |  | 7 | 14 | 0.056606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4095-10_0_3_line_11 |  | 8 | 10 | 0.014399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4095-10_0_3_line_12 |  | 10 | 11 | 0.075605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4095-10_0_3_line_13 |  | 11 | 12 | 0.048098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4095-10_0_3_line_14 |  | 13 | 39 | 0.024263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4095-10_0_3_line_15 |  | 14 | 30 | 0.026769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4095-10_0_3_line_16 |  | 14 | 25 | 0.019293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4095-10_0_3_line_17 |  | 15 | 16 | 0.02899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4095-10_0_3_line_18 |  | 16 | 20 | 0.011437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4095-10_0_3_line_19 |  | 17 | 18 | 0.15661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4095-10_0_3_line_20 |  | 17 | 19 | 0.035483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4095-10_0_3_line_21 |  | 18 | 21 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4095-10_0_3_line_22 |  | 19 | 20 | 0.045199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4095-10_0_3_line_23 |  | 21 | 22 | 0.023934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4095-10_0_3_line_24 |  | 22 | 80 | 0.012962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4095-10_0_3_line_25 |  | 23 | 24 | 0.0083368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4095-10_0_3_line_26 |  | 23 | 25 | 0.018705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4095-10_0_3_line_27 |  | 24 | 26 | 0.014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4095-10_0_3_line_28 |  | 25 | 27 | 0.0079179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4095-10_0_3_line_29 |  | 26 | 28 | 0.0090446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4095-10_0_3_line_30 |  | 27 | 29 | 0.02349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4095-10_0_3_line_31 |  | 28 | 31 | 0.0089239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4095-10_0_3_line_32 |  | 29 | 32 | 0.016548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4095-10_0_3_line_33 |  | 30 | 34 | 0.010718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_4095-10_0_3_line_34 |  | 31 | 33 | 0.011946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4095-10_0_3_line_35 |  | 32 | 89 | 0.0090982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4095-10_0_3_line_36 |  | 33 | 37 | 0.020973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4095-10_0_3_line_37 |  | 34 | 42 | 0.015116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_4095-10_0_3_line_38 |  | 34 | 43 | 0.025716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4095-10_0_3_line_39 |  | 35 | 36 | 0.011224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4095-10_0_3_line_40 |  | 36 | 38 | 0.012056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4095-10_0_3_line_41 |  | 38 | 56 | 0.0056343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4095-10_0_3_line_42 |  | 39 | 93 | 0.017985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4095-10_0_3_line_43 |  | 40 | 41 | 0.006373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4095-10_0_3_line_44 |  | 41 | 66 | 0.033021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4095-10_0_3_line_45 |  | 41 | 67 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4095-10_0_3_line_46 |  | 41 | 64 | 0.019058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4095-10_0_3_line_47 |  | 42 | 67 | 0.022051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4095-10_0_3_line_48 |  | 43 | 71 | 0.014758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4095-10_0_3_line_49 |  | 44 | 45 | 0.017966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4095-10_0_3_line_50 |  | 44 | 46 | 0.018231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4095-10_0_3_line_51 |  | 46 | 47 | 0.0032504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4095-10_0_3_line_52 |  | 47 | 48 | 0.017927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4095-10_0_3_line_53 |  | 48 | 55 | 0.010019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4095-10_0_3_line_54 |  | 49 | 50 | 0.030521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4095-10_0_3_line_55 |  | 49 | 51 | 0.012499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4095-10_0_3_line_56 |  | 50 | 92 | 0.00080168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4095-10_0_3_line_57 |  | 51 | 91 | 0.0034751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4095-10_0_3_line_58 |  | 52 | 53 | 0.018829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4095-10_0_3_line_59 |  | 52 | 54 | 0.0051448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4095-10_0_3_line_60 |  | 53 | 76 | 0.011818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4095-10_0_3_line_61 |  | 54 | 73 | 0.0093125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4095-10_0_3_line_62 |  | 55 | 72 | 0.0086148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4095-10_0_3_line_63 |  | 56 | 57 | 0.015055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4095-10_0_3_line_64 |  | 57 | 58 | 0.017566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4095-10_0_3_line_65 |  | 58 | 59 | 0.013055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4095-10_0_3_line_66 |  | 58 | 60 | 0.0026591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4095-10_0_3_line_67 |  | 59 | 68 | 0.016889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4095-10_0_3_line_68 |  | 60 | 69 | 0.0096525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4095-10_0_3_line_69 |  | 61 | 62 | 0.022606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4095-10_0_3_line_70 |  | 61 | 63 | 0.00032581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4095-10_0_3_line_71 |  | 62 | 64 | 0.015057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4095-10_0_3_line_72 |  | 63 | 65 | 0.02188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4095-10_0_3_line_73 |  | 66 | 80 | 0.012036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4095-10_0_3_line_74 |  | 68 | 84 | 0.00057972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4095-10_0_3_line_75 |  | 69 | 81 | 0.021662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4095-10_0_3_line_76 |  | 70 | 71 | 0.0013714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4095-10_0_3_line_77 |  | 70 | 72 | 0.02076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4095-10_0_3_line_78 |  | 73 | 74 | 0.069816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4095-10_0_3_line_79 |  | 74 | 75 | 0.060684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4095-10_0_3_line_80 |  | 76 | 92 | 0.030867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4095-10_0_3_line_81 |  | 76 | 83 | 0.00374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4095-10_0_3_line_82 |  | 77 | 78 | 0.011061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4095-10_0_3_line_83 |  | 77 | 79 | 0.025628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4095-10_0_3_line_84 |  | 79 | 80 | 0.011039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4095-10_0_3_line_85 |  | 81 | 82 | 0.0021855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4095-10_0_3_line_86 |  | 82 | 83 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4095-10_0_3_line_87 |  | 84 | 85 | 0.018128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4095-10_0_3_line_88 |  | 85 | 86 | 0.012774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4095-10_0_3_line_89 |  | 86 | 87 | 0.0077208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4095-10_0_3_line_90 |  | 87 | 90 | 0.0057937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4095-10_0_3_line_91 |  | 88 | 89 | 0.0081885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4095-10_0_3_line_92 |  | 88 | 90 | 0.019558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4095-10_0_3_trafo_58 | 0.63 MVA 20/0.4 kV | 94 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2657641.8717 | 1258583.1952 | 2657649.5686 | 1258588.8213
1 | 2657620.4496 | 1258568.9988 | 2657627.762 | 1258572.8727 | 2657641.8717 | 1258583.1952
2 | 2657620.4496 | 1258568.9988 | 2657599.2154 | 1258595.8893 | 2657594.7972 | 1258601.8511
3 | 2657620.4496 | 1258568.9988 | 2657627.762 | 1258572.8727 | 2657641.4064 | 1258556.6717 | 2657657.4073 | 1258541.5611
4 | 2657620.4496 | 1258568.9988 | 2657630.0773 | 1258557.8301
5 | 2657582.0432 | 1258619.0611 | 2657594.7972 | 1258601.8511
6 | 2657657.4073 | 1258541.5611 | 2657666.2492 | 1258557.1361 | 2657676.4886 | 1258566.209
7 | 2657678.1945 | 1258477.8178 | 2657679.3412 | 1258483.155 | 2657673.9042 | 1258498.7799 | 2657666.9226 | 1258511.2431 | 2657651.2842 | 1258533.2288 | 2657630.0773 | 1258557.8301
8 | 2657680.7256 | 1258580.1047 | 2657676.4886 | 1258566.209
9 | 2657582.0432 | 1258619.0611 | 2657603.4956 | 1258636.9997
10 | 2657547.5406 | 1258663.8801 | 2657551.0207 | 1258660.278 | 2657560.509 | 1258647.3832 | 2657562.8727 | 1258644.6264 | 2657566.4981 | 1258640.0473 | 2657582.0432 | 1258619.0611
11 | 2657672.9854 | 1258464.6576 | 2657676.4925 | 1258469.9066 | 2657678.1945 | 1258477.8178
12 | 2657672.9854 | 1258464.6576 | 2657662.3975 | 1258467.3342 | 2657644.1517 | 1258468.3239 | 2657623.582 | 1258464.8657 | 2657600.5662 | 1258453.7643
13 | 2657600.5662 | 1258453.7643 | 2657557.2441 | 1258432.8683
14 | 2657622.1085 | 1258652.5638 | 2657603.4956 | 1258636.9997
15 | 2657547.5406 | 1258663.8801 | 2657527.1072 | 1258646.5864
16 | 2657533.3612 | 1258677.0073 | 2657547.5406 | 1258663.8801
17 | 2657463.8123 | 1258468.0125 | 2657463.4134 | 1258475.0054 | 2657454.0152 | 1258487.1562 | 2657448.1262 | 1258490.1898
18 | 2657448.1262 | 1258490.1898 | 2657447.1508 | 1258490.6922 | 2657436.8713 | 1258489.5806 | 2657436.8713 | 1258489.5806
19 | 2657374.4413 | 1258438.472 | 2657355.6459 | 1258454.924 | 2657353.041 | 1258457.6785 | 2657347.0837 | 1258466.4048 | 2657345.1764 | 1258469.5219 | 2657337.9197 | 1258480.8709 | 2657388.813 | 1258522.9052 | 2657410.0227 | 1258540.4233 | 2657405.5051 | 1258545.283
20 | 2657374.4413 | 1258438.472 | 2657401.8973 | 1258460.949
21 | 2657405.5051 | 1258545.283 | 2657418.7647 | 1258556.3141
22 | 2657436.8713 | 1258489.5806 | 2657401.8973 | 1258460.949
23 | 2657437.1642 | 1258571.6214 | 2657418.7647 | 1258556.3141
24 | 2657447.129 | 1258579.9115 | 2657437.1642 | 1258571.6214
25 | 2657553.9787 | 1258694.505 | 2657547.6224 | 1258689.1105
26 | 2657533.3612 | 1258677.0073 | 2657547.6224 | 1258689.1105
27 | 2657553.9787 | 1258694.505 | 2657564.8956 | 1258703.77
28 | 2657533.3612 | 1258677.0073 | 2657527.8352 | 1258682.6779
29 | 2657571.7916 | 1258709.6224 | 2657564.8956 | 1258703.77
30 | 2657527.8352 | 1258682.6779 | 2657511.441 | 1258699.5009
31 | 2657578.5954 | 1258715.3967 | 2657571.7916 | 1258709.6224
32 | 2657499.8919 | 1258711.3522 | 2657511.441 | 1258699.5009
33 | 2657518.9262 | 1258639.6625 | 2657527.1072 | 1258646.5864
34 | 2657578.5954 | 1258715.3967 | 2657587.5949 | 1258723.252
35 | 2657493.6859 | 1258718.0048 | 2657499.2487 | 1258712.0122 | 2657499.8919 | 1258711.3522
36 | 2657592.1271 | 1258737.8333 | 2657597.3649 | 1258731.7799 | 2657587.5949 | 1258723.252
37 | 2657518.9262 | 1258639.6625 | 2657507.3072 | 1258629.9937
38 | 2657518.9262 | 1258639.6625 | 2657500.7749 | 1258657.8796
39 | 2657551.5511 | 1258745.091 | 2657543.9937 | 1258753.3889
40 | 2657535.8757 | 1258762.3024 | 2657543.9937 | 1258753.3889
41 | 2657535.8757 | 1258762.3024 | 2657532.0818 | 1258766.468
42 | 2657633.8507 | 1258638.9127 | 2657624.9377 | 1258649.2334 | 2657622.1085 | 1258652.5638
43 | 2657486.0952 | 1258604.0514 | 2657481.7602 | 1258608.7349
44 | 2657481.7602 | 1258608.7349 | 2657456.3802 | 1258587.6113
45 | 2657481.7602 | 1258608.7349 | 2657490.3569 | 1258615.8886
46 | 2657481.7602 | 1258608.7349 | 2657477.3415 | 1258613.5066 | 2657468.3276 | 1258622.2457
47 | 2657507.3072 | 1258629.9937 | 2657490.3569 | 1258615.8886
48 | 2657500.7749 | 1258657.8796 | 2657490.3583 | 1258668.3339
49 | 2657433.7694 | 1258725.1277 | 2657421.0882 | 1258737.8549
50 | 2657433.7694 | 1258725.1277 | 2657446.6371 | 1258712.2134
51 | 2657448.9314 | 1258709.9108 | 2657446.6371 | 1258712.2134
52 | 2657461.5849 | 1258697.2115 | 2657448.9314 | 1258709.9108
53 | 2657468.6566 | 1258690.1142 | 2657461.5849 | 1258697.2115
54 | 2657431.285 | 1258783.9598 | 2657452.7875 | 1258805.6197
55 | 2657431.285 | 1258783.9598 | 2657439.9468 | 1258774.9485
56 | 2657453.3523 | 1258806.1887 | 2657452.7875 | 1258805.6197
57 | 2657442.355 | 1258772.4432 | 2657439.9468 | 1258774.9485
58 | 2657453.4867 | 1258849.8225 | 2657466.7648 | 1258836.4731
59 | 2657453.4867 | 1258849.8225 | 2657456.8759 | 1258853.6932
60 | 2657475.0988 | 1258828.0944 | 2657466.7648 | 1258836.4731
61 | 2657463.0108 | 1258860.6994 | 2657456.8759 | 1258853.6932
62 | 2657468.6566 | 1258690.1142 | 2657474.7371 | 1258684.0116
63 | 2657532.0818 | 1258766.468 | 2657521.9447 | 1258777.5984
64 | 2657510.1168 | 1258790.5852 | 2657521.9447 | 1258777.5984
65 | 2657510.1168 | 1258790.5852 | 2657500.6584 | 1258781.5863
66 | 2657510.1168 | 1258790.5852 | 2657508.3022 | 1258792.529
67 | 2657488.4222 | 1258769.9445 | 2657500.6584 | 1258781.5863
68 | 2657501.7152 | 1258799.5846 | 2657508.3022 | 1258792.529
69 | 2657441.2867 | 1258648.4622 | 2657457.5169 | 1258632.7268
70 | 2657441.0528 | 1258648.6889 | 2657441.2867 | 1258648.4622
71 | 2657457.5169 | 1258632.7268 | 2657468.3276 | 1258622.2457
72 | 2657441.0528 | 1258648.6889 | 2657425.3434 | 1258663.9194
73 | 2657447.129 | 1258579.9115 | 2657456.3802 | 1258587.6113
74 | 2657488.4222 | 1258769.9445 | 2657488.0022 | 1258769.5449
75 | 2657501.7152 | 1258799.5846 | 2657486.9324 | 1258815.4189
76 | 2657489.3903 | 1258669.3054 | 2657490.3583 | 1258668.3339
77 | 2657489.3903 | 1258669.3054 | 2657474.7371 | 1258684.0116
78 | 2657507.0403 | 1258914.7779 | 2657499.5573 | 1258903.675 | 2657488.1698 | 1258889.432 | 2657463.0108 | 1258860.6994
79 | 2657507.0403 | 1258914.7779 | 2657547.0345 | 1258894.1961 | 2657562.1048 | 1258889.7784
80 | 2657475.0988 | 1258828.0944 | 2657453.3523 | 1258806.1887
81 | 2657475.0988 | 1258828.0944 | 2657477.651 | 1258825.3606
82 | 2657421.4393 | 1258606.0964 | 2657413.7004 | 1258613.9986
83 | 2657439.3707 | 1258587.7863 | 2657421.4393 | 1258606.0964
84 | 2657439.3707 | 1258587.7863 | 2657447.129 | 1258579.9115
85 | 2657485.441 | 1258817.0165 | 2657486.9324 | 1258815.4189
86 | 2657477.651 | 1258825.3606 | 2657485.441 | 1258817.0165
87 | 2657474.8691 | 1258757.0498 | 2657488.0022 | 1258769.5449
88 | 2657465.6147 | 1258748.245 | 2657474.8691 | 1258757.0498
89 | 2657465.6147 | 1258748.245 | 2657470.8674 | 1258742.5864
90 | 2657470.8674 | 1258742.5864 | 2657474.8091 | 1258738.3402
91 | 2657488.1149 | 1258724.0062 | 2657493.6859 | 1258718.0048
92 | 2657488.1149 | 1258724.0062 | 2657474.8091 | 1258738.3402

## bus_geodata
| x | y | coords
0 | 2657649.5686 | 1258588.8213
1 | 2657641.8717 | 1258583.1952
2 | 2657620.4496 | 1258568.9988
3 | 2657594.7972 | 1258601.8511
4 | 2657657.4073 | 1258541.5611
5 | 2657630.0773 | 1258557.8301
6 | 2657676.4886 | 1258566.209
7 | 2657582.0432 | 1258619.0611
8 | 2657678.1945 | 1258477.8178
9 | 2657680.7256 | 1258580.1047
10 | 2657672.9854 | 1258464.6576
11 | 2657600.5662 | 1258453.7643
12 | 2657557.2441 | 1258432.8683
13 | 2657603.4956 | 1258636.9997
14 | 2657547.5406 | 1258663.8801
15 | 2657463.8123 | 1258468.0125
16 | 2657448.1262 | 1258490.1898
17 | 2657374.4413 | 1258438.472
18 | 2657405.5051 | 1258545.283
19 | 2657401.8973 | 1258460.949
20 | 2657436.8713 | 1258489.5806
21 | 2657418.7647 | 1258556.3141
22 | 2657437.1642 | 1258571.6214
23 | 2657547.6224 | 1258689.1105
24 | 2657553.9787 | 1258694.505
25 | 2657533.3612 | 1258677.0073
26 | 2657564.8956 | 1258703.77
27 | 2657527.8352 | 1258682.6779
28 | 2657571.7916 | 1258709.6224
29 | 2657511.441 | 1258699.5009
30 | 2657527.1073 | 1258646.5864
31 | 2657578.5954 | 1258715.3967
32 | 2657499.8919 | 1258711.3522
33 | 2657587.5949 | 1258723.252
34 | 2657518.9262 | 1258639.6625
35 | 2657551.5511 | 1258745.091
36 | 2657543.9937 | 1258753.3889
37 | 2657592.1271 | 1258737.8333
38 | 2657535.8757 | 1258762.3024
39 | 2657622.1085 | 1258652.5638
40 | 2657486.0952 | 1258604.0514
41 | 2657481.7602 | 1258608.7349
42 | 2657507.3072 | 1258629.9937
43 | 2657500.7749 | 1258657.8796
44 | 2657433.7694 | 1258725.1277
45 | 2657421.0882 | 1258737.8549
46 | 2657446.6371 | 1258712.2134
47 | 2657448.9314 | 1258709.9108
48 | 2657461.5849 | 1258697.2115
49 | 2657431.285 | 1258783.9598
50 | 2657452.7875 | 1258805.6197
51 | 2657439.9468 | 1258774.9485
52 | 2657453.4867 | 1258849.8225
53 | 2657466.7648 | 1258836.4731
54 | 2657456.8759 | 1258853.6932
55 | 2657468.6566 | 1258690.1142
56 | 2657532.0818 | 1258766.468
57 | 2657521.9447 | 1258777.5984
58 | 2657510.1168 | 1258790.5852
59 | 2657500.6584 | 1258781.5863
60 | 2657508.3022 | 1258792.529
61 | 2657441.2867 | 1258648.4622
62 | 2657457.5169 | 1258632.7268
63 | 2657441.0528 | 1258648.6889
64 | 2657468.3276 | 1258622.2457
65 | 2657425.3434 | 1258663.9194
66 | 2657456.3802 | 1258587.6113
67 | 2657490.3569 | 1258615.8886
68 | 2657488.4222 | 1258769.9445
69 | 2657501.7152 | 1258799.5846
70 | 2657489.3903 | 1258669.3054
71 | 2657490.3583 | 1258668.3339
72 | 2657474.7371 | 1258684.0116
73 | 2657463.0108 | 1258860.6994
74 | 2657507.0403 | 1258914.7779
75 | 2657562.1048 | 1258889.7784
76 | 2657475.0988 | 1258828.0944
77 | 2657421.4393 | 1258606.0964
78 | 2657413.7004 | 1258613.9986
79 | 2657439.3707 | 1258587.7863
80 | 2657447.129 | 1258579.9115
81 | 2657486.9324 | 1258815.4189
82 | 2657485.441 | 1258817.0165
83 | 2657477.651 | 1258825.3606
84 | 2657488.0022 | 1258769.5449
85 | 2657474.8691 | 1258757.0498
86 | 2657465.6147 | 1258748.245
87 | 2657470.8674 | 1258742.5864
88 | 2657488.1149 | 1258724.0062
89 | 2657493.6859 | 1258718.0048
90 | 2657474.8091 | 1258738.3402
91 | 2657442.355 | 1258772.4432
92 | 2657453.3523 | 1258806.1887
93 | 2657633.8507 | 1258638.9127
94 | 2657518.9262 | 1258639.6625

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1