## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4095-13_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4095-13_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4095-13_0_6_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_4095-13_0_6_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_4095-13_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4095-13_0_6_node_166 | 0.4 | n |  | TRUE
6 | bus_LV_4095-13_0_6_node_159 | 0.4 | n |  | TRUE
7 | bus_LV_4095-13_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4095-13_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4095-13_0_6_node_164 | 0.4 | n |  | TRUE
10 | bus_LV_4095-13_0_6_node_157 | 0.4 | n |  | TRUE
11 | bus_LV_4095-13_0_6_node_167 | 0.4 | n |  | TRUE
12 | bus_LV_4095-13_0_6_node_163 | 0.4 | n |  | TRUE
13 | bus_LV_4095-13_0_6_node_160 | 0.4 | n |  | TRUE
14 | bus_LV_4095-13_0_6_node_168 | 0.4 | n |  | TRUE
15 | bus_LV_4095-13_0_6_node_165 | 0.4 | n |  | TRUE
16 | bus_LV_4095-13_0_6_node_136 | 0.4 | n |  | TRUE
17 | bus_LV_4095-13_0_6_node_161 | 0.4 | n |  | TRUE
18 | bus_LV_4095-13_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4095-13_0_6_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4095-13_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4095-13_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4095-13_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4095-13_0_6_node_128 | 0.4 | n |  | TRUE
24 | bus_LV_4095-13_0_6_node_155 | 0.4 | n |  | TRUE
25 | bus_LV_4095-13_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4095-13_0_6_node_154 | 0.4 | n |  | TRUE
27 | bus_LV_4095-13_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_4095-13_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4095-13_0_6_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4095-13_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4095-13_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4095-13_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4095-13_0_6_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_4095-13_0_6_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4095-13_0_6_node_149 | 0.4 | n |  | TRUE
36 | bus_LV_4095-13_0_6_node_123 | 0.4 | n |  | TRUE
37 | bus_LV_4095-13_0_6_node_126 | 0.4 | n |  | TRUE
38 | bus_LV_4095-13_0_6_node_147 | 0.4 | n |  | TRUE
39 | bus_LV_4095-13_0_6_node_122 | 0.4 | n |  | TRUE
40 | bus_LV_4095-13_0_6_node_127 | 0.4 | n |  | TRUE
41 | bus_LV_4095-13_0_6_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_4095-13_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_4095-13_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_4095-13_0_6_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_4095-13_0_6_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_4095-13_0_6_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4095-13_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4095-13_0_6_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_4095-13_0_6_node_99 | 0.4 | n |  | TRUE
50 | bus_LV_4095-13_0_6_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_4095-13_0_6_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_4095-13_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_4095-13_0_6_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_4095-13_0_6_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_4095-13_0_6_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_4095-13_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4095-13_0_6_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_4095-13_0_6_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_4095-13_0_6_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_4095-13_0_6_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_4095-13_0_6_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_4095-13_0_6_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_4095-13_0_6_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_4095-13_0_6_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_4095-13_0_6_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_4095-13_0_6_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_4095-13_0_6_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_4095-13_0_6_node_49 | 0.4 | n |  | TRUE
69 | bus_LV_4095-13_0_6_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_4095-13_0_6_node_113 | 0.4 | n |  | TRUE
71 | bus_LV_4095-13_0_6_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_4095-13_0_6_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_4095-13_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_4095-13_0_6_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_4095-13_0_6_node_110 | 0.4 | n |  | TRUE
76 | bus_LV_4095-13_0_6_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_4095-13_0_6_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_4095-13_0_6_node_57 | 0.4 | n |  | TRUE
79 | bus_LV_4095-13_0_6_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_4095-13_0_6_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_4095-13_0_6_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_4095-13_0_6_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_4095-13_0_6_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_4095-13_0_6_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_4095-13_0_6_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_4095-13_0_6_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_4095-13_0_6_node_65 | 0.4 | n |  | TRUE
88 | bus_LV_4095-13_0_6_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_4095-13_0_6_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_4095-13_0_6_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_4095-13_0_6_node_70 | 0.4 | n |  | TRUE
92 | bus_LV_4095-13_0_6_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_4095-13_0_6_node_111 | 0.4 | n |  | TRUE
94 | bus_LV_4095-13_0_6_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_4095-13_0_6_node_72 | 0.4 | n |  | TRUE
96 | bus_LV_4095-13_0_6_node_170 | 0.4 | n |  | TRUE
97 | bus_LV_4095-13_0_6_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_4095-13_0_6_node_82 | 0.4 | n |  | TRUE
99 | bus_LV_4095-13_0_6_node_79 | 0.4 | n |  | TRUE
100 | bus_LV_4095-13_0_6_node_86 | 0.4 | n |  | TRUE
101 | bus_LV_4095-13_0_6_node_158 | 0.4 | n |  | TRUE
102 | bus_LV_4095-13_0_6_node_156 | 0.4 | n |  | TRUE
103 | bus_LV_4095-13_0_6_node_80 | 0.4 | n |  | TRUE
104 | bus_LV_4095-13_0_6_node_81 | 0.4 | n |  | TRUE
105 | bus_LV_4095-13_0_6_node_83 | 0.4 | n |  | TRUE
106 | bus_LV_4095-13_0_6_node_85 | 0.4 | n |  | TRUE
107 | bus_LV_4095-13_0_6_node_92 | 0.4 | n |  | TRUE
108 | bus_LV_4095-13_0_6_node_84 | 0.4 | n |  | TRUE
109 | bus_LV_4095-13_0_6_node_142 | 0.4 | n |  | TRUE
110 | bus_LV_4095-13_0_6_node_139 | 0.4 | n |  | TRUE
111 | bus_LV_4095-13_0_6_node_130 | 0.4 | n |  | TRUE
112 | bus_LV_4095-13_0_6_node_91 | 0.4 | n |  | TRUE
113 | bus_LV_4095-13_0_6_node_152 | 0.4 | n |  | TRUE
114 | bus_LV_4095-13_0_6_node_137 | 0.4 | n |  | TRUE
115 | bus_LV_4095-13_0_6_node_129 | 0.4 | n |  | TRUE
116 | bus_LV_4095-13_0_6_node_87 | 0.4 | n |  | TRUE
117 | bus_LV_4095-13_0_6_node_89 | 0.4 | n |  | TRUE
118 | bus_LV_4095-13_0_6_node_106 | 0.4 | n |  | TRUE
119 | bus_LV_4095-13_0_6_node_94 | 0.4 | n |  | TRUE
120 | bus_LV_4095-13_0_6_node_95 | 0.4 | n |  | TRUE
121 | bus_LV_4095-13_0_6_node_96 | 0.4 | n |  | TRUE
122 | bus_LV_4095-13_0_6_node_97 | 0.4 | n |  | TRUE
123 | bus_LV_4095-13_0_6_node_98 | 0.4 | n |  | TRUE
124 | bus_LV_4095-13_0_6_node_100 | 0.4 | n |  | TRUE
125 | bus_LV_4095-13_0_6_node_101 | 0.4 | n |  | TRUE
126 | bus_LV_4095-13_0_6_node_102 | 0.4 | n |  | TRUE
127 | bus_LV_4095-13_0_6_node_103 | 0.4 | n |  | TRUE
128 | bus_LV_4095-13_0_6_node_104 | 0.4 | n |  | TRUE
129 | bus_LV_4095-13_0_6_node_105 | 0.4 | n |  | TRUE
130 | bus_LV_4095-13_0_6_node_107 | 0.4 | n |  | TRUE
131 | bus_LV_4095-13_0_6_node_108 | 0.4 | n |  | TRUE
132 | bus_LV_4095-13_0_6_node_109 | 0.4 | n |  | TRUE
133 | bus_LV_4095-13_0_6_node_112 | 0.4 | n |  | TRUE
134 | bus_LV_4095-13_0_6_node_114 | 0.4 | n |  | TRUE
135 | bus_LV_4095-13_0_6_node_115 | 0.4 | n |  | TRUE
136 | bus_LV_4095-13_0_6_node_116 | 0.4 | n |  | TRUE
137 | bus_LV_4095-13_0_6_node_117 | 0.4 | n |  | TRUE
138 | bus_LV_4095-13_0_6_node_118 | 0.4 | n |  | TRUE
139 | bus_LV_4095-13_0_6_node_119 | 0.4 | n |  | TRUE
140 | bus_LV_4095-13_0_6_node_120 | 0.4 | n |  | TRUE
141 | bus_LV_4095-13_0_6_node_124 | 0.4 | n |  | TRUE
142 | bus_LV_4095-13_0_6_node_125 | 0.4 | n |  | TRUE
143 | bus_LV_4095-13_0_6_node_121 | 0.4 | n |  | TRUE
144 | bus_LV_4095-13_0_6_node_131 | 0.4 | n |  | TRUE
145 | bus_LV_4095-13_0_6_node_132 | 0.4 | n |  | TRUE
146 | bus_LV_4095-13_0_6_node_133 | 0.4 | n |  | TRUE
147 | bus_LV_4095-13_0_6_node_134 | 0.4 | n |  | TRUE
148 | bus_LV_4095-13_0_6_node_135 | 0.4 | n |  | TRUE
149 | bus_LV_4095-13_0_6_node_144 | 0.4 | n |  | TRUE
150 | bus_LV_4095-13_0_6_node_145 | 0.4 | n |  | TRUE
151 | bus_LV_4095-13_0_6_node_143 | 0.4 | n |  | TRUE
152 | bus_LV_4095-13_0_6_node_138 | 0.4 | n |  | TRUE
153 | bus_LV_4095-13_0_6_node_140 | 0.4 | n |  | TRUE
154 | bus_LV_4095-13_0_6_node_141 | 0.4 | n |  | TRUE
155 | bus_LV_4095-13_0_6_node_151 | 0.4 | n |  | TRUE
156 | bus_LV_4095-13_0_6_node_150 | 0.4 | n |  | TRUE
157 | bus_LV_4095-13_0_6_node_162 | 0.4 | n |  | TRUE
158 | bus_LV_4095-13_0_6_node_169 | 0.4 | n |  | TRUE
159 | bus_MV_430_1_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4095-13_0_6_load_0 | 0 | 0.010315 | 0.0025852 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4095-13_0_6_load_5 | 2 | 0.00076918 | 0.00019277 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4095-13_0_6_load_6 | 3 | 0.00071393 | 0.00017893 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4095-13_0_6_load_166 | 5 | 0.0024841 | 0.00062257 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4095-13_0_6_load_159 | 6 | 0.0017792 | 0.0004459 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4095-13_0_6_load_164 | 9 | 0.0026088 | 0.00065382 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4095-13_0_6_load_157 | 10 | 0.0042436 | 0.0010635 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4095-13_0_6_load_163 | 12 | 0.00081072 | 0.00020319 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4095-13_0_6_load_160 | 13 | 0.00081339 | 0.00020386 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4095-13_0_6_load_168 | 14 | 0.0034204 | 0.00085723 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4095-13_0_6_load_136 | 16 | 0.00032268 | 8.087e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4095-13_0_6_load_161 | 17 | 0.002374 | 0.00059499 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4095-13_0_6_load_9 | 18 | 0.018986 | 0.0047583 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4095-13_0_6_load_12 | 21 | 0.0020007 | 0.00050142 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4095-13_0_6_load_13 | 22 | 0.0029503 | 0.00073942 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4095-13_0_6_load_128 | 23 | 0.0017426 | 0.00043674 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4095-13_0_6_load_155 | 24 | 0.0021024 | 0.00052691 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4095-13_0_6_load_21 | 25 | 0.002188 | 0.00054837 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4095-13_0_6_load_154 | 26 | 0.0018068 | 0.00045282 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4095-13_0_6_load_14 | 27 | 0.03153 | 0.0079021 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4095-13_0_6_load_15 | 28 | 0.03976 | 0.0099648 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4095-13_0_6_load_17 | 29 | 0.017245 | 0.0043219 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4095-13_0_6_load_18 | 31 | 0.0011866 | 0.0002974 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4095-13_0_6_load_20 | 32 | 0.002714 | 0.0006802 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4095-13_0_6_load_22 | 33 | 0.0049127 | 0.0012312 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4095-13_0_6_load_23 | 34 | 0.0019954 | 0.0005001 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4095-13_0_6_load_149 | 35 | 0.0034371 | 0.00086141 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4095-13_0_6_load_123 | 36 | 0.0056816 | 0.001424 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4095-13_0_6_load_126 | 37 | 0.0016626 | 0.0004167 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4095-13_0_6_load_122 | 39 | 0.0047832 | 0.0011988 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4095-13_0_6_load_127 | 40 | 0.0015398 | 0.0003859 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4095-13_0_6_load_24 | 41 | 0.012285 | 0.0030789 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4095-13_0_6_load_25 | 42 | 0.0089793 | 0.0022504 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4095-13_0_6_load_27 | 44 | 0.0031066 | 0.00077859 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4095-13_0_6_load_29 | 46 | 0.001144 | 0.00028672 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4095-13_0_6_load_33 | 47 | 0.0031869 | 0.00079872 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4095-13_0_6_load_31 | 48 | 0.0020332 | 0.00050957 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4095-13_0_6_load_99 | 49 | 0.0032745 | 0.00082065 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4095-13_0_6_load_43 | 50 | 0.0014376 | 0.0003603 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4095-13_0_6_load_30 | 51 | 0.0025834 | 0.00064745 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4095-13_0_6_load_42 | 52 | 0.0037567 | 0.00094151 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4095-13_0_6_load_34 | 53 | 0.0022402 | 0.00056144 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4095-13_0_6_load_38 | 56 | 0.0042314 | 0.0010605 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4095-13_0_6_load_40 | 57 | 0.0023005 | 0.00057656 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4095-13_0_6_load_41 | 58 | 0.0036922 | 0.00092534 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4095-13_0_6_load_45 | 60 | 0.0024789 | 0.00062128 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4095-13_0_6_load_44 | 61 | 0.0027547 | 0.0006904 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4095-13_0_6_load_50 | 62 | 0.0017371 | 0.00043535 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4095-13_0_6_load_47 | 63 | 0.0030107 | 0.00075455 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4095-13_0_6_load_46 | 64 | 0.0029407 | 0.00073701 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4095-13_0_6_load_52 | 65 | 0.002152 | 0.00053935 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4095-13_0_6_load_48 | 66 | 0.0035221 | 0.00088272 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4095-13_0_6_load_53 | 67 | 0.0024796 | 0.00062145 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4095-13_0_6_load_49 | 68 | 0.0033016 | 0.00082745 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4095-13_0_6_load_51 | 69 | 0.004808 | 0.001205 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4095-13_0_6_load_113 | 70 | 0.0017681 | 0.00044313 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4095-13_0_6_load_68 | 73 | 0.0071724 | 0.0017976 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4095-13_0_6_load_110 | 75 | 0.0038852 | 0.00097373 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4095-13_0_6_load_55 | 76 | 0.0040434 | 0.0010134 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4095-13_0_6_load_57 | 78 | 0.0020474 | 0.00051312 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4095-13_0_6_load_59 | 79 | 0.0040814 | 0.0010229 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4095-13_0_6_load_61 | 82 | 0.0045835 | 0.0011487 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4095-13_0_6_load_66 | 83 | 0.012794 | 0.0032066 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4095-13_0_6_load_71 | 88 | 0.056549 | 0.014172 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4095-13_0_6_load_93 | 89 | 0.0043456 | 0.0010891 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4095-13_0_6_load_90 | 90 | 0.0018216 | 0.00045654 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4095-13_0_6_load_69 | 92 | 0.021578 | 0.005408 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4095-13_0_6_load_111 | 93 | 0.001461 | 0.00036616 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4095-13_0_6_load_88 | 94 | 0.0033526 | 0.00084024 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4095-13_0_6_load_72 | 95 | 0.017299 | 0.0043355 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4095-13_0_6_load_170 | 96 | 0.003645 | 0.00091351 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4095-13_0_6_load_79 | 99 | 0.011324 | 0.002838 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4095-13_0_6_load_86 | 100 | 0.0030895 | 0.0007743 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4095-13_0_6_load_158 | 101 | 0.0032331 | 0.0008103 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4095-13_0_6_load_156 | 102 | 0.0022919 | 0.00057441 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4095-13_0_6_load_80 | 103 | 0.0050256 | 0.0012595 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4095-13_0_6_load_92 | 107 | 0.0021711 | 0.00054413 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4095-13_0_6_load_142 | 109 | 0.0044154 | 0.0011066 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4095-13_0_6_load_139 | 110 | 0.0061316 | 0.0015367 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4095-13_0_6_load_130 | 111 | 0.0018896 | 0.00047357 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4095-13_0_6_load_91 | 112 | 0.0012113 | 0.00030358 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4095-13_0_6_load_152 | 113 | 0.0027737 | 0.00069514 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4095-13_0_6_load_137 | 114 | 0.0032072 | 0.0008038 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4095-13_0_6_load_129 | 115 | 0.0026095 | 0.000654 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4095-13_0_6_load_87 | 116 | 0.007159 | 0.0017942 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4095-13_0_6_load_89 | 117 | 0.0021458 | 0.00053778 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4095-13_0_6_load_94 | 119 | 0.0038512 | 0.00096521 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4095-13_0_6_load_95 | 120 | 0.0017494 | 0.00043845 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4095-13_0_6_load_97 | 122 | 0.0020691 | 0.00051856 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4095-13_0_6_load_98 | 123 | 0.004065 | 0.0010188 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4095-13_0_6_load_100 | 124 | 0.0023324 | 0.00058455 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4095-13_0_6_load_101 | 125 | 0.0018601 | 0.00046618 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4095-13_0_6_load_102 | 126 | 0.0047417 | 0.0011884 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4095-13_0_6_load_103 | 127 | 0.00234 | 0.00058645 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4095-13_0_6_load_104 | 128 | 0.0014021 | 0.00035141 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4095-13_0_6_load_105 | 129 | 0.0024445 | 0.00061265 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4095-13_0_6_load_107 | 130 | 0.0034003 | 0.0008522 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4095-13_0_6_load_108 | 131 | 0.0022089 | 0.00055359 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4095-13_0_6_load_109 | 132 | 0.0020473 | 0.00051311 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4095-13_0_6_load_112 | 133 | 0.0014105 | 0.00035349 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4095-13_0_6_load_114 | 134 | 0.0012766 | 0.00031996 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4095-13_0_6_load_115 | 135 | 0.0050842 | 0.0012742 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4095-13_0_6_load_116 | 136 | 0.0021811 | 0.00054663 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4095-13_0_6_load_118 | 138 | 0.004564 | 0.0011439 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4095-13_0_6_load_119 | 139 | 0.0092491 | 0.002318 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4095-13_0_6_load_120 | 140 | 0.0034676 | 0.00086905 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4095-13_0_6_load_124 | 141 | 0.0014891 | 0.00037319 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4095-13_0_6_load_125 | 142 | 0.021953 | 0.005502 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4095-13_0_6_load_121 | 143 | 0.012657 | 0.003172 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4095-13_0_6_load_133 | 146 | 0.0022908 | 0.00057413 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4095-13_0_6_load_134 | 147 | 0.0014186 | 0.00035553 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4095-13_0_6_load_135 | 148 | 0.0028091 | 0.00070402 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4095-13_0_6_load_144 | 149 | 0.0024584 | 0.00061613 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4095-13_0_6_load_143 | 151 | 0.0014185 | 0.0003555 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4095-13_0_6_load_138 | 152 | 0.0024389 | 0.00061124 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4095-13_0_6_load_140 | 153 | 0.0086174 | 0.0021597 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4095-13_0_6_load_141 | 154 | 0.0017909 | 0.00044885 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4095-13_0_6_load_151 | 155 | 0.0022965 | 0.00057556 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4095-13_0_6_load_150 | 156 | 0.0013845 | 0.00034699 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4095-13_0_6_load_162 | 157 | 0.0026162 | 0.00065569 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4095-13_0_6_load_169 | 158 | 0.0026717 | 0.0006696 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 135 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4095-13_0_6_line_0 |  | 0 | 1 | 0.035838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4095-13_0_6_line_1 |  | 1 | 2 | 0.014972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4095-13_0_6_line_2 |  | 1 | 3 | 0.016462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4095-13_0_6_line_3 |  | 2 | 7 | 0.025633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4095-13_0_6_line_4 |  | 3 | 8 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4095-13_0_6_line_5 |  | 4 | 5 | 0.034026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4095-13_0_6_line_6 |  | 4 | 6 | 0.044038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4095-13_0_6_line_7 |  | 5 | 9 | 0.0066791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4095-13_0_6_line_8 |  | 6 | 10 | 0.022517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4095-13_0_6_line_9 |  | 7 | 11 | 0.029092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4095-13_0_6_line_10 |  | 8 | 12 | 0.020779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4095-13_0_6_line_11 |  | 8 | 13 | 0.0024772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4095-13_0_6_line_12 |  | 9 | 157 | 0.011838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4095-13_0_6_line_13 |  | 10 | 102 | 0.025527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4095-13_0_6_line_14 |  | 11 | 14 | 0.018319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4095-13_0_6_line_15 |  | 12 | 15 | 0.0096938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4095-13_0_6_line_16 |  | 13 | 17 | 0.018501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4095-13_0_6_line_17 |  | 14 | 158 | 0.010501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4095-13_0_6_line_18 |  | 15 | 16 | 0.011803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4095-13_0_6_line_19 |  | 16 | 146 | 0.022925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4095-13_0_6_line_20 |  | 17 | 157 | 0.001196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4095-13_0_6_line_21 |  | 18 | 19 | 0.039348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4095-13_0_6_line_22 |  | 19 | 20 | 0.083499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4095-13_0_6_line_23 |  | 20 | 21 | 0.024945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4095-13_0_6_line_24 |  | 20 | 22 | 0.017955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4095-13_0_6_line_25 |  | 21 | 23 | 0.018538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4095-13_0_6_line_26 |  | 22 | 24 | 0.020661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4095-13_0_6_line_27 |  | 23 | 25 | 0.016163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4095-13_0_6_line_28 |  | 24 | 26 | 0.024611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4095-13_0_6_line_29 |  | 25 | 30 | 0.013744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4095-13_0_6_line_30 |  | 27 | 28 | 0.03552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4095-13_0_6_line_31 |  | 28 | 29 | 0.03934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4095-13_0_6_line_32 |  | 29 | 30 | 0.023678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4095-13_0_6_line_33 |  | 30 | 33 | 0.011532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4095-13_0_6_line_34 |  | 30 | 34 | 0.032238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_4095-13_0_6_line_35 |  | 31 | 32 | 0.00204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4095-13_0_6_line_36 |  | 32 | 35 | 0.028785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4095-13_0_6_line_37 |  | 33 | 36 | 0.03073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4095-13_0_6_line_38 |  | 34 | 37 | 0.002983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_4095-13_0_6_line_39 |  | 35 | 38 | 0.018791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4095-13_0_6_line_40 |  | 36 | 39 | 0.0021479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4095-13_0_6_line_41 |  | 37 | 40 | 0.00094787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_4095-13_0_6_line_42 |  | 38 | 150 | 0.012541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4095-13_0_6_line_43 |  | 39 | 143 | 0.0047712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4095-13_0_6_line_44 |  | 40 | 125 | 0.019941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_4095-13_0_6_line_45 |  | 41 | 42 | 0.015152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4095-13_0_6_line_46 |  | 41 | 43 | 0.029702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4095-13_0_6_line_47 |  | 42 | 44 | 0.028486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4095-13_0_6_line_48 |  | 43 | 45 | 0.074435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4095-13_0_6_line_49 |  | 44 | 46 | 0.0081242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4095-13_0_6_line_50 |  | 45 | 47 | 0.031579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4095-13_0_6_line_51 |  | 45 | 48 | 0.011434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4095-13_0_6_line_52 |  | 46 | 49 | 0.0017794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4095-13_0_6_line_53 |  | 47 | 50 | 0.0047671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4095-13_0_6_line_54 |  | 48 | 51 | 0.010424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4095-13_0_6_line_55 |  | 50 | 52 | 0.015551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4095-13_0_6_line_56 |  | 52 | 61 | 0.0044208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4095-13_0_6_line_57 |  | 53 | 54 | 0.017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4095-13_0_6_line_58 |  | 54 | 55 | 0.035854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4095-13_0_6_line_59 |  | 54 | 56 | 0.016711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4095-13_0_6_line_60 |  | 55 | 57 | 0.0053001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4095-13_0_6_line_61 |  | 55 | 58 | 0.013658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4095-13_0_6_line_62 |  | 56 | 59 | 0.015324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4095-13_0_6_line_63 |  | 57 | 61 | 0.020481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4095-13_0_6_line_64 |  | 58 | 62 | 0.025744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4095-13_0_6_line_65 |  | 58 | 63 | 0.017516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4095-13_0_6_line_66 |  | 59 | 60 | 0.0028058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4095-13_0_6_line_67 |  | 60 | 64 | 0.015951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4095-13_0_6_line_68 |  | 62 | 65 | 0.0089542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4095-13_0_6_line_69 |  | 63 | 66 | 0.016824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4095-13_0_6_line_70 |  | 64 | 67 | 0.0031147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4095-13_0_6_line_71 |  | 65 | 70 | 0.0094918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4095-13_0_6_line_72 |  | 66 | 68 | 0.014325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4095-13_0_6_line_73 |  | 68 | 69 | 0.0060944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4095-13_0_6_line_74 |  | 70 | 75 | 0.014481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4095-13_0_6_line_75 |  | 71 | 72 | 0.030641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4095-13_0_6_line_76 |  | 71 | 73 | 0.018318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4095-13_0_6_line_77 |  | 71 | 74 | 0.028357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4095-13_0_6_line_78 |  | 72 | 89 | 0.027555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4095-13_0_6_line_79 |  | 72 | 90 | 0.01582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_4095-13_0_6_line_80 |  | 73 | 91 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4095-13_0_6_line_81 |  | 74 | 85 | 0.026873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4095-13_0_6_line_82 |  | 74 | 79 | 0.006682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4095-13_0_6_line_83 |  | 75 | 118 | 0.019234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4095-13_0_6_line_84 |  | 76 | 77 | 0.012116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4095-13_0_6_line_85 |  | 77 | 78 | 0.0097438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4095-13_0_6_line_86 |  | 78 | 79 | 0.02916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4095-13_0_6_line_87 |  | 80 | 81 | 0.022968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4095-13_0_6_line_88 |  | 80 | 82 | 0.0066376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4095-13_0_6_line_89 |  | 81 | 83 | 0.0095486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4095-13_0_6_line_90 |  | 82 | 84 | 0.01668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4095-13_0_6_line_91 |  | 83 | 85 | 0.016984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4095-13_0_6_line_92 |  | 84 | 86 | 0.062353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4095-13_0_6_line_93 |  | 85 | 87 | 0.022571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4095-13_0_6_line_94 |  | 86 | 96 | 0.012613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4095-13_0_6_line_95 |  | 87 | 88 | 0.006947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4095-13_0_6_line_96 |  | 89 | 93 | 0.016034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_4095-13_0_6_line_97 |  | 90 | 94 | 0.0027755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_4095-13_0_6_line_98 |  | 91 | 95 | 0.024088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4095-13_0_6_line_99 |  | 91 | 92 | 0.018451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4095-13_0_6_line_100 |  | 93 | 118 | 0.025843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_4095-13_0_6_line_101 |  | 94 | 116 | 0.0264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_4095-13_0_6_line_102 |  | 97 | 98 | 0.03147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4095-13_0_6_line_103 |  | 97 | 99 | 0.00043417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4095-13_0_6_line_104 |  | 98 | 100 | 0.044177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4095-13_0_6_line_105 |  | 99 | 103 | 0.027487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4095-13_0_6_line_106 |  | 101 | 102 | 0.007387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4095-13_0_6_line_107 |  | 103 | 104 | 0.012332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4095-13_0_6_line_108 |  | 104 | 105 | 0.02346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4095-13_0_6_line_109 |  | 105 | 106 | 0.002385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_4095-13_0_6_line_110 |  | 105 | 107 | 0.031832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
111 | LV_4095-13_0_6_line_111 |  | 106 | 111 | 0.011828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4095-13_0_6_line_112 |  | 106 | 108 | 0.033202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
113 | LV_4095-13_0_6_line_113 |  | 107 | 112 | 0.0024089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_4095-13_0_6_line_114 |  | 108 | 109 | 0.017716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4095-13_0_6_line_115 |  | 108 | 110 | 0.02254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4095-13_0_6_line_116 |  | 109 | 113 | 0.022252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4095-13_0_6_line_117 |  | 110 | 114 | 0.0090996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4095-13_0_6_line_118 |  | 111 | 115 | 0.0040538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4095-13_0_6_line_119 |  | 112 | 117 | 0.023214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
120 | LV_4095-13_0_6_line_120 |  | 113 | 155 | 0.01708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4095-13_0_6_line_121 |  | 114 | 152 | 0.010567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4095-13_0_6_line_122 |  | 116 | 117 | 0.0014238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
123 | LV_4095-13_0_6_line_123 |  | 118 | 130 | 0.018755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
124 | LV_4095-13_0_6_line_124 |  | 118 | 129 | 0.016526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
125 | LV_4095-13_0_6_line_125 |  | 119 | 120 | 0.021937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
126 | LV_4095-13_0_6_line_126 |  | 119 | 121 | 0.018934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
127 | LV_4095-13_0_6_line_127 |  | 120 | 122 | 0.00063514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
128 | LV_4095-13_0_6_line_128 |  | 121 | 123 | 0.018498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
129 | LV_4095-13_0_6_line_129 |  | 121 | 124 | 0.021027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4095-13_0_6_line_130 |  | 122 | 125 | 0.0043073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
131 | LV_4095-13_0_6_line_131 |  | 123 | 126 | 0.023685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
132 | LV_4095-13_0_6_line_132 |  | 124 | 127 | 0.028853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4095-13_0_6_line_133 |  | 126 | 128 | 0.015832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
134 | LV_4095-13_0_6_line_134 |  | 128 | 129 | 0.011158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
135 | LV_4095-13_0_6_line_135 |  | 130 | 131 | 0.016619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
136 | LV_4095-13_0_6_line_136 |  | 131 | 132 | 0.01036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
137 | LV_4095-13_0_6_line_137 |  | 132 | 133 | 0.00059424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
138 | LV_4095-13_0_6_line_138 |  | 133 | 134 | 0.0071133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
139 | LV_4095-13_0_6_line_139 |  | 134 | 135 | 0.015083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
140 | LV_4095-13_0_6_line_140 |  | 135 | 136 | 0.0037021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4095-13_0_6_line_141 |  | 137 | 138 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4095-13_0_6_line_142 |  | 137 | 139 | 0.039322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4095-13_0_6_line_143 |  | 137 | 140 | 0.014171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4095-13_0_6_line_144 |  | 138 | 141 | 0.0037506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4095-13_0_6_line_145 |  | 139 | 142 | 0.0099535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4095-13_0_6_line_146 |  | 140 | 143 | 0.021953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4095-13_0_6_line_147 |  | 144 | 145 | 0.045674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4095-13_0_6_line_148 |  | 144 | 146 | 0.027037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4095-13_0_6_line_149 |  | 145 | 147 | 0.0061917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4095-13_0_6_line_150 |  | 145 | 148 | 0.022411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4095-13_0_6_line_151 |  | 147 | 149 | 0.013717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4095-13_0_6_line_152 |  | 148 | 150 | 0.0097917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4095-13_0_6_line_153 |  | 149 | 151 | 0.0026423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4095-13_0_6_line_154 |  | 151 | 154 | 0.015559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4095-13_0_6_line_155 |  | 152 | 153 | 0.024302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4095-13_0_6_line_156 |  | 153 | 154 | 0.015516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4095-13_0_6_line_157 |  | 155 | 156 | 0.0020198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4095-13_0_6_trafo_115 | 0.63 MVA 20/0.4 kV | 159 | 135 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2657477.3052 | 1259577.8884 | 2657476.2316 | 1259582.1033 | 2657506.1095 | 1259592.0464
1 | 2657477.3052 | 1259577.8884 | 2657462.6551 | 1259574.7983
2 | 2657477.3052 | 1259577.8884 | 2657481.2792 | 1259561.9128
3 | 2657437.5744 | 1259569.5079 | 2657462.6551 | 1259574.7983
4 | 2657484.4821 | 1259549.0373 | 2657481.2792 | 1259561.9128
5 | 2657557.365 | 1259562.5551 | 2657550.552 | 1259564.0233 | 2657524.1659 | 1259558.0384
6 | 2657557.365 | 1259562.5551 | 2657562.7547 | 1259518.8481
7 | 2657517.6522 | 1259556.561 | 2657524.1659 | 1259558.0384
8 | 2657562.7547 | 1259518.8481 | 2657565.5104 | 1259496.5003
9 | 2657420.611 | 1259575.3921 | 2657423.1761 | 1259577.474 | 2657427.7902 | 1259577.352 | 2657431.5679 | 1259573.3079 | 2657439.8347 | 1259565.716 | 2657437.5744 | 1259569.5079
10 | 2657484.4821 | 1259549.0373 | 2657464.2042 | 1259544.5035
11 | 2657484.4821 | 1259549.0373 | 2657486.8979 | 1259549.5853
12 | 2657517.6522 | 1259556.561 | 2657506.1075 | 1259553.9424
13 | 2657568.6346 | 1259471.1647 | 2657565.5104 | 1259496.5003
14 | 2657420.611 | 1259575.3921 | 2657416.5738 | 1259565.0121 | 2657414.447 | 1259558.1532
15 | 2657454.744 | 1259542.3883 | 2657464.2042 | 1259544.5035
16 | 2657486.8979 | 1259549.5853 | 2657504.9411 | 1259553.6778
17 | 2657414.447 | 1259558.1532 | 2657404.5427 | 1259561.6439
18 | 2657454.744 | 1259542.3883 | 2657445.5436 | 1259534.9949
19 | 2657445.5436 | 1259534.9949 | 2657427.6739 | 1259520.6348
20 | 2657504.9411 | 1259553.6778 | 2657506.1075 | 1259553.9424
21 | 2657211.1681 | 1259346.5776 | 2657248.9119 | 1259357.6981
22 | 2657211.1681 | 1259346.5776 | 2657252.0862 | 1259273.7318
23 | 2657252.0862 | 1259273.7318 | 2657273.9864 | 1259285.6752
24 | 2657252.0862 | 1259273.7318 | 2657260.8107 | 1259258.0394
25 | 2657290.2613 | 1259294.5506 | 2657273.9864 | 1259285.6752
26 | 2657270.8503 | 1259239.9814 | 2657260.8107 | 1259258.0394
27 | 2657290.2613 | 1259294.5506 | 2657304.4511 | 1259302.2891
28 | 2657282.809 | 1259218.4717 | 2657270.8503 | 1259239.9814
29 | 2657316.5173 | 1259308.8694 | 2657304.4511 | 1259302.2891
30 | 2657265.4775 | 1259393.1582 | 2657283.876 | 1259362.7743
31 | 2657283.876 | 1259362.7743 | 2657304.2528 | 1259329.1233
32 | 2657316.5173 | 1259308.8694 | 2657304.2528 | 1259329.1233
33 | 2657316.5173 | 1259308.8694 | 2657326.2456 | 1259315.062
34 | 2657316.5173 | 1259308.8694 | 2657332.365 | 1259280.796
35 | 2657297.5831 | 1259432.7176 | 2657295.7103 | 1259431.9087
36 | 2657324.0082 | 1259444.1311 | 2657297.5831 | 1259432.7176
37 | 2657352.1691 | 1259331.5636 | 2657326.2456 | 1259315.062
38 | 2657332.365 | 1259280.796 | 2657333.8314 | 1259278.1984
39 | 2657342.4372 | 1259445.9634 | 2657328.0565 | 1259445.8797 | 2657324.0082 | 1259444.1311
40 | 2657353.9811 | 1259332.7171 | 2657352.1691 | 1259331.5636
41 | 2657334.2974 | 1259277.373 | 2657333.8314 | 1259278.1984
42 | 2657342.4372 | 1259445.9634 | 2657345.3792 | 1259458.1563
43 | 2657353.9811 | 1259332.7171 | 2657358.0061 | 1259335.2791
44 | 2657344.1 | 1259260.0082 | 2657334.2974 | 1259277.373
45 | 2657417.9963 | 1259151.2474 | 2657416.5606 | 1259149.2795 | 2657408.7852 | 1259139.2173
46 | 2657390.6242 | 1259115.715 | 2657408.7852 | 1259139.2173
47 | 2657417.9963 | 1259151.2474 | 2657427.7859 | 1259164.6661 | 2657427.4233 | 1259170.956 | 2657423.8765 | 1259175.258 | 2657423.8765 | 1259175.258
48 | 2657443.8116 | 1259118.0547 | 2657424.9413 | 1259093.4984 | 2657413.8031 | 1259101.7519 | 2657411.8418 | 1259099.5646 | 2657390.6242 | 1259115.715
49 | 2657416.8289 | 1259179.2996 | 2657423.8765 | 1259175.258
50 | 2657443.8116 | 1259118.0547 | 2657455.8319 | 1259133.8493 | 2657461.6069 | 1259144.0595
51 | 2657443.8116 | 1259118.0547 | 2657450.1332 | 1259112.1228 | 2657451.6745 | 1259109.8275
52 | 2657415.2814 | 1259179.5884 | 2657415.8113 | 1259179.8831 | 2657416.8289 | 1259179.2996
53 | 2657463.9538 | 1259148.2089 | 2657461.6069 | 1259144.0595
54 | 2657457.4856 | 1259101.1733 | 2657451.6745 | 1259109.8275
55 | 2657463.9538 | 1259148.2089 | 2657466.2661 | 1259152.2972 | 2657470.5192 | 1259162.2828
56 | 2657472.2516 | 1259166.35 | 2657470.5192 | 1259162.2828
57 | 2657504.7719 | 1259162.912 | 2657513.8802 | 1259148.2355
58 | 2657504.7719 | 1259162.912 | 2657497.9853 | 1259175.5774 | 2657487.2884 | 1259187.2931 | 2657482.3543 | 1259190.0694
59 | 2657504.7719 | 1259162.912 | 2657518.676 | 1259172.1825
60 | 2657482.3543 | 1259190.0694 | 2657480.2774 | 1259185.1932
61 | 2657482.3543 | 1259190.0694 | 2657483.7206 | 1259194.5192 | 2657487.281 | 1259202.7931
62 | 2657531.4263 | 1259180.6837 | 2657518.676 | 1259172.1825
63 | 2657472.2516 | 1259166.35 | 2657480.2774 | 1259185.1932
64 | 2657487.281 | 1259202.7931 | 2657480.2125 | 1259204.9148 | 2657469.9095 | 1259220.1166
65 | 2657487.281 | 1259202.7931 | 2657493.8077 | 1259219.0472
66 | 2657531.4263 | 1259180.6837 | 2657533.7121 | 1259182.3109
67 | 2657533.7121 | 1259182.3109 | 2657546.7066 | 1259191.5613
68 | 2657464.8859 | 1259227.5288 | 2657469.9095 | 1259220.1166
69 | 2657493.8077 | 1259219.0472 | 2657500.0768 | 1259234.6599
70 | 2657549.2441 | 1259193.3677 | 2657546.7066 | 1259191.5613
71 | 2657464.8859 | 1259227.5288 | 2657459.5606 | 1259235.3861
72 | 2657505.4148 | 1259247.9536 | 2657500.0768 | 1259234.6599
73 | 2657505.4148 | 1259247.9536 | 2657507.6857 | 1259253.6091
74 | 2657451.4361 | 1259247.3735 | 2657459.5606 | 1259235.3861
75 | 2657526.7652 | 1259301.1251 | 2657522.5258 | 1259306.888 | 2657500.5608 | 1259298.3797
76 | 2657526.7652 | 1259301.1251 | 2657533.771 | 1259318.0506
77 | 2657526.7652 | 1259301.1251 | 2657536.3644 | 1259287.5641 | 2657542.777 | 1259277.6971
78 | 2657500.5608 | 1259298.3797 | 2657476.7827 | 1259284.456
79 | 2657500.5608 | 1259298.3797 | 2657492.9928 | 1259312.2717
80 | 2657538.0405 | 1259328.3653 | 2657533.771 | 1259318.0506
81 | 2657564.978 | 1259292.935 | 2657542.777 | 1259277.6971
82 | 2657542.777 | 1259277.6971 | 2657546.4159 | 1259272.0929
83 | 2657440.6452 | 1259263.2951 | 2657451.4361 | 1259247.3735
84 | 2657567.6238 | 1259239.4778 | 2657574.303 | 1259229.3694
85 | 2657567.6238 | 1259239.4778 | 2657566.3003 | 1259241.4775 | 2657562.2988 | 1259247.6378
86 | 2657562.2988 | 1259247.6378 | 2657551.7379 | 1259263.8965 | 2657546.4159 | 1259272.0929
87 | 2657593.0161 | 1259253.6572 | 2657583.0532 | 1259274.3641
88 | 2657593.0161 | 1259253.6572 | 2657598.5768 | 1259257.2817
89 | 2657583.0532 | 1259274.3641 | 2657574.7164 | 1259279.0197
90 | 2657612.5505 | 1259266.3897 | 2657598.5768 | 1259257.2817
91 | 2657564.978 | 1259292.935 | 2657574.7164 | 1259279.0197
92 | 2657612.5505 | 1259266.3897 | 2657621.0927 | 1259271.61 | 2657629.5805 | 1259261.5186 | 2657634.3495 | 1259259.4413 | 2657639.0545 | 1259261.6109 | 2657643.1862 | 1259265.3761 | 2657645.9558 | 1259269.6839 | 2657646.849 | 1259272.3946 | 2657655.6661 | 1259278.785 | 2657654.9939 | 1259279.7014 | 2657653.1221 | 1259282.2739
93 | 2657578.5656 | 1259309.4902 | 2657570.8365 | 1259304.378 | 2657565.0492 | 1259296.4605 | 2657564.978 | 1259292.935
94 | 2657642.9056 | 1259274.8357 | 2657653.1221 | 1259282.2739
95 | 2657578.5656 | 1259309.4902 | 2657584.4656 | 1259305.8227
96 | 2657476.7827 | 1259284.456 | 2657462.9465 | 1259276.354
97 | 2657491.665 | 1259314.709 | 2657492.9928 | 1259312.2717
98 | 2657538.0405 | 1259328.3653 | 2657547.2511 | 1259350.623
99 | 2657538.0405 | 1259328.3653 | 2657544.3542 | 1259324.7797 | 2657550.7076 | 1259315.5681
100 | 2657440.6452 | 1259263.2951 | 2657462.9465 | 1259276.354
101 | 2657479.0355 | 1259337.8922 | 2657491.665 | 1259314.709
102 | 2657512.3878 | 1259417.7582 | 2657510.1603 | 1259386.3696
103 | 2657510.1603 | 1259386.3696 | 2657509.7502 | 1259386.5124
104 | 2657512.3878 | 1259417.7582 | 2657506.6306 | 1259417.6022 | 2657490.1176 | 1259425.1806 | 2657477.9306 | 1259441.3517
105 | 2657509.7502 | 1259386.5124 | 2657483.7932 | 1259395.5537
106 | 2657568.6346 | 1259471.1647 | 2657569.5387 | 1259463.8333
107 | 2657472.1478 | 1259399.61 | 2657483.7932 | 1259395.5537
108 | 2657450.8686 | 1259389.5963 | 2657472.1478 | 1259399.61
109 | 2657450.8686 | 1259389.5963 | 2657448.6228 | 1259388.7739
110 | 2657450.8686 | 1259389.5963 | 2657466.0968 | 1259361.6428
111 | 2657448.6228 | 1259388.7739 | 2657438.3331 | 1259382.9404
112 | 2657431.1057 | 1259415.1562 | 2657437.6515 | 1259412.4956 | 2657448.6228 | 1259388.7739
113 | 2657467.2492 | 1259359.5274 | 2657466.0968 | 1259361.6428
114 | 2657431.1057 | 1259415.1562 | 2657414.3676 | 1259420.9611
115 | 2657431.1057 | 1259415.1562 | 2657440.1735 | 1259435.7921
116 | 2657393.344 | 1259428.2521 | 2657414.3676 | 1259420.9611
117 | 2657443.8343 | 1259444.1228 | 2657440.1735 | 1259435.7921
118 | 2657438.3331 | 1259382.9404 | 2657434.8066 | 1259380.9411
119 | 2657467.2492 | 1259359.5274 | 2657478.3543 | 1259339.1425
120 | 2657377.2072 | 1259433.8484 | 2657393.344 | 1259428.2521
121 | 2657443.8343 | 1259444.1228 | 2657443.8343 | 1259444.1228 | 2657441.2625 | 1259454.3719 | 2657441.2625 | 1259454.3719
122 | 2657479.0355 | 1259337.8922 | 2657478.3543 | 1259339.1425
123 | 2657440.6452 | 1259263.2951 | 2657431.3474 | 1259279.5827
124 | 2657440.6452 | 1259263.2951 | 2657426.3703 | 1259254.9678
125 | 2657357.3137 | 1259236.6009 | 2657346.5297 | 1259255.7042
126 | 2657366.6214 | 1259220.113 | 2657357.3137 | 1259236.6009
127 | 2657346.5297 | 1259255.7042 | 2657346.2175 | 1259256.2573
128 | 2657366.6214 | 1259220.113 | 2657382.5993 | 1259229.4338
129 | 2657366.6214 | 1259220.113 | 2657348.5319 | 1259209.3928
130 | 2657344.1 | 1259260.0082 | 2657346.2175 | 1259256.2573
131 | 2657403.0575 | 1259241.3682 | 2657382.5993 | 1259229.4338
132 | 2657348.5319 | 1259209.3928 | 2657323.7104 | 1259194.6831
133 | 2657403.0575 | 1259241.3682 | 2657416.7325 | 1259249.3455
134 | 2657426.3703 | 1259254.9678 | 2657416.7325 | 1259249.3455
135 | 2657431.3474 | 1259279.5827 | 2657423.1085 | 1259294.0153
136 | 2657417.9726 | 1259303.0124 | 2657423.1085 | 1259294.0153
137 | 2657417.678 | 1259303.5285 | 2657417.9726 | 1259303.0124
138 | 2657417.678 | 1259303.5285 | 2657414.1515 | 1259309.7061
139 | 2657406.6739 | 1259322.8051 | 2657414.1515 | 1259309.7061
140 | 2657406.6739 | 1259322.8051 | 2657404.8386 | 1259326.0202
141 | 2657388.4797 | 1259354.6772 | 2657402.1457 | 1259362.4248
142 | 2657388.4797 | 1259354.6772 | 2657368.4223 | 1259388.4989
143 | 2657388.4797 | 1259354.6772 | 2657376.5254 | 1259347.0677
144 | 2657405.4084 | 1259364.2745 | 2657402.1457 | 1259362.4248
145 | 2657368.4223 | 1259388.4989 | 2657363.3452 | 1259397.0602
146 | 2657376.5254 | 1259347.0677 | 2657358.0061 | 1259335.2791
147 | 2657368.0264 | 1259481.0032 | 2657392.0379 | 1259504.5974 | 2657402.916 | 1259509.8733
148 | 2657402.916 | 1259509.8733 | 2657417.7868 | 1259516.1331 | 2657426.8023 | 1259519.9344 | 2657427.6739 | 1259520.6348
149 | 2657368.0264 | 1259481.0032 | 2657373.8452 | 1259478.8873
150 | 2657368.0264 | 1259481.0032 | 2657351.8018 | 1259465.5428
151 | 2657386.7366 | 1259474.1995 | 2657373.8452 | 1259478.8873
152 | 2657345.3792 | 1259458.1563 | 2657351.2746 | 1259465.0405 | 2657351.8018 | 1259465.5428
153 | 2657386.7366 | 1259474.1995 | 2657389.2198 | 1259473.2965
154 | 2657403.842 | 1259467.9794 | 2657389.2198 | 1259473.2965
155 | 2657441.2625 | 1259454.3719 | 2657418.4238 | 1259462.6769
156 | 2657418.4238 | 1259462.6769 | 2657403.842 | 1259467.9794
157 | 2657377.2072 | 1259433.8484 | 2657375.2989 | 1259434.5102

## bus_geodata
| x | y | coords
0 | 2657506.1095 | 1259592.0464
1 | 2657477.3052 | 1259577.8884
2 | 2657462.6551 | 1259574.7983
3 | 2657481.2792 | 1259561.9128
4 | 2657557.365 | 1259562.5551
5 | 2657524.1659 | 1259558.0384
6 | 2657562.7547 | 1259518.8481
7 | 2657437.5744 | 1259569.5079
8 | 2657484.4821 | 1259549.0373
9 | 2657517.6522 | 1259556.561
10 | 2657565.5104 | 1259496.5003
11 | 2657420.611 | 1259575.3921
12 | 2657464.2042 | 1259544.5035
13 | 2657486.8979 | 1259549.5853
14 | 2657414.447 | 1259558.1532
15 | 2657454.744 | 1259542.3883
16 | 2657445.5436 | 1259534.9949
17 | 2657504.9411 | 1259553.6778
18 | 2657248.9119 | 1259357.6981
19 | 2657211.1681 | 1259346.5776
20 | 2657252.0862 | 1259273.7318
21 | 2657273.9864 | 1259285.6752
22 | 2657260.8107 | 1259258.0394
23 | 2657290.2613 | 1259294.5506
24 | 2657270.8503 | 1259239.9814
25 | 2657304.4511 | 1259302.2891
26 | 2657282.809 | 1259218.4717
27 | 2657265.4775 | 1259393.1582
28 | 2657283.876 | 1259362.7743
29 | 2657304.2528 | 1259329.1233
30 | 2657316.5173 | 1259308.8694
31 | 2657295.7103 | 1259431.9087
32 | 2657297.5831 | 1259432.7176
33 | 2657326.2456 | 1259315.062
34 | 2657332.365 | 1259280.796
35 | 2657324.0082 | 1259444.1311
36 | 2657352.1691 | 1259331.5636
37 | 2657333.8314 | 1259278.1984
38 | 2657342.4372 | 1259445.9634
39 | 2657353.9811 | 1259332.717
40 | 2657334.2974 | 1259277.373
41 | 2657408.7852 | 1259139.2173
42 | 2657417.9963 | 1259151.2474
43 | 2657390.6242 | 1259115.715
44 | 2657423.8765 | 1259175.258
45 | 2657443.8116 | 1259118.0547
46 | 2657416.8289 | 1259179.2996
47 | 2657461.6069 | 1259144.0595
48 | 2657451.6745 | 1259109.8275
49 | 2657415.2814 | 1259179.5884
50 | 2657463.9538 | 1259148.2089
51 | 2657457.4856 | 1259101.1733
52 | 2657470.5192 | 1259162.2828
53 | 2657513.8802 | 1259148.2355
54 | 2657504.7719 | 1259162.912
55 | 2657482.3543 | 1259190.0694
56 | 2657518.676 | 1259172.1825
57 | 2657480.2774 | 1259185.1932
58 | 2657487.281 | 1259202.7931
59 | 2657531.4263 | 1259180.6837
60 | 2657533.7121 | 1259182.3109
61 | 2657472.2516 | 1259166.35
62 | 2657469.9095 | 1259220.1166
63 | 2657493.8077 | 1259219.0472
64 | 2657546.7066 | 1259191.5613
65 | 2657464.8859 | 1259227.5288
66 | 2657500.0768 | 1259234.6599
67 | 2657549.2441 | 1259193.3677
68 | 2657505.4148 | 1259247.9536
69 | 2657507.6857 | 1259253.6091
70 | 2657459.5606 | 1259235.3861
71 | 2657526.7652 | 1259301.1251
72 | 2657500.5608 | 1259298.3797
73 | 2657533.771 | 1259318.0506
74 | 2657542.777 | 1259277.6971
75 | 2657451.4361 | 1259247.3735
76 | 2657574.303 | 1259229.3694
77 | 2657567.6238 | 1259239.4778
78 | 2657562.2988 | 1259247.6378
79 | 2657546.4159 | 1259272.0929
80 | 2657593.0161 | 1259253.6572
81 | 2657583.0532 | 1259274.3641
82 | 2657598.5768 | 1259257.2817
83 | 2657574.7164 | 1259279.0197
84 | 2657612.5505 | 1259266.3897
85 | 2657564.978 | 1259292.935
86 | 2657653.1221 | 1259282.2739
87 | 2657578.5656 | 1259309.4902
88 | 2657584.4656 | 1259305.8227
89 | 2657476.7827 | 1259284.456
90 | 2657492.9928 | 1259312.2717
91 | 2657538.0405 | 1259328.3653
92 | 2657550.7076 | 1259315.5681
93 | 2657462.9465 | 1259276.354
94 | 2657491.665 | 1259314.709
95 | 2657547.2511 | 1259350.623
96 | 2657642.9056 | 1259274.8357
97 | 2657510.1603 | 1259386.3696
98 | 2657512.3878 | 1259417.7582
99 | 2657509.7502 | 1259386.5124
100 | 2657477.9306 | 1259441.3517
101 | 2657569.5387 | 1259463.8333
102 | 2657568.6346 | 1259471.1647
103 | 2657483.7932 | 1259395.5537
104 | 2657472.1478 | 1259399.61
105 | 2657450.8686 | 1259389.5963
106 | 2657448.6228 | 1259388.7739
107 | 2657466.0968 | 1259361.6428
108 | 2657431.1057 | 1259415.1562
109 | 2657414.3676 | 1259420.9611
110 | 2657440.1735 | 1259435.7921
111 | 2657438.3331 | 1259382.9404
112 | 2657467.2492 | 1259359.5274
113 | 2657393.344 | 1259428.2521
114 | 2657443.8343 | 1259444.1228
115 | 2657434.8066 | 1259380.9411
116 | 2657479.0355 | 1259337.8922
117 | 2657478.3543 | 1259339.1425
118 | 2657440.6452 | 1259263.2951
119 | 2657357.3137 | 1259236.6009
120 | 2657346.5297 | 1259255.7042
121 | 2657366.6214 | 1259220.113
122 | 2657346.2175 | 1259256.2573
123 | 2657382.5993 | 1259229.4338
124 | 2657348.5319 | 1259209.3928
125 | 2657344.1 | 1259260.0082
126 | 2657403.0575 | 1259241.3682
127 | 2657323.7104 | 1259194.6831
128 | 2657416.7325 | 1259249.3455
129 | 2657426.3704 | 1259254.9678
130 | 2657431.3474 | 1259279.5827
131 | 2657423.1085 | 1259294.0153
132 | 2657417.9726 | 1259303.0124
133 | 2657417.678 | 1259303.5285
134 | 2657414.1515 | 1259309.7061
135 | 2657406.6739 | 1259322.8051
136 | 2657404.8386 | 1259326.0202
137 | 2657388.4797 | 1259354.6772
138 | 2657402.1457 | 1259362.4248
139 | 2657368.4223 | 1259388.4989
140 | 2657376.5254 | 1259347.0677
141 | 2657405.4084 | 1259364.2745
142 | 2657363.3452 | 1259397.0602
143 | 2657358.0061 | 1259335.2791
144 | 2657402.916 | 1259509.8733
145 | 2657368.0264 | 1259481.0032
146 | 2657427.6739 | 1259520.6348
147 | 2657373.8453 | 1259478.8873
148 | 2657351.8018 | 1259465.5428
149 | 2657386.7366 | 1259474.1995
150 | 2657345.3792 | 1259458.1563
151 | 2657389.2198 | 1259473.2965
152 | 2657441.2625 | 1259454.3719
153 | 2657418.4238 | 1259462.6769
154 | 2657403.842 | 1259467.9794
155 | 2657377.2072 | 1259433.8484
156 | 2657375.2989 | 1259434.5102
157 | 2657506.1075 | 1259553.9424
158 | 2657404.5427 | 1259561.6439
159 | 2657388.4797 | 1259354.6772

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1