## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4095-20_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4095-20_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4095-20_0_5_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_4095-20_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4095-20_0_5_node_12 | 0.4 | n |  | TRUE
5 | bus_LV_4095-20_0_5_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4095-20_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_4095-20_0_5_node_84 | 0.4 | n |  | TRUE
8 | bus_LV_4095-20_0_5_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_4095-20_0_5_node_77 | 0.4 | n |  | TRUE
10 | bus_LV_4095-20_0_5_node_76 | 0.4 | n |  | TRUE
11 | bus_LV_4095-20_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4095-20_0_5_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_4095-20_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4095-20_0_5_node_104 | 0.4 | n |  | TRUE
15 | bus_LV_4095-20_0_5_node_103 | 0.4 | n |  | TRUE
16 | bus_LV_4095-20_0_5_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_4095-20_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_4095-20_0_5_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_4095-20_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4095-20_0_5_node_62 | 0.4 | n |  | TRUE
21 | bus_LV_4095-20_0_5_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_4095-20_0_5_node_56 | 0.4 | n |  | TRUE
23 | bus_LV_4095-20_0_5_node_110 | 0.4 | n |  | TRUE
24 | bus_LV_4095-20_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4095-20_0_5_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_4095-20_0_5_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4095-20_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4095-20_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4095-20_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_4095-20_0_5_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_4095-20_0_5_node_55 | 0.4 | n |  | TRUE
32 | bus_LV_4095-20_0_5_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_4095-20_0_5_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_4095-20_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_4095-20_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4095-20_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_4095-20_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_4095-20_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4095-20_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4095-20_0_5_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4095-20_0_5_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_4095-20_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_4095-20_0_5_node_95 | 0.4 | n |  | TRUE
44 | bus_LV_4095-20_0_5_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_4095-20_0_5_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_4095-20_0_5_node_96 | 0.4 | n |  | TRUE
47 | bus_LV_4095-20_0_5_node_97 | 0.4 | n |  | TRUE
48 | bus_LV_4095-20_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_4095-20_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4095-20_0_5_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4095-20_0_5_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_4095-20_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_4095-20_0_5_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4095-20_0_5_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_4095-20_0_5_node_105 | 0.4 | n |  | TRUE
56 | bus_LV_4095-20_0_5_node_109 | 0.4 | n |  | TRUE
57 | bus_LV_4095-20_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_4095-20_0_5_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_4095-20_0_5_node_106 | 0.4 | n |  | TRUE
60 | bus_LV_4095-20_0_5_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_4095-20_0_5_node_108 | 0.4 | n |  | TRUE
62 | bus_LV_4095-20_0_5_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_4095-20_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_4095-20_0_5_node_100 | 0.4 | n |  | TRUE
65 | bus_LV_4095-20_0_5_node_101 | 0.4 | n |  | TRUE
66 | bus_LV_4095-20_0_5_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_4095-20_0_5_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_4095-20_0_5_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4095-20_0_5_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_4095-20_0_5_node_116 | 0.4 | n |  | TRUE
71 | bus_LV_4095-20_0_5_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_4095-20_0_5_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_4095-20_0_5_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_4095-20_0_5_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_4095-20_0_5_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_4095-20_0_5_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_4095-20_0_5_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_4095-20_0_5_node_107 | 0.4 | n |  | TRUE
79 | bus_LV_4095-20_0_5_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_4095-20_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_4095-20_0_5_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_4095-20_0_5_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_4095-20_0_5_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_4095-20_0_5_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_4095-20_0_5_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_4095-20_0_5_node_69 | 0.4 | n |  | TRUE
87 | bus_LV_4095-20_0_5_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_4095-20_0_5_node_72 | 0.4 | n |  | TRUE
89 | bus_LV_4095-20_0_5_node_117 | 0.4 | n |  | TRUE
90 | bus_LV_4095-20_0_5_node_125 | 0.4 | n |  | TRUE
91 | bus_LV_4095-20_0_5_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_4095-20_0_5_node_121 | 0.4 | n |  | TRUE
93 | bus_LV_4095-20_0_5_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_4095-20_0_5_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_4095-20_0_5_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_4095-20_0_5_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_4095-20_0_5_node_113 | 0.4 | n |  | TRUE
98 | bus_LV_4095-20_0_5_node_120 | 0.4 | n |  | TRUE
99 | bus_LV_4095-20_0_5_node_118 | 0.4 | n |  | TRUE
100 | bus_LV_4095-20_0_5_node_122 | 0.4 | n |  | TRUE
101 | bus_LV_4095-20_0_5_node_124 | 0.4 | n |  | TRUE
102 | bus_LV_4095-20_0_5_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_4095-20_0_5_node_114 | 0.4 | n |  | TRUE
104 | bus_LV_4095-20_0_5_node_79 | 0.4 | n |  | TRUE
105 | bus_LV_4095-20_0_5_node_80 | 0.4 | n |  | TRUE
106 | bus_LV_4095-20_0_5_node_83 | 0.4 | n |  | TRUE
107 | bus_LV_4095-20_0_5_node_85 | 0.4 | n |  | TRUE
108 | bus_LV_4095-20_0_5_node_86 | 0.4 | n |  | TRUE
109 | bus_LV_4095-20_0_5_node_87 | 0.4 | n |  | TRUE
110 | bus_LV_4095-20_0_5_node_93 | 0.4 | n |  | TRUE
111 | bus_LV_4095-20_0_5_node_112 | 0.4 | n |  | TRUE
112 | bus_LV_4095-20_0_5_node_115 | 0.4 | n |  | TRUE
113 | bus_LV_4095-20_0_5_node_119 | 0.4 | n |  | TRUE
114 | bus_LV_4095-20_0_5_node_123 | 0.4 | n |  | TRUE
115 | bus_MV_430_1_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4095-20_0_5_load_0 | 0 | 0.0017876 | 0.00044801 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4095-20_0_5_load_2 | 1 | 0.0039701 | 0.000995 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4095-20_0_5_load_7 | 2 | 0.0010208 | 0.00025584 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4095-20_0_5_load_8 | 5 | 0.00402 | 0.0010075 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4095-20_0_5_load_9 | 6 | 0.0064381 | 0.0016135 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4095-20_0_5_load_84 | 7 | 0.0039068 | 0.00097913 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4095-20_0_5_load_77 | 9 | 0.0037857 | 0.00094879 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4095-20_0_5_load_76 | 10 | 0.0028739 | 0.00072026 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4095-20_0_5_load_10 | 11 | 0.0091998 | 0.0023057 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4095-20_0_5_load_104 | 14 | 0.0042735 | 0.001071 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4095-20_0_5_load_103 | 15 | 0.0027656 | 0.00069313 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4095-20_0_5_load_16 | 16 | 0.004246 | 0.0010642 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4095-20_0_5_load_17 | 18 | 0.0024197 | 0.00060644 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4095-20_0_5_load_13 | 19 | 0.0027936 | 0.00070015 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4095-20_0_5_load_62 | 20 | 0.0076557 | 0.0019187 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4095-20_0_5_load_63 | 21 | 0.01462 | 0.0036641 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4095-20_0_5_load_56 | 22 | 0.0025573 | 0.00064091 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4095-20_0_5_load_110 | 23 | 0.0025339 | 0.00063504 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4095-20_0_5_load_14 | 24 | 0.0028143 | 0.00070532 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4095-20_0_5_load_25 | 26 | 0.0013666 | 0.0003425 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4095-20_0_5_load_18 | 27 | 0.014587 | 0.0036558 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4095-20_0_5_load_22 | 30 | 0.0065526 | 0.0016422 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4095-20_0_5_load_55 | 31 | 0.0043598 | 0.0010927 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4095-20_0_5_load_31 | 32 | 0.0056428 | 0.0014142 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4095-20_0_5_load_74 | 33 | 0.0052675 | 0.0013202 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4095-20_0_5_load_29 | 34 | 0.0053506 | 0.001341 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4095-20_0_5_load_27 | 35 | 0.0030844 | 0.00077303 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4095-20_0_5_load_28 | 36 | 0.0080261 | 0.0020115 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4095-20_0_5_load_32 | 38 | 0.0079783 | 0.0019995 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4095-20_0_5_load_33 | 39 | 0.0075284 | 0.0018868 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4095-20_0_5_load_34 | 40 | 0.0031809 | 0.00079722 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4095-20_0_5_load_47 | 41 | 0.0042993 | 0.0010775 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4095-20_0_5_load_51 | 42 | 0.0056238 | 0.0014094 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4095-20_0_5_load_48 | 44 | 0.00816 | 0.0020451 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4095-20_0_5_load_96 | 46 | 0.0032392 | 0.00081182 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4095-20_0_5_load_97 | 47 | 0.0020961 | 0.00052534 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4095-20_0_5_load_35 | 48 | 0.0074022 | 0.0018552 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4095-20_0_5_load_37 | 50 | 0.0058358 | 0.0014626 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4095-20_0_5_load_38 | 51 | 0.0018994 | 0.00047604 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4095-20_0_5_load_42 | 53 | 0.0041244 | 0.0010337 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4095-20_0_5_load_109 | 56 | 0.0016793 | 0.00042088 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4095-20_0_5_load_44 | 57 | 0.0054925 | 0.0013766 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4095-20_0_5_load_43 | 58 | 0.0045666 | 0.0011445 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4095-20_0_5_load_106 | 59 | 0.0018865 | 0.00047279 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4095-20_0_5_load_102 | 60 | 0.002917 | 0.00073106 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4095-20_0_5_load_108 | 61 | 0.0019068 | 0.00047788 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4095-20_0_5_load_100 | 64 | 0.0021707 | 0.00054403 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4095-20_0_5_load_101 | 65 | 0.0036872 | 0.0009241 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4095-20_0_5_load_49 | 66 | 0.005809 | 0.0014559 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4095-20_0_5_load_50 | 67 | 0.0066135 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4095-20_0_5_load_53 | 68 | 0.0027983 | 0.00070133 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4095-20_0_5_load_54 | 69 | 0.0028123 | 0.00070483 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4095-20_0_5_load_116 | 70 | 0.0088256 | 0.0022119 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4095-20_0_5_load_75 | 71 | 0.0024089 | 0.00060372 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4095-20_0_5_load_60 | 73 | 0.003661 | 0.00091755 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4095-20_0_5_load_61 | 74 | 0.0075043 | 0.0018807 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4095-20_0_5_load_59 | 75 | 0.0063298 | 0.0015864 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4095-20_0_5_load_89 | 77 | 0.0055608 | 0.0013937 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4095-20_0_5_load_107 | 78 | 0.0020154 | 0.00050511 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4095-20_0_5_load_65 | 80 | 0.0031265 | 0.00078357 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4095-20_0_5_load_82 | 81 | 0.0039944 | 0.0010011 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4095-20_0_5_load_64 | 83 | 0.027106 | 0.0067935 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4095-20_0_5_load_68 | 85 | 0.0027155 | 0.00068057 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4095-20_0_5_load_91 | 87 | 0.0020561 | 0.0005153 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4095-20_0_5_load_117 | 89 | 0.00054024 | 0.0001354 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4095-20_0_5_load_125 | 90 | 0.0015899 | 0.00039847 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4095-20_0_5_load_94 | 93 | 0.012338 | 0.0030921 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4095-20_0_5_load_99 | 94 | 0.014478 | 0.0036285 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4095-20_0_5_load_98 | 95 | 0.0055259 | 0.0013849 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4095-20_0_5_load_90 | 96 | 0.0033572 | 0.00084141 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4095-20_0_5_load_120 | 98 | 0.0084878 | 0.0021273 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4095-20_0_5_load_118 | 99 | 0.0018258 | 0.00045758 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4095-20_0_5_load_122 | 100 | 0.012364 | 0.0030987 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4095-20_0_5_load_124 | 101 | 0.0020594 | 0.00051612 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4095-20_0_5_load_79 | 104 | 0.0041974 | 0.001052 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4095-20_0_5_load_80 | 105 | 0.0041823 | 0.0010482 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4095-20_0_5_load_83 | 106 | 0.0035127 | 0.00088036 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4095-20_0_5_load_85 | 107 | 0.0023659 | 0.00059296 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4095-20_0_5_load_86 | 108 | 0.0025742 | 0.00064516 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4095-20_0_5_load_87 | 109 | 0.0055408 | 0.0013886 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4095-20_0_5_load_93 | 110 | 0.010001 | 0.0025064 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4095-20_0_5_load_115 | 112 | 0.0016117 | 0.00040393 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4095-20_0_5_load_119 | 113 | 0.013819 | 0.0034633 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4095-20_0_5_load_123 | 114 | 0.0022428 | 0.0005621 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 79 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4095-20_0_5_line_0 |  | 0 | 1 | 0.013351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4095-20_0_5_line_1 |  | 1 | 2 | 0.018419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4095-20_0_5_line_2 |  | 2 | 6 | 0.0094988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4095-20_0_5_line_3 |  | 3 | 4 | 0.053497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4095-20_0_5_line_4 |  | 3 | 5 | 0.018173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4095-20_0_5_line_5 |  | 4 | 16 | 0.022388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4095-20_0_5_line_6 |  | 4 | 13 | 0.069787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4095-20_0_5_line_7 |  | 5 | 6 | 0.0022919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4095-20_0_5_line_8 |  | 7 | 8 | 0.0044354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4095-20_0_5_line_9 |  | 8 | 106 | 0.012874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4095-20_0_5_line_10 |  | 8 | 104 | 0.014204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4095-20_0_5_line_11 |  | 9 | 10 | 0.038504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4095-20_0_5_line_12 |  | 10 | 20 | 0.035041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4095-20_0_5_line_13 |  | 11 | 12 | 0.041389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4095-20_0_5_line_14 |  | 12 | 20 | 0.03366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4095-20_0_5_line_15 |  | 12 | 21 | 0.001001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4095-20_0_5_line_16 |  | 12 | 22 | 0.023811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4095-20_0_5_line_17 |  | 13 | 14 | 0.020014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4095-20_0_5_line_18 |  | 13 | 15 | 0.035014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4095-20_0_5_line_19 |  | 14 | 23 | 0.016797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4095-20_0_5_line_20 |  | 15 | 21 | 0.032612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4095-20_0_5_line_21 |  | 16 | 24 | 0.0017724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4095-20_0_5_line_22 |  | 17 | 18 | 0.020388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4095-20_0_5_line_23 |  | 17 | 19 | 0.011284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4095-20_0_5_line_24 |  | 18 | 25 | 0.023077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4095-20_0_5_line_25 |  | 19 | 24 | 0.019682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4095-20_0_5_line_26 |  | 22 | 72 | 0.015242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4095-20_0_5_line_27 |  | 25 | 26 | 0.01629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4095-20_0_5_line_28 |  | 26 | 35 | 0.012785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4095-20_0_5_line_29 |  | 27 | 28 | 0.035252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4095-20_0_5_line_30 |  | 28 | 29 | 0.086047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4095-20_0_5_line_31 |  | 28 | 30 | 0.027542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4095-20_0_5_line_32 |  | 29 | 31 | 0.014476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4095-20_0_5_line_33 |  | 29 | 32 | 0.047281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4095-20_0_5_line_34 |  | 31 | 33 | 0.050254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4095-20_0_5_line_35 |  | 32 | 34 | 0.0098634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4095-20_0_5_line_36 |  | 33 | 71 | 0.072284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4095-20_0_5_line_37 |  | 34 | 36 | 0.019512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4095-20_0_5_line_38 |  | 36 | 37 | 0.040224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4095-20_0_5_line_39 |  | 37 | 38 | 0.02232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4095-20_0_5_line_40 |  | 37 | 39 | 0.015986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4095-20_0_5_line_41 |  | 37 | 40 | 0.015711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_4095-20_0_5_line_42 |  | 38 | 41 | 0.021429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4095-20_0_5_line_43 |  | 39 | 42 | 0.01254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4095-20_0_5_line_44 |  | 40 | 43 | 0.018261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4095-20_0_5_line_45 |  | 41 | 44 | 0.0015617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4095-20_0_5_line_46 |  | 42 | 45 | 0.0048373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4095-20_0_5_line_47 |  | 43 | 46 | 0.013486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4095-20_0_5_line_48 |  | 43 | 47 | 0.0051188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4095-20_0_5_line_49 |  | 44 | 58 | 0.00038701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4095-20_0_5_line_50 |  | 45 | 68 | 0.024654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4095-20_0_5_line_51 |  | 45 | 69 | 0.050079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4095-20_0_5_line_52 |  | 46 | 95 | 0.022026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4095-20_0_5_line_53 |  | 47 | 61 | 0.028083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4095-20_0_5_line_54 |  | 48 | 49 | 0.032105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4095-20_0_5_line_55 |  | 48 | 50 | 0.024658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4095-20_0_5_line_56 |  | 49 | 51 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4095-20_0_5_line_57 |  | 49 | 52 | 0.066332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4095-20_0_5_line_58 |  | 51 | 53 | 0.0086492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4095-20_0_5_line_59 |  | 52 | 57 | 0.028984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4095-20_0_5_line_60 |  | 53 | 58 | 0.0081086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4095-20_0_5_line_61 |  | 54 | 55 | 0.006706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4095-20_0_5_line_62 |  | 54 | 56 | 0.015385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4095-20_0_5_line_63 |  | 55 | 59 | 0.024044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_4095-20_0_5_line_64 |  | 55 | 60 | 0.013503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4095-20_0_5_line_65 |  | 56 | 61 | 0.0040004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4095-20_0_5_line_66 |  | 57 | 62 | 0.0189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4095-20_0_5_line_67 |  | 59 | 82 | 0.014195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4095-20_0_5_line_68 |  | 62 | 63 | 0.071256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4095-20_0_5_line_69 |  | 63 | 66 | 0.023212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4095-20_0_5_line_70 |  | 64 | 65 | 0.017976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4095-20_0_5_line_71 |  | 65 | 106 | 0.017447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4095-20_0_5_line_72 |  | 66 | 67 | 0.014077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4095-20_0_5_line_73 |  | 68 | 70 | 0.023259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4095-20_0_5_line_74 |  | 72 | 73 | 0.015275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4095-20_0_5_line_75 |  | 72 | 74 | 0.012719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4095-20_0_5_line_76 |  | 73 | 77 | 0.02087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4095-20_0_5_line_77 |  | 74 | 78 | 0.021322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4095-20_0_5_line_78 |  | 75 | 76 | 0.020666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4095-20_0_5_line_79 |  | 76 | 79 | 0.028935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4095-20_0_5_line_80 |  | 76 | 80 | 0.0098616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4095-20_0_5_line_81 |  | 77 | 81 | 0.0074079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4095-20_0_5_line_82 |  | 78 | 82 | 0.0033605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4095-20_0_5_line_83 |  | 79 | 94 | 0.015647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4095-20_0_5_line_84 |  | 79 | 95 | 0.028884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_4095-20_0_5_line_85 |  | 80 | 83 | 0.019919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4095-20_0_5_line_86 |  | 81 | 105 | 0.0084331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4095-20_0_5_line_87 |  | 82 | 108 | 0.013891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4095-20_0_5_line_88 |  | 83 | 84 | 0.025027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4095-20_0_5_line_89 |  | 84 | 85 | 0.016973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4095-20_0_5_line_90 |  | 84 | 86 | 0.060418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4095-20_0_5_line_91 |  | 85 | 87 | 0.021369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4095-20_0_5_line_92 |  | 86 | 88 | 0.032557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4095-20_0_5_line_93 |  | 86 | 89 | 0.028163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4095-20_0_5_line_94 |  | 87 | 96 | 0.0012065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4095-20_0_5_line_95 |  | 88 | 90 | 0.035516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4095-20_0_5_line_96 |  | 89 | 99 | 0.032404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4095-20_0_5_line_97 |  | 90 | 101 | 0.036412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4095-20_0_5_line_98 |  | 91 | 92 | 0.023235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4095-20_0_5_line_99 |  | 91 | 93 | 0.011505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4095-20_0_5_line_100 |  | 92 | 97 | 0.023937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4095-20_0_5_line_101 |  | 92 | 100 | 0.017661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4095-20_0_5_line_102 |  | 93 | 102 | 0.021427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4095-20_0_5_line_103 |  | 94 | 103 | 0.018427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4095-20_0_5_line_104 |  | 96 | 102 | 0.0028756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4095-20_0_5_line_105 |  | 97 | 98 | 0.013604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4095-20_0_5_line_106 |  | 98 | 111 | 0.016081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4095-20_0_5_line_107 |  | 99 | 113 | 0.016831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4095-20_0_5_line_108 |  | 101 | 114 | 0.013945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4095-20_0_5_line_109 |  | 103 | 112 | 0.035583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4095-20_0_5_line_110 |  | 104 | 105 | 0.01318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4095-20_0_5_line_111 |  | 107 | 108 | 0.0010898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4095-20_0_5_line_112 |  | 107 | 109 | 0.013738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4095-20_0_5_line_113 |  | 110 | 111 | 0.010724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4095-20_0_5_trafo_78 | 0.63 MVA 20/0.4 kV | 115 | 79 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2657446.6605 | 1259033.4771 | 2657454.4042 | 1259022.601
1 | 2657446.6605 | 1259033.4771 | 2657431.1254 | 1259023.582
2 | 2657423.1138 | 1259018.479 | 2657431.1254 | 1259023.582
3 | 2657391.4681 | 1259049.6979 | 2657382.2471 | 1259036.6881 | 2657405.8531 | 1259007.4848
4 | 2657405.8531 | 1259007.4848 | 2657421.1807 | 1259017.2478
5 | 2657391.4681 | 1259049.6979 | 2657405.0503 | 1259067.4956
6 | 2657391.4681 | 1259049.6979 | 2657382.2471 | 1259036.6881 | 2657372.1988 | 1259023.4924 | 2657363.0866 | 1259011.6956 | 2657353.2036 | 1258998.546 | 2657349.6308 | 1258993.8525
7 | 2657421.1807 | 1259017.2478 | 2657423.1138 | 1259018.479
8 | 2657343.8671 | 1258857.432 | 2657347.2803 | 1258854.5995
9 | 2657343.8671 | 1258857.432 | 2657335.3122 | 1258847.812
10 | 2657343.8671 | 1258857.432 | 2657333.0572 | 1258866.6457
11 | 2657358.9069 | 1258893.0353 | 2657387.3998 | 1258867.1378
12 | 2657358.9069 | 1258893.0353 | 2657332.976 | 1258916.6042
13 | 2657308.0672 | 1258939.2441 | 2657342.566 | 1258962.1109
14 | 2657308.0672 | 1258939.2441 | 2657332.976 | 1258916.6042
15 | 2657308.0672 | 1258939.2441 | 2657308.6734 | 1258940.0407
16 | 2657308.0672 | 1258939.2441 | 2657295.8349 | 1258924.2372 | 2657293.0238 | 1258920.787
17 | 2657349.6308 | 1258993.8525 | 2657338.7241 | 1259010.6339
18 | 2657349.6308 | 1258993.8525 | 2657328.4247 | 1258965.9909
19 | 2657329.5706 | 1259024.7179 | 2657338.7241 | 1259010.6339
20 | 2657328.4247 | 1258965.9909 | 2657308.6734 | 1258940.0407
21 | 2657406.1256 | 1259068.9046 | 2657405.0503 | 1259067.4956
22 | 2657424.9413 | 1259093.4984 | 2657413.8031 | 1259101.7519 | 2657411.8418 | 1259099.5646 | 2657408.9871 | 1259101.7376
23 | 2657424.9413 | 1259093.4984 | 2657418.0679 | 1259084.5496
24 | 2657390.6242 | 1259115.715 | 2657408.9871 | 1259101.7376
25 | 2657418.0679 | 1259084.5496 | 2657417.6017 | 1259083.9426 | 2657406.1256 | 1259068.9046
26 | 2657283.4623 | 1258908.9176 | 2657287.4615 | 1258913.9599 | 2657293.0238 | 1258920.787
27 | 2657390.6242 | 1259115.715 | 2657380.6638 | 1259102.8252
28 | 2657380.6638 | 1259102.8252 | 2657372.8462 | 1259092.7085
29 | 2657013.367 | 1258938.9435 | 2657014.8592 | 1258903.7233
30 | 2657013.367 | 1258938.9435 | 2657094.8635 | 1258910.6306
31 | 2657013.367 | 1258938.9435 | 2657011.8115 | 1258966.4413
32 | 2657094.8635 | 1258910.6306 | 2657097.9132 | 1258924.7815
33 | 2657094.8635 | 1258910.6306 | 2657085.4425 | 1258883.0978 | 2657089.859 | 1258881.6282 | 2657103.3421 | 1258880.5488
34 | 2657111.6541 | 1258973.0855 | 2657108.4307 | 1258963.8886 | 2657099.5316 | 1258932.2912 | 2657097.9132 | 1258924.7815
35 | 2657113.174 | 1258879.7618 | 2657103.3421 | 1258880.5488
36 | 2657111.6541 | 1258973.0855 | 2657117.0726 | 1258988.5452 | 2657123.2467 | 1259012.6999 | 2657124.1012 | 1259039.7498 | 2657125.0913 | 1259043.5297
37 | 2657132.6536 | 1258878.6697 | 2657118.3679 | 1258879.346 | 2657113.174 | 1258879.7618
38 | 2657172.7904 | 1258879.6937 | 2657149.1906 | 1258877.8868 | 2657132.6536 | 1258878.6697
39 | 2657172.7904 | 1258879.6937 | 2657173.5934 | 1258867.5816 | 2657174.1819 | 1258857.4169
40 | 2657172.7904 | 1258879.6937 | 2657163.7786 | 1258887.8681 | 2657161.7433 | 1258891.0996
41 | 2657172.7904 | 1258879.6937 | 2657188.4809 | 1258880.5035
42 | 2657174.1819 | 1258857.4169 | 2657174.4439 | 1258852.8904 | 2657176.2736 | 1258836.0945
43 | 2657155.0599 | 1258901.7104 | 2657161.7433 | 1258891.0996
44 | 2657206.718 | 1258881.4448 | 2657188.4809 | 1258880.5035
45 | 2657176.4427 | 1258834.542 | 2657176.2736 | 1258836.0945
46 | 2657152.3817 | 1258905.7376 | 2657154.1096 | 1258903.2191 | 2657155.0599 | 1258901.7104
47 | 2657206.718 | 1258881.4448 | 2657210.5526 | 1258894.3743
48 | 2657206.718 | 1258881.4448 | 2657205.1847 | 1258876.5611
49 | 2657176.4427 | 1258834.542 | 2657176.4846 | 1258834.1572
50 | 2657152.3817 | 1258905.7376 | 2657168.699 | 1258916.9476 | 2657169.9253 | 1258921.6468
51 | 2657152.3817 | 1258905.7376 | 2657146.2116 | 1258914.7178 | 2657139.0126 | 1258917.8506 | 2657131.1146 | 1258920.7653 | 2657128.1484 | 1258925.0509 | 2657127.6269 | 1258933.0071 | 2657129.3279 | 1258942.6416
52 | 2657216.8125 | 1258915.492 | 2657214.2518 | 1258906.847 | 2657210.5526 | 1258894.3743
53 | 2657205.1847 | 1258876.5611 | 2657203.1639 | 1258870.1246 | 2657202.9664 | 1258867.1539 | 2657204.8103 | 1258865.1258 | 2657217.3807 | 1258855.8564
54 | 2657186.7235 | 1258808.4549 | 2657178.3141 | 1258797.9661 | 2657167.2952 | 1258782.9056
55 | 2657152.7351 | 1258763.0052 | 2657167.2952 | 1258782.9056
56 | 2657186.7235 | 1258808.4549 | 2657180.7276 | 1258815.78 | 2657180.1677 | 1258817.8502
57 | 2657164.2565 | 1258758.0351 | 2657183.3623 | 1258782.6261 | 2657187.6959 | 1258788.183 | 2657190.1979 | 1258791.3762 | 2657196.8622 | 1258799.9133 | 2657186.7235 | 1258808.4549
58 | 2657180.1677 | 1258817.8502 | 2657177.9095 | 1258826.1994
59 | 2657164.2565 | 1258758.0351 | 2657146.1272 | 1258735.421
60 | 2657176.4846 | 1258834.1572 | 2657176.9752 | 1258829.6537 | 2657177.9095 | 1258826.1994
61 | 2657232.7623 | 1258844.0586 | 2657236.9404 | 1258849.3138
62 | 2657232.7623 | 1258844.0586 | 2657220.5616 | 1258853.4307
63 | 2657236.9404 | 1258849.3138 | 2657238.8543 | 1258851.7341 | 2657251.2433 | 1258868.639
64 | 2657236.9404 | 1258849.3138 | 2657247.123 | 1258840.4456
65 | 2657217.3807 | 1258855.8564 | 2657217.9527 | 1258855.4347 | 2657220.5616 | 1258853.4307
66 | 2657134.3055 | 1258720.6748 | 2657146.1272 | 1258735.421
67 | 2657259.6342 | 1258880.0887 | 2657251.2433 | 1258868.639
68 | 2657080.0679 | 1258701.7937 | 2657081.8235 | 1258701.099 | 2657091.4721 | 1258697.256 | 2657109.5446 | 1258689.925 | 2657134.3055 | 1258720.6748
69 | 2657080.0679 | 1258701.7937 | 2657088.6159 | 1258723.3741
70 | 2657311.7728 | 1258821.3421 | 2657323.7182 | 1258834.7747
71 | 2657335.3122 | 1258847.812 | 2657323.7182 | 1258834.7747
72 | 2657093.8001 | 1258736.4621 | 2657088.6159 | 1258723.3741
73 | 2657169.9253 | 1258921.6468 | 2657172.0064 | 1258929.6219 | 2657184.6737 | 1258937.6878
74 | 2657283.4623 | 1258908.9176 | 2657295.0875 | 1258899.009
75 | 2657283.4623 | 1258908.9176 | 2657275.3592 | 1258899.1139
76 | 2657295.0875 | 1258899.009 | 2657310.9707 | 1258885.471
77 | 2657275.3592 | 1258899.1139 | 2657261.7751 | 1258882.6789
78 | 2657251.8332 | 1258960.2263 | 2657264.2201 | 1258943.6835
79 | 2657251.8332 | 1258960.2263 | 2657249.5176 | 1258958.0357 | 2657231.6741 | 1258939.4165
80 | 2657251.8332 | 1258960.2263 | 2657246.0068 | 1258968.1826
81 | 2657316.6086 | 1258880.6656 | 2657310.9707 | 1258885.471
82 | 2657259.6342 | 1258880.0887 | 2657261.7751 | 1258882.6789
83 | 2657231.6741 | 1258939.4165 | 2657222.3036 | 1258951.9478
84 | 2657231.6741 | 1258939.4165 | 2657220.1939 | 1258926.9077 | 2657216.8125 | 1258915.492
85 | 2657234.2383 | 1258984.253 | 2657246.0068 | 1258968.1826
86 | 2657323.0267 | 1258875.1952 | 2657316.6086 | 1258880.6656
87 | 2657259.6342 | 1258880.0887 | 2657269.9949 | 1258870.8363
88 | 2657219.4516 | 1259004.4451 | 2657234.2383 | 1258984.253
89 | 2657219.4516 | 1259004.4451 | 2657233.9934 | 1259013.198
90 | 2657183.7552 | 1259053.1908 | 2657193.9912 | 1259039.2129 | 2657219.4516 | 1259004.4451
91 | 2657233.9934 | 1259013.198 | 2657252.3019 | 1259024.2181
92 | 2657183.7552 | 1259053.1908 | 2657166.6924 | 1259080.946
93 | 2657183.7552 | 1259053.1908 | 2657177.3303 | 1259025.7703
94 | 2657253.3356 | 1259024.8403 | 2657252.3019 | 1259024.2181
95 | 2657166.6924 | 1259080.946 | 2657158.0694 | 1259046.4931
96 | 2657177.3303 | 1259025.7703 | 2657169.9378 | 1258994.2203
97 | 2657149.2287 | 1259011.1708 | 2657158.0694 | 1259046.4931
98 | 2657255.2255 | 1259067.7141 | 2657236.9344 | 1259053.3158
99 | 2657236.9344 | 1259053.3158 | 2657243.5251 | 1259043.8857
100 | 2657255.2255 | 1259067.7141 | 2657278.2564 | 1259074.4751
101 | 2657255.2255 | 1259067.7141 | 2657245.6122 | 1259082.529
102 | 2657255.7994 | 1259026.3233 | 2657243.5251 | 1259043.8857
103 | 2657211.2683 | 1258966.7056 | 2657222.3036 | 1258951.9478
104 | 2657255.7994 | 1259026.3233 | 2657253.3356 | 1259024.8403
105 | 2657278.2564 | 1259074.4751 | 2657285.6593 | 1259063.0611
106 | 2657294.4102 | 1259049.569 | 2657285.6593 | 1259063.0611
107 | 2657166.0981 | 1258977.8328 | 2657169.9378 | 1258994.2203
108 | 2657145.843 | 1258997.6433 | 2657149.2287 | 1259011.1708
109 | 2657211.2683 | 1258966.7056 | 2657195.6686 | 1258988.1147 | 2657196.2622 | 1258991.4339 | 2657201.0098 | 1258994.6932
110 | 2657333.0572 | 1258866.6457 | 2657323.0267 | 1258875.1952
111 | 2657270.8078 | 1258870.1104 | 2657269.9949 | 1258870.8363
112 | 2657281.0545 | 1258860.9599 | 2657270.8078 | 1258870.1104
113 | 2657294.4102 | 1259049.569 | 2657285.2231 | 1259044.0379

## bus_geodata
| x | y | coords
0 | 2657454.4042 | 1259022.601
1 | 2657446.6605 | 1259033.4771
2 | 2657431.1254 | 1259023.582
3 | 2657405.8531 | 1259007.4848
4 | 2657391.4681 | 1259049.6979
5 | 2657421.1807 | 1259017.2478
6 | 2657423.1138 | 1259018.479
7 | 2657347.2803 | 1258854.5995
8 | 2657343.8671 | 1258857.432
9 | 2657387.3998 | 1258867.1378
10 | 2657358.9069 | 1258893.0353
11 | 2657342.566 | 1258962.1109
12 | 2657308.0672 | 1258939.2441
13 | 2657349.6308 | 1258993.8525
14 | 2657338.7241 | 1259010.6339
15 | 2657328.4247 | 1258965.9909
16 | 2657405.0503 | 1259067.4956
17 | 2657424.9413 | 1259093.4984
18 | 2657408.9871 | 1259101.7376
19 | 2657418.0679 | 1259084.5496
20 | 2657332.976 | 1258916.6042
21 | 2657308.6734 | 1258940.0407
22 | 2657293.0238 | 1258920.787
23 | 2657329.5706 | 1259024.7179
24 | 2657406.1256 | 1259068.9046
25 | 2657390.6242 | 1259115.715
26 | 2657380.6638 | 1259102.8252
27 | 2657014.8592 | 1258903.7233
28 | 2657013.367 | 1258938.9435
29 | 2657094.8635 | 1258910.6306
30 | 2657011.8115 | 1258966.4413
31 | 2657097.9132 | 1258924.7815
32 | 2657103.3421 | 1258880.5488
33 | 2657111.6541 | 1258973.0855
34 | 2657113.174 | 1258879.7618
35 | 2657372.8462 | 1259092.7085
36 | 2657132.6536 | 1258878.6697
37 | 2657172.7904 | 1258879.6937
38 | 2657174.1819 | 1258857.4169
39 | 2657161.7433 | 1258891.0996
40 | 2657188.4809 | 1258880.5035
41 | 2657176.2736 | 1258836.0945
42 | 2657155.0599 | 1258901.7104
43 | 2657206.718 | 1258881.4448
44 | 2657176.4427 | 1258834.542
45 | 2657152.3817 | 1258905.7376
46 | 2657210.5526 | 1258894.3743
47 | 2657205.1847 | 1258876.5611
48 | 2657167.2952 | 1258782.9056
49 | 2657186.7235 | 1258808.4549
50 | 2657152.7351 | 1258763.0052
51 | 2657180.1677 | 1258817.8502
52 | 2657164.2565 | 1258758.0351
53 | 2657177.9095 | 1258826.1994
54 | 2657232.7623 | 1258844.0586
55 | 2657236.9404 | 1258849.3138
56 | 2657220.5616 | 1258853.4307
57 | 2657146.1272 | 1258735.421
58 | 2657176.4846 | 1258834.1572
59 | 2657251.2433 | 1258868.639
60 | 2657247.123 | 1258840.4456
61 | 2657217.3807 | 1258855.8564
62 | 2657134.3055 | 1258720.6748
63 | 2657080.0679 | 1258701.7937
64 | 2657311.7728 | 1258821.3421
65 | 2657323.7182 | 1258834.7747
66 | 2657088.6159 | 1258723.3741
67 | 2657093.8001 | 1258736.4621
68 | 2657169.9253 | 1258921.6468
69 | 2657129.3279 | 1258942.6416
70 | 2657184.6737 | 1258937.6878
71 | 2657125.0913 | 1259043.5297
72 | 2657283.4623 | 1258908.9176
73 | 2657295.0875 | 1258899.009
74 | 2657275.3592 | 1258899.1139
75 | 2657264.2201 | 1258943.6835
76 | 2657251.8332 | 1258960.2263
77 | 2657310.9707 | 1258885.471
78 | 2657261.7751 | 1258882.6789
79 | 2657231.6741 | 1258939.4165
80 | 2657246.0067 | 1258968.1826
81 | 2657316.6086 | 1258880.6656
82 | 2657259.6342 | 1258880.0887
83 | 2657234.2383 | 1258984.253
84 | 2657219.4516 | 1259004.4451
85 | 2657233.9934 | 1259013.198
86 | 2657183.7552 | 1259053.1908
87 | 2657252.3019 | 1259024.2181
88 | 2657166.6924 | 1259080.946
89 | 2657177.3303 | 1259025.7703
90 | 2657158.0694 | 1259046.4931
91 | 2657236.9344 | 1259053.3158
92 | 2657255.2255 | 1259067.7141
93 | 2657243.5251 | 1259043.8857
94 | 2657222.3036 | 1258951.9478
95 | 2657216.8125 | 1258915.492
96 | 2657253.3356 | 1259024.8403
97 | 2657278.2564 | 1259074.4751
98 | 2657285.6593 | 1259063.0611
99 | 2657169.9378 | 1258994.2203
100 | 2657245.6122 | 1259082.529
101 | 2657149.2287 | 1259011.1708
102 | 2657255.7994 | 1259026.3233
103 | 2657211.2683 | 1258966.7056
104 | 2657333.0572 | 1258866.6457
105 | 2657323.0267 | 1258875.1952
106 | 2657335.3122 | 1258847.812
107 | 2657270.8078 | 1258870.1104
108 | 2657269.9949 | 1258870.8363
109 | 2657281.0545 | 1258860.9599
110 | 2657285.2231 | 1259044.0379
111 | 2657294.4102 | 1259049.569
112 | 2657201.0098 | 1258994.6932
113 | 2657166.0981 | 1258977.8328
114 | 2657145.843 | 1258997.6433
115 | 2657251.8332 | 1258960.2263

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1