## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4095-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4095-23_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4095-23_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4095-23_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4095-23_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4095-23_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4095-23_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4095-23_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_4095-23_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4095-23_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_4095-23_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4095-23_0_3_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_4095-23_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_4095-23_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_4095-23_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_4095-23_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4095-23_0_3_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_4095-23_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_4095-23_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_4095-23_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4095-23_0_3_node_74 | 0.4 | n |  | TRUE
21 | bus_LV_4095-23_0_3_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_4095-23_0_3_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_4095-23_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_4095-23_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_4095-23_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_4095-23_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_4095-23_0_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_4095-23_0_3_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_4095-23_0_3_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_4095-23_0_3_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_4095-23_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_4095-23_0_3_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_4095-23_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4095-23_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4095-23_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_4095-23_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_4095-23_0_3_node_48 | 0.4 | n |  | TRUE
38 | bus_LV_4095-23_0_3_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_4095-23_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_4095-23_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_4095-23_0_3_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_4095-23_0_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_4095-23_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_4095-23_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_4095-23_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_4095-23_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_4095-23_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_4095-23_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_4095-23_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4095-23_0_3_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_4095-23_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_4095-23_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_4095-23_0_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_4095-23_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_4095-23_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_4095-23_0_3_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_4095-23_0_3_node_63 | 0.4 | n |  | TRUE
58 | bus_LV_4095-23_0_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_4095-23_0_3_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_4095-23_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_4095-23_0_3_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_4095-23_0_3_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_4095-23_0_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_4095-23_0_3_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_4095-23_0_3_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_4095-23_0_3_node_69 | 0.4 | n |  | TRUE
67 | bus_MV_430_1_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4095-23_0_3_load_0 | 0 | 0.015989 | 0.0040072 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4095-23_0_3_load_1 | 1 | 0.0064066 | 0.0016057 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4095-23_0_3_load_5 | 4 | 0.0034255 | 0.00085851 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4095-23_0_3_load_8 | 5 | 0.0058651 | 0.0014699 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4095-23_0_3_load_6 | 6 | 0.018696 | 0.0046857 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4095-23_0_3_load_9 | 10 | 0.016892 | 0.0042336 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4095-23_0_3_load_71 | 11 | 0.010743 | 0.0026925 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4095-23_0_3_load_18 | 13 | 0.0026025 | 0.00065226 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4095-23_0_3_load_13 | 15 | 0.00096821 | 0.00024266 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4095-23_0_3_load_40 | 16 | 0.00080313 | 0.00020128 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4095-23_0_3_load_74 | 20 | 0.0007747 | 0.00019416 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4095-23_0_3_load_29 | 21 | 0.0011341 | 0.00028424 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4095-23_0_3_load_73 | 22 | 0.0014172 | 0.00035519 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4095-23_0_3_load_28 | 23 | 0.0024273 | 0.00060833 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4095-23_0_3_load_21 | 24 | 0.0030395 | 0.00076177 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4095-23_0_3_load_22 | 25 | 0.0088887 | 0.0022277 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4095-23_0_3_load_72 | 28 | 0.0040788 | 0.0010222 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4095-23_0_3_load_26 | 31 | 0.0025456 | 0.00063798 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4095-23_0_3_load_62 | 32 | 0.013205 | 0.0033095 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4095-23_0_3_load_23 | 33 | 0.0044011 | 0.001103 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4095-23_0_3_load_24 | 34 | 0.005314 | 0.0013318 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4095-23_0_3_load_25 | 35 | 0.0038355 | 0.00096127 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4095-23_0_3_load_27 | 36 | 0.011954 | 0.0029959 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4095-23_0_3_load_48 | 37 | 0.0027405 | 0.00068685 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4095-23_0_3_load_49 | 38 | 0.0074983 | 0.0018793 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4095-23_0_3_load_32 | 40 | 0.0012302 | 0.00030831 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4095-23_0_3_load_41 | 43 | 0.0017271 | 0.00043285 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4095-23_0_3_load_34 | 44 | 0.0053998 | 0.0013533 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4095-23_0_3_load_35 | 45 | 0.0023781 | 0.00059602 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4095-23_0_3_load_37 | 47 | 0.0019237 | 0.00048212 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4095-23_0_3_load_38 | 48 | 0.0025213 | 0.00063191 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4095-23_0_3_load_39 | 49 | 0.0033395 | 0.00083696 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4095-23_0_3_load_60 | 50 | 0.0021372 | 0.00053564 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4095-23_0_3_load_46 | 51 | 0.002015 | 0.000505 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4095-23_0_3_load_52 | 52 | 0.001579 | 0.00039573 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4095-23_0_3_load_59 | 53 | 0.0028168 | 0.00070597 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4095-23_0_3_load_47 | 54 | 0.0033105 | 0.00082968 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4095-23_0_3_load_42 | 55 | 0.0016749 | 0.00041977 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4095-23_0_3_load_61 | 56 | 0.0024492 | 0.00061383 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4095-23_0_3_load_50 | 58 | 0.0025269 | 0.00063329 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4095-23_0_3_load_51 | 59 | 0.0021024 | 0.00052691 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4095-23_0_3_load_53 | 60 | 0.0018117 | 0.00045405 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4095-23_0_3_load_54 | 61 | 0.0023455 | 0.00058784 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4095-23_0_3_load_55 | 62 | 0.0017424 | 0.00043667 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4095-23_0_3_load_66 | 64 | 0.010005 | 0.0025074 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4095-23_0_3_load_69 | 66 | 0.0081669 | 0.0020468 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4095-23_0_3_line_0 |  | 0 | 1 | 0.039013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4095-23_0_3_line_1 |  | 0 | 2 | 0.016254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4095-23_0_3_line_2 |  | 1 | 3 | 0.038024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4095-23_0_3_line_3 |  | 2 | 4 | 0.046515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4095-23_0_3_line_4 |  | 3 | 5 | 0.0279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4095-23_0_3_line_5 |  | 3 | 6 | 0.01915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4095-23_0_3_line_6 |  | 5 | 7 | 0.03702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4095-23_0_3_line_7 |  | 7 | 12 | 0.028137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4095-23_0_3_line_8 |  | 7 | 10 | 0.0056579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4095-23_0_3_line_9 |  | 8 | 9 | 0.018944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4095-23_0_3_line_10 |  | 8 | 10 | 0.017254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4095-23_0_3_line_11 |  | 9 | 11 | 0.029746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4095-23_0_3_line_12 |  | 12 | 13 | 0.013069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4095-23_0_3_line_13 |  | 13 | 14 | 0.020858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4095-23_0_3_line_14 |  | 14 | 24 | 0.0022471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4095-23_0_3_line_15 |  | 14 | 25 | 0.023932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4095-23_0_3_line_16 |  | 15 | 16 | 0.1022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4095-23_0_3_line_17 |  | 16 | 17 | 0.0063518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4095-23_0_3_line_18 |  | 17 | 21 | 0.016717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4095-23_0_3_line_19 |  | 17 | 18 | 0.030299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4095-23_0_3_line_20 |  | 18 | 19 | 0.005069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4095-23_0_3_line_21 |  | 19 | 20 | 0.027059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4095-23_0_3_line_22 |  | 20 | 22 | 0.027236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4095-23_0_3_line_23 |  | 21 | 23 | 0.010741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4095-23_0_3_line_24 |  | 23 | 39 | 0.028382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4095-23_0_3_line_25 |  | 24 | 26 | 0.035567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4095-23_0_3_line_26 |  | 25 | 27 | 0.017344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4095-23_0_3_line_27 |  | 26 | 30 | 0.022342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4095-23_0_3_line_28 |  | 26 | 31 | 0.013379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4095-23_0_3_line_29 |  | 27 | 32 | 0.005677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4095-23_0_3_line_30 |  | 28 | 29 | 0.0063326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4095-23_0_3_line_31 |  | 29 | 63 | 0.010064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4095-23_0_3_line_32 |  | 29 | 57 | 0.031837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4095-23_0_3_line_33 |  | 30 | 43 | 0.012553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4095-23_0_3_line_34 |  | 31 | 34 | 0.0076238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4095-23_0_3_line_35 |  | 32 | 56 | 0.019371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4095-23_0_3_line_36 |  | 33 | 34 | 0.017762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4095-23_0_3_line_37 |  | 33 | 35 | 0.017348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4095-23_0_3_line_38 |  | 35 | 36 | 0.01762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4095-23_0_3_line_39 |  | 36 | 37 | 0.016374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4095-23_0_3_line_40 |  | 37 | 38 | 0.01081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4095-23_0_3_line_41 |  | 38 | 59 | 0.0079312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4095-23_0_3_line_42 |  | 39 | 40 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4095-23_0_3_line_43 |  | 40 | 41 | 0.0021686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4095-23_0_3_line_44 |  | 41 | 42 | 0.024588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4095-23_0_3_line_45 |  | 42 | 53 | 0.021541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4095-23_0_3_line_46 |  | 42 | 62 | 0.017282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4095-23_0_3_line_47 |  | 43 | 55 | 0.02184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4095-23_0_3_line_48 |  | 44 | 45 | 0.001105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4095-23_0_3_line_49 |  | 44 | 46 | 0.012757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4095-23_0_3_line_50 |  | 45 | 47 | 0.0076774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4095-23_0_3_line_51 |  | 46 | 48 | 0.0057638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4095-23_0_3_line_52 |  | 46 | 49 | 0.016003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4095-23_0_3_line_53 |  | 47 | 50 | 0.009265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4095-23_0_3_line_54 |  | 48 | 51 | 0.0081088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4095-23_0_3_line_55 |  | 49 | 52 | 0.0074956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4095-23_0_3_line_56 |  | 50 | 53 | 0.0047122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4095-23_0_3_line_57 |  | 51 | 54 | 0.0081653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4095-23_0_3_line_58 |  | 54 | 58 | 0.0040969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4095-23_0_3_line_59 |  | 56 | 57 | 0.014915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4095-23_0_3_line_60 |  | 58 | 59 | 0.0058953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4095-23_0_3_line_61 |  | 60 | 61 | 0.015438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4095-23_0_3_line_62 |  | 61 | 62 | 0.0033016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4095-23_0_3_line_63 |  | 63 | 64 | 0.018803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4095-23_0_3_line_64 |  | 64 | 65 | 0.015509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4095-23_0_3_line_65 |  | 65 | 66 | 0.023223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4095-23_0_3_trafo_8 | 0.63 MVA 20/0.4 kV | 67 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2657151.0325 | 1259265.714 | 2657127.9128 | 1259258.6216 | 2657131.9785 | 1259244.3601
1 | 2657166.5722 | 1259270.481 | 2657151.0325 | 1259265.714
2 | 2657153.2201 | 1259226.2981 | 2657149.8816 | 1259237.1404 | 2657135.114 | 1259233.3618 | 2657131.9785 | 1259244.3601
3 | 2657166.5722 | 1259270.481 | 2657142.0089 | 1259308.5046 | 2657141.5344 | 1259309.6588
4 | 2657153.2201 | 1259226.2981 | 2657161.4375 | 1259199.6361
5 | 2657153.2201 | 1259226.2981 | 2657171.625 | 1259231.5897
6 | 2657189.0846 | 1259195.122 | 2657187.1679 | 1259194.5587 | 2657185.5006 | 1259200.1688 | 2657168.1894 | 1259195.1647 | 2657166.4759 | 1259200.8745 | 2657161.4375 | 1259199.6361
7 | 2657197.6351 | 1259168.3409 | 2657192.2456 | 1259183.1439 | 2657190.6833 | 1259188.8107 | 2657189.0846 | 1259195.122
8 | 2657189.0846 | 1259195.122 | 2657194.508 | 1259196.7341
9 | 2657221.0695 | 1259185.5575 | 2657211.0469 | 1259201.65
10 | 2657211.0469 | 1259201.65 | 2657194.508 | 1259196.7341
11 | 2657221.0695 | 1259185.5575 | 2657227.0851 | 1259182.4023 | 2657239.5935 | 1259163.1574
12 | 2657197.6351 | 1259168.3409 | 2657186.7027 | 1259161.179
13 | 2657169.07 | 1259150.0519 | 2657174.1376 | 1259152.9474 | 2657186.7027 | 1259161.179
14 | 2657169.07 | 1259150.0519 | 2657167.1776 | 1259148.8403
15 | 2657169.07 | 1259150.0519 | 2657180.6089 | 1259132.2728 | 2657179.2972 | 1259130.7257 | 2657179.6714 | 1259130.124
16 | 2656982.92 | 1259247.6692 | 2656974.9882 | 1259145.779
17 | 2656978.5267 | 1259251.944 | 2656981.6023 | 1259248.0152 | 2656982.92 | 1259247.6692
18 | 2656978.5267 | 1259251.944 | 2656988.4601 | 1259258.3442 | 2656992.2336 | 1259261.4704
19 | 2656949.0784 | 1259244.7333 | 2656954.5381 | 1259245.2751 | 2656978.5267 | 1259251.944
20 | 2656949.0784 | 1259244.7333 | 2656944.0867 | 1259245.6971
21 | 2656944.0867 | 1259245.6971 | 2656949.6734 | 1259272.1733
22 | 2656974.5982 | 1259280.8589 | 2656974.4955 | 1259280.7592 | 2656967.6008 | 1259276.601 | 2656959.0784 | 1259273.9727 | 2656949.8466 | 1259272.9943 | 2656949.6734 | 1259272.1733
23 | 2656999.7994 | 1259269.0073 | 2656997.015 | 1259265.4316 | 2656992.2336 | 1259261.4704
24 | 2657017.2371 | 1259291.4005 | 2656999.7994 | 1259269.0073
25 | 2657137.2235 | 1259129.6632 | 2657167.1776 | 1259148.8403
26 | 2657188.83 | 1259115.3956 | 2657179.6714 | 1259130.124
27 | 2657137.2235 | 1259129.6632 | 2657148.8429 | 1259110.5616
28 | 2657137.2235 | 1259129.6632 | 2657130.8983 | 1259141.4523
29 | 2657188.83 | 1259115.3956 | 2657192.3257 | 1259110.915
30 | 2657235.5428 | 1259106.7852 | 2657232.0637 | 1259112.0765
31 | 2657241.0891 | 1259098.3772 | 2657235.5428 | 1259106.7852
32 | 2657235.5428 | 1259106.7852 | 2657226.9452 | 1259097.8846 | 2657213.4218 | 1259083.8883
33 | 2657148.8429 | 1259110.5616 | 2657138.7436 | 1259103.1068
34 | 2657130.8983 | 1259141.4523 | 2657127.294 | 1259148.1703
35 | 2657192.3257 | 1259110.915 | 2657204.2447 | 1259095.6454
36 | 2657118.8966 | 1259163.8218 | 2657127.294 | 1259148.1703
37 | 2657110.6947 | 1259179.1089 | 2657118.8966 | 1259163.8218
38 | 2657102.3642 | 1259194.6358 | 2657110.6947 | 1259179.1089
39 | 2657102.3642 | 1259194.6358 | 2657094.6228 | 1259209.0645
40 | 2657094.6228 | 1259209.0645 | 2657093.0024 | 1259212.0847 | 2657088.6759 | 1259218.0661
41 | 2657084.0275 | 1259224.4924 | 2657088.6759 | 1259218.0661
42 | 2657017.2371 | 1259291.4005 | 2657028.3746 | 1259299.4098
43 | 2657030.1352 | 1259300.6759 | 2657028.3746 | 1259299.4098
44 | 2657030.1352 | 1259300.6759 | 2657038.635 | 1259305.6391 | 2657053.4442 | 1259305.882
45 | 2657053.4442 | 1259305.882 | 2657054.4862 | 1259288.4906 | 2657055.2344 | 1259284.4403
46 | 2657053.4442 | 1259305.882 | 2657062.4783 | 1259303.1226 | 2657070.3019 | 1259303.5685
47 | 2657138.7436 | 1259103.1068 | 2657136.0219 | 1259101.0977 | 2657134.7335 | 1259082.6856
48 | 2657060.7998 | 1259263.5713 | 2657061.155 | 1259262.5249
49 | 2657065.2552 | 1259250.4448 | 2657061.155 | 1259262.5249
50 | 2657058.3322 | 1259270.8413 | 2657060.7998 | 1259263.5713
51 | 2657065.2552 | 1259250.4448 | 2657068.6333 | 1259245.7747
52 | 2657065.2552 | 1259250.4448 | 2657059.6624 | 1259247.2998 | 2657052.2057 | 1259242.8025 | 2657051.3782 | 1259242.5086
53 | 2657056.0904 | 1259279.8065 | 2657057.0471 | 1259274.6275 | 2657058.3322 | 1259270.8413
54 | 2657068.6333 | 1259245.7747 | 2657073.3857 | 1259239.2045
55 | 2657044.3147 | 1259240.0001 | 2657051.3782 | 1259242.5086
56 | 2657055.2344 | 1259284.4403 | 2657056.0904 | 1259279.8065
57 | 2657078.1712 | 1259232.5886 | 2657073.3857 | 1259239.2045
58 | 2657078.1712 | 1259232.5886 | 2657080.5724 | 1259229.2691
59 | 2657213.4218 | 1259083.8883 | 2657204.2447 | 1259095.6454
60 | 2657084.0275 | 1259224.4924 | 2657080.5724 | 1259229.2691
61 | 2657089.0113 | 1259304.635 | 2657089.0113 | 1259304.635 | 2657073.5981 | 1259303.7564
62 | 2657070.3019 | 1259303.5685 | 2657073.5981 | 1259303.7564
63 | 2657241.0891 | 1259098.3772 | 2657255.4461 | 1259110.5201
64 | 2657267.2876 | 1259120.5354 | 2657255.4461 | 1259110.5201
65 | 2657267.2876 | 1259120.5354 | 2657279.9284 | 1259101.0547

## bus_geodata
| x | y | coords
0 | 2657151.0325 | 1259265.714
1 | 2657131.9785 | 1259244.3601
2 | 2657166.5722 | 1259270.481
3 | 2657153.2201 | 1259226.2981
4 | 2657141.5344 | 1259309.6588
5 | 2657161.4375 | 1259199.6361
6 | 2657171.625 | 1259231.5897
7 | 2657189.0846 | 1259195.122
8 | 2657211.0469 | 1259201.65
9 | 2657221.0695 | 1259185.5575
10 | 2657194.508 | 1259196.7341
11 | 2657239.5935 | 1259163.1574
12 | 2657197.6351 | 1259168.3409
13 | 2657186.7027 | 1259161.179
14 | 2657169.07 | 1259150.0519
15 | 2656974.9882 | 1259145.779
16 | 2656982.92 | 1259247.6692
17 | 2656978.5267 | 1259251.944
18 | 2656949.0784 | 1259244.7333
19 | 2656944.0867 | 1259245.6971
20 | 2656949.6734 | 1259272.1733
21 | 2656992.2336 | 1259261.4704
22 | 2656974.5982 | 1259280.8589
23 | 2656999.7994 | 1259269.0073
24 | 2657167.1776 | 1259148.8403
25 | 2657179.6714 | 1259130.124
26 | 2657137.2235 | 1259129.6632
27 | 2657188.83 | 1259115.3956
28 | 2657232.0637 | 1259112.0765
29 | 2657235.5428 | 1259106.7852
30 | 2657148.8429 | 1259110.5616
31 | 2657130.8983 | 1259141.4523
32 | 2657192.3257 | 1259110.915
33 | 2657118.8966 | 1259163.8218
34 | 2657127.294 | 1259148.1703
35 | 2657110.6947 | 1259179.1089
36 | 2657102.3642 | 1259194.6358
37 | 2657094.6228 | 1259209.0645
38 | 2657088.6759 | 1259218.0661
39 | 2657017.2371 | 1259291.4005
40 | 2657028.3746 | 1259299.4098
41 | 2657030.1352 | 1259300.6759
42 | 2657053.4442 | 1259305.882
43 | 2657138.7436 | 1259103.1068
44 | 2657061.155 | 1259262.5249
45 | 2657060.7998 | 1259263.5713
46 | 2657065.2552 | 1259250.4448
47 | 2657058.3322 | 1259270.8413
48 | 2657068.6333 | 1259245.7747
49 | 2657051.3782 | 1259242.5086
50 | 2657056.0904 | 1259279.8065
51 | 2657073.3857 | 1259239.2045
52 | 2657044.3147 | 1259240.0001
53 | 2657055.2344 | 1259284.4403
54 | 2657078.1712 | 1259232.5886
55 | 2657134.7335 | 1259082.6856
56 | 2657204.2447 | 1259095.6454
57 | 2657213.4218 | 1259083.8883
58 | 2657080.5724 | 1259229.269
59 | 2657084.0275 | 1259224.4924
60 | 2657089.0113 | 1259304.635
61 | 2657073.5981 | 1259303.7564
62 | 2657070.3019 | 1259303.5685
63 | 2657241.0891 | 1259098.3772
64 | 2657255.4461 | 1259110.5201
65 | 2657267.2876 | 1259120.5354
66 | 2657279.9284 | 1259101.0547
67 | 2657153.2201 | 1259226.2981

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1