## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4095-25_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4095-25_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4095-25_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4095-25_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4095-25_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4095-25_0_6_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_4095-25_0_6_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_4095-25_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4095-25_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4095-25_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4095-25_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4095-25_0_6_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_4095-25_0_6_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_4095-25_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4095-25_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_4095-25_0_6_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_4095-25_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4095-25_0_6_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_4095-25_0_6_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_4095-25_0_6_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_4095-25_0_6_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4095-25_0_6_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4095-25_0_6_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4095-25_0_6_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_4095-25_0_6_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_4095-25_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_4095-25_0_6_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_4095-25_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_4095-25_0_6_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_4095-25_0_6_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4095-25_0_6_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_4095-25_0_6_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_4095-25_0_6_node_64 | 0.4 | n |  | TRUE
33 | bus_LV_4095-25_0_6_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4095-25_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4095-25_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4095-25_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4095-25_0_6_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_4095-25_0_6_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_4095-25_0_6_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_4095-25_0_6_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_4095-25_0_6_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_4095-25_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4095-25_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4095-25_0_6_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4095-25_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_4095-25_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4095-25_0_6_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_4095-25_0_6_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_4095-25_0_6_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_4095-25_0_6_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_4095-25_0_6_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_4095-25_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4095-25_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_4095-25_0_6_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_4095-25_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4095-25_0_6_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_4095-25_0_6_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_4095-25_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_4095-25_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4095-25_0_6_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_4095-25_0_6_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_4095-25_0_6_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_4095-25_0_6_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_4095-25_0_6_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_4095-25_0_6_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_4095-25_0_6_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_4095-25_0_6_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_4095-25_0_6_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_4095-25_0_6_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_4095-25_0_6_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_4095-25_0_6_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_4095-25_0_6_node_94 | 0.4 | n |  | TRUE
73 | bus_LV_4095-25_0_6_node_91 | 0.4 | n |  | TRUE
74 | bus_LV_4095-25_0_6_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_4095-25_0_6_node_90 | 0.4 | n |  | TRUE
76 | bus_LV_4095-25_0_6_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_4095-25_0_6_node_87 | 0.4 | n |  | TRUE
78 | bus_LV_4095-25_0_6_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_4095-25_0_6_node_86 | 0.4 | n |  | TRUE
80 | bus_LV_4095-25_0_6_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_4095-25_0_6_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_4095-25_0_6_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_4095-25_0_6_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_4095-25_0_6_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_4095-25_0_6_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_4095-25_0_6_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_4095-25_0_6_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_4095-25_0_6_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_4095-25_0_6_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_4095-25_0_6_node_81 | 0.4 | n |  | TRUE
91 | bus_MV_430_1_node_185 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4095-25_0_6_load_0 | 0 | 0.017253 | 0.0043239 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4095-25_0_6_load_1 | 1 | 0.017274 | 0.0043292 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4095-25_0_6_load_3 | 3 | 0.01543 | 0.0038671 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4095-25_0_6_load_4 | 4 | 0.030948 | 0.0077564 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4095-25_0_6_load_9 | 5 | 0.00513 | 0.0012857 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4095-25_0_6_load_10 | 6 | 0.0016627 | 0.00041671 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4095-25_0_6_load_5 | 7 | 0.0020434 | 0.00051212 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4095-25_0_6_load_6 | 8 | 0.0014744 | 0.00036952 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4095-25_0_6_load_7 | 9 | 0.0013307 | 0.00033351 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4095-25_0_6_load_8 | 10 | 0.0016128 | 0.00040421 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4095-25_0_6_load_13 | 11 | 0.003481 | 0.00087242 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4095-25_0_6_load_15 | 12 | 0.0016449 | 0.00041225 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4095-25_0_6_load_11 | 13 | 0.0033525 | 0.00084021 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4095-25_0_6_load_12 | 16 | 0.002987 | 0.0007486 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4095-25_0_6_load_17 | 17 | 0.0019835 | 0.00049712 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4095-25_0_6_load_66 | 18 | 0.00068977 | 0.00017287 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4095-25_0_6_load_67 | 19 | 0.0036021 | 0.00090277 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4095-25_0_6_load_19 | 21 | 0.0010063 | 0.00025219 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4095-25_0_6_load_20 | 22 | 0.0022434 | 0.00056224 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4095-25_0_6_load_21 | 25 | 0.00082959 | 0.00020792 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4095-25_0_6_load_22 | 26 | 0.0015351 | 0.00038472 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4095-25_0_6_load_23 | 27 | 0.00098434 | 0.0002467 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4095-25_0_6_load_24 | 28 | 0.0015439 | 0.00038693 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4095-25_0_6_load_25 | 29 | 0.00099533 | 0.00024945 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4095-25_0_6_load_69 | 30 | 0.0009947 | 0.0002493 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4095-25_0_6_load_71 | 31 | 0.00098447 | 0.00024673 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4095-25_0_6_load_26 | 33 | 0.0031432 | 0.00078776 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4095-25_0_6_load_27 | 34 | 0.0019726 | 0.00049439 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4095-25_0_6_load_28 | 35 | 0.0026469 | 0.00066336 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4095-25_0_6_load_29 | 36 | 0.0020318 | 0.00050923 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4095-25_0_6_load_30 | 37 | 0.0016521 | 0.00041406 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4095-25_0_6_load_41 | 38 | 0.0019734 | 0.00049458 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4095-25_0_6_load_60 | 39 | 0.010893 | 0.0027301 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4095-25_0_6_load_61 | 41 | 0.0028008 | 0.00070194 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4095-25_0_6_load_31 | 42 | 0.001957 | 0.00049046 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4095-25_0_6_load_32 | 43 | 0.0094209 | 0.0023611 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4095-25_0_6_load_33 | 44 | 0.0014101 | 0.0003534 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4095-25_0_6_load_34 | 45 | 0.0014113 | 0.00035369 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4095-25_0_6_load_35 | 46 | 0.00164 | 0.00041103 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4095-25_0_6_load_63 | 47 | 0.003205 | 0.00080326 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4095-25_0_6_load_68 | 48 | 0.0095731 | 0.0023993 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4095-25_0_6_load_52 | 49 | 0.0075905 | 0.0019024 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4095-25_0_6_load_36 | 50 | 0.0013328 | 0.00033403 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4095-25_0_6_load_37 | 51 | 0.0076415 | 0.0019152 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4095-25_0_6_load_39 | 52 | 0.0085301 | 0.0021378 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4095-25_0_6_load_40 | 53 | 0.0083921 | 0.0021032 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4095-25_0_6_load_47 | 55 | 0.0016549 | 0.00041476 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4095-25_0_6_load_56 | 56 | 0.010912 | 0.0027348 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4095-25_0_6_load_48 | 58 | 0.0058805 | 0.0014738 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4095-25_0_6_load_42 | 59 | 0.0028616 | 0.00071719 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4095-25_0_6_load_43 | 60 | 0.0026631 | 0.00066745 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4095-25_0_6_load_44 | 61 | 0.002664 | 0.00066766 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4095-25_0_6_load_45 | 62 | 0.0069108 | 0.001732 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4095-25_0_6_load_58 | 64 | 0.0049877 | 0.00125 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4095-25_0_6_load_75 | 65 | 0.0017595 | 0.00044096 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4095-25_0_6_load_73 | 66 | 0.0016532 | 0.00041433 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4095-25_0_6_load_74 | 67 | 0.0022087 | 0.00055355 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4095-25_0_6_load_83 | 68 | 0.0015862 | 0.00039754 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4095-25_0_6_load_49 | 69 | 0.0039773 | 0.00099679 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4095-25_0_6_load_50 | 70 | 0.0081547 | 0.0020438 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4095-25_0_6_load_94 | 72 | 0.024055 | 0.0060288 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4095-25_0_6_load_91 | 73 | 0.014037 | 0.003518 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4095-25_0_6_load_90 | 75 | 0.014042 | 0.0035192 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4095-25_0_6_load_55 | 76 | 0.0086698 | 0.0021729 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4095-25_0_6_load_87 | 77 | 0.012903 | 0.0032337 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4095-25_0_6_load_88 | 78 | 0.010908 | 0.0027338 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4095-25_0_6_load_86 | 79 | 0.014034 | 0.0035173 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4095-25_0_6_load_93 | 80 | 0.0017017 | 0.00042649 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4095-25_0_6_load_85 | 81 | 0.0016098 | 0.00040344 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4095-25_0_6_load_62 | 82 | 0.0022016 | 0.00055178 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4095-25_0_6_load_70 | 83 | 0.00082922 | 0.00020782 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4095-25_0_6_load_72 | 84 | 0.00066528 | 0.00016674 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4095-25_0_6_load_84 | 85 | 0.0018188 | 0.00045584 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4095-25_0_6_load_76 | 86 | 0.011982 | 0.003003 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4095-25_0_6_load_77 | 87 | 0.011989 | 0.0030048 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4095-25_0_6_load_78 | 88 | 0.010475 | 0.0026253 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4095-25_0_6_load_80 | 89 | 0.012594 | 0.0031564 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4095-25_0_6_load_81 | 90 | 0.014042 | 0.0035192 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4095-25_0_6_line_0 |  | 0 | 1 | 0.0049877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4095-25_0_6_line_1 |  | 1 | 2 | 0.021127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4095-25_0_6_line_2 |  | 2 | 3 | 0.011283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4095-25_0_6_line_3 |  | 2 | 4 | 0.014649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4095-25_0_6_line_4 |  | 3 | 5 | 0.078408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4095-25_0_6_line_5 |  | 5 | 6 | 0.031379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_4095-25_0_6_line_6 |  | 6 | 14 | 0.024665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4095-25_0_6_line_7 |  | 7 | 8 | 0.005885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4095-25_0_6_line_8 |  | 7 | 9 | 0.0046294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4095-25_0_6_line_9 |  | 9 | 10 | 0.018085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4095-25_0_6_line_10 |  | 10 | 11 | 0.028652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4095-25_0_6_line_11 |  | 11 | 12 | 0.041811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_4095-25_0_6_line_12 |  | 11 | 13 | 0.011094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4095-25_0_6_line_13 |  | 12 | 18 | 0.0095783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4095-25_0_6_line_14 |  | 13 | 16 | 0.032256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_4095-25_0_6_line_15 |  | 14 | 15 | 0.083836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4095-25_0_6_line_16 |  | 15 | 17 | 0.015733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4095-25_0_6_line_17 |  | 15 | 16 | 0.030605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4095-25_0_6_line_18 |  | 18 | 19 | 0.036423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_4095-25_0_6_line_19 |  | 19 | 21 | 0.041798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4095-25_0_6_line_20 |  | 20 | 21 | 0.004798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4095-25_0_6_line_21 |  | 20 | 22 | 0.016267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4095-25_0_6_line_22 |  | 22 | 23 | 0.023925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4095-25_0_6_line_23 |  | 23 | 24 | 0.073096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4095-25_0_6_line_24 |  | 24 | 32 | 0.05657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4095-25_0_6_line_25 |  | 24 | 29 | 0.036362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4095-25_0_6_line_26 |  | 25 | 26 | 0.0059315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4095-25_0_6_line_27 |  | 25 | 27 | 0.0014537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4095-25_0_6_line_28 |  | 26 | 28 | 0.010823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4095-25_0_6_line_29 |  | 27 | 29 | 0.00027314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4095-25_0_6_line_30 |  | 28 | 30 | 0.0045097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4095-25_0_6_line_31 |  | 30 | 31 | 2.3324e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4095-25_0_6_line_32 |  | 31 | 83 | 0.00083609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4095-25_0_6_line_33 |  | 32 | 47 | 0.044448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4095-25_0_6_line_34 |  | 33 | 34 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4095-25_0_6_line_35 |  | 33 | 35 | 0.0059377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4095-25_0_6_line_36 |  | 34 | 36 | 0.014629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4095-25_0_6_line_37 |  | 35 | 37 | 0.022474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4095-25_0_6_line_38 |  | 36 | 38 | 0.0033908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4095-25_0_6_line_39 |  | 37 | 39 | 0.0084812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4095-25_0_6_line_40 |  | 38 | 40 | 0.012731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4095-25_0_6_line_41 |  | 39 | 41 | 0.018251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4095-25_0_6_line_42 |  | 40 | 53 | 0.017262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4095-25_0_6_line_43 |  | 40 | 50 | 0.0064145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4095-25_0_6_line_44 |  | 41 | 82 | 0.0037314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4095-25_0_6_line_45 |  | 42 | 43 | 0.01562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_4095-25_0_6_line_46 |  | 42 | 44 | 0.011352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4095-25_0_6_line_47 |  | 43 | 45 | 0.001542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4095-25_0_6_line_48 |  | 44 | 46 | 0.0010616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4095-25_0_6_line_49 |  | 45 | 47 | 0.011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4095-25_0_6_line_50 |  | 46 | 48 | 0.015139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4095-25_0_6_line_51 |  | 48 | 49 | 0.0016818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4095-25_0_6_line_52 |  | 49 | 70 | 0.0021779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4095-25_0_6_line_53 |  | 50 | 51 | 0.023582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4095-25_0_6_line_54 |  | 51 | 52 | 0.0035444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4095-25_0_6_line_55 |  | 52 | 54 | 0.018257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4095-25_0_6_line_56 |  | 53 | 55 | 0.014538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4095-25_0_6_line_57 |  | 54 | 56 | 0.021868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4095-25_0_6_line_58 |  | 54 | 57 | 0.062566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4095-25_0_6_line_59 |  | 55 | 58 | 0.003551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4095-25_0_6_line_60 |  | 56 | 76 | 0.020692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4095-25_0_6_line_61 |  | 57 | 71 | 0.019037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_4095-25_0_6_line_62 |  | 57 | 69 | 0.011021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4095-25_0_6_line_63 |  | 59 | 60 | 0.015147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4095-25_0_6_line_64 |  | 59 | 61 | 0.0059228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4095-25_0_6_line_65 |  | 60 | 62 | 0.021687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4095-25_0_6_line_66 |  | 61 | 63 | 0.010297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4095-25_0_6_line_67 |  | 62 | 64 | 0.024117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4095-25_0_6_line_68 |  | 63 | 65 | 0.007912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4095-25_0_6_line_69 |  | 63 | 66 | 0.0053057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4095-25_0_6_line_70 |  | 66 | 67 | 0.0059561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4095-25_0_6_line_71 |  | 66 | 68 | 0.053756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4095-25_0_6_line_72 |  | 67 | 82 | 0.0038241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4095-25_0_6_line_73 |  | 68 | 85 | 0.024014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4095-25_0_6_line_74 |  | 69 | 70 | 0.078901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_4095-25_0_6_line_75 |  | 71 | 72 | 0.035909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4095-25_0_6_line_76 |  | 71 | 73 | 0.017138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4095-25_0_6_line_77 |  | 72 | 74 | 0.091434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4095-25_0_6_line_78 |  | 73 | 75 | 0.00035156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4095-25_0_6_line_79 |  | 74 | 90 | 0.035571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4095-25_0_6_line_80 |  | 74 | 87 | 0.02953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4095-25_0_6_line_81 |  | 77 | 78 | 7.5686e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4095-25_0_6_line_82 |  | 77 | 79 | 0.066964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4095-25_0_6_line_83 |  | 79 | 90 | 0.0022351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4095-25_0_6_line_84 |  | 80 | 81 | 0.047536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4095-25_0_6_line_85 |  | 81 | 85 | 0.00019501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4095-25_0_6_line_86 |  | 83 | 84 | 0.0021552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4095-25_0_6_line_87 |  | 86 | 87 | 8.4118e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4095-25_0_6_line_88 |  | 86 | 88 | 0.046799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4095-25_0_6_line_89 |  | 88 | 89 | 0.02081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4095-25_0_6_trafo_51 | 0.63 MVA 20/0.4 kV | 91 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2659251.5168 | 1260595.0258 | 2659248.2392 | 1260591.2662
1 | 2659234.3561 | 1260575.3412 | 2659248.2392 | 1260591.2662
2 | 2659234.3561 | 1260575.3412 | 2659242.2786 | 1260567.3068
3 | 2659223.9358 | 1260585.6667 | 2659234.3561 | 1260575.3412
4 | 2659242.2786 | 1260567.3068 | 2659250.8696 | 1260558.5943 | 2659251.1859 | 1260551.092 | 2659210.7341 | 1260508.6065
5 | 2659210.7341 | 1260508.6065 | 2659189.0967 | 1260485.8813
6 | 2659172.0888 | 1260468.0183 | 2659189.0967 | 1260485.8813
7 | 2659202.2284 | 1260614.5249 | 2659207.0974 | 1260617.8303
8 | 2659198.3982 | 1260611.9248 | 2659202.2284 | 1260614.5249
9 | 2659198.3982 | 1260611.9248 | 2659197.5587 | 1260611.3548 | 2659183.7117 | 1260601.3714
10 | 2659160.1947 | 1260585.0066 | 2659178.1502 | 1260597.3617 | 2659183.7117 | 1260601.3714
11 | 2659160.1947 | 1260585.0066 | 2659128.2255 | 1260558.0601
12 | 2659160.1947 | 1260585.0066 | 2659156.5163 | 1260574.54
13 | 2659120.9018 | 1260551.8871 | 2659128.2255 | 1260558.0601
14 | 2659156.5163 | 1260574.54 | 2659148.1495 | 1260564.9161 | 2659135.0022 | 1260550.5099
15 | 2659172.0888 | 1260468.0183 | 2659134.3317 | 1260506.5245 | 2659119.2976 | 1260523.8091 | 2659113.856 | 1260528.3914
16 | 2659113.856 | 1260528.3914 | 2659108.0425 | 1260525.6869 | 2659100.1928 | 1260520.6596
17 | 2659113.856 | 1260528.3914 | 2659127.6572 | 1260542.4617 | 2659135.0022 | 1260550.5099
18 | 2659120.9018 | 1260551.8871 | 2659107.128 | 1260540.2773 | 2659093.0287 | 1260528.4412
19 | 2659093.0287 | 1260528.4412 | 2659078.8035 | 1260516.4995 | 2659061.4569 | 1260501.0564
20 | 2659057.8732 | 1260497.866 | 2659061.4569 | 1260501.0564
21 | 2659057.8732 | 1260497.866 | 2659046.4118 | 1260486.3231
22 | 2659030.0298 | 1260468.8895 | 2659043.5105 | 1260483.4011 | 2659046.4118 | 1260486.3231
23 | 2658985.7092 | 1260498.3691 | 2658992.1877 | 1260489.5717 | 2659005.4844 | 1260471.1464 | 2659010.016 | 1260464.8759 | 2659017.3909 | 1260454.6086 | 2659030.0298 | 1260468.8895
24 | 2658950.5626 | 1260542.7734 | 2658985.7092 | 1260498.3691
25 | 2658985.7092 | 1260498.3691 | 2658999.6447 | 1260509.5939 | 2659008.1503 | 1260514.4044 | 2659014.5712 | 1260520.2698
26 | 2659015.8711 | 1260521.4061 | 2659020.4049 | 1260525.2306
27 | 2659015.8711 | 1260521.4061 | 2659015.1404 | 1260520.7898 | 2659014.7729 | 1260520.454
28 | 2659020.4049 | 1260525.2306 | 2659028.6775 | 1260532.209
29 | 2659014.7729 | 1260520.454 | 2659014.5712 | 1260520.2698
30 | 2659028.6775 | 1260532.209 | 2659032.1246 | 1260535.1168
31 | 2659032.1424 | 1260535.1319 | 2659032.1246 | 1260535.1168
32 | 2659032.7815 | 1260535.671 | 2659032.1424 | 1260535.1319
33 | 2658950.5626 | 1260542.7734 | 2658982.84 | 1260572.9835 | 2658983.0121 | 1260573.1485
34 | 2659189.7596 | 1260675.5923 | 2659186.8134 | 1260673.7482 | 2659177.7771 | 1260668.543
35 | 2659189.7596 | 1260675.5923 | 2659194.7927 | 1260678.7426
36 | 2659177.7771 | 1260668.543 | 2659177.7771 | 1260668.543 | 2659167.8149 | 1260679.2552
37 | 2659194.7927 | 1260678.7426 | 2659199.0356 | 1260681.3982 | 2659214.8216 | 1260688.8787
38 | 2659165.5058 | 1260681.7382 | 2659167.8149 | 1260679.2552
39 | 2659222.4858 | 1260692.5104 | 2659214.8216 | 1260688.8787
40 | 2659156.8355 | 1260691.0611 | 2659165.5058 | 1260681.7382
41 | 2659222.4858 | 1260692.5104 | 2659223.2468 | 1260692.871 | 2659238.3456 | 1260701.5378
42 | 2659156.8355 | 1260691.0611 | 2659170.2949 | 1260701.8703
43 | 2659156.8355 | 1260691.0611 | 2659152.8311 | 1260696.0722
44 | 2659241.5818 | 1260703.3955 | 2659241.5818 | 1260703.3955 | 2659238.3456 | 1260701.5378
45 | 2659003.2727 | 1260592.7084 | 2659002.233 | 1260591.6014 | 2658992.0633 | 1260581.8326
46 | 2659003.2727 | 1260592.7084 | 2659005.954 | 1260595.5636 | 2659011.1628 | 1260600.8697
47 | 2658992.0633 | 1260581.8326 | 2658990.9513 | 1260580.7644
48 | 2659011.9064 | 1260601.6272 | 2659011.1628 | 1260600.8697
49 | 2658983.0121 | 1260573.1485 | 2658988.2669 | 1260578.1858 | 2658990.9513 | 1260580.7644
50 | 2659011.9064 | 1260601.6272 | 2659022.5115 | 1260612.4305
51 | 2659023.6897 | 1260613.6307 | 2659022.5115 | 1260612.4305
52 | 2659023.6897 | 1260613.6307 | 2659025.2154 | 1260615.1849
53 | 2659152.8311 | 1260696.0722 | 2659141.6032 | 1260710.1228 | 2659138.0246 | 1260714.4248
54 | 2659135.7579 | 1260717.1497 | 2659138.0246 | 1260714.4248
55 | 2659124.0827 | 1260731.1853 | 2659135.7579 | 1260717.1497
56 | 2659170.2949 | 1260701.8703 | 2659181.6304 | 1260710.9737
57 | 2659124.0827 | 1260731.1853 | 2659139.7386 | 1260746.4522
58 | 2659084.2485 | 1260682.8413 | 2659124.0827 | 1260731.1853
59 | 2659184.3991 | 1260713.1972 | 2659181.6304 | 1260710.9737
60 | 2659155.2167 | 1260760.1776 | 2659142.2852 | 1260748.9356 | 2659139.7386 | 1260746.4522
61 | 2659084.2485 | 1260682.8413 | 2659071.3649 | 1260696.8896
62 | 2659084.2485 | 1260682.8413 | 2659077.6064 | 1260674.0471
63 | 2659232.2701 | 1260727.4356 | 2659222.0264 | 1260738.5936
64 | 2659232.2701 | 1260727.4356 | 2659236.2756 | 1260723.0726
65 | 2659207.3598 | 1260754.5692 | 2659222.0264 | 1260738.5936
66 | 2659243.2392 | 1260715.4875 | 2659236.2756 | 1260723.0726
67 | 2659207.3598 | 1260754.5692 | 2659191.0498 | 1260772.3349
68 | 2659248.9491 | 1260720.982 | 2659243.2392 | 1260715.4875
69 | 2659243.2392 | 1260715.4875 | 2659246.8725 | 1260711.6211
70 | 2659246.8725 | 1260711.6211 | 2659243.6505 | 1260706.6117
71 | 2659246.8725 | 1260711.6211 | 2659293.4108 | 1260684.7154
72 | 2659243.6505 | 1260706.6117 | 2659241.5818 | 1260703.3955
73 | 2659293.4108 | 1260684.7154 | 2659300.9481 | 1260692.293 | 2659309.6737 | 1260702.3646
74 | 2659077.6064 | 1260674.0471 | 2659069.3808 | 1260663.1564 | 2659064.5464 | 1260656.7479 | 2659035.9512 | 1260626.1516 | 2659031.2964 | 1260621.3795 | 2659025.2154 | 1260615.1849
75 | 2659071.3649 | 1260696.8896 | 2659055.5861 | 1260679.3861 | 2659053.2625 | 1260680.397 | 2659050.9237 | 1260679.9066 | 2659047.3365 | 1260683.6958 | 2659045.1648 | 1260683.0737
76 | 2659071.3649 | 1260696.8896 | 2659083.3269 | 1260709.162
77 | 2659045.1648 | 1260683.0737 | 2658991.8456 | 1260757.3516
78 | 2659083.3269 | 1260709.162 | 2659083.5723 | 1260709.4138
79 | 2658991.8456 | 1260757.3516 | 2659008.7742 | 1260769.885 | 2659020.5555 | 1260778.3505
80 | 2658991.8456 | 1260757.3516 | 2658979.2984 | 1260745.2622 | 2658970.5822 | 1260736.8604
81 | 2659078.4788 | 1260816.1028 | 2659078.5382 | 1260816.1497
82 | 2659078.4788 | 1260816.1028 | 2659078.4788 | 1260816.1028 | 2659045.8708 | 1260796.541 | 2659022.3706 | 1260779.6547
83 | 2659020.5555 | 1260778.3505 | 2659022.3706 | 1260779.6547
84 | 2659304.2923 | 1260749.7278 | 2659309.8014 | 1260702.512
85 | 2659309.8014 | 1260702.512 | 2659309.6737 | 1260702.3646
86 | 2659034.4289 | 1260537.0606 | 2659032.7815 | 1260535.671
87 | 2658970.5217 | 1260736.8021 | 2658970.5822 | 1260736.8604
88 | 2658970.5217 | 1260736.8021 | 2658968.983 | 1260735.3189 | 2658948.3924 | 1260715.1547 | 2658937.1419 | 1260704.0005
89 | 2658923.0433 | 1260688.7033 | 2658933.7665 | 1260700.6541 | 2658937.1419 | 1260704.0005

## bus_geodata
| x | y | coords
0 | 2659251.5168 | 1260595.0258
1 | 2659248.2392 | 1260591.2662
2 | 2659234.3561 | 1260575.3412
3 | 2659242.2786 | 1260567.3068
4 | 2659223.9358 | 1260585.6667
5 | 2659210.7341 | 1260508.6065
6 | 2659189.0967 | 1260485.8813
7 | 2659202.2284 | 1260614.5249
8 | 2659207.0974 | 1260617.8303
9 | 2659198.3982 | 1260611.9247
10 | 2659183.7117 | 1260601.3714
11 | 2659160.1947 | 1260585.0066
12 | 2659128.2255 | 1260558.0601
13 | 2659156.5163 | 1260574.54
14 | 2659172.0888 | 1260468.0183
15 | 2659113.856 | 1260528.3914
16 | 2659135.0022 | 1260550.5099
17 | 2659100.1928 | 1260520.6596
18 | 2659120.9018 | 1260551.8871
19 | 2659093.0287 | 1260528.4412
20 | 2659057.8732 | 1260497.866
21 | 2659061.4569 | 1260501.0564
22 | 2659046.4118 | 1260486.3231
23 | 2659030.0298 | 1260468.8895
24 | 2658985.7092 | 1260498.3691
25 | 2659015.8711 | 1260521.4061
26 | 2659020.4049 | 1260525.2306
27 | 2659014.7729 | 1260520.454
28 | 2659028.6775 | 1260532.209
29 | 2659014.5712 | 1260520.2698
30 | 2659032.1246 | 1260535.1168
31 | 2659032.1424 | 1260535.1319
32 | 2658950.5626 | 1260542.7734
33 | 2659189.7596 | 1260675.5923
34 | 2659177.7771 | 1260668.543
35 | 2659194.7927 | 1260678.7426
36 | 2659167.8149 | 1260679.2552
37 | 2659214.8216 | 1260688.8787
38 | 2659165.5058 | 1260681.7382
39 | 2659222.4858 | 1260692.5104
40 | 2659156.8355 | 1260691.0611
41 | 2659238.3456 | 1260701.5379
42 | 2659003.2727 | 1260592.7084
43 | 2658992.0633 | 1260581.8326
44 | 2659011.1628 | 1260600.8697
45 | 2658990.9513 | 1260580.7644
46 | 2659011.9064 | 1260601.6272
47 | 2658983.0121 | 1260573.1485
48 | 2659022.5115 | 1260612.4305
49 | 2659023.6897 | 1260613.6307
50 | 2659152.8311 | 1260696.0722
51 | 2659138.0246 | 1260714.4248
52 | 2659135.7579 | 1260717.1497
53 | 2659170.2949 | 1260701.8703
54 | 2659124.0827 | 1260731.1853
55 | 2659181.6304 | 1260710.9737
56 | 2659139.7386 | 1260746.4522
57 | 2659084.2485 | 1260682.8413
58 | 2659184.3991 | 1260713.1972
59 | 2659232.2701 | 1260727.4356
60 | 2659222.0264 | 1260738.5936
61 | 2659236.2756 | 1260723.0726
62 | 2659207.3598 | 1260754.5692
63 | 2659243.2392 | 1260715.4875
64 | 2659191.0498 | 1260772.3349
65 | 2659248.9491 | 1260720.982
66 | 2659246.8725 | 1260711.6211
67 | 2659243.6505 | 1260706.6117
68 | 2659293.4108 | 1260684.7154
69 | 2659077.6064 | 1260674.0471
70 | 2659025.2154 | 1260615.1849
71 | 2659071.3649 | 1260696.8896
72 | 2659045.1648 | 1260683.0737
73 | 2659083.3269 | 1260709.162
74 | 2658991.8456 | 1260757.3516
75 | 2659083.5723 | 1260709.4138
76 | 2659155.2167 | 1260760.1776
77 | 2659078.4788 | 1260816.1028
78 | 2659078.5382 | 1260816.1497
79 | 2659022.3706 | 1260779.6547
80 | 2659304.2923 | 1260749.7278
81 | 2659309.8014 | 1260702.512
82 | 2659241.5818 | 1260703.3955
83 | 2659032.7815 | 1260535.671
84 | 2659034.4289 | 1260537.0606
85 | 2659309.6737 | 1260702.3646
86 | 2658970.5217 | 1260736.8021
87 | 2658970.5822 | 1260736.8604
88 | 2658937.1419 | 1260704.0005
89 | 2658923.0433 | 1260688.7033
90 | 2659020.5555 | 1260778.3505
91 | 2659071.3649 | 1260696.8896

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1