## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4095-29_1_5_node_19 | 0.4 | n |  | TRUE
1 | bus_LV_4095-29_1_5_node_96 | 0.4 | n |  | TRUE
2 | bus_LV_4095-29_1_5_node_110 | 0.4 | n |  | TRUE
3 | bus_LV_4095-29_1_5_node_94 | 0.4 | n |  | TRUE
4 | bus_LV_4095-29_1_5_node_100 | 0.4 | n |  | TRUE
5 | bus_LV_4095-29_1_5_node_98 | 0.4 | n |  | TRUE
6 | bus_LV_4095-29_1_5_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_4095-29_1_5_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_4095-29_1_5_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_4095-29_1_5_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_4095-29_1_5_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_4095-29_1_5_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_4095-29_1_5_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_4095-29_1_5_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_4095-29_1_5_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_4095-29_1_5_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_4095-29_1_5_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_4095-29_1_5_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_4095-29_1_5_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_4095-29_1_5_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_4095-29_1_5_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_4095-29_1_5_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_4095-29_1_5_node_67 | 0.4 | n |  | TRUE
23 | bus_LV_4095-29_1_5_node_68 | 0.4 | n |  | TRUE
24 | bus_LV_4095-29_1_5_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_4095-29_1_5_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_4095-29_1_5_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_4095-29_1_5_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_4095-29_1_5_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_4095-29_1_5_node_88 | 0.4 | n |  | TRUE
30 | bus_LV_4095-29_1_5_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_4095-29_1_5_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_4095-29_1_5_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_4095-29_1_5_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_4095-29_1_5_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_4095-29_1_5_node_111 | 0.4 | n |  | TRUE
36 | bus_LV_4095-29_1_5_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_4095-29_1_5_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_4095-29_1_5_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_4095-29_1_5_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_4095-29_1_5_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_4095-29_1_5_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_4095-29_1_5_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_4095-29_1_5_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_4095-29_1_5_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_4095-29_1_5_node_82 | 0.4 | n |  | TRUE
46 | bus_LV_4095-29_1_5_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_4095-29_1_5_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_4095-29_1_5_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_4095-29_1_5_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_4095-29_1_5_node_69 | 0.4 | n |  | TRUE
51 | bus_LV_4095-29_1_5_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_4095-29_1_5_node_74 | 0.4 | n |  | TRUE
53 | bus_LV_4095-29_1_5_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_4095-29_1_5_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_4095-29_1_5_node_80 | 0.4 | n |  | TRUE
56 | bus_LV_4095-29_1_5_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_4095-29_1_5_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_4095-29_1_5_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_4095-29_1_5_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_4095-29_1_5_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_4095-29_1_5_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_4095-29_1_5_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_4095-29_1_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_4095-29_1_5_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_4095-29_1_5_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_4095-29_1_5_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_4095-29_1_5_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_4095-29_1_5_node_78 | 0.4 | n |  | TRUE
69 | bus_LV_4095-29_1_5_node_93 | 0.4 | n |  | TRUE
70 | bus_LV_4095-29_1_5_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_4095-29_1_5_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_4095-29_1_5_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_4095-29_1_5_node_90 | 0.4 | n |  | TRUE
74 | bus_LV_4095-29_1_5_node_91 | 0.4 | n |  | TRUE
75 | bus_LV_4095-29_1_5_node_112 | 0.4 | n |  | TRUE
76 | bus_LV_4095-29_1_5_node_117 | 0.4 | n |  | TRUE
77 | bus_LV_4095-29_1_5_node_99 | 0.4 | n |  | TRUE
78 | bus_LV_4095-29_1_5_node_101 | 0.4 | n |  | TRUE
79 | bus_LV_4095-29_1_5_node_97 | 0.4 | n |  | TRUE
80 | bus_LV_4095-29_1_5_node_102 | 0.4 | n |  | TRUE
81 | bus_LV_4095-29_1_5_node_114 | 0.4 | n |  | TRUE
82 | bus_LV_4095-29_1_5_node_113 | 0.4 | n |  | TRUE
83 | bus_MV_430_1_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4095-29_1_5_load_19 | 0 | 0.0070467 | 0.0017661 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4095-29_1_5_load_110 | 2 | 0.003515 | 0.00088095 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4095-29_1_5_load_94 | 3 | 0.0099847 | 0.0025024 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4095-29_1_5_load_100 | 4 | 0.0003999 | 0.00010022 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4095-29_1_5_load_98 | 5 | 0.00017412 | 4.364e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4095-29_1_5_load_24 | 6 | 0.0075328 | 0.0018879 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4095-29_1_5_load_25 | 7 | 0.0015542 | 0.00038952 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4095-29_1_5_load_27 | 9 | 0.002436 | 0.00061051 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4095-29_1_5_load_28 | 10 | 0.0020764 | 0.00052039 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4095-29_1_5_load_30 | 12 | 0.0010411 | 0.00026092 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4095-29_1_5_load_31 | 13 | 0.0018451 | 0.00046242 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4095-29_1_5_load_32 | 14 | 0.0034977 | 0.00087662 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4095-29_1_5_load_39 | 15 | 0.0064934 | 0.0016274 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4095-29_1_5_load_33 | 16 | 0.0033615 | 0.00084248 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4095-29_1_5_load_41 | 17 | 0.014867 | 0.003726 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4095-29_1_5_load_35 | 19 | 0.0020663 | 0.00051787 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4095-29_1_5_load_36 | 20 | 0.0023904 | 0.00059909 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4095-29_1_5_load_38 | 21 | 0.001707 | 0.00042781 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4095-29_1_5_load_68 | 23 | 0.0012201 | 0.00030579 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4095-29_1_5_load_50 | 24 | 0.0016648 | 0.00041723 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4095-29_1_5_load_44 | 27 | 0.0021659 | 0.00054283 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4095-29_1_5_load_87 | 28 | 0.0038268 | 0.0009591 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4095-29_1_5_load_85 | 33 | 0.006198 | 0.0015534 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4095-29_1_5_load_49 | 34 | 0.0047286 | 0.0011851 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4095-29_1_5_load_111 | 35 | 0.0062424 | 0.0015645 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4095-29_1_5_load_45 | 36 | 0.0032678 | 0.00081898 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4095-29_1_5_load_46 | 37 | 0.0074111 | 0.0018574 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4095-29_1_5_load_47 | 38 | 0.008047 | 0.0020168 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4095-29_1_5_load_48 | 39 | 0.0083455 | 0.0020916 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4095-29_1_5_load_52 | 40 | 0.0033356 | 0.00083597 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4095-29_1_5_load_57 | 43 | 0.0033886 | 0.00084926 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4095-29_1_5_load_84 | 46 | 0.0066076 | 0.001656 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4095-29_1_5_load_58 | 47 | 0.0040333 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4095-29_1_5_load_59 | 48 | 0.0059559 | 0.0014927 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4095-29_1_5_load_81 | 49 | 0.0017859 | 0.0004476 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4095-29_1_5_load_69 | 50 | 0.0019823 | 0.00049681 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4095-29_1_5_load_83 | 51 | 0.0037984 | 0.00095196 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4095-29_1_5_load_70 | 53 | 0.0023712 | 0.00059428 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4095-29_1_5_load_79 | 54 | 0.010426 | 0.0026129 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4095-29_1_5_load_80 | 55 | 0.0082898 | 0.0020776 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4095-29_1_5_load_60 | 57 | 0.0093787 | 0.0023505 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4095-29_1_5_load_61 | 58 | 0.0088448 | 0.0022167 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4095-29_1_5_load_62 | 59 | 0.008177 | 0.0020493 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4095-29_1_5_load_63 | 60 | 0.0072377 | 0.0018139 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4095-29_1_5_load_64 | 61 | 0.010081 | 0.0025266 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4095-29_1_5_load_65 | 62 | 0.010828 | 0.0027138 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4095-29_1_5_load_116 | 64 | 0.0056469 | 0.0014152 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4095-29_1_5_load_92 | 67 | 0.010254 | 0.0025699 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4095-29_1_5_load_78 | 68 | 0.0095915 | 0.0024039 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4095-29_1_5_load_77 | 70 | 0.0056395 | 0.0014134 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4095-29_1_5_load_75 | 71 | 0.012813 | 0.0032113 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4095-29_1_5_load_76 | 72 | 0.0079092 | 0.0019822 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4095-29_1_5_load_90 | 73 | 0.0017887 | 0.00044828 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4095-29_1_5_load_91 | 74 | 0.0039888 | 0.00099968 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4095-29_1_5_load_117 | 76 | 0.0047733 | 0.0011963 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4095-29_1_5_load_101 | 78 | 0.039293 | 0.0098477 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4095-29_1_5_load_97 | 79 | 0.00069965 | 0.00017535 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4095-29_1_5_load_102 | 80 | 0.019694 | 0.0049358 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4095-29_1_5_load_114 | 81 | 0.0032373 | 0.00081134 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4095-29_1_5_load_113 | 82 | 0.0012475 | 0.00031266 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4095-29_1_5_line_0 |  | 0 | 1 | 0.02583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4095-29_1_5_line_1 |  | 1 | 2 | 0.032188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_4095-29_1_5_line_2 |  | 1 | 3 | 0.038229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_4095-29_1_5_line_3 |  | 2 | 80 | 0.0047535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_4095-29_1_5_line_4 |  | 3 | 69 | 0.066297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_4095-29_1_5_line_5 |  | 4 | 5 | 0.00052833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4095-29_1_5_line_6 |  | 5 | 79 | 0.018058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4095-29_1_5_line_7 |  | 6 | 7 | 0.019127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4095-29_1_5_line_8 |  | 6 | 8 | 0.0060249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4095-29_1_5_line_9 |  | 7 | 9 | 0.022755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4095-29_1_5_line_10 |  | 8 | 10 | 0.050575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4095-29_1_5_line_11 |  | 9 | 11 | 0.020186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4095-29_1_5_line_12 |  | 10 | 12 | 0.025176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4095-29_1_5_line_13 |  | 11 | 13 | 0.012391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_4095-29_1_5_line_14 |  | 11 | 14 | 0.019116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_4095-29_1_5_line_15 |  | 13 | 15 | 0.011759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4095-29_1_5_line_16 |  | 14 | 16 | 0.022316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4095-29_1_5_line_17 |  | 15 | 17 | 0.0092748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4095-29_1_5_line_18 |  | 16 | 18 | 0.013328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4095-29_1_5_line_19 |  | 17 | 25 | 0.017553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4095-29_1_5_line_20 |  | 18 | 19 | 0.010351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4095-29_1_5_line_21 |  | 18 | 20 | 0.015425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4095-29_1_5_line_22 |  | 20 | 21 | 0.018248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_4095-29_1_5_line_23 |  | 21 | 22 | 0.011013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4095-29_1_5_line_24 |  | 22 | 23 | 0.012549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_4095-29_1_5_line_25 |  | 22 | 24 | 0.031706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4095-29_1_5_line_26 |  | 23 | 50 | 0.015295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4095-29_1_5_line_27 |  | 24 | 39 | 0.00016274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4095-29_1_5_line_28 |  | 25 | 26 | 0.003749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_4095-29_1_5_line_29 |  | 25 | 27 | 0.0082814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4095-29_1_5_line_30 |  | 26 | 28 | 0.030973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4095-29_1_5_line_31 |  | 27 | 29 | 0.043844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4095-29_1_5_line_32 |  | 28 | 30 | 0.01256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4095-29_1_5_line_33 |  | 29 | 35 | 0.0091667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4095-29_1_5_line_34 |  | 30 | 31 | 0.040441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_4095-29_1_5_line_35 |  | 30 | 32 | 0.013875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4095-29_1_5_line_36 |  | 31 | 73 | 0.0029503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4095-29_1_5_line_37 |  | 31 | 74 | 0.019668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4095-29_1_5_line_38 |  | 32 | 33 | 0.0078341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4095-29_1_5_line_39 |  | 32 | 34 | 0.014599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4095-29_1_5_line_40 |  | 34 | 38 | 0.011617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4095-29_1_5_line_41 |  | 35 | 75 | 0.037325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4095-29_1_5_line_42 |  | 36 | 37 | 0.0034491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4095-29_1_5_line_43 |  | 36 | 38 | 0.010733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4095-29_1_5_line_44 |  | 40 | 41 | 0.0060332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4095-29_1_5_line_45 |  | 41 | 42 | 0.010915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4095-29_1_5_line_46 |  | 41 | 43 | 0.014646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4095-29_1_5_line_47 |  | 42 | 47 | 0.045658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4095-29_1_5_line_48 |  | 42 | 48 | 0.017216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_4095-29_1_5_line_49 |  | 44 | 45 | 0.10433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4095-29_1_5_line_50 |  | 44 | 46 | 0.048841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4095-29_1_5_line_51 |  | 45 | 49 | 0.012413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_4095-29_1_5_line_52 |  | 45 | 50 | 0.013702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_4095-29_1_5_line_53 |  | 46 | 51 | 0.0077249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4095-29_1_5_line_54 |  | 47 | 52 | 0.0068565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4095-29_1_5_line_55 |  | 48 | 53 | 0.0027108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4095-29_1_5_line_56 |  | 49 | 62 | 0.020701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_4095-29_1_5_line_57 |  | 52 | 54 | 0.012121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4095-29_1_5_line_58 |  | 52 | 55 | 0.017245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4095-29_1_5_line_59 |  | 53 | 56 | 0.023173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4095-29_1_5_line_60 |  | 56 | 65 | 0.019046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_4095-29_1_5_line_61 |  | 56 | 66 | 0.072974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_4095-29_1_5_line_62 |  | 57 | 58 | 0.00034099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_4095-29_1_5_line_63 |  | 57 | 59 | 0.017895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_4095-29_1_5_line_64 |  | 58 | 60 | 0.02744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_4095-29_1_5_line_65 |  | 59 | 61 | 0.0025787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_4095-29_1_5_line_66 |  | 60 | 62 | 0.0027024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_4095-29_1_5_line_67 |  | 61 | 63 | 0.020166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_4095-29_1_5_line_68 |  | 63 | 64 | 0.027039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_4095-29_1_5_line_69 |  | 65 | 67 | 0.04856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_4095-29_1_5_line_70 |  | 66 | 68 | 0.047607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_4095-29_1_5_line_71 |  | 67 | 69 | 0.027017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_4095-29_1_5_line_72 |  | 68 | 70 | 0.033297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_4095-29_1_5_line_73 |  | 70 | 71 | 3.745e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4095-29_1_5_line_74 |  | 71 | 72 | 0.0038357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4095-29_1_5_line_75 |  | 73 | 76 | 0.032532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4095-29_1_5_line_76 |  | 74 | 77 | 0.011847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_4095-29_1_5_line_77 |  | 75 | 81 | 0.027399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4095-29_1_5_line_78 |  | 77 | 78 | 0.024598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4095-29_1_5_line_79 |  | 77 | 79 | 0.016417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4095-29_1_5_line_80 |  | 78 | 80 | 0.072908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_4095-29_1_5_line_81 |  | 81 | 82 | 0.016915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4095-29_1_5_trafo_116 | 0.63 MVA 20/0.4 kV | 83 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2658986.8772 | 1260339.6767 | 2659003.5729 | 1260319.9684
1 | 2658986.8772 | 1260339.6767 | 2658976.2362 | 1260347.1983 | 2658960.6575 | 1260336.0496
2 | 2658986.8772 | 1260339.6767 | 2659014.8195 | 1260365.7667
3 | 2658956.7919 | 1260333.2832 | 2658960.6575 | 1260336.0496
4 | 2659063.2772 | 1260411.0124 | 2659014.8195 | 1260365.7667
5 | 2658925.0669 | 1260265.0556 | 2658925.3076 | 1260264.5853
6 | 2658915.1865 | 1260279.7129 | 2658918.9582 | 1260276.9882 | 2658925.0669 | 1260265.0556
7 | 2658727.1376 | 1260291.476 | 2658738.5524 | 1260306.8229
8 | 2658723.0913 | 1260287.027 | 2658726.1503 | 1260290.1485 | 2658727.1376 | 1260291.476
9 | 2658753.0845 | 1260324.2033 | 2658748.4543 | 1260320.136 | 2658738.5524 | 1260306.8229
10 | 2658723.0913 | 1260287.027 | 2658696.4166 | 1260329.995
11 | 2658770.105 | 1260334.6836 | 2658759.2726 | 1260329.6391 | 2658753.0845 | 1260324.2033
12 | 2658682.1893 | 1260350.7594 | 2658694.0643 | 1260333.7841 | 2658696.4166 | 1260329.995
13 | 2658770.105 | 1260334.6836 | 2658777.1777 | 1260324.5096
14 | 2658770.105 | 1260334.6836 | 2658758.0321 | 1260349.5054
15 | 2658783.9326 | 1260314.8864 | 2658783.3856 | 1260315.5794 | 2658777.1777 | 1260324.5096
16 | 2658744.9374 | 1260367.5719 | 2658756.9519 | 1260350.8314 | 2658758.0321 | 1260349.5054
17 | 2658783.9326 | 1260314.8864 | 2658789.6786 | 1260307.606
18 | 2658737.1665 | 1260378.3995 | 2658744.9374 | 1260367.5719
19 | 2658799.4885 | 1260293.0786 | 2658793.2773 | 1260303.0464 | 2658789.6786 | 1260307.606
20 | 2658737.1665 | 1260378.3995 | 2658731.4725 | 1260387.0432
21 | 2658737.1665 | 1260378.3995 | 2658749.5699 | 1260387.5692
22 | 2658749.5699 | 1260387.5692 | 2658764.2438 | 1260398.4174
23 | 2658773.0996 | 1260404.9643 | 2658764.2438 | 1260398.4174
24 | 2658773.0996 | 1260404.9643 | 2658783.0763 | 1260412.5766
25 | 2658773.0996 | 1260404.9643 | 2658792.7648 | 1260380.0937
26 | 2658783.0763 | 1260412.5766 | 2658795.2362 | 1260421.8547
27 | 2658792.7648 | 1260380.0937 | 2658792.8657 | 1260379.966
28 | 2658802.3889 | 1260295.4647 | 2658799.4885 | 1260293.0786
29 | 2658799.4885 | 1260293.0786 | 2658793.5315 | 1260287.3256
30 | 2658802.3889 | 1260295.4647 | 2658817.6964 | 1260299.1528 | 2658830.7518 | 1260306.9914
31 | 2658762.221 | 1260256.6377 | 2658768.1224 | 1260262.6784 | 2658788.1345 | 1260282.1134 | 2658793.5315 | 1260287.3256
32 | 2658842.0652 | 1260312.4379 | 2658831.556 | 1260307.4743 | 2658830.7518 | 1260306.9914
33 | 2658762.221 | 1260256.6377 | 2658763.7653 | 1260247.602
34 | 2658869.7292 | 1260284.6373 | 2658860.5514 | 1260294.3197 | 2658855.5288 | 1260302.231 | 2658849.3792 | 1260309.7976 | 2658846.1842 | 1260312.023 | 2658842.0652 | 1260312.4379
35 | 2658837.8444 | 1260323.0815 | 2658835.5501 | 1260321.135 | 2658842.0652 | 1260312.4379
36 | 2658869.7292 | 1260284.6373 | 2658866.8763 | 1260283.8852
37 | 2658869.7292 | 1260284.6373 | 2658887.3463 | 1260286.4694 | 2658889.2912 | 1260286.6778
38 | 2658837.8444 | 1260323.0815 | 2658844.056 | 1260327.8554
39 | 2658837.8444 | 1260323.0815 | 2658828.7893 | 1260334.5335
40 | 2658828.7893 | 1260334.5335 | 2658821.5837 | 1260343.6464
41 | 2658751.9769 | 1260217.3854 | 2658747.3434 | 1260225.5786 | 2658750.806 | 1260233.5966 | 2658757.2419 | 1260241.9665 | 2658763.7653 | 1260247.602
42 | 2658814.9266 | 1260352.0656 | 2658812.7874 | 1260354.7712
43 | 2658814.9266 | 1260352.0656 | 2658821.5837 | 1260343.6464
44 | 2658985.7092 | 1260498.3691 | 2658981.9648 | 1260503.0997
45 | 2658992.1877 | 1260489.5717 | 2658985.7092 | 1260498.3691
46 | 2658985.7092 | 1260498.3691 | 2658997.1156 | 1260507.5567
47 | 2658992.1877 | 1260489.5717 | 2658955.4109 | 1260462.5132
48 | 2658992.1877 | 1260489.5717 | 2659002.2623 | 1260475.6113
49 | 2658806.1293 | 1260430.1662 | 2658833.3111 | 1260455.3212 | 2658853.3294 | 1260477.0804 | 2658856.623 | 1260480.8381 | 2658877.9445 | 1260505.6682
50 | 2658877.9445 | 1260505.6682 | 2658901.6394 | 1260478.3062 | 2658909.9189 | 1260468.7484
51 | 2658806.1293 | 1260430.1662 | 2658813.5909 | 1260420.2457
52 | 2658806.1293 | 1260430.1662 | 2658795.2362 | 1260421.8547
53 | 2658916.1622 | 1260473.2975 | 2658909.9189 | 1260468.7484
54 | 2658949.8882 | 1260458.4499 | 2658955.4109 | 1260462.5132
55 | 2659002.2623 | 1260475.6113 | 2659003.8486 | 1260473.4132
56 | 2658826.0343 | 1260403.7017 | 2658813.5909 | 1260420.2457
57 | 2658949.8882 | 1260458.4499 | 2658940.9415 | 1260450.2438
58 | 2658949.8882 | 1260458.4499 | 2658951.9795 | 1260452.0216 | 2658958.1278 | 1260443.5285
59 | 2659017.3909 | 1260454.6086 | 2659010.016 | 1260464.8759 | 2659005.4844 | 1260471.1464 | 2659003.8486 | 1260473.4132
60 | 2659017.3909 | 1260454.6086 | 2659030.0298 | 1260468.8895
61 | 2658963.5948 | 1260405.7037 | 2658970.014 | 1260410.4155 | 2658976.6492 | 1260415.3741 | 2658978.78 | 1260417.0855 | 2658997.475 | 1260432.4496 | 2659002.3731 | 1260437.7912 | 2659009.9551 | 1260446.0505 | 2659017.3909 | 1260454.6086
62 | 2658844.1527 | 1260379.6126 | 2658844.3577 | 1260379.3401
63 | 2658844.3577 | 1260379.3401 | 2658855.1144 | 1260365.0386
64 | 2658827.6587 | 1260401.542 | 2658844.1527 | 1260379.6126
65 | 2658856.6645 | 1260362.9777 | 2658855.1144 | 1260365.0386
66 | 2658827.6587 | 1260401.542 | 2658826.0343 | 1260403.7017
67 | 2658868.7859 | 1260346.8619 | 2658856.6645 | 1260362.9777
68 | 2658868.7859 | 1260346.8619 | 2658878.3263 | 1260353.7395 | 2658891.3787 | 1260361.6799
69 | 2659030.0298 | 1260468.8895 | 2659034.5525 | 1260465.0207 | 2659027.7439 | 1260447.9848 | 2659044.5565 | 1260430.4914
70 | 2658963.5948 | 1260405.7037 | 2658957.8658 | 1260413.4078 | 2658955.3955 | 1260415.5181 | 2658951.7905 | 1260415.7824 | 2658948.8954 | 1260414.3858 | 2658948.3155 | 1260411.3223 | 2658927.1337 | 1260398.403
71 | 2659063.2772 | 1260411.0124 | 2659044.5565 | 1260430.4914
72 | 2658901.4105 | 1260392.7991 | 2658906.0599 | 1260385.5496 | 2658927.1337 | 1260398.403
73 | 2658901.3902 | 1260392.8307 | 2658901.4105 | 1260392.7991
74 | 2658904.7404 | 1260394.6987 | 2658901.3902 | 1260392.8307
75 | 2658836.4859 | 1260272.5202 | 2658855.9661 | 1260281.0089 | 2658866.8763 | 1260283.8852
76 | 2658901.0706 | 1260287.9403 | 2658889.2912 | 1260286.6778
77 | 2658751.9769 | 1260217.3854 | 2658766.5702 | 1260197.4046 | 2658768.2209 | 1260195.323
78 | 2658901.0706 | 1260287.9403 | 2658889.5061 | 1260303.4365 | 2658893.6306 | 1260306.7051
79 | 2658901.0706 | 1260287.9403 | 2658908.5432 | 1260284.5122 | 2658915.1865 | 1260279.7129
80 | 2658956.7919 | 1260333.2832 | 2658951.0409 | 1260329.1676 | 2658933.5408 | 1260324.6901 | 2658920.5673 | 1260328.0523 | 2658893.6306 | 1260306.7051
81 | 2658778.7308 | 1260182.0691 | 2658768.2209 | 1260195.323

## bus_geodata
| x | y | coords
0 | 2659003.5729 | 1260319.9684
1 | 2658986.8772 | 1260339.6767
2 | 2658960.6575 | 1260336.0496
3 | 2659014.8195 | 1260365.7667
4 | 2658925.3076 | 1260264.5853
5 | 2658925.0669 | 1260265.0556
6 | 2658727.1376 | 1260291.476
7 | 2658738.5524 | 1260306.8229
8 | 2658723.0913 | 1260287.027
9 | 2658753.0845 | 1260324.2033
10 | 2658696.4166 | 1260329.995
11 | 2658770.105 | 1260334.6836
12 | 2658682.1893 | 1260350.7594
13 | 2658777.1777 | 1260324.5096
14 | 2658758.0321 | 1260349.5054
15 | 2658783.9326 | 1260314.8864
16 | 2658744.9374 | 1260367.5719
17 | 2658789.6786 | 1260307.606
18 | 2658737.1665 | 1260378.3995
19 | 2658731.4725 | 1260387.0432
20 | 2658749.5699 | 1260387.5692
21 | 2658764.2438 | 1260398.4174
22 | 2658773.0996 | 1260404.9643
23 | 2658783.0763 | 1260412.5766
24 | 2658792.7648 | 1260380.0937
25 | 2658799.4885 | 1260293.0786
26 | 2658802.3889 | 1260295.4647
27 | 2658793.5315 | 1260287.3256
28 | 2658830.7518 | 1260306.9914
29 | 2658762.221 | 1260256.6377
30 | 2658842.0652 | 1260312.4379
31 | 2658869.7292 | 1260284.6373
32 | 2658837.8444 | 1260323.0815
33 | 2658844.056 | 1260327.8554
34 | 2658828.7893 | 1260334.5335
35 | 2658763.7653 | 1260247.602
36 | 2658814.9266 | 1260352.0656
37 | 2658812.7874 | 1260354.7712
38 | 2658821.5837 | 1260343.6464
39 | 2658792.8657 | 1260379.966
40 | 2658981.9648 | 1260503.0997
41 | 2658985.7092 | 1260498.3691
42 | 2658992.1877 | 1260489.5717
43 | 2658997.1156 | 1260507.5567
44 | 2658877.9445 | 1260505.6681
45 | 2658806.1293 | 1260430.1662
46 | 2658909.9189 | 1260468.7484
47 | 2658955.4109 | 1260462.5132
48 | 2659002.2623 | 1260475.6113
49 | 2658813.5909 | 1260420.2457
50 | 2658795.2362 | 1260421.8547
51 | 2658916.1622 | 1260473.2975
52 | 2658949.8882 | 1260458.4499
53 | 2659003.8486 | 1260473.4132
54 | 2658940.9415 | 1260450.2438
55 | 2658958.1278 | 1260443.5285
56 | 2659017.3909 | 1260454.6086
57 | 2658844.3577 | 1260379.3401
58 | 2658844.1527 | 1260379.6126
59 | 2658855.1144 | 1260365.0386
60 | 2658827.6587 | 1260401.542
61 | 2658856.6645 | 1260362.9777
62 | 2658826.0343 | 1260403.7017
63 | 2658868.7859 | 1260346.8619
64 | 2658891.3787 | 1260361.6799
65 | 2659030.0298 | 1260468.8895
66 | 2658963.5948 | 1260405.7037
67 | 2659044.5565 | 1260430.4914
68 | 2658927.1337 | 1260398.403
69 | 2659063.2772 | 1260411.0124
70 | 2658901.4105 | 1260392.7991
71 | 2658901.3902 | 1260392.8307
72 | 2658904.7404 | 1260394.6987
73 | 2658866.8763 | 1260283.8852
74 | 2658889.2912 | 1260286.6778
75 | 2658751.9769 | 1260217.3854
76 | 2658836.4859 | 1260272.5202
77 | 2658901.0706 | 1260287.9403
78 | 2658893.6306 | 1260306.7051
79 | 2658915.1865 | 1260279.7129
80 | 2658956.7919 | 1260333.2832
81 | 2658768.2209 | 1260195.323
82 | 2658778.7308 | 1260182.0691
83 | 2658868.7859 | 1260346.8619

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1