## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4095-34_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4095-34_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4095-34_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4095-34_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4095-34_0_2_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_4095-34_0_2_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_4095-34_0_2_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_4095-34_0_2_node_48 | 0.4 | n |  | TRUE
8 | bus_LV_4095-34_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4095-34_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4095-34_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4095-34_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4095-34_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4095-34_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4095-34_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4095-34_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_4095-34_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_4095-34_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4095-34_0_2_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_4095-34_0_2_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_4095-34_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4095-34_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4095-34_0_2_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4095-34_0_2_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4095-34_0_2_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_4095-34_0_2_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_4095-34_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4095-34_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4095-34_0_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_4095-34_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_4095-34_0_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_4095-34_0_2_node_104 | 0.4 | n |  | TRUE
32 | bus_LV_4095-34_0_2_node_94 | 0.4 | n |  | TRUE
33 | bus_LV_4095-34_0_2_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_4095-34_0_2_node_105 | 0.4 | n |  | TRUE
35 | bus_LV_4095-34_0_2_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_4095-34_0_2_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_4095-34_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4095-34_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_4095-34_0_2_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_4095-34_0_2_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_4095-34_0_2_node_79 | 0.4 | n |  | TRUE
42 | bus_LV_4095-34_0_2_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_4095-34_0_2_node_88 | 0.4 | n |  | TRUE
44 | bus_LV_4095-34_0_2_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_4095-34_0_2_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_4095-34_0_2_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_4095-34_0_2_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_4095-34_0_2_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_4095-34_0_2_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_4095-34_0_2_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_4095-34_0_2_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_4095-34_0_2_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_4095-34_0_2_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_4095-34_0_2_node_87 | 0.4 | n |  | TRUE
55 | bus_LV_4095-34_0_2_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_4095-34_0_2_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_4095-34_0_2_node_42 | 0.4 | n |  | TRUE
58 | bus_LV_4095-34_0_2_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_4095-34_0_2_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_4095-34_0_2_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_4095-34_0_2_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_4095-34_0_2_node_70 | 0.4 | n |  | TRUE
63 | bus_LV_4095-34_0_2_node_83 | 0.4 | n |  | TRUE
64 | bus_LV_4095-34_0_2_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_4095-34_0_2_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_4095-34_0_2_node_82 | 0.4 | n |  | TRUE
67 | bus_LV_4095-34_0_2_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_4095-34_0_2_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_4095-34_0_2_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_4095-34_0_2_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_4095-34_0_2_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_4095-34_0_2_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_4095-34_0_2_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_4095-34_0_2_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_4095-34_0_2_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_4095-34_0_2_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4095-34_0_2_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_4095-34_0_2_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_4095-34_0_2_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_4095-34_0_2_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_4095-34_0_2_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_4095-34_0_2_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_4095-34_0_2_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_4095-34_0_2_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_4095-34_0_2_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_4095-34_0_2_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_4095-34_0_2_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_4095-34_0_2_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_4095-34_0_2_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_4095-34_0_2_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_4095-34_0_2_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_4095-34_0_2_node_109 | 0.4 | n |  | TRUE
93 | bus_LV_4095-34_0_2_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_4095-34_0_2_node_102 | 0.4 | n |  | TRUE
95 | bus_LV_4095-34_0_2_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_4095-34_0_2_node_108 | 0.4 | n |  | TRUE
97 | bus_LV_4095-34_0_2_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_4095-34_0_2_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_4095-34_0_2_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_4095-34_0_2_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_4095-34_0_2_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_4095-34_0_2_node_101 | 0.4 | n |  | TRUE
103 | bus_LV_4095-34_0_2_node_106 | 0.4 | n |  | TRUE
104 | bus_LV_4095-34_0_2_node_110 | 0.4 | n |  | TRUE
105 | bus_LV_4095-34_0_2_node_107 | 0.4 | n |  | TRUE
106 | bus_LV_4095-34_0_2_node_111 | 0.4 | n |  | TRUE
107 | bus_MV_303_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4095-34_0_2_load_0 | 0 | 0.0057427 | 0.0014393 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4095-34_0_2_load_3 | 2 | 0.0009228 | 0.00023128 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4095-34_0_2_load_4 | 3 | 0.00076692 | 0.00019221 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4095-34_0_2_load_34 | 4 | 0.00064333 | 0.00016123 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4095-34_0_2_load_32 | 6 | 0.0012804 | 0.00032091 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4095-34_0_2_load_5 | 8 | 0.003664 | 0.00091829 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4095-34_0_2_load_6 | 9 | 0.0034009 | 0.00085235 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4095-34_0_2_load_8 | 10 | 0.0025502 | 0.00063914 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4095-34_0_2_load_9 | 11 | 0.0027439 | 0.0006877 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4095-34_0_2_load_10 | 12 | 0.0035747 | 0.0008959 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4095-34_0_2_load_11 | 13 | 0.0059475 | 0.0014906 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4095-34_0_2_load_15 | 16 | 0.0031601 | 0.000792 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4095-34_0_2_load_14 | 17 | 0.0047844 | 0.0011991 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4095-34_0_2_load_29 | 19 | 0.005953 | 0.001492 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4095-34_0_2_load_16 | 20 | 0.0019229 | 0.00048192 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4095-34_0_2_load_17 | 21 | 0.0044148 | 0.0011065 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4095-34_0_2_load_18 | 22 | 0.0012435 | 0.00031166 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4095-34_0_2_load_19 | 23 | 0.0017506 | 0.00043875 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4095-34_0_2_load_26 | 24 | 0.0019433 | 0.00048703 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4095-34_0_2_load_27 | 25 | 0.0029914 | 0.00074972 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4095-34_0_2_load_20 | 26 | 0.0035902 | 0.0008998 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4095-34_0_2_load_25 | 30 | 0.0015285 | 0.00038308 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4095-34_0_2_load_94 | 32 | 0.001521 | 0.00038121 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4095-34_0_2_load_93 | 33 | 0.0064658 | 0.0016205 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4095-34_0_2_load_105 | 34 | 0.0018024 | 0.00045173 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4095-34_0_2_load_103 | 35 | 0.0013401 | 0.00033587 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4095-34_0_2_load_35 | 36 | 0.0036652 | 0.00091858 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4095-34_0_2_load_30 | 38 | 0.00075954 | 0.00019036 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4095-34_0_2_load_31 | 39 | 0.00075213 | 0.0001885 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4095-34_0_2_load_79 | 41 | 0.0019281 | 0.00048322 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4095-34_0_2_load_78 | 42 | 0.001661 | 0.00041628 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4095-34_0_2_load_88 | 43 | 0.0012538 | 0.00031424 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4095-34_0_2_load_37 | 45 | 0.0019724 | 0.00049434 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4095-34_0_2_load_38 | 46 | 0.00093277 | 0.00023377 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4095-34_0_2_load_39 | 47 | 0.0008394 | 0.00021037 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4095-34_0_2_load_41 | 49 | 0.0014421 | 0.00036143 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4095-34_0_2_load_86 | 50 | 0.0012336 | 0.00030916 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4095-34_0_2_load_84 | 51 | 0.0023552 | 0.00059026 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4095-34_0_2_load_56 | 52 | 0.0012406 | 0.00031093 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4095-34_0_2_load_53 | 53 | 0.0011157 | 0.00027963 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4095-34_0_2_load_87 | 54 | 0.0012329 | 0.00030899 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4095-34_0_2_load_81 | 55 | 0.0028179 | 0.00070623 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4095-34_0_2_load_52 | 56 | 0.00093511 | 0.00023436 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4095-34_0_2_load_42 | 57 | 0.0012666 | 0.00031745 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4095-34_0_2_load_43 | 58 | 0.0016093 | 0.00040333 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4095-34_0_2_load_44 | 59 | 0.0022773 | 0.00057073 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4095-34_0_2_load_45 | 60 | 0.001644 | 0.00041204 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4095-34_0_2_load_70 | 62 | 0.0010362 | 0.00025969 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4095-34_0_2_load_83 | 63 | 0.0017314 | 0.00043394 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4095-34_0_2_load_74 | 64 | 0.0025723 | 0.00064468 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4095-34_0_2_load_68 | 65 | 0.0012606 | 0.00031595 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4095-34_0_2_load_82 | 66 | 0.0014475 | 0.00036277 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4095-34_0_2_load_73 | 67 | 0.0014157 | 0.0003548 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4095-34_0_2_load_47 | 68 | 0.00069502 | 0.00017419 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4095-34_0_2_load_72 | 71 | 0.0022397 | 0.00056132 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4095-34_0_2_load_71 | 72 | 0.00076125 | 0.00019079 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4095-34_0_2_load_55 | 74 | 0.00098469 | 0.00024679 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4095-34_0_2_load_80 | 75 | 0.001421 | 0.00035614 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4095-34_0_2_load_57 | 76 | 0.00074608 | 0.00018698 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4095-34_0_2_load_58 | 77 | 0.00035531 | 8.905e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4095-34_0_2_load_59 | 78 | 0.00075922 | 0.00019028 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4095-34_0_2_load_60 | 79 | 0.0020523 | 0.00051435 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4095-34_0_2_load_61 | 80 | 0.0013712 | 0.00034366 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4095-34_0_2_load_63 | 81 | 0.00087113 | 0.00021832 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4095-34_0_2_load_62 | 82 | 0.0011424 | 0.00028632 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4095-34_0_2_load_64 | 83 | 0.0026826 | 0.00067232 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4095-34_0_2_load_77 | 84 | 0.0019283 | 0.00048327 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4095-34_0_2_load_66 | 86 | 0.0020522 | 0.00051434 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4095-34_0_2_load_67 | 87 | 0.0028167 | 0.00070593 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4095-34_0_2_load_76 | 88 | 0.0023288 | 0.00058365 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4095-34_0_2_load_90 | 89 | 0.0035962 | 0.0009013 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4095-34_0_2_load_91 | 90 | 0.0014301 | 0.00035841 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4095-34_0_2_load_89 | 91 | 0.0019256 | 0.00048261 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4095-34_0_2_load_109 | 92 | 0.0013174 | 0.00033018 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4095-34_0_2_load_102 | 94 | 0.0028176 | 0.00070615 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4095-34_0_2_load_108 | 96 | 0.0042497 | 0.0010651 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4095-34_0_2_load_96 | 97 | 0.0016154 | 0.00040487 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4095-34_0_2_load_97 | 98 | 0.00136 | 0.00034086 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4095-34_0_2_load_98 | 99 | 0.0019217 | 0.00048162 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4095-34_0_2_load_99 | 100 | 0.001145 | 0.00028697 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4095-34_0_2_load_100 | 101 | 0.0022046 | 0.00055253 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4095-34_0_2_load_101 | 102 | 0.0021777 | 0.00054579 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4095-34_0_2_load_106 | 103 | 0.0014 | 0.00035087 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4095-34_0_2_load_110 | 104 | 0.001285 | 0.00032205 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4095-34_0_2_load_107 | 105 | 0.0018063 | 0.0004527 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4095-34_0_2_load_111 | 106 | 0.00071624 | 0.00017951 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 88 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4095-34_0_2_line_0 |  | 0 | 1 | 0.039063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4095-34_0_2_line_1 |  | 1 | 2 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4095-34_0_2_line_2 |  | 1 | 3 | 0.0051047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4095-34_0_2_line_3 |  | 2 | 4 | 0.027063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4095-34_0_2_line_4 |  | 3 | 5 | 0.01617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4095-34_0_2_line_5 |  | 4 | 6 | 0.022335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4095-34_0_2_line_6 |  | 5 | 7 | 0.022277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4095-34_0_2_line_7 |  | 6 | 38 | 0.01047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4095-34_0_2_line_8 |  | 7 | 68 | 0.016074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4095-34_0_2_line_9 |  | 8 | 9 | 0.0098188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4095-34_0_2_line_10 |  | 9 | 10 | 0.022802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4095-34_0_2_line_11 |  | 10 | 11 | 0.025359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4095-34_0_2_line_12 |  | 11 | 12 | 0.023788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4095-34_0_2_line_13 |  | 12 | 13 | 0.032438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4095-34_0_2_line_14 |  | 13 | 14 | 0.0011003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4095-34_0_2_line_15 |  | 14 | 15 | 0.02313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4095-34_0_2_line_16 |  | 15 | 16 | 0.0023191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4095-34_0_2_line_17 |  | 15 | 17 | 0.027835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4095-34_0_2_line_18 |  | 16 | 18 | 0.041087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4095-34_0_2_line_19 |  | 18 | 19 | 0.033175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4095-34_0_2_line_20 |  | 19 | 29 | 0.010264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4095-34_0_2_line_21 |  | 20 | 21 | 0.027239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4095-34_0_2_line_22 |  | 20 | 22 | 0.0052089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4095-34_0_2_line_23 |  | 22 | 23 | 0.021112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4095-34_0_2_line_24 |  | 23 | 24 | 0.024758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4095-34_0_2_line_25 |  | 24 | 25 | 0.0052469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4095-34_0_2_line_26 |  | 25 | 36 | 0.022597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4095-34_0_2_line_27 |  | 26 | 27 | 0.040826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4095-34_0_2_line_28 |  | 26 | 28 | 0.031517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4095-34_0_2_line_29 |  | 27 | 29 | 0.00896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4095-34_0_2_line_30 |  | 28 | 30 | 0.02883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4095-34_0_2_line_31 |  | 30 | 31 | 0.0083578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4095-34_0_2_line_32 |  | 31 | 34 | 0.012811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4095-34_0_2_line_33 |  | 31 | 35 | 0.01857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4095-34_0_2_line_34 |  | 32 | 33 | 0.011696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4095-34_0_2_line_35 |  | 33 | 95 | 0.021006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4095-34_0_2_line_36 |  | 34 | 91 | 0.020029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4095-34_0_2_line_37 |  | 36 | 37 | 0.0059285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4095-34_0_2_line_38 |  | 37 | 39 | 0.018091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4095-34_0_2_line_39 |  | 38 | 39 | 0.012626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4095-34_0_2_line_40 |  | 40 | 41 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4095-34_0_2_line_41 |  | 40 | 42 | 0.0014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4095-34_0_2_line_42 |  | 41 | 43 | 0.021224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4095-34_0_2_line_43 |  | 42 | 44 | 0.024382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4095-34_0_2_line_44 |  | 43 | 91 | 0.022085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4095-34_0_2_line_45 |  | 44 | 84 | 0.011123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4095-34_0_2_line_46 |  | 44 | 83 | 0.012494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4095-34_0_2_line_47 |  | 45 | 46 | 0.02209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4095-34_0_2_line_48 |  | 45 | 47 | 0.027221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4095-34_0_2_line_49 |  | 46 | 48 | 0.010636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4095-34_0_2_line_50 |  | 47 | 49 | 0.029985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4095-34_0_2_line_51 |  | 48 | 50 | 0.010424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4095-34_0_2_line_52 |  | 48 | 51 | 0.018454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4095-34_0_2_line_53 |  | 49 | 52 | 0.016667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4095-34_0_2_line_54 |  | 49 | 53 | 0.029358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4095-34_0_2_line_55 |  | 50 | 54 | 0.028173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4095-34_0_2_line_56 |  | 52 | 55 | 0.012276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4095-34_0_2_line_57 |  | 53 | 56 | 0.017254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4095-34_0_2_line_58 |  | 55 | 75 | 0.016628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4095-34_0_2_line_59 |  | 56 | 73 | 0.031405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4095-34_0_2_line_60 |  | 57 | 58 | 0.019233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4095-34_0_2_line_61 |  | 57 | 59 | 0.00013036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4095-34_0_2_line_62 |  | 58 | 60 | 0.00097963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4095-34_0_2_line_63 |  | 59 | 61 | 0.032467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4095-34_0_2_line_64 |  | 60 | 62 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4095-34_0_2_line_65 |  | 61 | 63 | 0.005559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4095-34_0_2_line_66 |  | 61 | 64 | 0.021763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4095-34_0_2_line_67 |  | 62 | 65 | 0.0089984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4095-34_0_2_line_68 |  | 63 | 66 | 0.010442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4095-34_0_2_line_69 |  | 64 | 67 | 0.010384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4095-34_0_2_line_70 |  | 65 | 86 | 0.00074289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4095-34_0_2_line_71 |  | 66 | 75 | 9.7605e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4095-34_0_2_line_72 |  | 67 | 85 | 0.0066124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4095-34_0_2_line_73 |  | 68 | 69 | 0.01889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4095-34_0_2_line_74 |  | 69 | 70 | 0.00604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4095-34_0_2_line_75 |  | 70 | 71 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4095-34_0_2_line_76 |  | 71 | 72 | 0.019069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4095-34_0_2_line_77 |  | 72 | 79 | 0.0070476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4095-34_0_2_line_78 |  | 73 | 74 | 0.017229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4095-34_0_2_line_79 |  | 76 | 77 | 0.014212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4095-34_0_2_line_80 |  | 76 | 78 | 0.0044609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4095-34_0_2_line_81 |  | 77 | 79 | 0.002174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4095-34_0_2_line_82 |  | 78 | 80 | 0.0083393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4095-34_0_2_line_83 |  | 80 | 81 | 0.018349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4095-34_0_2_line_84 |  | 81 | 82 | 0.0068887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4095-34_0_2_line_85 |  | 82 | 83 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4095-34_0_2_line_86 |  | 84 | 85 | 0.019794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4095-34_0_2_line_87 |  | 85 | 88 | 0.020156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4095-34_0_2_line_88 |  | 86 | 87 | 0.01172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4095-34_0_2_line_89 |  | 88 | 89 | 0.022029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4095-34_0_2_line_90 |  | 89 | 90 | 0.00032967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4095-34_0_2_line_91 |  | 90 | 93 | 0.018271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4095-34_0_2_line_92 |  | 91 | 92 | 0.014143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4095-34_0_2_line_93 |  | 93 | 94 | 0.042354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4095-34_0_2_line_94 |  | 93 | 95 | 0.004457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4095-34_0_2_line_95 |  | 94 | 96 | 0.030072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4095-34_0_2_line_96 |  | 95 | 97 | 0.013238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4095-34_0_2_line_97 |  | 96 | 105 | 0.0067347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4095-34_0_2_line_98 |  | 98 | 99 | 0.0014679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4095-34_0_2_line_99 |  | 98 | 100 | 0.025884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4095-34_0_2_line_100 |  | 99 | 101 | 0.022257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4095-34_0_2_line_101 |  | 100 | 102 | 0.0032203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4095-34_0_2_line_102 |  | 101 | 103 | 0.0048516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4095-34_0_2_line_103 |  | 102 | 104 | 0.017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4095-34_0_2_line_104 |  | 103 | 105 | 0.020754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4095-34_0_2_line_105 |  | 104 | 106 | 0.020758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4095-34_0_2_trafo_76 | 0.63 MVA 20/0.4 kV | 107 | 88 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2655105.1041 | 1255659.6943 | 2655100.9653 | 1255669.2181 | 2655093.7316 | 1255674.1543 | 2655090.599 | 1255693.8281
1 | 2655105.1041 | 1255659.6943 | 2655124.8789 | 1255661.9213
2 | 2655105.1041 | 1255659.6943 | 2655100.0313 | 1255659.1242
3 | 2655151.7718 | 1255664.9499 | 2655124.8789 | 1255661.9213
4 | 2655083.9626 | 1255657.3183 | 2655100.0313 | 1255659.1242
5 | 2655173.9662 | 1255667.4493 | 2655151.7718 | 1255664.9499
6 | 2655083.9626 | 1255657.3183 | 2655084.6299 | 1255635.0532
7 | 2655184.3708 | 1255668.6211 | 2655173.9662 | 1255667.4493
8 | 2655084.6299 | 1255635.0532 | 2655085.6564 | 1255619.0121
9 | 2655221.634 | 1255754.3901 | 2655223.3413 | 1255750.5593 | 2655228.2904 | 1255747.8863
10 | 2655249.9613 | 1255743.4275 | 2655236.5766 | 1255743.411 | 2655228.2904 | 1255747.8863
11 | 2655275.3207 | 1255743.4589 | 2655249.9613 | 1255743.4275
12 | 2655275.3207 | 1255743.4589 | 2655299.1089 | 1255743.4883
13 | 2655331.5472 | 1255743.5284 | 2655299.1089 | 1255743.4883
14 | 2655332.6475 | 1255743.5298 | 2655331.5472 | 1255743.5284
15 | 2655355.826 | 1255742.5678 | 2655332.6475 | 1255743.5298
16 | 2655355.826 | 1255742.5678 | 2655358.1431 | 1255742.4719
17 | 2655355.826 | 1255742.5678 | 2655356.2211 | 1255751.9337 | 2655356.2571 | 1255757.7604 | 2655355.6872 | 1255762.2471 | 2655353.7866 | 1255766.2877 | 2655351.4431 | 1255769.0809
18 | 2655399.1951 | 1255740.7719 | 2655358.1431 | 1255742.4719
19 | 2655399.1951 | 1255740.7719 | 2655395.2062 | 1255707.8373
20 | 2655393.9722 | 1255697.6482 | 2655395.2062 | 1255707.8373
21 | 2655326.0333 | 1255680.0117 | 2655307.7069 | 1255679.6074 | 2655298.7998 | 1255679.4723
22 | 2655293.5914 | 1255679.3933 | 2655298.7998 | 1255679.4723
23 | 2655272.4819 | 1255679.0733 | 2655293.5914 | 1255679.3933
24 | 2655272.4819 | 1255679.0733 | 2655248.5389 | 1255678.7102 | 2655247.7298 | 1255678.6388
25 | 2655247.7298 | 1255678.6388 | 2655242.5033 | 1255678.1773
26 | 2655220.461 | 1255674.0988 | 2655228.1237 | 1255676.9075 | 2655242.5033 | 1255678.1773
27 | 2655392.8939 | 1255688.7541 | 2655387.2356 | 1255684.8985 | 2655377.6718 | 1255682.5074 | 2655364.6011 | 1255680.0835 | 2655353.8466 | 1255678.8287
28 | 2655347.7692 | 1255649.1711 | 2655348.8661 | 1255664.9592 | 2655349.5786 | 1255674.2613 | 2655353.4131 | 1255678.7781 | 2655353.8466 | 1255678.8287
29 | 2655392.8939 | 1255688.7541 | 2655393.9722 | 1255697.6482
30 | 2655347.7692 | 1255649.1711 | 2655319.1443 | 1255645.7401
31 | 2655310.8458 | 1255644.7454 | 2655319.1443 | 1255645.7401
32 | 2655310.8458 | 1255644.7454 | 2655298.0974 | 1255643.4856
33 | 2655310.8458 | 1255644.7454 | 2655309.0537 | 1255663.2291
34 | 2655311.3418 | 1255587.6205 | 2655322.9754 | 1255588.8247
35 | 2655290.447 | 1255585.4576 | 2655311.3418 | 1255587.6205
36 | 2655278.1651 | 1255641.5159 | 2655298.0974 | 1255643.4856
37 | 2655214.8946 | 1255672.0586 | 2655220.461 | 1255674.0988
38 | 2655214.8946 | 1255672.0586 | 2655196.9172 | 1255670.034
39 | 2655184.3708 | 1255668.6211 | 2655196.9172 | 1255670.034
40 | 2655218.9902 | 1255635.6488 | 2655235.0677 | 1255637.2429
41 | 2655218.9902 | 1255635.6488 | 2655219.1605 | 1255634.1602
42 | 2655235.0677 | 1255637.2429 | 2655256.1883 | 1255639.3369
43 | 2655221.9302 | 1255609.9359 | 2655219.1605 | 1255634.1602
44 | 2655278.1651 | 1255641.5159 | 2655256.1883 | 1255639.3369
45 | 2655221.9302 | 1255609.9359 | 2655223.2109 | 1255598.8873
46 | 2655221.9302 | 1255609.9359 | 2655209.5217 | 1255608.4797
47 | 2655242.825 | 1255422.5467 | 2655245.1809 | 1255400.5832
48 | 2655242.825 | 1255422.5467 | 2655239.9219 | 1255449.6122
49 | 2655246.3152 | 1255390.0083 | 2655245.1809 | 1255400.5832
50 | 2655236.724 | 1255479.4263 | 2655239.9219 | 1255449.6122
51 | 2655246.3152 | 1255390.0083 | 2655247.5832 | 1255379.6622
52 | 2655246.3152 | 1255390.0083 | 2655227.9812 | 1255387.9099
53 | 2655236.724 | 1255479.4263 | 2655234.8775 | 1255495.9908
54 | 2655236.724 | 1255479.4263 | 2655207.5488 | 1255476.1543
55 | 2655247.5832 | 1255379.6622 | 2655251.0106 | 1255351.6989
56 | 2655234.8775 | 1255495.9908 | 2655233.5175 | 1255508.1915
57 | 2655190.4022 | 1255474.2313 | 2655207.5488 | 1255476.1543
58 | 2655231.6755 | 1255524.717 | 2655233.5175 | 1255508.1915
59 | 2655159.1927 | 1255470.7312 | 2655190.4022 | 1255474.2313
60 | 2655197.5028 | 1255537.0423 | 2655178.3927 | 1255534.8742
61 | 2655197.6323 | 1255537.057 | 2655197.5028 | 1255537.0423
62 | 2655178.3927 | 1255534.8742 | 2655177.4193 | 1255534.7638
63 | 2655229.892 | 1255540.7169 | 2655197.6323 | 1255537.057
64 | 2655167.3031 | 1255533.6161 | 2655177.4193 | 1255534.7638
65 | 2655229.892 | 1255540.7169 | 2655230.5078 | 1255535.1921
66 | 2655229.892 | 1255540.7169 | 2655227.4203 | 1255562.3389
67 | 2655167.3031 | 1255533.6161 | 2655158.3621 | 1255532.6017
68 | 2655230.5078 | 1255535.1921 | 2655231.6646 | 1255524.814
69 | 2655226.241 | 1255572.6556 | 2655227.4203 | 1255562.3389
70 | 2655158.3621 | 1255532.6017 | 2655157.6239 | 1255532.5179
71 | 2655231.6755 | 1255524.717 | 2655231.6646 | 1255524.814
72 | 2655225.49 | 1255579.2252 | 2655226.241 | 1255572.6556
73 | 2655086.8627 | 1255600.1605 | 2655085.6564 | 1255619.0121
74 | 2655086.8627 | 1255600.1605 | 2655087.3185 | 1255594.1383
75 | 2655087.3185 | 1255594.1383 | 2655107.0182 | 1255596.4502
76 | 2655125.9575 | 1255598.6729 | 2655107.0182 | 1255596.4502
77 | 2655125.9575 | 1255598.6729 | 2655132.9571 | 1255599.4943
78 | 2655159.1927 | 1255470.7312 | 2655157.3382 | 1255487.8599
79 | 2655149.2318 | 1255601.4042 | 2655135.1163 | 1255599.7477
80 | 2655149.2318 | 1255601.4042 | 2655153.6623 | 1255601.9242
81 | 2655135.1163 | 1255599.7477 | 2655132.9571 | 1255599.4943
82 | 2655161.9447 | 1255602.8962 | 2655153.6623 | 1255601.9242
83 | 2655180.1685 | 1255605.0349 | 2655161.9447 | 1255602.8962
84 | 2655187.0103 | 1255605.8378 | 2655180.1685 | 1255605.0349
85 | 2655187.0103 | 1255605.8378 | 2655209.5217 | 1255608.4797
86 | 2655225.49 | 1255579.2252 | 2655223.2109 | 1255598.8873
87 | 2655225.49 | 1255579.2252 | 2655245.5552 | 1255581.138
88 | 2655157.6239 | 1255532.5179 | 2655152.37 | 1255531.9219 | 2655146.3805 | 1255529.5756
89 | 2655267.4845 | 1255583.2284 | 2655245.5552 | 1255581.138
90 | 2655267.4845 | 1255583.2284 | 2655267.8127 | 1255583.2597
91 | 2655286.0014 | 1255584.9936 | 2655267.8127 | 1255583.2597
92 | 2655278.1651 | 1255641.5159 | 2655277.0756 | 1255655.6157
93 | 2655286.0014 | 1255584.9936 | 2655289.9479 | 1255542.824
94 | 2655290.447 | 1255585.4576 | 2655286.0014 | 1255584.9936
95 | 2655289.9479 | 1255542.824 | 2655292.7499 | 1255512.8829
96 | 2655290.447 | 1255585.4576 | 2655288.9364 | 1255598.6084
97 | 2655293.3775 | 1255506.1775 | 2655292.7499 | 1255512.8829
98 | 2655297.8204 | 1255457.0491 | 2655297.7128 | 1255458.513
99 | 2655297.8204 | 1255457.0491 | 2655299.7181 | 1255431.2348
100 | 2655297.7128 | 1255458.513 | 2655297.2537 | 1255464.7583 | 2655295.7633 | 1255480.6838
101 | 2655299.9542 | 1255428.0232 | 2655299.7181 | 1255431.2348
102 | 2655295.3113 | 1255485.5143 | 2655295.7633 | 1255480.6838
103 | 2655301.2245 | 1255410.7428 | 2655299.9542 | 1255428.0232
104 | 2655295.3113 | 1255485.5143 | 2655293.3775 | 1255506.1775
105 | 2655301.2245 | 1255410.7428 | 2655302.7464 | 1255390.0407

## bus_geodata
| x | y | coords
0 | 2655090.599 | 1255693.8281
1 | 2655105.1041 | 1255659.6943
2 | 2655124.8789 | 1255661.9213
3 | 2655100.0313 | 1255659.1242
4 | 2655151.7718 | 1255664.9499
5 | 2655083.9626 | 1255657.3183
6 | 2655173.9662 | 1255667.4493
7 | 2655084.6299 | 1255635.0532
8 | 2655221.634 | 1255754.3901
9 | 2655228.2904 | 1255747.8863
10 | 2655249.9613 | 1255743.4275
11 | 2655275.3207 | 1255743.4589
12 | 2655299.1089 | 1255743.4883
13 | 2655331.5472 | 1255743.5284
14 | 2655332.6475 | 1255743.5298
15 | 2655355.826 | 1255742.5678
16 | 2655358.1431 | 1255742.4719
17 | 2655351.4431 | 1255769.0809
18 | 2655399.1951 | 1255740.7719
19 | 2655395.2062 | 1255707.8373
20 | 2655298.7998 | 1255679.4723
21 | 2655326.0333 | 1255680.0117
22 | 2655293.5914 | 1255679.3933
23 | 2655272.4819 | 1255679.0733
24 | 2655247.7298 | 1255678.6388
25 | 2655242.5033 | 1255678.1773
26 | 2655353.8466 | 1255678.8286
27 | 2655392.8939 | 1255688.7541
28 | 2655347.7692 | 1255649.1711
29 | 2655393.9722 | 1255697.6482
30 | 2655319.1443 | 1255645.7401
31 | 2655310.8458 | 1255644.7454
32 | 2655322.9754 | 1255588.8247
33 | 2655311.3418 | 1255587.6205
34 | 2655298.0974 | 1255643.4856
35 | 2655309.0537 | 1255663.2291
36 | 2655220.461 | 1255674.0988
37 | 2655214.8946 | 1255672.0586
38 | 2655184.3708 | 1255668.6211
39 | 2655196.9172 | 1255670.034
40 | 2655218.9902 | 1255635.6488
41 | 2655235.0677 | 1255637.2429
42 | 2655219.1605 | 1255634.1602
43 | 2655256.1882 | 1255639.3369
44 | 2655221.9302 | 1255609.9359
45 | 2655242.825 | 1255422.5467
46 | 2655245.1809 | 1255400.5832
47 | 2655239.9219 | 1255449.6122
48 | 2655246.3152 | 1255390.0083
49 | 2655236.724 | 1255479.4263
50 | 2655247.5832 | 1255379.6622
51 | 2655227.9812 | 1255387.9099
52 | 2655234.8775 | 1255495.9908
53 | 2655207.5488 | 1255476.1543
54 | 2655251.0106 | 1255351.6989
55 | 2655233.5176 | 1255508.1915
56 | 2655190.4022 | 1255474.2313
57 | 2655197.5028 | 1255537.0423
58 | 2655178.3927 | 1255534.8742
59 | 2655197.6323 | 1255537.057
60 | 2655177.4193 | 1255534.7638
61 | 2655229.892 | 1255540.7169
62 | 2655167.3031 | 1255533.6161
63 | 2655230.5078 | 1255535.1921
64 | 2655227.4203 | 1255562.3389
65 | 2655158.3621 | 1255532.6017
66 | 2655231.6646 | 1255524.814
67 | 2655226.241 | 1255572.6556
68 | 2655085.6564 | 1255619.0121
69 | 2655086.8627 | 1255600.1605
70 | 2655087.3185 | 1255594.1383
71 | 2655107.0182 | 1255596.4502
72 | 2655125.9575 | 1255598.6729
73 | 2655159.1927 | 1255470.7312
74 | 2655157.3382 | 1255487.8599
75 | 2655231.6755 | 1255524.717
76 | 2655149.2318 | 1255601.4042
77 | 2655135.1163 | 1255599.7477
78 | 2655153.6623 | 1255601.9242
79 | 2655132.9571 | 1255599.4943
80 | 2655161.9447 | 1255602.8962
81 | 2655180.1685 | 1255605.0349
82 | 2655187.0103 | 1255605.8378
83 | 2655209.5217 | 1255608.4797
84 | 2655223.2109 | 1255598.8873
85 | 2655225.49 | 1255579.2252
86 | 2655157.6239 | 1255532.5179
87 | 2655146.3805 | 1255529.5756
88 | 2655245.5552 | 1255581.138
89 | 2655267.4845 | 1255583.2284
90 | 2655267.8127 | 1255583.2597
91 | 2655278.1651 | 1255641.5159
92 | 2655277.0756 | 1255655.6157
93 | 2655286.0014 | 1255584.9936
94 | 2655289.9479 | 1255542.824
95 | 2655290.447 | 1255585.4576
96 | 2655292.7499 | 1255512.8829
97 | 2655288.9364 | 1255598.6084
98 | 2655297.8204 | 1255457.0491
99 | 2655297.7128 | 1255458.513
100 | 2655299.7181 | 1255431.2348
101 | 2655295.7633 | 1255480.6838
102 | 2655299.9542 | 1255428.0232
103 | 2655295.3113 | 1255485.5143
104 | 2655301.2245 | 1255410.7428
105 | 2655293.3775 | 1255506.1775
106 | 2655302.7464 | 1255390.0407
107 | 2655225.49 | 1255579.2252

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1