## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_412-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_412-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_412-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_412-11_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_412-11_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_412-11_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_412-11_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_412-11_0_4_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_412-11_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_412-11_0_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_412-11_0_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_412-11_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_412-11_0_4_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_412-11_0_4_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_412-11_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_412-11_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_412-11_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_412-11_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_412-11_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_412-11_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_412-11_0_4_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_412-11_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_412-11_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_412-11_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_412-11_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_412-11_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_412-11_0_4_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_412-11_0_4_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_412-11_0_4_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_412-11_0_4_node_91 | 0.4 | n |  | TRUE
30 | bus_LV_412-11_0_4_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_412-11_0_4_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_412-11_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_412-11_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_412-11_0_4_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_412-11_0_4_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_412-11_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_412-11_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_412-11_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_412-11_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_412-11_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_412-11_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_412-11_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_412-11_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_412-11_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_412-11_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_412-11_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_412-11_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_412-11_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_412-11_0_4_node_93 | 0.4 | n |  | TRUE
50 | bus_LV_412-11_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_412-11_0_4_node_92 | 0.4 | n |  | TRUE
52 | bus_LV_412-11_0_4_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_412-11_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_412-11_0_4_node_106 | 0.4 | n |  | TRUE
55 | bus_LV_412-11_0_4_node_101 | 0.4 | n |  | TRUE
56 | bus_LV_412-11_0_4_node_103 | 0.4 | n |  | TRUE
57 | bus_LV_412-11_0_4_node_99 | 0.4 | n |  | TRUE
58 | bus_LV_412-11_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_412-11_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_412-11_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_412-11_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_412-11_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_412-11_0_4_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_412-11_0_4_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_412-11_0_4_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_412-11_0_4_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_412-11_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_412-11_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_412-11_0_4_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_412-11_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_412-11_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_412-11_0_4_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_412-11_0_4_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_412-11_0_4_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_412-11_0_4_node_95 | 0.4 | n |  | TRUE
76 | bus_LV_412-11_0_4_node_96 | 0.4 | n |  | TRUE
77 | bus_LV_412-11_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_412-11_0_4_node_94 | 0.4 | n |  | TRUE
79 | bus_LV_412-11_0_4_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_412-11_0_4_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_412-11_0_4_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_412-11_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_412-11_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_412-11_0_4_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_412-11_0_4_node_76 | 0.4 | n |  | TRUE
86 | bus_LV_412-11_0_4_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_412-11_0_4_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_412-11_0_4_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_412-11_0_4_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_412-11_0_4_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_412-11_0_4_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_412-11_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_412-11_0_4_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_412-11_0_4_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_412-11_0_4_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_412-11_0_4_node_98 | 0.4 | n |  | TRUE
97 | bus_LV_412-11_0_4_node_100 | 0.4 | n |  | TRUE
98 | bus_LV_412-11_0_4_node_102 | 0.4 | n |  | TRUE
99 | bus_LV_412-11_0_4_node_105 | 0.4 | n |  | TRUE
100 | bus_LV_412-11_0_4_node_104 | 0.4 | n |  | TRUE
101 | bus_MV_446_1_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_412-11_0_4_load_0 | 0 | 0.0042456 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_412-11_0_4_load_1 | 1 | 0.007295 | 0.0018283 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_412-11_0_4_load_2 | 2 | 0.005477 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_412-11_0_4_load_5 | 3 | 0.007624 | 0.0019107 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_412-11_0_4_load_3 | 4 | 0.0071168 | 0.0017836 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_412-11_0_4_load_4 | 5 | 0.002206 | 0.00055287 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_412-11_0_4_load_17 | 8 | 0.0038007 | 0.00095254 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_412-11_0_4_load_37 | 10 | 0.0022007 | 0.00055154 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_412-11_0_4_load_16 | 11 | 0.013658 | 0.003423 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_412-11_0_4_load_22 | 14 | 0.010418 | 0.0026109 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_412-11_0_4_load_7 | 15 | 0.013159 | 0.0032979 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_412-11_0_4_load_8 | 16 | 0.0017063 | 0.00042764 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_412-11_0_4_load_9 | 17 | 0.00679 | 0.0017017 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_412-11_0_4_load_10 | 18 | 0.0024812 | 0.00062185 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_412-11_0_4_load_11 | 19 | 0.0051067 | 0.0012799 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_412-11_0_4_load_19 | 20 | 0.0019831 | 0.00049701 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_412-11_0_4_load_12 | 21 | 0.012827 | 0.0032147 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_412-11_0_4_load_15 | 25 | 0.0051675 | 0.0012951 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_412-11_0_4_load_55 | 26 | 0.003303 | 0.0008278 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_412-11_0_4_load_53 | 27 | 0.0057798 | 0.0014486 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_412-11_0_4_load_87 | 28 | 0.0035564 | 0.00089132 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_412-11_0_4_load_91 | 29 | 0.0048809 | 0.0012233 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_412-11_0_4_load_20 | 32 | 0.0041198 | 0.0010325 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_412-11_0_4_load_21 | 33 | 0.0023962 | 0.00060055 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_412-11_0_4_load_51 | 34 | 0.0026623 | 0.00066724 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_412-11_0_4_load_52 | 35 | 0.0025432 | 0.00063738 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_412-11_0_4_load_33 | 38 | 0.013423 | 0.003364 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_412-11_0_4_load_23 | 39 | 0.0094063 | 0.0023574 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_412-11_0_4_load_28 | 41 | 0.0082373 | 0.0020645 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_412-11_0_4_load_39 | 42 | 0.0063232 | 0.0015847 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_412-11_0_4_load_36 | 43 | 0.0055507 | 0.0013911 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_412-11_0_4_load_40 | 45 | 0.0054472 | 0.0013652 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_412-11_0_4_load_43 | 47 | 0.01643 | 0.0041177 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_412-11_0_4_load_93 | 49 | 0.010042 | 0.0025169 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_412-11_0_4_load_92 | 51 | 0.0090893 | 0.002278 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_412-11_0_4_load_38 | 52 | 0.0069922 | 0.0017524 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_412-11_0_4_load_42 | 53 | 0.0086664 | 0.002172 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_412-11_0_4_load_106 | 54 | 0.016908 | 0.0042374 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_412-11_0_4_load_103 | 56 | 0.015176 | 0.0038035 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_412-11_0_4_load_46 | 58 | 0.0028849 | 0.00072302 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_412-11_0_4_load_47 | 59 | 0.0010764 | 0.00026978 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_412-11_0_4_load_49 | 61 | 0.0019364 | 0.00048531 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_412-11_0_4_load_50 | 62 | 0.0032083 | 0.00080407 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_412-11_0_4_load_64 | 65 | 0.0030198 | 0.00075683 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_412-11_0_4_load_74 | 66 | 0.0032094 | 0.00080434 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_412-11_0_4_load_56 | 67 | 0.0062512 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_412-11_0_4_load_57 | 68 | 0.0053835 | 0.0013492 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_412-11_0_4_load_61 | 70 | 0.0047018 | 0.0011784 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_412-11_0_4_load_58 | 71 | 0.0033235 | 0.00083296 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_412-11_0_4_load_65 | 72 | 0.0014221 | 0.00035641 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_412-11_0_4_load_73 | 73 | 0.0023619 | 0.00059195 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_412-11_0_4_load_66 | 74 | 0.0018786 | 0.00047083 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_412-11_0_4_load_95 | 75 | 0.0011716 | 0.00029362 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_412-11_0_4_load_67 | 77 | 0.0021281 | 0.00053336 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_412-11_0_4_load_94 | 78 | 0.018894 | 0.0047352 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_412-11_0_4_load_68 | 79 | 0.0038614 | 0.00096776 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_412-11_0_4_load_69 | 80 | 0.0032892 | 0.00082436 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_412-11_0_4_load_70 | 81 | 0.0039546 | 0.00099111 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_412-11_0_4_load_71 | 82 | 0.0019413 | 0.00048655 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_412-11_0_4_load_72 | 83 | 0.0043123 | 0.0010808 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_412-11_0_4_load_75 | 84 | 0.0075914 | 0.0019026 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_412-11_0_4_load_76 | 85 | 0.0027497 | 0.00068915 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_412-11_0_4_load_77 | 86 | 0.0037151 | 0.00093109 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_412-11_0_4_load_79 | 88 | 0.0017714 | 0.00044395 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_412-11_0_4_load_80 | 90 | 0.0034247 | 0.00085832 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_412-11_0_4_load_89 | 91 | 0.0031675 | 0.00079385 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_412-11_0_4_load_88 | 92 | 0.0063507 | 0.0015916 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_412-11_0_4_load_90 | 93 | 0.0037417 | 0.00093775 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_412-11_0_4_load_83 | 94 | 0.0020185 | 0.00050589 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_412-11_0_4_load_84 | 95 | 0.0045164 | 0.0011319 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_412-11_0_4_load_98 | 96 | 0.012471 | 0.0031254 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_412-11_0_4_load_105 | 99 | 0.011677 | 0.0029265 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_412-11_0_4_load_104 | 100 | 0.013278 | 0.0033279 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_412-11_0_4_line_0 |  | 0 | 1 | 0.0047895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_412-11_0_4_line_1 |  | 1 | 2 | 0.015055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_412-11_0_4_line_2 |  | 2 | 3 | 0.014087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_412-11_0_4_line_3 |  | 3 | 4 | 0.0096412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_412-11_0_4_line_4 |  | 4 | 5 | 0.0076979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_412-11_0_4_line_5 |  | 5 | 6 | 0.02263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_412-11_0_4_line_6 |  | 6 | 7 | 0.024752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_412-11_0_4_line_7 |  | 6 | 8 | 0.023793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_412-11_0_4_line_8 |  | 7 | 9 | 0.04065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_412-11_0_4_line_9 |  | 7 | 10 | 0.014831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_412-11_0_4_line_10 |  | 8 | 11 | 0.0079467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_412-11_0_4_line_11 |  | 9 | 42 | 0.0051844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_412-11_0_4_line_12 |  | 9 | 40 | 0.035148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_412-11_0_4_line_13 |  | 10 | 43 | 0.018855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_412-11_0_4_line_14 |  | 11 | 22 | 0.032157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_412-11_0_4_line_15 |  | 12 | 13 | 0.024562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_412-11_0_4_line_16 |  | 12 | 14 | 0.016639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_412-11_0_4_line_17 |  | 13 | 38 | 0.015072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_412-11_0_4_line_18 |  | 14 | 39 | 0.017299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_412-11_0_4_line_19 |  | 15 | 16 | 0.012818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_412-11_0_4_line_20 |  | 15 | 17 | 0.0076034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_412-11_0_4_line_21 |  | 16 | 18 | 0.011192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_412-11_0_4_line_22 |  | 17 | 19 | 0.025692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_412-11_0_4_line_23 |  | 18 | 20 | 0.006788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_412-11_0_4_line_24 |  | 19 | 21 | 0.0059656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_412-11_0_4_line_25 |  | 20 | 22 | 0.018382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_412-11_0_4_line_26 |  | 21 | 23 | 0.021227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_412-11_0_4_line_27 |  | 22 | 32 | 0.020891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_412-11_0_4_line_28 |  | 22 | 33 | 0.026961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_412-11_0_4_line_29 |  | 23 | 24 | 0.009601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_412-11_0_4_line_30 |  | 23 | 25 | 0.027924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_412-11_0_4_line_31 |  | 24 | 26 | 0.013871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_412-11_0_4_line_32 |  | 24 | 27 | 0.022215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_412-11_0_4_line_33 |  | 25 | 28 | 0.02429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_412-11_0_4_line_34 |  | 26 | 29 | 0.01381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_412-11_0_4_line_35 |  | 27 | 30 | 0.024511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_412-11_0_4_line_36 |  | 28 | 31 | 0.012932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_412-11_0_4_line_37 |  | 30 | 67 | 0.025919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_412-11_0_4_line_38 |  | 30 | 68 | 0.02745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_412-11_0_4_line_39 |  | 31 | 92 | 0.015056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_412-11_0_4_line_40 |  | 31 | 95 | 0.036421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_412-11_0_4_line_41 |  | 32 | 34 | 0.0013212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_412-11_0_4_line_42 |  | 34 | 35 | 0.019862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_412-11_0_4_line_43 |  | 35 | 64 | 0.0284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_412-11_0_4_line_44 |  | 36 | 37 | 0.025056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_412-11_0_4_line_45 |  | 36 | 38 | 0.017786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_412-11_0_4_line_46 |  | 37 | 48 | 0.015243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_412-11_0_4_line_47 |  | 37 | 49 | 0.04637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_412-11_0_4_line_48 |  | 39 | 40 | 0.022592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_412-11_0_4_line_49 |  | 40 | 41 | 0.014427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_412-11_0_4_line_50 |  | 42 | 44 | 0.034593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_412-11_0_4_line_51 |  | 43 | 52 | 0.016824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_412-11_0_4_line_52 |  | 44 | 45 | 0.017358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_412-11_0_4_line_53 |  | 45 | 46 | 0.016975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_412-11_0_4_line_54 |  | 46 | 53 | 0.025761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_412-11_0_4_line_55 |  | 47 | 48 | 0.017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_412-11_0_4_line_56 |  | 48 | 50 | 0.018072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_412-11_0_4_line_57 |  | 49 | 51 | 0.01722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_412-11_0_4_line_58 |  | 50 | 54 | 0.018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_412-11_0_4_line_59 |  | 50 | 55 | 0.011958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_412-11_0_4_line_60 |  | 55 | 56 | 0.033643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_412-11_0_4_line_61 |  | 55 | 57 | 0.043035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_412-11_0_4_line_62 |  | 56 | 100 | 0.027841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_412-11_0_4_line_63 |  | 57 | 96 | 0.030865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_412-11_0_4_line_64 |  | 58 | 59 | 0.011627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_412-11_0_4_line_65 |  | 58 | 60 | 0.029614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_412-11_0_4_line_66 |  | 59 | 61 | 0.0086634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_412-11_0_4_line_67 |  | 60 | 62 | 0.032988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_412-11_0_4_line_68 |  | 61 | 63 | 0.023479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_412-11_0_4_line_69 |  | 63 | 64 | 0.002889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_412-11_0_4_line_70 |  | 63 | 65 | 0.019213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_412-11_0_4_line_71 |  | 64 | 66 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_412-11_0_4_line_72 |  | 65 | 72 | 0.0057993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_412-11_0_4_line_73 |  | 66 | 73 | 0.0064456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_412-11_0_4_line_74 |  | 67 | 69 | 0.021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_412-11_0_4_line_75 |  | 69 | 70 | 0.025964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_412-11_0_4_line_76 |  | 69 | 71 | 0.016553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_412-11_0_4_line_77 |  | 72 | 74 | 0.011101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_412-11_0_4_line_78 |  | 73 | 82 | 0.016631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_412-11_0_4_line_79 |  | 74 | 77 | 0.0091374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_412-11_0_4_line_80 |  | 74 | 76 | 0.075769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_412-11_0_4_line_81 |  | 75 | 76 | 0.043409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_412-11_0_4_line_82 |  | 77 | 78 | 0.0078666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_412-11_0_4_line_83 |  | 79 | 80 | 0.013952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_412-11_0_4_line_84 |  | 79 | 81 | 0.015062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_412-11_0_4_line_85 |  | 80 | 82 | 0.0064085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_412-11_0_4_line_86 |  | 81 | 83 | 0.0053228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_412-11_0_4_line_87 |  | 84 | 85 | 0.020374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_412-11_0_4_line_88 |  | 84 | 86 | 0.021219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_412-11_0_4_line_89 |  | 85 | 87 | 0.036968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_412-11_0_4_line_90 |  | 86 | 88 | 0.00558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_412-11_0_4_line_91 |  | 87 | 89 | 0.002601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_412-11_0_4_line_92 |  | 87 | 90 | 0.014666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_412-11_0_4_line_93 |  | 89 | 91 | 0.014577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_412-11_0_4_line_94 |  | 89 | 92 | 0.014026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_412-11_0_4_line_95 |  | 91 | 93 | 0.0062618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_412-11_0_4_line_96 |  | 94 | 95 | 0.044944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_412-11_0_4_line_97 |  | 96 | 97 | 0.016146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_412-11_0_4_line_98 |  | 97 | 98 | 0.043609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_412-11_0_4_line_99 |  | 98 | 99 | 0.021964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_412-11_0_4_trafo_17 | 0.63 MVA 20/0.4 kV | 101 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2611373.8729 | 1214391.5309 | 2611377.2353 | 1214394.9418
1 | 2611377.2353 | 1214394.9418 | 2611387.8043 | 1214405.6631
2 | 2611387.8043 | 1214405.6631 | 2611397.6936 | 1214415.6949
3 | 2611404.462 | 1214422.5609 | 2611397.6936 | 1214415.6949
4 | 2611404.462 | 1214422.5609 | 2611409.8662 | 1214428.043
5 | 2611425.753 | 1214444.1587 | 2611409.8662 | 1214428.043
6 | 2611425.753 | 1214444.1587 | 2611431.0438 | 1214433.4183 | 2611436.693 | 1214421.956
7 | 2611425.753 | 1214444.1587 | 2611423.6259 | 1214448.4793 | 2611415.2187 | 1214465.4925
8 | 2611454.9507 | 1214385.6259 | 2611452.1541 | 1214390.59 | 2611436.693 | 1214421.956
9 | 2611436.693 | 1214421.956 | 2611426.1455 | 1214411.5291
10 | 2611415.2187 | 1214465.4925 | 2611411.6982 | 1214472.6167
11 | 2611454.9507 | 1214385.6259 | 2611457.4971 | 1214381.11
12 | 2611454.9507 | 1214385.6259 | 2611480.2094 | 1214397.4031 | 2611487.4042 | 1214395.8271
13 | 2611412.7363 | 1214398.2733 | 2611426.1455 | 1214411.5291
14 | 2611396.3467 | 1214500.8681 | 2611409.5147 | 1214477.0352 | 2611411.6982 | 1214472.6167
15 | 2611484.1763 | 1214455.4767 | 2611461.4345 | 1214446.039
16 | 2611461.4345 | 1214446.039 | 2611469.0785 | 1214431.2595
17 | 2611484.1763 | 1214455.4767 | 2611478.4367 | 1214469.4131
18 | 2611469.0785 | 1214431.2595 | 2611477.0257 | 1214415.8939
19 | 2611359.044 | 1214469.1555 | 2611368.3054 | 1214478.017
20 | 2611353.5503 | 1214463.899 | 2611359.044 | 1214469.1555
21 | 2611368.3054 | 1214478.017 | 2611376.3921 | 1214485.7547
22 | 2611353.5503 | 1214463.899 | 2611334.9869 | 1214446.1369
23 | 2611381.2966 | 1214490.4474 | 2611376.3921 | 1214485.7547
24 | 2611334.9869 | 1214446.1369 | 2611330.6765 | 1214442.0127
25 | 2611396.3467 | 1214500.8681 | 2611384.6351 | 1214493.6417 | 2611381.2966 | 1214490.4474
26 | 2611315.4336 | 1214427.24 | 2611328.0548 | 1214439.5041 | 2611330.6765 | 1214442.0127
27 | 2611396.3467 | 1214500.8681 | 2611383.7853 | 1214517.2423 | 2611383.6333 | 1214517.445
28 | 2611396.3467 | 1214500.8681 | 2611410.5182 | 1214504.4081 | 2611417.638 | 1214502.2427 | 2611422.3387 | 1214500.8172
29 | 2611315.4336 | 1214427.24 | 2611309.5565 | 1214434.8443
30 | 2611315.4336 | 1214427.24 | 2611332.1522 | 1214404.8745
31 | 2611309.5565 | 1214434.8443 | 2611299.2953 | 1214425.5102
32 | 2611309.5565 | 1214434.8443 | 2611295.9009 | 1214452.3666
33 | 2611346.6952 | 1214385.4196 | 2611332.1522 | 1214404.8745
34 | 2611289.0796 | 1214416.2174 | 2611299.2953 | 1214425.5102
35 | 2611280.8341 | 1214471.6999 | 2611295.9009 | 1214452.3666
36 | 2611354.4376 | 1214375.0621 | 2611346.6952 | 1214385.4196
37 | 2611280.8341 | 1214471.6999 | 2611264.6885 | 1214491.9761
38 | 2611261.209 | 1214452.4521 | 2611280.8341 | 1214471.6999
39 | 2611354.4376 | 1214375.0621 | 2611343.4129 | 1214364.8077
40 | 2611354.4376 | 1214375.0621 | 2611379.4147 | 1214348.5548
41 | 2611383.6333 | 1214517.445 | 2611382.8408 | 1214518.5021
42 | 2611370.9263 | 1214534.3943 | 2611382.8408 | 1214518.5021
43 | 2611349.2105 | 1214552.6968 | 2611370.9263 | 1214534.3943
44 | 2611495.7055 | 1214478.5674 | 2611471.6636 | 1214485.8588
45 | 2611471.6636 | 1214485.8588 | 2611478.4367 | 1214469.4131
46 | 2611495.7055 | 1214478.5674 | 2611510.3328 | 1214474.1374
47 | 2611495.7055 | 1214478.5674 | 2611506.2434 | 1214515.5974 | 2611502.6904 | 1214522.6195
48 | 2611487.4042 | 1214395.8271 | 2611477.0257 | 1214415.8939
49 | 2611487.4042 | 1214395.8271 | 2611493.4106 | 1214382.7099
50 | 2611474.4887 | 1214350.9771 | 2611457.4971 | 1214381.11
51 | 2611400.7715 | 1214386.4453 | 2611412.7363 | 1214398.2733
52 | 2611474.4887 | 1214350.9771 | 2611458.5683 | 1214344.0614
53 | 2611442.9984 | 1214337.2981 | 2611458.5683 | 1214344.0614
54 | 2611442.9984 | 1214337.2981 | 2611429.8081 | 1214359.4256
55 | 2611510.3328 | 1214474.1374 | 2611517.9117 | 1214458.2491
56 | 2611527.6728 | 1214468.8789 | 2611510.3328 | 1214474.1374
57 | 2611494.916 | 1214537.9844 | 2611502.6904 | 1214522.6195
58 | 2611527.6728 | 1214468.8789 | 2611535.1624 | 1214452.1505
59 | 2611539.1467 | 1214465.399 | 2611527.6728 | 1214468.8789
60 | 2611539.1467 | 1214465.399 | 2611550.1669 | 1214497.1858
61 | 2611539.1467 | 1214465.399 | 2611580.4376 | 1214452.8716
62 | 2611542.6211 | 1214522.5268 | 2611552.1213 | 1214502.8229 | 2611550.1669 | 1214497.1858
63 | 2611580.4376 | 1214452.8716 | 2611595.3281 | 1214479.9068
64 | 2611309.1323 | 1214576.515 | 2611319.1905 | 1214570.683
65 | 2611283.805 | 1214591.8621 | 2611308.5062 | 1214576.8779 | 2611309.1323 | 1214576.515
66 | 2611326.6852 | 1214566.3374 | 2611319.1905 | 1214570.683
67 | 2611262.6045 | 1214566.5413 | 2611283.805 | 1214591.8621
68 | 2611346.9971 | 1214554.5603 | 2611326.6852 | 1214566.3374
69 | 2611346.9971 | 1214554.5603 | 2611349.2105 | 1214552.6968
70 | 2611346.9971 | 1214554.5603 | 2611353.4542 | 1214561.4208 | 2611359.8602 | 1214563.1895 | 2611363.0049 | 1214563.2669
71 | 2611349.2105 | 1214552.6968 | 2611337.8394 | 1214541.8046
72 | 2611368.8024 | 1214563.4096 | 2611363.0049 | 1214563.2669
73 | 2611333.1847 | 1214537.3459 | 2611337.8394 | 1214541.8046
74 | 2611251.3372 | 1214508.7431 | 2611264.6885 | 1214491.9761
75 | 2611233.0244 | 1214490.2872 | 2611251.3372 | 1214508.7431
76 | 2611251.3372 | 1214508.7431 | 2611241.5115 | 1214522.0647
77 | 2611368.8024 | 1214563.4096 | 2611369.6485 | 1214563.4304 | 2611379.3679 | 1214560.1616
78 | 2611333.1847 | 1214537.3459 | 2611321.175 | 1214525.842
79 | 2611379.3679 | 1214560.1616 | 2611388.0286 | 1214557.2489
80 | 2611379.3679 | 1214560.1616 | 2611396.7467 | 1214633.9105
81 | 2611396.7467 | 1214633.9105 | 2611388.6303 | 1214637.0969 | 2611379.1688 | 1214640.8032 | 2611355.0076 | 1214645.0268
82 | 2611395.4848 | 1214554.7412 | 2611388.0286 | 1214557.2489
83 | 2611306.4719 | 1214511.758 | 2611316.5471 | 1214521.4089
84 | 2611306.4719 | 1214511.758 | 2611295.595 | 1214501.3392
85 | 2611316.5471 | 1214521.4089 | 2611321.175 | 1214525.842
86 | 2611291.7512 | 1214497.6573 | 2611295.595 | 1214501.3392
87 | 2611364.6294 | 1214306.8713 | 2611352.7482 | 1214323.4218
88 | 2611364.6294 | 1214306.8713 | 2611377.0036 | 1214289.6343
89 | 2611331.2323 | 1214353.4838 | 2611334.6742 | 1214348.5987 | 2611352.7482 | 1214323.4218
90 | 2611380.2576 | 1214285.1014 | 2611377.0036 | 1214289.6343
91 | 2611331.2323 | 1214353.4838 | 2611333.1427 | 1214355.2551
92 | 2611331.2323 | 1214353.4838 | 2611320.5731 | 1214343.4106
93 | 2611333.1427 | 1214355.2551 | 2611323.0666 | 1214365.7892
94 | 2611333.1427 | 1214355.2551 | 2611343.4129 | 1214364.8077
95 | 2611318.7383 | 1214370.3142 | 2611323.0666 | 1214365.7892
96 | 2611410.2369 | 1214315.8442 | 2611379.4147 | 1214348.5548
97 | 2611603.1177 | 1214494.0497 | 2611595.3281 | 1214479.9068
98 | 2611603.1177 | 1214494.0497 | 2611577.1159 | 1214529.1081
99 | 2611567.7934 | 1214515.7715 | 2611564.7631 | 1214523.7479 | 2611577.1159 | 1214529.1081

## bus_geodata
| x | y | coords
0 | 2611373.8729 | 1214391.5309
1 | 2611377.2353 | 1214394.9418
2 | 2611387.8043 | 1214405.6631
3 | 2611397.6936 | 1214415.6949
4 | 2611404.462 | 1214422.5609
5 | 2611409.8662 | 1214428.043
6 | 2611425.753 | 1214444.1587
7 | 2611436.693 | 1214421.956
8 | 2611415.2187 | 1214465.4925
9 | 2611454.9507 | 1214385.6259
10 | 2611426.1455 | 1214411.5291
11 | 2611411.6982 | 1214472.6167
12 | 2611461.4345 | 1214446.039
13 | 2611484.1763 | 1214455.4768
14 | 2611469.0785 | 1214431.2595
15 | 2611359.044 | 1214469.1555
16 | 2611368.3054 | 1214478.017
17 | 2611353.5503 | 1214463.899
18 | 2611376.3921 | 1214485.7547
19 | 2611334.9869 | 1214446.1369
20 | 2611381.2966 | 1214490.4474
21 | 2611330.6765 | 1214442.0127
22 | 2611396.3467 | 1214500.8681
23 | 2611315.4336 | 1214427.24
24 | 2611309.5565 | 1214434.8443
25 | 2611332.1522 | 1214404.8745
26 | 2611299.2953 | 1214425.5102
27 | 2611295.9009 | 1214452.3666
28 | 2611346.6952 | 1214385.4196
29 | 2611289.0796 | 1214416.2174
30 | 2611280.8341 | 1214471.6999
31 | 2611354.4376 | 1214375.0621
32 | 2611383.6333 | 1214517.445
33 | 2611422.3387 | 1214500.8172
34 | 2611382.8408 | 1214518.5021
35 | 2611370.9263 | 1214534.3943
36 | 2611471.6636 | 1214485.8588
37 | 2611495.7055 | 1214478.5674
38 | 2611478.4367 | 1214469.4131
39 | 2611477.0257 | 1214415.8939
40 | 2611487.4042 | 1214395.8271
41 | 2611493.4106 | 1214382.7099
42 | 2611457.4971 | 1214381.11
43 | 2611412.7363 | 1214398.2733
44 | 2611474.4887 | 1214350.9771
45 | 2611458.5683 | 1214344.0614
46 | 2611442.9984 | 1214337.2981
47 | 2611517.9117 | 1214458.2491
48 | 2611510.3328 | 1214474.1374
49 | 2611502.6904 | 1214522.6195
50 | 2611527.6728 | 1214468.8789
51 | 2611494.916 | 1214537.9844
52 | 2611400.7715 | 1214386.4453
53 | 2611429.8081 | 1214359.4256
54 | 2611535.1624 | 1214452.1505
55 | 2611539.1467 | 1214465.399
56 | 2611550.1669 | 1214497.1858
57 | 2611580.4376 | 1214452.8716
58 | 2611309.1323 | 1214576.515
59 | 2611319.1905 | 1214570.683
60 | 2611283.805 | 1214591.8621
61 | 2611326.6852 | 1214566.3374
62 | 2611262.6045 | 1214566.5413
63 | 2611346.9971 | 1214554.5603
64 | 2611349.2105 | 1214552.6968
65 | 2611363.0049 | 1214563.2669
66 | 2611337.8394 | 1214541.8046
67 | 2611264.6885 | 1214491.9761
68 | 2611261.209 | 1214452.4521
69 | 2611251.3372 | 1214508.7431
70 | 2611233.0244 | 1214490.2872
71 | 2611241.5115 | 1214522.0647
72 | 2611368.8024 | 1214563.4096
73 | 2611333.1847 | 1214537.3459
74 | 2611379.3679 | 1214560.1616
75 | 2611355.0076 | 1214645.0268
76 | 2611396.7467 | 1214633.9105
77 | 2611388.0286 | 1214557.2489
78 | 2611395.4848 | 1214554.7412
79 | 2611306.4719 | 1214511.758
80 | 2611316.5471 | 1214521.4089
81 | 2611295.595 | 1214501.3392
82 | 2611321.175 | 1214525.842
83 | 2611291.7512 | 1214497.6573
84 | 2611364.6294 | 1214306.8713
85 | 2611352.7482 | 1214323.4218
86 | 2611377.0036 | 1214289.6343
87 | 2611331.2323 | 1214353.4838
88 | 2611380.2576 | 1214285.1014
89 | 2611333.1427 | 1214355.2551
90 | 2611320.5731 | 1214343.4106
91 | 2611323.0666 | 1214365.7892
92 | 2611343.4129 | 1214364.8077
93 | 2611318.7383 | 1214370.3142
94 | 2611410.2369 | 1214315.8442
95 | 2611379.4147 | 1214348.5548
96 | 2611595.3281 | 1214479.9068
97 | 2611603.1177 | 1214494.0497
98 | 2611577.1159 | 1214529.1081
99 | 2611567.7934 | 1214515.7715
100 | 2611542.6211 | 1214522.5268
101 | 2611425.753 | 1214444.1587

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1