## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_412-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_412-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_412-18_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_412-18_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_412-18_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_412-18_0_4_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_412-18_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_412-18_0_4_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_412-18_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_412-18_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_412-18_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_412-18_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_412-18_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_412-18_0_4_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_412-18_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_412-18_0_4_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_412-18_0_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_412-18_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_412-18_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_412-18_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_412-18_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_412-18_0_4_node_46 | 0.4 | n |  | TRUE
22 | bus_LV_412-18_0_4_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_412-18_0_4_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_412-18_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_412-18_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_412-18_0_4_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_412-18_0_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_412-18_0_4_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_412-18_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_412-18_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_412-18_0_4_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_412-18_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_412-18_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_412-18_0_4_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_412-18_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_412-18_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_412-18_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_412-18_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_412-18_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_412-18_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_412-18_0_4_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_412-18_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_412-18_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_412-18_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_412-18_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_412-18_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_412-18_0_4_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_412-18_0_4_node_87 | 0.4 | n |  | TRUE
49 | bus_LV_412-18_0_4_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_412-18_0_4_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_412-18_0_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_412-18_0_4_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_412-18_0_4_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_412-18_0_4_node_62 | 0.4 | n |  | TRUE
55 | bus_LV_412-18_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_412-18_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_412-18_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_412-18_0_4_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_412-18_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_412-18_0_4_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_412-18_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_412-18_0_4_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_412-18_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_412-18_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_412-18_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_412-18_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_412-18_0_4_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_412-18_0_4_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_412-18_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_412-18_0_4_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_412-18_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_412-18_0_4_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_412-18_0_4_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_412-18_0_4_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_412-18_0_4_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_412-18_0_4_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_412-18_0_4_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_412-18_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_412-18_0_4_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_412-18_0_4_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_412-18_0_4_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_412-18_0_4_node_81 | 0.4 | n |  | TRUE
83 | bus_LV_412-18_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_412-18_0_4_node_92 | 0.4 | n |  | TRUE
85 | bus_LV_412-18_0_4_node_90 | 0.4 | n |  | TRUE
86 | bus_LV_412-18_0_4_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_412-18_0_4_node_103 | 0.4 | n |  | TRUE
88 | bus_LV_412-18_0_4_node_96 | 0.4 | n |  | TRUE
89 | bus_LV_412-18_0_4_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_412-18_0_4_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_412-18_0_4_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_412-18_0_4_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_412-18_0_4_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_412-18_0_4_node_97 | 0.4 | n |  | TRUE
95 | bus_LV_412-18_0_4_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_412-18_0_4_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_412-18_0_4_node_100 | 0.4 | n |  | TRUE
98 | bus_LV_412-18_0_4_node_101 | 0.4 | n |  | TRUE
99 | bus_LV_412-18_0_4_node_102 | 0.4 | n |  | TRUE
100 | bus_MV_446_1_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_412-18_0_4_load_0 | 0 | 0.0044093 | 0.0011051 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_412-18_0_4_load_1 | 1 | 0.0065982 | 0.0016537 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_412-18_0_4_load_3 | 2 | 0.0022644 | 0.00056752 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_412-18_0_4_load_5 | 3 | 0.0021953 | 0.0005502 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_412-18_0_4_load_16 | 5 | 0.0040726 | 0.0010207 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_412-18_0_4_load_14 | 6 | 0.005046 | 0.0012646 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_412-18_0_4_load_7 | 8 | 0.0027637 | 0.00069266 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_412-18_0_4_load_6 | 9 | 0.005474 | 0.0013719 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_412-18_0_4_load_11 | 12 | 0.0031299 | 0.00078443 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_412-18_0_4_load_15 | 13 | 0.0060213 | 0.0015091 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_412-18_0_4_load_12 | 14 | 0.0033001 | 0.00082708 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_412-18_0_4_load_22 | 15 | 0.0060391 | 0.0015135 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_412-18_0_4_load_27 | 16 | 0.0028228 | 0.00070746 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_412-18_0_4_load_17 | 17 | 0.00098265 | 0.00024628 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_412-18_0_4_load_13 | 18 | 0.0022163 | 0.00055546 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_412-18_0_4_load_23 | 19 | 0.002901 | 0.00072706 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_412-18_0_4_load_18 | 20 | 0.0063145 | 0.0015826 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_412-18_0_4_load_46 | 21 | 0.0009702 | 0.00024316 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_412-18_0_4_load_19 | 23 | 0.0029987 | 0.00075155 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_412-18_0_4_load_20 | 24 | 0.005137 | 0.0012875 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_412-18_0_4_load_55 | 26 | 0.012268 | 0.0030746 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_412-18_0_4_load_52 | 27 | 0.0010041 | 0.00025166 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_412-18_0_4_load_50 | 28 | 0.00094221 | 0.00023614 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_412-18_0_4_load_24 | 29 | 0.0043093 | 0.00108 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_412-18_0_4_load_26 | 30 | 0.0027613 | 0.00069206 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_412-18_0_4_load_29 | 32 | 0.0017309 | 0.00043381 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_412-18_0_4_load_30 | 33 | 0.004155 | 0.0010413 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_412-18_0_4_load_31 | 34 | 0.005268 | 0.0013203 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_412-18_0_4_load_32 | 35 | 0.0029068 | 0.00072851 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_412-18_0_4_load_33 | 36 | 0.0032083 | 0.00080407 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_412-18_0_4_load_35 | 38 | 0.004413 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_412-18_0_4_load_36 | 39 | 0.0031913 | 0.00079982 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_412-18_0_4_load_41 | 40 | 0.0036335 | 0.00091065 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_412-18_0_4_load_45 | 41 | 0.003102 | 0.00077744 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_412-18_0_4_load_38 | 43 | 0.0036977 | 0.00092674 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_412-18_0_4_load_39 | 44 | 0.0016541 | 0.00041455 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_412-18_0_4_load_40 | 45 | 0.0030928 | 0.00077513 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_412-18_0_4_load_44 | 46 | 0.0013867 | 0.00034754 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_412-18_0_4_load_87 | 48 | 0.005473 | 0.0013717 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_412-18_0_4_load_85 | 49 | 0.004911 | 0.0012308 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_412-18_0_4_load_95 | 50 | 0.0032849 | 0.00082327 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_412-18_0_4_load_56 | 52 | 0.0056393 | 0.0014133 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_412-18_0_4_load_66 | 53 | 0.0091561 | 0.0022947 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_412-18_0_4_load_62 | 54 | 0.0010948 | 0.0002744 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_412-18_0_4_load_57 | 55 | 0.0058961 | 0.0014777 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_412-18_0_4_load_48 | 56 | 0.00098259 | 0.00024626 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_412-18_0_4_load_49 | 57 | 0.00088261 | 0.0002212 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_412-18_0_4_load_77 | 61 | 0.0040986 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_412-18_0_4_load_59 | 63 | 0.0079883 | 0.0020021 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_412-18_0_4_load_64 | 66 | 0.0044363 | 0.0011118 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_412-18_0_4_load_65 | 67 | 0.0033519 | 0.00084006 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_412-18_0_4_load_70 | 68 | 0.0019038 | 0.00047714 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_412-18_0_4_load_69 | 69 | 0.004084 | 0.0010235 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_412-18_0_4_load_83 | 70 | 0.0045286 | 0.001135 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_412-18_0_4_load_71 | 71 | 0.0038488 | 0.0009646 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_412-18_0_4_load_68 | 72 | 0.0060969 | 0.001528 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_412-18_0_4_load_72 | 74 | 0.0095185 | 0.0023856 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_412-18_0_4_load_86 | 75 | 0.0044639 | 0.0011188 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_412-18_0_4_load_73 | 76 | 0.0042301 | 0.0010602 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_412-18_0_4_load_76 | 79 | 0.0022831 | 0.00057219 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_412-18_0_4_load_80 | 80 | 0.0056456 | 0.0014149 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_412-18_0_4_load_78 | 81 | 0.0032189 | 0.00080672 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_412-18_0_4_load_79 | 83 | 0.0024491 | 0.00061381 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_412-18_0_4_load_92 | 84 | 0.0031715 | 0.00079485 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_412-18_0_4_load_90 | 85 | 0.0062571 | 0.0015682 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_412-18_0_4_load_103 | 87 | 0.0053429 | 0.0013391 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_412-18_0_4_load_88 | 89 | 0.0033741 | 0.00084563 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_412-18_0_4_load_89 | 90 | 0.0040428 | 0.0010132 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_412-18_0_4_load_91 | 91 | 0.0039312 | 0.00098525 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_412-18_0_4_load_93 | 92 | 0.001835 | 0.0004599 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_412-18_0_4_load_94 | 93 | 0.0017041 | 0.00042709 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_412-18_0_4_load_97 | 94 | 0.0057755 | 0.0014475 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_412-18_0_4_load_98 | 95 | 0.002047 | 0.00051303 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_412-18_0_4_load_99 | 96 | 0.0022179 | 0.00055587 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_412-18_0_4_load_100 | 97 | 0.00093463 | 0.00023424 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_412-18_0_4_load_101 | 98 | 0.0020479 | 0.00051325 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_412-18_0_4_load_102 | 99 | 0.00572 | 0.0014336 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 67 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_412-18_0_4_line_0 |  | 0 | 1 | 0.023914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_412-18_0_4_line_1 |  | 1 | 2 | 0.011934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_412-18_0_4_line_2 |  | 2 | 3 | 0.026032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_412-18_0_4_line_3 |  | 3 | 4 | 0.0027056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_412-18_0_4_line_4 |  | 4 | 7 | 0.010653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_412-18_0_4_line_5 |  | 4 | 8 | 0.024194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_412-18_0_4_line_6 |  | 5 | 6 | 0.01443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_412-18_0_4_line_7 |  | 6 | 18 | 0.017142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_412-18_0_4_line_8 |  | 7 | 16 | 0.01389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_412-18_0_4_line_9 |  | 8 | 9 | 0.0028174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_412-18_0_4_line_10 |  | 9 | 10 | 0.034432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_412-18_0_4_line_11 |  | 10 | 11 | 0.006817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_412-18_0_4_line_12 |  | 10 | 12 | 0.013305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_412-18_0_4_line_13 |  | 11 | 13 | 0.018757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_412-18_0_4_line_14 |  | 11 | 14 | 0.012777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_412-18_0_4_line_15 |  | 12 | 15 | 0.010752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_412-18_0_4_line_16 |  | 13 | 17 | 0.027196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_412-18_0_4_line_17 |  | 14 | 18 | 0.016429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_412-18_0_4_line_18 |  | 15 | 19 | 0.009357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_412-18_0_4_line_19 |  | 16 | 30 | 0.01032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_412-18_0_4_line_20 |  | 17 | 20 | 0.0028247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_412-18_0_4_line_21 |  | 19 | 29 | 0.021439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_412-18_0_4_line_22 |  | 20 | 21 | 0.018895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_412-18_0_4_line_23 |  | 21 | 22 | 0.03349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_412-18_0_4_line_24 |  | 22 | 51 | 0.00417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_412-18_0_4_line_25 |  | 22 | 52 | 0.021662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_412-18_0_4_line_26 |  | 23 | 24 | 0.014124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_412-18_0_4_line_27 |  | 24 | 25 | 0.021008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_412-18_0_4_line_28 |  | 25 | 26 | 0.026024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_412-18_0_4_line_29 |  | 25 | 27 | 0.016949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_412-18_0_4_line_30 |  | 27 | 28 | 0.014339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_412-18_0_4_line_31 |  | 28 | 56 | 0.013731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_412-18_0_4_line_32 |  | 30 | 31 | 0.0059225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_412-18_0_4_line_33 |  | 31 | 32 | 0.011663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_412-18_0_4_line_34 |  | 31 | 33 | 0.020415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_412-18_0_4_line_35 |  | 32 | 34 | 0.0081729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_412-18_0_4_line_36 |  | 34 | 35 | 0.021871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_412-18_0_4_line_37 |  | 35 | 36 | 0.0021498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_412-18_0_4_line_38 |  | 36 | 37 | 0.012097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_412-18_0_4_line_39 |  | 37 | 38 | 0.013231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_412-18_0_4_line_40 |  | 37 | 39 | 0.020397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_412-18_0_4_line_41 |  | 38 | 40 | 0.0090683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_412-18_0_4_line_42 |  | 39 | 41 | 0.020187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_412-18_0_4_line_43 |  | 40 | 42 | 0.015041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_412-18_0_4_line_44 |  | 42 | 47 | 0.012659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_412-18_0_4_line_45 |  | 42 | 46 | 0.040226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_412-18_0_4_line_46 |  | 43 | 44 | 0.00076884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_412-18_0_4_line_47 |  | 44 | 45 | 0.0064844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_412-18_0_4_line_48 |  | 45 | 46 | 0.00034435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_412-18_0_4_line_49 |  | 47 | 48 | 0.0083299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_412-18_0_4_line_50 |  | 47 | 49 | 0.017354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_412-18_0_4_line_51 |  | 48 | 50 | 0.0099225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_412-18_0_4_line_52 |  | 50 | 88 | 0.043772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_412-18_0_4_line_53 |  | 51 | 53 | 0.018467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_412-18_0_4_line_54 |  | 51 | 54 | 0.020544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_412-18_0_4_line_55 |  | 52 | 55 | 0.0062042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_412-18_0_4_line_56 |  | 54 | 62 | 0.014784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_412-18_0_4_line_57 |  | 55 | 59 | 0.027982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_412-18_0_4_line_58 |  | 56 | 57 | 0.014456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_412-18_0_4_line_59 |  | 57 | 58 | 0.0067287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_412-18_0_4_line_60 |  | 58 | 59 | 0.008823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_412-18_0_4_line_61 |  | 59 | 60 | 0.038684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_412-18_0_4_line_62 |  | 60 | 61 | 0.019827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_412-18_0_4_line_63 |  | 62 | 65 | 0.024528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_412-18_0_4_line_64 |  | 63 | 64 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_412-18_0_4_line_65 |  | 64 | 66 | 0.0045231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_412-18_0_4_line_66 |  | 64 | 67 | 0.012056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_412-18_0_4_line_67 |  | 65 | 68 | 0.015494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_412-18_0_4_line_68 |  | 65 | 69 | 0.026996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_412-18_0_4_line_69 |  | 66 | 70 | 0.021832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_412-18_0_4_line_70 |  | 68 | 71 | 0.016484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_412-18_0_4_line_71 |  | 69 | 72 | 0.0014288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_412-18_0_4_line_72 |  | 70 | 73 | 0.015207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_412-18_0_4_line_73 |  | 71 | 74 | 0.0070045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_412-18_0_4_line_74 |  | 73 | 75 | 0.010145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_412-18_0_4_line_75 |  | 74 | 75 | 0.010638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_412-18_0_4_line_76 |  | 76 | 77 | 0.025416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_412-18_0_4_line_77 |  | 77 | 78 | 0.005232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_412-18_0_4_line_78 |  | 77 | 79 | 0.030985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_412-18_0_4_line_79 |  | 78 | 80 | 0.04749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_412-18_0_4_line_80 |  | 79 | 81 | 0.0070305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_412-18_0_4_line_81 |  | 80 | 82 | 0.06008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_412-18_0_4_line_82 |  | 81 | 83 | 0.026794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_412-18_0_4_line_83 |  | 82 | 86 | 0.051345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_412-18_0_4_line_84 |  | 83 | 84 | 0.021039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_412-18_0_4_line_85 |  | 84 | 85 | 0.0017169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_412-18_0_4_line_86 |  | 85 | 89 | 0.022606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_412-18_0_4_line_87 |  | 86 | 87 | 0.040359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_412-18_0_4_line_88 |  | 88 | 94 | 0.014747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_412-18_0_4_line_89 |  | 88 | 93 | 0.012441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_412-18_0_4_line_90 |  | 89 | 90 | 0.0093208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_412-18_0_4_line_91 |  | 90 | 91 | 0.016173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_412-18_0_4_line_92 |  | 91 | 92 | 0.0041208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_412-18_0_4_line_93 |  | 92 | 93 | 0.00030721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_412-18_0_4_line_94 |  | 94 | 95 | 0.0055321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_412-18_0_4_line_95 |  | 95 | 96 | 0.022538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_412-18_0_4_line_96 |  | 96 | 97 | 0.01573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_412-18_0_4_line_97 |  | 97 | 98 | 0.0082177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_412-18_0_4_line_98 |  | 98 | 99 | 0.0038557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_412-18_0_4_trafo_65 | 0.63 MVA 20/0.4 kV | 100 | 67 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2611245.4762 | 1215138.0142 | 2611254.6124 | 1215160.1144
1 | 2611254.6124 | 1215160.1144 | 2611259.1716 | 1215171.1428
2 | 2611269.1169 | 1215195.2002 | 2611259.1716 | 1215171.1428
3 | 2611270.1505 | 1215197.7005 | 2611269.1169 | 1215195.2002
4 | 2611270.1505 | 1215197.7005 | 2611273.6701 | 1215207.7573
5 | 2611270.1505 | 1215197.7005 | 2611247.5248 | 1215206.2688
6 | 2611180.6563 | 1215168.0875 | 2611186.0815 | 1215181.4586
7 | 2611195.2585 | 1215194.8804 | 2611190.4999 | 1215192.3483 | 2611186.0815 | 1215181.4586
8 | 2611273.6701 | 1215207.7573 | 2611278.2515 | 1215220.8695
9 | 2611247.5248 | 1215206.2688 | 2611244.89 | 1215207.2666
10 | 2611212.6897 | 1215219.4606 | 2611244.89 | 1215207.2666
11 | 2611212.6897 | 1215219.4606 | 2611206.2993 | 1215221.8834
12 | 2611212.6897 | 1215219.4606 | 2611217.5953 | 1215231.8288
13 | 2611206.2993 | 1215221.8834 | 2611192.9942 | 1215226.9281 | 2611188.8189 | 1215228.6782
14 | 2611206.2993 | 1215221.8834 | 2611201.501 | 1215210.0415
15 | 2611221.5595 | 1215241.8234 | 2611217.5953 | 1215231.8288
16 | 2611174.8597 | 1215245.5477 | 2611172.8392 | 1215240.5537 | 2611174.0875 | 1215234.8528 | 2611188.8189 | 1215228.6782
17 | 2611201.501 | 1215210.0415 | 2611195.385 | 1215194.9478 | 2611195.2585 | 1215194.8804
18 | 2611221.5595 | 1215241.8234 | 2611225.0094 | 1215250.5213
19 | 2611281.6556 | 1215230.6121 | 2611278.2515 | 1215220.8695
20 | 2611175.9192 | 1215248.1662 | 2611174.8597 | 1215245.5477
21 | 2611232.9136 | 1215270.4495 | 2611225.0094 | 1215250.5213
22 | 2611175.9192 | 1215248.1662 | 2611183.0061 | 1215265.6822
23 | 2611195.5669 | 1215296.7279 | 2611183.0061 | 1215265.6822
24 | 2611197.1467 | 1215300.5885 | 2611195.5669 | 1215296.7279
25 | 2611195.5669 | 1215296.7279 | 2611175.1783 | 1215304.0452
26 | 2611135.6868 | 1215237.9122 | 2611148.8436 | 1215232.7767
27 | 2611116.1164 | 1215245.5511 | 2611135.6868 | 1215237.9122
28 | 2611116.1164 | 1215245.5511 | 2611092.9714 | 1215257.4485
29 | 2611116.1164 | 1215245.5511 | 2611122.2158 | 1215261.3647
30 | 2611127.3758 | 1215274.7427 | 2611122.2158 | 1215261.3647
31 | 2611132.3172 | 1215287.5541 | 2611127.3758 | 1215274.7427
32 | 2611283.6092 | 1215236.2032 | 2611281.6556 | 1215230.6121
33 | 2611283.6092 | 1215236.2032 | 2611287.5738 | 1215247.1714
34 | 2611283.6092 | 1215236.2032 | 2611300.6143 | 1215224.9067
35 | 2611290.352 | 1215254.8577 | 2611287.5738 | 1215247.1714
36 | 2611290.352 | 1215254.8577 | 2611297.7866 | 1215275.4259
37 | 2611298.5174 | 1215277.4477 | 2611297.7866 | 1215275.4259
38 | 2611302.6296 | 1215288.8243 | 2611298.5174 | 1215277.4477
39 | 2611302.6296 | 1215288.8243 | 2611307.4762 | 1215301.1359
40 | 2611302.6296 | 1215288.8243 | 2611321.556 | 1215281.2202
41 | 2611310.7979 | 1215309.5739 | 2611307.4762 | 1215301.1359
42 | 2611339.3673 | 1215271.9278 | 2611330.8595 | 1215277.4823 | 2611321.556 | 1215281.2202
43 | 2611316.3075 | 1215323.5697 | 2611310.7979 | 1215309.5739
44 | 2611319.0556 | 1215335.9263 | 2611316.3075 | 1215323.5697
45 | 2611316.3075 | 1215323.5697 | 2611353.1359 | 1215307.3885
46 | 2611360.0918 | 1215304.3324 | 2611359.3879 | 1215304.6416
47 | 2611359.3879 | 1215304.6416 | 2611353.4512 | 1215307.25
48 | 2611353.4512 | 1215307.25 | 2611353.1359 | 1215307.3885
49 | 2611319.0556 | 1215335.9263 | 2611322.1717 | 1215343.6514
50 | 2611319.0556 | 1215335.9263 | 2611302.8 | 1215342.0032
51 | 2611325.8834 | 1215352.8535 | 2611322.1717 | 1215343.6514
52 | 2611342.2575 | 1215393.4472 | 2611325.8834 | 1215352.8535
53 | 2611197.1467 | 1215300.5885 | 2611214.1991 | 1215293.383
54 | 2611197.1467 | 1215300.5885 | 2611204.9223 | 1215319.6038
55 | 2611175.1783 | 1215304.0452 | 2611169.3388 | 1215306.141
56 | 2611210.5177 | 1215333.2876 | 2611204.9223 | 1215319.6038
57 | 2611143.0027 | 1215315.5962 | 2611148.0783 | 1215313.7712 | 2611169.3388 | 1215306.141
58 | 2611132.3172 | 1215287.5541 | 2611136.1645 | 1215297.5288 | 2611137.5203 | 1215301.0417
59 | 2611139.9429 | 1215307.3191 | 2611137.5203 | 1215301.0417
60 | 2611139.9429 | 1215307.3191 | 2611143.0027 | 1215315.5962
61 | 2611158.2365 | 1215351.1668 | 2611143.0027 | 1215315.5962
62 | 2611158.2365 | 1215351.1668 | 2611140.4473 | 1215359.9208
63 | 2611219.8071 | 1215355.9956 | 2611210.5177 | 1215333.2876
64 | 2611251.8552 | 1215316.689 | 2611235.4486 | 1215323.2769
65 | 2611251.8552 | 1215316.689 | 2611253.5363 | 1215320.888
66 | 2611251.8552 | 1215316.689 | 2611247.3659 | 1215305.4964
67 | 2611219.8071 | 1215355.9956 | 2611225.6724 | 1215370.3369
68 | 2611219.8071 | 1215355.9956 | 2611194.999 | 1215366.6413
69 | 2611253.5363 | 1215320.888 | 2611261.6508 | 1215341.1558
70 | 2611225.6724 | 1215370.3369 | 2611225.6724 | 1215370.3369 | 2611241.1733 | 1215364.728
71 | 2611193.686 | 1215367.2047 | 2611194.999 | 1215366.6413
72 | 2611267.3029 | 1215355.2731 | 2611261.6508 | 1215341.1558
73 | 2611247.7599 | 1215362.3447 | 2611241.1733 | 1215364.728
74 | 2611267.3029 | 1215355.2731 | 2611257.7631 | 1215358.725
75 | 2611247.7599 | 1215362.3447 | 2611257.7631 | 1215358.725
76 | 2611202.5307 | 1215454.6301 | 2611199.4841 | 1215447.4982 | 2611192.5327 | 1215431.2634
77 | 2611202.5307 | 1215454.6301 | 2611204.6782 | 1215459.4035
78 | 2611202.5307 | 1215454.6301 | 2611230.9143 | 1215442.2016
79 | 2611204.6782 | 1215459.4035 | 2611223.1131 | 1215503.1693
80 | 2611230.9143 | 1215442.2016 | 2611237.3545 | 1215439.3816
81 | 2611246.4353 | 1215558.5378 | 2611223.1131 | 1215503.1693
82 | 2611261.8989 | 1215428.6343 | 2611237.3545 | 1215439.3816
83 | 2611267.0752 | 1215605.5698 | 2611246.4353 | 1215558.5378
84 | 2611281.171 | 1215420.1955 | 2611261.8989 | 1215428.6343
85 | 2611281.171 | 1215420.1955 | 2611282.7437 | 1215419.5068
86 | 2611303.4519 | 1215410.4392 | 2611282.7437 | 1215419.5068
87 | 2611267.0752 | 1215605.5698 | 2611304.0871 | 1215589.4783
88 | 2611342.2575 | 1215393.4472 | 2611355.8695 | 1215387.7731
89 | 2611342.2575 | 1215393.4472 | 2611330.8607 | 1215398.4375
90 | 2611303.4519 | 1215410.4392 | 2611311.99 | 1215406.7005
91 | 2611326.8046 | 1215400.2136 | 2611311.99 | 1215406.7005
92 | 2611326.8046 | 1215400.2136 | 2611330.5793 | 1215398.5607
93 | 2611330.8607 | 1215398.4375 | 2611330.5793 | 1215398.5607
94 | 2611355.8695 | 1215387.7731 | 2611360.9758 | 1215385.6446
95 | 2611360.9758 | 1215385.6446 | 2611381.7787 | 1215376.973
96 | 2611381.7787 | 1215376.973 | 2611393.87 | 1215371.9329 | 2611396.0944 | 1215370.5291
97 | 2611396.0944 | 1215370.5291 | 2611403.0441 | 1215366.1436
98 | 2611403.0441 | 1215366.1436 | 2611406.3048 | 1215364.086

## bus_geodata
| x | y | coords
0 | 2611245.4762 | 1215138.0142
1 | 2611254.6124 | 1215160.1144
2 | 2611259.1716 | 1215171.1428
3 | 2611269.1169 | 1215195.2002
4 | 2611270.1505 | 1215197.7005
5 | 2611180.6563 | 1215168.0875
6 | 2611186.0815 | 1215181.4586
7 | 2611273.6701 | 1215207.7573
8 | 2611247.5248 | 1215206.2688
9 | 2611244.89 | 1215207.2666
10 | 2611212.6897 | 1215219.4606
11 | 2611206.2993 | 1215221.8834
12 | 2611217.5953 | 1215231.8288
13 | 2611188.8189 | 1215228.6782
14 | 2611201.501 | 1215210.0415
15 | 2611221.5595 | 1215241.8234
16 | 2611278.2515 | 1215220.8695
17 | 2611174.8597 | 1215245.5477
18 | 2611195.2585 | 1215194.8804
19 | 2611225.0094 | 1215250.5213
20 | 2611175.9192 | 1215248.1662
21 | 2611183.0061 | 1215265.6822
22 | 2611195.5669 | 1215296.7279
23 | 2611148.8436 | 1215232.7767
24 | 2611135.6868 | 1215237.9122
25 | 2611116.1164 | 1215245.5511
26 | 2611092.9714 | 1215257.4485
27 | 2611122.2158 | 1215261.3647
28 | 2611127.3758 | 1215274.7427
29 | 2611232.9136 | 1215270.4495
30 | 2611281.6556 | 1215230.6121
31 | 2611283.6092 | 1215236.2032
32 | 2611287.5738 | 1215247.1714
33 | 2611300.6143 | 1215224.9067
34 | 2611290.352 | 1215254.8577
35 | 2611297.7866 | 1215275.4259
36 | 2611298.5174 | 1215277.4477
37 | 2611302.6296 | 1215288.8243
38 | 2611307.4762 | 1215301.1359
39 | 2611321.556 | 1215281.2202
40 | 2611310.7979 | 1215309.5739
41 | 2611339.3673 | 1215271.9278
42 | 2611316.3075 | 1215323.5697
43 | 2611360.0918 | 1215304.3324
44 | 2611359.3879 | 1215304.6416
45 | 2611353.4512 | 1215307.25
46 | 2611353.1359 | 1215307.3885
47 | 2611319.0556 | 1215335.9263
48 | 2611322.1717 | 1215343.6514
49 | 2611302.8 | 1215342.0032
50 | 2611325.8834 | 1215352.8535
51 | 2611197.1467 | 1215300.5885
52 | 2611175.1783 | 1215304.0452
53 | 2611214.1991 | 1215293.383
54 | 2611204.9223 | 1215319.6038
55 | 2611169.3388 | 1215306.141
56 | 2611132.3172 | 1215287.5541
57 | 2611137.5203 | 1215301.0417
58 | 2611139.9429 | 1215307.3191
59 | 2611143.0027 | 1215315.5962
60 | 2611158.2365 | 1215351.1668
61 | 2611140.4473 | 1215359.9208
62 | 2611210.5177 | 1215333.2876
63 | 2611235.4486 | 1215323.2769
64 | 2611251.8552 | 1215316.689
65 | 2611219.8071 | 1215355.9956
66 | 2611253.5363 | 1215320.888
67 | 2611247.3659 | 1215305.4964
68 | 2611225.6724 | 1215370.3369
69 | 2611194.999 | 1215366.6413
70 | 2611261.6508 | 1215341.1558
71 | 2611241.1733 | 1215364.728
72 | 2611193.686 | 1215367.2047
73 | 2611267.3029 | 1215355.2731
74 | 2611247.7599 | 1215362.3447
75 | 2611257.7631 | 1215358.725
76 | 2611192.5327 | 1215431.2634
77 | 2611202.5307 | 1215454.6301
78 | 2611204.6782 | 1215459.4035
79 | 2611230.9143 | 1215442.2016
80 | 2611223.1131 | 1215503.1693
81 | 2611237.3545 | 1215439.3816
82 | 2611246.4353 | 1215558.5378
83 | 2611261.8989 | 1215428.6343
84 | 2611281.171 | 1215420.1955
85 | 2611282.7437 | 1215419.5068
86 | 2611267.0752 | 1215605.5698
87 | 2611304.0871 | 1215589.4783
88 | 2611342.2575 | 1215393.4472
89 | 2611303.4519 | 1215410.4392
90 | 2611311.99 | 1215406.7005
91 | 2611326.8046 | 1215400.2136
92 | 2611330.5793 | 1215398.5607
93 | 2611330.8607 | 1215398.4375
94 | 2611355.8695 | 1215387.7731
95 | 2611360.9758 | 1215385.6446
96 | 2611381.7787 | 1215376.973
97 | 2611396.0944 | 1215370.5291
98 | 2611403.0441 | 1215366.1436
99 | 2611406.3048 | 1215364.086
100 | 2611251.8552 | 1215316.689

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1