## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_412-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_412-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_412-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_412-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_412-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_412-19_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_412-19_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_412-19_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_412-19_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_412-19_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_412-19_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_412-19_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_412-19_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_412-19_0_3_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_412-19_0_3_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_412-19_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_412-19_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_412-19_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_412-19_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_412-19_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_412-19_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_412-19_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_412-19_0_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_412-19_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_412-19_0_3_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_412-19_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_412-19_0_3_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_412-19_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_412-19_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_412-19_0_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_412-19_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_412-19_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_412-19_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_412-19_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_412-19_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_412-19_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_412-19_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_412-19_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_412-19_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_412-19_0_3_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_412-19_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_412-19_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_412-19_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_412-19_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_412-19_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_412-19_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_412-19_0_3_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_412-19_0_3_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_412-19_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_412-19_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_412-19_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_412-19_0_3_node_98 | 0.4 | n |  | TRUE
52 | bus_LV_412-19_0_3_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_412-19_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_412-19_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_412-19_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_412-19_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_412-19_0_3_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_412-19_0_3_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_412-19_0_3_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_412-19_0_3_node_61 | 0.4 | n |  | TRUE
61 | bus_LV_412-19_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_412-19_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_412-19_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_412-19_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_412-19_0_3_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_412-19_0_3_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_412-19_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_412-19_0_3_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_412-19_0_3_node_95 | 0.4 | n |  | TRUE
70 | bus_LV_412-19_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_412-19_0_3_node_96 | 0.4 | n |  | TRUE
72 | bus_LV_412-19_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_412-19_0_3_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_412-19_0_3_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_412-19_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_412-19_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_412-19_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_412-19_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_412-19_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_412-19_0_3_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_412-19_0_3_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_412-19_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_412-19_0_3_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_412-19_0_3_node_81 | 0.4 | n |  | TRUE
85 | bus_LV_412-19_0_3_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_412-19_0_3_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_412-19_0_3_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_412-19_0_3_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_412-19_0_3_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_412-19_0_3_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_412-19_0_3_node_89 | 0.4 | n |  | TRUE
92 | bus_LV_412-19_0_3_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_412-19_0_3_node_91 | 0.4 | n |  | TRUE
94 | bus_LV_412-19_0_3_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_412-19_0_3_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_412-19_0_3_node_94 | 0.4 | n |  | TRUE
97 | bus_MV_485_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_412-19_0_3_load_0 | 0 | 0.0022515 | 0.00056428 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_412-19_0_3_load_1 | 1 | 0.0025172 | 0.00063086 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_412-19_0_3_load_2 | 2 | 0.0012293 | 0.00030809 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_412-19_0_3_load_5 | 5 | 0.001249 | 0.00031302 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_412-19_0_3_load_6 | 6 | 0.00064772 | 0.00016233 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_412-19_0_3_load_10 | 7 | 0.0022475 | 0.00056329 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_412-19_0_3_load_11 | 8 | 0.00045154 | 0.00011317 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_412-19_0_3_load_9 | 11 | 0.00071865 | 0.00018011 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_412-19_0_3_load_16 | 12 | 0.00042781 | 0.00010722 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_412-19_0_3_load_20 | 13 | 0.00048833 | 0.00012239 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_412-19_0_3_load_21 | 14 | 0.0023308 | 0.00058415 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_412-19_0_3_load_14 | 15 | 0.00073527 | 0.00018428 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_412-19_0_3_load_12 | 16 | 0.00024466 | 6.1318e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_412-19_0_3_load_13 | 17 | 0.00029719 | 7.4482e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_412-19_0_3_load_17 | 20 | 0.00036128 | 9.0546e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_412-19_0_3_load_15 | 21 | 0.0018242 | 0.00045718 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_412-19_0_3_load_28 | 22 | 0.00079092 | 0.00019822 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_412-19_0_3_load_27 | 23 | 0.00020026 | 5.019e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_412-19_0_3_load_29 | 24 | 0.00089387 | 0.00022402 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_412-19_0_3_load_25 | 25 | 0.00030336 | 7.6029e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_412-19_0_3_load_26 | 27 | 0.00030679 | 7.6888e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_412-19_0_3_load_23 | 28 | 0.00098134 | 0.00024595 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_412-19_0_3_load_31 | 29 | 0.00055018 | 0.00013789 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_412-19_0_3_load_24 | 30 | 0.0026753 | 0.0006705 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_412-19_0_3_load_30 | 32 | 0.00029879 | 7.4884e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_412-19_0_3_load_33 | 33 | 0.00026297 | 6.5906e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_412-19_0_3_load_34 | 34 | 0.0019693 | 0.00049354 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_412-19_0_3_load_35 | 35 | 0.0012176 | 0.00030517 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_412-19_0_3_load_36 | 37 | 0.00050161 | 0.00012571 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_412-19_0_3_load_39 | 38 | 0.0017736 | 0.0004445 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_412-19_0_3_load_37 | 39 | 0.00051393 | 0.0001288 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_412-19_0_3_load_41 | 40 | 0.00015981 | 4.0051e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_412-19_0_3_load_42 | 41 | 0.0032048 | 0.0008032 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_412-19_0_3_load_40 | 42 | 0.0015051 | 0.0003772 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_412-19_0_3_load_44 | 44 | 0.00025973 | 6.5095e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_412-19_0_3_load_45 | 45 | 0.00021646 | 5.4249e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_412-19_0_3_load_46 | 46 | 0.00022172 | 5.5568e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_412-19_0_3_load_49 | 47 | 0.0012675 | 0.00031766 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_412-19_0_3_load_47 | 48 | 0.0020751 | 0.00052008 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_412-19_0_3_load_50 | 49 | 0.00033507 | 8.3978e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_412-19_0_3_load_97 | 52 | 0.00015699 | 3.9345e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_412-19_0_3_load_51 | 53 | 0.00050477 | 0.00012651 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_412-19_0_3_load_53 | 55 | 0.0023012 | 0.00057674 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_412-19_0_3_load_54 | 56 | 0.00074288 | 0.00018618 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_412-19_0_3_load_56 | 57 | 0.00044166 | 0.00011069 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_412-19_0_3_load_55 | 59 | 0.0026367 | 0.00066083 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_412-19_0_3_load_61 | 60 | 0.0027089 | 0.00067892 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_412-19_0_3_load_62 | 61 | 0.00037312 | 9.3513e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_412-19_0_3_load_57 | 62 | 0.00050472 | 0.0001265 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_412-19_0_3_load_58 | 63 | 0.00054774 | 0.00013728 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_412-19_0_3_load_59 | 64 | 0.00029016 | 7.2721e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_412-19_0_3_load_77 | 65 | 0.00040466 | 0.00010142 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_412-19_0_3_load_76 | 66 | 0.0010688 | 0.00026786 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_412-19_0_3_load_63 | 67 | 0.0010969 | 0.0002749 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_412-19_0_3_load_70 | 68 | 0.0025171 | 0.00063084 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_412-19_0_3_load_95 | 69 | 0.00030194 | 7.5672e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_412-19_0_3_load_96 | 71 | 0.0011615 | 0.00029109 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_412-19_0_3_load_65 | 72 | 0.0021669 | 0.00054309 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_412-19_0_3_load_67 | 74 | 0.0070554 | 0.0017682 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_412-19_0_3_load_69 | 75 | 0.0017519 | 0.00043906 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_412-19_0_3_load_68 | 76 | 0.002083 | 0.00052204 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_412-19_0_3_load_71 | 77 | 0.0036254 | 0.00090862 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_412-19_0_3_load_78 | 79 | 0.0022747 | 0.00057009 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_412-19_0_3_load_79 | 80 | 0.0034765 | 0.0008713 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_412-19_0_3_load_73 | 81 | 0.00037758 | 9.4629e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_412-19_0_3_load_82 | 85 | 0.00057407 | 0.00014388 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_412-19_0_3_load_85 | 86 | 0.00057312 | 0.00014364 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_412-19_0_3_load_83 | 87 | 0.0018039 | 0.0004521 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_412-19_0_3_load_86 | 88 | 0.00051729 | 0.00012964 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_412-19_0_3_load_88 | 89 | 0.0033783 | 0.00084668 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_412-19_0_3_load_84 | 90 | 0.00072466 | 0.00018162 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_412-19_0_3_load_89 | 91 | 0.001682 | 0.00042156 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_412-19_0_3_load_90 | 92 | 0.0015283 | 0.00038303 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_412-19_0_3_load_92 | 94 | 0.00054332 | 0.00013617 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_412-19_0_3_load_93 | 95 | 0.00026701 | 6.6919e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_412-19_0_3_load_94 | 96 | 0.00053878 | 0.00013503 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_412-19_0_3_line_0 |  | 0 | 1 | 0.095239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_412-19_0_3_line_1 |  | 1 | 2 | 0.012629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_412-19_0_3_line_2 |  | 2 | 3 | 0.091229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_412-19_0_3_line_3 |  | 3 | 4 | 0.10587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_412-19_0_3_line_4 |  | 3 | 5 | 0.015188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_412-19_0_3_line_5 |  | 4 | 6 | 0.070274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_412-19_0_3_line_6 |  | 5 | 7 | 0.023871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_412-19_0_3_line_7 |  | 7 | 8 | 0.047057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_412-19_0_3_line_8 |  | 8 | 16 | 0.074016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_412-19_0_3_line_9 |  | 9 | 10 | 0.017013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_412-19_0_3_line_10 |  | 9 | 11 | 0.015025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_412-19_0_3_line_11 |  | 10 | 12 | 0.015313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_412-19_0_3_line_12 |  | 12 | 15 | 0.029437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_412-19_0_3_line_13 |  | 13 | 14 | 0.037262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_412-19_0_3_line_14 |  | 14 | 26 | 0.018335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_412-19_0_3_line_15 |  | 15 | 21 | 0.014815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_412-19_0_3_line_16 |  | 16 | 17 | 0.019686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_412-19_0_3_line_17 |  | 17 | 18 | 0.024288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_412-19_0_3_line_18 |  | 18 | 19 | 0.017873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_412-19_0_3_line_19 |  | 18 | 20 | 0.023843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_412-19_0_3_line_20 |  | 19 | 22 | 0.021889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_412-19_0_3_line_21 |  | 19 | 23 | 0.029719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_412-19_0_3_line_22 |  | 20 | 21 | 0.00065012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_412-19_0_3_line_23 |  | 22 | 24 | 0.026502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_412-19_0_3_line_24 |  | 23 | 25 | 0.0071232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_412-19_0_3_line_25 |  | 24 | 32 | 0.00061537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_412-19_0_3_line_26 |  | 25 | 30 | 0.0090692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_412-19_0_3_line_27 |  | 26 | 27 | 0.04028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_412-19_0_3_line_28 |  | 26 | 28 | 0.031315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_412-19_0_3_line_29 |  | 27 | 29 | 0.00011328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_412-19_0_3_line_30 |  | 28 | 30 | 0.021749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_412-19_0_3_line_31 |  | 29 | 31 | 0.015499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_412-19_0_3_line_32 |  | 31 | 33 | 0.0223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_412-19_0_3_line_33 |  | 31 | 34 | 0.031624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_412-19_0_3_line_34 |  | 33 | 35 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_412-19_0_3_line_35 |  | 34 | 36 | 0.05101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_412-19_0_3_line_36 |  | 35 | 37 | 0.033286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_412-19_0_3_line_37 |  | 36 | 38 | 0.022877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_412-19_0_3_line_38 |  | 37 | 39 | 0.0042212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_412-19_0_3_line_39 |  | 38 | 42 | 0.034213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_412-19_0_3_line_40 |  | 39 | 40 | 0.025846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_412-19_0_3_line_41 |  | 40 | 41 | 0.024459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_412-19_0_3_line_42 |  | 41 | 43 | 0.070342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_412-19_0_3_line_43 |  | 43 | 44 | 0.033112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_412-19_0_3_line_44 |  | 43 | 45 | 0.033409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_412-19_0_3_line_45 |  | 44 | 46 | 0.023387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_412-19_0_3_line_46 |  | 45 | 47 | 0.0003225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_412-19_0_3_line_47 |  | 46 | 48 | 0.057528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_412-19_0_3_line_48 |  | 47 | 49 | 0.026719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_412-19_0_3_line_49 |  | 48 | 50 | 0.057071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_412-19_0_3_line_50 |  | 49 | 53 | 0.0056926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_412-19_0_3_line_51 |  | 50 | 51 | 0.37167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_412-19_0_3_line_52 |  | 51 | 52 | 0.13209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_412-19_0_3_line_53 |  | 53 | 54 | 0.061405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_412-19_0_3_line_54 |  | 54 | 55 | 0.020307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_412-19_0_3_line_55 |  | 54 | 56 | 0.062885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_412-19_0_3_line_56 |  | 55 | 57 | 0.02643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_412-19_0_3_line_57 |  | 56 | 58 | 0.025674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_412-19_0_3_line_58 |  | 57 | 59 | 0.0095196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_412-19_0_3_line_59 |  | 58 | 60 | 0.051237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_412-19_0_3_line_60 |  | 58 | 61 | 0.012083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_412-19_0_3_line_61 |  | 59 | 62 | 0.01226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_412-19_0_3_line_62 |  | 60 | 67 | 0.0030619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_412-19_0_3_line_63 |  | 60 | 68 | 0.042583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_412-19_0_3_line_64 |  | 61 | 69 | 0.098184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_412-19_0_3_line_65 |  | 62 | 63 | 0.016448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_412-19_0_3_line_66 |  | 63 | 64 | 0.00010247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_412-19_0_3_line_67 |  | 64 | 65 | 0.042544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_412-19_0_3_line_68 |  | 65 | 66 | 0.014507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_412-19_0_3_line_69 |  | 66 | 82 | 0.019623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_412-19_0_3_line_70 |  | 67 | 70 | 0.12738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_412-19_0_3_line_71 |  | 69 | 71 | 0.017768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_412-19_0_3_line_72 |  | 70 | 72 | 0.020624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_412-19_0_3_line_73 |  | 70 | 73 | 0.057232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_412-19_0_3_line_74 |  | 72 | 74 | 0.041629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_412-19_0_3_line_75 |  | 73 | 75 | 0.0081921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_412-19_0_3_line_76 |  | 73 | 76 | 0.016352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_412-19_0_3_line_77 |  | 75 | 77 | 0.011753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_412-19_0_3_line_78 |  | 77 | 78 | 0.079629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_412-19_0_3_line_79 |  | 78 | 79 | 0.0070326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_412-19_0_3_line_80 |  | 79 | 80 | 0.022931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_412-19_0_3_line_81 |  | 80 | 83 | 0.016911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_412-19_0_3_line_82 |  | 81 | 82 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_412-19_0_3_line_83 |  | 83 | 84 | 0.029862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_412-19_0_3_line_84 |  | 83 | 85 | 0.02655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_412-19_0_3_line_85 |  | 84 | 86 | 0.031423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_412-19_0_3_line_86 |  | 84 | 87 | 0.01822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_412-19_0_3_line_87 |  | 85 | 88 | 0.02971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_412-19_0_3_line_88 |  | 86 | 89 | 0.024935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_412-19_0_3_line_89 |  | 87 | 90 | 0.0056585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_412-19_0_3_line_90 |  | 89 | 91 | 0.0029856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_412-19_0_3_line_91 |  | 91 | 92 | 0.027133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_412-19_0_3_line_92 |  | 92 | 93 | 0.0076069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_412-19_0_3_line_93 |  | 93 | 94 | 0.0087839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_412-19_0_3_line_94 |  | 94 | 95 | 0.0013207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_412-19_0_3_line_95 |  | 95 | 96 | 0.021419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_412-19_0_3_trafo_52 | 0.63 MVA 20/0.4 kV | 97 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2613133.0611 | 1215201.0338 | 2613155.7095 | 1215174.9751 | 2613170.7459 | 1215153.5294 | 2613186.046 | 1215129.5606 | 2613188.6145 | 1215124.0432
1 | 2613193.9442 | 1215112.5944 | 2613188.6145 | 1215124.0432
2 | 2613223.2914 | 1215026.4177 | 2613217.6913 | 1215048.7068 | 2613210.3714 | 1215072.7265 | 2613199.0695 | 1215101.5846 | 2613193.9442 | 1215112.5944
3 | 2613117.5416 | 1215034.7899 | 2613170.8594 | 1215032.8836 | 2613223.2914 | 1215026.4177
4 | 2613223.2914 | 1215026.4177 | 2613227.902 | 1215011.9466
5 | 2613117.5416 | 1215034.7899 | 2613126.9729 | 1215024.2824 | 2613141.2834 | 1214994.597 | 2613150.4256 | 1214973.2748
6 | 2613235.1487 | 1214989.2022 | 2613227.902 | 1215011.9466
7 | 2613235.1487 | 1214989.2022 | 2613249.4341 | 1214944.3661
8 | 2613271.9034 | 1214873.8436 | 2613249.4341 | 1214944.3661
9 | 2613202.7313 | 1214804.6915 | 2613219.7776 | 1214805.4406
10 | 2613202.7313 | 1214804.6915 | 2613187.7916 | 1214806.2911
11 | 2613219.7776 | 1214805.4406 | 2613225.5536 | 1214817.0155 | 2613226.7058 | 1214819.0951
12 | 2613226.7058 | 1214819.0951 | 2613233.4349 | 1214831.2409 | 2613244.7688 | 1214836.2577 | 2613247.9232 | 1214836.3922
13 | 2613271.4343 | 1214748.0314 | 2613284.6569 | 1214741.1812 | 2613302.5603 | 1214727.7689
14 | 2613318.8526 | 1214720.3899 | 2613310.0322 | 1214722.1713 | 2613302.5603 | 1214727.7689
15 | 2613247.9232 | 1214836.3922 | 2613257.6921 | 1214836.8088 | 2613262.2072 | 1214834.5756
16 | 2613271.9034 | 1214873.8436 | 2613277.8795 | 1214855.087
17 | 2613285.2528 | 1214831.9449 | 2613277.8795 | 1214855.087
18 | 2613291.4334 | 1214815.1714 | 2613285.2528 | 1214831.9449
19 | 2613285.2528 | 1214831.9449 | 2613274.8555 | 1214829.2315 | 2613267.2022 | 1214832.105 | 2613262.7899 | 1214834.2874
20 | 2613291.4334 | 1214815.1714 | 2613313.1779 | 1214817.6785
21 | 2613291.4334 | 1214815.1714 | 2613300.7278 | 1214786.9434
22 | 2613262.7899 | 1214834.2874 | 2613262.2072 | 1214834.5756
23 | 2613339.3593 | 1214821.6627 | 2613327.1224 | 1214819.2863 | 2613313.1779 | 1214817.6785
24 | 2613300.7278 | 1214786.9434 | 2613302.9556 | 1214780.1775
25 | 2613339.9634 | 1214821.78 | 2613339.3593 | 1214821.6627
26 | 2613305.7919 | 1214771.5633 | 2613302.9556 | 1214780.1775
27 | 2613318.8526 | 1214720.3899 | 2613318.2603 | 1214710.1383 | 2613313.4666 | 1214687.148 | 2613311.0488 | 1214681.0859
28 | 2613318.8526 | 1214720.3899 | 2613318.0386 | 1214731.2942 | 2613316.1204 | 1214740.195 | 2613312.594 | 1214750.9049
29 | 2613311.0488 | 1214681.0859 | 2613311.0068 | 1214680.9807
30 | 2613312.594 | 1214750.9049 | 2613305.7919 | 1214771.5633
31 | 2613305.2653 | 1214666.5848 | 2613311.0068 | 1214680.9807
32 | 2613305.2653 | 1214666.5848 | 2613299.4992 | 1214657.3668 | 2613293.8618 | 1214647.4273
33 | 2613305.2653 | 1214666.5848 | 2613317.2456 | 1214664.5103 | 2613336.5744 | 1214666.8109
34 | 2613293.8618 | 1214647.4273 | 2613288.6914 | 1214638.3113
35 | 2613386.406 | 1214676.9715 | 2613360.2689 | 1214669.6312 | 2613336.5744 | 1214666.8109
36 | 2613288.6914 | 1214638.3113 | 2613284.953 | 1214631.7201 | 2613272.2894 | 1214609.3467
37 | 2613386.406 | 1214676.9715 | 2613387.9462 | 1214657.186 | 2613387.8476 | 1214654.1558
38 | 2613272.2894 | 1214609.3467 | 2613270.2101 | 1214605.6731
39 | 2613393.2284 | 1214621.3109 | 2613387.193 | 1214634.049 | 2613387.8476 | 1214654.1558
40 | 2613270.2101 | 1214605.6731 | 2613264.7788 | 1214596.0775 | 2613258.6627 | 1214582.5781
41 | 2613248.5688 | 1214560.2992 | 2613258.6627 | 1214582.5781
42 | 2613238.9415 | 1214490.7497 | 2613241.4715 | 1214524.5522 | 2613248.5688 | 1214560.2992
43 | 2613238.9415 | 1214490.7497 | 2613208.3064 | 1214503.3162
44 | 2613238.9415 | 1214490.7497 | 2613242.2626 | 1214462.1743 | 2613243.8102 | 1214457.7984
45 | 2613186.6694 | 1214512.1916 | 2613208.3064 | 1214503.3162
46 | 2613243.8102 | 1214457.7984 | 2613243.9178 | 1214457.4944
47 | 2613186.6694 | 1214512.1916 | 2613133.4453 | 1214534.024
48 | 2613243.9178 | 1214457.4944 | 2613252.8268 | 1214432.3045
49 | 2613080.6438 | 1214555.6831 | 2613133.4453 | 1214534.024
50 | 2613252.8268 | 1214432.3045 | 2613254.7249 | 1214426.9377
51 | 2613080.6438 | 1214555.6831 | 2612742.6495 | 1214401.0897
52 | 2612742.6495 | 1214401.0897 | 2612734.4587 | 1214413.7572 | 2612725.1131 | 1214426.6668 | 2612704.4365 | 1214446.9788 | 2612689.1034 | 1214465.0788 | 2612677.2687 | 1214488 | 2612668.3251 | 1214508.7185
53 | 2613288.7934 | 1214376.0955 | 2613273.6989 | 1214395.3173 | 2613256.0412 | 1214423.2161 | 2613254.7249 | 1214426.9377
54 | 2613288.7934 | 1214376.0955 | 2613272.0136 | 1214367.6313 | 2613270.5603 | 1214367.2103
55 | 2613288.7934 | 1214376.0955 | 2613329.9536 | 1214328.5525
56 | 2613245.1737 | 1214359.8574 | 2613270.5603 | 1214367.2103
57 | 2613346.7581 | 1214309.1421 | 2613329.9536 | 1214328.5525
58 | 2613236.0299 | 1214357.209 | 2613245.1737 | 1214359.8574
59 | 2613346.7581 | 1214309.1421 | 2613380.2949 | 1214270.4055
60 | 2613346.7581 | 1214309.1421 | 2613338.3118 | 1214300.5011
61 | 2613236.0299 | 1214357.209 | 2613224.2543 | 1214353.7984
62 | 2613380.2949 | 1214270.4055 | 2613382.299 | 1214268.0907
63 | 2613380.2949 | 1214270.4055 | 2613344.0616 | 1214248.035
64 | 2613266.1506 | 1214314.0406 | 2613272.5691 | 1214312.3124 | 2613282.5601 | 1214306.9093 | 2613307.1394 | 1214277.8252 | 2613313.8581 | 1214275.4833 | 2613338.3118 | 1214300.5011
65 | 2613224.2543 | 1214353.7984 | 2613219.874 | 1214352.5297 | 2613213.1259 | 1214342.7429
66 | 2613213.0677 | 1214342.6585 | 2613213.1259 | 1214342.7429
67 | 2613192.2622 | 1214305.5924 | 2613194.604 | 1214309.4163 | 2613209.5711 | 1214337.5874 | 2613213.0677 | 1214342.6585
68 | 2613184.6856 | 1214293.2207 | 2613192.2622 | 1214305.5924
69 | 2613174.4374 | 1214276.4867 | 2613184.6856 | 1214293.2207
70 | 2613465.6761 | 1214171.7864 | 2613382.299 | 1214268.0907
71 | 2613253.8338 | 1214326.0231 | 2613262.5765 | 1214315.0029 | 2613266.1506 | 1214314.0406
72 | 2613465.6761 | 1214171.7864 | 2613481.5005 | 1214185.0127
73 | 2613465.6761 | 1214171.7864 | 2613467.9606 | 1214169.0678 | 2613473.7555 | 1214162.188 | 2613477.8067 | 1214157.3611 | 2613503.5406 | 1214128.8808
74 | 2613481.5005 | 1214185.0127 | 2613495.6713 | 1214196.8569 | 2613500.2564 | 1214197.7344 | 2613506.5549 | 1214193.1794 | 2613513.713 | 1214185.2009
75 | 2613503.5406 | 1214128.8808 | 2613508.9897 | 1214122.7637
76 | 2613503.5406 | 1214128.8808 | 2613487.7688 | 1214124.565
77 | 2613508.9897 | 1214122.7637 | 2613516.8074 | 1214113.9878
78 | 2613565.8247 | 1214051.5112 | 2613548.8061 | 1214077.8653 | 2613542.1358 | 1214085.5546 | 2613516.8074 | 1214113.9878
79 | 2613565.8247 | 1214051.5112 | 2613568.0559 | 1214044.842
80 | 2613568.0559 | 1214044.842 | 2613575.331 | 1214023.0957
81 | 2613577.2507 | 1214006.4228 | 2613576.7287 | 1214018.9176 | 2613575.331 | 1214023.0957
82 | 2613174.4374 | 1214276.4867 | 2613173.1661 | 1214267.501 | 2613177.3079 | 1214257.9048
83 | 2613577.2507 | 1214006.4228 | 2613606.5202 | 1214000.0968
84 | 2613577.2507 | 1214006.4228 | 2613575.6482 | 1213979.9209
85 | 2613606.5202 | 1214000.0968 | 2613636.7506 | 1213991.5216
86 | 2613606.5202 | 1214000.0968 | 2613615.5359 | 1214015.9293
87 | 2613575.6482 | 1213979.9209 | 2613574.9668 | 1213968.6519 | 2613574.4252 | 1213959.6345 | 2613573.8587 | 1213950.2651
88 | 2613660.7391 | 1213984.717 | 2613636.7506 | 1213991.5216
89 | 2613618.336 | 1214020.8464 | 2613615.5359 | 1214015.9293
90 | 2613660.7391 | 1213984.717 | 2613663.6114 | 1213983.9023
91 | 2613663.6114 | 1213983.9023 | 2613689.7146 | 1213976.4978
92 | 2613697.0327 | 1213974.4219 | 2613689.7146 | 1213976.4978
93 | 2613697.0327 | 1213974.4219 | 2613705.7198 | 1213973.1208
94 | 2613705.7198 | 1213973.1208 | 2613707.0259 | 1213972.9252
95 | 2613728.2086 | 1213969.7524 | 2613707.0259 | 1213972.9252

## bus_geodata
| x | y | coords
0 | 2613133.0611 | 1215201.0338
1 | 2613188.6145 | 1215124.0432
2 | 2613193.9442 | 1215112.5944
3 | 2613223.2914 | 1215026.4177
4 | 2613117.5416 | 1215034.7899
5 | 2613227.902 | 1215011.9466
6 | 2613150.4256 | 1214973.2748
7 | 2613235.1487 | 1214989.2022
8 | 2613249.4341 | 1214944.3661
9 | 2613202.7313 | 1214804.6915
10 | 2613219.7776 | 1214805.4406
11 | 2613187.7916 | 1214806.2911
12 | 2613226.7058 | 1214819.0951
13 | 2613271.4343 | 1214748.0314
14 | 2613302.5603 | 1214727.7689
15 | 2613247.9232 | 1214836.3922
16 | 2613271.9034 | 1214873.8436
17 | 2613277.8795 | 1214855.087
18 | 2613285.2528 | 1214831.9449
19 | 2613291.4334 | 1214815.1714
20 | 2613262.7899 | 1214834.2874
21 | 2613262.2072 | 1214834.5756
22 | 2613313.1779 | 1214817.6785
23 | 2613300.7278 | 1214786.9434
24 | 2613339.3593 | 1214821.6627
25 | 2613302.9556 | 1214780.1775
26 | 2613318.8526 | 1214720.3899
27 | 2613311.0488 | 1214681.0859
28 | 2613312.594 | 1214750.9049
29 | 2613311.0068 | 1214680.9807
30 | 2613305.7919 | 1214771.5633
31 | 2613305.2653 | 1214666.5848
32 | 2613339.9634 | 1214821.78
33 | 2613293.8618 | 1214647.4273
34 | 2613336.5744 | 1214666.8109
35 | 2613288.6914 | 1214638.3113
36 | 2613386.406 | 1214676.9715
37 | 2613272.2894 | 1214609.3467
38 | 2613387.8476 | 1214654.1558
39 | 2613270.2101 | 1214605.6731
40 | 2613258.6627 | 1214582.5781
41 | 2613248.5688 | 1214560.2992
42 | 2613393.2284 | 1214621.3109
43 | 2613238.9415 | 1214490.7497
44 | 2613208.3064 | 1214503.3162
45 | 2613243.8102 | 1214457.7984
46 | 2613186.6694 | 1214512.1916
47 | 2613243.9178 | 1214457.4944
48 | 2613133.4453 | 1214534.024
49 | 2613252.8268 | 1214432.3045
50 | 2613080.6438 | 1214555.6831
51 | 2612742.6495 | 1214401.0897
52 | 2612668.3251 | 1214508.7185
53 | 2613254.7249 | 1214426.9377
54 | 2613288.7934 | 1214376.0955
55 | 2613270.5603 | 1214367.2103
56 | 2613329.9536 | 1214328.5525
57 | 2613245.1737 | 1214359.8574
58 | 2613346.7581 | 1214309.1421
59 | 2613236.0299 | 1214357.209
60 | 2613380.2949 | 1214270.4055
61 | 2613338.3118 | 1214300.5011
62 | 2613224.2543 | 1214353.7984
63 | 2613213.1259 | 1214342.7429
64 | 2613213.0677 | 1214342.6585
65 | 2613192.2622 | 1214305.5924
66 | 2613184.6856 | 1214293.2207
67 | 2613382.299 | 1214268.0907
68 | 2613344.0616 | 1214248.035
69 | 2613266.1506 | 1214314.0406
70 | 2613465.6761 | 1214171.7864
71 | 2613253.8338 | 1214326.0231
72 | 2613481.5005 | 1214185.0127
73 | 2613503.5406 | 1214128.8808
74 | 2613513.713 | 1214185.2009
75 | 2613508.9897 | 1214122.7637
76 | 2613487.7688 | 1214124.565
77 | 2613516.8074 | 1214113.9878
78 | 2613565.8247 | 1214051.5112
79 | 2613568.0559 | 1214044.842
80 | 2613575.331 | 1214023.0957
81 | 2613177.3079 | 1214257.9048
82 | 2613174.4374 | 1214276.4867
83 | 2613577.2507 | 1214006.4228
84 | 2613606.5202 | 1214000.0968
85 | 2613575.6482 | 1213979.9209
86 | 2613636.7506 | 1213991.5216
87 | 2613615.5359 | 1214015.9293
88 | 2613573.8587 | 1213950.2651
89 | 2613660.7391 | 1213984.717
90 | 2613618.336 | 1214020.8464
91 | 2613663.6114 | 1213983.9023
92 | 2613689.7146 | 1213976.4978
93 | 2613697.0327 | 1213974.4219
94 | 2613705.7198 | 1213973.1208
95 | 2613707.0259 | 1213972.9252
96 | 2613728.2086 | 1213969.7524
97 | 2613346.7581 | 1214309.1421

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1