## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_412-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_412-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_412-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_412-2_0_6_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_412-2_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_412-2_0_6_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_412-2_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_412-2_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_412-2_0_6_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_412-2_0_6_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_412-2_0_6_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_412-2_0_6_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_412-2_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_412-2_0_6_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_412-2_0_6_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_412-2_0_6_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_412-2_0_6_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_412-2_0_6_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_412-2_0_6_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_412-2_0_6_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_412-2_0_6_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_412-2_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_412-2_0_6_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_412-2_0_6_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_412-2_0_6_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_412-2_0_6_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_412-2_0_6_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_412-2_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_412-2_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_412-2_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_412-2_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_412-2_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_412-2_0_6_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_412-2_0_6_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_412-2_0_6_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_412-2_0_6_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_412-2_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_412-2_0_6_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_412-2_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_412-2_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_412-2_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_412-2_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_412-2_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_412-2_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_412-2_0_6_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_412-2_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_412-2_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_412-2_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_412-2_0_6_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_412-2_0_6_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_412-2_0_6_node_72 | 0.4 | n |  | TRUE
51 | bus_LV_412-2_0_6_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_412-2_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_412-2_0_6_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_412-2_0_6_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_412-2_0_6_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_412-2_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_412-2_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_412-2_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_412-2_0_6_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_412-2_0_6_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_412-2_0_6_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_412-2_0_6_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_412-2_0_6_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_412-2_0_6_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_412-2_0_6_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_412-2_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_412-2_0_6_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_412-2_0_6_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_412-2_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_412-2_0_6_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_412-2_0_6_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_412-2_0_6_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_412-2_0_6_node_67 | 0.4 | n |  | TRUE
74 | bus_MV_446_1_node_174 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_412-2_0_6_load_0 | 0 | 0.015318 | 0.0038391 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_412-2_0_6_load_1 | 1 | 0.034727 | 0.0087034 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_412-2_0_6_load_13 | 6 | 0.0025378 | 0.00063604 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_412-2_0_6_load_52 | 8 | 0.0065028 | 0.0016298 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_412-2_0_6_load_49 | 9 | 0.046925 | 0.01176 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_412-2_0_6_load_65 | 10 | 0.031132 | 0.0078024 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_412-2_0_6_load_26 | 11 | 0.010947 | 0.0027436 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_412-2_0_6_load_71 | 13 | 0.015807 | 0.0039617 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_412-2_0_6_load_50 | 14 | 0.010684 | 0.0026777 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_412-2_0_6_load_19 | 16 | 0.0084796 | 0.0021252 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_412-2_0_6_load_7 | 18 | 0.06825 | 0.017105 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_412-2_0_6_load_8 | 19 | 0.0019415 | 0.00048659 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_412-2_0_6_load_11 | 21 | 0.001385 | 0.00034711 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_412-2_0_6_load_22 | 22 | 0.0079488 | 0.0019922 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_412-2_0_6_load_54 | 23 | 0.0030717 | 0.00076983 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_412-2_0_6_load_23 | 24 | 0.0036872 | 0.00092409 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_412-2_0_6_load_55 | 25 | 0.00066249 | 0.00016604 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_412-2_0_6_load_25 | 26 | 0.011949 | 0.0029948 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_412-2_0_6_load_14 | 27 | 0.0063899 | 0.0016015 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_412-2_0_6_load_15 | 28 | 0.013411 | 0.0033611 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_412-2_0_6_load_16 | 29 | 0.001799 | 0.00045087 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_412-2_0_6_load_18 | 31 | 0.011002 | 0.0027574 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_412-2_0_6_load_76 | 32 | 0.0048263 | 0.0012096 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_412-2_0_6_load_46 | 33 | 0.0088663 | 0.0022221 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_412-2_0_6_load_44 | 35 | 0.0061962 | 0.0015529 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_412-2_0_6_load_21 | 36 | 0.0057836 | 0.0014495 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_412-2_0_6_load_31 | 38 | 0.013564 | 0.0033994 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_412-2_0_6_load_27 | 39 | 0.0023788 | 0.00059618 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_412-2_0_6_load_28 | 40 | 0.007857 | 0.0019692 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_412-2_0_6_load_38 | 42 | 0.031136 | 0.0078034 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_412-2_0_6_load_32 | 43 | 0.0091523 | 0.0022938 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_412-2_0_6_load_33 | 44 | 0.0073405 | 0.0018397 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_412-2_0_6_load_34 | 45 | 0.0072396 | 0.0018144 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_412-2_0_6_load_35 | 46 | 0.005674 | 0.001422 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_412-2_0_6_load_36 | 47 | 0.0099116 | 0.0024841 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_412-2_0_6_load_73 | 48 | 0.0070465 | 0.001766 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_412-2_0_6_load_74 | 49 | 0.0081528 | 0.0020433 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_412-2_0_6_load_72 | 50 | 0.0076289 | 0.001912 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_412-2_0_6_load_75 | 51 | 0.0071303 | 0.001787 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_412-2_0_6_load_42 | 52 | 0.015475 | 0.0038784 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_412-2_0_6_load_43 | 55 | 0.017153 | 0.0042988 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_412-2_0_6_load_47 | 57 | 0.0057571 | 0.0014429 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_412-2_0_6_load_53 | 59 | 0.012515 | 0.0031366 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_412-2_0_6_load_69 | 61 | 0.0038421 | 0.00096292 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_412-2_0_6_load_62 | 62 | 0.00085861 | 0.00021519 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_412-2_0_6_load_51 | 64 | 0.0039821 | 0.00099801 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_412-2_0_6_load_70 | 65 | 0.0075404 | 0.0018898 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_412-2_0_6_load_56 | 66 | 0.0024878 | 0.0006235 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_412-2_0_6_load_57 | 67 | 0.0018969 | 0.0004754 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_412-2_0_6_load_58 | 68 | 0.0016452 | 0.00041232 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_412-2_0_6_load_59 | 69 | 0.0022571 | 0.00056568 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_412-2_0_6_load_60 | 70 | 0.0012627 | 0.00031646 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_412-2_0_6_load_61 | 71 | 0.00088225 | 0.00022111 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_412-2_0_6_load_66 | 72 | 0.0020945 | 0.00052493 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_412-2_0_6_load_67 | 73 | 0.0010264 | 0.00025724 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_412-2_0_6_line_0 |  | 0 | 1 | 0.014494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_412-2_0_6_line_1 |  | 0 | 2 | 0.020253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_412-2_0_6_line_2 |  | 2 | 3 | 0.006228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_412-2_0_6_line_3 |  | 3 | 10 | 0.028082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_412-2_0_6_line_4 |  | 3 | 7 | 0.038471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_412-2_0_6_line_5 |  | 4 | 5 | 0.056075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_412-2_0_6_line_6 |  | 4 | 6 | 0.0046646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_412-2_0_6_line_7 |  | 5 | 11 | 0.010644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_412-2_0_6_line_8 |  | 6 | 12 | 0.010454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_412-2_0_6_line_9 |  | 7 | 8 | 0.026259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_412-2_0_6_line_10 |  | 7 | 9 | 0.018079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_412-2_0_6_line_11 |  | 8 | 13 | 0.0043491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_412-2_0_6_line_12 |  | 9 | 14 | 0.0042807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_412-2_0_6_line_13 |  | 10 | 15 | 0.015776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_412-2_0_6_line_14 |  | 11 | 26 | 0.015933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_412-2_0_6_line_15 |  | 12 | 22 | 0.0060596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_412-2_0_6_line_16 |  | 12 | 19 | 0.021876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_412-2_0_6_line_17 |  | 14 | 64 | 0.0088299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_412-2_0_6_line_18 |  | 15 | 66 | 0.02759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_412-2_0_6_line_19 |  | 16 | 17 | 0.01556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_412-2_0_6_line_20 |  | 17 | 36 | 0.011988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_412-2_0_6_line_21 |  | 18 | 19 | 0.011403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_412-2_0_6_line_22 |  | 18 | 20 | 0.037039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_412-2_0_6_line_23 |  | 20 | 21 | 0.0057958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_412-2_0_6_line_24 |  | 21 | 23 | 0.031691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_412-2_0_6_line_25 |  | 22 | 24 | 0.031167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_412-2_0_6_line_26 |  | 23 | 25 | 0.018481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_412-2_0_6_line_27 |  | 25 | 66 | 0.026365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_412-2_0_6_line_28 |  | 26 | 39 | 0.018908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_412-2_0_6_line_29 |  | 27 | 28 | 0.0030899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_412-2_0_6_line_30 |  | 27 | 29 | 0.0094651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_412-2_0_6_line_31 |  | 28 | 30 | 0.027218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_412-2_0_6_line_32 |  | 29 | 31 | 0.017485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_412-2_0_6_line_33 |  | 30 | 32 | 0.022875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_412-2_0_6_line_34 |  | 31 | 33 | 0.0051975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_412-2_0_6_line_35 |  | 32 | 34 | 0.031187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_412-2_0_6_line_36 |  | 33 | 35 | 0.02359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_412-2_0_6_line_37 |  | 34 | 54 | 0.010962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_412-2_0_6_line_38 |  | 34 | 53 | 0.035222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_412-2_0_6_line_39 |  | 35 | 55 | 0.0064369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_412-2_0_6_line_40 |  | 36 | 37 | 0.018498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_412-2_0_6_line_41 |  | 37 | 38 | 0.015665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_412-2_0_6_line_42 |  | 38 | 41 | 0.054029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_412-2_0_6_line_43 |  | 39 | 40 | 0.022929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_412-2_0_6_line_44 |  | 41 | 42 | 0.018933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_412-2_0_6_line_45 |  | 42 | 52 | 0.025035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_412-2_0_6_line_46 |  | 43 | 44 | 0.00291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_412-2_0_6_line_47 |  | 43 | 45 | 0.0094509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_412-2_0_6_line_48 |  | 44 | 46 | 0.0034046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_412-2_0_6_line_49 |  | 45 | 47 | 0.0034742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_412-2_0_6_line_50 |  | 46 | 48 | 0.0063899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_412-2_0_6_line_51 |  | 47 | 49 | 0.013592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_412-2_0_6_line_52 |  | 48 | 50 | 0.0014145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_412-2_0_6_line_53 |  | 49 | 51 | 0.0087918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_412-2_0_6_line_54 |  | 50 | 65 | 0.0050993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_412-2_0_6_line_55 |  | 51 | 54 | 0.0026069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_412-2_0_6_line_56 |  | 52 | 53 | 0.0022398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_412-2_0_6_line_57 |  | 55 | 56 | 0.025958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_412-2_0_6_line_58 |  | 56 | 57 | 0.013558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_412-2_0_6_line_59 |  | 56 | 58 | 0.01813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_412-2_0_6_line_60 |  | 57 | 59 | 0.008314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_412-2_0_6_line_61 |  | 58 | 60 | 0.009182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_412-2_0_6_line_62 |  | 58 | 61 | 0.02004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_412-2_0_6_line_63 |  | 60 | 62 | 0.032494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_412-2_0_6_line_64 |  | 61 | 63 | 0.030689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_412-2_0_6_line_65 |  | 62 | 71 | 0.011114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_412-2_0_6_line_66 |  | 63 | 73 | 0.060935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_412-2_0_6_line_67 |  | 64 | 65 | 0.0057137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_412-2_0_6_line_68 |  | 67 | 68 | 0.0084476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_412-2_0_6_line_69 |  | 67 | 69 | 0.01104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_412-2_0_6_line_70 |  | 68 | 70 | 0.016921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_412-2_0_6_line_71 |  | 70 | 71 | 0.0057207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_412-2_0_6_line_72 |  | 72 | 73 | 0.011764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_412-2_0_6_trafo_4 | 0.63 MVA 20/0.4 kV | 74 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2610949.8935 | 1215035.1627 | 2610942.5358 | 1215047.6507
1 | 2610960.1744 | 1215017.7131 | 2610949.8935 | 1215035.1627
2 | 2610960.1744 | 1215017.7131 | 2610955.0781 | 1215014.1129
3 | 2610955.0781 | 1215014.1129 | 2610931.749 | 1214998.4809
4 | 2610955.0781 | 1215014.1129 | 2610959.32 | 1215007.3946 | 2610973.4327 | 1214980.3052
5 | 2610980.1579 | 1215126.8335 | 2610975.4171 | 1215124.0789 | 2610938.9925 | 1215102.9448 | 2610934.8375 | 1215103.7488 | 2610932.7271 | 1215107.5693
6 | 2610932.7271 | 1215107.5693 | 2610930.3653 | 1215111.5918
7 | 2610980.1579 | 1215126.8335 | 2610974.9864 | 1215136.1372
8 | 2610925.072 | 1215120.6072 | 2610930.3653 | 1215111.5918
9 | 2610973.4327 | 1214980.3052 | 2610996.6542 | 1214992.5656
10 | 2610973.4327 | 1214980.3052 | 2610978.1746 | 1214970.1081 | 2610981.7627 | 1214964.2925
11 | 2611000.5002 | 1214994.5962 | 2610996.6542 | 1214992.5656
12 | 2610981.7627 | 1214964.2925 | 2610984.0105 | 1214960.6494
13 | 2610918.6436 | 1214989.6993 | 2610931.749 | 1214998.4809
14 | 2610967.2458 | 1215150.063 | 2610974.9864 | 1215136.1372
15 | 2610925.072 | 1215120.6072 | 2610922.0021 | 1215125.8316
16 | 2610925.072 | 1215120.6072 | 2610906.1681 | 1215109.5989
17 | 2610984.0105 | 1214960.6494 | 2610988.647 | 1214953.1348
18 | 2610918.6436 | 1214989.6993 | 2610909.8324 | 1215003.7134 | 2610904.3004 | 1215013.2634
19 | 2611044.1575 | 1215018.0674 | 2611038.0198 | 1215031.586 | 2611037.7941 | 1215032.2631
20 | 2611044.1575 | 1215018.0674 | 2611049.1058 | 1215007.1482
21 | 2610896.3138 | 1215103.8604 | 2610906.1681 | 1215109.5989
22 | 2610864.306 | 1215085.2212 | 2610896.3138 | 1215103.8604
23 | 2610864.306 | 1215085.2212 | 2610867.0724 | 1215080.1283
24 | 2610882.1991 | 1215052.2803 | 2610867.0724 | 1215080.1283
25 | 2610922.0021 | 1215125.8316 | 2610906.2126 | 1215152.7026
26 | 2610882.1991 | 1215052.2803 | 2610889.7225 | 1215038.4298 | 2610891.0853 | 1215036.0772
27 | 2610904.3004 | 1215013.2634 | 2610891.0853 | 1215036.0772
28 | 2610958.0594 | 1215166.5897 | 2610967.2458 | 1215150.063
29 | 2610959.3602 | 1214874.576 | 2610961.5711 | 1214872.4174
30 | 2610959.3602 | 1214874.576 | 2610952.5877 | 1214881.1882
31 | 2610981.0461 | 1214853.403 | 2610961.5711 | 1214872.4174
32 | 2610940.0766 | 1214893.4034 | 2610952.5877 | 1214881.1882
33 | 2610981.0461 | 1214853.403 | 2610997.2727 | 1214869.5268
34 | 2610936.3576 | 1214897.0343 | 2610940.0766 | 1214893.4034
35 | 2611021.8204 | 1214888.4976 | 2611012.2474 | 1214882.9769 | 2611000.5946 | 1214872.8276 | 2610997.2727 | 1214869.5268
36 | 2610936.3576 | 1214897.0343 | 2610928.6172 | 1214904.5917 | 2610922.3835 | 1214912.5515 | 2610920.7423 | 1214914.6469
37 | 2611021.8204 | 1214888.4976 | 2611015.7147 | 1214892.8778 | 2611014.0612 | 1214895.9209
38 | 2611021.8204 | 1214888.4976 | 2611031.5681 | 1214894.0076 | 2611052.52 | 1214905.7639
39 | 2610916.7733 | 1214919.7144 | 2610920.7423 | 1214914.6469
40 | 2611059.5825 | 1214991.9033 | 2611049.1058 | 1215007.1482
41 | 2611059.5825 | 1214991.9033 | 2611068.4568 | 1214978.9946
42 | 2611090.7596 | 1214931.3823 | 2611091.2824 | 1214940.1993 | 2611089.84 | 1214944.11 | 2611083.9092 | 1214956.5171 | 2611068.4568 | 1214978.9946
43 | 2610958.0594 | 1215166.5897 | 2610946.9197 | 1215186.6306
44 | 2611090.7596 | 1214931.3823 | 2611086.8565 | 1214927.2394 | 2611075.7616 | 1214920.0128
45 | 2611054.4684 | 1214906.8686 | 2611063.0641 | 1214911.7423 | 2611075.7616 | 1214920.0128
46 | 2611000.8379 | 1214931.4176 | 2610999.5493 | 1214934.0267
47 | 2611000.8379 | 1214931.4176 | 2611003.4278 | 1214926.174 | 2611004.6224 | 1214922.7753
48 | 2610999.5493 | 1214934.0267 | 2610998.0416 | 1214937.0793
49 | 2611005.7744 | 1214919.4977 | 2611004.6224 | 1214922.7753
50 | 2610995.0676 | 1214942.7285 | 2610995.9888 | 1214941.2355 | 2610998.0416 | 1214937.0793
51 | 2611005.7744 | 1214919.4977 | 2611010.2815 | 1214906.6746
52 | 2610994.3249 | 1214943.9324 | 2610995.0676 | 1214942.7285
53 | 2611013.1968 | 1214898.3803 | 2611010.2815 | 1214906.6746
54 | 2610994.3249 | 1214943.9324 | 2610991.6473 | 1214948.2721
55 | 2611014.0612 | 1214895.9209 | 2611013.1968 | 1214898.3803
56 | 2611052.52 | 1214905.7639 | 2611054.4684 | 1214906.8686
57 | 2610900.7675 | 1214940.15 | 2610916.7733 | 1214919.7144
58 | 2610900.7675 | 1214940.15 | 2610911.4822 | 1214948.4578
59 | 2610900.7675 | 1214940.15 | 2610895.9343 | 1214946.3224 | 2610889.579 | 1214954.4377
60 | 2610911.4822 | 1214948.4578 | 2610918.0526 | 1214953.5523
61 | 2610884.5229 | 1214962.1106 | 2610889.579 | 1214954.4377
62 | 2610889.579 | 1214954.4377 | 2610873.8217 | 1214942.0555
63 | 2610884.5229 | 1214962.1106 | 2610877.6222 | 1214969.5023 | 2610864.5766 | 1214986.188 | 2610863.8368 | 1214987.1343
64 | 2610872.6798 | 1214914.5067 | 2610872.1082 | 1214919.8754 | 2610867.6225 | 1214935.4205 | 2610872.2221 | 1214940.7985 | 2610873.8217 | 1214942.0555
65 | 2610856.991 | 1214995.89 | 2610863.8368 | 1214987.1343
66 | 2610872.6798 | 1214914.5067 | 2610854.9487 | 1214935.4864 | 2610833.0563 | 1214960.7983
67 | 2610991.6473 | 1214948.2721 | 2610988.647 | 1214953.1348
68 | 2610835.6247 | 1215018.1044 | 2610842.4159 | 1215013.0802
69 | 2610835.6247 | 1215018.1044 | 2610830.8809 | 1215021.6138 | 2610826.8003 | 1215024.7383
70 | 2610842.4159 | 1215013.0802 | 2610845.1073 | 1215011.0891 | 2610853.4673 | 1215000.3967
71 | 2610856.991 | 1214995.89 | 2610853.4673 | 1215000.3967
72 | 2610825.3805 | 1214969.7126 | 2610827.7601 | 1214966.9217 | 2610833.0563 | 1214960.7983

## bus_geodata
| x | y | coords
0 | 2610949.8935 | 1215035.1627
1 | 2610942.5358 | 1215047.6507
2 | 2610960.1744 | 1215017.7131
3 | 2610955.0781 | 1215014.1129
4 | 2610932.7271 | 1215107.5693
5 | 2610980.1579 | 1215126.8335
6 | 2610930.3653 | 1215111.5918
7 | 2610973.4327 | 1214980.3052
8 | 2610996.6542 | 1214992.5656
9 | 2610981.7627 | 1214964.2925
10 | 2610931.749 | 1214998.4809
11 | 2610974.9864 | 1215136.1372
12 | 2610925.072 | 1215120.6072
13 | 2611000.5002 | 1214994.5962
14 | 2610984.0105 | 1214960.6494
15 | 2610918.6436 | 1214989.6993
16 | 2611037.7941 | 1215032.2631
17 | 2611044.1575 | 1215018.0674
18 | 2610896.3138 | 1215103.8604
19 | 2610906.1681 | 1215109.5989
20 | 2610864.306 | 1215085.2212
21 | 2610867.0724 | 1215080.1283
22 | 2610922.0021 | 1215125.8316
23 | 2610882.1991 | 1215052.2803
24 | 2610906.2126 | 1215152.7026
25 | 2610891.0853 | 1215036.0772
26 | 2610967.2458 | 1215150.063
27 | 2610959.3602 | 1214874.576
28 | 2610961.5711 | 1214872.4174
29 | 2610952.5877 | 1214881.1882
30 | 2610981.0461 | 1214853.403
31 | 2610940.0766 | 1214893.4034
32 | 2610997.2727 | 1214869.5268
33 | 2610936.3576 | 1214897.0343
34 | 2611021.8204 | 1214888.4976
35 | 2610920.7423 | 1214914.6469
36 | 2611049.1058 | 1215007.1482
37 | 2611059.5825 | 1214991.9033
38 | 2611068.4568 | 1214978.9946
39 | 2610958.0594 | 1215166.5897
40 | 2610946.9197 | 1215186.6306
41 | 2611090.7596 | 1214931.3823
42 | 2611075.7616 | 1214920.0128
43 | 2611000.8379 | 1214931.4176
44 | 2610999.5493 | 1214934.0267
45 | 2611004.6224 | 1214922.7753
46 | 2610998.0416 | 1214937.0793
47 | 2611005.7744 | 1214919.4977
48 | 2610995.0676 | 1214942.7285
49 | 2611010.2815 | 1214906.6746
50 | 2610994.3249 | 1214943.9324
51 | 2611013.1968 | 1214898.3803
52 | 2611054.4684 | 1214906.8686
53 | 2611052.52 | 1214905.7639
54 | 2611014.0612 | 1214895.9209
55 | 2610916.7733 | 1214919.7144
56 | 2610900.7675 | 1214940.15
57 | 2610911.4822 | 1214948.4578
58 | 2610889.579 | 1214954.4377
59 | 2610918.0526 | 1214953.5523
60 | 2610884.5229 | 1214962.1106
61 | 2610873.8217 | 1214942.0555
62 | 2610863.8368 | 1214987.1343
63 | 2610872.6798 | 1214914.5067
64 | 2610988.647 | 1214953.1348
65 | 2610991.6473 | 1214948.2721
66 | 2610904.3004 | 1215013.2634
67 | 2610835.6246 | 1215018.1044
68 | 2610842.4159 | 1215013.0802
69 | 2610826.8003 | 1215024.7383
70 | 2610853.4673 | 1215000.3967
71 | 2610856.991 | 1214995.89
72 | 2610825.3805 | 1214969.7126
73 | 2610833.0563 | 1214960.7983
74 | 2611000.5002 | 1214994.5962

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1